## Sheet1
Report date: | 16:05:43, 09/19/2024
Sample: | 1
File name:
Run date: | 16:00:17, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/410.0 | 2257
2 | 210.0/320.0 | 2150
3 | 210.0/330.0 | 2112
4 | 215.0/465.0 | 411.1
5 | 220.0/300.0 | 2214
6 | 220.0/410.0 | 749
7 | 220.0/475.0 | 330.4
8 | 225.0/320.0 | 2096
9 | 225.0/490.0 | 322.6
10 | 250.0/275.0 | 543.3
11 | 250.0/330.0 | 3600
12 | 255.0/280.0 | 679.7
13 | 265.0/295.0 | 1365
14 | 270.0/300.0 | 1817
15 | 275.0/305.0 | 2126
16 | 280.0/315.0 | 2309
17 | 305.0/420.0 | 830.7
18 | 310.0/350.0 | 498.1
19 | 310.0/425.0 | 825.6
20 | 315.0/355.0 | 435.7
21 | 320.0/360.0 | 385.6
22 | 325.0/365.0 | 331
23 | 330.0/375.0 | 347
24 | 335.0/380.0 | 354.9
25 | 340.0/385.0 | 347.5
26 | 345.0/395.0 | 366.8
27 | 350.0/400.0 | 374.7
28 | 355.0/405.0 | 360.5
29 | 365.0/420.0 | 287.8
30 | 380.0/440.0 | 167.2
31 | 385.0/445.0 | 149.6
32 | 390.0/450.0 | 128
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 135.4 | 116.6 | 105.5 | 138.2 | 121.4 | 84.79 | 28.71 | 13.75 | 61.87 | 435.8 | 247.4 | 42.99 | 87.12 | 5644 | 9999.9 | 2305 | 18.04 | 8.475 | 5.313 | 3.992 | 3.074 | 2.758 | 2.505 | 2.27 | 1.852 | 1.72 | 2.045 | 1.865 | 1.686 | 1.388 | 1.668 | 1.556 | 1.577 | 1.788 | 1.463 | 1.428 | 1.62 | 1.592 | 1.69 | 1.569 | 1.308
275 | 667.7 | 455.8 | 519.8 | 655.1 | 662.3 | 423.2 | 130.3 | 26.22 | 30.9 | 157 | 543.3 | 262.4 | 141 | 534.1 | 6607 | 9999.9 | 2066 | 18.59 | 7.078 | 4.977 | 2.989 | 3.05 | 2.617 | 2.198 | 2.081 | 2.27 | 2.177 | 2.071 | 1.609 | 1.662 | 2.238 | 1.841 | 1.71 | 1.771 | 1.612 | 1.361 | 1.504 | 1.69 | 2.198 | 2.025 | 1.629
280 | 1384 | 814.2 | 925.8 | 1194 | 1292 | 846.7 | 220 | 53.26 | 41.9 | 73.49 | 311.8 | 679.7 | 347.7 | 301.6 | 695.8 | 6685 | 9999.9 | 1899 | 16.47 | 5.818 | 4.405 | 3.81 | 3.43 | 3.037 | 2.539 | 2.05 | 2.079 | 1.859 | 1.714 | 1.974 | 1.762 | 1.834 | 1.831 | 1.501 | 1.783 | 1.494 | 1.702 | 1.887 | 2.488 | 2.606 | 2.039
285 | 1970 | 1020 | 1281 | 1731 | 1753 | 1223 | 393.5 | 99.24 | 70.76 | 96.19 | 173.1 | 561.2 | 841.7 | 504.1 | 461.4 | 739.6 | 6583 | 9999.9 | 1680 | 14.86 | 6.014 | 4.437 | 3.783 | 3.074 | 2.998 | 2.617 | 2.22 | 2.34 | 1.972 | 1.916 | 1.706 | 1.783 | 1.854 | 1.78 | 1.584 | 1.315 | 1.884 | 2.318 | 2.453 | 2.586 | 2.583
290 | 2169 | 1327 | 1582 | 2019 | 2106 | 1585 | 566.6 | 214.8 | 139.8 | 148.6 | 216.2 | 348.1 | 906.3 | 995.2 | 681.8 | 564.4 | 773.2 | 6546 | 9999.9 | 1522 | 13.21 | 5.643 | 4.535 | 3.695 | 3.263 | 2.698 | 2.271 | 2.512 | 2.122 | 1.873 | 1.992 | 2.023 | 1.75 | 1.687 | 1.84 | 2.073 | 1.82 | 2.339 | 2.927 | 2.91 | 2.434
295 | 2099 | 1457 | 1546 | 2090 | 2203 | 1698 | 842.2 | 402.7 | 286.5 | 283.5 | 338.2 | 455.1 | 664.3 | 1365 | 1215 | 853 | 651.7 | 795.1 | 6219 | 9999.9 | 1362 | 11.53 | 6.346 | 4.476 | 3.214 | 3.221 | 2.645 | 2.503 | 2.157 | 2.072 | 1.925 | 1.684 | 1.822 | 1.704 | 1.619 | 1.846 | 1.85 | 2.347 | 2.411 | 2.856 | 2.401
300 | 2124 | 1556 | 1592 | 2035 | 2214 | 1849 | 1125 | 700 | 587.7 | 611.8 | 649.1 | 738.7 | 855.3 | 1101 | 1817 | 1380 | 978.9 | 649.7 | 685.3 | 6190 | 9612 | 1226 | 11.55 | 5.864 | 4.071 | 3.429 | 2.674 | 2.705 | 2.4 | 2.095 | 1.924 | 1.93 | 2.083 | 1.909 | 1.708 | 1.705 | 2.153 | 2.194 | 2.682 | 2.679 | 2.45
305 | 2010 | 1828 | 1773 | 1941 | 2143 | 1890 | 1362 | 1067 | 995.6 | 1096 | 1165 | 1208 | 1182 | 1259 | 1632 | 2126 | 1450 | 928.9 | 504.1 | 617.4 | 5920 | 9388 | 1116 | 10.38 | 5.02 | 4.444 | 3.56 | 3.006 | 2.711 | 2.58 | 2.202 | 1.965 | 2.074 | 1.974 | 1.866 | 1.752 | 1.707 | 2.224 | 2.68 | 2.622 | 2.429
310 | 1971 | 1898 | 1964 | 1892 | 2002 | 1928 | 1620 | 1441 | 1552 | 1732 | 1834 | 1803 | 1612 | 1538 | 1693 | 2081 | 2169 | 1309 | 716.1 | 370 | 513.2 | 5562 | 9173 | 1085 | 9.715 | 5.497 | 4.207 | 3.343 | 2.8 | 2.334 | 1.963 | 2.299 | 2.145 | 2.201 | 1.888 | 1.765 | 2.14 | 1.821 | 2.465 | 2.469 | 2.274
315 | 1971 | 1880 | 1906 | 1936 | 1968 | 2000 | 1828 | 1759 | 1980 | 2317 | 2476 | 2381 | 2098 | 1858 | 1939 | 2044 | 2309 | 1939 | 987.5 | 491.3 | 223.4 | 456.6 | 5483 | 9232 | 973.2 | 9.248 | 5.804 | 4.781 | 3.338 | 3.202 | 2.378 | 2.233 | 2.024 | 2.065 | 2.135 | 1.798 | 2 | 2.052 | 2.355 | 2.413 | 2.368
320 | 1794 | 2040 | 2150 | 1954 | 2019 | 2096 | 1914 | 2024 | 2361 | 2825 | 3046 | 2923 | 2473 | 2136 | 2117 | 2229 | 2178 | 2195 | 1475 | 647.7 | 285.2 | 163.5 | 440.2 | 5324 | 8859 | 943.8 | 9.1 | 5.906 | 4.348 | 3.297 | 2.514 | 2.633 | 2.569 | 2.501 | 2.384 | 2.146 | 2.057 | 2.066 | 2.339 | 2.533 | 2.337
325 | 1896 | 2036 | 2065 | 1869 | 1984 | 2050 | 1981 | 2166 | 2632 | 3140 | 3451 | 3289 | 2786 | 2337 | 2263 | 2298 | 2258 | 1991 | 1816 | 954.3 | 363.7 | 187.2 | 127.9 | 406.7 | 5033 | 8731 | 913.7 | 9.089 | 5.193 | 4.218 | 3.149 | 3.12 | 2.557 | 2.442 | 2.662 | 2.061 | 1.986 | 2.175 | 2.35 | 2.576 | 2.259
330 | 1575 | 2065 | 2112 | 1990 | 2032 | 2044 | 2061 | 2185 | 2695 | 3243 | 3600 | 3457 | 2938 | 2467 | 2363 | 2382 | 2344 | 2036 | 1593 | 1277 | 534.8 | 227.6 | 137.6 | 91.81 | 369.7 | 4961 | 9045 | 890.6 | 7.358 | 5.274 | 4.312 | 2.976 | 2.904 | 2.363 | 2.441 | 2.131 | 2.207 | 2.109 | 2.209 | 2.395 | 2.483
335 | 1551 | 1977 | 2060 | 1993 | 1983 | 1984 | 1961 | 2144 | 2634 | 3232 | 3580 | 3493 | 2996 | 2551 | 2389 | 2425 | 2349 | 2058 | 1551 | 1080 | 859.4 | 336.4 | 160 | 84.9 | 65.47 | 355.1 | 5121 | 8563 | 867.8 | 8.367 | 5.201 | 4.189 | 3.44 | 3.089 | 2.869 | 2.252 | 2.319 | 2.216 | 2.384 | 2.51 | 2.568
340 | 1350 | 1860 | 1956 | 1797 | 1821 | 1894 | 1861 | 2030 | 2471 | 3079 | 3418 | 3336 | 2921 | 2522 | 2341 | 2371 | 2319 | 2038 | 1548 | 958.4 | 729.8 | 601.2 | 213.3 | 100.3 | 54.59 | 55.28 | 365.2 | 4834 | 8404 | 866.9 | 7.942 | 5.194 | 3.957 | 3.454 | 2.872 | 2.475 | 2.178 | 2.331 | 2.615 | 2.483 | 2.218
345 | 1188 | 1599 | 1721 | 1756 | 1797 | 1827 | 1737 | 1860 | 2245 | 2797 | 3107 | 3104 | 2721 | 2395 | 2271 | 2258 | 2193 | 1978 | 1520 | 944.2 | 566.4 | 584.3 | 427.7 | 127.5 | 64.41 | 45.96 | 52.2 | 346.2 | 4732 | 8126 | 866.8 | 7.49 | 5.113 | 4.199 | 3.211 | 2.788 | 2.497 | 2.541 | 2.58 | 2.402 | 2.44
350 | 1035 | 1390 | 1418 | 1571 | 1698 | 1684 | 1515 | 1638 | 2007 | 2482 | 2826 | 2787 | 2496 | 2240 | 2130 | 2116 | 2083 | 1868 | 1449 | 912.4 | 543.1 | 384.9 | 498.1 | 285.4 | 87.44 | 57.67 | 44.72 | 52.05 | 337.8 | 4473 | 8013 | 862.5 | 7.789 | 5.545 | 4.13 | 3.182 | 2.776 | 2.474 | 2.408 | 2.202 | 2.338
355 | 948.5 | 1295 | 1419 | 1401 | 1490 | 1623 | 1453 | 1449 | 1735 | 2217 | 2482 | 2487 | 2307 | 2084 | 1966 | 1972 | 1931 | 1734 | 1367 | 877.2 | 544.5 | 352.3 | 309 | 435.7 | 199.8 | 75.52 | 56.29 | 44.36 | 53.25 | 326.4 | 4471 | 7813 | 836.1 | 7.921 | 5.119 | 3.918 | 2.763 | 2.429 | 2.611 | 2.532 | 2.463
360 | 889 | 1090 | 1316 | 1267 | 1476 | 1475 | 1283 | 1281 | 1563 | 1906 | 2137 | 2178 | 2024 | 1850 | 1791 | 1818 | 1775 | 1592 | 1271 | 841.1 | 533.2 | 357.2 | 257.1 | 284.7 | 385.6 | 150.5 | 76.25 | 56.66 | 44.92 | 52.11 | 321.1 | 4347 | 8027 | 890 | 7.796 | 4.632 | 3.81 | 2.972 | 2.594 | 2.573 | 2.504
365 | 681.7 | 958.1 | 1118 | 1159 | 1388 | 1269 | 1130 | 1132 | 1336 | 1655 | 1842 | 1899 | 1794 | 1655 | 1638 | 1641 | 1609 | 1449 | 1171 | 790.1 | 520.8 | 367.3 | 265.9 | 212.1 | 295.6 | 331 | 123.9 | 71.2 | 56.88 | 44.12 | 50.13 | 314.1 | 4530 | 8218 | 854.3 | 7.83 | 4.328 | 3.578 | 2.959 | 2.559 | 2.106
370 | 552.9 | 838.6 | 908.8 | 1042 | 1222 | 1163 | 1054 | 1008 | 1166 | 1419 | 1600 | 1648 | 1551 | 1489 | 1459 | 1490 | 1475 | 1312 | 1085 | 744.3 | 507.2 | 376.6 | 291.4 | 226.1 | 200.5 | 322.4 | 280.2 | 109.2 | 75.86 | 58.93 | 44.31 | 48.39 | 327.3 | 4642 | 8113 | 753.7 | 6.898 | 4.548 | 3.63 | 2.738 | 2.687
375 | 508.3 | 749.3 | 798.3 | 945.6 | 1115 | 1090 | 947.7 | 883.8 | 1023 | 1243 | 1370 | 1422 | 1361 | 1301 | 1330 | 1315 | 1307 | 1217 | 994.2 | 705 | 509.5 | 390.6 | 313.5 | 259.8 | 221.2 | 219.4 | 347 | 240.4 | 106.2 | 78.02 | 60.43 | 44.77 | 52.86 | 337.1 | 4622 | 7473 | 729.5 | 7.19 | 4.884 | 3.348 | 2.839
380 | 462.4 | 673.9 | 756.4 | 879.3 | 985.7 | 991.8 | 841.3 | 792.8 | 903.9 | 1105 | 1174 | 1225 | 1173 | 1157 | 1166 | 1190 | 1191 | 1097 | 936 | 692.3 | 523.8 | 420.1 | 351.6 | 300.1 | 264.1 | 234.3 | 250.8 | 354.9 | 205.3 | 109.3 | 84.45 | 64.31 | 49.45 | 54.99 | 336.1 | 4372 | 7072 | 681.9 | 6.996 | 3.919 | 3.253
385 | 462.3 | 649.9 | 721.5 | 781.9 | 858.8 | 933.3 | 772.6 | 752.8 | 793.1 | 927.6 | 1025 | 1076 | 1052 | 1027 | 1044 | 1092 | 1099 | 1027 | 888.7 | 687.6 | 552.8 | 464 | 404.8 | 365.7 | 322.2 | 288.2 | 258.9 | 294.4 | 347.5 | 181.7 | 115.6 | 89.52 | 71.23 | 51.44 | 54.55 | 321.6 | 4067 | 6722 | 640.1 | 6.261 | 3.937
390 | 578.6 | 574.5 | 635.9 | 757.4 | 793.3 | 833.6 | 726.9 | 712.8 | 746 | 845.2 | 907 | 927.1 | 929.3 | 907.1 | 948.3 | 1001 | 1005 | 963.9 | 855.8 | 703.2 | 593.5 | 523.3 | 477.2 | 436.6 | 394.9 | 355.1 | 314.8 | 279.7 | 335.8 | 329.3 | 179 | 126.7 | 97.42 | 72.62 | 50.55 | 50.65 | 296.4 | 3787 | 6218 | 620 | 6.071
395 | 1041 | 554.6 | 642.7 | 732.5 | 812 | 804.1 | 705.1 | 656.5 | 694 | 747.2 | 816.3 | 835.8 | 819.9 | 825.4 | 870.7 | 930.3 | 949.7 | 919.8 | 856.9 | 721.5 | 647.4 | 592.5 | 558.5 | 517.6 | 476.6 | 433.7 | 383.9 | 333.9 | 298.2 | 366.8 | 298.7 | 171 | 128.9 | 95.14 | 65.76 | 42.29 | 44.48 | 279.4 | 3609 | 5838 | 592.9
400 | 1661 | 786.1 | 610.3 | 683.8 | 753.8 | 785.1 | 691.4 | 641.2 | 645.3 | 678.8 | 710.6 | 736 | 737.2 | 753.3 | 805.9 | 862.5 | 912 | 906.4 | 854.3 | 760.4 | 702.7 | 668.1 | 639.6 | 603.8 | 565.1 | 510.3 | 457.9 | 397.3 | 342.3 | 322 | 374.7 | 268.5 | 163.2 | 118.6 | 82.79 | 53.33 | 33.77 | 38.2 | 259.1 | 3364 | 5621
405 | 1218 | 1503 | 589.1 | 686.3 | 720.7 | 742.4 | 676.7 | 613.6 | 604.8 | 632 | 670.4 | 680.5 | 673.2 | 699 | 754.7 | 815.7 | 877.9 | 889.4 | 864.9 | 785.6 | 752.4 | 727.3 | 707.3 | 678.5 | 642 | 588.8 | 527.2 | 451.6 | 383.8 | 328.1 | 325.7 | 360.5 | 234 | 143.3 | 99.12 | 64.33 | 40.89 | 26.58 | 33.38 | 237.9 | 3039
410 | 544.2 | 2257 | 881 | 708.9 | 749 | 700.9 | 652.5 | 606.8 | 603.4 | 583 | 604.3 | 608.2 | 625.1 | 650.2 | 709.7 | 783.5 | 848.1 | 875.2 | 855.9 | 816.3 | 786.4 | 774.3 | 767.2 | 745.7 | 704.3 | 645.4 | 569.1 | 499.2 | 420.1 | 362.1 | 314.8 | 329.1 | 327.4 | 187.2 | 116.3 | 75.77 | 49.32 | 33.79 | 22.34 | 30.07 | 216.9
415 | 335.5 | 1567 | 1857 | 683.4 | 682.1 | 688.9 | 622.2 | 587.1 | 556.6 | 551.8 | 578.2 | 563.7 | 600.8 | 616.8 | 668.4 | 744.9 | 808.6 | 847.8 | 844.8 | 816.1 | 805.9 | 816.6 | 799.7 | 784 | 747.8 | 680.5 | 608.6 | 533.6 | 452.1 | 384.9 | 331.6 | 291.4 | 317.2 | 273.3 | 141.9 | 87.33 | 56.97 | 38.13 | 27.28 | 19.5 | 27.48
420 | 343.5 | 663.5 | 2641 | 998.4 | 673.7 | 623.6 | 596.6 | 585.8 | 535 | 541.7 | 528.5 | 533.9 | 561.9 | 572.7 | 640.9 | 707.6 | 777.1 | 813.1 | 823.9 | 814.7 | 807.6 | 830.7 | 823.5 | 802.5 | 776.8 | 709.9 | 630.1 | 556.1 | 468 | 402.1 | 347 | 290.8 | 264 | 287.8 | 203.8 | 105.3 | 65.5 | 45.88 | 33.35 | 23.11 | 17.73
425 | 391.6 | 459.8 | 1912 | 2179 | 635.6 | 598.9 | 585 | 525.3 | 515.5 | 497.5 | 512.4 | 512.4 | 522.1 | 543.4 | 609 | 670.9 | 738.7 | 775.8 | 795.4 | 793.7 | 805.2 | 812.6 | 825.6 | 810 | 771.6 | 726.3 | 639.8 | 558.5 | 480.2 | 407.6 | 349.2 | 299.8 | 252.2 | 233 | 251.7 | 147.9 | 78.11 | 54.18 | 36.91 | 28.3 | 21.14
430 | 331.4 | 470.4 | 787.3 | 3084 | 924.7 | 578.8 | 566.2 | 511.3 | 495.6 | 487.5 | 484 | 494.3 | 496.5 | 516.4 | 578.9 | 650.1 | 708 | 749.6 | 768.9 | 776.2 | 794.6 | 812.5 | 814.6 | 801.5 | 767.1 | 707.4 | 638 | 561.2 | 480.6 | 409.7 | 356.1 | 307.2 | 255.5 | 213.4 | 209.1 | 202.7 | 108.6 | 63.53 | 45.13 | 34.54 | 27.78
435 | 399.5 | 410.3 | 499 | 2250 | 2244 | 588.9 | 532 | 489.9 | 488.2 | 479.3 | 471.4 | 459.8 | 475.5 | 498.5 | 562.6 | 621.9 | 672 | 711.5 | 746.8 | 752.8 | 770.6 | 789.7 | 795.3 | 786 | 751.8 | 697.8 | 628.6 | 551 | 476.4 | 408.1 | 353.8 | 307.7 | 260.8 | 217.6 | 176.6 | 188 | 160.6 | 82.06 | 54.23 | 42.67 | 32.99
440 | 273.8 | 406 | 426.9 | 825.9 | 3511 | 896.2 | 508.2 | 491.7 | 471.7 | 457.3 | 447.3 | 456.8 | 459 | 484.9 | 540.4 | 588.6 | 634.8 | 661.6 | 702.4 | 710.2 | 733.8 | 758.1 | 759.4 | 753.3 | 731 | 680.6 | 609 | 540.6 | 467 | 400.1 | 348.9 | 304.8 | 263.5 | 215.8 | 176.4 | 146.9 | 167.2 | 123.6 | 67.27 | 49.3 | 40.76
445 | 260.9 | 361.1 | 426.1 | 461.2 | 2594 | 2307 | 474.1 | 449.1 | 454.3 | 435.9 | 413.4 | 432.5 | 440.5 | 458.4 | 497.4 | 551.4 | 596.1 | 632.1 | 658.2 | 672.2 | 688.7 | 704.8 | 715.6 | 710.4 | 688.2 | 642.8 | 578 | 511.7 | 448.9 | 390.7 | 342.6 | 297.8 | 257.7 | 213.9 | 175.9 | 142.1 | 130.6 | 149.6 | 97.38 | 56.83 | 43.38
450 | 269.7 | 370.1 | 436.2 | 432.7 | 936.2 | 3796 | 870.3 | 401.4 | 419.2 | 417 | 418.9 | 409.4 | 412.9 | 433.9 | 467.2 | 516.5 | 552.8 | 580.9 | 607.2 | 617.9 | 637.8 | 660.2 | 672.3 | 664.5 | 639.2 | 600.7 | 548.2 | 484.2 | 423.2 | 372 | 326.3 | 283.5 | 248.5 | 210.1 | 174 | 137 | 113.6 | 121.6 | 128 | 76.42 | 49.75
455 | 251.4 | 291.4 | 395.9 | 382.7 | 432.6 | 2962 | 2338 | 409.5 | 398.7 | 382.6 | 387.2 | 387.9 | 387.8 | 399.1 | 434.3 | 458.2 | 506.4 | 536.9 | 547.3 | 563.2 | 581.8 | 591 | 606.9 | 598.9 | 581.2 | 557.2 | 505.7 | 452.8 | 393.8 | 347.4 | 308.4 | 271.2 | 239 | 205.9 | 170.2 | 138.1 | 110 | 97.84 | 114.5 | 105.3 | 60.71
460 | 219 | 302.6 | 312.1 | 387.4 | 360.7 | 976.7 | 3964 | 760.4 | 358.3 | 367.8 | 357.2 | 357.7 | 362.8 | 359 | 390.7 | 424 | 463.4 | 480.2 | 496.6 | 496.9 | 522.8 | 539.9 | 550.1 | 541.9 | 531.4 | 508 | 459.9 | 415.7 | 367.6 | 329.4 | 287.5 | 254.9 | 224.7 | 192 | 162.9 | 134.4 | 107.8 | 92.82 | 85.94 | 104.8 | 83.31
465 | 220 | 247.9 | 291.3 | 411.1 | 309.9 | 379.6 | 3051 | 2198 | 347.5 | 327.5 | 331.3 | 319.7 | 327.2 | 336 | 357.9 | 389.4 | 408.4 | 429.6 | 443.8 | 445.9 | 464.7 | 487.4 | 493.5 | 484.1 | 476.8 | 451 | 417.5 | 374.5 | 336.5 | 292.5 | 262.5 | 233.9 | 210.5 | 180.6 | 154.3 | 128.2 | 105.6 | 89.89 | 76.89 | 77.75 | 95.09
470 | 169.5 | 221.2 | 253.6 | 317.3 | 302.6 | 294.1 | 893.4 | 3770 | 709 | 302 | 300.2 | 298.5 | 302.6 | 309.5 | 315.3 | 347.6 | 365.3 | 382.4 | 386.9 | 402.3 | 409 | 426.5 | 432.2 | 434.1 | 419.6 | 400.4 | 375.4 | 341.4 | 302.4 | 269.3 | 239.5 | 214.3 | 193 | 167.5 | 146.1 | 123.1 | 100.9 | 86.9 | 73.42 | 66.14 | 73.73
475 | 183.9 | 171.7 | 214.1 | 288.4 | 330.4 | 273.9 | 327.2 | 3070 | 2088 | 278.6 | 272.4 | 272.5 | 280.2 | 274.6 | 287.4 | 305.1 | 323.2 | 335.5 | 344 | 349.1 | 360.3 | 375.6 | 373.6 | 377.9 | 374.1 | 355.8 | 331.4 | 304.4 | 270.4 | 244.4 | 213.2 | 197.4 | 175.8 | 156.1 | 133.9 | 115.2 | 94.92 | 82.34 | 70.82 | 62.46 | 58.04
480 | 144.2 | 135.2 | 193.5 | 211.8 | 308.4 | 273 | 244.6 | 903.6 | 3643 | 613.4 | 258.3 | 249.3 | 253.4 | 255.5 | 264.4 | 277.9 | 296.4 | 302.8 | 305.7 | 310.1 | 313.4 | 324.3 | 326.9 | 330.3 | 325.7 | 313.7 | 298.6 | 272 | 245.5 | 222.1 | 195.9 | 178.3 | 159.4 | 145.7 | 126.8 | 107.5 | 93.77 | 80.33 | 68.62 | 60.46 | 52.88
485 | 130.9 | 132 | 182.3 | 177.2 | 229.4 | 300.5 | 227.3 | 270.8 | 2882 | 1877 | 253.2 | 239.9 | 248.8 | 238.4 | 247.6 | 259.8 | 266 | 263.8 | 273.1 | 268.7 | 278.1 | 286.4 | 297.1 | 299 | 290.4 | 282.9 | 263.1 | 242.6 | 225.2 | 202.1 | 180.8 | 166.9 | 150.6 | 139 | 121.5 | 106.3 | 91.47 | 79.13 | 69.52 | 60.64 | 54.16
490 | 118.1 | 136.1 | 162.1 | 152.7 | 189.9 | 322.6 | 239 | 205.2 | 874 | 3321 | 546 | 221.8 | 242 | 229.7 | 254.4 | 248.1 | 248.1 | 250.4 | 241.5 | 240.9 | 247.1 | 258.4 | 265 | 257.6 | 259.9 | 249.1 | 239.9 | 224 | 204.8 | 190.7 | 174.4 | 156.9 | 145.3 | 134.3 | 118.9 | 104.4 | 92.28 | 80.41 | 69.58 | 63.09 | 55.85
495 | 121.7 | 112.8 | 140.8 | 143.7 | 167 | 248 | 270.4 | 206.7 | 248.7 | 2743 | 1687 | 241.6 | 240.2 | 247.9 | 250.2 | 254.6 | 235.5 | 231.8 | 216.6 | 217.5 | 217 | 225.3 | 233.2 | 231 | 232.3 | 223 | 215.5 | 202.9 | 188.2 | 172.8 | 162.8 | 151.6 | 139.4 | 131.4 | 119.3 | 106.1 | 95.3 | 80.93 | 71.22 | 63.44 | 57.17
500 | 127.5 | 114.1 | 120.4 | 139 | 166.1 | 180.6 | 290.6 | 189.7 | 183.8 | 854.5 | 3045 | 488.1 | 243.9 | 251 | 254.3 | 248.7 | 231.6 | 210.6 | 196.6 | 186.2 | 192.8 | 197.4 | 200.7 | 199.8 | 203.2 | 203 | 191.4 | 183.6 | 169.4 | 159.6 | 152.3 | 140.7 | 135.1 | 129.1 | 120.4 | 108.6 | 95.62 | 83.08 | 73.03 | 66.84 | 58.86