## Sheet1
Report date: | 16:11:10, 09/19/2024
Sample: | 1
File name:
Run date: | 16:05:42, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 210.0/325.0 | 2156
2 | 210.0/490.0 | 164.3
3 | 215.0/460.0 | 442.5
4 | 220.0/295.0 | 2238
5 | 220.0/320.0 | 2016
6 | 225.0/315.0 | 1999
7 | 225.0/490.0 | 314.5
8 | 250.0/275.0 | 551.4
9 | 250.0/330.0 | 3491
10 | 255.0/280.0 | 682.8
11 | 265.0/295.0 | 1343
12 | 270.0/300.0 | 1786
13 | 275.0/305.0 | 2091
14 | 280.0/315.0 | 2218
15 | 290.0/410.0 | 835.5
16 | 310.0/350.0 | 489.2
17 | 310.0/425.0 | 820.6
18 | 315.0/355.0 | 428.9
19 | 320.0/360.0 | 383.5
20 | 325.0/365.0 | 332.2
21 | 330.0/375.0 | 345.4
22 | 335.0/380.0 | 355.7
23 | 340.0/385.0 | 350.4
24 | 345.0/395.0 | 363.1
25 | 350.0/400.0 | 368.6
26 | 355.0/405.0 | 359.4
27 | 360.0/410.0 | 324.9
28 | 365.0/420.0 | 288.9
29 | 380.0/440.0 | 169.8
30 | 385.0/445.0 | 152.5
31 | 390.0/450.0 | 130.7
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 130 | 102.5 | 134.7 | 127.7 | 120.5 | 80.33 | 38.12 | 22.62 | 62.83 | 458.5 | 260.2 | 45.1 | 83.92 | 5740 | 9999.9 | 2342 | 18.99 | 7.642 | 4.781 | 3.758 | 2.977 | 2.542 | 2.617 | 2.523 | 2.108 | 2.023 | 2.128 | 1.983 | 1.839 | 1.614 | 2.011 | 1.522 | 1.63 | 1.643 | 1.76 | 1.64 | 1.535 | 1.779 | 1.783 | 1.418 | 1.246
275 | 722.9 | 443.9 | 539.8 | 658.2 | 660.9 | 421.9 | 114.4 | 31.31 | 31.74 | 154.9 | 551.4 | 260 | 135.1 | 544.2 | 6500 | 9999.9 | 2102 | 15.94 | 7.276 | 4.312 | 3.808 | 2.863 | 2.623 | 2.614 | 2.265 | 2.434 | 1.855 | 2.166 | 2.066 | 1.709 | 1.497 | 1.869 | 1.939 | 1.639 | 1.706 | 1.554 | 1.832 | 1.873 | 2.25 | 2.058 | 1.544
280 | 1372 | 821.7 | 1006 | 1318 | 1228 | 821.2 | 232.3 | 54.74 | 45.35 | 78.67 | 303.1 | 682.8 | 349.7 | 299.7 | 691.7 | 6803 | 9999.9 | 1935 | 16.43 | 6.173 | 4.217 | 3.845 | 2.603 | 2.854 | 2.643 | 2.29 | 1.886 | 1.866 | 1.931 | 1.769 | 1.695 | 1.719 | 1.7 | 1.52 | 1.68 | 1.745 | 1.851 | 1.984 | 2.378 | 2.168 | 2.499
285 | 1758 | 1227 | 1301 | 1726 | 1855 | 1226 | 392.5 | 102.4 | 78.98 | 107.4 | 171.8 | 566.7 | 828.1 | 498.9 | 455.8 | 733.8 | 6686 | 9999.9 | 1721 | 15.32 | 6.008 | 4.56 | 3.995 | 3.138 | 3.23 | 2.488 | 2.324 | 1.945 | 2.088 | 1.846 | 2.17 | 1.492 | 1.882 | 1.49 | 1.695 | 1.729 | 1.949 | 2.092 | 2.758 | 2.776 | 2.257
290 | 2249 | 1405 | 1514 | 1947 | 2164 | 1556 | 584.7 | 204.6 | 140.7 | 150.7 | 208.9 | 346 | 910.1 | 994.3 | 673 | 558.9 | 781.6 | 6720 | 9999.9 | 1522 | 12.66 | 5.595 | 4.045 | 3.167 | 3.61 | 2.625 | 2.75 | 1.922 | 1.835 | 1.974 | 1.942 | 1.884 | 1.738 | 1.644 | 1.673 | 1.913 | 1.921 | 2.469 | 2.935 | 2.79 | 2.524
295 | 2131 | 1522 | 1674 | 2060 | 2238 | 1735 | 835.4 | 418.1 | 282.1 | 276.4 | 333.6 | 460.1 | 654.8 | 1343 | 1205 | 847.6 | 642.7 | 801.9 | 6494 | 9999.9 | 1350 | 10.93 | 5.259 | 4.415 | 3.367 | 2.994 | 3.063 | 2.258 | 2.57 | 2.127 | 1.84 | 1.979 | 1.748 | 1.857 | 1.814 | 1.725 | 1.609 | 2.473 | 2.589 | 2.458 | 2.325
300 | 2095 | 1737 | 1588 | 2000 | 2158 | 1819 | 1073 | 696.4 | 561.1 | 588.2 | 659.1 | 726.6 | 829 | 1091 | 1786 | 1361 | 945 | 631.5 | 692.8 | 6260 | 9588 | 1219 | 9.994 | 5.77 | 4.712 | 3.544 | 2.674 | 2.759 | 2.48 | 2.137 | 1.824 | 2.148 | 1.98 | 1.951 | 1.573 | 1.824 | 2.004 | 2.336 | 2.515 | 2.583 | 2.354
305 | 1927 | 1746 | 1677 | 1875 | 2100 | 1929 | 1303 | 1056 | 1008 | 1083 | 1173 | 1175 | 1170 | 1221 | 1594 | 2091 | 1406 | 889.5 | 490.3 | 608.3 | 5949 | 9127 | 1089 | 9.476 | 5.784 | 4.237 | 3.567 | 2.815 | 2.603 | 2.559 | 2.44 | 2.294 | 2.175 | 1.872 | 1.714 | 1.942 | 1.848 | 2.267 | 2.648 | 2.536 | 2.223
310 | 1968 | 1921 | 1840 | 1878 | 1996 | 1950 | 1631 | 1450 | 1495 | 1688 | 1799 | 1748 | 1572 | 1503 | 1641 | 2044 | 2121 | 1242 | 676.8 | 334.6 | 505.1 | 5408 | 9128 | 1050 | 9.315 | 5.106 | 3.723 | 3.289 | 3.007 | 2.637 | 2.529 | 2.023 | 2.321 | 2.175 | 1.821 | 1.923 | 2.327 | 2.32 | 2.616 | 2.636 | 2.418
315 | 1817 | 1877 | 1923 | 1933 | 1995 | 1999 | 1782 | 1746 | 1978 | 2265 | 2453 | 2331 | 2010 | 1772 | 1841 | 1999 | 2218 | 1867 | 934 | 442.9 | 204.5 | 434.7 | 5257 | 8657 | 945 | 8.701 | 5.143 | 4.262 | 2.808 | 3.008 | 2.405 | 2.748 | 2.597 | 2.184 | 1.98 | 1.805 | 2.203 | 2.427 | 2.504 | 2.593 | 2.248
320 | 1739 | 2016 | 2070 | 1889 | 2016 | 1987 | 1949 | 1996 | 2374 | 2732 | 2985 | 2816 | 2372 | 2030 | 2049 | 2107 | 2078 | 2092 | 1395 | 607.1 | 253.7 | 143.4 | 414.4 | 4998 | 8466 | 918.7 | 8.896 | 5.672 | 4.433 | 3.285 | 2.844 | 2.982 | 2.935 | 2.438 | 2.354 | 2.139 | 1.92 | 2.401 | 2.124 | 2.528 | 2.579
325 | 1754 | 2085 | 2156 | 1928 | 1945 | 1966 | 1992 | 2095 | 2553 | 3094 | 3315 | 3174 | 2645 | 2233 | 2181 | 2208 | 2176 | 1885 | 1709 | 880.8 | 328.2 | 165 | 117.6 | 381.2 | 4815 | 8319 | 895.7 | 8.621 | 5.181 | 3.959 | 3.305 | 2.776 | 2.735 | 2.263 | 2.362 | 2.175 | 2.201 | 2.235 | 2.187 | 2.179 | 2.682
330 | 1701 | 2062 | 1999 | 1861 | 1935 | 1947 | 2002 | 2206 | 2625 | 3162 | 3491 | 3311 | 2785 | 2394 | 2237 | 2274 | 2218 | 1910 | 1470 | 1205 | 491.6 | 199 | 117.6 | 83.12 | 352.1 | 4703 | 8285 | 886.5 | 8.448 | 4.98 | 3.889 | 3.4 | 2.955 | 2.728 | 2.375 | 2.117 | 2.351 | 2.212 | 2.325 | 2.519 | 2.351
335 | 1563 | 1909 | 2005 | 1750 | 1938 | 1902 | 1939 | 2107 | 2580 | 3157 | 3457 | 3312 | 2838 | 2411 | 2281 | 2300 | 2246 | 1936 | 1441 | 999.7 | 805.9 | 298.8 | 141.2 | 76.78 | 62.12 | 339.7 | 4746 | 8332 | 852.9 | 8.161 | 5.171 | 4.096 | 3.389 | 2.995 | 2.643 | 2.567 | 2.52 | 2.144 | 2.265 | 2.354 | 2.587
340 | 1482 | 1739 | 1912 | 1793 | 1838 | 1855 | 1827 | 2009 | 2408 | 2971 | 3298 | 3216 | 2785 | 2368 | 2249 | 2242 | 2182 | 1921 | 1437 | 879.4 | 681.7 | 567.3 | 196.9 | 90.46 | 54.61 | 54.43 | 340.1 | 4647 | 8158 | 855 | 8.009 | 5.166 | 4.122 | 3.55 | 2.827 | 2.504 | 2.637 | 2.467 | 2.228 | 2.336 | 2.382
345 | 1316 | 1731 | 1699 | 1667 | 1777 | 1760 | 1646 | 1806 | 2206 | 2746 | 3040 | 2992 | 2623 | 2276 | 2129 | 2160 | 2090 | 1873 | 1401 | 870.1 | 513.9 | 555.1 | 410.6 | 119.1 | 62.07 | 43.67 | 51.64 | 335 | 4590 | 8097 | 847.7 | 7.735 | 5.068 | 4.009 | 3.146 | 3.105 | 2.593 | 2.064 | 2.374 | 2.213 | 2.318
350 | 1104 | 1347 | 1516 | 1514 | 1704 | 1653 | 1519 | 1604 | 1965 | 2418 | 2689 | 2692 | 2390 | 2130 | 2013 | 2011 | 1973 | 1755 | 1351 | 846.6 | 499.4 | 355.7 | 489.2 | 277.9 | 86.02 | 55.65 | 43.48 | 51.34 | 329 | 4497 | 7997 | 859.4 | 8.391 | 5.398 | 3.86 | 2.89 | 2.649 | 2.651 | 2.543 | 2.218 | 2.225
355 | 1004 | 1215 | 1338 | 1375 | 1573 | 1522 | 1346 | 1428 | 1738 | 2149 | 2351 | 2401 | 2161 | 1933 | 1858 | 1871 | 1821 | 1618 | 1268 | 815.2 | 503.1 | 331.1 | 296.4 | 428.9 | 196.4 | 74.78 | 55.89 | 44.62 | 52.73 | 328.7 | 4419 | 7915 | 827.1 | 7.539 | 5.141 | 4.016 | 3.312 | 2.571 | 2.35 | 2.38 | 2.167
360 | 823.9 | 1051 | 1159 | 1256 | 1395 | 1423 | 1212 | 1261 | 1497 | 1839 | 2062 | 2109 | 1940 | 1727 | 1705 | 1707 | 1673 | 1489 | 1198 | 776.3 | 494.9 | 335.9 | 249.3 | 271.7 | 383.5 | 154.4 | 75.14 | 58.14 | 44.02 | 52.85 | 317.7 | 4365 | 7929 | 856.5 | 8.414 | 4.986 | 3.932 | 2.862 | 2.692 | 2.771 | 2.294
365 | 694.9 | 893.7 | 1170 | 1096 | 1267 | 1270 | 1140 | 1074 | 1293 | 1619 | 1812 | 1823 | 1682 | 1576 | 1562 | 1570 | 1528 | 1368 | 1090 | 743.6 | 492.9 | 344.4 | 255.1 | 207.7 | 296.3 | 332.2 | 125.8 | 73.81 | 56.01 | 47.09 | 49.95 | 315.5 | 4445 | 7929 | 811.1 | 7.77 | 5.179 | 3.899 | 3.014 | 2.605 | 2.415
370 | 598.7 | 832.7 | 946.4 | 1019 | 1113 | 1158 | 997.6 | 966.3 | 1147 | 1385 | 1569 | 1595 | 1494 | 1408 | 1387 | 1409 | 1384 | 1242 | 1021 | 707 | 487.2 | 359.1 | 277.6 | 221.4 | 200 | 323.2 | 282.8 | 110.7 | 74.51 | 56.62 | 43.57 | 49.87 | 321.5 | 4492 | 7986 | 812.2 | 7.424 | 5.044 | 3.66 | 2.556 | 2.468
375 | 568.9 | 684.2 | 807.9 | 934.1 | 1003 | 1030 | 901.2 | 854.1 | 1015 | 1225 | 1337 | 1366 | 1320 | 1235 | 1231 | 1262 | 1259 | 1146 | 940.3 | 675.3 | 487.4 | 376.7 | 305.3 | 252.5 | 214.7 | 220.3 | 345.4 | 236.9 | 106.8 | 78.46 | 59.07 | 45.6 | 53.04 | 329.2 | 4685 | 7628 | 770.2 | 6.776 | 4.413 | 3.396 | 2.753
380 | 519.2 | 690.1 | 701.8 | 792.4 | 925.4 | 987.1 | 844.7 | 801.9 | 883.7 | 1074 | 1160 | 1179 | 1129 | 1082 | 1118 | 1138 | 1133 | 1051 | 884.2 | 663.4 | 503 | 409.9 | 343.9 | 293.4 | 257.8 | 229.8 | 249.9 | 355.7 | 203.3 | 109.1 | 82.4 | 64.48 | 51.03 | 55.18 | 340.7 | 4360 | 7198 | 682.2 | 7.272 | 4.083 | 3.428
385 | 470.7 | 549.2 | 709.4 | 741.8 | 864 | 872.8 | 792.6 | 718.3 | 792.1 | 907.1 | 984.6 | 1038 | 1004 | 964.4 | 1005 | 1033 | 1049 | 990.7 | 844.2 | 669.4 | 534.6 | 452.3 | 396.2 | 358.8 | 317.6 | 282.3 | 255.3 | 292.7 | 350.4 | 184.1 | 118.2 | 90.98 | 70.33 | 52.48 | 54.64 | 321.4 | 4124 | 6628 | 648.9 | 6.499 | 4.331
390 | 603.7 | 610.1 | 673.9 | 745.5 | 855.5 | 807.3 | 743.3 | 691.2 | 720.9 | 812 | 865.6 | 892.8 | 885.9 | 881 | 899 | 955.9 | 970.6 | 930.1 | 827.1 | 681.1 | 573.1 | 508.5 | 465.9 | 433.9 | 397.7 | 355.4 | 311.5 | 278.2 | 331.1 | 331.3 | 175.4 | 123.5 | 97.21 | 72.69 | 49.22 | 49.68 | 298 | 3789 | 6299 | 614.3 | 6.317
395 | 1115 | 594.7 | 641.5 | 683.1 | 821.2 | 754.3 | 699.1 | 644.5 | 693.9 | 731 | 793.4 | 802 | 792.1 | 800.2 | 835.5 | 881 | 921.3 | 898.2 | 820.9 | 717.2 | 623.4 | 579.4 | 546.8 | 512 | 472 | 430.2 | 383.3 | 335.4 | 304.5 | 363.1 | 303.4 | 169.5 | 125.2 | 94.89 | 65.67 | 41.19 | 44.9 | 279.9 | 3624 | 5729 | 551.2
400 | 1683 | 751 | 573.6 | 698.7 | 741.6 | 767.7 | 684.4 | 625.2 | 635.8 | 677 | 708.8 | 722.7 | 724.8 | 725.1 | 769.2 | 829 | 875.2 | 881.6 | 824.9 | 737.8 | 681.9 | 648.4 | 626.7 | 594.1 | 556.8 | 511.2 | 455 | 390.9 | 336.3 | 308.2 | 368.6 | 270.5 | 159.1 | 119 | 79.61 | 53.34 | 34.46 | 38.34 | 261 | 3346 | 5352
405 | 1324 | 1587 | 568.9 | 654 | 707.4 | 692.5 | 655.4 | 631.6 | 604.5 | 640.5 | 648.2 | 668.9 | 667.6 | 680.8 | 746.3 | 798.4 | 842.9 | 861.6 | 835.1 | 772.8 | 732.7 | 716.4 | 701.6 | 675.3 | 635.9 | 578 | 515.8 | 445.6 | 386.1 | 326.8 | 320.1 | 359.4 | 232.5 | 142.3 | 98.23 | 64.91 | 41.26 | 26.7 | 33.79 | 238.3 | 2939
410 | 581.5 | 2068 | 912 | 646.5 | 652.4 | 699.8 | 630.8 | 592.4 | 577.4 | 582.7 | 597.1 | 602.7 | 620.4 | 636.9 | 693.2 | 754.3 | 817.7 | 833.8 | 835.5 | 790.7 | 774.6 | 767.6 | 757.2 | 732.9 | 693.1 | 637.6 | 564.2 | 490.6 | 422.3 | 360.5 | 310.1 | 323.5 | 324.9 | 189.3 | 113.2 | 77.37 | 50.94 | 31.9 | 22.47 | 30.01 | 210.4
415 | 372.2 | 1538 | 1839 | 640 | 662.2 | 654 | 618.4 | 572.2 | 577.9 | 560.7 | 563.7 | 563.7 | 581.4 | 612.5 | 662 | 737.2 | 789.5 | 818.3 | 823.2 | 808.1 | 803.6 | 797.6 | 796.6 | 776.1 | 740.6 | 681.3 | 609.3 | 521.6 | 445.5 | 381.1 | 323.5 | 287.1 | 317 | 270.9 | 140 | 87.75 | 57.68 | 38.66 | 25.88 | 19.89 | 26.62
420 | 370.2 | 724.9 | 2691 | 953.2 | 651.6 | 642.7 | 602.5 | 577.1 | 549.2 | 524 | 533.7 | 522.3 | 536.7 | 572 | 629.6 | 695.9 | 756.2 | 801.6 | 812.4 | 804.3 | 805.6 | 811.6 | 818.3 | 798.6 | 758 | 703.2 | 625.3 | 549.5 | 469.5 | 392 | 336 | 288.1 | 259.6 | 288.9 | 203.9 | 104.5 | 67.28 | 45.61 | 32.12 | 23.2 | 17.68
425 | 370.7 | 516.7 | 1925 | 2150 | 636.6 | 613.8 | 575.9 | 546.4 | 513.8 | 508.9 | 517.3 | 510.8 | 505.2 | 543.8 | 605.2 | 674.5 | 724 | 763.8 | 792.3 | 786.8 | 793 | 806.5 | 820.6 | 804.3 | 763.5 | 710.8 | 631.4 | 548.7 | 472.9 | 400.9 | 346.3 | 296.2 | 253.5 | 236 | 250.6 | 148.5 | 78.13 | 52.86 | 38.69 | 28 | 22.32
430 | 374.1 | 427.7 | 810.5 | 3008 | 985.1 | 547.6 | 557.1 | 525.8 | 500.2 | 490.6 | 481.4 | 492.3 | 504.5 | 528.9 | 572.8 | 643.2 | 692.5 | 733.1 | 759.1 | 770.3 | 779.3 | 797.2 | 807.9 | 791.5 | 758.7 | 697.6 | 631.2 | 552.9 | 476 | 408.7 | 350.1 | 299.9 | 253.8 | 212.2 | 207.9 | 201.5 | 106.8 | 62.79 | 47.11 | 35.33 | 28.06
435 | 321.3 | 467 | 496.7 | 2315 | 2198 | 532.2 | 525.3 | 492.3 | 486.5 | 476.6 | 462.6 | 469.2 | 474.7 | 506 | 544.5 | 612.2 | 664.6 | 694.4 | 728.8 | 738.9 | 762.5 | 773.6 | 790 | 770.7 | 741.5 | 689.1 | 620.7 | 542.8 | 470.2 | 404.3 | 352 | 299.8 | 259.2 | 212.9 | 176.9 | 187.9 | 159.7 | 82.79 | 54.92 | 43.11 | 34.06
440 | 293.7 | 456.1 | 447.1 | 844 | 3395 | 920 | 502.6 | 471.3 | 465.5 | 449.2 | 440.4 | 447.6 | 457.1 | 470.4 | 522.7 | 582.7 | 629.9 | 671.1 | 695.2 | 701.9 | 726 | 745.1 | 752.3 | 738.3 | 717.3 | 674.2 | 599 | 532.3 | 462 | 400.4 | 345.9 | 304.3 | 257.1 | 219.4 | 175.2 | 147 | 169.8 | 126.1 | 68.34 | 49.95 | 41.16
445 | 261.7 | 399.9 | 492.2 | 466.3 | 2748 | 2234 | 499.8 | 463.7 | 449.2 | 430.4 | 432.6 | 442.8 | 435.4 | 440.4 | 490.6 | 547 | 579.2 | 621 | 644.5 | 659.6 | 677.5 | 704.4 | 705.5 | 701.6 | 680.9 | 640.3 | 575 | 507.8 | 445.6 | 387 | 333.1 | 296.6 | 254.7 | 215.9 | 178.1 | 138.2 | 132.4 | 152.5 | 98.85 | 57.47 | 46.71
450 | 238.9 | 339.3 | 451.9 | 411.5 | 955.3 | 3935 | 867.4 | 437 | 430.6 | 390.6 | 405.8 | 406.6 | 412.8 | 431.4 | 450.7 | 512.6 | 536.1 | 570.8 | 586.8 | 610.8 | 628.9 | 648.7 | 654.6 | 648.4 | 626.1 | 594.4 | 537.9 | 475.7 | 420.2 | 363.5 | 322.3 | 280.6 | 246.6 | 210.9 | 174.3 | 137.6 | 115.4 | 122.6 | 130.7 | 77.01 | 50.94
455 | 227.5 | 305.4 | 376.3 | 406.5 | 435.4 | 2995 | 2354 | 406.2 | 398.8 | 393.6 | 399.8 | 389.7 | 387.6 | 394.4 | 418.5 | 474 | 505.1 | 525.6 | 539.2 | 559.3 | 573.8 | 593.4 | 601 | 598.2 | 578.9 | 543.7 | 494 | 448.1 | 394 | 344.6 | 301.6 | 267.5 | 232.4 | 203.2 | 166.7 | 137.6 | 113.5 | 99.1 | 116 | 106.6 | 60.56
460 | 193.7 | 259.6 | 355.3 | 442.5 | 349 | 987.8 | 4092 | 782 | 344.4 | 364.1 | 362.1 | 358.5 | 352.6 | 364.5 | 381.1 | 426.4 | 442.4 | 470.4 | 486.1 | 495.2 | 519.6 | 537 | 543.3 | 540.1 | 529.6 | 497.9 | 452.8 | 410.9 | 361.2 | 320.2 | 284 | 250.4 | 223.5 | 192.3 | 164.5 | 136.2 | 110.8 | 92.74 | 86.8 | 106.7 | 84.63
465 | 211.4 | 249.7 | 271.2 | 361.6 | 326.7 | 358.5 | 3091 | 2278 | 342.3 | 338.6 | 330.3 | 336.8 | 320.2 | 331.8 | 353.5 | 379.3 | 403.6 | 420.9 | 434.1 | 440.8 | 457.2 | 478.8 | 482.3 | 484 | 473.8 | 445.9 | 411.1 | 371.6 | 330.7 | 294.7 | 260.2 | 235.1 | 206.1 | 182.5 | 153.8 | 129.5 | 107.1 | 92.78 | 79.48 | 79.73 | 96.6
470 | 201.7 | 246.2 | 236.5 | 350.4 | 328.3 | 322 | 918.2 | 3832 | 725.8 | 302.6 | 300.2 | 314.3 | 306.8 | 304.6 | 308.8 | 339.1 | 358.4 | 369 | 390.5 | 392.3 | 408.8 | 419.5 | 421.6 | 424.2 | 415.9 | 396.8 | 366 | 332.6 | 300.6 | 263 | 237.8 | 211.6 | 190.9 | 169.5 | 147.8 | 122.3 | 104.5 | 88 | 75.8 | 67.07 | 74.62
475 | 161.9 | 202.8 | 234.5 | 256.6 | 325.1 | 277.1 | 335.2 | 2984 | 2129 | 289.4 | 273.5 | 277.1 | 273.7 | 271.7 | 282.2 | 304.5 | 320.2 | 328.8 | 342.5 | 341.9 | 351 | 368.1 | 370.3 | 367.9 | 367.2 | 349.8 | 327 | 296.2 | 267.8 | 239.3 | 215.2 | 192.3 | 172.1 | 153 | 134 | 114.9 | 99.68 | 82.67 | 70.65 | 63.64 | 58.63
480 | 149.8 | 171.6 | 193.2 | 214.9 | 287.9 | 282.2 | 239.8 | 913.9 | 3631 | 633.4 | 256.5 | 255 | 252.1 | 257.2 | 257.5 | 279.9 | 283.9 | 291.4 | 295.1 | 302.4 | 312.7 | 320.5 | 330.9 | 328.5 | 322.2 | 310.7 | 289.2 | 263.5 | 240.3 | 217.9 | 193.1 | 174.4 | 160.8 | 145.1 | 127.7 | 109.5 | 94.79 | 82.81 | 70.68 | 60.55 | 53.15
485 | 140.7 | 115.7 | 150.6 | 212.9 | 241.3 | 303.1 | 224.7 | 280.3 | 2863 | 1936 | 239.4 | 235.5 | 239.6 | 242.7 | 253.3 | 258.5 | 267.1 | 266 | 265.3 | 267.8 | 277.6 | 285 | 293.4 | 294.5 | 286.4 | 273.7 | 259.7 | 242.2 | 218 | 199.4 | 180.9 | 163.1 | 149.8 | 137.3 | 122.6 | 106.3 | 93.08 | 78.27 | 69.43 | 60.08 | 53.49
490 | 114.8 | 159.9 | 164.3 | 154.3 | 213.9 | 314.5 | 233 | 207.9 | 852.2 | 3400 | 545.6 | 230 | 234.2 | 245.5 | 239.9 | 256 | 250.8 | 248.5 | 242.8 | 239.3 | 244.5 | 256.5 | 259.5 | 259.5 | 255.7 | 248.9 | 234.1 | 214.8 | 201.8 | 185.4 | 168.7 | 154.5 | 144.6 | 133.3 | 119.3 | 106.2 | 91.73 | 78.36 | 69.54 | 59.59 | 54.03
495 | 96.11 | 135.9 | 158.4 | 149 | 198.9 | 255 | 264.1 | 192.3 | 257.2 | 2773 | 1693 | 234.6 | 234.2 | 242.2 | 245.4 | 243.3 | 235.9 | 227.8 | 222.5 | 212.2 | 215.5 | 226.5 | 228 | 230.9 | 225.3 | 216.5 | 212.8 | 200.2 | 184.5 | 170.2 | 159.1 | 149 | 138.5 | 131 | 118.1 | 107.3 | 92.18 | 82.25 | 71.73 | 62.84 | 55.54
500 | 110.7 | 99.86 | 112.1 | 153.8 | 169.7 | 191.4 | 284.3 | 195.9 | 194.2 | 887.1 | 3100 | 498 | 230 | 241 | 252.1 | 243 | 226.2 | 221.9 | 198.5 | 190 | 188.4 | 192.5 | 197.7 | 202.8 | 198 | 199 | 192.9 | 179 | 167.8 | 157.3 | 147 | 141.6 | 134.4 | 128.8 | 118.5 | 108.9 | 94.84 | 83.41 | 75.11 | 65.42 | 58.17