## Sheet1
Report date: | 16:23:01, 09/19/2024
Sample: | 1
File name:
Run date: | 16:17:32, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 215.0/465.0 | 277.6
2 | 220.0/475.0 | 278.3
3 | 225.0/325.0 | 2407
4 | 225.0/335.0 | 2457
5 | 225.0/485.0 | 250.6
6 | 250.0/275.0 | 517.8
7 | 255.0/280.0 | 632.6
8 | 255.0/340.0 | 2875
9 | 265.0/295.0 | 1332
10 | 270.0/300.0 | 1887
11 | 275.0/305.0 | 2222
12 | 275.0/340.0 | 3004
13 | 280.0/315.0 | 2393
14 | 315.0/355.0 | 486.7
15 | 320.0/360.0 | 424.8
16 | 325.0/365.0 | 355.7
17 | 330.0/375.0 | 373.6
18 | 335.0/380.0 | 387.9
19 | 340.0/385.0 | 390.8
20 | 345.0/395.0 | 415.7
21 | 350.0/400.0 | 427.3
22 | 355.0/405.0 | 411.3
23 | 365.0/420.0 | 318.7
24 | 380.0/440.0 | 183.6
25 | 385.0/445.0 | 160.5
26 | 390.0/450.0 | 134.6
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 90.13 | 75.41 | 60.11 | 102.9 | 70.41 | 62.9 | 22.49 | 18.19 | 57.62 | 434.7 | 244.9 | 46.21 | 71.1 | 4218 | 9252 | 1934 | 16.34 | 6.91 | 4.901 | 3.519 | 3.183 | 2.599 | 2.036 | 2.499 | 2.059 | 1.758 | 1.844 | 1.617 | 1.63 | 1.61 | 1.681 | 1.813 | 1.49 | 1.877 | 1.591 | 1.325 | 1.497 | 1.684 | 1.561 | 1.213 | 1.113
275 | 262.5 | 195.9 | 300.1 | 387 | 381.2 | 278.1 | 79.96 | 28.39 | 28.53 | 146.2 | 517.8 | 231 | 106 | 395.1 | 4693 | 8816 | 1768 | 15.43 | 6.118 | 4.775 | 4.046 | 2.711 | 2.366 | 2.839 | 1.917 | 1.855 | 2.009 | 1.814 | 1.745 | 1.691 | 1.795 | 1.691 | 1.652 | 1.612 | 1.446 | 1.315 | 1.448 | 1.755 | 1.436 | 1.691 | 1.573
280 | 459.5 | 390.5 | 513.6 | 726 | 823.5 | 576.2 | 175 | 48.02 | 39.67 | 52.93 | 267.7 | 632.6 | 280.8 | 223.8 | 501.3 | 4828 | 8462 | 1632 | 15.2 | 5.609 | 4.18 | 3.536 | 2.32 | 2.29 | 2.341 | 2.17 | 1.731 | 2.087 | 1.944 | 1.826 | 1.554 | 1.442 | 1.311 | 1.765 | 1.611 | 1.381 | 1.598 | 1.596 | 1.731 | 1.855 | 1.758
285 | 673.3 | 533.3 | 714.3 | 1041 | 1259 | 885.2 | 353.9 | 132 | 86.03 | 81.03 | 146.7 | 486.6 | 744.6 | 399.7 | 388.3 | 611.1 | 4587 | 8055 | 1474 | 13.72 | 5.958 | 3.846 | 3.036 | 2.859 | 2.468 | 2.361 | 2.134 | 2.145 | 1.793 | 1.741 | 1.632 | 1.838 | 1.676 | 1.816 | 1.716 | 1.791 | 1.598 | 1.97 | 1.817 | 1.955 | 1.765
290 | 804.2 | 744.5 | 959.9 | 1318 | 1533 | 1338 | 683.4 | 313 | 158.4 | 134.4 | 177.7 | 301.1 | 853 | 948.5 | 665.7 | 609.3 | 725.9 | 4743 | 7799 | 1310 | 10.61 | 5.185 | 3.376 | 3.32 | 2.753 | 2.675 | 2.028 | 2.261 | 2.002 | 2.102 | 2.056 | 1.713 | 1.699 | 1.845 | 1.781 | 1.398 | 1.769 | 1.585 | 1.737 | 1.802 | 1.804
295 | 895.9 | 788.2 | 1019 | 1379 | 1771 | 1625 | 1057 | 552.3 | 316.4 | 256.8 | 306.3 | 410.1 | 618 | 1332 | 1252 | 978 | 777.7 | 730.6 | 4557 | 7620 | 1211 | 10.38 | 5.036 | 3.419 | 2.772 | 2.618 | 2.594 | 2.209 | 1.97 | 1.889 | 1.914 | 1.924 | 1.812 | 2.218 | 1.41 | 1.546 | 1.526 | 1.577 | 1.87 | 1.977 | 1.632
300 | 1034 | 934.5 | 1108 | 1508 | 1884 | 1964 | 1406 | 857.2 | 559.9 | 482.8 | 540.5 | 628.7 | 773.5 | 1090 | 1887 | 1512 | 1118 | 691.8 | 558.9 | 4478 | 7790 | 1076 | 8.259 | 4.774 | 3.498 | 3.297 | 2.794 | 2.364 | 2.163 | 2.097 | 1.918 | 1.938 | 2.197 | 1.893 | 1.894 | 1.701 | 1.744 | 1.797 | 1.643 | 1.897 | 1.943
305 | 960.1 | 1036 | 1177 | 1433 | 1970 | 2103 | 1715 | 1142 | 906.2 | 860.1 | 903.2 | 969 | 1040 | 1229 | 1698 | 2222 | 1568 | 943.7 | 446.8 | 465.7 | 4744 | 7863 | 988.9 | 7.897 | 4.921 | 3.635 | 3.067 | 3.173 | 2.197 | 2.615 | 2.324 | 1.987 | 1.89 | 1.973 | 1.825 | 1.729 | 1.806 | 1.622 | 1.919 | 1.989 | 1.758
310 | 904.3 | 1149 | 1218 | 1487 | 1943 | 2190 | 1913 | 1503 | 1247 | 1314 | 1376 | 1386 | 1336 | 1484 | 1765 | 2177 | 2272 | 1291 | 644.2 | 299.8 | 420.6 | 4677 | 7018 | 928.5 | 8.732 | 4.702 | 3.67 | 3.135 | 2.587 | 2.355 | 2.335 | 2.039 | 2.02 | 1.975 | 1.936 | 1.832 | 1.667 | 1.906 | 1.735 | 2.043 | 1.933
315 | 964.8 | 1164 | 1370 | 1559 | 1961 | 2211 | 2144 | 1717 | 1625 | 1748 | 1862 | 1854 | 1719 | 1749 | 1968 | 2140 | 2393 | 1906 | 889.9 | 415.6 | 197.3 | 390.3 | 3926 | 6849 | 834.2 | 8.37 | 4.271 | 4.142 | 2.927 | 2.466 | 2.572 | 2.057 | 2.468 | 1.945 | 2.181 | 1.65 | 1.633 | 1.903 | 1.827 | 2.109 | 1.915
320 | 876.7 | 1274 | 1391 | 1644 | 1999 | 2376 | 2205 | 1911 | 1894 | 2132 | 2296 | 2258 | 2072 | 2006 | 2188 | 2354 | 2297 | 2213 | 1408 | 580.8 | 259 | 144.1 | 320.1 | 3888 | 6306 | 869.8 | 7.551 | 5.101 | 3.841 | 2.866 | 2.929 | 2.52 | 2.669 | 2.268 | 2.013 | 2.049 | 1.861 | 1.82 | 1.836 | 1.774 | 1.771
325 | 872.5 | 1259 | 1576 | 1660 | 2117 | 2407 | 2269 | 2047 | 2088 | 2370 | 2576 | 2567 | 2341 | 2282 | 2423 | 2565 | 2460 | 2059 | 1802 | 915.3 | 340.7 | 173.2 | 104.2 | 302.5 | 3429 | 7158 | 810.1 | 7.589 | 4.383 | 3.511 | 3.494 | 2.78 | 2.58 | 2.172 | 2.066 | 2.063 | 1.802 | 1.896 | 2.046 | 1.742 | 1.916
330 | 893.8 | 1266 | 1450 | 1842 | 2130 | 2363 | 2288 | 2087 | 2198 | 2541 | 2758 | 2757 | 2569 | 2493 | 2591 | 2747 | 2660 | 2200 | 1654 | 1292 | 545.8 | 224.5 | 120.6 | 74.37 | 261.1 | 3932 | 6740 | 767.6 | 7.18 | 4.388 | 3.508 | 2.943 | 2.755 | 2.445 | 2.332 | 2.373 | 2.099 | 1.825 | 1.882 | 2.048 | 1.701
335 | 780.5 | 1222 | 1439 | 1624 | 2203 | 2457 | 2249 | 2050 | 2193 | 2563 | 2825 | 2872 | 2685 | 2633 | 2769 | 2900 | 2802 | 2368 | 1719 | 1149 | 920 | 344.9 | 152.8 | 81.52 | 58.62 | 291.6 | 3773 | 6599 | 723.1 | 6.443 | 4.453 | 3.596 | 3.074 | 2.612 | 2.489 | 2.473 | 2.016 | 2.029 | 1.999 | 2.001 | 2.255
340 | 805.1 | 1059 | 1372 | 1660 | 2247 | 2393 | 2206 | 1946 | 2111 | 2511 | 2775 | 2875 | 2744 | 2718 | 2846 | 3004 | 2909 | 2489 | 1820 | 1112 | 835.5 | 658.8 | 226.5 | 103.5 | 60.34 | 54.71 | 279.5 | 3647 | 6259 | 681.3 | 7.741 | 4.723 | 3.56 | 3.324 | 2.568 | 2.488 | 2.218 | 2.056 | 2.103 | 1.804 | 1.917
345 | 709.2 | 1024 | 1360 | 1616 | 2049 | 2221 | 2048 | 1830 | 1946 | 2349 | 2639 | 2749 | 2723 | 2728 | 2871 | 2990 | 2906 | 2519 | 1916 | 1166 | 709.1 | 657.7 | 465 | 143.2 | 76.94 | 52.2 | 51.44 | 271.3 | 3559 | 5898 | 731 | 7.058 | 4.257 | 3.721 | 2.992 | 2.344 | 2.216 | 2.201 | 2.363 | 1.849 | 2.049
350 | 671.1 | 897.2 | 1161 | 1514 | 2002 | 2102 | 1917 | 1657 | 1813 | 2144 | 2458 | 2582 | 2598 | 2640 | 2812 | 2936 | 2849 | 2478 | 1918 | 1216 | 742.1 | 501 | 556.7 | 319.6 | 108.1 | 68.63 | 48.78 | 50.73 | 262.2 | 3199 | 6537 | 668.3 | 7.037 | 4.344 | 3.69 | 2.727 | 2.3 | 2.391 | 2.034 | 2.08 | 1.92
355 | 628.5 | 930.3 | 1137 | 1429 | 1835 | 1942 | 1726 | 1485 | 1617 | 1924 | 2255 | 2399 | 2425 | 2527 | 2708 | 2795 | 2749 | 2432 | 1886 | 1228 | 767.7 | 483.4 | 375.9 | 486.7 | 228.8 | 90.86 | 63.38 | 48.91 | 49.74 | 242.4 | 3696 | 5700 | 635.7 | 6.696 | 4.552 | 3.528 | 2.82 | 2.654 | 2.342 | 2.148 | 2.03
360 | 557.1 | 722.4 | 1007 | 1271 | 1656 | 1761 | 1591 | 1344 | 1450 | 1706 | 2006 | 2174 | 2251 | 2372 | 2546 | 2678 | 2590 | 2294 | 1810 | 1217 | 782.4 | 508.4 | 340.8 | 334.1 | 424.8 | 172.2 | 85.02 | 63.73 | 48.72 | 48.77 | 271.2 | 3111 | 5756 | 684.2 | 6.698 | 4.236 | 3.48 | 2.792 | 2.14 | 2.064 | 2.136
365 | 466.7 | 758 | 944.6 | 1202 | 1478 | 1629 | 1419 | 1232 | 1300 | 1557 | 1779 | 1959 | 2036 | 2182 | 2345 | 2451 | 2400 | 2149 | 1721 | 1189 | 782.1 | 530.3 | 360 | 260.9 | 333.9 | 355.7 | 137.9 | 83.41 | 64.24 | 48.73 | 51.9 | 235.5 | 3148 | 5931 | 617.9 | 7.01 | 4.072 | 3.334 | 2.761 | 1.919 | 1.996
370 | 372 | 680.7 | 898.9 | 1059 | 1288 | 1408 | 1292 | 1093 | 1189 | 1396 | 1582 | 1720 | 1833 | 1963 | 2133 | 2222 | 2202 | 1989 | 1628 | 1138 | 787.4 | 542.6 | 388.1 | 278.1 | 235.8 | 350.7 | 305.6 | 123.9 | 86.59 | 67.15 | 53.98 | 49.74 | 241.1 | 3355 | 5628 | 622.1 | 6.536 | 4.568 | 3.111 | 2.399 | 2.246
375 | 372.4 | 562 | 731.3 | 1017 | 1228 | 1391 | 1151 | 998.5 | 1051 | 1219 | 1371 | 1521 | 1607 | 1752 | 1923 | 2005 | 1995 | 1819 | 1515 | 1094 | 778.8 | 567.1 | 408.6 | 310.7 | 254.7 | 242 | 373.6 | 262.9 | 126.5 | 97.26 | 76.66 | 59.88 | 57.12 | 258.4 | 3210 | 5623 | 614.4 | 6.983 | 3.875 | 2.917 | 2.459
380 | 331.4 | 508.5 | 657.1 | 879 | 1089 | 1161 | 1033 | 916.5 | 942 | 1077 | 1220 | 1335 | 1447 | 1551 | 1680 | 1833 | 1813 | 1671 | 1418 | 1055 | 782.9 | 584.3 | 444.9 | 352.6 | 293.8 | 256.6 | 279.5 | 387.9 | 235 | 136.6 | 114.7 | 87.89 | 65.24 | 61.11 | 248.9 | 3179 | 5901 | 619.8 | 5.522 | 3.219 | 2.96
385 | 331.5 | 508.1 | 657.2 | 798.1 | 1034 | 1063 | 962 | 833.5 | 874 | 960.7 | 1063 | 1178 | 1239 | 1354 | 1503 | 1633 | 1632 | 1539 | 1338 | 1031 | 795.4 | 611.6 | 481.8 | 396.9 | 340.9 | 306.7 | 280 | 332.9 | 390.8 | 225 | 155.4 | 125.3 | 97.08 | 68.56 | 57.8 | 243.9 | 3374 | 5865 | 469.1 | 5.24 | 3.154
390 | 432 | 471.2 | 577.2 | 734.6 | 939.1 | 1027 | 909.6 | 775.9 | 805.9 | 854.5 | 951.8 | 1034 | 1093 | 1194 | 1318 | 1458 | 1481 | 1430 | 1262 | 1015 | 805.1 | 648.5 | 534.3 | 449.2 | 400.2 | 359.7 | 339 | 317 | 382.3 | 380.1 | 225.7 | 167.4 | 130.8 | 94.18 | 62.59 | 52.18 | 250.9 | 3628 | 4623 | 432.3 | 5.064
395 | 823.2 | 473.4 | 583.8 | 720.4 | 921.4 | 917.8 | 859.4 | 728.7 | 747.1 | 768.7 | 851.3 | 917.7 | 967 | 1060 | 1168 | 1287 | 1348 | 1315 | 1193 | 1000 | 822.3 | 684.8 | 583.4 | 505.8 | 457.1 | 422 | 386.5 | 362.4 | 343.3 | 415.7 | 353.9 | 219.2 | 168.2 | 120.8 | 81.51 | 51.33 | 47.62 | 278.6 | 2765 | 3958 | 390
400 | 1241 | 607.8 | 534.3 | 669.2 | 759.4 | 846.1 | 750.1 | 701 | 681 | 711.5 | 746.5 | 798.7 | 861.8 | 935.8 | 1040 | 1148 | 1223 | 1209 | 1135 | 978.9 | 838.6 | 719.4 | 618.6 | 553.3 | 507.2 | 476.2 | 443 | 407.3 | 372.3 | 359.7 | 427.3 | 319.8 | 203.8 | 147.3 | 102.9 | 66.35 | 42.89 | 44.62 | 205.5 | 2293 | 3670
405 | 896.3 | 1190 | 491.3 | 646.2 | 711.2 | 816.6 | 735.6 | 668.5 | 640.1 | 645.2 | 685.3 | 717.9 | 746.7 | 809.4 | 922.6 | 1044 | 1118 | 1131 | 1068 | 949 | 829.2 | 730.3 | 658.2 | 590.1 | 551 | 513.8 | 480.3 | 444.8 | 407.1 | 365.7 | 369.2 | 411.3 | 276.2 | 173.2 | 119.2 | 80.23 | 54.39 | 36.71 | 36 | 170.6 | 2020
410 | 393.1 | 1619 | 712.7 | 595.1 | 662.3 | 730.3 | 709.1 | 635.1 | 611.2 | 589.1 | 621.3 | 646 | 690.8 | 726.1 | 832.7 | 933.6 | 1014 | 1035 | 998.5 | 917.8 | 835 | 735.6 | 660.1 | 617.5 | 569.9 | 539.1 | 508.8 | 470.4 | 424.9 | 382.6 | 349.4 | 370.6 | 368 | 218.4 | 142 | 95.68 | 64.76 | 44.55 | 30.93 | 31.12 | 151.9
415 | 259.4 | 1253 | 1347 | 559.1 | 613.2 | 688.4 | 611.2 | 617.3 | 586 | 578.3 | 573.4 | 596.5 | 609.8 | 653.1 | 742.9 | 851.4 | 919.6 | 960.2 | 938.4 | 873.1 | 799.2 | 727.7 | 661 | 613.8 | 583.2 | 551.4 | 520.5 | 484 | 441.2 | 397.9 | 358.4 | 324.2 | 354.5 | 303.7 | 169.2 | 109.9 | 76.77 | 54.2 | 37.42 | 27.59 | 28.96
420 | 204.4 | 528.8 | 2114 | 734.5 | 573.9 | 596.9 | 592.8 | 581.6 | 548.5 | 538.1 | 521 | 542.9 | 552.5 | 597 | 671 | 768.4 | 846.3 | 884.7 | 872.7 | 814.8 | 762.6 | 709.2 | 645.5 | 606.9 | 574.9 | 552 | 515.2 | 479.7 | 438.9 | 398.6 | 355.6 | 318.8 | 295.3 | 318.7 | 231 | 126.3 | 89.24 | 63.89 | 47.92 | 35.55 | 28.18
425 | 204.2 | 339.4 | 1406 | 1690 | 536.8 | 571 | 553.3 | 535.9 | 518.1 | 487.4 | 483.6 | 498.8 | 514.7 | 549.8 | 606.2 | 692.1 | 765.7 | 804.6 | 800.5 | 767.1 | 726.3 | 669.9 | 627.3 | 587.5 | 562.8 | 536.5 | 506.4 | 467.6 | 430.7 | 393.2 | 354.7 | 315.8 | 278.7 | 265.7 | 275.2 | 172.5 | 101.9 | 73.93 | 55.56 | 44.7 | 34.56
430 | 230.8 | 300.5 | 612.3 | 2470 | 792 | 533.6 | 535.7 | 497.6 | 489.9 | 464.6 | 443.9 | 467.3 | 467.9 | 498.9 | 559.9 | 631.6 | 699.8 | 733.6 | 738.7 | 710.8 | 682.1 | 640.6 | 596.1 | 567.2 | 539.3 | 516 | 488.9 | 453.6 | 417.4 | 381.3 | 343.8 | 313.5 | 275.1 | 234.9 | 231.2 | 228.2 | 131.7 | 84 | 64.48 | 51.25 | 42.28
435 | 218.3 | 297.6 | 352.2 | 1869 | 1768 | 499.5 | 471.1 | 485.5 | 445.1 | 444.2 | 427.5 | 441.2 | 443.3 | 470 | 521.8 | 594.5 | 638.5 | 681.4 | 686.7 | 663.8 | 634.6 | 608.8 | 568 | 536.2 | 516.8 | 495.6 | 467.6 | 437.8 | 403.3 | 369.8 | 336.3 | 308.3 | 269 | 232.6 | 196.7 | 208.4 | 179.9 | 101.4 | 69.54 | 56.22 | 47.44
440 | 174.5 | 315.8 | 338.1 | 596.9 | 2809 | 789.8 | 439.9 | 441 | 443.4 | 423.7 | 400.6 | 413.6 | 420.1 | 436.2 | 476.5 | 544.6 | 584.7 | 605.2 | 627.4 | 610.5 | 593.8 | 563.6 | 534.2 | 506.9 | 489.3 | 470.2 | 441.8 | 413 | 383.1 | 349.9 | 317.5 | 295.5 | 264.7 | 230.2 | 189.3 | 164.8 | 183.6 | 140.8 | 78.88 | 60.26 | 49.8
445 | 167.6 | 251.9 | 297.4 | 355.1 | 2076 | 1889 | 430.6 | 397.6 | 403.6 | 393.3 | 380 | 382.6 | 393.2 | 404.1 | 451.9 | 501.4 | 544.7 | 558.4 | 562.7 | 551.8 | 539.9 | 521.3 | 492.3 | 468.5 | 454.2 | 434.8 | 408.8 | 389.1 | 359 | 330.9 | 303.3 | 280.1 | 253.7 | 220.4 | 184.1 | 153 | 143.2 | 160.5 | 106.9 | 63.91 | 52.07
450 | 183.7 | 249.6 | 286.5 | 273.1 | 714.8 | 3201 | 757 | 396.5 | 379.2 | 362 | 357.5 | 363.4 | 363.3 | 367 | 405.8 | 445.6 | 485.5 | 500 | 507 | 502.8 | 494.2 | 478 | 453.2 | 432.5 | 417.7 | 402.2 | 379.9 | 355.7 | 333 | 307.6 | 284.8 | 263.3 | 237.7 | 208.9 | 177.5 | 146 | 123.2 | 128.5 | 134.6 | 80.5 | 53.46
455 | 133.9 | 216.8 | 272.1 | 277.4 | 319.6 | 2473 | 2004 | 355.1 | 341.9 | 333.8 | 337.9 | 331 | 334.7 | 341.6 | 365.5 | 405.1 | 435.2 | 451.7 | 447.4 | 447.5 | 440.8 | 429.7 | 409 | 385.7 | 375.3 | 365.4 | 347.9 | 327.5 | 304.4 | 286 | 262.3 | 245.6 | 224.1 | 198.7 | 169.2 | 142.2 | 117.7 | 99.94 | 116.3 | 109.4 | 61.3
460 | 109.1 | 153.7 | 259.2 | 272.2 | 259.5 | 791.9 | 3286 | 685.9 | 311.8 | 304.9 | 300 | 310.3 | 301.5 | 305.8 | 333.8 | 364.7 | 386.9 | 394.6 | 397.9 | 394.8 | 395.9 | 379.9 | 361.9 | 350.9 | 344.9 | 330.2 | 316.7 | 294.8 | 276.4 | 258.1 | 242.9 | 223.2 | 206.2 | 185.5 | 160.1 | 137 | 112.9 | 93.04 | 85.8 | 104.2 | 82.71
465 | 120 | 123.1 | 183 | 277.6 | 233.4 | 305.4 | 2551 | 1939 | 279.3 | 286.4 | 278.7 | 277 | 280.1 | 283.4 | 304.1 | 330.4 | 345.7 | 352.1 | 353.9 | 349.8 | 352.3 | 341.8 | 324.7 | 308 | 302.6 | 296 | 282.9 | 266.4 | 251.8 | 232.7 | 217.9 | 201.8 | 187.9 | 173 | 150.4 | 129.6 | 105.1 | 89.06 | 76.41 | 77.75 | 91.74
470 | 123.7 | 132.5 | 152.2 | 224.1 | 253.5 | 232.3 | 784.6 | 3227 | 621.8 | 254.5 | 248.5 | 239.5 | 245.5 | 257.3 | 269.6 | 297 | 308.5 | 307.3 | 307.7 | 309.5 | 309.9 | 298.6 | 288.1 | 279.9 | 267.8 | 263.2 | 250.9 | 239.6 | 224.2 | 209.5 | 197.9 | 184.8 | 170.1 | 155.3 | 134.9 | 117.4 | 101.2 | 83.47 | 71.21 | 61.94 | 70.16
475 | 93.67 | 128.7 | 156.2 | 189.8 | 278.3 | 217.2 | 275.1 | 2531 | 1805 | 249.5 | 214.8 | 222.5 | 221.9 | 228.5 | 245.6 | 266.2 | 266.7 | 273.7 | 273.1 | 272.5 | 267.7 | 260.5 | 250.3 | 242.4 | 237.9 | 230.5 | 219.1 | 214.4 | 201.1 | 186.6 | 176.1 | 164.2 | 155.6 | 142.5 | 127.8 | 109.5 | 93.5 | 76.8 | 67.03 | 57.03 | 52.35
480 | 86.44 | 114.4 | 123.7 | 139.6 | 236.9 | 219 | 222.2 | 752.6 | 3073 | 540.1 | 201.6 | 205.1 | 203.8 | 207.8 | 216.1 | 235.7 | 240.7 | 240.8 | 236.2 | 236.7 | 232.7 | 229.8 | 223.6 | 211.9 | 209.2 | 206.1 | 197.4 | 191.5 | 180.9 | 171.4 | 159.1 | 152.3 | 141 | 130.3 | 114.5 | 100 | 87.25 | 72.61 | 63.12 | 55.62 | 47.75
485 | 76.61 | 125.5 | 117.5 | 141.3 | 177.6 | 250.6 | 196.4 | 238.7 | 2333 | 1681 | 202.5 | 185.6 | 192.5 | 195.9 | 200.9 | 214.5 | 223.4 | 220.3 | 219.4 | 209.3 | 211.5 | 205.6 | 198.4 | 192.1 | 187 | 183.8 | 178.7 | 170.9 | 161 | 152.9 | 142.8 | 136.6 | 129.5 | 121.2 | 109.3 | 96.09 | 83.07 | 71.71 | 60.18 | 53.52 | 46.45
490 | 71.9 | 82.85 | 99.99 | 119.4 | 149 | 247.8 | 191.7 | 179.8 | 695.2 | 2905 | 463.9 | 182 | 183.8 | 189 | 185.3 | 195.8 | 205.9 | 195.9 | 192.9 | 190.5 | 188.1 | 184.7 | 179 | 170 | 168.8 | 164.1 | 160.3 | 156 | 146.2 | 136.7 | 131.2 | 125.4 | 119.2 | 112 | 103.6 | 92.74 | 80.58 | 69.33 | 59.61 | 51.73 | 45.31
495 | 70.28 | 78.66 | 110.4 | 106 | 109.4 | 194.1 | 217.6 | 156.2 | 204.7 | 2281 | 1445 | 178 | 172 | 176.3 | 180.6 | 186.8 | 194.3 | 176.3 | 174.3 | 168.5 | 162.9 | 163.5 | 159.8 | 154 | 150.5 | 148.3 | 143.1 | 139.7 | 137.3 | 128.2 | 120.1 | 114.3 | 109.2 | 104.9 | 96.64 | 86.55 | 77.62 | 66.12 | 58.54 | 50.05 | 44.26
500 | 61.39 | 50.57 | 116.4 | 126.3 | 105.2 | 148.1 | 246.6 | 152.1 | 146.3 | 694.4 | 2609 | 403.5 | 165.4 | 161.8 | 176.4 | 174.5 | 170.3 | 161.9 | 160.4 | 146.2 | 146.3 | 146.8 | 140.1 | 135.8 | 138.2 | 133.5 | 131.7 | 123.9 | 120 | 116.2 | 108.1 | 105.1 | 103.3 | 97.83 | 90.98 | 81.32 | 72.23 | 64.08 | 54.19 | 48.5 | 44.2