## Sheet1
Report date: | 16:28:25, 09/19/2024
Sample: | 1
File name:
Run date: | 16:22:59, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 220.0/475.0 | 280.3
2 | 225.0/335.0 | 2372
3 | 225.0/485.0 | 269.9
4 | 250.0/275.0 | 513.4
5 | 250.0/335.0 | 2806
6 | 255.0/280.0 | 614.7
7 | 255.0/340.0 | 2799
8 | 265.0/295.0 | 1305
9 | 270.0/300.0 | 1858
10 | 275.0/305.0 | 2227
11 | 275.0/345.0 | 2913
12 | 280.0/315.0 | 2321
13 | 315.0/355.0 | 485.5
14 | 320.0/360.0 | 421.4
15 | 325.0/365.0 | 359.9
16 | 330.0/375.0 | 373.5
17 | 335.0/380.0 | 390
18 | 340.0/385.0 | 388.9
19 | 345.0/395.0 | 417.8
20 | 350.0/400.0 | 420.8
21 | 355.0/405.0 | 411.3
22 | 365.0/420.0 | 317.9
23 | 380.0/440.0 | 189.7
24 | 385.0/445.0 | 162.8
25 | 390.0/450.0 | 134.8
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 59.4 | 67.21 | 85.51 | 88.79 | 88.14 | 58.35 | 28.13 | 17.34 | 59.03 | 458.8 | 248.1 | 43.72 | 75.03 | 4315 | 9353 | 1956 | 15.48 | 6.893 | 4.178 | 3.451 | 2.868 | 2.4 | 2.246 | 2.305 | 2.036 | 1.943 | 1.979 | 1.705 | 1.859 | 1.69 | 1.573 | 1.898 | 1.896 | 1.985 | 1.607 | 1.592 | 1.77 | 1.482 | 1.49 | 1.347 | 1.113
275 | 256.7 | 222.3 | 305.3 | 412.7 | 391.1 | 281.1 | 90.08 | 24.38 | 26.8 | 145 | 513.4 | 231.5 | 103 | 397.9 | 4712 | 9293 | 1780 | 15.79 | 5.696 | 4.09 | 3.467 | 2.995 | 2.406 | 2.362 | 2.5 | 2.05 | 2.035 | 1.743 | 1.792 | 1.59 | 1.758 | 1.635 | 1.816 | 1.803 | 1.557 | 1.816 | 1.441 | 1.529 | 1.426 | 1.428 | 1.248
280 | 439.5 | 434.1 | 526.9 | 720.3 | 853.3 | 535.1 | 174.5 | 47.29 | 41.36 | 63.94 | 277.5 | 614.7 | 280.1 | 220.3 | 500.8 | 5343 | 8734 | 1674 | 13.86 | 5.399 | 3.816 | 3.459 | 2.859 | 2.642 | 2.558 | 2.143 | 2.148 | 2.053 | 1.815 | 1.675 | 1.782 | 1.602 | 1.563 | 1.872 | 1.75 | 1.585 | 1.52 | 1.532 | 1.634 | 1.766 | 1.594
285 | 681.6 | 614.7 | 757.8 | 1032 | 1257 | 884.7 | 369.3 | 129.3 | 76.65 | 88.47 | 136.8 | 495.4 | 735.5 | 405 | 392.2 | 634.1 | 4880 | 8739 | 1460 | 13.05 | 4.839 | 3.966 | 3.607 | 2.923 | 2.666 | 2.008 | 1.891 | 2.02 | 1.72 | 2.013 | 1.633 | 1.938 | 1.7 | 1.755 | 1.925 | 1.451 | 1.633 | 1.678 | 1.666 | 1.801 | 1.816
290 | 869.1 | 786.3 | 862.6 | 1320 | 1572 | 1300 | 680.3 | 323.1 | 158.3 | 137.6 | 178.8 | 301.5 | 847.9 | 944.5 | 666.9 | 604.6 | 731 | 5207 | 8459 | 1301 | 10.45 | 5.314 | 4.104 | 3.208 | 2.924 | 2.016 | 2.149 | 2.179 | 2.106 | 2.048 | 1.802 | 1.502 | 1.777 | 1.926 | 1.816 | 1.489 | 1.515 | 1.498 | 1.855 | 1.816 | 1.695
295 | 966 | 910.8 | 1019 | 1456 | 1779 | 1627 | 1017 | 554.1 | 316.9 | 251.9 | 296.3 | 388.7 | 621.1 | 1305 | 1266 | 956.6 | 766.2 | 762.4 | 4934 | 7418 | 1207 | 9.685 | 5.052 | 3.79 | 3.713 | 2.809 | 2.333 | 2.256 | 2.347 | 2.251 | 1.692 | 2.002 | 2 | 1.651 | 1.633 | 1.649 | 1.526 | 1.782 | 1.864 | 1.928 | 1.799
300 | 1012 | 1036 | 1044 | 1478 | 1889 | 1855 | 1349 | 839.1 | 577 | 491.3 | 532.8 | 619.8 | 768.9 | 1097 | 1858 | 1488 | 1103 | 681.5 | 573.3 | 4255 | 7157 | 1093 | 8.672 | 4.71 | 3.958 | 3.468 | 2.591 | 2.427 | 2.28 | 1.907 | 2.01 | 1.96 | 1.89 | 1.884 | 1.665 | 1.77 | 1.641 | 1.943 | 1.758 | 1.986 | 1.847
305 | 981.1 | 1077 | 1261 | 1612 | 1944 | 2004 | 1668 | 1158 | 866.8 | 877.9 | 898.1 | 952.8 | 1034 | 1206 | 1674 | 2227 | 1534 | 928.8 | 437.6 | 449.1 | 4097 | 7304 | 982.2 | 8.246 | 4.39 | 3.864 | 3.416 | 2.863 | 2.388 | 2.071 | 2.33 | 1.96 | 1.841 | 1.803 | 2.007 | 1.812 | 1.552 | 1.864 | 2.191 | 1.937 | 2.05
310 | 987.2 | 1106 | 1277 | 1569 | 1909 | 2188 | 1869 | 1441 | 1292 | 1286 | 1372 | 1376 | 1353 | 1427 | 1726 | 2144 | 2241 | 1259 | 616.9 | 293 | 380.4 | 4221 | 7056 | 987.8 | 9.232 | 4.691 | 3.417 | 3.257 | 2.817 | 2.385 | 2.234 | 2.07 | 1.969 | 2.005 | 1.971 | 1.914 | 1.684 | 1.852 | 1.868 | 2.136 | 1.699
315 | 860.8 | 1196 | 1329 | 1550 | 2045 | 2201 | 2075 | 1671 | 1636 | 1743 | 1841 | 1816 | 1685 | 1696 | 1937 | 2101 | 2321 | 1862 | 870.1 | 401.8 | 189.9 | 357.3 | 3863 | 7580 | 901.9 | 7.79 | 4.652 | 3.868 | 3.225 | 2.847 | 2.162 | 2.297 | 2.241 | 2.18 | 2.189 | 1.791 | 1.914 | 1.723 | 1.686 | 1.957 | 1.881
320 | 905.9 | 1197 | 1484 | 1613 | 2014 | 2269 | 2136 | 1880 | 1895 | 2137 | 2266 | 2220 | 2012 | 1977 | 2153 | 2304 | 2216 | 2148 | 1368 | 553.3 | 252.2 | 133.5 | 318.9 | 4280 | 7902 | 830.9 | 7.1 | 4.107 | 3.824 | 2.905 | 2.265 | 2.449 | 2.345 | 2.267 | 2.259 | 1.899 | 1.732 | 1.816 | 1.818 | 1.672 | 1.819
325 | 925.1 | 1267 | 1517 | 1632 | 1951 | 2256 | 2211 | 2013 | 2098 | 2339 | 2571 | 2501 | 2271 | 2166 | 2347 | 2490 | 2381 | 1990 | 1753 | 882.6 | 333.6 | 163.8 | 102.8 | 330 | 4497 | 6742 | 756.8 | 6.896 | 4.225 | 3.577 | 3.03 | 2.531 | 2.297 | 2.265 | 2.158 | 1.626 | 1.982 | 2.145 | 1.95 | 1.792 | 1.9
330 | 888.1 | 1264 | 1457 | 1614 | 2018 | 2336 | 2296 | 2026 | 2145 | 2481 | 2727 | 2693 | 2477 | 2389 | 2538 | 2648 | 2561 | 2130 | 1598 | 1261 | 533.4 | 218.5 | 115.8 | 76.22 | 332.6 | 3791 | 6338 | 739.4 | 6.827 | 4.663 | 3.386 | 3.188 | 2.706 | 2.621 | 2.376 | 2.127 | 1.726 | 1.692 | 2.106 | 1.944 | 1.816
335 | 918 | 1247 | 1476 | 1646 | 2088 | 2372 | 2255 | 2021 | 2160 | 2487 | 2806 | 2765 | 2613 | 2555 | 2681 | 2781 | 2702 | 2276 | 1664 | 1128 | 897.4 | 335.9 | 148.8 | 78.95 | 63.77 | 281.2 | 3576 | 6089 | 714 | 6.685 | 4.148 | 3.587 | 2.891 | 2.721 | 2.525 | 2.293 | 2.012 | 2.009 | 1.928 | 1.956 | 1.955
340 | 752.4 | 1150 | 1426 | 1628 | 2017 | 2209 | 2128 | 1927 | 2060 | 2446 | 2706 | 2799 | 2668 | 2609 | 2753 | 2875 | 2796 | 2395 | 1764 | 1072 | 819.9 | 656 | 218 | 100.1 | 60.36 | 54.6 | 267.2 | 3343 | 5856 | 682.1 | 6.635 | 4.032 | 3.484 | 3.143 | 2.991 | 2.388 | 2.3 | 1.931 | 1.802 | 1.833 | 2.062
345 | 671.7 | 1079 | 1357 | 1601 | 1918 | 2175 | 1964 | 1776 | 1917 | 2314 | 2606 | 2672 | 2604 | 2614 | 2785 | 2913 | 2799 | 2414 | 1831 | 1134 | 692.9 | 659.7 | 464.1 | 143.4 | 77.43 | 51.14 | 48.94 | 251.1 | 3254 | 5623 | 691.1 | 6.768 | 4.449 | 3.982 | 3.292 | 2.583 | 2.376 | 2.168 | 2.37 | 1.914 | 2.042
350 | 615.1 | 844.1 | 1206 | 1513 | 1845 | 2029 | 1829 | 1624 | 1756 | 2120 | 2415 | 2505 | 2517 | 2567 | 2713 | 2829 | 2742 | 2393 | 1832 | 1174 | 721.3 | 490.2 | 561.8 | 321 | 107.5 | 68.54 | 49.27 | 49.44 | 242.2 | 2983 | 5655 | 660 | 6.821 | 5.027 | 4.541 | 3.138 | 2.726 | 2.224 | 1.894 | 2.109 | 1.949
355 | 551 | 813.7 | 1145 | 1367 | 1850 | 1928 | 1653 | 1446 | 1612 | 1885 | 2184 | 2349 | 2351 | 2444 | 2619 | 2708 | 2656 | 2323 | 1828 | 1189 | 753.1 | 479.5 | 379.9 | 485.5 | 228.1 | 89.73 | 66.34 | 50.01 | 48.18 | 228.5 | 3076 | 5415 | 651.4 | 7.735 | 5.218 | 3.795 | 2.549 | 2.265 | 2.461 | 2.205 | 2.027
360 | 484.6 | 748.6 | 952.4 | 1287 | 1679 | 1783 | 1494 | 1341 | 1446 | 1716 | 1962 | 2114 | 2195 | 2300 | 2442 | 2566 | 2527 | 2237 | 1765 | 1181 | 768.5 | 509.2 | 340.1 | 334.7 | 421.4 | 172.6 | 85.24 | 63.66 | 47.42 | 47.83 | 231.8 | 2977 | 5889 | 735.9 | 8.158 | 4.647 | 3.268 | 2.583 | 2.142 | 2.151 | 1.98
365 | 479.8 | 656.2 | 920.6 | 1091 | 1445 | 1612 | 1339 | 1161 | 1288 | 1538 | 1743 | 1930 | 2021 | 2102 | 2278 | 2374 | 2335 | 2095 | 1680 | 1156 | 769.8 | 524.8 | 363 | 266.1 | 335.3 | 359.9 | 136.2 | 83.44 | 61.52 | 49.15 | 48.58 | 229 | 3241 | 6317 | 669.9 | 7.189 | 4.463 | 3.277 | 2.82 | 2.202 | 1.894
370 | 399 | 619.8 | 758.5 | 1018 | 1269 | 1415 | 1256 | 1090 | 1141 | 1347 | 1528 | 1700 | 1777 | 1912 | 2070 | 2196 | 2156 | 1929 | 1572 | 1108 | 774.1 | 543.2 | 388.5 | 278.7 | 237.3 | 352.2 | 302.8 | 122.7 | 85.73 | 67.46 | 53.72 | 52.22 | 247 | 3498 | 6489 | 566 | 6.702 | 4.135 | 3.372 | 2.711 | 2.395
375 | 373.3 | 521.9 | 725.2 | 912.1 | 1244 | 1284 | 1130 | 975.7 | 1032 | 1188 | 1346 | 1491 | 1594 | 1710 | 1857 | 1980 | 1957 | 1778 | 1473 | 1074 | 769.6 | 560.2 | 412.9 | 312.6 | 251.4 | 243.2 | 373.5 | 263.1 | 123.8 | 95.77 | 77.86 | 58.68 | 56.94 | 267.6 | 3835 | 5327 | 599.6 | 6.186 | 4.136 | 3.094 | 2.584
380 | 308.3 | 489.7 | 687.5 | 924 | 1091 | 1145 | 1037 | 885.6 | 931.7 | 1036 | 1205 | 1306 | 1391 | 1505 | 1676 | 1762 | 1781 | 1623 | 1395 | 1040 | 776.2 | 583.2 | 445 | 349.8 | 294.5 | 257.8 | 279.9 | 390 | 236.7 | 138.3 | 112 | 89.08 | 66.09 | 62.17 | 293 | 3072 | 5418 | 562.1 | 5.447 | 3.729 | 3.11
385 | 353.5 | 492.9 | 704.6 | 847.7 | 950.5 | 1038 | 926.4 | 817.5 | 857 | 939.1 | 1059 | 1172 | 1232 | 1337 | 1489 | 1565 | 1618 | 1510 | 1315 | 1033 | 792.8 | 609.3 | 490.6 | 403.5 | 343.3 | 305.7 | 282.3 | 333.9 | 388.9 | 226.6 | 153.4 | 125.3 | 97.84 | 68.22 | 60.9 | 236.6 | 3056 | 5082 | 503.4 | 5.284 | 3.199
390 | 446.1 | 441.4 | 568.2 | 715 | 908.5 | 960.1 | 873 | 781.6 | 800.9 | 844.4 | 936.1 | 1019 | 1073 | 1163 | 1300 | 1412 | 1463 | 1404 | 1249 | 1012 | 806.6 | 654.8 | 543.1 | 457 | 398.7 | 366 | 332.4 | 322 | 376.9 | 385 | 228.8 | 172.6 | 132.4 | 94.64 | 62.21 | 52.26 | 228.6 | 2856 | 4809 | 448.5 | 5.55
395 | 844.2 | 456.1 | 588.6 | 730.3 | 845.1 | 909.2 | 826.8 | 744 | 747.6 | 771.3 | 812.3 | 913.8 | 962 | 1052 | 1154 | 1261 | 1340 | 1292 | 1192 | 989.3 | 826 | 692 | 574.9 | 506 | 457.3 | 422.3 | 389.3 | 361.1 | 343.2 | 417.8 | 352.3 | 218.3 | 166.7 | 122.2 | 81.65 | 51.89 | 45.36 | 217.5 | 2828 | 4236 | 388
400 | 1224 | 560.1 | 487.1 | 612.3 | 818.3 | 810.3 | 784.1 | 722.1 | 701.9 | 717.3 | 752.6 | 801.5 | 839 | 923.7 | 1031 | 1141 | 1211 | 1208 | 1132 | 975.7 | 836.2 | 719.1 | 621.1 | 550 | 501.6 | 474.8 | 443.7 | 407 | 369.7 | 360.9 | 420.8 | 321.1 | 204.7 | 148.7 | 102.3 | 67.12 | 43.5 | 41.93 | 210.7 | 2591 | 3881
405 | 946.4 | 1224 | 519.7 | 599.4 | 742 | 736.3 | 742.4 | 669.7 | 656.5 | 655.5 | 695.5 | 715.5 | 747.5 | 813.2 | 915.8 | 1016 | 1094 | 1112 | 1064 | 962.9 | 833.6 | 739.4 | 658.1 | 592.8 | 552.5 | 517.7 | 483.1 | 449.6 | 406.8 | 368.6 | 370.2 | 411.3 | 277.1 | 177.2 | 122.3 | 80.88 | 53.48 | 36.35 | 36.96 | 191.3 | 2175
410 | 428.6 | 1777 | 723.3 | 578.5 | 704.3 | 712 | 680.7 | 656.9 | 618.7 | 629.9 | 642.3 | 658.8 | 673.6 | 733.7 | 828.7 | 920.6 | 1013 | 1031 | 1006 | 914.1 | 832.5 | 750 | 667.2 | 618.3 | 572 | 543.8 | 511.3 | 468.3 | 433.2 | 386.8 | 351.2 | 370.1 | 366.4 | 222.6 | 140.7 | 96.25 | 63.81 | 44.44 | 32.22 | 32.27 | 162.6
415 | 289.8 | 1273 | 1503 | 573.1 | 645.7 | 644.8 | 671.7 | 620.5 | 584.9 | 603.5 | 591.4 | 606.3 | 614.6 | 649.1 | 735.1 | 839.1 | 916.9 | 959.4 | 946.2 | 881 | 808.6 | 732.7 | 664.8 | 619.5 | 589 | 551.6 | 522.1 | 482.6 | 442.4 | 395.1 | 353.9 | 325.8 | 353 | 306.7 | 165.4 | 109.6 | 78.1 | 55.42 | 39.35 | 28.19 | 29.8
420 | 228.8 | 479.6 | 2032 | 777.6 | 600.7 | 608.6 | 620.9 | 579.8 | 567.5 | 557.9 | 562.3 | 573.8 | 576.2 | 603.3 | 685.7 | 761.2 | 843.5 | 879.6 | 882 | 840.1 | 780 | 720.5 | 652.2 | 613.5 | 576.8 | 545.9 | 520.5 | 480 | 444.5 | 393.8 | 356.9 | 322.7 | 295.4 | 317.9 | 228.9 | 127.5 | 88.71 | 65.43 | 49.98 | 36.94 | 28.92
425 | 228.9 | 346.5 | 1424 | 1637 | 494.9 | 552.9 | 601.7 | 545.9 | 551.2 | 505.9 | 533.7 | 529.4 | 534.4 | 557.8 | 626.3 | 698.5 | 767.7 | 803.6 | 817.7 | 777.3 | 744.8 | 684.3 | 637.5 | 598.4 | 570.1 | 535 | 507.8 | 471.1 | 435.7 | 390 | 356 | 319.9 | 282.5 | 264.3 | 274 | 172.8 | 101.8 | 74.49 | 58.57 | 47.03 | 36.16
430 | 233.6 | 307 | 588 | 2489 | 819.8 | 524.6 | 558 | 519.7 | 504.2 | 502 | 509.2 | 493.6 | 502.2 | 518.3 | 572.5 | 645.9 | 702.1 | 742.4 | 761.2 | 738.1 | 700 | 655.2 | 608 | 565.7 | 541.2 | 518.3 | 487.7 | 455.8 | 418.5 | 381.9 | 348.6 | 311.9 | 279.1 | 239.6 | 232.5 | 228.9 | 132.3 | 85.74 | 66.76 | 53.84 | 43.47
435 | 210.9 | 272.2 | 355.6 | 1815 | 1771 | 490.3 | 500.6 | 488.1 | 494.3 | 484.3 | 463.1 | 470 | 476.8 | 486.7 | 527.5 | 596.3 | 650.8 | 681.8 | 708 | 684 | 657.7 | 625 | 573.9 | 540.6 | 517.8 | 494.3 | 469.1 | 437.2 | 404.1 | 365.6 | 338 | 304.2 | 271.4 | 236.1 | 198.4 | 209.4 | 182.1 | 104 | 74.11 | 57.79 | 47.99
440 | 206.3 | 303.7 | 315.7 | 690.1 | 2813 | 803.7 | 468.6 | 469.2 | 463.6 | 442.2 | 451 | 453.3 | 437.5 | 450.8 | 498.6 | 559.2 | 596.6 | 622.8 | 640.2 | 633.4 | 614.7 | 584.1 | 539.6 | 511.3 | 489.4 | 469.6 | 443.1 | 419.3 | 384.5 | 350.3 | 326.2 | 298.1 | 265.3 | 229.6 | 190.1 | 167.4 | 189.7 | 142.7 | 81.28 | 61.54 | 52.14
445 | 161.9 | 293.8 | 289.3 | 357.4 | 2138 | 1849 | 458.2 | 435.6 | 429.9 | 412.1 | 406.4 | 422.6 | 418.2 | 427.9 | 459.8 | 507.9 | 538.6 | 575.9 | 581.4 | 572.8 | 563.4 | 536.9 | 498.8 | 474.6 | 453.4 | 440 | 412 | 387.1 | 362.3 | 332.8 | 308.3 | 277.9 | 253.5 | 223.7 | 189 | 153 | 145.9 | 162.8 | 109.7 | 66.26 | 53.92
450 | 131.3 | 224.9 | 289.5 | 328.6 | 750.5 | 3172 | 784.6 | 418 | 409.9 | 398.6 | 394 | 391 | 376.4 | 388.1 | 407.2 | 464 | 489.1 | 510.5 | 534 | 522.4 | 516.3 | 489.7 | 457.6 | 429.5 | 420.6 | 403 | 382.2 | 360.6 | 334.9 | 311.2 | 285.1 | 263.5 | 238.9 | 212.9 | 179.1 | 148.4 | 124 | 132.8 | 134.8 | 83.11 | 54.47
455 | 135.2 | 223.3 | 271.5 | 304 | 333.9 | 2457 | 2049 | 389.6 | 359.2 | 380.1 | 355.6 | 365.2 | 346.2 | 354.4 | 381.8 | 409.9 | 438.3 | 461.7 | 472.7 | 468.7 | 458.5 | 440.9 | 412.6 | 394.8 | 380.7 | 365.3 | 350.1 | 335.4 | 308.8 | 283.7 | 263.5 | 245.6 | 225 | 200.8 | 171.8 | 143.2 | 119.8 | 103.2 | 120.4 | 108.7 | 62.94
460 | 117.5 | 187.2 | 222.3 | 301.1 | 289.7 | 788.5 | 3380 | 711 | 337.3 | 335.5 | 329.7 | 328.1 | 332.3 | 318.8 | 344.8 | 375.8 | 391.6 | 412.5 | 416.4 | 417.9 | 409.4 | 396.1 | 368 | 351 | 348.2 | 332.3 | 316.8 | 300.1 | 278 | 258.6 | 239.8 | 223.7 | 207.5 | 186.6 | 162.2 | 139.6 | 112.2 | 94.09 | 88.98 | 107.4 | 83.02
465 | 116.4 | 163.8 | 185.3 | 303.8 | 288.9 | 293.8 | 2656 | 2002 | 318.4 | 303.9 | 303.6 | 296.6 | 293.3 | 297 | 305.5 | 338 | 351.6 | 366.4 | 365.6 | 371.6 | 361.9 | 350.9 | 323.5 | 313.1 | 303.7 | 296.4 | 282.7 | 268.1 | 253.2 | 239 | 220.2 | 202.3 | 190.9 | 173.5 | 154.7 | 128.7 | 106.4 | 89.25 | 76.66 | 76.91 | 92.92
470 | 110.8 | 151.6 | 181.2 | 266.6 | 268.2 | 275.5 | 790.9 | 3340 | 644.5 | 292.4 | 267.1 | 276.6 | 261 | 275.7 | 277.9 | 297.8 | 315.9 | 326.8 | 328.4 | 324 | 320.1 | 310.1 | 293.5 | 279.8 | 272.9 | 263 | 250 | 238 | 226.4 | 208.5 | 198.1 | 186.7 | 172.3 | 157.1 | 141 | 120.1 | 100.3 | 85.71 | 73.44 | 61.97 | 71.6
475 | 109.5 | 107.6 | 159.1 | 187.9 | 280.3 | 218.3 | 271.8 | 2654 | 1916 | 262.2 | 250.2 | 244.8 | 241.2 | 237.6 | 243.9 | 262.2 | 279.8 | 282.8 | 280.9 | 285.4 | 281.4 | 271.6 | 255.2 | 248.4 | 237.6 | 234.6 | 224.3 | 212.2 | 201.5 | 187.4 | 179.9 | 166.5 | 154.1 | 144.3 | 129.5 | 112.9 | 93.76 | 79.45 | 67.68 | 58.48 | 52.92
480 | 73.21 | 129.1 | 157.7 | 141.5 | 245.4 | 238.1 | 213.2 | 762.9 | 3164 | 595.2 | 224.3 | 229 | 219.9 | 213.8 | 226.6 | 244 | 243.6 | 251.3 | 247.7 | 247.9 | 252 | 238.9 | 228.2 | 213.9 | 210.7 | 204.7 | 198 | 189.5 | 180.8 | 170.9 | 161.8 | 152.2 | 140.9 | 130.3 | 119.3 | 105.1 | 89.19 | 75.59 | 65.33 | 54.97 | 48.89
485 | 106.7 | 106.2 | 125.8 | 143 | 212.4 | 269.9 | 188.1 | 238.8 | 2429 | 1728 | 224.6 | 209.9 | 205.4 | 201.9 | 209.1 | 221.2 | 223.1 | 227.9 | 228.4 | 226.3 | 221.7 | 210.5 | 198.5 | 193.7 | 188 | 186.1 | 181.7 | 167.4 | 162.5 | 154.2 | 143.6 | 136 | 131.2 | 120.5 | 110.9 | 96.99 | 84.36 | 71.88 | 61.72 | 53.77 | 47.42
490 | 106.6 | 88.86 | 103.5 | 117.9 | 148.7 | 257.1 | 202.3 | 186.5 | 730.9 | 2920 | 525.3 | 189.4 | 197.1 | 194.2 | 195.7 | 204.9 | 204.8 | 204 | 202.7 | 202.3 | 196.3 | 189.7 | 179.9 | 172.9 | 170.3 | 166.1 | 160.6 | 155.4 | 147.9 | 142.9 | 132.5 | 125.6 | 120.1 | 112.1 | 104 | 91.24 | 79.83 | 68.86 | 59.06 | 52.56 | 45.84
495 | 75.32 | 81.05 | 108.6 | 100.7 | 128.8 | 212.9 | 220.1 | 160.8 | 212.4 | 2330 | 1510 | 190.5 | 175.3 | 180.7 | 185.6 | 195.9 | 191.6 | 185.8 | 179.7 | 175.2 | 176.5 | 170.5 | 160 | 154 | 150.7 | 146.6 | 147.4 | 139.8 | 133.3 | 126 | 121.5 | 117.4 | 112.2 | 107.5 | 97.13 | 86.8 | 75.86 | 68.57 | 58.34 | 52.92 | 45.16
500 | 59.33 | 85.06 | 106.5 | 99.98 | 117.4 | 151.7 | 235.5 | 158.7 | 161.5 | 725.3 | 2618 | 427.2 | 172.7 | 169 | 176.5 | 179.4 | 174.7 | 172.1 | 159.1 | 158 | 152.4 | 150.4 | 142.3 | 138.8 | 134.1 | 132.9 | 129.5 | 126.2 | 122.9 | 116.2 | 110.9 | 107.3 | 101.6 | 97.07 | 90.52 | 83.99 | 73.61 | 63.77 | 56.86 | 49.94 | 44.66