## Sheet1
Report date: | 16:46:27, 09/19/2024
Sample: | 1
File name:
Run date: | 16:40:57, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/485.0 | 165.3
2 | 210.0/455.0 | 237.9
3 | 225.0/360.0 | 828.2
4 | 230.0/340.0 | 849.5
5 | 230.0/355.0 | 853.6
6 | 250.0/275.0 | 52.55
7 | 280.0/360.0 | 4996
8 | 330.0/435.0 | 2000
9 | 390.0/275.0 | 6.366
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 23.47 | 27.27 | 43.78 | 18.23 | 36.81 | 12.74 | 12.45 | 7.25 | 8.885 | 39 | 26.49 | 13.83 | 32.16 | 3875 | 8670 | 1684 | 14.98 | 7.784 | 6.925 | 4.889 | 4.415 | 4.056 | 4.163 | 3.448 | 3.304 | 3.178 | 3.432 | 3.623 | 3.753 | 3.282 | 3.365 | 4.001 | 3.453 | 4.135 | 4.171 | 4.32 | 5.813 | 7.188 | 5.738 | 4.164 | 3.826
275 | 64.43 | 22.67 | 29.52 | 39.62 | 42.16 | 31.45 | 20.62 | 9.297 | 9.494 | 17.7 | 52.55 | 35.69 | 31.5 | 290.1 | 4538 | 9000 | 1605 | 15.54 | 8.787 | 6.071 | 5.519 | 4.418 | 4.251 | 4.054 | 3.813 | 3.922 | 3.605 | 3.371 | 3.649 | 3.95 | 3.711 | 3.695 | 4.018 | 3.984 | 3.935 | 3.862 | 4.262 | 5.306 | 6.366 | 6.126 | 4.375
280 | 50.94 | 62.49 | 52.16 | 62.94 | 85.31 | 53.92 | 35.52 | 12.59 | 13.64 | 15.48 | 42.42 | 78.37 | 60.12 | 81.29 | 364.8 | 5326 | 9821 | 1628 | 17.49 | 7.246 | 6.151 | 5.433 | 5.104 | 4.463 | 4.487 | 3.614 | 3.672 | 3.8 | 3.811 | 3.548 | 3.951 | 4.067 | 4.287 | 4.139 | 3.782 | 3.749 | 3.734 | 3.979 | 5.278 | 6.345 | 5.466
285 | 78.94 | 57.46 | 71.01 | 92.74 | 148.5 | 122.4 | 87.3 | 40.17 | 30.84 | 24.72 | 43.31 | 95.16 | 143.2 | 149.8 | 191.2 | 514.7 | 6027 | 9999.9 | 1572 | 17.83 | 8.631 | 6.098 | 4.835 | 4.28 | 4.242 | 3.835 | 4.542 | 4.382 | 4.296 | 3.705 | 4.068 | 4.006 | 4.23 | 3.956 | 4.031 | 3.796 | 3.532 | 3.697 | 3.725 | 5.07 | 5.816
290 | 63.45 | 73.61 | 80.49 | 131.4 | 199.2 | 223.2 | 194.9 | 110.7 | 65.66 | 56.16 | 72.41 | 122.6 | 238.2 | 346.8 | 406.7 | 462.9 | 773.3 | 7411 | 9999.9 | 1546 | 15.11 | 9.094 | 6.362 | 5.759 | 5.275 | 4.72 | 4.51 | 4.742 | 4.181 | 4.172 | 4.678 | 4.039 | 4.354 | 4.637 | 4.177 | 3.818 | 3.476 | 3.19 | 3.651 | 3.807 | 4.577
295 | 100.4 | 98.68 | 124.2 | 168.8 | 290.5 | 363.4 | 334.4 | 207.7 | 133.7 | 107.1 | 133.9 | 206.4 | 337.4 | 575.3 | 750.8 | 827.5 | 781.5 | 957.4 | 9206 | 9999.9 | 1638 | 15.96 | 8.995 | 7.068 | 5.678 | 4.678 | 4.769 | 4.685 | 4.585 | 4.825 | 4.537 | 4.587 | 4.439 | 4.199 | 4.519 | 3.992 | 3.785 | 3.389 | 3.319 | 3.378 | 3.495
300 | 118.4 | 151.3 | 123.9 | 258 | 353.4 | 479.6 | 492.4 | 342.4 | 218 | 192.6 | 237.4 | 350.7 | 504.3 | 764.4 | 1089 | 1251 | 1162 | 821.4 | 922.9 | 9734 | 9999.9 | 1623 | 16.59 | 9.452 | 7.337 | 6.188 | 5.242 | 5.72 | 4.964 | 5.16 | 4.707 | 4.897 | 4.515 | 4.88 | 4.062 | 4.015 | 3.916 | 3.716 | 3.474 | 3.216 | 3.279
305 | 131.2 | 170.4 | 168.5 | 280.2 | 436 | 592 | 576.3 | 435.2 | 305.7 | 306.6 | 391.8 | 536 | 712.3 | 983.2 | 1328 | 1625 | 1538 | 1116 | 591.7 | 858.5 | 9999.9 | 9999.9 | 1631 | 16.61 | 10.28 | 8.014 | 6.595 | 6.111 | 5.75 | 5.665 | 5.189 | 5.028 | 5.128 | 4.84 | 4.898 | 4.202 | 3.806 | 3.798 | 3.464 | 3.444 | 2.793
310 | 141.3 | 149.2 | 217.6 | 282.2 | 455.5 | 640.1 | 660.8 | 515.6 | 427.3 | 460.9 | 589.3 | 741.6 | 931.4 | 1210 | 1568 | 1866 | 1919 | 1440 | 820.5 | 437.9 | 806.7 | 9999.9 | 9999.9 | 1763 | 17.62 | 11.2 | 9.008 | 7.407 | 6.983 | 5.905 | 6.549 | 5.706 | 5.564 | 5.104 | 4.909 | 4.636 | 4.113 | 3.867 | 3.489 | 3.543 | 3.128
315 | 136.8 | 178.4 | 223.9 | 307.1 | 464.1 | 624.4 | 707.4 | 581.9 | 531.5 | 634.5 | 812.8 | 1004 | 1199 | 1459 | 1795 | 2086 | 2172 | 1816 | 1142 | 603.3 | 315.5 | 774.5 | 9999.9 | 9999.9 | 1792 | 18.56 | 12.44 | 10.31 | 8.002 | 6.778 | 6.556 | 6.616 | 6.107 | 5.623 | 4.89 | 5.049 | 4.283 | 3.856 | 3.307 | 3.468 | 3.452
320 | 133.9 | 208.3 | 216 | 292.9 | 517.1 | 675.6 | 723.3 | 609.4 | 639.5 | 779.5 | 1039 | 1267 | 1487 | 1744 | 2086 | 2374 | 2426 | 2151 | 1533 | 860.8 | 427.4 | 247.6 | 755.9 | 9999.9 | 9999.9 | 1956 | 18.5 | 13.82 | 11.3 | 8.871 | 8.058 | 7.126 | 6.496 | 6.449 | 5.536 | 5.449 | 4.286 | 4.169 | 3.708 | 3.51 | 3.172
325 | 159.2 | 203.5 | 212.4 | 332.2 | 495 | 696.4 | 746.4 | 685 | 708.7 | 944.1 | 1243 | 1538 | 1776 | 2057 | 2376 | 2650 | 2761 | 2471 | 1938 | 1183 | 594.7 | 310 | 202.1 | 737.7 | 9999.9 | 9999.9 | 2083 | 21.98 | 14.92 | 11.98 | 9.362 | 8.11 | 7.022 | 6.935 | 6.139 | 5.731 | 5.05 | 4.173 | 3.858 | 3.693 | 3.286
330 | 163.9 | 209.3 | 256.7 | 368.2 | 541.4 | 728.6 | 765.8 | 733.4 | 793.5 | 1037 | 1418 | 1778 | 2063 | 2389 | 2728 | 3057 | 3133 | 2881 | 2277 | 1537 | 836.7 | 428.5 | 233.2 | 153 | 722.2 | 9999.9 | 9999.9 | 2500 | 24.19 | 16.61 | 13.36 | 9.976 | 8.305 | 8.018 | 6.967 | 6.478 | 4.996 | 4.671 | 3.953 | 4.081 | 3.553
335 | 189.2 | 257.5 | 285.6 | 400.4 | 533 | 751.8 | 795.2 | 773 | 862.5 | 1124 | 1535 | 1997 | 2370 | 2711 | 3151 | 3435 | 3560 | 3334 | 2711 | 1842 | 1157 | 608.3 | 317.5 | 166 | 122 | 722.7 | 9999.9 | 9999.9 | 2772 | 27.08 | 18.12 | 15.68 | 10.58 | 9.102 | 7.687 | 6.596 | 5.563 | 5.508 | 4.907 | 3.992 | 3.843
340 | 188.3 | 224.7 | 311.1 | 418 | 621.7 | 828.7 | 849.5 | 772.5 | 895.6 | 1195 | 1672 | 2158 | 2618 | 3066 | 3510 | 3851 | 4013 | 3799 | 3163 | 2189 | 1383 | 856.7 | 433.3 | 219.4 | 120.3 | 111 | 737.7 | 9999.9 | 9999.9 | 3278 | 30.06 | 20.25 | 16.15 | 11.75 | 9.15 | 8.007 | 6.455 | 5.716 | 5.208 | 4.531 | 3.678
345 | 213 | 262.6 | 307.5 | 444 | 658.7 | 806.3 | 839.5 | 752.5 | 886.5 | 1213 | 1711 | 2289 | 2779 | 3319 | 3848 | 4252 | 4421 | 4206 | 3596 | 2537 | 1613 | 1033 | 626.4 | 309.1 | 173.1 | 114.1 | 122.7 | 766 | 9999.9 | 9999.9 | 3924 | 33.91 | 22.23 | 17.21 | 12.14 | 9.491 | 7.577 | 7.118 | 5.423 | 5.184 | 4.89
350 | 256.5 | 267.6 | 289.5 | 468.2 | 637.1 | 833.7 | 834.4 | 783.6 | 893.2 | 1221 | 1752 | 2339 | 2930 | 3526 | 4109 | 4533 | 4748 | 4549 | 3930 | 2858 | 1861 | 1179 | 803.5 | 472.4 | 264.6 | 182.1 | 139.4 | 148.2 | 789.7 | 9999.9 | 9999.9 | 4412 | 36.25 | 24.58 | 18.7 | 13.18 | 8.64 | 7.379 | 6.873 | 5.431 | 5.053
355 | 244.7 | 281.1 | 341.2 | 460.7 | 632.5 | 790.6 | 853.6 | 797.7 | 872.6 | 1229 | 1724 | 2306 | 2973 | 3606 | 4254 | 4715 | 4949 | 4765 | 4169 | 3091 | 2084 | 1356 | 880 | 652 | 405.3 | 274.9 | 213.6 | 171.2 | 169.2 | 826.8 | 9999.9 | 9999.9 | 4648 | 38.78 | 25.75 | 18.32 | 12.01 | 9.621 | 7.044 | 6.588 | 5.55
360 | 259 | 315.1 | 344.3 | 504.3 | 720.9 | 828.2 | 809.6 | 754.3 | 843.8 | 1155 | 1663 | 2292 | 2954 | 3631 | 4262 | 4753 | 4996 | 4844 | 4324 | 3246 | 2263 | 1533 | 1012 | 726.3 | 593.3 | 411 | 310.5 | 249.6 | 188.7 | 177.9 | 811.6 | 9999.9 | 9999.9 | 5527 | 41.85 | 25.92 | 17.81 | 12.43 | 8.509 | 7.275 | 6.341
365 | 249.5 | 324.6 | 364.2 | 503.7 | 655.5 | 784.8 | 792.3 | 692 | 816.6 | 1106 | 1575 | 2170 | 2830 | 3516 | 4166 | 4649 | 4918 | 4788 | 4299 | 3313 | 2367 | 1645 | 1128 | 822.4 | 674.6 | 586.1 | 422.5 | 336.5 | 258.4 | 191.5 | 171.5 | 846.1 | 9999.9 | 9999.9 | 5689 | 42.63 | 26.47 | 17.56 | 11.2 | 8.842 | 6.868
370 | 243.5 | 316.3 | 327.8 | 465.4 | 598.4 | 739.4 | 750.5 | 701 | 763.8 | 1022 | 1468 | 2019 | 2652 | 3312 | 3913 | 4400 | 4693 | 4620 | 4196 | 3267 | 2412 | 1745 | 1245 | 927.2 | 741.4 | 695.9 | 600.4 | 440.4 | 346.9 | 256.2 | 185.6 | 175 | 870.6 | 9999.9 | 9999.9 | 5576 | 41.47 | 25.29 | 17.33 | 11.24 | 8.36
375 | 290.1 | 301.3 | 341.9 | 406.2 | 582 | 678.8 | 715.5 | 660.1 | 711 | 965.1 | 1346 | 1849 | 2421 | 3053 | 3634 | 4131 | 4400 | 4363 | 3985 | 3192 | 2411 | 1794 | 1338 | 1030 | 860.5 | 763.6 | 739.4 | 614.5 | 462.4 | 353.3 | 263.6 | 190.6 | 183.3 | 892.6 | 9999.9 | 9999.9 | 5533 | 38.96 | 24.23 | 16.61 | 11.26
380 | 305.5 | 284.8 | 361.4 | 420.5 | 573.1 | 655.9 | 648.6 | 626.2 | 674 | 890.4 | 1211 | 1670 | 2188 | 2759 | 3314 | 3783 | 4055 | 4037 | 3730 | 3053 | 2382 | 1831 | 1413 | 1152 | 991.2 | 879.9 | 813.2 | 800.1 | 630.8 | 480.5 | 370.9 | 278.6 | 207.4 | 197.7 | 912.5 | 9999.9 | 9999.9 | 5287 | 38.47 | 23.11 | 15.55
385 | 285.7 | 315.5 | 335.8 | 414.4 | 525.4 | 585 | 611.2 | 576 | 636 | 790.9 | 1094 | 1480 | 1967 | 2444 | 2995 | 3402 | 3677 | 3697 | 3472 | 2923 | 2361 | 1879 | 1506 | 1254 | 1117 | 1023 | 937.2 | 899.5 | 835.8 | 643.8 | 498.5 | 391.6 | 299.1 | 218.1 | 197.4 | 925.8 | 9999.9 | 9999.9 | 5171 | 37.25 | 21.81
390 | 336.9 | 283.6 | 305.2 | 388.3 | 477.5 | 560.1 | 560.3 | 534.9 | 598.6 | 751.2 | 993.4 | 1314 | 1716 | 2202 | 2672 | 3051 | 3321 | 3373 | 3246 | 2800 | 2309 | 1902 | 1581 | 1385 | 1258 | 1179 | 1098 | 1028 | 966.3 | 872.9 | 668.3 | 535.5 | 415.6 | 308.9 | 210.6 | 194.7 | 884.3 | 9999.9 | 9999.9 | 5217 | 35.04
395 | 713.8 | 244.6 | 317.4 | 354.6 | 462.5 | 500.1 | 521.2 | 527.4 | 561.8 | 698.3 | 904.5 | 1188 | 1547 | 1938 | 2369 | 2751 | 2999 | 3114 | 3036 | 2694 | 2304 | 1960 | 1667 | 1488 | 1400 | 1326 | 1264 | 1184 | 1090 | 1032 | 890.3 | 694.2 | 544 | 414.9 | 288.4 | 196.9 | 180.1 | 911.5 | 9999.9 | 9999.9 | 4849
400 | 992.8 | 462.3 | 285.6 | 336.4 | 447.9 | 463.6 | 502 | 504.4 | 561 | 664.3 | 827.7 | 1065 | 1370 | 1722 | 2119 | 2477 | 2755 | 2880 | 2837 | 2594 | 2270 | 2006 | 1769 | 1619 | 1538 | 1485 | 1432 | 1358 | 1255 | 1147 | 1082 | 895.2 | 695.9 | 536.4 | 382.3 | 263.9 | 176.4 | 170.9 | 862.8 | 9999.9 | 9999.9
405 | 764.8 | 800 | 298.8 | 322.4 | 401.4 | 461.7 | 497.3 | 487.7 | 564.3 | 629 | 772.3 | 985 | 1233 | 1539 | 1871 | 2230 | 2500 | 2661 | 2681 | 2490 | 2262 | 2039 | 1842 | 1735 | 1673 | 1637 | 1579 | 1519 | 1421 | 1294 | 1180 | 1092 | 869.5 | 663.8 | 489.5 | 340.6 | 231.4 | 156 | 151.9 | 822.4 | 9999.9
410 | 329.8 | 1105 | 465.2 | 309.5 | 388.9 | 441.4 | 470.5 | 490.2 | 532.2 | 613.9 | 733.6 | 902 | 1117 | 1397 | 1687 | 2019 | 2302 | 2459 | 2520 | 2400 | 2237 | 2065 | 1916 | 1820 | 1777 | 1769 | 1723 | 1664 | 1570 | 1442 | 1307 | 1200 | 1058 | 801.9 | 586.6 | 419.4 | 288.9 | 194 | 132.1 | 136.1 | 814.3
415 | 281.6 | 823.2 | 920.2 | 299 | 390 | 435.5 | 445.1 | 472.3 | 521.4 | 585.9 | 699.6 | 816.5 | 1012 | 1274 | 1564 | 1887 | 2128 | 2310 | 2370 | 2306 | 2185 | 2067 | 1941 | 1881 | 1868 | 1864 | 1839 | 1790 | 1676 | 1560 | 1422 | 1277 | 1153 | 967.7 | 696.9 | 502.4 | 350.5 | 240 | 161.9 | 111.2 | 124.5
420 | 247.4 | 317.4 | 1255 | 473.6 | 363 | 387.3 | 432.3 | 470.1 | 512.3 | 591.5 | 656.4 | 766.3 | 933.1 | 1164 | 1442 | 1735 | 1966 | 2136 | 2225 | 2210 | 2140 | 2047 | 1957 | 1933 | 1921 | 1938 | 1910 | 1868 | 1778 | 1661 | 1528 | 1369 | 1211 | 1066 | 827.5 | 585.5 | 416.8 | 288.3 | 199 | 138.4 | 97.98
425 | 264.8 | 235.5 | 869.3 | 909 | 351.5 | 378.2 | 413.2 | 466.9 | 508.9 | 569.9 | 635.6 | 716.1 | 859.8 | 1062 | 1313 | 1600 | 1841 | 1996 | 2085 | 2111 | 2066 | 2007 | 1957 | 1940 | 1957 | 1975 | 1970 | 1929 | 1844 | 1726 | 1589 | 1446 | 1265 | 1095 | 930.2 | 673.6 | 473.7 | 333.6 | 235 | 165.2 | 117.7
430 | 223.6 | 243 | 374.5 | 1312 | 462 | 341.8 | 399.8 | 447.3 | 516.5 | 568.3 | 626 | 704.3 | 815.4 | 985.4 | 1229 | 1487 | 1717 | 1864 | 1962 | 2000 | 1987 | 1982 | 1936 | 1921 | 1969 | 1985 | 1999 | 1968 | 1883 | 1770 | 1642 | 1497 | 1322 | 1122 | 952.6 | 774.5 | 542 | 380.2 | 273.3 | 199 | 143.6
435 | 230 | 244.7 | 233.1 | 895.2 | 848.4 | 318.3 | 378.4 | 454 | 493.1 | 567.7 | 602.8 | 664 | 765.5 | 907.3 | 1138 | 1382 | 1595 | 1759 | 1849 | 1920 | 1921 | 1908 | 1894 | 1913 | 1947 | 1986 | 2000 | 1982 | 1900 | 1791 | 1658 | 1523 | 1363 | 1161 | 963.7 | 796.2 | 619.3 | 427.7 | 308.3 | 227.5 | 171.1
440 | 254.2 | 234.2 | 236.4 | 397.2 | 1357 | 438.5 | 363.9 | 432.1 | 489.1 | 544.3 | 581 | 629.7 | 712.4 | 864 | 1056 | 1290 | 1487 | 1635 | 1721 | 1789 | 1820 | 1830 | 1829 | 1862 | 1915 | 1955 | 1968 | 1941 | 1878 | 1776 | 1662 | 1534 | 1366 | 1186 | 981 | 785.3 | 654.1 | 492.4 | 342.8 | 254.7 | 193.5
445 | 236.5 | 204 | 230.5 | 234.4 | 1022 | 869.8 | 354.7 | 390.4 | 484.6 | 516.8 | 584.8 | 591.3 | 675.5 | 788.4 | 976.9 | 1179 | 1367 | 1509 | 1581 | 1674 | 1703 | 1728 | 1750 | 1783 | 1841 | 1890 | 1904 | 1892 | 1822 | 1730 | 1625 | 1492 | 1350 | 1173 | 988.1 | 793.1 | 635.3 | 524.8 | 388.6 | 279.3 | 213.5
450 | 225.2 | 197.6 | 208.6 | 266 | 416 | 1356 | 488.5 | 377.8 | 450.5 | 506.7 | 542.6 | 565 | 629.9 | 723.5 | 899.5 | 1082 | 1248 | 1369 | 1447 | 1539 | 1577 | 1623 | 1639 | 1690 | 1734 | 1780 | 1805 | 1798 | 1738 | 1664 | 1558 | 1444 | 1307 | 1147 | 972.6 | 790.1 | 621.5 | 506.2 | 422.9 | 306 | 233.7
455 | 219.3 | 209.8 | 237.9 | 229.1 | 238.9 | 1088 | 917.6 | 371.7 | 410.6 | 462.4 | 495.7 | 533.1 | 570.9 | 665.4 | 805.7 | 965.1 | 1113 | 1231 | 1328 | 1377 | 1452 | 1483 | 1505 | 1572 | 1620 | 1669 | 1694 | 1692 | 1641 | 1564 | 1474 | 1369 | 1244 | 1096 | 935.5 | 765.7 | 613.6 | 488.1 | 416.6 | 343.1 | 248.1
460 | 199.9 | 180.1 | 194.2 | 236.8 | 240 | 430.6 | 1410 | 458.1 | 375.4 | 442.7 | 470.8 | 493.3 | 529.4 | 596.5 | 726 | 870.6 | 1009 | 1109 | 1177 | 1245 | 1307 | 1359 | 1384 | 1441 | 1489 | 1545 | 1564 | 1560 | 1521 | 1449 | 1381 | 1282 | 1165 | 1042 | 893.8 | 736 | 597.9 | 480.6 | 391.2 | 345.4 | 278.8
465 | 170.2 | 211.5 | 188.1 | 200.9 | 206.7 | 218 | 1143 | 923.3 | 372.9 | 404.8 | 426 | 446.6 | 488.4 | 533 | 652.9 | 764.2 | 881.8 | 977.4 | 1045 | 1111 | 1170 | 1214 | 1255 | 1299 | 1372 | 1407 | 1436 | 1433 | 1394 | 1340 | 1272 | 1177 | 1087 | 969.5 | 842.3 | 705.9 | 572.3 | 467.1 | 375.4 | 323 | 291.2
470 | 209.3 | 163.6 | 194.6 | 184.9 | 188.6 | 207.1 | 423.1 | 1438 | 462.5 | 364.7 | 383.8 | 404.4 | 435.3 | 487.3 | 572.8 | 681.9 | 785.2 | 870.4 | 924.5 | 983.7 | 1039 | 1077 | 1127 | 1167 | 1224 | 1266 | 1294 | 1294 | 1266 | 1223 | 1163 | 1080 | 1001 | 900.5 | 782.5 | 656.3 | 543.8 | 441.8 | 368.3 | 306.6 | 273.5
475 | 178.8 | 147.7 | 176.3 | 178.3 | 168.4 | 194.1 | 219.2 | 1197 | 942.2 | 340.4 | 363.2 | 374.8 | 387.4 | 435.6 | 511.2 | 603.7 | 682.4 | 752.6 | 802.8 | 867.8 | 926.1 | 961.3 | 997.5 | 1048 | 1087 | 1131 | 1155 | 1157 | 1135 | 1105 | 1052 | 982.4 | 909.1 | 823.4 | 722.9 | 619.5 | 514.4 | 423.7 | 354.1 | 297.3 | 257.8
480 | 207.9 | 128.4 | 160.8 | 164.8 | 162.9 | 192.4 | 191.8 | 446.7 | 1539 | 445.9 | 326.5 | 343 | 357 | 404.4 | 459.4 | 535.3 | 609 | 659.3 | 712.5 | 757.8 | 816.7 | 849.4 | 885.7 | 930.2 | 983.7 | 1019 | 1043 | 1054 | 1034 | 1004 | 951.4 | 899.3 | 831.3 | 756.3 | 673.1 | 579.4 | 490.6 | 406.9 | 342.4 | 290 | 250.1
485 | 148.9 | 165.3 | 120.7 | 129.8 | 147.5 | 156.7 | 184.1 | 219.5 | 1286 | 960.6 | 306.8 | 313.5 | 329.9 | 361.3 | 416.5 | 485.2 | 547 | 598.7 | 636.4 | 675.8 | 720 | 765.7 | 800.2 | 837.5 | 883 | 922 | 942.7 | 952.1 | 938 | 908.3 | 872.2 | 833.6 | 774.7 | 715.8 | 631.3 | 546.8 | 468.1 | 397.6 | 335.9 | 291.3 | 249.3
490 | 148.6 | 151.7 | 145.2 | 148.8 | 120 | 156.4 | 173.6 | 179.5 | 493.9 | 1606 | 416.7 | 303.3 | 313.3 | 343.2 | 388.6 | 446 | 496.4 | 533.7 | 565.7 | 604.1 | 647.3 | 690 | 719.2 | 759.1 | 801.2 | 833.7 | 852.6 | 865.4 | 860 | 837.8 | 800.3 | 768 | 726.8 | 674.5 | 603.3 | 525.6 | 455 | 385.8 | 331.4 | 285 | 251.3
495 | 125.7 | 146.6 | 137.4 | 108.9 | 130.6 | 126 | 148.1 | 167.1 | 214.6 | 1436 | 964.5 | 288.9 | 292 | 323.3 | 365.7 | 406.4 | 453.7 | 488.1 | 502.7 | 543.6 | 580.9 | 612.7 | 641.2 | 675.8 | 720.5 | 750.7 | 764.1 | 784.1 | 785 | 767.9 | 742.2 | 709.7 | 676 | 635.9 | 572.4 | 506.9 | 441.2 | 380.1 | 329 | 288.3 | 251.9
500 | 112.8 | 118.4 | 138.2 | 114 | 129.5 | 127.2 | 129.2 | 155.4 | 184.3 | 530.2 | 1713 | 409.1 | 280.7 | 310.5 | 339.1 | 379 | 405.7 | 431.7 | 446.4 | 476.9 | 511.5 | 551.9 | 572 | 601.9 | 637.2 | 671.3 | 690 | 714.7 | 705.7 | 694.7 | 682 | 655.6 | 632.9 | 598.3 | 552.5 | 492.4 | 428.7 | 367.2 | 323 | 282.7 | 253.3