## Sheet1
Report date: | 17:04:59, 09/19/2024
Sample: | 1
File name:
Run date: | 16:59:26, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/335.0 | 1853
2 | 225.0/350.0 | 1893
3 | 230.0/400.0 | 1518
4 | 235.0/405.0 | 1501
5 | 250.0/275.0 | 304.2
6 | 255.0/280.0 | 339.9
7 | 280.0/340.0 | 3614
8 | 290.0/405.0 | 3092
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 49.9 | 56.37 | 35.11 | 54.91 | 54.95 | 28.13 | 20.44 | 18.18 | 35.81 | 249.6 | 163.3 | 32.43 | 76.66 | 8384 | 9999.9 | 2996 | 23.49 | 10.47 | 7.816 | 6.046 | 4.696 | 4.445 | 4.085 | 3.533 | 3.124 | 3.103 | 2.778 | 2.446 | 2.68 | 2.612 | 2.509 | 2.448 | 2.18 | 2.274 | 2.384 | 2.633 | 3.139 | 3.226 | 3.235 | 2.698 | 2.35
275 | 88.79 | 75.44 | 81.32 | 106.1 | 76.4 | 57.46 | 29.26 | 15.07 | 18.43 | 75.77 | 304.2 | 135.8 | 48.1 | 607.4 | 9402 | 9999.9 | 2719 | 24.01 | 10.51 | 7.388 | 5.872 | 5.01 | 4.156 | 3.704 | 3.275 | 3.035 | 2.796 | 2.576 | 2.715 | 2.732 | 2.378 | 2.731 | 2.778 | 2.817 | 2.396 | 2.679 | 2.628 | 2.752 | 3.265 | 3.147 | 2.304
280 | 128.7 | 109.4 | 132.3 | 159.6 | 180.2 | 120 | 56.05 | 28.84 | 24.15 | 29.35 | 148.3 | 339.9 | 128.4 | 115.8 | 705.4 | 9999.9 | 9999.9 | 2503 | 21.64 | 9.834 | 7.642 | 6.099 | 4.502 | 4.151 | 3.892 | 3.325 | 2.976 | 3.165 | 2.881 | 2.789 | 2.833 | 2.575 | 2.581 | 2.446 | 2.875 | 2.197 | 2.333 | 2.486 | 2.747 | 3.198 | 2.691
285 | 161.8 | 165.7 | 178.5 | 259.9 | 314.1 | 254.9 | 176.4 | 89.24 | 42.17 | 42.14 | 61.83 | 269.8 | 417.7 | 217.1 | 253.9 | 863.7 | 9999.9 | 9999.9 | 2226 | 21.38 | 9.755 | 6.266 | 5.875 | 4.457 | 3.857 | 3.525 | 3.387 | 3.457 | 3.042 | 2.991 | 2.914 | 2.473 | 2.813 | 2.578 | 2.838 | 2.385 | 2.412 | 2.779 | 2.32 | 2.616 | 3.111
290 | 209.7 | 233 | 247.8 | 372.2 | 502.3 | 548 | 398.3 | 212.6 | 112.4 | 80.05 | 101.9 | 177.2 | 507.2 | 624 | 498 | 553.4 | 1074 | 9999.9 | 9999.9 | 1960 | 17.9 | 9.201 | 6.909 | 4.713 | 4.309 | 3.895 | 3.077 | 3.803 | 3.001 | 3.181 | 2.958 | 2.932 | 2.957 | 2.753 | 2.784 | 2.569 | 2.177 | 2.264 | 2.305 | 2.546 | 2.514
295 | 287.9 | 297.1 | 392.8 | 521.6 | 715.8 | 816.4 | 675.7 | 395.1 | 203.4 | 149.6 | 167.9 | 254.3 | 421.1 | 915.7 | 1007 | 897.8 | 817.9 | 1107 | 9999.9 | 9999.9 | 1771 | 17.71 | 8.224 | 6.783 | 5.399 | 4.875 | 3.981 | 3.981 | 3.268 | 3.062 | 3.318 | 3.198 | 2.952 | 3.032 | 2.83 | 2.739 | 2.528 | 2.082 | 2.336 | 2.33 | 2.311
300 | 397 | 397 | 475.1 | 666.8 | 882.2 | 1127 | 936.8 | 590.9 | 344 | 247 | 250 | 369.5 | 568.9 | 924.6 | 1532 | 1445 | 1192 | 833.4 | 1015 | 9999.9 | 9999.9 | 1587 | 16.28 | 8.059 | 5.929 | 5.124 | 4.118 | 4.333 | 3.598 | 3.683 | 3.155 | 3.198 | 2.951 | 3.341 | 2.75 | 2.73 | 2.477 | 2.328 | 2.399 | 2.191 | 2.475
305 | 417.8 | 441 | 538.8 | 724.9 | 1062 | 1355 | 1151 | 797.8 | 494 | 356.3 | 362.7 | 492.9 | 727.3 | 1108 | 1613 | 2123 | 1746 | 1221 | 707.2 | 973.6 | 9999.9 | 9999.9 | 1437 | 13.93 | 8.688 | 6.29 | 4.866 | 4.575 | 3.939 | 3.399 | 3.626 | 3.303 | 3.186 | 3.196 | 2.999 | 2.639 | 2.597 | 2.434 | 2.107 | 2.619 | 2.185
310 | 431.3 | 499 | 609.5 | 773.3 | 1190 | 1427 | 1330 | 948.5 | 605.7 | 466.6 | 475.9 | 622.8 | 916.7 | 1331 | 1830 | 2310 | 2464 | 1709 | 1039 | 590.7 | 860.5 | 9999.9 | 9999.9 | 1419 | 14.08 | 8.572 | 7.02 | 5.067 | 4.335 | 4.168 | 4.296 | 3.596 | 3.519 | 3.328 | 3.203 | 3.109 | 2.639 | 2.778 | 2.388 | 2.387 | 2.298
315 | 438.9 | 468.8 | 655.5 | 919.9 | 1297 | 1516 | 1471 | 1065 | 714.2 | 572.8 | 591.9 | 784.4 | 1111 | 1579 | 2099 | 2511 | 2752 | 2340 | 1428 | 770.8 | 354.7 | 752.6 | 9999.9 | 9999.9 | 1328 | 13.71 | 9.615 | 7.234 | 5.148 | 4.653 | 4.409 | 4.109 | 3.924 | 3.609 | 3.509 | 3.214 | 2.857 | 2.49 | 2.657 | 2.681 | 2.247
320 | 434.2 | 508.4 | 688.4 | 960.4 | 1387 | 1633 | 1595 | 1165 | 809.7 | 682.1 | 730.1 | 960.7 | 1318 | 1807 | 2393 | 2803 | 2903 | 2715 | 1907 | 979.4 | 418.6 | 189.1 | 710.1 | 9893 | 9999.9 | 1354 | 13.22 | 9.335 | 7.116 | 5.663 | 5.331 | 4.194 | 3.868 | 3.802 | 3.994 | 3.062 | 2.854 | 2.943 | 2.362 | 2.658 | 2.348
325 | 448 | 526.2 | 725.2 | 1027 | 1443 | 1681 | 1638 | 1187 | 874.6 | 767.1 | 856.1 | 1128 | 1541 | 2063 | 2633 | 3065 | 3148 | 2800 | 2260 | 1241 | 512.3 | 196.1 | 128.8 | 694.1 | 9994 | 9999.9 | 1372 | 14.51 | 9.746 | 6.928 | 5.516 | 4.557 | 4.465 | 4.334 | 3.837 | 3.658 | 3.21 | 2.793 | 2.782 | 2.589 | 2.498
330 | 451.3 | 539.6 | 754.7 | 1073 | 1526 | 1774 | 1606 | 1209 | 903.7 | 839.8 | 960.8 | 1279 | 1697 | 2291 | 2868 | 3279 | 3350 | 2990 | 2253 | 1529 | 660.8 | 248.8 | 122.4 | 103.7 | 689.5 | 9999.9 | 9999.9 | 1460 | 14.26 | 9.87 | 7.586 | 6.302 | 4.886 | 4.928 | 4.053 | 3.865 | 3.305 | 3.154 | 2.581 | 2.679 | 2.565
335 | 392.4 | 577.2 | 750.4 | 1135 | 1694 | 1853 | 1575 | 1207 | 928.5 | 906.2 | 1091 | 1417 | 1901 | 2449 | 3036 | 3427 | 3523 | 3138 | 2325 | 1464 | 887.8 | 338.9 | 152.6 | 88.46 | 92.76 | 687.4 | 9999.9 | 9999.9 | 1576 | 15 | 10.42 | 8.054 | 5.908 | 5.413 | 4.652 | 4.182 | 3.427 | 3.056 | 2.976 | 2.904 | 2.353
340 | 438.9 | 612.6 | 783.3 | 1178 | 1704 | 1817 | 1549 | 1158 | 957.6 | 962.5 | 1126 | 1512 | 2023 | 2577 | 3160 | 3533 | 3614 | 3211 | 2389 | 1438 | 858.6 | 556.5 | 215.3 | 111.2 | 74.06 | 85.27 | 693.8 | 9999.9 | 9999.9 | 1727 | 16.93 | 10.86 | 8.718 | 7.339 | 5.911 | 4.656 | 4.162 | 3.586 | 3.274 | 3.07 | 2.664
345 | 392.3 | 557.4 | 788.2 | 1254 | 1694 | 1843 | 1523 | 1179 | 961.8 | 978.9 | 1220 | 1577 | 2099 | 2679 | 3226 | 3544 | 3600 | 3230 | 2443 | 1460 | 803.4 | 575.5 | 387.7 | 152.8 | 92.05 | 66.55 | 86.22 | 698.3 | 9999.9 | 9999.9 | 1921 | 17.54 | 11.22 | 8.493 | 6.61 | 5.095 | 4.812 | 3.721 | 3.536 | 3.162 | 2.731
350 | 405.2 | 508.3 | 740.5 | 1154 | 1628 | 1893 | 1506 | 1120 | 934.2 | 1001 | 1217 | 1606 | 2117 | 2688 | 3203 | 3536 | 3546 | 3193 | 2424 | 1461 | 825.7 | 505.5 | 471.8 | 292.2 | 129.1 | 88.45 | 68.27 | 90.22 | 699.2 | 9999.9 | 9999.9 | 2160 | 19.06 | 12.09 | 9.471 | 6.556 | 5.17 | 4.418 | 4.003 | 3.354 | 3.008
355 | 406.5 | 569.1 | 764.2 | 1213 | 1647 | 1735 | 1411 | 1080 | 932.3 | 986.1 | 1224 | 1616 | 2107 | 2653 | 3145 | 3424 | 3442 | 3092 | 2369 | 1488 | 872.5 | 536.2 | 394.7 | 427.3 | 235.2 | 122 | 95.23 | 75.23 | 95.42 | 715.6 | 9999.9 | 9999.9 | 2277 | 19.54 | 12.51 | 9.626 | 6.431 | 4.798 | 4.058 | 3.584 | 3.227
360 | 320.1 | 535 | 718.5 | 1192 | 1597 | 1699 | 1432 | 1009 | 928.4 | 989.5 | 1231 | 1580 | 2048 | 2548 | 3017 | 3280 | 3294 | 2970 | 2316 | 1495 | 936.8 | 606.4 | 425 | 372.3 | 402.9 | 206.4 | 131.3 | 102.1 | 81.96 | 102.1 | 714.7 | 9999.9 | 9999.9 | 2530 | 20.74 | 13.42 | 9.501 | 5.992 | 5.127 | 3.998 | 3.928
365 | 356.1 | 543.6 | 730.4 | 1057 | 1506 | 1721 | 1280 | 1037 | 920.9 | 983.8 | 1209 | 1542 | 1959 | 2444 | 2867 | 3113 | 3127 | 2840 | 2269 | 1537 | 1027 | 704.3 | 514.6 | 386.3 | 383.6 | 378.6 | 199.7 | 143.8 | 112.2 | 91.02 | 112.6 | 729 | 9999.9 | 9999.9 | 2569 | 20.22 | 13.1 | 8.955 | 5.884 | 4.284 | 4.011
370 | 366.9 | 533.8 | 743.4 | 1033 | 1456 | 1567 | 1286 | 1052 | 935.5 | 1011 | 1188 | 1460 | 1869 | 2282 | 2667 | 2907 | 2973 | 2770 | 2284 | 1637 | 1168 | 864.3 | 624.4 | 473.8 | 383.5 | 417.4 | 360.4 | 209.2 | 157.6 | 128.2 | 105.2 | 113.5 | 738.1 | 9999.9 | 9999.9 | 2472 | 19.45 | 12.16 | 8.669 | 6.073 | 4.519
375 | 446.5 | 588.1 | 886.9 | 1044 | 1498 | 1522 | 1287 | 1044 | 998.8 | 1001 | 1159 | 1426 | 1764 | 2146 | 2488 | 2761 | 2879 | 2733 | 2355 | 1804 | 1365 | 1050 | 790.1 | 589.7 | 463.6 | 402.1 | 465.5 | 357.9 | 226.4 | 181.2 | 147 | 109.8 | 118.1 | 747.3 | 9999.9 | 9999.9 | 2477 | 19.01 | 11.42 | 9.06 | 5.843
380 | 419.2 | 620.5 | 829.4 | 1027 | 1465 | 1482 | 1373 | 1108 | 1064 | 1007 | 1136 | 1339 | 1614 | 1993 | 2333 | 2606 | 2795 | 2752 | 2484 | 2013 | 1624 | 1290 | 976 | 740.5 | 575.4 | 477.9 | 460.2 | 513.2 | 363.1 | 259.1 | 209 | 157.8 | 113.5 | 119.9 | 754.5 | 9999.9 | 9999.9 | 2385 | 17.67 | 10.87 | 7.857
385 | 474.3 | 687.2 | 807.6 | 1000 | 1351 | 1501 | 1350 | 1220 | 1138 | 1049 | 1114 | 1288 | 1503 | 1822 | 2197 | 2521 | 2752 | 2794 | 2637 | 2288 | 1897 | 1546 | 1191 | 914.9 | 718.6 | 601.9 | 538.7 | 534.3 | 545.6 | 376.6 | 287.5 | 221.8 | 163.4 | 113.2 | 117.8 | 753 | 9999.9 | 9999.9 | 2255 | 17.46 | 10.14
390 | 613.4 | 816.7 | 855.6 | 1028 | 1310 | 1455 | 1422 | 1316 | 1187 | 1073 | 1098 | 1234 | 1418 | 1701 | 2096 | 2426 | 2730 | 2883 | 2823 | 2532 | 2185 | 1805 | 1420 | 1087 | 872.8 | 743.9 | 670.6 | 605.6 | 609.4 | 567.6 | 400.7 | 304.7 | 227.9 | 158.4 | 104.5 | 108.8 | 734.2 | 9999.9 | 9999.9 | 2252 | 16.56
395 | 1025 | 917.2 | 944.3 | 1053 | 1249 | 1493 | 1504 | 1432 | 1282 | 1123 | 1069 | 1184 | 1329 | 1618 | 1980 | 2363 | 2728 | 2939 | 2944 | 2741 | 2405 | 2041 | 1605 | 1255 | 1030 | 894.9 | 802.5 | 737 | 667.2 | 673.2 | 576.5 | 401.5 | 298.3 | 211 | 139.9 | 89.14 | 99.28 | 744.8 | 9999.9 | 9999.9 | 2080
400 | 1406 | 1074 | 938.1 | 1011 | 1239 | 1458 | 1518 | 1450 | 1319 | 1130 | 1074 | 1130 | 1283 | 1506 | 1869 | 2294 | 2695 | 2966 | 3043 | 2897 | 2582 | 2224 | 1774 | 1426 | 1175 | 1038 | 949.2 | 867.7 | 777.9 | 711.8 | 708.4 | 545.1 | 379.5 | 271.5 | 180.4 | 115.8 | 73.14 | 90.73 | 718 | 9999.9 | 9999.9
405 | 1153 | 1610 | 1005 | 993.9 | 1236 | 1392 | 1484 | 1501 | 1365 | 1175 | 1070 | 1121 | 1208 | 1437 | 1814 | 2208 | 2658 | 2962 | 3092 | 2971 | 2716 | 2340 | 1920 | 1552 | 1322 | 1179 | 1086 | 1004 | 904.1 | 797.4 | 740.4 | 689.3 | 494.1 | 333.2 | 228.3 | 149.4 | 92.58 | 61.28 | 81.77 | 700.9 | 9999.9
410 | 707.3 | 2085 | 1139 | 999.5 | 1193 | 1400 | 1485 | 1486 | 1364 | 1193 | 1074 | 1093 | 1180 | 1393 | 1717 | 2153 | 2574 | 2912 | 3059 | 2976 | 2749 | 2415 | 2003 | 1667 | 1441 | 1309 | 1205 | 1117 | 1008 | 894 | 789 | 717.1 | 630.5 | 417.5 | 274.8 | 178.8 | 115.1 | 73.79 | 49.48 | 75.2 | 698.3
415 | 619.4 | 1545 | 1723 | 964.3 | 1190 | 1364 | 1482 | 1464 | 1393 | 1170 | 1079 | 1056 | 1133 | 1314 | 1658 | 2066 | 2489 | 2805 | 2979 | 2930 | 2734 | 2426 | 2043 | 1722 | 1527 | 1398 | 1302 | 1216 | 1099 | 982.8 | 858.9 | 732.5 | 665.4 | 530.4 | 326.6 | 215.8 | 138.1 | 90.13 | 58.16 | 43.09 | 71.64
420 | 612.5 | 923.2 | 2070 | 1143 | 1080 | 1290 | 1425 | 1470 | 1371 | 1190 | 1080 | 1042 | 1098 | 1269 | 1563 | 1979 | 2348 | 2691 | 2836 | 2828 | 2650 | 2370 | 2049 | 1763 | 1580 | 1466 | 1368 | 1277 | 1159 | 1046 | 913.6 | 782.4 | 655.7 | 581.3 | 417.8 | 251.9 | 162.5 | 107 | 71.8 | 48.84 | 37.41
425 | 502.2 | 803.8 | 1785 | 1798 | 1036 | 1214 | 1372 | 1359 | 1355 | 1164 | 1086 | 1038 | 1061 | 1204 | 1501 | 1861 | 2221 | 2528 | 2671 | 2681 | 2541 | 2314 | 2005 | 1759 | 1597 | 1496 | 1420 | 1328 | 1207 | 1089 | 961.8 | 827.3 | 674.8 | 553.2 | 475.5 | 310.7 | 187.2 | 123.6 | 85.34 | 58.82 | 43.37
430 | 426.1 | 677.1 | 979.9 | 2431 | 1224 | 1170 | 1278 | 1350 | 1312 | 1184 | 1062 | 1002 | 1023 | 1147 | 1417 | 1766 | 2085 | 2376 | 2503 | 2506 | 2405 | 2215 | 1955 | 1743 | 1610 | 1512 | 1435 | 1352 | 1240 | 1114 | 990.5 | 846.4 | 705.6 | 558.1 | 459.3 | 377.8 | 222.8 | 140.5 | 97.68 | 70.28 | 51.68
435 | 436.6 | 689.1 | 769.3 | 1863 | 1900 | 1083 | 1221 | 1292 | 1256 | 1149 | 1051 | 1009 | 995 | 1099 | 1366 | 1651 | 1967 | 2203 | 2309 | 2343 | 2255 | 2105 | 1867 | 1704 | 1590 | 1507 | 1441 | 1358 | 1239 | 1131 | 1002 | 863.8 | 717.2 | 570.8 | 440 | 368.4 | 282.1 | 165.6 | 108.8 | 79.57 | 60.67
440 | 472.4 | 570.3 | 706.2 | 904.3 | 2720 | 1227 | 1154 | 1253 | 1196 | 1116 | 1010 | 961.7 | 962.1 | 1056 | 1271 | 1538 | 1818 | 2026 | 2137 | 2168 | 2107 | 1968 | 1794 | 1644 | 1546 | 1485 | 1417 | 1341 | 1236 | 1115 | 992.5 | 860.1 | 717.8 | 575.8 | 441.3 | 337.4 | 297.8 | 210.9 | 126.2 | 89.12 | 69.06
445 | 382.6 | 580.5 | 621.8 | 661.2 | 2146 | 2053 | 1060 | 1122 | 1126 | 1062 | 988.2 | 934.6 | 918.3 | 976 | 1174 | 1433 | 1665 | 1855 | 1953 | 1976 | 1942 | 1825 | 1686 | 1554 | 1483 | 1426 | 1374 | 1293 | 1200 | 1081 | 964.9 | 839.5 | 710.5 | 572.2 | 444.3 | 332.1 | 259.4 | 238.1 | 156.3 | 98.97 | 75.63
450 | 384.4 | 472.4 | 522.7 | 601.9 | 1025 | 3079 | 1229 | 1051 | 1052 | 1005 | 950 | 891.8 | 847.3 | 917.5 | 1074 | 1297 | 1519 | 1665 | 1750 | 1777 | 1747 | 1666 | 1547 | 1443 | 1393 | 1342 | 1300 | 1233 | 1139 | 1033 | 924.5 | 805 | 686.6 | 559.8 | 437.2 | 329.4 | 249.7 | 208.3 | 186.6 | 119.7 | 81.34
455 | 333 | 438.6 | 510.2 | 517.9 | 653.2 | 2470 | 2155 | 969.5 | 960.1 | 927.5 | 872.5 | 813.1 | 785.1 | 846.8 | 975.1 | 1176 | 1341 | 1477 | 1546 | 1587 | 1552 | 1505 | 1410 | 1333 | 1291 | 1258 | 1207 | 1152 | 1080 | 972.7 | 869.9 | 763.6 | 652.3 | 535.1 | 422.7 | 321.4 | 243.4 | 184.1 | 174.5 | 149.1 | 95.14
460 | 286.9 | 386 | 454.1 | 520.5 | 532.1 | 1064 | 3376 | 1178 | 868.1 | 869.2 | 808.8 | 763 | 719.7 | 771.6 | 887.1 | 1055 | 1182 | 1301 | 1361 | 1398 | 1384 | 1339 | 1274 | 1210 | 1176 | 1152 | 1116 | 1059 | 991 | 910.8 | 813 | 717.3 | 611 | 504.6 | 402.7 | 311.5 | 235.3 | 179.1 | 147.3 | 149.3 | 119.9
465 | 270.7 | 410 | 405.7 | 447.9 | 520 | 604.4 | 2918 | 2226 | 785.2 | 774.5 | 753.2 | 698.1 | 662.8 | 686.5 | 789.6 | 927.3 | 1052 | 1155 | 1207 | 1219 | 1208 | 1184 | 1126 | 1083 | 1073 | 1047 | 1019 | 979.1 | 911.2 | 831.4 | 747.8 | 659.5 | 567.2 | 474.2 | 381.3 | 295.6 | 225.8 | 175.8 | 140.3 | 125.1 | 128.3
470 | 205 | 315.3 | 341.4 | 409.6 | 433.5 | 518.5 | 1154 | 3589 | 1074 | 706.1 | 667.4 | 631.4 | 596.6 | 613.9 | 692.7 | 813.6 | 921.4 | 1000 | 1053 | 1067 | 1061 | 1034 | 996.5 | 963.1 | 955.8 | 940.8 | 919.6 | 879.1 | 829.3 | 757 | 691.1 | 600.9 | 524.9 | 439.1 | 357.1 | 281.4 | 217.9 | 171.7 | 136.8 | 112.2 | 110.5
475 | 190.2 | 270.3 | 276.1 | 358.1 | 391.8 | 458.6 | 553.9 | 3095 | 2240 | 641.2 | 616.2 | 564.5 | 534.1 | 555.4 | 622.2 | 709.3 | 796.4 | 858.8 | 897.3 | 916.8 | 920 | 909.2 | 874.2 | 851.6 | 841.9 | 837.7 | 818.8 | 787.9 | 742.4 | 679.6 | 615.6 | 548.6 | 478.2 | 405.8 | 330.1 | 263.1 | 204.7 | 163.5 | 131.5 | 109.7 | 95.46
480 | 209.9 | 222.7 | 253.6 | 312.1 | 409.9 | 409.5 | 459.1 | 1142 | 3784 | 940.7 | 568 | 510.9 | 492.4 | 503.2 | 552.6 | 632.5 | 704.3 | 753.3 | 781.2 | 800.8 | 798.5 | 788.4 | 769.6 | 760.9 | 747.7 | 746.6 | 741.5 | 710.5 | 667.6 | 611.6 | 556.2 | 500.3 | 441.8 | 376.2 | 309.6 | 247.5 | 197.2 | 161.2 | 130.2 | 108.2 | 92.51
485 | 196 | 218.5 | 221 | 272.4 | 330.7 | 391.6 | 421.6 | 505.9 | 3277 | 2163 | 520.3 | 484.3 | 455.6 | 458.4 | 505.5 | 569.7 | 639.9 | 670.7 | 689.2 | 698.5 | 709.9 | 695.6 | 680.9 | 679.7 | 676 | 671.1 | 663.8 | 641.5 | 607.5 | 557 | 514 | 462.5 | 407 | 349.8 | 292.7 | 237.4 | 192.8 | 159.2 | 130.6 | 111.3 | 93.07
490 | 153.4 | 220.4 | 208.3 | 226.7 | 278.2 | 339.8 | 385.1 | 428.6 | 1167 | 3838 | 803.3 | 447.3 | 430.1 | 437.7 | 476 | 517.4 | 571.6 | 591.2 | 619.4 | 622.1 | 627.9 | 623.6 | 610.9 | 606.4 | 607.9 | 607.9 | 597.6 | 584.1 | 556.3 | 516.5 | 469.2 | 424.4 | 379.4 | 331 | 277.6 | 231.4 | 188.7 | 153.7 | 130.7 | 110.4 | 94.53
495 | 159.3 | 187.8 | 203.2 | 195.2 | 256.4 | 293.7 | 377.1 | 380.6 | 472.8 | 3449 | 2027 | 426.6 | 406.5 | 407.4 | 435.2 | 485.5 | 521.8 | 528.5 | 532.6 | 543.1 | 547.5 | 547 | 539.7 | 539.1 | 537.3 | 543.4 | 539.7 | 525 | 499.6 | 468.9 | 430.1 | 390.3 | 351 | 316.3 | 267.3 | 223.6 | 182.9 | 156.2 | 128.1 | 111.8 | 97.24
500 | 146.3 | 140.1 | 193.9 | 174.3 | 223 | 262.8 | 356.2 | 342.3 | 370.6 | 1245 | 3797 | 693.6 | 382.9 | 388.3 | 415.8 | 444.7 | 461.6 | 477.2 | 465.7 | 466.9 | 475.7 | 475.3 | 476.1 | 472.3 | 475.3 | 480 | 480.1 | 466.8 | 450.3 | 423.3 | 392.7 | 360.1 | 326.6 | 293.7 | 255.8 | 216.9 | 180.1 | 151.1 | 130.3 | 114.4 | 99.72