## Sheet1
Report date: | 17:10:25, 09/19/2024
Sample: | 1
File name:
Run date: | 17:04:57, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/345.0 | 1739
2 | 225.0/385.0 | 1318
3 | 230.0/400.0 | 1364
4 | 230.0/410.0 | 1363
5 | 235.0/415.0 | 1316
6 | 250.0/275.0 | 294.6
7 | 255.0/280.0 | 344.9
8 | 280.0/340.0 | 3520
9 | 290.0/405.0 | 3008
10 | 325.0/370.0 | 427.8
11 | 390.0/275.0 | 3.752
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 68.72 | 25.73 | 47.14 | 66.62 | 54.56 | 28.42 | 22.26 | 15.07 | 39.28 | 255.1 | 148 | 32.82 | 85.63 | 8558 | 9999.9 | 2997 | 23.62 | 10.73 | 7.831 | 6.641 | 5.076 | 4.111 | 4.33 | 3.234 | 3.227 | 2.612 | 2.696 | 2.772 | 3.245 | 2.7 | 2.135 | 2.262 | 2.78 | 2.691 | 2.575 | 2.708 | 2.99 | 3.295 | 3.435 | 2.594 | 2.232
275 | 72.66 | 91.34 | 88.37 | 88.35 | 83.92 | 44.56 | 30.63 | 19.89 | 16.08 | 85.58 | 294.6 | 115.5 | 48.44 | 620 | 9501 | 9999.9 | 2724 | 23.9 | 10.67 | 7.677 | 6.366 | 4.995 | 4.172 | 3.616 | 3.776 | 2.997 | 3.185 | 2.782 | 2.816 | 2.421 | 2.625 | 2.755 | 2.578 | 2.629 | 2.643 | 2.465 | 2.463 | 3.155 | 3.752 | 3.023 | 2.645
280 | 98.36 | 103.9 | 120.4 | 154.9 | 151.9 | 114.7 | 49.08 | 29.5 | 23.81 | 30.91 | 145.9 | 344.9 | 129.5 | 116.1 | 708.7 | 9999.9 | 9999.9 | 2542 | 23.34 | 10.05 | 7.063 | 6.481 | 5.196 | 4.482 | 4.011 | 3.258 | 2.91 | 3.071 | 2.577 | 2.825 | 2.948 | 2.529 | 2.709 | 2.631 | 2.848 | 2.557 | 2.493 | 2.295 | 2.939 | 3.087 | 2.786
285 | 135.5 | 164.3 | 159.4 | 205.9 | 276.3 | 255.6 | 152.7 | 83.14 | 46.92 | 41.51 | 64.71 | 260.5 | 403.2 | 210.7 | 247 | 860.3 | 9999.9 | 9999.9 | 2280 | 21.09 | 9.571 | 7.389 | 6.084 | 4.984 | 4.158 | 3.796 | 3.261 | 3.45 | 3.246 | 3.309 | 3.155 | 2.466 | 2.84 | 3.002 | 2.478 | 2.635 | 2.372 | 2.2 | 2.535 | 2.919 | 3.255
290 | 229.8 | 199.8 | 249.5 | 364.4 | 427.7 | 491.8 | 395.3 | 202.9 | 103.2 | 77.65 | 94.48 | 170.7 | 498 | 600.1 | 491.6 | 538.4 | 1067 | 9999.9 | 9999.9 | 2022 | 18.28 | 10.08 | 6.672 | 5.708 | 4.439 | 3.985 | 3.925 | 3.721 | 3.148 | 3.394 | 3.229 | 2.951 | 3.051 | 2.84 | 2.58 | 2.748 | 2.507 | 2.558 | 2.515 | 2.624 | 3.024
295 | 306.9 | 264.8 | 324 | 479.8 | 627.8 | 723.3 | 626.9 | 364.9 | 207.1 | 147.7 | 162.6 | 239.5 | 417.9 | 915.5 | 986.7 | 876.3 | 812.8 | 1113 | 9999.9 | 9999.9 | 1822 | 17.7 | 8.387 | 7.24 | 5.218 | 4.957 | 4.471 | 4.022 | 3.752 | 3.486 | 3.808 | 3.361 | 3.072 | 3.438 | 2.923 | 2.526 | 2.563 | 2.645 | 2.245 | 2.386 | 2.545
300 | 341 | 317.1 | 435.3 | 567.7 | 820.7 | 1024 | 847.9 | 550.8 | 322.4 | 236 | 237.6 | 349.8 | 545.1 | 887.2 | 1497 | 1427 | 1182 | 833.8 | 1014 | 9999.9 | 9999.9 | 1643 | 17.39 | 8.698 | 6.733 | 5.349 | 4.499 | 4.567 | 4.16 | 3.568 | 3.565 | 3.665 | 3.46 | 3.338 | 3.05 | 2.829 | 2.535 | 2.497 | 2.348 | 2.407 | 2.424
305 | 391.5 | 386.6 | 478.9 | 706.3 | 956.8 | 1178 | 1088 | 708.1 | 464.6 | 329.4 | 337.9 | 462.3 | 717.2 | 1057 | 1580 | 2087 | 1734 | 1211 | 717.7 | 984.4 | 9999.9 | 9999.9 | 1510 | 14.88 | 8.977 | 7.092 | 5.722 | 5.097 | 4.468 | 4.094 | 4.026 | 3.264 | 3.405 | 3.586 | 2.922 | 2.738 | 2.802 | 2.932 | 2.519 | 2.274 | 2.586
310 | 405.3 | 462.3 | 553.9 | 731.2 | 1088 | 1325 | 1256 | 909.1 | 572.8 | 445.9 | 459.6 | 597.2 | 891.4 | 1291 | 1787 | 2271 | 2458 | 1721 | 1052 | 589 | 867.1 | 9999.9 | 9999.9 | 1499 | 16.55 | 8.904 | 7.301 | 5.624 | 5.101 | 4.269 | 4.084 | 3.628 | 3.779 | 3.297 | 3.557 | 2.84 | 2.95 | 2.543 | 2.586 | 2.55 | 2.283
315 | 404.8 | 430.2 | 600.1 | 818.3 | 1179 | 1460 | 1328 | 1023 | 667.8 | 531.1 | 565.2 | 764.8 | 1081 | 1507 | 2037 | 2469 | 2750 | 2365 | 1432 | 780 | 357.5 | 759.3 | 9999.9 | 9999.9 | 1398 | 14.27 | 9.127 | 7.469 | 5.851 | 5.061 | 4.402 | 4.211 | 3.7 | 3.669 | 3.518 | 3.387 | 2.451 | 2.539 | 2.511 | 2.259 | 2.384
320 | 404.9 | 478.7 | 595.8 | 864.6 | 1187 | 1504 | 1453 | 1080 | 753.7 | 641.8 | 699.1 | 924.4 | 1268 | 1774 | 2318 | 2749 | 2869 | 2759 | 1926 | 996.1 | 425.8 | 193.4 | 716.5 | 9999.9 | 9999.9 | 1435 | 15.44 | 9.647 | 7.809 | 5.679 | 4.824 | 4.92 | 4.16 | 3.936 | 4.031 | 3.196 | 2.921 | 2.908 | 2.439 | 2.411 | 2.513
325 | 410.6 | 531.2 | 637.7 | 862.6 | 1349 | 1577 | 1451 | 1119 | 810.7 | 719.2 | 795.3 | 1044 | 1462 | 1979 | 2552 | 2996 | 3100 | 2817 | 2275 | 1271 | 520.3 | 203.4 | 130.6 | 703.4 | 9999.9 | 9999.9 | 1444 | 15.39 | 10.17 | 7.432 | 6.099 | 5.19 | 4.602 | 3.98 | 3.882 | 3.842 | 3.246 | 2.791 | 2.735 | 2.609 | 2.677
330 | 348.3 | 515.1 | 663.3 | 1000 | 1402 | 1659 | 1527 | 1122 | 843 | 792.1 | 909.6 | 1206 | 1625 | 2172 | 2774 | 3175 | 3316 | 2976 | 2276 | 1554 | 671.5 | 246.8 | 121 | 106.2 | 694.1 | 9999.9 | 9999.9 | 1546 | 16.28 | 10.37 | 8.261 | 6.653 | 5.181 | 4.68 | 4.76 | 3.916 | 3.602 | 3.068 | 3.093 | 2.872 | 2.211
335 | 382.4 | 522.4 | 726 | 1005 | 1431 | 1655 | 1494 | 1162 | 889 | 852.9 | 1000 | 1337 | 1790 | 2332 | 2889 | 3317 | 3451 | 3116 | 2329 | 1476 | 919.1 | 343.1 | 154.2 | 91.34 | 92.9 | 691.6 | 9999.9 | 9999.9 | 1657 | 15.92 | 10.56 | 8.457 | 6.554 | 5.258 | 4.778 | 4.459 | 3.475 | 3.541 | 3.23 | 3.009 | 2.595
340 | 433.6 | 518.4 | 713.4 | 1034 | 1513 | 1728 | 1440 | 1152 | 890.4 | 872.8 | 1049 | 1417 | 1899 | 2459 | 3060 | 3439 | 3520 | 3177 | 2398 | 1447 | 885.2 | 562.6 | 217.3 | 112.9 | 72.76 | 89.86 | 696.1 | 9999.9 | 9999.9 | 1801 | 16.82 | 10.97 | 8.632 | 7.134 | 5.285 | 4.591 | 4.163 | 3.795 | 3.323 | 2.853 | 2.708
345 | 363.6 | 445.8 | 694.3 | 1018 | 1478 | 1739 | 1392 | 1037 | 867.8 | 913.3 | 1114 | 1494 | 1960 | 2534 | 3068 | 3440 | 3518 | 3174 | 2405 | 1465 | 811.2 | 588.5 | 394.2 | 160.3 | 95.09 | 69.27 | 89.72 | 703.2 | 9999.9 | 9999.9 | 1978 | 18.26 | 12.49 | 9.722 | 7.154 | 5.559 | 4.433 | 3.604 | 3.779 | 2.937 | 2.99
350 | 417.6 | 421.8 | 683.5 | 1074 | 1452 | 1609 | 1352 | 1025 | 876.9 | 939.5 | 1123 | 1490 | 1978 | 2548 | 3025 | 3356 | 3449 | 3112 | 2390 | 1463 | 836.3 | 502.2 | 490.2 | 297 | 131.5 | 91.7 | 71.68 | 93.91 | 705.3 | 9999.9 | 9999.9 | 2180 | 19.44 | 12.5 | 9.969 | 6.974 | 5.001 | 4.351 | 4.045 | 3.771 | 3.338
355 | 352.9 | 427.1 | 654.3 | 981.9 | 1434 | 1569 | 1300 | 989.8 | 870.8 | 937.8 | 1141 | 1486 | 1957 | 2490 | 2960 | 3264 | 3313 | 2996 | 2341 | 1474 | 879.9 | 542.9 | 405.3 | 440.5 | 239.3 | 128 | 96.25 | 77.4 | 97.29 | 719.8 | 9999.9 | 9999.9 | 2248 | 19.74 | 12.91 | 9.274 | 6.916 | 5.239 | 4.413 | 3.941 | 3.469
360 | 377 | 423.5 | 650.4 | 985.9 | 1335 | 1511 | 1236 | 963.7 | 840.7 | 925.4 | 1144 | 1470 | 1920 | 2410 | 2857 | 3124 | 3149 | 2870 | 2267 | 1483 | 935.9 | 609.8 | 432.8 | 383.6 | 415.7 | 212.6 | 135.1 | 105.6 | 83.98 | 106.1 | 714.9 | 9999.9 | 9999.9 | 2524 | 20.37 | 13.21 | 9.332 | 7.047 | 4.905 | 4.19 | 3.687
365 | 351.9 | 487.2 | 614.8 | 891.3 | 1302 | 1431 | 1218 | 954.9 | 864.9 | 917.2 | 1109 | 1419 | 1823 | 2276 | 2684 | 2940 | 2998 | 2764 | 2243 | 1532 | 1026 | 714 | 515.8 | 387.3 | 400.1 | 384 | 201.2 | 145.4 | 111.5 | 90 | 111 | 727.1 | 9999.9 | 9999.9 | 2505 | 19.07 | 12.85 | 9.256 | 6.446 | 5.07 | 4.362
370 | 356.6 | 487.9 | 607.7 | 880.2 | 1254 | 1356 | 1165 | 946.9 | 879.7 | 937.3 | 1089 | 1360 | 1731 | 2141 | 2505 | 2747 | 2833 | 2660 | 2235 | 1629 | 1165 | 859.1 | 634.5 | 477.1 | 388.4 | 427.8 | 368.8 | 210.6 | 156.3 | 127.5 | 104.6 | 115.7 | 743.1 | 9999.9 | 9999.9 | 2435 | 20.66 | 12.21 | 8.712 | 6.186 | 4.744
375 | 360.2 | 530 | 643.7 | 891.2 | 1244 | 1305 | 1176 | 966.2 | 931.1 | 911.5 | 1079 | 1308 | 1605 | 1985 | 2345 | 2602 | 2751 | 2651 | 2310 | 1786 | 1372 | 1055 | 797.5 | 600.3 | 472.2 | 405.3 | 468.8 | 365.7 | 226.7 | 178.6 | 147.6 | 110.6 | 118.8 | 745.3 | 9999.9 | 9999.9 | 2434 | 19.16 | 12.08 | 8.58 | 6.017
380 | 367.2 | 600.2 | 702.7 | 892.7 | 1155 | 1249 | 1187 | 1034 | 984.3 | 934.1 | 1030 | 1237 | 1499 | 1824 | 2180 | 2477 | 2665 | 2676 | 2424 | 2006 | 1619 | 1306 | 993.2 | 749.7 | 584.2 | 483 | 459.4 | 517.8 | 359.1 | 251.4 | 208.4 | 158.4 | 113.9 | 121.6 | 751.2 | 9999.9 | 9999.9 | 2334 | 18.54 | 11.34 | 9.083
385 | 457.9 | 648.5 | 690.3 | 892.5 | 1178 | 1318 | 1192 | 1154 | 1045 | 963 | 1010 | 1162 | 1405 | 1703 | 2048 | 2390 | 2645 | 2729 | 2600 | 2265 | 1895 | 1544 | 1201 | 920.8 | 718.8 | 600.4 | 534.5 | 536.7 | 541.9 | 380.9 | 284.7 | 222.5 | 160.7 | 112.6 | 117.8 | 753.8 | 9999.9 | 9999.9 | 2235 | 17.8 | 11.12
390 | 599.8 | 765.4 | 795.1 | 890.4 | 1194 | 1290 | 1268 | 1178 | 1099 | 951.2 | 996 | 1125 | 1308 | 1608 | 1943 | 2302 | 2632 | 2778 | 2760 | 2495 | 2183 | 1810 | 1416 | 1088 | 872.9 | 745.3 | 667.2 | 602.8 | 613.3 | 567.2 | 400 | 294.8 | 222.7 | 156.2 | 106.2 | 108.5 | 733.5 | 9999.9 | 9999.9 | 2213 | 16.87
395 | 1050 | 831.5 | 850.3 | 917.5 | 1189 | 1294 | 1334 | 1271 | 1141 | 989.6 | 977.5 | 1079 | 1226 | 1506 | 1843 | 2232 | 2591 | 2865 | 2901 | 2697 | 2411 | 2036 | 1612 | 1253 | 1019 | 896.5 | 800.5 | 732.6 | 660.5 | 666.7 | 570.5 | 395.7 | 293 | 209.8 | 137.5 | 89.94 | 98.05 | 744 | 9999.9 | 9999.9 | 2047
400 | 1408 | 899.7 | 834.3 | 912.3 | 1125 | 1321 | 1364 | 1292 | 1192 | 989.3 | 984.5 | 1041 | 1169 | 1415 | 1746 | 2169 | 2550 | 2887 | 3007 | 2841 | 2587 | 2219 | 1769 | 1418 | 1191 | 1041 | 946.7 | 857 | 775.2 | 703.3 | 699.7 | 541.8 | 374 | 268.2 | 181.9 | 112.5 | 72.81 | 91.73 | 719.9 | 9999.9 | 9999.9
405 | 1191 | 1604 | 854.9 | 920.3 | 1104 | 1298 | 1339 | 1300 | 1222 | 1029 | 992 | 1008 | 1111 | 1344 | 1687 | 2090 | 2511 | 2876 | 3008 | 2931 | 2703 | 2346 | 1906 | 1561 | 1323 | 1175 | 1087 | 996.3 | 893.3 | 784.5 | 719.2 | 683.8 | 487.4 | 334.7 | 228.6 | 145 | 91.54 | 60.42 | 82.62 | 699.9 | 9999.9
410 | 687.5 | 1963 | 1066 | 903.3 | 1025 | 1216 | 1363 | 1308 | 1232 | 1043 | 966.9 | 983.9 | 1067 | 1272 | 1597 | 2003 | 2451 | 2821 | 2982 | 2947 | 2730 | 2405 | 2001 | 1660 | 1441 | 1291 | 1200 | 1110 | 994.4 | 881.7 | 777.4 | 709.2 | 620.4 | 408.3 | 274.2 | 178.4 | 114 | 73.85 | 50.57 | 76.1 | 698.7
415 | 553.5 | 1556 | 1766 | 824.2 | 963.3 | 1195 | 1249 | 1316 | 1208 | 1044 | 961.4 | 978 | 1020 | 1211 | 1529 | 1923 | 2348 | 2697 | 2897 | 2886 | 2701 | 2409 | 2048 | 1729 | 1521 | 1383 | 1301 | 1205 | 1090 | 969.5 | 852.8 | 725.7 | 655.9 | 525.1 | 327.4 | 211.1 | 138.9 | 89.04 | 59.62 | 43.96 | 71.05
420 | 525.8 | 882.6 | 2041 | 1066 | 962.4 | 1151 | 1208 | 1247 | 1186 | 1026 | 943.1 | 936.2 | 995.8 | 1155 | 1450 | 1826 | 2253 | 2571 | 2746 | 2757 | 2631 | 2372 | 2037 | 1766 | 1563 | 1451 | 1368 | 1264 | 1152 | 1030 | 901 | 769.5 | 642.3 | 577.5 | 414.4 | 244.6 | 161.8 | 106.6 | 69.93 | 50.04 | 38.51
425 | 482.8 | 671.7 | 1574 | 1649 | 884.3 | 1042 | 1221 | 1230 | 1163 | 1026 | 923.7 | 896.5 | 949.3 | 1101 | 1378 | 1727 | 2106 | 2416 | 2610 | 2620 | 2517 | 2289 | 1994 | 1747 | 1594 | 1486 | 1404 | 1316 | 1197 | 1067 | 939.4 | 807.2 | 660.1 | 550.5 | 476.4 | 305.8 | 185.3 | 125.5 | 84.9 | 60.04 | 43.81
430 | 432.5 | 675.8 | 893.4 | 2170 | 1072 | 1034 | 1122 | 1161 | 1108 | 1002 | 926.4 | 896.4 | 921.3 | 1068 | 1304 | 1638 | 1963 | 2254 | 2421 | 2450 | 2365 | 2190 | 1938 | 1729 | 1599 | 1509 | 1432 | 1341 | 1227 | 1098 | 969.4 | 837.9 | 688.6 | 547.1 | 455.6 | 371.3 | 222.6 | 140.2 | 98.23 | 70.32 | 53.62
435 | 433.9 | 586.3 | 621.7 | 1750 | 1906 | 919.8 | 1050 | 1096 | 1075 | 982.4 | 907.6 | 873.1 | 888.7 | 1010 | 1242 | 1544 | 1843 | 2103 | 2246 | 2268 | 2224 | 2074 | 1855 | 1693 | 1580 | 1499 | 1428 | 1340 | 1224 | 1106 | 972.8 | 844.6 | 701.9 | 565.4 | 437 | 368.3 | 279.7 | 164.1 | 109.7 | 82.1 | 60.35
440 | 369.2 | 533.7 | 560.6 | 895.5 | 2669 | 1097 | 1007 | 1040 | 1026 | 940.2 | 867.7 | 837.6 | 863.9 | 944.1 | 1171 | 1441 | 1689 | 1934 | 2060 | 2103 | 2051 | 1938 | 1768 | 1626 | 1541 | 1467 | 1410 | 1325 | 1215 | 1095 | 977.2 | 837.4 | 709.3 | 568.6 | 436.8 | 336.2 | 292.8 | 209.4 | 124 | 90.86 | 68.32
445 | 366.2 | 474.2 | 558.6 | 588.3 | 2098 | 1899 | 925.1 | 975.7 | 955.6 | 895.9 | 824.6 | 803.8 | 807.1 | 892.6 | 1081 | 1307 | 1556 | 1748 | 1879 | 1911 | 1880 | 1783 | 1641 | 1530 | 1468 | 1415 | 1366 | 1283 | 1176 | 1082 | 951.1 | 822.7 | 698.7 | 563.1 | 441.6 | 330.2 | 263.6 | 235.2 | 156.9 | 99.19 | 74.96
450 | 336.9 | 428.9 | 508.4 | 579.6 | 967.4 | 2926 | 1104 | 887.9 | 878.1 | 833.5 | 789.8 | 772.9 | 757.7 | 812.5 | 986.1 | 1209 | 1396 | 1568 | 1676 | 1716 | 1705 | 1633 | 1517 | 1427 | 1375 | 1333 | 1289 | 1214 | 1122 | 1025 | 912.4 | 791.9 | 673.2 | 553.7 | 431.7 | 325.9 | 243.5 | 208 | 188.4 | 118.8 | 82.5
455 | 315.9 | 408.9 | 449.7 | 502.8 | 539.7 | 2472 | 2113 | 800.8 | 809.2 | 782.1 | 732.7 | 713.5 | 701 | 754.8 | 891 | 1074 | 1255 | 1393 | 1471 | 1524 | 1520 | 1463 | 1387 | 1314 | 1272 | 1240 | 1201 | 1136 | 1052 | 960.3 | 860.7 | 752.7 | 637.4 | 526.1 | 414.9 | 319.4 | 240.7 | 183.3 | 174.5 | 150.4 | 94.18
460 | 257.4 | 355.4 | 406.8 | 420.5 | 488 | 1049 | 3390 | 1027 | 740.3 | 713.5 | 687.3 | 660.9 | 644.8 | 692.6 | 799.6 | 949.5 | 1107 | 1222 | 1312 | 1335 | 1335 | 1304 | 1250 | 1196 | 1159 | 1137 | 1106 | 1053 | 975 | 888.4 | 792.9 | 702 | 603.3 | 499.3 | 396.7 | 307.4 | 233.6 | 180.6 | 149.5 | 151.6 | 117.8
465 | 225 | 303.8 | 363.7 | 389.5 | 431.9 | 568.9 | 2889 | 2098 | 664.1 | 647.1 | 629.3 | 588.2 | 594.4 | 623.3 | 714.9 | 854.5 | 984.9 | 1082 | 1139 | 1171 | 1175 | 1152 | 1120 | 1067 | 1051 | 1040 | 1009 | 969.6 | 897.9 | 818.7 | 731.4 | 647.1 | 557.5 | 467.4 | 378.1 | 292 | 225 | 176.2 | 139.2 | 126.3 | 129
470 | 224 | 273.2 | 340.2 | 341.8 | 414.6 | 462.2 | 1064 | 3580 | 925.6 | 587.2 | 553.3 | 553 | 543.3 | 569.3 | 634.1 | 739.3 | 851.4 | 942.6 | 979.7 | 1013 | 1029 | 1007 | 976.3 | 953.5 | 936.3 | 933.1 | 904.7 | 865.5 | 817.4 | 742.2 | 662.7 | 586.3 | 510.1 | 428.1 | 355.8 | 276.7 | 215.1 | 171.1 | 135.7 | 111.6 | 111.5
475 | 182.1 | 212.1 | 282.6 | 283.9 | 391.1 | 394.7 | 500.5 | 3110 | 2184 | 539.9 | 519.2 | 488.8 | 483.9 | 498.6 | 572 | 658.6 | 746.2 | 811.9 | 849.4 | 872.7 | 882.1 | 875.1 | 860.8 | 837 | 835.1 | 824.6 | 810.6 | 775.9 | 723.5 | 672.6 | 603.7 | 536 | 469.1 | 397.9 | 327.8 | 259.2 | 207.8 | 166.3 | 132.2 | 111 | 97.55
480 | 158.1 | 235.5 | 257.6 | 295.5 | 336.7 | 327.2 | 415.9 | 1067 | 3778 | 854.1 | 465.1 | 449.7 | 442.2 | 446.6 | 501.3 | 589.8 | 656.3 | 706.9 | 744 | 757.4 | 770.3 | 770.8 | 749.6 | 738.9 | 742.9 | 738.2 | 724.3 | 694.7 | 655.1 | 606.1 | 543.8 | 489.1 | 432.8 | 366.2 | 305.6 | 247.1 | 197.9 | 159.2 | 129.9 | 108.3 | 93.14
485 | 165.9 | 174.4 | 228.3 | 209.8 | 274.6 | 335.1 | 373.5 | 448.8 | 3305 | 2158 | 440.6 | 404.5 | 402.3 | 421.6 | 460.4 | 520.9 | 588.8 | 625.2 | 653.3 | 669 | 676.3 | 689.4 | 671.4 | 664 | 671.3 | 665.9 | 654.3 | 634.4 | 597.8 | 552.2 | 507.5 | 448.9 | 397.9 | 345.5 | 292.9 | 234.5 | 192.5 | 152.8 | 131 | 111.1 | 95.03
490 | 158.1 | 192.6 | 194.3 | 228.7 | 234.1 | 320.9 | 338.3 | 352.4 | 1141 | 3934 | 738 | 394.4 | 383.9 | 406 | 426.8 | 472.7 | 523.5 | 561.6 | 576.2 | 588.3 | 599.8 | 608.2 | 602.1 | 594.9 | 595.2 | 598.2 | 589.5 | 575.1 | 542.3 | 506.8 | 466.1 | 421.6 | 372 | 326.1 | 279.9 | 229 | 188.8 | 155.8 | 129.7 | 111.5 | 97.1
495 | 131.1 | 154.1 | 179.7 | 191.9 | 237.3 | 298.7 | 314.7 | 326.7 | 406.1 | 3508 | 2022 | 372.4 | 376.4 | 382.1 | 401.2 | 443.1 | 478 | 497.7 | 508.2 | 515 | 524.4 | 528.8 | 529.6 | 529.4 | 535.5 | 530.8 | 543.6 | 516.1 | 495.7 | 461.6 | 425.4 | 388.9 | 346.3 | 307.3 | 263.6 | 223.7 | 186.4 | 152.8 | 127.1 | 111.1 | 97.4
500 | 104.5 | 157.9 | 179 | 159 | 199.2 | 221.8 | 289.6 | 288.6 | 330.9 | 1203 | 3836 | 675.7 | 344.1 | 362.1 | 371 | 409 | 432.2 | 442.3 | 442.3 | 442.8 | 456.8 | 461.8 | 468.3 | 467.5 | 468.3 | 472.5 | 471.2 | 458.4 | 443.8 | 417.3 | 385.7 | 358.3 | 323.7 | 290.7 | 253.4 | 219.1 | 181.5 | 152.9 | 128.3 | 111.6 | 99.05