## Sheet1
Report date: | 17:21:13, 09/19/2024
Sample: | 1
File name:
Run date: | 17:15:50, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 215.0/485.0 | 282.7
2 | 225.0/335.0 | 1645
3 | 225.0/345.0 | 1657
4 | 225.0/390.0 | 1336
5 | 230.0/400.0 | 1321
6 | 230.0/410.0 | 1326
7 | 250.0/275.0 | 308.8
8 | 255.0/280.0 | 343.4
9 | 280.0/345.0 | 3451
10 | 290.0/405.0 | 3001
11 | 325.0/370.0 | 441.6
12 | 390.0/275.0 | 3.599
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 57.94 | 80.2 | 65.54 | 61.52 | 52.2 | 38.97 | 21.92 | 15.06 | 40.11 | 263.8 | 149.6 | 34.62 | 86.64 | 8505 | 9999.9 | 3020 | 24.16 | 11.3 | 8.81 | 6.262 | 5.234 | 4.736 | 4.016 | 3.678 | 3.116 | 2.779 | 2.81 | 2.671 | 2.58 | 2.36 | 2.597 | 2.508 | 2.404 | 2.56 | 2.688 | 2.64 | 2.988 | 3.317 | 3.275 | 2.78 | 2.404
275 | 92.8 | 90.98 | 91.71 | 106.8 | 107.7 | 68.26 | 32.06 | 18.83 | 18.88 | 82.2 | 308.8 | 124.3 | 50.07 | 617.8 | 9468 | 9999.9 | 2734 | 24.49 | 10.49 | 8.235 | 6.405 | 5.942 | 4.036 | 3.648 | 3.685 | 3.284 | 3.093 | 3.225 | 3.102 | 2.73 | 2.685 | 2.966 | 2.591 | 2.813 | 2.66 | 2.763 | 2.643 | 2.975 | 3.599 | 3.139 | 2.423
280 | 115.8 | 102.5 | 101.2 | 147.1 | 169 | 112.8 | 64.71 | 36.06 | 19.52 | 27.53 | 151.7 | 343.4 | 128.7 | 113.1 | 707.5 | 9999.9 | 9999.9 | 2573 | 23.67 | 10.49 | 7.84 | 5.907 | 4.783 | 4.695 | 4.098 | 3.533 | 3.394 | 3.052 | 2.77 | 2.83 | 2.782 | 2.37 | 2.811 | 2.866 | 2.744 | 2.487 | 2.316 | 2.571 | 2.966 | 3.201 | 2.804
285 | 144.6 | 141.2 | 154.5 | 223 | 255.3 | 231 | 171 | 79.87 | 46.04 | 41.2 | 68.77 | 262.3 | 404.5 | 202.6 | 245.6 | 868.1 | 9999.9 | 9999.9 | 2293 | 21.66 | 9.49 | 7.184 | 6.142 | 5.044 | 4.277 | 4.046 | 3.427 | 3.326 | 2.966 | 2.739 | 2.971 | 2.979 | 3.036 | 2.78 | 2.69 | 2.602 | 2.581 | 2.733 | 2.376 | 2.971 | 3.168
290 | 227.1 | 234.6 | 258 | 310.2 | 457.9 | 510.5 | 373.6 | 193.6 | 107.7 | 80.48 | 109.9 | 168.7 | 505.2 | 599.4 | 483.7 | 546.1 | 1073 | 9999.9 | 9999.9 | 2057 | 18.73 | 9.46 | 7.378 | 6.076 | 4.846 | 4.319 | 4.177 | 3.278 | 3.202 | 3.369 | 3.284 | 3.061 | 3.001 | 2.778 | 2.695 | 2.636 | 2.246 | 2.655 | 2.233 | 2.531 | 2.744
295 | 307.6 | 275.4 | 309.1 | 479.3 | 628.2 | 741.1 | 622.5 | 353.1 | 191.9 | 143.2 | 156.8 | 240 | 413.1 | 918.6 | 990.6 | 885.5 | 819.7 | 1109 | 9999.9 | 9999.9 | 1883 | 19.49 | 9.652 | 7.698 | 5.888 | 5.068 | 4.575 | 4.205 | 3.937 | 3.35 | 3.162 | 3.37 | 3.4 | 3.137 | 2.753 | 2.74 | 2.76 | 2.674 | 2.187 | 2.332 | 2.795
300 | 330.1 | 352.7 | 433.7 | 574.4 | 817.7 | 990.2 | 886 | 554.7 | 305.7 | 222.6 | 247.2 | 343.5 | 533.7 | 883.1 | 1516 | 1417 | 1180 | 823.1 | 1020 | 9999.9 | 9999.9 | 1676 | 17.32 | 9.205 | 7.229 | 5.867 | 5.029 | 4.423 | 3.988 | 3.858 | 3.696 | 3.633 | 3.72 | 2.948 | 2.97 | 3.242 | 2.729 | 2.239 | 2.532 | 2.551 | 2.303
305 | 382.5 | 450 | 467.6 | 701.7 | 961.1 | 1210 | 1125 | 727.5 | 446 | 340.7 | 330 | 468.8 | 712 | 1056 | 1575 | 2096 | 1739 | 1206 | 722.1 | 986.9 | 9999.9 | 9999.9 | 1537 | 15.8 | 10.18 | 7.21 | 5.468 | 4.837 | 4.289 | 4.183 | 3.942 | 3.602 | 3.533 | 3.324 | 3.395 | 2.796 | 3.152 | 2.44 | 2.465 | 2.452 | 2.204
310 | 366.6 | 471 | 562.9 | 770.7 | 1032 | 1265 | 1263 | 833.7 | 563.1 | 448.5 | 431.7 | 599.1 | 888.4 | 1308 | 1782 | 2282 | 2445 | 1709 | 1048 | 597.8 | 865.3 | 9999.9 | 9999.9 | 1526 | 16.1 | 9.169 | 7.242 | 6.281 | 5.641 | 4.804 | 4.355 | 3.521 | 3.752 | 3.31 | 3.221 | 2.99 | 2.987 | 2.772 | 2.493 | 2.359 | 2.443
315 | 418.3 | 510.2 | 617.6 | 872.9 | 1188 | 1431 | 1332 | 993.4 | 665.1 | 512.2 | 559.1 | 739.3 | 1050 | 1518 | 2032 | 2477 | 2752 | 2366 | 1431 | 777.2 | 358.9 | 759.3 | 9999.9 | 9999.9 | 1427 | 15.49 | 9.732 | 8.112 | 5.949 | 5.075 | 4.23 | 4.444 | 3.737 | 3.874 | 3.752 | 3.273 | 3.007 | 2.594 | 2.781 | 2.57 | 2.526
320 | 469.4 | 521.4 | 682.3 | 858.2 | 1194 | 1457 | 1449 | 1070 | 744.5 | 615.6 | 683.5 | 894.2 | 1237 | 1735 | 2296 | 2723 | 2858 | 2736 | 1918 | 982.1 | 419.1 | 191.4 | 714.2 | 9999.9 | 9999.9 | 1455 | 16.02 | 10.06 | 7.783 | 6 | 5.361 | 4.845 | 4.447 | 4.107 | 3.574 | 3.249 | 3.296 | 2.887 | 2.814 | 2.355 | 2.615
325 | 418 | 456.2 | 649.5 | 848.7 | 1274 | 1547 | 1481 | 1078 | 806 | 706.7 | 783.1 | 1032 | 1453 | 1935 | 2499 | 2965 | 3115 | 2771 | 2268 | 1261 | 520.2 | 199.1 | 127.5 | 702.1 | 9999.9 | 9999.9 | 1463 | 14.96 | 9.783 | 8.081 | 6.633 | 5.427 | 4.856 | 4.405 | 4.321 | 3.512 | 3.214 | 2.912 | 2.744 | 2.793 | 2.769
330 | 386.5 | 512.3 | 679.3 | 885.2 | 1375 | 1618 | 1462 | 1098 | 832.8 | 766.3 | 886.4 | 1177 | 1591 | 2133 | 2702 | 3152 | 3298 | 2947 | 2243 | 1541 | 662.2 | 241.7 | 115.5 | 103.3 | 695.6 | 9999.9 | 9999.9 | 1563 | 15.5 | 10.62 | 8.516 | 6.914 | 5.208 | 5.127 | 4.701 | 4.046 | 3.422 | 3.455 | 3.213 | 2.866 | 2.688
335 | 390.4 | 494.5 | 628.6 | 919.1 | 1394 | 1645 | 1415 | 1112 | 846.3 | 819.7 | 959.3 | 1289 | 1753 | 2288 | 2854 | 3288 | 3390 | 3083 | 2292 | 1459 | 909.9 | 337.7 | 148.1 | 89.17 | 92.18 | 693.2 | 9999.9 | 9999.9 | 1683 | 16.39 | 11.45 | 8.941 | 6.902 | 5.811 | 5.537 | 4.505 | 3.66 | 3.629 | 3.057 | 2.802 | 2.787
340 | 358.9 | 525 | 694.6 | 979.6 | 1551 | 1560 | 1416 | 1078 | 865.1 | 856.4 | 1030 | 1385 | 1837 | 2401 | 2960 | 3351 | 3443 | 3126 | 2342 | 1435 | 868.5 | 563.3 | 211.7 | 111 | 72.67 | 89.42 | 695.9 | 9999.9 | 9999.9 | 1809 | 17.71 | 11.52 | 8.975 | 7.247 | 5.79 | 5.097 | 4.451 | 3.887 | 3.403 | 3.126 | 3.066
345 | 390.8 | 473.4 | 698.9 | 990.1 | 1507 | 1657 | 1363 | 1029 | 858.6 | 889.8 | 1084 | 1440 | 1928 | 2464 | 3008 | 3353 | 3451 | 3136 | 2376 | 1450 | 799.5 | 593 | 398.4 | 158.3 | 94.76 | 72.86 | 91.16 | 705.2 | 9999.9 | 9999.9 | 1961 | 19.55 | 12.44 | 9.705 | 7.4 | 5.812 | 4.917 | 4.212 | 3.909 | 3.349 | 3.128
350 | 360.4 | 464.1 | 695 | 1013 | 1412 | 1598 | 1334 | 1005 | 846.8 | 896.1 | 1078 | 1443 | 1922 | 2449 | 2942 | 3277 | 3380 | 3043 | 2332 | 1449 | 814.9 | 498.6 | 489.8 | 304.8 | 137.9 | 99.06 | 75.59 | 98.65 | 704.5 | 9999.9 | 9999.9 | 2173 | 19.26 | 13.36 | 9.937 | 7.33 | 6.158 | 5.192 | 4.2 | 3.342 | 3.372
355 | 428 | 464.9 | 615.7 | 953.8 | 1435 | 1543 | 1261 | 944.6 | 826.2 | 899.5 | 1094 | 1434 | 1906 | 2403 | 2852 | 3156 | 3224 | 2918 | 2271 | 1453 | 866.3 | 534.5 | 407.4 | 453.6 | 251.1 | 136.4 | 102.8 | 83.55 | 99.71 | 718.1 | 9999.9 | 9999.9 | 2271 | 21.39 | 13.9 | 9.851 | 6.881 | 5.764 | 5.129 | 4.132 | 4.055
360 | 338.2 | 422 | 675.1 | 981.1 | 1355 | 1436 | 1190 | 903.8 | 793.1 | 868.5 | 1086 | 1409 | 1834 | 2318 | 2745 | 3027 | 3050 | 2816 | 2198 | 1471 | 930 | 608.8 | 438.9 | 392.8 | 427.8 | 226.4 | 143.6 | 112.1 | 86.93 | 107.3 | 715.4 | 9999.9 | 9999.9 | 2517 | 20.37 | 13.76 | 10.33 | 7.512 | 5.465 | 4.677 | 4.112
365 | 326.6 | 506.6 | 601.9 | 952.4 | 1329 | 1388 | 1160 | 905.8 | 795.1 | 885.6 | 1076 | 1370 | 1750 | 2211 | 2586 | 2850 | 2906 | 2691 | 2185 | 1501 | 1021 | 719.8 | 521.5 | 398.9 | 405.7 | 400.2 | 213.7 | 148.3 | 117.9 | 92.07 | 111.7 | 729.3 | 9999.9 | 9999.9 | 2507 | 21.06 | 13.23 | 9.197 | 6.766 | 5.26 | 4.344
370 | 323.9 | 475.4 | 666.4 | 884.2 | 1245 | 1370 | 1143 | 901.9 | 850.5 | 890.9 | 1040 | 1313 | 1666 | 2074 | 2427 | 2707 | 2786 | 2605 | 2205 | 1595 | 1170 | 858.7 | 646.8 | 495.2 | 393.5 | 441.6 | 376.4 | 214.5 | 163.1 | 126.1 | 103.3 | 112.9 | 734.4 | 9999.9 | 9999.9 | 2436 | 21.04 | 13.09 | 9.431 | 6.692 | 5.358
375 | 358.5 | 498.8 | 644.9 | 871.7 | 1137 | 1308 | 1130 | 971.2 | 875.3 | 882.2 | 1010 | 1252 | 1540 | 1943 | 2263 | 2561 | 2638 | 2594 | 2273 | 1774 | 1369 | 1072 | 802.3 | 609 | 483.4 | 415.1 | 479.1 | 366.4 | 227.3 | 178.6 | 147.3 | 107.5 | 118 | 744.1 | 9999.9 | 9999.9 | 2432 | 20.24 | 12.23 | 8.88 | 6.757
380 | 425.3 | 538 | 687.9 | 858.1 | 1173 | 1289 | 1174 | 1032 | 944.5 | 915.9 | 982.5 | 1199 | 1427 | 1778 | 2112 | 2415 | 2604 | 2596 | 2391 | 1987 | 1615 | 1299 | 992.4 | 754.9 | 590.5 | 491.3 | 465.8 | 521.1 | 362.1 | 251.2 | 206.6 | 154.3 | 112.2 | 119.9 | 751.5 | 9999.9 | 9999.9 | 2319 | 19.18 | 11.9 | 8.082
385 | 476.4 | 604.6 | 700.5 | 874.3 | 1158 | 1330 | 1195 | 1128 | 1010 | 926.9 | 972.9 | 1109 | 1340 | 1653 | 1994 | 2309 | 2571 | 2672 | 2549 | 2236 | 1884 | 1546 | 1202 | 921.2 | 725 | 610.6 | 539.2 | 536 | 544.8 | 373.2 | 284.7 | 219.2 | 157.1 | 112.5 | 117.9 | 752.3 | 9999.9 | 9999.9 | 2228 | 17.76 | 11.4
390 | 654.6 | 651.6 | 796.1 | 876.3 | 1169 | 1336 | 1202 | 1196 | 1069 | 935.9 | 965.2 | 1080 | 1276 | 1549 | 1890 | 2264 | 2555 | 2747 | 2733 | 2484 | 2169 | 1805 | 1413 | 1093 | 881.3 | 748.1 | 663.9 | 603.6 | 609.9 | 562.9 | 396.4 | 295.7 | 221.4 | 152.9 | 101.8 | 108.5 | 729.1 | 9999.9 | 9999.9 | 2198 | 17.43
395 | 1073 | 737.3 | 829.1 | 887.2 | 1141 | 1274 | 1286 | 1211 | 1100 | 957.8 | 967.3 | 1038 | 1199 | 1454 | 1802 | 2180 | 2555 | 2805 | 2885 | 2680 | 2397 | 2033 | 1619 | 1273 | 1028 | 889 | 808.7 | 730 | 649.2 | 664.1 | 562.6 | 394 | 289.2 | 208.4 | 136.2 | 88.29 | 98.38 | 741.5 | 9999.9 | 9999.9 | 2033
400 | 1461 | 951.9 | 811.2 | 873.9 | 1061 | 1253 | 1321 | 1285 | 1167 | 961.7 | 941.3 | 984.5 | 1137 | 1377 | 1710 | 2122 | 2531 | 2844 | 2964 | 2840 | 2576 | 2219 | 1783 | 1426 | 1183 | 1041 | 946.2 | 864.4 | 766.9 | 698 | 695 | 538.6 | 368.3 | 265.5 | 177.8 | 114.3 | 72.16 | 89.51 | 718 | 9999.9 | 9999.9
405 | 1156 | 1479 | 831.1 | 986.9 | 1092 | 1234 | 1312 | 1282 | 1193 | 1009 | 943.3 | 989 | 1085 | 1290 | 1644 | 2033 | 2482 | 2842 | 3001 | 2919 | 2682 | 2344 | 1917 | 1566 | 1323 | 1187 | 1084 | 997.2 | 883.6 | 780.3 | 716.7 | 672.9 | 480.4 | 329.3 | 221.8 | 144.7 | 92.34 | 62.03 | 83.26 | 700.9 | 9996
410 | 673.6 | 2002 | 976.2 | 902.9 | 1042 | 1239 | 1326 | 1303 | 1152 | 1036 | 954 | 956.4 | 1040 | 1225 | 1556 | 1992 | 2407 | 2770 | 2982 | 2933 | 2723 | 2422 | 1999 | 1663 | 1443 | 1307 | 1201 | 1109 | 999.1 | 875.6 | 765.1 | 700.3 | 613 | 407.9 | 270.1 | 175.9 | 113.9 | 74.22 | 50.71 | 75.38 | 697.4
415 | 516.4 | 1547 | 1639 | 816.8 | 1025 | 1203 | 1303 | 1290 | 1190 | 1032 | 947.1 | 937.2 | 996.9 | 1178 | 1495 | 1895 | 2326 | 2701 | 2884 | 2873 | 2708 | 2421 | 2045 | 1726 | 1530 | 1391 | 1295 | 1201 | 1084 | 955.6 | 833.8 | 711.1 | 649.4 | 516.4 | 323.2 | 209 | 136.1 | 89.3 | 60.26 | 43.77 | 71.76
420 | 481.1 | 884.7 | 2154 | 969.6 | 974.4 | 1131 | 1269 | 1257 | 1171 | 1019 | 936.1 | 923.8 | 977.3 | 1137 | 1422 | 1806 | 2220 | 2532 | 2760 | 2767 | 2613 | 2363 | 2040 | 1745 | 1574 | 1457 | 1357 | 1265 | 1148 | 1013 | 892.4 | 758.2 | 637.6 | 567.7 | 412.5 | 244.8 | 163.3 | 106.4 | 70.24 | 51.11 | 38.56
425 | 500.1 | 661.6 | 1628 | 1720 | 919.2 | 1028 | 1188 | 1197 | 1131 | 1015 | 918.5 | 896.7 | 929.8 | 1071 | 1347 | 1693 | 2058 | 2391 | 2579 | 2612 | 2518 | 2287 | 1997 | 1755 | 1604 | 1486 | 1406 | 1311 | 1187 | 1059 | 934.4 | 800.9 | 658.9 | 543.5 | 471.3 | 302.9 | 186.5 | 124.8 | 86.34 | 60.65 | 45.41
430 | 449.9 | 652.8 | 869 | 2276 | 1082 | 983.5 | 1106 | 1150 | 1071 | 980.9 | 913.2 | 885 | 920 | 1038 | 1281 | 1595 | 1953 | 2240 | 2416 | 2452 | 2363 | 2198 | 1948 | 1738 | 1598 | 1508 | 1421 | 1334 | 1217 | 1087 | 954.2 | 824.1 | 682.6 | 546 | 453.3 | 369.9 | 223.9 | 141 | 99.73 | 71.15 | 54.13
435 | 411.2 | 584.9 | 671.3 | 1789 | 1912 | 906.2 | 1031 | 1090 | 1057 | 950.7 | 884.2 | 852.7 | 876.9 | 981.9 | 1193 | 1496 | 1819 | 2093 | 2248 | 2281 | 2226 | 2081 | 1856 | 1695 | 1583 | 1508 | 1425 | 1333 | 1226 | 1098 | 963.8 | 833.6 | 697.3 | 557.4 | 429 | 367.6 | 280.8 | 167.6 | 112.9 | 82.3 | 61.38
440 | 400.9 | 510.6 | 619.1 | 861.6 | 2632 | 1113 | 957.6 | 1032 | 1007 | 915.8 | 858.8 | 831.7 | 833.7 | 938.6 | 1117 | 1397 | 1662 | 1926 | 2073 | 2110 | 2064 | 1946 | 1777 | 1625 | 1548 | 1470 | 1404 | 1320 | 1213 | 1084 | 952.4 | 836.6 | 702.7 | 563.4 | 436.6 | 334.6 | 294.9 | 211 | 127 | 89.97 | 70.14
445 | 367.8 | 484.6 | 580.2 | 607.8 | 2136 | 1943 | 890 | 951.6 | 937.2 | 890.8 | 813.4 | 792.4 | 788.3 | 872.4 | 1048 | 1278 | 1541 | 1743 | 1886 | 1920 | 1890 | 1804 | 1656 | 1551 | 1463 | 1419 | 1362 | 1286 | 1176 | 1058 | 936.1 | 822 | 688.7 | 559.1 | 436.8 | 328.4 | 259.4 | 237.7 | 157.1 | 101.3 | 76.96
450 | 287 | 462.1 | 517.6 | 514.4 | 963.5 | 2966 | 1090 | 860.1 | 877.1 | 827.9 | 792.9 | 750.1 | 731.9 | 814.9 | 945.2 | 1163 | 1391 | 1564 | 1686 | 1719 | 1714 | 1637 | 1527 | 1425 | 1371 | 1339 | 1282 | 1214 | 1122 | 1006 | 899.5 | 780 | 659.7 | 541.1 | 433.2 | 323.2 | 245.5 | 209.2 | 189 | 121.3 | 83.75
455 | 264.4 | 392.5 | 452.3 | 498.8 | 569.4 | 2512 | 2113 | 805.8 | 812.4 | 756 | 735.5 | 713.3 | 696.4 | 743.1 | 857.8 | 1047 | 1237 | 1386 | 1502 | 1527 | 1528 | 1474 | 1392 | 1314 | 1281 | 1244 | 1198 | 1139 | 1051 | 948.6 | 845.5 | 741.9 | 630.4 | 520.6 | 415.4 | 316.7 | 239.3 | 186.2 | 175.7 | 151 | 96.02
460 | 252.5 | 321.3 | 387.9 | 419.2 | 476.2 | 1008 | 3375 | 1042 | 727.3 | 695.1 | 664.5 | 648.5 | 638.9 | 681.4 | 773.9 | 930.6 | 1087 | 1230 | 1315 | 1352 | 1351 | 1316 | 1250 | 1205 | 1176 | 1155 | 1103 | 1050 | 976.6 | 881 | 787.5 | 693.9 | 592.6 | 495.2 | 394 | 311.9 | 232.9 | 183.1 | 151.5 | 152.7 | 120.6
465 | 256.5 | 335.5 | 377.3 | 400.5 | 412.1 | 542.5 | 2802 | 2158 | 665.3 | 641.9 | 615.8 | 591.4 | 566.7 | 605.3 | 694.5 | 836 | 968.3 | 1078 | 1149 | 1179 | 1194 | 1162 | 1118 | 1069 | 1053 | 1040 | 1005 | 954.1 | 891.5 | 811.9 | 723 | 642.4 | 551.6 | 464.1 | 374.3 | 291 | 225.7 | 178.3 | 141.7 | 127.1 | 131.6
470 | 233.4 | 296.1 | 313.7 | 353.4 | 405.2 | 435.8 | 1040 | 3661 | 948.1 | 565.8 | 560.7 | 539.8 | 533.2 | 555.4 | 628 | 736.7 | 850.3 | 935.2 | 991.9 | 1019 | 1025 | 1026 | 987.2 | 956.3 | 944.1 | 935.1 | 897.8 | 862.9 | 805 | 733.3 | 656.9 | 585.4 | 504 | 425.6 | 349.2 | 279.3 | 217.3 | 172.9 | 137.4 | 115 | 111.8
475 | 213.5 | 224.3 | 276.9 | 300.9 | 370.6 | 402.3 | 496.3 | 3177 | 2266 | 539.5 | 515.8 | 490.4 | 474 | 492 | 544.6 | 633.7 | 733.4 | 802.7 | 858.6 | 878.1 | 893.9 | 887.3 | 871 | 842.2 | 836.4 | 830.7 | 809.2 | 776.4 | 722 | 661.2 | 604.1 | 531.8 | 463.3 | 396.5 | 325.9 | 261.2 | 205.4 | 163.7 | 132.4 | 111.3 | 95.27
480 | 198.4 | 237.1 | 247.6 | 260 | 318.3 | 355.5 | 396.9 | 1082 | 3929 | 855.6 | 460.6 | 445.8 | 436.7 | 445.2 | 502 | 560.2 | 643.5 | 699.2 | 741.5 | 772.1 | 771.5 | 778.9 | 764.4 | 744.4 | 740.8 | 741.5 | 722.2 | 695.8 | 651.4 | 597 | 542.4 | 483.9 | 426.2 | 369.5 | 307.7 | 246.6 | 196.7 | 161 | 132.9 | 110.3 | 91.98
485 | 195.4 | 235.4 | 227.9 | 282.7 | 237.4 | 342.6 | 360.9 | 443.6 | 3352 | 2293 | 439.9 | 412.2 | 401.1 | 411 | 455.3 | 518.4 | 573.8 | 624 | 661.7 | 676.3 | 693.7 | 691.6 | 675.3 | 674.1 | 673.4 | 665.8 | 654 | 631.4 | 595.2 | 550.4 | 501 | 449 | 398.4 | 343.5 | 293.5 | 239 | 192.3 | 155.2 | 132.1 | 109.4 | 93.28
490 | 180.6 | 206.4 | 181.6 | 216.1 | 258.8 | 320.5 | 316.1 | 383.2 | 1135 | 4028 | 766.4 | 393.7 | 378.1 | 384.1 | 418.8 | 466.6 | 517.8 | 556.5 | 581.1 | 597.2 | 610.5 | 610 | 597 | 603.5 | 602.6 | 607.4 | 587.4 | 577.4 | 538.3 | 498.7 | 464.5 | 418.9 | 373.6 | 322 | 276.1 | 228.2 | 188.6 | 154.4 | 128.1 | 109.8 | 95.64
495 | 169.7 | 225 | 171.8 | 208.3 | 246.9 | 289.4 | 308.7 | 330.7 | 414.9 | 3563 | 2158 | 387.3 | 364.2 | 371.9 | 398.4 | 423.9 | 470.6 | 500.7 | 509 | 520.8 | 532.2 | 539.1 | 531.5 | 530.4 | 537.4 | 538.8 | 535.9 | 518.3 | 490.4 | 456.8 | 421.1 | 382.3 | 345.2 | 302.3 | 264 | 219 | 181.7 | 156.3 | 130 | 110 | 97.33
500 | 132.6 | 157.1 | 141.1 | 160.7 | 201.9 | 251.2 | 317.1 | 292.4 | 334.1 | 1227 | 3933 | 687.6 | 346.3 | 355.4 | 382.9 | 397.9 | 426.8 | 442.1 | 446.5 | 457.3 | 469.9 | 465.7 | 469.8 | 471.5 | 470 | 479.6 | 473.7 | 465.4 | 440 | 411.8 | 385.6 | 358.7 | 319.8 | 291.2 | 249.3 | 214.7 | 179.1 | 151.8 | 129.6 | 111.4 | 98.82