## Sheet1
Report date: | 17:38:35, 09/19/2024
Sample: | 1
File name:
Run date: | 17:33:10, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/340.0 | 2029
2 | 230.0/330.0 | 1941
3 | 250.0/275.0 | 323.6
4 | 255.0/280.0 | 378.5
5 | 275.0/345.0 | 3582
6 | 325.0/370.0 | 364.2
7 | 330.0/375.0 | 402.4
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 61.18 | 37.58 | 38.32 | 38.47 | 31.22 | 18.22 | 12.19 | 9.895 | 35.5 | 277.9 | 164.9 | 26.91 | 38.41 | 2550 | 5934 | 1344 | 14 | 5.697 | 4.138 | 3.159 | 2.521 | 2.416 | 2.114 | 1.784 | 2.077 | 1.768 | 1.748 | 1.686 | 2.083 | 2.145 | 1.717 | 1.422 | 1.587 | 1.713 | 1.382 | 1.501 | 1.564 | 1.354 | 1.527 | 1.302 | 1.445
275 | 60.44 | 46.89 | 40.78 | 58.44 | 56.1 | 38.04 | 19.32 | 12.99 | 14.62 | 84.51 | 323.6 | 122.7 | 32.44 | 206.4 | 2786 | 5363 | 1154 | 12.88 | 5.656 | 4.014 | 2.887 | 2.596 | 2.376 | 2.002 | 2.281 | 1.999 | 1.839 | 1.724 | 1.837 | 1.789 | 1.747 | 1.536 | 1.604 | 1.517 | 1.504 | 1.242 | 1.597 | 1.342 | 1.16 | 1.239 | 1.143
280 | 44.91 | 80.9 | 62.48 | 86.6 | 104 | 66.63 | 47.37 | 24.93 | 17.45 | 21.9 | 150.5 | 378.5 | 118 | 74.53 | 251.8 | 2688 | 4873 | 1044 | 11.39 | 4.698 | 2.869 | 2.516 | 2.493 | 2.575 | 1.976 | 1.98 | 1.752 | 1.637 | 1.848 | 1.693 | 1.504 | 1.499 | 1.402 | 1.604 | 1.867 | 1.708 | 1.306 | 1.142 | 1.128 | 1.351 | 1.143
285 | 94.78 | 86.71 | 105.9 | 141.4 | 211.1 | 204.9 | 159.1 | 99.19 | 57.8 | 43.47 | 54.63 | 265 | 425.6 | 201.3 | 221.6 | 395 | 2613 | 4534 | 926.2 | 11.42 | 3.567 | 2.945 | 2.791 | 2.152 | 1.896 | 1.945 | 1.819 | 1.859 | 1.792 | 1.819 | 1.645 | 1.433 | 1.564 | 1.306 | 1.648 | 1.462 | 1.185 | 1.414 | 1.273 | 1.254 | 1.171
290 | 151.4 | 154.3 | 164.9 | 273.9 | 412.1 | 500.2 | 456.1 | 293.1 | 182.2 | 106.6 | 104 | 179.2 | 548 | 673.7 | 584.9 | 656.9 | 712.9 | 2694 | 4181 | 798.6 | 8.454 | 3.973 | 2.895 | 2.282 | 2.18 | 2.148 | 2.212 | 1.629 | 1.776 | 1.87 | 1.962 | 1.726 | 1.461 | 1.692 | 1.663 | 1.694 | 1.461 | 1.778 | 1.267 | 1.331 | 1.151
295 | 241.4 | 250.5 | 314.9 | 427.3 | 697.1 | 864.9 | 810.2 | 592.7 | 365.7 | 215.7 | 170.6 | 266.8 | 492.4 | 1116 | 1234 | 1207 | 1092 | 819.5 | 2447 | 3876 | 688.5 | 7.391 | 3.516 | 2.953 | 2.493 | 2.355 | 2.146 | 2.084 | 2.014 | 1.756 | 1.842 | 2.137 | 1.726 | 1.527 | 1.49 | 1.49 | 1.376 | 1.517 | 1.555 | 1.269 | 1.214
300 | 280.4 | 326.5 | 377.8 | 600.3 | 910.1 | 1206 | 1223 | 883.4 | 550.1 | 318.9 | 263.6 | 367.4 | 639.4 | 1122 | 1907 | 1878 | 1588 | 1038 | 521.9 | 2168 | 3618 | 583.1 | 6.87 | 3.405 | 2.895 | 2.658 | 2.295 | 2.219 | 2.39 | 1.867 | 1.935 | 1.995 | 1.981 | 1.619 | 1.788 | 1.607 | 1.603 | 1.521 | 1.401 | 1.46 | 1.492
305 | 335.9 | 393.4 | 486.7 | 714.3 | 1082 | 1484 | 1510 | 1104 | 729.4 | 447.2 | 358.1 | 506.6 | 840.1 | 1322 | 2014 | 2599 | 2131 | 1377 | 567.5 | 323 | 2050 | 3408 | 505 | 5.784 | 3.472 | 2.345 | 2.428 | 2.374 | 2.559 | 1.933 | 1.933 | 1.754 | 1.792 | 1.814 | 1.621 | 1.498 | 1.29 | 1.451 | 1.411 | 1.506 | 1.442
310 | 331.3 | 440.1 | 515.2 | 767.8 | 1242 | 1635 | 1670 | 1301 | 851 | 550.4 | 473.3 | 662.8 | 1018 | 1548 | 2163 | 2736 | 2780 | 1724 | 773.4 | 302.1 | 248.8 | 1863 | 3285 | 458.8 | 5.452 | 3.383 | 2.744 | 2.207 | 2.252 | 1.962 | 1.897 | 1.751 | 2.025 | 1.768 | 1.635 | 1.866 | 1.422 | 1.289 | 1.312 | 1.559 | 1.292
315 | 378.9 | 438 | 550.1 | 823.6 | 1411 | 1733 | 1813 | 1416 | 965.5 | 700.3 | 685.6 | 901.4 | 1277 | 1831 | 2415 | 2770 | 2879 | 2212 | 1008 | 440.4 | 207.9 | 219.4 | 1818 | 3080 | 399.5 | 5.16 | 3.323 | 2.86 | 2.485 | 2.036 | 2.336 | 2.086 | 1.664 | 1.752 | 1.531 | 1.607 | 1.506 | 1.482 | 1.524 | 1.7 | 1.703
320 | 358.3 | 440.7 | 610.2 | 853.4 | 1377 | 1853 | 1874 | 1444 | 1084 | 856.7 | 905.2 | 1169 | 1579 | 2121 | 2634 | 2971 | 2887 | 2463 | 1417 | 617.2 | 303.9 | 167.2 | 206.1 | 1684 | 3010 | 372.9 | 4.566 | 3.345 | 3.026 | 2.444 | 2.035 | 2.027 | 2.091 | 1.689 | 1.618 | 1.512 | 1.766 | 1.776 | 1.538 | 1.498 | 1.236
325 | 313.3 | 463.6 | 664.1 | 979 | 1549 | 1895 | 1916 | 1494 | 1123 | 995.6 | 1113 | 1439 | 1876 | 2412 | 2837 | 3129 | 2983 | 2434 | 1745 | 881 | 407.4 | 228.7 | 131.7 | 170.9 | 1661 | 2915 | 338.5 | 4.833 | 2.964 | 2.686 | 2.483 | 1.795 | 2.443 | 2.129 | 1.955 | 1.718 | 1.304 | 1.427 | 1.236 | 1.669 | 1.612
330 | 314.8 | 469.6 | 608.3 | 1040 | 1568 | 1935 | 1941 | 1457 | 1170 | 1111 | 1297 | 1679 | 2168 | 2671 | 3071 | 3275 | 3144 | 2544 | 1715 | 1210 | 579.8 | 287.3 | 162.4 | 85.74 | 148.1 | 1631 | 2871 | 327.8 | 4.563 | 3.059 | 2.696 | 2.318 | 2.159 | 1.997 | 2.172 | 1.887 | 1.79 | 1.593 | 1.537 | 1.568 | 1.41
335 | 328.8 | 435.5 | 602.7 | 1073 | 1625 | 2015 | 1889 | 1462 | 1211 | 1181 | 1442 | 1908 | 2381 | 2934 | 3281 | 3442 | 3263 | 2695 | 1839 | 1165 | 865.4 | 396.6 | 200.2 | 104.2 | 58.35 | 136 | 1627 | 2915 | 335.3 | 5.068 | 3.172 | 2.731 | 2.639 | 2.552 | 2.183 | 1.775 | 1.708 | 1.595 | 1.87 | 1.313 | 1.184
340 | 309.1 | 435.8 | 639.9 | 1070 | 1630 | 2029 | 1818 | 1395 | 1212 | 1239 | 1548 | 2047 | 2577 | 3093 | 3456 | 3529 | 3368 | 2826 | 1975 | 1184 | 848.3 | 627.1 | 267.6 | 131.7 | 71.41 | 48.83 | 134.8 | 1635 | 2999 | 345.6 | 4.725 | 3.255 | 2.398 | 2.395 | 2.206 | 1.878 | 1.857 | 1.77 | 1.624 | 1.341 | 1.544
345 | 271.6 | 383.1 | 624.1 | 1088 | 1567 | 1993 | 1833 | 1343 | 1181 | 1287 | 1609 | 2091 | 2657 | 3189 | 3501 | 3582 | 3401 | 2860 | 2072 | 1257 | 791 | 664.7 | 447.6 | 171.4 | 87.95 | 56.26 | 43.82 | 135.2 | 1722 | 3075 | 358.8 | 5.263 | 3.713 | 2.832 | 2.363 | 1.938 | 1.818 | 1.697 | 1.507 | 1.628 | 1.512
350 | 258 | 380.6 | 581.1 | 1055 | 1560 | 1934 | 1738 | 1285 | 1154 | 1253 | 1614 | 2135 | 2694 | 3177 | 3464 | 3540 | 3382 | 2874 | 2131 | 1326 | 823.2 | 555.1 | 527.9 | 307.3 | 121 | 74.92 | 56.6 | 46.44 | 141.8 | 1724 | 3227 | 379.7 | 5.341 | 3.301 | 2.491 | 2.32 | 2.176 | 1.877 | 1.622 | 1.758 | 1.594
355 | 252.9 | 305.7 | 636.9 | 973.6 | 1620 | 1851 | 1620 | 1220 | 1093 | 1249 | 1577 | 2088 | 2645 | 3100 | 3418 | 3449 | 3298 | 2826 | 2141 | 1358 | 869 | 568.8 | 414.2 | 441 | 221 | 106.2 | 78.54 | 59.51 | 48.13 | 144.7 | 1821 | 3386 | 386.6 | 5.001 | 3.502 | 2.69 | 2.106 | 1.75 | 1.988 | 1.737 | 1.549
360 | 259 | 340.7 | 581.9 | 931.4 | 1520 | 1764 | 1480 | 1147 | 1048 | 1172 | 1485 | 2015 | 2529 | 2984 | 3272 | 3318 | 3176 | 2727 | 2098 | 1368 | 899.8 | 606.3 | 406.6 | 350.9 | 382 | 185.9 | 105.6 | 82.73 | 59.92 | 51.02 | 153.4 | 1909 | 3590 | 419.3 | 5.483 | 3.57 | 2.945 | 2.508 | 1.887 | 1.608 | 1.37
365 | 224.3 | 300 | 516.6 | 889.2 | 1345 | 1614 | 1358 | 1076 | 968.1 | 1103 | 1433 | 1907 | 2367 | 2809 | 3081 | 3133 | 2995 | 2611 | 2036 | 1369 | 918.6 | 634.8 | 442.9 | 324.1 | 342.8 | 342.9 | 165.7 | 110.9 | 85.59 | 64 | 53.87 | 160.7 | 2067 | 3747 | 416 | 5.509 | 3.513 | 2.731 | 2.336 | 1.982 | 1.883
370 | 234.8 | 279 | 432.8 | 868.7 | 1196 | 1496 | 1259 | 968.4 | 928.3 | 1037 | 1350 | 1741 | 2173 | 2571 | 2830 | 2881 | 2789 | 2441 | 1940 | 1350 | 934.5 | 665.1 | 483.3 | 362.4 | 300.1 | 364.2 | 314.7 | 166.8 | 119.9 | 93.02 | 70.84 | 59.45 | 174 | 2192 | 3866 | 409.7 | 5.021 | 3.379 | 2.632 | 2.167 | 1.7
375 | 205.2 | 264.8 | 449 | 770.9 | 1150 | 1297 | 1151 | 932.5 | 896.1 | 969 | 1227 | 1605 | 1983 | 2348 | 2599 | 2665 | 2585 | 2290 | 1858 | 1315 | 942.5 | 707.2 | 532.4 | 420.9 | 342.3 | 316.1 | 402.4 | 296.4 | 178 | 134.5 | 107.1 | 80 | 64.61 | 185.8 | 2280 | 3784 | 387.5 | 4.946 | 3.218 | 2.449 | 2.145
380 | 174.5 | 269 | 398 | 695.1 | 1024 | 1164 | 1043 | 853 | 828.1 | 902 | 1100 | 1427 | 1776 | 2099 | 2330 | 2414 | 2364 | 2119 | 1768 | 1303 | 977.2 | 746 | 596.6 | 488.6 | 419 | 368.9 | 366.9 | 438.6 | 292.5 | 194.9 | 156.7 | 119 | 87.38 | 66.7 | 189.5 | 2208 | 3622 | 370.1 | 4.936 | 3.023 | 2.109
385 | 163.5 | 221.3 | 395.5 | 653.7 | 989.5 | 1048 | 971 | 816.2 | 775.5 | 854.8 | 1011 | 1288 | 1572 | 1864 | 2061 | 2170 | 2152 | 1971 | 1694 | 1306 | 1002 | 807.4 | 671.7 | 577 | 507.4 | 457.6 | 416.5 | 435.6 | 460.8 | 300.8 | 222.2 | 171.9 | 129 | 85.51 | 64.3 | 181.9 | 2117 | 3389 | 352.5 | 4.595 | 2.775
390 | 314.5 | 254.8 | 342.3 | 588.4 | 869.3 | 980.3 | 900.5 | 781.6 | 764.8 | 815.1 | 943.5 | 1146 | 1407 | 1655 | 1858 | 1960 | 1976 | 1859 | 1629 | 1295 | 1059 | 881.5 | 760.7 | 681.7 | 615 | 562.4 | 527 | 480.2 | 501.1 | 476.8 | 317 | 237.3 | 178.3 | 124.9 | 80.56 | 54.34 | 171.1 | 1978 | 3323 | 336.2 | 4.802
395 | 673.8 | 258.1 | 316.4 | 559.6 | 759.6 | 924 | 881.3 | 762.1 | 747.9 | 764.9 | 878.4 | 1051 | 1246 | 1465 | 1661 | 1792 | 1819 | 1751 | 1581 | 1315 | 1103 | 977.1 | 873.4 | 786.4 | 737.2 | 698.7 | 647.1 | 580.7 | 534.6 | 552.3 | 464.8 | 313.3 | 230.3 | 167.9 | 106.8 | 63.29 | 48.86 | 160.6 | 1922 | 3015 | 305.8
400 | 1084 | 372.1 | 299.7 | 483.5 | 721.2 | 800.1 | 834.4 | 741.3 | 717 | 742.6 | 822.7 | 979.7 | 1130 | 1315 | 1478 | 1605 | 1683 | 1663 | 1541 | 1330 | 1170 | 1057 | 965.3 | 905 | 864.3 | 816.4 | 760 | 698.7 | 621.1 | 565.9 | 577.7 | 437.5 | 298.8 | 217.1 | 142.5 | 88.35 | 56.25 | 44.2 | 152.4 | 1774 | 2863
405 | 747.7 | 837 | 297.8 | 474.3 | 684.8 | 739.2 | 761.3 | 726.2 | 713.9 | 750.8 | 800.6 | 906.4 | 1041 | 1186 | 1349 | 1485 | 1577 | 1574 | 1500 | 1353 | 1219 | 1129 | 1064 | 1019 | 974.8 | 934.2 | 879.6 | 805.4 | 717.2 | 632.5 | 580 | 565.3 | 394.5 | 264.9 | 181 | 120.7 | 76.49 | 49.6 | 40.7 | 139.9 | 1583
410 | 284.2 | 1240 | 481.4 | 468.3 | 628.9 | 708.8 | 763.2 | 738.5 | 723.3 | 734.2 | 777.9 | 851.1 | 970.9 | 1074 | 1244 | 1384 | 1492 | 1508 | 1468 | 1349 | 1248 | 1189 | 1126 | 1097 | 1066 | 1022 | 971.6 | 895.3 | 798.9 | 703.1 | 614.8 | 567.6 | 521.6 | 333.6 | 222.5 | 149.8 | 101.2 | 64.47 | 42.7 | 36.1 | 125.6
415 | 156.8 | 777 | 1023 | 452.6 | 604.3 | 693.3 | 746.3 | 725.8 | 741.4 | 736.2 | 771.7 | 834.3 | 907.3 | 1004 | 1147 | 1289 | 1409 | 1445 | 1417 | 1326 | 1271 | 1221 | 1177 | 1153 | 1128 | 1097 | 1047 | 960.6 | 865.9 | 757.1 | 665.5 | 571.8 | 545.5 | 443.8 | 275.3 | 182.5 | 128.3 | 86.91 | 58.34 | 37.74 | 31.89
420 | 177.7 | 335.9 | 1445 | 593.3 | 559.7 | 664.9 | 680.3 | 706.3 | 721.2 | 744.3 | 764.3 | 836 | 857.2 | 936.7 | 1070 | 1225 | 1318 | 1388 | 1378 | 1309 | 1263 | 1231 | 1197 | 1180 | 1163 | 1138 | 1086 | 1011 | 905 | 809.9 | 708.6 | 605.2 | 524.8 | 490.5 | 362.1 | 221.9 | 152.5 | 109.4 | 75.45 | 49.09 | 33.16
425 | 177.7 | 220.1 | 1099 | 1189 | 507.9 | 585.7 | 662.9 | 706.5 | 710.4 | 751.5 | 780.9 | 793.7 | 831.1 | 880.2 | 996.5 | 1147 | 1237 | 1295 | 1302 | 1269 | 1254 | 1223 | 1199 | 1195 | 1180 | 1158 | 1103 | 1042 | 948.8 | 845.1 | 743.5 | 634.4 | 536.2 | 460.8 | 425.1 | 281.4 | 179.9 | 126.4 | 89.19 | 59.75 | 42.19
430 | 166.7 | 188.5 | 417 | 1656 | 670.8 | 569.5 | 625.6 | 678.6 | 714.6 | 760.5 | 793.6 | 785.5 | 809.7 | 837.1 | 949.7 | 1070 | 1178 | 1225 | 1241 | 1225 | 1218 | 1201 | 1198 | 1189 | 1179 | 1163 | 1125 | 1046 | 968 | 865.2 | 757.3 | 659.6 | 556.1 | 457.7 | 400 | 347.1 | 220.7 | 144.5 | 102.9 | 71.34 | 50.55
435 | 124.1 | 180.4 | 255.5 | 1341 | 1274 | 572.6 | 613.1 | 644 | 727.5 | 741.2 | 763.1 | 766.2 | 777.8 | 806.5 | 890.2 | 1003 | 1110 | 1178 | 1190 | 1182 | 1181 | 1176 | 1173 | 1164 | 1168 | 1152 | 1114 | 1056 | 968.1 | 865.8 | 767.9 | 677 | 576.3 | 471 | 379.4 | 345.2 | 273.7 | 163 | 112.5 | 79.73 | 56.48
440 | 123.5 | 168.2 | 251.2 | 537.5 | 1804 | 700.8 | 567.6 | 640.6 | 698.6 | 739.2 | 760.8 | 768.1 | 745.3 | 780.4 | 843.6 | 949.1 | 1048 | 1088 | 1127 | 1134 | 1134 | 1138 | 1133 | 1131 | 1138 | 1127 | 1092 | 1034 | 960.9 | 862.4 | 773.9 | 675.1 | 576.6 | 478.9 | 381.2 | 304.5 | 288.3 | 206.5 | 125 | 86.89 | 62.87
445 | 137.5 | 174.6 | 242.9 | 352 | 1347 | 1318 | 537.8 | 613 | 648.4 | 729.9 | 747.5 | 732.6 | 731.4 | 722.8 | 796.3 | 893.3 | 963.3 | 1019 | 1051 | 1062 | 1073 | 1081 | 1071 | 1080 | 1083 | 1077 | 1050 | 1005 | 928 | 841.2 | 749 | 663.3 | 569.8 | 475.1 | 380.7 | 304 | 249.7 | 235 | 152.9 | 91.45 | 66.55
450 | 108 | 146.8 | 229 | 287.3 | 574.4 | 1943 | 709.7 | 583.7 | 632.3 | 678.7 | 705 | 696.5 | 682.3 | 681.9 | 750.4 | 831.8 | 890.4 | 937.3 | 966.1 | 984.8 | 1002 | 1005 | 1019 | 1008 | 1022 | 1020 | 993.6 | 950.9 | 889.8 | 811.3 | 719.7 | 634.2 | 559.3 | 465.6 | 373.9 | 297 | 232.3 | 203.2 | 184.1 | 112.1 | 70.19
455 | 112.3 | 146.1 | 206.9 | 234.5 | 368.3 | 1589 | 1327 | 547.1 | 583.8 | 643.2 | 670.8 | 669 | 635.2 | 632.8 | 672.4 | 750.9 | 811.7 | 862.1 | 891.2 | 893.1 | 915.1 | 925.4 | 933.4 | 938.2 | 945 | 940.7 | 922.7 | 892.1 | 830 | 756.2 | 680.7 | 611.5 | 528.3 | 449.5 | 366.9 | 288.4 | 224.5 | 177.5 | 164.8 | 137.4 | 79.34
460 | 117 | 135.8 | 189.6 | 249 | 279.1 | 620.7 | 2018 | 678.5 | 559.2 | 601.4 | 623.1 | 612.9 | 598.5 | 588.3 | 618.6 | 671.4 | 734.4 | 776.6 | 794.4 | 825.8 | 837.7 | 849.8 | 851 | 860.7 | 865.3 | 866.2 | 854.5 | 823.4 | 771 | 709.5 | 637.5 | 567.2 | 502.6 | 428.6 | 350.3 | 277.6 | 216.3 | 167.6 | 136.2 | 136.8 | 99.95
465 | 99.41 | 128.9 | 167.4 | 250.1 | 264 | 351.2 | 1637 | 1349 | 525.6 | 564.9 | 570 | 564.1 | 545.4 | 541 | 562.6 | 613.1 | 658.3 | 695.1 | 716.9 | 739.5 | 756.5 | 768.6 | 770.6 | 774.9 | 782.7 | 785.9 | 779.4 | 756.7 | 711.3 | 654.5 | 590.5 | 530.1 | 464.7 | 401.2 | 332.2 | 267.2 | 206.4 | 159.4 | 122.9 | 110.2 | 112.6
470 | 97.69 | 110.4 | 139.9 | 189.4 | 253.2 | 289.5 | 650.3 | 2035 | 683.4 | 503.8 | 515.2 | 524.7 | 495 | 488.6 | 496.3 | 541.8 | 579.2 | 619.7 | 632.4 | 651.1 | 669.5 | 687.5 | 681.8 | 693.2 | 707.1 | 712.3 | 708.2 | 682.2 | 644.2 | 602.4 | 541.7 | 488 | 434.2 | 370.9 | 309.3 | 248.2 | 199.3 | 153.8 | 119.9 | 94.88 | 90.26
475 | 124.2 | 108.1 | 123.6 | 183.7 | 251.8 | 290.8 | 328.5 | 1606 | 1266 | 461.1 | 469.3 | 477.6 | 460.1 | 437.3 | 450.9 | 489.1 | 514.9 | 537.7 | 557 | 574.3 | 594.5 | 608.3 | 610.6 | 618.3 | 626.6 | 638.5 | 631.9 | 618 | 586 | 542.7 | 493.9 | 445.1 | 394 | 344.1 | 292.6 | 232.9 | 186.6 | 142 | 113.7 | 88.94 | 74.1
480 | 96.1 | 96.97 | 103.1 | 158.7 | 248.6 | 247.7 | 287 | 618.3 | 1938 | 618.1 | 428.5 | 439.9 | 420.5 | 403.4 | 405.7 | 436.8 | 459.8 | 486.3 | 496.3 | 508.7 | 532.8 | 543.4 | 545.7 | 551.3 | 564.9 | 572.9 | 562.5 | 553.8 | 528.3 | 495.1 | 456.3 | 409.1 | 363.6 | 318 | 264.6 | 219 | 175.1 | 135.8 | 106.1 | 86.05 | 70.3
485 | 80.54 | 95.46 | 141.9 | 142.4 | 199.5 | 229.3 | 260.8 | 327.7 | 1583 | 1208 | 427.2 | 400 | 391.8 | 371.6 | 371.8 | 395.1 | 421.4 | 436.2 | 441.9 | 462 | 474.1 | 493.5 | 491.5 | 499.3 | 509.1 | 516.8 | 516.1 | 503.7 | 487 | 455.4 | 418.1 | 381.8 | 342.7 | 294.8 | 254.7 | 206.6 | 168 | 131 | 106.2 | 83.29 | 68.21
490 | 75.22 | 92.55 | 104.2 | 133.1 | 179.2 | 247 | 246.9 | 286.5 | 606 | 1895 | 561.9 | 385.2 | 365.6 | 345.2 | 351.4 | 369.1 | 389.1 | 402.2 | 403.6 | 416.7 | 424.9 | 438.8 | 442.3 | 451.7 | 460.8 | 462.1 | 470.9 | 464 | 445.3 | 418.5 | 389.9 | 353.9 | 322.1 | 280.5 | 239.5 | 196.7 | 161 | 127.9 | 101.5 | 82.13 | 67.99
495 | 97.53 | 75.91 | 96.81 | 125.4 | 167.9 | 220.3 | 246.1 | 248.3 | 320.5 | 1567 | 1114 | 351 | 342.5 | 324 | 332.3 | 344.5 | 345.1 | 354 | 361.5 | 366.3 | 378.4 | 396.3 | 404.9 | 407.3 | 410.1 | 419.8 | 427 | 422.1 | 404.9 | 384 | 356.8 | 327.7 | 304.2 | 264.5 | 227.2 | 190.3 | 155.8 | 124.1 | 97.61 | 80.37 | 66.11
500 | 82.45 | 86.98 | 99.27 | 93.12 | 124.5 | 174.6 | 255.3 | 227.5 | 254.1 | 615.6 | 1786 | 479.2 | 315.3 | 318.2 | 308.1 | 314 | 320.3 | 321.1 | 316.1 | 322.6 | 337.4 | 343.6 | 355.2 | 362.6 | 368.2 | 377.3 | 380.8 | 381.1 | 362 | 348.1 | 323.1 | 304.5 | 280.1 | 250.9 | 216.3 | 179.9 | 148 | 119.4 | 95.72 | 78.99 | 65.92