## Sheet1
Report date: | 17:43:58, 09/19/2024
Sample: | 1
File name:
Run date: | 17:38:34, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/320.0 | 1873
2 | 225.0/340.0 | 1952
3 | 230.0/315.0 | 1873
4 | 250.0/275.0 | 324.3
5 | 255.0/280.0 | 367.4
6 | 275.0/345.0 | 3514
7 | 325.0/370.0 | 375.1
8 | 330.0/375.0 | 408.8
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 51.09 | 41.71 | 36.01 | 36.81 | 36.32 | 19.64 | 15.97 | 12.56 | 34.59 | 274.4 | 159.9 | 24.52 | 42.09 | 2652 | 6038 | 1330 | 12.92 | 5.601 | 5.052 | 3.299 | 2.883 | 2.246 | 2.773 | 2.014 | 1.956 | 2.052 | 1.749 | 1.604 | 1.814 | 1.669 | 1.497 | 1.714 | 1.421 | 1.457 | 1.806 | 1.642 | 1.484 | 1.408 | 1.396 | 1.192 | 1.145
275 | 43.99 | 52.7 | 59.88 | 52.58 | 51.59 | 46.62 | 18.63 | 9.745 | 14.22 | 83.14 | 324.3 | 123.5 | 35.78 | 214.5 | 2850 | 5397 | 1155 | 12 | 5.17 | 4.404 | 2.722 | 2.435 | 2.48 | 1.856 | 2.039 | 2.217 | 1.58 | 1.282 | 1.781 | 1.75 | 1.866 | 1.838 | 1.622 | 1.713 | 1.655 | 1.431 | 1.355 | 1.445 | 1.458 | 1.291 | 1.198
280 | 77.02 | 50.41 | 73.21 | 92.5 | 102.9 | 62.39 | 42.35 | 23.32 | 20.13 | 23.99 | 151.5 | 367.4 | 120 | 75.43 | 254.9 | 2746 | 4942 | 1032 | 11.44 | 5.235 | 3.131 | 2.686 | 2.748 | 2.142 | 2.215 | 2.343 | 1.959 | 1.651 | 1.771 | 1.805 | 1.64 | 1.882 | 1.987 | 1.577 | 1.475 | 1.435 | 1.822 | 1.411 | 1.236 | 1.6 | 1.147
285 | 98.22 | 92.26 | 107 | 167.1 | 212.8 | 201.6 | 160 | 105.8 | 51.3 | 45.09 | 60.34 | 275.3 | 428.5 | 211.6 | 226.3 | 394.9 | 2673 | 4563 | 910.1 | 10.93 | 3.859 | 3.154 | 2.791 | 2.16 | 2.14 | 2.309 | 1.826 | 1.923 | 1.904 | 1.566 | 1.701 | 1.705 | 1.88 | 1.592 | 1.447 | 1.609 | 1.335 | 1.507 | 1.434 | 1.289 | 1.242
290 | 143.7 | 144.9 | 195.1 | 265.8 | 461.9 | 522 | 441 | 299.5 | 184.1 | 112.4 | 102.9 | 181.7 | 567.4 | 690 | 579.8 | 650.5 | 721.2 | 2756 | 4253 | 796.7 | 8.443 | 3.55 | 2.874 | 2.734 | 2.39 | 2.079 | 2.345 | 2.147 | 1.98 | 1.794 | 1.642 | 1.74 | 1.722 | 1.473 | 1.4 | 1.492 | 1.415 | 1.605 | 1.496 | 1.365 | 1.356
295 | 237.7 | 189.6 | 288.3 | 427.9 | 658.8 | 880.9 | 864.4 | 569.5 | 349.8 | 204.8 | 179.1 | 262 | 484.3 | 1124 | 1261 | 1226 | 1082 | 830.7 | 2491 | 3904 | 686.2 | 6.691 | 3.496 | 2.833 | 2.635 | 2.294 | 2.546 | 2.507 | 1.934 | 1.952 | 1.66 | 2.02 | 1.632 | 1.591 | 1.547 | 1.699 | 1.335 | 1.434 | 1.466 | 1.391 | 1.381
300 | 347.1 | 301.7 | 353.3 | 612.3 | 897.2 | 1204 | 1256 | 880.5 | 551.1 | 328.9 | 266.1 | 389.9 | 639.7 | 1143 | 1929 | 1916 | 1600 | 1045 | 526.2 | 2211 | 3636 | 587.1 | 5.849 | 3.641 | 3.014 | 2.29 | 2.127 | 2.208 | 1.99 | 2.327 | 1.957 | 1.744 | 1.886 | 1.834 | 1.531 | 1.517 | 1.707 | 1.642 | 1.595 | 1.267 | 1.234
305 | 328.6 | 406.7 | 471.4 | 756.6 | 1137 | 1486 | 1538 | 1159 | 742.8 | 430.4 | 370.9 | 520 | 827.9 | 1338 | 2018 | 2629 | 2145 | 1389 | 572.7 | 324.1 | 2070 | 3443 | 505.3 | 5.715 | 3.937 | 2.696 | 2.696 | 2.39 | 2.572 | 2.193 | 2.02 | 2.013 | 1.711 | 1.972 | 1.563 | 1.461 | 1.666 | 1.566 | 1.455 | 1.481 | 1.508
310 | 345.8 | 427.9 | 539.3 | 763 | 1189 | 1645 | 1714 | 1290 | 893.1 | 559.3 | 493.4 | 652.7 | 1001 | 1579 | 2174 | 2742 | 2749 | 1735 | 762.8 | 304.3 | 243.2 | 1881 | 3370 | 473.6 | 5.534 | 3.783 | 3.019 | 2.794 | 2.088 | 2.358 | 1.95 | 2.007 | 1.847 | 1.793 | 1.796 | 1.774 | 1.605 | 1.459 | 1.508 | 1.453 | 1.662
315 | 357 | 434.3 | 524.6 | 865.6 | 1293 | 1778 | 1873 | 1384 | 985.1 | 704.4 | 653.5 | 859.9 | 1258 | 1837 | 2404 | 2779 | 2910 | 2231 | 1008 | 436.7 | 206.1 | 216.6 | 1879 | 3280 | 410.8 | 5.161 | 3.351 | 2.632 | 2.227 | 2.579 | 2.169 | 2.126 | 2.18 | 1.905 | 1.685 | 1.715 | 1.557 | 1.723 | 1.518 | 1.626 | 1.18
320 | 326.7 | 463.6 | 565.2 | 930 | 1378 | 1873 | 1793 | 1467 | 1059 | 839.5 | 857.4 | 1124 | 1563 | 2083 | 2619 | 2952 | 2868 | 2458 | 1416 | 604.6 | 295.3 | 160.4 | 204 | 1824 | 3062 | 378.3 | 4.71 | 3.223 | 2.504 | 2.351 | 2.077 | 2.091 | 2.314 | 2.03 | 1.718 | 1.779 | 1.514 | 1.572 | 1.468 | 1.644 | 1.47
325 | 276.8 | 420.1 | 610.5 | 955.2 | 1458 | 1823 | 1862 | 1483 | 1133 | 967.7 | 1064 | 1395 | 1815 | 2348 | 2838 | 3081 | 2991 | 2397 | 1746 | 878 | 396.6 | 218.4 | 122.7 | 175.8 | 1663 | 2932 | 345 | 5.032 | 3.558 | 2.781 | 2.535 | 2.379 | 2.258 | 2.039 | 1.785 | 1.867 | 1.566 | 1.765 | 1.485 | 1.468 | 1.598
330 | 284.3 | 424.1 | 625.9 | 1041 | 1455 | 1944 | 1869 | 1461 | 1163 | 1068 | 1210 | 1619 | 2081 | 2557 | 3016 | 3244 | 3105 | 2528 | 1707 | 1196 | 568.5 | 282.6 | 154.7 | 84.28 | 148.9 | 1626 | 2909 | 336.5 | 4.825 | 3.164 | 2.426 | 2.212 | 2.055 | 2.21 | 1.867 | 1.572 | 1.715 | 1.622 | 1.498 | 1.513 | 1.567
335 | 235.9 | 433.2 | 623.4 | 1009 | 1556 | 1950 | 1865 | 1439 | 1197 | 1164 | 1373 | 1812 | 2321 | 2822 | 3201 | 3371 | 3236 | 2673 | 1800 | 1140 | 854.5 | 384.1 | 192.8 | 101 | 58.61 | 136.9 | 1677 | 2995 | 336.8 | 4.666 | 3.179 | 2.694 | 2.103 | 2.477 | 2.31 | 1.616 | 1.986 | 1.823 | 1.653 | 1.529 | 1.717
340 | 290.5 | 395.2 | 589.8 | 999.9 | 1573 | 1952 | 1797 | 1383 | 1179 | 1211 | 1481 | 1945 | 2463 | 2971 | 3329 | 3455 | 3322 | 2768 | 1944 | 1151 | 834 | 623.4 | 257.8 | 125.4 | 69.62 | 47.57 | 140.5 | 1700 | 3103 | 353.2 | 4.543 | 3.35 | 2.693 | 2.4 | 1.994 | 1.746 | 1.889 | 1.709 | 1.731 | 1.45 | 1.469
345 | 295 | 334.9 | 610.4 | 1008 | 1634 | 1941 | 1714 | 1330 | 1132 | 1225 | 1526 | 2018 | 2560 | 3055 | 3412 | 3514 | 3366 | 2832 | 2046 | 1240 | 767.4 | 644.4 | 437.7 | 170.1 | 93.21 | 59.66 | 47.38 | 141.5 | 1771 | 3166 | 373.7 | 5.196 | 2.944 | 2.873 | 2.855 | 2.513 | 1.987 | 1.848 | 1.635 | 1.628 | 1.619
350 | 277.9 | 386 | 618.4 | 993.6 | 1582 | 1802 | 1616 | 1254 | 1099 | 1211 | 1530 | 2067 | 2603 | 3073 | 3418 | 3486 | 3312 | 2821 | 2116 | 1301 | 816.9 | 545.7 | 523.4 | 307.8 | 124 | 80.19 | 59.47 | 48.23 | 146.6 | 1772 | 3352 | 395.2 | 5.517 | 3.769 | 2.699 | 2.378 | 1.952 | 1.964 | 1.765 | 1.827 | 1.516
355 | 223.1 | 348.2 | 595.7 | 907 | 1488 | 1742 | 1565 | 1181 | 1039 | 1193 | 1519 | 2023 | 2546 | 3013 | 3313 | 3403 | 3246 | 2809 | 2099 | 1339 | 858.7 | 562.9 | 416.9 | 445.6 | 229.7 | 111.3 | 83.7 | 62.55 | 49.42 | 149 | 1893 | 3499 | 405.6 | 4.691 | 3.922 | 2.832 | 2.186 | 2.237 | 1.797 | 1.792 | 1.794
360 | 224 | 339 | 515.7 | 856.5 | 1495 | 1713 | 1447 | 1100 | 1054 | 1128 | 1451 | 1951 | 2418 | 2875 | 3182 | 3263 | 3103 | 2691 | 2060 | 1356 | 891.8 | 605.2 | 409.8 | 356.9 | 392.7 | 194.5 | 114.3 | 87.55 | 64.22 | 51.57 | 158.3 | 1971 | 3732 | 444.2 | 5.621 | 3.409 | 2.586 | 2.349 | 1.715 | 1.684 | 2.015
365 | 210.8 | 286.3 | 513.1 | 846.3 | 1415 | 1557 | 1355 | 1037 | 964 | 1080 | 1380 | 1817 | 2294 | 2718 | 2996 | 3081 | 2934 | 2560 | 2010 | 1349 | 913.8 | 639.4 | 451.8 | 334.3 | 354.7 | 360.6 | 172 | 118 | 89.94 | 65.79 | 55.63 | 165.2 | 2135 | 3868 | 429.9 | 5.403 | 3.44 | 2.708 | 2.23 | 1.678 | 1.735
370 | 195.9 | 276.7 | 395.9 | 811.9 | 1209 | 1383 | 1244 | 984.6 | 919.8 | 1016 | 1300 | 1711 | 2132 | 2521 | 2772 | 2823 | 2748 | 2428 | 1930 | 1334 | 930.6 | 678.3 | 490.2 | 374.5 | 308.6 | 375.1 | 328.5 | 171.8 | 125.5 | 94.83 | 72.65 | 58.71 | 178.1 | 2239 | 3851 | 401.8 | 5.116 | 3.581 | 2.641 | 1.929 | 1.729
375 | 180.9 | 301.1 | 388.9 | 723.8 | 1179 | 1274 | 1143 | 905.2 | 876.3 | 949 | 1179 | 1529 | 1921 | 2281 | 2527 | 2594 | 2546 | 2244 | 1845 | 1306 | 957.5 | 709.3 | 544.2 | 430.9 | 353.3 | 328.5 | 408.8 | 309.7 | 181.1 | 140.1 | 108.5 | 78.78 | 63.82 | 189.2 | 2260 | 3729 | 390.4 | 5.33 | 3.185 | 2.512 | 2.051
380 | 164.8 | 228.3 | 392.8 | 617.3 | 1032 | 1207 | 1040 | 850.8 | 815.2 | 885.7 | 1102 | 1405 | 1727 | 2042 | 2264 | 2358 | 2315 | 2106 | 1771 | 1300 | 983.5 | 765 | 617.6 | 500.5 | 424.5 | 374.6 | 381.8 | 438.7 | 295.9 | 199.9 | 158.1 | 120.8 | 85.74 | 67.35 | 187.8 | 2187 | 3560 | 374.9 | 4.766 | 3.157 | 2.463
385 | 219 | 246.3 | 387.4 | 638 | 923.1 | 1094 | 970.2 | 799.6 | 764.7 | 836 | 1005 | 1267 | 1538 | 1819 | 2052 | 2147 | 2122 | 1981 | 1690 | 1305 | 1030 | 828 | 688.8 | 590.6 | 518.4 | 473.9 | 428.4 | 443.1 | 464 | 302.5 | 219.1 | 171.6 | 124.2 | 87.5 | 63.43 | 182.7 | 2088 | 3403 | 347.1 | 4.81 | 2.816
390 | 308.1 | 276.1 | 367.6 | 559.4 | 823.9 | 978.4 | 914.3 | 766.4 | 741.8 | 800.8 | 934.8 | 1146 | 1372 | 1625 | 1829 | 1951 | 1958 | 1862 | 1630 | 1307 | 1078 | 911.6 | 790.3 | 697.8 | 632.7 | 582.1 | 537.8 | 489.1 | 504.9 | 474 | 314.2 | 233.6 | 177.9 | 123.5 | 75.67 | 55.88 | 168.9 | 1951 | 3242 | 336.7 | 4.85
395 | 598.7 | 226.1 | 333 | 539 | 786 | 900.4 | 867.4 | 766.8 | 730.3 | 761.9 | 872 | 1037 | 1219 | 1443 | 1649 | 1769 | 1813 | 1763 | 1587 | 1331 | 1134 | 998.3 | 888 | 812.1 | 757 | 710.8 | 652.6 | 595.1 | 535.1 | 559.8 | 464.7 | 309.9 | 235.5 | 166.4 | 105.7 | 63.87 | 48.22 | 159.4 | 1909 | 3043 | 311
400 | 995.4 | 395.4 | 294.2 | 497.6 | 726.8 | 840.2 | 828 | 725.9 | 724.4 | 745.7 | 838.5 | 964.9 | 1125 | 1293 | 1482 | 1616 | 1694 | 1685 | 1565 | 1349 | 1189 | 1082 | 989.5 | 934.3 | 886.4 | 830.2 | 775.5 | 706.1 | 624.6 | 564.7 | 577.3 | 439 | 301.6 | 214.4 | 144.1 | 90.46 | 56.66 | 44.13 | 152.4 | 1783 | 2925
405 | 683.7 | 842.3 | 335.4 | 506.2 | 701.6 | 768.3 | 807.7 | 729.2 | 719.3 | 745.9 | 789.8 | 896.7 | 1025 | 1175 | 1354 | 1480 | 1570 | 1584 | 1522 | 1371 | 1256 | 1159 | 1087 | 1033 | 1000 | 957.1 | 886.1 | 813.8 | 721.7 | 635.3 | 578.3 | 561.6 | 399.3 | 265.2 | 182.6 | 120.1 | 77.48 | 49.23 | 41.71 | 139.8 | 1605
410 | 268.1 | 1206 | 447.2 | 444 | 636 | 763.9 | 747.7 | 728 | 734.8 | 738.9 | 780 | 861.1 | 949.8 | 1070 | 1231 | 1380 | 1488 | 1524 | 1480 | 1373 | 1278 | 1215 | 1157 | 1111 | 1084 | 1043 | 979.7 | 906.2 | 803.4 | 707.7 | 611.2 | 575.1 | 524 | 340.5 | 226.3 | 155.2 | 105.6 | 69.03 | 45.57 | 37.3 | 128.7
415 | 148 | 786.1 | 944.2 | 420.1 | 576.4 | 683.6 | 689.6 | 719.6 | 723.1 | 751.4 | 756.7 | 831.4 | 911.3 | 1008 | 1150 | 1280 | 1396 | 1448 | 1455 | 1360 | 1305 | 1255 | 1200 | 1178 | 1148 | 1108 | 1058 | 976.4 | 876.8 | 767 | 669.8 | 577.5 | 549.1 | 448.4 | 280.3 | 188.1 | 131.7 | 89.96 | 61.76 | 39.89 | 32.27
420 | 160.3 | 309.5 | 1450 | 567 | 538.5 | 636.5 | 692.9 | 716.8 | 744.9 | 762.4 | 767.4 | 832.1 | 872.1 | 939.3 | 1071 | 1213 | 1313 | 1391 | 1387 | 1337 | 1290 | 1266 | 1219 | 1201 | 1187 | 1159 | 1099 | 1026 | 925.6 | 816 | 716.2 | 610.6 | 526 | 497.6 | 367.3 | 225.5 | 157.2 | 110.8 | 76.03 | 50.65 | 34.37
425 | 192.3 | 186.7 | 1027 | 1131 | 454.1 | 603.6 | 682 | 712.3 | 738.6 | 750.5 | 788 | 817 | 829.6 | 899 | 1021 | 1145 | 1255 | 1332 | 1331 | 1307 | 1285 | 1247 | 1233 | 1207 | 1206 | 1170 | 1120 | 1049 | 954.4 | 849.5 | 745.6 | 642.1 | 543.3 | 473.7 | 433.7 | 289.1 | 186.3 | 133.2 | 90.83 | 63.35 | 42.09
430 | 156.6 | 202.1 | 410.4 | 1637 | 682.6 | 586.1 | 650.9 | 693.1 | 736.4 | 772 | 811.7 | 803.3 | 822.1 | 853.6 | 957 | 1081 | 1180 | 1235 | 1263 | 1277 | 1258 | 1236 | 1217 | 1205 | 1196 | 1177 | 1127 | 1063 | 973.9 | 871.8 | 765.2 | 668.2 | 566.5 | 465.9 | 410.6 | 356.3 | 226.9 | 149.6 | 106.2 | 74.17 | 52.53
435 | 120.9 | 165.2 | 290.9 | 1224 | 1291 | 536.3 | 642.5 | 698.9 | 728 | 775.2 | 775.7 | 800.5 | 810.5 | 814.6 | 908.9 | 1015 | 1121 | 1190 | 1211 | 1222 | 1224 | 1212 | 1196 | 1196 | 1182 | 1163 | 1126 | 1062 | 977.4 | 884 | 775.1 | 676.3 | 582 | 482.5 | 392.1 | 356 | 288.3 | 175.4 | 119.2 | 81.84 | 56.52
440 | 122.3 | 178.1 | 233.4 | 501.5 | 1847 | 685.3 | 587.8 | 663.8 | 717.7 | 765.9 | 774.7 | 796.1 | 766.7 | 777.2 | 854.5 | 972.1 | 1063 | 1121 | 1142 | 1161 | 1174 | 1182 | 1146 | 1151 | 1154 | 1141 | 1103 | 1048 | 967.9 | 868 | 772.8 | 678.2 | 588.7 | 491.8 | 400.5 | 327.4 | 296.5 | 219.5 | 129 | 90.23 | 64.24
445 | 99.69 | 179.4 | 222.3 | 305.1 | 1447 | 1383 | 550.9 | 613.7 | 690.4 | 723 | 751.8 | 770 | 740 | 748.8 | 809.8 | 896.9 | 982.4 | 1052 | 1062 | 1084 | 1112 | 1108 | 1100 | 1089 | 1100 | 1086 | 1061 | 1014 | 940.2 | 850 | 761 | 671.3 | 580.9 | 489.6 | 397 | 316.1 | 264 | 240.6 | 159 | 96.78 | 67.69
450 | 133.5 | 147.6 | 191.9 | 289 | 568.9 | 1996 | 719.4 | 602.9 | 637.6 | 712.2 | 728.3 | 740.9 | 701 | 697.8 | 747.8 | 817.1 | 909.2 | 949.1 | 982.5 | 1010 | 1030 | 1042 | 1034 | 1026 | 1032 | 1024 | 1006 | 959.7 | 889.8 | 812.1 | 734.2 | 648.6 | 568.1 | 480.5 | 387.4 | 311.4 | 241.5 | 209.1 | 189.6 | 114.4 | 70.6
455 | 155.6 | 147.6 | 189.1 | 270.8 | 353.2 | 1641 | 1367 | 550.3 | 613.4 | 665.2 | 697.5 | 681.1 | 659.2 | 650.5 | 695.4 | 758.3 | 835.7 | 883.4 | 897.7 | 920.2 | 951.5 | 961.2 | 956 | 948.4 | 953.9 | 955.9 | 940.1 | 896.1 | 839.6 | 767.8 | 690.6 | 621.5 | 540.7 | 465 | 381.6 | 301.2 | 239.7 | 183.3 | 171.3 | 141.4 | 82.98
460 | 115.6 | 132.3 | 151.9 | 230.1 | 270.1 | 653.9 | 2080 | 715 | 561.5 | 640.9 | 650.9 | 655.1 | 611.6 | 593.9 | 627.5 | 677.1 | 744 | 786.1 | 819.9 | 838.5 | 864.9 | 867.8 | 865.1 | 875.8 | 878.4 | 872.6 | 861.1 | 832.5 | 778 | 721.1 | 648.9 | 581.9 | 511 | 438.7 | 361.9 | 291.6 | 227.7 | 176.2 | 141.2 | 141.3 | 103.5
465 | 121.1 | 126.7 | 161.1 | 217.6 | 275.2 | 321.1 | 1610 | 1329 | 522.2 | 557.4 | 600.9 | 602.4 | 569.7 | 540.2 | 574.7 | 617 | 676.3 | 711.1 | 738.1 | 752.7 | 784.1 | 786.6 | 779.8 | 791 | 795.5 | 806.3 | 790.2 | 759.2 | 719.5 | 668.8 | 606.3 | 540 | 475.4 | 415.2 | 339.3 | 276.1 | 219.6 | 169.5 | 130.9 | 113.3 | 113.8
470 | 100.7 | 128.9 | 142.3 | 199.2 | 276.9 | 304.4 | 633.2 | 1980 | 706 | 490.7 | 546.3 | 554.1 | 525.3 | 503.9 | 504.8 | 556.3 | 598.7 | 627.4 | 654.9 | 675.8 | 692.8 | 708 | 705.3 | 699.5 | 712.6 | 717 | 708.1 | 691.2 | 657.5 | 604.8 | 552.3 | 499.3 | 442.7 | 380.4 | 318.4 | 261.3 | 201.7 | 157.2 | 122.3 | 97.17 | 92.97
475 | 83.78 | 126.1 | 133.6 | 181.9 | 240.4 | 276.1 | 363.5 | 1640 | 1293 | 477.2 | 501.1 | 499.4 | 472.4 | 443.6 | 459.3 | 497.4 | 523.2 | 551.5 | 570.8 | 598.7 | 612.5 | 632 | 634.5 | 630.3 | 642.4 | 642.5 | 635.8 | 621.1 | 596.2 | 552.5 | 503.7 | 457.7 | 406 | 353.6 | 296.3 | 241.1 | 195.8 | 149.5 | 117.1 | 92.43 | 74.99
480 | 89.79 | 111.5 | 134.7 | 154.1 | 230 | 248 | 294.7 | 636.5 | 1972 | 638.8 | 450.5 | 455.8 | 427 | 409 | 411.1 | 439.1 | 471.4 | 487.8 | 507.6 | 521.6 | 543.5 | 560.6 | 558 | 563.8 | 570.7 | 580.7 | 573.1 | 561.8 | 536.9 | 500.9 | 457.1 | 421.8 | 375.6 | 325.6 | 277.1 | 228.1 | 180.4 | 144.2 | 110.8 | 86.48 | 70.68
485 | 91.73 | 103.4 | 127.7 | 135.5 | 191.4 | 232.7 | 264 | 321.3 | 1598 | 1238 | 411.4 | 412.5 | 407.7 | 385.3 | 383.8 | 405.6 | 433 | 441.9 | 453.2 | 472.7 | 494.1 | 502.5 | 502.5 | 507.5 | 520.6 | 525.3 | 524.4 | 512.2 | 491 | 457.4 | 427.3 | 388.6 | 348.5 | 308.9 | 260.5 | 216 | 172.6 | 136.3 | 107.8 | 84.49 | 68.8
490 | 67.89 | 84.79 | 97.57 | 144.6 | 166.3 | 254.6 | 255.5 | 284.8 | 620.7 | 1912 | 563.4 | 393.8 | 380.1 | 358 | 358.9 | 370.9 | 385.2 | 397.7 | 414.6 | 424.3 | 444.8 | 451.5 | 454.5 | 457.2 | 466.8 | 478.3 | 476.2 | 471 | 454 | 427.6 | 395.8 | 359.5 | 327.2 | 289.2 | 250.1 | 204.4 | 164.7 | 129.9 | 103.1 | 84.89 | 68.08
495 | 74.81 | 84.48 | 105.6 | 107.6 | 155.3 | 220.1 | 253.2 | 268.5 | 314 | 1612 | 1135 | 377 | 356.3 | 346.2 | 339.4 | 343.2 | 349.6 | 364.6 | 360.7 | 379.1 | 395.9 | 405.1 | 407 | 412.6 | 417.6 | 428.3 | 426.1 | 424.3 | 419.5 | 391.7 | 370.3 | 334.4 | 308.6 | 274.3 | 236.6 | 194.7 | 159.2 | 125.2 | 102.6 | 81.54 | 66.7
500 | 76.92 | 61.21 | 93.17 | 111.8 | 142.5 | 188.6 | 254.9 | 243.2 | 274 | 624.8 | 1809 | 502.1 | 340.8 | 312.8 | 311.8 | 323.3 | 319.4 | 328.1 | 328.4 | 330.7 | 347.9 | 356.8 | 367.6 | 362.1 | 374.2 | 385.4 | 385.2 | 379.4 | 372 | 355.6 | 336.9 | 309.4 | 288.6 | 254.9 | 221.5 | 184.1 | 151.2 | 121.7 | 100.4 | 79.61 | 66.12