## Sheet1
Report date: | 17:55:53, 09/19/2024
Sample: | 1
File name:
Run date: | 17:50:28, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/350.0 | 2406
2 | 250.0/275.0 | 295
3 | 255.0/280.0 | 390.6
4 | 280.0/345.0 | 4994
5 | 320.0/360.0 | 406.5
6 | 320.0/435.0 | 1523
7 | 325.0/370.0 | 393.9
8 | 330.0/375.0 | 425.4
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 62.97 | 65.31 | 46.69 | 68.73 | 63 | 50.08 | 23.91 | 15.27 | 32.35 | 220.5 | 135.8 | 34.77 | 66.93 | 4933 | 9999.9 | 1927 | 17.08 | 7.894 | 5.346 | 4.128 | 3.073 | 2.694 | 2.752 | 2.699 | 2.333 | 2.721 | 2.118 | 2.241 | 2.281 | 1.84 | 1.846 | 1.861 | 1.982 | 1.697 | 1.951 | 1.802 | 2.524 | 1.85 | 2.163 | 1.789 | 1.736
275 | 107 | 152.3 | 151.1 | 202.5 | 233.6 | 181.9 | 66.04 | 22.05 | 25.22 | 83.75 | 295 | 154.8 | 106.7 | 447.4 | 5642 | 9938 | 1776 | 15.58 | 7.517 | 5.437 | 4.058 | 3.166 | 2.826 | 2.763 | 2.557 | 2.475 | 2.266 | 2.542 | 2.083 | 2.107 | 2.149 | 2.461 | 1.773 | 1.978 | 1.789 | 1.885 | 2.013 | 1.983 | 1.941 | 1.918 | 1.867
280 | 223.8 | 188.4 | 227.9 | 376.1 | 479.9 | 343.9 | 114.1 | 32.28 | 30.33 | 53.22 | 182.7 | 390.6 | 242.8 | 245.2 | 583.5 | 5977 | 9999.9 | 1583 | 14.72 | 7.278 | 4.9 | 3.627 | 3.153 | 2.793 | 2.672 | 2.717 | 2.565 | 2.333 | 2.473 | 2.395 | 1.827 | 2.039 | 2.168 | 1.746 | 2.1 | 1.664 | 1.777 | 1.845 | 1.835 | 2.167 | 1.892
285 | 291.2 | 253 | 303.4 | 492 | 669.6 | 554.1 | 211.2 | 74.94 | 61.64 | 74.83 | 124.9 | 351.3 | 553.4 | 416.1 | 402.6 | 672.3 | 6238 | 9540 | 1381 | 13.19 | 6.006 | 4.257 | 4.336 | 3.225 | 3.106 | 3.041 | 2.7 | 2.352 | 2.387 | 2.132 | 2.211 | 2.011 | 1.922 | 1.825 | 2.072 | 1.697 | 1.706 | 1.81 | 1.948 | 2.003 | 2.065
290 | 340.2 | 301.3 | 400 | 589.3 | 844 | 747.8 | 357.6 | 174.2 | 101.7 | 108.2 | 173.2 | 274.4 | 654.3 | 775.2 | 643.8 | 552.1 | 753 | 5982 | 9538 | 1226 | 11.52 | 5.655 | 4.693 | 3.194 | 3.541 | 2.983 | 2.886 | 2.678 | 2.323 | 2.415 | 2.425 | 2.464 | 2.14 | 2.009 | 2.204 | 1.935 | 1.831 | 1.798 | 1.903 | 1.6 | 1.762
295 | 334.2 | 341.5 | 440 | 674.1 | 1006 | 916.2 | 562.5 | 310.4 | 218 | 205.1 | 257.3 | 360.7 | 558.8 | 1056 | 1068 | 889.8 | 710.5 | 797.2 | 6457 | 9134 | 1107 | 12.56 | 6.737 | 4.76 | 3.663 | 3.262 | 3.155 | 2.84 | 2.557 | 2.366 | 2.305 | 2.451 | 2.341 | 2.196 | 1.818 | 1.881 | 1.805 | 2.011 | 1.668 | 1.693 | 1.982
300 | 405.3 | 362.8 | 492.5 | 692.7 | 1033 | 1062 | 788.3 | 555.6 | 388.8 | 396.4 | 441.9 | 546.7 | 731.2 | 1050 | 1572 | 1459 | 1171 | 859.1 | 871.1 | 6069 | 9394 | 990.8 | 12.34 | 6.162 | 4.556 | 3.541 | 3.27 | 3.18 | 3.233 | 2.76 | 2.332 | 2.477 | 2.403 | 2.115 | 1.931 | 2.199 | 1.991 | 1.781 | 1.748 | 1.592 | 1.61
305 | 387.2 | 412.2 | 473.6 | 819.3 | 1067 | 1185 | 1087 | 801.9 | 692.8 | 675.4 | 709.1 | 815 | 953.5 | 1264 | 1780 | 2254 | 1928 | 1509 | 1033 | 936.2 | 6311 | 8608 | 980.4 | 10.24 | 5.965 | 4.31 | 3.773 | 3.506 | 2.866 | 2.781 | 2.883 | 2.379 | 2.819 | 2.169 | 2.341 | 1.837 | 1.855 | 1.844 | 2.179 | 1.761 | 1.872
310 | 427.5 | 413.2 | 539 | 770 | 1105 | 1369 | 1318 | 1130 | 1027 | 1024 | 1079 | 1145 | 1258 | 1590 | 2100 | 2685 | 2918 | 2337 | 1667 | 997.4 | 779.5 | 5337 | 9999.9 | 845.5 | 8.889 | 5.527 | 4.733 | 3.929 | 3.146 | 2.811 | 2.663 | 2.878 | 2.509 | 2.396 | 2.343 | 2.384 | 1.764 | 2.02 | 1.908 | 1.607 | 1.757
315 | 449.4 | 488.6 | 621.9 | 823.7 | 1150 | 1545 | 1559 | 1412 | 1341 | 1327 | 1391 | 1478 | 1581 | 1926 | 2549 | 3103 | 3519 | 3254 | 2292 | 1359 | 579.1 | 495.1 | 7829 | 9202 | 801.6 | 8.982 | 5.368 | 4.47 | 3.861 | 3.529 | 2.979 | 3.135 | 2.452 | 2.588 | 2.046 | 2.198 | 2.191 | 1.725 | 1.868 | 1.799 | 1.886
320 | 458.6 | 519.9 | 708.7 | 883.4 | 1292 | 1566 | 1785 | 1647 | 1595 | 1621 | 1737 | 1809 | 1875 | 2239 | 2911 | 3567 | 3895 | 3831 | 2951 | 1709 | 695.9 | 229.4 | 568.8 | 5559 | 9753 | 773.4 | 8.994 | 5.894 | 4.396 | 3.474 | 3.35 | 3.175 | 2.831 | 2.875 | 2.642 | 2.484 | 1.815 | 1.84 | 2.058 | 1.69 | 1.915
325 | 400.4 | 535.9 | 676.3 | 996.1 | 1402 | 1769 | 1928 | 1786 | 1775 | 1861 | 1987 | 2081 | 2178 | 2549 | 3268 | 3953 | 4297 | 4069 | 3425 | 2040 | 833.5 | 279.7 | 138.7 | 418.4 | 5900 | 9035 | 768.2 | 9.862 | 5.48 | 4.253 | 3.653 | 3.378 | 3.191 | 2.747 | 2.897 | 2.317 | 1.922 | 1.725 | 1.888 | 2.082 | 1.973
330 | 446.2 | 523.5 | 740.9 | 1028 | 1453 | 1878 | 1968 | 1858 | 1853 | 2007 | 2164 | 2283 | 2459 | 2874 | 3588 | 4260 | 4638 | 4346 | 3481 | 2335 | 996.3 | 338.2 | 159.6 | 113.5 | 449.8 | 5444 | 9069 | 835.7 | 9.276 | 5.663 | 4.717 | 4.176 | 3.442 | 3.375 | 3.282 | 2.683 | 2.258 | 2.03 | 2.215 | 2.141 | 1.941
335 | 397.5 | 533.1 | 816.9 | 1104 | 1625 | 2111 | 2084 | 1859 | 1878 | 2104 | 2286 | 2492 | 2694 | 3126 | 3865 | 4509 | 4831 | 4523 | 3593 | 2281 | 1232 | 435.1 | 191.5 | 114.3 | 105.3 | 416.5 | 5488 | 9999.9 | 805.8 | 8.846 | 5.841 | 5.636 | 4.032 | 3.502 | 3.357 | 2.748 | 2.248 | 2.246 | 2.158 | 2.119 | 2.081
340 | 392.8 | 530.2 | 803.8 | 1150 | 1803 | 2212 | 2150 | 1894 | 1888 | 2105 | 2371 | 2590 | 2864 | 3329 | 4086 | 4689 | 4962 | 4629 | 3659 | 2249 | 1195 | 635.8 | 253.3 | 142.3 | 106.7 | 100 | 398.3 | 5902 | 9629 | 843.5 | 9.615 | 7.066 | 5.237 | 4.402 | 3.688 | 3.041 | 2.522 | 2.021 | 2.26 | 2.083 | 2.087
345 | 429.6 | 595.7 | 805.5 | 1229 | 1907 | 2342 | 2101 | 1796 | 1838 | 2075 | 2361 | 2643 | 2974 | 3496 | 4218 | 4770 | 4994 | 4644 | 3661 | 2235 | 1119 | 681.6 | 433.5 | 194.4 | 137.2 | 109.4 | 75.29 | 421.2 | 5848 | 9778 | 972.5 | 10.53 | 6.724 | 5.407 | 4.196 | 3.425 | 3.013 | 2.433 | 2.06 | 2.043 | 2.198
350 | 353.1 | 539.6 | 780.2 | 1175 | 1920 | 2406 | 2064 | 1681 | 1743 | 2005 | 2294 | 2665 | 3002 | 3568 | 4245 | 4756 | 4914 | 4519 | 3595 | 2194 | 1126 | 586.9 | 505.9 | 318.1 | 164.9 | 123.5 | 74.31 | 69.19 | 417.1 | 5697 | 9999.9 | 1228 | 11.05 | 7.761 | 5.807 | 4.237 | 3.268 | 2.822 | 2.654 | 2.413 | 2.03
355 | 325.6 | 527.1 | 747.5 | 1329 | 1930 | 2293 | 1988 | 1612 | 1629 | 1894 | 2225 | 2547 | 2988 | 3557 | 4192 | 4655 | 4783 | 4358 | 3476 | 2126 | 1119 | 589.5 | 414 | 434.7 | 254.7 | 146.4 | 92.44 | 68.77 | 72.09 | 418.4 | 6213 | 9999.9 | 1100 | 12.01 | 7.907 | 5.501 | 4.209 | 3.356 | 3.023 | 2.683 | 2.288
360 | 310.6 | 456.8 | 773.7 | 1185 | 1934 | 2298 | 1886 | 1535 | 1549 | 1782 | 2115 | 2485 | 2901 | 3453 | 4079 | 4478 | 4555 | 4159 | 3289 | 2031 | 1109 | 632.4 | 421.6 | 365.9 | 406.5 | 224.7 | 129 | 95.97 | 75.72 | 83.26 | 459.4 | 6678 | 9999.9 | 1330 | 12.15 | 6.447 | 4.87 | 3.91 | 3.152 | 2.556 | 2.746
365 | 296.2 | 463.5 | 719.7 | 1202 | 1884 | 2202 | 1826 | 1396 | 1443 | 1676 | 1991 | 2383 | 2772 | 3320 | 3868 | 4213 | 4294 | 3874 | 3073 | 1923 | 1096 | 654.6 | 448.9 | 345.1 | 375.2 | 381.2 | 189.2 | 134 | 104.8 | 89.96 | 100.1 | 495.1 | 6909 | 9999.9 | 1323 | 11.39 | 6.289 | 4.75 | 3.676 | 3.166 | 2.993
370 | 274.6 | 427.7 | 623.3 | 1045 | 1697 | 2105 | 1652 | 1285 | 1319 | 1539 | 1840 | 2196 | 2592 | 3065 | 3597 | 3907 | 3947 | 3545 | 2844 | 1800 | 1065 | 663.5 | 482.9 | 380.1 | 333.7 | 393.9 | 338.5 | 191.1 | 143.8 | 124.2 | 111.9 | 101.8 | 508 | 7330 | 9999.9 | 1218 | 10.42 | 6.077 | 4.991 | 3.649 | 2.851
375 | 264 | 352.2 | 565.9 | 983.2 | 1647 | 1854 | 1497 | 1195 | 1219 | 1431 | 1708 | 2027 | 2389 | 2831 | 3286 | 3548 | 3549 | 3224 | 2595 | 1680 | 1030 | 684.3 | 517.9 | 428.7 | 377.5 | 358 | 425.4 | 325.1 | 199.8 | 172.3 | 152.3 | 106.6 | 95.22 | 532.6 | 7456 | 9999.9 | 1160 | 9.76 | 6.203 | 4.689 | 3.352
380 | 222.3 | 342.7 | 521.7 | 921.2 | 1426 | 1742 | 1387 | 1064 | 1120 | 1305 | 1536 | 1826 | 2172 | 2529 | 2941 | 3191 | 3198 | 2887 | 2351 | 1571 | 1009 | 719.1 | 576.4 | 495.1 | 443 | 402.7 | 396.4 | 466 | 325.8 | 237.2 | 199.5 | 144.5 | 96.58 | 92.02 | 544.2 | 7147 | 9999.9 | 1107 | 9.645 | 5.666 | 4.129
385 | 192.3 | 301.9 | 457.7 | 809.7 | 1283 | 1582 | 1263 | 986.3 | 1023 | 1196 | 1409 | 1643 | 1932 | 2295 | 2626 | 2836 | 2847 | 2580 | 2151 | 1466 | 1008 | 765.2 | 644.6 | 573.4 | 536.2 | 491.8 | 446.3 | 467.5 | 484.3 | 337.8 | 266.1 | 197.6 | 135.6 | 90.4 | 89.27 | 521.5 | 6332 | 9999.9 | 1077 | 9.364 | 5.745
390 | 295.5 | 309.3 | 460.1 | 748.5 | 1145 | 1395 | 1156 | 895.9 | 953.3 | 1102 | 1284 | 1504 | 1720 | 2036 | 2318 | 2518 | 2527 | 2331 | 1965 | 1397 | 1028 | 828.7 | 727.2 | 672.2 | 642.3 | 597.2 | 560.3 | 520.7 | 537.7 | 510.2 | 360.4 | 263.7 | 184 | 125.2 | 83.29 | 78.86 | 454.4 | 5917 | 9999.9 | 1019 | 8.805
395 | 716.3 | 293.3 | 421.3 | 687.5 | 1046 | 1209 | 1076 | 868.4 | 874.5 | 1021 | 1157 | 1340 | 1549 | 1807 | 2046 | 2241 | 2275 | 2120 | 1825 | 1383 | 1065 | 901 | 841.3 | 796.5 | 762.1 | 716.8 | 679.9 | 629.8 | 572 | 597.2 | 517.1 | 342.6 | 242.8 | 167.6 | 108.9 | 67.56 | 67.23 | 429 | 6247 | 9605 | 971.2
400 | 1026 | 392.4 | 358.6 | 616.7 | 945 | 1109 | 945.5 | 802.7 | 836.5 | 941.8 | 1068 | 1235 | 1374 | 1594 | 1821 | 1991 | 2051 | 1937 | 1718 | 1349 | 1129 | 997.5 | 939.8 | 923.3 | 900.5 | 866.9 | 818 | 755.5 | 673.5 | 621 | 634.6 | 473.1 | 304.8 | 212.6 | 141.1 | 88.56 | 54.5 | 58.67 | 443.8 | 5585 | 9495
405 | 708.1 | 877 | 350.5 | 563.5 | 875.1 | 1024 | 910.6 | 770.5 | 821.9 | 903.8 | 997.7 | 1112 | 1240 | 1432 | 1639 | 1771 | 1866 | 1798 | 1642 | 1346 | 1177 | 1091 | 1060 | 1054 | 1042 | 1007 | 964 | 890.7 | 791.8 | 708.9 | 642.7 | 601.3 | 408.6 | 264.9 | 176.7 | 110.4 | 65.87 | 42.59 | 54.38 | 391.6 | 5120
410 | 284.2 | 1345 | 536.7 | 531 | 763.4 | 948.5 | 821.5 | 743.6 | 801.4 | 873.8 | 952.4 | 1021 | 1128 | 1280 | 1475 | 1629 | 1695 | 1678 | 1563 | 1354 | 1238 | 1185 | 1173 | 1186 | 1177 | 1150 | 1100 | 1014 | 910.4 | 800.1 | 695.8 | 625.2 | 532.2 | 334.5 | 210.7 | 133.8 | 85.05 | 52.76 | 36.39 | 48.04 | 361.5
415 | 198.1 | 876.6 | 1045 | 555.3 | 715.2 | 809.3 | 822.3 | 757 | 769.5 | 845.6 | 917 | 970.3 | 1025 | 1155 | 1312 | 1461 | 1557 | 1555 | 1524 | 1352 | 1266 | 1255 | 1263 | 1279 | 1288 | 1268 | 1212 | 1128 | 1014 | 881.5 | 764 | 628.6 | 565.1 | 441.4 | 256.5 | 159.5 | 102 | 65.01 | 44.31 | 31.81 | 44.64
420 | 164.6 | 347.1 | 1436 | 604 | 692.1 | 764.2 | 751.1 | 718.1 | 752.9 | 841.9 | 879.7 | 917.6 | 947.6 | 1052 | 1189 | 1326 | 1433 | 1475 | 1453 | 1359 | 1312 | 1306 | 1342 | 1364 | 1388 | 1367 | 1304 | 1215 | 1099 | 961.1 | 820.4 | 679 | 544.1 | 481.5 | 333.2 | 186 | 119.6 | 79.89 | 54.95 | 37.52 | 29.17
425 | 199.6 | 233.8 | 1055 | 1234 | 599 | 762.6 | 712.8 | 736.4 | 781.1 | 819.5 | 848 | 863.9 | 875.6 | 967.2 | 1083 | 1228 | 1327 | 1390 | 1397 | 1329 | 1319 | 1355 | 1385 | 1431 | 1453 | 1434 | 1384 | 1285 | 1161 | 1016 | 868.5 | 713.5 | 561 | 454.6 | 391.9 | 237.3 | 135.6 | 90.62 | 61.53 | 44.37 | 33
430 | 184.4 | 231.5 | 482.3 | 1682 | 777.6 | 649.8 | 704.7 | 700.1 | 755 | 810.3 | 820.4 | 823.8 | 836.6 | 879 | 984.8 | 1132 | 1244 | 1311 | 1335 | 1305 | 1335 | 1370 | 1424 | 1473 | 1502 | 1486 | 1426 | 1334 | 1213 | 1052 | 903.8 | 740 | 587.5 | 451 | 366.2 | 300.9 | 171.1 | 102.8 | 72.48 | 54.01 | 40.6
435 | 159 | 207.7 | 322.5 | 1301 | 1374 | 618.3 | 678.1 | 682 | 760.1 | 799.6 | 812.6 | 787.2 | 793.5 | 821.2 | 925 | 1045 | 1157 | 1245 | 1283 | 1282 | 1320 | 1375 | 1432 | 1487 | 1523 | 1515 | 1458 | 1375 | 1236 | 1084 | 922.7 | 761.8 | 607.1 | 463 | 342.6 | 295.2 | 228 | 125.3 | 84.67 | 62.35 | 46.91
440 | 164.1 | 232.9 | 287.6 | 556.5 | 1894 | 784 | 629.5 | 679.3 | 730.3 | 766.9 | 785.1 | 770.8 | 746.8 | 769.7 | 847.9 | 980.5 | 1094 | 1170 | 1228 | 1253 | 1305 | 1358 | 1419 | 1486 | 1518 | 1513 | 1463 | 1372 | 1231 | 1088 | 925.6 | 771 | 613.3 | 473.2 | 348.8 | 264.5 | 239.7 | 171.4 | 98.8 | 70.52 | 55.62
445 | 160.6 | 222.6 | 269.8 | 396.6 | 1569 | 1458 | 623.6 | 639.3 | 711.1 | 755.8 | 773.9 | 735.7 | 701.7 | 719.1 | 789.3 | 901.8 | 1006 | 1084 | 1155 | 1201 | 1247 | 1318 | 1378 | 1442 | 1486 | 1475 | 1437 | 1339 | 1219 | 1066 | 913.5 | 759 | 614.5 | 477.9 | 352.3 | 259.8 | 207.9 | 194.8 | 132.3 | 82.96 | 63.06
450 | 131.4 | 224 | 266.9 | 369.5 | 659.5 | 2129 | 787.9 | 617.3 | 667.1 | 725 | 715.5 | 671.5 | 664.7 | 656.9 | 731.8 | 825 | 932.4 | 1012 | 1077 | 1125 | 1188 | 1247 | 1312 | 1373 | 1416 | 1410 | 1374 | 1289 | 1172 | 1023 | 881.6 | 745.5 | 601.1 | 466.6 | 353.9 | 263.1 | 194.5 | 174.5 | 165 | 104.3 | 74.09
455 | 127 | 183.8 | 256 | 312.3 | 438.8 | 1720 | 1495 | 571 | 624.2 | 672.9 | 686.2 | 646 | 615.1 | 599.1 | 675.7 | 751.1 | 858.4 | 918.1 | 982.7 | 1039 | 1103 | 1163 | 1237 | 1290 | 1328 | 1329 | 1293 | 1223 | 1106 | 977.1 | 843.8 | 710.4 | 577.7 | 459 | 347.5 | 258.4 | 193.7 | 155 | 156.3 | 138.3 | 88.24
460 | 173.6 | 142.5 | 248.9 | 306 | 343.3 | 698.9 | 2477 | 743 | 583.6 | 629.2 | 639.3 | 609.5 | 570.3 | 564.4 | 610.3 | 668.7 | 762.5 | 840.5 | 897.1 | 953.7 | 1008 | 1083 | 1138 | 1191 | 1232 | 1231 | 1191 | 1131 | 1026 | 917.5 | 788.9 | 666.2 | 547.1 | 439.1 | 341.7 | 259.1 | 196.4 | 154 | 132.8 | 143.2 | 114.9
465 | 109.2 | 139 | 224.3 | 313 | 320.2 | 366.9 | 2073 | 1512 | 563.6 | 574 | 586.4 | 550.6 | 527.6 | 516.6 | 550.2 | 610.7 | 701.8 | 758.3 | 825.4 | 859.4 | 923.6 | 986.4 | 1037 | 1086 | 1129 | 1119 | 1101 | 1043 | 941.8 | 845.5 | 733.6 | 627.2 | 516 | 419.1 | 329.7 | 250.8 | 194.1 | 154.4 | 127.3 | 121.2 | 129.2
470 | 142.8 | 136.3 | 188.5 | 277.3 | 321.5 | 344 | 763.8 | 2379 | 708.7 | 524 | 538.8 | 509.9 | 482 | 460.9 | 495.9 | 551.4 | 619 | 668.9 | 728.8 | 773.1 | 831.7 | 890.2 | 941 | 979.5 | 1011 | 1015 | 994.9 | 944.6 | 869.5 | 775.9 | 676.2 | 577.2 | 486.6 | 392.2 | 309.1 | 244.8 | 189.2 | 152.2 | 126.5 | 109.2 | 113.4
475 | 128 | 154.9 | 179 | 246.3 | 297.9 | 319.6 | 373.6 | 2047 | 1485 | 471.5 | 488.9 | 466.5 | 435.1 | 424.6 | 449.1 | 489.4 | 549.1 | 595.7 | 647.7 | 692 | 732.1 | 788 | 840.2 | 874.4 | 902.9 | 909.9 | 894.2 | 851.1 | 782.1 | 697.9 | 614.6 | 532 | 450.9 | 368.5 | 299.5 | 235.3 | 185.4 | 152.4 | 125.7 | 108.9 | 97.2
480 | 101.3 | 158.2 | 162.6 | 184.8 | 246.7 | 293 | 316 | 774.2 | 2412 | 668 | 450.7 | 427.2 | 404.3 | 383.6 | 410.4 | 449.3 | 493.9 | 534.1 | 572.5 | 613.9 | 657.6 | 703.8 | 744.3 | 778.1 | 807.6 | 820.4 | 806.9 | 768.5 | 711.5 | 637.5 | 564.8 | 492.5 | 416.4 | 350.3 | 285.5 | 229.1 | 183.5 | 150.2 | 125.9 | 108.8 | 94.01
485 | 106.9 | 109.3 | 149.9 | 164.3 | 211.4 | 285 | 294.3 | 356 | 2023 | 1459 | 428.2 | 386.1 | 385.5 | 362.2 | 382.8 | 412.8 | 454.9 | 480.7 | 514.2 | 551.3 | 593.5 | 642.5 | 672 | 707.7 | 736.1 | 738.8 | 734.8 | 701.2 | 646.5 | 584.5 | 528.7 | 458.9 | 392.8 | 332.7 | 272.7 | 224.1 | 181.9 | 147.6 | 127.8 | 109.1 | 96.91
490 | 81.24 | 130.6 | 146.7 | 148.7 | 187.2 | 280.9 | 278.2 | 294.1 | 766.3 | 2460 | 616.7 | 372.2 | 354.4 | 339.6 | 365.4 | 390.9 | 419.9 | 446.4 | 468.8 | 500.3 | 542 | 574.5 | 610.6 | 632 | 667.7 | 666.1 | 663.1 | 635.3 | 599.5 | 544.2 | 489.5 | 430.8 | 375.9 | 323.2 | 267.2 | 219.4 | 180.3 | 148.9 | 126.5 | 111.3 | 98.83
495 | 113.6 | 117.1 | 119.1 | 146.8 | 176.6 | 220.7 | 271.3 | 282.6 | 351.4 | 2131 | 1361 | 366.5 | 346.2 | 335.3 | 350.1 | 364.9 | 388.4 | 403 | 425.3 | 455.3 | 477.8 | 513.4 | 541.7 | 573 | 591.2 | 604.8 | 596.8 | 578.6 | 537.7 | 496.7 | 449.1 | 396.9 | 353 | 305.6 | 261.5 | 215.1 | 177.5 | 150.4 | 130.2 | 114.3 | 100.3
500 | 95.82 | 99.58 | 116 | 140 | 175 | 185.4 | 246.6 | 250.1 | 285.6 | 802.7 | 2365 | 542 | 334.3 | 325 | 328 | 340.2 | 352.7 | 369.5 | 382.6 | 396.2 | 424.1 | 453.8 | 483.2 | 501.3 | 524.5 | 536.5 | 530.6 | 512.8 | 482.6 | 448.7 | 407.6 | 371.3 | 333.3 | 289.7 | 253.9 | 213.2 | 177.9 | 151.2 | 130.5 | 114.9 | 102.8