## Sheet1
Report date: | 18:01:22, 09/19/2024
Sample: | 1
File name:
Run date: | 17:55:51, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/350.0 | 2329
2 | 230.0/335.0 | 2048
3 | 250.0/275.0 | 292.9
4 | 255.0/280.0 | 397.2
5 | 280.0/345.0 | 4928
6 | 320.0/360.0 | 413.2
7 | 320.0/435.0 | 1533
8 | 325.0/370.0 | 397.3
9 | 330.0/375.0 | 431.2
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 69.98 | 73.34 | 44.92 | 56.61 | 65.19 | 50.07 | 20.61 | 14.07 | 31.93 | 233.7 | 136.3 | 37.79 | 65.11 | 4604 | 9934 | 1890 | 19.23 | 7.975 | 6.308 | 3.681 | 3.844 | 3.047 | 2.679 | 2.092 | 1.92 | 2.047 | 2.655 | 2.242 | 2.288 | 1.944 | 1.919 | 1.912 | 1.837 | 1.903 | 1.927 | 1.771 | 2.101 | 2.158 | 1.823 | 1.709 | 1.368
275 | 95.57 | 112 | 141.5 | 223.8 | 248.5 | 159.8 | 66.1 | 17.34 | 19.89 | 85.31 | 292.9 | 154.3 | 103.9 | 417.3 | 5387 | 9284 | 1725 | 16.55 | 6.917 | 4.607 | 3.948 | 3.131 | 2.757 | 2.48 | 2.455 | 2.272 | 2.501 | 2.184 | 2.22 | 2.174 | 2 | 1.851 | 2.097 | 2.001 | 1.836 | 1.745 | 1.709 | 1.792 | 1.898 | 1.608 | 1.704
280 | 172.6 | 152.8 | 250 | 371.6 | 450.1 | 337.8 | 107 | 32.52 | 35.25 | 51.23 | 182.7 | 397.2 | 241.2 | 235.9 | 565.1 | 5400 | 9268 | 1512 | 14.79 | 5.668 | 4.477 | 3.356 | 4.003 | 3.116 | 3.028 | 2.97 | 2.128 | 2.24 | 2.189 | 2.047 | 2.243 | 1.776 | 2.166 | 2.142 | 2.072 | 1.478 | 1.632 | 1.691 | 1.872 | 1.788 | 1.906
285 | 307 | 222 | 323.8 | 516.3 | 642.2 | 528.9 | 207.7 | 69.53 | 52.49 | 70.08 | 121.6 | 343.6 | 543 | 397.9 | 396.5 | 625.9 | 5291 | 8665 | 1294 | 12.98 | 5.943 | 4.047 | 4.202 | 2.861 | 2.921 | 2.372 | 2.758 | 2.572 | 2.308 | 2.352 | 1.921 | 1.788 | 2.152 | 2.28 | 2.187 | 1.692 | 1.795 | 1.679 | 1.684 | 2.109 | 1.977
290 | 332.9 | 266.4 | 389.4 | 685.6 | 799.6 | 731.2 | 369.2 | 170.5 | 105 | 111.8 | 162.3 | 284.4 | 640.4 | 749.1 | 637.6 | 565.4 | 694.1 | 5484 | 8364 | 1170 | 12.53 | 6.116 | 4.417 | 4.069 | 3.137 | 2.551 | 2.538 | 2.546 | 2.284 | 2.205 | 2.728 | 2.231 | 2.119 | 2.238 | 1.802 | 1.934 | 1.827 | 1.504 | 1.824 | 1.864 | 1.836
295 | 347.1 | 337 | 404.3 | 688.4 | 956.8 | 900.9 | 558.8 | 303.8 | 212 | 196.2 | 262 | 375.5 | 578.1 | 1047 | 1076 | 891.4 | 703.6 | 767.3 | 5356 | 8179 | 1048 | 12.94 | 5.455 | 4.654 | 3.756 | 3.053 | 3.162 | 2.779 | 2.53 | 2.602 | 1.999 | 2.099 | 1.794 | 2.199 | 1.933 | 1.911 | 1.65 | 1.892 | 1.899 | 1.591 | 1.611
300 | 390.1 | 364.3 | 458.4 | 760.3 | 1012 | 1034 | 794.7 | 518.5 | 397.4 | 395.6 | 443.3 | 543.6 | 733.4 | 1035 | 1580 | 1446 | 1199 | 860.3 | 805.4 | 5282 | 8106 | 944.9 | 11.08 | 5.337 | 4.434 | 3.883 | 3.314 | 2.665 | 2.932 | 2.589 | 2.571 | 2.36 | 2.212 | 2.384 | 2.215 | 2.148 | 1.923 | 1.88 | 1.746 | 1.75 | 1.427
305 | 369.8 | 421.2 | 531 | 731.1 | 1028 | 1223 | 1041 | 819.7 | 703.7 | 672.9 | 727.5 | 801.6 | 975.6 | 1268 | 1767 | 2257 | 1945 | 1516 | 1033 | 886.6 | 5343 | 8378 | 838.8 | 9.787 | 5.332 | 4.332 | 4.143 | 2.95 | 2.768 | 3.185 | 2.586 | 2.361 | 2.3 | 2.319 | 2.287 | 2.05 | 1.851 | 1.591 | 1.807 | 1.872 | 1.72
310 | 403.7 | 441.1 | 556.8 | 815.5 | 1135 | 1387 | 1298 | 1141 | 1041 | 1014 | 1070 | 1146 | 1270 | 1590 | 2113 | 2706 | 2943 | 2364 | 1675 | 999.6 | 720.3 | 5135 | 8444 | 846 | 8.913 | 5.104 | 4.347 | 3.925 | 2.852 | 2.53 | 2.556 | 2.584 | 2.482 | 2.379 | 2.271 | 2.144 | 1.996 | 1.703 | 1.784 | 1.837 | 1.835
315 | 365.8 | 502.2 | 667.7 | 863.1 | 1164 | 1474 | 1544 | 1404 | 1309 | 1340 | 1434 | 1497 | 1574 | 1929 | 2515 | 3099 | 3543 | 3284 | 2309 | 1374 | 578.6 | 481.9 | 5156 | 8574 | 750.7 | 8.324 | 5.22 | 4.279 | 3.779 | 3.129 | 2.832 | 2.365 | 2.604 | 2.275 | 2.279 | 1.956 | 2.185 | 2.05 | 1.866 | 1.873 | 1.835
320 | 463.8 | 508.9 | 684 | 884.6 | 1246 | 1671 | 1682 | 1611 | 1568 | 1633 | 1723 | 1798 | 1889 | 2222 | 2889 | 3568 | 3922 | 3871 | 2980 | 1710 | 701.3 | 231.4 | 398.2 | 5085 | 8472 | 773.9 | 8.217 | 5.701 | 4.817 | 3.582 | 3.234 | 3.044 | 2.807 | 2.614 | 2.31 | 2.403 | 2.167 | 2.019 | 2.088 | 1.886 | 1.632
325 | 413.2 | 571.7 | 710.9 | 933.4 | 1419 | 1742 | 1865 | 1755 | 1714 | 1829 | 1972 | 2056 | 2171 | 2559 | 3240 | 3976 | 4302 | 4098 | 3419 | 2046 | 831.1 | 277.5 | 128.3 | 388.2 | 5024 | 8498 | 746.8 | 8.661 | 5.615 | 4.279 | 3.811 | 2.86 | 2.77 | 2.956 | 2.843 | 2.377 | 2.057 | 1.974 | 1.815 | 1.954 | 2.013
330 | 436.6 | 533.9 | 724.3 | 973 | 1526 | 1903 | 2016 | 1864 | 1849 | 2000 | 2157 | 2306 | 2420 | 2860 | 3527 | 4252 | 4632 | 4352 | 3501 | 2352 | 994.2 | 342.5 | 156.8 | 110.7 | 391.7 | 5046 | 8769 | 751 | 8.482 | 5.084 | 4.965 | 3.977 | 3.286 | 3.241 | 2.886 | 2.547 | 2.334 | 2.203 | 1.869 | 1.992 | 1.838
335 | 381.9 | 512.7 | 793.8 | 1101 | 1680 | 1997 | 2048 | 1867 | 1876 | 2072 | 2276 | 2470 | 2661 | 3102 | 3837 | 4524 | 4799 | 4507 | 3578 | 2274 | 1225 | 430.9 | 191.2 | 111.3 | 102.1 | 391.6 | 5305 | 9055 | 786.4 | 9.088 | 5.572 | 4.567 | 4.269 | 3.426 | 3.012 | 2.382 | 2.753 | 2.197 | 2.122 | 1.885 | 1.808
340 | 400 | 547.7 | 803.5 | 1113 | 1787 | 2178 | 2028 | 1831 | 1863 | 2067 | 2322 | 2565 | 2850 | 3294 | 4042 | 4626 | 4913 | 4586 | 3637 | 2232 | 1194 | 644.1 | 256.8 | 143 | 105.8 | 98.31 | 385.5 | 5381 | 8995 | 835.5 | 9.721 | 5.576 | 4.924 | 3.669 | 3.39 | 2.868 | 2.861 | 2.367 | 2.342 | 2.391 | 1.998
345 | 425.6 | 545.3 | 768.4 | 1185 | 1913 | 2293 | 2054 | 1773 | 1806 | 2073 | 2365 | 2628 | 2936 | 3427 | 4124 | 4723 | 4928 | 4577 | 3641 | 2226 | 1121 | 678.2 | 441.5 | 193.1 | 134.8 | 109.2 | 76.31 | 386.2 | 5362 | 9315 | 943.1 | 10.2 | 5.545 | 4.7 | 3.907 | 3.293 | 2.512 | 2.455 | 2.155 | 1.941 | 2.078
350 | 325.3 | 521.4 | 800.4 | 1189 | 1872 | 2329 | 2077 | 1709 | 1730 | 2001 | 2273 | 2640 | 2983 | 3464 | 4155 | 4681 | 4864 | 4455 | 3542 | 2154 | 1118 | 574.3 | 511.9 | 322.8 | 164.4 | 125.8 | 73.68 | 66.61 | 385 | 5342 | 9999.9 | 1012 | 10.41 | 6.708 | 5.34 | 3.591 | 3.219 | 2.746 | 2.535 | 2.374 | 2.135
355 | 381 | 508.7 | 715.9 | 1220 | 1881 | 2242 | 1933 | 1595 | 1617 | 1851 | 2198 | 2544 | 2946 | 3494 | 4090 | 4544 | 4697 | 4286 | 3386 | 2067 | 1114 | 588.9 | 415.2 | 442.3 | 256.5 | 151.3 | 93.87 | 69.34 | 71.31 | 396 | 5685 | 9999.9 | 1047 | 10.76 | 6.288 | 4.58 | 3.601 | 3.103 | 2.626 | 2.433 | 2.059
360 | 349.6 | 486.3 | 722.3 | 1173 | 1862 | 2265 | 1897 | 1467 | 1550 | 1755 | 2077 | 2462 | 2871 | 3406 | 3995 | 4349 | 4443 | 4057 | 3196 | 1982 | 1102 | 625.5 | 411.8 | 370.8 | 413.2 | 228.3 | 131.5 | 94.45 | 74.68 | 82.27 | 423.9 | 5863 | 9999.9 | 1191 | 10.34 | 6.591 | 4.724 | 3.43 | 3.069 | 2.818 | 2.344
365 | 301.2 | 452.8 | 672 | 1206 | 1727 | 2102 | 1778 | 1391 | 1423 | 1641 | 1964 | 2350 | 2729 | 3257 | 3792 | 4093 | 4176 | 3792 | 3003 | 1877 | 1074 | 645.1 | 444.5 | 346.2 | 381.2 | 383.6 | 192.3 | 136.4 | 104.2 | 89.69 | 99.16 | 442 | 6231 | 9999.9 | 1120 | 11.02 | 6.892 | 4.814 | 3.584 | 3.103 | 2.82
370 | 283.5 | 398.9 | 583 | 1129 | 1714 | 1999 | 1573 | 1254 | 1275 | 1511 | 1815 | 2181 | 2535 | 3018 | 3508 | 3769 | 3846 | 3439 | 2788 | 1757 | 1044 | 661 | 482 | 382.8 | 340.1 | 397.3 | 334.1 | 192 | 146.3 | 125.4 | 108.7 | 97.52 | 458.8 | 6521 | 9999.9 | 1105 | 9.987 | 6.411 | 4.862 | 3.646 | 2.767
375 | 260.2 | 366.6 | 554.6 | 1012 | 1503 | 1820 | 1469 | 1154 | 1198 | 1444 | 1661 | 2005 | 2333 | 2776 | 3181 | 3468 | 3445 | 3135 | 2515 | 1629 | 1014 | 685.6 | 518.2 | 435.6 | 379.5 | 353.8 | 431.2 | 328.6 | 204.1 | 169.1 | 149.7 | 104.5 | 88.95 | 479.5 | 6533 | 9999.9 | 1065 | 9.286 | 5.69 | 4.442 | 3.242
380 | 251.6 | 348.5 | 546.9 | 869.4 | 1386 | 1664 | 1309 | 1041 | 1114 | 1301 | 1539 | 1827 | 2132 | 2487 | 2880 | 3059 | 3105 | 2807 | 2288 | 1525 | 1007 | 716 | 575.1 | 505.6 | 448.9 | 408.5 | 400 | 467.1 | 321.9 | 231.5 | 200.8 | 143.9 | 94.17 | 89.78 | 478.8 | 6337 | 9999.9 | 1036 | 9.031 | 5.631 | 4.104
385 | 250.8 | 309.3 | 506.5 | 804.5 | 1329 | 1503 | 1190 | 986.4 | 1038 | 1181 | 1384 | 1613 | 1907 | 2224 | 2572 | 2776 | 2759 | 2517 | 2095 | 1446 | 1004 | 763.9 | 649.5 | 574.8 | 537.4 | 492.5 | 452.2 | 472.6 | 488.1 | 340.3 | 267.1 | 195.2 | 135.5 | 91.79 | 83.13 | 466.8 | 6133 | 9892 | 955.6 | 8.523 | 5.706
390 | 321.9 | 301.5 | 438.6 | 758.7 | 1113 | 1320 | 1097 | 921.2 | 949.2 | 1078 | 1244 | 1465 | 1692 | 1985 | 2266 | 2440 | 2465 | 2263 | 1916 | 1385 | 1020 | 826.1 | 730.4 | 677.8 | 638.6 | 604 | 559.7 | 522.9 | 531.3 | 516.3 | 358.6 | 259.9 | 184.8 | 125.6 | 81.99 | 76.24 | 440.2 | 5654 | 9422 | 948.2 | 8.343
395 | 736.6 | 276.6 | 391.7 | 683.8 | 1010 | 1200 | 1046 | 847.8 | 898.9 | 1018 | 1165 | 1309 | 1516 | 1757 | 1995 | 2154 | 2224 | 2072 | 1805 | 1350 | 1057 | 905.1 | 831.6 | 794.6 | 767.2 | 725.4 | 688 | 629.4 | 569.8 | 595.5 | 514.2 | 335.7 | 242.3 | 164.2 | 106.4 | 66.81 | 64.89 | 413.4 | 5454 | 8894 | 865.5
400 | 1025 | 422.1 | 388.6 | 618 | 918 | 1078 | 960.1 | 792.2 | 848.7 | 935.4 | 1055 | 1191 | 1373 | 1572 | 1792 | 1940 | 1993 | 1909 | 1692 | 1338 | 1113 | 999.5 | 942.1 | 924 | 899.3 | 868.8 | 820.2 | 756.5 | 675.6 | 618.2 | 627.5 | 470.3 | 303 | 215.2 | 141.7 | 85.54 | 55.21 | 57.53 | 386.8 | 5067 | 8266
405 | 722 | 833.9 | 390.2 | 558.7 | 875.2 | 980.6 | 880.6 | 752.6 | 814.2 | 895.8 | 1014 | 1112 | 1208 | 1401 | 1590 | 1740 | 1822 | 1744 | 1622 | 1351 | 1175 | 1103 | 1065 | 1060 | 1050 | 1018 | 969.6 | 889 | 795.3 | 703.3 | 645.4 | 599.6 | 408 | 269.3 | 175.5 | 110.9 | 68.42 | 42.73 | 50.8 | 356.4 | 4467
410 | 295 | 1217 | 543.9 | 571.3 | 731.3 | 968.6 | 824.4 | 758.6 | 792.4 | 862.9 | 969.1 | 1027 | 1132 | 1262 | 1447 | 1587 | 1674 | 1652 | 1546 | 1354 | 1245 | 1182 | 1179 | 1188 | 1183 | 1152 | 1100 | 1018 | 908.9 | 797.2 | 694.5 | 613.8 | 534.7 | 337 | 208.3 | 135.7 | 82.91 | 53.45 | 36.2 | 45.12 | 318.6
415 | 219.7 | 937.4 | 1033 | 492.1 | 700 | 813.1 | 785.8 | 736.5 | 800.1 | 860.4 | 912.7 | 967.7 | 1041 | 1118 | 1304 | 1438 | 1556 | 1553 | 1499 | 1355 | 1288 | 1264 | 1277 | 1294 | 1300 | 1270 | 1218 | 1129 | 1006 | 890.3 | 763.4 | 630.4 | 558.1 | 443.7 | 259.1 | 159.7 | 102 | 66.39 | 44.39 | 31.91 | 40.72
420 | 152.3 | 371.9 | 1316 | 703.2 | 666.3 | 728.3 | 759.9 | 720.4 | 773 | 853.7 | 869.1 | 893.2 | 946.6 | 1028 | 1187 | 1332 | 1425 | 1465 | 1448 | 1345 | 1316 | 1326 | 1353 | 1378 | 1384 | 1367 | 1302 | 1221 | 1088 | 956 | 821.9 | 673.3 | 548.9 | 481.7 | 331.8 | 186.9 | 118.9 | 77.69 | 53.7 | 37.61 | 28.74
425 | 229.3 | 228.1 | 1149 | 1288 | 652.6 | 706.4 | 733.4 | 722.9 | 758.6 | 826.6 | 864 | 851.9 | 882.5 | 946.4 | 1072 | 1222 | 1335 | 1374 | 1396 | 1336 | 1333 | 1369 | 1402 | 1445 | 1448 | 1442 | 1381 | 1291 | 1155 | 1011 | 865.7 | 707 | 563.8 | 452.8 | 389.7 | 240.3 | 139.5 | 92.58 | 63.52 | 45.19 | 33.12
430 | 233.6 | 226.6 | 479.1 | 1727 | 801.3 | 650.3 | 683.3 | 714.7 | 764.2 | 838.2 | 820.3 | 827.9 | 831.3 | 882.1 | 998.8 | 1132 | 1247 | 1315 | 1338 | 1328 | 1347 | 1391 | 1431 | 1479 | 1503 | 1494 | 1432 | 1335 | 1203 | 1049 | 902.3 | 742.8 | 587.9 | 448.4 | 363.7 | 304 | 174.6 | 104.8 | 74.19 | 54.07 | 40.18
435 | 160.3 | 232 | 331.9 | 1327 | 1371 | 617.1 | 668.8 | 705.9 | 758.1 | 811.9 | 810.9 | 809.9 | 780.5 | 829.4 | 937.6 | 1058 | 1163 | 1243 | 1306 | 1306 | 1325 | 1389 | 1464 | 1500 | 1533 | 1519 | 1466 | 1369 | 1227 | 1078 | 920.6 | 759.2 | 603.5 | 466.3 | 348.9 | 296.2 | 230.2 | 128.4 | 83.7 | 62.73 | 48.06
440 | 177.5 | 212.7 | 311.1 | 522.5 | 2006 | 828.3 | 653 | 657.2 | 740.4 | 797.4 | 788.3 | 777.8 | 740.3 | 775.2 | 882.2 | 985.1 | 1091 | 1158 | 1241 | 1260 | 1311 | 1363 | 1430 | 1488 | 1517 | 1516 | 1458 | 1369 | 1233 | 1082 | 923.8 | 770.9 | 617.7 | 474.4 | 352.6 | 266.7 | 239.1 | 172.7 | 100.5 | 72.5 | 56.2
445 | 140.8 | 214 | 265.3 | 402.1 | 1491 | 1369 | 601.5 | 654.8 | 710.3 | 765.1 | 752.3 | 729.8 | 708.7 | 720.8 | 798.9 | 903.4 | 1004 | 1095 | 1163 | 1197 | 1265 | 1326 | 1386 | 1451 | 1480 | 1485 | 1434 | 1344 | 1203 | 1065 | 915.4 | 760.1 | 618.5 | 478.9 | 358.6 | 262.2 | 208.3 | 202.6 | 133.4 | 85.11 | 65.21
450 | 176.9 | 207.8 | 273.4 | 366.2 | 680.7 | 2038 | 751.2 | 605.8 | 674.6 | 717.4 | 719 | 690.9 | 675 | 655.5 | 739.3 | 834.3 | 929.7 | 1013 | 1089 | 1125 | 1192 | 1262 | 1331 | 1378 | 1422 | 1419 | 1372 | 1298 | 1175 | 1029 | 880.4 | 738 | 601.7 | 470.8 | 358.5 | 264.2 | 198.5 | 178.5 | 167.6 | 107.5 | 73.21
455 | 168.2 | 206.5 | 245.2 | 314.8 | 420.9 | 1744 | 1488 | 594.3 | 630.5 | 684.1 | 678 | 664.4 | 616.5 | 618.9 | 673.3 | 767.3 | 851.8 | 923.7 | 999.4 | 1047 | 1111 | 1175 | 1238 | 1292 | 1332 | 1335 | 1297 | 1218 | 1104 | 974.6 | 843.7 | 707.2 | 579.3 | 460.1 | 351.8 | 264.5 | 200 | 157.8 | 157.2 | 142.2 | 87.81
460 | 158.6 | 157.6 | 247.4 | 294.9 | 343.6 | 730 | 2367 | 757.4 | 593.4 | 621.5 | 628.5 | 621.6 | 586.7 | 571.3 | 611.7 | 698.1 | 784 | 841.1 | 915.7 | 949.5 | 1021 | 1088 | 1147 | 1192 | 1228 | 1236 | 1201 | 1137 | 1028 | 909.4 | 798.3 | 675.3 | 550.8 | 442.1 | 343.5 | 261.2 | 198.6 | 158.1 | 135.7 | 145.6 | 115.8
465 | 136.7 | 165.8 | 217 | 298.2 | 314.5 | 396.1 | 1907 | 1523 | 561.5 | 590.3 | 591.5 | 561.9 | 529.3 | 514.7 | 548.1 | 613.4 | 703.1 | 755.1 | 826.7 | 859.8 | 927.4 | 986.5 | 1048 | 1090 | 1122 | 1123 | 1104 | 1045 | 953.7 | 845 | 734.8 | 627.4 | 519.9 | 420.9 | 329.3 | 250.6 | 197.3 | 156.2 | 127.7 | 121.1 | 130.2
470 | 123.7 | 162.2 | 192.5 | 242.3 | 249.3 | 350.8 | 712.8 | 2352 | 739.7 | 545.3 | 537.5 | 517.4 | 479.4 | 475.5 | 499.1 | 553 | 617.4 | 679.1 | 738.3 | 780.3 | 834 | 896.6 | 948.8 | 984 | 1011 | 1022 | 1006 | 946.9 | 868.4 | 772.2 | 676.2 | 576.7 | 484.7 | 398.6 | 316.3 | 248.1 | 194.8 | 155.9 | 129.3 | 110.2 | 113.1
475 | 119.9 | 154.5 | 194.9 | 260.4 | 267.3 | 311.3 | 380.4 | 1951 | 1481 | 500 | 494.3 | 483.1 | 426.6 | 427.4 | 447.1 | 487.8 | 547.9 | 605.9 | 644.1 | 699.1 | 742.5 | 794.2 | 840.7 | 879.5 | 905.9 | 920.2 | 893.7 | 856.1 | 784.1 | 705.9 | 619.4 | 529.2 | 450.5 | 369.2 | 301.2 | 237.8 | 188.8 | 153.9 | 128.2 | 109.3 | 97.6
480 | 87.55 | 141.8 | 148.2 | 193.4 | 242.8 | 298.6 | 324.7 | 736.1 | 2378 | 671.2 | 457.1 | 443.4 | 411.8 | 394.1 | 408.6 | 454.8 | 494.3 | 533.1 | 582.6 | 620.3 | 664.7 | 705 | 750.5 | 795 | 811.6 | 815.2 | 805.9 | 774.5 | 706.2 | 644.3 | 570.2 | 488.4 | 416.3 | 353.3 | 290.6 | 232.2 | 187.5 | 150.8 | 127.5 | 110 | 97.06
485 | 103.5 | 132.8 | 122.5 | 181 | 228.9 | 285.5 | 304.1 | 373.4 | 2011 | 1470 | 423.3 | 404.8 | 378.7 | 373.3 | 381.1 | 414.8 | 451.8 | 483.4 | 520.9 | 558 | 599.9 | 639 | 677.7 | 709 | 732.8 | 741.6 | 737 | 707 | 652.4 | 588.8 | 525.6 | 460 | 396.2 | 334.1 | 276.4 | 222.1 | 181.1 | 152 | 127.6 | 111.4 | 96.82
490 | 103.8 | 131.2 | 149 | 177.8 | 205.2 | 256.7 | 276.6 | 303.1 | 761.7 | 2428 | 612.2 | 383.9 | 367.8 | 354.4 | 370.2 | 386.9 | 418.4 | 447.6 | 475.7 | 499.5 | 545.2 | 581.6 | 609.9 | 644 | 660 | 672.5 | 663.1 | 636.7 | 594.1 | 545.9 | 484.9 | 430.8 | 376.6 | 321.2 | 269.8 | 223.9 | 182.7 | 153.1 | 130.1 | 114.2 | 99.45
495 | 115.4 | 117.6 | 140.2 | 155.3 | 205.2 | 224.8 | 267.4 | 282 | 336.2 | 2127 | 1349 | 378.9 | 358.8 | 348.8 | 354.7 | 365.6 | 385.4 | 406.8 | 434.5 | 445.4 | 480.7 | 517.5 | 552.3 | 578.5 | 593.2 | 603.5 | 591.4 | 570.2 | 541.1 | 497.4 | 449.9 | 401.1 | 355.2 | 306.2 | 260.7 | 219.1 | 182.4 | 152.6 | 130.7 | 116.7 | 101.2
500 | 77.33 | 120.8 | 102.7 | 159.3 | 172.4 | 191.1 | 263.8 | 240 | 300.6 | 788.7 | 2363 | 545.2 | 339 | 329.7 | 336.2 | 347.2 | 354 | 367.1 | 382.2 | 401.7 | 425 | 459.4 | 487.5 | 511.6 | 528.9 | 534.2 | 530.2 | 514 | 483.7 | 451 | 414 | 369.4 | 329.5 | 297.1 | 254.1 | 211.8 | 178.8 | 152.8 | 132.8 | 116.6 | 102.8