## Sheet1
Report date: | 18:07:06, 09/19/2024
Sample: | 1
File name:
Run date: | 18:01:20, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/410.0 | 1210
2 | 225.0/345.0 | 2286
3 | 245.0/435.0 | 797.8
4 | 250.0/275.0 | 281.4
5 | 255.0/280.0 | 380.4
6 | 280.0/340.0 | 4904
7 | 320.0/360.0 | 416.5
8 | 320.0/435.0 | 1513
9 | 325.0/370.0 | 404.8
10 | 330.0/375.0 | 431.1
11 | 395.0/460.0 | 146.2
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 78.8 | 54.84 | 44.32 | 53.04 | 60.25 | 37.5 | 23.23 | 15.53 | 33.39 | 226.3 | 132.6 | 27.59 | 62.18 | 4665 | 9680 | 1901 | 17.74 | 8.271 | 6.16 | 4.193 | 3.681 | 2.962 | 2.656 | 2.228 | 2.786 | 2.374 | 2.271 | 2.158 | 1.843 | 2.081 | 1.933 | 2.078 | 1.729 | 1.898 | 2.227 | 2.14 | 2.145 | 2.334 | 2.092 | 1.837 | 1.607
275 | 126.2 | 156.6 | 124.5 | 236.6 | 230.1 | 182.8 | 55.7 | 19.22 | 20.65 | 83.36 | 281.4 | 148.2 | 102.9 | 426.7 | 5297 | 9405 | 1727 | 17.46 | 7.321 | 4.728 | 3.359 | 3.656 | 2.578 | 3.275 | 2.585 | 2.546 | 2.361 | 2.009 | 2.159 | 2.07 | 2.174 | 1.866 | 1.99 | 1.72 | 2.161 | 1.529 | 2.107 | 2 | 2.195 | 1.934 | 1.858
280 | 210.5 | 160 | 219.1 | 383.4 | 419.1 | 344.3 | 123.2 | 32.3 | 28.83 | 52.69 | 178.4 | 380.4 | 242 | 242 | 566 | 5523 | 9228 | 1539 | 16 | 6.781 | 4.745 | 3.731 | 2.833 | 2.439 | 2.677 | 2.466 | 2.251 | 2.158 | 2.155 | 2.107 | 2.129 | 2.054 | 1.873 | 2.017 | 1.917 | 1.869 | 1.963 | 1.837 | 2.079 | 2.02 | 1.918
285 | 251.3 | 215.4 | 328.9 | 491.3 | 655.2 | 537.8 | 212.5 | 76.37 | 58.43 | 68.44 | 120.7 | 351.4 | 547.2 | 408.5 | 411.8 | 644.6 | 5335 | 8686 | 1386 | 14.03 | 5.789 | 4.277 | 3.357 | 2.971 | 3.133 | 2.693 | 2.21 | 2.566 | 2.519 | 1.861 | 2.167 | 2.188 | 1.729 | 1.908 | 1.907 | 1.85 | 1.642 | 1.695 | 1.712 | 2.126 | 2.241
290 | 335.1 | 289.1 | 384.2 | 590.4 | 813.1 | 709.9 | 367.7 | 166.1 | 105 | 105.4 | 167 | 285.5 | 640.5 | 768.8 | 657.9 | 573.7 | 710.9 | 5488 | 8790 | 1231 | 10.84 | 5.276 | 4.118 | 3.445 | 3.317 | 2.581 | 2.73 | 2.502 | 2.479 | 2.127 | 2.382 | 2.09 | 2.122 | 1.962 | 2.125 | 2.007 | 1.761 | 2.021 | 1.727 | 2.075 | 2.218
295 | 345.6 | 302.1 | 409.7 | 707.7 | 942.9 | 963.3 | 556.1 | 300.4 | 214.1 | 208.3 | 252.7 | 369.6 | 570.1 | 1065 | 1080 | 898.5 | 715.6 | 765.6 | 5606 | 8716 | 1078 | 11.85 | 5.859 | 4.147 | 3.94 | 3.133 | 3.157 | 3.023 | 2.505 | 2.303 | 2.394 | 2.298 | 2.071 | 2.083 | 2.187 | 1.76 | 1.947 | 1.992 | 1.852 | 1.581 | 1.883
300 | 350.8 | 358.1 | 454.9 | 737.8 | 990.8 | 1057 | 799.4 | 545.3 | 393.9 | 394.3 | 443.5 | 548.3 | 725.3 | 1060 | 1603 | 1465 | 1191 | 863.3 | 818.7 | 5583 | 8341 | 954.9 | 10.87 | 5.112 | 4.874 | 3.781 | 3.291 | 2.962 | 2.58 | 2.631 | 2.836 | 2.339 | 2.196 | 2.391 | 2.045 | 2.093 | 1.983 | 1.627 | 1.68 | 1.616 | 1.838
305 | 382.8 | 424.2 | 541.3 | 783.4 | 1089 | 1190 | 1089 | 810.8 | 687.2 | 684.3 | 744.6 | 816.2 | 966.7 | 1282 | 1793 | 2265 | 1942 | 1523 | 1031 | 911.2 | 5296 | 8059 | 822.7 | 9.77 | 5.146 | 4.061 | 3.583 | 3.398 | 2.718 | 2.746 | 2.576 | 2.491 | 2.579 | 2.298 | 2.047 | 2.226 | 1.692 | 1.806 | 1.626 | 1.911 | 1.764
310 | 403.7 | 461.1 | 558.5 | 808.2 | 1166 | 1385 | 1341 | 1158 | 1029 | 1043 | 1077 | 1153 | 1264 | 1593 | 2113 | 2708 | 2945 | 2372 | 1682 | 1010 | 722.9 | 4847 | 8187 | 796.6 | 9.016 | 5.737 | 4.164 | 3.612 | 3.17 | 2.937 | 2.558 | 2.46 | 2.583 | 2.441 | 2.217 | 2.032 | 1.747 | 1.885 | 1.755 | 2.098 | 1.775
315 | 377 | 473.5 | 647.7 | 819.7 | 1233 | 1550 | 1587 | 1419 | 1331 | 1389 | 1432 | 1502 | 1584 | 1920 | 2538 | 3135 | 3578 | 3276 | 2326 | 1372 | 581.9 | 465.8 | 4991 | 8317 | 731.8 | 8.528 | 5.213 | 4.247 | 3.187 | 2.851 | 2.853 | 2.847 | 2.439 | 2.406 | 2.518 | 2.371 | 2.051 | 2.057 | 1.941 | 1.851 | 1.726
320 | 425.7 | 490.1 | 688.7 | 909.5 | 1255 | 1645 | 1758 | 1666 | 1595 | 1669 | 1762 | 1812 | 1900 | 2260 | 2923 | 3615 | 3943 | 3882 | 2983 | 1722 | 704.3 | 232.5 | 390.8 | 4941 | 8261 | 728.2 | 8.749 | 5.981 | 4.064 | 3.512 | 3.507 | 2.986 | 2.918 | 2.799 | 2.551 | 2.266 | 2.371 | 2.007 | 1.856 | 1.941 | 1.702
325 | 411.4 | 544.5 | 670.8 | 952.6 | 1322 | 1772 | 1859 | 1784 | 1789 | 1867 | 1999 | 2089 | 2201 | 2569 | 3247 | 3968 | 4329 | 4118 | 3447 | 2039 | 834.3 | 272 | 128.1 | 375.8 | 4893 | 8293 | 727.5 | 8.899 | 6.026 | 4.233 | 3.706 | 3.216 | 2.819 | 2.66 | 2.447 | 2.126 | 2.106 | 1.827 | 1.904 | 1.723 | 1.995
330 | 386.5 | 581.9 | 723.7 | 1055 | 1540 | 1941 | 2010 | 1877 | 1864 | 2032 | 2147 | 2335 | 2424 | 2829 | 3548 | 4256 | 4624 | 4364 | 3485 | 2355 | 990.7 | 337.4 | 155.6 | 104.8 | 383.9 | 4942 | 8441 | 741.5 | 8.98 | 5.775 | 4.235 | 3.839 | 3.15 | 2.982 | 2.841 | 2.225 | 2.321 | 2.323 | 2.087 | 1.879 | 1.885
335 | 409.5 | 563.4 | 776.2 | 1101 | 1685 | 2062 | 2047 | 1866 | 1906 | 2077 | 2259 | 2497 | 2644 | 3077 | 3768 | 4496 | 4758 | 4495 | 3583 | 2276 | 1233 | 429.4 | 188.8 | 114 | 100.2 | 382.1 | 5029 | 8751 | 813 | 8.17 | 5.702 | 4.827 | 3.9 | 3.3 | 3.078 | 2.412 | 2.673 | 2.211 | 2.187 | 2.44 | 1.8
340 | 412.7 | 565.2 | 748.1 | 1112 | 1715 | 2096 | 2057 | 1872 | 1897 | 2094 | 2327 | 2575 | 2798 | 3258 | 3948 | 4629 | 4904 | 4541 | 3585 | 2205 | 1179 | 641.2 | 253.9 | 141.8 | 106.1 | 97.82 | 369.8 | 5135 | 9135 | 833.8 | 8.561 | 6.193 | 4.434 | 3.816 | 3.616 | 2.887 | 2.802 | 2.109 | 2.217 | 2.287 | 1.997
345 | 366 | 511.9 | 813.4 | 1187 | 1884 | 2286 | 2053 | 1834 | 1855 | 2060 | 2301 | 2590 | 2891 | 3406 | 4065 | 4647 | 4887 | 4526 | 3560 | 2194 | 1101 | 667.5 | 436.5 | 193.6 | 138.9 | 108.2 | 74.32 | 368.2 | 5352 | 9215 | 892.3 | 8.762 | 6.222 | 5.102 | 3.674 | 3.306 | 3.06 | 2.408 | 2.284 | 2.104 | 1.84
350 | 316.8 | 479.1 | 743.5 | 1249 | 1900 | 2253 | 2037 | 1704 | 1727 | 1938 | 2219 | 2590 | 2927 | 3424 | 4049 | 4579 | 4745 | 4385 | 3461 | 2115 | 1103 | 575.3 | 511 | 318.6 | 165.4 | 124.8 | 74.23 | 65.2 | 384.4 | 5275 | 9753 | 998.3 | 9.74 | 6.96 | 5.303 | 4.302 | 3.099 | 2.817 | 2.352 | 2.084 | 2.174
355 | 347.1 | 507.5 | 796.8 | 1261 | 1816 | 2187 | 1929 | 1550 | 1646 | 1858 | 2155 | 2484 | 2873 | 3406 | 3999 | 4466 | 4565 | 4186 | 3301 | 2031 | 1088 | 586 | 407.2 | 440.4 | 259.6 | 152.6 | 97.13 | 72.15 | 71.89 | 391.7 | 5572 | 9999.9 | 1043 | 11.11 | 6.45 | 5.432 | 4.234 | 2.989 | 2.37 | 2.242 | 2.141
360 | 294.1 | 453.2 | 727.6 | 1099 | 1791 | 2073 | 1841 | 1474 | 1486 | 1757 | 2044 | 2388 | 2797 | 3268 | 3830 | 4280 | 4334 | 3949 | 3126 | 1948 | 1076 | 611.9 | 418.5 | 368.9 | 416.5 | 227.8 | 128.1 | 100.1 | 77.35 | 82.84 | 417.8 | 5757 | 9999.9 | 1208 | 10.69 | 6.973 | 5.461 | 3.606 | 2.999 | 2.507 | 2.463
365 | 272.4 | 469.2 | 659 | 1112 | 1838 | 2081 | 1754 | 1347 | 1403 | 1629 | 1914 | 2273 | 2637 | 3119 | 3634 | 3966 | 4014 | 3653 | 2916 | 1836 | 1054 | 632.8 | 448.5 | 346.1 | 380.4 | 380.6 | 195.8 | 139 | 105.7 | 90.64 | 97.21 | 434.7 | 6273 | 9999.9 | 1239 | 10.63 | 6.84 | 5.225 | 3.805 | 3.166 | 2.248
370 | 272.2 | 404.9 | 593 | 1071 | 1651 | 1876 | 1550 | 1237 | 1256 | 1500 | 1761 | 2113 | 2461 | 2925 | 3396 | 3653 | 3697 | 3337 | 2677 | 1704 | 1025 | 647.3 | 479.2 | 386.1 | 345.1 | 404.8 | 345 | 196.3 | 148.2 | 123.8 | 108.3 | 96.96 | 466.1 | 6752 | 9999.9 | 1233 | 11.13 | 6.956 | 4.802 | 3.252 | 2.831
375 | 272.8 | 362.1 | 553.4 | 940.2 | 1459 | 1718 | 1433 | 1108 | 1169 | 1358 | 1648 | 1928 | 2260 | 2674 | 3069 | 3323 | 3320 | 3024 | 2438 | 1587 | 994 | 669.1 | 517.1 | 434.4 | 384.6 | 358 | 431.1 | 330.3 | 204.3 | 170.5 | 146.8 | 106.1 | 90.24 | 492.5 | 6705 | 9999.9 | 1245 | 10.69 | 6.315 | 4.13 | 3.407
380 | 266.3 | 336.7 | 498.9 | 885.8 | 1386 | 1583 | 1302 | 1011 | 1085 | 1243 | 1468 | 1755 | 2048 | 2418 | 2751 | 2956 | 2983 | 2712 | 2216 | 1484 | 985.4 | 707.7 | 578.5 | 496.9 | 450.5 | 411.7 | 403 | 467.6 | 323.3 | 232.3 | 196.4 | 145.7 | 95.03 | 88.88 | 490.8 | 6621 | 9999.9 | 1139 | 9.401 | 5.755 | 4.182
385 | 223.8 | 284.6 | 465.7 | 766 | 1212 | 1394 | 1187 | 935.1 | 970.2 | 1155 | 1358 | 1567 | 1868 | 2177 | 2452 | 2645 | 2654 | 2451 | 2022 | 1398 | 989.4 | 755.1 | 641.4 | 578.5 | 534.2 | 495.8 | 454.6 | 467.6 | 484.8 | 337.7 | 266.7 | 193.8 | 134.3 | 88.46 | 83.4 | 485.5 | 6418 | 9999.9 | 999.3 | 9.025 | 5.509
390 | 339.1 | 249.6 | 427.6 | 721.3 | 1085 | 1296 | 1039 | 854.7 | 915.9 | 1067 | 1239 | 1420 | 1647 | 1903 | 2175 | 2348 | 2396 | 2196 | 1851 | 1350 | 1002 | 827.4 | 729.2 | 680.6 | 642.8 | 604.5 | 559.2 | 521.8 | 532.3 | 503.9 | 356 | 260.9 | 183.8 | 126.7 | 81.32 | 77.56 | 459 | 6010 | 9751 | 977.6 | 8.121
395 | 635.8 | 261.6 | 385.2 | 672.3 | 977 | 1115 | 972.5 | 811.9 | 845.6 | 991.5 | 1138 | 1288 | 1475 | 1706 | 1950 | 2097 | 2127 | 2007 | 1728 | 1318 | 1047 | 894 | 833.1 | 795.8 | 762.9 | 722 | 680.7 | 628.2 | 569.2 | 592.6 | 507.9 | 333.7 | 240.2 | 164.9 | 107.9 | 65.95 | 67.51 | 438 | 5568 | 9046 | 920.8
400 | 981.7 | 375.1 | 340.5 | 582.4 | 841.5 | 1037 | 919.9 | 794.2 | 814.8 | 906.8 | 1053 | 1176 | 1324 | 1516 | 1749 | 1882 | 1932 | 1851 | 1641 | 1312 | 1103 | 981.2 | 952.2 | 929.1 | 901.5 | 867.4 | 814.6 | 755.1 | 667.2 | 613.6 | 622.6 | 461.4 | 304 | 212.1 | 138.1 | 85.03 | 52.94 | 59 | 396.1 | 5229 | 8792
405 | 754.9 | 939.7 | 362.6 | 506.6 | 762.8 | 957 | 824.5 | 748.5 | 766.2 | 901.9 | 980.2 | 1070 | 1213 | 1365 | 1539 | 1706 | 1757 | 1710 | 1576 | 1321 | 1167 | 1086 | 1069 | 1051 | 1040 | 1003 | 962 | 887.7 | 786.7 | 700.6 | 636.5 | 591 | 405.7 | 261.7 | 176.6 | 109.5 | 69.2 | 43.63 | 51.82 | 367.9 | 4724
410 | 330.9 | 1210 | 491.9 | 554.6 | 757.6 | 845.3 | 816.9 | 719.4 | 781.3 | 866.5 | 921.5 | 998.3 | 1080 | 1214 | 1396 | 1539 | 1629 | 1611 | 1515 | 1332 | 1230 | 1182 | 1171 | 1169 | 1168 | 1144 | 1084 | 1004 | 902.4 | 792 | 685 | 613.8 | 534.7 | 330.1 | 211.1 | 132.4 | 85.47 | 54.81 | 36.3 | 46.94 | 334.4
415 | 186.6 | 859.4 | 1105 | 504.9 | 659.7 | 814.9 | 758.8 | 717.5 | 774.7 | 846.7 | 876.3 | 946.5 | 980.1 | 1115 | 1268 | 1400 | 1508 | 1520 | 1475 | 1347 | 1274 | 1257 | 1270 | 1283 | 1289 | 1258 | 1207 | 1124 | 999.3 | 878.3 | 749.9 | 621.6 | 558.9 | 437.3 | 256.4 | 161.1 | 103.7 | 65.58 | 44.8 | 32.14 | 42.28
420 | 162.1 | 413.7 | 1400 | 632 | 627.8 | 725.5 | 739.1 | 725 | 755.9 | 800 | 854.5 | 898 | 928.3 | 1005 | 1147 | 1277 | 1401 | 1442 | 1418 | 1335 | 1304 | 1324 | 1345 | 1363 | 1377 | 1349 | 1301 | 1205 | 1081 | 949.4 | 814 | 663.8 | 542 | 481.1 | 332 | 190.2 | 119.3 | 80.57 | 53.42 | 37.92 | 29.35
425 | 195.6 | 258.4 | 1052 | 1208 | 602.9 | 688 | 705.2 | 714.2 | 723.9 | 792.4 | 826.6 | 842.5 | 878.7 | 927 | 1057 | 1197 | 1292 | 1357 | 1370 | 1333 | 1331 | 1364 | 1396 | 1417 | 1443 | 1424 | 1371 | 1272 | 1141 | 1003 | 856.1 | 703.3 | 561.2 | 447.4 | 390.6 | 243.5 | 140.5 | 92.86 | 65.23 | 47.19 | 33.77
430 | 168.6 | 234.3 | 468.1 | 1683 | 758.4 | 625.4 | 675.3 | 692.4 | 728.9 | 776.9 | 806.5 | 801.9 | 829.6 | 862.5 | 962.1 | 1113 | 1213 | 1274 | 1321 | 1316 | 1335 | 1378 | 1434 | 1471 | 1493 | 1474 | 1419 | 1324 | 1188 | 1040 | 895.9 | 739.1 | 583.6 | 447.7 | 365.5 | 303.6 | 172.9 | 105.5 | 76.33 | 56.33 | 40.2
435 | 140.9 | 218.2 | 330.9 | 1285 | 1375 | 587.4 | 672.1 | 672.1 | 734.4 | 797.8 | 797.5 | 783 | 766.2 | 806.7 | 918.8 | 1025 | 1143 | 1227 | 1272 | 1294 | 1327 | 1379 | 1436 | 1478 | 1513 | 1500 | 1449 | 1353 | 1218 | 1066 | 912.2 | 758.3 | 603.8 | 458.6 | 345.3 | 297.6 | 231.9 | 129 | 84.97 | 63.1 | 48.17
440 | 180.9 | 189 | 301.1 | 606 | 1870 | 772.5 | 619.8 | 666.4 | 733.7 | 771.9 | 786.9 | 752.2 | 719.2 | 756 | 857.8 | 968.8 | 1082 | 1169 | 1222 | 1257 | 1302 | 1363 | 1429 | 1477 | 1509 | 1506 | 1447 | 1355 | 1218 | 1079 | 924.2 | 767.1 | 614 | 473.3 | 352 | 267.6 | 240.2 | 173.3 | 100.1 | 72.99 | 57.71
445 | 164.2 | 204.8 | 300.8 | 389.4 | 1549 | 1378 | 582.1 | 619.7 | 693.4 | 737.2 | 763.2 | 722.8 | 701.2 | 707 | 781.4 | 896 | 1000 | 1080 | 1154 | 1200 | 1248 | 1312 | 1383 | 1433 | 1472 | 1460 | 1411 | 1331 | 1207 | 1053 | 903.9 | 755.6 | 613.4 | 478.6 | 353.5 | 261.7 | 209.8 | 203.2 | 135.4 | 84.6 | 64.87
450 | 141.7 | 193 | 283.3 | 297.7 | 649.4 | 2133 | 771.4 | 597 | 663.7 | 719 | 724.7 | 680.1 | 652.1 | 661.6 | 720.9 | 828.4 | 926.7 | 994.6 | 1070 | 1131 | 1197 | 1248 | 1321 | 1376 | 1409 | 1398 | 1360 | 1281 | 1162 | 1024 | 870.8 | 736.6 | 594 | 469.1 | 356 | 267.1 | 198 | 178.6 | 167.3 | 107.6 | 73.19
455 | 169.5 | 186.2 | 276.4 | 327.6 | 386.6 | 1742 | 1415 | 570.6 | 642.2 | 650.8 | 694.1 | 628.8 | 613.7 | 604 | 666.9 | 744 | 844 | 922.7 | 993.2 | 1034 | 1103 | 1175 | 1236 | 1285 | 1320 | 1321 | 1275 | 1207 | 1099 | 971.1 | 832.4 | 701.7 | 574.7 | 455 | 351.9 | 264.6 | 199.3 | 161.5 | 158 | 140.7 | 90.6
460 | 140.7 | 172.3 | 232 | 282.5 | 316.5 | 705.9 | 2265 | 735.1 | 588.2 | 632 | 628.6 | 601 | 562.4 | 562.6 | 601.8 | 673.7 | 765.2 | 836.3 | 898.4 | 946.5 | 1012 | 1088 | 1136 | 1187 | 1219 | 1227 | 1184 | 1126 | 1018 | 903.4 | 783.7 | 667.7 | 552.7 | 440 | 345.7 | 261.9 | 201.7 | 156.4 | 135.2 | 146.2 | 119
465 | 135.9 | 171.2 | 216.2 | 265.1 | 312.6 | 376.1 | 1871 | 1454 | 550.8 | 581 | 581.7 | 567.9 | 517.8 | 522.3 | 558.7 | 609.1 | 700.2 | 749 | 817.3 | 861 | 923.3 | 986.3 | 1040 | 1086 | 1111 | 1122 | 1096 | 1041 | 942.1 | 841.2 | 738.4 | 630.6 | 522.7 | 421.7 | 333.3 | 258.5 | 197.4 | 157.4 | 130.7 | 124.7 | 129.4
470 | 104.6 | 163.4 | 171.1 | 241.4 | 272.7 | 330.1 | 710 | 2317 | 717.1 | 535.6 | 533.3 | 510.1 | 480.1 | 469.5 | 495.2 | 563 | 623.8 | 674.8 | 726 | 775.2 | 832.5 | 878 | 927.6 | 980.7 | 1004 | 1017 | 995.9 | 934.9 | 860.1 | 766.5 | 669.5 | 581 | 484.8 | 396.7 | 317.1 | 249.8 | 193 | 157.1 | 130 | 113 | 112.1
475 | 137.6 | 115.4 | 191 | 217.9 | 278.3 | 287.6 | 360.1 | 1962 | 1458 | 469.4 | 482.2 | 462 | 434.3 | 440 | 444.9 | 494.4 | 552.6 | 601.1 | 640.7 | 689.2 | 742.6 | 789.7 | 834.5 | 882.7 | 902 | 908.4 | 888.6 | 846.1 | 772.6 | 697.4 | 615.8 | 535.6 | 450.3 | 369.7 | 301.1 | 241.4 | 190.4 | 156.7 | 131.1 | 111.3 | 99.89
480 | 142.2 | 138.7 | 127.9 | 193.8 | 263 | 258.5 | 307.5 | 718 | 2406 | 681 | 457.8 | 438.9 | 405.9 | 397.6 | 400.5 | 454.2 | 490.4 | 536.5 | 578.7 | 610.5 | 661.7 | 709.8 | 744.3 | 783 | 808.3 | 810.2 | 803.2 | 772.1 | 709.4 | 635.9 | 565.8 | 493.1 | 418.8 | 354.5 | 284.1 | 228.6 | 187.9 | 152.4 | 130.1 | 109.7 | 96.36
485 | 109.6 | 135.1 | 141 | 167.7 | 190 | 249.9 | 287.4 | 341.5 | 2045 | 1449 | 413.6 | 401.9 | 386.9 | 366 | 377.1 | 413.9 | 448.6 | 484.8 | 513.9 | 549.3 | 598.5 | 641.4 | 680.2 | 708.1 | 725.9 | 739.5 | 726.4 | 694.7 | 648.5 | 588 | 523.4 | 458.9 | 395.2 | 338.2 | 280.6 | 228.3 | 184.1 | 153.1 | 127.1 | 113.9 | 97.1
490 | 102.5 | 105.6 | 121.8 | 151.2 | 181 | 263.5 | 274.3 | 303.1 | 746.8 | 2385 | 597.4 | 379.3 | 356.6 | 352.5 | 359.1 | 381.9 | 421.9 | 442.3 | 471.7 | 509 | 544.4 | 573.9 | 613.3 | 639 | 659.6 | 666.9 | 658.8 | 637.4 | 598.3 | 543.1 | 490.9 | 429.9 | 378.5 | 324.1 | 272.4 | 223.3 | 181 | 152.3 | 130.4 | 113 | 100.4
495 | 119.4 | 103.6 | 132.7 | 119.8 | 178.6 | 219 | 271.7 | 277.2 | 343.8 | 2104 | 1362 | 371.4 | 346.3 | 335.8 | 352.5 | 358.5 | 380 | 412.3 | 427.4 | 449.4 | 482.1 | 518 | 549.6 | 572.3 | 589.2 | 597.3 | 590.9 | 575.8 | 539.9 | 500 | 449.9 | 402.7 | 357.3 | 313.4 | 260 | 217.4 | 182 | 155.1 | 132.6 | 116.3 | 100.4
500 | 81.19 | 75.96 | 120.9 | 128.7 | 144.7 | 187.5 | 259.8 | 252.3 | 293.9 | 800.5 | 2337 | 546.6 | 338.9 | 326 | 328.4 | 343.2 | 355 | 369.1 | 380.4 | 397.5 | 434.5 | 453.4 | 487.3 | 505.4 | 522.1 | 534.1 | 528.8 | 510.4 | 484.4 | 451.2 | 411.2 | 370.9 | 331.9 | 293.2 | 253.6 | 214.8 | 179.3 | 154.1 | 130.9 | 115.9 | 103.4