## Sheet1
Report date: | 18:14:21, 09/19/2024
Sample: | 1
File name:
Run date: | 18:08:56, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 230.0/330.0 | 2620
2 | 240.0/410.0 | 928.6
3 | 245.0/420.0 | 934.1
4 | 245.0/430.0 | 922.9
5 | 250.0/275.0 | 277.1
6 | 255.0/280.0 | 355.7
7 | 285.0/330.0 | 7063
8 | 320.0/360.0 | 398.3
9 | 325.0/370.0 | 398.6
10 | 330.0/375.0 | 437.3
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 64.69 | 50.02 | 67.5 | 66.53 | 54.73 | 41.84 | 20.6 | 16.28 | 28.61 | 210.1 | 135.2 | 29.69 | 47.04 | 2956 | 7261 | 1617 | 15.71 | 7.27 | 5.336 | 4.098 | 2.948 | 2.237 | 2.311 | 2.517 | 2.456 | 1.829 | 1.8 | 1.914 | 1.965 | 1.933 | 1.908 | 1.887 | 1.963 | 1.507 | 1.913 | 1.384 | 2.019 | 1.898 | 1.909 | 1.579 | 1.299
275 | 135 | 121.9 | 184.5 | 235.6 | 163.8 | 166.9 | 61.54 | 18.27 | 18.7 | 68.48 | 277.1 | 143.8 | 75.72 | 278.7 | 3386 | 7343 | 1357 | 14.92 | 7.271 | 4.404 | 3.544 | 3.044 | 2.592 | 2.052 | 2.739 | 2.233 | 2.284 | 1.91 | 1.935 | 1.929 | 1.854 | 1.811 | 1.8 | 1.574 | 1.727 | 1.615 | 1.614 | 1.434 | 1.687 | 1.747 | 1.379
280 | 175.5 | 153.4 | 264.7 | 351.1 | 287.2 | 288 | 126.3 | 43.22 | 29.45 | 36.47 | 139.3 | 355.7 | 194.5 | 172.2 | 380.5 | 3586 | 6670 | 1269 | 14.32 | 5.1 | 4.175 | 2.947 | 2.771 | 2.423 | 2.522 | 2.512 | 2.307 | 1.9 | 2.225 | 1.929 | 2.236 | 1.977 | 2.02 | 1.618 | 1.753 | 1.617 | 1.55 | 1.549 | 1.807 | 1.768 | 1.576
285 | 266.4 | 235.2 | 362.2 | 564 | 440.8 | 577 | 275.1 | 99.18 | 58.82 | 66.31 | 106.3 | 296 | 487.5 | 349.1 | 362.1 | 532.8 | 3437 | 6563 | 1121 | 13.34 | 5.329 | 3.624 | 3.394 | 2.938 | 2.582 | 2.626 | 2.362 | 2.026 | 2.227 | 2.13 | 2.069 | 1.874 | 1.778 | 2.048 | 1.805 | 2.043 | 1.595 | 1.555 | 1.53 | 1.68 | 1.881
290 | 415.4 | 298 | 429 | 712.2 | 628.1 | 867.2 | 531.4 | 255.4 | 136 | 116.1 | 161.4 | 263.8 | 584.5 | 780.9 | 716.8 | 726 | 761 | 3645 | 6528 | 985.3 | 12.31 | 5.676 | 3.628 | 3.219 | 2.601 | 2.581 | 2.121 | 1.92 | 2.276 | 1.984 | 1.966 | 2.455 | 2.207 | 2.188 | 1.847 | 1.788 | 1.657 | 1.537 | 1.529 | 1.66 | 1.526
295 | 387.6 | 368.2 | 561.1 | 806.6 | 724.1 | 1174 | 838.1 | 461 | 273.7 | 217.9 | 268.5 | 375.5 | 605.5 | 1108 | 1311 | 1233 | 1087 | 897.3 | 3627 | 6144 | 922.8 | 15 | 5.795 | 4.296 | 3.265 | 2.601 | 2.475 | 2.122 | 2.705 | 2.064 | 2.19 | 2.193 | 2.007 | 1.939 | 2.078 | 2.127 | 1.471 | 1.642 | 1.636 | 1.693 | 1.499
300 | 440.3 | 457 | 590.1 | 927.8 | 823.8 | 1434 | 1202 | 775.5 | 515.8 | 416.1 | 449.1 | 596.8 | 829.3 | 1248 | 1998 | 2091 | 1889 | 1439 | 1051 | 3585 | 6242 | 844 | 13.43 | 5.34 | 3.61 | 3.14 | 2.923 | 2.394 | 2.901 | 2.279 | 1.963 | 2.058 | 2.473 | 2.53 | 2.15 | 1.92 | 1.63 | 1.793 | 1.392 | 1.7 | 1.658
305 | 510.4 | 526.7 | 660.2 | 1006 | 973.8 | 1646 | 1588 | 1211 | 902.1 | 755.8 | 766.7 | 883.3 | 1149 | 1646 | 2406 | 3281 | 3196 | 2715 | 1914 | 1352 | 3704 | 6280 | 767.2 | 9.146 | 4.938 | 3.776 | 3.365 | 2.692 | 2.562 | 2.668 | 2.253 | 2.443 | 2.116 | 2.331 | 2.154 | 1.705 | 1.899 | 1.859 | 1.778 | 1.818 | 1.578
310 | 509.1 | 590.6 | 736.8 | 1053 | 1059 | 1924 | 2010 | 1715 | 1351 | 1145 | 1131 | 1250 | 1526 | 2121 | 3059 | 4112 | 4789 | 4259 | 3244 | 2047 | 1033 | 3352 | 6498 | 695.5 | 7.883 | 4.996 | 3.706 | 3.339 | 2.97 | 2.751 | 2.401 | 2.594 | 2.294 | 2.203 | 2.392 | 1.964 | 1.875 | 1.631 | 1.868 | 1.896 | 1.843
315 | 561.4 | 699.5 | 884.7 | 1212 | 1121 | 2000 | 2393 | 2068 | 1743 | 1485 | 1499 | 1594 | 1883 | 2556 | 3658 | 4831 | 5829 | 5738 | 4428 | 2828 | 1173 | 499.9 | 3372 | 5723 | 684.8 | 7.212 | 4.978 | 3.611 | 3.275 | 3.154 | 2.857 | 2.711 | 2.686 | 2.32 | 2.288 | 2.18 | 1.856 | 2.256 | 1.757 | 1.6 | 1.703
320 | 531.7 | 718.7 | 892.8 | 1215 | 1202 | 2178 | 2531 | 2383 | 2017 | 1786 | 1815 | 1940 | 2154 | 2888 | 4110 | 5443 | 6429 | 6689 | 5479 | 3400 | 1436 | 392.2 | 313.4 | 2919 | 6389 | 630.8 | 7.145 | 4.446 | 3.693 | 3.375 | 2.973 | 2.873 | 2.95 | 2.397 | 2.38 | 2.655 | 2.034 | 1.852 | 1.666 | 1.931 | 1.582
325 | 604.5 | 752.3 | 1002 | 1208 | 1236 | 2210 | 2610 | 2476 | 2172 | 2013 | 2020 | 2170 | 2410 | 3098 | 4332 | 5753 | 6851 | 6976 | 6002 | 3843 | 1601 | 454.5 | 143.8 | 241.1 | 3233 | 5748 | 630.7 | 7.096 | 5.035 | 4.174 | 3.283 | 2.74 | 2.978 | 2.427 | 2.646 | 2.088 | 2.042 | 2.194 | 2.026 | 1.977 | 2.008
330 | 588.8 | 787.1 | 932.9 | 1283 | 1327 | 2263 | 2620 | 2496 | 2249 | 2108 | 2144 | 2329 | 2598 | 3279 | 4500 | 5878 | 6903 | 7063 | 5968 | 4093 | 1754 | 506.6 | 162.9 | 84.23 | 249.2 | 3029 | 6229 | 617.4 | 7.288 | 4.561 | 3.789 | 3.249 | 3.006 | 2.759 | 2.612 | 2.263 | 2.524 | 2.086 | 2.024 | 1.67 | 1.76
335 | 515.2 | 729.7 | 966 | 1350 | 1328 | 2312 | 2595 | 2435 | 2224 | 2171 | 2281 | 2454 | 2747 | 3399 | 4524 | 5842 | 6796 | 6950 | 5814 | 3857 | 1916 | 600.1 | 200.4 | 95.5 | 67.38 | 230.8 | 3356 | 5828 | 727.3 | 7.258 | 4.734 | 3.897 | 3.717 | 3.169 | 2.802 | 2.61 | 2.236 | 2.136 | 2.284 | 1.864 | 1.8
340 | 510.5 | 695.6 | 922.8 | 1303 | 1346 | 2140 | 2455 | 2276 | 2093 | 2142 | 2276 | 2508 | 2786 | 3416 | 4446 | 5622 | 6473 | 6605 | 5514 | 3571 | 1777 | 795.1 | 262.5 | 118.6 | 74.34 | 56.6 | 251 | 3122 | 7168 | 717.2 | 7.109 | 4.718 | 3.747 | 3.272 | 3.104 | 2.537 | 2.07 | 2.49 | 2.373 | 1.898 | 1.753
345 | 435.8 | 710.7 | 929.7 | 1267 | 1387 | 2156 | 2297 | 2123 | 2003 | 2038 | 2207 | 2488 | 2768 | 3346 | 4321 | 5299 | 6049 | 6047 | 5093 | 3323 | 1597 | 772.4 | 436 | 167.1 | 97.54 | 68.37 | 58.69 | 238.6 | 3954 | 6754 | 738.5 | 8.293 | 5.276 | 4.602 | 3.617 | 2.82 | 2.409 | 2.551 | 2.321 | 1.898 | 2.016
350 | 447.7 | 661.9 | 856 | 1348 | 1341 | 2049 | 2125 | 1881 | 1816 | 1900 | 2094 | 2380 | 2676 | 3250 | 4052 | 4943 | 5547 | 5491 | 4641 | 3011 | 1490 | 669.3 | 503.3 | 312.7 | 134.5 | 91.99 | 66.19 | 59.47 | 293.1 | 3572 | 7118 | 776.4 | 8.664 | 5.156 | 4.167 | 2.941 | 2.807 | 2.473 | 2.172 | 2.025 | 2.147
355 | 457.9 | 548.9 | 815 | 1223 | 1281 | 1943 | 1931 | 1741 | 1655 | 1789 | 1975 | 2267 | 2586 | 3088 | 3802 | 4535 | 5010 | 4956 | 4159 | 2727 | 1407 | 667.2 | 419.2 | 432 | 241.4 | 124.2 | 92.36 | 70.96 | 65.89 | 272.8 | 3888 | 7159 | 789.1 | 7.937 | 5.286 | 3.988 | 3.082 | 2.645 | 2.412 | 2.023 | 1.948
360 | 383.4 | 477.3 | 734.2 | 1143 | 1272 | 1883 | 1735 | 1533 | 1504 | 1668 | 1845 | 2131 | 2429 | 2871 | 3496 | 4068 | 4455 | 4381 | 3690 | 2456 | 1321 | 685.8 | 422.3 | 360.8 | 398.3 | 211.5 | 129.2 | 101.1 | 75.91 | 68.48 | 296.2 | 3885 | 7705 | 805.2 | 8.68 | 5.203 | 3.553 | 2.976 | 2.62 | 2.253 | 2.026
365 | 361.7 | 488.5 | 736.7 | 1070 | 1191 | 1747 | 1599 | 1391 | 1361 | 1515 | 1697 | 1959 | 2248 | 2636 | 3177 | 3635 | 3955 | 3873 | 3277 | 2181 | 1255 | 710.9 | 466 | 353.9 | 370.8 | 376.7 | 195 | 136.4 | 105.2 | 81.14 | 76.17 | 299.4 | 4159 | 7620 | 843.2 | 7.838 | 5.046 | 3.802 | 3.058 | 2.437 | 2.283
370 | 363.1 | 420.6 | 640 | 1020 | 1047 | 1534 | 1411 | 1252 | 1249 | 1385 | 1584 | 1813 | 2054 | 2388 | 2856 | 3268 | 3503 | 3409 | 2916 | 1990 | 1208 | 748.5 | 518.2 | 402.6 | 342.2 | 398.6 | 349.3 | 198.1 | 147.7 | 116.2 | 91.76 | 77.78 | 315.2 | 4316 | 7885 | 799.7 | 8.076 | 5.241 | 3.802 | 2.84 | 2.362
375 | 302.6 | 418.2 | 575.2 | 849.4 | 991.9 | 1450 | 1342 | 1127 | 1154 | 1267 | 1430 | 1637 | 1880 | 2168 | 2531 | 2896 | 3105 | 2994 | 2573 | 1819 | 1186 | 787.1 | 588.9 | 468.5 | 396.7 | 364.8 | 437.3 | 337.1 | 205 | 158.8 | 129.1 | 94.4 | 80.26 | 329.2 | 4431 | 7529 | 785.1 | 8.166 | 4.983 | 3.8 | 2.953
380 | 350.2 | 436.2 | 637.4 | 857.3 | 924.2 | 1272 | 1202 | 1040 | 1067 | 1176 | 1306 | 1468 | 1694 | 1931 | 2272 | 2552 | 2725 | 2665 | 2329 | 1712 | 1182 | 851.7 | 667.6 | 549.9 | 472.5 | 419.3 | 409.9 | 467.2 | 324.7 | 220.5 | 176.8 | 136.1 | 95.69 | 81.25 | 338 | 4272 | 7290 | 757.3 | 6.891 | 4.872 | 3.67
385 | 287.2 | 408 | 527.8 | 807.8 | 829.4 | 1163 | 1097 | 975.5 | 1004 | 1087 | 1212 | 1368 | 1506 | 1720 | 2022 | 2264 | 2429 | 2396 | 2135 | 1636 | 1202 | 921.4 | 752.5 | 637.7 | 561.8 | 502.7 | 459.2 | 466.7 | 481.1 | 327.6 | 246 | 191.4 | 138.9 | 97.14 | 82.71 | 327.5 | 4098 | 7110 | 704.4 | 6.883 | 4.415
390 | 360.6 | 354.9 | 507.5 | 762.1 | 781 | 1078 | 1067 | 973.6 | 977.2 | 1015 | 1139 | 1248 | 1362 | 1541 | 1815 | 2008 | 2184 | 2185 | 1994 | 1596 | 1252 | 1016 | 857.2 | 743.1 | 664.8 | 603.3 | 554.3 | 509.7 | 525.8 | 495.7 | 338.3 | 257.3 | 193.4 | 136.6 | 90.65 | 73.77 | 306.5 | 3971 | 6842 | 680.5 | 6.92
395 | 651.1 | 370.6 | 521.5 | 739 | 713.4 | 978.1 | 1015 | 919.5 | 944.6 | 956.4 | 1047 | 1136 | 1243 | 1406 | 1637 | 1821 | 1993 | 2020 | 1882 | 1579 | 1296 | 1098 | 940.8 | 852 | 770.5 | 709 | 661.9 | 602.7 | 553.8 | 573.4 | 490.9 | 338 | 255.2 | 185.1 | 127.2 | 79.05 | 64.82 | 299.2 | 3959 | 6132 | 607.1
400 | 1041 | 496.9 | 538.3 | 679.2 | 688.3 | 921.6 | 937.9 | 891 | 897 | 939.9 | 956.7 | 1030 | 1125 | 1265 | 1484 | 1673 | 1838 | 1905 | 1812 | 1577 | 1347 | 1193 | 1048 | 959.3 | 880.3 | 823.8 | 775.4 | 712 | 639.8 | 587.2 | 602.6 | 476.4 | 327.8 | 239 | 160.5 | 104.1 | 63.83 | 57.39 | 290.3 | 3485 | 5975
405 | 738.8 | 840.4 | 490.7 | 620.6 | 650.7 | 886.3 | 906.9 | 894.9 | 911.9 | 928.3 | 929.3 | 963.3 | 1042 | 1152 | 1348 | 1546 | 1716 | 1780 | 1736 | 1572 | 1391 | 1260 | 1139 | 1064 | 990.8 | 935.8 | 876.8 | 814.3 | 734.4 | 660.2 | 613.1 | 598 | 430.9 | 293.3 | 205 | 133.6 | 82.97 | 53.58 | 51.08 | 252.7 | 3227
410 | 369.5 | 1163 | 582.8 | 559.9 | 635 | 850.6 | 870.3 | 845.3 | 928.6 | 904.8 | 922.1 | 922.2 | 973.9 | 1070 | 1247 | 1420 | 1618 | 1694 | 1685 | 1556 | 1423 | 1305 | 1216 | 1140 | 1081 | 1034 | 977.5 | 904.8 | 825.3 | 736.9 | 655 | 608.3 | 549.6 | 366.2 | 242.8 | 160.8 | 103.9 | 65.97 | 42.82 | 42.67 | 235.4
415 | 273.6 | 919.8 | 1067 | 572.5 | 607.3 | 827.3 | 875 | 886.9 | 914.9 | 919 | 891.4 | 880.1 | 894.9 | 976.7 | 1159 | 1332 | 1485 | 1594 | 1609 | 1534 | 1436 | 1354 | 1275 | 1215 | 1162 | 1127 | 1054 | 985.2 | 903 | 812.7 | 718.7 | 622.5 | 573.6 | 471.7 | 290 | 190.6 | 123.6 | 82.03 | 52.66 | 35 | 37.24
420 | 274.7 | 477.9 | 1434 | 726.7 | 611 | 731.9 | 837.5 | 831 | 923 | 934.1 | 870.1 | 844.4 | 836.1 | 930 | 1069 | 1251 | 1410 | 1508 | 1554 | 1490 | 1421 | 1363 | 1303 | 1264 | 1213 | 1173 | 1123 | 1050 | 967.6 | 868.3 | 765.5 | 653.1 | 561.7 | 510.8 | 370.6 | 218.5 | 144.2 | 97.65 | 63.83 | 43.61 | 30.06
425 | 226.1 | 304.8 | 1161 | 1242 | 572.8 | 692.1 | 801.8 | 832.5 | 910.6 | 906.2 | 859.7 | 809.8 | 811.1 | 865.1 | 1002 | 1157 | 1317 | 1421 | 1489 | 1443 | 1404 | 1356 | 1318 | 1286 | 1243 | 1214 | 1156 | 1093 | 1008 | 914.2 | 803 | 698.6 | 574.7 | 480.6 | 425.1 | 274.7 | 166.2 | 111.4 | 77.56 | 53.92 | 38.42
430 | 237 | 286.9 | 579.8 | 1736 | 712.5 | 665.6 | 775.9 | 845.1 | 914.7 | 922.9 | 862.9 | 791.4 | 763.5 | 810.1 | 946.1 | 1099 | 1239 | 1357 | 1410 | 1406 | 1368 | 1347 | 1315 | 1289 | 1266 | 1237 | 1195 | 1128 | 1041 | 936.1 | 834.2 | 715.3 | 591.2 | 471.2 | 399.5 | 336.4 | 203.7 | 127.6 | 89.6 | 65.61 | 47.06
435 | 222.1 | 284.7 | 410.3 | 1343 | 1105 | 618.5 | 735.9 | 829.7 | 900 | 905.2 | 818 | 764.9 | 726.8 | 764 | 896.1 | 1032 | 1162 | 1277 | 1348 | 1343 | 1325 | 1313 | 1279 | 1286 | 1266 | 1242 | 1199 | 1141 | 1052 | 953.2 | 843.8 | 733.5 | 603.3 | 483.8 | 376.7 | 332.4 | 258.3 | 152.3 | 103.7 | 76.48 | 56.25
440 | 224.1 | 316.7 | 384.1 | 639.2 | 1699 | 759.5 | 709.4 | 772 | 873.4 | 878.7 | 796.1 | 711.9 | 689.6 | 705.5 | 833.2 | 965.1 | 1098 | 1191 | 1263 | 1272 | 1262 | 1257 | 1254 | 1251 | 1241 | 1225 | 1191 | 1127 | 1046 | 948.9 | 852.4 | 734.3 | 612.4 | 489 | 386.4 | 297.3 | 272.8 | 201.1 | 122.1 | 88.64 | 67.84
445 | 224.5 | 256.4 | 331.5 | 441.8 | 1384 | 1287 | 654.3 | 760.7 | 822.7 | 848 | 782.6 | 686.5 | 645.6 | 686.3 | 757.1 | 894.1 | 1014 | 1104 | 1165 | 1188 | 1192 | 1197 | 1195 | 1201 | 1190 | 1189 | 1150 | 1100 | 1026 | 919.5 | 831.6 | 721.4 | 604.8 | 489.8 | 388.7 | 298.4 | 244.4 | 230.2 | 157.1 | 101 | 76.44
450 | 238.3 | 268.9 | 346.9 | 359.2 | 634.5 | 1841 | 845 | 714.2 | 793.3 | 810.4 | 731.4 | 661.2 | 604.3 | 637.8 | 718.2 | 829.1 | 938.7 | 1016 | 1076 | 1091 | 1105 | 1117 | 1128 | 1135 | 1136 | 1128 | 1094 | 1044 | 982.8 | 891 | 803.3 | 705.6 | 595.8 | 481.4 | 385 | 300.9 | 235.2 | 208.1 | 187.8 | 126.3 | 85.6
455 | 212.9 | 213.5 | 305.3 | 344.5 | 349.7 | 1538 | 1308 | 651.8 | 735.4 | 748.5 | 673.3 | 606.3 | 569.7 | 575 | 660.8 | 744.7 | 851.8 | 915.4 | 974.9 | 993.3 | 1018 | 1033 | 1040 | 1056 | 1057 | 1055 | 1035 | 991.6 | 922.8 | 839.5 | 757.6 | 667.5 | 572.6 | 471.2 | 379.6 | 302.8 | 236.3 | 188.7 | 181.6 | 157.6 | 103.8
460 | 178.4 | 243.9 | 281.4 | 328.8 | 317.9 | 719.5 | 2088 | 798.2 | 682.7 | 690.3 | 634.1 | 566.1 | 524.9 | 542 | 597.9 | 668 | 767.9 | 839.5 | 878.7 | 902.3 | 922.8 | 945.1 | 952.3 | 966.4 | 978.7 | 971.5 | 953.5 | 919.2 | 866.5 | 791.5 | 714.4 | 630.9 | 541 | 453.7 | 371.1 | 298.3 | 238.3 | 191.2 | 162.8 | 165.3 | 132.8
465 | 174.5 | 193.6 | 254.3 | 285.1 | 326 | 406.8 | 1602 | 1415 | 616 | 640.1 | 599.7 | 516.3 | 484.1 | 488.8 | 540.1 | 607.8 | 684.7 | 746 | 799.1 | 812.8 | 838.8 | 853.9 | 868.2 | 878.1 | 884 | 887.4 | 874.6 | 846.6 | 793.4 | 727.3 | 662.5 | 590.8 | 510.2 | 432.6 | 363.3 | 293.4 | 238.7 | 192.8 | 158.9 | 143.3 | 143.6
470 | 181.2 | 201.4 | 191.8 | 266.1 | 279.9 | 337.6 | 718.5 | 2127 | 765.9 | 592.2 | 525.6 | 473.7 | 442.7 | 435.3 | 485.4 | 549.2 | 613.4 | 664.9 | 706.9 | 721.1 | 752.3 | 766.9 | 777.3 | 793.1 | 801.6 | 804.3 | 793.9 | 769.1 | 724.2 | 666.7 | 608.4 | 544.7 | 477.2 | 409.9 | 352.3 | 286.7 | 238.1 | 193.6 | 162.6 | 135.1 | 130.7
475 | 148.5 | 187 | 230.1 | 247.1 | 269.4 | 296.8 | 394.1 | 1714 | 1429 | 514.3 | 488.5 | 427.9 | 405 | 404.5 | 430.4 | 483.2 | 545.2 | 586.5 | 615.4 | 637.1 | 661.9 | 678.1 | 694.5 | 702.7 | 725.5 | 718.4 | 709.4 | 689.5 | 655.4 | 603.3 | 552.6 | 505.1 | 447.7 | 390.1 | 333.6 | 277.1 | 231.4 | 193 | 163.5 | 136.6 | 117
480 | 107 | 140.7 | 181.4 | 220.1 | 218.4 | 311.2 | 330.7 | 707.9 | 2128 | 700.4 | 452.8 | 399.8 | 372.4 | 365.7 | 396.4 | 442.2 | 485.4 | 520.9 | 556.2 | 571.9 | 578.2 | 600.6 | 621 | 632.9 | 638.2 | 650.2 | 645.3 | 624.9 | 601.6 | 558.7 | 511 | 466.7 | 419.5 | 368 | 319.6 | 271.6 | 231.6 | 189.9 | 161.9 | 139.3 | 116.9
485 | 132.6 | 165.2 | 148.5 | 171.7 | 210.6 | 265.4 | 324.1 | 391.4 | 1718 | 1395 | 409.1 | 365.3 | 347.3 | 347.6 | 369.6 | 403 | 440.6 | 473.7 | 500.4 | 510.6 | 534.7 | 542.6 | 558.1 | 572.8 | 582.1 | 585 | 584.6 | 570.8 | 553.1 | 513.9 | 477.7 | 436.3 | 402 | 352.1 | 311.9 | 268.9 | 230.2 | 194.1 | 162.2 | 142.4 | 120.8
490 | 111.1 | 117.9 | 164.1 | 192.5 | 176.2 | 262.9 | 305.3 | 319.6 | 682.1 | 2114 | 569.5 | 335.5 | 324.3 | 331.5 | 352 | 378.6 | 407.5 | 434.1 | 442.5 | 458.6 | 477.5 | 491.3 | 498.8 | 513.2 | 524.5 | 532.9 | 529 | 526.7 | 505.3 | 477.5 | 445.5 | 415.6 | 378.2 | 340.3 | 307 | 264.3 | 228.8 | 194 | 166.6 | 146.4 | 123.7
495 | 96.63 | 111.8 | 145.4 | 151.2 | 182.9 | 232.1 | 288.8 | 303.9 | 356 | 1653 | 1223 | 330.2 | 315.1 | 323.4 | 330.4 | 353.5 | 371.7 | 390.5 | 403 | 407.6 | 422.5 | 440.7 | 449.2 | 465.4 | 474.1 | 479.1 | 481.2 | 475.2 | 460.7 | 438.8 | 413.8 | 390.9 | 359.4 | 328.9 | 293.3 | 262.1 | 226.2 | 193.6 | 164.3 | 145.1 | 126.2
500 | 83.85 | 117.3 | 150.3 | 140.8 | 170.7 | 207.7 | 264.7 | 286.5 | 318.5 | 654.8 | 1980 | 488.3 | 288.1 | 308.4 | 319.6 | 328.8 | 346.3 | 353.5 | 361.2 | 363.4 | 376.4 | 390.3 | 399.7 | 414.6 | 424.4 | 431.8 | 429.6 | 431.1 | 416.8 | 401.1 | 381 | 360.6 | 337.1 | 314 | 288.1 | 256.4 | 224.5 | 195.7 | 167.3 | 145.8 | 129.1