## Sheet1
Report date: | 18:25:12, 09/19/2024
Sample: | 1
File name:
Run date: | 18:19:45, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/410.0 | 1125
2 | 230.0/330.0 | 2567
3 | 240.0/425.0 | 805.7
4 | 245.0/415.0 | 827.5
5 | 245.0/430.0 | 807.4
6 | 250.0/275.0 | 267.8
7 | 255.0/280.0 | 347
8 | 285.0/330.0 | 6911
9 | 325.0/370.0 | 418.6
10 | 330.0/375.0 | 454.8
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 50.35 | 38.59 | 31.21 | 62.34 | 50.7 | 34.6 | 21.96 | 13.88 | 34.45 | 213.9 | 131.4 | 29.29 | 48.09 | 3058 | 6971 | 1455 | 15.13 | 7.451 | 6.076 | 4.852 | 3.846 | 2.281 | 2.714 | 2.072 | 2.152 | 2.057 | 2.137 | 2.016 | 1.637 | 2.012 | 2.074 | 1.967 | 1.695 | 1.939 | 1.623 | 1.754 | 1.732 | 1.778 | 1.43 | 1.309 | 1.378
275 | 110.3 | 74.59 | 108.7 | 161.7 | 186.3 | 137.9 | 48.98 | 21.33 | 21.34 | 80.14 | 267.8 | 132.6 | 73.61 | 283.7 | 3523 | 6611 | 1297 | 14.97 | 7.322 | 5.592 | 3.908 | 2.577 | 2.875 | 2.491 | 2.879 | 2.269 | 2.218 | 2.041 | 2.166 | 2.2 | 1.916 | 1.786 | 1.959 | 1.578 | 1.413 | 1.646 | 1.771 | 1.636 | 1.534 | 1.598 | 1.455
280 | 169.3 | 151.5 | 189.1 | 290.1 | 329 | 314.7 | 99.53 | 34.79 | 27.15 | 41.16 | 153.7 | 347 | 185 | 172.5 | 386.6 | 3751 | 6406 | 1240 | 14.91 | 6.963 | 4.21 | 2.909 | 2.69 | 2.389 | 2.547 | 1.863 | 2.024 | 2.067 | 2.106 | 2.016 | 1.794 | 2.127 | 1.919 | 1.545 | 1.706 | 1.868 | 1.674 | 1.687 | 1.504 | 1.843 | 1.593
285 | 173.7 | 199.6 | 285.3 | 438.4 | 584.1 | 488.3 | 254.7 | 97.11 | 55.88 | 61.62 | 99.46 | 308.5 | 480.7 | 337.5 | 351.6 | 535 | 3726 | 6348 | 1144 | 12.93 | 5.818 | 3.461 | 3.307 | 3.062 | 2.645 | 2.246 | 1.747 | 2.398 | 2.203 | 1.952 | 2.056 | 2.13 | 1.8 | 1.727 | 1.707 | 1.899 | 1.519 | 1.34 | 1.233 | 1.65 | 1.489
290 | 276.7 | 209.6 | 360.9 | 573.1 | 790.1 | 848.2 | 491.6 | 228.9 | 132.6 | 109.7 | 144.7 | 266.6 | 603.7 | 749.2 | 700.9 | 689.8 | 761.1 | 3885 | 7814 | 942.3 | 11.69 | 5.08 | 3.994 | 3.474 | 2.777 | 2.297 | 1.992 | 2.446 | 2.292 | 2.023 | 1.928 | 1.937 | 1.894 | 1.68 | 1.716 | 1.681 | 1.544 | 1.376 | 1.516 | 1.39 | 1.686
295 | 281.2 | 308.2 | 435.1 | 684 | 983.1 | 1072 | 811.6 | 434 | 265.1 | 200.8 | 248.5 | 388 | 599.5 | 1116 | 1261 | 1203 | 1035 | 877.6 | 5544 | 7725 | 843.1 | 14.06 | 5.053 | 3.532 | 3.44 | 2.916 | 2.605 | 2.576 | 2.115 | 1.98 | 2.018 | 2.271 | 1.729 | 1.866 | 1.765 | 1.658 | 1.589 | 1.744 | 1.571 | 1.83 | 1.511
300 | 288.9 | 336.1 | 493.1 | 776.6 | 1106 | 1463 | 1162 | 761.5 | 496.6 | 409.3 | 441.8 | 577.9 | 820.1 | 1242 | 1991 | 2025 | 1840 | 1392 | 1135 | 5079 | 6599 | 766.7 | 12.42 | 5.126 | 3.537 | 2.842 | 2.678 | 2.45 | 2.337 | 2.334 | 2.184 | 2.165 | 2.135 | 2.139 | 1.86 | 1.734 | 1.759 | 1.792 | 1.861 | 1.61 | 1.624
305 | 361.3 | 415.7 | 566.7 | 886.7 | 1322 | 1635 | 1599 | 1168 | 884.7 | 718.5 | 731 | 876.3 | 1122 | 1655 | 2390 | 3218 | 3100 | 2620 | 1868 | 1413 | 4286 | 5698 | 678.3 | 9.437 | 4.846 | 3.801 | 2.839 | 3.126 | 2.411 | 2.374 | 2.046 | 2.372 | 1.951 | 2.171 | 2.008 | 2.045 | 1.668 | 1.712 | 1.508 | 1.618 | 1.88
310 | 414.8 | 452.6 | 621.6 | 927.6 | 1354 | 1870 | 1959 | 1636 | 1313 | 1121 | 1080 | 1215 | 1500 | 2088 | 2999 | 4088 | 4710 | 4144 | 3147 | 1983 | 1056 | 3545 | 5791 | 639.1 | 7.778 | 4.354 | 3.733 | 3.306 | 2.794 | 2.814 | 2.34 | 2.155 | 2.36 | 2.32 | 2.198 | 1.981 | 1.595 | 1.976 | 1.764 | 1.566 | 1.682
315 | 444.2 | 552.9 | 714.3 | 944.2 | 1416 | 1994 | 2336 | 2049 | 1659 | 1472 | 1447 | 1561 | 1840 | 2485 | 3598 | 4789 | 5765 | 5639 | 4334 | 2736 | 1155 | 511.8 | 3402 | 5483 | 569.7 | 6.979 | 5.236 | 4.017 | 3.009 | 3.11 | 2.732 | 2.552 | 2.281 | 2.502 | 2.216 | 2.076 | 2.274 | 1.8 | 1.628 | 1.727 | 1.855
320 | 365.8 | 501.3 | 729.3 | 1027 | 1547 | 2116 | 2478 | 2310 | 1932 | 1755 | 1762 | 1873 | 2115 | 2832 | 4027 | 5398 | 6360 | 6597 | 5361 | 3330 | 1398 | 392.5 | 316.6 | 3176 | 5544 | 567.6 | 7 | 4.602 | 4.372 | 3.653 | 3.276 | 2.803 | 2.738 | 2.42 | 2.386 | 2.363 | 1.903 | 1.745 | 1.836 | 1.608 | 1.866
325 | 397.7 | 594.1 | 776.2 | 1034 | 1486 | 2199 | 2553 | 2472 | 2119 | 1944 | 1972 | 2105 | 2371 | 3033 | 4276 | 5703 | 6774 | 6857 | 5930 | 3761 | 1568 | 447.9 | 143.8 | 260.6 | 3193 | 5843 | 577.5 | 7.565 | 4.772 | 3.816 | 3.532 | 2.823 | 2.714 | 2.787 | 2.132 | 2.105 | 1.814 | 2.08 | 1.812 | 1.925 | 1.802
330 | 429.5 | 645 | 740.9 | 1037 | 1609 | 2209 | 2567 | 2458 | 2150 | 2051 | 2127 | 2254 | 2519 | 3207 | 4385 | 5803 | 6836 | 6911 | 5841 | 4004 | 1709 | 497 | 159.4 | 83.19 | 248.3 | 3387 | 6122 | 585.5 | 7.283 | 4.464 | 3.701 | 3.3 | 2.96 | 2.265 | 2.568 | 2.431 | 2.092 | 1.918 | 2.018 | 1.651 | 1.875
335 | 383 | 576 | 751.6 | 1042 | 1580 | 2185 | 2533 | 2406 | 2169 | 2079 | 2172 | 2372 | 2619 | 3292 | 4415 | 5685 | 6651 | 6745 | 5678 | 3774 | 1904 | 578.9 | 194.4 | 95.72 | 68.44 | 256.1 | 3630 | 6428 | 611.9 | 6.862 | 4.865 | 4.059 | 3.459 | 2.791 | 2.595 | 2.45 | 1.942 | 2.269 | 1.954 | 1.588 | 1.891
340 | 301.2 | 569.7 | 732.2 | 1087 | 1569 | 2179 | 2360 | 2264 | 2042 | 2057 | 2187 | 2367 | 2674 | 3259 | 4299 | 5464 | 6327 | 6364 | 5331 | 3498 | 1762 | 787.7 | 255.4 | 123.1 | 75.76 | 61.81 | 271.7 | 3727 | 6633 | 638.7 | 7.617 | 5.106 | 3.981 | 3.352 | 2.862 | 2.782 | 2.108 | 2.16 | 1.967 | 1.617 | 1.944
345 | 299.7 | 488.7 | 664.1 | 1038 | 1585 | 2041 | 2174 | 2014 | 1937 | 1959 | 2126 | 2315 | 2644 | 3200 | 4108 | 5131 | 5842 | 5868 | 4932 | 3221 | 1571 | 786.6 | 436.2 | 166.7 | 102.6 | 71.91 | 62.97 | 281.2 | 3848 | 6704 | 663.5 | 7.674 | 4.884 | 4.289 | 2.901 | 2.983 | 2.308 | 2.196 | 1.963 | 1.904 | 1.723
350 | 307 | 444.9 | 651.7 | 929.4 | 1517 | 1924 | 1989 | 1880 | 1783 | 1830 | 2027 | 2229 | 2576 | 3045 | 3848 | 4711 | 5319 | 5250 | 4436 | 2915 | 1450 | 659 | 528.1 | 315.3 | 143.7 | 98.7 | 71.68 | 65.79 | 289.7 | 3798 | 6832 | 736.7 | 7.806 | 5.446 | 4.321 | 3.237 | 2.645 | 2.332 | 2.023 | 1.811 | 1.966
355 | 302.8 | 402.1 | 608.2 | 964.6 | 1456 | 1771 | 1826 | 1685 | 1619 | 1672 | 1911 | 2137 | 2424 | 2917 | 3596 | 4303 | 4769 | 4708 | 3946 | 2628 | 1372 | 665.3 | 424.9 | 456 | 250.3 | 135.6 | 103.1 | 78.1 | 69.49 | 291.7 | 3890 | 7044 | 720.1 | 8.303 | 5.326 | 3.938 | 3.182 | 2.508 | 1.953 | 2.221 | 1.904
360 | 255.5 | 385 | 541.2 | 840.8 | 1284 | 1654 | 1622 | 1441 | 1448 | 1541 | 1769 | 1982 | 2281 | 2686 | 3275 | 3861 | 4217 | 4150 | 3499 | 2338 | 1280 | 677.8 | 431.2 | 383.9 | 422.7 | 221.4 | 138.9 | 109.5 | 82.33 | 74.83 | 298.7 | 3937 | 7273 | 761.8 | 7.962 | 5.292 | 3.318 | 2.856 | 2.302 | 1.935 | 2.186
365 | 218.5 | 316.8 | 496.9 | 764.9 | 1206 | 1567 | 1467 | 1270 | 1313 | 1423 | 1603 | 1884 | 2112 | 2476 | 2947 | 3443 | 3728 | 3624 | 3098 | 2085 | 1222 | 709.5 | 471.8 | 366.6 | 395.4 | 392.3 | 207.3 | 149.7 | 109.7 | 85.64 | 77.15 | 305.4 | 4147 | 7341 | 737.6 | 8.039 | 4.724 | 3.724 | 2.841 | 2.438 | 1.947
370 | 234.4 | 336.8 | 481 | 686.8 | 1108 | 1429 | 1286 | 1159 | 1181 | 1276 | 1480 | 1719 | 1925 | 2270 | 2645 | 3067 | 3288 | 3209 | 2748 | 1894 | 1170 | 743.4 | 529.3 | 418.9 | 363.6 | 418.6 | 362 | 206.1 | 153 | 117.4 | 92.08 | 78.7 | 318.1 | 4254 | 7216 | 705 | 7.453 | 4.245 | 3.765 | 2.247 | 2.05
375 | 231.5 | 317.3 | 415.2 | 667 | 1047 | 1243 | 1200 | 1074 | 1084 | 1168 | 1345 | 1532 | 1758 | 2008 | 2389 | 2700 | 2901 | 2783 | 2430 | 1747 | 1155 | 782.8 | 600.6 | 489.6 | 412.6 | 376.9 | 454.8 | 350.4 | 213 | 165.1 | 129.5 | 94.5 | 80.95 | 325.9 | 4290 | 7325 | 652.7 | 7.304 | 4.341 | 3.292 | 2.579
380 | 221.5 | 257 | 372.3 | 568.2 | 967.9 | 1126 | 1058 | 971 | 1009 | 1093 | 1226 | 1397 | 1557 | 1797 | 2116 | 2393 | 2559 | 2501 | 2207 | 1631 | 1154 | 850 | 676 | 560.4 | 483.3 | 428.1 | 422.6 | 482.6 | 332.2 | 225.7 | 180.6 | 136.7 | 96.73 | 80.44 | 331.1 | 4507 | 6326 | 612 | 6.854 | 4.268 | 3.374
385 | 199.2 | 286.6 | 373.7 | 562.1 | 850.9 | 1027 | 970.3 | 904.1 | 917.8 | 993.7 | 1126 | 1267 | 1414 | 1622 | 1905 | 2105 | 2281 | 2255 | 2019 | 1577 | 1175 | 922.8 | 764.4 | 652 | 574.6 | 512.3 | 466 | 477.6 | 496.2 | 328.9 | 245.1 | 189.9 | 138.4 | 98.2 | 80.84 | 350.9 | 3755 | 5692 | 568.6 | 6.922 | 4.471
390 | 269.2 | 248.8 | 425.2 | 553.8 | 782.4 | 988.2 | 946.3 | 842.4 | 883.4 | 933.8 | 1042 | 1161 | 1260 | 1458 | 1676 | 1897 | 2049 | 2035 | 1888 | 1534 | 1227 | 1005 | 857.6 | 756.2 | 671.3 | 613.2 | 562.8 | 512.1 | 532.3 | 504.4 | 338.3 | 255.5 | 191 | 136.9 | 90.71 | 75.32 | 286 | 3297 | 5490 | 574.1 | 6.53
395 | 619.3 | 303.2 | 355.7 | 486.4 | 691.2 | 892.6 | 891.7 | 844.4 | 852.4 | 905.6 | 953.5 | 1057 | 1168 | 1320 | 1499 | 1714 | 1883 | 1906 | 1803 | 1523 | 1272 | 1094 | 955.1 | 851.5 | 776.9 | 720.2 | 661.8 | 607.3 | 551.1 | 576.4 | 496.2 | 341.7 | 254.9 | 185.3 | 125.7 | 78.83 | 63.45 | 256.2 | 3214 | 5333 | 551.5
400 | 751.6 | 422.1 | 357.1 | 478.3 | 718.1 | 831.4 | 872.3 | 809.6 | 813.2 | 862 | 903.1 | 965.3 | 1054 | 1190 | 1389 | 1554 | 1715 | 1777 | 1717 | 1511 | 1327 | 1170 | 1060 | 964.4 | 889.9 | 830.3 | 780.8 | 716.3 | 641.8 | 598.8 | 614.4 | 472.2 | 324.2 | 239.3 | 163.5 | 107.5 | 66.08 | 54.63 | 241 | 3121 | 5336
405 | 615.8 | 898.3 | 354.9 | 447.3 | 644.5 | 782.8 | 798.3 | 753.3 | 815.2 | 835.2 | 872.7 | 918.9 | 976.6 | 1076 | 1248 | 1448 | 1591 | 1679 | 1651 | 1506 | 1365 | 1250 | 1144 | 1059 | 994.7 | 942.3 | 885.7 | 821 | 737.6 | 664.6 | 617.5 | 603.5 | 433.5 | 295.6 | 205.1 | 135.7 | 84.35 | 54.82 | 47.12 | 229.3 | 2928
410 | 233.8 | 1125 | 476.2 | 492.4 | 595.8 | 697.5 | 772.3 | 768.8 | 789.5 | 811 | 834.8 | 862.2 | 906.8 | 999.3 | 1150 | 1328 | 1493 | 1589 | 1601 | 1494 | 1396 | 1297 | 1222 | 1148 | 1088 | 1032 | 976.4 | 910.1 | 830.9 | 742 | 663.8 | 616.2 | 555.9 | 366.5 | 243.1 | 165.1 | 103.5 | 67.87 | 42.67 | 40.97 | 215.3
415 | 184.9 | 786.6 | 883.7 | 460.2 | 576.7 | 695 | 773.6 | 782.7 | 788.6 | 827.5 | 799.6 | 808.1 | 849.3 | 936.6 | 1078 | 1247 | 1406 | 1501 | 1543 | 1472 | 1411 | 1332 | 1265 | 1206 | 1167 | 1113 | 1067 | 999 | 904.8 | 809.5 | 720.2 | 622.9 | 584.6 | 472.9 | 295.7 | 193.1 | 126.1 | 82.12 | 53.95 | 35.83 | 37.22
420 | 172.3 | 338.5 | 1275 | 573.7 | 569.8 | 652 | 718.5 | 767.1 | 791.8 | 807.7 | 781.3 | 778.9 | 785.2 | 863.7 | 993.8 | 1171 | 1315 | 1426 | 1479 | 1433 | 1393 | 1340 | 1300 | 1240 | 1222 | 1175 | 1124 | 1054 | 971.6 | 861.9 | 769.8 | 659.9 | 557.8 | 512.3 | 373.9 | 224.8 | 146.5 | 98.81 | 66.36 | 43.86 | 31.31
425 | 125.1 | 254.3 | 969.7 | 1102 | 526.4 | 603.7 | 689 | 734.9 | 805.7 | 796.6 | 741 | 745.1 | 750.7 | 818.8 | 919 | 1081 | 1246 | 1354 | 1405 | 1388 | 1377 | 1335 | 1308 | 1276 | 1251 | 1221 | 1165 | 1097 | 1012 | 910 | 805.5 | 697.1 | 571.6 | 481.3 | 430.1 | 280.8 | 167.4 | 114 | 78.33 | 55.23 | 39.55
430 | 129.5 | 210.4 | 401.9 | 1443 | 660.3 | 576.8 | 672.2 | 726.9 | 757.6 | 807.4 | 766.7 | 705 | 700.2 | 769.4 | 872.1 | 1021 | 1156 | 1270 | 1332 | 1333 | 1330 | 1322 | 1301 | 1284 | 1261 | 1238 | 1195 | 1125 | 1040 | 929.3 | 836.5 | 727.2 | 596.4 | 476 | 405.8 | 341.5 | 205.3 | 132.6 | 91.72 | 67.88 | 48.65
435 | 151.6 | 196.9 | 294.9 | 1042 | 1144 | 575.7 | 628.4 | 701.5 | 761.4 | 764.3 | 741.3 | 689.6 | 683.6 | 711.3 | 825 | 962.5 | 1094 | 1184 | 1265 | 1282 | 1289 | 1295 | 1283 | 1269 | 1260 | 1246 | 1210 | 1140 | 1045 | 946.1 | 843.5 | 736.5 | 607.2 | 487.7 | 385.7 | 337.8 | 268.2 | 158.9 | 107.8 | 78.33 | 58.9
440 | 178.7 | 234.8 | 281.4 | 478.3 | 1627 | 654.1 | 570.6 | 680.7 | 733.6 | 751.4 | 717.5 | 653.8 | 644.3 | 680.8 | 775 | 897.1 | 1031 | 1122 | 1191 | 1216 | 1235 | 1246 | 1241 | 1243 | 1234 | 1229 | 1182 | 1133 | 1049 | 948.7 | 850.4 | 738.2 | 621.2 | 495 | 394.6 | 308.5 | 283.2 | 206.5 | 125.5 | 92.25 | 69.05
445 | 133 | 189.4 | 272.8 | 318.4 | 1344 | 1227 | 573.6 | 671.1 | 713.3 | 737.8 | 694.1 | 615.6 | 611.3 | 638.8 | 723.1 | 831.2 | 943.4 | 1042 | 1111 | 1134 | 1157 | 1180 | 1194 | 1192 | 1190 | 1184 | 1145 | 1101 | 1022 | 924 | 832.7 | 723.5 | 601.9 | 493.5 | 393.2 | 307.8 | 254.3 | 236.7 | 161.4 | 104.5 | 80.72
450 | 139.4 | 189 | 268.9 | 300.9 | 581.5 | 1848 | 730 | 612.1 | 689.4 | 697.6 | 670.4 | 598.1 | 579.8 | 593.1 | 684 | 766.9 | 880.9 | 948 | 1029 | 1056 | 1076 | 1107 | 1106 | 1117 | 1134 | 1132 | 1099 | 1045 | 981.2 | 887.3 | 792.8 | 703.9 | 592.7 | 492.1 | 392.3 | 309 | 241.8 | 216.7 | 195.9 | 129.4 | 90.14
455 | 135.6 | 153.5 | 210.2 | 272.3 | 315.5 | 1426 | 1364 | 574.5 | 641.1 | 645.7 | 616.8 | 565.7 | 534.9 | 552.4 | 613.6 | 698.7 | 795.7 | 880.9 | 923.6 | 956.5 | 985.5 | 1019 | 1030 | 1043 | 1055 | 1049 | 1034 | 983.7 | 921.1 | 837.5 | 756.1 | 668.3 | 571.1 | 474.7 | 390 | 311 | 244.7 | 197.6 | 190.6 | 162.4 | 107.9
460 | 119.3 | 152.9 | 210.7 | 246.8 | 322 | 643.6 | 1969 | 706.3 | 566.4 | 595.9 | 578.2 | 520.6 | 497.3 | 505.2 | 552 | 636.5 | 716.4 | 778.3 | 833.2 | 865.1 | 891.5 | 925.9 | 937.9 | 965.7 | 967 | 966.9 | 957.6 | 914.7 | 858.2 | 786.1 | 718.3 | 630.7 | 547.9 | 457.7 | 384.9 | 310.3 | 249.7 | 197.4 | 168.2 | 168.3 | 134.9
465 | 101 | 137.9 | 178 | 267.6 | 261.7 | 344 | 1578 | 1294 | 525 | 550.8 | 509.4 | 481.2 | 443 | 469.8 | 515.1 | 576.8 | 646.7 | 703.4 | 749.6 | 785.8 | 808.4 | 838.9 | 855.2 | 872.3 | 888 | 889.3 | 874.9 | 847 | 795.3 | 726.1 | 666.7 | 591.1 | 517.6 | 443.2 | 369.8 | 300.6 | 252.2 | 201.4 | 167.3 | 148.8 | 150.9
470 | 119.8 | 129.9 | 138.3 | 191.2 | 257.3 | 278.1 | 641.7 | 2017 | 677 | 500.8 | 489.2 | 424.8 | 411.5 | 429.1 | 464 | 516 | 577.6 | 625 | 665.8 | 695.7 | 726.8 | 750.9 | 763.2 | 776.5 | 796.4 | 803.2 | 794.7 | 769.2 | 720.9 | 666.2 | 612.8 | 543.9 | 486.7 | 414.8 | 358.2 | 297.8 | 248.2 | 201.4 | 168.7 | 139.1 | 135
475 | 93.59 | 138.1 | 140.8 | 190.2 | 241.1 | 263.4 | 323.9 | 1625 | 1337 | 458 | 422.9 | 407 | 386.4 | 388.4 | 423.2 | 458.6 | 511.2 | 550.3 | 590.5 | 605.5 | 634 | 671.4 | 678.2 | 698.7 | 711.9 | 718.7 | 708.6 | 690 | 652.6 | 603.3 | 557.5 | 510.2 | 450.5 | 392 | 340.9 | 291.7 | 238.7 | 199.6 | 167.9 | 141 | 121.7
480 | 78.15 | 93.68 | 152.8 | 177.8 | 203.5 | 244.7 | 284.9 | 668.6 | 2010 | 606.3 | 378.9 | 364.3 | 354.3 | 362 | 372.4 | 420.1 | 465.5 | 494.8 | 516.8 | 544.9 | 573.3 | 594.7 | 611.9 | 621.9 | 640.4 | 647.8 | 646.4 | 633.8 | 590.6 | 559.6 | 515.1 | 469 | 424.7 | 374.7 | 331.9 | 280.6 | 240.1 | 201.2 | 168 | 143.2 | 120.5
485 | 80.03 | 106.7 | 125.1 | 148.2 | 199.3 | 241.2 | 261.3 | 326.5 | 1674 | 1233 | 378.8 | 347.9 | 321.9 | 331.5 | 350.8 | 385.7 | 419.7 | 441.9 | 467 | 487 | 510.7 | 538 | 552.1 | 569.1 | 581.9 | 589.5 | 587.5 | 574 | 551.2 | 515.8 | 480.8 | 444.3 | 400.5 | 361.5 | 323 | 276.2 | 237.2 | 198.1 | 168.7 | 145.8 | 124.8
490 | 81.11 | 108.6 | 107.9 | 121.3 | 167.2 | 227.8 | 246.4 | 285.2 | 634.6 | 1980 | 518.6 | 325.8 | 316.3 | 308.3 | 331.4 | 359.4 | 389.5 | 403.9 | 430.6 | 440.7 | 464.6 | 483.5 | 496.7 | 512.7 | 531.8 | 541.4 | 534.8 | 525.2 | 508.3 | 478.9 | 449.6 | 420.5 | 380.3 | 348.2 | 312.7 | 272.6 | 237.3 | 199.9 | 172.2 | 147.9 | 127.5
495 | 77.59 | 90.52 | 89.49 | 120.7 | 166.2 | 224.6 | 245.4 | 269.8 | 323.4 | 1667 | 1141 | 302.8 | 291.2 | 303.7 | 319.8 | 342.2 | 360.9 | 368.5 | 381.5 | 394.4 | 419.1 | 440.2 | 448.5 | 459.9 | 478.1 | 483.5 | 487.8 | 479.9 | 464.7 | 439.2 | 419 | 394.5 | 363.5 | 338.3 | 305.4 | 267.6 | 232.5 | 199.8 | 173.2 | 149.7 | 128.7
500 | 65.81 | 82.2 | 103.9 | 113.8 | 137.9 | 169 | 245.1 | 231.8 | 261.7 | 649.8 | 1869 | 456.1 | 279.2 | 292.1 | 301.7 | 322.5 | 335.3 | 337.8 | 343.9 | 354.4 | 368.5 | 388.4 | 397.2 | 412.4 | 427.9 | 436.4 | 434.8 | 433 | 424.1 | 407.8 | 382.4 | 361.2 | 347.5 | 321.1 | 291 | 261.1 | 228.6 | 195.3 | 170.6 | 149 | 130.9