## Sheet1
Report date: | 18:31:10, 09/19/2024
Sample: | 1
File name:
Run date: | 18:25:42, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 230.0/330.0 | 2634
2 | 240.0/415.0 | 841.9
3 | 245.0/420.0 | 826.9
4 | 250.0/275.0 | 265.2
5 | 255.0/280.0 | 342.4
6 | 285.0/330.0 | 7041
7 | 320.0/360.0 | 429.4
8 | 325.0/370.0 | 426.4
9 | 330.0/375.0 | 459.5
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 54.46 | 57.35 | 66.59 | 74.94 | 41.19 | 38.48 | 20.69 | 11.29 | 30.65 | 210.7 | 129.3 | 27.76 | 48.3 | 3181 | 7089 | 1478 | 16.51 | 7.265 | 6.148 | 4.172 | 3.484 | 2.41 | 2.018 | 2.049 | 2.508 | 2.235 | 2.166 | 2.196 | 1.748 | 1.598 | 2.012 | 2.297 | 1.914 | 1.684 | 1.832 | 1.643 | 1.727 | 1.839 | 1.642 | 1.435 | 1.318
275 | 108.6 | 93.76 | 83.47 | 138.8 | 203.7 | 125.3 | 54 | 21.56 | 19.12 | 78.39 | 265.2 | 132 | 69.46 | 288.7 | 3746 | 6678 | 1302 | 16.05 | 7.905 | 4.759 | 3.816 | 3.088 | 2.524 | 2.593 | 2.387 | 2.481 | 1.988 | 1.668 | 2.013 | 1.994 | 2.124 | 2.013 | 1.913 | 1.611 | 1.605 | 1.372 | 1.392 | 1.753 | 1.748 | 1.655 | 1.352
280 | 185.2 | 115.8 | 174.4 | 320.4 | 350.4 | 292.1 | 102.4 | 34.22 | 25.97 | 42.58 | 152.3 | 342.4 | 189.5 | 172.7 | 394.1 | 3762 | 6314 | 1203 | 13.76 | 5.749 | 4.382 | 3.225 | 2.768 | 2.289 | 2.266 | 2.618 | 2.025 | 1.824 | 2.135 | 1.95 | 1.78 | 1.937 | 1.701 | 1.645 | 1.873 | 1.678 | 1.548 | 1.493 | 1.536 | 1.644 | 1.659
285 | 218.6 | 173.2 | 258.1 | 467 | 598.7 | 511.9 | 253.2 | 90.87 | 63.63 | 65.56 | 104.9 | 312.6 | 467.5 | 343.5 | 357.1 | 548.1 | 3701 | 6152 | 1068 | 13.41 | 4.983 | 4.05 | 3.003 | 3.27 | 2.431 | 2.313 | 2.295 | 2.428 | 2.032 | 2.084 | 2.303 | 2.071 | 1.689 | 1.81 | 2.012 | 1.372 | 1.285 | 1.762 | 1.555 | 1.601 | 1.805
290 | 235 | 249.9 | 336.7 | 560.3 | 818.3 | 836.3 | 517.5 | 226.2 | 129.7 | 104.6 | 156.9 | 263.8 | 613.6 | 771.6 | 712.8 | 693.4 | 766 | 3814 | 5983 | 936.7 | 13.63 | 4.714 | 3.812 | 3.309 | 2.789 | 2.276 | 2.173 | 2.368 | 1.902 | 2.089 | 1.862 | 1.913 | 1.982 | 1.737 | 1.633 | 1.609 | 1.592 | 1.592 | 1.43 | 1.514 | 1.736
295 | 282.7 | 291.7 | 405.3 | 635.2 | 966 | 1100 | 812.5 | 445.9 | 259.5 | 211.2 | 267 | 380.8 | 610.5 | 1160 | 1299 | 1231 | 1064 | 877 | 3854 | 5823 | 866.5 | 14.78 | 5.058 | 4.065 | 3.287 | 2.881 | 2.639 | 2.56 | 2.308 | 2.345 | 2.195 | 1.76 | 2.057 | 2.121 | 1.673 | 1.383 | 1.748 | 1.549 | 1.343 | 1.597 | 1.647
300 | 290.4 | 405.2 | 473.2 | 783.6 | 1173 | 1342 | 1125 | 763.8 | 508 | 409.7 | 462.3 | 589.7 | 831.9 | 1281 | 2020 | 2070 | 1865 | 1391 | 1045 | 3801 | 5670 | 775.7 | 13.42 | 5.211 | 3.97 | 3.213 | 2.99 | 2.61 | 2.473 | 2.397 | 2.045 | 2.028 | 1.877 | 2.043 | 1.927 | 1.773 | 1.502 | 1.558 | 1.62 | 1.621 | 1.443
305 | 339.9 | 438.9 | 522.2 | 858.7 | 1374 | 1717 | 1607 | 1190 | 879.3 | 740.5 | 743.8 | 883.4 | 1158 | 1669 | 2466 | 3275 | 3181 | 2654 | 1872 | 1329 | 3786 | 5514 | 669.8 | 8.394 | 4.907 | 4.332 | 3.662 | 2.764 | 2.743 | 2.308 | 2.275 | 2.021 | 2.026 | 2.094 | 1.989 | 1.949 | 1.91 | 1.911 | 1.559 | 1.546 | 1.682
310 | 396.9 | 508 | 632.6 | 874.1 | 1363 | 1885 | 2005 | 1690 | 1317 | 1148 | 1118 | 1238 | 1529 | 2147 | 3102 | 4173 | 4793 | 4225 | 3161 | 1979 | 1028 | 3356 | 5423 | 630.5 | 7.886 | 4.505 | 3.922 | 3.453 | 3.373 | 2.479 | 2.194 | 2.34 | 2.172 | 1.945 | 2.308 | 1.922 | 1.836 | 1.888 | 1.764 | 1.674 | 1.469
315 | 357.6 | 567.6 | 677.4 | 1037 | 1469 | 2077 | 2363 | 2073 | 1702 | 1483 | 1462 | 1588 | 1878 | 2563 | 3680 | 4914 | 5852 | 5740 | 4400 | 2767 | 1155 | 504.4 | 3186 | 5248 | 572.5 | 7.798 | 4.906 | 4.021 | 3.014 | 3.05 | 2.379 | 2.434 | 2.739 | 2.374 | 2.263 | 1.851 | 1.806 | 1.462 | 1.698 | 1.717 | 1.492
320 | 452.1 | 597 | 705.5 | 1006 | 1531 | 2147 | 2567 | 2330 | 1973 | 1743 | 1787 | 1934 | 2182 | 2912 | 4148 | 5490 | 6519 | 6669 | 5434 | 3357 | 1411 | 391.2 | 304.5 | 3023 | 5639 | 582.4 | 7.386 | 4.91 | 3.597 | 3.329 | 3.069 | 2.371 | 2.753 | 2.297 | 2.179 | 2.073 | 2.087 | 1.868 | 1.926 | 1.924 | 1.551
325 | 454.7 | 560.3 | 783.3 | 964.1 | 1520 | 2241 | 2626 | 2490 | 2160 | 1974 | 2000 | 2135 | 2417 | 3147 | 4418 | 5882 | 6898 | 6945 | 6004 | 3792 | 1580 | 449.2 | 140.5 | 248.4 | 3267 | 6164 | 608.1 | 7.553 | 4.512 | 3.942 | 3.401 | 2.604 | 2.749 | 2.805 | 2.001 | 2.028 | 2.028 | 1.962 | 1.676 | 1.912 | 1.748
330 | 463.6 | 527.2 | 681.2 | 1039 | 1563 | 2153 | 2634 | 2459 | 2176 | 2081 | 2121 | 2305 | 2576 | 3279 | 4521 | 5890 | 6972 | 7041 | 5909 | 4051 | 1724 | 499.3 | 161.5 | 83.08 | 254.6 | 3557 | 6599 | 589.6 | 6.548 | 4.939 | 4.071 | 3.524 | 2.849 | 2.762 | 2.871 | 2.282 | 2.084 | 1.961 | 1.853 | 1.879 | 1.866
335 | 411.5 | 559.4 | 737 | 1038 | 1538 | 2165 | 2501 | 2370 | 2177 | 2110 | 2216 | 2397 | 2710 | 3358 | 4505 | 5800 | 6778 | 6879 | 5731 | 3824 | 1897 | 590.3 | 193.9 | 95.9 | 68.9 | 268.9 | 3919 | 6230 | 568.5 | 6.892 | 5.083 | 3.653 | 3.111 | 2.829 | 2.84 | 2.143 | 2.288 | 2.066 | 1.763 | 2.085 | 1.728
340 | 358.8 | 536.3 | 692.6 | 988.7 | 1566 | 2162 | 2351 | 2274 | 2092 | 2051 | 2231 | 2419 | 2736 | 3344 | 4387 | 5573 | 6427 | 6460 | 5397 | 3535 | 1766 | 787.7 | 257.7 | 123.6 | 76.95 | 64.49 | 290.8 | 3580 | 5915 | 592.1 | 7.809 | 4.797 | 4.085 | 3.474 | 3.451 | 2.469 | 2.306 | 2.28 | 1.967 | 1.579 | 1.928
345 | 362.9 | 483.9 | 692.1 | 910.7 | 1531 | 2055 | 2167 | 2087 | 1959 | 2013 | 2143 | 2392 | 2719 | 3251 | 4184 | 5195 | 5942 | 5935 | 4964 | 3247 | 1567 | 786 | 438.1 | 171.4 | 103.4 | 72.83 | 63.55 | 270.7 | 3448 | 6086 | 632.9 | 7.29 | 4.711 | 4.24 | 3.292 | 2.676 | 2.265 | 2.405 | 2.121 | 1.903 | 2.098
350 | 322.3 | 450.5 | 674.9 | 956.9 | 1437 | 1979 | 2028 | 1847 | 1763 | 1862 | 2043 | 2293 | 2632 | 3121 | 3909 | 4797 | 5388 | 5332 | 4467 | 2926 | 1471 | 664.5 | 530.9 | 315.3 | 142.4 | 99.03 | 71.73 | 66.61 | 263.2 | 3500 | 6358 | 672.1 | 7.804 | 4.945 | 4.201 | 3.241 | 2.454 | 2.198 | 2.12 | 2.103 | 1.71
355 | 265.5 | 442.3 | 594.2 | 883.6 | 1431 | 1769 | 1823 | 1645 | 1638 | 1714 | 1911 | 2163 | 2473 | 2940 | 3639 | 4340 | 4810 | 4719 | 3973 | 2627 | 1375 | 659.2 | 428.3 | 463.9 | 256.6 | 137.2 | 103.9 | 80.16 | 67.71 | 271.4 | 3601 | 6525 | 686.8 | 7.622 | 4.999 | 4.236 | 2.915 | 2.323 | 2.261 | 1.982 | 1.906
360 | 222.9 | 357.4 | 500 | 855.6 | 1268 | 1656 | 1598 | 1464 | 1464 | 1558 | 1751 | 2031 | 2292 | 2728 | 3341 | 3904 | 4274 | 4179 | 3511 | 2340 | 1286 | 683.6 | 435.8 | 380.7 | 429.4 | 223.7 | 140.3 | 110.2 | 82.95 | 71.8 | 278.4 | 3727 | 6928 | 764.6 | 8.431 | 4.623 | 3.593 | 2.668 | 2.443 | 2.1 | 2.128
365 | 199.9 | 297.2 | 521.3 | 811.6 | 1252 | 1587 | 1468 | 1296 | 1315 | 1417 | 1612 | 1860 | 2141 | 2503 | 3038 | 3471 | 3783 | 3666 | 3089 | 2088 | 1222 | 701.9 | 475.7 | 372.8 | 400.2 | 402.9 | 210.2 | 146.8 | 112.4 | 86.91 | 75.91 | 290.7 | 3997 | 7323 | 731 | 7.959 | 4.884 | 3.727 | 2.633 | 2.404 | 1.985
370 | 195.4 | 334.4 | 527.6 | 717.4 | 1136 | 1417 | 1344 | 1175 | 1199 | 1309 | 1505 | 1703 | 1932 | 2256 | 2671 | 3087 | 3323 | 3191 | 2728 | 1893 | 1184 | 742.4 | 531.7 | 421.6 | 363.4 | 426.4 | 370.6 | 208.3 | 154.8 | 118.5 | 90.17 | 76.87 | 309.4 | 4232 | 7098 | 690.8 | 7.504 | 4.525 | 3.456 | 2.724 | 2.062
375 | 206.3 | 294.1 | 457 | 659.6 | 1050 | 1239 | 1174 | 1100 | 1078 | 1207 | 1338 | 1565 | 1773 | 2049 | 2395 | 2721 | 2912 | 2832 | 2442 | 1752 | 1154 | 788.3 | 600.4 | 492.1 | 414.4 | 379.5 | 459.5 | 348.7 | 208.3 | 163 | 130.3 | 91.26 | 79.27 | 325.3 | 4176 | 6775 | 667.6 | 7.301 | 4.516 | 3.364 | 2.669
380 | 211.5 | 247.3 | 402.2 | 627.9 | 912 | 1155 | 1104 | 981.1 | 1032 | 1074 | 1234 | 1420 | 1595 | 1836 | 2136 | 2378 | 2567 | 2503 | 2203 | 1651 | 1163 | 849.8 | 675.4 | 571.2 | 486.7 | 430.1 | 429.8 | 490.2 | 329 | 223.5 | 180.7 | 136.6 | 93.96 | 81.99 | 320.8 | 3984 | 6445 | 629.4 | 7.073 | 4.684 | 3.381
385 | 179.5 | 277.4 | 383.4 | 633.1 | 860.8 | 1047 | 990.6 | 924.1 | 932.8 | 1018 | 1141 | 1282 | 1440 | 1648 | 1902 | 2139 | 2297 | 2256 | 2033 | 1572 | 1183 | 928.8 | 770.4 | 657.7 | 571.7 | 514.7 | 467.9 | 482.8 | 496.8 | 326.8 | 248.5 | 189.9 | 137.6 | 96.16 | 79.25 | 308.9 | 3773 | 6042 | 601.1 | 6.729 | 4.043
390 | 288.3 | 282.8 | 368.5 | 530.1 | 781.6 | 957.5 | 935.9 | 842.8 | 915.1 | 933 | 1047 | 1164 | 1291 | 1472 | 1696 | 1903 | 2061 | 2050 | 1889 | 1544 | 1223 | 1011 | 863.7 | 757.4 | 675.9 | 618.3 | 564.5 | 519.2 | 534.5 | 503.9 | 341.1 | 255 | 192.5 | 138.9 | 90.48 | 72.37 | 285.1 | 3475 | 5735 | 581.1 | 6.052
395 | 574.5 | 264.5 | 371.2 | 501.5 | 750.9 | 867.2 | 941.8 | 828.7 | 856.4 | 900.6 | 973.8 | 1054 | 1173 | 1309 | 1519 | 1722 | 1878 | 1903 | 1811 | 1526 | 1279 | 1106 | 961.7 | 858.9 | 783.2 | 722.7 | 661.5 | 609 | 558.5 | 576.8 | 497.3 | 337.7 | 256.4 | 183.1 | 125.4 | 79.82 | 62.48 | 266.8 | 3340 | 5328 | 536.5
400 | 790.6 | 424.7 | 315.5 | 478.2 | 699.5 | 874.9 | 849.1 | 828.9 | 861.2 | 858.5 | 915.3 | 986.5 | 1068 | 1198 | 1370 | 1594 | 1729 | 1776 | 1731 | 1511 | 1331 | 1176 | 1066 | 963.1 | 891.8 | 830.1 | 776.9 | 716.3 | 636.6 | 590.7 | 614.5 | 470.5 | 323.6 | 239.7 | 163.1 | 104.9 | 64.59 | 54.54 | 250.4 | 3099 | 5154
405 | 567.8 | 786.3 | 324.9 | 461.6 | 623.4 | 806.7 | 825.3 | 795.6 | 825.7 | 839.2 | 867.5 | 931.7 | 995.5 | 1098 | 1263 | 1442 | 1601 | 1665 | 1661 | 1526 | 1379 | 1250 | 1150 | 1072 | 1006 | 942.8 | 883.7 | 818 | 733.3 | 656.7 | 615.5 | 598.7 | 429.8 | 292.5 | 205 | 133.6 | 85.62 | 54.39 | 47.89 | 229.3 | 2773
410 | 237.3 | 1049 | 506 | 457.3 | 602.1 | 732.2 | 798.5 | 781.3 | 823 | 811.9 | 843.4 | 871.1 | 922.3 | 1015 | 1182 | 1355 | 1509 | 1596 | 1617 | 1521 | 1389 | 1300 | 1224 | 1152 | 1094 | 1034 | 978.4 | 912.9 | 828.6 | 735.6 | 651.4 | 616.8 | 555.3 | 367.1 | 241.1 | 161.6 | 105.5 | 67.13 | 44.58 | 41.42 | 205
415 | 161.3 | 761.6 | 903.1 | 437.9 | 564.1 | 669.6 | 760.9 | 791.1 | 841.9 | 818.2 | 830 | 819.5 | 859 | 942.2 | 1090 | 1264 | 1412 | 1504 | 1560 | 1480 | 1408 | 1337 | 1274 | 1215 | 1174 | 1116 | 1064 | 991.6 | 902.2 | 810.3 | 719.9 | 624.4 | 580.9 | 474.1 | 293.7 | 194.5 | 127.3 | 85.09 | 56.03 | 36.62 | 36.48
420 | 150.4 | 315.6 | 1313 | 595.9 | 565.7 | 650 | 703.7 | 780.6 | 804.7 | 826.9 | 788.6 | 778.7 | 784.2 | 863.9 | 1013 | 1182 | 1333 | 1426 | 1487 | 1445 | 1404 | 1358 | 1295 | 1263 | 1221 | 1173 | 1126 | 1055 | 962.3 | 862.9 | 770.2 | 660.2 | 558.8 | 515.9 | 373.2 | 225.5 | 151.2 | 99.85 | 66.91 | 47.39 | 31.59
425 | 169.8 | 221.4 | 855 | 1030 | 523.1 | 629.7 | 708.3 | 773.6 | 796.3 | 820.5 | 788.2 | 759.6 | 756.7 | 824.3 | 948.3 | 1092 | 1250 | 1356 | 1412 | 1400 | 1374 | 1344 | 1314 | 1281 | 1246 | 1216 | 1162 | 1095 | 1006 | 902.8 | 799.3 | 691.8 | 573 | 479.2 | 431.4 | 279 | 172.2 | 116.6 | 79.28 | 55.48 | 40.21
430 | 145.1 | 205.4 | 394 | 1430 | 651.6 | 605.8 | 691 | 740.2 | 795.6 | 809.9 | 759.1 | 727.7 | 708.7 | 777.2 | 901.7 | 1034 | 1164 | 1272 | 1348 | 1346 | 1330 | 1326 | 1306 | 1288 | 1262 | 1234 | 1189 | 1113 | 1030 | 931.7 | 830.9 | 714.5 | 595.1 | 474.7 | 406.5 | 345.5 | 210 | 133.9 | 96.03 | 66.95 | 49.83
435 | 172.5 | 211.9 | 277.9 | 1080 | 1226 | 551.1 | 631.1 | 704.7 | 801.2 | 805.8 | 762 | 701.5 | 689.8 | 736.3 | 839.7 | 951.9 | 1107 | 1219 | 1285 | 1298 | 1300 | 1291 | 1279 | 1267 | 1260 | 1246 | 1197 | 1137 | 1048 | 944.3 | 838.1 | 731.4 | 607.8 | 487.4 | 386 | 339.2 | 270.2 | 160.4 | 110.8 | 81 | 59.04
440 | 169.9 | 188.4 | 259.8 | 483.7 | 1642 | 724.1 | 616.9 | 691.3 | 765.6 | 795.1 | 730 | 679.6 | 667.5 | 698.8 | 791.6 | 913.9 | 1036 | 1144 | 1210 | 1223 | 1247 | 1244 | 1254 | 1241 | 1241 | 1219 | 1182 | 1122 | 1039 | 944.2 | 839.5 | 731 | 617.5 | 493.7 | 392.8 | 313 | 287.8 | 209.7 | 132.1 | 93.13 | 73.03
445 | 146 | 192.6 | 227.8 | 299.6 | 1238 | 1240 | 606.4 | 663.3 | 732.2 | 727 | 718.9 | 650.1 | 638.6 | 654.6 | 722 | 846.3 | 963.8 | 1059 | 1119 | 1149 | 1168 | 1188 | 1198 | 1198 | 1198 | 1187 | 1155 | 1094 | 1013 | 922.8 | 825.1 | 721 | 609.1 | 495.2 | 397.3 | 311.4 | 257.3 | 238.5 | 163.8 | 108.6 | 82.98
450 | 146.7 | 199.3 | 228.4 | 287.2 | 556 | 1838 | 739.5 | 627.4 | 696.7 | 715.2 | 664.9 | 603.4 | 586.8 | 610.1 | 685.3 | 775.8 | 880.4 | 977.2 | 1023 | 1054 | 1089 | 1105 | 1111 | 1129 | 1133 | 1123 | 1098 | 1047 | 976.1 | 883.5 | 796.7 | 697.3 | 594.8 | 489.2 | 398.7 | 314.7 | 245.1 | 219.9 | 201.5 | 131.8 | 92.47
455 | 126.3 | 138.3 | 218.5 | 265.7 | 330.1 | 1456 | 1291 | 577.2 | 648.9 | 653.8 | 618.6 | 565.2 | 535.7 | 560.7 | 616.4 | 713 | 811.6 | 881.3 | 939.3 | 974.4 | 1001 | 1012 | 1023 | 1040 | 1054 | 1053 | 1035 | 990.8 | 919.9 | 839 | 756.3 | 662.6 | 568.6 | 481.5 | 390.8 | 313.7 | 250 | 203.3 | 192.7 | 169.8 | 107.4
460 | 91.68 | 155.9 | 211.6 | 260.6 | 314 | 618.1 | 1914 | 707 | 594 | 611.9 | 581.6 | 527 | 496.9 | 515.2 | 568.1 | 643.6 | 721.5 | 786.3 | 841.5 | 878.3 | 908.1 | 930.8 | 949.5 | 957.8 | 967.8 | 978.6 | 961 | 918.3 | 851.2 | 789 | 715.1 | 627.5 | 548 | 463.9 | 383.1 | 313.7 | 251.2 | 201.9 | 172.4 | 173 | 137.4
465 | 101.8 | 145.7 | 175.7 | 235.1 | 244.6 | 339.5 | 1577 | 1321 | 547.7 | 563.7 | 531.3 | 483.3 | 454.6 | 476.8 | 518.5 | 592.6 | 657.3 | 711.9 | 757.8 | 784.7 | 819.3 | 840.3 | 857.1 | 867.6 | 888.1 | 883 | 872.3 | 844.7 | 794.5 | 728.8 | 663 | 593.2 | 519.9 | 439.9 | 374.2 | 309 | 252.7 | 206.1 | 169.7 | 153 | 153.8
470 | 139.6 | 141 | 182.6 | 225.4 | 277.5 | 297.9 | 623.3 | 2013 | 685.7 | 522.6 | 490.7 | 438.4 | 422 | 435.2 | 476.6 | 536.9 | 578.4 | 636.3 | 670.7 | 697.5 | 724.3 | 757.7 | 772.8 | 783.9 | 800.3 | 798.7 | 791.3 | 764.8 | 723.4 | 667.3 | 608.3 | 550.5 | 486.8 | 422.5 | 360.1 | 302.1 | 251.2 | 206.1 | 168.6 | 144 | 136.9
475 | 113.4 | 125 | 156.6 | 187.5 | 253.8 | 263.9 | 344.9 | 1654 | 1309 | 475.8 | 443.5 | 404.2 | 390.3 | 392.9 | 415.9 | 473.2 | 516.2 | 565.9 | 596.2 | 607.8 | 645 | 660.2 | 686.2 | 705.3 | 719.1 | 717.7 | 711.7 | 687.7 | 661.7 | 605.4 | 561.9 | 510.1 | 451.7 | 394.6 | 341.3 | 290.7 | 244.9 | 205.3 | 170.9 | 143.2 | 125.1
480 | 94.04 | 125.5 | 141 | 161.3 | 231.8 | 238.8 | 307.7 | 651.3 | 2082 | 611.7 | 400.8 | 372.8 | 369.3 | 361.9 | 382.7 | 419.5 | 458.2 | 499.8 | 527.1 | 550.2 | 585.6 | 594.5 | 614.6 | 625.3 | 646.4 | 643.3 | 641.4 | 625.3 | 596.7 | 556.2 | 517.7 | 468.4 | 425.9 | 381.3 | 331.8 | 284.8 | 240.8 | 203.6 | 174.3 | 144.4 | 123.6
485 | 98.81 | 108.1 | 133.2 | 130.3 | 184.2 | 237.9 | 266.8 | 343.9 | 1722 | 1313 | 376.3 | 353.4 | 337.1 | 340 | 358.6 | 394.3 | 426 | 454.2 | 473.4 | 496.2 | 517.6 | 544.6 | 551.4 | 565.9 | 580 | 588.2 | 585.5 | 575 | 549.4 | 512 | 483.9 | 441.4 | 404.7 | 366.5 | 318.3 | 282.5 | 238.2 | 203.7 | 175 | 148.1 | 126.7
490 | 74.16 | 117.1 | 112.4 | 148.1 | 141.2 | 245.4 | 239.8 | 288.8 | 650 | 2031 | 532 | 330.7 | 323.3 | 325.1 | 345.7 | 373.1 | 392.7 | 413.5 | 433 | 448.6 | 461.9 | 487.6 | 501.6 | 510.2 | 527.1 | 534.6 | 535.3 | 522.4 | 506.4 | 480.4 | 450.5 | 415.7 | 385.7 | 352.4 | 312.3 | 273.2 | 240.3 | 203.3 | 174.6 | 147.3 | 127.3
495 | 57.8 | 89.92 | 118.4 | 112.3 | 144.8 | 196.5 | 235.4 | 259 | 322.9 | 1705 | 1151 | 316.1 | 317 | 314.1 | 335.9 | 346.4 | 366.9 | 375.9 | 390.4 | 396.1 | 419.6 | 438.7 | 452.9 | 466.3 | 476.2 | 483.7 | 485.9 | 475.4 | 463.5 | 439.6 | 418.5 | 388.8 | 362 | 336.8 | 301.8 | 272.4 | 233.6 | 203.9 | 173.4 | 149.8 | 129.1
500 | 72.55 | 68.95 | 104.8 | 138.2 | 125.5 | 190.6 | 227.8 | 240.8 | 281.9 | 647.7 | 1915 | 465.5 | 299.1 | 300.8 | 316.9 | 324.1 | 338 | 345.1 | 347 | 353 | 369.3 | 388.9 | 401.3 | 415.2 | 423.6 | 435.3 | 441 | 430.9 | 419.7 | 406.9 | 386.6 | 362.4 | 342.7 | 320.7 | 293.1 | 265 | 229.7 | 197.2 | 173.8 | 151.3 | 128.9