## Sheet1
Report date: | 14:42:16, 09/18/2024
Sample: | 1
File name:
Run date: | 14:36:34, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/325.0 | 3170
2 | 225.0/335.0 | 3200
3 | 250.0/275.0 | 305.4
4 | 255.0/280.0 | 384.7
5 | 265.0/340.0 | 6257
6 | 325.0/425.0 | 1232
7 | 390.0/275.0 | 9.545
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 66.18 | 121.5 | 107.8 | 86.05 | 76.6 | 64.39 | 36.55 | 25.88 | 50.76 | 249.7 | 156.7 | 61.79 | 197.7 | 9999.9 | 9999.9 | 8205 | 52.4 | 26.29 | 17.73 | 12.94 | 11.05 | 8.148 | 7.436 | 7.685 | 6.27 | 6.626 | 6.106 | 5.689 | 5.504 | 5.628 | 5.458 | 5.729 | 5.696 | 5.626 | 5.721 | 6.748 | 7.964 | 9.412 | 8.488 | 6.261 | 5.248
275 | 267.8 | 149.2 | 216.7 | 285.4 | 274.8 | 188.4 | 69.91 | 29.87 | 37.83 | 94.83 | 305.4 | 161 | 121.3 | 872.3 | 9999.9 | 9999.9 | 7762 | 57.38 | 24.87 | 16.7 | 13.02 | 10.66 | 10.4 | 8.176 | 6.535 | 6.596 | 6.355 | 6.698 | 5.85 | 5.667 | 5.577 | 5.9 | 5.889 | 5.656 | 5.155 | 5.76 | 6.332 | 7.391 | 9.545 | 7.9 | 5.698
280 | 350.4 | 307.8 | 323.5 | 475.9 | 555.2 | 403.5 | 152.3 | 53.73 | 45.53 | 58.83 | 185.7 | 384.7 | 229.6 | 248.1 | 939.4 | 9999.9 | 9999.9 | 7496 | 54.7 | 24.43 | 17.53 | 13.35 | 10.95 | 9.881 | 8.356 | 8.543 | 7.257 | 6.612 | 6.663 | 5.94 | 6.087 | 6.163 | 6.057 | 5.795 | 5.671 | 5.63 | 5.433 | 6.249 | 7.517 | 8.916 | 7.648
285 | 515.7 | 420.5 | 528.1 | 751.2 | 808.3 | 720.2 | 340.9 | 147.1 | 93.61 | 90.44 | 144.2 | 365 | 552.5 | 429.5 | 513.5 | 1189 | 9999.9 | 9999.9 | 7025 | 52.5 | 24.92 | 17.88 | 13.52 | 11.36 | 9.718 | 9.335 | 8.09 | 7.459 | 6.92 | 6.661 | 6.312 | 5.952 | 6.294 | 6.36 | 6.012 | 5.367 | 5.303 | 5.211 | 5.61 | 7.298 | 8.36
290 | 747.6 | 563.9 | 730.7 | 1064 | 1259 | 1209 | 794.7 | 394.7 | 209.6 | 179.8 | 223.2 | 354.6 | 752 | 992.1 | 1016 | 1117 | 1655 | 9999.9 | 9999.9 | 6486 | 49.03 | 24.71 | 19.17 | 14.95 | 11.16 | 11.17 | 8.815 | 8.899 | 7.491 | 6.252 | 6.539 | 6.231 | 6.998 | 6.414 | 6.043 | 5.913 | 5.752 | 5.18 | 4.983 | 5.314 | 6.9
295 | 913.5 | 669.6 | 988.9 | 1261 | 1724 | 1789 | 1280 | 739.2 | 434.5 | 347.5 | 396.5 | 550 | 878.2 | 1562 | 1887 | 1881 | 1704 | 1754 | 9999.9 | 9999.9 | 6203 | 47.6 | 25.95 | 18.68 | 15.08 | 12.78 | 10.51 | 9.443 | 8.254 | 7.428 | 7.866 | 7.408 | 6.823 | 6.694 | 6.292 | 6.443 | 5.736 | 5.728 | 5.428 | 5.328 | 5.611
300 | 1001 | 914.9 | 1130 | 1394 | 2076 | 2290 | 1876 | 1163 | 760.9 | 654.6 | 719 | 909.8 | 1235 | 1833 | 2710 | 2785 | 2406 | 1584 | 1387 | 9999.9 | 9999.9 | 5907 | 49.43 | 26.79 | 21.7 | 15.83 | 13.2 | 10.74 | 9.795 | 9.044 | 8.55 | 7.719 | 7.752 | 7.395 | 6.695 | 6.214 | 5.718 | 6.056 | 5.495 | 5.163 | 5.082
305 | 1009 | 1088 | 1113 | 1651 | 2249 | 2638 | 2232 | 1604 | 1184 | 1174 | 1286 | 1518 | 1831 | 2337 | 3097 | 3673 | 3168 | 2074 | 1017 | 1178 | 9999.9 | 9999.9 | 5659 | 50.88 | 28.65 | 22.63 | 15.98 | 12.81 | 11.67 | 10.26 | 9.697 | 8.738 | 8.016 | 7.919 | 7.4 | 6.75 | 6.636 | 5.667 | 5.982 | 5.254 | 4.979
310 | 1254 | 1251 | 1431 | 1740 | 2266 | 2793 | 2550 | 1991 | 1795 | 1923 | 2207 | 2487 | 2748 | 3118 | 3641 | 4106 | 3983 | 2688 | 1404 | 708.7 | 1041 | 9999.9 | 9999.9 | 5909 | 52.4 | 30.86 | 22.86 | 17.12 | 13.14 | 11.78 | 10.81 | 9.064 | 8.925 | 8.752 | 7.807 | 6.94 | 6.879 | 6.056 | 5.834 | 5.246 | 4.894
315 | 1080 | 1366 | 1592 | 1869 | 2328 | 2945 | 2819 | 2381 | 2344 | 2682 | 3163 | 3540 | 3747 | 3972 | 4306 | 4476 | 4393 | 3427 | 1919 | 977.4 | 514.4 | 1018 | 9999.9 | 9999.9 | 5732 | 51.07 | 31.5 | 23.61 | 16.27 | 14.35 | 12.6 | 11.02 | 10.16 | 9.664 | 8.932 | 7.785 | 7.088 | 6.344 | 5.531 | 5.472 | 5.408
320 | 1164 | 1423 | 1673 | 1911 | 2474 | 3029 | 2988 | 2691 | 2819 | 3409 | 4046 | 4504 | 4640 | 4763 | 4869 | 4887 | 4640 | 3950 | 2585 | 1330 | 678.7 | 421.1 | 965 | 9999.9 | 9999.9 | 6125 | 51.5 | 32.21 | 24.71 | 17.19 | 14.72 | 12.09 | 11.85 | 10.57 | 9.473 | 8.434 | 7.66 | 6.796 | 6.383 | 5.901 | 5.217
325 | 1119 | 1460 | 1776 | 2065 | 2608 | 3170 | 3025 | 2816 | 3149 | 3901 | 4728 | 5235 | 5395 | 5441 | 5413 | 5310 | 5071 | 4171 | 3137 | 1786 | 901.2 | 505 | 322.2 | 933.2 | 9999.9 | 9999.9 | 6309 | 54.95 | 32.89 | 25.17 | 18.25 | 14.98 | 13.41 | 11.18 | 9.774 | 8.464 | 7.717 | 7.404 | 6.656 | 5.967 | 5.554
330 | 1127 | 1462 | 1828 | 2190 | 2746 | 3110 | 3073 | 2954 | 3316 | 4200 | 5063 | 5719 | 5937 | 5919 | 5836 | 5684 | 5373 | 4525 | 3332 | 2242 | 1173 | 631.2 | 347.1 | 237.1 | 905.2 | 9999.9 | 9999.9 | 6643 | 54.9 | 35.02 | 26.25 | 18.77 | 15.38 | 12.9 | 10.91 | 10.28 | 8.263 | 8.335 | 6.942 | 6.596 | 5.965
335 | 1104 | 1511 | 1744 | 2160 | 2764 | 3200 | 3071 | 2929 | 3319 | 4249 | 5201 | 5858 | 6119 | 6219 | 6094 | 5909 | 5641 | 4821 | 3594 | 2322 | 1542 | 798.8 | 424.8 | 225.2 | 173 | 894.2 | 9999.9 | 9999.9 | 7100 | 57.75 | 36.92 | 27.51 | 20.47 | 16.3 | 13.01 | 11.93 | 9.174 | 8.27 | 7.946 | 6.823 | 6.166
340 | 1141 | 1410 | 1792 | 2268 | 2883 | 3163 | 3029 | 2809 | 3244 | 4148 | 5080 | 5871 | 6134 | 6257 | 6171 | 6077 | 5803 | 5035 | 3819 | 2404 | 1575 | 1072 | 517.1 | 272.1 | 150.1 | 144.9 | 912.3 | 9999.9 | 9999.9 | 7524 | 59.44 | 37.57 | 26.99 | 21.27 | 16.39 | 12.92 | 11.09 | 9.349 | 8.167 | 7.154 | 6.824
345 | 944.3 | 1352 | 1781 | 2240 | 2787 | 3132 | 2900 | 2643 | 3038 | 3813 | 4774 | 5448 | 5844 | 6068 | 6142 | 6016 | 5805 | 5080 | 3902 | 2479 | 1529 | 1116 | 721.9 | 327.8 | 180.6 | 118.7 | 145 | 927.1 | 9999.9 | 9999.9 | 8080 | 60.53 | 39.49 | 30.2 | 20.41 | 15.73 | 11.92 | 10.83 | 8.824 | 8.021 | 6.671
350 | 944.2 | 1206 | 1676 | 2154 | 2639 | 2986 | 2689 | 2407 | 2769 | 3516 | 4411 | 5053 | 5477 | 5799 | 5884 | 5854 | 5671 | 5003 | 3892 | 2526 | 1562 | 1018 | 815.8 | 493 | 237.5 | 157.6 | 125.8 | 157.5 | 916.8 | 9999.9 | 9999.9 | 8743 | 63.95 | 40.88 | 29.93 | 19.61 | 14.25 | 11.52 | 10.62 | 8.348 | 7.547
355 | 974.1 | 1146 | 1509 | 2006 | 2482 | 2823 | 2504 | 2204 | 2485 | 3138 | 3895 | 4604 | 5005 | 5341 | 5565 | 5580 | 5405 | 4818 | 3796 | 2490 | 1595 | 1040 | 734.3 | 646.4 | 376.6 | 219.5 | 170.9 | 145.6 | 166.9 | 962.8 | 9999.9 | 9999.9 | 8862 | 66.02 | 40.98 | 28.53 | 19 | 13.97 | 11.72 | 9.312 | 8.696
360 | 821.5 | 1031 | 1338 | 1822 | 2356 | 2569 | 2293 | 2021 | 2225 | 2781 | 3435 | 4068 | 4530 | 4922 | 5163 | 5224 | 5093 | 4565 | 3641 | 2438 | 1598 | 1086 | 754.2 | 601.3 | 577.9 | 337.6 | 236.6 | 191.3 | 154.7 | 174.3 | 922.9 | 9999.9 | 9999.9 | 9585 | 65.16 | 41.2 | 28.62 | 18.28 | 13.67 | 11.87 | 9.156
365 | 794.8 | 926.1 | 1236 | 1628 | 2207 | 2440 | 2082 | 1824 | 2007 | 2438 | 3037 | 3595 | 4019 | 4415 | 4723 | 4807 | 4748 | 4246 | 3440 | 2336 | 1578 | 1114 | 801.9 | 608.2 | 572.5 | 542.5 | 331.2 | 251 | 194.7 | 146.8 | 166.1 | 959.7 | 9999.9 | 9999.9 | 9346 | 64.66 | 38.81 | 26.61 | 17.62 | 12.94 | 10.83
370 | 720.2 | 889 | 1129 | 1533 | 2050 | 2234 | 1908 | 1616 | 1767 | 2153 | 2649 | 3141 | 3555 | 3929 | 4263 | 4393 | 4333 | 3911 | 3212 | 2225 | 1569 | 1135 | 854.2 | 668.6 | 551.2 | 589.8 | 509.5 | 332.2 | 242.3 | 184.6 | 136.8 | 157.3 | 983.5 | 9999.9 | 9999.9 | 9114 | 61.72 | 37.72 | 24.33 | 16.51 | 12.26
375 | 663.1 | 787.1 | 1145 | 1334 | 1889 | 2046 | 1753 | 1497 | 1608 | 1878 | 2296 | 2732 | 3114 | 3478 | 3785 | 3949 | 3913 | 3579 | 2975 | 2113 | 1517 | 1149 | 909 | 741.6 | 627 | 561.7 | 616 | 485.3 | 314.6 | 235.9 | 178 | 130.2 | 158 | 1020 | 9999.9 | 9999.9 | 8849 | 58.38 | 35.95 | 24.61 | 15.73
380 | 635 | 768 | 844.7 | 1302 | 1708 | 1838 | 1585 | 1369 | 1469 | 1677 | 1997 | 2364 | 2698 | 3057 | 3375 | 3514 | 3523 | 3238 | 2726 | 1997 | 1499 | 1173 | 957.8 | 813.6 | 706.2 | 622.5 | 595.5 | 634.2 | 443.7 | 305.4 | 233.9 | 173.1 | 133.9 | 167.7 | 1029 | 9999.9 | 9999.9 | 8291 | 56.64 | 32.46 | 21.98
385 | 571.7 | 727.7 | 855.9 | 1194 | 1439 | 1645 | 1400 | 1272 | 1287 | 1488 | 1757 | 2037 | 2340 | 2671 | 2953 | 3135 | 3166 | 2922 | 2507 | 1895 | 1468 | 1195 | 1010 | 878.1 | 784.9 | 714.9 | 645.5 | 629.9 | 620.1 | 425.6 | 311.5 | 237 | 185 | 148.9 | 174.8 | 1048 | 9999.9 | 9999.9 | 7900 | 50.95 | 30.16
390 | 921.8 | 552.7 | 827.8 | 1074 | 1366 | 1493 | 1339 | 1156 | 1165 | 1327 | 1550 | 1783 | 2051 | 2309 | 2580 | 2804 | 2830 | 2656 | 2323 | 1827 | 1450 | 1236 | 1074 | 958.9 | 872.1 | 809.7 | 740.3 | 674.6 | 667 | 617.9 | 425.8 | 327.5 | 261.3 | 207.8 | 157.4 | 176.6 | 978.4 | 9999.9 | 9999.9 | 7676 | 48.95
395 | 2309 | 547.7 | 687.9 | 951 | 1270 | 1378 | 1233 | 1094 | 1094 | 1220 | 1390 | 1587 | 1819 | 2062 | 2318 | 2503 | 2560 | 2442 | 2170 | 1754 | 1454 | 1253 | 1128 | 1020 | 959.6 | 896.1 | 843.1 | 779.1 | 709.2 | 711.3 | 604 | 436.4 | 355.1 | 278.7 | 209 | 149 | 160.2 | 1033 | 9999.9 | 9999.9 | 7022
400 | 3421 | 1160 | 661.6 | 968.5 | 1140 | 1260 | 1133 | 1046 | 1031 | 1110 | 1263 | 1422 | 1601 | 1808 | 2064 | 2220 | 2338 | 2245 | 2037 | 1691 | 1436 | 1289 | 1173 | 1111 | 1049 | 1002 | 943.5 | 890.7 | 805.3 | 740.5 | 747.8 | 602 | 457.2 | 364.8 | 270.2 | 186 | 126.6 | 150.1 | 951 | 9999.9 | 9999.9
405 | 2063 | 3001 | 630.9 | 836.4 | 1046 | 1116 | 1058 | 972.4 | 998.8 | 1079 | 1149 | 1264 | 1414 | 1623 | 1835 | 2034 | 2119 | 2089 | 1906 | 1636 | 1441 | 1309 | 1213 | 1163 | 1126 | 1082 | 1040 | 973.4 | 902.9 | 822.7 | 779.1 | 761.1 | 588.6 | 449.6 | 333.8 | 233.5 | 153.6 | 106.9 | 131.5 | 889.3 | 9999.9
410 | 693.1 | 4088 | 1216 | 810.3 | 1013 | 1055 | 1005 | 927.5 | 948.5 | 992.6 | 1079 | 1156 | 1273 | 1440 | 1640 | 1833 | 1951 | 1955 | 1815 | 1588 | 1408 | 1317 | 1251 | 1200 | 1171 | 1153 | 1106 | 1056 | 992.9 | 909.8 | 830.4 | 789.2 | 733 | 539 | 394.9 | 277.1 | 186 | 123.7 | 88.84 | 119.1 | 885.5
415 | 423.9 | 2420 | 3254 | 701.3 | 879 | 948.7 | 937.8 | 883.6 | 892.7 | 935.7 | 1029 | 1051 | 1154 | 1310 | 1503 | 1696 | 1806 | 1812 | 1716 | 1521 | 1396 | 1314 | 1252 | 1229 | 1213 | 1197 | 1168 | 1119 | 1054 | 973.4 | 888.4 | 806.4 | 766.7 | 656.2 | 456.5 | 322.1 | 216.5 | 147.6 | 102 | 78 | 115.1
420 | 399.4 | 809.1 | 4514 | 1299 | 834.5 | 943.4 | 894.5 | 866.8 | 883.5 | 919 | 941.6 | 982.5 | 1078 | 1199 | 1364 | 1553 | 1668 | 1663 | 1605 | 1459 | 1344 | 1286 | 1251 | 1238 | 1229 | 1223 | 1202 | 1161 | 1100 | 1014 | 931.7 | 845.1 | 760.8 | 717.9 | 545.9 | 363.2 | 248.9 | 171 | 122.5 | 87.89 | 70.23
425 | 373.4 | 475.2 | 2647 | 3227 | 788.1 | 883.7 | 827.8 | 835.8 | 843.3 | 875.1 | 909.1 | 926.6 | 1015 | 1102 | 1260 | 1408 | 1526 | 1560 | 1501 | 1381 | 1316 | 1261 | 1245 | 1235 | 1224 | 1232 | 1212 | 1170 | 1115 | 1037 | 955.5 | 870.4 | 775.7 | 683.9 | 608.9 | 423.4 | 283.7 | 199.7 | 144.1 | 108.1 | 82.21
430 | 380.4 | 374.8 | 902.9 | 4863 | 1322 | 802.7 | 815.2 | 805.3 | 829.1 | 861 | 875.9 | 898 | 932.5 | 1046 | 1171 | 1313 | 1443 | 1459 | 1430 | 1318 | 1254 | 1222 | 1212 | 1219 | 1226 | 1228 | 1213 | 1182 | 1128 | 1046 | 973.4 | 880 | 787.1 | 673.4 | 591.1 | 491 | 327.9 | 226.2 | 169.7 | 130.1 | 100.9
435 | 310.6 | 392 | 515.6 | 3228 | 3565 | 754.3 | 777 | 754.5 | 800.5 | 838.4 | 853.8 | 847.9 | 904.8 | 964.9 | 1107 | 1233 | 1332 | 1368 | 1329 | 1258 | 1214 | 1193 | 1184 | 1193 | 1207 | 1215 | 1213 | 1183 | 1128 | 1053 | 970.3 | 889.7 | 792.7 | 682.3 | 569.2 | 493.4 | 390 | 261.8 | 193.9 | 152.8 | 120.3
440 | 278.8 | 345.7 | 432.9 | 1087 | 5411 | 1331 | 698.4 | 746.4 | 799.3 | 806.4 | 808.6 | 819.9 | 862.2 | 906.5 | 1003 | 1134 | 1237 | 1274 | 1252 | 1197 | 1155 | 1140 | 1136 | 1158 | 1174 | 1197 | 1189 | 1156 | 1104 | 1036 | 960.2 | 877 | 791.6 | 691.1 | 571.9 | 468 | 410.6 | 314.1 | 222.6 | 174.1 | 139.3
445 | 279.6 | 348.2 | 450.7 | 502.2 | 4064 | 3687 | 732.9 | 720.7 | 755.8 | 772.6 | 789 | 782.8 | 815.8 | 859.8 | 952.1 | 1058 | 1142 | 1175 | 1157 | 1114 | 1086 | 1080 | 1089 | 1115 | 1122 | 1143 | 1143 | 1123 | 1074 | 1005 | 929.5 | 856.4 | 778.1 | 673.5 | 574 | 460.7 | 381.8 | 349.3 | 260.7 | 196.3 | 157.5
450 | 292 | 307.9 | 426.4 | 487.8 | 1383 | 6394 | 1342 | 676.5 | 698.7 | 753.4 | 748.6 | 743.7 | 757 | 801.8 | 869.8 | 970 | 1047 | 1071 | 1064 | 1023 | 1005 | 1003 | 1025 | 1042 | 1062 | 1084 | 1085 | 1066 | 1029 | 964.9 | 897.6 | 814.9 | 742.9 | 660.2 | 557.9 | 461.3 | 372.2 | 333.4 | 303.1 | 225.7 | 174
455 | 293.8 | 328.1 | 332.8 | 448.5 | 519.6 | 5167 | 4132 | 661.5 | 704.2 | 705.6 | 716.9 | 719.5 | 743.9 | 756.6 | 805 | 889.2 | 960.9 | 972.2 | 966.7 | 943.2 | 921.3 | 938.8 | 945.7 | 970.6 | 996.5 | 1013 | 1019 | 1007 | 965.9 | 907 | 848.1 | 768.7 | 702.3 | 627.6 | 543.3 | 452.8 | 372.4 | 316.4 | 297.5 | 266.3 | 201.3
460 | 263.3 | 288.5 | 324.9 | 392.5 | 456.9 | 1704 | 7648 | 1339 | 628.6 | 663.8 | 675.9 | 671.3 | 690.9 | 711.1 | 742.3 | 818.8 | 870.6 | 891.6 | 873.1 | 848.1 | 840.7 | 857.2 | 869.7 | 887.8 | 912.3 | 938.9 | 943.7 | 932.5 | 898.9 | 842.5 | 790.3 | 723.3 | 656.1 | 596.6 | 517 | 437 | 370.4 | 316.3 | 282.7 | 274.2 | 234.4
465 | 245.6 | 273.8 | 329.2 | 419.1 | 469.4 | 575.2 | 6510 | 4519 | 614.3 | 624.1 | 630 | 640.7 | 642.2 | 665.5 | 687.6 | 746.8 | 788.5 | 805.3 | 780 | 764.6 | 760.3 | 777.6 | 793.6 | 818.2 | 834.5 | 863.9 | 867.1 | 859.4 | 829.5 | 773 | 725.4 | 666.9 | 616 | 554.5 | 487.8 | 421.8 | 366 | 314.5 | 279.4 | 261.2 | 254.3
470 | 211.7 | 263.9 | 282.5 | 340.7 | 390.4 | 415.9 | 1969 | 8837 | 1462 | 558.3 | 588.5 | 592.5 | 602.4 | 626.6 | 629.8 | 673.9 | 714.7 | 714.1 | 701.3 | 674.2 | 682.4 | 688.1 | 716.8 | 738 | 763.7 | 776.6 | 789.7 | 779.2 | 756 | 717.6 | 665.2 | 610.7 | 566 | 518.1 | 461.1 | 406.7 | 354.6 | 312.7 | 277.9 | 251.6 | 242.9
475 | 269.2 | 244.4 | 277.9 | 294.6 | 339.8 | 398.3 | 540.9 | 7614 | 4940 | 567.3 | 566.8 | 548.6 | 572.8 | 575.5 | 571.9 | 612.5 | 642.5 | 649.1 | 617.5 | 605.8 | 604.4 | 613.1 | 634.9 | 651.3 | 685.2 | 704.5 | 714.9 | 709.3 | 686.7 | 647 | 603.3 | 555.5 | 524.1 | 485.1 | 434.6 | 383.6 | 339.5 | 304 | 273.5 | 250.8 | 228.8
480 | 224.5 | 201.5 | 245.4 | 286 | 375 | 372.9 | 389.2 | 2239 | 9670 | 1412 | 515.7 | 523.6 | 545.9 | 544.7 | 547.2 | 565.6 | 592.7 | 587.9 | 561 | 539.7 | 537.4 | 556.5 | 565.8 | 588.8 | 611 | 636.6 | 650.1 | 638.6 | 627.9 | 590.7 | 556.6 | 519.6 | 487.1 | 455.3 | 414.8 | 376.2 | 334.5 | 302.6 | 278.7 | 251.1 | 231
485 | 188.1 | 207.8 | 207.9 | 293 | 330.6 | 343.3 | 357.4 | 528.6 | 8370 | 4961 | 533.1 | 516.1 | 545.5 | 546.2 | 561.3 | 556.2 | 569.8 | 545 | 517.1 | 483 | 487.1 | 503.9 | 516.4 | 537.9 | 560.8 | 576 | 593.6 | 594.4 | 580.4 | 552.8 | 522 | 495.3 | 467.7 | 448.3 | 411.5 | 378.4 | 339.2 | 307.8 | 279.5 | 259.5 | 240.5
490 | 159.7 | 193.6 | 232.6 | 225.9 | 280.4 | 354.8 | 354.1 | 384.8 | 2546 | 9646 | 1290 | 534 | 567.3 | 586.2 | 586.9 | 578 | 556.7 | 526.8 | 476.7 | 440.2 | 440.5 | 453.5 | 464.2 | 487.1 | 515.8 | 534 | 550.9 | 549.4 | 542 | 521.1 | 506.3 | 478.3 | 463.1 | 445 | 421.6 | 389.9 | 351 | 320 | 293.4 | 270 | 248.9
495 | 187.7 | 162.3 | 194.7 | 221.7 | 276.3 | 346.7 | 372.6 | 368.3 | 558.7 | 8880 | 4696 | 562.3 | 597.9 | 638.6 | 634.3 | 609 | 579.9 | 509.4 | 437 | 399.1 | 394.4 | 406 | 426.9 | 439.7 | 471.5 | 490.5 | 508.2 | 515.8 | 516.6 | 500.6 | 490.8 | 472.8 | 466 | 455.9 | 438.3 | 407.8 | 374.2 | 340.1 | 312.4 | 285.8 | 268.5
500 | 141.7 | 180.9 | 189.4 | 192.7 | 250.1 | 306.8 | 362.1 | 352.1 | 399 | 2923 | 9511 | 1302 | 644.9 | 687.5 | 685.6 | 653.6 | 598.7 | 509.6 | 403.8 | 356.4 | 353.9 | 364.8 | 383 | 404.5 | 425.1 | 454.6 | 467.8 | 486.7 | 491.6 | 494.7 | 480.1 | 476.5 | 478.6 | 473.9 | 460.1 | 437.2 | 399.2 | 365.9 | 332.9 | 306.1 | 285.3