## Sheet1
Report date: | 14:48:18, 09/18/2024
Sample: | 1
File name:
Run date: | 14:42:49, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/340.0 | 3137
2 | 230.0/330.0 | 3092
3 | 250.0/275.0 | 297.5
4 | 255.0/280.0 | 372.1
5 | 265.0/340.0 | 6172
6 | 325.0/425.0 | 1229
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 109.8 | 71.21 | 119.4 | 91.48 | 122.2 | 63.96 | 30.5 | 25.11 | 50.76 | 245.8 | 152.2 | 55.42 | 204.1 | 9999.9 | 9999.9 | 7864 | 53.54 | 25.69 | 19.9 | 11.96 | 11.15 | 9.434 | 7.407 | 6.665 | 6.362 | 6.251 | 5.524 | 5.918 | 5.759 | 5.504 | 4.929 | 5.358 | 5.315 | 5.126 | 5.589 | 6.083 | 8.014 | 9.944 | 8.735 | 5.785 | 4.867
275 | 208.6 | 204.9 | 254.2 | 251.9 | 313 | 219.4 | 75.73 | 34.91 | 36.44 | 98.53 | 297.5 | 160.3 | 113.3 | 873.5 | 9999.9 | 9999.9 | 7540 | 55.29 | 24 | 16.83 | 12.62 | 10.88 | 9.071 | 7.845 | 7.097 | 6.707 | 6.136 | 6.021 | 5.84 | 5.714 | 5.723 | 5.178 | 5.359 | 5.765 | 5.88 | 5.232 | 6.2 | 7.695 | 8.559 | 7.681 | 5.524
280 | 357.9 | 312.1 | 414.9 | 443.7 | 569.1 | 370 | 143.5 | 52.63 | 46.41 | 62.22 | 175.2 | 372.1 | 219.1 | 254.3 | 957.5 | 9999.9 | 9999.9 | 7352 | 52.85 | 25.13 | 17.06 | 13.24 | 10.56 | 9.433 | 7.264 | 7.379 | 6.676 | 6.578 | 5.747 | 5.957 | 6.057 | 6.443 | 5.908 | 5.576 | 6.082 | 5.445 | 5.27 | 5.705 | 7.11 | 8.569 | 7.153
285 | 557.6 | 420.2 | 498.5 | 708.8 | 841.5 | 684 | 333.9 | 144.7 | 87.32 | 91.04 | 136.6 | 368.5 | 553.5 | 439 | 516 | 1208 | 9999.9 | 9999.9 | 6950 | 54.37 | 23.23 | 18.41 | 13.36 | 10.95 | 9.499 | 7.956 | 7.647 | 7.351 | 6.676 | 6.447 | 6.154 | 6.212 | 6.534 | 6.096 | 5.91 | 5.609 | 5.002 | 4.851 | 5.807 | 6.76 | 8.154
290 | 670.5 | 577.7 | 756.1 | 957.9 | 1279 | 1176 | 779.8 | 381.8 | 203.1 | 168.9 | 224.7 | 353.4 | 765.1 | 995 | 1034 | 1100 | 1645 | 9999.9 | 9999.9 | 6461 | 47.6 | 25.62 | 17.69 | 13.61 | 11.37 | 9.128 | 8.647 | 8.627 | 7.391 | 7.261 | 6.728 | 6.853 | 6.313 | 6.849 | 6.322 | 5.624 | 5.52 | 5.391 | 5.273 | 5.568 | 6.376
295 | 992.2 | 779.2 | 871.4 | 1284 | 1708 | 1802 | 1262 | 717.1 | 411.6 | 343 | 387.8 | 572.1 | 890.3 | 1553 | 1887 | 1908 | 1675 | 1738 | 9999.9 | 9999.9 | 6177 | 50.38 | 27.73 | 18.68 | 14.53 | 12.26 | 10.51 | 9.463 | 8.988 | 8.26 | 7.29 | 7.445 | 6.723 | 6.892 | 6.449 | 5.823 | 5.269 | 5.18 | 5.118 | 5.33 | 5.107
300 | 962.4 | 942.1 | 1098 | 1482 | 1971 | 2303 | 1775 | 1157 | 744 | 640.3 | 713.9 | 904.1 | 1248 | 1815 | 2704 | 2801 | 2396 | 1570 | 1385 | 9999.9 | 9999.9 | 5789 | 48.16 | 25.98 | 19.51 | 15.52 | 12.12 | 10.89 | 9.736 | 9.484 | 8.221 | 7.638 | 7.619 | 7.159 | 6.677 | 6.435 | 5.916 | 6.074 | 5.099 | 5.517 | 4.78
305 | 1048 | 1077 | 1251 | 1543 | 2227 | 2597 | 2256 | 1551 | 1189 | 1197 | 1288 | 1485 | 1819 | 2339 | 3085 | 3675 | 3139 | 2063 | 996.8 | 1172 | 9999.9 | 9999.9 | 5484 | 47.97 | 26.92 | 21.03 | 15.06 | 12.83 | 11.1 | 10.42 | 8.768 | 8.591 | 7.837 | 7.485 | 6.764 | 7.058 | 5.663 | 5.532 | 5.411 | 5.056 | 4.889
310 | 1138 | 1186 | 1369 | 1689 | 2344 | 2824 | 2555 | 1993 | 1760 | 1888 | 2152 | 2458 | 2716 | 3093 | 3656 | 4078 | 3947 | 2623 | 1377 | 685.5 | 1043 | 9999.9 | 9999.9 | 5681 | 49.61 | 28.76 | 21.42 | 16.48 | 13.54 | 11.13 | 10.29 | 9.113 | 8.402 | 8.481 | 7.545 | 7.587 | 6.718 | 5.754 | 5.871 | 5.497 | 5.259
315 | 1185 | 1246 | 1460 | 1856 | 2448 | 2904 | 2776 | 2369 | 2307 | 2676 | 3124 | 3508 | 3664 | 3929 | 4247 | 4420 | 4307 | 3360 | 1885 | 931.8 | 496.7 | 1018 | 9999.9 | 9999.9 | 5478 | 49.71 | 30.29 | 22.98 | 16.79 | 13.47 | 12.23 | 11.05 | 9.66 | 9.175 | 8.075 | 8.077 | 6.615 | 5.917 | 5.939 | 5.881 | 5.132
320 | 1194 | 1413 | 1699 | 1890 | 2471 | 2950 | 2917 | 2643 | 2767 | 3375 | 3948 | 4426 | 4571 | 4691 | 4871 | 4852 | 4579 | 3863 | 2528 | 1290 | 661.3 | 408.9 | 967.4 | 9999.9 | 9999.9 | 5792 | 51.1 | 31.26 | 24.28 | 17.07 | 14.01 | 11.81 | 10.93 | 9.912 | 8.773 | 7.955 | 7.306 | 6.447 | 5.756 | 5.673 | 5.189
325 | 1148 | 1311 | 1778 | 2049 | 2592 | 3034 | 3056 | 2840 | 3102 | 3848 | 4564 | 5159 | 5278 | 5346 | 5364 | 5255 | 4961 | 4064 | 3088 | 1742 | 871.1 | 488.6 | 319.8 | 935 | 9999.9 | 9999.9 | 5934 | 53.04 | 32.83 | 24.95 | 17.72 | 14.35 | 12.22 | 11.45 | 9.533 | 9.467 | 7.518 | 7.011 | 6.511 | 5.592 | 5.565
330 | 1146 | 1478 | 1798 | 2227 | 2615 | 3011 | 3092 | 2915 | 3299 | 4088 | 5020 | 5613 | 5786 | 5808 | 5752 | 5614 | 5269 | 4414 | 3255 | 2190 | 1143 | 607 | 338.9 | 230.5 | 891.8 | 9999.9 | 9999.9 | 6348 | 55.32 | 34.82 | 25.19 | 18.92 | 15.18 | 12.68 | 11.09 | 10.13 | 8.697 | 7.874 | 6.844 | 6.266 | 6.023
335 | 1081 | 1465 | 1751 | 2133 | 2674 | 3135 | 3059 | 2905 | 3298 | 4248 | 5130 | 5773 | 5997 | 6075 | 6021 | 5825 | 5534 | 4722 | 3533 | 2252 | 1505 | 769.9 | 410 | 224 | 169.8 | 880 | 9999.9 | 9999.9 | 6891 | 55.35 | 34.95 | 26.56 | 18.83 | 15.54 | 13.47 | 10.88 | 9.412 | 8.017 | 7.464 | 6.703 | 6.047
340 | 1015 | 1408 | 1850 | 2147 | 2829 | 3137 | 2969 | 2744 | 3203 | 4043 | 4955 | 5729 | 6000 | 6172 | 6115 | 5920 | 5684 | 4913 | 3718 | 2337 | 1526 | 1045 | 501.5 | 263.7 | 152 | 142.8 | 898.9 | 9999.9 | 9999.9 | 7306 | 58.34 | 37.59 | 26.73 | 19.41 | 15.14 | 12.11 | 10.72 | 8.987 | 7.669 | 7.25 | 6.702
345 | 979 | 1310 | 1683 | 2133 | 2711 | 3037 | 2831 | 2561 | 3041 | 3793 | 4680 | 5397 | 5777 | 5985 | 6014 | 5909 | 5650 | 4978 | 3807 | 2421 | 1502 | 1094 | 704.9 | 325.8 | 175.5 | 118.6 | 143.2 | 914.7 | 9999.9 | 9999.9 | 7834 | 62 | 38.32 | 28.84 | 20.22 | 15.02 | 12.41 | 10.21 | 9.108 | 7.91 | 7.075
350 | 890.9 | 1294 | 1587 | 1987 | 2694 | 2978 | 2642 | 2413 | 2768 | 3549 | 4258 | 4959 | 5391 | 5675 | 5783 | 5749 | 5551 | 4863 | 3789 | 2455 | 1526 | 1006 | 808.6 | 489 | 233.6 | 157.6 | 127.1 | 156.8 | 911.7 | 9999.9 | 9999.9 | 8343 | 61.42 | 39.54 | 28.4 | 19.94 | 14.69 | 12.44 | 9.29 | 8.203 | 7.617
355 | 878.8 | 1035 | 1457 | 1859 | 2541 | 2736 | 2453 | 2176 | 2474 | 3133 | 3858 | 4470 | 4930 | 5279 | 5491 | 5497 | 5299 | 4710 | 3706 | 2444 | 1565 | 1029 | 722.6 | 649.1 | 374.7 | 220 | 175.7 | 147.7 | 167.6 | 955.6 | 9999.9 | 9999.9 | 8402 | 64.14 | 40.28 | 27.8 | 18.38 | 14.83 | 12.01 | 9.498 | 8.394
360 | 860 | 1125 | 1345 | 1745 | 2382 | 2630 | 2308 | 1979 | 2180 | 2766 | 3416 | 3988 | 4490 | 4838 | 5067 | 5136 | 4987 | 4440 | 3547 | 2390 | 1576 | 1077 | 743.4 | 596.8 | 569.2 | 339.3 | 239.6 | 189.7 | 152.5 | 172.9 | 915.2 | 9999.9 | 9999.9 | 9148 | 64.54 | 39.33 | 27.85 | 17.87 | 13.41 | 10.28 | 9.212
365 | 732.6 | 991.2 | 1266 | 1638 | 2090 | 2361 | 2051 | 1783 | 1963 | 2462 | 3005 | 3523 | 3975 | 4349 | 4655 | 4737 | 4638 | 4168 | 3366 | 2289 | 1555 | 1094 | 792.2 | 601.8 | 570.6 | 536.5 | 333.6 | 247.4 | 193.3 | 151.8 | 163.3 | 955 | 9999.9 | 9999.9 | 9064 | 64.11 | 37.64 | 25.93 | 17.27 | 13.03 | 10.54
370 | 701.4 | 889.3 | 1066 | 1454 | 1935 | 2117 | 1847 | 1617 | 1765 | 2114 | 2602 | 3058 | 3492 | 3896 | 4191 | 4315 | 4257 | 3833 | 3117 | 2190 | 1535 | 1111 | 845.8 | 664.1 | 555 | 590.4 | 513.4 | 326.5 | 242.7 | 185.7 | 138.8 | 158.9 | 987.1 | 9999.9 | 9999.9 | 8909 | 60.58 | 36.61 | 24.4 | 16.52 | 12.13
375 | 721.4 | 833.4 | 1077 | 1354 | 1820 | 1979 | 1781 | 1486 | 1572 | 1832 | 2293 | 2669 | 3040 | 3427 | 3705 | 3897 | 3852 | 3499 | 2906 | 2079 | 1501 | 1136 | 907 | 739.8 | 620 | 560.9 | 621.1 | 479.1 | 314.1 | 237.1 | 176.7 | 130.5 | 156.6 | 1009 | 9999.9 | 9999.9 | 8528 | 57.88 | 34.75 | 23.44 | 14.9
380 | 639.4 | 803.1 | 919.3 | 1225 | 1631 | 1817 | 1600 | 1361 | 1421 | 1667 | 1980 | 2327 | 2650 | 2993 | 3322 | 3464 | 3466 | 3187 | 2669 | 1963 | 1470 | 1179 | 947.9 | 809.2 | 698.4 | 625.7 | 595.4 | 628.2 | 448.1 | 302.5 | 231 | 172.3 | 132.7 | 165.8 | 1018 | 9999.9 | 9999.9 | 8033 | 54.06 | 30.69 | 21.95
385 | 601.9 | 668.2 | 830.3 | 1166 | 1457 | 1680 | 1415 | 1250 | 1287 | 1476 | 1736 | 2008 | 2313 | 2613 | 2903 | 3069 | 3105 | 2871 | 2459 | 1871 | 1453 | 1182 | 1007 | 881.4 | 787.9 | 711.1 | 649.5 | 628 | 619.9 | 419.8 | 308.4 | 238.2 | 183 | 148.3 | 174.4 | 1040 | 9999.9 | 9999.9 | 7580 | 49.11 | 29.4
390 | 909.8 | 697.5 | 822.6 | 1085 | 1360 | 1483 | 1316 | 1159 | 1200 | 1329 | 1541 | 1765 | 2020 | 2304 | 2560 | 2742 | 2782 | 2603 | 2283 | 1784 | 1437 | 1221 | 1061 | 948.5 | 867.4 | 803.7 | 743.4 | 677.4 | 667.5 | 614.2 | 428.1 | 328.3 | 261 | 204.8 | 156.2 | 174.8 | 965.1 | 9999.9 | 9999.9 | 7397 | 48.23
395 | 2334 | 584.2 | 685 | 939.6 | 1281 | 1373 | 1250 | 1059 | 1092 | 1229 | 1371 | 1572 | 1784 | 2027 | 2268 | 2465 | 2515 | 2416 | 2131 | 1725 | 1430 | 1239 | 1118 | 1024 | 955.5 | 898.4 | 837.6 | 778.5 | 699.7 | 711.9 | 605.8 | 435.4 | 349.7 | 280.2 | 209.2 | 147.1 | 159.2 | 1035 | 9999.9 | 9999.9 | 6748
400 | 3213 | 1111 | 656.4 | 911.5 | 1151 | 1268 | 1154 | 1025 | 1041 | 1116 | 1253 | 1401 | 1576 | 1784 | 2023 | 2192 | 2298 | 2214 | 2016 | 1672 | 1427 | 1270 | 1175 | 1099 | 1043 | 989.8 | 944.9 | 882.5 | 808.7 | 742.8 | 745.3 | 607.1 | 455.5 | 366.7 | 275.6 | 187.2 | 129.2 | 151.5 | 950.7 | 9999.9 | 9999.9
405 | 2114 | 2969 | 643.8 | 821.7 | 1051 | 1110 | 1060 | 994 | 975.3 | 1065 | 1139 | 1267 | 1408 | 1602 | 1803 | 1994 | 2093 | 2063 | 1891 | 1608 | 1420 | 1300 | 1217 | 1157 | 1116 | 1083 | 1036 | 972.8 | 900.2 | 826.9 | 774.8 | 760.8 | 587.5 | 450 | 339.3 | 233.1 | 154.9 | 105.6 | 130.7 | 883.1 | 9999.9
410 | 764.1 | 4131 | 1258 | 781.6 | 987.6 | 1024 | 998.9 | 928.3 | 951.8 | 1024 | 1074 | 1158 | 1268 | 1438 | 1648 | 1809 | 1928 | 1914 | 1793 | 1569 | 1417 | 1308 | 1236 | 1208 | 1172 | 1150 | 1116 | 1056 | 990.7 | 913.4 | 828.3 | 792.8 | 736.2 | 543.6 | 400.8 | 278.8 | 188.3 | 122.2 | 89.01 | 117.9 | 878.7
415 | 404.3 | 2292 | 3359 | 687.6 | 889.7 | 945.8 | 969.5 | 915.5 | 913.1 | 978.9 | 999.7 | 1062 | 1162 | 1291 | 1484 | 1670 | 1795 | 1783 | 1703 | 1519 | 1385 | 1306 | 1256 | 1229 | 1206 | 1198 | 1168 | 1115 | 1055 | 978.1 | 892.7 | 807.8 | 775.9 | 664.2 | 462.2 | 321.6 | 215.9 | 145.8 | 102.5 | 76 | 112.3
420 | 364.2 | 774.3 | 4517 | 1376 | 870.3 | 870 | 915.1 | 880.9 | 891.7 | 940.8 | 944.5 | 988.8 | 1063 | 1205 | 1370 | 1541 | 1664 | 1670 | 1600 | 1451 | 1344 | 1286 | 1262 | 1239 | 1223 | 1219 | 1193 | 1149 | 1097 | 1025 | 934.3 | 841.7 | 756.9 | 715.3 | 550.3 | 365.4 | 253.2 | 172.5 | 122 | 90.13 | 71.84
425 | 333.8 | 437.6 | 2693 | 3295 | 817.2 | 860.9 | 830.9 | 849.1 | 862.8 | 908.9 | 900.9 | 944.3 | 992.4 | 1112 | 1259 | 1433 | 1522 | 1561 | 1516 | 1391 | 1305 | 1249 | 1236 | 1223 | 1216 | 1229 | 1208 | 1179 | 1122 | 1048 | 957.6 | 871.1 | 771.7 | 693 | 611.6 | 424.3 | 280.3 | 200.1 | 145.5 | 108.3 | 82.08
430 | 340.2 | 424.3 | 898.3 | 4823 | 1345 | 782.4 | 803.4 | 829.9 | 860 | 865.9 | 866.7 | 889.6 | 932.2 | 1033 | 1185 | 1322 | 1418 | 1461 | 1426 | 1317 | 1251 | 1224 | 1210 | 1217 | 1219 | 1223 | 1211 | 1182 | 1128 | 1055 | 971 | 888.2 | 789 | 681.5 | 595.9 | 492 | 332.9 | 229.7 | 169.4 | 130.5 | 101.1
435 | 339.7 | 404.5 | 508.6 | 3247 | 3448 | 739.4 | 771.4 | 781.6 | 836.6 | 843.7 | 846.7 | 846.9 | 889.8 | 969.6 | 1088 | 1235 | 1334 | 1353 | 1336 | 1252 | 1204 | 1188 | 1187 | 1194 | 1201 | 1210 | 1207 | 1180 | 1128 | 1051 | 971.5 | 890.7 | 798.4 | 686.7 | 575.4 | 498.9 | 397.4 | 263.9 | 198 | 154.1 | 121.9
440 | 293.1 | 360.4 | 429 | 1105 | 5462 | 1332 | 729.8 | 763.5 | 790.7 | 817.7 | 823.8 | 825.4 | 833 | 913.1 | 1015 | 1156 | 1243 | 1273 | 1262 | 1188 | 1165 | 1142 | 1141 | 1155 | 1178 | 1186 | 1173 | 1156 | 1112 | 1039 | 964 | 882.5 | 789.1 | 688.5 | 572.1 | 466 | 414.2 | 318.4 | 224.1 | 174.8 | 140.6
445 | 319.9 | 357.4 | 368.5 | 507.5 | 3975 | 3661 | 725.7 | 738.2 | 751 | 780.2 | 786.3 | 793.7 | 828.7 | 861.3 | 948.3 | 1069 | 1142 | 1173 | 1155 | 1106 | 1085 | 1084 | 1081 | 1102 | 1122 | 1138 | 1139 | 1116 | 1078 | 1009 | 931.3 | 849.9 | 770 | 678 | 569.1 | 463.1 | 387.6 | 356.3 | 265.4 | 200.3 | 162.3
450 | 259.3 | 327.7 | 414.8 | 416.6 | 1379 | 6475 | 1330 | 671.2 | 744.3 | 777.8 | 760.7 | 743.5 | 769.1 | 811.3 | 871.5 | 976.1 | 1054 | 1070 | 1060 | 1023 | 1013 | 1014 | 1020 | 1040 | 1069 | 1083 | 1090 | 1065 | 1022 | 964.6 | 891.3 | 820.2 | 738.5 | 656.3 | 560.5 | 464.4 | 379 | 338 | 305.1 | 230.8 | 178.1
455 | 305.8 | 320.7 | 370.9 | 424 | 569 | 5340 | 4071 | 665.1 | 684.3 | 727.2 | 710.5 | 722.1 | 736.5 | 765.7 | 813.7 | 890.9 | 950.4 | 985.2 | 974 | 937 | 937 | 927.7 | 952.1 | 960.4 | 993.8 | 1015 | 1015 | 1007 | 966.9 | 908.4 | 844 | 776.4 | 704.1 | 630.3 | 545.6 | 458.7 | 380.9 | 321.6 | 302.8 | 270 | 200.3
460 | 284.4 | 290.2 | 362.6 | 410.8 | 475.8 | 1733 | 7702 | 1360 | 643.9 | 657.5 | 683.2 | 679.4 | 686.9 | 706.4 | 750.3 | 814.9 | 869.4 | 889.2 | 868.3 | 852.6 | 845.9 | 855.1 | 873.4 | 897.4 | 916.6 | 939.7 | 948.1 | 933 | 899.1 | 848.1 | 787.1 | 723.5 | 657.6 | 596.1 | 522.1 | 444.3 | 378.1 | 318.3 | 284 | 279 | 235.4
465 | 240.5 | 265.2 | 320.4 | 383.2 | 415.6 | 531.9 | 6469 | 4531 | 609.5 | 624.6 | 641.6 | 640.8 | 638.6 | 649.6 | 683.2 | 737.6 | 779.5 | 800.7 | 779.5 | 763.3 | 761.9 | 771.9 | 790.5 | 812.8 | 844.1 | 862.4 | 862.4 | 858 | 829.9 | 781.7 | 725.9 | 665.2 | 617.8 | 562 | 494.6 | 428 | 368.8 | 320.7 | 283.3 | 260 | 254.5
470 | 211.6 | 306.7 | 329.4 | 341.9 | 396.5 | 426.2 | 1945 | 8654 | 1424 | 579.8 | 563.4 | 606.8 | 612.9 | 621.1 | 636.9 | 684.2 | 698.5 | 725.9 | 695.2 | 681.6 | 677.1 | 688.3 | 707.9 | 736 | 759.7 | 778.5 | 786.2 | 780.8 | 753.1 | 711.6 | 665.6 | 616.4 | 569.8 | 524.6 | 468 | 411.2 | 354.1 | 313 | 277.5 | 252.3 | 243.3
475 | 213.1 | 222.1 | 292.8 | 268.6 | 360.6 | 384.1 | 566.7 | 7565 | 4955 | 570.7 | 551.7 | 558.7 | 567.7 | 577.1 | 589.6 | 620.5 | 650.5 | 639.7 | 623.1 | 602.2 | 610.2 | 616.2 | 632.8 | 655.7 | 679.4 | 704.1 | 709.5 | 706.4 | 684.8 | 651.4 | 607.9 | 563.2 | 526.2 | 482.4 | 437.5 | 389.3 | 343.6 | 306.6 | 277.5 | 250.5 | 230.3
480 | 209.5 | 200.8 | 215.2 | 264.3 | 343.7 | 350.8 | 392.7 | 2289 | 9586 | 1395 | 528.4 | 540.1 | 544.1 | 550.7 | 557.3 | 580.6 | 598.5 | 583.8 | 549.3 | 541 | 545.4 | 554.2 | 568.5 | 590.4 | 612.1 | 641.6 | 644.2 | 643.5 | 625.5 | 594 | 555.7 | 516.8 | 487.9 | 453.5 | 419.7 | 377 | 336.5 | 301.3 | 275.4 | 253.4 | 231.3
485 | 209.3 | 200.5 | 280.9 | 244.1 | 333.8 | 364.8 | 390.5 | 530.4 | 8409 | 4992 | 527.5 | 537.2 | 544 | 545.9 | 565.7 | 566.3 | 568.1 | 541.5 | 507 | 482.7 | 487.5 | 502.9 | 514.9 | 537.8 | 562.5 | 575.6 | 593.2 | 592.5 | 582.5 | 554.6 | 527.7 | 496.1 | 469.7 | 443.9 | 414.9 | 379.1 | 342.6 | 307.2 | 281.8 | 259.1 | 238.1
490 | 197.5 | 225.5 | 233.3 | 233 | 304.2 | 359.7 | 377.3 | 385.9 | 2506 | 9729 | 1304 | 528.5 | 561.2 | 581.7 | 587 | 571.9 | 559.8 | 524.1 | 471.5 | 438.5 | 443.3 | 451.2 | 465.8 | 489.5 | 512.7 | 531.3 | 547 | 549.8 | 543.7 | 527.7 | 505.2 | 480.7 | 462.2 | 450.9 | 420.8 | 390.1 | 355.9 | 323.1 | 297 | 272.8 | 252.1
495 | 189.5 | 182.8 | 229.4 | 247.2 | 272.8 | 356.2 | 368 | 359.1 | 559.8 | 9020 | 4690 | 558.5 | 610.2 | 620 | 631.6 | 610.5 | 576.6 | 515.9 | 438.1 | 399.1 | 404.7 | 405.8 | 424.4 | 443.4 | 472.6 | 491.2 | 503.9 | 514.7 | 511.9 | 504 | 487.9 | 477.7 | 469.4 | 460 | 438.4 | 408.5 | 372.6 | 345.9 | 313 | 289.6 | 268.2
500 | 169.6 | 141.4 | 207.4 | 178.2 | 262.4 | 338 | 362.5 | 359 | 397.2 | 2935 | 9537 | 1266 | 642.5 | 692.7 | 693.2 | 644.6 | 594.3 | 504.7 | 417 | 363.1 | 353.7 | 364.5 | 378.9 | 399 | 426.8 | 444.4 | 471.1 | 483.3 | 488.6 | 482.5 | 481.6 | 476 | 480.7 | 476.9 | 462.7 | 436.7 | 404 | 365.8 | 333.9 | 304.5 | 284.6