## Sheet1
Report date: | 14:54:19, 09/18/2024
Sample: | 1
File name:
Run date: | 14:48:51, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/325.0 | 3061
2 | 225.0/335.0 | 3065
3 | 230.0/330.0 | 3053
4 | 250.0/275.0 | 308.7
5 | 255.0/280.0 | 396.9
6 | 265.0/340.0 | 6006
7 | 320.0/425.0 | 1225
8 | 325.0/430.0 | 1227
9 | 330.0/375.0 | 623.3
10 | 390.0/275.0 | 9.069
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 121 | 100.4 | 105.3 | 89.74 | 88.3 | 63.73 | 51.84 | 33.84 | 46.84 | 248 | 164.5 | 58.09 | 201 | 9999.9 | 9999.9 | 7847 | 55.33 | 27.26 | 18.44 | 12.98 | 10 | 9.858 | 7.458 | 6.415 | 6.888 | 5.55 | 5.942 | 5.779 | 5.066 | 5.113 | 5.319 | 5.743 | 5.605 | 5.211 | 5.232 | 6.627 | 7.569 | 10.15 | 8.374 | 6.357 | 5.21
275 | 248.5 | 208.9 | 243.9 | 315.7 | 282 | 203.2 | 76.09 | 37.41 | 34.63 | 98.77 | 308.7 | 169.2 | 118.9 | 873.7 | 9999.9 | 9999.9 | 7496 | 54.72 | 24.74 | 17.59 | 12.45 | 10.04 | 8.441 | 7.733 | 7 | 6.728 | 5.935 | 5.236 | 6.457 | 5.355 | 6.034 | 5.332 | 5.652 | 5.574 | 5.055 | 5.368 | 6.189 | 7.586 | 9.069 | 7.836 | 5.697
280 | 368.4 | 288.4 | 358.6 | 478.5 | 480.2 | 369.4 | 150.6 | 56.81 | 46.63 | 62.24 | 189.2 | 396.9 | 225.4 | 249.1 | 950.3 | 9999.9 | 9999.9 | 7315 | 54.5 | 25.67 | 17.08 | 12.57 | 11.32 | 9.038 | 7.588 | 7.291 | 6.568 | 6.333 | 6.622 | 6.021 | 6.05 | 6.388 | 5.82 | 5.831 | 5.999 | 5.482 | 5.132 | 5.767 | 7.271 | 8.87 | 7.108
285 | 492.2 | 425 | 550.6 | 741.4 | 837.4 | 683.9 | 340.3 | 153.4 | 86.66 | 92.12 | 143.3 | 358.1 | 563.7 | 437.3 | 514.6 | 1214 | 9999.9 | 9999.9 | 6896 | 52.43 | 24.85 | 18.06 | 13.16 | 10.94 | 9.485 | 8.584 | 7.367 | 7.205 | 6.138 | 6.33 | 6.149 | 6.362 | 6.857 | 5.957 | 6.013 | 5.393 | 4.993 | 5.587 | 5.736 | 7.374 | 8.152
290 | 674 | 551.8 | 695.2 | 949.3 | 1276 | 1214 | 796.7 | 380.1 | 205.1 | 181 | 224.5 | 361.4 | 770.5 | 1003 | 1038 | 1135 | 1666 | 9999.9 | 9999.9 | 6412 | 48.89 | 25.53 | 18.42 | 14.03 | 11.37 | 9.917 | 8.894 | 8.353 | 7.053 | 7.161 | 6.716 | 6.774 | 6.428 | 6.074 | 6.224 | 5.64 | 5.472 | 5.148 | 5.131 | 5.535 | 6.971
295 | 846.3 | 676 | 829.8 | 1260 | 1704 | 1776 | 1342 | 742.4 | 431.1 | 333 | 387.8 | 569.4 | 902 | 1574 | 1908 | 1920 | 1704 | 1748 | 9999.9 | 9999.9 | 6134 | 49.99 | 25.96 | 19.71 | 13.62 | 11.23 | 10.08 | 8.993 | 8.916 | 7.779 | 7.29 | 7.245 | 6.45 | 6.64 | 6.238 | 6.235 | 5.955 | 5.661 | 5.274 | 5.071 | 5.72
300 | 920 | 898.8 | 1085 | 1486 | 2102 | 2313 | 1911 | 1115 | 750.7 | 664.4 | 711.7 | 923.5 | 1258 | 1822 | 2721 | 2829 | 2429 | 1569 | 1386 | 9999.9 | 9999.9 | 5778 | 47.43 | 26.92 | 19.78 | 15.4 | 11.8 | 10.97 | 9.572 | 8.833 | 8.357 | 7.77 | 7.466 | 7.449 | 7.004 | 6.348 | 6.055 | 5.852 | 5.386 | 5.046 | 4.727
305 | 1051 | 935 | 1213 | 1578 | 2243 | 2644 | 2253 | 1541 | 1200 | 1163 | 1296 | 1494 | 1812 | 2365 | 3132 | 3711 | 3150 | 2058 | 1002 | 1165 | 9999.9 | 9999.9 | 5470 | 48.61 | 27.5 | 19.53 | 15.86 | 12.12 | 11.33 | 9.751 | 8.903 | 8.677 | 8.461 | 7.511 | 6.725 | 6.767 | 6.007 | 5.837 | 5.594 | 5.276 | 5.064
310 | 1006 | 1158 | 1405 | 1738 | 2297 | 2936 | 2574 | 2001 | 1751 | 1892 | 2161 | 2422 | 2682 | 3118 | 3658 | 4097 | 3962 | 2608 | 1365 | 675.9 | 1040 | 9999.9 | 9999.9 | 5624 | 49.1 | 28.74 | 22.57 | 16.37 | 13.27 | 12.42 | 10.2 | 9.148 | 9.095 | 8.099 | 7.216 | 7.097 | 6.449 | 5.711 | 6.257 | 5.438 | 5.225
315 | 1030 | 1268 | 1406 | 1853 | 2387 | 2984 | 2791 | 2320 | 2357 | 2688 | 3094 | 3470 | 3626 | 3904 | 4229 | 4394 | 4293 | 3342 | 1837 | 934.1 | 490.7 | 1017 | 9999.9 | 9999.9 | 5410 | 49.07 | 30.84 | 21.97 | 16.94 | 13.58 | 11.74 | 10.9 | 9.748 | 8.766 | 8.333 | 7.56 | 6.992 | 6.35 | 5.661 | 5.586 | 5.272
320 | 1154 | 1285 | 1583 | 1926 | 2510 | 3032 | 2906 | 2611 | 2763 | 3370 | 3954 | 4428 | 4494 | 4649 | 4782 | 4832 | 4540 | 3826 | 2491 | 1268 | 648.5 | 401.7 | 960.2 | 9999.9 | 9999.9 | 5768 | 50.59 | 30.46 | 23.18 | 17.31 | 14.62 | 12.39 | 11.02 | 9.787 | 9.139 | 8.02 | 7.091 | 6.644 | 6.079 | 5.723 | 5.417
325 | 1066 | 1379 | 1677 | 1991 | 2533 | 3061 | 3015 | 2780 | 3135 | 3834 | 4548 | 5056 | 5206 | 5237 | 5280 | 5220 | 4854 | 4029 | 3025 | 1704 | 861.6 | 484.5 | 309.8 | 934.4 | 9999.9 | 9999.9 | 5845 | 50.92 | 32.34 | 24.58 | 18.03 | 14.6 | 12.59 | 11.18 | 10.12 | 8.148 | 7.803 | 6.868 | 6.352 | 6.039 | 5.487
330 | 1137 | 1413 | 1607 | 1991 | 2671 | 2970 | 3053 | 2862 | 3263 | 4058 | 4927 | 5527 | 5694 | 5736 | 5651 | 5470 | 5141 | 4339 | 3183 | 2137 | 1117 | 591.1 | 326.8 | 226 | 897.4 | 9999.9 | 9999.9 | 6264 | 52.71 | 33.53 | 25.99 | 17.78 | 14.99 | 12.83 | 10.73 | 9.611 | 8.337 | 8.064 | 6.903 | 6.682 | 5.542
335 | 1030 | 1370 | 1622 | 2069 | 2711 | 3065 | 3046 | 2877 | 3222 | 4152 | 5038 | 5716 | 5857 | 5928 | 5849 | 5718 | 5415 | 4629 | 3421 | 2201 | 1470 | 750.3 | 399.4 | 218.1 | 172.1 | 887.7 | 9999.9 | 9999.9 | 6792 | 57.24 | 35.21 | 26.8 | 19.34 | 15.29 | 13.25 | 11.81 | 9.918 | 8.317 | 7.229 | 6.658 | 6.324
340 | 980.7 | 1360 | 1562 | 2007 | 2623 | 3020 | 2926 | 2756 | 3141 | 4058 | 4943 | 5589 | 5873 | 6006 | 5976 | 5836 | 5538 | 4811 | 3642 | 2286 | 1514 | 1035 | 494.5 | 259.1 | 147.6 | 142.7 | 901.6 | 9999.9 | 9999.9 | 7208 | 58.95 | 37.03 | 27.17 | 19.44 | 15.63 | 12.83 | 11.25 | 8.935 | 8.469 | 7.393 | 6.24
345 | 932.9 | 1285 | 1521 | 2014 | 2692 | 3038 | 2768 | 2592 | 2963 | 3780 | 4614 | 5262 | 5632 | 5850 | 5906 | 5799 | 5546 | 4876 | 3712 | 2374 | 1466 | 1068 | 689.1 | 321.5 | 179 | 117.8 | 143 | 915.4 | 9999.9 | 9999.9 | 7752 | 58.38 | 39.45 | 29.25 | 19.49 | 14.12 | 12.86 | 9.524 | 8.672 | 7.362 | 6.891
350 | 867.7 | 1136 | 1399 | 1939 | 2610 | 2774 | 2561 | 2358 | 2710 | 3419 | 4213 | 4868 | 5249 | 5519 | 5651 | 5616 | 5430 | 4780 | 3732 | 2415 | 1502 | 985.7 | 798.5 | 485.8 | 237 | 159 | 127.7 | 156.2 | 906.5 | 9999.9 | 9999.9 | 8361 | 64.77 | 40.73 | 29.45 | 20.15 | 14.24 | 11.36 | 10.06 | 8.81 | 7.417
355 | 784.6 | 1053 | 1511 | 1855 | 2313 | 2635 | 2419 | 2142 | 2431 | 3099 | 3783 | 4371 | 4836 | 5115 | 5303 | 5375 | 5191 | 4621 | 3610 | 2383 | 1538 | 1009 | 714.8 | 649.8 | 377.3 | 224 | 177.1 | 146.3 | 170.1 | 954.9 | 9999.9 | 9999.9 | 8458 | 64.01 | 39.17 | 29.18 | 18.85 | 13.61 | 11.05 | 9.651 | 8.474
360 | 800.6 | 978.7 | 1233 | 1719 | 2193 | 2440 | 2212 | 1990 | 2170 | 2709 | 3339 | 3925 | 4342 | 4732 | 4963 | 5027 | 4897 | 4347 | 3477 | 2344 | 1536 | 1049 | 731.2 | 592.8 | 576 | 341 | 238.3 | 195.8 | 155.8 | 174.5 | 919.9 | 9999.9 | 9999.9 | 9095 | 64.01 | 39.27 | 28.21 | 18.17 | 12.8 | 10.81 | 9.598
365 | 655.5 | 926.2 | 1102 | 1536 | 2173 | 2320 | 2007 | 1740 | 1928 | 2410 | 2965 | 3467 | 3865 | 4263 | 4521 | 4665 | 4529 | 4076 | 3293 | 2256 | 1534 | 1086 | 778.6 | 602.4 | 570.5 | 538.7 | 337.2 | 250.2 | 192.3 | 152 | 166.8 | 960.5 | 9999.9 | 9999.9 | 8948 | 61.75 | 38.26 | 26.85 | 17.52 | 12.89 | 10.36
370 | 700.3 | 842.8 | 1062 | 1403 | 1993 | 2094 | 1857 | 1589 | 1713 | 2099 | 2568 | 3012 | 3391 | 3779 | 4085 | 4229 | 4136 | 3759 | 3082 | 2156 | 1503 | 1101 | 837.8 | 658 | 556.4 | 595 | 512 | 327.2 | 247.6 | 184.4 | 140.3 | 156.4 | 977.1 | 9999.9 | 9999.9 | 8519 | 60.32 | 36.96 | 25.07 | 16.58 | 11.78
375 | 683 | 731.4 | 923.8 | 1359 | 1708 | 1886 | 1713 | 1473 | 1519 | 1866 | 2236 | 2621 | 2973 | 3338 | 3652 | 3784 | 3780 | 3427 | 2835 | 2042 | 1472 | 1135 | 900.3 | 730.6 | 623.3 | 557.2 | 623.3 | 481.3 | 314.9 | 235.5 | 175.3 | 129.9 | 157.9 | 1001 | 9999.9 | 9999.9 | 8382 | 55.56 | 34.29 | 23.32 | 15.31
380 | 493.6 | 728.7 | 820.6 | 1226 | 1582 | 1716 | 1532 | 1344 | 1404 | 1643 | 1930 | 2267 | 2615 | 2939 | 3232 | 3404 | 3404 | 3109 | 2620 | 1919 | 1460 | 1150 | 953.4 | 801.3 | 695.8 | 618.9 | 597.5 | 629.9 | 447.8 | 303.2 | 229.5 | 173.2 | 133.5 | 165.6 | 1004 | 9999.9 | 9999.9 | 8060 | 53.42 | 31.93 | 21.77
385 | 509.1 | 621.3 | 834.2 | 1089 | 1393 | 1611 | 1394 | 1212 | 1284 | 1441 | 1721 | 1995 | 2271 | 2541 | 2851 | 3038 | 3027 | 2829 | 2411 | 1842 | 1431 | 1179 | 999.5 | 875.3 | 781 | 706 | 643.1 | 632.8 | 619.7 | 424.4 | 311.9 | 239.6 | 184 | 149 | 173.8 | 1041 | 9999.9 | 9999.9 | 7533 | 50.68 | 29.93
390 | 857.4 | 609.6 | 770 | 975.5 | 1238 | 1391 | 1287 | 1124 | 1160 | 1304 | 1533 | 1755 | 1993 | 2233 | 2521 | 2701 | 2727 | 2575 | 2246 | 1770 | 1424 | 1204 | 1057 | 949.5 | 864.3 | 798.3 | 736 | 672.2 | 673 | 619.2 | 428 | 333.1 | 266.4 | 205.5 | 157.3 | 175.8 | 970.2 | 9999.9 | 9999.9 | 7379 | 48.18
395 | 2127 | 645.6 | 711.5 | 956.1 | 1225 | 1312 | 1176 | 1096 | 1099 | 1225 | 1371 | 1551 | 1746 | 1994 | 2236 | 2434 | 2488 | 2366 | 2110 | 1706 | 1410 | 1240 | 1111 | 1019 | 953.3 | 897.2 | 839 | 774.2 | 702.9 | 709 | 602.1 | 443.1 | 356.7 | 282.3 | 207.8 | 149.3 | 161.2 | 1027 | 9999.9 | 9999.9 | 6844
400 | 3241 | 1124 | 686 | 792.4 | 1066 | 1206 | 1102 | 1011 | 1030 | 1147 | 1205 | 1393 | 1551 | 1761 | 1980 | 2175 | 2271 | 2193 | 1993 | 1644 | 1422 | 1271 | 1160 | 1092 | 1039 | 994.2 | 939.3 | 877.2 | 804.7 | 746.7 | 746.2 | 608.6 | 459.1 | 367.4 | 273.7 | 187.2 | 128.6 | 151 | 946.9 | 9999.9 | 9999.9
405 | 2113 | 2801 | 604.5 | 810 | 967 | 1086 | 1009 | 955.1 | 979.2 | 1054 | 1114 | 1240 | 1374 | 1562 | 1780 | 1969 | 2094 | 2028 | 1889 | 1610 | 1413 | 1290 | 1208 | 1139 | 1114 | 1070 | 1033 | 970.8 | 904.8 | 825.5 | 782.9 | 766.9 | 584.9 | 451.8 | 338.6 | 235.4 | 155.9 | 107.6 | 133.1 | 882.2 | 9999.9
410 | 710.2 | 3908 | 1313 | 734.4 | 922.8 | 1015 | 997.2 | 926.6 | 958.8 | 987.6 | 1036 | 1148 | 1248 | 1408 | 1629 | 1804 | 1915 | 1898 | 1794 | 1576 | 1401 | 1309 | 1244 | 1188 | 1168 | 1136 | 1104 | 1056 | 991.2 | 911.3 | 829 | 791.6 | 738.1 | 542.9 | 399.1 | 283.1 | 189.2 | 125.9 | 90.57 | 117.4 | 879.6
415 | 424.4 | 2204 | 3062 | 735.9 | 839.9 | 988.8 | 927.9 | 890.7 | 915.7 | 959.2 | 994.4 | 1056 | 1159 | 1282 | 1486 | 1676 | 1767 | 1779 | 1687 | 1517 | 1373 | 1298 | 1255 | 1217 | 1209 | 1187 | 1158 | 1117 | 1055 | 976.3 | 896 | 816.5 | 779.4 | 671.1 | 465.7 | 327.9 | 216.8 | 146.6 | 105.2 | 78.23 | 114.2
420 | 344.2 | 774.9 | 4273 | 1307 | 783.7 | 867.7 | 902.4 | 856.2 | 883.3 | 930 | 935.8 | 982.5 | 1066 | 1190 | 1354 | 1526 | 1635 | 1671 | 1615 | 1457 | 1357 | 1287 | 1245 | 1227 | 1220 | 1215 | 1195 | 1154 | 1102 | 1011 | 936.3 | 854.9 | 763.9 | 723.9 | 557.2 | 367.2 | 253 | 176.9 | 124.2 | 88.93 | 72.6
425 | 326.8 | 456.4 | 2557 | 3238 | 728.1 | 852.1 | 868.8 | 847.3 | 862.2 | 907.4 | 904.4 | 921.1 | 986.9 | 1084 | 1250 | 1403 | 1516 | 1563 | 1510 | 1393 | 1309 | 1254 | 1227 | 1223 | 1225 | 1222 | 1206 | 1173 | 1126 | 1047 | 959 | 871.3 | 772.9 | 697.1 | 615.5 | 432.7 | 284.5 | 202 | 148.7 | 109.2 | 84.54
430 | 356.8 | 407.3 | 844.6 | 4932 | 1373 | 778 | 796.3 | 802.6 | 850.4 | 885.6 | 879.4 | 911.7 | 938.1 | 1015 | 1151 | 1300 | 1403 | 1466 | 1422 | 1329 | 1257 | 1229 | 1206 | 1206 | 1219 | 1227 | 1208 | 1171 | 1130 | 1060 | 978.3 | 888.5 | 788.1 | 680.1 | 599 | 500.4 | 330.2 | 231.2 | 171.7 | 134.8 | 105.2
435 | 307.5 | 399.5 | 450.3 | 3132 | 3471 | 733.2 | 769 | 777.6 | 809.6 | 842.2 | 848.3 | 837.5 | 875.6 | 978.3 | 1082 | 1232 | 1346 | 1364 | 1344 | 1270 | 1220 | 1183 | 1182 | 1181 | 1200 | 1211 | 1204 | 1173 | 1126 | 1054 | 981.1 | 892.7 | 801.1 | 692.2 | 580.3 | 499.2 | 399.9 | 266.7 | 199.7 | 156.9 | 123
440 | 297.2 | 369.6 | 414.6 | 1049 | 5578 | 1273 | 712.2 | 755.7 | 799 | 824.3 | 820.8 | 837.8 | 855.2 | 909.5 | 1019 | 1120 | 1233 | 1269 | 1261 | 1196 | 1159 | 1140 | 1145 | 1153 | 1163 | 1183 | 1177 | 1146 | 1108 | 1037 | 966 | 885.7 | 797.5 | 695.6 | 577.6 | 477.3 | 418.1 | 324.5 | 229.1 | 177.2 | 143.7
445 | 262.7 | 314.4 | 367.9 | 566.6 | 4033 | 3666 | 676.8 | 719.8 | 792.2 | 797.3 | 784.3 | 796.5 | 817.7 | 872 | 947.8 | 1048 | 1150 | 1164 | 1171 | 1121 | 1103 | 1087 | 1083 | 1097 | 1118 | 1144 | 1140 | 1120 | 1072 | 1011 | 932.5 | 859.1 | 775.8 | 685.8 | 577.7 | 466.8 | 393.9 | 358.2 | 269.4 | 200.4 | 165.2
450 | 233.8 | 269.1 | 397.4 | 486.3 | 1372 | 6505 | 1343 | 693.1 | 748.6 | 769 | 756.3 | 772 | 774.6 | 817.7 | 881.9 | 968.9 | 1049 | 1087 | 1074 | 1037 | 1020 | 1018 | 1024 | 1033 | 1060 | 1085 | 1079 | 1063 | 1028 | 967.6 | 897.2 | 823.1 | 745.7 | 666.4 | 567 | 466.6 | 383.9 | 336.7 | 309.4 | 233.2 | 178.8
455 | 232 | 289.3 | 315.3 | 439.4 | 564.7 | 5397 | 4154 | 655.8 | 675.9 | 729.6 | 732.8 | 728.6 | 742.9 | 757.1 | 802.6 | 887.1 | 951.5 | 981.3 | 973.4 | 952.8 | 936.2 | 940.3 | 943.5 | 968 | 987.1 | 1019 | 1018 | 999.1 | 959.9 | 908.2 | 844 | 775 | 706.9 | 637.4 | 554.4 | 461.7 | 383.7 | 324.4 | 306.8 | 270.3 | 202.1
460 | 221 | 285.7 | 287.3 | 401.4 | 465 | 1680 | 7824 | 1335 | 647.2 | 685.5 | 679.5 | 696.2 | 695.2 | 701 | 749 | 802.7 | 882.2 | 888.3 | 883.4 | 863.9 | 852.4 | 854.2 | 868.3 | 890.9 | 921.5 | 941.8 | 946.6 | 932.8 | 904.5 | 849.5 | 790.1 | 724.9 | 667.8 | 602.5 | 530.4 | 447 | 376.3 | 326.6 | 288 | 280.4 | 240.6
465 | 240.3 | 259.7 | 299.3 | 354.6 | 409.7 | 544 | 6725 | 4523 | 611.6 | 627.1 | 633.2 | 655.1 | 647.7 | 672.5 | 677.1 | 744.4 | 782.9 | 807.8 | 792.2 | 772.7 | 773.7 | 783.3 | 789.5 | 809 | 838.4 | 865.5 | 876.6 | 862.5 | 825.8 | 786.1 | 726.8 | 668.5 | 621.5 | 564.1 | 498.9 | 432.5 | 370.8 | 319.5 | 282.6 | 260 | 257.8
470 | 235.9 | 226.1 | 238.3 | 368.7 | 395.5 | 433.7 | 2025 | 8764 | 1459 | 593.3 | 602.8 | 611.5 | 613.8 | 616.4 | 635.6 | 674.2 | 702.2 | 716.3 | 714.5 | 686 | 693.7 | 698.8 | 705.7 | 728.6 | 758.4 | 776.1 | 788.7 | 780.3 | 753.8 | 720.9 | 664 | 616 | 569 | 530.1 | 471.9 | 414 | 361.4 | 314.6 | 282.5 | 256.4 | 246
475 | 221.7 | 215.5 | 282.5 | 309.2 | 384.2 | 404.2 | 534.4 | 7724 | 4863 | 550.7 | 552.9 | 576.5 | 575 | 573.5 | 582.5 | 616.3 | 642.6 | 636.6 | 629.5 | 605.3 | 613.5 | 623.1 | 635.4 | 654.4 | 676.8 | 702.8 | 708.8 | 708 | 684.9 | 650.7 | 606.4 | 565.7 | 522.1 | 490.4 | 436.3 | 393.2 | 343.5 | 308 | 280 | 251.5 | 231
480 | 163.6 | 202 | 242.1 | 292.7 | 345.5 | 352.6 | 391.4 | 2326 | 9479 | 1383 | 539.1 | 533 | 546.3 | 555.9 | 544.8 | 579.8 | 587.6 | 586.3 | 553.4 | 543.2 | 543.9 | 557.6 | 567.4 | 589.7 | 614.2 | 633.9 | 644.3 | 641.9 | 622.4 | 598.8 | 563.1 | 517.6 | 492.9 | 462.1 | 425.2 | 381.2 | 338.7 | 309.5 | 277.9 | 255.9 | 231.7
485 | 181.8 | 163.7 | 223.5 | 267.8 | 330.6 | 373.6 | 366.5 | 543.8 | 8313 | 4927 | 515.7 | 529.7 | 555 | 565.9 | 557 | 554.6 | 572.9 | 550.8 | 508 | 490.2 | 491.1 | 504 | 515.7 | 535.8 | 558.7 | 579 | 591.1 | 596.1 | 579.3 | 557.7 | 527.4 | 494.3 | 470.4 | 445.2 | 415.6 | 379.7 | 342.3 | 311.2 | 281.8 | 261 | 243
490 | 180.1 | 188.4 | 181.4 | 209.2 | 286.4 | 327.1 | 346.9 | 409.2 | 2564 | 9720 | 1293 | 542.5 | 558.6 | 589.6 | 587.6 | 575.4 | 561.2 | 519.9 | 472.4 | 453.1 | 447.4 | 463.8 | 471.3 | 488.1 | 513.9 | 529.3 | 550.9 | 553.4 | 544 | 526.3 | 500 | 481.7 | 465.8 | 445.8 | 421.4 | 387.9 | 357.7 | 321.3 | 296.9 | 270.4 | 254.6
495 | 177.2 | 193.8 | 192.9 | 244.3 | 272.9 | 333.2 | 358.4 | 342.5 | 559.7 | 8931 | 4687 | 563.4 | 599.3 | 631.6 | 633.4 | 602.3 | 574.8 | 511 | 446.5 | 410.1 | 405.5 | 412.7 | 427 | 446.3 | 467.5 | 488.6 | 511.2 | 515.4 | 513.5 | 507.4 | 488.2 | 479.2 | 471.2 | 458 | 442.9 | 411 | 377.6 | 347.9 | 311 | 286.7 | 267
500 | 150.3 | 173 | 173.4 | 202.3 | 281 | 307.5 | 378.8 | 339.8 | 386.3 | 3022 | 9534 | 1278 | 634 | 697.6 | 689.9 | 641.6 | 600 | 499.1 | 411.6 | 368.1 | 359.8 | 368 | 383.5 | 402.1 | 430.8 | 444.4 | 470.4 | 487.2 | 486.4 | 481.9 | 482.4 | 480 | 475.5 | 475.7 | 462 | 434.3 | 404.5 | 363.1 | 327.7 | 303.9 | 286.4