## Sheet1
Report date: | 13:41:42, 09/18/2024
Sample: | 1
File name:
Run date: | 13:36:09, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 220.0/360.0 | 4345
2 | 250.0/275.0 | 203.2
3 | 250.0/430.0 | 1678
4 | 255.0/280.0 | 235.3
5 | 275.0/355.0 | 8968
6 | 330.0/435.0 | 2115
7 | 390.0/275.0 | 4.461
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 62.67 | 40.58 | 39.46 | 47.42 | 49.68 | 19.37 | 17.47 | 14.36 | 27.79 | 163.4 | 101.3 | 31.08 | 95.29 | 9148 | 9999.9 | 3466 | 25.23 | 11.84 | 8.221 | 5.906 | 4.075 | 3.751 | 3.324 | 3.587 | 3.143 | 2.782 | 2.789 | 2.813 | 3.216 | 3.201 | 3.135 | 2.665 | 2.546 | 3.052 | 2.865 | 3.245 | 3.988 | 4.962 | 4.119 | 3.04 | 2.562
275 | 58.55 | 64.73 | 85.12 | 74.35 | 58.63 | 36.76 | 20.13 | 17.37 | 17.88 | 56.47 | 203.2 | 96.27 | 49.09 | 652.9 | 9999.9 | 9999.9 | 2857 | 24.8 | 10.27 | 6.767 | 5.442 | 3.886 | 3.136 | 3.196 | 3.411 | 3.26 | 2.967 | 3.041 | 3.225 | 3.216 | 2.796 | 2.855 | 2.769 | 2.869 | 2.822 | 3.015 | 3.16 | 4.065 | 4.461 | 3.537 | 2.788
280 | 72.03 | 68.57 | 74.89 | 114 | 105.7 | 99.67 | 49.72 | 26.36 | 20.51 | 25.91 | 101.2 | 235.3 | 107.1 | 114 | 736.7 | 9999.9 | 9999.9 | 2441 | 22.31 | 9.011 | 6.038 | 4.504 | 4.389 | 3.929 | 3.665 | 3.262 | 3.409 | 3.019 | 3.396 | 3.377 | 3.015 | 3.073 | 3.199 | 2.934 | 2.787 | 2.956 | 3.038 | 3.587 | 4.108 | 3.977 | 3.475
285 | 148.9 | 103.1 | 129 | 185 | 199.8 | 219.4 | 161.3 | 72.58 | 43.68 | 38.79 | 58.21 | 201.8 | 313.1 | 210.4 | 271.4 | 881.2 | 9906 | 9999.9 | 2079 | 18.68 | 8.757 | 6.571 | 5.749 | 3.929 | 4.25 | 3.636 | 3.494 | 3.102 | 3.02 | 3.323 | 3.286 | 2.866 | 3.037 | 3.289 | 3.128 | 2.793 | 2.737 | 3.014 | 2.759 | 3.379 | 3.746
290 | 184.5 | 155.4 | 218.9 | 330.8 | 442.3 | 482.4 | 393.3 | 217.9 | 113.1 | 75.81 | 92.03 | 174.3 | 438.8 | 568.1 | 566.5 | 633.5 | 1125 | 9999.9 | 9999.9 | 1847 | 15.98 | 7.147 | 5.537 | 5.234 | 5.017 | 4.01 | 3.308 | 3.774 | 3.146 | 3.282 | 3.662 | 3.235 | 2.884 | 3.08 | 3.156 | 3.331 | 2.805 | 2.712 | 2.695 | 2.826 | 3.245
295 | 218.1 | 265.1 | 312.4 | 402.3 | 638.8 | 781.8 | 664.8 | 405.1 | 228.9 | 151.7 | 167 | 271.2 | 472.9 | 924.1 | 1097 | 1073 | 945.4 | 1169 | 9999.9 | 9999.9 | 1754 | 16.34 | 8.084 | 6.035 | 5.945 | 4.757 | 3.802 | 3.783 | 4.075 | 3.63 | 3.658 | 3.143 | 3.266 | 3.186 | 3.191 | 3.113 | 2.757 | 3.138 | 2.569 | 2.416 | 2.519
300 | 338.2 | 322.5 | 389.5 | 546.5 | 857.6 | 1064 | 983.4 | 596.4 | 353.2 | 243.6 | 268.3 | 399.2 | 667.6 | 1069 | 1622 | 1644 | 1364 | 901.6 | 999.8 | 9999.9 | 9999.9 | 1556 | 13.19 | 8.033 | 7.146 | 5.341 | 4.599 | 3.848 | 4.004 | 3.791 | 3.825 | 3.419 | 3.462 | 3.567 | 3.497 | 3.037 | 2.773 | 3.157 | 2.716 | 2.519 | 2.323
305 | 347.8 | 382.3 | 504.6 | 676.9 | 950.2 | 1246 | 1167 | 769.4 | 483.5 | 370.3 | 402.2 | 593.6 | 901.4 | 1364 | 1857 | 2243 | 1866 | 1231 | 627.2 | 863.7 | 9999.9 | 9999.9 | 1239 | 13.05 | 9.522 | 6.273 | 5.294 | 4.426 | 4.033 | 4.506 | 4.183 | 3.652 | 3.654 | 3.795 | 3.556 | 3.303 | 3.201 | 3.329 | 2.732 | 2.272 | 2.349
310 | 450.6 | 443.2 | 575.7 | 809.8 | 1234 | 1474 | 1309 | 891.1 | 628.6 | 539.1 | 631.3 | 876.1 | 1252 | 1778 | 2291 | 2615 | 2515 | 1710 | 898.3 | 402.6 | 772.5 | 9999.9 | 9999.9 | 1398 | 15.55 | 8.06 | 6.115 | 5.382 | 4.956 | 5.033 | 4.076 | 4.25 | 4.263 | 3.96 | 3.462 | 3.216 | 3.187 | 3.416 | 2.644 | 2.469 | 2.293
315 | 453.6 | 502.8 | 755.1 | 1072 | 1532 | 1650 | 1368 | 965.6 | 741.5 | 709.9 | 889.5 | 1237 | 1772 | 2347 | 2869 | 3117 | 3031 | 2380 | 1307 | 559.1 | 246.5 | 726.3 | 8958 | 9999.9 | 1507 | 12.87 | 7.967 | 6.495 | 5.673 | 5.862 | 5.429 | 4.307 | 4.271 | 3.929 | 3.608 | 3.747 | 3.413 | 3.377 | 2.772 | 2.495 | 2.342
320 | 472.9 | 576 | 813.4 | 1324 | 1851 | 1898 | 1489 | 1061 | 897.2 | 927.3 | 1190 | 1691 | 2329 | 3040 | 3600 | 3867 | 3633 | 3027 | 1871 | 762.1 | 307 | 162.6 | 629.4 | 9999.9 | 9999.9 | 1238 | 12.71 | 7.882 | 7.65 | 6.74 | 5.719 | 4.723 | 4.957 | 3.786 | 3.833 | 3.629 | 3.589 | 3.379 | 3.082 | 2.799 | 2.469
325 | 481.5 | 673.4 | 993.2 | 1538 | 2249 | 2243 | 1638 | 1177 | 1014 | 1116 | 1494 | 2171 | 3005 | 3871 | 4504 | 4775 | 4464 | 3650 | 2436 | 1091 | 407.7 | 167.9 | 110.6 | 689.3 | 9999.9 | 9999.9 | 1173 | 13.98 | 10.03 | 7.778 | 6.608 | 5.606 | 4.686 | 4.591 | 4.085 | 4.146 | 4.085 | 3.753 | 3.017 | 2.778 | 2.681
330 | 489.1 | 712.7 | 1097 | 1924 | 2715 | 2603 | 1741 | 1222 | 1124 | 1332 | 1802 | 2670 | 3676 | 4705 | 5430 | 5742 | 5381 | 4438 | 2849 | 1418 | 556.7 | 217.7 | 102.9 | 91.61 | 695.4 | 9968 | 9999.9 | 1334 | 14.21 | 10.53 | 8.94 | 6.541 | 5.217 | 5.295 | 4.658 | 4.284 | 4.715 | 4.073 | 3.531 | 2.757 | 2.519
335 | 551 | 799.3 | 1313 | 2210 | 3272 | 3071 | 1957 | 1304 | 1243 | 1520 | 2160 | 3140 | 4379 | 5643 | 6449 | 6728 | 6326 | 5239 | 3362 | 1564 | 786.7 | 299.5 | 129.5 | 74.07 | 86.48 | 682.5 | 9779 | 9999.9 | 1486 | 17.33 | 12.87 | 8.399 | 6.755 | 5.993 | 5.36 | 4.78 | 4.878 | 4.435 | 3.842 | 3.278 | 2.609
340 | 593.5 | 856.8 | 1405 | 2527 | 3709 | 3351 | 2081 | 1402 | 1331 | 1696 | 2387 | 3572 | 4952 | 6373 | 7302 | 7636 | 7170 | 5937 | 3844 | 1742 | 839.1 | 465.3 | 180.2 | 92.67 | 60.08 | 82.03 | 674.1 | 9999.9 | 9999.9 | 1831 | 19.75 | 12.31 | 9.509 | 7.207 | 5.775 | 5.122 | 5.186 | 4.849 | 3.738 | 3.334 | 2.773
345 | 584.9 | 889 | 1560 | 2791 | 4073 | 3658 | 2206 | 1428 | 1413 | 1794 | 2597 | 3879 | 5436 | 6973 | 8008 | 8358 | 7817 | 6536 | 4233 | 1919 | 852.6 | 513.8 | 303.9 | 128.4 | 80.09 | 61.34 | 84.2 | 698.2 | 9999.9 | 9999.9 | 2337 | 19.47 | 12.78 | 10.42 | 7.199 | 6.198 | 5.793 | 5.449 | 4.496 | 3.552 | 3.273
350 | 615.1 | 918.1 | 1613 | 2882 | 4265 | 3780 | 2301 | 1468 | 1450 | 1860 | 2729 | 4057 | 5710 | 7326 | 8413 | 8799 | 8212 | 6877 | 4499 | 2049 | 927.9 | 472.4 | 376.4 | 228.2 | 116.1 | 82.52 | 69.47 | 90.88 | 707.1 | 9999.9 | 9999.9 | 2472 | 21.57 | 14.72 | 11.31 | 7.426 | 6.941 | 6.267 | 4.575 | 4.071 | 3.379
355 | 703.9 | 1015 | 1634 | 2960 | 4305 | 3911 | 2281 | 1461 | 1446 | 1891 | 2769 | 4129 | 5831 | 7476 | 8604 | 8968 | 8306 | 6998 | 4623 | 2137 | 985.8 | 513.9 | 330.2 | 345.2 | 200.9 | 121 | 96.2 | 82.25 | 103.9 | 734.2 | 9999.9 | 9999.9 | 2622 | 23.05 | 15.77 | 10.88 | 8.775 | 7.338 | 5.488 | 4.585 | 3.915
360 | 598.8 | 923.8 | 1675 | 2858 | 4345 | 3831 | 2257 | 1404 | 1445 | 1859 | 2708 | 4009 | 5754 | 7355 | 8428 | 8820 | 8219 | 6941 | 4599 | 2165 | 1038 | 565.2 | 365.8 | 318 | 334.2 | 203.4 | 142.8 | 114.7 | 94.99 | 112.5 | 738.2 | 9999.9 | 9999.9 | 3085 | 25.51 | 16.29 | 12.75 | 8.646 | 6.908 | 5.463 | 4.434
365 | 644.7 | 948.8 | 1624 | 2800 | 4125 | 3696 | 2202 | 1412 | 1373 | 1793 | 2589 | 3872 | 5470 | 7020 | 8077 | 8392 | 7922 | 6630 | 4455 | 2120 | 1077 | 620 | 426.4 | 340.9 | 345.2 | 343.5 | 215.5 | 162.8 | 131.5 | 103.4 | 116.8 | 749 | 9999.9 | 9999.9 | 3207 | 26.65 | 17.28 | 13.87 | 8.644 | 6.068 | 4.842
370 | 580.9 | 823.9 | 1528 | 2584 | 3806 | 3499 | 2095 | 1310 | 1322 | 1681 | 2454 | 3630 | 5095 | 6523 | 7558 | 7842 | 7351 | 6174 | 4180 | 2078 | 1089 | 670.6 | 503 | 412.5 | 370 | 411.1 | 365.4 | 244.7 | 191.2 | 149.1 | 114.8 | 124.6 | 769.3 | 9999.9 | 9999.9 | 3287 | 28.52 | 19.16 | 12.26 | 7.24 | 5.779
375 | 609.5 | 783.9 | 1351 | 2388 | 3445 | 3205 | 1926 | 1260 | 1232 | 1614 | 2254 | 3299 | 4586 | 5914 | 6788 | 7074 | 6673 | 5638 | 3888 | 2013 | 1122 | 756.2 | 586.9 | 510.5 | 458.6 | 433.9 | 481.8 | 395.5 | 285.5 | 222 | 171.6 | 127.7 | 133.6 | 803.4 | 9999.9 | 9999.9 | 3852 | 30.87 | 16.26 | 11.33 | 7.368
380 | 549.9 | 755.4 | 1255 | 2266 | 2983 | 2922 | 1770 | 1205 | 1194 | 1515 | 2052 | 2958 | 4106 | 5226 | 6024 | 6315 | 5954 | 5085 | 3572 | 1926 | 1154 | 834.7 | 689.8 | 624.7 | 587.3 | 547.7 | 538.4 | 567.9 | 444.5 | 330.8 | 257.7 | 197 | 145.9 | 148.2 | 807.5 | 9999.9 | 9999.9 | 4023 | 26.26 | 14.93 | 10.3
385 | 468.4 | 728.2 | 1154 | 1944 | 2893 | 2597 | 1637 | 1147 | 1175 | 1440 | 1926 | 2685 | 3634 | 4607 | 5308 | 5572 | 5288 | 4570 | 3286 | 1878 | 1219 | 941.4 | 820 | 767.3 | 733 | 712.1 | 677.6 | 667.8 | 653.1 | 494.7 | 380.1 | 298.8 | 224 | 158.5 | 149.2 | 815.4 | 9999.9 | 9999.9 | 3187 | 23.07 | 13.44
390 | 796.9 | 682.9 | 1029 | 1724 | 2679 | 2343 | 1518 | 1154 | 1140 | 1388 | 1825 | 2413 | 3210 | 4003 | 4599 | 4847 | 4659 | 4105 | 3041 | 1846 | 1304 | 1073 | 970.4 | 936.1 | 911.4 | 890.5 | 854 | 810.3 | 797.5 | 729.6 | 553 | 430.1 | 328.8 | 232.6 | 157.3 | 140.9 | 801.6 | 9999.9 | 9999.9 | 3022 | 21.86
395 | 2392 | 566.2 | 880 | 1546 | 2358 | 2125 | 1417 | 1106 | 1146 | 1384 | 1742 | 2207 | 2816 | 3491 | 4023 | 4280 | 4179 | 3679 | 2821 | 1863 | 1398 | 1218 | 1136 | 1116 | 1107 | 1090 | 1068 | 1020 | 941.6 | 918 | 783.4 | 584.8 | 447.4 | 324.6 | 212.9 | 134.3 | 129.8 | 842.3 | 9999.9 | 9999.9 | 2761
400 | 3376 | 1146 | 884.3 | 1418 | 1974 | 2008 | 1369 | 1130 | 1202 | 1397 | 1695 | 2061 | 2534 | 3063 | 3526 | 3746 | 3695 | 3348 | 2679 | 1867 | 1513 | 1362 | 1310 | 1298 | 1317 | 1308 | 1290 | 1243 | 1150 | 1056 | 992.9 | 795.3 | 582.9 | 425.6 | 284.6 | 176.5 | 110.7 | 119.2 | 763.2 | 9999.9 | 9999.9
405 | 2191 | 2886 | 800.4 | 1270 | 1937 | 1832 | 1400 | 1166 | 1241 | 1409 | 1687 | 1948 | 2283 | 2699 | 3086 | 3332 | 3322 | 3080 | 2550 | 1917 | 1619 | 1513 | 1472 | 1485 | 1509 | 1522 | 1503 | 1460 | 1362 | 1240 | 1119 | 1002 | 760.2 | 536.3 | 361.2 | 228.9 | 144.1 | 91.49 | 99.37 | 738.9 | 9999.9
410 | 677.9 | 3725 | 1321 | 1260 | 1706 | 1715 | 1306 | 1175 | 1294 | 1456 | 1654 | 1866 | 2084 | 2447 | 2766 | 2973 | 3018 | 2839 | 2448 | 1963 | 1712 | 1640 | 1618 | 1647 | 1684 | 1696 | 1696 | 1655 | 1559 | 1418 | 1254 | 1107 | 942.8 | 653.7 | 438.5 | 284.5 | 172.9 | 108.7 | 69.94 | 90.42 | 723.8
415 | 375.8 | 2128 | 3180 | 1154 | 1544 | 1552 | 1337 | 1220 | 1278 | 1490 | 1674 | 1781 | 1944 | 2159 | 2492 | 2713 | 2782 | 2661 | 2365 | 1960 | 1804 | 1746 | 1743 | 1775 | 1827 | 1855 | 1861 | 1811 | 1708 | 1565 | 1393 | 1190 | 1032 | 805.8 | 517.8 | 331 | 212 | 131.6 | 85.23 | 58.84 | 83.81
420 | 439 | 757.5 | 4293 | 1615 | 1400 | 1512 | 1279 | 1174 | 1326 | 1511 | 1653 | 1765 | 1799 | 1991 | 2231 | 2435 | 2536 | 2491 | 2274 | 1964 | 1850 | 1810 | 1830 | 1869 | 1928 | 1968 | 1971 | 1922 | 1832 | 1691 | 1499 | 1279 | 1066 | 888.7 | 622.6 | 384.3 | 248.5 | 155.7 | 102.7 | 68.02 | 51.59
425 | 380.6 | 519.1 | 2547 | 3313 | 1287 | 1408 | 1188 | 1191 | 1346 | 1505 | 1668 | 1695 | 1715 | 1811 | 2036 | 2237 | 2351 | 2321 | 2183 | 1955 | 1880 | 1862 | 1869 | 1929 | 1988 | 2043 | 2052 | 2014 | 1913 | 1764 | 1584 | 1354 | 1106 | 888.5 | 703.6 | 453.2 | 281.8 | 183.2 | 119.3 | 83.21 | 59.78
430 | 334.9 | 454 | 915.7 | 4155 | 1720 | 1244 | 1154 | 1171 | 1320 | 1491 | 1678 | 1631 | 1613 | 1676 | 1865 | 2061 | 2199 | 2184 | 2082 | 1936 | 1876 | 1873 | 1918 | 1974 | 2032 | 2078 | 2107 | 2064 | 1973 | 1810 | 1633 | 1401 | 1151 | 905.1 | 699.8 | 530.6 | 325.2 | 205.3 | 140.1 | 99.41 | 73.01
435 | 281.5 | 453.5 | 578.4 | 2594 | 3145 | 1139 | 1149 | 1185 | 1313 | 1511 | 1603 | 1585 | 1532 | 1583 | 1735 | 1916 | 2027 | 2072 | 2008 | 1908 | 1880 | 1894 | 1917 | 1984 | 2042 | 2098 | 2115 | 2078 | 1999 | 1847 | 1657 | 1419 | 1180 | 931.8 | 684 | 536.3 | 391.6 | 236 | 157.1 | 113.3 | 84.99
440 | 283 | 394.6 | 563.9 | 1063 | 4228 | 1545 | 1049 | 1151 | 1266 | 1473 | 1568 | 1532 | 1452 | 1480 | 1594 | 1771 | 1913 | 1954 | 1922 | 1850 | 1823 | 1846 | 1892 | 1954 | 2026 | 2074 | 2094 | 2073 | 1974 | 1825 | 1649 | 1436 | 1186 | 932.8 | 700.3 | 512.1 | 410.5 | 283.7 | 181.7 | 128.4 | 99.74
445 | 293.7 | 347 | 504.1 | 751.3 | 2953 | 2969 | 1046 | 1069 | 1261 | 1437 | 1508 | 1465 | 1392 | 1367 | 1475 | 1626 | 1772 | 1808 | 1788 | 1760 | 1761 | 1798 | 1820 | 1886 | 1969 | 2017 | 2041 | 2005 | 1927 | 1784 | 1603 | 1396 | 1167 | 927.3 | 702.9 | 509.5 | 378.6 | 312.7 | 219.6 | 143.3 | 109.4
450 | 309.4 | 353 | 449.4 | 616.4 | 1220 | 4305 | 1372 | 1013 | 1173 | 1348 | 1429 | 1392 | 1287 | 1244 | 1356 | 1494 | 1609 | 1665 | 1674 | 1637 | 1665 | 1693 | 1746 | 1802 | 1871 | 1914 | 1941 | 1915 | 1834 | 1705 | 1537 | 1346 | 1118 | 898.6 | 684.7 | 503.1 | 369.8 | 295 | 249.8 | 170.4 | 119.6
455 | 279.6 | 314.1 | 501.7 | 528.1 | 795 | 3230 | 2860 | 949.8 | 1124 | 1276 | 1358 | 1305 | 1208 | 1163 | 1222 | 1336 | 1449 | 1518 | 1527 | 1518 | 1549 | 1590 | 1637 | 1692 | 1747 | 1787 | 1818 | 1788 | 1712 | 1606 | 1457 | 1266 | 1064 | 862.6 | 666.7 | 489.7 | 361.4 | 274.5 | 242 | 202.5 | 139
460 | 228 | 265 | 369.2 | 499 | 650.5 | 1246 | 4226 | 1291 | 1039 | 1192 | 1261 | 1192 | 1114 | 1053 | 1115 | 1215 | 1320 | 1373 | 1389 | 1400 | 1431 | 1461 | 1503 | 1553 | 1616 | 1659 | 1669 | 1661 | 1597 | 1495 | 1342 | 1185 | 1003 | 816.8 | 638.5 | 474.8 | 356.1 | 271.4 | 220.1 | 207.2 | 167.9
465 | 270.8 | 254.6 | 340.8 | 468.2 | 582.7 | 703.8 | 3180 | 2738 | 954.5 | 1091 | 1156 | 1090 | 997.4 | 949.9 | 980 | 1095 | 1177 | 1242 | 1254 | 1265 | 1286 | 1327 | 1371 | 1416 | 1481 | 1518 | 1537 | 1521 | 1458 | 1367 | 1235 | 1086 | 931.2 | 757.5 | 598.3 | 453.7 | 349.5 | 270.5 | 215.6 | 187.4 | 183.7
470 | 198 | 211.1 | 340.5 | 407.9 | 500.7 | 584.5 | 1145 | 4380 | 1277 | 997.1 | 1061 | 1003 | 911.1 | 868.9 | 883.2 | 968.5 | 1054 | 1095 | 1129 | 1128 | 1161 | 1204 | 1231 | 1282 | 1329 | 1374 | 1394 | 1371 | 1325 | 1239 | 1129 | 989.1 | 854.5 | 705 | 564.6 | 437.4 | 337.7 | 264.2 | 216.7 | 182 | 171.2
475 | 180.2 | 210.2 | 266.5 | 324.4 | 448.9 | 525.6 | 589.8 | 3616 | 2571 | 926.7 | 974.5 | 921 | 830.5 | 778.7 | 793.9 | 869.2 | 937.8 | 973.7 | 999.1 | 1015 | 1044 | 1073 | 1110 | 1142 | 1185 | 1230 | 1241 | 1239 | 1189 | 1115 | 1020 | 909 | 777.6 | 653.2 | 534.3 | 413.2 | 326.5 | 266.2 | 215.8 | 184.3 | 163.1
480 | 168.1 | 177.7 | 238.5 | 316.8 | 424.7 | 453.6 | 527.3 | 1297 | 4176 | 1184 | 865.8 | 851.2 | 774.3 | 736 | 742.1 | 797 | 835.7 | 868.7 | 889.4 | 903.9 | 926.8 | 964.6 | 985.6 | 1027 | 1069 | 1102 | 1112 | 1113 | 1078 | 1020 | 928.9 | 831.6 | 726.6 | 616.2 | 510 | 405.2 | 329.3 | 269.3 | 226.6 | 193.7 | 169.8
485 | 157 | 199.3 | 222 | 274.8 | 350.6 | 438.7 | 490 | 596 | 3384 | 2558 | 822.8 | 784.1 | 756.9 | 728 | 731.3 | 765.3 | 785.4 | 792.4 | 808 | 814.4 | 842.6 | 868.1 | 899 | 929.3 | 967.7 | 999.5 | 1012 | 1014 | 985.4 | 937 | 862.8 | 781.3 | 690.5 | 602.3 | 502.7 | 410.3 | 345.9 | 282 | 242.7 | 209.4 | 186.9
490 | 144.7 | 159.2 | 201.4 | 238.9 | 338.1 | 423.3 | 444.2 | 503.4 | 1271 | 4235 | 1109 | 776.1 | 773.2 | 751.1 | 743.2 | 760.3 | 769.2 | 754.1 | 734 | 733.1 | 762.6 | 783.1 | 810.1 | 842 | 874.4 | 907.7 | 929.6 | 930 | 910.6 | 869.8 | 815.7 | 746.9 | 674.6 | 593.3 | 518 | 442.9 | 370.4 | 314.8 | 268.2 | 237 | 211.7
495 | 188 | 144.6 | 193 | 259.8 | 289.7 | 374.3 | 427.7 | 475.4 | 618.7 | 3695 | 2490 | 779.2 | 776.3 | 796.9 | 782.9 | 786.1 | 752.8 | 710.5 | 671 | 664.8 | 675.6 | 702.1 | 730.9 | 750.7 | 783.9 | 818.5 | 843.8 | 845.2 | 839.4 | 813.8 | 767.1 | 724.6 | 671.7 | 609.5 | 548.9 | 478.6 | 410 | 351.6 | 306.9 | 268.3 | 246.1
500 | 154.4 | 181.7 | 168.4 | 231.3 | 296.4 | 344.4 | 417.7 | 452.9 | 533.5 | 1468 | 4364 | 1092 | 813.9 | 850.3 | 860.3 | 819.3 | 761 | 686.9 | 612.3 | 601 | 601.5 | 624.5 | 641.6 | 669.8 | 698 | 729.2 | 756.9 | 773.6 | 774.6 | 755.9 | 735.9 | 700 | 672.6 | 635.5 | 586 | 521.9 | 456.9 | 392.7 | 342 | 305.8 | 281.3