## Sheet1
Report date: | 13:47:57, 09/18/2024
Sample: | 1
File name:
Run date: | 13:42:25, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 220.0/355.0 | 3933
2 | 250.0/275.0 | 204.8
3 | 255.0/280.0 | 239.4
4 | 275.0/355.0 | 8604
5 | 330.0/435.0 | 2050
6 | 390.0/275.0 | 4.14
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 46.77 | 25.27 | 51.65 | 35.63 | 29.32 | 34.2 | 9.837 | 13.03 | 26.22 | 165.4 | 106 | 30.43 | 87.34 | 9999.9 | 9999.9 | 3471 | 24.63 | 12.44 | 7.81 | 5.753 | 4.621 | 3.687 | 3.083 | 2.968 | 2.832 | 2.531 | 2.917 | 2.612 | 2.799 | 2.784 | 3 | 2.884 | 2.639 | 2.849 | 2.848 | 3.028 | 3.739 | 4.02 | 3.69 | 2.772 | 2.337
275 | 36.92 | 53.17 | 44.51 | 76.01 | 60.26 | 41.39 | 20.29 | 15.18 | 17.22 | 60.55 | 204.8 | 92.83 | 48.25 | 717.9 | 9999.9 | 9999.9 | 2875 | 23.11 | 9.988 | 7.143 | 5.131 | 3.876 | 3.37 | 3.117 | 3.143 | 3.141 | 2.881 | 3.273 | 2.926 | 2.88 | 2.643 | 3.045 | 3.068 | 2.829 | 2.591 | 2.702 | 3.01 | 3.463 | 4.14 | 3.368 | 2.673
280 | 50.69 | 77.77 | 93.69 | 97.7 | 109.3 | 85.43 | 40.75 | 23.17 | 19.08 | 25.69 | 105.7 | 239.4 | 103.2 | 121 | 746.1 | 9999.9 | 9999.9 | 2534 | 20.93 | 8.966 | 6.081 | 4.99 | 4.04 | 4.083 | 2.951 | 3.264 | 2.944 | 3.229 | 3.127 | 3.251 | 2.898 | 3.156 | 3.418 | 3.273 | 3.04 | 2.812 | 2.769 | 2.688 | 3.468 | 3.591 | 3.216
285 | 105.1 | 127.8 | 126.9 | 169.8 | 218.9 | 213.5 | 142.3 | 83.01 | 42.84 | 34.97 | 55.56 | 195 | 314.5 | 203.3 | 263.2 | 890.4 | 9999.9 | 9999.9 | 2147 | 19.57 | 8.214 | 6.137 | 4.679 | 4.032 | 3.578 | 3.543 | 2.903 | 3.178 | 3.299 | 3.123 | 2.874 | 3.024 | 3.554 | 2.878 | 2.788 | 2.693 | 2.807 | 2.492 | 2.622 | 3.133 | 3.627
290 | 196.7 | 156.3 | 185.3 | 282 | 387 | 450.7 | 376.9 | 203.1 | 105.3 | 77.23 | 95.39 | 163.9 | 436 | 565 | 566.3 | 630.8 | 1137 | 9999.9 | 9999.9 | 1886 | 15.08 | 7.571 | 5.729 | 4.545 | 4.153 | 3.429 | 3.271 | 3.574 | 3.463 | 3.518 | 3.076 | 3.369 | 3.392 | 3.033 | 3.248 | 2.74 | 2.54 | 2.621 | 2.456 | 2.758 | 2.894
295 | 213.1 | 239.7 | 305.1 | 381 | 568.7 | 788.6 | 668.4 | 375 | 218.5 | 147.5 | 164.6 | 254.6 | 461.4 | 921.5 | 1087 | 1066 | 943.7 | 1167 | 9999.9 | 9999.9 | 1625 | 14.4 | 7.417 | 6.138 | 4.943 | 4.318 | 4.091 | 3.585 | 3.501 | 3.431 | 3.478 | 3.259 | 3.312 | 3.386 | 2.958 | 2.953 | 3.041 | 2.433 | 2.684 | 2.441 | 2.608
300 | 265.5 | 291.5 | 371.8 | 529.2 | 858.8 | 995.6 | 868.5 | 565.9 | 340.1 | 246.9 | 267.9 | 391.8 | 656 | 1062 | 1630 | 1638 | 1365 | 906.3 | 993.1 | 9999.9 | 9999.9 | 1441 | 13.16 | 8.181 | 6.56 | 4.762 | 3.934 | 3.841 | 3.441 | 3.418 | 3.374 | 3.421 | 3.474 | 3.534 | 3.324 | 3.197 | 2.878 | 2.681 | 2.65 | 2.524 | 2.314
305 | 336.6 | 344.1 | 446.1 | 636.2 | 1008 | 1239 | 1104 | 745.4 | 475 | 356.6 | 389.6 | 588.6 | 914.6 | 1351 | 1863 | 2273 | 1869 | 1228 | 617.3 | 860.7 | 9999.9 | 9999.9 | 1324 | 13.52 | 7.815 | 6.107 | 4.577 | 4.424 | 3.974 | 3.794 | 3.674 | 3.907 | 3.999 | 3.917 | 3.512 | 3.013 | 2.832 | 3.146 | 2.533 | 2.536 | 2.323
310 | 363.1 | 430.3 | 560.7 | 733.5 | 1174 | 1420 | 1226 | 833.4 | 589.9 | 532.2 | 584.3 | 846.9 | 1238 | 1757 | 2274 | 2614 | 2518 | 1705 | 896.4 | 407.9 | 774.4 | 9328 | 9999.9 | 1292 | 12.94 | 8.426 | 6.188 | 4.811 | 4.499 | 4.075 | 4.384 | 4.008 | 4.274 | 3.707 | 3.7 | 3.249 | 2.801 | 2.879 | 2.838 | 2.649 | 2.164
315 | 365.2 | 462.9 | 597.9 | 961.4 | 1416 | 1588 | 1353 | 949.5 | 733.1 | 680.2 | 831.9 | 1209 | 1733 | 2296 | 2847 | 3118 | 3020 | 2390 | 1289 | 545.2 | 248.5 | 682.7 | 9260 | 9999.9 | 1205 | 13.85 | 8.186 | 6.791 | 5.586 | 4.93 | 4.606 | 4.452 | 3.995 | 4.305 | 4.27 | 3.468 | 3.214 | 2.853 | 2.912 | 2.588 | 2.55
320 | 344.5 | 533.2 | 663.8 | 1177 | 1691 | 1863 | 1454 | 1036 | 842.7 | 896.6 | 1137 | 1631 | 2279 | 2978 | 3589 | 3854 | 3620 | 3031 | 1855 | 769.1 | 305.2 | 157.2 | 649.9 | 9273 | 9999.9 | 1252 | 13.29 | 8.683 | 7.336 | 5.749 | 5.189 | 4.567 | 5.056 | 4.334 | 3.884 | 3.757 | 3.465 | 3.189 | 2.717 | 2.41 | 2.453
325 | 421 | 491.5 | 843.7 | 1448 | 2127 | 2045 | 1574 | 1117 | 954.6 | 1081 | 1447 | 2121 | 2917 | 3744 | 4415 | 4740 | 4423 | 3624 | 2424 | 1075 | 405.3 | 167.1 | 112.2 | 641.6 | 9462 | 9999.9 | 1256 | 13.48 | 9.468 | 7.619 | 5.695 | 5.355 | 5.458 | 4.862 | 4.345 | 3.969 | 3.154 | 2.999 | 2.887 | 3.052 | 2.652
330 | 426.9 | 585.2 | 959 | 1709 | 2481 | 2419 | 1718 | 1187 | 1066 | 1285 | 1767 | 2568 | 3564 | 4571 | 5342 | 5672 | 5325 | 4402 | 2828 | 1419 | 557.4 | 213 | 101.7 | 89.22 | 649.5 | 9889 | 9999.9 | 1314 | 14.91 | 10.5 | 8.253 | 6.838 | 5.574 | 6.013 | 4.768 | 4.362 | 3.569 | 3.435 | 3.058 | 2.924 | 2.531
335 | 450.1 | 617.6 | 1055 | 1970 | 2949 | 2872 | 1834 | 1278 | 1199 | 1482 | 2042 | 3001 | 4237 | 5394 | 6262 | 6625 | 6206 | 5149 | 3322 | 1556 | 782.1 | 297.7 | 131.4 | 71.54 | 80.99 | 673.9 | 9999.9 | 9999.9 | 1523 | 15.93 | 10.41 | 8.931 | 7.311 | 6.462 | 5.152 | 4.864 | 4.403 | 3.438 | 3.08 | 2.97 | 2.908
340 | 449.6 | 737 | 1241 | 2305 | 3299 | 3097 | 1964 | 1358 | 1277 | 1613 | 2293 | 3376 | 4767 | 6128 | 7100 | 7456 | 7027 | 5857 | 3798 | 1716 | 824.6 | 465.9 | 174 | 90.06 | 60.49 | 81.23 | 690.9 | 9999.9 | 9999.9 | 1673 | 17.24 | 12.14 | 10.03 | 8.014 | 6.521 | 5.516 | 4.423 | 3.991 | 3.49 | 3.703 | 3.207
345 | 475.1 | 766.9 | 1232 | 2536 | 3625 | 3434 | 2068 | 1362 | 1356 | 1704 | 2449 | 3680 | 5224 | 6704 | 7695 | 8095 | 7621 | 6378 | 4160 | 1897 | 843.5 | 502.6 | 303.9 | 125.8 | 77.66 | 58.96 | 84.51 | 696.9 | 9999.9 | 9999.9 | 1896 | 18.83 | 13.77 | 11.03 | 8.302 | 6.531 | 5.739 | 4.13 | 4.078 | 3.615 | 3.173
350 | 487.1 | 824.9 | 1287 | 2489 | 3828 | 3539 | 2132 | 1382 | 1319 | 1778 | 2538 | 3847 | 5440 | 7005 | 8087 | 8452 | 7983 | 6709 | 4402 | 1998 | 925.6 | 474.7 | 375.9 | 231.1 | 114.1 | 83.06 | 68.7 | 91.16 | 704 | 9999.9 | 9999.9 | 2361 | 22.61 | 15.62 | 10.9 | 7.718 | 6.692 | 5.222 | 4.449 | 3.922 | 3.501
355 | 558.2 | 826.8 | 1330 | 2640 | 3933 | 3526 | 2127 | 1348 | 1396 | 1771 | 2607 | 3871 | 5478 | 7103 | 8177 | 8604 | 8101 | 6795 | 4492 | 2083 | 974.9 | 515.7 | 337.5 | 340 | 200.9 | 119.9 | 93.44 | 79.99 | 101 | 723.5 | 9999.9 | 9999.9 | 2833 | 25.31 | 16.16 | 11.19 | 7.967 | 5.974 | 5.003 | 4.661 | 3.907
360 | 557.8 | 821.4 | 1309 | 2541 | 3784 | 3547 | 2081 | 1362 | 1346 | 1735 | 2567 | 3771 | 5364 | 6972 | 8034 | 8407 | 7938 | 6711 | 4470 | 2113 | 1014 | 557.7 | 365.3 | 310.4 | 333.9 | 196.8 | 136.6 | 110.3 | 91.82 | 107 | 719.6 | 9999.9 | 9999.9 | 3356 | 26.36 | 16.64 | 11.42 | 8.099 | 5.435 | 5.218 | 4.461
365 | 550.2 | 807 | 1325 | 2466 | 3710 | 3387 | 1982 | 1289 | 1296 | 1678 | 2415 | 3582 | 5142 | 6589 | 7672 | 7996 | 7592 | 6397 | 4318 | 2084 | 1051 | 611.5 | 416.5 | 326.8 | 339.4 | 342.3 | 208.9 | 157.4 | 126.9 | 98.34 | 112.6 | 740 | 9999.9 | 9999.9 | 3394 | 25.48 | 15.73 | 11.15 | 8.023 | 5.551 | 4.917
370 | 507.2 | 734.6 | 1235 | 2294 | 3452 | 3155 | 1843 | 1238 | 1215 | 1594 | 2268 | 3354 | 4760 | 6128 | 7121 | 7425 | 7050 | 5955 | 4057 | 2015 | 1062 | 656.9 | 485.5 | 401.4 | 356.1 | 397.5 | 352.5 | 234 | 182.3 | 142.8 | 109.5 | 121.5 | 770.8 | 9999.9 | 9999.9 | 3309 | 24.57 | 15.02 | 10.62 | 7.435 | 5.76
375 | 438.4 | 719.8 | 1198 | 2024 | 3015 | 2901 | 1777 | 1139 | 1130 | 1461 | 2094 | 3092 | 4263 | 5548 | 6429 | 6727 | 6418 | 5429 | 3768 | 1937 | 1080 | 723.4 | 567.8 | 489.6 | 446.9 | 417.7 | 462.6 | 386.9 | 268.2 | 211.1 | 165.8 | 125.8 | 135 | 795.7 | 9999.9 | 9999.9 | 3207 | 24.35 | 14.77 | 10.29 | 7.01
380 | 437 | 691.7 | 996.8 | 1883 | 2813 | 2606 | 1575 | 1093 | 1077 | 1389 | 1953 | 2775 | 3824 | 4880 | 5699 | 5971 | 5690 | 4892 | 3468 | 1854 | 1113 | 808.4 | 665.7 | 594.8 | 561 | 523.3 | 519.3 | 551.6 | 419.7 | 317.9 | 253.1 | 192.6 | 143.3 | 148 | 810.8 | 9999.9 | 9999.9 | 3017 | 22.8 | 14.21 | 9.991
385 | 401.4 | 554.9 | 891.8 | 1617 | 2538 | 2338 | 1460 | 1049 | 1064 | 1326 | 1777 | 2488 | 3362 | 4317 | 4991 | 5241 | 5048 | 4378 | 3155 | 1804 | 1176 | 902.1 | 791.1 | 730.3 | 704.1 | 672.5 | 642.6 | 643.4 | 635.7 | 480 | 373.1 | 292.5 | 221.4 | 158.5 | 150.8 | 820.5 | 9999.9 | 9999.9 | 2874 | 21.98 | 13.75
390 | 811.8 | 494.3 | 845.8 | 1564 | 2204 | 2112 | 1370 | 971.2 | 1022 | 1265 | 1638 | 2240 | 2964 | 3717 | 4326 | 4604 | 4439 | 3896 | 2896 | 1770 | 1241 | 1019 | 935.3 | 897.6 | 878 | 858.1 | 826.6 | 780.8 | 776.2 | 714.4 | 537.1 | 422.5 | 319.9 | 230.5 | 151.6 | 141.8 | 786.6 | 9999.9 | 9999.9 | 2816 | 20.57
395 | 2251 | 479.4 | 827.3 | 1314 | 2042 | 1906 | 1287 | 1002 | 1040 | 1250 | 1582 | 2073 | 2654 | 3233 | 3751 | 4009 | 3932 | 3511 | 2700 | 1770 | 1338 | 1165 | 1086 | 1073 | 1066 | 1060 | 1032 | 977.4 | 918 | 899.5 | 763.4 | 579.2 | 436.5 | 317.2 | 209.7 | 131.6 | 126.8 | 801.9 | 9999.9 | 9999.9 | 2706
400 | 3151 | 1045 | 732.9 | 1279 | 1804 | 1741 | 1202 | 997.1 | 1064 | 1240 | 1539 | 1903 | 2349 | 2840 | 3282 | 3514 | 3476 | 3160 | 2543 | 1788 | 1442 | 1300 | 1255 | 1250 | 1252 | 1255 | 1246 | 1196 | 1113 | 1026 | 967.5 | 784.1 | 571.1 | 421.6 | 279.8 | 175.9 | 106.6 | 112.3 | 765 | 9999.9 | 9999.9
405 | 2001 | 2774 | 728.2 | 1148 | 1678 | 1633 | 1192 | 1003 | 1066 | 1257 | 1511 | 1778 | 2099 | 2485 | 2855 | 3101 | 3120 | 2884 | 2405 | 1811 | 1532 | 1442 | 1402 | 1429 | 1449 | 1460 | 1456 | 1406 | 1327 | 1213 | 1093 | 985.8 | 744.3 | 523.1 | 360.6 | 226.8 | 139 | 86.4 | 99.02 | 736 | 9999.9
410 | 630.8 | 3792 | 1267 | 1063 | 1537 | 1487 | 1154 | 965.1 | 1111 | 1285 | 1471 | 1699 | 1910 | 2213 | 2508 | 2758 | 2815 | 2664 | 2291 | 1824 | 1626 | 1564 | 1537 | 1581 | 1614 | 1635 | 1632 | 1602 | 1518 | 1392 | 1219 | 1096 | 924.9 | 645.9 | 428.5 | 278.9 | 172.6 | 106 | 67.16 | 88.51 | 733.7
415 | 349.5 | 2232 | 2938 | 1015 | 1410 | 1349 | 1117 | 1025 | 1120 | 1335 | 1467 | 1607 | 1768 | 1991 | 2276 | 2493 | 2574 | 2465 | 2202 | 1856 | 1690 | 1652 | 1660 | 1694 | 1758 | 1794 | 1794 | 1757 | 1668 | 1529 | 1359 | 1165 | 1009 | 786.2 | 515.2 | 330.1 | 204.6 | 128.2 | 83.21 | 55.6 | 81.61
420 | 322.4 | 690.8 | 4042 | 1509 | 1250 | 1257 | 1084 | 1032 | 1134 | 1294 | 1437 | 1555 | 1622 | 1793 | 2012 | 2249 | 2333 | 2287 | 2110 | 1837 | 1729 | 1728 | 1747 | 1792 | 1864 | 1899 | 1909 | 1873 | 1781 | 1643 | 1470 | 1255 | 1037 | 871.1 | 616.1 | 377.9 | 242.6 | 154 | 100.1 | 67.9 | 48.87
425 | 313.9 | 417.7 | 2368 | 3144 | 1134 | 1180 | 1026 | 1014 | 1116 | 1287 | 1419 | 1486 | 1500 | 1633 | 1857 | 2042 | 2156 | 2145 | 2008 | 1828 | 1742 | 1766 | 1790 | 1857 | 1917 | 1977 | 1997 | 1955 | 1864 | 1722 | 1538 | 1317 | 1094 | 872 | 692.1 | 447.8 | 272.4 | 179.8 | 118.3 | 80.61 | 58.21
430 | 303.9 | 361.1 | 859 | 4148 | 1532 | 1083 | 979.9 | 982.2 | 1120 | 1271 | 1407 | 1442 | 1434 | 1513 | 1685 | 1896 | 1990 | 2015 | 1926 | 1798 | 1745 | 1768 | 1814 | 1897 | 1965 | 2019 | 2031 | 1997 | 1912 | 1780 | 1589 | 1372 | 1127 | 885.8 | 685.9 | 520.4 | 321.7 | 203.1 | 137.7 | 94.29 | 71.08
435 | 290.9 | 365.2 | 443.6 | 2579 | 2979 | 1027 | 979.5 | 1007 | 1130 | 1268 | 1381 | 1412 | 1356 | 1414 | 1549 | 1742 | 1851 | 1897 | 1861 | 1765 | 1743 | 1773 | 1823 | 1894 | 1972 | 2029 | 2050 | 2013 | 1938 | 1794 | 1602 | 1397 | 1155 | 910.4 | 673.3 | 525.6 | 382.5 | 232.7 | 156.5 | 114.6 | 83.18
440 | 249.5 | 359.7 | 400 | 950.5 | 4071 | 1357 | 896.5 | 956.1 | 1082 | 1259 | 1357 | 1348 | 1292 | 1331 | 1424 | 1598 | 1712 | 1776 | 1751 | 1693 | 1706 | 1739 | 1797 | 1871 | 1956 | 2006 | 2027 | 1999 | 1927 | 1780 | 1592 | 1386 | 1153 | 913.8 | 687.7 | 504.6 | 404.2 | 283.4 | 178.9 | 125.7 | 97.87
445 | 229.5 | 304.4 | 478.9 | 567.9 | 2794 | 2810 | 818.6 | 902.4 | 1022 | 1207 | 1284 | 1277 | 1212 | 1199 | 1314 | 1476 | 1575 | 1650 | 1641 | 1614 | 1643 | 1687 | 1733 | 1820 | 1890 | 1940 | 1968 | 1956 | 1862 | 1740 | 1567 | 1357 | 1140 | 907.1 | 689.5 | 501.4 | 376.8 | 310.2 | 212.3 | 143.5 | 110.3
450 | 260 | 296 | 365.6 | 537.9 | 1152 | 4089 | 1188 | 841 | 982.9 | 1138 | 1220 | 1204 | 1120 | 1121 | 1206 | 1342 | 1440 | 1504 | 1532 | 1507 | 1547 | 1590 | 1654 | 1719 | 1793 | 1861 | 1877 | 1860 | 1784 | 1660 | 1490 | 1305 | 1097 | 878.5 | 677.8 | 495 | 360.4 | 289.2 | 247.5 | 167.6 | 122.6
455 | 235.7 | 257.1 | 369.2 | 469.4 | 665.5 | 2993 | 2671 | 771.8 | 919.5 | 1070 | 1150 | 1123 | 1048 | 1031 | 1083 | 1217 | 1317 | 1375 | 1405 | 1406 | 1442 | 1492 | 1546 | 1613 | 1688 | 1725 | 1759 | 1732 | 1670 | 1557 | 1410 | 1238 | 1044 | 838.2 | 651.3 | 487.2 | 359 | 272.9 | 238.8 | 200.2 | 137.8
460 | 187.4 | 267.5 | 326.8 | 429.7 | 583.2 | 1124 | 4086 | 1112 | 845.1 | 994.9 | 1056 | 1033 | 963.6 | 941.4 | 998.8 | 1088 | 1180 | 1234 | 1260 | 1296 | 1316 | 1370 | 1424 | 1479 | 1549 | 1610 | 1630 | 1615 | 1553 | 1452 | 1310 | 1153 | 974.7 | 797.5 | 623.8 | 467.4 | 349.5 | 269.5 | 217.7 | 207 | 166
465 | 210.9 | 232.7 | 268.6 | 414.2 | 491.2 | 580.8 | 3067 | 2523 | 792.5 | 897.9 | 962.1 | 948.8 | 885.3 | 857.3 | 890.1 | 974.3 | 1060 | 1113 | 1151 | 1172 | 1197 | 1259 | 1296 | 1362 | 1424 | 1469 | 1484 | 1474 | 1421 | 1330 | 1204 | 1064 | 905.7 | 741.9 | 586 | 449.7 | 342.2 | 266.6 | 214.5 | 188.3 | 182.5
470 | 183.6 | 206.7 | 281.9 | 326.2 | 427.8 | 513.8 | 1065 | 3975 | 1114 | 806.7 | 888.9 | 873 | 802.9 | 777 | 798.2 | 877.8 | 944 | 997.4 | 1031 | 1038 | 1070 | 1127 | 1167 | 1221 | 1282 | 1326 | 1343 | 1331 | 1286 | 1214 | 1107 | 973.6 | 831.5 | 692.9 | 547.3 | 427.5 | 332 | 264.9 | 216.6 | 181.2 | 170.7
475 | 158.3 | 190 | 240.9 | 316.5 | 392.7 | 424.8 | 531.8 | 3144 | 2572 | 737.3 | 800.2 | 800.3 | 737.1 | 707.1 | 732.5 | 773.6 | 826.4 | 884.8 | 904.5 | 930.9 | 957.8 | 1008 | 1046 | 1093 | 1149 | 1180 | 1208 | 1197 | 1154 | 1096 | 998.6 | 885.2 | 766.8 | 644 | 519.2 | 410.1 | 326.4 | 260.9 | 216 | 182.1 | 162.6
480 | 157.8 | 159.4 | 189.3 | 285.5 | 354.1 | 378.9 | 446.1 | 1119 | 4304 | 1055 | 728.5 | 722.2 | 704.6 | 669.8 | 678.9 | 733 | 754.9 | 799.1 | 809 | 823.3 | 868.7 | 900.6 | 939.7 | 979.1 | 1023 | 1062 | 1080 | 1079 | 1043 | 997.1 | 907.9 | 812.1 | 707.2 | 603.7 | 498.9 | 401.6 | 325.1 | 264.5 | 223 | 192 | 167.8
485 | 141.8 | 182 | 190.2 | 283.1 | 311 | 364.3 | 387.2 | 506.2 | 3590 | 2421 | 702.3 | 698.9 | 684.6 | 663 | 667.2 | 701.7 | 723.5 | 737.4 | 747.5 | 745.5 | 780.8 | 810.7 | 848.4 | 881.9 | 934.3 | 973.5 | 985.6 | 983.3 | 959.4 | 913.1 | 839.9 | 766.9 | 678.6 | 585.4 | 497.2 | 410.1 | 333.1 | 278.9 | 242.6 | 207.8 | 184.8
490 | 144.3 | 178.1 | 195.8 | 238.6 | 328.7 | 339.3 | 388 | 416.1 | 1296 | 4181 | 992.7 | 674.2 | 680.5 | 697 | 706.3 | 702.1 | 702.5 | 683.4 | 680.2 | 679.7 | 704.7 | 735.4 | 772.2 | 807.4 | 852.7 | 878.5 | 895.6 | 906.2 | 891.3 | 852.8 | 800.6 | 739.5 | 661.3 | 591 | 508.5 | 436.4 | 367.2 | 306.4 | 267.7 | 231 | 212.1
495 | 118.5 | 138.5 | 160.3 | 222.7 | 254.3 | 326.7 | 395.1 | 402.1 | 526 | 3609 | 2332 | 683.4 | 720 | 746 | 756.4 | 726.5 | 701.2 | 661.7 | 619.3 | 612.5 | 633.9 | 657.9 | 692 | 719.2 | 760.6 | 793 | 824.9 | 834 | 823.2 | 799.2 | 752.3 | 716.4 | 655.4 | 604.1 | 534.1 | 471.3 | 404 | 344.6 | 298.2 | 266.8 | 242.8
500 | 121.9 | 157.3 | 169.9 | 225.1 | 277.6 | 330.8 | 356 | 379.4 | 461.7 | 1379 | 4244 | 1024 | 745.2 | 816 | 804.5 | 779.5 | 716 | 637.7 | 577.1 | 550.4 | 559.6 | 585.4 | 612.9 | 642 | 681.8 | 711.3 | 740.2 | 757.6 | 758.6 | 736.9 | 721.7 | 693.9 | 659.1 | 624.4 | 576.2 | 510 | 454.2 | 388.6 | 337.9 | 299.6 | 277.7