## Sheet1
Report date: | 13:53:55, 09/18/2024
Sample: | 1
File name:
Run date: | 13:48:31, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 220.0/355.0 | 3854
2 | 250.0/275.0 | 196.8
3 | 255.0/280.0 | 236.5
4 | 275.0/355.0 | 8462
5 | 330.0/435.0 | 2063
6 | 390.0/275.0 | 3.922
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 25.96 | 28.99 | 49.96 | 22.59 | 26.66 | 16.29 | 13.11 | 10.36 | 24.92 | 151.7 | 104.2 | 30.06 | 80.35 | 8663 | 9999.9 | 3217 | 26.37 | 11.87 | 8.897 | 5.548 | 3.552 | 3.472 | 3.156 | 2.887 | 2.533 | 2.485 | 2.539 | 2.678 | 2.831 | 2.995 | 2.308 | 2.734 | 2.781 | 2.643 | 2.735 | 3.09 | 3.584 | 4.286 | 3.438 | 2.87 | 2.585
275 | 93.28 | 68.2 | 70.16 | 49.91 | 74.56 | 31.92 | 21.29 | 11.37 | 15.54 | 55.07 | 196.8 | 92.71 | 44.56 | 622.1 | 9497 | 9999.9 | 2825 | 21.8 | 10.22 | 7.013 | 4.799 | 4.502 | 3.818 | 2.714 | 3.524 | 3.093 | 2.891 | 2.848 | 2.695 | 2.857 | 2.654 | 2.974 | 3.138 | 2.562 | 3.08 | 2.564 | 2.841 | 3.375 | 3.922 | 3.579 | 2.773
280 | 59.7 | 73.2 | 84.84 | 112.9 | 105.6 | 80.69 | 41.79 | 25.49 | 17.14 | 22.83 | 107.1 | 236.5 | 102 | 112.1 | 701.3 | 9999.9 | 9999.9 | 2462 | 20.72 | 8.756 | 5.905 | 4.652 | 4.589 | 3.722 | 3.505 | 3.284 | 3.224 | 3.025 | 3.463 | 3.332 | 2.753 | 2.581 | 2.607 | 2.643 | 2.708 | 2.514 | 2.576 | 2.723 | 3.407 | 4.143 | 3.542
285 | 143.9 | 95.86 | 123.6 | 134.7 | 211.2 | 221.9 | 154.3 | 75.4 | 40.79 | 33.54 | 57.61 | 199.3 | 317.6 | 216.1 | 259.3 | 866.6 | 9999.9 | 9999.9 | 2148 | 17.73 | 8.108 | 5.407 | 4.474 | 4.456 | 3.36 | 3.318 | 3.189 | 2.875 | 3.162 | 3.444 | 3.019 | 3.061 | 3.01 | 2.958 | 2.627 | 2.406 | 2.481 | 2.528 | 2.773 | 3.459 | 3.718
290 | 151.9 | 188.5 | 224.9 | 281.5 | 361.4 | 434 | 361.2 | 200.6 | 110.7 | 74.27 | 98.16 | 166.7 | 434 | 575.4 | 557.9 | 630.6 | 1130 | 9999.9 | 9999.9 | 1871 | 15.43 | 8.423 | 5.22 | 4.884 | 4.091 | 3.766 | 3.339 | 3.403 | 3.417 | 3.65 | 2.797 | 3.092 | 3.026 | 2.947 | 2.779 | 2.693 | 2.567 | 2.257 | 2.636 | 2.504 | 3.197
295 | 244.1 | 239.9 | 299.9 | 392.4 | 600.4 | 727.3 | 643.9 | 378 | 226 | 152.2 | 172.5 | 259.3 | 472.1 | 909.8 | 1080 | 1082 | 945.6 | 1175 | 9999.9 | 9999.9 | 1659 | 15.27 | 7.914 | 5.796 | 4.884 | 4.188 | 3.846 | 4.132 | 3.099 | 3.245 | 2.995 | 3.356 | 3.502 | 2.981 | 3.108 | 3.144 | 2.676 | 2.246 | 2.544 | 2.623 | 2.742
300 | 310 | 311.8 | 339.6 | 503.8 | 817.4 | 1031 | 927.7 | 579.1 | 349.4 | 240.8 | 267.5 | 395.2 | 658.6 | 1053 | 1622 | 1645 | 1365 | 911.9 | 998.4 | 9999.9 | 9999.9 | 1477 | 13.74 | 7.446 | 6.154 | 4.331 | 4.178 | 3.639 | 3.689 | 3.811 | 3.726 | 3.431 | 3.463 | 3.597 | 3.351 | 2.933 | 2.786 | 2.867 | 2.398 | 2.548 | 1.988
305 | 375.6 | 380.8 | 458.4 | 633.1 | 924.6 | 1210 | 1084 | 743.2 | 479.8 | 361 | 388.9 | 570.8 | 906.8 | 1336 | 1874 | 2247 | 1867 | 1238 | 616.5 | 862.6 | 9999.9 | 9999.9 | 1324 | 12.86 | 7.359 | 6.409 | 5.044 | 4.93 | 4.168 | 3.997 | 3.947 | 3.638 | 3.675 | 3.379 | 3.322 | 3.026 | 2.767 | 2.924 | 2.22 | 2.439 | 2.163
310 | 418.5 | 448.4 | 548 | 818.7 | 1164 | 1397 | 1245 | 852.9 | 614.6 | 519.3 | 598.7 | 867.8 | 1239 | 1773 | 2251 | 2636 | 2541 | 1712 | 875.3 | 407.8 | 773 | 9999.9 | 9999.9 | 1321 | 13.65 | 8.182 | 6.823 | 5.182 | 5.149 | 4.467 | 3.981 | 3.949 | 3.644 | 3.23 | 3.548 | 2.999 | 2.657 | 2.846 | 2.558 | 2.372 | 2.294
315 | 370 | 465.9 | 664.9 | 991.1 | 1407 | 1607 | 1358 | 966.8 | 728.6 | 691.1 | 858.4 | 1208 | 1705 | 2282 | 2823 | 3127 | 3052 | 2375 | 1281 | 544 | 248.3 | 725.7 | 9999.9 | 9999.9 | 1220 | 12.76 | 8.458 | 6.832 | 5.667 | 4.67 | 4.323 | 4.097 | 4.076 | 3.823 | 3.574 | 3.411 | 2.947 | 2.706 | 2.538 | 2.61 | 2.398
320 | 409.5 | 530 | 743.5 | 1128 | 1747 | 1797 | 1455 | 1037 | 859.2 | 899.7 | 1145 | 1628 | 2259 | 2961 | 3577 | 3837 | 3630 | 3010 | 1839 | 764.5 | 301.5 | 159.6 | 697.1 | 9653 | 9999.9 | 1251 | 12.94 | 8.379 | 7.215 | 5.995 | 5.295 | 5.034 | 3.993 | 4.197 | 3.719 | 3.403 | 2.857 | 2.944 | 2.961 | 2.724 | 2.338
325 | 392.9 | 511 | 911.5 | 1336 | 2127 | 2161 | 1566 | 1122 | 987.1 | 1088 | 1443 | 2091 | 2892 | 3761 | 4409 | 4704 | 4422 | 3618 | 2395 | 1072 | 404.2 | 164.7 | 113.8 | 665.3 | 9599 | 9999.9 | 1269 | 12.74 | 8.665 | 6.954 | 6.303 | 5.349 | 4.533 | 4.386 | 4.077 | 3.768 | 3.337 | 3.127 | 2.751 | 2.192 | 2.651
330 | 447.9 | 575.3 | 1033 | 1709 | 2605 | 2516 | 1737 | 1205 | 1093 | 1289 | 1761 | 2569 | 3560 | 4566 | 5315 | 5605 | 5288 | 4377 | 2796 | 1411 | 555.9 | 214.2 | 101.5 | 91.6 | 656 | 9739 | 9999.9 | 1377 | 13.79 | 9.89 | 7.636 | 6.654 | 5.646 | 4.737 | 4.671 | 4.059 | 3.329 | 3.133 | 3.019 | 2.81 | 2.757
335 | 459.7 | 717.7 | 1165 | 2065 | 2969 | 2835 | 1867 | 1281 | 1195 | 1488 | 2064 | 3025 | 4230 | 5420 | 6248 | 6555 | 6154 | 5089 | 3278 | 1544 | 779.9 | 301.7 | 125.7 | 72.15 | 81.59 | 666.6 | 9999.9 | 9999.9 | 1533 | 16.02 | 10.96 | 8.391 | 6.96 | 5.337 | 5.184 | 4.473 | 4.032 | 3.932 | 3.115 | 3.198 | 2.749
340 | 473.5 | 693.6 | 1222 | 2421 | 3342 | 3103 | 1975 | 1327 | 1291 | 1612 | 2317 | 3389 | 4759 | 6076 | 7022 | 7398 | 6929 | 5799 | 3751 | 1703 | 821.4 | 463.6 | 179.8 | 91.18 | 61.78 | 80.28 | 692.1 | 9999.9 | 9999.9 | 1720 | 16.98 | 11.05 | 9.834 | 6.728 | 6.149 | 4.71 | 4.714 | 3.595 | 3.502 | 3.234 | 3.157
345 | 531.8 | 734.3 | 1301 | 2505 | 3769 | 3337 | 2105 | 1395 | 1348 | 1723 | 2485 | 3686 | 5181 | 6625 | 7637 | 8025 | 7537 | 6322 | 4097 | 1873 | 843.7 | 501.9 | 306.6 | 128 | 80.8 | 61.65 | 85.77 | 699.5 | 9999.9 | 9999.9 | 1976 | 19.36 | 13.16 | 9.614 | 6.847 | 5.844 | 5.165 | 4.448 | 3.994 | 3.483 | 3.369
350 | 514.8 | 774.8 | 1329 | 2675 | 3799 | 3609 | 2103 | 1350 | 1359 | 1767 | 2599 | 3847 | 5393 | 6942 | 8057 | 8414 | 7880 | 6650 | 4331 | 1995 | 902.7 | 473.1 | 382.3 | 232.2 | 116.2 | 85.97 | 68.47 | 93.18 | 703.3 | 9999.9 | 9999.9 | 2244 | 19.41 | 13.83 | 10.14 | 7.153 | 5.556 | 5.017 | 4.088 | 4.048 | 3.627
355 | 523.8 | 843.3 | 1455 | 2552 | 3854 | 3555 | 2101 | 1346 | 1335 | 1753 | 2557 | 3878 | 5464 | 7026 | 8113 | 8462 | 7995 | 6711 | 4425 | 2047 | 959.8 | 510.3 | 337.1 | 345.4 | 203.4 | 123.3 | 98.3 | 81.09 | 101 | 723.5 | 9999.9 | 9999.9 | 2436 | 22.11 | 14.11 | 10.9 | 7.434 | 5.564 | 4.907 | 4.302 | 3.77
360 | 516.4 | 782.9 | 1299 | 2603 | 3754 | 3518 | 2044 | 1342 | 1314 | 1740 | 2526 | 3774 | 5329 | 6918 | 8000 | 8299 | 7866 | 6601 | 4408 | 2086 | 996.8 | 555.1 | 365.3 | 317.4 | 343.9 | 204 | 142.4 | 114 | 92.71 | 109.4 | 719.4 | 9999.9 | 9999.9 | 2831 | 23.54 | 14.82 | 10.59 | 7.478 | 5.305 | 4.396 | 4.301
365 | 570.6 | 721 | 1272 | 2478 | 3793 | 3376 | 1961 | 1278 | 1293 | 1671 | 2435 | 3587 | 5090 | 6559 | 7608 | 7978 | 7470 | 6283 | 4251 | 2044 | 1029 | 602.6 | 423 | 333.5 | 350 | 347.1 | 210.5 | 161.2 | 127.5 | 101.3 | 112.6 | 741.4 | 9999.9 | 9999.9 | 2931 | 22.61 | 14.84 | 10.27 | 7.272 | 5.573 | 4.719
370 | 491.2 | 709.9 | 1173 | 2326 | 3386 | 3157 | 1855 | 1225 | 1211 | 1570 | 2267 | 3357 | 4724 | 6084 | 7053 | 7344 | 6927 | 5863 | 3999 | 1975 | 1060 | 664.5 | 488.6 | 407.8 | 363.6 | 400.6 | 357.5 | 237.3 | 183.4 | 143.6 | 110 | 121.8 | 755.8 | 9999.9 | 9999.9 | 3048 | 23.64 | 14.08 | 9.816 | 7.072 | 5.204
375 | 444.2 | 622.4 | 1108 | 2048 | 3067 | 2772 | 1731 | 1178 | 1136 | 1476 | 2091 | 3044 | 4297 | 5484 | 6347 | 6645 | 6300 | 5344 | 3705 | 1893 | 1083 | 727.3 | 574.3 | 503.4 | 444.9 | 428 | 475.7 | 380 | 271.9 | 213.5 | 166.2 | 126 | 131.9 | 780.2 | 9999.9 | 9999.9 | 3020 | 22.81 | 13.53 | 9.479 | 6.787
380 | 404.7 | 586.9 | 1073 | 1959 | 2702 | 2621 | 1615 | 1076 | 1087 | 1390 | 1904 | 2774 | 3801 | 4868 | 5621 | 5926 | 5639 | 4831 | 3387 | 1834 | 1117 | 812.2 | 673.5 | 606.6 | 567.2 | 533.1 | 516.7 | 554.8 | 428.9 | 320.1 | 252.9 | 192.4 | 145.1 | 145.5 | 791 | 9999.9 | 9999.9 | 2952 | 22.4 | 13.87 | 9.647
385 | 432.5 | 574.8 | 956 | 1730 | 2474 | 2255 | 1477 | 1025 | 1045 | 1315 | 1781 | 2498 | 3381 | 4268 | 4940 | 5215 | 4960 | 4306 | 3116 | 1782 | 1164 | 908.7 | 798.3 | 746 | 713.6 | 679.9 | 644 | 644.3 | 640.2 | 480.9 | 364.5 | 292.2 | 221.6 | 157.8 | 148.6 | 792 | 9999.9 | 9999.9 | 2868 | 21.09 | 12.69
390 | 789 | 528.8 | 818 | 1548 | 2181 | 2083 | 1389 | 1029 | 1050 | 1296 | 1639 | 2257 | 2945 | 3713 | 4295 | 4572 | 4379 | 3846 | 2880 | 1768 | 1249 | 1038 | 940 | 911.1 | 881.8 | 862.9 | 831.7 | 785.3 | 783.1 | 717.5 | 540.7 | 421.8 | 324.4 | 231.5 | 155.5 | 139.4 | 769.4 | 9999.9 | 9999.9 | 2829 | 21.37
395 | 2211 | 523.4 | 740.9 | 1388 | 1980 | 1897 | 1258 | 982.4 | 1049 | 1245 | 1593 | 2071 | 2609 | 3245 | 3760 | 3979 | 3899 | 3475 | 2667 | 1756 | 1329 | 1162 | 1095 | 1084 | 1073 | 1065 | 1035 | 975.9 | 918.7 | 904.2 | 769.7 | 580.1 | 446.5 | 318.2 | 208.9 | 133.4 | 124.5 | 782.4 | 9999.9 | 9999.9 | 2704
400 | 3370 | 1044 | 750.8 | 1245 | 1830 | 1735 | 1238 | 995.6 | 1037 | 1266 | 1563 | 1886 | 2336 | 2800 | 3259 | 3519 | 3498 | 3148 | 2510 | 1781 | 1452 | 1312 | 1267 | 1258 | 1268 | 1253 | 1243 | 1200 | 1121 | 1033 | 983.4 | 790.4 | 578.4 | 420.7 | 283.1 | 178.1 | 108.4 | 111.6 | 751.1 | 9999.9 | 9999.9
405 | 1969 | 2948 | 690.7 | 1128 | 1629 | 1617 | 1218 | 1022 | 1107 | 1286 | 1518 | 1770 | 2079 | 2476 | 2850 | 3079 | 3079 | 2868 | 2398 | 1822 | 1537 | 1437 | 1416 | 1450 | 1460 | 1475 | 1455 | 1421 | 1333 | 1217 | 1103 | 1001 | 751.6 | 525.9 | 362.2 | 227.7 | 141.4 | 85.43 | 97.63 | 726.5 | 9999.9
410 | 650.3 | 3663 | 1274 | 1005 | 1409 | 1496 | 1174 | 1031 | 1113 | 1274 | 1490 | 1694 | 1931 | 2232 | 2516 | 2740 | 2819 | 2653 | 2290 | 1842 | 1632 | 1569 | 1551 | 1585 | 1632 | 1659 | 1645 | 1603 | 1513 | 1390 | 1225 | 1087 | 919.5 | 650.5 | 431.1 | 282.4 | 174.3 | 105.3 | 68.21 | 86.42 | 726.1
415 | 325.3 | 2155 | 3122 | 993.7 | 1378 | 1372 | 1142 | 1031 | 1126 | 1319 | 1487 | 1613 | 1765 | 1996 | 2244 | 2497 | 2569 | 2487 | 2200 | 1860 | 1706 | 1668 | 1668 | 1713 | 1761 | 1801 | 1807 | 1762 | 1665 | 1545 | 1359 | 1170 | 1012 | 792.3 | 516.7 | 335 | 208 | 129.7 | 82.28 | 56.5 | 81.53
420 | 260.1 | 699 | 3934 | 1489 | 1266 | 1299 | 1083 | 1052 | 1136 | 1327 | 1448 | 1559 | 1636 | 1786 | 2045 | 2241 | 2353 | 2306 | 2103 | 1850 | 1758 | 1727 | 1753 | 1797 | 1866 | 1900 | 1923 | 1887 | 1780 | 1644 | 1469 | 1256 | 1045 | 874.4 | 617.9 | 383.2 | 246 | 156 | 101.6 | 68.59 | 49.98
425 | 283.4 | 394.8 | 2343 | 3221 | 1153 | 1139 | 1029 | 990.6 | 1141 | 1329 | 1438 | 1504 | 1524 | 1664 | 1855 | 2038 | 2182 | 2163 | 2040 | 1838 | 1770 | 1766 | 1807 | 1870 | 1928 | 1985 | 1998 | 1970 | 1865 | 1729 | 1546 | 1327 | 1097 | 874.5 | 699.8 | 455.9 | 276.7 | 181.5 | 119.9 | 81.89 | 58.45
430 | 202.1 | 364.2 | 895.9 | 4046 | 1572 | 1093 | 1005 | 964.3 | 1131 | 1294 | 1408 | 1446 | 1429 | 1514 | 1711 | 1880 | 2007 | 2026 | 1935 | 1818 | 1786 | 1790 | 1830 | 1903 | 1962 | 2025 | 2031 | 2014 | 1914 | 1782 | 1590 | 1373 | 1138 | 887.3 | 695 | 526.3 | 327.4 | 204.6 | 140.7 | 97.89 | 72.19
435 | 269.7 | 311.6 | 500.3 | 2611 | 3149 | 1006 | 964.9 | 976.1 | 1121 | 1289 | 1395 | 1429 | 1371 | 1417 | 1578 | 1748 | 1873 | 1899 | 1858 | 1784 | 1754 | 1782 | 1842 | 1901 | 1980 | 2037 | 2063 | 2028 | 1942 | 1800 | 1609 | 1395 | 1161 | 918.2 | 691.4 | 531.5 | 388.9 | 237.2 | 161.2 | 114.1 | 84.28
440 | 224.5 | 307.1 | 437 | 999.3 | 4119 | 1361 | 893.8 | 963.2 | 1097 | 1257 | 1343 | 1350 | 1282 | 1330 | 1459 | 1595 | 1741 | 1800 | 1775 | 1728 | 1735 | 1772 | 1803 | 1888 | 1954 | 2019 | 2044 | 2016 | 1921 | 1797 | 1611 | 1402 | 1165 | 930.3 | 695.4 | 512.2 | 411.9 | 291.6 | 182.8 | 134.7 | 99.1
445 | 245.1 | 295.2 | 386.8 | 671.8 | 2862 | 2876 | 861.4 | 909.9 | 1040 | 1203 | 1289 | 1285 | 1233 | 1221 | 1341 | 1484 | 1606 | 1661 | 1662 | 1636 | 1662 | 1700 | 1751 | 1824 | 1892 | 1959 | 1977 | 1949 | 1877 | 1754 | 1574 | 1367 | 1144 | 920 | 698.9 | 509.5 | 381.4 | 319.5 | 221.3 | 147.7 | 115.2
450 | 265.3 | 281.5 | 376.3 | 565.2 | 1128 | 4190 | 1208 | 851.3 | 1001 | 1142 | 1242 | 1233 | 1140 | 1139 | 1223 | 1358 | 1463 | 1520 | 1537 | 1532 | 1562 | 1612 | 1664 | 1738 | 1796 | 1860 | 1875 | 1858 | 1789 | 1663 | 1506 | 1316 | 1106 | 895.4 | 684.5 | 505.4 | 373.9 | 298.8 | 254.6 | 174.5 | 126.6
455 | 248.1 | 224.8 | 375.1 | 475.1 | 647.3 | 3154 | 2711 | 807.5 | 927.1 | 1068 | 1146 | 1128 | 1067 | 1043 | 1118 | 1223 | 1337 | 1377 | 1415 | 1406 | 1448 | 1511 | 1566 | 1629 | 1678 | 1740 | 1768 | 1748 | 1681 | 1566 | 1417 | 1242 | 1048 | 855 | 661.2 | 492.7 | 364.3 | 281.7 | 245.9 | 206.7 | 143.9
460 | 241 | 272.8 | 355.2 | 437.5 | 557.6 | 1144 | 4223 | 1156 | 839.2 | 998.7 | 1072 | 1052 | 980.7 | 959.3 | 996.9 | 1098 | 1198 | 1248 | 1281 | 1288 | 1332 | 1392 | 1436 | 1492 | 1553 | 1615 | 1639 | 1619 | 1558 | 1451 | 1315 | 1162 | 987.1 | 806.8 | 633.8 | 479.9 | 358.9 | 275.8 | 226.1 | 214.4 | 173
465 | 161.8 | 206.6 | 300.9 | 404.6 | 493.7 | 601.1 | 3147 | 2579 | 819.8 | 934.2 | 975.9 | 958 | 892 | 869.5 | 899.6 | 995 | 1078 | 1117 | 1155 | 1179 | 1218 | 1262 | 1327 | 1365 | 1419 | 1468 | 1488 | 1479 | 1427 | 1335 | 1212 | 1078 | 919 | 753.4 | 598.9 | 463.6 | 350.4 | 274.8 | 220.6 | 195 | 187.2
470 | 191.5 | 217.3 | 252.5 | 353.3 | 441.9 | 483.9 | 1114 | 4102 | 1123 | 819.9 | 903.5 | 877.1 | 823.8 | 807.8 | 821.6 | 897.8 | 973.7 | 1000 | 1032 | 1070 | 1097 | 1138 | 1188 | 1227 | 1290 | 1330 | 1348 | 1342 | 1293 | 1220 | 1103 | 980.1 | 841.9 | 699.8 | 565.2 | 439.7 | 340.6 | 273.5 | 218.9 | 186.6 | 177.6
475 | 149.3 | 195.3 | 239.5 | 292.3 | 449.5 | 450.5 | 528.5 | 3198 | 2509 | 760.4 | 817.5 | 803.5 | 762.5 | 718 | 746.2 | 799.3 | 857.8 | 892.2 | 907.9 | 945.8 | 974 | 1023 | 1062 | 1100 | 1151 | 1192 | 1210 | 1207 | 1163 | 1102 | 1000 | 888.7 | 772.7 | 650.4 | 522.5 | 420.6 | 331.2 | 271.6 | 221.3 | 188.4 | 166.4
480 | 143.7 | 195.7 | 204.9 | 289.2 | 346.1 | 427.1 | 451 | 1096 | 4062 | 1069 | 747.6 | 758.4 | 712.2 | 690 | 689.3 | 728.1 | 785.4 | 805.7 | 819.7 | 842.1 | 872.8 | 906.1 | 948.7 | 986.4 | 1028 | 1060 | 1086 | 1080 | 1052 | 995.5 | 912.6 | 816.1 | 722.6 | 612.8 | 502.8 | 412.2 | 329.4 | 272.6 | 229.6 | 198.7 | 172.4
485 | 140.2 | 164.7 | 179.4 | 233.6 | 329.4 | 393 | 398.9 | 501.5 | 3303 | 2455 | 695.5 | 714.4 | 680.7 | 680.1 | 691.2 | 708.9 | 733.1 | 741 | 753.9 | 755.8 | 783.6 | 820.5 | 857.1 | 892.8 | 935.8 | 958.7 | 986.3 | 996 | 972.5 | 919.1 | 852.5 | 773.1 | 688.5 | 592 | 504.1 | 415.8 | 344.2 | 289 | 245.9 | 209.9 | 189.7
490 | 162.1 | 179.2 | 177.2 | 217.4 | 283.5 | 371.8 | 389.3 | 435.6 | 1186 | 4102 | 997.1 | 697.3 | 691.8 | 701.5 | 710.1 | 708.6 | 717 | 700.2 | 688 | 687.5 | 713.4 | 745.4 | 773.5 | 804.9 | 841.8 | 883.8 | 901.6 | 909.2 | 892.9 | 855.6 | 800.4 | 739.7 | 675.3 | 599.2 | 515.7 | 440 | 372.6 | 316.2 | 269 | 234.3 | 213.9
495 | 99.01 | 180.1 | 156.9 | 214.2 | 253.9 | 330.7 | 386.7 | 416.2 | 538.1 | 3602 | 2363 | 716.3 | 727 | 725.9 | 753.7 | 728 | 714.2 | 673.3 | 631.3 | 614.7 | 644.5 | 670.1 | 697.4 | 722.5 | 766 | 792.2 | 823.2 | 834 | 830.4 | 805.1 | 767.2 | 715.8 | 672.4 | 610.5 | 543.9 | 478.4 | 408 | 350.3 | 301.4 | 269.9 | 244.2
500 | 108.8 | 139.9 | 158.4 | 210.4 | 261.5 | 313.3 | 380.8 | 394.6 | 459.3 | 1346 | 4179 | 997.4 | 762.9 | 809.6 | 808.5 | 768.8 | 714.5 | 642.4 | 586.4 | 560.5 | 570.9 | 594.3 | 615.2 | 650.6 | 683 | 713 | 740.6 | 761.9 | 765.8 | 749.3 | 720 | 699.1 | 669.1 | 622.6 | 577.4 | 518.4 | 452.5 | 390.7 | 336.9 | 302.7 | 275.9