## Sheet1
Report date: | 14:00:17, 09/18/2024
Sample: | 1
File name:
Run date: | 13:54:52, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 220.0/350.0 | 3794
2 | 250.0/275.0 | 198.7
3 | 255.0/280.0 | 231.7
4 | 275.0/355.0 | 8399
5 | 330.0/435.0 | 2042
6 | 390.0/275.0 | 4.334
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 42.02 | 40.66 | 39.27 | 36.54 | 34.36 | 19.96 | 18.32 | 12.99 | 26.84 | 160.4 | 101.4 | 33.3 | 81.11 | 9999.9 | 9999.9 | 3342 | 26.14 | 12.29 | 8.939 | 5.639 | 3.602 | 3.535 | 3.105 | 3.271 | 2.92 | 2.971 | 2.625 | 2.796 | 2.722 | 2.791 | 2.532 | 3.088 | 2.741 | 2.674 | 2.782 | 3.442 | 3.573 | 4.203 | 3.803 | 2.745 | 2.488
275 | 65.82 | 57.4 | 45.01 | 66.81 | 55.94 | 45.74 | 18.87 | 14.97 | 15.62 | 54.78 | 198.7 | 86.24 | 48.33 | 709.6 | 9999.9 | 9999.9 | 2907 | 24.91 | 11.72 | 7.283 | 5.969 | 4.083 | 4.191 | 2.957 | 3.409 | 3.342 | 3.126 | 3.02 | 2.519 | 3.164 | 2.785 | 3.14 | 2.722 | 3.036 | 2.639 | 2.837 | 3.495 | 3.78 | 4.334 | 3.552 | 2.962
280 | 77.56 | 62.74 | 104.5 | 93.14 | 81.82 | 69.29 | 47.35 | 28.1 | 18.39 | 23.64 | 99.11 | 231.7 | 107.6 | 120.2 | 733.7 | 9999.9 | 9999.9 | 2559 | 21.49 | 10.61 | 6.776 | 5.277 | 4.107 | 3.698 | 3.593 | 3.546 | 3.188 | 3.281 | 3.037 | 3.019 | 2.653 | 2.668 | 3.045 | 2.937 | 2.7 | 2.857 | 2.833 | 2.89 | 3.465 | 3.847 | 3.318
285 | 131.2 | 88.19 | 107.4 | 173.8 | 195.2 | 196 | 140.6 | 78.97 | 42.74 | 39.92 | 51.91 | 196 | 317.1 | 214 | 269.4 | 884.2 | 9999.9 | 9999.9 | 2250 | 21.17 | 8.775 | 6.395 | 4.364 | 3.935 | 3.586 | 3.348 | 3.773 | 3.567 | 3.248 | 3.19 | 2.974 | 3.097 | 3.131 | 3.167 | 2.79 | 3.168 | 2.538 | 2.54 | 2.823 | 3.524 | 3.947
290 | 240.9 | 135.4 | 183.8 | 305.5 | 389.9 | 464 | 388.7 | 211.9 | 112.5 | 81.83 | 96.57 | 172 | 437.4 | 582.9 | 565.9 | 629.7 | 1147 | 9999.9 | 9999.9 | 2019 | 16.68 | 7.606 | 5.571 | 4.937 | 3.785 | 4.024 | 3.514 | 3.435 | 3.428 | 3.464 | 2.97 | 3.294 | 3.015 | 3.233 | 2.966 | 2.724 | 2.851 | 2.751 | 2.57 | 2.784 | 3.271
295 | 250 | 233.6 | 266.5 | 427.1 | 585.3 | 783.9 | 674.6 | 406.1 | 215.1 | 146.2 | 164.1 | 264.9 | 470.8 | 928.4 | 1108 | 1096 | 964.4 | 1184 | 9999.9 | 9999.9 | 1823 | 15.87 | 7.621 | 6.41 | 5.126 | 4.445 | 3.85 | 3.686 | 3.473 | 3.335 | 3.062 | 3.636 | 3.161 | 3.243 | 3.023 | 2.828 | 2.786 | 2.688 | 2.475 | 2.533 | 2.447
300 | 281.6 | 311.1 | 338 | 544.3 | 807.5 | 1013 | 925.2 | 599.5 | 348 | 242.4 | 256.3 | 402 | 648.3 | 1064 | 1634 | 1644 | 1388 | 908.9 | 1009 | 9999.9 | 9999.9 | 1584 | 14.74 | 7.903 | 6.18 | 5.21 | 4.56 | 4.02 | 4.006 | 3.611 | 3.652 | 3.662 | 3.363 | 3.31 | 3.446 | 2.803 | 2.75 | 2.698 | 2.585 | 2.259 | 2.031
305 | 363.7 | 352.3 | 457.3 | 685.8 | 969.5 | 1225 | 1117 | 752.4 | 494.2 | 373.5 | 386.4 | 574.1 | 897.8 | 1351 | 1874 | 2263 | 1888 | 1247 | 629.2 | 879.2 | 9999.9 | 9999.9 | 1367 | 13.46 | 7.593 | 6.282 | 5.413 | 4.551 | 4.552 | 4.008 | 3.716 | 4.061 | 3.605 | 3.899 | 3.854 | 3.234 | 2.793 | 3.098 | 2.502 | 2.582 | 2.515
310 | 360.6 | 423.8 | 530.6 | 752.8 | 1194 | 1423 | 1250 | 903.5 | 590.6 | 524.1 | 605.4 | 862.1 | 1286 | 1759 | 2281 | 2630 | 2556 | 1729 | 905.1 | 405.4 | 775.6 | 9999.9 | 9999.9 | 1320 | 13.14 | 8.158 | 6.399 | 5.277 | 4.648 | 4.748 | 3.903 | 3.924 | 3.759 | 3.669 | 3.874 | 3.154 | 3.135 | 2.805 | 2.918 | 2.55 | 2.425
315 | 391 | 435.1 | 649.8 | 950 | 1362 | 1579 | 1348 | 946.9 | 718.2 | 698.7 | 853.2 | 1191 | 1718 | 2334 | 2843 | 3142 | 3078 | 2395 | 1304 | 556.3 | 250 | 726.2 | 9999.9 | 9999.9 | 1229 | 12.8 | 7.734 | 7.347 | 5.457 | 4.911 | 4.579 | 4.259 | 4.414 | 3.656 | 3.51 | 3.461 | 3.243 | 2.968 | 2.887 | 2.89 | 2.672
320 | 437.9 | 470.2 | 730.3 | 1209 | 1776 | 1884 | 1439 | 1055 | 843 | 895.9 | 1126 | 1644 | 2272 | 2985 | 3576 | 3861 | 3635 | 3052 | 1850 | 773.6 | 300.7 | 159.6 | 697.4 | 9582 | 9999.9 | 1247 | 12.51 | 8.755 | 6.813 | 5.72 | 4.766 | 4.576 | 4.471 | 4.12 | 4.06 | 3.936 | 3.365 | 2.952 | 3.031 | 2.846 | 2.329
325 | 372.9 | 529.6 | 885.2 | 1498 | 2144 | 2122 | 1587 | 1098 | 961.2 | 1078 | 1448 | 2094 | 2898 | 3727 | 4421 | 4700 | 4457 | 3625 | 2431 | 1079 | 400.6 | 165 | 111.8 | 660.6 | 9513 | 9999.9 | 1261 | 13.68 | 9.272 | 7.492 | 5.955 | 5.468 | 4.787 | 4.488 | 4.165 | 3.741 | 3.88 | 3.203 | 2.922 | 2.76 | 2.588
330 | 430.9 | 649.3 | 1008 | 1822 | 2453 | 2412 | 1705 | 1178 | 1087 | 1262 | 1754 | 2569 | 3585 | 4571 | 5307 | 5626 | 5273 | 4376 | 2809 | 1419 | 554.2 | 209.4 | 99.22 | 90.18 | 648.2 | 9602 | 9999.9 | 1372 | 14.45 | 9.874 | 7.682 | 6.185 | 5.705 | 4.891 | 4.787 | 4.514 | 3.641 | 3.588 | 3.211 | 3.237 | 2.757
335 | 397.5 | 640.5 | 1113 | 2016 | 2929 | 2758 | 1833 | 1274 | 1177 | 1478 | 2018 | 3000 | 4202 | 5311 | 6183 | 6517 | 6181 | 5116 | 3282 | 1546 | 775.8 | 296.5 | 129.1 | 69 | 83.76 | 655.8 | 9999.9 | 9999.9 | 1518 | 14.99 | 10.27 | 8.504 | 6.911 | 6.037 | 5.066 | 5.095 | 3.906 | 3.527 | 3.155 | 3.277 | 2.986
340 | 496.4 | 705.3 | 1230 | 2207 | 3162 | 3080 | 1998 | 1348 | 1266 | 1610 | 2282 | 3358 | 4703 | 6099 | 6991 | 7351 | 6920 | 5777 | 3726 | 1699 | 821.7 | 460.3 | 172.6 | 90.24 | 61.07 | 80.93 | 689.1 | 9999.9 | 9999.9 | 1657 | 16.27 | 11.43 | 9.11 | 7.063 | 6.006 | 5.021 | 4.517 | 4.015 | 3.403 | 3.275 | 3.17
345 | 566.9 | 702.3 | 1285 | 2471 | 3623 | 3352 | 2028 | 1371 | 1324 | 1691 | 2443 | 3643 | 5101 | 6557 | 7565 | 7954 | 7503 | 6279 | 4092 | 1864 | 826.1 | 497.8 | 304.6 | 127.2 | 78.8 | 60.25 | 85.35 | 698.6 | 9999.9 | 9999.9 | 1954 | 18.84 | 13.08 | 11.03 | 7.415 | 5.894 | 4.645 | 4.695 | 4.049 | 3.583 | 3.414
350 | 524.3 | 788.1 | 1342 | 2459 | 3794 | 3386 | 2072 | 1394 | 1348 | 1759 | 2540 | 3786 | 5330 | 6878 | 7950 | 8334 | 7837 | 6568 | 4333 | 1990 | 893.4 | 466.6 | 378.3 | 228.9 | 116.1 | 84.13 | 67.89 | 93.14 | 701.8 | 9999.9 | 9999.9 | 2271 | 20.95 | 13.89 | 10.76 | 7.491 | 6.241 | 4.973 | 4.457 | 4.071 | 3.626
355 | 529.3 | 722.8 | 1382 | 2491 | 3743 | 3475 | 2039 | 1388 | 1372 | 1727 | 2548 | 3803 | 5376 | 6932 | 7997 | 8399 | 7911 | 6680 | 4399 | 2043 | 969.1 | 506.8 | 334.5 | 343.7 | 198.3 | 122.6 | 96.95 | 79.95 | 99.83 | 720.6 | 9999.9 | 9999.9 | 2490 | 22.43 | 15.52 | 10.69 | 7.479 | 5.597 | 5.098 | 4.25 | 3.935
360 | 564.7 | 762.5 | 1339 | 2538 | 3705 | 3369 | 2048 | 1287 | 1326 | 1727 | 2501 | 3751 | 5276 | 6799 | 7831 | 8214 | 7750 | 6552 | 4372 | 2055 | 1000 | 547.5 | 360.6 | 312 | 338.5 | 202 | 139.2 | 114.3 | 91.65 | 107.7 | 722.1 | 9999.9 | 9999.9 | 2968 | 24.3 | 16.06 | 11 | 7.274 | 5.668 | 4.97 | 4.142
365 | 528.7 | 717.8 | 1250 | 2326 | 3601 | 3291 | 1931 | 1301 | 1238 | 1639 | 2349 | 3515 | 5006 | 6455 | 7458 | 7807 | 7382 | 6249 | 4200 | 2028 | 1024 | 601.5 | 419 | 329.1 | 347.8 | 344 | 213.6 | 160.3 | 128.6 | 100 | 110 | 745.1 | 9999.9 | 9999.9 | 3107 | 23.79 | 15.34 | 11.1 | 7.609 | 5.492 | 4.822
370 | 459 | 719.4 | 1216 | 2190 | 3384 | 3090 | 1788 | 1213 | 1214 | 1541 | 2227 | 3288 | 4674 | 5950 | 6906 | 7210 | 6847 | 5779 | 3962 | 1970 | 1045 | 658.1 | 488.2 | 400.9 | 360.3 | 399.6 | 357.6 | 234.1 | 182.9 | 144.2 | 108.4 | 120.2 | 766 | 9999.9 | 9999.9 | 3133 | 24.73 | 15.38 | 10.83 | 7.407 | 5.389
375 | 416.4 | 643.5 | 1132 | 1956 | 3032 | 2857 | 1671 | 1097 | 1117 | 1435 | 2046 | 2998 | 4207 | 5417 | 6226 | 6519 | 6197 | 5284 | 3669 | 1890 | 1071 | 712.8 | 566.7 | 493.1 | 443.4 | 421.3 | 471.9 | 381.1 | 269.3 | 211 | 161.8 | 123.7 | 133.4 | 783.8 | 9999.9 | 9999.9 | 3083 | 24.17 | 13.81 | 9.99 | 6.985
380 | 433.3 | 600.5 | 965.7 | 1914 | 2684 | 2588 | 1529 | 1071 | 1076 | 1361 | 1891 | 2694 | 3717 | 4738 | 5525 | 5821 | 5530 | 4739 | 3371 | 1825 | 1106 | 794.7 | 663.4 | 600.4 | 552.1 | 521.4 | 518 | 545.7 | 421.7 | 313.1 | 250.3 | 192.6 | 146.3 | 145.2 | 788 | 9999.9 | 9999.9 | 3039 | 23.19 | 14.11 | 9.833
385 | 375.5 | 536.1 | 897.3 | 1617 | 2442 | 2270 | 1433 | 1015 | 1047 | 1297 | 1778 | 2449 | 3291 | 4202 | 4881 | 5118 | 4943 | 4238 | 3063 | 1768 | 1150 | 906.9 | 781.8 | 733.1 | 705.2 | 674.1 | 643.1 | 634.8 | 634.2 | 477.3 | 370.7 | 288 | 220.6 | 158.7 | 145.9 | 806.1 | 9999.9 | 9999.9 | 2992 | 22.64 | 13.66
390 | 749.7 | 516.9 | 851.4 | 1507 | 2225 | 2016 | 1355 | 979.1 | 1008 | 1230 | 1622 | 2203 | 2917 | 3640 | 4233 | 4439 | 4325 | 3803 | 2839 | 1727 | 1235 | 1019 | 923.1 | 896 | 876.2 | 858.1 | 819.3 | 783 | 770.1 | 713.3 | 536.2 | 420.5 | 322.1 | 227.8 | 156 | 142.1 | 781.1 | 9999.9 | 9999.9 | 3021 | 21.09
395 | 2221 | 438 | 820.5 | 1401 | 1979 | 1846 | 1291 | 982.3 | 1024 | 1263 | 1556 | 1997 | 2559 | 3172 | 3666 | 3904 | 3824 | 3422 | 2645 | 1744 | 1319 | 1159 | 1085 | 1069 | 1061 | 1054 | 1014 | 979 | 909.3 | 887.9 | 760.7 | 577.3 | 441 | 318.8 | 210.3 | 132.5 | 126.2 | 801 | 9999.9 | 9999.9 | 2818
400 | 3041 | 1036 | 670.3 | 1251 | 1808 | 1701 | 1208 | 1003 | 1046 | 1231 | 1527 | 1851 | 2274 | 2782 | 3223 | 3445 | 3371 | 3071 | 2476 | 1759 | 1420 | 1286 | 1249 | 1251 | 1249 | 1250 | 1230 | 1193 | 1115 | 1022 | 968.5 | 779 | 572.9 | 420.2 | 281.7 | 176.1 | 108.2 | 112.3 | 769.6 | 9999.9 | 9999.9
405 | 1821 | 2777 | 650.5 | 1115 | 1626 | 1541 | 1175 | 1030 | 1080 | 1277 | 1486 | 1743 | 2052 | 2441 | 2796 | 3030 | 3029 | 2822 | 2355 | 1794 | 1529 | 1424 | 1410 | 1409 | 1452 | 1457 | 1442 | 1404 | 1328 | 1204 | 1085 | 989.5 | 736.6 | 523.6 | 359.1 | 224.2 | 138.3 | 89.07 | 98.28 | 741.1 | 9999.9
410 | 556.2 | 3527 | 1272 | 1053 | 1397 | 1449 | 1121 | 1012 | 1083 | 1274 | 1479 | 1651 | 1879 | 2175 | 2501 | 2704 | 2754 | 2619 | 2268 | 1821 | 1619 | 1536 | 1552 | 1567 | 1601 | 1636 | 1630 | 1597 | 1506 | 1381 | 1221 | 1083 | 919.5 | 640.6 | 434.4 | 275.9 | 173.4 | 108.8 | 67.88 | 89.26 | 738.9
415 | 265.8 | 1988 | 2915 | 973.9 | 1289 | 1418 | 1118 | 1039 | 1122 | 1301 | 1472 | 1582 | 1740 | 1964 | 2220 | 2448 | 2511 | 2433 | 2180 | 1836 | 1683 | 1647 | 1650 | 1695 | 1751 | 1784 | 1786 | 1743 | 1660 | 1525 | 1358 | 1168 | 1012 | 788.5 | 512.9 | 329.1 | 210.5 | 131.6 | 82.98 | 58.48 | 83.28
420 | 251.2 | 666 | 4047 | 1506 | 1208 | 1221 | 1037 | 1032 | 1130 | 1295 | 1471 | 1541 | 1618 | 1788 | 2008 | 2193 | 2310 | 2263 | 2099 | 1838 | 1732 | 1716 | 1732 | 1790 | 1850 | 1885 | 1895 | 1869 | 1776 | 1646 | 1453 | 1246 | 1040 | 869.1 | 617.4 | 380.9 | 243 | 154 | 100.1 | 67.61 | 50.4
425 | 286.8 | 346.3 | 2429 | 3025 | 1120 | 1145 | 1068 | 997.7 | 1164 | 1287 | 1451 | 1468 | 1515 | 1625 | 1821 | 2024 | 2137 | 2112 | 2000 | 1826 | 1765 | 1750 | 1785 | 1849 | 1917 | 1958 | 1975 | 1940 | 1855 | 1718 | 1531 | 1319 | 1084 | 870.2 | 692 | 448.3 | 282.5 | 180.2 | 122 | 85.03 | 58.76
430 | 284 | 333.2 | 769.2 | 4131 | 1562 | 1089 | 962.3 | 968.1 | 1103 | 1303 | 1411 | 1422 | 1431 | 1494 | 1665 | 1872 | 1976 | 2007 | 1926 | 1797 | 1755 | 1774 | 1813 | 1885 | 1940 | 2007 | 2024 | 1989 | 1909 | 1767 | 1579 | 1365 | 1126 | 885.5 | 689.8 | 525.5 | 327.2 | 205 | 142.5 | 100.5 | 72.57
435 | 232.6 | 355.9 | 465.3 | 2467 | 2997 | 981.4 | 954.1 | 961.1 | 1140 | 1308 | 1397 | 1389 | 1384 | 1403 | 1533 | 1735 | 1835 | 1873 | 1849 | 1755 | 1751 | 1777 | 1825 | 1891 | 1955 | 2009 | 2042 | 2011 | 1922 | 1787 | 1605 | 1392 | 1159 | 913.4 | 681.3 | 532.6 | 393.2 | 238.4 | 159.7 | 118.1 | 87.01
440 | 244.5 | 340.8 | 479.9 | 1029 | 4211 | 1408 | 902 | 953.6 | 1112 | 1240 | 1372 | 1380 | 1305 | 1308 | 1445 | 1596 | 1708 | 1757 | 1761 | 1722 | 1722 | 1749 | 1797 | 1861 | 1938 | 1997 | 2024 | 1997 | 1919 | 1780 | 1597 | 1391 | 1162 | 928.8 | 695.4 | 508.5 | 411.6 | 289.6 | 183 | 133.1 | 101.4
445 | 254.6 | 306.4 | 441.5 | 585.3 | 2819 | 2909 | 837.9 | 911.8 | 1052 | 1205 | 1294 | 1283 | 1222 | 1238 | 1324 | 1460 | 1593 | 1647 | 1641 | 1631 | 1652 | 1696 | 1740 | 1800 | 1883 | 1945 | 1959 | 1944 | 1863 | 1735 | 1569 | 1357 | 1152 | 913.5 | 696.3 | 507.1 | 381.3 | 321.3 | 221.7 | 147.4 | 114.9
450 | 213 | 310.8 | 356.3 | 542.1 | 1121 | 4219 | 1237 | 854.5 | 986.4 | 1141 | 1231 | 1217 | 1168 | 1137 | 1210 | 1334 | 1461 | 1505 | 1533 | 1521 | 1560 | 1600 | 1651 | 1713 | 1797 | 1844 | 1873 | 1847 | 1778 | 1652 | 1496 | 1307 | 1110 | 887.8 | 681.9 | 504 | 373.2 | 301.6 | 259.7 | 173.8 | 128.7
455 | 203.8 | 274.8 | 356.6 | 477.7 | 626.1 | 2922 | 2735 | 805.7 | 923.1 | 1083 | 1154 | 1149 | 1065 | 1033 | 1095 | 1220 | 1325 | 1381 | 1409 | 1414 | 1457 | 1505 | 1540 | 1608 | 1679 | 1716 | 1763 | 1731 | 1675 | 1569 | 1408 | 1243 | 1051 | 854.6 | 663 | 495.3 | 367.3 | 279.6 | 248.6 | 209.1 | 143.5
460 | 182 | 206.3 | 306.3 | 458.2 | 596 | 1129 | 4222 | 1136 | 857.8 | 994.7 | 1068 | 1062 | 992.1 | 957 | 989 | 1094 | 1175 | 1247 | 1277 | 1297 | 1339 | 1384 | 1429 | 1483 | 1548 | 1593 | 1630 | 1612 | 1542 | 1457 | 1311 | 1162 | 979.5 | 804.4 | 630.5 | 478.6 | 362.7 | 278.1 | 227.3 | 216.7 | 170.9
465 | 184.1 | 248.2 | 281.4 | 396.7 | 519.6 | 563.5 | 3107 | 2527 | 797.9 | 914 | 984.2 | 992.7 | 898.3 | 858 | 903.1 | 962.2 | 1068 | 1102 | 1146 | 1170 | 1214 | 1262 | 1302 | 1351 | 1414 | 1463 | 1482 | 1472 | 1424 | 1334 | 1208 | 1073 | 912.7 | 751.2 | 596.2 | 463.2 | 349.5 | 276.7 | 224 | 193.1 | 188.2
470 | 162.4 | 218.3 | 238.2 | 329.3 | 419.7 | 498 | 1099 | 4019 | 1136 | 841.2 | 911.7 | 880.4 | 831.8 | 793.9 | 806.5 | 865.4 | 956.6 | 985.7 | 1026 | 1055 | 1095 | 1134 | 1174 | 1217 | 1273 | 1316 | 1342 | 1330 | 1285 | 1211 | 1105 | 978.4 | 845.1 | 704.8 | 561.2 | 437.3 | 341.7 | 272.3 | 221.4 | 187.4 | 177.3
475 | 166.6 | 175.2 | 216.4 | 308.7 | 403.8 | 431.6 | 536.6 | 3193 | 2520 | 781.2 | 836.1 | 809.3 | 753.3 | 727.8 | 742.7 | 790.9 | 850.4 | 878.7 | 925.3 | 938.7 | 974.6 | 1010 | 1048 | 1098 | 1143 | 1178 | 1201 | 1196 | 1160 | 1090 | 997.5 | 886.6 | 774 | 652.1 | 528 | 418.8 | 333.1 | 270.4 | 220 | 190.6 | 167.6
480 | 134.7 | 133.3 | 209.5 | 259.1 | 349.6 | 376.7 | 431.4 | 1113 | 4066 | 1081 | 757.1 | 748.1 | 717.3 | 696.7 | 689.5 | 718.5 | 757 | 804.7 | 817.5 | 837.2 | 865.6 | 903.8 | 940.5 | 977.9 | 1020 | 1063 | 1087 | 1088 | 1043 | 988.3 | 906.7 | 819.8 | 717.5 | 613 | 507 | 407.9 | 330.3 | 271.6 | 229.3 | 197.2 | 172.2
485 | 174.4 | 151 | 188.1 | 235 | 340.6 | 351.1 | 401.9 | 503.7 | 3302 | 2481 | 700.5 | 720.4 | 690.8 | 673.3 | 674.4 | 694.5 | 731.2 | 743.2 | 743.5 | 757 | 780.6 | 822 | 845.1 | 881.5 | 929.3 | 962.7 | 979.7 | 991.3 | 953.2 | 920 | 847.4 | 769.8 | 686.4 | 595 | 502.7 | 414.4 | 345.6 | 287.7 | 245.6 | 211.1 | 191.6
490 | 144.5 | 158.7 | 179.9 | 202.3 | 282.5 | 345.8 | 371.8 | 428.1 | 1178 | 4167 | 1025 | 695.6 | 710.1 | 694.9 | 691.7 | 702.5 | 709.6 | 689.6 | 679.4 | 685.8 | 710.5 | 750.5 | 770.5 | 806.6 | 842.1 | 872.9 | 901.4 | 907.5 | 893.3 | 854.6 | 797.2 | 737 | 668.6 | 596.2 | 516.7 | 436.9 | 365.6 | 312.9 | 268 | 237.4 | 211.5
495 | 122.6 | 136.9 | 171.3 | 194.7 | 258 | 353.8 | 365.1 | 396.2 | 526.5 | 3597 | 2381 | 695.7 | 718.8 | 741.5 | 746.8 | 734.3 | 706.3 | 662 | 624.2 | 616.2 | 634.6 | 669.3 | 691.1 | 719 | 761.6 | 790.5 | 814.3 | 825.9 | 817.7 | 794.7 | 759.1 | 712.7 | 663.1 | 603.4 | 541.1 | 471 | 406.7 | 346.8 | 301.1 | 264.6 | 240.8
500 | 84.14 | 112.3 | 158.1 | 196 | 276.1 | 302.9 | 374 | 396 | 469.3 | 1378 | 4256 | 1009 | 750.2 | 803 | 808.2 | 767.9 | 708.9 | 641.7 | 568.5 | 550.4 | 562.9 | 587.2 | 614 | 645.5 | 680.9 | 708.4 | 739.5 | 751.4 | 765 | 741.9 | 722 | 692.2 | 667.1 | 621 | 569.1 | 508.6 | 449 | 385.8 | 336.6 | 297.2 | 275.9