## Sheet1
Report date: | 14:08:08, 09/18/2024
Sample: | 1
File name:
Run date: | 14:02:29, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/475.0 | 105.9
2 | 230.0/320.0 | 2854
3 | 250.0/275.0 | 207.5
4 | 280.0/345.0 | 7346
5 | 320.0/430.0 | 1728
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 31.92 | 32.38 | 37.49 | 38.3 | 51.61 | 22.54 | 15.41 | 12.92 | 32.38 | 170.6 | 102.6 | 32.81 | 77 | 7262 | 9999.9 | 2683 | 21.64 | 11.48 | 6.782 | 5.51 | 4.02 | 3.641 | 3.004 | 2.938 | 2.567 | 2.611 | 2.34 | 2.714 | 2.25 | 2.287 | 2.1 | 2.439 | 2.136 | 2.406 | 1.825 | 2.075 | 2.655 | 2.597 | 2.452 | 1.895 | 1.909
275 | 27.3 | 47.97 | 47.07 | 72.06 | 69.73 | 61.69 | 35.02 | 17.46 | 21.77 | 66.12 | 207.5 | 115.3 | 75.08 | 560 | 7946 | 9999.9 | 2289 | 20.69 | 8.791 | 6.463 | 5.314 | 3.722 | 3.552 | 3.416 | 3.189 | 2.56 | 2.93 | 2.585 | 2.602 | 2.609 | 2.154 | 2.055 | 1.962 | 1.904 | 2.379 | 2.273 | 2.071 | 2.262 | 2.294 | 2.066 | 1.725
280 | 58.85 | 56.14 | 58.17 | 87.87 | 128.9 | 122.2 | 78.96 | 38.69 | 31.89 | 37.4 | 135.1 | 292 | 172.8 | 193.3 | 682.5 | 7789 | 9999.9 | 2004 | 21.82 | 8.452 | 5.639 | 3.835 | 3.44 | 2.911 | 3.174 | 2.564 | 2.707 | 2.97 | 2.872 | 2.47 | 2.504 | 2.694 | 2.628 | 2.442 | 2.144 | 1.954 | 1.987 | 2.156 | 2.156 | 2.352 | 2.023
285 | 61.52 | 66.78 | 98.88 | 171.3 | 298.7 | 389.7 | 337.7 | 177.5 | 86.09 | 85.8 | 137.7 | 337.9 | 546.8 | 546.4 | 703.5 | 1173 | 8658 | 9999.9 | 1718 | 22.51 | 7.307 | 5.164 | 4.354 | 3.783 | 3.18 | 2.993 | 3.083 | 2.886 | 2.953 | 2.748 | 2.706 | 2.526 | 2.416 | 2.598 | 1.95 | 1.962 | 2.133 | 1.935 | 1.929 | 2.363 | 2.43
290 | 93.39 | 86.35 | 186.2 | 279.4 | 608.7 | 954.9 | 927 | 517.1 | 229.1 | 183.1 | 277 | 490.9 | 1027 | 1476 | 1764 | 1926 | 2133 | 9080 | 9999.9 | 1546 | 15.49 | 6.867 | 5.041 | 4.469 | 4.223 | 3.288 | 2.889 | 2.9 | 2.852 | 2.84 | 2.663 | 2.703 | 2.506 | 2.529 | 2.303 | 1.919 | 1.945 | 1.968 | 1.744 | 1.774 | 2.074
295 | 144.5 | 164.9 | 208.6 | 403.8 | 901.2 | 1542 | 1604 | 942.2 | 434.5 | 325.1 | 472.5 | 810 | 1405 | 2453 | 3129 | 3336 | 2885 | 2130 | 8562 | 9999.9 | 1321 | 14.2 | 7.448 | 5.671 | 4.579 | 4.377 | 4.174 | 3.649 | 3.163 | 3.235 | 2.829 | 2.641 | 2.689 | 2.514 | 2.262 | 2.334 | 2.139 | 2.263 | 1.816 | 1.855 | 1.962
300 | 139.2 | 204.5 | 281 | 560.8 | 1132 | 2033 | 2171 | 1327 | 688.4 | 535.8 | 701.3 | 1149 | 1895 | 3018 | 4326 | 4695 | 4034 | 2369 | 1299 | 8899 | 9999.9 | 1179 | 13.21 | 7.347 | 5.504 | 4.477 | 4.339 | 4.457 | 3.448 | 2.892 | 2.783 | 2.916 | 2.857 | 2.755 | 2.419 | 2.564 | 2.55 | 2.019 | 1.978 | 1.899 | 1.743
305 | 182.7 | 171.7 | 256.7 | 622.4 | 1310 | 2298 | 2565 | 1599 | 894.5 | 768.6 | 968.5 | 1456 | 2296 | 3495 | 4857 | 5712 | 4955 | 3052 | 1279 | 1063 | 8693 | 9999.9 | 1090 | 12.56 | 7.291 | 5.099 | 4.921 | 4.254 | 3.77 | 3.053 | 3.095 | 2.996 | 2.982 | 3.081 | 2.479 | 2.062 | 2.578 | 2.196 | 1.972 | 1.782 | 1.602
310 | 181.5 | 172.4 | 346.5 | 589.9 | 1328 | 2455 | 2733 | 1857 | 1164 | 1058 | 1294 | 1781 | 2629 | 3845 | 5197 | 5998 | 5718 | 3697 | 1818 | 862.1 | 870.2 | 7855 | 9999.9 | 1102 | 12.44 | 7.16 | 5.704 | 4.681 | 3.937 | 4.08 | 3.202 | 3.301 | 3.307 | 2.868 | 2.937 | 2.543 | 2.271 | 2.24 | 2.046 | 1.807 | 1.822
315 | 193.7 | 215.3 | 281.5 | 589.3 | 1323 | 2319 | 2796 | 1996 | 1392 | 1339 | 1646 | 2175 | 2963 | 4106 | 5428 | 6196 | 6028 | 4478 | 2443 | 1222 | 540.6 | 684.3 | 8416 | 9999.9 | 1054 | 10.77 | 7.274 | 6.251 | 4.874 | 3.743 | 3.956 | 3.544 | 3.086 | 3.652 | 2.834 | 2.526 | 2.58 | 2.122 | 2.085 | 1.946 | 2.194
320 | 200.1 | 239.9 | 308.1 | 649.8 | 1339 | 2344 | 2854 | 2113 | 1610 | 1616 | 1974 | 2534 | 3298 | 4371 | 5644 | 6411 | 6211 | 4993 | 3158 | 1606 | 696.8 | 295.2 | 644.1 | 7859 | 9999.9 | 1009 | 11.39 | 7.583 | 6.025 | 4.843 | 4.023 | 4.033 | 3.652 | 3.486 | 3.096 | 2.993 | 2.515 | 2.223 | 2.014 | 2.044 | 1.845
325 | 159.5 | 208.3 | 334.5 | 659.9 | 1289 | 2214 | 2742 | 2174 | 1765 | 1867 | 2255 | 2855 | 3632 | 4663 | 5834 | 6614 | 6515 | 5326 | 3782 | 2060 | 882.7 | 358.4 | 181.4 | 574.4 | 8100 | 9999.9 | 1053 | 12.33 | 7.6 | 6.569 | 4.928 | 4.444 | 3.654 | 3.86 | 3.269 | 2.839 | 2.482 | 2.777 | 2.296 | 2.206 | 1.804
330 | 143.3 | 259.8 | 354.3 | 636 | 1307 | 2358 | 2720 | 2217 | 1876 | 2028 | 2485 | 3133 | 3948 | 5010 | 6108 | 6833 | 6804 | 5694 | 4074 | 2479 | 1118 | 456.9 | 200.8 | 120.4 | 575.2 | 7619 | 9999.9 | 1140 | 12.68 | 8.359 | 6.457 | 4.751 | 4.087 | 3.985 | 3.36 | 3.479 | 2.496 | 2.737 | 2.313 | 1.88 | 2.096
335 | 191.8 | 196.8 | 337.6 | 648.9 | 1396 | 2376 | 2644 | 2262 | 1993 | 2177 | 2684 | 3410 | 4308 | 5323 | 6407 | 7045 | 7064 | 6072 | 4456 | 2621 | 1423 | 597.9 | 265.1 | 131.5 | 103.1 | 544.4 | 8274 | 9999.9 | 1232 | 13.47 | 8.405 | 6.472 | 5.353 | 4.786 | 3.87 | 3.48 | 3.555 | 2.695 | 2.421 | 2.217 | 2.017
340 | 174.8 | 214.5 | 361.2 | 684.6 | 1374 | 2302 | 2611 | 2257 | 2025 | 2278 | 2835 | 3617 | 4519 | 5596 | 6674 | 7253 | 7277 | 6309 | 4733 | 2765 | 1495 | 841.3 | 363 | 191.1 | 118.3 | 111.1 | 600.7 | 8739 | 9999.9 | 1331 | 13.37 | 9.113 | 7.2 | 5.473 | 4.625 | 3.603 | 3.51 | 2.947 | 2.418 | 2.237 | 1.881
345 | 201.2 | 239.4 | 337.1 | 642.1 | 1391 | 2276 | 2575 | 2192 | 2037 | 2289 | 2894 | 3684 | 4679 | 5746 | 6743 | 7343 | 7346 | 6476 | 4927 | 2910 | 1535 | 944.9 | 574.3 | 276.4 | 185.4 | 135.8 | 126.8 | 639 | 8893 | 9999.9 | 1397 | 14.07 | 9.47 | 7.028 | 5.105 | 4.176 | 3.416 | 3.331 | 3.08 | 2.689 | 2.238
350 | 209.8 | 242.3 | 412.1 | 653.5 | 1383 | 2291 | 2431 | 2074 | 2006 | 2300 | 2872 | 3720 | 4722 | 5823 | 6751 | 7238 | 7283 | 6467 | 4998 | 2977 | 1632 | 928.1 | 711.1 | 461.3 | 272.4 | 200.8 | 144.8 | 128.6 | 640.3 | 8942 | 9999.9 | 1541 | 14.61 | 10.02 | 7.212 | 5.074 | 4.278 | 3.344 | 3.049 | 2.542 | 2.373
355 | 194.8 | 228.8 | 380 | 664.1 | 1355 | 2226 | 2381 | 2084 | 1956 | 2275 | 2829 | 3684 | 4645 | 5704 | 6614 | 7095 | 7087 | 6298 | 4936 | 3011 | 1710 | 1008 | 688.8 | 628.5 | 417.3 | 276.9 | 203.1 | 136.3 | 118.5 | 650.4 | 9046 | 9999.9 | 1679 | 15.51 | 10.02 | 6.827 | 4.877 | 3.7 | 3.249 | 2.954 | 2.439
360 | 225.4 | 229.9 | 371.5 | 640.8 | 1318 | 2077 | 2250 | 1962 | 1917 | 2188 | 2720 | 3473 | 4495 | 5458 | 6302 | 6765 | 6759 | 6037 | 4777 | 2977 | 1766 | 1094 | 755.7 | 634.3 | 611.5 | 396.5 | 269 | 187.5 | 122.8 | 115.6 | 650.7 | 9290 | 9999.9 | 1840 | 16.15 | 10.29 | 6.59 | 5.316 | 3.91 | 3.372 | 2.69
365 | 181.6 | 199.7 | 353.8 | 602.4 | 1294 | 2009 | 2085 | 1815 | 1809 | 2122 | 2586 | 3320 | 4241 | 5135 | 5908 | 6285 | 6330 | 5706 | 4548 | 2916 | 1790 | 1167 | 838.4 | 662 | 636.4 | 587.9 | 365.5 | 245.8 | 168.8 | 120.6 | 119 | 672.7 | 9999.9 | 9999.9 | 1757 | 16.61 | 9.185 | 6.523 | 4.408 | 3.411 | 2.846
370 | 204.5 | 210.5 | 343 | 570.6 | 1192 | 1886 | 1926 | 1759 | 1721 | 1986 | 2407 | 3084 | 3927 | 4776 | 5466 | 5796 | 5806 | 5271 | 4272 | 2818 | 1798 | 1240 | 925.2 | 751.3 | 644.5 | 645.5 | 529.7 | 328.1 | 230.9 | 166.6 | 122 | 122.1 | 729.9 | 9999.9 | 9999.9 | 1728 | 15.38 | 9.323 | 6.093 | 4.083 | 3.347
375 | 184.9 | 226.5 | 357.4 | 564.5 | 1035 | 1646 | 1769 | 1598 | 1595 | 1864 | 2220 | 2859 | 3526 | 4282 | 4861 | 5232 | 5280 | 4831 | 3978 | 2704 | 1815 | 1294 | 1010 | 839.8 | 716.9 | 640.3 | 648.8 | 484.3 | 311.4 | 234.4 | 176.8 | 126.8 | 126.8 | 732.6 | 9999.9 | 9999.9 | 1686 | 14.21 | 8.081 | 5.606 | 3.941
380 | 153.1 | 228.5 | 307.3 | 500.7 | 969.8 | 1456 | 1572 | 1515 | 1519 | 1707 | 2055 | 2525 | 3165 | 3851 | 4363 | 4703 | 4734 | 4380 | 3692 | 2614 | 1839 | 1378 | 1100 | 919 | 808.1 | 714.5 | 652.7 | 644.7 | 460.1 | 322.2 | 251.6 | 185.1 | 134 | 130 | 731.9 | 9999.9 | 9999.9 | 1645 | 13.46 | 7.721 | 5.572
385 | 163.1 | 171.6 | 318.9 | 448.1 | 866.1 | 1323 | 1476 | 1409 | 1422 | 1591 | 1853 | 2301 | 2816 | 3353 | 3833 | 4145 | 4241 | 3982 | 3442 | 2509 | 1858 | 1455 | 1188 | 1029 | 919.4 | 824.6 | 738.9 | 685.6 | 647.6 | 458.1 | 345.2 | 263.5 | 193.1 | 132.4 | 124.3 | 729.9 | 9669 | 9999.9 | 1473 | 11.9 | 7.484
390 | 571.4 | 165 | 271.6 | 444 | 752.4 | 1209 | 1318 | 1313 | 1364 | 1465 | 1671 | 2043 | 2476 | 2945 | 3350 | 3661 | 3773 | 3593 | 3177 | 2436 | 1901 | 1531 | 1296 | 1146 | 1041 | 954.8 | 857.7 | 766.5 | 728.5 | 660.5 | 471.2 | 362.7 | 272.4 | 188.2 | 122.9 | 116.1 | 693 | 9100 | 9999.9 | 1411 | 11.67
395 | 1871 | 195.8 | 261.2 | 367.9 | 675.2 | 1094 | 1262 | 1241 | 1288 | 1373 | 1578 | 1863 | 2223 | 2596 | 2969 | 3235 | 3376 | 3295 | 2984 | 2374 | 1923 | 1618 | 1406 | 1261 | 1165 | 1087 | 1003 | 903 | 803.8 | 777.2 | 660.6 | 469.9 | 361.2 | 256.7 | 167.2 | 105.9 | 105.8 | 669 | 8404 | 9999.9 | 1283
400 | 2829 | 704.7 | 216.1 | 385 | 649.2 | 1025 | 1153 | 1152 | 1262 | 1332 | 1454 | 1705 | 1952 | 2267 | 2604 | 2873 | 3046 | 2994 | 2803 | 2319 | 1945 | 1702 | 1515 | 1381 | 1307 | 1236 | 1153 | 1054 | 941.2 | 850.1 | 812.1 | 639.6 | 458.6 | 332.9 | 226.5 | 144.8 | 96.36 | 100.7 | 607 | 7547 | 9999.9
405 | 1610 | 2336 | 266.5 | 348.4 | 629.2 | 915.7 | 1062 | 1127 | 1183 | 1266 | 1353 | 1539 | 1770 | 1997 | 2274 | 2525 | 2696 | 2736 | 2592 | 2239 | 1962 | 1755 | 1597 | 1502 | 1435 | 1377 | 1300 | 1203 | 1084 | 956.3 | 865.6 | 801.1 | 600.8 | 416.4 | 291.9 | 196.5 | 131.6 | 88.22 | 92.99 | 540 | 6909
410 | 430.5 | 3169 | 831.8 | 306.1 | 544 | 824.9 | 1010 | 1084 | 1154 | 1228 | 1285 | 1437 | 1573 | 1782 | 2012 | 2278 | 2483 | 2510 | 2441 | 2165 | 1954 | 1801 | 1670 | 1588 | 1540 | 1488 | 1426 | 1330 | 1213 | 1065 | 940.1 | 851.8 | 745 | 518.5 | 359.4 | 253.8 | 176.8 | 118.6 | 78.67 | 81.06 | 497.3
415 | 219.2 | 1676 | 2411 | 266.6 | 496 | 754.6 | 951.1 | 1044 | 1113 | 1191 | 1253 | 1378 | 1475 | 1597 | 1815 | 2037 | 2226 | 2301 | 2277 | 2078 | 1920 | 1816 | 1714 | 1671 | 1639 | 1591 | 1526 | 1434 | 1320 | 1168 | 1036 | 896 | 807.4 | 657 | 440.8 | 313.2 | 223.4 | 151.9 | 102 | 67.61 | 70.77
420 | 146.8 | 428.8 | 3165 | 854.8 | 433.8 | 676.3 | 882.9 | 1034 | 1124 | 1160 | 1210 | 1301 | 1347 | 1450 | 1641 | 1858 | 2031 | 2119 | 2104 | 1987 | 1883 | 1799 | 1748 | 1694 | 1686 | 1660 | 1615 | 1508 | 1388 | 1250 | 1108 | 958 | 815.2 | 730.2 | 547 | 370 | 269.4 | 185.6 | 127.9 | 82.59 | 55.2
425 | 154 | 141 | 1661 | 2250 | 430.7 | 641.8 | 824.2 | 953.2 | 1062 | 1131 | 1183 | 1219 | 1251 | 1294 | 1488 | 1656 | 1828 | 1944 | 1968 | 1881 | 1816 | 1763 | 1733 | 1716 | 1724 | 1707 | 1643 | 1563 | 1445 | 1303 | 1152 | 1005 | 850.6 | 721.2 | 625.8 | 447.3 | 307.1 | 217.8 | 149.3 | 99.1 | 63.49
430 | 141.2 | 142.4 | 449 | 3057 | 803.5 | 577.6 | 813.8 | 928.2 | 1040 | 1091 | 1138 | 1165 | 1175 | 1218 | 1359 | 1531 | 1700 | 1783 | 1830 | 1768 | 1749 | 1729 | 1709 | 1711 | 1728 | 1722 | 1675 | 1601 | 1480 | 1335 | 1196 | 1037 | 883.1 | 735.2 | 621.9 | 523 | 356 | 241.2 | 170.7 | 115.9 | 73.5
435 | 140.6 | 116.7 | 200.2 | 1687 | 2136 | 547.9 | 741.5 | 896.6 | 1005 | 1059 | 1091 | 1131 | 1115 | 1130 | 1234 | 1422 | 1555 | 1635 | 1706 | 1669 | 1669 | 1676 | 1678 | 1701 | 1726 | 1723 | 1682 | 1616 | 1490 | 1352 | 1208 | 1059 | 904.3 | 755.5 | 607.9 | 531.9 | 419.4 | 276.4 | 189.1 | 128.5 | 83.72
440 | 160 | 151.3 | 180.1 | 456.2 | 2931 | 867.9 | 706.9 | 868.6 | 936.4 | 1037 | 1062 | 1073 | 1048 | 1047 | 1138 | 1295 | 1428 | 1519 | 1563 | 1564 | 1586 | 1601 | 1629 | 1658 | 1688 | 1702 | 1653 | 1595 | 1471 | 1344 | 1200 | 1053 | 911.1 | 764.3 | 619.8 | 511.9 | 443.4 | 326.8 | 209.2 | 143.6 | 99.15
445 | 131.9 | 138.8 | 124.2 | 210.2 | 1825 | 1995 | 665 | 816.8 | 913.8 | 990.7 | 993.4 | 996.3 | 957.3 | 961.8 | 1052 | 1179 | 1302 | 1386 | 1437 | 1451 | 1493 | 1525 | 1547 | 1591 | 1627 | 1640 | 1607 | 1548 | 1438 | 1315 | 1177 | 1037 | 910.2 | 770.2 | 629.2 | 508.2 | 411 | 356.9 | 248.3 | 161.3 | 112.8
450 | 115 | 125.5 | 157.1 | 217.3 | 597.6 | 2974 | 928.5 | 758.1 | 848.5 | 922.6 | 924.6 | 942.4 | 885 | 878.9 | 955.1 | 1070 | 1185 | 1258 | 1313 | 1330 | 1363 | 1407 | 1447 | 1496 | 1532 | 1553 | 1539 | 1468 | 1381 | 1252 | 1134 | 1008 | 890.6 | 758.3 | 626.6 | 514.2 | 410.8 | 341 | 288.9 | 192.5 | 130.8
455 | 102.7 | 125.8 | 127.9 | 185 | 291.1 | 2046 | 2050 | 683.6 | 815.8 | 860 | 878 | 858.7 | 822.1 | 803.6 | 876.5 | 976.9 | 1076 | 1138 | 1171 | 1203 | 1251 | 1303 | 1347 | 1385 | 1431 | 1459 | 1453 | 1389 | 1311 | 1199 | 1091 | 971.8 | 854.9 | 745.8 | 625.1 | 512.4 | 413.6 | 333.2 | 285.2 | 234 | 155.5
460 | 128.8 | 98.91 | 144.6 | 182.6 | 230.7 | 696.9 | 3211 | 881.9 | 726.5 | 776.7 | 801.9 | 816.2 | 778.3 | 739.7 | 794.8 | 892.4 | 962.2 | 1017 | 1063 | 1092 | 1137 | 1188 | 1227 | 1289 | 1337 | 1358 | 1350 | 1299 | 1229 | 1130 | 1030 | 921.2 | 831.5 | 728.5 | 619.4 | 515.4 | 421.2 | 337.2 | 274 | 251.5 | 194.6
465 | 128.3 | 122.5 | 111.1 | 150.3 | 234 | 333.5 | 2455 | 2124 | 671.6 | 717.3 | 743.6 | 739.7 | 711.2 | 688.5 | 718.4 | 794.5 | 865 | 918.5 | 949.7 | 979.2 | 1027 | 1088 | 1131 | 1176 | 1222 | 1251 | 1242 | 1206 | 1140 | 1055 | 963.8 | 867.8 | 791.8 | 698.2 | 600.9 | 505.8 | 419.2 | 344.3 | 279.9 | 238.4 | 215.9
470 | 92.65 | 100.4 | 134.7 | 141.3 | 198.1 | 263.3 | 841.6 | 3358 | 951.4 | 657.2 | 693.1 | 680.2 | 657 | 643.8 | 657.2 | 710.6 | 780.8 | 817.2 | 851.3 | 875.5 | 913.6 | 967.8 | 1023 | 1062 | 1112 | 1138 | 1143 | 1110 | 1059 | 976.8 | 898.4 | 815.5 | 745.4 | 665.8 | 582.5 | 496.8 | 417.6 | 342.7 | 282.6 | 235.1 | 215.4
475 | 89.47 | 105.9 | 98.39 | 111.3 | 151.5 | 261.4 | 384.1 | 2667 | 2138 | 607.2 | 623 | 630.4 | 593.1 | 574.6 | 588.5 | 646 | 695.1 | 728.2 | 748.6 | 776 | 825.4 | 865.9 | 919.6 | 965.6 | 999.2 | 1039 | 1033 | 1011 | 960.5 | 900.4 | 827.6 | 758.5 | 699.8 | 631.4 | 559.2 | 484.2 | 408.7 | 339.3 | 284 | 238.1 | 203.7
480 | 101.4 | 96.31 | 81.49 | 99.77 | 182.3 | 234.5 | 326.1 | 923.4 | 3527 | 895.1 | 576.3 | 574.4 | 563 | 538.1 | 549.6 | 588.3 | 626.8 | 655.1 | 675.4 | 700.1 | 739.9 | 789.9 | 831.5 | 876.7 | 910.9 | 937 | 949.9 | 933 | 885.6 | 832.3 | 765.3 | 705.9 | 659.2 | 600.2 | 535.1 | 466.4 | 400.7 | 340.1 | 285.5 | 240.8 | 204.4
485 | 82.51 | 67.85 | 81.16 | 91.11 | 150.1 | 198.5 | 284.8 | 397.4 | 2875 | 2047 | 536.1 | 540.8 | 531.4 | 510.9 | 508.6 | 544.1 | 591 | 604.8 | 617.6 | 635.4 | 671.3 | 729.1 | 766.9 | 801.9 | 841.3 | 868.8 | 873.8 | 863.3 | 830.3 | 779.1 | 721.5 | 670.6 | 622.1 | 572.1 | 517.7 | 460.5 | 394.5 | 332.9 | 281.9 | 241.4 | 206.5
490 | 85.94 | 82.68 | 89.89 | 97.71 | 133.4 | 193.3 | 263.9 | 341.9 | 1036 | 3546 | 788 | 508.6 | 507.8 | 499.8 | 491.6 | 522.5 | 544.9 | 559.8 | 561.8 | 570.9 | 616.6 | 665.4 | 703.9 | 737.6 | 776.1 | 800.3 | 810.2 | 798.2 | 774.6 | 731.3 | 679.1 | 634.9 | 594.7 | 553.3 | 501.8 | 444.8 | 384.6 | 329.6 | 283.3 | 241.8 | 207.4
495 | 102.6 | 91.07 | 90.12 | 77.71 | 97.47 | 187.1 | 260.6 | 311.4 | 426.5 | 3065 | 1902 | 495.9 | 483.3 | 475.5 | 481.8 | 488.5 | 518.5 | 517.5 | 514.4 | 523.3 | 560.6 | 602.6 | 638.9 | 679.5 | 716 | 737.5 | 747.6 | 742.8 | 723 | 677.5 | 640.3 | 597.9 | 569.7 | 532.1 | 486.8 | 431.5 | 376.4 | 324.4 | 281.2 | 241.2 | 207.6
500 | 55.02 | 55.64 | 80.34 | 79.05 | 109.3 | 160.5 | 242.2 | 289.1 | 334.4 | 1099 | 3434 | 740.2 | 471 | 458.7 | 460.5 | 465.3 | 477 | 467.5 | 457.4 | 471.5 | 501.5 | 536.4 | 594.4 | 612.3 | 648.1 | 675.5 | 686 | 677.6 | 658.6 | 628.2 | 590.5 | 564 | 536.1 | 504.7 | 462.2 | 413.9 | 363.8 | 313.8 | 269.9 | 231.7 | 203.2