## Sheet1
Report date: | 14:14:22, 09/18/2024
Sample: | 1
File name:
Run date: | 14:08:53, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/410.0 | 3011
2 | 230.0/315.0 | 2727
3 | 250.0/275.0 | 209.2
4 | 280.0/345.0 | 7062
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 43.52 | 45.75 | 28.24 | 30.31 | 26.35 | 15.77 | 10.3 | 11.34 | 24.35 | 162.2 | 103.9 | 33.11 | 66.6 | 5473 | 9999.9 | 2254 | 21.09 | 10.18 | 7.734 | 5.226 | 3.87 | 3.506 | 3.22 | 2.979 | 2.435 | 2.554 | 2.428 | 2.242 | 2.569 | 2.369 | 2.109 | 2.265 | 2.323 | 1.912 | 1.887 | 2.196 | 2.196 | 2.444 | 2.056 | 1.411 | 1.658
275 | 46.35 | 48.38 | 38.26 | 49.72 | 66.74 | 58.32 | 28.66 | 14.53 | 14.17 | 61.89 | 209.2 | 114.1 | 68.46 | 431.1 | 6259 | 9999.9 | 1946 | 19.89 | 8.747 | 6.579 | 4.629 | 3.763 | 3.768 | 3.048 | 2.771 | 2.616 | 2.809 | 2.383 | 2.147 | 2.394 | 2.346 | 2.319 | 2.19 | 2.209 | 2.196 | 1.936 | 2.001 | 2.051 | 2.02 | 2.045 | 1.871
280 | 34.96 | 45.08 | 66.11 | 82.64 | 112.7 | 124.7 | 76.89 | 39.52 | 25.89 | 38.21 | 125 | 281.8 | 172.6 | 181.2 | 565.8 | 6821 | 9999.9 | 1771 | 21.11 | 7.746 | 5.181 | 3.875 | 3.696 | 3.195 | 3.183 | 3.125 | 2.981 | 2.509 | 2.593 | 2.561 | 2.199 | 2.371 | 2.056 | 2.311 | 2.245 | 1.905 | 2.049 | 1.951 | 2.037 | 2.328 | 1.945
285 | 53.05 | 55.82 | 111.8 | 155.3 | 258 | 360.7 | 327.4 | 185.7 | 83.07 | 78.52 | 126.6 | 333.2 | 544.4 | 537.5 | 678.7 | 1115 | 6921 | 9999.9 | 1546 | 19.18 | 6.725 | 5.11 | 4.303 | 3.483 | 3.144 | 3.098 | 2.827 | 2.537 | 2.349 | 2.456 | 2.232 | 2.48 | 2.173 | 2.093 | 2.262 | 1.854 | 1.8 | 1.657 | 1.536 | 1.591 | 1.966
290 | 83.83 | 95.77 | 159 | 281.1 | 526.5 | 915 | 904.1 | 501.1 | 219.7 | 173.8 | 271.7 | 478.8 | 1005 | 1436 | 1778 | 1919 | 2018 | 7786 | 9999.9 | 1337 | 14.73 | 6.319 | 4.51 | 4.069 | 3.709 | 3.209 | 3.147 | 2.629 | 2.608 | 2.408 | 2.404 | 2.313 | 2.562 | 2.26 | 2.123 | 1.94 | 2.11 | 1.544 | 1.798 | 1.612 | 1.851
295 | 105.2 | 115.8 | 180.6 | 420 | 824.2 | 1487 | 1534 | 933.8 | 423.2 | 327.6 | 450 | 787.2 | 1402 | 2398 | 3124 | 3309 | 2879 | 2034 | 7537 | 9999.9 | 1195 | 14.08 | 6.465 | 5.215 | 4.04 | 3.369 | 3.083 | 3.317 | 2.842 | 2.855 | 2.811 | 2.647 | 2.568 | 2.298 | 2.232 | 1.999 | 1.797 | 1.533 | 1.594 | 1.407 | 1.753
300 | 120.5 | 159.5 | 269 | 473.4 | 1004 | 2000 | 2118 | 1298 | 651.3 | 514.6 | 689.7 | 1116 | 1867 | 2974 | 4355 | 4689 | 4002 | 2391 | 1236 | 7227 | 9999.9 | 1072 | 12.69 | 6.188 | 5.694 | 4.389 | 3.659 | 3.597 | 3.469 | 2.873 | 3.075 | 2.528 | 2.637 | 2.523 | 2.143 | 2.075 | 1.963 | 1.714 | 1.941 | 1.623 | 1.541
305 | 168.4 | 193.6 | 292.4 | 577.4 | 1217 | 2178 | 2469 | 1603 | 912.4 | 763 | 981.2 | 1452 | 2272 | 3442 | 4855 | 5729 | 4958 | 3056 | 1287 | 955.7 | 7261 | 9999.9 | 957.3 | 10.2 | 6.47 | 4.814 | 4.262 | 3.849 | 3.927 | 3.212 | 2.764 | 3.057 | 2.735 | 2.655 | 2.339 | 2.376 | 1.952 | 1.954 | 1.797 | 1.72 | 1.533
310 | 142.7 | 172.6 | 289 | 543.6 | 1246 | 2321 | 2664 | 1871 | 1143 | 1025 | 1245 | 1772 | 2605 | 3821 | 5139 | 6022 | 5737 | 3740 | 1817 | 862.2 | 776 | 7168 | 9999.9 | 944.6 | 11.15 | 6.676 | 5.231 | 4.64 | 3.961 | 3.251 | 3.361 | 3.139 | 2.946 | 2.583 | 2.498 | 2.543 | 2.059 | 1.941 | 1.877 | 1.709 | 1.719
315 | 162.8 | 172.6 | 312.1 | 587.5 | 1248 | 2252 | 2727 | 1996 | 1383 | 1310 | 1582 | 2084 | 2910 | 4035 | 5360 | 6182 | 6097 | 4482 | 2426 | 1206 | 521.3 | 623.9 | 6970 | 9999.9 | 880.9 | 10.49 | 6.855 | 5.16 | 4.533 | 3.713 | 3.562 | 3.314 | 3.105 | 2.906 | 2.645 | 2.429 | 2.156 | 2.172 | 1.876 | 1.802 | 1.646
320 | 149.8 | 195.8 | 291.3 | 602.2 | 1236 | 2266 | 2687 | 2081 | 1581 | 1581 | 1893 | 2420 | 3172 | 4276 | 5538 | 6325 | 6192 | 4989 | 3159 | 1582 | 686.8 | 277.3 | 539.6 | 6731 | 9999.9 | 911 | 10.22 | 5.896 | 5.977 | 4.095 | 3.791 | 3.07 | 3.243 | 3.009 | 2.705 | 2.463 | 2.363 | 2.134 | 1.97 | 1.834 | 1.718
325 | 143 | 200.8 | 296 | 605.2 | 1262 | 2222 | 2682 | 2137 | 1741 | 1767 | 2147 | 2770 | 3506 | 4545 | 5701 | 6517 | 6412 | 5253 | 3756 | 2019 | 856.4 | 340.3 | 169.6 | 498.3 | 6720 | 9999.9 | 896 | 10.23 | 6.953 | 5.395 | 4.315 | 3.636 | 3.722 | 3.294 | 3.132 | 2.758 | 2.582 | 2.176 | 2.211 | 2.075 | 1.8
330 | 147.6 | 195 | 307.7 | 595.7 | 1285 | 2161 | 2615 | 2125 | 1818 | 1962 | 2361 | 3007 | 3814 | 4813 | 5957 | 6655 | 6683 | 5577 | 3997 | 2442 | 1085 | 428.7 | 191.9 | 115.5 | 482.7 | 6837 | 9999.9 | 946.5 | 10.79 | 7.136 | 5.499 | 4.671 | 4.011 | 3.668 | 2.977 | 2.66 | 2.704 | 2.254 | 2.125 | 1.994 | 2
335 | 170.9 | 207.1 | 308.7 | 599.6 | 1264 | 2170 | 2575 | 2192 | 1910 | 2079 | 2589 | 3236 | 4100 | 5120 | 6190 | 6943 | 6899 | 5925 | 4328 | 2561 | 1394 | 569.3 | 256.7 | 128.6 | 100.7 | 494.4 | 6942 | 9999.9 | 1013 | 11.36 | 7.982 | 5.719 | 4.867 | 3.876 | 3.495 | 3.262 | 2.647 | 2.56 | 1.958 | 2.084 | 1.811
340 | 156.1 | 171 | 302.4 | 605.6 | 1275 | 2136 | 2542 | 2132 | 1922 | 2161 | 2704 | 3420 | 4327 | 5343 | 6370 | 7046 | 7047 | 6117 | 4594 | 2665 | 1478 | 828.2 | 356.7 | 185.2 | 124.8 | 113.6 | 512.6 | 7070 | 9999.9 | 1094 | 11.54 | 7.692 | 6.722 | 4.782 | 3.859 | 2.989 | 3.3 | 2.448 | 2.126 | 2.274 | 2.036
345 | 186.1 | 175 | 297.8 | 606.7 | 1278 | 2180 | 2411 | 2099 | 1939 | 2202 | 2721 | 3510 | 4433 | 5501 | 6418 | 7041 | 7062 | 6205 | 4759 | 2815 | 1497 | 925.8 | 575.8 | 280.9 | 191.3 | 140.1 | 124.2 | 525.6 | 7236 | 9999.9 | 1246 | 12.88 | 8.615 | 6.775 | 5.038 | 3.78 | 3.158 | 2.917 | 2.503 | 2.208 | 2.148
350 | 159.4 | 187.9 | 299.2 | 605.4 | 1290 | 2124 | 2338 | 2005 | 1929 | 2166 | 2714 | 3533 | 4481 | 5506 | 6432 | 6957 | 6970 | 6194 | 4797 | 2866 | 1600 | 923.6 | 717.7 | 471.4 | 283.1 | 207.6 | 146.2 | 122.3 | 530.2 | 7327 | 9999.9 | 1389 | 13.75 | 9.054 | 6.155 | 4.572 | 3.792 | 3.243 | 2.67 | 2.581 | 2.031
355 | 148.3 | 184.8 | 306.8 | 574.5 | 1275 | 2040 | 2324 | 1965 | 1890 | 2132 | 2705 | 3444 | 4396 | 5388 | 6274 | 6758 | 6763 | 6025 | 4725 | 2898 | 1676 | 988.4 | 698.8 | 651.3 | 424.5 | 281.3 | 204.1 | 136.3 | 112 | 540.6 | 7771 | 9999.9 | 1426 | 12.47 | 8.437 | 6.125 | 4.316 | 3.348 | 2.893 | 2.578 | 2.144
360 | 153.3 | 213.1 | 308.5 | 602.6 | 1202 | 1906 | 2115 | 1814 | 1840 | 2077 | 2591 | 3363 | 4219 | 5142 | 5972 | 6358 | 6425 | 5777 | 4581 | 2865 | 1722 | 1085 | 752.2 | 645 | 633 | 403.3 | 272.2 | 186.9 | 120.9 | 107.7 | 562.7 | 8084 | 9999.9 | 1452 | 13.25 | 8.337 | 6.014 | 4.376 | 3.53 | 2.751 | 2.525
365 | 153.3 | 172.2 | 291.3 | 586.7 | 1071 | 1782 | 1929 | 1710 | 1731 | 2002 | 2449 | 3112 | 3968 | 4845 | 5577 | 5994 | 6022 | 5404 | 4375 | 2805 | 1759 | 1168 | 846 | 679.6 | 645.2 | 590.9 | 367.4 | 241.4 | 165.7 | 115.2 | 110.5 | 589.6 | 8414 | 9999.9 | 1383 | 12.59 | 8.093 | 5.384 | 3.988 | 2.989 | 2.665
370 | 142.1 | 196 | 263.8 | 509.4 | 1063 | 1704 | 1834 | 1624 | 1639 | 1861 | 2290 | 2895 | 3675 | 4484 | 5153 | 5530 | 5512 | 5004 | 4098 | 2726 | 1786 | 1243 | 938.2 | 756.7 | 655.7 | 651.3 | 532.2 | 321.1 | 222.7 | 158.4 | 119.6 | 113.9 | 619.4 | 8418 | 9999.9 | 1305 | 12.5 | 7.454 | 5.453 | 3.369 | 3.088
375 | 149.8 | 163.9 | 233.2 | 448.7 | 972.1 | 1524 | 1683 | 1530 | 1552 | 1738 | 2108 | 2667 | 3346 | 4017 | 4611 | 4930 | 5035 | 4580 | 3872 | 2665 | 1808 | 1315 | 1026 | 854.8 | 726.8 | 639.2 | 638 | 472.7 | 304.3 | 226.4 | 171.5 | 121.7 | 118.5 | 621.5 | 8301 | 9999.9 | 1273 | 11.47 | 7.055 | 5.05 | 3.821
380 | 139.6 | 198.7 | 232.6 | 462.3 | 901.7 | 1344 | 1501 | 1415 | 1469 | 1609 | 1907 | 2384 | 2991 | 3582 | 4101 | 4446 | 4509 | 4214 | 3587 | 2590 | 1851 | 1407 | 1122 | 939.7 | 821.5 | 706.4 | 640.8 | 634.4 | 441.8 | 309.2 | 243.9 | 180.4 | 128.3 | 119.5 | 616.2 | 7898 | 9999.9 | 1240 | 11.26 | 6.791 | 4.755
385 | 152.3 | 170.3 | 231.4 | 379.8 | 779.1 | 1282 | 1341 | 1340 | 1386 | 1513 | 1749 | 2168 | 2630 | 3164 | 3649 | 3927 | 4076 | 3840 | 3371 | 2504 | 1898 | 1501 | 1219 | 1045 | 929 | 817.8 | 719.2 | 662.8 | 629.3 | 441.2 | 333.8 | 257.2 | 189.4 | 131 | 116 | 583.8 | 7498 | 9999.9 | 1217 | 10.85 | 6.54
390 | 478.1 | 186 | 217.7 | 342 | 679.5 | 1053 | 1245 | 1265 | 1290 | 1402 | 1602 | 1913 | 2340 | 2759 | 3184 | 3501 | 3637 | 3524 | 3157 | 2474 | 1940 | 1594 | 1332 | 1158 | 1044 | 948.1 | 848 | 750.1 | 710.3 | 643.8 | 460.7 | 350.1 | 264.3 | 182.7 | 117.1 | 104.4 | 544.8 | 6889 | 9999.9 | 1143 | 9.506
395 | 1834 | 155 | 237.2 | 386.7 | 645.7 | 966.2 | 1130 | 1173 | 1230 | 1329 | 1454 | 1742 | 2074 | 2461 | 2830 | 3103 | 3280 | 3232 | 2999 | 2435 | 1983 | 1676 | 1454 | 1280 | 1166 | 1078 | 987.6 | 891.3 | 785.6 | 763.7 | 646.3 | 462.4 | 350.2 | 249.5 | 162.6 | 104.3 | 93.87 | 512.2 | 6651 | 9999.9 | 1048
400 | 2740 | 772.7 | 218.1 | 296.2 | 570.4 | 908.2 | 1084 | 1124 | 1175 | 1258 | 1366 | 1584 | 1824 | 2142 | 2478 | 2748 | 2960 | 2988 | 2796 | 2374 | 2007 | 1750 | 1549 | 1397 | 1297 | 1221 | 1134 | 1037 | 923.7 | 826.2 | 795.4 | 628.2 | 447.3 | 326.5 | 217.5 | 144.3 | 91.73 | 88.64 | 485.4 | 6153 | 9999.9
405 | 1434 | 2188 | 222.4 | 282.9 | 537 | 833.3 | 967.8 | 1069 | 1150 | 1192 | 1285 | 1470 | 1644 | 1893 | 2214 | 2454 | 2666 | 2730 | 2643 | 2329 | 2032 | 1815 | 1635 | 1512 | 1426 | 1364 | 1281 | 1172 | 1063 | 941.5 | 846.5 | 782.6 | 584.1 | 407.8 | 289.6 | 191.6 | 127.3 | 85.67 | 82.41 | 443.8 | 5502
410 | 318.4 | 3011 | 727.9 | 309.6 | 501.4 | 740.8 | 922.3 | 1054 | 1095 | 1141 | 1207 | 1367 | 1504 | 1673 | 1926 | 2205 | 2418 | 2515 | 2475 | 2241 | 2026 | 1851 | 1701 | 1601 | 1541 | 1478 | 1400 | 1304 | 1176 | 1054 | 921.7 | 831.1 | 731.1 | 511.8 | 355.3 | 247.5 | 171.1 | 113.1 | 77.89 | 74.78 | 399.6
415 | 142.9 | 1530 | 2425 | 249.3 | 429.8 | 659.4 | 882.9 | 978.6 | 1053 | 1097 | 1163 | 1271 | 1381 | 1511 | 1741 | 1988 | 2191 | 2321 | 2308 | 2151 | 1992 | 1864 | 1738 | 1667 | 1618 | 1577 | 1512 | 1413 | 1288 | 1149 | 1009 | 874.1 | 794.1 | 645.3 | 431.6 | 304.9 | 217.9 | 148.6 | 100.7 | 65.38 | 63.49
420 | 129 | 349.4 | 3056 | 787.5 | 429.2 | 597.5 | 837.8 | 955.2 | 1037 | 1109 | 1133 | 1196 | 1254 | 1369 | 1572 | 1785 | 2005 | 2130 | 2155 | 2034 | 1924 | 1837 | 1752 | 1697 | 1674 | 1647 | 1584 | 1501 | 1364 | 1229 | 1076 | 936.8 | 805.2 | 715.6 | 534.8 | 366.8 | 260.9 | 184 | 123.8 | 81.46 | 51.25
425 | 126.8 | 135.3 | 1644 | 2287 | 397.4 | 572.9 | 785.2 | 927.4 | 1023 | 1056 | 1076 | 1131 | 1166 | 1247 | 1423 | 1623 | 1821 | 1943 | 1998 | 1911 | 1846 | 1792 | 1758 | 1715 | 1706 | 1686 | 1622 | 1542 | 1417 | 1282 | 1132 | 981.5 | 831.2 | 708 | 616.4 | 435.4 | 300.5 | 215 | 148.3 | 95.51 | 61.42
430 | 109.6 | 127.9 | 355.1 | 2896 | 780.6 | 525 | 752.6 | 868.5 | 997.3 | 1012 | 1071 | 1105 | 1086 | 1146 | 1297 | 1477 | 1675 | 1791 | 1857 | 1796 | 1777 | 1747 | 1731 | 1719 | 1725 | 1709 | 1662 | 1581 | 1456 | 1311 | 1165 | 1011 | 867.1 | 722.2 | 609.2 | 517.1 | 348.7 | 240.8 | 165.4 | 112.2 | 73.15
435 | 93.02 | 128.4 | 195.8 | 1550 | 2048 | 534 | 672.9 | 839.7 | 936.9 | 982 | 1021 | 1048 | 1034 | 1067 | 1200 | 1366 | 1526 | 1632 | 1712 | 1693 | 1698 | 1689 | 1679 | 1697 | 1705 | 1704 | 1665 | 1589 | 1473 | 1323 | 1173 | 1033 | 891.7 | 746.4 | 603.7 | 516.6 | 412.6 | 271.1 | 182.6 | 124.9 | 83.02
440 | 109.2 | 113.7 | 141.6 | 381 | 2929 | 840 | 651 | 795.8 | 878.4 | 925 | 959.3 | 996.8 | 963.2 | 981.2 | 1081 | 1242 | 1419 | 1510 | 1575 | 1585 | 1598 | 1615 | 1623 | 1646 | 1672 | 1673 | 1649 | 1579 | 1460 | 1315 | 1177 | 1033 | 895.2 | 761.3 | 613.8 | 498.6 | 431.6 | 318.8 | 202.5 | 138.7 | 97.34
445 | 72.77 | 130.6 | 119.8 | 204.4 | 1722 | 1871 | 605.6 | 739.4 | 837.2 | 874.1 | 922.2 | 926.3 | 913.9 | 900.8 | 978.3 | 1139 | 1273 | 1387 | 1439 | 1459 | 1483 | 1522 | 1546 | 1575 | 1611 | 1625 | 1598 | 1539 | 1419 | 1289 | 1161 | 1027 | 887.4 | 762.5 | 621.7 | 498.4 | 406.5 | 349 | 241.3 | 154.9 | 108.8
450 | 100.1 | 147.3 | 121.7 | 165.2 | 577.2 | 2822 | 853.3 | 697.1 | 778.3 | 838 | 823.9 | 854.8 | 841.4 | 847 | 903.9 | 1031 | 1135 | 1229 | 1307 | 1338 | 1373 | 1406 | 1443 | 1488 | 1521 | 1530 | 1518 | 1462 | 1367 | 1238 | 1114 | 993 | 869.9 | 748 | 624.2 | 498.7 | 403.8 | 332.6 | 279.8 | 182.1 | 123.5
455 | 113.7 | 108.3 | 135.9 | 159.6 | 265.5 | 1980 | 1967 | 615 | 713.8 | 758.2 | 784.3 | 800.2 | 785.4 | 763.5 | 821 | 926.3 | 1035 | 1124 | 1169 | 1204 | 1245 | 1305 | 1343 | 1382 | 1420 | 1444 | 1434 | 1378 | 1288 | 1185 | 1064 | 955.3 | 840.9 | 732.8 | 616.1 | 501.6 | 401.7 | 318.6 | 278.1 | 223.9 | 146.7
460 | 103.3 | 109.8 | 104.9 | 155.4 | 197.8 | 653.2 | 3043 | 857 | 659.1 | 715 | 749.6 | 740.3 | 713.6 | 711.7 | 750.7 | 841.2 | 930.9 | 996.3 | 1055 | 1094 | 1131 | 1185 | 1229 | 1277 | 1323 | 1348 | 1340 | 1290 | 1210 | 1114 | 1010 | 909.3 | 814.9 | 707.6 | 605.8 | 505.8 | 405 | 326.7 | 263.1 | 234.8 | 182.2
465 | 134.5 | 80.51 | 91.96 | 128.1 | 202.2 | 336.5 | 2167 | 1943 | 616.5 | 658 | 684.6 | 696.2 | 664.6 | 653.1 | 685.7 | 767.5 | 834.2 | 895.1 | 929.6 | 969.3 | 1019 | 1070 | 1134 | 1180 | 1222 | 1244 | 1237 | 1196 | 1129 | 1046 | 947.3 | 857.7 | 772.3 | 684.2 | 593.2 | 499.2 | 406.3 | 330.3 | 264.7 | 223.8 | 207.3
470 | 111.4 | 83.5 | 106.7 | 151.1 | 180.3 | 266.6 | 747.8 | 3068 | 861.5 | 606.5 | 621.1 | 617.8 | 613.8 | 600.5 | 625 | 682.5 | 759.2 | 795.8 | 823.3 | 862.9 | 917.3 | 964.5 | 1025 | 1064 | 1107 | 1133 | 1129 | 1099 | 1046 | 971 | 888.7 | 803.5 | 730 | 657.6 | 568.4 | 483.4 | 405.2 | 328.7 | 269 | 221.8 | 194.3
475 | 83.57 | 66.37 | 102.6 | 100.5 | 153.4 | 239.8 | 352.1 | 2391 | 1913 | 548.4 | 555.5 | 571.6 | 560.8 | 536.8 | 561.3 | 609.9 | 667.9 | 696.7 | 742.1 | 769.1 | 814.5 | 867.9 | 920.9 | 955.9 | 1001 | 1031 | 1026 | 1012 | 951.4 | 891.9 | 823.1 | 751.1 | 688.3 | 622.6 | 544.1 | 468 | 395.4 | 325.5 | 268.7 | 225 | 186.5
480 | 69.07 | 55.76 | 72.91 | 103.2 | 160.2 | 205 | 273.7 | 837.5 | 3110 | 778.5 | 521.1 | 531.8 | 527.2 | 508.7 | 525.3 | 557.9 | 605.5 | 633.8 | 663.5 | 692.2 | 728 | 778.3 | 833.1 | 869.6 | 914.8 | 941.3 | 944 | 925.4 | 883.5 | 820.8 | 763.6 | 700.6 | 649.5 | 584.6 | 523 | 453.8 | 389.9 | 326.2 | 267.5 | 221.8 | 184.4
485 | 87.24 | 59.24 | 87.53 | 101.8 | 139.1 | 202.6 | 289.6 | 389.4 | 2433 | 1812 | 481.5 | 502.1 | 488.3 | 487.1 | 496.7 | 520.4 | 556 | 586.8 | 592.3 | 623.6 | 663.3 | 711.9 | 752.4 | 798.8 | 848.6 | 863.1 | 879.1 | 859.6 | 825.1 | 771.4 | 710.9 | 663.1 | 615.5 | 561 | 510.7 | 439.4 | 376.9 | 321.2 | 268.8 | 226.1 | 188.3
490 | 64.04 | 64.63 | 67.03 | 92.34 | 106.7 | 184.5 | 239.4 | 323.3 | 858.4 | 2965 | 701.7 | 473.4 | 483.5 | 470.7 | 476.4 | 494.2 | 521.3 | 531.8 | 550.4 | 566.2 | 602.7 | 654 | 691.7 | 742.7 | 781.3 | 798.3 | 809.6 | 798.3 | 768.5 | 720.8 | 672.1 | 626.4 | 593 | 545.3 | 491.8 | 434.3 | 373.6 | 317.5 | 265 | 224.5 | 191.4
495 | 50.56 | 69.23 | 72.12 | 80.95 | 124.1 | 187.5 | 225.4 | 296 | 382.1 | 2480 | 1643 | 456.8 | 456.8 | 454.7 | 463.1 | 477.5 | 479.6 | 495.7 | 499 | 522 | 558.4 | 599.5 | 639.4 | 680.2 | 713.8 | 738.2 | 749.8 | 738.5 | 716.5 | 675.5 | 622.6 | 594.9 | 558.1 | 525.2 | 470.2 | 421.4 | 361.8 | 304.5 | 266.3 | 225.6 | 192.1
500 | 56.56 | 80.25 | 85.24 | 87.42 | 94.65 | 145.5 | 231.3 | 269.4 | 333.2 | 922.1 | 2899 | 638.6 | 446.4 | 453.4 | 438.2 | 453.4 | 450.5 | 450 | 449.3 | 464 | 502.7 | 537.5 | 575.8 | 616.6 | 658.8 | 677 | 680.4 | 672.1 | 656 | 622.3 | 581.9 | 553.3 | 524.7 | 494.2 | 455.8 | 409.2 | 350.7 | 302.6 | 254.4 | 220.3 | 187.1