## Sheet1
Report date: | 14:20:22, 09/18/2024
Sample: | 1
File name:
Run date: | 14:14:56, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 230.0/320.0 | 2706
2 | 250.0/275.0 | 213.2
3 | 275.0/345.0 | 6913
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 42.95 | 26.46 | 27.34 | 25.24 | 25.06 | 21.71 | 11.62 | 13.01 | 28.03 | 157.1 | 104.5 | 30.98 | 61.58 | 4886 | 9999.9 | 2089 | 18.2 | 9.666 | 8.081 | 5.065 | 3.518 | 3.019 | 3.067 | 3.006 | 2.739 | 2.396 | 2.442 | 2.237 | 2.725 | 1.966 | 2.152 | 2.092 | 2.195 | 1.946 | 2.058 | 1.983 | 1.867 | 2.141 | 2.092 | 1.765 | 1.593
275 | 57.95 | 36.53 | 32.68 | 48.18 | 57.9 | 51.45 | 32.53 | 12.18 | 18.32 | 62.89 | 213.2 | 107.9 | 70.32 | 392.8 | 5435 | 9999.9 | 1805 | 21.07 | 8.276 | 6.024 | 4.249 | 3.711 | 3.157 | 2.84 | 2.503 | 2.503 | 2.704 | 2.415 | 2.37 | 2.326 | 1.843 | 1.723 | 2.02 | 2.098 | 1.707 | 1.702 | 1.876 | 1.936 | 2.278 | 1.889 | 1.454
280 | 48.68 | 47.46 | 45.62 | 90.05 | 121.3 | 127.8 | 84.09 | 38.16 | 30.87 | 39.03 | 126.5 | 276 | 168.6 | 176.2 | 513.2 | 5650 | 9857 | 1597 | 20.77 | 7.751 | 4.986 | 3.952 | 3.41 | 2.749 | 2.495 | 2.713 | 2.767 | 2.358 | 2.299 | 2.369 | 2.641 | 1.763 | 1.865 | 2.089 | 2.004 | 1.892 | 1.932 | 1.725 | 2.104 | 2.06 | 1.549
285 | 70.09 | 61.38 | 84.28 | 134.1 | 299.6 | 359.8 | 339.3 | 170 | 83.22 | 80.46 | 132 | 332 | 544.4 | 536.4 | 677.4 | 1033 | 6156 | 9711 | 1415 | 17.92 | 6.185 | 4.742 | 3.9 | 3.448 | 3.29 | 2.861 | 2.618 | 2.654 | 2.256 | 2.15 | 2.443 | 1.806 | 2.069 | 2.224 | 1.99 | 1.967 | 1.861 | 1.674 | 1.596 | 1.855 | 1.866
290 | 60.04 | 90.4 | 177.3 | 272.8 | 601.7 | 885.9 | 963.7 | 504.6 | 235.9 | 174.1 | 270.5 | 489.1 | 998.2 | 1461 | 1742 | 1935 | 1953 | 6779 | 9443 | 1236 | 14.7 | 6.535 | 4.551 | 4.182 | 3.063 | 2.77 | 3.236 | 2.678 | 2.528 | 2.469 | 2.159 | 1.959 | 2.159 | 2.217 | 1.945 | 1.919 | 1.856 | 1.652 | 1.644 | 1.459 | 1.775
295 | 107.8 | 140.1 | 187.3 | 378.4 | 882.7 | 1479 | 1600 | 911.5 | 438.9 | 326.9 | 456.3 | 803.5 | 1393 | 2435 | 3125 | 3350 | 2878 | 1958 | 6362 | 9307 | 1095 | 12.65 | 5.782 | 5.022 | 4.161 | 3.54 | 3.221 | 3.055 | 2.883 | 2.245 | 2.112 | 2.375 | 1.905 | 2.255 | 2.149 | 1.938 | 2.008 | 1.783 | 1.605 | 1.311 | 1.609
300 | 150.1 | 153 | 265 | 515.6 | 1097 | 1947 | 2120 | 1311 | 656.9 | 517.6 | 706.1 | 1126 | 1880 | 2990 | 4362 | 4679 | 4027 | 2375 | 1167 | 6027 | 9185 | 973.9 | 11.12 | 6.541 | 4.669 | 4.077 | 3.492 | 3.942 | 2.881 | 3.038 | 2.454 | 2.821 | 2.33 | 2.354 | 2.293 | 2.056 | 1.814 | 1.819 | 1.774 | 1.682 | 1.781
305 | 168.6 | 189.2 | 221.4 | 589.4 | 1245 | 2203 | 2503 | 1612 | 864.2 | 766 | 963.1 | 1440 | 2262 | 3484 | 4873 | 5717 | 4951 | 3091 | 1280 | 866.6 | 6039 | 9065 | 878.2 | 10.03 | 5.698 | 4.46 | 3.992 | 3.435 | 3.088 | 3.079 | 2.914 | 2.848 | 2.453 | 2.234 | 2.423 | 2.323 | 2.19 | 1.994 | 1.83 | 1.622 | 1.612
310 | 165.4 | 190.4 | 334 | 569.6 | 1272 | 2298 | 2665 | 1801 | 1128 | 1022 | 1244 | 1754 | 2569 | 3772 | 5181 | 6033 | 5744 | 3731 | 1806 | 849.1 | 694.6 | 5662 | 9162 | 861.9 | 9.782 | 5.669 | 4.691 | 4.147 | 3.425 | 3.422 | 2.999 | 3.071 | 2.848 | 2.732 | 2.689 | 2.217 | 2.067 | 2.099 | 1.935 | 1.596 | 1.641
315 | 148.9 | 223.5 | 282.7 | 580.8 | 1271 | 2287 | 2671 | 1975 | 1394 | 1308 | 1572 | 2095 | 2861 | 4038 | 5351 | 6152 | 6053 | 4458 | 2406 | 1201 | 503.4 | 524.3 | 5646 | 9030 | 778.1 | 9.228 | 5.675 | 4.98 | 3.92 | 3.475 | 3.184 | 3.285 | 2.63 | 2.362 | 2.576 | 2.187 | 2.107 | 2.14 | 1.795 | 1.582 | 1.659
320 | 142.7 | 204.1 | 317.1 | 614.4 | 1301 | 2242 | 2706 | 2067 | 1545 | 1559 | 1876 | 2359 | 3140 | 4242 | 5528 | 6338 | 6156 | 4958 | 3103 | 1564 | 668.2 | 261.4 | 452.8 | 5434 | 9066 | 786.1 | 9.069 | 6.339 | 4.889 | 4.075 | 3.419 | 3.51 | 3.005 | 2.807 | 2.866 | 2.632 | 2.201 | 2.154 | 1.711 | 1.776 | 1.419
325 | 145.6 | 162.4 | 300.4 | 576.5 | 1239 | 2189 | 2602 | 2105 | 1675 | 1761 | 2119 | 2686 | 3446 | 4490 | 5667 | 6462 | 6368 | 5185 | 3685 | 1967 | 838.7 | 320.4 | 154.5 | 413 | 5385 | 9182 | 778.6 | 9.181 | 6.343 | 5.059 | 4.241 | 3.594 | 3.329 | 2.86 | 2.683 | 2.303 | 2.282 | 2.317 | 1.837 | 1.892 | 1.559
330 | 146.2 | 154.3 | 312.7 | 591.3 | 1214 | 2185 | 2559 | 2170 | 1802 | 1950 | 2329 | 2965 | 3733 | 4750 | 5876 | 6625 | 6578 | 5479 | 3924 | 2392 | 1051 | 411.1 | 180.7 | 106.2 | 397.3 | 5462 | 9330 | 831.5 | 9.422 | 6.541 | 4.634 | 4.081 | 3.382 | 3.295 | 3.053 | 2.646 | 2.368 | 2.391 | 2.052 | 1.906 | 1.97
335 | 161.5 | 204.5 | 303.3 | 590.4 | 1223 | 2242 | 2501 | 2160 | 1871 | 2051 | 2505 | 3155 | 3974 | 4998 | 6040 | 6771 | 6779 | 5789 | 4213 | 2470 | 1359 | 547.5 | 243.5 | 129.6 | 97.11 | 403.7 | 5643 | 9797 | 872.8 | 9.534 | 6.917 | 5.454 | 4.376 | 3.435 | 3.312 | 3.109 | 2.513 | 2.345 | 1.981 | 1.848 | 1.676
340 | 173 | 199.3 | 305.7 | 577.9 | 1284 | 2193 | 2487 | 2154 | 1891 | 2132 | 2600 | 3331 | 4186 | 5211 | 6199 | 6868 | 6865 | 5969 | 4448 | 2578 | 1422 | 812.1 | 346.7 | 191.7 | 131 | 106.2 | 428.5 | 5749 | 9889 | 901.4 | 10.22 | 6.559 | 5.503 | 4.54 | 3.566 | 3.646 | 2.703 | 2.406 | 2.491 | 1.986 | 2.13
345 | 187 | 171.5 | 290.5 | 574.6 | 1303 | 2180 | 2380 | 2051 | 1898 | 2162 | 2692 | 3408 | 4315 | 5338 | 6269 | 6913 | 6861 | 6035 | 4583 | 2709 | 1453 | 911.7 | 576.4 | 292 | 200.6 | 145.7 | 119.6 | 439 | 5830 | 9949 | 973.1 | 10.82 | 6.747 | 5.738 | 4.406 | 3.494 | 3.015 | 2.556 | 2.636 | 2.145 | 2.057
350 | 167 | 203.6 | 314.7 | 586.2 | 1283 | 2017 | 2307 | 1996 | 1864 | 2147 | 2632 | 3408 | 4283 | 5325 | 6219 | 6787 | 6793 | 5970 | 4625 | 2783 | 1549 | 897.3 | 720.6 | 476.7 | 291 | 212.9 | 151.8 | 117 | 439.3 | 5744 | 9999.9 | 1067 | 11.87 | 7.205 | 5.792 | 4.034 | 3.459 | 3.016 | 2.399 | 2.443 | 2.096
355 | 168.4 | 181.5 | 301.3 | 581.3 | 1252 | 1983 | 2191 | 1893 | 1785 | 2083 | 2605 | 3349 | 4245 | 5212 | 6086 | 6533 | 6539 | 5826 | 4572 | 2823 | 1639 | 980.3 | 709.8 | 664.7 | 445.7 | 296.4 | 211 | 141.5 | 106.6 | 434.3 | 6007 | 9999.9 | 1137 | 10.87 | 7.539 | 5.352 | 3.942 | 3.459 | 2.641 | 2.466 | 2.463
360 | 148.2 | 147.7 | 293.8 | 551.1 | 1169 | 1895 | 2018 | 1774 | 1760 | 2036 | 2508 | 3211 | 4090 | 5007 | 5785 | 6235 | 6216 | 5553 | 4430 | 2779 | 1705 | 1088 | 770.2 | 664.6 | 652.8 | 419.2 | 285.6 | 189.2 | 123.5 | 100.1 | 447.3 | 6415 | 9999.9 | 1278 | 12.76 | 8.16 | 5.249 | 4.023 | 2.892 | 3 | 2.438
365 | 172.4 | 224.4 | 235.9 | 556.2 | 1092 | 1756 | 1974 | 1744 | 1724 | 1946 | 2350 | 3071 | 3894 | 4692 | 5382 | 5786 | 5789 | 5227 | 4246 | 2773 | 1751 | 1182 | 878.5 | 700.1 | 669.2 | 608.3 | 374.9 | 248.3 | 167.6 | 116.5 | 102.5 | 475.7 | 6952 | 9999.9 | 1272 | 12.11 | 7.318 | 5.141 | 3.909 | 2.932 | 2.889
370 | 184.7 | 198.4 | 278.5 | 487.5 | 1024 | 1630 | 1739 | 1610 | 1617 | 1824 | 2242 | 2832 | 3601 | 4315 | 5012 | 5354 | 5367 | 4888 | 4004 | 2698 | 1800 | 1281 | 967.3 | 792.5 | 681.1 | 665.5 | 546.3 | 334.1 | 226.3 | 158 | 117.8 | 103.8 | 516.4 | 7400 | 9999.9 | 1238 | 11.53 | 7.254 | 4.916 | 3.812 | 3.234
375 | 139.8 | 160.9 | 246 | 468.5 | 955.1 | 1501 | 1669 | 1513 | 1521 | 1722 | 2066 | 2595 | 3215 | 3930 | 4494 | 4844 | 4907 | 4511 | 3802 | 2679 | 1861 | 1379 | 1085 | 889.8 | 754.9 | 661.1 | 649.5 | 476.4 | 296.4 | 222.5 | 170 | 121.4 | 109.3 | 550.9 | 7438 | 9999.9 | 1208 | 10.86 | 6.503 | 4.493 | 3.728
380 | 105.3 | 168 | 237.9 | 432 | 836.7 | 1327 | 1497 | 1425 | 1464 | 1644 | 1897 | 2348 | 2888 | 3535 | 4005 | 4322 | 4448 | 4146 | 3624 | 2643 | 1938 | 1498 | 1189 | 983.6 | 845 | 729.6 | 651.3 | 634.8 | 442.7 | 308.6 | 240.7 | 180.8 | 127.1 | 115.9 | 552.5 | 7311 | 9999.9 | 1164 | 10.73 | 6.17 | 4.624
385 | 167.2 | 148.7 | 226.7 | 336.8 | 736.6 | 1196 | 1357 | 1352 | 1403 | 1512 | 1729 | 2110 | 2577 | 3100 | 3547 | 3900 | 4036 | 3864 | 3419 | 2627 | 2021 | 1612 | 1312 | 1102 | 951.9 | 828.7 | 728.2 | 676.6 | 633 | 438.5 | 335.2 | 253.2 | 184.3 | 125.7 | 109.7 | 543.6 | 6882 | 9999.9 | 1088 | 10.39 | 6.145
390 | 449.7 | 156.1 | 227.7 | 353.7 | 782.5 | 1059 | 1264 | 1282 | 1330 | 1409 | 1584 | 1900 | 2287 | 2717 | 3170 | 3480 | 3639 | 3553 | 3269 | 2623 | 2116 | 1732 | 1426 | 1228 | 1071 | 961.5 | 855.2 | 750.8 | 714.7 | 637.5 | 459 | 347.2 | 259.1 | 181.8 | 115.6 | 103.9 | 505.9 | 6448 | 9999.9 | 1064 | 9.255
395 | 1771 | 173.8 | 235 | 333.9 | 670.4 | 1010 | 1152 | 1205 | 1268 | 1332 | 1472 | 1730 | 2045 | 2408 | 2790 | 3102 | 3318 | 3307 | 3146 | 2627 | 2169 | 1846 | 1560 | 1338 | 1211 | 1093 | 996.8 | 889.4 | 786.7 | 764.1 | 644.7 | 465.3 | 350.3 | 250.4 | 165.6 | 102.1 | 93.84 | 484 | 6372 | 9999.9 | 968.6
400 | 2678 | 770.8 | 201.2 | 337 | 628.7 | 902.2 | 1105 | 1211 | 1266 | 1283 | 1358 | 1573 | 1832 | 2122 | 2463 | 2783 | 3003 | 3095 | 2985 | 2602 | 2231 | 1932 | 1675 | 1455 | 1333 | 1238 | 1145 | 1033 | 917.8 | 822.5 | 794.3 | 619.9 | 447.9 | 324.2 | 221.2 | 145.3 | 95.46 | 86.51 | 466.9 | 5978 | 9685
405 | 1641 | 2437 | 191.5 | 336.2 | 540.6 | 816.9 | 1046 | 1125 | 1196 | 1237 | 1322 | 1442 | 1649 | 1879 | 2202 | 2482 | 2741 | 2865 | 2841 | 2550 | 2260 | 1987 | 1752 | 1577 | 1460 | 1380 | 1293 | 1183 | 1065 | 935 | 842.9 | 786.1 | 580.7 | 410.4 | 288.2 | 195.1 | 129.9 | 85.29 | 82.44 | 432.6 | 5302
410 | 418.6 | 3261 | 768 | 268.7 | 478.3 | 757.8 | 997.6 | 1088 | 1157 | 1193 | 1260 | 1354 | 1502 | 1701 | 1960 | 2266 | 2508 | 2677 | 2693 | 2449 | 2242 | 2028 | 1820 | 1667 | 1572 | 1504 | 1418 | 1314 | 1190 | 1053 | 921.6 | 837 | 730.7 | 512 | 356.4 | 250.8 | 170.5 | 116.9 | 78.37 | 71.85 | 386.5
415 | 126.5 | 1619 | 2477 | 304.5 | 455.1 | 716.1 | 931.1 | 1043 | 1130 | 1176 | 1229 | 1281 | 1383 | 1552 | 1769 | 2050 | 2303 | 2459 | 2520 | 2348 | 2195 | 2033 | 1853 | 1729 | 1662 | 1595 | 1521 | 1423 | 1289 | 1150 | 1009 | 874.5 | 792.1 | 646.1 | 434.8 | 307.9 | 218.3 | 152.7 | 100.6 | 65.67 | 63.68
420 | 117.4 | 360.5 | 3235 | 747.6 | 410.6 | 646.3 | 895.3 | 1021 | 1101 | 1120 | 1157 | 1213 | 1287 | 1389 | 1620 | 1860 | 2095 | 2273 | 2338 | 2244 | 2118 | 1998 | 1866 | 1769 | 1713 | 1665 | 1597 | 1498 | 1367 | 1229 | 1081 | 935.7 | 801.1 | 719.1 | 534.3 | 362.7 | 265.2 | 183.5 | 124.8 | 80.71 | 52.28
425 | 117.3 | 130.3 | 1667 | 2226 | 418.3 | 622.3 | 811.5 | 968.9 | 1074 | 1090 | 1124 | 1158 | 1188 | 1265 | 1456 | 1682 | 1913 | 2086 | 2171 | 2112 | 2037 | 1954 | 1842 | 1776 | 1741 | 1704 | 1653 | 1553 | 1428 | 1279 | 1119 | 980.9 | 834.6 | 717.3 | 616.8 | 438.5 | 302.7 | 216.1 | 146.8 | 96.12 | 63.42
430 | 135 | 146.5 | 428.7 | 3007 | 826 | 561.2 | 779.5 | 875.9 | 1021 | 1029 | 1089 | 1121 | 1112 | 1184 | 1336 | 1549 | 1754 | 1895 | 2009 | 1980 | 1931 | 1881 | 1809 | 1773 | 1752 | 1729 | 1683 | 1583 | 1456 | 1311 | 1161 | 1016 | 867.7 | 721.2 | 613.3 | 512.4 | 350.8 | 241 | 166.6 | 111.9 | 73.62
435 | 108.9 | 153.6 | 151.3 | 1760 | 2012 | 540.3 | 718.5 | 892.2 | 984.5 | 1026 | 1034 | 1069 | 1051 | 1081 | 1223 | 1415 | 1621 | 1748 | 1846 | 1836 | 1829 | 1803 | 1769 | 1741 | 1741 | 1725 | 1686 | 1595 | 1463 | 1321 | 1179 | 1026 | 887.1 | 740.1 | 609.1 | 521.2 | 415.9 | 271.9 | 185.4 | 126.9 | 85.05
440 | 93.29 | 125.1 | 155.1 | 476.2 | 2822 | 837.5 | 667.5 | 851.7 | 941.6 | 995.2 | 965.2 | 991.7 | 980.6 | 1003 | 1112 | 1284 | 1458 | 1619 | 1695 | 1704 | 1708 | 1714 | 1693 | 1694 | 1700 | 1686 | 1662 | 1574 | 1457 | 1316 | 1171 | 1034 | 895.7 | 753.3 | 617.4 | 497.6 | 431.6 | 320.3 | 206.2 | 139.3 | 96.34
445 | 94.18 | 122.3 | 119.7 | 196 | 1761 | 1941 | 643.9 | 767.5 | 885.6 | 928.1 | 923.9 | 949.7 | 925.6 | 931.6 | 1023 | 1183 | 1314 | 1452 | 1545 | 1565 | 1585 | 1604 | 1608 | 1619 | 1638 | 1639 | 1608 | 1534 | 1418 | 1284 | 1149 | 1017 | 889.2 | 747.9 | 619.2 | 495.2 | 407.9 | 352.6 | 240.8 | 155.8 | 109.7
450 | 120.1 | 126.8 | 139.4 | 198.8 | 553.6 | 2844 | 866.2 | 726.8 | 817.7 | 856.5 | 869.3 | 873.8 | 852.8 | 844.5 | 937.6 | 1072 | 1184 | 1318 | 1402 | 1431 | 1468 | 1479 | 1495 | 1525 | 1554 | 1558 | 1535 | 1466 | 1367 | 1242 | 1114 | 993.9 | 874.4 | 748.9 | 618.8 | 502.7 | 396.4 | 334.7 | 280.1 | 182.7 | 123.2
455 | 117.3 | 108.3 | 112.9 | 177.3 | 268.5 | 1955 | 1943 | 663.2 | 771.1 | 796 | 811.7 | 815.3 | 787.8 | 778 | 854.7 | 961 | 1069 | 1177 | 1242 | 1283 | 1324 | 1365 | 1385 | 1413 | 1438 | 1460 | 1445 | 1387 | 1296 | 1181 | 1061 | 950.1 | 839.9 | 729.4 | 611.7 | 504.4 | 400.1 | 318.5 | 273.9 | 222.2 | 145.4
460 | 102.4 | 97.35 | 105.8 | 148.5 | 231.6 | 677.2 | 3000 | 901.2 | 685.9 | 735.2 | 752 | 744.5 | 740.7 | 715.3 | 763 | 870.2 | 963.9 | 1053 | 1117 | 1155 | 1197 | 1235 | 1275 | 1309 | 1349 | 1359 | 1347 | 1306 | 1213 | 1117 | 1002 | 901.7 | 807.4 | 708.6 | 604.5 | 500.7 | 402.6 | 322.2 | 258.2 | 233.9 | 180.1
465 | 91.96 | 77.28 | 112 | 136.4 | 216.6 | 302.9 | 2113 | 1954 | 662.5 | 662.2 | 695.1 | 705.3 | 666.4 | 667.2 | 699.1 | 774.5 | 868.2 | 941.7 | 991.6 | 1033 | 1070 | 1113 | 1152 | 1196 | 1225 | 1257 | 1252 | 1207 | 1135 | 1041 | 945.9 | 858.7 | 761.3 | 676.6 | 588.5 | 489.1 | 399 | 325.2 | 258.8 | 220.4 | 199.8
470 | 65.31 | 104.6 | 105.5 | 129.6 | 175.2 | 285.6 | 759.5 | 3093 | 864.3 | 596.4 | 629.8 | 652.8 | 629.2 | 590.1 | 639.1 | 701.5 | 774.9 | 835.9 | 866.7 | 906.8 | 959.5 | 994.5 | 1045 | 1086 | 1124 | 1147 | 1146 | 1106 | 1052 | 967.5 | 876.1 | 795.5 | 727.4 | 644.9 | 566.7 | 475.4 | 395.3 | 321.4 | 262.6 | 215.3 | 189.3
475 | 68.72 | 78.76 | 91.87 | 132.1 | 169.5 | 225.8 | 355.9 | 2363 | 1907 | 564.1 | 573.2 | 583.3 | 579.9 | 554.3 | 574.5 | 629.9 | 677.5 | 732.4 | 776.9 | 796.1 | 847.8 | 902.3 | 935.2 | 979.3 | 1009 | 1039 | 1049 | 1012 | 966.9 | 891.5 | 816.1 | 746.1 | 681.6 | 611.7 | 538.8 | 462.5 | 386.2 | 318.2 | 261.7 | 214.9 | 177.3
480 | 66.47 | 87.35 | 76.23 | 83.27 | 149.4 | 216.3 | 311.6 | 816 | 3030 | 774.8 | 524.8 | 543 | 527.8 | 523.7 | 523.5 | 570.8 | 623.1 | 654.3 | 692 | 716 | 765 | 802 | 848.3 | 889.5 | 921 | 944.8 | 952.5 | 930.9 | 881.7 | 824.3 | 756.7 | 697.3 | 641.2 | 579.9 | 516.5 | 446.3 | 375.5 | 312.5 | 259 | 216.2 | 178.2
485 | 60.36 | 65.85 | 78.08 | 106.7 | 143.2 | 198.7 | 278.9 | 382 | 2409 | 1788 | 502 | 508 | 496 | 484.2 | 496.6 | 527.8 | 570.5 | 595.1 | 622.1 | 650.2 | 688.9 | 737.7 | 767.8 | 816.9 | 848.7 | 874.5 | 880.3 | 862.1 | 820.8 | 773.2 | 712.6 | 662.5 | 610.1 | 555.8 | 503.5 | 432.8 | 369.8 | 312.2 | 260.4 | 219.3 | 182
490 | 91.14 | 67.65 | 69.97 | 79.36 | 128.1 | 178.3 | 250.8 | 332 | 869.6 | 2951 | 718.6 | 478.5 | 487 | 468.2 | 475.4 | 506 | 524.3 | 545.9 | 560.4 | 585.1 | 626 | 670 | 706.9 | 747.7 | 788.5 | 812.3 | 811.7 | 800.8 | 772.6 | 717.5 | 673 | 628.6 | 578.8 | 539.4 | 486.9 | 425.8 | 362.1 | 310 | 258.3 | 217 | 185.5
495 | 56.72 | 66.12 | 78.53 | 101.2 | 110.6 | 182.7 | 254.1 | 279 | 403.5 | 2431 | 1636 | 465.9 | 464.8 | 467.2 | 462.1 | 476.9 | 493.2 | 509 | 509.5 | 538.9 | 566 | 610.2 | 658.7 | 688.6 | 721.2 | 745 | 750.7 | 744.1 | 713.1 | 676.2 | 627.1 | 583.3 | 555.4 | 516.5 | 470.5 | 410.5 | 356.2 | 303.7 | 254.8 | 215.4 | 185.7
500 | 68.16 | 49.13 | 57.74 | 96.77 | 109.6 | 148.6 | 235.3 | 281.4 | 336.5 | 899.8 | 2795 | 647.1 | 452.5 | 444.4 | 441.4 | 450.3 | 457.7 | 463 | 468.5 | 486 | 513.4 | 552.5 | 594 | 627.2 | 657.7 | 684.7 | 684 | 677.6 | 661 | 626.3 | 581.6 | 544.1 | 518.2 | 484.8 | 448.2 | 394.9 | 344.6 | 294.7 | 246.3 | 212.4 | 185