## Sheet1
Report date: | 14:27:04, 09/18/2024
Sample: | 1
File name:
Run date: | 14:21:01, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/410.0 | 3161
2 | 205.0/485.0 | 94.47
3 | 230.0/320.0 | 2774
4 | 250.0/275.0 | 211.5
5 | 275.0/340.0 | 6827
6 | 280.0/345.0 | 6833
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | -4.197 | 27.44 | 40.6 | 15.04 | 25.3 | 13.16 | 14.48 | 12.63 | 27.76 | 155.5 | 92.22 | 33.44 | 59.26 | 4313 | 9980 | 2058 | 19.33 | 10.39 | 5.637 | 6.057 | 4.096 | 3.523 | 3.23 | 2.91 | 2.696 | 2.176 | 2.244 | 2.073 | 2.233 | 2.166 | 2.478 | 2.136 | 2.036 | 2.003 | 1.868 | 2.069 | 2.188 | 2.245 | 2.073 | 1.695 | 1.327
275 | 30.97 | 28.91 | 25.03 | 53.57 | 71.69 | 54.49 | 21.51 | 16.55 | 19.69 | 58.78 | 211.5 | 111.9 | 67.15 | 353.9 | 4944 | 9288 | 1725 | 17.33 | 7.867 | 5.818 | 4.123 | 3.297 | 3.444 | 3.157 | 3.054 | 2.575 | 2.149 | 2.257 | 2.25 | 2.26 | 2.021 | 2.075 | 1.752 | 2.031 | 1.991 | 1.824 | 1.78 | 2.071 | 1.718 | 1.755 | 1.474
280 | 45.78 | 50.68 | 34.3 | 94.65 | 120.4 | 115.4 | 74.49 | 37.2 | 29.32 | 38.43 | 126.4 | 289.6 | 167.1 | 174.8 | 484.8 | 5105 | 8826 | 1520 | 20.76 | 7.722 | 4.842 | 4.157 | 3.806 | 2.975 | 2.669 | 2.669 | 2.543 | 2.257 | 2.332 | 2.297 | 2.187 | 2.161 | 1.942 | 2.14 | 2.119 | 2.056 | 1.726 | 1.764 | 1.875 | 1.883 | 1.548
285 | 57.7 | 61.6 | 80.85 | 143.4 | 296.7 | 392.6 | 333.5 | 181.7 | 85.65 | 83.25 | 129 | 325.7 | 544.1 | 529.6 | 679.1 | 1002 | 5497 | 8618 | 1326 | 19.14 | 6.088 | 5.534 | 3.783 | 3.029 | 2.938 | 3.034 | 2.777 | 2.411 | 2.608 | 2.226 | 2.131 | 2.662 | 2.298 | 2.322 | 2.051 | 1.828 | 1.646 | 1.597 | 1.316 | 1.74 | 1.913
290 | 52.64 | 117.8 | 127 | 224.5 | 572.1 | 932.1 | 882.4 | 492.9 | 235 | 182.2 | 264.6 | 483.9 | 1006 | 1453 | 1768 | 1928 | 1932 | 5975 | 8459 | 1159 | 13.47 | 6.947 | 5.079 | 3.802 | 3.589 | 3.244 | 2.733 | 2.619 | 2.493 | 2.454 | 2.588 | 2.451 | 2.457 | 2.391 | 2.049 | 2.083 | 1.679 | 1.705 | 1.718 | 1.77 | 1.851
295 | 100.2 | 135.3 | 200 | 384.7 | 832.5 | 1510 | 1551 | 912.9 | 440.3 | 330.3 | 459 | 791.9 | 1361 | 2426 | 3154 | 3384 | 2900 | 1920 | 5751 | 8645 | 1054 | 12.33 | 6.157 | 4.863 | 3.865 | 4.123 | 3.175 | 2.969 | 3.053 | 2.615 | 2.499 | 2.273 | 2.226 | 2.344 | 2.031 | 2.209 | 1.879 | 1.941 | 1.868 | 1.713 | 1.428
300 | 140.2 | 169.5 | 259.5 | 478.6 | 1088 | 1978 | 2114 | 1279 | 669.7 | 519 | 701 | 1125 | 1869 | 2986 | 4364 | 4720 | 4059 | 2379 | 1125 | 5710 | 8918 | 938.9 | 10.56 | 6.437 | 5.108 | 3.889 | 3.464 | 3.295 | 3.291 | 2.971 | 2.583 | 2.779 | 2.246 | 2.84 | 2.219 | 2.025 | 1.893 | 1.798 | 1.651 | 1.661 | 1.626
305 | 160 | 148.7 | 303.7 | 543.6 | 1231 | 2221 | 2483 | 1604 | 923.4 | 759 | 959.2 | 1454 | 2267 | 3481 | 4898 | 5759 | 5003 | 3085 | 1280 | 853.5 | 5860 | 9093 | 831.4 | 10.3 | 6.013 | 4.703 | 3.778 | 3.616 | 3.313 | 3.251 | 2.704 | 2.662 | 2.459 | 2.295 | 2.534 | 2.2 | 1.95 | 1.922 | 1.486 | 1.61 | 1.771
310 | 175.9 | 161.2 | 290.4 | 550.7 | 1289 | 2312 | 2649 | 1840 | 1169 | 1024 | 1251 | 1742 | 2557 | 3822 | 5188 | 6078 | 5772 | 3727 | 1801 | 847.9 | 679.7 | 5853 | 9298 | 845.7 | 10.27 | 5.641 | 5.413 | 3.771 | 3.738 | 3.245 | 2.978 | 2.775 | 2.59 | 3.038 | 2.456 | 2.468 | 1.858 | 1.778 | 2.024 | 1.717 | 1.62
315 | 136.6 | 180.6 | 297.8 | 544.4 | 1273 | 2280 | 2764 | 2007 | 1406 | 1322 | 1566 | 2086 | 2850 | 4025 | 5377 | 6174 | 6077 | 4470 | 2397 | 1186 | 495 | 531.8 | 5936 | 9137 | 769.8 | 9.396 | 5.901 | 4.89 | 4.129 | 3.735 | 3.057 | 3.059 | 2.798 | 2.92 | 2.699 | 2.352 | 2.183 | 1.841 | 1.89 | 1.65 | 1.681
320 | 161.8 | 204.4 | 306.9 | 634.7 | 1202 | 2271 | 2774 | 2101 | 1550 | 1565 | 1834 | 2373 | 3121 | 4249 | 5472 | 6328 | 6176 | 4938 | 3100 | 1555 | 647 | 252.3 | 467.8 | 5573 | 9253 | 772.2 | 8.773 | 6.296 | 4.588 | 4.321 | 3.721 | 3.531 | 3.073 | 3.135 | 2.777 | 2.223 | 2.041 | 1.997 | 1.926 | 1.808 | 1.845
325 | 170 | 169.5 | 301.7 | 603.4 | 1255 | 2225 | 2639 | 2120 | 1679 | 1744 | 2092 | 2664 | 3387 | 4448 | 5630 | 6437 | 6357 | 5143 | 3659 | 1945 | 815.3 | 310.1 | 149 | 421.3 | 5592 | 9312 | 780 | 9.036 | 6.24 | 5.198 | 3.904 | 3.554 | 3.293 | 3.251 | 3.175 | 2.579 | 2.438 | 2.149 | 1.916 | 1.756 | 1.435
330 | 175.1 | 204.8 | 340.7 | 606.9 | 1276 | 2245 | 2570 | 2149 | 1801 | 1897 | 2309 | 2892 | 3672 | 4676 | 5814 | 6558 | 6570 | 5491 | 3886 | 2367 | 1032 | 398.9 | 175.8 | 108.2 | 411.8 | 5605 | 9489 | 826.4 | 10.11 | 6.708 | 5.512 | 4.382 | 3.778 | 3.515 | 3.165 | 3.019 | 2.126 | 2.092 | 2.264 | 1.747 | 1.534
335 | 149.8 | 186.9 | 303.9 | 616.4 | 1244 | 2192 | 2522 | 2139 | 1833 | 2026 | 2481 | 3097 | 3975 | 4894 | 5993 | 6720 | 6727 | 5738 | 4165 | 2441 | 1349 | 539.9 | 238.9 | 130.8 | 101.8 | 415.8 | 5791 | 9928 | 889.4 | 10.07 | 6.995 | 5.447 | 4.293 | 3.713 | 3.479 | 2.992 | 2.684 | 2.254 | 2.265 | 1.837 | 1.808
340 | 144.1 | 207.3 | 336.5 | 590.8 | 1300 | 2123 | 2480 | 2091 | 1882 | 2080 | 2556 | 3264 | 4134 | 5126 | 6089 | 6827 | 6820 | 5902 | 4377 | 2550 | 1407 | 798.1 | 346.7 | 198 | 135.5 | 112.8 | 439.4 | 5927 | 9999.9 | 951.2 | 10.66 | 7.555 | 5.551 | 4.533 | 3.683 | 3.251 | 2.749 | 2.469 | 2.283 | 2.171 | 2.1
345 | 158.5 | 177.8 | 338.9 | 589.2 | 1280 | 2052 | 2396 | 2058 | 1888 | 2133 | 2614 | 3350 | 4249 | 5232 | 6152 | 6805 | 6833 | 5987 | 4511 | 2656 | 1426 | 904.8 | 576.8 | 300.3 | 212.3 | 154.5 | 125.8 | 453.2 | 6247 | 9999.9 | 1052 | 10.82 | 7.871 | 5.941 | 4.162 | 3.606 | 3.085 | 2.757 | 2.266 | 2.315 | 2.093
350 | 169.3 | 187.8 | 304.3 | 591.9 | 1251 | 2034 | 2262 | 1946 | 1877 | 2124 | 2621 | 3346 | 4256 | 5196 | 6112 | 6647 | 6687 | 5862 | 4538 | 2742 | 1519 | 903.6 | 732 | 500.1 | 309.6 | 225.6 | 161.9 | 123.2 | 467.6 | 6362 | 9999.9 | 1142 | 11.82 | 7.561 | 5.887 | 4.12 | 3.507 | 2.838 | 2.442 | 2.294 | 2.051
355 | 145.1 | 192.6 | 313.6 | 547.9 | 1253 | 1962 | 2160 | 1900 | 1832 | 2059 | 2552 | 3299 | 4158 | 5108 | 5915 | 6441 | 6434 | 5718 | 4490 | 2758 | 1615 | 988.5 | 724.8 | 697.9 | 466.5 | 314.1 | 225.8 | 147.2 | 112.3 | 475.6 | 6740 | 9999.9 | 1199 | 11.82 | 7.615 | 5.558 | 4.307 | 3.346 | 2.779 | 2.562 | 2.234
360 | 138.6 | 164.7 | 270.7 | 541.9 | 1194 | 1895 | 2027 | 1790 | 1750 | 1981 | 2462 | 3165 | 4027 | 4853 | 5616 | 6090 | 6101 | 5449 | 4361 | 2760 | 1693 | 1109 | 802.8 | 698 | 683 | 439.5 | 294.4 | 200.5 | 125.2 | 107.2 | 496.6 | 7048 | 9999.9 | 1317 | 12.56 | 7.861 | 5.939 | 3.762 | 3.126 | 2.441 | 2.506
365 | 129.2 | 152.2 | 257.8 | 534.2 | 1102 | 1687 | 1899 | 1731 | 1685 | 1921 | 2332 | 2976 | 3784 | 4581 | 5290 | 5657 | 5729 | 5151 | 4194 | 2740 | 1771 | 1228 | 917.8 | 752.7 | 709.5 | 632.9 | 394 | 263.6 | 170.2 | 117 | 106.4 | 521.8 | 7411 | 9999.9 | 1279 | 11.85 | 7.434 | 4.995 | 3.872 | 2.907 | 2.402
370 | 162.2 | 146 | 264.1 | 510.3 | 986.2 | 1594 | 1781 | 1628 | 1661 | 1807 | 2188 | 2776 | 3479 | 4248 | 4878 | 5266 | 5271 | 4839 | 3991 | 2708 | 1851 | 1347 | 1038 | 845.4 | 719.2 | 698 | 566.5 | 343.2 | 229.4 | 162.2 | 118.9 | 106.9 | 548 | 7549 | 9999.9 | 1227 | 10.76 | 6.836 | 5.276 | 3.656 | 2.8
375 | 172.6 | 151.8 | 231.3 | 459.2 | 906.5 | 1488 | 1613 | 1498 | 1553 | 1691 | 2014 | 2554 | 3186 | 3812 | 4383 | 4747 | 4831 | 4504 | 3840 | 2707 | 1959 | 1480 | 1161 | 953.3 | 810.3 | 693.1 | 674.9 | 494.3 | 309.7 | 226.4 | 170.2 | 121.3 | 112.2 | 560.8 | 7539 | 9999.9 | 1223 | 11.22 | 6.637 | 4.625 | 3.174
380 | 138.2 | 175.2 | 266.9 | 395.1 | 789.3 | 1293 | 1454 | 1436 | 1465 | 1593 | 1838 | 2306 | 2843 | 3427 | 3940 | 4291 | 4427 | 4207 | 3627 | 2735 | 2067 | 1637 | 1300 | 1062 | 909 | 768.1 | 677.4 | 656.8 | 451 | 314.4 | 243.3 | 176.6 | 127.7 | 112.9 | 560.8 | 7242 | 9999.9 | 1112 | 10.16 | 5.941 | 4.465
385 | 147.1 | 127.8 | 245.2 | 398.9 | 783.7 | 1168 | 1391 | 1360 | 1398 | 1470 | 1730 | 2089 | 2552 | 3024 | 3510 | 3869 | 4062 | 3943 | 3532 | 2771 | 2191 | 1786 | 1452 | 1196 | 1015 | 869.4 | 755.9 | 693.8 | 639.8 | 447.6 | 332.7 | 255.2 | 185.8 | 126.2 | 111.9 | 540.7 | 6847 | 9999.9 | 1058 | 9.768 | 6.061
390 | 533.3 | 171.3 | 242.5 | 348.2 | 675.6 | 1084 | 1301 | 1340 | 1345 | 1391 | 1592 | 1888 | 2255 | 2677 | 3086 | 3469 | 3695 | 3675 | 3435 | 2839 | 2326 | 1953 | 1607 | 1335 | 1149 | 1001 | 881.6 | 771.2 | 718.9 | 644.2 | 456.2 | 346.1 | 263.4 | 181.9 | 118.3 | 104.5 | 502.4 | 6271 | 9999.9 | 1012 | 9.097
395 | 1707 | 188.7 | 201.7 | 328.1 | 620.7 | 989.5 | 1191 | 1260 | 1317 | 1335 | 1457 | 1739 | 2024 | 2356 | 2755 | 3141 | 3376 | 3451 | 3303 | 2853 | 2426 | 2091 | 1734 | 1469 | 1280 | 1142 | 1021 | 912.1 | 801.5 | 764.9 | 645 | 456.7 | 346 | 250.3 | 166.8 | 105.9 | 93.84 | 472.4 | 6068 | 9684 | 924.9
400 | 2567 | 711.1 | 222.2 | 276.6 | 580.8 | 902.4 | 1152 | 1227 | 1272 | 1289 | 1372 | 1569 | 1794 | 2079 | 2463 | 2846 | 3120 | 3237 | 3205 | 2840 | 2483 | 2198 | 1850 | 1594 | 1416 | 1279 | 1172 | 1060 | 927.7 | 826.1 | 801.5 | 625.4 | 449.6 | 324.3 | 222.1 | 146.9 | 96.9 | 88.56 | 447.2 | 5643 | 9224
405 | 1492 | 2345 | 232.8 | 285.1 | 542.2 | 868.2 | 1094 | 1182 | 1239 | 1231 | 1283 | 1469 | 1623 | 1867 | 2210 | 2553 | 2850 | 3014 | 3063 | 2793 | 2520 | 2261 | 1949 | 1704 | 1541 | 1421 | 1320 | 1205 | 1074 | 938.6 | 841.9 | 787.5 | 586.9 | 413.2 | 289.7 | 201 | 134.3 | 87.4 | 80.24 | 410.3 | 5002
410 | 372 | 3161 | 786.4 | 311.4 | 536.6 | 803.9 | 1044 | 1155 | 1213 | 1232 | 1246 | 1371 | 1498 | 1681 | 1983 | 2306 | 2615 | 2834 | 2895 | 2731 | 2503 | 2293 | 2015 | 1799 | 1655 | 1539 | 1452 | 1336 | 1206 | 1054 | 920 | 842.7 | 738.1 | 516.4 | 359.1 | 253 | 175.8 | 117.9 | 78.83 | 72.45 | 365.9
415 | 157.2 | 1584 | 2382 | 269.6 | 476.6 | 710.4 | 981 | 1112 | 1186 | 1179 | 1199 | 1301 | 1377 | 1534 | 1778 | 2087 | 2395 | 2617 | 2731 | 2606 | 2430 | 2282 | 2042 | 1863 | 1732 | 1633 | 1559 | 1447 | 1311 | 1156 | 1011 | 882 | 798.5 | 652.5 | 438.8 | 313.8 | 224.4 | 153.9 | 100.5 | 65.45 | 61.61
420 | 125.8 | 392.9 | 3166 | 731.5 | 463.5 | 684.7 | 894.5 | 1061 | 1143 | 1125 | 1179 | 1244 | 1279 | 1387 | 1607 | 1892 | 2202 | 2406 | 2526 | 2470 | 2368 | 2233 | 2041 | 1890 | 1785 | 1718 | 1627 | 1532 | 1385 | 1241 | 1079 | 938 | 802.7 | 721.9 | 544.6 | 373.8 | 268.4 | 186.4 | 125.3 | 81.71 | 52.46
425 | 128.3 | 175.5 | 1642 | 2215 | 398.3 | 656.9 | 865.1 | 952.1 | 1099 | 1104 | 1134 | 1166 | 1188 | 1276 | 1442 | 1731 | 2007 | 2196 | 2356 | 2331 | 2254 | 2172 | 2003 | 1893 | 1816 | 1760 | 1679 | 1585 | 1442 | 1290 | 1131 | 985.5 | 843.8 | 712.7 | 615.3 | 443.8 | 307.1 | 216.6 | 149.5 | 97.11 | 63.11
430 | 122.7 | 128.5 | 391.8 | 2978 | 805.4 | 601.6 | 798.9 | 965.6 | 1063 | 1045 | 1089 | 1128 | 1113 | 1174 | 1341 | 1577 | 1819 | 2021 | 2157 | 2164 | 2120 | 2078 | 1966 | 1865 | 1816 | 1775 | 1700 | 1617 | 1474 | 1327 | 1163 | 1020 | 866.7 | 728.6 | 616.7 | 515.5 | 355.8 | 240.9 | 169.4 | 113.5 | 74.8
435 | 127.6 | 180.3 | 229.2 | 1672 | 2109 | 553.4 | 773.5 | 908 | 1028 | 1015 | 1049 | 1056 | 1061 | 1091 | 1240 | 1441 | 1661 | 1852 | 1984 | 2016 | 1988 | 1991 | 1899 | 1828 | 1804 | 1775 | 1722 | 1626 | 1487 | 1339 | 1188 | 1036 | 894.9 | 744.1 | 611 | 525.1 | 419.9 | 272.8 | 187.1 | 127.3 | 86.28
440 | 135.5 | 119.5 | 197.6 | 489.7 | 2845 | 902.2 | 716.2 | 883.7 | 982.2 | 951.4 | 980.1 | 993.9 | 995.2 | 992.2 | 1126 | 1340 | 1540 | 1695 | 1816 | 1845 | 1862 | 1886 | 1820 | 1774 | 1766 | 1736 | 1683 | 1614 | 1491 | 1327 | 1182 | 1037 | 902.2 | 761.4 | 617.8 | 500.7 | 439.4 | 321.4 | 204 | 142.3 | 96.81
445 | 119.4 | 111.1 | 156.5 | 225.9 | 1806 | 1922 | 663.4 | 816.4 | 921.8 | 907.9 | 936.1 | 952.6 | 924.8 | 923.3 | 1033 | 1200 | 1373 | 1535 | 1651 | 1690 | 1710 | 1759 | 1699 | 1688 | 1694 | 1680 | 1640 | 1564 | 1445 | 1295 | 1157 | 1025 | 892.8 | 759 | 628.6 | 502.8 | 409.1 | 351.3 | 245.3 | 158.7 | 108.6
450 | 103.8 | 133.4 | 139.9 | 192.2 | 573.2 | 2920 | 911.9 | 744.8 | 854.7 | 850.1 | 885.6 | 888.2 | 858 | 846.7 | 932 | 1094 | 1228 | 1370 | 1481 | 1535 | 1564 | 1611 | 1592 | 1591 | 1596 | 1593 | 1559 | 1511 | 1380 | 1248 | 1117 | 993.8 | 872.2 | 744 | 625 | 503.3 | 401.2 | 331 | 277.3 | 182.9 | 122.6
455 | 64.75 | 96.24 | 120 | 184.9 | 267.7 | 1951 | 2044 | 680.2 | 790.7 | 783.1 | 816.4 | 813.9 | 787.8 | 781.4 | 861.5 | 975.8 | 1109 | 1218 | 1323 | 1378 | 1408 | 1468 | 1452 | 1480 | 1500 | 1505 | 1478 | 1423 | 1318 | 1194 | 1065 | 951.1 | 835.7 | 726.7 | 616.4 | 500 | 400 | 316.1 | 276.1 | 221.3 | 146.2
460 | 89.13 | 76.92 | 126.2 | 148.2 | 231.8 | 644.8 | 2972 | 898.6 | 691.6 | 716.5 | 756.6 | 745.1 | 726 | 723.5 | 763.7 | 879.9 | 996.6 | 1080 | 1167 | 1215 | 1280 | 1331 | 1334 | 1358 | 1384 | 1399 | 1375 | 1326 | 1239 | 1121 | 1011 | 904.5 | 803.5 | 702 | 603.6 | 500.9 | 400.1 | 319.1 | 255.4 | 231.5 | 175.9
465 | 95.66 | 122.2 | 102.3 | 151.1 | 186.9 | 309.9 | 2210 | 1927 | 639.7 | 658.5 | 701.8 | 680.9 | 669.2 | 653.8 | 702 | 777 | 877.4 | 968.4 | 1036 | 1094 | 1130 | 1201 | 1205 | 1238 | 1268 | 1281 | 1264 | 1228 | 1151 | 1046 | 942.2 | 859 | 761.8 | 679.4 | 585.1 | 490.1 | 398.3 | 321.2 | 255.5 | 218.1 | 196.8
470 | 74.87 | 68.85 | 93.15 | 131.4 | 166.7 | 288 | 755.8 | 2959 | 884.6 | 602 | 640.6 | 630.1 | 612.6 | 593.1 | 631.9 | 695.7 | 783.9 | 841.2 | 915.5 | 943.8 | 1009 | 1064 | 1092 | 1123 | 1154 | 1170 | 1161 | 1134 | 1064 | 980.3 | 885.5 | 799 | 722.4 | 645.8 | 559.8 | 476.1 | 392.4 | 317.1 | 257.2 | 209.5 | 185.1
475 | 68.03 | 76.27 | 107.7 | 106 | 156.1 | 263.5 | 378.6 | 2259 | 1890 | 568 | 568.6 | 573.6 | 573.1 | 539.6 | 568.6 | 624.9 | 697.9 | 750 | 803.5 | 836.7 | 891.2 | 943.6 | 968.1 | 1001 | 1044 | 1058 | 1060 | 1030 | 974.7 | 901.6 | 817.3 | 741.7 | 676.6 | 608.5 | 531.2 | 459.3 | 381.9 | 313.2 | 255.9 | 208.8 | 172.2
480 | 77.65 | 78.19 | 95.82 | 107.1 | 158.7 | 209.9 | 284.3 | 815 | 2965 | 780.5 | 530 | 520.7 | 527.2 | 503.6 | 515.7 | 571.9 | 622.2 | 669.3 | 717 | 740.2 | 788.6 | 849.8 | 876 | 914.6 | 939.9 | 970.2 | 964.8 | 952.6 | 902.9 | 822.1 | 763.3 | 695.6 | 636.8 | 582.5 | 511.2 | 440.5 | 373 | 306.2 | 253.1 | 209.5 | 173.5
485 | 74.54 | 94.47 | 85.52 | 98.49 | 143.2 | 218.2 | 283.2 | 388.3 | 2232 | 1654 | 502.6 | 506.1 | 490.9 | 486.3 | 478.8 | 524.8 | 564.2 | 601.1 | 633 | 675.2 | 717.8 | 772.1 | 798.9 | 833.1 | 869.5 | 883.7 | 894.2 | 879.3 | 838.3 | 774.9 | 718.2 | 663.8 | 604.2 | 553.6 | 493.7 | 430.7 | 360.3 | 304.1 | 253.2 | 210.2 | 174.1
490 | 75.21 | 59.73 | 93.83 | 95.2 | 133.6 | 202.5 | 257.5 | 351.3 | 804.2 | 2562 | 708.2 | 480.7 | 469.1 | 472 | 473.4 | 491.1 | 523.6 | 553.4 | 584.8 | 613.2 | 654.1 | 706 | 735.1 | 775.1 | 803.4 | 817.7 | 825.5 | 823 | 780.1 | 729.8 | 672 | 620.8 | 580.1 | 533.8 | 478.2 | 417.2 | 358.3 | 300.3 | 252.6 | 213.2 | 177.8
495 | 72.93 | 70.12 | 63.88 | 77.59 | 110.2 | 190.3 | 251.4 | 313.1 | 406 | 2062 | 1574 | 461.7 | 458.1 | 442.5 | 445.1 | 460.8 | 492.1 | 504.3 | 522.9 | 544.2 | 589.5 | 646.4 | 673.2 | 704.5 | 741.1 | 755.2 | 766.7 | 752.6 | 723.1 | 672.8 | 636.4 | 586.3 | 549 | 508.7 | 463.3 | 403.4 | 345 | 294.1 | 249.5 | 209.2 | 179.5
500 | 45.92 | 51.7 | 78.64 | 70.4 | 94.34 | 165.4 | 245.4 | 284.2 | 331 | 802.3 | 2617 | 638.9 | 440.2 | 441.5 | 427.7 | 437 | 463.2 | 458.8 | 471.1 | 493.7 | 528.6 | 575 | 601.8 | 641.9 | 677.7 | 689.1 | 695.9 | 691.2 | 667.3 | 627.2 | 585.9 | 545.3 | 514 | 479.5 | 440.3 | 393.8 | 334 | 287.5 | 241.2 | 209.1 | 177