## Sheet1
Report date: | 13:27:26, 09/18/2024
Sample: | 1
File name:
Run date: | 13:21:46, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 210.0/420.0 | 3912
2 | 225.0/340.0 | 1751
3 | 230.0/330.0 | 1574
4 | 250.0/275.0 | 121.1
5 | 280.0/340.0 | 4092
6 | 280.0/430.0 | 2630
7 | 340.0/435.0 | 2757
8 | 390.0/275.0 | 11.72
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 26.86 | 39.29 | 38.99 | 43.21 | 35.49 | 27.88 | 22.26 | 21.4 | 27.24 | 98.97 | 69.07 | 34.62 | 115.9 | 9999.9 | 9999.9 | 5471 | 37.84 | 17.74 | 12.59 | 9.04 | 7.913 | 8.048 | 6.904 | 6.244 | 6.085 | 5.637 | 6.09 | 5.74 | 5.769 | 6.121 | 5.96 | 6.026 | 6.963 | 6.277 | 7.174 | 7.72 | 10.34 | 12.3 | 10.84 | 8.168 | 6.59
275 | 35.57 | 72.03 | 58.45 | 68.99 | 54.56 | 28.67 | 26.58 | 20.93 | 20.77 | 45.37 | 121.1 | 70.61 | 48.26 | 737.2 | 9999.9 | 9999.9 | 5067 | 35.38 | 18.24 | 12.35 | 9.856 | 8.774 | 7.871 | 7.289 | 7.178 | 6.859 | 6.164 | 6.127 | 5.669 | 6.705 | 6.417 | 5.963 | 6.659 | 7.045 | 6.625 | 7.056 | 7.288 | 9.204 | 11.72 | 10.67 | 7.34
280 | 55.94 | 63.34 | 80.21 | 96.09 | 84.36 | 65.66 | 50.8 | 23.96 | 19.52 | 29.99 | 72.85 | 145.8 | 81.15 | 116.2 | 762.4 | 9999.9 | 9999.9 | 4887 | 37.09 | 16.04 | 12.1 | 10.28 | 8.897 | 7.346 | 7.121 | 7.257 | 6.42 | 6.639 | 6.741 | 7.081 | 6.688 | 6.642 | 6.786 | 6.69 | 6.931 | 6.417 | 6.268 | 7.202 | 9.522 | 11.56 | 10.3
285 | 91.32 | 96.59 | 137.3 | 151.8 | 183.3 | 166.7 | 117 | 65 | 44.9 | 38.45 | 58.06 | 140.4 | 226.6 | 170.3 | 237.1 | 896.5 | 9999.9 | 9999.9 | 4795 | 36.8 | 17.19 | 14.14 | 11.54 | 9.233 | 8.31 | 7.574 | 7.367 | 6.963 | 6.822 | 7.748 | 7.228 | 6.355 | 7.083 | 7.14 | 7.03 | 6.925 | 6.213 | 6.053 | 7.082 | 9.82 | 10.99
290 | 145 | 140 | 164.3 | 213 | 311.3 | 380.1 | 293.4 | 159.6 | 90.25 | 77.63 | 94.78 | 154.6 | 317.8 | 418.5 | 440.9 | 518.5 | 1100 | 9999.9 | 9999.9 | 4509 | 36.08 | 20.29 | 13.92 | 12.21 | 10.06 | 9.462 | 8.231 | 8.572 | 7.786 | 7.256 | 7.583 | 7.146 | 7.72 | 7.236 | 7.437 | 6.968 | 6.661 | 5.459 | 5.957 | 6.727 | 8.639
295 | 215.2 | 167 | 189.9 | 331.3 | 446 | 560.3 | 466.2 | 296.3 | 176.6 | 129.9 | 163.7 | 232.4 | 370.2 | 657.5 | 798.7 | 826.4 | 772.9 | 1166 | 9999.9 | 9999.9 | 4420 | 40.65 | 20.9 | 15.28 | 12.27 | 10.78 | 9.867 | 9.514 | 8.612 | 8.201 | 8.291 | 7.781 | 7.761 | 8.163 | 7.798 | 7.148 | 6.282 | 5.659 | 5.621 | 5.889 | 6.257
300 | 228.6 | 265.3 | 311.9 | 416.3 | 623.3 | 764.5 | 734.2 | 498.7 | 305.9 | 242.6 | 277.5 | 382.3 | 566.4 | 853.3 | 1252 | 1333 | 1218 | 925.5 | 1168 | 9999.9 | 9999.9 | 4851 | 40.03 | 22.04 | 16.18 | 13.78 | 11.16 | 10.73 | 9.203 | 8.95 | 9.17 | 8.326 | 8.305 | 8.325 | 7.436 | 7.449 | 6.792 | 5.971 | 5.534 | 5.723 | 5.816
305 | 277.3 | 293 | 361.1 | 522.6 | 790.2 | 1015 | 970.3 | 709.5 | 483 | 420.3 | 465 | 608.4 | 846 | 1180 | 1591 | 1973 | 1872 | 1482 | 989.3 | 1236 | 9999.9 | 9999.9 | 4847 | 40.22 | 24.04 | 19.38 | 14 | 12.74 | 10.72 | 9.811 | 9.889 | 9.537 | 9.376 | 8.724 | 8.342 | 7.785 | 6.956 | 6.483 | 5.829 | 5.99 | 5.483
310 | 272.2 | 318.6 | 435.5 | 610.2 | 853 | 1163 | 1178 | 921.5 | 679.8 | 592.8 | 671.3 | 876.2 | 1129 | 1500 | 1976 | 2388 | 2554 | 2168 | 1513 | 911.5 | 1110 | 9999.9 | 9999.9 | 5063 | 42.63 | 26.91 | 19.37 | 15.23 | 12.85 | 11.36 | 11.23 | 10.46 | 10.1 | 9.166 | 9.45 | 8.049 | 7.307 | 6.584 | 6.04 | 6.47 | 5.788
315 | 290.5 | 342.3 | 502 | 705.1 | 980.3 | 1296 | 1344 | 1088 | 833.1 | 762.3 | 873.8 | 1101 | 1430 | 1816 | 2298 | 2725 | 3043 | 2832 | 2060 | 1237 | 604.8 | 943.2 | 9999.9 | 9999.9 | 5000 | 44.41 | 27.01 | 21.09 | 15.78 | 13.95 | 12.29 | 11.04 | 11.15 | 10.05 | 10.13 | 9.036 | 8.089 | 6.817 | 6.748 | 6.272 | 6.062
320 | 394.8 | 410.3 | 511.5 | 712.1 | 1096 | 1448 | 1450 | 1182 | 954.9 | 910.2 | 1050 | 1344 | 1687 | 2106 | 2630 | 3118 | 3399 | 3338 | 2604 | 1542 | 725.9 | 323.3 | 861.6 | 9999.9 | 9999.9 | 5431 | 44.78 | 29.51 | 22.86 | 17.33 | 15.33 | 12.95 | 12.76 | 11.06 | 10.88 | 9.983 | 8.67 | 7.411 | 7.07 | 6.083 | 6.082
325 | 349.2 | 419.1 | 573.7 | 806.9 | 1099 | 1443 | 1557 | 1269 | 1046 | 1025 | 1196 | 1538 | 1936 | 2382 | 2907 | 3412 | 3697 | 3597 | 2971 | 1815 | 859.3 | 348.6 | 214 | 847.1 | 9999.9 | 9999.9 | 5600 | 49.15 | 31.59 | 24.61 | 18.91 | 15.67 | 13.56 | 13.08 | 11.56 | 10.52 | 8.532 | 8.257 | 7.228 | 6.747 | 6.104
330 | 293.8 | 423.7 | 542.3 | 824.4 | 1164 | 1538 | 1574 | 1279 | 1100 | 1080 | 1308 | 1702 | 2123 | 2591 | 3101 | 3597 | 3903 | 3829 | 3078 | 2029 | 998.4 | 418.9 | 208.7 | 163.9 | 839.2 | 9999.9 | 9999.9 | 6023 | 52.22 | 34.78 | 28 | 19.57 | 16.43 | 14.92 | 13.47 | 10.91 | 10.14 | 8.663 | 8.066 | 7.109 | 6.494
335 | 347.2 | 397 | 618.3 | 822.6 | 1321 | 1587 | 1538 | 1291 | 1095 | 1136 | 1377 | 1796 | 2265 | 2741 | 3271 | 3748 | 4029 | 3928 | 3165 | 2046 | 1181 | 525.3 | 260.4 | 149.9 | 138.6 | 847.8 | 9999.9 | 9999.9 | 6716 | 55.79 | 36.92 | 27.92 | 21.7 | 16.96 | 15.26 | 13.65 | 10.32 | 9.448 | 8.684 | 7.991 | 7.201
340 | 385.5 | 463.4 | 636.2 | 863 | 1345 | 1751 | 1580 | 1222 | 1126 | 1151 | 1436 | 1882 | 2384 | 2905 | 3401 | 3830 | 4092 | 3986 | 3238 | 2055 | 1209 | 693.2 | 332.9 | 186.9 | 118.2 | 135.6 | 867.6 | 9999.9 | 9999.9 | 7614 | 63.69 | 41.36 | 30.1 | 21.74 | 17.47 | 14.94 | 12.16 | 11.06 | 9.084 | 8.578 | 7.643
345 | 371.1 | 451.6 | 641.2 | 945.6 | 1422 | 1704 | 1582 | 1237 | 1071 | 1151 | 1476 | 1953 | 2427 | 2961 | 3478 | 3893 | 4090 | 3959 | 3241 | 2065 | 1206 | 759.9 | 483.3 | 252.8 | 161.7 | 123.7 | 145.6 | 907.2 | 9999.9 | 9999.9 | 8775 | 66.04 | 45.05 | 33.58 | 23.16 | 17.64 | 14.4 | 12.25 | 10.58 | 9.173 | 8.293
350 | 459 | 481.2 | 574.6 | 1004 | 1419 | 1715 | 1550 | 1171 | 1032 | 1134 | 1443 | 1911 | 2422 | 2947 | 3458 | 3804 | 4007 | 3844 | 3161 | 2051 | 1234 | 754.6 | 586.7 | 388.5 | 229.4 | 172.3 | 138.7 | 164.8 | 923.6 | 9999.9 | 9999.9 | 9727 | 71.21 | 48.22 | 35.05 | 23.26 | 17.34 | 13.79 | 12.07 | 10.92 | 8.805
355 | 462 | 462.6 | 622.5 | 929.2 | 1416 | 1652 | 1451 | 1091 | 994.5 | 1097 | 1380 | 1829 | 2366 | 2844 | 3317 | 3609 | 3799 | 3644 | 3020 | 1953 | 1251 | 804.8 | 592.5 | 531.9 | 357 | 250.9 | 197 | 161.5 | 186.2 | 988.5 | 9999.9 | 9999.9 | 9973 | 78.02 | 50.75 | 35.09 | 23.51 | 16.68 | 14.24 | 11.77 | 9.964
360 | 430 | 548.2 | 598.9 | 934.7 | 1419 | 1655 | 1361 | 1031 | 931.3 | 1046 | 1307 | 1729 | 2211 | 2728 | 3158 | 3431 | 3558 | 3408 | 2827 | 1890 | 1266 | 879.8 | 663.6 | 560.4 | 538 | 374.2 | 280.1 | 226.7 | 187.7 | 203.3 | 960.9 | 9999.9 | 9999.9 | 9999.9 | 81.07 | 51.29 | 34.33 | 23.02 | 16.52 | 13.86 | 11.14
365 | 432.2 | 546.5 | 568.5 | 890.7 | 1312 | 1547 | 1275 | 977.7 | 888.7 | 1008 | 1251 | 1647 | 2107 | 2561 | 2980 | 3252 | 3334 | 3189 | 2666 | 1829 | 1301 | 954.9 | 759.7 | 636.7 | 610.4 | 568.5 | 407.4 | 322.9 | 259.5 | 209.7 | 210.7 | 1038 | 9999.9 | 9999.9 | 9999.9 | 83.35 | 49.38 | 34.02 | 22.07 | 15.88 | 13.39
370 | 417.6 | 566.6 | 551.6 | 899.4 | 1287 | 1468 | 1209 | 938.9 | 875.4 | 963.1 | 1198 | 1554 | 1970 | 2386 | 2763 | 3004 | 3091 | 2985 | 2510 | 1767 | 1312 | 1034 | 864.2 | 758.9 | 685.4 | 685.5 | 610 | 450.5 | 361.4 | 288.5 | 224.8 | 221.5 | 1098 | 9999.9 | 9999.9 | 9999.9 | 80.98 | 47.19 | 32.9 | 21.99 | 16.2
375 | 490.5 | 489.1 | 660.2 | 849.7 | 1209 | 1379 | 1172 | 910.6 | 858.5 | 956.2 | 1146 | 1449 | 1844 | 2224 | 2546 | 2749 | 2839 | 2733 | 2356 | 1711 | 1350 | 1133 | 986 | 894 | 822.8 | 779.3 | 779.8 | 650.6 | 505.9 | 404.5 | 320.3 | 237.6 | 246.3 | 1153 | 9999.9 | 9999.9 | 9999.9 | 76.94 | 46.7 | 31.63 | 21.02
380 | 460.5 | 488.4 | 591.1 | 875.4 | 1145 | 1278 | 1113 | 892.6 | 823.6 | 898.8 | 1072 | 1359 | 1682 | 2002 | 2300 | 2519 | 2626 | 2551 | 2228 | 1663 | 1383 | 1224 | 1117 | 1047 | 1000 | 941.5 | 892 | 876.9 | 718.4 | 563.7 | 467.7 | 354.4 | 275.1 | 271.5 | 1171 | 9999.9 | 9999.9 | 9999.9 | 74.44 | 45.26 | 31.1
385 | 445.1 | 464.8 | 605.2 | 800.1 | 1034 | 1242 | 1065 | 875 | 807.7 | 880.1 | 998.2 | 1273 | 1501 | 1832 | 2101 | 2310 | 2402 | 2385 | 2125 | 1657 | 1438 | 1323 | 1246 | 1212 | 1180 | 1132 | 1068 | 1020 | 975.2 | 790.2 | 642.2 | 514.3 | 398.2 | 299.1 | 271.1 | 1212 | 9999.9 | 9999.9 | 9999.9 | 70.63 | 43.03
390 | 885.7 | 493.2 | 579.6 | 776.9 | 1026 | 1145 | 1018 | 871.4 | 844.4 | 904.5 | 999.9 | 1188 | 1426 | 1700 | 1997 | 2186 | 2292 | 2293 | 2093 | 1693 | 1527 | 1472 | 1432 | 1408 | 1400 | 1374 | 1322 | 1238 | 1201 | 1106 | 896.3 | 726.9 | 577.8 | 431 | 299.1 | 260.6 | 1107 | 9999.9 | 9999.9 | 9999.9 | 68.78
395 | 2372 | 514.4 | 544.9 | 768.5 | 936.5 | 1091 | 1003 | 876.2 | 872.7 | 924.6 | 1007 | 1160 | 1373 | 1630 | 1901 | 2125 | 2271 | 2274 | 2103 | 1770 | 1662 | 1651 | 1622 | 1637 | 1654 | 1639 | 1573 | 1511 | 1432 | 1377 | 1212 | 970.6 | 785.1 | 597.4 | 411.6 | 266.7 | 233.6 | 1192 | 9999.9 | 9999.9 | 9999.9
400 | 3289 | 1006 | 538.9 | 747.5 | 963.7 | 1072 | 997.8 | 911.7 | 915.3 | 951.9 | 1027 | 1182 | 1369 | 1594 | 1895 | 2112 | 2242 | 2271 | 2146 | 1865 | 1792 | 1798 | 1823 | 1859 | 1891 | 1897 | 1857 | 1787 | 1711 | 1598 | 1518 | 1276 | 1027 | 799.9 | 558.5 | 361.3 | 230.4 | 220.9 | 1103 | 9999.9 | 9999.9
405 | 2033 | 2797 | 584.6 | 778.1 | 957.2 | 1043 | 992.7 | 947.8 | 1001 | 1000 | 1075 | 1193 | 1352 | 1613 | 1910 | 2163 | 2278 | 2328 | 2181 | 1927 | 1904 | 1957 | 1993 | 2057 | 2126 | 2136 | 2119 | 2057 | 1994 | 1869 | 1747 | 1600 | 1309 | 1016 | 732.5 | 489.1 | 308.6 | 198.1 | 196.7 | 1023 | 9999.9
410 | 745.2 | 3851 | 1171 | 737.6 | 910.6 | 987.7 | 1052 | 1023 | 1016 | 1056 | 1104 | 1224 | 1395 | 1673 | 1977 | 2237 | 2362 | 2355 | 2201 | 1985 | 1994 | 2076 | 2133 | 2212 | 2307 | 2346 | 2322 | 2292 | 2222 | 2117 | 1970 | 1802 | 1604 | 1258 | 923.5 | 630.1 | 407.9 | 256.3 | 170.7 | 178.5 | 1022
415 | 458.4 | 2248 | 2935 | 746 | 862.4 | 1018 | 1056 | 1069 | 1095 | 1134 | 1157 | 1276 | 1423 | 1742 | 2095 | 2345 | 2456 | 2402 | 2220 | 2016 | 2065 | 2163 | 2237 | 2341 | 2442 | 2503 | 2499 | 2480 | 2438 | 2337 | 2193 | 2001 | 1819 | 1532 | 1126 | 783.2 | 518.2 | 330.6 | 217.8 | 146.5 | 167.2
420 | 443.8 | 722.2 | 3912 | 1351 | 899.2 | 1001 | 1059 | 1107 | 1140 | 1182 | 1214 | 1333 | 1475 | 1808 | 2167 | 2446 | 2533 | 2434 | 2217 | 2022 | 2092 | 2207 | 2302 | 2412 | 2528 | 2600 | 2627 | 2604 | 2580 | 2509 | 2382 | 2184 | 1962 | 1723 | 1346 | 941.6 | 632.9 | 413.7 | 271.1 | 182.7 | 132
425 | 426.6 | 480.2 | 2275 | 3044 | 824.7 | 1033 | 1039 | 1107 | 1186 | 1219 | 1257 | 1359 | 1552 | 1869 | 2258 | 2518 | 2582 | 2438 | 2197 | 2015 | 2085 | 2211 | 2316 | 2444 | 2580 | 2672 | 2697 | 2701 | 2683 | 2625 | 2500 | 2328 | 2102 | 1836 | 1516 | 1096 | 742.2 | 491.4 | 332.3 | 224.4 | 159.4
430 | 431.2 | 446.6 | 854.2 | 4143 | 1424 | 994.8 | 1045 | 1176 | 1243 | 1256 | 1310 | 1384 | 1580 | 1887 | 2313 | 2589 | 2630 | 2434 | 2156 | 1969 | 2076 | 2195 | 2303 | 2433 | 2579 | 2673 | 2729 | 2729 | 2740 | 2696 | 2588 | 2408 | 2209 | 1931 | 1596 | 1251 | 853 | 575.7 | 393 | 274.2 | 192.2
435 | 415.9 | 439.7 | 566.1 | 2631 | 2917 | 922.1 | 1055 | 1142 | 1227 | 1282 | 1309 | 1385 | 1578 | 1919 | 2329 | 2585 | 2613 | 2393 | 2100 | 1924 | 2019 | 2159 | 2267 | 2411 | 2552 | 2667 | 2717 | 2734 | 2757 | 2707 | 2610 | 2456 | 2274 | 2013 | 1659 | 1313 | 965.7 | 645.2 | 451.4 | 315.1 | 229.3
440 | 451.1 | 424.1 | 468.5 | 928 | 4131 | 1366 | 985.6 | 1138 | 1216 | 1304 | 1333 | 1420 | 1582 | 1906 | 2302 | 2579 | 2577 | 2333 | 2007 | 1839 | 1961 | 2091 | 2210 | 2336 | 2487 | 2590 | 2643 | 2682 | 2699 | 2671 | 2601 | 2452 | 2272 | 2034 | 1700 | 1331 | 1021 | 723.3 | 496.7 | 360.2 | 266.5
445 | 393.6 | 412.9 | 448.1 | 639.6 | 2811 | 2968 | 979 | 1054 | 1188 | 1263 | 1309 | 1361 | 1546 | 1866 | 2224 | 2486 | 2456 | 2226 | 1907 | 1747 | 1854 | 1983 | 2097 | 2227 | 2376 | 2473 | 2539 | 2572 | 2614 | 2577 | 2518 | 2383 | 2222 | 2006 | 1686 | 1328 | 1009 | 764.2 | 548.6 | 394.8 | 299
450 | 365.6 | 428.2 | 470.7 | 540.8 | 1144 | 4533 | 1360 | 1031 | 1147 | 1241 | 1260 | 1297 | 1465 | 1764 | 2127 | 2360 | 2324 | 2077 | 1768 | 1635 | 1730 | 1865 | 1977 | 2101 | 2227 | 2336 | 2381 | 2433 | 2465 | 2462 | 2390 | 2276 | 2136 | 1935 | 1635 | 1316 | 995.1 | 759.4 | 599.3 | 431.9 | 328.1
455 | 390.7 | 444.1 | 408.7 | 503 | 674 | 3540 | 3083 | 1004 | 1071 | 1150 | 1181 | 1238 | 1397 | 1655 | 1983 | 2172 | 2149 | 1921 | 1636 | 1502 | 1597 | 1712 | 1825 | 1928 | 2055 | 2159 | 2208 | 2263 | 2286 | 2290 | 2235 | 2126 | 1999 | 1830 | 1567 | 1265 | 980.4 | 738.8 | 594.1 | 478.5 | 360.1
460 | 353.2 | 390.5 | 422.1 | 489.7 | 547.6 | 1303 | 5118 | 1378 | 1009 | 1077 | 1106 | 1153 | 1309 | 1546 | 1811 | 2001 | 1966 | 1767 | 1482 | 1369 | 1461 | 1570 | 1669 | 1770 | 1879 | 1982 | 2031 | 2071 | 2102 | 2108 | 2053 | 1970 | 1862 | 1713 | 1485 | 1210 | 947.2 | 722.4 | 572.5 | 491.8 | 396.4
465 | 292.4 | 352.8 | 402.8 | 415.7 | 491.3 | 654 | 4124 | 3278 | 957.2 | 996.9 | 1030 | 1073 | 1187 | 1396 | 1658 | 1804 | 1790 | 1589 | 1339 | 1233 | 1323 | 1426 | 1506 | 1602 | 1711 | 1787 | 1840 | 1878 | 1906 | 1903 | 1871 | 1796 | 1693 | 1581 | 1371 | 1132 | 894.3 | 697.9 | 562.2 | 472.6 | 416.4
470 | 396.1 | 372 | 391.5 | 385.8 | 511.2 | 573.5 | 1500 | 5684 | 1435 | 895.1 | 927.5 | 971.2 | 1109 | 1260 | 1472 | 1618 | 1598 | 1417 | 1188 | 1097 | 1171 | 1275 | 1343 | 1440 | 1524 | 1605 | 1657 | 1694 | 1720 | 1717 | 1684 | 1616 | 1532 | 1433 | 1253 | 1053 | 840.8 | 667.9 | 542.3 | 459.6 | 403.5
475 | 306.1 | 334.3 | 299.6 | 364.8 | 412.8 | 519.6 | 630.9 | 4767 | 3509 | 836.6 | 845.2 | 898.5 | 992.2 | 1131 | 1319 | 1452 | 1411 | 1245 | 1059 | 987.5 | 1049 | 1132 | 1195 | 1278 | 1357 | 1435 | 1467 | 1501 | 1533 | 1531 | 1502 | 1440 | 1378 | 1293 | 1149 | 968.5 | 782.3 | 630.3 | 523.4 | 444.7 | 387.9
480 | 304.3 | 276.6 | 281.5 | 292.3 | 354.9 | 461 | 527.3 | 1679 | 6252 | 1337 | 795.8 | 817.2 | 889.7 | 1031 | 1193 | 1294 | 1261 | 1131 | 943.2 | 872.6 | 927.2 | 1006 | 1074 | 1137 | 1214 | 1279 | 1316 | 1344 | 1377 | 1369 | 1346 | 1301 | 1241 | 1168 | 1049 | 889.2 | 731.1 | 596.3 | 505.2 | 435.4 | 379.4
485 | 247 | 248.9 | 265.6 | 286.7 | 325.9 | 407.1 | 488.1 | 642.4 | 5410 | 3627 | 750.1 | 757 | 822.5 | 947.1 | 1088 | 1167 | 1137 | 999.2 | 845.3 | 786 | 843.1 | 913.5 | 964.7 | 1029 | 1091 | 1154 | 1186 | 1211 | 1237 | 1239 | 1217 | 1178 | 1134 | 1073 | 969.9 | 835.1 | 692.2 | 572 | 490.9 | 430.9 | 382.1
490 | 230.8 | 261.5 | 224.7 | 296.4 | 294 | 392.2 | 442.5 | 511.8 | 1832 | 6564 | 1233 | 713.4 | 788.9 | 881 | 1009 | 1065 | 1034 | 921.7 | 760.9 | 710.6 | 757.6 | 817.6 | 869 | 914.7 | 981.7 | 1037 | 1069 | 1097 | 1122 | 1121 | 1117 | 1075 | 1042 | 990.1 | 907.8 | 785.5 | 662.6 | 555.6 | 484.1 | 425.6 | 379.2
495 | 222.8 | 272 | 229.2 | 311.8 | 306.7 | 343.7 | 410.7 | 466.3 | 619.8 | 5819 | 3483 | 690.5 | 744.9 | 840.4 | 925.1 | 999 | 941.5 | 828.5 | 687.1 | 645 | 677.9 | 740.8 | 775 | 825.9 | 874.5 | 931.3 | 965 | 990.4 | 1017 | 1020 | 1014 | 986.9 | 957.4 | 926.1 | 849.6 | 750.8 | 635.4 | 537.9 | 471.6 | 425.2 | 387.7
500 | 220.7 | 212.5 | 198.6 | 276.8 | 263.6 | 330.3 | 375 | 409.4 | 477.5 | 2087 | 6664 | 1156 | 709.1 | 790.7 | 876.2 | 905.4 | 871.6 | 756.3 | 617 | 568.6 | 600.5 | 647.1 | 685.9 | 732.1 | 784.9 | 827.7 | 859.6 | 884.6 | 911 | 930.1 | 923.1 | 901.4 | 882.7 | 862.9 | 804.9 | 716.4 | 621 | 530.3 | 462.7 | 421.6 | 385.2