## Sheet1
Report date: | 14:22:34, 09/02/2024
Sample: | 1
File name:
Run date: | 14:11:47, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 235.0/415.0 | 20.81
2 | 235.0/515.0 | 164
3 | 240.0/525.0 | 141.2
4 | 245.0/425.0 | 21.76
5 | 245.0/540.0 | 135.1
6 | 250.0/275.0 | 674.3
7 | 250.0/325.0 | 30.15
8 | 250.0/355.0 | 36.64
9 | 250.0/550.0 | 121.3
10 | 255.0/280.0 | 685.8
11 | 255.0/350.0 | 34.82
12 | 255.0/565.0 | 115.4
13 | 260.0/290.0 | 643
14 | 260.0/575.0 | 115.1
15 | 265.0/295.0 | 767.5
16 | 265.0/585.0 | 102.5
17 | 270.0/300.0 | 856.8
18 | 270.0/445.0 | 8.859
19 | 275.0/305.0 | 830.2
20 | 275.0/340.0 | 47.34
21 | 280.0/310.0 | 715
22 | 285.0/320.0 | 611.4
23 | 290.0/325.0 | 614
24 | 295.0/330.0 | 558.4
25 | 300.0/335.0 | 642.2
26 | 310.0/350.0 | 363.5
27 | 315.0/355.0 | 357.7
28 | 320.0/360.0 | 317
29 | 325.0/365.0 | 257.3
30 | 330.0/375.0 | 241.9
31 | 335.0/380.0 | 233.4
32 | 340.0/385.0 | 205.6
33 | 345.0/390.0 | 167.8
34 | 350.0/400.0 | 162.1
35 | 355.0/405.0 | 152.7
36 | 360.0/410.0 | 135.9
37 | 365.0/420.0 | 118.4
38 | 370.0/425.0 | 115.9
39 | 375.0/430.0 | 99.33
40 | 380.0/440.0 | 79.66
41 | 385.0/445.0 | 74.4
42 | 390.0/450.0 | 64.65
43 | 395.0/460.0 | 51.69
44 | 400.0/465.0 | 46.78
45 | 405.0/470.0 | 39.7
46 | 410.0/480.0 | 31.67
47 | 415.0/485.0 | 30.85
48 | 420.0/490.0 | 25.7
49 | 425.0/500.0 | 23.55
50 | 430.0/505.0 | 20.31
51 | 435.0/510.0 | 18.08
52 | 440.0/520.0 | 15.93
53 | 445.0/525.0 | 13.86
54 | 450.0/535.0 | 11.07
55 | 455.0/540.0 | 10.66
56 | 460.0/545.0 | 7.887
57 | 465.0/555.0 | 7.1
58 | 470.0/560.0 | 5.817
59 | 475.0/570.0 | 5.003
60 | 480.0/525.0 | 2.584
61 | 480.0/575.0 | 3.716
62 | 485.0/530.0 | 2.321
63 | 490.0/535.0 | 2.383
64 | 490.0/590.0 | 2.877
65 | 500.0/275.0 | 6.65
66 | 500.0/550.0 | 2.614
67 | 505.0/555.0 | 2.41
68 | 510.0/280.0 | 7.535
69 | 510.0/560.0 | 2.569
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 21.35 | 12.1 | 86.98 | 619.8 | 311.5 | 38.07 | 90 | 5728 | 9999.9 | 2047 | 14.61 | 5.16 | 3.898 | 2.713 | 2.644 | 1.74 | 1.648 | 1.65 | 1.767 | 1.732 | 1.692 | 1.691 | 1.337 | 1.826 | 1.344 | 1.403 | 1.793 | 1.958 | 1.625 | 1.657 | 1.6 | 1.186 | 1.339 | 1.3 | 1.237 | 1.238 | 1.003 | 1.536 | 1.039 | 1.173 | 1.033 | 0.997 | 1.049 | 1.171 | 1.055 | 1.07 | 1.014 | 0.91 | 0.951 | 0.827 | 0.986 | 2.281 | 5.25 | 5.392 | 2.598 | 1.124 | 1.001 | 0.814 | 1.172
275 | 13.56 | 8.261 | 16.93 | 182.3 | 674.3 | 218.7 | 39.8 | 436.2 | 5854 | 9999.9 | 1823 | 12.79 | 4.763 | 3.513 | 3.472 | 2.256 | 2.157 | 1.953 | 1.693 | 1.849 | 1.553 | 1.905 | 1.646 | 1.494 | 1.465 | 1.619 | 1.391 | 1.647 | 1.574 | 1.54 | 1.732 | 1.436 | 1.374 | 1.166 | 1.162 | 1.263 | 1.172 | 1.289 | 1.319 | 1.117 | 1.159 | 1.209 | 0.912 | 0.891 | 1.142 | 0.971 | 1.088 | 0.905 | 0.986 | 0.983 | 0.889 | 0.882 | 1.43 | 3.752 | 6.65 | 4.588 | 2.167 | 1.009 | 1.211
280 | 20.43 | 13.39 | 11.05 | 24.72 | 303.6 | 685.8 | 154.3 | 58.22 | 436.5 | 5644 | 9322 | 1686 | 10.81 | 4.569 | 4.327 | 2.251 | 2.319 | 2.166 | 2.161 | 1.542 | 1.76 | 1.747 | 1.79 | 1.496 | 1.897 | 1.577 | 2.041 | 1.57 | 1.5 | 1.507 | 2.041 | 1.187 | 1.707 | 1.164 | 1.178 | 1.452 | 1.347 | 1.198 | 1.064 | 1.414 | 1.196 | 1.132 | 1.104 | 1.019 | 1.255 | 0.913 | 1.025 | 1.152 | 0.996 | 0.926 | 0.885 | 0.933 | 0.912 | 1.003 | 2.119 | 5.809 | 7.535 | 4.11 | 1.525
285 | 24.6 | 11.65 | 8.289 | 11.52 | 36.15 | 472.5 | 627.7 | 105.8 | 61.98 | 431.3 | 5191 | 8558 | 1491 | 10.5 | 5.557 | 2.964 | 2.812 | 2.534 | 2.235 | 1.867 | 2.102 | 1.873 | 1.563 | 1.545 | 1.847 | 1.542 | 1.613 | 1.803 | 1.729 | 1.501 | 1.559 | 1.526 | 1.437 | 1.401 | 1.579 | 1.577 | 1.209 | 1.223 | 1.107 | 1.16 | 1.257 | 1.38 | 1.143 | 0.946 | 1.223 | 1.134 | 1.015 | 1.011 | 0.912 | 0.953 | 0.896 | 0.844 | 1.137 | 1.026 | 0.952 | 1.453 | 3.656 | 7.643 | 7.674
290 | 25.39 | 12.27 | 13.17 | 13.6 | 14.15 | 62.44 | 643 | 522.6 | 75.27 | 65.65 | 396 | 4913 | 7822 | 1326 | 13 | 3.911 | 3.162 | 2.905 | 2.495 | 2.215 | 2.079 | 1.762 | 1.643 | 1.541 | 1.962 | 1.833 | 1.855 | 1.659 | 2.023 | 1.397 | 1.538 | 1.625 | 1.436 | 1.26 | 1.516 | 1.424 | 1.581 | 1.109 | 1.116 | 1.144 | 1.161 | 1.076 | 1.225 | 1.131 | 1.064 | 1.234 | 1.149 | 1.038 | 0.906 | 0.998 | 0.897 | 0.941 | 0.825 | 0.904 | 1.104 | 1.066 | 1.051 | 1.789 | 5.387
295 | 37.91 | 20.94 | 14.97 | 14.35 | 14.35 | 23.73 | 112.8 | 767.5 | 417.8 | 58.29 | 62.04 | 372 | 4493 | 7268 | 2230 | 8.24 | 4.588 | 3.388 | 2.653 | 2.376 | 2.107 | 2.18 | 1.956 | 1.486 | 1.775 | 1.918 | 1.702 | 1.565 | 1.602 | 1.484 | 1.839 | 1.627 | 1.571 | 1.316 | 1.414 | 1.307 | 1.074 | 1.361 | 1.317 | 1.19 | 1.125 | 1.159 | 1.037 | 1.239 | 1.108 | 1.203 | 1.123 | 1.027 | 1.028 | 0.849 | 1.08 | 0.978 | 0.809 | 1.003 | 1.023 | 1.028 | 0.95 | 1.19 | 1.344
300 | 42.15 | 22.58 | 19.82 | 16.04 | 17.54 | 20.43 | 31.76 | 200.1 | 856.8 | 285.7 | 48.33 | 61.65 | 339.2 | 4196 | 9999.9 | 1073 | 7.287 | 4.2 | 3.299 | 2.705 | 2.19 | 2.402 | 2.114 | 1.988 | 1.51 | 1.827 | 1.842 | 2.025 | 1.808 | 1.751 | 1.64 | 1.82 | 1.285 | 1.6 | 1.598 | 1.158 | 1.406 | 1.479 | 1.368 | 1.276 | 1.064 | 1.051 | 1.181 | 1.184 | 1.223 | 1.075 | 1.186 | 1.021 | 1.214 | 0.972 | 0.86 | 0.823 | 1.217 | 1 | 0.957 | 1.038 | 0.896 | 1.151 | 1.043
305 | 42.5 | 25.62 | 19.77 | 21.46 | 24.93 | 24.77 | 29.75 | 51.91 | 323.9 | 830.2 | 188.2 | 41.28 | 50.6 | 316.8 | 9999.9 | 6197 | 962.9 | 6.568 | 4.556 | 2.929 | 2.998 | 1.904 | 2.25 | 1.854 | 1.895 | 1.718 | 1.978 | 2.144 | 1.884 | 1.63 | 1.539 | 1.378 | 1.58 | 1.393 | 1.387 | 1.388 | 1.355 | 1.194 | 1.192 | 1.334 | 1.156 | 1.349 | 1.069 | 1.178 | 1.215 | 1.046 | 1.098 | 1.141 | 0.891 | 1.052 | 1.066 | 0.873 | 1.191 | 0.861 | 0.857 | 1.13 | 0.946 | 1.018 | 1.051
310 | 44.98 | 25.8 | 25.53 | 20.06 | 22.42 | 25.7 | 31.23 | 37.11 | 68.78 | 450.1 | 715 | 109.9 | 30.22 | 46.8 | 754.9 | 3424 | 5904 | 901.6 | 7.197 | 4.083 | 3.356 | 2.593 | 1.873 | 2.484 | 2.002 | 1.711 | 1.766 | 1.969 | 1.801 | 1.655 | 1.597 | 1.36 | 1.565 | 1.337 | 1.479 | 1.516 | 1.399 | 1.297 | 1.33 | 1.37 | 1.503 | 1.226 | 1.097 | 1.23 | 1.137 | 1.222 | 1.07 | 1.066 | 1.172 | 1.096 | 1.057 | 1.007 | 1.082 | 1.043 | 0.941 | 0.988 | 1.002 | 0.859 | 1.101
315 | 39.34 | 25.72 | 26.68 | 23.86 | 25.99 | 27.32 | 31.97 | 32.69 | 41.3 | 88.23 | 558.3 | 537.5 | 62.56 | 27.71 | 136.6 | 259.8 | 3259 | 5529 | 808.3 | 6.013 | 3.881 | 2.944 | 2.403 | 1.817 | 2.251 | 1.79 | 2.096 | 1.99 | 1.874 | 1.526 | 1.762 | 1.732 | 1.731 | 1.532 | 1.581 | 1.227 | 1.403 | 1.494 | 1.351 | 1.353 | 1.299 | 1.255 | 1.209 | 1.214 | 1.054 | 1.049 | 1.12 | 1.064 | 1.052 | 1.063 | 1.008 | 0.992 | 1.371 | 1.031 | 1.026 | 0.863 | 1.053 | 1.161 | 0.993
320 | 55.2 | 32.82 | 26.72 | 24.41 | 25.25 | 25.95 | 36.02 | 36.79 | 44.71 | 49.56 | 110 | 611.4 | 372.2 | 42.53 | 130 | 40.04 | 246.5 | 3033 | 5261 | 776.1 | 6.522 | 3.724 | 2.945 | 2.388 | 1.734 | 2.16 | 1.713 | 2.022 | 2.036 | 1.507 | 1.571 | 1.472 | 1.534 | 1.376 | 1.413 | 1.324 | 1.469 | 1.305 | 1.495 | 1.489 | 1.251 | 1.232 | 1.282 | 1.145 | 1.071 | 1.278 | 1.119 | 1.232 | 1.078 | 0.984 | 1.087 | 1.107 | 0.935 | 0.752 | 1.1 | 1.175 | 1.128 | 1.033 | 1.191
325 | 51.22 | 33.65 | 31.69 | 26.49 | 30.15 | 28.97 | 31.05 | 41.29 | 44.23 | 47.01 | 54.44 | 141.3 | 614 | 249.7 | 163.2 | 28.08 | 37.97 | 231.7 | 2887 | 5051 | 712.7 | 6.012 | 4.063 | 3.082 | 2.401 | 2.325 | 2.269 | 2.23 | 2.007 | 1.646 | 1.933 | 1.684 | 1.765 | 1.435 | 1.45 | 1.288 | 1.515 | 1.301 | 1.572 | 0.894 | 1.381 | 1.126 | 1.082 | 1.238 | 1.261 | 1.365 | 1.236 | 1.095 | 1.18 | 1.037 | 0.95 | 1.15 | 0.979 | 1.162 | 1.079 | 1.247 | 1.073 | 1.047 | 0.945
330 | 64.74 | 37.49 | 29.31 | 27.9 | 25.62 | 26.29 | 32.36 | 36.86 | 42.22 | 46.56 | 46.24 | 49.92 | 192.7 | 558.4 | 309 | 25.65 | 23.41 | 35.58 | 217.9 | 2787 | 4822 | 667.1 | 5.778 | 3.786 | 2.915 | 2.336 | 2.453 | 2.31 | 2.458 | 2.21 | 1.749 | 1.447 | 1.77 | 1.619 | 1.379 | 1.387 | 1.288 | 1.471 | 1.34 | 1.056 | 1.182 | 1.155 | 1.078 | 1.203 | 1.306 | 1.253 | 1.246 | 1.237 | 1.163 | 0.935 | 1.025 | 1.34 | 1.096 | 1.232 | 0.982 | 1.132 | 0.807 | 0.797 | 0.776
335 | 73.66 | 41.96 | 27.6 | 26.52 | 25.31 | 26.88 | 31.26 | 34.62 | 46.01 | 46.27 | 45.28 | 42.06 | 51.32 | 243.3 | 642.2 | 94.94 | 21.8 | 23.91 | 31.75 | 211.2 | 2697 | 4657 | 637.5 | 6.008 | 3.863 | 2.859 | 3.106 | 2.247 | 2.18 | 2.01 | 2.073 | 1.698 | 1.564 | 1.479 | 1.51 | 1.558 | 1.534 | 1.59 | 1.274 | 1.206 | 1.401 | 1.036 | 1.443 | 1.288 | 1.294 | 1.15 | 1.214 | 1.303 | 1.034 | 0.822 | 1.127 | 1.079 | 0.936 | 0.934 | 1.019 | 0.976 | 1.168 | 1.045 | 1.061
340 | 71.62 | 35.23 | 29.66 | 28.69 | 30.91 | 29.2 | 29.73 | 35.07 | 42.03 | 47.34 | 46.73 | 40.86 | 39.59 | 53.44 | 454.8 | 383.3 | 57.29 | 19.6 | 19.71 | 28.5 | 203.5 | 2584 | 4466 | 595.3 | 4.91 | 3.713 | 3.158 | 2.81 | 2.095 | 2.173 | 2.02 | 1.816 | 1.6 | 1.37 | 1.581 | 1.458 | 1.158 | 1.273 | 1.029 | 1.258 | 1.272 | 1.15 | 1.254 | 1.494 | 1.42 | 1.359 | 1.113 | 1.065 | 1.189 | 1.118 | 1.22 | 1.059 | 1.045 | 1.112 | 1.07 | 0.972 | 1.063 | 1.08 | 1.026
345 | 68.16 | 47.57 | 37.92 | 36.06 | 34.69 | 29.22 | 33.68 | 36.82 | 44.05 | 43.29 | 44.19 | 42.18 | 35.94 | 32.68 | 190.5 | 348.9 | 284.8 | 34.4 | 16.01 | 14.87 | 27.63 | 194.3 | 2490 | 4335 | 566 | 5.415 | 3.478 | 2.866 | 2.704 | 2.19 | 1.816 | 1.884 | 1.825 | 1.641 | 1.452 | 1.714 | 1.319 | 1.355 | 1.397 | 1.158 | 1.097 | 1.262 | 1.327 | 1.338 | 1.05 | 1.057 | 1.188 | 1.147 | 1.108 | 1.017 | 1.111 | 1.092 | 1.136 | 1.06 | 1.321 | 1.151 | 1.137 | 0.87 | 0.89
350 | 69.94 | 44.61 | 33.66 | 34.7 | 32.02 | 34.82 | 32.93 | 31.01 | 41.08 | 42.71 | 40.99 | 40.11 | 34.4 | 28.65 | 128.6 | 80.15 | 363.5 | 192.8 | 20.41 | 11.91 | 14.27 | 25.13 | 185.1 | 2386 | 4106 | 539.7 | 5.014 | 3.661 | 3.006 | 2.345 | 1.813 | 1.918 | 1.963 | 1.522 | 1.718 | 1.385 | 1.299 | 1.286 | 1.331 | 1.373 | 1.375 | 1.446 | 1.208 | 1.24 | 1.144 | 1.188 | 1.154 | 1.221 | 1.16 | 1.152 | 0.917 | 1.07 | 1.372 | 1.161 | 1.146 | 1.274 | 1.148 | 1.201 | 1.126
355 | 74.42 | 42.26 | 37.88 | 33.28 | 36.64 | 32.64 | 33.49 | 29.9 | 37.02 | 40.42 | 37.75 | 37.34 | 33.03 | 26.64 | 97.02 | 26.47 | 114 | 357.7 | 120.8 | 12.83 | 11.17 | 13.73 | 23.61 | 181 | 2285 | 3979 | 507.3 | 4.839 | 3.384 | 2.906 | 2.483 | 2.138 | 1.586 | 1.509 | 1.808 | 1.474 | 1.42 | 1.628 | 1.338 | 1.315 | 1.525 | 1.264 | 1.13 | 1.489 | 1.209 | 1.198 | 1.05 | 1.175 | 1.179 | 1.167 | 0.986 | 1.204 | 0.894 | 1.066 | 1.004 | 1.199 | 0.987 | 0.98 | 0.914
360 | 66.56 | 39 | 36.69 | 33.79 | 32.62 | 32.55 | 33 | 30.56 | 31.63 | 39.54 | 34.74 | 33.66 | 30.64 | 25.13 | 74.26 | 18.13 | 26.79 | 147.3 | 317 | 72.05 | 9.42 | 10.08 | 11.94 | 21.72 | 170.3 | 2244 | 3954 | 499.6 | 5.083 | 3.223 | 2.556 | 2.118 | 1.909 | 1.932 | 1.828 | 1.59 | 1.492 | 1.296 | 1.216 | 1.328 | 1.063 | 1.018 | 1.47 | 1.314 | 1.238 | 0.941 | 1.253 | 1.222 | 1.221 | 1.203 | 1.187 | 1.129 | 1.083 | 1.05 | 1.13 | 1.115 | 0.985 | 1.044 | 1.006
365 | 50.25 | 44.02 | 36.76 | 35.26 | 35.08 | 29.33 | 31.44 | 30.88 | 30.84 | 33.18 | 33.72 | 30.51 | 29.19 | 22.82 | 58.18 | 16.95 | 15.45 | 29.08 | 186.2 | 257.3 | 38.9 | 8.997 | 10.08 | 10.79 | 20.41 | 168.6 | 2261 | 3869 | 449.5 | 4.892 | 3.076 | 2.664 | 2.028 | 1.93 | 1.365 | 1.636 | 1.482 | 1.417 | 1.357 | 1.467 | 1.152 | 1.382 | 1.203 | 1.058 | 1.167 | 1.055 | 1.092 | 1.127 | 1.055 | 0.951 | 1.1 | 1.231 | 0.947 | 1.25 | 1.277 | 1.346 | 1.049 | 1.122 | 1.111
370 | 54.85 | 38.68 | 35.15 | 31.8 | 32.93 | 25.98 | 26.55 | 27.34 | 28.69 | 30.77 | 27.76 | 27.32 | 26.16 | 20.55 | 43.72 | 14.34 | 12.15 | 13.53 | 38.27 | 221.8 | 192.9 | 21.85 | 8.125 | 8.977 | 9.661 | 19.76 | 170.8 | 2259 | 3691 | 406.9 | 4.351 | 3.144 | 2.426 | 1.959 | 1.727 | 1.676 | 1.621 | 1.438 | 1.251 | 1.319 | 1.085 | 1.132 | 1.287 | 1.302 | 1.063 | 1.068 | 1.064 | 1.239 | 0.972 | 1.251 | 1.061 | 0.86 | 1.11 | 0.953 | 1.1 | 1.133 | 1.012 | 1.076 | 1.104
375 | 44.19 | 38.18 | 31.43 | 29.17 | 27.63 | 27.57 | 24.76 | 25.68 | 23.92 | 27.46 | 24.88 | 24.93 | 20.85 | 18.69 | 35.24 | 12.77 | 11.32 | 11.21 | 13.55 | 54.25 | 241.9 | 134.9 | 13.8 | 7.639 | 8.442 | 8.607 | 19.8 | 170.5 | 2198 | 3480 | 375.7 | 4.611 | 2.723 | 2.362 | 2.107 | 1.782 | 1.695 | 1.671 | 1.405 | 1.251 | 1.163 | 1.247 | 1.15 | 1.204 | 1.17 | 1.105 | 1.087 | 1.154 | 1.141 | 0.909 | 1.264 | 1.076 | 1.201 | 1.192 | 0.84 | 0.937 | 1.03 | 0.835 | 0.982
380 | 44.6 | 33.38 | 29.43 | 30.06 | 25.95 | 23.18 | 20.15 | 20.83 | 22.04 | 22.79 | 22.39 | 22.94 | 19.87 | 16.49 | 26.38 | 12.35 | 9.976 | 9.662 | 8.654 | 13.49 | 82.91 | 233.4 | 84.49 | 8.724 | 6.705 | 7.861 | 8.854 | 19.37 | 165.7 | 2095 | 3268 | 345.1 | 4.066 | 2.912 | 2.201 | 1.9 | 1.646 | 1.726 | 1.35 | 1.423 | 1.317 | 1.23 | 1.035 | 1.148 | 1.221 | 1.175 | 1.198 | 1.117 | 1.024 | 1.073 | 1.213 | 0.952 | 0.963 | 0.949 | 1.118 | 1.228 | 1.115 | 0.793 | 1.078
385 | 34.03 | 32.85 | 24.47 | 26.55 | 22.16 | 20.93 | 20.11 | 17.31 | 19.51 | 20.35 | 19.76 | 19.72 | 16.24 | 14.29 | 19.93 | 11.13 | 10.05 | 9.189 | 8.034 | 8.167 | 16.97 | 109 | 205.6 | 48.84 | 7.008 | 6.427 | 7.801 | 8.169 | 18.87 | 156.5 | 1970 | 3063 | 317.8 | 3.913 | 2.656 | 2.017 | 1.926 | 1.873 | 1.558 | 1.311 | 1.118 | 1.377 | 1.248 | 1.25 | 1.287 | 1.187 | 1.158 | 1.235 | 1.018 | 1.031 | 1.139 | 1.061 | 1.05 | 1.085 | 1.168 | 1.067 | 1.095 | 0.87 | 0.871
390 | 41.59 | 30.65 | 29.83 | 23.82 | 21.01 | 18.94 | 16.8 | 14.88 | 17.75 | 18.99 | 17.19 | 16.62 | 15.33 | 12.75 | 16.74 | 9.772 | 9.753 | 7.709 | 7.348 | 6.738 | 9.016 | 21.55 | 134.6 | 167.8 | 28.85 | 5.678 | 5.985 | 8.068 | 7.84 | 17.44 | 145.8 | 1823 | 2907 | 296.7 | 3.835 | 2.455 | 2.169 | 1.621 | 1.768 | 1.586 | 1.202 | 1.154 | 1.086 | 1.347 | 1.214 | 1.381 | 1.141 | 1.011 | 0.958 | 1.153 | 1.166 | 0.903 | 0.968 | 1.052 | 1.043 | 1.006 | 0.903 | 0.845 | 1.032
395 | 30.68 | 28.86 | 20.87 | 23.05 | 17.05 | 18.3 | 15.05 | 14.33 | 14.97 | 17.48 | 16.69 | 15.02 | 13.05 | 11.45 | 13.5 | 9.523 | 8.856 | 8.343 | 6.937 | 6.327 | 7.015 | 8.875 | 30.21 | 157.9 | 124.6 | 15.68 | 5.595 | 6.504 | 7.14 | 7.128 | 16.19 | 137.8 | 1768 | 2625 | 270.4 | 3.148 | 2.254 | 2.12 | 1.387 | 1.683 | 1.275 | 1.311 | 1.319 | 1.22 | 1.328 | 1.488 | 1.184 | 1.105 | 1.086 | 1.039 | 1.08 | 1.095 | 0.976 | 1.062 | 1.019 | 0.834 | 0.901 | 0.983 | 0.974
400 | 31.57 | 24.53 | 19.05 | 20.08 | 16.21 | 16.64 | 14.96 | 13.99 | 14.66 | 14.65 | 13.09 | 12.47 | 11.32 | 9.984 | 11.84 | 8.83 | 8.452 | 8.168 | 8.094 | 6.208 | 6.608 | 6.434 | 9.073 | 45.18 | 162.1 | 82.31 | 8.769 | 5.535 | 5.711 | 5.904 | 6.719 | 14.94 | 131.4 | 1609 | 2506 | 241.6 | 3.327 | 2.238 | 2.137 | 1.656 | 1.664 | 1.63 | 1.391 | 1.278 | 1.302 | 1.261 | 1.078 | 1.136 | 1.084 | 0.927 | 1.182 | 0.942 | 1.287 | 1.124 | 1.211 | 1.153 | 1.152 | 1.036 | 0.849
405 | 23.62 | 24.43 | 19.86 | 19.1 | 16.7 | 11.19 | 13.54 | 12.14 | 12.41 | 13.14 | 12.24 | 12.66 | 10.14 | 9.452 | 9.971 | 8.323 | 7.48 | 7.484 | 6.611 | 6.723 | 5.884 | 6.224 | 5.882 | 10.73 | 64.39 | 152.7 | 55.05 | 6.72 | 5.137 | 5.401 | 5.686 | 5.984 | 13.94 | 118.1 | 1435 | 2339 | 242 | 3.379 | 2.246 | 1.983 | 1.361 | 1.435 | 1.427 | 1.201 | 1.374 | 1.12 | 1.337 | 0.972 | 1.223 | 0.97 | 1.101 | 0.95 | 1.12 | 1.165 | 1.207 | 1.088 | 0.931 | 0.931 | 1.041
410 | 22.64 | 17.8 | 16.22 | 17.98 | 14.28 | 12.9 | 11 | 10.4 | 10.25 | 12.01 | 10.48 | 11.73 | 10.14 | 8.645 | 8.738 | 7.344 | 6.729 | 6.618 | 7.126 | 6.054 | 6.043 | 5.637 | 5.704 | 6.146 | 13.73 | 87.38 | 135.9 | 32.49 | 4.971 | 4.963 | 5.064 | 5.513 | 5.344 | 13 | 106.4 | 1424 | 2193 | 218.4 | 3.009 | 2.285 | 1.808 | 1.82 | 1.354 | 1.262 | 1.238 | 1.18 | 1.015 | 1.149 | 0.981 | 1.043 | 1.065 | 1.081 | 1.036 | 0.966 | 1.321 | 0.824 | 0.805 | 0.878 | 0.822
415 | 18.65 | 20.81 | 17.08 | 18.09 | 15.35 | 12.15 | 10.76 | 10.99 | 10.09 | 10.45 | 10.72 | 8.941 | 8.448 | 7.808 | 7.747 | 7.325 | 6.343 | 7.213 | 7.163 | 6.843 | 5.426 | 5.793 | 4.933 | 5.253 | 6.44 | 19.37 | 107.3 | 107 | 17.65 | 4.623 | 4.543 | 4.341 | 4.873 | 4.931 | 11.87 | 106.8 | 1346 | 2056 | 203.1 | 2.951 | 1.898 | 1.768 | 1.442 | 1.26 | 1.263 | 1.245 | 0.964 | 1.174 | 1.135 | 1.019 | 0.981 | 0.845 | 1.158 | 1.055 | 0.984 | 1.072 | 1.05 | 0.877 | 0.991
420 | 19.84 | 19.56 | 16.73 | 21.1 | 14.6 | 11.84 | 11.72 | 8.425 | 10.02 | 9.951 | 8.503 | 8.857 | 8.927 | 7.666 | 6.379 | 6.687 | 6.925 | 6.334 | 5.83 | 6.276 | 5.255 | 5.802 | 5.049 | 4.83 | 4.555 | 6.704 | 30.57 | 118.4 | 74.9 | 9.633 | 4.583 | 4.456 | 4.332 | 4.053 | 4.334 | 11.16 | 101 | 1287 | 1948 | 190.9 | 2.635 | 2.1 | 1.696 | 1.434 | 1.31 | 1.415 | 1.209 | 1.143 | 1.01 | 0.979 | 1.129 | 0.965 | 1.089 | 0.976 | 1.12 | 1.013 | 0.902 | 0.865 | 0.851
425 | 17.93 | 14.67 | 17.39 | 21.76 | 10.21 | 12.09 | 9.949 | 8.929 | 10.1 | 10.14 | 9.212 | 8.083 | 7.932 | 7.278 | 6.544 | 6.731 | 6.838 | 5.673 | 5.853 | 5.624 | 5.421 | 4.887 | 4.63 | 4.257 | 4.465 | 4.862 | 8.231 | 44.18 | 115.9 | 45.92 | 6.102 | 3.489 | 3.317 | 4.253 | 3.836 | 4.241 | 10.89 | 98.01 | 1222 | 1853 | 177.7 | 2.711 | 1.885 | 1.436 | 1.331 | 1.12 | 1.165 | 1.312 | 1.137 | 1.028 | 1.021 | 0.922 | 1.063 | 0.867 | 0.869 | 0.944 | 0.893 | 0.887 | 0.525
430 | 21.68 | 16.25 | 13.75 | 18.43 | 12.27 | 9.192 | 7.985 | 7.925 | 9.914 | 7.965 | 9.195 | 7.953 | 7.432 | 6 | 6.975 | 6.362 | 5.923 | 5.655 | 5.12 | 5.433 | 5.67 | 4.975 | 4.603 | 4.138 | 4.135 | 4.268 | 5.283 | 10.31 | 61.21 | 99.33 | 27.03 | 4.395 | 3.454 | 3.729 | 4.052 | 3.25 | 3.923 | 10.34 | 91.24 | 1167 | 1832 | 180.6 | 2.642 | 2.021 | 1.883 | 1.312 | 1.228 | 1.318 | 1.009 | 1.019 | 0.965 | 1.021 | 0.985 | 1.094 | 0.872 | 0.826 | 0.833 | 0.853 | 0.864
435 | 26.42 | 14.39 | 16.18 | 19.35 | 11.7 | 10.68 | 9.933 | 10.14 | 7.79 | 8.854 | 9.136 | 6.829 | 6.938 | 6.096 | 6.26 | 5.576 | 6.057 | 5.622 | 5.278 | 5.248 | 5.274 | 5.235 | 4.408 | 4.687 | 4.542 | 4.171 | 4.299 | 5.409 | 14.34 | 75.36 | 75.91 | 14.41 | 3.615 | 3.104 | 3.508 | 3.681 | 3.587 | 3.643 | 9.766 | 89.39 | 1185 | 1789 | 171.9 | 2.42 | 1.812 | 1.629 | 1.259 | 1.369 | 1.184 | 1.054 | 0.921 | 1.207 | 0.929 | 0.864 | 0.843 | 0.973 | 0.763 | 0.894 | 0.82
440 | 22.73 | 15.59 | 13.5 | 19.33 | 12.87 | 9.812 | 9.167 | 8.004 | 8.587 | 7.79 | 7.376 | 7.474 | 5.67 | 5.433 | 5.993 | 5.562 | 5.711 | 4.507 | 5.17 | 5.353 | 4.801 | 4.993 | 4.758 | 4.623 | 4.718 | 4.062 | 4.05 | 4.432 | 5.848 | 21.26 | 79.66 | 53.95 | 8.828 | 2.89 | 2.999 | 3.119 | 2.967 | 2.829 | 3.607 | 9.613 | 88.48 | 1165 | 1751 | 169.5 | 2.474 | 1.56 | 1.652 | 1.295 | 1.212 | 1.084 | 1.181 | 1.078 | 1.045 | 0.978 | 0.793 | 0.867 | 0.695 | 0.83 | 0.91
445 | 48.86 | 15.38 | 15.6 | 16.83 | 11.76 | 11.07 | 8.135 | 7.45 | 8.859 | 6.969 | 7.448 | 7.11 | 5.786 | 6.2 | 5.317 | 5.859 | 5.534 | 5.564 | 5.454 | 4.966 | 4.528 | 4.692 | 4.38 | 4.615 | 4.059 | 4.301 | 3.932 | 4.077 | 4.372 | 6.288 | 29.81 | 74.4 | 34.08 | 4.965 | 2.827 | 2.433 | 2.976 | 3.388 | 2.868 | 3.208 | 9.499 | 87.25 | 1108 | 1682 | 155.2 | 2.612 | 1.796 | 1.412 | 1.497 | 1.36 | 1.164 | 1.128 | 1.065 | 0.98 | 1.235 | 0.94 | 1.038 | 0.687 | 0.725
450 | 780.3 | 17.19 | 10.52 | 17.24 | 11.12 | 9.085 | 8.832 | 7.286 | 7.405 | 6.62 | 7.413 | 6.697 | 5.438 | 5.259 | 5.142 | 5.608 | 5.08 | 4.571 | 4.709 | 4.283 | 4.364 | 4.515 | 4.266 | 4.696 | 4.271 | 3.664 | 3.746 | 4.118 | 3.651 | 4.323 | 7.672 | 40.5 | 64.65 | 20.83 | 3.231 | 2.556 | 2.677 | 2.964 | 2.634 | 2.444 | 3.569 | 9.075 | 83.94 | 1104 | 1668 | 161.2 | 2.13 | 1.609 | 1.434 | 1.312 | 1.159 | 1.18 | 1.106 | 1.034 | 1.214 | 1.027 | 1.115 | 0.896 | 0.776
455 | 3549 | 31.22 | 17.07 | 19.08 | 11.72 | 9.727 | 8.649 | 6.674 | 6.701 | 5.713 | 7.096 | 5.026 | 5.63 | 4.492 | 3.949 | 4.318 | 5.122 | 5.035 | 4.328 | 4.282 | 4.437 | 4.711 | 3.909 | 4.285 | 4.297 | 4.134 | 3.672 | 3.825 | 3.411 | 3.583 | 4.055 | 10.65 | 47.36 | 50.92 | 12.41 | 2.524 | 2.255 | 2.432 | 2.434 | 2.535 | 2.516 | 3.277 | 8.466 | 84.64 | 1067 | 1522 | 145 | 2.299 | 1.799 | 1.31 | 1.376 | 1.148 | 0.923 | 1.077 | 1.192 | 1.241 | 0.823 | 0.877 | 0.982
460 | 6378 | 695.1 | 14.74 | 16.17 | 10.96 | 10.36 | 7.481 | 6.768 | 6.603 | 6.324 | 6.535 | 5.061 | 5.101 | 4.854 | 3.88 | 4.102 | 4.393 | 4.344 | 4.457 | 4.331 | 3.709 | 4.568 | 3.862 | 4.14 | 3.707 | 3.802 | 3.484 | 3.588 | 3.288 | 3.141 | 3.437 | 4.327 | 14.69 | 51.69 | 35.71 | 6.326 | 2.415 | 2.522 | 2.035 | 2.83 | 2.612 | 2.426 | 3.196 | 8.297 | 80.33 | 975.7 | 1429 | 136.8 | 2.195 | 1.594 | 1.153 | 1.198 | 1.146 | 0.999 | 1.109 | 0.962 | 0.955 | 1.038 | 0.964
465 | 4539 | 3096 | 29.38 | 16.56 | 10.23 | 8.759 | 8.267 | 7.223 | 7.538 | 6.782 | 5.558 | 6.083 | 5.693 | 4.045 | 4.88 | 3.482 | 3.912 | 3.837 | 4.105 | 4.248 | 3.888 | 3.554 | 3.398 | 3.658 | 3.712 | 3.544 | 3.463 | 3.313 | 2.816 | 3.093 | 2.823 | 3.163 | 4.98 | 19.98 | 46.78 | 23.04 | 3.829 | 2.154 | 2.015 | 2.19 | 2.43 | 2.507 | 2.488 | 2.857 | 8.027 | 73.61 | 951.6 | 1351 | 141.7 | 2.026 | 1.79 | 1.465 | 0.964 | 1.044 | 1.056 | 1.08 | 1.107 | 0.903 | 1.029
470 | 1039 | 5681 | 637.4 | 18.02 | 10.1 | 9.749 | 8.375 | 7.62 | 5.527 | 5.745 | 6.224 | 4.812 | 4.387 | 4.41 | 3.398 | 3.971 | 4.005 | 3.744 | 4.495 | 3.582 | 3.512 | 3.485 | 3.102 | 3.034 | 3.157 | 3.456 | 3.25 | 3.473 | 3.617 | 3 | 2.939 | 2.395 | 3.056 | 5.171 | 26.59 | 39.7 | 14.31 | 2.736 | 1.925 | 2.153 | 2.184 | 2.693 | 2.258 | 2.472 | 2.87 | 7.357 | 71.42 | 913.8 | 1313 | 141.1 | 1.808 | 1.642 | 1.245 | 1.232 | 1.181 | 0.93 | 1.054 | 1.068 | 1.059
475 | 93.84 | 4274 | 2764 | 27.08 | 8.47 | 9.459 | 8.16 | 7.988 | 6.73 | 6.33 | 5.54 | 4.449 | 4.531 | 3.71 | 3.936 | 3.294 | 3.806 | 3.697 | 3.514 | 3.579 | 3.206 | 3.464 | 3.151 | 3.35 | 3.239 | 3.305 | 3.143 | 3.343 | 3.334 | 3.062 | 2.884 | 2.588 | 2.804 | 3.241 | 7.48 | 31.76 | 30.68 | 7.836 | 2.012 | 1.547 | 1.964 | 2.631 | 2.302 | 1.937 | 1.871 | 2.5 | 6.826 | 69.89 | 792.7 | 1194 | 106.2 | 1.912 | 1.403 | 1.239 | 1.163 | 1.07 | 1.003 | 0.904 | 0.89
480 | 21.32 | 1064 | 4981 | 548.1 | 12.17 | 8.517 | 7.65 | 6.552 | 5.729 | 5.782 | 5.205 | 4.873 | 4.29 | 4.006 | 2.859 | 3.879 | 3.715 | 3.82 | 3.917 | 3.947 | 3.055 | 3.243 | 3.557 | 3.376 | 3.613 | 3.167 | 3.295 | 2.976 | 2.692 | 2.625 | 2.628 | 2.352 | 2.446 | 2.364 | 3.274 | 10.59 | 31.67 | 21.37 | 4.754 | 2.173 | 2.126 | 1.825 | 2.323 | 2.214 | 1.849 | 1.86 | 2.144 | 6.703 | 59.04 | 720.6 | 1148 | 118.6 | 1.874 | 1.529 | 1.322 | 1.068 | 0.949 | 1.055 | 1
485 | 24.89 | 98.81 | 3718 | 2610 | 23.41 | 9.811 | 7.369 | 6.452 | 6.242 | 5.446 | 5.315 | 5.298 | 4.234 | 3.013 | 3.535 | 3.211 | 3.924 | 3.421 | 3.326 | 3.382 | 2.764 | 3.114 | 3.293 | 3.377 | 2.796 | 3.089 | 3.348 | 2.844 | 2.69 | 3.002 | 2.247 | 2.719 | 2.357 | 2.135 | 2.573 | 3.436 | 15.06 | 30.85 | 14.57 | 3.136 | 2.022 | 1.774 | 1.811 | 2.133 | 2.256 | 1.904 | 1.955 | 2.535 | 5.965 | 56.01 | 790.3 | 1155 | 104.4 | 1.897 | 1.571 | 1.268 | 1 | 1.268 | 0.816
490 | 60.57 | 26.02 | 1007 | 4707 | 426.9 | 9.56 | 9.064 | 7.448 | 8.038 | 5.771 | 4.827 | 3.835 | 3.604 | 3.293 | 2.944 | 3.27 | 3.202 | 3.581 | 3.437 | 3.132 | 2.925 | 2.874 | 3.119 | 3.007 | 2.71 | 3.056 | 2.506 | 2.91 | 3.063 | 2.58 | 2.226 | 2.215 | 2.098 | 2.066 | 2.457 | 2.489 | 4.19 | 19.96 | 25.7 | 8.991 | 2.335 | 1.499 | 1.743 | 1.813 | 2.181 | 2.06 | 1.729 | 1.719 | 1.879 | 5.413 | 61.19 | 756.2 | 1116 | 108.2 | 1.714 | 1.701 | 1.246 | 0.999 | 0.958
495 | 127.4 | 22.26 | 93.65 | 3584 | 2042 | 18.12 | 8.635 | 6.732 | 6.462 | 5.82 | 5.296 | 4.266 | 3.319 | 2.805 | 3.103 | 2.944 | 3.055 | 2.856 | 3.33 | 2.672 | 3.167 | 2.49 | 3.101 | 3.065 | 2.64 | 3.018 | 2.844 | 3.023 | 2.568 | 2.755 | 2.241 | 2.388 | 2.272 | 2.062 | 1.94 | 2.033 | 2.632 | 6.707 | 22.75 | 20.53 | 5.843 | 1.623 | 1.625 | 1.985 | 1.904 | 2.343 | 2.022 | 1.503 | 1.774 | 2.24 | 5.841 | 59.34 | 815.5 | 1133 | 105.9 | 1.849 | 1.323 | 1.206 | 0.909
500 | 190.5 | 28.16 | 21.27 | 942.6 | 3807 | 353.6 | 7.703 | 6.66 | 5.621 | 4.226 | 4.172 | 3.583 | 3.545 | 3.113 | 2.659 | 3.163 | 2.976 | 3.519 | 3.228 | 2.849 | 2.753 | 2.59 | 2.656 | 2.72 | 3.044 | 2.873 | 2.669 | 2.936 | 2.701 | 2.296 | 2.07 | 2.031 | 2.064 | 1.968 | 1.993 | 1.968 | 2.014 | 2.683 | 8.959 | 23.55 | 14.29 | 3.22 | 1.85 | 1.855 | 1.658 | 1.808 | 2.592 | 1.9 | 1.733 | 1.574 | 2.091 | 5.575 | 62.81 | 759.9 | 1085 | 100.9 | 1.807 | 1.337 | 1.06
505 | 156 | 76.6 | 18.91 | 86.88 | 3112 | 1708 | 15.58 | 9.435 | 4.602 | 5.055 | 3.645 | 3.474 | 3.289 | 2.542 | 2.955 | 2.772 | 2.633 | 2.717 | 3.373 | 3.021 | 2.509 | 2.853 | 2.491 | 2.668 | 2.48 | 2.724 | 2.651 | 2.686 | 2.651 | 2.224 | 2.286 | 2.076 | 2.039 | 1.892 | 1.926 | 1.831 | 1.942 | 2.309 | 3.093 | 12.87 | 20.31 | 9.557 | 2.548 | 1.809 | 1.853 | 1.579 | 1.948 | 2.257 | 1.706 | 1.369 | 1.548 | 2.166 | 5.607 | 59.62 | 745.5 | 1045 | 99.02 | 1.722 | 1.569
510 | 70.19 | 140.5 | 20.56 | 22.77 | 893.2 | 3279 | 303.5 | 9.619 | 5.51 | 4.528 | 4.677 | 2.624 | 3.437 | 2.654 | 2.832 | 2.79 | 2.734 | 2.725 | 2.956 | 2.708 | 2.652 | 2.346 | 2.452 | 2.404 | 2.73 | 2.596 | 2.873 | 2.705 | 2.532 | 2.026 | 2.52 | 1.945 | 2.046 | 2.101 | 1.894 | 1.707 | 1.83 | 1.793 | 2.019 | 4.132 | 14.9 | 18.08 | 6.453 | 1.961 | 1.655 | 1.581 | 1.664 | 2.387 | 2.395 | 1.438 | 1.422 | 1.611 | 2.19 | 5.557 | 57.63 | 696.5 | 1006 | 92.58 | 1.514
515 | 21.95 | 164 | 56.31 | 13.25 | 87.61 | 2802 | 1440 | 13.55 | 5.364 | 4.165 | 3.626 | 3.518 | 2.862 | 3.092 | 2.5 | 2.378 | 2.163 | 2.631 | 2.549 | 2.389 | 2.468 | 2.442 | 2.579 | 2.552 | 2.341 | 2.603 | 2.769 | 2.546 | 2.267 | 2.363 | 2.267 | 2.441 | 2.221 | 1.827 | 1.842 | 1.903 | 1.593 | 1.79 | 1.712 | 2.101 | 5.797 | 16.91 | 13.49 | 4.249 | 1.617 | 1.431 | 1.609 | 1.556 | 2.022 | 1.844 | 1.612 | 1.465 | 1.542 | 1.977 | 5.393 | 55.48 | 692.2 | 940.5 | 86.22
520 | 11.74 | 100.9 | 106.3 | 17.07 | 16.91 | 855.9 | 2888 | 272.5 | 5.805 | 5.098 | 3.877 | 3.819 | 2.595 | 2.437 | 2.851 | 2.53 | 2.204 | 2.413 | 2.592 | 2.734 | 2.358 | 2.366 | 2.346 | 2.473 | 2.053 | 1.982 | 2.28 | 2.21 | 2.615 | 2.635 | 2.177 | 2.228 | 1.75 | 1.61 | 1.796 | 1.673 | 1.664 | 1.456 | 1.545 | 1.725 | 2.054 | 8.037 | 15.93 | 9.438 | 2.756 | 1.4 | 1.489 | 1.457 | 1.736 | 2.13 | 1.955 | 1.281 | 1.356 | 1.508 | 1.654 | 5.18 | 53.74 | 645.5 | 900.3
525 | 11.39 | 27.52 | 141.2 | 38.3 | 11.31 | 81.21 | 2516 | 1271 | 11.9 | 5.397 | 3.426 | 2.91 | 2.521 | 2.579 | 2.233 | 2.806 | 2.392 | 2.48 | 2.164 | 2.368 | 2.4 | 2.469 | 2.244 | 2.425 | 2.211 | 2.292 | 2.442 | 2.249 | 2.182 | 2.193 | 2.087 | 2.003 | 1.516 | 1.841 | 1.735 | 1.605 | 1.525 | 1.392 | 1.765 | 1.631 | 1.666 | 3.077 | 10.69 | 13.86 | 6.09 | 2.218 | 1.329 | 1.133 | 1.225 | 1.603 | 2.584 | 1.889 | 1.227 | 1.282 | 1.496 | 1.704 | 4.841 | 50.25 | 614.4
530 | 8.313 | 13.89 | 115.2 | 79.66 | 10.69 | 16.99 | 826.6 | 2517 | 242 | 6.022 | 4.522 | 3.711 | 3.034 | 2.463 | 2.008 | 1.936 | 2.243 | 2.201 | 2.283 | 2.187 | 2.157 | 2.364 | 2.467 | 2.272 | 1.921 | 2.262 | 2.415 | 2.296 | 2.475 | 2.149 | 1.801 | 1.856 | 1.749 | 1.735 | 1.718 | 1.474 | 1.619 | 1.532 | 1.7 | 1.534 | 1.557 | 1.857 | 4.319 | 11.44 | 10.84 | 4.143 | 1.744 | 1.401 | 1.373 | 1.283 | 1.661 | 2.321 | 1.57 | 1.353 | 1.249 | 1.601 | 1.571 | 4.646 | 48.89
535 | 5.286 | 8.846 | 49.62 | 130.1 | 20.56 | 10.75 | 80.47 | 2244 | 1102 | 9.972 | 4.57 | 2.98 | 2.636 | 2.533 | 2.473 | 2.492 | 2.166 | 1.951 | 2.23 | 2.171 | 2.17 | 2.078 | 2.023 | 2.292 | 2.346 | 1.968 | 1.781 | 1.874 | 2.061 | 2.094 | 2.124 | 1.75 | 1.73 | 1.645 | 1.701 | 1.566 | 2.044 | 1.326 | 1.59 | 1.438 | 1.677 | 1.539 | 2.083 | 5.729 | 11.07 | 7.635 | 2.618 | 1.468 | 1.417 | 1.328 | 1.604 | 2.021 | 2.383 | 1.59 | 1.269 | 1.238 | 1.408 | 1.679 | 4.667
540 | 11.75 | 6.966 | 17.29 | 135.1 | 49.35 | 10.52 | 15.43 | 809 | 2205 | 207.8 | 4.609 | 2.763 | 2.285 | 2.347 | 2.051 | 1.979 | 2.269 | 2.317 | 2.021 | 2.269 | 1.847 | 2.161 | 2.054 | 2.182 | 1.746 | 2.429 | 1.978 | 1.965 | 2.011 | 2.179 | 1.924 | 1.604 | 1.803 | 1.376 | 1.673 | 1.398 | 1.646 | 1.396 | 1.487 | 1.546 | 1.308 | 1.529 | 1.407 | 2.306 | 6.953 | 10.66 | 5.333 | 1.905 | 1.413 | 1.285 | 1.18 | 1.18 | 2.203 | 2.052 | 1.358 | 1.257 | 1.222 | 1.333 | 1.473
545 | 8.647 | 8.159 | 7.547 | 82.41 | 102.2 | 14.57 | 9.34 | 80.59 | 1997 | 939.3 | 10.45 | 3.899 | 2.937 | 1.936 | 2.304 | 1.967 | 2.101 | 2.249 | 1.974 | 1.844 | 1.859 | 2.247 | 1.925 | 1.868 | 1.937 | 1.671 | 2.187 | 1.788 | 1.952 | 1.841 | 1.664 | 1.599 | 1.397 | 1.738 | 1.531 | 1.398 | 1.22 | 1.54 | 1.507 | 1.277 | 1.35 | 1.309 | 1.416 | 1.576 | 2.547 | 7.823 | 7.887 | 3.65 | 1.344 | 1.19 | 1.191 | 1.063 | 1.163 | 2.106 | 2.212 | 1.303 | 1.248 | 1.391 | 1.26
550 | 11.7 | 4.454 | 5.057 | 26.51 | 121.3 | 33.17 | 7.593 | 15.13 | 727 | 1867 | 179 | 3.898 | 2.621 | 2.285 | 2.038 | 2.217 | 1.983 | 2.145 | 2.042 | 2.192 | 1.658 | 1.871 | 1.764 | 1.803 | 1.701 | 1.975 | 1.815 | 1.986 | 2.137 | 1.939 | 1.556 | 1.803 | 1.287 | 1.597 | 1.829 | 1.556 | 1.326 | 1.469 | 1.406 | 1.253 | 1.354 | 1.469 | 1.398 | 1.266 | 1.457 | 3.297 | 7.228 | 6.568 | 2.462 | 1.211 | 1.074 | 1.305 | 1.171 | 1.496 | 2.614 | 2.042 | 1.272 | 1.079 | 1.303
555 | 10.1 | 4.941 | 5.72 | 7.915 | 101 | 67.77 | 9.202 | 9.185 | 74.77 | 1749 | 768.5 | 6.898 | 2.668 | 1.893 | 2.262 | 2.207 | 1.662 | 1.883 | 1.837 | 1.787 | 1.852 | 1.934 | 1.92 | 1.694 | 1.803 | 1.796 | 2.209 | 1.665 | 2.263 | 1.683 | 1.702 | 1.469 | 1.622 | 1.302 | 1.595 | 1.232 | 1.144 | 1.335 | 1.329 | 1.387 | 1.106 | 1.248 | 1.167 | 1.279 | 1.136 | 1.556 | 4.661 | 7.1 | 4.329 | 1.378 | 1.113 | 1.088 | 1.074 | 1.249 | 1.471 | 2.41 | 1.856 | 1.073 | 1.211
560 | 7.107 | 4.157 | 6.037 | 3.804 | 42.37 | 108.5 | 21.46 | 7.972 | 13.67 | 699.5 | 1540 | 140.8 | 2.999 | 2.106 | 2.004 | 1.893 | 1.818 | 2.117 | 1.767 | 1.992 | 1.397 | 1.716 | 1.792 | 1.947 | 1.541 | 1.59 | 1.874 | 1.984 | 1.65 | 1.788 | 1.359 | 1.565 | 1.321 | 1.279 | 1.402 | 1.396 | 1.227 | 1.25 | 1.159 | 1.035 | 1.209 | 1.269 | 1.404 | 1.016 | 1.149 | 1.235 | 1.791 | 5.094 | 5.817 | 2.773 | 1.261 | 1.199 | 1.059 | 1.086 | 1.263 | 1.656 | 2.569 | 1.403 | 0.998
565 | 7.947 | 5.168 | 2.861 | 2.798 | 8.568 | 115.4 | 45.37 | 7.659 | 7.966 | 70.77 | 1497 | 629.2 | 5.476 | 2.358 | 1.868 | 1.897 | 2.02 | 1.759 | 1.554 | 1.718 | 1.738 | 1.906 | 1.837 | 2.039 | 1.73 | 1.666 | 1.349 | 1.958 | 1.569 | 1.754 | 1.624 | 1.497 | 1.525 | 1.419 | 1.189 | 1.475 | 1.228 | 1.017 | 1.308 | 1.219 | 1.271 | 1.219 | 1.337 | 1.079 | 1.313 | 1.115 | 1.265 | 2.238 | 4.868 | 4.259 | 2.007 | 1.221 | 1.129 | 1.095 | 0.731 | 1.145 | 2.057 | 1.96 | 1.21
570 | 3.108 | 3.812 | 5.676 | 4.908 | 3.03 | 69.61 | 86.28 | 12.87 | 7.523 | 12.52 | 596.6 | 1257 | 105.2 | 2.228 | 1.885 | 2.07 | 1.789 | 1.995 | 1.827 | 1.466 | 1.768 | 1.712 | 1.76 | 1.69 | 1.853 | 1.46 | 1.612 | 1.601 | 1.886 | 1.455 | 1.713 | 1.421 | 1.394 | 1.269 | 1.223 | 1.366 | 1.315 | 1.064 | 1.328 | 1.014 | 1.301 | 1.049 | 1.18 | 1.187 | 1.102 | 1.127 | 1.18 | 1.361 | 2.735 | 5.003 | 2.897 | 1.538 | 1.052 | 0.969 | 1.066 | 0.991 | 1.219 | 2.384 | 1.759
575 | 10.16 | 8.577 | 7.46 | 2.785 | 3.41 | 18.51 | 115.1 | 32.95 | 5.891 | 9.211 | 59.01 | 1267 | 496.9 | 4.192 | 2.13 | 1.983 | 1.775 | 1.928 | 1.647 | 1.622 | 1.559 | 1.79 | 1.598 | 1.585 | 1.582 | 1.694 | 1.568 | 1.456 | 1.408 | 1.486 | 1.62 | 1.458 | 1.379 | 1.312 | 1.299 | 1.254 | 1.265 | 1.371 | 1.077 | 1.347 | 1.253 | 0.919 | 1.217 | 1.094 | 0.91 | 1.045 | 1.105 | 1.093 | 1.347 | 3.08 | 3.716 | 2.277 | 1.003 | 0.983 | 0.902 | 0.952 | 1.096 | 1.218 | 2.224
580 | 8.125 | 4.454 | 3.581 | 4.8 | 4.683 | 6.035 | 87.87 | 68.13 | 8.181 | 8.388 | 10.18 | 519 | 1026 | 90.32 | 1.528 | 1.881 | 1.821 | 1.37 | 1.49 | 1.803 | 1.468 | 1.346 | 1.757 | 1.346 | 1.273 | 1.547 | 1.645 | 1.513 | 1.461 | 1.748 | 1.353 | 1.641 | 1.172 | 1.404 | 1.412 | 1.185 | 1.117 | 1.171 | 1.235 | 1.072 | 1.169 | 0.921 | 0.923 | 1.174 | 0.962 | 1.166 | 0.957 | 0.963 | 0.985 | 1.424 | 3.217 | 3.194 | 1.53 | 1.049 | 0.912 | 0.94 | 0.885 | 0.944 | 1.252
585 | 9.276 | 3.817 | 2.966 | 3.209 | 4.359 | 5.578 | 34.39 | 102.5 | 21.77 | 7.418 | 7.112 | 52.77 | 1068 | 403.6 | 3.253 | 2.131 | 2.072 | 2.022 | 1.665 | 1.632 | 1.432 | 1.457 | 1.37 | 1.463 | 1.196 | 1.429 | 1.667 | 1.754 | 1.538 | 1.623 | 1.538 | 1.447 | 1.429 | 1.364 | 1.299 | 1.134 | 1.264 | 1.196 | 1.137 | 1.082 | 1.173 | 1.255 | 0.959 | 1 | 1.001 | 1.265 | 1.036 | 1.045 | 0.979 | 0.897 | 1.847 | 3.102 | 2.299 | 1.226 | 0.807 | 1.057 | 0.836 | 0.867 | 0.768
590 | 8.819 | 6.2 | 5.364 | 3.266 | 4.283 | 4.644 | 9.622 | 100.2 | 45.85 | 7.409 | 6.644 | 9.415 | 431.4 | 852 | 67.65 | 1.443 | 1.508 | 1.735 | 1.577 | 1.622 | 1.442 | 1.684 | 1.571 | 1.707 | 1.643 | 1.179 | 1.479 | 1.655 | 1.537 | 1.54 | 1.384 | 1.344 | 1.615 | 1.695 | 1.043 | 1.259 | 1.115 | 1.542 | 0.985 | 1.026 | 1.105 | 1.13 | 0.92 | 0.93 | 1.079 | 1.209 | 1.2 | 1.023 | 0.87 | 0.963 | 1.243 | 2.262 | 2.877 | 1.841 | 0.812 | 0.896 | 1.06 | 0.681 | 0.844
595 | 9.295 | 2.329 | 5.671 | 3.244 | 2.52 | 4.815 | 4.648 | 53.75 | 79.28 | 12.59 | 5.94 | 5.795 | 45.54 | 865.5 | 319.5 | 2.879 | 2.146 | 1.852 | 1.609 | 1.441 | 1.466 | 1.48 | 1.359 | 1.54 | 1.385 | 1.357 | 1.21 | 1.421 | 1.541 | 1.375 | 1.447 | 1.23 | 1.488 | 1.493 | 1.069 | 1.345 | 1.279 | 1.137 | 0.945 | 1.054 | 1.319 | 0.903 | 1.004 | 1.009 | 0.982 | 1.126 | 1.069 | 0.931 | 0.95 | 1.124 | 0.773 | 1.364 | 2.326 | 2.255 | 1.467 | 0.887 | 0.796 | 0.839 | 0.799
600 | 9.161 | 5.477 | 4.74 | 3.317 | 3.476 | 4.343 | 4.932 | 16.81 | 101.5 | 27.33 | 5.578 | 5.204 | 8.681 | 363.2 | 675.7 | 48.42 | 1.964 | 1.763 | 1.644 | 1.861 | 1.455 | 1.495 | 1.682 | 1.462 | 1.568 | 1.467 | 1.382 | 1.956 | 1.36 | 1.273 | 1.51 | 1.321 | 1.194 | 1.362 | 1.444 | 1.119 | 1.192 | 1.399 | 1.053 | 1.297 | 0.835 | 1.158 | 1.211 | 1.088 | 0.938 | 0.989 | 1.034 | 0.907 | 0.885 | 0.8 | 0.818 | 0.725 | 1.578 | 2.04 | 1.703 | 0.93 | 0.824 | 0.893 | 0.808