## Sheet1
Report date: | 14:38:19, 09/02/2024
Sample: | 1
File name:
Run date: | 14:27:46, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 153.4
2 | 255.0/280.0 | 176.2
3 | 270.0/330.0 | *****
4 | 275.0/315.0 | *****
5 | 415.0/485.0 | 92.82
6 | 420.0/495.0 | 87.7
7 | 425.0/500.0 | 86.74
8 | 430.0/505.0 | 90.28
9 | 435.0/515.0 | 91.98
10 | 440.0/520.0 | 91.36
11 | 480.0/325.0 | 12.91
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 16.95 | 7.02 | 23.65 | 120.8 | 74.43 | 18.32 | 39.46 | 2838 | 5815 | 1088 | 15.69 | 11.87 | 9.599 | 6.667 | 4.7 | 3.282 | 3.102 | 2.856 | 2.41 | 2.567 | 2.229 | 2.34 | 2.197 | 2.088 | 2.176 | 2.369 | 2.043 | 2.281 | 1.759 | 2.125 | 1.944 | 2.341 | 1.618 | 1.835 | 1.525 | 1.204 | 1.478 | 1.767 | 1.425 | 1.301 | 1.466 | 1.038 | 1.601 | 1.287 | 1.292 | 1.202 | 1.213 | 1.165 | 0.907 | 1.007 | 1.024 | 1.389 | 1.811 | 1.826 | 1.375 | 0.912 | 0.991 | 0.879 | 1.015
275 | 17.29 | 12.74 | 11.02 | 45.83 | 153.4 | 64.65 | 31.94 | 225.4 | 3201 | 5226 | 943.3 | 16 | 10.81 | 7.759 | 5.007 | 3.901 | 3.01 | 2.549 | 2.751 | 2.508 | 2.461 | 2.129 | 2.573 | 2.175 | 2.019 | 2.053 | 1.967 | 1.96 | 2.217 | 2.055 | 2.014 | 2.061 | 2.141 | 2.04 | 1.729 | 1.656 | 1.46 | 1.68 | 1.101 | 1.485 | 1.418 | 1.092 | 1.41 | 1.202 | 1.423 | 1.335 | 1.08 | 1.074 | 1.019 | 0.962 | 1.168 | 1.072 | 1.113 | 1.332 | 2.023 | 1.81 | 1.203 | 1.075 | 1.095
280 | 27.31 | 13.18 | 15.47 | 18.37 | 78.66 | 176.2 | 84.21 | 80.78 | 282.7 | 3181 | 4953 | 844.2 | 16.37 | 8.027 | 5.429 | 4.394 | 3.302 | 2.757 | 2.535 | 2.811 | 2.61 | 2.164 | 2.155 | 2.2 | 2.33 | 2.274 | 2.45 | 2.042 | 1.823 | 1.737 | 1.877 | 1.943 | 1.569 | 1.956 | 1.801 | 1.301 | 1.352 | 1.429 | 1.455 | 1.519 | 1.454 | 1.511 | 1.344 | 1.39 | 1.234 | 1.095 | 1.234 | 1.122 | 0.931 | 1.02 | 0.952 | 1.233 | 0.978 | 0.986 | 1.215 | 2.398 | 2.556 | 1.889 | 1.243
285 | 91.55 | 48.27 | 30.76 | 26.95 | 51.78 | 172.7 | 269.7 | 192.2 | 233 | 423.6 | 3132 | 4416 | 737.4 | 14.61 | 7.003 | 4.628 | 3.336 | 3.413 | 2.985 | 2.399 | 2.461 | 2.859 | 2.91 | 2.292 | 2.186 | 2.239 | 2.388 | 2.337 | 2.074 | 2.058 | 1.904 | 1.73 | 1.57 | 1.913 | 1.729 | 1.709 | 1.566 | 1.467 | 1.389 | 1.507 | 1.671 | 1.315 | 1.186 | 1.502 | 1.299 | 1.404 | 1.292 | 1.26 | 1.106 | 1.034 | 0.956 | 1.068 | 1.015 | 0.93 | 1.213 | 1.433 | 1.704 | 2.969 | 3.027
290 | 214.7 | 127.9 | 73.73 | 63 | 85.34 | 167.2 | 399 | 530.6 | 534.2 | 569 | 657.4 | 2932 | 4300 | 658.4 | 16.78 | 6.177 | 4.377 | 3.141 | 3.074 | 2.669 | 2.706 | 2.08 | 2.235 | 2.327 | 2.281 | 2.401 | 1.994 | 2.014 | 1.899 | 2.202 | 1.901 | 1.788 | 1.75 | 1.47 | 1.928 | 1.803 | 1.392 | 1.532 | 1.254 | 1.377 | 1.434 | 1.446 | 1.488 | 1.567 | 1.665 | 1.459 | 1.732 | 1.461 | 1.555 | 1.5 | 1.079 | 1.365 | 1.327 | 1.253 | 1.529 | 1.82 | 1.725 | 2.227 | 3.506
295 | 427.2 | 262.9 | 160.7 | 132.3 | 157.2 | 267.2 | 473 | 919.2 | 1112 | 1153 | 1085 | 920.2 | 3157 | 4395 | 657.6 | 25.46 | 6.606 | 4.012 | 2.915 | 3.073 | 2.917 | 2.786 | 2.712 | 2.572 | 2.622 | 2.482 | 2.185 | 2.269 | 2.125 | 2.152 | 1.75 | 1.543 | 1.676 | 1.594 | 1.636 | 1.908 | 1.461 | 1.823 | 1.314 | 1.533 | 1.371 | 1.519 | 1.793 | 1.734 | 1.644 | 2.019 | 2.216 | 2.301 | 1.838 | 1.933 | 2.02 | 1.648 | 1.586 | 1.504 | 1.671 | 2.269 | 2.592 | 3.134 | 4.021
300 | 822.7 | 603.7 | 386.2 | 264.5 | 292.3 | 432 | 794.8 | 1371 | 2194 | 2561 | 2649 | 2296 | 1854 | 3854 | 4854 | 644 | 20.26 | 6.091 | 4.497 | 3.372 | 3.057 | 3.06 | 2.785 | 2.463 | 2.451 | 2.069 | 2.536 | 2.504 | 1.967 | 2.185 | 2.135 | 1.775 | 1.798 | 1.715 | 1.707 | 1.474 | 1.607 | 1.623 | 1.813 | 1.484 | 1.4 | 1.701 | 1.801 | 2.434 | 2.221 | 3.074 | 3.112 | 2.982 | 3.015 | 2.997 | 3.077 | 2.491 | 2.209 | 2.307 | 2.956 | 3.068 | 3.481 | 4.323 | 6.724
305 | 1374 | 1217 | 843.6 | 521.3 | 487.5 | 750.4 | 1350 | 2285 | 3667 | 5115 | 5663 | 5424 | 4419 | 3068 | 4129 | 4781 | 527.6 | 12.99 | 6.156 | 4.556 | 3.777 | 3.407 | 3.186 | 2.989 | 2.473 | 2.818 | 2.884 | 2.467 | 2.233 | 2.194 | 2.314 | 2.078 | 2.017 | 1.55 | 1.821 | 1.642 | 1.625 | 1.936 | 1.871 | 1.705 | 1.764 | 1.729 | 2.174 | 2.374 | 3.253 | 3.716 | 4.622 | 4.734 | 5.118 | 4.976 | 4.647 | 4.194 | 3.652 | 3.601 | 3.665 | 4.445 | 5.8 | 7.793 | 10.18
310 | 2119 | 1919 | 1388 | 853 | 750.8 | 1129 | 2003 | 3520 | 5588 | 7886 | 9470 | 9399 | 7913 | 5227 | 2368 | 3491 | 4477 | 470.9 | 8.686 | 5.229 | 4.321 | 3.534 | 3.524 | 3.172 | 2.915 | 3.23 | 2.788 | 3.002 | 2.827 | 2.619 | 2.306 | 2.003 | 2.022 | 1.757 | 1.84 | 1.632 | 1.865 | 1.974 | 1.696 | 1.725 | 1.895 | 1.865 | 2.354 | 3.192 | 3.752 | 5.272 | 6.462 | 7.242 | 7.292 | 7.944 | 7.43 | 6.516 | 5.254 | 5.408 | 5.763 | 6.41 | 8.158 | 10.53 | 14.47
315 | 2678 | 2577 | 1845 | 1196 | 1088 | 1564 | 2698 | 4619 | 7330 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 7322 | 3077 | 962.7 | 2866 | 4222 | 402.7 | 7.634 | 5.377 | 4.747 | 4.17 | 4.201 | 3.11 | 2.873 | 2.963 | 3.011 | 2.652 | 2.316 | 2.701 | 1.992 | 2.098 | 1.96 | 2.323 | 1.536 | 1.689 | 1.93 | 1.976 | 2.083 | 2.291 | 2.226 | 2.787 | 3.352 | 4.432 | 6.354 | 8.093 | 8.883 | 9.356 | 10.24 | 9.918 | 8.442 | 7.121 | 7.049 | 7.485 | 8.659 | 11.21 | 15.18 | 20.16
320 | 3065 | 2984 | 2212 | 1455 | 1375 | 1995 | 3331 | 5530 | 8705 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 8804 | 3737 | 983.4 | 388.3 | 2643 | 3897 | 414.2 | 7.103 | 5.401 | 4.551 | 3.616 | 3.346 | 3.594 | 3.104 | 2.935 | 3.107 | 2.544 | 2.846 | 2.295 | 2.312 | 2.184 | 2.111 | 2.04 | 1.945 | 1.959 | 2.075 | 1.903 | 2.143 | 2.54 | 2.981 | 3.622 | 4.65 | 6.496 | 9.468 | 10.36 | 10.47 | 12.34 | 11.53 | 10.13 | 8.521 | 8.449 | 8.382 | 10.46 | 14.12 | 17.5 | 25.02
325 | 3239 | 3134 | 2371 | 1673 | 1660 | 2376 | 3831 | 6276 | 9564 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9662 | 4125 | 1107 | 281.4 | 255.2 | 2401 | 4538 | 355.8 | 6.458 | 4.983 | 4.579 | 4 | 3.902 | 3.616 | 3.633 | 2.789 | 3.383 | 2.384 | 2.512 | 2.093 | 1.995 | 2.196 | 1.804 | 2.187 | 1.827 | 2.137 | 1.794 | 2.4 | 2.645 | 3.142 | 3.722 | 4.898 | 6.727 | 9.416 | 10.14 | 11.11 | 12.86 | 12.91 | 10.81 | 9.825 | 9.367 | 10.16 | 12.47 | 16.08 | 21.38 | 29.05
330 | 3305 | 3186 | 2487 | 1824 | 1929 | 2741 | 4312 | 6869 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 4327 | 1220 | 325 | 123.8 | 203 | 2864 | 4075 | 394.6 | 6.822 | 4.794 | 4.348 | 3.716 | 3.637 | 3.537 | 3.373 | 2.791 | 2.532 | 2.688 | 2.35 | 2.307 | 1.973 | 2.097 | 2.117 | 1.91 | 1.836 | 2.161 | 2.231 | 2.55 | 3.1 | 4.15 | 4.966 | 7.328 | 9.57 | 10.41 | 11.21 | 12.79 | 12.17 | 11.21 | 10.99 | 10.8 | 12.28 | 15.01 | 18.64 | 24.61 | 32.16
335 | 3204 | 3059 | 2494 | 1967 | 2179 | 3120 | 4801 | 7270 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9723 | 4455 | 1330 | 389.1 | 142.8 | 72.8 | 224.3 | 2632 | 4589 | 408.1 | 6.399 | 5.112 | 4.943 | 4.597 | 3.692 | 3.167 | 2.963 | 2.888 | 2.856 | 2.41 | 2.257 | 1.715 | 2.034 | 2.093 | 1.923 | 1.993 | 2.21 | 2.017 | 2.565 | 3.102 | 4.313 | 5.592 | 7.881 | 9.524 | 10.05 | 11.31 | 12.8 | 12.42 | 11.87 | 11.57 | 11.29 | 14.03 | 16.19 | 20.15 | 26.41 | 34.46
340 | 3108 | 2944 | 2425 | 2066 | 2371 | 3439 | 5088 | 7571 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9239 | 4313 | 1511 | 470.5 | 190.5 | 93.18 | 60.81 | 206.9 | 2917 | 4729 | 448.5 | 6.808 | 5.303 | 4.93 | 4.039 | 3.524 | 3.119 | 2.917 | 3.112 | 2.233 | 2.316 | 2.127 | 2.145 | 2.164 | 1.884 | 2.106 | 1.944 | 2.274 | 2.636 | 3.092 | 3.986 | 5.115 | 7.25 | 9.022 | 9.439 | 10.43 | 11.32 | 11.88 | 11.64 | 11.05 | 12.53 | 14.84 | 18.43 | 21.95 | 29.35 | 36.16
345 | 3004 | 2757 | 2314 | 2117 | 2549 | 3686 | 5403 | 7749 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 8610 | 4074 | 1553 | 642 | 245.8 | 124.7 | 72.76 | 55.95 | 226.2 | 2998 | 5087 | 484 | 7.579 | 5.614 | 4.493 | 3.703 | 3.32 | 2.803 | 2.55 | 2.359 | 2.437 | 2.125 | 2.039 | 1.851 | 1.852 | 1.832 | 2.28 | 2.463 | 2.601 | 3.222 | 3.928 | 5.213 | 7.22 | 8.733 | 9.499 | 9.717 | 11.16 | 12.31 | 11.64 | 11.67 | 12.66 | 15.44 | 19 | 24.2 | 30.19 | 38.21
350 | 2690 | 2580 | 2220 | 2180 | 2667 | 3825 | 5557 | 7780 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 7928 | 3869 | 1493 | 748.1 | 376.2 | 168.5 | 101.7 | 70.41 | 58.98 | 232.9 | 3169 | 5665 | 607.3 | 9.566 | 5.813 | 4.773 | 4 | 3.198 | 3.005 | 2.576 | 1.974 | 2.159 | 2.285 | 2.107 | 2.061 | 1.9 | 2.076 | 2.356 | 2.552 | 3.146 | 3.994 | 5.229 | 6.49 | 7.806 | 8.699 | 8.819 | 10.55 | 10.88 | 10.92 | 11.81 | 13.27 | 15.71 | 20.29 | 25.57 | 31.19 | 39.55
355 | 2540 | 2298 | 2119 | 2144 | 2740 | 3957 | 5589 | 7662 | 9964 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 7222 | 3630 | 1510 | 726 | 516.3 | 269.4 | 141.8 | 98.36 | 74.63 | 63.62 | 254.8 | 3528 | 6620 | 696.6 | 8.615 | 6.12 | 4.477 | 3.906 | 3.17 | 2.672 | 2.684 | 2.177 | 2.286 | 2.051 | 2.17 | 1.997 | 2.075 | 2.5 | 2.221 | 3.214 | 3.71 | 4.419 | 6.255 | 6.93 | 8.029 | 8.047 | 10.1 | 10.56 | 11.06 | 11.35 | 13.74 | 16.2 | 20.65 | 24.88 | 32.09 | 39.07
360 | 2376 | 2120 | 1983 | 2149 | 2752 | 3931 | 5503 | 7453 | 9413 | 9999.9 | 9999.9 | 9999.9 | 9640 | 6515 | 3426 | 1533 | 769.3 | 505.7 | 426.6 | 225 | 142.7 | 109.7 | 84 | 77.48 | 290.2 | 4153 | 7857 | 733.7 | 9.519 | 5.649 | 4.44 | 3.599 | 3.289 | 2.757 | 2.489 | 2.032 | 2.025 | 1.839 | 2.055 | 1.937 | 2.53 | 2.514 | 3.089 | 3.642 | 4.344 | 5.445 | 6.456 | 7.54 | 7.093 | 9.718 | 9.402 | 10.07 | 10.91 | 12.68 | 16.71 | 19.73 | 25.07 | 31.72 | 39.73
365 | 2103 | 1886 | 1832 | 2065 | 2702 | 3850 | 5266 | 7022 | 8719 | 9999.9 | 9999.9 | 9999.9 | 8629 | 5852 | 3197 | 1557 | 843.3 | 525.5 | 436.4 | 379.5 | 212.4 | 157.5 | 123.4 | 104.3 | 99.87 | 340.6 | 4899 | 7561 | 749.5 | 9.603 | 6.216 | 4.392 | 3.318 | 2.852 | 2.432 | 2.186 | 2.528 | 2.037 | 2.151 | 2.048 | 2.358 | 2.376 | 2.825 | 3.703 | 4.448 | 5.231 | 5.893 | 6.149 | 6.723 | 8.129 | 9.292 | 9.123 | 10.76 | 13.37 | 16.04 | 20.18 | 24.56 | 30.24 | 37.06
370 | 1910 | 1693 | 1710 | 1977 | 2586 | 3627 | 4946 | 6511 | 7941 | 9075 | 9514 | 9049 | 7611 | 5232 | 2991 | 1585 | 922 | 604.4 | 448.3 | 447.3 | 366.8 | 232.7 | 180.5 | 153.1 | 129.5 | 106.3 | 385.7 | 4735 | 8038 | 741.4 | 9.354 | 5.305 | 4.142 | 3.116 | 2.746 | 2.772 | 2.186 | 2.33 | 2.348 | 1.766 | 2.12 | 2.285 | 3.224 | 3.464 | 4.323 | 5.262 | 5.583 | 5.528 | 6.388 | 7.159 | 8.024 | 9.331 | 10.02 | 12.07 | 15.14 | 19.22 | 23.05 | 28.06 | 34.52
375 | 1683 | 1581 | 1580 | 1840 | 2443 | 3343 | 4533 | 5897 | 7076 | 8023 | 8334 | 7904 | 6677 | 4648 | 2816 | 1625 | 1023 | 712.4 | 534.7 | 455.5 | 491.5 | 385.6 | 266.5 | 227.1 | 191.5 | 140 | 107.3 | 381.2 | 5011 | 7827 | 715 | 8.173 | 5.436 | 4.389 | 2.807 | 2.704 | 2.542 | 2.304 | 2.224 | 2.22 | 2.22 | 2.379 | 2.807 | 3.683 | 4.283 | 4.562 | 5.128 | 5.19 | 5.468 | 6.424 | 7.888 | 8.576 | 9.737 | 11.36 | 14.09 | 17.25 | 21.43 | 25.84 | 32.47
380 | 1540 | 1406 | 1453 | 1655 | 2231 | 3055 | 4045 | 5197 | 6214 | 6989 | 7281 | 6827 | 5846 | 4169 | 2677 | 1686 | 1142 | 843.4 | 671 | 564.3 | 533.7 | 568.7 | 420.1 | 328.4 | 281.4 | 209.5 | 144.5 | 113.1 | 401.5 | 4785 | 7497 | 720.6 | 8.567 | 5.537 | 3.829 | 3.122 | 2.428 | 2.429 | 2.583 | 2.089 | 1.919 | 2.529 | 2.823 | 3.327 | 3.712 | 4.253 | 4.709 | 4.79 | 4.954 | 5.84 | 6.852 | 7.544 | 8.949 | 11 | 13.79 | 16.66 | 19.47 | 23.46 | 29.01
385 | 1339 | 1268 | 1342 | 1571 | 2012 | 2743 | 3588 | 4519 | 5428 | 6059 | 6281 | 5986 | 5153 | 3802 | 2613 | 1769 | 1283 | 1000 | 834 | 721.3 | 657.2 | 644.3 | 635.9 | 476.5 | 394.3 | 299.8 | 219.2 | 149.3 | 111.5 | 383.8 | 4668 | 7512 | 726.9 | 8.826 | 5.153 | 3.336 | 2.843 | 2.527 | 2.423 | 2.264 | 2.298 | 2.594 | 2.348 | 3.218 | 3.56 | 3.916 | 4.292 | 4.457 | 4.959 | 5.693 | 6.594 | 7.235 | 8.332 | 9.891 | 11.95 | 14.69 | 17.31 | 20.94 | 25.29
390 | 1190 | 1175 | 1262 | 1433 | 1847 | 2462 | 3159 | 3952 | 4716 | 5196 | 5398 | 5204 | 4573 | 3512 | 2567 | 1875 | 1449 | 1200 | 1033 | 921.8 | 844.8 | 786.4 | 764.9 | 708.5 | 542.6 | 416.2 | 312 | 216.4 | 138.7 | 103.1 | 366.7 | 4602 | 7341 | 669.7 | 7.937 | 5.199 | 3.742 | 2.899 | 2.584 | 1.931 | 2.09 | 2.226 | 2.654 | 2.724 | 3.244 | 3.644 | 4.258 | 4.37 | 4.557 | 5.56 | 6.061 | 7.004 | 7.738 | 9.296 | 11.02 | 13.74 | 16.92 | 18.81 | 22.07
395 | 1120 | 1122 | 1199 | 1358 | 1701 | 2204 | 2775 | 3438 | 4056 | 4544 | 4716 | 4584 | 4111 | 3293 | 2567 | 2013 | 1634 | 1407 | 1256 | 1153 | 1074 | 985.4 | 889.1 | 874.9 | 754.3 | 550.5 | 418.2 | 298.5 | 193.9 | 119.5 | 89.59 | 364.6 | 4505 | 6731 | 608.2 | 7.424 | 4.653 | 3.167 | 3.284 | 2.451 | 2.566 | 2.32 | 2.539 | 2.961 | 2.672 | 3.762 | 4.127 | 3.846 | 4.34 | 5.42 | 6.107 | 6.46 | 7.541 | 8.23 | 10.62 | 12 | 15.21 | 16.41 | 20.5
400 | 1018 | 1046 | 1160 | 1299 | 1573 | 1959 | 2458 | 2953 | 3513 | 3925 | 4141 | 4039 | 3746 | 3123 | 2573 | 2152 | 1846 | 1631 | 1507 | 1399 | 1302 | 1204 | 1082 | 982.6 | 948.7 | 743.6 | 546.2 | 391.1 | 261.5 | 166.4 | 104.3 | 85.41 | 349.2 | 4205 | 6173 | 574.2 | 6.82 | 4.508 | 3.752 | 2.721 | 2.562 | 2.332 | 2.77 | 2.891 | 3.125 | 3.396 | 3.71 | 4.029 | 4.278 | 5.256 | 5.541 | 6.602 | 7.248 | 8.265 | 9.207 | 11.55 | 13.49 | 14.87 | 17.97
405 | 966.4 | 971.8 | 1087 | 1233 | 1466 | 1785 | 2163 | 2560 | 3055 | 3442 | 3635 | 3608 | 3431 | 2985 | 2589 | 2287 | 2035 | 1860 | 1734 | 1639 | 1540 | 1422 | 1286 | 1147 | 1036 | 949.7 | 704.1 | 495.2 | 344.5 | 224.6 | 145.5 | 95.78 | 80.77 | 321.5 | 3551 | 5921 | 555.1 | 6.728 | 4.472 | 3.287 | 2.825 | 2.527 | 2.471 | 2.634 | 2.871 | 3.239 | 3.441 | 3.774 | 3.991 | 4.604 | 5.514 | 6.294 | 6.918 | 8.033 | 9.198 | 10.26 | 12.35 | 13.37 | 14.96
410 | 893.1 | 965.2 | 1066 | 1198 | 1387 | 1652 | 1905 | 2286 | 2677 | 3030 | 3245 | 3289 | 3167 | 2861 | 2588 | 2364 | 2178 | 2038 | 1935 | 1839 | 1739 | 1615 | 1464 | 1307 | 1158 | 1031 | 889.8 | 617 | 428.6 | 295.1 | 197.8 | 130.6 | 85.76 | 70.41 | 275.9 | 3616 | 5428 | 517.4 | 6.717 | 4.129 | 3.172 | 2.546 | 2.49 | 2.88 | 3.101 | 3.342 | 3.275 | 3.543 | 3.943 | 5.574 | 5.359 | 6.274 | 6.689 | 7.269 | 8.566 | 10.52 | 10.92 | 12.39 | 13.66
415 | 846.9 | 948.9 | 1061 | 1165 | 1365 | 1559 | 1740 | 2022 | 2364 | 2703 | 2901 | 2990 | 2951 | 2745 | 2561 | 2417 | 2276 | 2176 | 2093 | 2008 | 1912 | 1796 | 1625 | 1450 | 1267 | 1094 | 979.3 | 777.9 | 515.7 | 362.2 | 255.3 | 169.6 | 114.5 | 70.18 | 59.6 | 277.3 | 3358 | 5370 | 555.9 | 6.555 | 4.088 | 3.379 | 2.691 | 2.842 | 3.084 | 3.06 | 3.544 | 3.627 | 4.324 | 4.86 | 5.437 | 5.482 | 6.539 | 7.449 | 8.73 | 9.09 | 10.68 | 11.68 | 12.97
420 | 826.7 | 946.3 | 1050 | 1177 | 1306 | 1461 | 1593 | 1808 | 2123 | 2425 | 2649 | 2715 | 2722 | 2626 | 2524 | 2447 | 2347 | 2272 | 2204 | 2143 | 2048 | 1900 | 1746 | 1562 | 1371 | 1180 | 1002 | 873.9 | 647.5 | 429.4 | 300.4 | 211.1 | 141.6 | 89.36 | 54.51 | 47.81 | 255.9 | 3425 | 5836 | 454.2 | 5.724 | 4.094 | 3.481 | 2.813 | 2.807 | 3.442 | 3.244 | 3.51 | 4.184 | 5.154 | 5.678 | 5.961 | 6.414 | 7.288 | 7.874 | 8.857 | 9.519 | 10.82 | 11.55
425 | 770.7 | 909.6 | 1065 | 1146 | 1255 | 1404 | 1476 | 1654 | 1906 | 2177 | 2396 | 2504 | 2539 | 2498 | 2470 | 2415 | 2370 | 2311 | 2282 | 2225 | 2140 | 2005 | 1833 | 1645 | 1454 | 1248 | 1048 | 870.7 | 744 | 512.8 | 349.3 | 244.4 | 165.2 | 107.4 | 63.45 | 38.73 | 40.58 | 261.6 | 3850 | 4886 | 430.1 | 5.675 | 3.942 | 3.505 | 3.072 | 3.172 | 3.47 | 3.36 | 4.172 | 4.737 | 5.233 | 5.955 | 6.419 | 6.787 | 7.805 | 8.607 | 9.241 | 10.18 | 10.58
430 | 730.8 | 886.4 | 1034 | 1137 | 1241 | 1338 | 1360 | 1517 | 1727 | 1967 | 2191 | 2302 | 2368 | 2377 | 2394 | 2386 | 2371 | 2344 | 2313 | 2271 | 2193 | 2068 | 1909 | 1704 | 1502 | 1295 | 1101 | 889.7 | 733.8 | 601.6 | 402 | 272 | 185.9 | 119.3 | 76.4 | 45.83 | 29.99 | 35.23 | 283.1 | 3213 | 4550 | 420.9 | 5.45 | 3.972 | 3.45 | 3.351 | 3.068 | 3.567 | 3.781 | 4.674 | 5.166 | 6.349 | 6.632 | 7.261 | 7.513 | 8.745 | 8.846 | 9.63 | 10.26
435 | 697.1 | 851.5 | 1012 | 1122 | 1204 | 1273 | 1282 | 1383 | 1577 | 1828 | 2020 | 2136 | 2210 | 2258 | 2319 | 2349 | 2327 | 2330 | 2322 | 2298 | 2213 | 2093 | 1933 | 1738 | 1544 | 1330 | 1133 | 916.6 | 725.6 | 609.5 | 468.8 | 296.1 | 199 | 133.1 | 85.63 | 54.15 | 35.54 | 25.11 | 34.8 | 241.3 | 2961 | 4312 | 387 | 5.22 | 4.403 | 3.488 | 3.414 | 3.539 | 3.681 | 4.806 | 5.096 | 5.507 | 6.138 | 6.979 | 7.778 | 8.394 | 8.805 | 9.707 | 9.747
440 | 664.6 | 815.8 | 992.2 | 1089 | 1149 | 1220 | 1200 | 1260 | 1452 | 1660 | 1858 | 1969 | 2068 | 2139 | 2205 | 2259 | 2285 | 2290 | 2285 | 2265 | 2197 | 2083 | 1919 | 1735 | 1534 | 1346 | 1133 | 928.2 | 724.3 | 575.9 | 485.1 | 342.9 | 213.3 | 141 | 94.15 | 61.8 | 41.26 | 27.82 | 21.26 | 29.65 | 219.8 | 2796 | 4199 | 369.5 | 5.013 | 4.129 | 3.9 | 3.739 | 3.661 | 4.405 | 5.165 | 5.699 | 6.063 | 6.924 | 7.624 | 8.015 | 8.421 | 8.735 | 9.421
445 | 636.9 | 791.4 | 921.7 | 1050 | 1135 | 1140 | 1104 | 1153 | 1301 | 1516 | 1698 | 1810 | 1904 | 1984 | 2082 | 2143 | 2183 | 2187 | 2201 | 2196 | 2139 | 2030 | 1876 | 1685 | 1505 | 1312 | 1117 | 919.6 | 723.1 | 554.8 | 437.6 | 369.3 | 246.3 | 146.6 | 98.65 | 67.3 | 46.99 | 33.5 | 24.57 | 18.74 | 27.23 | 208 | 2678 | 3835 | 340.4 | 5.53 | 4.038 | 3.788 | 3.744 | 4.691 | 4.926 | 5.709 | 5.858 | 6.142 | 6.863 | 7.582 | 8.161 | 8.874 | 8.497
450 | 748.4 | 717 | 891.6 | 996.9 | 1070 | 1065 | 1022 | 1047 | 1209 | 1363 | 1521 | 1636 | 1728 | 1823 | 1926 | 2003 | 2040 | 2068 | 2104 | 2076 | 2040 | 1937 | 1795 | 1628 | 1453 | 1270 | 1073 | 888.6 | 704.6 | 541.4 | 409.1 | 331.4 | 276.9 | 166.8 | 105.2 | 74.12 | 50.72 | 38.78 | 27.9 | 22.23 | 17.34 | 25.23 | 201.6 | 2557 | 3844 | 345 | 5.354 | 4.444 | 4.1 | 4.609 | 5.089 | 5.094 | 5.461 | 5.76 | 7.017 | 7.103 | 7.165 | 7.502 | 7.875
455 | 1213 | 687 | 828.9 | 919.5 | 990 | 972.9 | 921.4 | 949.5 | 1086 | 1222 | 1375 | 1462 | 1565 | 1664 | 1751 | 1842 | 1883 | 1923 | 1947 | 1944 | 1908 | 1810 | 1690 | 1543 | 1368 | 1194 | 1019 | 850 | 671.3 | 519.3 | 395.1 | 298.4 | 257.7 | 196.7 | 116.5 | 78.22 | 57.56 | 43.67 | 33.13 | 27.01 | 19.57 | 16.21 | 24.68 | 196.6 | 2423 | 3429 | 308.8 | 4.881 | 4.519 | 4.44 | 4.799 | 4.82 | 5.206 | 5.353 | 6.291 | 6.558 | 6.845 | 7.287 | 7.505
460 | 1771 | 752.6 | 774.2 | 859.6 | 911.5 | 904.6 | 865.7 | 840.5 | 952.2 | 1102 | 1215 | 1305 | 1399 | 1492 | 1585 | 1669 | 1729 | 1757 | 1780 | 1790 | 1757 | 1681 | 1571 | 1419 | 1288 | 1122 | 962.3 | 794.8 | 633 | 497.1 | 377.4 | 282.7 | 221.4 | 198.4 | 144.7 | 86.07 | 61.67 | 48.23 | 37.48 | 29.73 | 22.91 | 18.09 | 15.23 | 23.76 | 181.7 | 2189 | 3228 | 281.8 | 5.521 | 4.988 | 4.756 | 4.545 | 5.295 | 5.341 | 5.833 | 6.215 | 6.385 | 6.657 | 6.804
465 | 1409 | 1190 | 696.7 | 786.4 | 820.2 | 809.6 | 766.2 | 774.4 | 837.8 | 965.3 | 1078 | 1163 | 1246 | 1326 | 1430 | 1501 | 1558 | 1593 | 1613 | 1624 | 1607 | 1539 | 1448 | 1307 | 1182 | 1040 | 890.8 | 741 | 598.7 | 463.7 | 356.3 | 270.8 | 202.9 | 168.6 | 155.9 | 104.5 | 67.25 | 53.31 | 40.41 | 32.15 | 25.94 | 21.6 | 16.94 | 13.5 | 22.66 | 165.1 | 2132 | 2920 | 307.9 | 6.386 | 5.444 | 5.215 | 4.888 | 5.239 | 5.698 | 6.124 | 5.981 | 6.241 | 6.745
470 | 592.1 | 1703 | 757.9 | 693.1 | 739.1 | 732.8 | 683.8 | 691.4 | 744.6 | 859.7 | 954.6 | 1026 | 1112 | 1181 | 1268 | 1342 | 1399 | 1424 | 1456 | 1466 | 1440 | 1391 | 1300 | 1189 | 1072 | 946.7 | 816.4 | 686.1 | 552.3 | 434.8 | 335.2 | 255.7 | 194.2 | 150.7 | 136.9 | 126.1 | 80.9 | 56.32 | 44.9 | 35.85 | 29.23 | 23.88 | 19.62 | 15.77 | 12.88 | 20.83 | 160.6 | 1987 | 3012 | 305.4 | 5.848 | 5.414 | 5.132 | 5.215 | 5.479 | 5.497 | 4.929 | 5.229 | 5.748
475 | 347.5 | 1467 | 1201 | 621.6 | 668.7 | 643.7 | 614.7 | 608.5 | 656.8 | 750.8 | 829.3 | 887.2 | 959.5 | 1030 | 1120 | 1181 | 1231 | 1260 | 1293 | 1294 | 1281 | 1236 | 1167 | 1072 | 966.3 | 859.3 | 740.2 | 627 | 511.2 | 402.1 | 310.3 | 243.3 | 186.1 | 142.8 | 118.1 | 116.6 | 100.7 | 63.72 | 47.54 | 38.84 | 33.15 | 27.17 | 22.76 | 18.29 | 15.26 | 12.58 | 20.32 | 153.8 | 1851 | 2854 | 215.2 | 6.376 | 5.536 | 5.138 | 5.426 | 5.668 | 5.123 | 5.092 | 5.274
480 | 303.6 | 661.9 | 1771 | 692.1 | 593.5 | 590.6 | 555.8 | 542 | 580.3 | 660.6 | 732.4 | 784.5 | 842.2 | 904.2 | 981.5 | 1042 | 1099 | 1118 | 1150 | 1155 | 1151 | 1113 | 1050 | 969 | 881.1 | 790 | 679.9 | 571.6 | 476.3 | 373.7 | 295 | 229.4 | 178.9 | 139.7 | 111.8 | 98.2 | 102.5 | 80.87 | 54.22 | 44.63 | 37.65 | 30.81 | 26.11 | 21.81 | 18.44 | 14.8 | 14.32 | 21.02 | 138.9 | 1820 | 2450 | 231.2 | 6.637 | 5.569 | 5.521 | 5.193 | 4.931 | 5.069 | 4.821
485 | 267.2 | 375.5 | 1521 | 1142 | 554.4 | 536.5 | 507.1 | 496 | 530 | 598.7 | 661.5 | 695.8 | 753.3 | 811.3 | 886.7 | 930.5 | 978.7 | 1011 | 1029 | 1041 | 1036 | 1005 | 948 | 881.1 | 801.8 | 717.2 | 632.2 | 537.3 | 449.6 | 358.9 | 282.4 | 223.1 | 176.9 | 138.9 | 112.5 | 91.7 | 89.6 | 92.82 | 68.07 | 47.91 | 40.89 | 36.13 | 31.71 | 27.2 | 23.56 | 20.79 | 17.23 | 16.08 | 21.84 | 146.5 | 1720 | 2332 | 199.5 | 6.907 | 5.489 | 4.815 | 4.926 | 4.945 | 4.713
490 | 252.8 | 328 | 684.3 | 1703 | 621.7 | 501.6 | 461.8 | 463.9 | 497.5 | 542.4 | 599.1 | 640.4 | 673.7 | 724.8 | 781.6 | 842.8 | 867.3 | 902.1 | 926.5 | 941.7 | 937.7 | 905.7 | 859.4 | 801.2 | 732.6 | 659.8 | 587.5 | 505.6 | 416.7 | 338.2 | 270.4 | 216.5 | 171.8 | 140.8 | 112.3 | 94.16 | 83.87 | 87.09 | 86.22 | 60.65 | 48.4 | 43 | 38.57 | 34.34 | 31.62 | 26.69 | 23.24 | 21 | 18.36 | 24.43 | 139.5 | 1563 | 2279 | 217.9 | 6.881 | 6.04 | 5.274 | 4.675 | 4.634
495 | 229.7 | 289.3 | 397.8 | 1538 | 1030 | 458.9 | 428.4 | 422.3 | 445.3 | 491 | 529.8 | 555.7 | 591.3 | 637.3 | 690 | 743 | 772.4 | 802.3 | 817.6 | 831.9 | 832.7 | 806.6 | 777.1 | 723.3 | 668.1 | 606.7 | 538.9 | 473 | 393 | 322.9 | 259.8 | 209 | 167 | 136.6 | 112.8 | 96.98 | 84.31 | 80.14 | 87.7 | 77.58 | 59.51 | 51.63 | 47.23 | 43.85 | 38.1 | 34.61 | 31.1 | 28.78 | 24.89 | 21.42 | 25.95 | 131.1 | 1692 | 2335 | 201.5 | 6.669 | 5.541 | 4.807 | 4.592
500 | 189.3 | 243.7 | 322.5 | 709.6 | 1588 | 522.2 | 398.8 | 386.7 | 405.7 | 445.9 | 467.1 | 495.2 | 512.6 | 554.4 | 599.9 | 647.6 | 673.4 | 698.2 | 720.6 | 731.2 | 735.7 | 719.6 | 692.2 | 646.7 | 600 | 547.8 | 485.2 | 431.1 | 368.2 | 306 | 248.1 | 203.6 | 163.6 | 135.8 | 113.8 | 97.72 | 89.19 | 80.29 | 78.8 | 86.74 | 76.15 | 62.31 | 56.88 | 51.53 | 47.56 | 42.78 | 39.55 | 34.99 | 31.62 | 26.05 | 22.8 | 25.68 | 139.8 | 1572 | 2129 | 180.3 | 6.084 | 4.994 | 4.447
505 | 195.2 | 231 | 281.3 | 357.5 | 1510 | 900.8 | 366.3 | 346.6 | 366.2 | 407.1 | 409.7 | 436.7 | 448.8 | 484.5 | 520.8 | 559.6 | 573.6 | 603.9 | 617.5 | 636.6 | 638.3 | 626 | 605.4 | 570.6 | 538.2 | 493.3 | 448.7 | 394.9 | 339.7 | 291 | 237.9 | 192.8 | 157.3 | 132.4 | 112 | 98.49 | 89.95 | 83.7 | 78.31 | 84.62 | 90.28 | 76.59 | 63.96 | 61.5 | 55.33 | 50.37 | 47.48 | 42.84 | 36.28 | 31.55 | 26.48 | 21.51 | 24.36 | 129.2 | 1465 | 1969 | 168.8 | 5.465 | 4.654
510 | 159.2 | 210.8 | 247.4 | 303 | 663.2 | 1486 | 446 | 325.7 | 344.6 | 353.3 | 372.4 | 380.2 | 387 | 406 | 449.1 | 474.6 | 499.2 | 520.3 | 536.6 | 547.2 | 550.8 | 544.8 | 527.5 | 505.4 | 474.7 | 440 | 409.3 | 364.8 | 320.3 | 269 | 224.1 | 184.8 | 153 | 127.7 | 111.9 | 99.78 | 89.89 | 85.62 | 80.09 | 78.94 | 87.54 | 89.83 | 74.22 | 68.46 | 63.77 | 57.65 | 53.72 | 47.29 | 43.1 | 36.07 | 30.37 | 24.56 | 19.52 | 20.9 | 119.2 | 1350 | 1855 | 167.1 | 5.625
515 | 127.3 | 196.2 | 224.2 | 265.1 | 320.7 | 1467 | 815.3 | 307.9 | 313.5 | 318.1 | 329.2 | 324.5 | 333.4 | 352.5 | 383.7 | 412.6 | 435.3 | 444 | 458.7 | 468.6 | 478.4 | 466.1 | 458.1 | 443.8 | 418.5 | 391.7 | 365.3 | 331.5 | 296.5 | 251.5 | 210 | 175.3 | 144.1 | 121.7 | 106.6 | 97.75 | 90.52 | 85.5 | 80.83 | 79.49 | 82.6 | 91.98 | 86.04 | 74.79 | 67.48 | 62.5 | 56.76 | 51.47 | 46.93 | 39.64 | 33.04 | 26.23 | 20.47 | 15.7 | 18.87 | 111.6 | 1294 | 1767 | 155.4
520 | 115.3 | 160.1 | 195.3 | 233 | 262.9 | 646.3 | 1433 | 393.7 | 281.2 | 289.8 | 289.3 | 283.4 | 290.5 | 298.1 | 326.1 | 353.1 | 366.3 | 379.7 | 389.6 | 399.9 | 409.4 | 403.8 | 400.4 | 386.5 | 366.3 | 346.7 | 327.7 | 299.1 | 268 | 230.1 | 193.7 | 161.9 | 136.3 | 111.9 | 101.8 | 92.85 | 88.18 | 82.74 | 79.37 | 79.44 | 79.45 | 84.22 | 91.36 | 80.38 | 71.27 | 64.07 | 60.61 | 54.58 | 49.1 | 40.74 | 35.72 | 28.32 | 23.66 | 17.43 | 14.17 | 18.47 | 106.7 | 1234 | 1729
525 | 106 | 146.9 | 188.3 | 206.5 | 218.4 | 262.5 | 1449 | 735.6 | 259 | 252.9 | 253.8 | 252.6 | 248.5 | 259.3 | 275.2 | 297 | 308.1 | 321 | 334.2 | 342.3 | 349 | 347.3 | 343.7 | 334.7 | 317.9 | 305.1 | 288.6 | 267 | 239 | 210.1 | 179 | 147.5 | 126.3 | 107.7 | 96.39 | 86.84 | 83.93 | 80.24 | 78.39 | 77.02 | 78.42 | 77.22 | 85.46 | 85.45 | 72.56 | 65.4 | 58.97 | 55.25 | 49.47 | 43.46 | 37.12 | 31.18 | 26.64 | 20.72 | 18.9 | 18.18 | 23.2 | 111 | 1207
530 | 93.05 | 118 | 157.9 | 187.6 | 188.8 | 214.7 | 692.2 | 1254 | 341.8 | 231.6 | 222.3 | 220.6 | 215.5 | 215.4 | 232.2 | 251.9 | 262.2 | 268.4 | 281.2 | 290.7 | 295.3 | 302.3 | 295.7 | 289.9 | 281.3 | 269.1 | 252.4 | 236.6 | 216.1 | 190.7 | 164.3 | 138.2 | 117.1 | 99.46 | 88.58 | 82.37 | 78.52 | 76.97 | 73.81 | 72.94 | 72.94 | 71.88 | 75.82 | 80.24 | 77.48 | 65.54 | 59.53 | 56.21 | 52.66 | 45.05 | 41.45 | 35.7 | 31.92 | 27.45 | 25.58 | 25.82 | 28.78 | 38.44 | 125.8
535 | 75.86 | 106 | 130.5 | 178.5 | 174.6 | 184.6 | 236.1 | 1268 | 664.7 | 200.6 | 200.4 | 189 | 188.1 | 190.5 | 196.8 | 211.4 | 220.1 | 226.3 | 236 | 243.9 | 247.5 | 254.7 | 253.8 | 244.8 | 241.7 | 230.2 | 221.4 | 206.2 | 192.3 | 170.4 | 145.1 | 126.2 | 106.2 | 92.63 | 83.18 | 75.62 | 72.46 | 69.36 | 69.75 | 71.08 | 70.44 | 69.06 | 70.48 | 72.31 | 73.54 | 68.3 | 60.05 | 55.78 | 52.44 | 47.69 | 44.52 | 41.79 | 38.89 | 36.22 | 34.52 | 36.37 | 43.23 | 50.78 | 63.91
540 | 76.99 | 87.71 | 114.1 | 152.8 | 158.2 | 168.9 | 170.3 | 611.8 | 1125 | 290.6 | 170.4 | 162.8 | 154.7 | 162.6 | 167.2 | 173.6 | 185.2 | 187.1 | 198.6 | 205.4 | 207 | 211.4 | 214.4 | 212.9 | 207.5 | 197.9 | 191 | 180.6 | 167.6 | 146.8 | 127.4 | 109.9 | 93.04 | 81.84 | 74.13 | 69.71 | 66.72 | 65.29 | 63.01 | 64.82 | 64.39 | 64.71 | 66.08 | 65.12 | 66.63 | 67.62 | 60.72 | 55.24 | 51.94 | 49.05 | 47.41 | 47.41 | 45.48 | 45.17 | 45.66 | 48.5 | 57 | 67.14 | 79.7
545 | 59.34 | 78.28 | 96.97 | 126.5 | 143.5 | 139.4 | 150.6 | 193.4 | 1169 | 549.3 | 150.6 | 139 | 135.4 | 133.4 | 138.8 | 145 | 152.6 | 157 | 164.9 | 171.2 | 174.9 | 174.1 | 176.8 | 175.8 | 178.8 | 167.6 | 166.1 | 155.3 | 142 | 125.2 | 112.2 | 95.84 | 82.35 | 72.19 | 65.53 | 60.83 | 59.54 | 59.88 | 57.72 | 57.95 | 57.55 | 58.33 | 58.98 | 59.02 | 58.41 | 62.01 | 58.68 | 54.57 | 49.82 | 48 | 49.89 | 50.89 | 49.99 | 50.55 | 51.65 | 57.73 | 67.26 | 81.21 | 94.04
550 | 52.05 | 62.89 | 76.52 | 101.6 | 142.9 | 127.5 | 127.3 | 135.3 | 560.5 | 925.5 | 226 | 115.8 | 114 | 110.4 | 115.3 | 121.7 | 123.4 | 125.1 | 133.3 | 139.9 | 141 | 142.6 | 149.3 | 150.7 | 147.2 | 141.3 | 138.9 | 129.9 | 119 | 107.8 | 96.88 | 85.02 | 73.48 | 62.2 | 59.22 | 54.26 | 52.4 | 51.67 | 52.11 | 50.68 | 51.24 | 51.62 | 52.96 | 52.21 | 51.73 | 51.55 | 55.68 | 53.99 | 47.82 | 45.73 | 47.57 | 48.48 | 50.68 | 49.62 | 52.62 | 59.37 | 69.23 | 84.34 | 97.85
555 | 43.32 | 52.48 | 75.86 | 81.68 | 117.6 | 116.9 | 112.3 | 120.7 | 155.1 | 982.8 | 440.2 | 101.7 | 91.79 | 92.28 | 95.49 | 99.53 | 101.4 | 104.8 | 109.9 | 113.1 | 115.6 | 119.3 | 122.1 | 122.6 | 121.7 | 119.3 | 115.2 | 110.8 | 102.4 | 91.46 | 84.3 | 72.11 | 63.96 | 55.45 | 49.72 | 47.07 | 45.55 | 43.88 | 45.29 | 44.12 | 45.01 | 47.09 | 45.29 | 46.05 | 46.08 | 45.75 | 46.85 | 49.01 | 44.65 | 41.03 | 42.71 | 44.54 | 47 | 46.43 | 49.16 | 54.81 | 64.82 | 79.31 | 91.1
560 | 37.31 | 46.06 | 52.21 | 70.61 | 84.51 | 109.6 | 95.83 | 101.8 | 109 | 500 | 750.5 | 165.5 | 80.21 | 74.46 | 76.73 | 78.11 | 78.18 | 84.02 | 85.47 | 91.11 | 91.29 | 93.85 | 97.48 | 98.33 | 100.1 | 97.78 | 94.94 | 91.9 | 84.59 | 77.59 | 68.96 | 62.01 | 52.64 | 46.64 | 43.17 | 40.17 | 39.29 | 39.08 | 40.47 | 39.87 | 39.52 | 39.44 | 40.06 | 41.12 | 39.22 | 36.54 | 38.16 | 40.3 | 40.14 | 37.36 | 37.63 | 38.71 | 39.85 | 41.81 | 42.26 | 46.77 | 55.41 | 67.52 | 78.49
565 | 34.09 | 39.64 | 49.07 | 55.58 | 71.02 | 94.32 | 92.57 | 87.64 | 95.22 | 127.4 | 818.3 | 336.7 | 64.47 | 59.92 | 60.23 | 61.45 | 63.79 | 67.07 | 68.97 | 70.31 | 73.34 | 76.03 | 78.64 | 81.07 | 80.05 | 77.26 | 76.42 | 72.51 | 68.48 | 63.06 | 57.09 | 49.2 | 43.97 | 38.63 | 36.72 | 33.81 | 33.44 | 34.05 | 32.49 | 32.39 | 32.85 | 33.4 | 33.62 | 33.97 | 33.21 | 32.68 | 32 | 32.58 | 33.74 | 33.92 | 31.88 | 33.22 | 33.23 | 33.33 | 34.59 | 38.56 | 46.03 | 55.71 | 64.35
570 | 37.17 | 34.46 | 35.36 | 45.39 | 53.47 | 77.16 | 91.82 | 83.11 | 91.2 | 90.14 | 420 | 619.1 | 118.5 | 48.79 | 49.8 | 49.64 | 51.72 | 51.06 | 52.82 | 55.46 | 57.77 | 60.63 | 61.7 | 64.29 | 64.29 | 63.59 | 61.74 | 60.16 | 58.2 | 52.01 | 46.58 | 41.7 | 35.57 | 32.65 | 29.43 | 27.98 | 28.34 | 28.33 | 28.08 | 27.93 | 27.78 | 27.97 | 28.58 | 29.17 | 28.77 | 27.01 | 26.77 | 26.33 | 26.08 | 27.76 | 27.33 | 25.52 | 26.32 | 25.93 | 27.45 | 31.28 | 35.54 | 42.9 | 50.28
575 | 38.47 | 32.39 | 30.46 | 37.36 | 48.03 | 58.91 | 92.81 | 91.48 | 91.32 | 94.51 | 114.3 | 748.4 | 264.9 | 41.23 | 40.5 | 39.44 | 39.79 | 41.46 | 43.14 | 45.67 | 46.84 | 47.38 | 49.37 | 50.78 | 51.28 | 50.19 | 50 | 47.65 | 45.78 | 42.01 | 38.15 | 34.4 | 29.31 | 27.63 | 24.31 | 23.3 | 23.72 | 22.97 | 23.46 | 23.49 | 23.36 | 23.62 | 23.82 | 23.21 | 23.59 | 22.85 | 21.89 | 21.93 | 21.22 | 22.19 | 22.68 | 22.36 | 21.17 | 20.89 | 21.91 | 23.28 | 27.88 | 32.98 | 37.34
580 | 37.42 | 36.6 | 31.72 | 37.31 | 40.98 | 50.42 | 86.51 | 100.2 | 104.1 | 104.6 | 93.78 | 394.6 | 527.3 | 88.45 | 32.3 | 31.11 | 31.3 | 33.54 | 34.59 | 35.87 | 38.21 | 38.15 | 39.22 | 40.03 | 41.52 | 39.66 | 39.17 | 39.53 | 37.36 | 34.84 | 32.57 | 28.5 | 24.74 | 23.31 | 20.91 | 19.9 | 19.57 | 19.08 | 19.93 | 18.72 | 19.03 | 19.79 | 19.43 | 18.61 | 19.43 | 19.67 | 18.83 | 18.15 | 17.48 | 16.56 | 18.42 | 18.97 | 17.51 | 16.88 | 16.48 | 17.48 | 20.01 | 25.82 | 29.66
585 | 41.53 | 38.75 | 32.52 | 35.19 | 40.83 | 47.07 | 74.25 | 116 | 118.1 | 119.5 | 105.7 | 102.9 | 662.9 | 227 | 28.49 | 27.05 | 26.43 | 26.09 | 28.35 | 28.33 | 30.66 | 30.1 | 31.24 | 32.54 | 33 | 32.49 | 32.36 | 32.81 | 30.59 | 29.64 | 25.78 | 23.43 | 21.3 | 18.97 | 17.16 | 16.44 | 15.99 | 16.34 | 16.32 | 16.3 | 16.73 | 16.32 | 16.9 | 16.08 | 16.58 | 16.17 | 15.31 | 14.94 | 14.19 | 13.71 | 14.4 | 16.55 | 14.91 | 13.98 | 13.14 | 14.77 | 17.06 | 19.78 | 23.11
590 | 51.43 | 41.89 | 28.41 | 27.56 | 38.78 | 50.08 | 76.31 | 127.7 | 145.5 | 137.4 | 126.9 | 97.55 | 360.7 | 503.2 | 70.03 | 23.5 | 20.76 | 21.92 | 23.01 | 23.06 | 24.36 | 25.21 | 26.49 | 26.78 | 28.18 | 28.21 | 27.28 | 26.18 | 25.85 | 23.71 | 20.95 | 19.88 | 16.61 | 16.12 | 14.6 | 14.13 | 13.14 | 13.28 | 13.58 | 12.92 | 13.8 | 14 | 15.03 | 13.76 | 13.44 | 12.84 | 12.76 | 11.84 | 11.6 | 11.32 | 11.6 | 12.85 | 12.76 | 11.81 | 11.23 | 11.3 | 13.77 | 15.06 | 18.78
595 | 70.35 | 52.63 | 38.86 | 34.6 | 40.84 | 51.67 | 77.73 | 126.7 | 176 | 178 | 173.4 | 132.8 | 120.9 | 651 | 200.9 | 21.41 | 18.55 | 18.54 | 18.94 | 20.08 | 19.51 | 21.05 | 22.31 | 21.42 | 22.24 | 21.8 | 22.82 | 21.88 | 20.68 | 20.78 | 17.92 | 16.49 | 14.91 | 12.72 | 12.46 | 12.26 | 11.19 | 11 | 11.69 | 11.83 | 11.38 | 11.31 | 11.38 | 11.86 | 11.61 | 11.46 | 10.33 | 10.31 | 9.665 | 9.644 | 9.792 | 10.01 | 9.833 | 10.42 | 9.827 | 9.692 | 11.53 | 13.63 | 14.89
600 | 80.58 | 58.83 | 41.52 | 37.11 | 38.14 | 56.97 | 90.78 | 140.8 | 214.6 | 242.6 | 242.4 | 212 | 162.3 | 399.1 | 482.5 | 53.5 | 15.72 | 14.59 | 15.56 | 14.99 | 17.3 | 16.79 | 17.85 | 17.94 | 18.43 | 18.02 | 17.99 | 18.58 | 17.94 | 16.55 | 14.67 | 13.41 | 12.16 | 11.07 | 10.22 | 10.08 | 9.832 | 9.503 | 10.06 | 9.625 | 10.22 | 10.14 | 9.718 | 9.781 | 10.22 | 9.109 | 9.435 | 9.155 | 8.436 | 8.535 | 8.189 | 8.179 | 8.236 | 9.31 | 8.875 | 8.689 | 9.232 | 10.8 | 12.39