## Sheet1
Report date: | 16:30:19, 09/02/2024
Sample: | 1
File name:
Run date: | 16:19:58, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 245.0/440.0 | 1394
2 | 250.0/275.0 | 274
3 | 255.0/280.0 | 295.7
4 | 265.0/340.0 | 3048
5 | 265.0/585.0 | 170.2
6 | 320.0/435.0 | 2451
7 | 405.0/470.0 | 134.7
8 | 410.0/480.0 | 121.2
9 | 435.0/515.0 | 201.2
10 | 440.0/520.0 | 203.7
11 | 510.0/280.0 | 4.375
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 41.24 | 29.22 | 44.01 | 229.4 | 131.4 | 35.61 | 86.46 | 7388 | 9999.9 | 2254 | 22.17 | 10.73 | 7.796 | 5.978 | 5.632 | 4.97 | 4.568 | 4.139 | 4.064 | 4.262 | 3.954 | 3.719 | 3.26 | 3.354 | 3.46 | 3.443 | 3.275 | 3.478 | 3.728 | 3.359 | 3.386 | 4.099 | 3.891 | 3.191 | 2.941 | 3.224 | 2.782 | 3.053 | 3.153 | 2.472 | 2.844 | 2.673 | 2.657 | 2.431 | 2.541 | 2.069 | 2.032 | 1.647 | 1.427 | 1.653 | 1.882 | 1.85 | 3.087 | 3.609 | 2.363 | 2.044 | 1.65 | 1.775 | 1.783
275 | 46.13 | 28.9 | 27.65 | 86.73 | 274 | 118.4 | 61.07 | 554.8 | 8123 | 9999.9 | 2040 | 20.05 | 9.364 | 7.82 | 6.318 | 5.161 | 5.085 | 4.314 | 4.799 | 4.378 | 3.72 | 3.813 | 3.576 | 3.573 | 3.56 | 4.085 | 3.241 | 3.426 | 3.466 | 3.226 | 3.542 | 3.504 | 3.824 | 3.742 | 3.469 | 3.205 | 2.604 | 2.904 | 3 | 2.966 | 2.775 | 2.448 | 2.454 | 2.186 | 2.49 | 2.364 | 1.877 | 1.64 | 1.508 | 1.366 | 1.851 | 1.616 | 1.833 | 2.577 | 4.066 | 3.221 | 1.853 | 1.895 | 1.974
280 | 83.2 | 35.42 | 33.98 | 38.69 | 143.3 | 295.7 | 130.4 | 120.7 | 625.1 | 7801 | 9999.9 | 1818 | 19.54 | 9.442 | 6.552 | 6.425 | 5 | 4.981 | 4.363 | 4.55 | 3.805 | 4.029 | 3.76 | 3.908 | 4.005 | 3.749 | 3.35 | 3.428 | 3.336 | 3.882 | 3.482 | 3.548 | 3.573 | 3.671 | 3.601 | 2.901 | 3.139 | 2.904 | 2.862 | 2.961 | 2.672 | 2.516 | 2.695 | 2.556 | 2.497 | 2.314 | 2.21 | 1.921 | 1.875 | 1.438 | 1.712 | 1.487 | 1.811 | 1.862 | 2.172 | 3.807 | 4.375 | 3.596 | 2.175
285 | 187.7 | 83.42 | 53.99 | 47.65 | 68.92 | 256.2 | 384.4 | 214 | 257.6 | 729 | 8144 | 9999.9 | 1588 | 16.65 | 8.08 | 6.978 | 6.164 | 4.813 | 5.15 | 4.383 | 4.23 | 3.846 | 3.9 | 4.085 | 3.849 | 3.578 | 3.605 | 3.359 | 3.526 | 3.446 | 2.977 | 3.262 | 2.885 | 3.513 | 3.719 | 3.686 | 2.733 | 2.72 | 2.695 | 2.556 | 2.971 | 3.032 | 2.593 | 2.95 | 2.702 | 2.7 | 2.387 | 2.206 | 1.9 | 2.104 | 1.943 | 1.61 | 2.001 | 1.935 | 2.049 | 1.956 | 3.206 | 4.991 | 5.458
290 | 426.7 | 235.1 | 139.4 | 99.33 | 109.6 | 181.2 | 517.7 | 601.6 | 536.9 | 591.5 | 986.6 | 8035 | 9999.9 | 1368 | 15.83 | 8.103 | 7.002 | 5.771 | 5.199 | 4.889 | 4.053 | 4.608 | 3.87 | 3.856 | 4.237 | 3.693 | 4.167 | 3.683 | 3.612 | 3.608 | 3.264 | 3.148 | 3.18 | 3.302 | 3.482 | 3.78 | 3.369 | 3.037 | 3.039 | 2.304 | 2.933 | 3.323 | 3.131 | 3.19 | 3.097 | 3.137 | 3.313 | 2.491 | 2.744 | 2.393 | 2.159 | 2.154 | 2.056 | 2.034 | 2.084 | 2.199 | 2.658 | 3.312 | 5.473
295 | 701.3 | 453.3 | 254.4 | 182 | 199.1 | 298.3 | 507.9 | 1000 | 1089 | 1038 | 920 | 1059 | 8256 | 9999.9 | 1220 | 14.13 | 8.56 | 6.537 | 5.861 | 5.336 | 5.234 | 4.974 | 4.2 | 3.546 | 4.156 | 3.736 | 3.937 | 3.647 | 3.538 | 3.326 | 3.308 | 3.377 | 3.094 | 3.606 | 3.129 | 3.672 | 3.287 | 3.465 | 2.991 | 2.808 | 3.134 | 3.014 | 3.368 | 3.822 | 4.165 | 3.84 | 4.232 | 3.65 | 3.435 | 3.232 | 3.468 | 2.464 | 2.659 | 2.575 | 2.741 | 3.075 | 3.459 | 4.057 | 5.25
300 | 1031 | 669.7 | 421.3 | 352.3 | 391.5 | 530.5 | 752.1 | 1132 | 1691 | 1625 | 1367 | 937.7 | 933.8 | 7570 | 9999.9 | 1074 | 13.35 | 7.539 | 6.663 | 5.791 | 5.814 | 5.18 | 4.403 | 4.154 | 4.096 | 4.143 | 4.333 | 3.935 | 4.086 | 3.66 | 3.69 | 3.648 | 3.31 | 3.221 | 2.689 | 2.993 | 3.338 | 3.39 | 3.342 | 3.113 | 3.163 | 3.446 | 3.632 | 4.093 | 4.368 | 4.777 | 4.478 | 4.572 | 4.008 | 4.24 | 3.885 | 3.699 | 3.829 | 3.329 | 4.007 | 4.532 | 5.37 | 6.005 | 7.296
305 | 1294 | 895.5 | 634.4 | 585.3 | 693.9 | 886.7 | 1117 | 1449 | 1903 | 2319 | 1894 | 1315 | 688.6 | 776.4 | 7251 | 9999.9 | 983.4 | 13.05 | 7.773 | 6.659 | 6.089 | 5.027 | 5.038 | 4.79 | 3.927 | 3.766 | 3.637 | 3.876 | 3.834 | 3.623 | 3.63 | 3.226 | 3.225 | 3.214 | 3.008 | 3.212 | 3.403 | 3.017 | 3.801 | 3.37 | 3.327 | 3.478 | 3.761 | 4.078 | 4.94 | 5.194 | 5.354 | 5.389 | 4.757 | 4.95 | 5.309 | 4.234 | 4.57 | 5.222 | 5.726 | 6.682 | 7.624 | 8.825 | 9.647
310 | 1401 | 1075 | 870.1 | 855.9 | 1055 | 1301 | 1565 | 1856 | 2174 | 2529 | 2480 | 1697 | 964.2 | 481.5 | 635.1 | 6865 | 9999.9 | 955.6 | 12.87 | 7.81 | 6.621 | 5.423 | 5.263 | 4.777 | 4.46 | 4.285 | 4.329 | 4.146 | 4.614 | 4.029 | 3.68 | 3.208 | 3.707 | 3.425 | 3.432 | 3.16 | 2.797 | 2.973 | 3.297 | 3.488 | 3.706 | 3.669 | 3.716 | 4.284 | 5.08 | 5.782 | 5.922 | 5.209 | 5.336 | 5.557 | 5.553 | 6.187 | 6.35 | 6.701 | 7.94 | 8.556 | 11.05 | 11.36 | 13.4
315 | 1498 | 1169 | 1060 | 1179 | 1427 | 1761 | 2011 | 2218 | 2449 | 2634 | 2690 | 2166 | 1238 | 629.2 | 280.9 | 554.1 | 7172 | 9999.9 | 909.3 | 11.6 | 8.3 | 6.556 | 5.89 | 5.361 | 5.017 | 4.738 | 4.549 | 3.907 | 4.141 | 4.147 | 3.422 | 3.824 | 3.414 | 3.187 | 2.991 | 3.101 | 2.707 | 2.607 | 3.008 | 3.593 | 3.808 | 3.755 | 3.615 | 4.683 | 4.918 | 5.679 | 5.894 | 5.66 | 5.892 | 6.305 | 6.224 | 6.587 | 7.571 | 8.618 | 10.04 | 11.13 | 13.41 | 15.05 | 16.25
320 | 1559 | 1236 | 1189 | 1389 | 1760 | 2129 | 2386 | 2547 | 2696 | 2774 | 2709 | 2387 | 1578 | 797 | 353.4 | 194.5 | 557.2 | 6892 | 9999.9 | 838.1 | 10.87 | 7.967 | 6.264 | 5.937 | 5.099 | 4.665 | 4.742 | 5.008 | 4.36 | 3.852 | 3.525 | 3.627 | 3.394 | 3.139 | 2.894 | 3.147 | 2.575 | 2.791 | 2.78 | 3.071 | 3.665 | 3.912 | 4.204 | 4.807 | 4.751 | 5.898 | 6.334 | 5.805 | 6.21 | 6.627 | 7.133 | 7.612 | 8.497 | 10.34 | 12.18 | 13.98 | 16.07 | 18.24 | 19.51
325 | 1563 | 1311 | 1293 | 1505 | 1977 | 2409 | 2669 | 2782 | 2810 | 2882 | 2782 | 2369 | 1851 | 1010 | 446.9 | 225.4 | 157.9 | 516.4 | 7152 | 9999.9 | 918.4 | 11.48 | 8.63 | 6.716 | 5.423 | 5.18 | 5.242 | 4.725 | 4.748 | 3.943 | 3.735 | 3.762 | 3.563 | 3.458 | 2.879 | 3.16 | 2.631 | 2.88 | 2.862 | 2.891 | 3.237 | 3.776 | 4.294 | 5.532 | 4.808 | 5.629 | 5.931 | 5.803 | 6.076 | 6.701 | 7.638 | 8.278 | 9.328 | 10.95 | 12.69 | 15.1 | 18.01 | 19.97 | 20.91
330 | 1537 | 1296 | 1318 | 1598 | 2119 | 2584 | 2840 | 2935 | 2898 | 2918 | 2816 | 2417 | 1800 | 1221 | 564.5 | 271.5 | 164.2 | 109.6 | 507.8 | 6783 | 9999.9 | 965.8 | 12.67 | 8.803 | 7.222 | 5.999 | 5.381 | 5.322 | 4.798 | 4.1 | 4.124 | 3.991 | 3.483 | 3.593 | 3.08 | 3.107 | 2.908 | 3.061 | 2.941 | 3.141 | 3.292 | 3.78 | 4.207 | 4.78 | 5.016 | 5.792 | 6.161 | 5.446 | 5.863 | 7.112 | 7.55 | 9.05 | 9.675 | 11.18 | 14.32 | 16.46 | 19.24 | 21.22 | 23.75
335 | 1503 | 1254 | 1304 | 1622 | 2144 | 2670 | 2978 | 3031 | 2982 | 2944 | 2823 | 2442 | 1826 | 1183 | 761.9 | 352.8 | 196.3 | 105.6 | 79.99 | 476.7 | 7578 | 9999.9 | 1022 | 13.16 | 8.966 | 7.648 | 6.122 | 5.572 | 5.789 | 4.808 | 4.413 | 3.424 | 3.462 | 3.5 | 3.23 | 3.451 | 3.143 | 3.051 | 2.741 | 2.997 | 3.253 | 3.525 | 3.801 | 4.588 | 5.463 | 6.208 | 5.854 | 5.651 | 5.96 | 6.845 | 8.072 | 8.963 | 9.921 | 11.84 | 15.02 | 16.61 | 20.6 | 21.75 | 24.72
340 | 1467 | 1253 | 1277 | 1605 | 2145 | 2666 | 2970 | 3048 | 2988 | 2932 | 2802 | 2447 | 1839 | 1154 | 748.9 | 519 | 238.3 | 122.2 | 64.78 | 66.9 | 533 | 8365 | 9999.9 | 1167 | 13.89 | 9.632 | 8.866 | 6.438 | 5.465 | 4.916 | 4.494 | 4.31 | 3.867 | 3.424 | 3.379 | 3.498 | 3.416 | 2.909 | 3.084 | 3.071 | 3.286 | 3.666 | 3.995 | 4.468 | 4.981 | 6.205 | 6.1 | 5.996 | 5.46 | 6.921 | 7.634 | 9.475 | 9.966 | 12.18 | 14.73 | 17.31 | 19.17 | 22.51 | 24.42
345 | 1410 | 1191 | 1233 | 1551 | 2071 | 2590 | 2955 | 3016 | 2972 | 2856 | 2736 | 2407 | 1840 | 1158 | 685.2 | 539.4 | 367.2 | 150.2 | 78.85 | 54.83 | 72.04 | 591.4 | 8462 | 9999.9 | 1380 | 13.89 | 10.12 | 8.665 | 6.771 | 5.67 | 4.886 | 4.43 | 4.033 | 3.574 | 3.43 | 3.819 | 3.135 | 2.913 | 3.093 | 2.956 | 3.476 | 3.403 | 4.327 | 4.55 | 4.864 | 5.648 | 6.097 | 5.583 | 6.062 | 6.389 | 7.123 | 9.057 | 9.749 | 11.73 | 13.77 | 16.07 | 18.87 | 21.36 | 23.58
350 | 1361 | 1125 | 1183 | 1487 | 1944 | 2461 | 2785 | 2921 | 2874 | 2754 | 2641 | 2322 | 1797 | 1163 | 686.7 | 454.4 | 434.5 | 254.1 | 107.9 | 71.68 | 61.07 | 81.33 | 593.5 | 9119 | 9999.9 | 1525 | 14.93 | 11.07 | 8.911 | 6.851 | 5.566 | 4.557 | 4.595 | 3.793 | 3.289 | 3.855 | 3.242 | 3.207 | 3.245 | 3.093 | 3.595 | 3.486 | 3.606 | 4.431 | 4.993 | 5.793 | 5.677 | 5.65 | 5.357 | 5.753 | 6.922 | 7.612 | 9.721 | 11.31 | 13.3 | 15.52 | 17.51 | 20.46 | 22.23
355 | 1301 | 1060 | 1113 | 1375 | 1815 | 2271 | 2604 | 2741 | 2716 | 2639 | 2538 | 2217 | 1747 | 1121 | 691.9 | 456 | 350.7 | 368 | 191 | 102.3 | 78.41 | 68.07 | 83.72 | 652.2 | 9999.9 | 9999.9 | 1586 | 17.96 | 11.73 | 8.849 | 6.781 | 5.329 | 4.86 | 4.163 | 3.707 | 3.763 | 3.538 | 3.197 | 3.432 | 3.322 | 3.236 | 3.897 | 4.243 | 4.329 | 4.913 | 5.105 | 5.211 | 5.586 | 5.377 | 6.415 | 6.736 | 7.724 | 8.864 | 9.743 | 12.24 | 15.2 | 16.87 | 19.35 | 20.97
360 | 1246 | 993.4 | 1034 | 1258 | 1663 | 2094 | 2409 | 2573 | 2541 | 2486 | 2372 | 2108 | 1664 | 1109 | 701.8 | 479.9 | 346.8 | 307.1 | 333.5 | 171.5 | 111.4 | 94.24 | 77.75 | 93.92 | 710.3 | 9999.9 | 9999.9 | 1973 | 18.22 | 11.42 | 8.849 | 6.536 | 4.988 | 4.757 | 4.127 | 3.698 | 3.693 | 3.725 | 3.561 | 3.562 | 3.285 | 3.59 | 3.883 | 4.378 | 4.685 | 5.054 | 5.183 | 4.951 | 4.916 | 5.873 | 6.894 | 7.042 | 8.108 | 9.301 | 11.24 | 14.09 | 15.56 | 17.71 | 19.71
365 | 1153 | 922.2 | 945.8 | 1145 | 1503 | 1903 | 2201 | 2336 | 2376 | 2342 | 2220 | 1971 | 1584 | 1092 | 721.9 | 518.8 | 389.9 | 301.6 | 324.7 | 326.1 | 180.2 | 135.7 | 106.8 | 85.83 | 103.2 | 725.7 | 9999.9 | 9999.9 | 1908 | 18.03 | 12.21 | 9.178 | 6.54 | 5.269 | 4.371 | 4.499 | 3.872 | 3.391 | 3.548 | 3.431 | 3.434 | 3.544 | 3.91 | 4.7 | 4.695 | 4.843 | 4.844 | 4.588 | 4.851 | 5.664 | 5.697 | 6.853 | 7.415 | 8.693 | 10.12 | 12.38 | 14.18 | 16.06 | 18.15
370 | 1142 | 878.8 | 880.4 | 1045 | 1344 | 1683 | 1968 | 2155 | 2191 | 2177 | 2084 | 1862 | 1536 | 1081 | 756.6 | 573.3 | 450 | 367.8 | 318.6 | 381.3 | 331.3 | 203.1 | 156.6 | 124.8 | 99.68 | 114.6 | 741.9 | 9999.9 | 9999.9 | 1901 | 18.69 | 11.72 | 9.219 | 6.276 | 4.842 | 4.556 | 3.78 | 3.546 | 3.609 | 3.478 | 3.822 | 3.708 | 3.766 | 4.184 | 4.483 | 4.664 | 4.49 | 4.617 | 4.618 | 5.124 | 6.243 | 6.538 | 7.595 | 8.357 | 9 | 11.76 | 12.95 | 14.11 | 16.37
375 | 1004 | 845.4 | 826.8 | 955.8 | 1196 | 1494 | 1755 | 1942 | 2000 | 2006 | 1956 | 1766 | 1484 | 1099 | 812.5 | 646.7 | 535.7 | 456.2 | 401.8 | 380 | 448.8 | 353.4 | 235.1 | 187.3 | 149.9 | 116.4 | 125.6 | 758.1 | 9999.9 | 9999.9 | 1956 | 18.98 | 11.6 | 8.638 | 6.541 | 5.418 | 4.553 | 4.439 | 3.833 | 3.39 | 3.457 | 3.766 | 3.958 | 3.761 | 4.463 | 4.356 | 4.733 | 4.371 | 4.395 | 4.998 | 5.179 | 6.213 | 7.011 | 7.588 | 9.263 | 10.23 | 11.55 | 13.25 | 13.76
380 | 973.4 | 808.8 | 794.7 | 888.6 | 1095 | 1320 | 1574 | 1773 | 1852 | 1897 | 1842 | 1714 | 1476 | 1149 | 915.1 | 752.1 | 657.4 | 577 | 527.5 | 486.5 | 483.2 | 537.6 | 387 | 282.7 | 227.2 | 176.7 | 135.3 | 135.1 | 763.5 | 9999.9 | 9999.9 | 1909 | 17.65 | 10.71 | 8.086 | 6.176 | 4.812 | 4.212 | 4 | 3.506 | 3.336 | 3.63 | 4.249 | 4.094 | 4.124 | 4.271 | 4.498 | 4.221 | 4.635 | 4.74 | 5.208 | 5.792 | 6.793 | 6.924 | 8.703 | 8.939 | 10.43 | 12.17 | 13.44
385 | 991.5 | 824 | 798.2 | 868.1 | 1015 | 1222 | 1424 | 1614 | 1728 | 1793 | 1792 | 1687 | 1509 | 1249 | 1029 | 906.3 | 820.5 | 752.2 | 691.6 | 653.3 | 610.3 | 601.5 | 612.5 | 434.7 | 333.7 | 261.5 | 198.1 | 137.5 | 129.6 | 764.1 | 9999.9 | 9999.9 | 1874 | 17.09 | 10.81 | 7.762 | 5.483 | 4.702 | 4.349 | 3.886 | 3.918 | 4.214 | 4.025 | 4.563 | 4.176 | 4.594 | 4.424 | 4.119 | 4.508 | 4.716 | 5.599 | 5.657 | 5.985 | 6.617 | 8.11 | 9.051 | 9.425 | 10.57 | 11.5
390 | 990.1 | 873.3 | 822.8 | 853.5 | 973.8 | 1138 | 1295 | 1496 | 1615 | 1743 | 1765 | 1722 | 1589 | 1375 | 1207 | 1104 | 1025 | 959.5 | 905.1 | 854.9 | 801 | 739.7 | 733.4 | 669.4 | 480.3 | 368.8 | 280.2 | 194.4 | 121.9 | 116.8 | 732.1 | 9999.9 | 9999.9 | 1878 | 16.61 | 10.31 | 7.239 | 5.864 | 4.903 | 4.101 | 3.824 | 4.052 | 3.957 | 4.429 | 4.219 | 4.304 | 4.433 | 4.535 | 4.257 | 4.994 | 5.476 | 5.831 | 6.112 | 6.957 | 7.663 | 8.182 | 9.506 | 10.08 | 11.24
395 | 992.5 | 875.7 | 871.8 | 892.9 | 986.4 | 1101 | 1233 | 1408 | 1575 | 1716 | 1797 | 1795 | 1699 | 1528 | 1410 | 1315 | 1252 | 1202 | 1144 | 1089 | 1019 | 933.6 | 853.4 | 837.8 | 696.7 | 499 | 378.5 | 261.7 | 163 | 99.04 | 100.5 | 753.3 | 9999.9 | 9999.9 | 1736 | 14.74 | 9.513 | 7.294 | 5.405 | 4.818 | 4.292 | 4.309 | 4.218 | 4.073 | 4.532 | 4.585 | 4.479 | 4.014 | 4.454 | 5.248 | 5.143 | 5.858 | 6.413 | 6.611 | 7.373 | 8.501 | 8.871 | 10.18 | 10.94
400 | 1068 | 952.4 | 944.2 | 938.2 | 979.7 | 1063 | 1177 | 1347 | 1530 | 1689 | 1814 | 1860 | 1808 | 1700 | 1605 | 1535 | 1494 | 1446 | 1397 | 1337 | 1259 | 1154 | 1046 | 935.6 | 901.6 | 682.4 | 481.2 | 337.2 | 211.7 | 127.6 | 75.87 | 90.44 | 721.2 | 9999.9 | 9999.9 | 1582 | 14.25 | 9.226 | 6.904 | 5.558 | 4.612 | 4.426 | 4.242 | 4.792 | 4.418 | 4.821 | 4.902 | 4.424 | 4.34 | 5.359 | 5.353 | 6.075 | 6.656 | 6.59 | 7.507 | 7.655 | 8.44 | 9.679 | 10.33
405 | 1099 | 1009 | 1006 | 1006 | 1047 | 1081 | 1153 | 1306 | 1490 | 1703 | 1875 | 1929 | 1938 | 1863 | 1811 | 1765 | 1734 | 1709 | 1655 | 1590 | 1495 | 1389 | 1247 | 1099 | 972.3 | 881.9 | 628.2 | 417 | 267.8 | 156.5 | 92.62 | 58.07 | 80.38 | 705.8 | 9999.9 | 9999.9 | 1591 | 14 | 8.76 | 6.892 | 5.223 | 4.728 | 4.708 | 4.72 | 4.87 | 5.064 | 4.69 | 4.755 | 5.086 | 5.945 | 5.783 | 6.319 | 6.731 | 7.066 | 7.279 | 8.177 | 8.574 | 9.528 | 9.577
410 | 1129 | 1077 | 1088 | 1085 | 1099 | 1117 | 1151 | 1294 | 1486 | 1717 | 1883 | 2008 | 2034 | 2011 | 1985 | 1958 | 1955 | 1923 | 1891 | 1826 | 1731 | 1603 | 1436 | 1268 | 1074 | 947.8 | 799.1 | 513.5 | 317.8 | 193.3 | 113.8 | 69.96 | 44.99 | 73.41 | 705.7 | 9999.9 | 9999.9 | 1484 | 13.27 | 8.5 | 6.476 | 5.826 | 4.839 | 4.887 | 4.89 | 4.962 | 4.963 | 4.867 | 5.165 | 6.288 | 6.42 | 6.301 | 7.063 | 7.246 | 8.242 | 8.366 | 8.411 | 9.154 | 9.661
415 | 1199 | 1157 | 1147 | 1140 | 1162 | 1144 | 1149 | 1259 | 1478 | 1713 | 1915 | 2052 | 2121 | 2120 | 2133 | 2123 | 2125 | 2119 | 2079 | 2017 | 1924 | 1776 | 1599 | 1406 | 1201 | 1010 | 863.5 | 651.8 | 380.8 | 228.6 | 137.9 | 82.85 | 54.76 | 38.83 | 69.46 | 714 | 9422 | 9999.9 | 1315 | 12.78 | 8.921 | 6.405 | 5.839 | 5.201 | 5.006 | 5.096 | 4.902 | 5.453 | 5.661 | 6.25 | 6.482 | 6.69 | 6.747 | 7.733 | 7.516 | 8.538 | 9.183 | 9.655 | 9.029
420 | 1209 | 1196 | 1208 | 1227 | 1228 | 1163 | 1145 | 1265 | 1454 | 1697 | 1912 | 2080 | 2171 | 2187 | 2217 | 2242 | 2263 | 2251 | 2238 | 2172 | 2073 | 1930 | 1747 | 1532 | 1310 | 1083 | 861.9 | 721.5 | 473.1 | 265.5 | 159.8 | 100.8 | 64.73 | 43.44 | 34.8 | 68.2 | 674.9 | 9258 | 9999.9 | 1213 | 12.3 | 8.596 | 7.234 | 6.042 | 5.2 | 5.218 | 5.76 | 5.265 | 5.398 | 6.641 | 6.733 | 7.415 | 7.315 | 7.774 | 8.135 | 8.515 | 8.871 | 9.389 | 9.299
425 | 1194 | 1216 | 1256 | 1298 | 1257 | 1212 | 1121 | 1233 | 1418 | 1655 | 1897 | 2060 | 2185 | 2226 | 2282 | 2313 | 2352 | 2369 | 2341 | 2290 | 2194 | 2038 | 1851 | 1630 | 1394 | 1149 | 902.3 | 700.7 | 556 | 332.2 | 186.4 | 115.9 | 76.23 | 55 | 40.35 | 33.53 | 65.36 | 668.7 | 8464 | 9999.9 | 1206 | 12.95 | 8.609 | 7.008 | 5.795 | 5.84 | 5.595 | 5.284 | 5.342 | 6.71 | 7.079 | 7.324 | 7.784 | 7.604 | 8.476 | 9.686 | 9.674 | 9.231 | 9.551
430 | 1183 | 1226 | 1335 | 1334 | 1304 | 1232 | 1157 | 1199 | 1392 | 1612 | 1853 | 2044 | 2181 | 2246 | 2316 | 2361 | 2426 | 2413 | 2418 | 2358 | 2269 | 2117 | 1920 | 1701 | 1459 | 1202 | 948.5 | 706.9 | 537.6 | 410.1 | 229.1 | 135.3 | 90.89 | 65.92 | 49.25 | 37.91 | 32.84 | 65.26 | 604.8 | 8099 | 9999.9 | 1287 | 12.8 | 8.809 | 6.787 | 6.204 | 6.063 | 5.71 | 5.847 | 6.477 | 7.407 | 7.603 | 7.412 | 8.157 | 9.12 | 9.212 | 9.594 | 9.105 | 9.485
435 | 1198 | 1264 | 1333 | 1386 | 1378 | 1249 | 1136 | 1175 | 1331 | 1584 | 1808 | 2015 | 2158 | 2244 | 2331 | 2367 | 2430 | 2439 | 2451 | 2401 | 2298 | 2169 | 1963 | 1752 | 1500 | 1246 | 984.6 | 730.8 | 520 | 410.3 | 297.3 | 163.5 | 105.6 | 77.78 | 58.44 | 46.3 | 34.61 | 30.87 | 59.42 | 589.8 | 8409 | 9999.9 | 1193 | 12.45 | 8.27 | 7.072 | 6.297 | 5.899 | 6.308 | 7.141 | 7.555 | 7.823 | 7.88 | 9.223 | 9.483 | 9.63 | 9.085 | 10.27 | 9.143
440 | 1131 | 1245 | 1346 | 1394 | 1360 | 1255 | 1137 | 1140 | 1283 | 1516 | 1753 | 1941 | 2085 | 2173 | 2279 | 2339 | 2394 | 2424 | 2424 | 2389 | 2308 | 2169 | 1984 | 1755 | 1509 | 1259 | 1004 | 750.8 | 531.4 | 373.2 | 319.1 | 216.8 | 124.9 | 88.17 | 68.18 | 55.03 | 43.9 | 34.49 | 28.42 | 57.31 | 602.2 | 8521 | 9999.9 | 1157 | 11.69 | 8.943 | 7.59 | 6.593 | 5.945 | 6.803 | 7.402 | 7.529 | 8.298 | 8.812 | 9.22 | 9.279 | 9.196 | 9.23 | 9.668
445 | 1136 | 1207 | 1299 | 1378 | 1371 | 1237 | 1109 | 1105 | 1230 | 1455 | 1658 | 1841 | 1989 | 2096 | 2187 | 2259 | 2327 | 2354 | 2356 | 2334 | 2245 | 2124 | 1953 | 1731 | 1498 | 1244 | 997.7 | 748.7 | 538.8 | 370.6 | 283.2 | 252.3 | 161.7 | 102.7 | 78.73 | 65.36 | 49.32 | 40.22 | 30.21 | 26.1 | 57.18 | 609 | 8140 | 9999.9 | 1042 | 12.13 | 8.642 | 7.63 | 6.442 | 7.507 | 7.6 | 7.706 | 8.398 | 8.672 | 9.511 | 9.278 | 9.377 | 9.426 | 9.505
450 | 1331 | 1180 | 1249 | 1330 | 1321 | 1204 | 1058 | 1023 | 1146 | 1362 | 1551 | 1729 | 1858 | 1987 | 2060 | 2144 | 2192 | 2231 | 2251 | 2234 | 2157 | 2031 | 1875 | 1666 | 1449 | 1211 | 973.4 | 740 | 534.6 | 377.8 | 265.3 | 227.4 | 204.1 | 127.3 | 89.36 | 70.67 | 57.1 | 46.88 | 36.83 | 29.25 | 26.04 | 56.98 | 589.6 | 7855 | 9999.9 | 1035 | 11.66 | 8.849 | 7.633 | 7.388 | 7.826 | 7.976 | 8.438 | 8.441 | 9.033 | 9.447 | 9.032 | 8.907 | 8.701
455 | 2387 | 1100 | 1204 | 1244 | 1273 | 1153 | 1005 | 963.5 | 1064 | 1244 | 1449 | 1595 | 1728 | 1822 | 1917 | 1996 | 2049 | 2083 | 2110 | 2088 | 2034 | 1923 | 1772 | 1579 | 1367 | 1157 | 930.8 | 711.4 | 523.3 | 368.9 | 263.6 | 198.5 | 191.6 | 165.9 | 105.1 | 77.76 | 65 | 53.58 | 42.46 | 34.03 | 27.14 | 25.78 | 56.17 | 574.8 | 7165 | 9999.9 | 954.3 | 10.61 | 8.781 | 7.888 | 7.398 | 8.288 | 8.611 | 8.43 | 9.268 | 9.305 | 8.605 | 8.299 | 8.971
460 | 3508 | 1280 | 1125 | 1182 | 1193 | 1069 | 938 | 898.2 | 977.7 | 1146 | 1311 | 1457 | 1573 | 1667 | 1764 | 1829 | 1885 | 1916 | 1937 | 1926 | 1878 | 1784 | 1645 | 1481 | 1289 | 1084 | 881.4 | 682.1 | 501 | 361.6 | 261.1 | 193.6 | 163.2 | 167.9 | 134.7 | 88.36 | 71.85 | 59.68 | 48.2 | 38.31 | 31.77 | 26.25 | 24.2 | 54.13 | 514.8 | 6636 | 9999.9 | 830.8 | 10.99 | 9.227 | 7.955 | 7.891 | 7.716 | 7.834 | 8.383 | 8.96 | 8.521 | 8.256 | 7.852
465 | 2867 | 2264 | 1052 | 1103 | 1112 | 1012 | 857.6 | 821 | 888.2 | 1044 | 1186 | 1316 | 1414 | 1508 | 1595 | 1661 | 1709 | 1745 | 1769 | 1765 | 1712 | 1639 | 1514 | 1361 | 1185 | 1005 | 825.4 | 635.4 | 478.1 | 351.6 | 255.6 | 192.1 | 154 | 143.5 | 151.7 | 109.4 | 76.53 | 64.03 | 53.46 | 45.33 | 37.39 | 30.42 | 25.01 | 23.36 | 49.26 | 481.6 | 6456 | 9091 | 870.9 | 11.57 | 9.553 | 8.839 | 8.326 | 7.84 | 8.383 | 8.278 | 7.796 | 7.869 | 8.417
470 | 1193 | 3453 | 1247 | 1012 | 1028 | 927.7 | 798.2 | 749.4 | 806.2 | 933.8 | 1048 | 1175 | 1265 | 1348 | 1427 | 1485 | 1530 | 1567 | 1583 | 1584 | 1546 | 1473 | 1374 | 1239 | 1079 | 915.9 | 759 | 594 | 452.2 | 331.4 | 246 | 189.2 | 154 | 130.2 | 134.3 | 134.7 | 91.75 | 71.51 | 59.91 | 50.88 | 42.36 | 36.49 | 30.16 | 24.22 | 21.74 | 46.89 | 462.7 | 5867 | 8629 | 854.5 | 12.06 | 10.15 | 9.247 | 8.28 | 7.994 | 8.099 | 8.352 | 7.253 | 7.174
475 | 726.5 | 3024 | 2190 | 961.5 | 927.4 | 851.4 | 736.4 | 678.1 | 712.8 | 829.8 | 931.1 | 1036 | 1126 | 1193 | 1260 | 1310 | 1356 | 1389 | 1408 | 1412 | 1382 | 1320 | 1229 | 1120 | 985.9 | 835.8 | 696.4 | 550.8 | 423.3 | 314.8 | 238.8 | 187.5 | 151.6 | 129.4 | 115.7 | 126.9 | 114.2 | 80.71 | 64.29 | 56.07 | 48.32 | 41.24 | 35.63 | 29.28 | 24.39 | 22.88 | 47.38 | 431 | 4996 | 7973 | 634.5 | 12.49 | 9.988 | 8.81 | 8.235 | 7.622 | 7.794 | 7.619 | 7.201
480 | 608.9 | 1264 | 3448 | 1089 | 843.6 | 796.4 | 688.6 | 629.9 | 658.9 | 739 | 840.7 | 926.2 | 991.5 | 1048 | 1111 | 1166 | 1204 | 1232 | 1256 | 1257 | 1239 | 1186 | 1116 | 1009 | 891.9 | 767.2 | 635.2 | 512.8 | 400.2 | 306.2 | 236.2 | 186.3 | 153.4 | 132.6 | 117.7 | 112.1 | 121.2 | 102.7 | 74.56 | 64.65 | 55.98 | 49.61 | 43.91 | 36.73 | 32.05 | 27.89 | 25.91 | 48.6 | 363.9 | 4642 | 7319 | 689.6 | 14.14 | 10.5 | 8.98 | 7.975 | 7.506 | 7.176 | 6.805
485 | 527.7 | 689.5 | 3123 | 2047 | 803.8 | 725.9 | 635.8 | 585.1 | 617.6 | 680.2 | 760.3 | 833.3 | 901.9 | 934.9 | 995.4 | 1047 | 1084 | 1105 | 1125 | 1122 | 1115 | 1078 | 1007 | 919.8 | 824.3 | 710.2 | 602.7 | 493.7 | 390 | 303.3 | 241.1 | 194.1 | 161 | 140.3 | 123.6 | 113.6 | 114.6 | 122.2 | 97.54 | 77.83 | 70.27 | 63.93 | 56.04 | 51.24 | 46.21 | 38.88 | 35.47 | 32.4 | 49.45 | 358.5 | 4845 | 7343 | 631 | 14.15 | 10.92 | 9.269 | 8.113 | 6.743 | 6.863
490 | 511.4 | 557.3 | 1318 | 3420 | 997.2 | 700.5 | 615.2 | 573.4 | 597.2 | 666.4 | 707.5 | 769.4 | 805.9 | 843.7 | 885.6 | 929.9 | 967.3 | 990.4 | 1007 | 1019 | 1007 | 972.3 | 923.1 | 839.3 | 763 | 669.2 | 570 | 471.2 | 382.3 | 310.5 | 248.6 | 205.8 | 172.9 | 149.1 | 133.8 | 121.2 | 116.9 | 123.3 | 123.6 | 99.29 | 86.74 | 82.71 | 78.49 | 69.81 | 64.85 | 57.85 | 51.36 | 47.49 | 42.95 | 57.53 | 380.5 | 4682 | 7385 | 591.9 | 14.46 | 11.77 | 9.418 | 7.766 | 6.883
495 | 500 | 516.4 | 668 | 3255 | 2003 | 663.1 | 604.2 | 565.3 | 575.2 | 621.2 | 669 | 684.5 | 715.7 | 743.7 | 778.5 | 824.6 | 858.1 | 882.1 | 896.6 | 905.3 | 901.9 | 877.2 | 835.8 | 776.7 | 703.2 | 622.1 | 547.3 | 463.3 | 388 | 314.9 | 263 | 215.4 | 184.5 | 163.9 | 147.9 | 136.4 | 131.7 | 127.7 | 137.2 | 131.2 | 113.3 | 105.6 | 100.7 | 94.58 | 87.49 | 77.63 | 73.52 | 65.08 | 57.41 | 50.2 | 64.49 | 373.5 | 5158 | 6783 | 567.8 | 13.51 | 10.15 | 8.602 | 7.207
500 | 450.4 | 477.8 | 553.2 | 1348 | 3546 | 842.7 | 587 | 588 | 572.6 | 594.1 | 606.7 | 623.1 | 634.3 | 647.7 | 685.4 | 715.8 | 752.9 | 768.6 | 785.5 | 796.7 | 792.4 | 786 | 749.4 | 703.7 | 639 | 583.1 | 515.3 | 454.1 | 390.4 | 327.1 | 274.6 | 231.9 | 200 | 174.9 | 158.6 | 149 | 146.5 | 141.3 | 145 | 155.1 | 146.5 | 133.2 | 126.7 | 120.3 | 113 | 105.5 | 95.45 | 86.99 | 77.22 | 66.21 | 55.98 | 65.01 | 404.3 | 4375 | 6345 | 534.5 | 12.86 | 9.286 | 7.664
505 | 399 | 439.1 | 497.5 | 625 | 3592 | 1799 | 586.8 | 572.2 | 560.5 | 572 | 566.4 | 565.3 | 548.6 | 567.2 | 592.1 | 619.4 | 645.8 | 666.7 | 681.3 | 690.8 | 692.5 | 685.6 | 659.2 | 628.9 | 589.5 | 539 | 490 | 435.4 | 385.3 | 332.4 | 286.9 | 242.8 | 208.9 | 183.6 | 166.5 | 163.3 | 159.5 | 154.8 | 156.3 | 164.3 | 174.9 | 162.7 | 151.2 | 145.4 | 135.3 | 127.5 | 116.8 | 106.7 | 95.97 | 80.44 | 69.11 | 56.3 | 64.23 | 347.4 | 4141 | 5942 | 483.9 | 10.97 | 9
510 | 357.3 | 433 | 435.5 | 506.9 | 1481 | 3438 | 782.8 | 567.2 | 566.5 | 548.1 | 532 | 499.8 | 492.1 | 489.4 | 505.4 | 531.8 | 553.6 | 567.3 | 584.5 | 596 | 604.7 | 597.4 | 584.6 | 563.6 | 532.5 | 501.5 | 465.2 | 424.4 | 378.9 | 330.7 | 293.1 | 246.6 | 214.5 | 192.8 | 175.7 | 170.8 | 167.5 | 165.8 | 168.7 | 170.1 | 184.4 | 188.6 | 174.5 | 168.7 | 157.6 | 147.6 | 136.4 | 125.4 | 111.6 | 92.8 | 79.01 | 61.58 | 46.44 | 52.63 | 318 | 3789 | 5551 | 435.4 | 10.49
515 | 323.3 | 379.8 | 393.2 | 434.8 | 578.3 | 3638 | 1701 | 554.8 | 544.7 | 522.8 | 494.1 | 455.9 | 422.2 | 414 | 434.8 | 455 | 477 | 487.2 | 500.9 | 513.4 | 527.6 | 523.4 | 513.2 | 498.6 | 477.3 | 453.6 | 430 | 398.6 | 363.3 | 325.6 | 289 | 248.6 | 214.2 | 193 | 177.9 | 172 | 172 | 174 | 174.2 | 178.8 | 184.1 | 201.2 | 197.1 | 184.5 | 169.5 | 160.3 | 146.8 | 135.8 | 120.9 | 103.7 | 86.67 | 67.2 | 48.48 | 35.23 | 42.86 | 294.3 | 3640 | 4951 | 381.4
520 | 289.6 | 329.1 | 381.9 | 382.4 | 445.3 | 1592 | 3390 | 773.1 | 514.7 | 486.2 | 449.6 | 399.3 | 360.6 | 356.8 | 366.2 | 384.3 | 402.7 | 417.6 | 425.8 | 440.4 | 449.7 | 455.7 | 452 | 441.3 | 424.9 | 411.8 | 393.4 | 373.7 | 345.6 | 312.6 | 276.8 | 244.1 | 209.1 | 186.7 | 174.1 | 170.3 | 172.3 | 172.9 | 176.1 | 180.9 | 185.4 | 199 | 203.7 | 195 | 175.9 | 163.2 | 152.7 | 141.4 | 124.1 | 105.1 | 91.02 | 70.49 | 50.5 | 36.9 | 27.51 | 35.88 | 276.6 | 3304 | 4620
525 | 243.5 | 263.6 | 344.4 | 351.7 | 397 | 523.9 | 3686 | 1687 | 500.9 | 455.1 | 406 | 356 | 309.9 | 302.9 | 309.7 | 326.7 | 341.5 | 353.2 | 363.8 | 370.3 | 387 | 390.4 | 391.4 | 385.9 | 378.5 | 368.9 | 359.9 | 346.1 | 327 | 295.8 | 261.8 | 229.5 | 202.8 | 181.7 | 167 | 163.7 | 165.7 | 168 | 171.5 | 176.4 | 181.6 | 190.8 | 195.7 | 195.7 | 179.5 | 164.1 | 152.8 | 141 | 126.8 | 108.6 | 89.68 | 70.87 | 53.03 | 37.16 | 26.47 | 18.42 | 31.21 | 255.1 | 3053
530 | 219.5 | 222.7 | 304.2 | 324.6 | 358.1 | 401.6 | 1723 | 3302 | 692.2 | 414.5 | 365.2 | 303.7 | 271.1 | 256 | 262.5 | 274 | 283.4 | 292.3 | 305.1 | 318.7 | 330.4 | 331.3 | 334.9 | 338.8 | 330.9 | 331 | 322.2 | 314.5 | 299.1 | 274.1 | 246.6 | 214.5 | 187 | 168.4 | 158.4 | 152.1 | 157.4 | 159.5 | 162.1 | 167.6 | 175.4 | 178.7 | 183.4 | 186.8 | 180.5 | 160.7 | 149.4 | 137.5 | 122.6 | 105.7 | 86.31 | 68.97 | 50.98 | 36.86 | 25.58 | 19.37 | 17.72 | 30.39 | 241.4
535 | 207.8 | 204.6 | 239.1 | 305.9 | 314.4 | 345.3 | 502 | 3662 | 1517 | 368.4 | 320.5 | 265.8 | 231 | 215.1 | 212.9 | 227 | 236 | 245.7 | 256.5 | 265 | 273.1 | 285.5 | 287.5 | 288.6 | 292.9 | 289.9 | 287.4 | 286.7 | 268.1 | 249.5 | 221.7 | 196.2 | 171 | 155.6 | 142.8 | 140.1 | 142.9 | 146.4 | 151 | 158.3 | 161.4 | 167.3 | 167.6 | 169.4 | 169.1 | 158.3 | 140.3 | 129.3 | 116.1 | 97.74 | 83.65 | 65.89 | 50.43 | 37.56 | 26.32 | 20.07 | 17.3 | 18.37 | 32.31
540 | 193.6 | 176.3 | 193.9 | 255.1 | 281.4 | 300.5 | 346.7 | 1782 | 2966 | 543.4 | 280.1 | 233.7 | 191.4 | 179.3 | 178.6 | 185.3 | 194.3 | 204.6 | 212.8 | 222.9 | 227.1 | 236.6 | 242.7 | 249.3 | 248.3 | 251.9 | 251.6 | 250.9 | 238.8 | 220.1 | 198.8 | 176.7 | 154.4 | 138.5 | 129.6 | 129 | 130.2 | 136.3 | 138.5 | 143.1 | 148.5 | 155.4 | 156.6 | 152.2 | 153 | 149.3 | 134.3 | 120.7 | 108.7 | 94.08 | 78.23 | 62.98 | 48.16 | 35.45 | 26.91 | 21.66 | 19.25 | 19.19 | 21.7
545 | 161.4 | 156.9 | 159.7 | 212.1 | 251.6 | 262.4 | 292.7 | 451.5 | 3348 | 1227 | 247.7 | 198.6 | 163.2 | 145.9 | 146.8 | 153.9 | 158.7 | 166.9 | 176 | 180.9 | 190.1 | 196.6 | 202.5 | 206.3 | 209.7 | 212.4 | 216.6 | 215 | 210.5 | 194.1 | 179.6 | 156.7 | 138.6 | 121.6 | 118 | 113.5 | 116.4 | 122.7 | 124.3 | 130.1 | 132.4 | 139.7 | 138.6 | 140.7 | 134.1 | 132.6 | 123.8 | 111.6 | 97.69 | 83.74 | 72.21 | 58.36 | 45.95 | 33.15 | 26.12 | 21.64 | 20.02 | 21.28 | 21.27
550 | 141.3 | 131 | 139.9 | 167.6 | 232.1 | 228.6 | 254 | 297.2 | 1637 | 2410 | 402.1 | 167.2 | 133.5 | 118.7 | 120.3 | 123.3 | 131.1 | 133.4 | 139.4 | 149.1 | 154.9 | 162.5 | 169.3 | 172.7 | 177.9 | 179.4 | 182.9 | 185.1 | 180.1 | 169.3 | 155.1 | 137.1 | 118.5 | 105.4 | 101.5 | 100.8 | 102.8 | 106 | 109.1 | 113.2 | 118 | 122.6 | 126 | 124.1 | 118.4 | 114.5 | 111.3 | 103.6 | 88.65 | 74.95 | 66.41 | 53.52 | 41.02 | 31.8 | 24.06 | 20.37 | 18.55 | 19.19 | 21.36
555 | 114.4 | 111.2 | 114.3 | 139.8 | 199.4 | 212 | 215.4 | 242.9 | 359.9 | 2822 | 957 | 145.8 | 111.5 | 98.32 | 98.2 | 100 | 104 | 109.1 | 109 | 120.2 | 127.3 | 132.9 | 137 | 141.6 | 146.2 | 150.9 | 152.9 | 155.7 | 153.2 | 146.8 | 133 | 116.9 | 102.7 | 90.06 | 86.6 | 86.05 | 87.22 | 90.27 | 95.93 | 99.36 | 103.4 | 107.3 | 107.9 | 108.1 | 105.2 | 98.7 | 95.55 | 91.61 | 79.97 | 66.8 | 57.87 | 46.33 | 35.38 | 26.78 | 22.07 | 18.74 | 16.63 | 17.5 | 19.96
560 | 108.2 | 93.68 | 101.1 | 119.1 | 148.6 | 190.9 | 188.1 | 215.6 | 219.5 | 1440 | 2052 | 278.4 | 89.3 | 77.42 | 78.09 | 79.03 | 82.21 | 86.34 | 92.4 | 94.04 | 98.9 | 107.1 | 113.9 | 116.4 | 119.8 | 125.4 | 130.8 | 129.9 | 127.5 | 122.9 | 111.1 | 97.45 | 86.48 | 78.16 | 74.92 | 71.45 | 75.5 | 77.83 | 81.62 | 84 | 88.34 | 90.32 | 91.36 | 92.31 | 89.15 | 84.5 | 78.71 | 77.92 | 73.08 | 59.26 | 49.12 | 39.01 | 30.63 | 24.01 | 18.57 | 15.69 | 15.31 | 15.17 | 16.51
565 | 93.92 | 81.91 | 81.15 | 96.52 | 118.6 | 179.3 | 170.7 | 180.4 | 177.1 | 266.8 | 2503 | 777 | 76.66 | 63.49 | 62.45 | 63.49 | 64.96 | 67.19 | 70.74 | 78.07 | 77.92 | 83.77 | 89.85 | 92.09 | 96.75 | 103.1 | 105.4 | 107.4 | 106.9 | 101.9 | 92.82 | 82.28 | 73.78 | 66.01 | 61.08 | 58.83 | 62.26 | 65.12 | 67.25 | 70.52 | 73.77 | 77.6 | 78.19 | 76.01 | 75.99 | 72.61 | 66.14 | 62.78 | 59.88 | 51.4 | 43.03 | 33.56 | 25.85 | 20.25 | 15.54 | 12.42 | 12.38 | 12.89 | 13.94
570 | 86.51 | 74.92 | 74.49 | 83.06 | 94.01 | 143.3 | 168.7 | 159.1 | 161.9 | 151 | 1302 | 1767 | 187.5 | 49.64 | 50.62 | 48.99 | 51.47 | 53.88 | 57.38 | 60.57 | 63.64 | 67.2 | 73.51 | 75.61 | 80.1 | 81.49 | 85.69 | 87.19 | 87.31 | 82.61 | 76.65 | 68.08 | 59.4 | 54.79 | 51.15 | 49.9 | 52.75 | 53.87 | 58.02 | 59.67 | 60.26 | 64.73 | 65.93 | 64.36 | 62.63 | 59.3 | 55.61 | 51.71 | 49.85 | 44.53 | 36.71 | 29.48 | 21.48 | 16.83 | 12.68 | 10.82 | 10.02 | 10.85 | 11.33
575 | 92.97 | 69.62 | 60.69 | 67.59 | 81.07 | 100.9 | 161.2 | 158.4 | 148.6 | 139.8 | 221 | 2308 | 590.6 | 44.3 | 38.61 | 41.32 | 42.09 | 41.25 | 44.91 | 48.81 | 50.57 | 52.99 | 55.01 | 58.55 | 63.96 | 66.76 | 68.6 | 70.06 | 71.06 | 67.11 | 63 | 55.19 | 48.75 | 44.98 | 42.66 | 40.43 | 42.65 | 44.37 | 46.08 | 48.43 | 51.77 | 51.42 | 53.26 | 53.97 | 52.62 | 49.16 | 45.54 | 42.93 | 39.05 | 36.09 | 31.21 | 24.77 | 18.05 | 13.47 | 10.61 | 9.065 | 7.787 | 8.099 | 10.54
580 | 92.94 | 71.25 | 57.11 | 58.01 | 76.57 | 88.55 | 139.5 | 165.4 | 146.9 | 140.6 | 125.4 | 1204 | 1437 | 140.1 | 31.89 | 32.15 | 34.53 | 33.95 | 36.53 | 37.72 | 39.88 | 43.5 | 45.21 | 47.5 | 50.12 | 52.62 | 55.59 | 57.93 | 58.52 | 55.03 | 50.08 | 44.71 | 39.78 | 35.87 | 34.36 | 35.38 | 34.62 | 37.64 | 36.8 | 39.75 | 43.45 | 42.59 | 44.47 | 44.85 | 43.54 | 39.14 | 39.2 | 35.85 | 32.14 | 28.05 | 26.9 | 20.66 | 15.65 | 12.56 | 9.047 | 7.195 | 6.715 | 7.501 | 7.426
585 | 97.86 | 68.54 | 57.87 | 53.09 | 67.79 | 79.15 | 112.5 | 170.2 | 153.7 | 151.4 | 121.2 | 185.4 | 1900 | 506.5 | 28.54 | 26.26 | 26.41 | 27.98 | 28.62 | 30.92 | 31.89 | 35.56 | 36.02 | 38.15 | 41.85 | 44.21 | 44.66 | 45.21 | 47.17 | 46.39 | 42.63 | 36.94 | 33.24 | 29.87 | 28.28 | 28.75 | 28.61 | 29.91 | 31.31 | 33.17 | 34.32 | 35.81 | 36.56 | 36.28 | 34.31 | 32.37 | 32.12 | 29.97 | 25.79 | 23.54 | 20.78 | 17.75 | 14.48 | 10.37 | 7.465 | 6.285 | 6.237 | 6.266 | 6.495
590 | 108.1 | 72.73 | 61.97 | 53.21 | 57.67 | 77.45 | 100 | 169.8 | 168.4 | 154.5 | 132.7 | 94.21 | 935.6 | 1368 | 105.7 | 22.51 | 21.25 | 22.84 | 23.68 | 24.28 | 26.79 | 28.46 | 29.29 | 31.71 | 33.73 | 35.64 | 36.03 | 38.49 | 39.46 | 37.69 | 34.48 | 31.35 | 28.37 | 24.75 | 23.87 | 23.43 | 24.49 | 25.66 | 24.76 | 26.82 | 28.63 | 29.44 | 29.64 | 30.37 | 28.52 | 27.45 | 25.82 | 24.11 | 21.56 | 18.49 | 16.84 | 14.97 | 12.91 | 9.38 | 6.53 | 5.275 | 5.242 | 5.368 | 5.688
595 | 117.7 | 84.67 | 62.63 | 50.3 | 57.17 | 73.8 | 100.1 | 151.7 | 185.6 | 169.9 | 143.2 | 99.14 | 132 | 1817 | 424 | 21.03 | 18.67 | 18.59 | 19.2 | 19.71 | 21.96 | 22.41 | 23.56 | 25.63 | 26.52 | 27.91 | 30.66 | 32.14 | 31.22 | 30.97 | 27.36 | 25.16 | 22.51 | 21.21 | 19.16 | 19.94 | 19.85 | 21.05 | 22.26 | 22.61 | 23.6 | 23.95 | 24.13 | 26.5 | 24.83 | 22.57 | 21.22 | 19.66 | 17.92 | 15.64 | 14 | 11.75 | 10.6 | 8.455 | 6.164 | 4.591 | 4.486 | 4.432 | 4.718
600 | 120.1 | 86.17 | 62.17 | 57.02 | 64.67 | 75.32 | 99.88 | 140.3 | 202.8 | 187.8 | 155.4 | 108 | 57.81 | 920.5 | 1188 | 75.97 | 16.03 | 15.1 | 15.57 | 17.59 | 18.28 | 18.53 | 19.12 | 20.67 | 22.05 | 23.32 | 24.88 | 26.03 | 25.79 | 25.88 | 23.95 | 21.88 | 18.96 | 17.28 | 16.38 | 16.69 | 16.81 | 17.86 | 18.2 | 18.25 | 19.7 | 20.25 | 20.27 | 20.89 | 19.77 | 19.1 | 18.39 | 17.89 | 15.27 | 13.83 | 11.02 | 9.65 | 8.26 | 7.605 | 5.785 | 4.275 | 4.098 | 4.536 | 4.467