## Sheet1
Report date: | 16:42:16, 09/02/2024
Sample: | 1
File name:
Run date: | 16:31:57, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 222.8
2 | 250.0/435.0 | 1198
3 | 255.0/280.0 | 252.3
4 | 275.0/355.0 | 4015
5 | 325.0/430.0 | 1922
6 | 330.0/435.0 | 1913
7 | 365.0/510.0 | 688.1
8 | 370.0/515.0 | 686.4
9 | 390.0/275.0 | 8.039
10 | 395.0/280.0 | 7.998
11 | 400.0/285.0 | 7.745
12 | 405.0/290.0 | 6.971
13 | 410.0/295.0 | 6.904
14 | 420.0/300.0 | 6.967
15 | 425.0/280.0 | 5.913
16 | 440.0/520.0 | 510.8
17 | 455.0/310.0 | 8.438
18 | 460.0/315.0 | 8.816
19 | 510.0/280.0 | 4.678
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 56.79 | 33.1 | 40.71 | 181.8 | 111.7 | 38.5 | 150.9 | 9999.9 | 9999.9 | 4283 | 35.28 | 16.27 | 13.25 | 10.36 | 7.029 | 7.097 | 6.455 | 6.255 | 5.101 | 5.346 | 5.512 | 5.041 | 5.081 | 5.539 | 4.99 | 5.645 | 6.078 | 5.219 | 5.754 | 6.383 | 7.442 | 8.841 | 7.974 | 6.205 | 6.148 | 5.227 | 5.662 | 6.072 | 5.432 | 4.63 | 4.645 | 3.959 | 3.891 | 4.153 | 3.631 | 3.626 | 2.396 | 2.143 | 2.06 | 1.714 | 1.983 | 2.551 | 3.379 | 3.304 | 2.562 | 2.188 | 2.36 | 2.228 | 1.953
275 | 50.72 | 33.06 | 27.05 | 76.22 | 222.8 | 103.4 | 60.16 | 768.6 | 9999.9 | 9999.9 | 3962 | 33.91 | 16.64 | 12.75 | 9.796 | 8.571 | 7.282 | 6.253 | 5.614 | 5.762 | 5.877 | 5.042 | 5.113 | 5.49 | 5.65 | 5.743 | 5.753 | 5.356 | 5.862 | 5.745 | 6.203 | 7.011 | 8.039 | 7.498 | 6.525 | 5.304 | 5.313 | 5.949 | 5.922 | 5.357 | 4.625 | 4.763 | 4.047 | 3.978 | 3.584 | 3.348 | 3.122 | 2.393 | 2.239 | 2.031 | 1.615 | 2.341 | 2.412 | 2.863 | 3.666 | 3.305 | 2.4 | 2.192 | 2.435
280 | 88.69 | 45.03 | 36.52 | 43.83 | 123.4 | 252.3 | 113 | 139 | 795.2 | 9999.9 | 9999.9 | 3703 | 31.52 | 15.45 | 11.11 | 9.618 | 8.336 | 7.166 | 6.846 | 6.539 | 6.267 | 5.383 | 5.481 | 5.586 | 5.455 | 5.001 | 5.566 | 5.434 | 5.432 | 5.699 | 5.814 | 5.814 | 7.134 | 7.998 | 7.625 | 5.714 | 4.894 | 5.125 | 5.472 | 5.913 | 5.292 | 4.588 | 4.664 | 4.246 | 3.795 | 3.43 | 3.321 | 3.132 | 2.241 | 2.173 | 1.931 | 2.098 | 2.051 | 2.082 | 2.508 | 3.584 | 4.678 | 3.346 | 2.489
285 | 217.2 | 102.2 | 67.14 | 57.52 | 76.72 | 236.3 | 334.2 | 235.1 | 302 | 961 | 9999.9 | 9999.9 | 3445 | 30.96 | 15.34 | 11.45 | 9.047 | 8.341 | 7.808 | 6.273 | 5.722 | 6.326 | 5.974 | 5.758 | 5.488 | 5.727 | 5.956 | 6.379 | 5.656 | 5.656 | 5.554 | 4.941 | 5.983 | 7.105 | 7.745 | 6.943 | 5.621 | 4.713 | 4.532 | 5.196 | 5.561 | 4.615 | 4.614 | 4.881 | 4.193 | 4.289 | 4.031 | 3.492 | 2.995 | 2.247 | 2.437 | 2.537 | 2.29 | 2.312 | 2.484 | 2.58 | 2.937 | 4.651 | 5.192
290 | 482.8 | 270.5 | 141.4 | 111.4 | 114.8 | 201.2 | 487.6 | 616.4 | 636.9 | 701.6 | 1269 | 9999.9 | 9999.9 | 3160 | 27.68 | 15.59 | 11.37 | 9.76 | 8.018 | 7.293 | 6.889 | 6.845 | 6.117 | 5.819 | 6.299 | 5.84 | 5.99 | 6.416 | 6.05 | 5.44 | 5.084 | 5.478 | 5.112 | 5.825 | 6.656 | 6.971 | 6.525 | 5.826 | 4.966 | 4.915 | 5.295 | 5.633 | 5.461 | 4.992 | 4.41 | 4.664 | 4.896 | 4.291 | 3.676 | 3.262 | 2.708 | 2.648 | 2.573 | 2.456 | 2.554 | 2.856 | 3.397 | 3.99 | 5.515
295 | 831.5 | 485.3 | 255 | 184.1 | 194.9 | 312.8 | 542.5 | 1032 | 1204 | 1190 | 1090 | 1319 | 9999.9 | 9999.9 | 3016 | 28.5 | 14.64 | 12.16 | 9.243 | 8.574 | 8.247 | 7.19 | 6.659 | 6.481 | 6.876 | 5.746 | 6.936 | 6.658 | 5.913 | 6.272 | 5.543 | 5.407 | 5.017 | 4.773 | 5.149 | 5.929 | 6.904 | 6.298 | 5.515 | 4.6 | 5.129 | 5.101 | 5.673 | 5.577 | 5.89 | 5.814 | 5.953 | 4.944 | 5.018 | 4.294 | 3.864 | 3.197 | 2.908 | 3.003 | 3.624 | 3.696 | 4.202 | 5.35 | 5.993
300 | 1142 | 695.2 | 394.1 | 270 | 312.3 | 463.5 | 749.1 | 1183 | 1791 | 1814 | 1543 | 1029 | 1114 | 9999.9 | 9999.9 | 2884 | 27.29 | 15.35 | 13.06 | 10.77 | 9.238 | 7.986 | 7.926 | 7.032 | 6.889 | 6.705 | 6.776 | 6.572 | 6.487 | 6.495 | 5.584 | 5.424 | 5.172 | 5.364 | 4.339 | 5.428 | 6.251 | 6.262 | 6.967 | 5.309 | 4.853 | 5.111 | 6.166 | 6.851 | 7.265 | 6.602 | 6.851 | 6.031 | 5.56 | 5.213 | 4.621 | 4.236 | 3.758 | 3.523 | 3.835 | 4.684 | 5.885 | 6.774 | 7.565
305 | 1352 | 895.1 | 530 | 400.2 | 432.9 | 633.1 | 971.6 | 1419 | 1979 | 2427 | 2075 | 1377 | 715.8 | 1001 | 9999.9 | 9999.9 | 2693 | 26.45 | 15.86 | 12.86 | 10.55 | 8.93 | 8.677 | 8.335 | 7.033 | 7.267 | 7.283 | 6.856 | 6.765 | 6.138 | 5.49 | 5.829 | 5.518 | 5.335 | 4.726 | 4.928 | 4.957 | 5.491 | 6.506 | 6.176 | 5.671 | 4.944 | 5.36 | 6.305 | 7.456 | 7.738 | 7.695 | 6.725 | 6.33 | 6.021 | 5.196 | 4.804 | 4.726 | 4.085 | 4.691 | 5.36 | 6.68 | 7.629 | 9.417
310 | 1568 | 1034 | 675.8 | 534.9 | 643 | 850.4 | 1228 | 1697 | 2207 | 2650 | 2602 | 1775 | 972.9 | 509.1 | 895.1 | 9999.9 | 9999.9 | 2736 | 26.98 | 16.33 | 13.48 | 11.37 | 9.349 | 8.426 | 7.605 | 7.928 | 7.52 | 8.084 | 6.842 | 7.106 | 5.816 | 5.534 | 4.925 | 5.352 | 5.053 | 4.794 | 4.797 | 5.043 | 5.427 | 5.906 | 6.498 | 5.788 | 5.965 | 5.813 | 7.414 | 8.438 | 8.195 | 7.288 | 6.784 | 6.676 | 6.282 | 5.819 | 5.924 | 5.29 | 6.284 | 6.828 | 7.989 | 9.963 | 11.65
315 | 1600 | 1113 | 809.5 | 694.5 | 848.3 | 1121 | 1507 | 1995 | 2471 | 2762 | 2794 | 2235 | 1280 | 672.6 | 347.1 | 843.6 | 9999.9 | 9999.9 | 2721 | 27.57 | 17.16 | 14.38 | 11.47 | 9.3 | 9.366 | 8.59 | 8.545 | 8.095 | 7.873 | 6.74 | 6.731 | 5.782 | 5.01 | 5.431 | 5.055 | 4.477 | 4.721 | 4.883 | 4.651 | 5.634 | 5.938 | 6.67 | 6.122 | 6.394 | 7.117 | 8.278 | 8.816 | 7.952 | 7.347 | 7.253 | 6.912 | 6.698 | 6.936 | 6.879 | 7.747 | 8.727 | 9.463 | 12.12 | 13.94
320 | 1591 | 1186 | 897.3 | 861.3 | 1063 | 1402 | 1789 | 2245 | 2678 | 2956 | 2905 | 2504 | 1657 | 877.8 | 421.1 | 240.7 | 800.4 | 9999.9 | 9999.9 | 2750 | 27.96 | 18.02 | 15.35 | 12.01 | 10.29 | 9.512 | 8.605 | 8.347 | 8.562 | 7.348 | 6.871 | 6.313 | 5.45 | 5.343 | 4.563 | 4.948 | 4.923 | 4.2 | 4.335 | 4.85 | 5.35 | 6.827 | 6.995 | 6.776 | 6.67 | 7.441 | 8.376 | 8.055 | 7.587 | 7.697 | 7.755 | 7.259 | 7.61 | 7.902 | 9.004 | 10.18 | 11.71 | 13.62 | 16.05
325 | 1573 | 1221 | 974.3 | 1002 | 1256 | 1630 | 2039 | 2502 | 2903 | 3115 | 3070 | 2592 | 1998 | 1133 | 532.8 | 265.3 | 184.3 | 782.2 | 9999.9 | 9999.9 | 2835 | 29.44 | 19.85 | 15.44 | 12.43 | 11.22 | 9.6 | 10.01 | 8.185 | 8.254 | 7.356 | 6.231 | 5.971 | 5.57 | 5.333 | 4.933 | 4.948 | 4.696 | 4.28 | 4.172 | 4.58 | 6.216 | 6.77 | 7.181 | 6.795 | 7.76 | 8.012 | 8.088 | 7.886 | 8.403 | 7.641 | 7.938 | 8.37 | 8.502 | 10.93 | 12.57 | 13.95 | 16.34 | 18.83
330 | 1624 | 1232 | 1008 | 1094 | 1406 | 1833 | 2302 | 2787 | 3119 | 3322 | 3257 | 2769 | 2073 | 1437 | 706.3 | 342.2 | 181.1 | 140.8 | 763.9 | 9999.9 | 9999.9 | 3057 | 30.84 | 21.16 | 16.95 | 12.92 | 11.75 | 10.64 | 9.451 | 8.164 | 7.564 | 6.822 | 6.525 | 5.854 | 5.316 | 5.164 | 4.547 | 4.475 | 4.495 | 4.605 | 4.766 | 5.433 | 6.425 | 6.946 | 7.996 | 8.341 | 8.211 | 7.885 | 7.443 | 8.285 | 8.033 | 8.282 | 8.891 | 9.383 | 11.52 | 12.99 | 14.97 | 18.03 | 20.65
335 | 1593 | 1189 | 1076 | 1186 | 1534 | 2023 | 2529 | 3014 | 3363 | 3539 | 3459 | 2979 | 2253 | 1493 | 959.2 | 456 | 233.7 | 127.7 | 113.8 | 772.7 | 9999.9 | 9999.9 | 3418 | 33.73 | 22.56 | 18.99 | 15.19 | 13.13 | 10.36 | 9.511 | 8.429 | 7.013 | 7.01 | 6.188 | 5.865 | 5.15 | 4.697 | 5.375 | 4.705 | 4.807 | 4.579 | 5.07 | 5.791 | 6.457 | 7.948 | 8.168 | 8.25 | 7.575 | 7.164 | 8.336 | 8.432 | 8.7 | 9.416 | 10.16 | 12.49 | 13.65 | 16.67 | 19.57 | 21.78
340 | 1567 | 1215 | 1076 | 1237 | 1626 | 2177 | 2725 | 3232 | 3563 | 3708 | 3639 | 3168 | 2424 | 1588 | 1023 | 673.4 | 309.5 | 159.3 | 95.14 | 108.4 | 789.6 | 9999.9 | 9999.9 | 3819 | 36.64 | 25.76 | 21.08 | 15.61 | 13.29 | 10.12 | 9.367 | 8.111 | 7.121 | 6.559 | 5.619 | 5.331 | 5.005 | 4.692 | 4.863 | 5.01 | 4.851 | 4.706 | 5.353 | 6.259 | 7.183 | 8.15 | 8.576 | 8.196 | 7.137 | 7.695 | 8.172 | 9.16 | 10.2 | 11 | 13.44 | 14.2 | 17.42 | 20.61 | 23.69
345 | 1555 | 1196 | 1086 | 1282 | 1686 | 2260 | 2811 | 3357 | 3719 | 3873 | 3789 | 3353 | 2597 | 1700 | 1045 | 748.1 | 472.8 | 208 | 123.3 | 89.98 | 114.8 | 808.2 | 9999.9 | 9999.9 | 4328 | 39.35 | 26.84 | 22.15 | 16.44 | 12.72 | 10.69 | 9.382 | 8.094 | 6.851 | 5.86 | 5.824 | 5.326 | 5.361 | 5.242 | 4.94 | 4.789 | 4.961 | 5.613 | 6.113 | 6.59 | 7.961 | 8.681 | 8.178 | 7.267 | 7.822 | 8.05 | 8.804 | 10.25 | 11.15 | 13.64 | 15.24 | 18.21 | 21.2 | 24.5
350 | 1464 | 1147 | 1088 | 1281 | 1734 | 2286 | 2902 | 3451 | 3798 | 3961 | 3899 | 3421 | 2699 | 1814 | 1151 | 733.6 | 587 | 352.3 | 174.5 | 124.1 | 104.3 | 128.1 | 817.4 | 9999.9 | 9999.9 | 4942 | 44.61 | 30.91 | 22.69 | 17.11 | 12.71 | 9.93 | 8.965 | 7.33 | 6.913 | 5.982 | 5.581 | 5.271 | 5.136 | 5.193 | 5.214 | 5.38 | 5.631 | 5.661 | 6.764 | 7.588 | 8.02 | 8.114 | 8.479 | 8.166 | 8.008 | 9.285 | 9.941 | 11.62 | 13.72 | 16.24 | 18.6 | 22.06 | 23.88
355 | 1431 | 1112 | 1068 | 1258 | 1714 | 2278 | 2905 | 3466 | 3829 | 4015 | 3881 | 3446 | 2775 | 1919 | 1252 | 803.5 | 557.8 | 502.7 | 289.7 | 180 | 144.9 | 121.1 | 142.2 | 862.7 | 9999.9 | 9999.9 | 5340 | 47.66 | 31.55 | 23.44 | 16.24 | 12 | 10.51 | 8.852 | 7.767 | 6.832 | 6.495 | 5.843 | 5.474 | 4.977 | 5.068 | 5.406 | 5.454 | 5.874 | 6.684 | 7.032 | 7.431 | 7.402 | 7.99 | 8.839 | 8.291 | 8.033 | 9.907 | 11.72 | 13.09 | 16.15 | 18.96 | 21.56 | 24.92
360 | 1398 | 1063 | 1072 | 1248 | 1666 | 2218 | 2838 | 3433 | 3796 | 3978 | 3856 | 3431 | 2794 | 1976 | 1326 | 879.9 | 599.8 | 482.5 | 474.8 | 286.9 | 206.6 | 167 | 138 | 152.8 | 846.7 | 9999.9 | 9999.9 | 6068 | 49.7 | 30.56 | 23.26 | 16.86 | 11.08 | 9.645 | 7.902 | 7.432 | 6.39 | 6.194 | 5.766 | 5.447 | 5.431 | 5.484 | 5.869 | 5.944 | 6.293 | 6.463 | 6.868 | 6.473 | 6.714 | 8.057 | 8.554 | 9.057 | 9.507 | 11.15 | 13.64 | 16.11 | 18.11 | 20.4 | 24.51
365 | 1299 | 1057 | 1012 | 1206 | 1620 | 2146 | 2751 | 3263 | 3645 | 3837 | 3751 | 3360 | 2760 | 1993 | 1393 | 963.5 | 691.7 | 516.5 | 498.6 | 476.9 | 304.7 | 233.3 | 186.1 | 144.1 | 153.6 | 901.2 | 9999.9 | 9999.9 | 6205 | 49.1 | 30.84 | 21.89 | 15.57 | 11.35 | 9.715 | 8.342 | 7.184 | 7.075 | 6.258 | 5.891 | 5.983 | 5.637 | 5.726 | 6.258 | 6.53 | 6.152 | 6.759 | 6.048 | 6.772 | 7.47 | 8.869 | 8.549 | 9.611 | 10.76 | 12.7 | 15.09 | 17.11 | 20.01 | 23.62
370 | 1255 | 997.3 | 1004 | 1186 | 1535 | 2006 | 2550 | 3088 | 3442 | 3629 | 3575 | 3218 | 2675 | 1992 | 1436 | 1040 | 771.2 | 608.9 | 520.9 | 554 | 488.9 | 330.2 | 258.5 | 197 | 149.8 | 158 | 926 | 9999.9 | 9999.9 | 6148 | 49.57 | 29.53 | 21.14 | 14.98 | 11.88 | 9.192 | 8.432 | 7.799 | 6.452 | 6.399 | 6.143 | 5.538 | 6.31 | 6.13 | 5.884 | 6.55 | 6.521 | 5.806 | 6.153 | 7.15 | 7.852 | 9.056 | 9.639 | 10.89 | 11.84 | 14.36 | 17.14 | 19.01 | 22.37
375 | 1193 | 953.1 | 974.2 | 1107 | 1425 | 1897 | 2367 | 2878 | 3214 | 3395 | 3350 | 3053 | 2573 | 1956 | 1461 | 1106 | 872.2 | 716.7 | 619 | 577.6 | 630.1 | 496.2 | 350 | 272.3 | 203.9 | 154.3 | 167.8 | 965.4 | 9999.9 | 9999.9 | 6198 | 47.8 | 30.11 | 21 | 14.05 | 11.27 | 9.053 | 8.317 | 6.68 | 6.337 | 5.8 | 6.132 | 6.143 | 6.022 | 6.484 | 6.687 | 6.514 | 6.099 | 5.762 | 6.906 | 7.897 | 8.541 | 9.706 | 10.22 | 11.73 | 13.19 | 15.68 | 18.02 | 20.79
380 | 1143 | 932.6 | 935.6 | 1080 | 1351 | 1737 | 2165 | 2611 | 2955 | 3132 | 3097 | 2877 | 2481 | 1940 | 1494 | 1187 | 961.9 | 826.6 | 738.1 | 681 | 653.4 | 686.3 | 508.6 | 375.3 | 288.5 | 218.2 | 170 | 185.6 | 999 | 9999.9 | 9999.9 | 5886 | 46.21 | 28.34 | 20.45 | 13.82 | 10.58 | 8.813 | 7.38 | 7.755 | 6.62 | 6.018 | 6.092 | 6.225 | 6.109 | 6.465 | 6.214 | 6.284 | 5.837 | 6.52 | 7.487 | 7.842 | 9.238 | 9.922 | 12.02 | 12.41 | 15.23 | 16.93 | 19.24
385 | 1050 | 933 | 913.1 | 1038 | 1296 | 1627 | 1983 | 2367 | 2695 | 2908 | 2901 | 2725 | 2373 | 1915 | 1540 | 1260 | 1075 | 952.1 | 877.4 | 817.2 | 768.2 | 750.1 | 730.5 | 525.4 | 403.3 | 316.9 | 244.9 | 192.5 | 192.8 | 1010 | 9999.9 | 9999.9 | 5740 | 44.29 | 26.27 | 19.38 | 13.24 | 10.62 | 8.305 | 7.798 | 7.187 | 6.596 | 6.226 | 6.137 | 5.885 | 6.913 | 6.14 | 6.244 | 5.901 | 6.775 | 6.924 | 7.551 | 8.292 | 9.862 | 11.4 | 11.9 | 14.02 | 15.52 | 18.08
390 | 1045 | 931.6 | 935.6 | 1017 | 1222 | 1487 | 1787 | 2145 | 2467 | 2658 | 2703 | 2571 | 2301 | 1917 | 1582 | 1347 | 1197 | 1093 | 1030 | 975.8 | 925.9 | 862.3 | 850.9 | 766 | 565.5 | 448.8 | 360.6 | 275 | 197.1 | 195.4 | 955.4 | 9999.9 | 9999.9 | 5746 | 41.2 | 25.94 | 18.18 | 12.74 | 9.685 | 8.606 | 7.913 | 7.031 | 6.434 | 6.538 | 6.425 | 6.518 | 6.466 | 6.197 | 5.731 | 6.8 | 6.657 | 7.394 | 8.747 | 8.912 | 10.83 | 11.27 | 13.69 | 14.4 | 16.58
395 | 1016 | 901.1 | 919.5 | 1005 | 1171 | 1392 | 1674 | 1978 | 2264 | 2481 | 2529 | 2465 | 2237 | 1910 | 1648 | 1453 | 1317 | 1243 | 1183 | 1156 | 1096 | 1026 | 950.8 | 932.1 | 796.9 | 605.1 | 498.1 | 377.9 | 277.6 | 190.2 | 179.5 | 997.9 | 9999.9 | 9999.9 | 5186 | 38.57 | 23.4 | 17.25 | 11.78 | 9.737 | 8.162 | 7.234 | 7.402 | 7.105 | 5.647 | 6.466 | 6.75 | 6.632 | 5.958 | 6.845 | 7.085 | 7.718 | 7.89 | 9.124 | 9.532 | 11.05 | 13.08 | 15.01 | 14.79
400 | 1021 | 945.8 | 942.3 | 1019 | 1149 | 1326 | 1539 | 1838 | 2105 | 2316 | 2412 | 2362 | 2206 | 1940 | 1709 | 1548 | 1441 | 1389 | 1358 | 1329 | 1283 | 1218 | 1122 | 1031 | 998.1 | 815.7 | 635.9 | 501.4 | 369.2 | 252.5 | 167.1 | 166.2 | 931.2 | 9999.9 | 9999.9 | 4771 | 36.14 | 22.6 | 16.8 | 12.31 | 9.101 | 7.626 | 7.623 | 6.922 | 6.662 | 6.691 | 6.683 | 6.105 | 6.408 | 7.067 | 7.059 | 7.867 | 8.236 | 8.951 | 9.613 | 11.28 | 11.72 | 13.72 | 13.75
405 | 947.5 | 935 | 956.5 | 1016 | 1129 | 1307 | 1438 | 1687 | 1959 | 2193 | 2301 | 2299 | 2159 | 1963 | 1771 | 1649 | 1563 | 1527 | 1522 | 1501 | 1461 | 1393 | 1305 | 1188 | 1104 | 1041 | 829.1 | 632.1 | 470.8 | 323.7 | 208.5 | 139.1 | 145.4 | 885.9 | 9999.9 | 9999.9 | 4829 | 35.37 | 20.78 | 15.07 | 10.87 | 8.898 | 8.18 | 7.87 | 6.795 | 7.58 | 6.576 | 6.554 | 6.365 | 7.077 | 7.516 | 7.721 | 8.24 | 8.62 | 9.449 | 10.23 | 11.17 | 12.38 | 14
410 | 943.7 | 985.8 | 997.3 | 1062 | 1132 | 1244 | 1385 | 1588 | 1867 | 2096 | 2241 | 2232 | 2127 | 1973 | 1806 | 1718 | 1663 | 1649 | 1658 | 1647 | 1614 | 1560 | 1458 | 1350 | 1224 | 1148 | 1033 | 774.6 | 566.4 | 394.8 | 262.1 | 170.1 | 115.3 | 132.1 | 870.3 | 9999.9 | 9999.9 | 4367 | 31.97 | 20.47 | 14.4 | 11.72 | 9.029 | 7.662 | 7.182 | 7.43 | 7.128 | 6.706 | 6.67 | 7.417 | 7.318 | 7.755 | 8.312 | 8.86 | 8.979 | 10.33 | 10.66 | 11.89 | 13.28
415 | 956.6 | 981.6 | 1057 | 1098 | 1147 | 1230 | 1350 | 1537 | 1784 | 2027 | 2165 | 2162 | 2096 | 1962 | 1846 | 1765 | 1742 | 1741 | 1759 | 1758 | 1739 | 1686 | 1600 | 1481 | 1346 | 1209 | 1126 | 939.5 | 668.5 | 467.7 | 314 | 205.6 | 138.5 | 97.66 | 120.3 | 892.6 | 9999.9 | 9999.9 | 4046 | 30.85 | 19.88 | 14.02 | 10.48 | 8.45 | 7.428 | 8.071 | 6.684 | 6.605 | 7.091 | 8.16 | 7.419 | 7.947 | 8.841 | 8.567 | 9.848 | 10.54 | 11.14 | 11.44 | 12.35
420 | 968.8 | 1019 | 1062 | 1104 | 1154 | 1179 | 1302 | 1486 | 1723 | 1953 | 2103 | 2110 | 2048 | 1937 | 1844 | 1792 | 1782 | 1791 | 1820 | 1837 | 1826 | 1763 | 1691 | 1575 | 1435 | 1296 | 1148 | 1043 | 792.4 | 534.9 | 363.2 | 241.4 | 163.2 | 111.9 | 84.05 | 114.6 | 893.3 | 9999.9 | 9999.9 | 3673 | 29.69 | 18.53 | 14.1 | 10.32 | 8.43 | 8.039 | 7.268 | 7.084 | 7.262 | 7.628 | 7.834 | 8.211 | 8.506 | 8.996 | 9.891 | 10.13 | 11.44 | 11.32 | 12.13
425 | 950.1 | 989.8 | 1109 | 1132 | 1159 | 1190 | 1261 | 1437 | 1652 | 1881 | 2033 | 2034 | 1987 | 1905 | 1842 | 1804 | 1804 | 1818 | 1876 | 1891 | 1878 | 1826 | 1757 | 1645 | 1512 | 1361 | 1187 | 1035 | 883.7 | 616.4 | 406.5 | 279.5 | 189.6 | 131.4 | 96.73 | 74.04 | 109.8 | 889.5 | 9999.9 | 9999.9 | 3514 | 27.91 | 18.9 | 13.85 | 10.53 | 8.491 | 7.483 | 7.652 | 7.757 | 7.625 | 7.933 | 8.205 | 8.319 | 9.003 | 9.545 | 10.53 | 10.21 | 10.96 | 12.05
430 | 910.1 | 999.6 | 1109 | 1147 | 1193 | 1166 | 1219 | 1380 | 1604 | 1823 | 1963 | 1970 | 1913 | 1860 | 1813 | 1811 | 1805 | 1852 | 1892 | 1922 | 1910 | 1865 | 1784 | 1681 | 1551 | 1391 | 1239 | 1049 | 881.7 | 704.3 | 467.3 | 312.2 | 217.9 | 156.8 | 114.6 | 85.95 | 66.91 | 107 | 842.1 | 9999.9 | 9999.9 | 3537 | 28.78 | 18.52 | 12.66 | 10.31 | 9.013 | 7.499 | 7.553 | 7.884 | 8.542 | 8.571 | 9.145 | 9.35 | 9.54 | 10.02 | 10.38 | 11.75 | 11.26
435 | 949.5 | 1023 | 1069 | 1185 | 1198 | 1185 | 1185 | 1331 | 1528 | 1764 | 1902 | 1896 | 1853 | 1809 | 1771 | 1784 | 1798 | 1828 | 1878 | 1913 | 1913 | 1875 | 1799 | 1687 | 1555 | 1414 | 1252 | 1058 | 860.7 | 714.5 | 540.3 | 350.2 | 245.4 | 180.8 | 135.3 | 103.4 | 77.65 | 64.49 | 100.5 | 875.5 | 9999.9 | 9999.9 | 3393 | 27.72 | 17.02 | 13.01 | 10.26 | 8.316 | 8.011 | 8.426 | 8.991 | 8.557 | 9.316 | 9.182 | 9.431 | 10.49 | 11.22 | 11.22 | 10.84
440 | 884.2 | 1005 | 1086 | 1167 | 1181 | 1151 | 1172 | 1291 | 1465 | 1679 | 1788 | 1803 | 1776 | 1722 | 1722 | 1739 | 1750 | 1801 | 1845 | 1892 | 1892 | 1859 | 1779 | 1679 | 1532 | 1405 | 1241 | 1066 | 864.1 | 687.6 | 569.9 | 412.4 | 274.2 | 206.4 | 157.7 | 119.4 | 93.62 | 74.43 | 61.11 | 99.73 | 845.9 | 9999.9 | 9999.9 | 3320 | 26.81 | 17.29 | 13.6 | 10.21 | 8.444 | 9.095 | 8.566 | 8.889 | 9.05 | 9.873 | 10.09 | 10.15 | 10.75 | 10.22 | 10.76
445 | 855.6 | 932.7 | 1076 | 1167 | 1157 | 1131 | 1138 | 1224 | 1409 | 1562 | 1679 | 1697 | 1669 | 1645 | 1643 | 1668 | 1704 | 1729 | 1790 | 1811 | 1832 | 1790 | 1730 | 1631 | 1499 | 1359 | 1216 | 1043 | 854.1 | 671.1 | 532.5 | 450.7 | 323.4 | 226 | 178.5 | 141.4 | 112.2 | 88.85 | 69.05 | 57.93 | 96.66 | 848.2 | 9999.9 | 9999.9 | 2969 | 26.39 | 16.79 | 13.29 | 9.495 | 9.226 | 9.026 | 9.747 | 9.217 | 10.07 | 10.1 | 9.875 | 10.56 | 10.29 | 10.86
450 | 1146 | 926.6 | 1048 | 1103 | 1124 | 1090 | 1083 | 1153 | 1315 | 1476 | 1584 | 1567 | 1551 | 1535 | 1546 | 1563 | 1596 | 1636 | 1689 | 1735 | 1741 | 1702 | 1637 | 1537 | 1430 | 1298 | 1164 | 1003 | 836.7 | 657.1 | 512.3 | 431.8 | 367.1 | 261.6 | 203 | 163.6 | 132 | 107.3 | 84.71 | 64.65 | 56.16 | 97.24 | 848.7 | 9999.9 | 9999.9 | 3042 | 25.62 | 16.73 | 12.23 | 10.28 | 9.897 | 9.218 | 9.414 | 9.546 | 9.981 | 10.02 | 10.76 | 9.985 | 11.04
455 | 2376 | 873 | 981.5 | 1039 | 1074 | 1064 | 1029 | 1077 | 1220 | 1370 | 1441 | 1449 | 1415 | 1428 | 1421 | 1454 | 1499 | 1536 | 1577 | 1609 | 1626 | 1604 | 1553 | 1450 | 1339 | 1215 | 1095 | 952.2 | 797.8 | 644.2 | 506 | 408.5 | 365.5 | 311.1 | 231.3 | 184.7 | 153 | 124.5 | 101.4 | 80.48 | 64.9 | 56.77 | 98.03 | 869.9 | 9999.9 | 9999.9 | 2766 | 23.87 | 15.72 | 13.33 | 10.9 | 9.573 | 9.341 | 9.727 | 9.677 | 9.323 | 9.81 | 9.958 | 9.567
460 | 4152 | 1143 | 928.1 | 997.1 | 1020 | 977.6 | 959.4 | 1011 | 1115 | 1248 | 1316 | 1322 | 1291 | 1288 | 1312 | 1344 | 1373 | 1419 | 1457 | 1489 | 1508 | 1487 | 1436 | 1357 | 1250 | 1134 | 1019 | 895 | 751.6 | 619 | 499.7 | 406 | 345 | 327.7 | 274.3 | 208.3 | 174 | 146.2 | 120.5 | 99.33 | 81.27 | 63.52 | 56.27 | 96.69 | 817.1 | 9999.9 | 9999.9 | 2539 | 22.34 | 16.55 | 13.38 | 11.48 | 9.38 | 9.89 | 9.247 | 9.777 | 9.781 | 9.736 | 10.45
465 | 3567 | 2522 | 861.1 | 932.2 | 933.4 | 931.9 | 900.1 | 943.7 | 1023 | 1132 | 1187 | 1182 | 1159 | 1168 | 1182 | 1218 | 1248 | 1287 | 1330 | 1359 | 1380 | 1364 | 1309 | 1237 | 1138 | 1045 | 934.9 | 832.4 | 710.4 | 593.3 | 487.6 | 404.3 | 340.6 | 310.4 | 301.3 | 241.1 | 196.3 | 169.2 | 141.1 | 117.5 | 98.53 | 78.93 | 62.9 | 54.51 | 91.28 | 815.3 | 9999.9 | 9999.9 | 2574 | 24.48 | 17.18 | 13.53 | 11.6 | 10.5 | 9.846 | 9.367 | 9.61 | 9.343 | 9.483
470 | 1281 | 4609 | 1181 | 865.7 | 897.5 | 858.8 | 846.2 | 863.4 | 924.4 | 1012 | 1084 | 1063 | 1041 | 1032 | 1060 | 1095 | 1126 | 1160 | 1209 | 1225 | 1249 | 1232 | 1191 | 1121 | 1039 | 947.8 | 859.7 | 770.3 | 667.4 | 562.3 | 469.9 | 394.4 | 344.7 | 303.3 | 287.3 | 275.3 | 224.1 | 184.2 | 158.6 | 136.8 | 116.1 | 95.22 | 74.17 | 61.51 | 52.62 | 89.77 | 798.9 | 9999.9 | 9999.9 | 2513 | 25.65 | 18.29 | 14.5 | 12.04 | 10.55 | 10.19 | 9.864 | 9.728 | 9.347
475 | 578.5 | 4357 | 2773 | 784.8 | 814.4 | 793.7 | 778.3 | 781.2 | 848.8 | 918.3 | 978 | 946.6 | 922.7 | 918.4 | 943.7 | 978.4 | 1003 | 1040 | 1073 | 1099 | 1110 | 1107 | 1072 | 1017 | 940.1 | 862 | 792.5 | 711.4 | 628.8 | 536.7 | 454.9 | 391.3 | 341.5 | 307 | 279.5 | 278.2 | 256.2 | 207.3 | 176.2 | 154.3 | 131.4 | 111.4 | 92.63 | 75.24 | 62.17 | 52.45 | 92.22 | 818.3 | 9999.9 | 9999.9 | 1869 | 26.5 | 18.65 | 14.94 | 12.09 | 11.01 | 9.637 | 9.327 | 9.057
480 | 480.5 | 1592 | 5143 | 1114 | 770.5 | 748 | 719.4 | 753 | 780.4 | 859.9 | 882 | 860 | 819.2 | 824.3 | 844.1 | 871.1 | 902.1 | 925.1 | 960 | 995.3 | 1007 | 998 | 972.3 | 922.5 | 855.2 | 791.3 | 729.6 | 664.3 | 595 | 523.8 | 452.6 | 391.5 | 349.6 | 316.1 | 286.9 | 273.6 | 277.8 | 240.4 | 202.2 | 177.3 | 158.9 | 135.4 | 115.8 | 98.13 | 80.03 | 68.88 | 63.1 | 101.9 | 774.3 | 9999.9 | 9999.9 | 2084 | 29.97 | 20.8 | 16.09 | 12.34 | 10.29 | 9.281 | 9.114
485 | 449.6 | 593.2 | 4894 | 2863 | 718.1 | 725.1 | 722.5 | 748.9 | 759 | 808.7 | 819 | 789.4 | 744.7 | 745.3 | 754.7 | 787.1 | 811.3 | 837.7 | 874.5 | 901.7 | 918.3 | 910.3 | 887.4 | 863.4 | 800.5 | 747.2 | 696.2 | 645.8 | 582.1 | 519.8 | 457.2 | 396 | 359.1 | 328.5 | 302.9 | 286.7 | 276.5 | 274.9 | 240.6 | 205.6 | 186.2 | 172.4 | 152.1 | 135.7 | 116.5 | 102.7 | 86.55 | 82.02 | 115.8 | 816.9 | 9999.9 | 9999.9 | 1780 | 31.64 | 21.93 | 16.18 | 12.5 | 10.68 | 9.564
490 | 430.6 | 494.8 | 1809 | 5429 | 1098 | 716.8 | 720.3 | 766.4 | 783 | 797.2 | 807.3 | 735.4 | 687.4 | 666.2 | 685.9 | 714.4 | 731.9 | 765.7 | 789.1 | 815.7 | 841.2 | 840.4 | 834.8 | 800.6 | 761.2 | 714.1 | 676.3 | 639 | 591.3 | 537.2 | 477 | 426.8 | 383.8 | 350.3 | 327 | 312.1 | 297.9 | 300.5 | 289.8 | 255.1 | 237.4 | 221.3 | 205.9 | 185.1 | 166.2 | 143.2 | 131.6 | 117 | 107.1 | 137.7 | 846.1 | 9999.9 | 9999.9 | 1846 | 31.93 | 21.42 | 15.44 | 12.28 | 10.81
495 | 430.8 | 468.7 | 618.4 | 5452 | 2863 | 732.2 | 743.3 | 805 | 827.2 | 814.7 | 777.5 | 706.6 | 633.6 | 605.5 | 609.5 | 638.4 | 663.8 | 685.6 | 720.3 | 749 | 767.9 | 775.4 | 775.3 | 755.6 | 725.8 | 698.1 | 675.5 | 652 | 611.5 | 562.3 | 513.6 | 456.2 | 410.5 | 376.9 | 353.1 | 340.1 | 331.9 | 325.9 | 332.8 | 318.9 | 294.4 | 279.2 | 270.6 | 248.8 | 230.4 | 210.5 | 187.7 | 171.2 | 148.9 | 131.5 | 155.6 | 856.6 | 9999.9 | 9999.9 | 1759 | 29.08 | 20.15 | 15.13 | 12.5
500 | 429.9 | 424.1 | 494.6 | 2108 | 5684 | 1108 | 790.3 | 851.4 | 867.9 | 843.6 | 770.9 | 670.5 | 576.7 | 537.7 | 544.6 | 569.5 | 582.9 | 618.9 | 641.4 | 670.3 | 694.8 | 709.4 | 714.3 | 708.5 | 697 | 679.5 | 683.8 | 670.8 | 639 | 603.6 | 542.3 | 486.8 | 442.9 | 403.2 | 386.1 | 371.5 | 371.3 | 365.6 | 369.9 | 375.1 | 363.5 | 346.9 | 339.6 | 321.7 | 298 | 275.5 | 251.9 | 229.5 | 202.6 | 172.1 | 148.3 | 162.4 | 856.8 | 9999.9 | 9999.9 | 1658 | 27.54 | 18.53 | 13.78
505 | 399.1 | 424.7 | 473.1 | 673.9 | 6010 | 2829 | 831.1 | 887.3 | 907.7 | 859.4 | 774.1 | 645.7 | 524.6 | 478.6 | 480.5 | 494.6 | 519 | 544.3 | 571.6 | 600.4 | 628.4 | 651.8 | 663.1 | 667.7 | 669.5 | 673.2 | 682.3 | 682 | 669.2 | 631.5 | 581.7 | 525.6 | 473.6 | 430.7 | 406.8 | 399 | 401.1 | 405.3 | 404.8 | 416 | 425.9 | 408.9 | 402.8 | 391 | 367 | 337.3 | 311.5 | 289 | 252.8 | 215.3 | 179.6 | 144.8 | 154.2 | 841.4 | 9999.9 | 9999.9 | 1555 | 24.36 | 18.02
510 | 373.8 | 418.8 | 439.7 | 538.1 | 2446 | 5897 | 1225 | 922.5 | 945.2 | 866.8 | 757 | 618.6 | 481.8 | 422.4 | 412.1 | 433.7 | 453.3 | 481.3 | 499.8 | 536.3 | 569.8 | 592.8 | 608.4 | 633 | 645.4 | 660.1 | 672.4 | 688.1 | 683.3 | 654.2 | 604.7 | 540.3 | 490.4 | 449.2 | 423.1 | 416.5 | 423.5 | 428.3 | 437.1 | 448 | 462.8 | 473.5 | 455.6 | 439.6 | 422.3 | 388.8 | 364.1 | 331.8 | 292.5 | 255.1 | 207.1 | 162.7 | 120.3 | 130.8 | 805.8 | 9999.9 | 9999.9 | 1471 | 22.4
515 | 349.5 | 413.8 | 433.1 | 484.6 | 747.3 | 6532 | 2908 | 956.6 | 945.7 | 853.5 | 739.6 | 578 | 441.9 | 371.2 | 373.2 | 375.8 | 396.3 | 420.2 | 443.4 | 482.9 | 515.7 | 541 | 567.8 | 588.2 | 610.4 | 632.1 | 660.6 | 682.9 | 686.4 | 658.8 | 616 | 552.3 | 491.1 | 449.2 | 428 | 425.7 | 431.7 | 444.1 | 454 | 464.8 | 480.7 | 501.9 | 499.1 | 476.8 | 452 | 424.5 | 394.2 | 363.6 | 322.8 | 274.7 | 226.1 | 178.1 | 128.5 | 94.38 | 107.5 | 802.9 | 9999.9 | 9999.9 | 1300
520 | 325.8 | 356.6 | 408.2 | 467.1 | 568.4 | 2906 | 6039 | 1324 | 923.2 | 835.2 | 696.7 | 544 | 390.5 | 327.1 | 315.2 | 330.1 | 343.3 | 366.2 | 391.1 | 426.3 | 454.3 | 489.9 | 517 | 541.2 | 565.5 | 597.4 | 626.1 | 660.1 | 670.1 | 644.2 | 603.9 | 542.7 | 486.9 | 441.3 | 422.7 | 419.5 | 431.2 | 441.6 | 453.6 | 470.2 | 486.5 | 505.4 | 510.8 | 499.4 | 465.4 | 440.1 | 408.9 | 377.2 | 335.3 | 286.1 | 238 | 186.2 | 135.1 | 91.66 | 64.03 | 90.43 | 769.3 | 9999.9 | 9999.9
525 | 304.8 | 311.8 | 367.3 | 419.3 | 533.7 | 825.3 | 6768 | 2991 | 888 | 797.3 | 666.8 | 498.5 | 350.3 | 288.3 | 271.8 | 282.4 | 293.6 | 322.2 | 339.7 | 371.9 | 398.9 | 435.1 | 467 | 494.8 | 523.7 | 556.1 | 595.6 | 624.9 | 637.8 | 621.1 | 575.3 | 521 | 466.6 | 423.5 | 406 | 403.3 | 416.4 | 431.3 | 444.8 | 458.9 | 470.5 | 491.5 | 502.7 | 494.9 | 468.6 | 435.6 | 405.5 | 379.5 | 335.3 | 286 | 241.7 | 188.5 | 136.4 | 95.88 | 64.42 | 48 | 80.95 | 765.4 | 9999.9
530 | 267.6 | 291 | 346.4 | 399.8 | 472.7 | 612.5 | 3232 | 5982 | 1267 | 743.6 | 612.6 | 451.9 | 318.5 | 252.4 | 234.9 | 243.9 | 255.8 | 273.1 | 297.3 | 324 | 355.7 | 388.6 | 415.9 | 447.4 | 478.3 | 512 | 554.4 | 583.5 | 593.7 | 577.8 | 539.4 | 493.5 | 439.4 | 400.9 | 381 | 379.4 | 392.2 | 407.9 | 426.5 | 436.4 | 450.6 | 470.3 | 478.7 | 481.1 | 458.7 | 424.1 | 395.9 | 368.1 | 326.9 | 281.5 | 234.8 | 186 | 135.3 | 95.7 | 67.39 | 49.03 | 42.48 | 81.91 | 776.7
535 | 244.1 | 256.5 | 308 | 366.9 | 430.6 | 543.8 | 873.1 | 6956 | 2776 | 691.4 | 559.9 | 411.1 | 280.5 | 216.2 | 201.5 | 206 | 219.3 | 237.3 | 251.7 | 280.3 | 312.3 | 337.3 | 368.7 | 395.7 | 427.2 | 464.8 | 502.8 | 539 | 545 | 535 | 501.1 | 454.5 | 403.6 | 365.9 | 349.2 | 350.1 | 364.5 | 377.9 | 395.1 | 406.8 | 429.1 | 440.8 | 447.8 | 447.3 | 433.3 | 407.2 | 374.1 | 345.4 | 310.9 | 269.7 | 226.4 | 178.3 | 133.1 | 97.1 | 68.93 | 53.7 | 46.67 | 46.83 | 91.88
540 | 209.5 | 232.1 | 242.7 | 338.2 | 413.2 | 477.7 | 606 | 3499 | 5704 | 1027 | 497.8 | 368.1 | 245.9 | 192.2 | 176.1 | 177.1 | 186.7 | 203.9 | 215.9 | 239 | 268 | 293.5 | 317.9 | 350.5 | 382.7 | 414.2 | 449.7 | 480.2 | 500.4 | 485.7 | 457 | 411.8 | 362.4 | 333.6 | 318.1 | 319 | 328.8 | 345.3 | 356.7 | 376.6 | 385 | 404.5 | 412.7 | 405.9 | 395.1 | 382.2 | 351.5 | 324.1 | 291.1 | 251.4 | 214.6 | 171 | 129 | 94.88 | 70.61 | 55.17 | 51.6 | 53.98 | 57.95
545 | 211.4 | 197.1 | 212.8 | 282.5 | 368.8 | 421.6 | 541.3 | 879.6 | 6734 | 2432 | 461.9 | 322.4 | 215.7 | 158.6 | 146.5 | 147.5 | 157.3 | 171.4 | 187.2 | 206.1 | 222.6 | 253.6 | 278.4 | 304.9 | 332.7 | 366.5 | 399.8 | 426.6 | 445.7 | 432.9 | 401.6 | 367.1 | 323.4 | 298.3 | 280.1 | 282.4 | 295 | 310.1 | 322.7 | 336.4 | 351.9 | 365.5 | 372.2 | 366 | 357.1 | 345.1 | 323.9 | 298.8 | 268.3 | 233.1 | 198.6 | 158.3 | 123.8 | 93.83 | 70.23 | 57.28 | 55.4 | 59.45 | 62.8
550 | 180.8 | 162.4 | 197.8 | 234.9 | 329.8 | 385.4 | 471.3 | 567.2 | 3420 | 5129 | 759.6 | 278.8 | 182.6 | 135.4 | 122 | 125.4 | 130.8 | 140 | 155.4 | 172.1 | 193 | 212.4 | 235.7 | 264.7 | 286.4 | 315.5 | 343.8 | 367.6 | 381.6 | 378.3 | 352.8 | 318.7 | 286 | 263.3 | 244.5 | 249.2 | 258.2 | 269.6 | 282.7 | 295.5 | 312.1 | 324 | 330.5 | 325.5 | 315.8 | 303 | 288.8 | 268.4 | 238.6 | 206.1 | 177.6 | 144.6 | 113.5 | 84.31 | 67.26 | 57.04 | 53.32 | 57.98 | 63.29
555 | 169.7 | 149.8 | 166.3 | 196.1 | 271.7 | 353 | 399.2 | 479.8 | 745.5 | 6323 | 2023 | 250 | 156.8 | 115.5 | 105.7 | 102.7 | 107.8 | 115.4 | 127.7 | 140.4 | 162.5 | 179.5 | 199.8 | 221.6 | 245.7 | 271.3 | 292.6 | 317.2 | 332.9 | 324.8 | 306.7 | 274.1 | 244.6 | 224.8 | 213 | 213.6 | 222.7 | 234.9 | 243.7 | 258.3 | 272.4 | 281 | 285.9 | 286.2 | 275.9 | 264.8 | 250.8 | 237.4 | 211.4 | 181.6 | 155.4 | 125.4 | 98.77 | 76.76 | 60.55 | 50.84 | 49.54 | 52.63 | 58.55
560 | 139.7 | 131.5 | 140.9 | 173.8 | 221.2 | 304 | 350.5 | 415.6 | 430.5 | 3378 | 4645 | 526.1 | 127.6 | 95.32 | 85.51 | 85 | 88.06 | 95.88 | 104.1 | 119.4 | 130.5 | 150.3 | 166 | 186.8 | 206.7 | 227.1 | 249.3 | 268.9 | 281.8 | 277.3 | 259.1 | 232.3 | 209 | 188.3 | 182 | 181.5 | 190.1 | 199.3 | 209.5 | 220.5 | 231.7 | 239.3 | 244.6 | 246.2 | 235.2 | 222 | 212.2 | 202.6 | 184.1 | 156.5 | 133.8 | 108.5 | 86.32 | 65.31 | 52.15 | 45.02 | 42.47 | 46.22 | 49.16
565 | 122.7 | 115.7 | 122.8 | 135.3 | 182.1 | 258.6 | 303.3 | 343.5 | 346.3 | 594 | 5932 | 1704 | 119.3 | 77.85 | 67.68 | 67.7 | 71.25 | 77.11 | 83.87 | 93.32 | 106.1 | 123.3 | 137.7 | 154.9 | 170.5 | 190.7 | 207.7 | 224.4 | 235.7 | 228.1 | 215.7 | 194.2 | 177 | 157.9 | 150.6 | 152.7 | 162 | 168.5 | 175.1 | 183.4 | 194.6 | 199.5 | 206.7 | 205.5 | 197.5 | 187.4 | 178.6 | 165.7 | 154.2 | 136 | 112.2 | 92.14 | 71.91 | 55.51 | 43.58 | 36.77 | 36.52 | 38.87 | 41.52
570 | 116.6 | 96.53 | 104.6 | 120.9 | 157 | 211.4 | 273.2 | 297.5 | 305 | 283.8 | 3147 | 4232 | 357.3 | 67.86 | 58.2 | 56.38 | 58.63 | 62.87 | 69.76 | 79.38 | 88.59 | 98.85 | 111.8 | 125.8 | 137.9 | 156.6 | 172.3 | 186.3 | 192.1 | 191.8 | 180.8 | 161.1 | 145.2 | 132.9 | 127.9 | 126.5 | 131.6 | 138.8 | 145.2 | 151.7 | 158.9 | 165.5 | 173.1 | 171.4 | 166.7 | 159.2 | 148.8 | 140.3 | 127 | 111.7 | 95.85 | 77.04 | 58.52 | 45.5 | 35.93 | 29.76 | 28.69 | 30.85 | 33.51
575 | 119 | 86.87 | 99.78 | 105.2 | 129.4 | 174 | 250.9 | 264.1 | 277.1 | 247.2 | 457.6 | 5771 | 1425 | 61.7 | 47.04 | 45.47 | 47.93 | 52.06 | 55.3 | 62.18 | 71.56 | 80.9 | 92.21 | 101.8 | 115.5 | 125 | 139.7 | 150.1 | 156.8 | 155.1 | 144.8 | 133.7 | 118.7 | 109.2 | 103.7 | 102.8 | 105.7 | 114.4 | 119.2 | 127.1 | 130 | 136.5 | 141.4 | 139.8 | 137.4 | 130 | 121.5 | 113.7 | 104.3 | 92.77 | 79.92 | 65.4 | 50.08 | 37.27 | 28.7 | 25.21 | 23.94 | 24.71 | 26.27
580 | 135 | 93.81 | 81.12 | 84.5 | 107.2 | 147.9 | 214.9 | 251.1 | 254.7 | 237.2 | 207.6 | 3002 | 3989 | 283.4 | 38.43 | 39.08 | 40.08 | 40 | 44.28 | 49.98 | 56.6 | 66.57 | 72.24 | 83.5 | 91.72 | 102.2 | 114.2 | 125.9 | 128.8 | 128.8 | 121.2 | 106.5 | 96.16 | 90.48 | 84.59 | 84.75 | 87.78 | 92.47 | 98.65 | 104.5 | 107.4 | 113.5 | 114.6 | 113.8 | 112.6 | 106.4 | 99.48 | 92.45 | 84.45 | 75.6 | 64.98 | 53.59 | 40.75 | 30.8 | 24.56 | 20.85 | 19.14 | 19.57 | 21.6
585 | 132.2 | 93.86 | 80.58 | 79.39 | 99.51 | 132.3 | 179.9 | 246.2 | 241.3 | 231.9 | 195.3 | 390.8 | 5559 | 1267 | 38.73 | 31.43 | 31.35 | 34.53 | 38.03 | 41.21 | 47.05 | 54.42 | 58.9 | 67.42 | 75.54 | 84.42 | 93.64 | 101 | 107.4 | 104.8 | 97.99 | 88.32 | 80.26 | 73.48 | 69.78 | 70.67 | 71.55 | 77.19 | 80.59 | 84.79 | 87.48 | 92.24 | 95.15 | 93.72 | 90.98 | 85.79 | 82.69 | 76.97 | 70.24 | 60.09 | 53.01 | 45.07 | 34.19 | 25.4 | 19.21 | 16.34 | 15.62 | 16.21 | 16.94
590 | 139.7 | 97.03 | 76.73 | 72.59 | 83.2 | 118.4 | 164.8 | 223.2 | 242.3 | 226.8 | 195.5 | 143.9 | 2764 | 3803 | 222.2 | 27.27 | 27.4 | 27.67 | 29.79 | 33.58 | 39.04 | 43.18 | 48.69 | 54.34 | 60.31 | 68.21 | 75.86 | 82.54 | 87.08 | 87 | 79.52 | 71.86 | 65.08 | 58.85 | 57.68 | 55.17 | 58.54 | 64.04 | 65.88 | 68.99 | 71.93 | 76.55 | 78.09 | 78.15 | 76.68 | 70.72 | 66.59 | 64.17 | 56.59 | 51.1 | 42.39 | 36.3 | 28.53 | 22.58 | 17.13 | 14.25 | 13.02 | 13.18 | 14.12
595 | 134.8 | 96.93 | 66.17 | 71.95 | 76.7 | 103.8 | 152.7 | 205.2 | 248.9 | 231.8 | 201.7 | 127 | 315 | 5133 | 1114 | 27 | 23.27 | 23.77 | 25.84 | 28.21 | 31.5 | 35.4 | 38.6 | 45.54 | 49.48 | 55.93 | 63.56 | 68.78 | 71.94 | 68.68 | 67.48 | 62.19 | 55.63 | 48.52 | 47.17 | 46.23 | 48.88 | 51 | 56.2 | 56.61 | 60.35 | 62.43 | 65.03 | 63.12 | 61.18 | 57.46 | 54.2 | 52.58 | 47.27 | 40.69 | 36.08 | 29.26 | 24.58 | 18.89 | 14.13 | 11.9 | 10.45 | 11.21 | 11.45
600 | 153.1 | 98.56 | 70.75 | 60.85 | 75.45 | 95.58 | 141.5 | 188.3 | 255.6 | 239.7 | 201.1 | 130.6 | 82.17 | 2612 | 3473 | 168.2 | 20.38 | 20.75 | 21.42 | 23.51 | 26.08 | 29.08 | 32.71 | 38.05 | 40.82 | 46.07 | 51.69 | 55.69 | 57.56 | 58.42 | 55.35 | 50.29 | 43.29 | 40.27 | 38.42 | 38.58 | 40.27 | 42.76 | 45 | 46.69 | 50.8 | 51.42 | 53.62 | 52.34 | 50.37 | 48.87 | 46.05 | 43.05 | 39.32 | 33.82 | 29.29 | 24.92 | 19.65 | 16.61 | 13.12 | 10.24 | 9.048 | 9.64 | 10.45