## Sheet1
Report date: | 16:54:13, 09/02/2024
Sample: | 1
File name:
Run date: | 16:43:43, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 290.3
2 | 275.0/345.0 | 8919
3 | 370.0/515.0 | 584.6
4 | 395.0/280.0 | 6.22
5 | 415.0/300.0 | 5.526
6 | 440.0/520.0 | 462
7 | 455.0/335.0 | 14.48
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 57.16 | 35.33 | 58.55 | 249.3 | 154.3 | 55.46 | 142.5 | 9999.9 | 9999.9 | 3451 | 34.81 | 17.26 | 13.05 | 11.11 | 8.407 | 7.4 | 6.693 | 5.87 | 5.357 | 4.954 | 4.754 | 5.132 | 4.418 | 4.233 | 4.756 | 4.471 | 4.798 | 4.611 | 4.62 | 5.204 | 5.295 | 5.688 | 6.053 | 4.711 | 4.138 | 3.857 | 4.792 | 4.491 | 4.068 | 3.835 | 3.352 | 3.236 | 3.28 | 3.179 | 2.69 | 2.687 | 2.585 | 2.09 | 1.753 | 1.966 | 1.927 | 2.365 | 3.247 | 3.809 | 2.864 | 2.198 | 2.223 | 1.836 | 2.001
275 | 64.67 | 42.32 | 39.89 | 108.3 | 290.3 | 157.3 | 97.4 | 792.9 | 9999.9 | 9999.9 | 3288 | 34.88 | 15.96 | 12.7 | 9.593 | 8.155 | 6.708 | 6.864 | 6.499 | 5.656 | 5.626 | 5.581 | 5.172 | 5.338 | 4.806 | 4.518 | 5.098 | 4.68 | 4.298 | 4.568 | 4.356 | 5.79 | 5.578 | 5.888 | 4.155 | 3.989 | 4.243 | 4.165 | 4.681 | 3.761 | 3.351 | 3.405 | 3.434 | 3.142 | 2.976 | 3.145 | 2.646 | 2.299 | 2.167 | 1.626 | 1.931 | 1.996 | 2.031 | 3.084 | 4.311 | 3.493 | 2.532 | 2.278 | 2.508
280 | 129.5 | 70.12 | 55.56 | 67.17 | 181 | 359.3 | 195.5 | 206.4 | 848.1 | 9999.9 | 9999.9 | 3098 | 34.28 | 15.91 | 11.95 | 8.44 | 7.385 | 6.585 | 6.49 | 5.595 | 6.318 | 5.181 | 5.43 | 5.031 | 5.095 | 4.494 | 4.773 | 5.498 | 4.76 | 4.386 | 4.362 | 4.454 | 4.823 | 6.22 | 5.275 | 4.303 | 4.198 | 3.492 | 4.092 | 4.305 | 3.839 | 3.615 | 3.727 | 3.729 | 3.308 | 3.454 | 2.847 | 2.731 | 2.18 | 2.026 | 1.992 | 2.136 | 1.742 | 2.391 | 2.733 | 4.262 | 5.224 | 3.743 | 3.228
285 | 472.6 | 228.8 | 128.4 | 115.8 | 163.3 | 382.8 | 547.3 | 469.5 | 571.6 | 1229 | 9999.9 | 9999.9 | 2957 | 33.5 | 14.35 | 11.65 | 9.306 | 8.3 | 7.075 | 6.512 | 6.259 | 5.429 | 5.736 | 5.365 | 5.097 | 4.88 | 5.205 | 5.264 | 4.907 | 4.486 | 4.167 | 3.869 | 4.62 | 5.316 | 5.306 | 4.996 | 4.439 | 3.942 | 4.04 | 4.174 | 4.38 | 4.322 | 3.998 | 3.878 | 4.231 | 4.186 | 3.916 | 3.496 | 2.909 | 2.929 | 2.777 | 2.17 | 2.306 | 2.754 | 2.849 | 2.91 | 4.34 | 6.388 | 6.964
290 | 1242 | 633.2 | 319.5 | 229.9 | 287.2 | 465.8 | 933.2 | 1255 | 1443 | 1623 | 2017 | 9999.9 | 9999.9 | 2786 | 28.56 | 14.73 | 10.86 | 9.302 | 7.765 | 7.518 | 6.396 | 6.342 | 5.901 | 5.5 | 5.34 | 4.89 | 5.372 | 5.215 | 4.96 | 4.391 | 4.431 | 4.687 | 4.434 | 4.858 | 5.107 | 5.092 | 5.001 | 4.492 | 4.18 | 4.078 | 4.578 | 4.797 | 4.968 | 4.964 | 5.722 | 6.107 | 5.91 | 5.562 | 4.219 | 3.891 | 3.835 | 3.575 | 3.147 | 3.186 | 3.3 | 3.718 | 4.819 | 6.547 | 9.037
295 | 2195 | 1303 | 727.4 | 489.5 | 577.7 | 822.1 | 1323 | 2181 | 2739 | 2950 | 2618 | 2193 | 9999.9 | 9999.9 | 2644 | 28.38 | 15.28 | 11.53 | 9.455 | 8.567 | 7.427 | 6.341 | 6.324 | 5.893 | 5.624 | 5.616 | 5.875 | 5.064 | 5.074 | 4.598 | 4.824 | 4.459 | 4.277 | 4.676 | 4.786 | 4.751 | 5.09 | 4.809 | 4.476 | 4.23 | 4.841 | 5.303 | 6.338 | 7.353 | 7.254 | 8.414 | 8.342 | 7.482 | 6.338 | 5.978 | 5.861 | 4.811 | 4.772 | 4.644 | 5.243 | 6.283 | 7.637 | 9.601 | 11.67
300 | 3155 | 1911 | 1166 | 913.7 | 990.5 | 1323 | 1917 | 2813 | 4003 | 4323 | 3808 | 2416 | 1566 | 9999.9 | 9999.9 | 2651 | 27.92 | 15.15 | 12.37 | 9.408 | 8.295 | 7.826 | 7.987 | 6.152 | 5.977 | 6.181 | 5.968 | 5.083 | 5.33 | 4.933 | 4.687 | 4.684 | 4.574 | 4.831 | 4.456 | 4.386 | 4.673 | 5.526 | 5.464 | 4.492 | 4.687 | 5.477 | 6.576 | 8.146 | 9.511 | 10.45 | 10.45 | 10.36 | 8.562 | 8.724 | 7.336 | 7.22 | 7.153 | 6.927 | 8.187 | 8.752 | 10.85 | 13.73 | 15.86
305 | 3755 | 2439 | 1674 | 1387 | 1500 | 1903 | 2564 | 3465 | 4591 | 5520 | 4798 | 3144 | 1394 | 1182 | 9999.9 | 9999.9 | 2467 | 27.83 | 15.74 | 11.54 | 10.96 | 8.824 | 8.085 | 7.159 | 6.663 | 6.969 | 6.081 | 5.844 | 5.75 | 4.851 | 5.304 | 4.71 | 4.746 | 5.108 | 4.512 | 4.509 | 4.391 | 4.777 | 5.878 | 5.542 | 5.809 | 5.797 | 7.103 | 8.316 | 10.42 | 11.75 | 12.93 | 11.77 | 10.38 | 10.76 | 9.933 | 9.146 | 9.697 | 10.14 | 11.1 | 12.8 | 15.76 | 18.25 | 21.8
310 | 4097 | 2871 | 2169 | 1982 | 2245 | 2691 | 3351 | 4189 | 5161 | 6017 | 5764 | 3850 | 1894 | 849.5 | 1025 | 9999.9 | 9999.9 | 2594 | 28.65 | 16.31 | 12.79 | 9.845 | 8.177 | 8.282 | 7.749 | 6.788 | 6.513 | 6.137 | 5.868 | 5.459 | 5.363 | 5.132 | 4.876 | 5.097 | 4.261 | 4.78 | 4.291 | 4.957 | 5.373 | 5.917 | 6.198 | 6.472 | 7.072 | 9.032 | 10.79 | 13.22 | 14.13 | 12.78 | 11.79 | 12.74 | 12.22 | 12.49 | 13.28 | 13.44 | 15.6 | 17.76 | 20.56 | 24.07 | 27.92
315 | 4212 | 3139 | 2649 | 2644 | 3081 | 3630 | 4255 | 4970 | 5787 | 6338 | 6189 | 4690 | 2548 | 1274 | 667.7 | 1037 | 9999.9 | 9999.9 | 2494 | 29.29 | 17.41 | 13.23 | 10.5 | 8.913 | 8.427 | 6.746 | 6.664 | 6.748 | 6.22 | 5.679 | 5.129 | 5.172 | 5.071 | 4.629 | 4.251 | 5.031 | 4.805 | 4.491 | 4.476 | 5.324 | 6.297 | 6.816 | 7.31 | 8.809 | 10.58 | 13.59 | 14.39 | 13.61 | 13.45 | 14.2 | 14.75 | 14.87 | 16.58 | 18.47 | 20.55 | 24.6 | 27.19 | 31.32 | 35.06
320 | 4313 | 3364 | 3056 | 3188 | 3918 | 4634 | 5256 | 5856 | 6393 | 6802 | 6511 | 5382 | 3447 | 1821 | 1011 | 644.3 | 1052 | 9999.9 | 9999.9 | 2616 | 28.07 | 17.37 | 13.39 | 11.02 | 8.971 | 9.272 | 7.676 | 7.047 | 6.785 | 5.27 | 5.363 | 5.615 | 5.331 | 4.804 | 4.436 | 4.916 | 4.384 | 4.443 | 4.755 | 5.127 | 6.03 | 6.783 | 8.332 | 9.604 | 10.31 | 12.89 | 14.66 | 14.28 | 13.93 | 15.37 | 16.67 | 17.85 | 19.1 | 21.46 | 26.22 | 29.51 | 32.81 | 37.63 | 42.37
325 | 4352 | 3516 | 3411 | 3731 | 4590 | 5515 | 6253 | 6728 | 7053 | 7293 | 6994 | 5831 | 4278 | 2499 | 1402 | 877.8 | 577.7 | 962.8 | 9999.9 | 9999.9 | 2712 | 28.83 | 17.61 | 15.06 | 11.95 | 9.294 | 8.765 | 7.835 | 6.923 | 6.263 | 5.972 | 5.751 | 5.368 | 4.963 | 4.626 | 4.664 | 4.76 | 4.383 | 4.629 | 5.164 | 5.898 | 6.466 | 8.258 | 9.972 | 10.45 | 13.42 | 14.15 | 14.19 | 14.51 | 16 | 17.36 | 19.86 | 21.33 | 24.57 | 29.98 | 33.83 | 39.46 | 44.61 | 48.58
330 | 4433 | 3641 | 3547 | 4118 | 5212 | 6231 | 6995 | 7461 | 7694 | 7752 | 7538 | 6415 | 4720 | 3181 | 1836 | 1124 | 709.2 | 389.7 | 842.6 | 9999.9 | 9999.9 | 2918 | 28.72 | 18.87 | 14.45 | 11.58 | 10.73 | 8.313 | 7.787 | 6.875 | 6.916 | 6.069 | 5.52 | 5.297 | 5.001 | 4.698 | 4.716 | 4.46 | 4.78 | 5.148 | 5.636 | 6.663 | 8.671 | 10.63 | 11.58 | 14.04 | 13.97 | 14.02 | 14.39 | 17.29 | 18.24 | 19.96 | 23.13 | 27.62 | 32.68 | 38.41 | 44.1 | 48.36 | 54.33
335 | 4510 | 3681 | 3651 | 4300 | 5529 | 6713 | 7609 | 8146 | 8309 | 8289 | 8046 | 7042 | 5314 | 3485 | 2367 | 1396 | 850.5 | 434.8 | 215.3 | 798.4 | 9999.9 | 9999.9 | 3120 | 31.79 | 19.74 | 15.65 | 12.22 | 10.28 | 8.875 | 7.886 | 7.05 | 6.273 | 5.527 | 5.354 | 5.534 | 5.352 | 5.48 | 4.909 | 4.874 | 5.389 | 6.233 | 6.93 | 8.499 | 10.4 | 12.15 | 14.48 | 14.19 | 13.32 | 13.78 | 16.68 | 18.72 | 21.34 | 24.58 | 28.27 | 34.05 | 40.1 | 46.03 | 52.25 | 58.12
340 | 4614 | 3573 | 3664 | 4394 | 5678 | 6904 | 7927 | 8533 | 8705 | 8719 | 8481 | 7482 | 5801 | 3739 | 2507 | 1745 | 985.5 | 500.8 | 215.2 | 146.7 | 792.7 | 9999.9 | 9999.9 | 3443 | 31.42 | 21 | 16.59 | 13.04 | 10.25 | 9.057 | 7.69 | 6.472 | 5.864 | 5.695 | 5.364 | 5.238 | 4.896 | 4.945 | 5.027 | 5.544 | 6.124 | 7.304 | 8.701 | 10.66 | 11.91 | 14.06 | 14.13 | 13.19 | 13.44 | 15.87 | 18.4 | 21.52 | 25.6 | 28.53 | 33.64 | 41.43 | 48.96 | 53.24 | 59.6
345 | 4553 | 3387 | 3540 | 4269 | 5524 | 6918 | 7969 | 8653 | 8907 | 8919 | 8693 | 7746 | 6121 | 3932 | 2528 | 1850 | 1221 | 576.7 | 270.9 | 143.9 | 136.6 | 808.3 | 9999.9 | 9999.9 | 3465 | 32.6 | 21.53 | 17.75 | 12.59 | 9.569 | 8.463 | 7.205 | 6.59 | 6.433 | 5.676 | 5.234 | 5.119 | 4.916 | 5.378 | 5.467 | 6.304 | 7.573 | 8.374 | 10.38 | 11.26 | 13.76 | 14.07 | 13.25 | 13.14 | 15.35 | 17.86 | 20.19 | 24.45 | 28.58 | 34.88 | 40.71 | 46.32 | 53.32 | 58.87
350 | 4460 | 3282 | 3378 | 4070 | 5263 | 6609 | 7704 | 8559 | 8813 | 8880 | 8703 | 7822 | 6225 | 4045 | 2589 | 1746 | 1344 | 763.7 | 344 | 202.9 | 145.3 | 156.1 | 812.1 | 9999.9 | 9999.9 | 3691 | 35.34 | 22.82 | 16.11 | 12.39 | 9.042 | 8.168 | 7.33 | 6.502 | 5.458 | 5.311 | 5.571 | 5.49 | 5.347 | 5.833 | 6.594 | 7.138 | 8.807 | 10.3 | 11.72 | 13.41 | 13.39 | 12.59 | 13.79 | 14.38 | 16.77 | 19.32 | 23.33 | 26.71 | 33.5 | 38.73 | 44.63 | 51.35 | 57.59
355 | 4431 | 3075 | 3133 | 3790 | 4915 | 6181 | 7337 | 8164 | 8580 | 8687 | 8511 | 7717 | 6197 | 4033 | 2610 | 1741 | 1237 | 977.1 | 512.1 | 295.5 | 226.2 | 180.3 | 180.1 | 853.5 | 9999.9 | 9999.9 | 3806 | 35.92 | 21.05 | 16.06 | 12.31 | 9.213 | 7.475 | 7.005 | 5.894 | 5.835 | 5.188 | 5.816 | 5.469 | 5.726 | 6.32 | 7.22 | 8.418 | 10.4 | 11.68 | 12.94 | 12.62 | 11.87 | 12.22 | 14.29 | 15.63 | 18.48 | 21.29 | 24.65 | 31.3 | 35.95 | 42.11 | 48.21 | 55.17
360 | 4191 | 2899 | 2874 | 3489 | 4541 | 5745 | 6788 | 7655 | 8146 | 8267 | 8171 | 7427 | 6025 | 3958 | 2590 | 1767 | 1260 | 925.4 | 771.1 | 461.5 | 333 | 267.8 | 207.7 | 205.2 | 848.1 | 9999.9 | 9999.9 | 4187 | 33.66 | 21.36 | 16.16 | 11.63 | 9.325 | 7.997 | 7.084 | 6.157 | 5.538 | 6.217 | 5.563 | 5.761 | 6.452 | 6.833 | 8.683 | 9.91 | 10.5 | 12.32 | 12.22 | 11.24 | 11.12 | 13.49 | 15.09 | 17.53 | 20.04 | 23.47 | 29.72 | 33.15 | 39.29 | 45.1 | 51.07
365 | 3904 | 2714 | 2658 | 3257 | 4155 | 5269 | 6218 | 7104 | 7595 | 7768 | 7666 | 6984 | 5699 | 3793 | 2525 | 1785 | 1305 | 954.2 | 813.4 | 728.6 | 478.2 | 371.5 | 287.2 | 223.5 | 213.2 | 867 | 9999.9 | 9999.9 | 3904 | 32.47 | 20.33 | 15.88 | 11.31 | 8.575 | 7.11 | 6.453 | 6.024 | 5.831 | 6.05 | 6.051 | 6.171 | 7.477 | 8.651 | 9.647 | 10.8 | 11.61 | 12.01 | 10.35 | 10.59 | 12.34 | 14.88 | 16.3 | 19.13 | 21.71 | 26.09 | 31.35 | 36.51 | 41.69 | 47.04
370 | 3691 | 2539 | 2486 | 2945 | 3794 | 4739 | 5609 | 6420 | 6959 | 7184 | 7107 | 6483 | 5368 | 3608 | 2464 | 1789 | 1358 | 1045 | 843.4 | 841.5 | 726.5 | 509.1 | 384.2 | 297 | 226.2 | 188.2 | 851.4 | 9999.9 | 9999.9 | 3746 | 31.9 | 20.88 | 14.41 | 10.55 | 8.289 | 7.062 | 6.475 | 6.323 | 6.027 | 5.862 | 6.579 | 7.098 | 8.04 | 9.647 | 9.595 | 11.74 | 10.67 | 9.69 | 10.16 | 12.23 | 13.19 | 15.46 | 17.46 | 20.81 | 24.01 | 28.33 | 31.54 | 37.8 | 42.62
375 | 3395 | 2357 | 2280 | 2675 | 3374 | 4226 | 5011 | 5803 | 6265 | 6498 | 6487 | 5947 | 4974 | 3397 | 2372 | 1798 | 1416 | 1147 | 954.7 | 853.4 | 896 | 718.8 | 494.8 | 380.4 | 295.7 | 192.8 | 164.5 | 866.1 | 9999.9 | 9999.9 | 3718 | 30.07 | 19.34 | 13.68 | 9.923 | 7.81 | 7.196 | 6.748 | 6.043 | 5.756 | 6.183 | 6.573 | 7.992 | 9.361 | 9.72 | 10.7 | 10.91 | 9.543 | 9.601 | 11.64 | 12.34 | 13.84 | 16.39 | 18.57 | 21.72 | 25.42 | 29.61 | 33.44 | 37.38
380 | 3064 | 2181 | 2145 | 2420 | 3011 | 3723 | 4435 | 5127 | 5614 | 5839 | 5836 | 5399 | 4526 | 3175 | 2285 | 1784 | 1472 | 1252 | 1077 | 961.5 | 911.6 | 919.1 | 671.8 | 482.8 | 373.4 | 251.9 | 161.3 | 154.9 | 863.8 | 9999.9 | 9999.9 | 3587 | 29.29 | 18.05 | 12.93 | 10.12 | 8.221 | 7.142 | 6.466 | 6.714 | 6.767 | 6.731 | 8.06 | 8.469 | 9.317 | 10.12 | 9.904 | 8.61 | 9.161 | 10.65 | 11.65 | 13.69 | 15.35 | 16.51 | 20.52 | 23.23 | 26.6 | 29.96 | 33.09
385 | 2823 | 2054 | 1957 | 2193 | 2739 | 3319 | 3915 | 4486 | 4956 | 5206 | 5228 | 4843 | 4118 | 2975 | 2209 | 1772 | 1525 | 1330 | 1193 | 1076 | 982.9 | 950.3 | 876.6 | 620.1 | 464.8 | 321.5 | 214 | 148.9 | 149.5 | 862.8 | 9999.9 | 9999.9 | 3402 | 26.2 | 16.07 | 12.57 | 9.894 | 7.57 | 6.684 | 6.258 | 6.089 | 6.698 | 7.484 | 8.236 | 8.439 | 9.277 | 9.578 | 8.208 | 7.718 | 10 | 11.28 | 12.07 | 13.97 | 15.03 | 17.98 | 20.95 | 23.71 | 26.4 | 29.8
390 | 2578 | 1869 | 1830 | 1991 | 2402 | 2892 | 3416 | 3916 | 4322 | 4593 | 4634 | 4345 | 3756 | 2793 | 2140 | 1780 | 1558 | 1417 | 1304 | 1186 | 1093 | 988.5 | 927.5 | 822.4 | 580.1 | 408.5 | 283.5 | 197.6 | 136.6 | 138.1 | 824.2 | 9999.9 | 9999.9 | 3355 | 26.5 | 16.18 | 12.19 | 9.469 | 7.346 | 6.834 | 6.668 | 6.791 | 7.191 | 7.707 | 8.202 | 8.796 | 8.637 | 8.318 | 8.063 | 9.349 | 10.17 | 11.54 | 12.44 | 13.54 | 16.85 | 19.28 | 20.8 | 23.33 | 26.15
395 | 2335 | 1743 | 1673 | 1822 | 2128 | 2541 | 2954 | 3447 | 3806 | 4038 | 4094 | 3905 | 3434 | 2599 | 2071 | 1781 | 1595 | 1487 | 1381 | 1289 | 1188 | 1075 | 931.5 | 905.2 | 740.5 | 492.9 | 355.6 | 256 | 174.3 | 117.6 | 124.9 | 849.8 | 9999.9 | 9999.9 | 3004 | 24.11 | 15.43 | 11.75 | 8.775 | 6.833 | 7.05 | 6.631 | 7.587 | 7.485 | 8.177 | 8.495 | 8.132 | 7.522 | 8.023 | 8.205 | 9.531 | 10.36 | 10.96 | 12.32 | 14.34 | 17.67 | 18.35 | 21.59 | 22.87
400 | 2132 | 1608 | 1550 | 1667 | 1899 | 2212 | 2527 | 2933 | 3315 | 3555 | 3656 | 3500 | 3132 | 2460 | 2014 | 1776 | 1632 | 1546 | 1446 | 1373 | 1271 | 1153 | 998.1 | 893.3 | 857.8 | 636.5 | 430.5 | 314.7 | 212.1 | 145.6 | 96.02 | 115.6 | 807.7 | 9999.9 | 9999.9 | 2798 | 22.19 | 14.65 | 10.85 | 8.693 | 7.34 | 6.612 | 7.103 | 7.223 | 7.355 | 7.949 | 7.784 | 7.201 | 7.598 | 8.749 | 9.122 | 10.13 | 10.88 | 11.27 | 13.16 | 15.17 | 17.08 | 18.92 | 20.55
405 | 1910 | 1469 | 1442 | 1547 | 1746 | 1933 | 2225 | 2564 | 2907 | 3092 | 3224 | 3110 | 2819 | 2292 | 1955 | 1746 | 1642 | 1557 | 1503 | 1417 | 1332 | 1206 | 1061 | 923.4 | 828.8 | 765.5 | 533.3 | 370.8 | 261.8 | 175.8 | 116.9 | 82.63 | 103.6 | 773.5 | 9999.9 | 9999.9 | 2828 | 21.96 | 14.04 | 10.28 | 8.938 | 6.929 | 7.423 | 7.25 | 7.665 | 7.748 | 7.521 | 7.364 | 7.084 | 8.049 | 9.139 | 9.481 | 10.06 | 10.99 | 11.96 | 13.22 | 15.15 | 17.29 | 18.35
410 | 1739 | 1380 | 1383 | 1418 | 1553 | 1730 | 1941 | 2247 | 2537 | 2733 | 2840 | 2788 | 2576 | 2139 | 1855 | 1710 | 1638 | 1572 | 1521 | 1449 | 1366 | 1246 | 1101 | 967.5 | 840.8 | 757.7 | 668.4 | 440.7 | 304.9 | 207.2 | 140.7 | 95.51 | 69.59 | 95.31 | 768.9 | 9999.9 | 9999.9 | 2534 | 20.7 | 13.97 | 10.43 | 8.201 | 7.441 | 7.283 | 7.345 | 7.88 | 7.124 | 6.978 | 6.903 | 8.057 | 8.489 | 8.472 | 9.725 | 10.48 | 11.41 | 12.08 | 13.49 | 14.75 | 15.75
415 | 1604 | 1321 | 1262 | 1323 | 1414 | 1535 | 1711 | 1952 | 2210 | 2420 | 2506 | 2477 | 2340 | 1999 | 1793 | 1677 | 1616 | 1570 | 1520 | 1456 | 1379 | 1276 | 1133 | 993.1 | 857.8 | 732 | 682.2 | 558.1 | 351.4 | 238.3 | 167.9 | 115.7 | 80.33 | 61.6 | 88.86 | 781.3 | 9999.9 | 9999.9 | 2425 | 20.86 | 13.6 | 10.24 | 8.289 | 7.141 | 7.056 | 6.715 | 6.984 | 7.255 | 6.927 | 7.603 | 7.452 | 8.513 | 8.864 | 9.365 | 10.99 | 11.27 | 11.92 | 12.61 | 14.76
420 | 1406 | 1240 | 1225 | 1210 | 1282 | 1375 | 1505 | 1708 | 1926 | 2117 | 2235 | 2218 | 2126 | 1865 | 1701 | 1624 | 1577 | 1553 | 1503 | 1448 | 1370 | 1261 | 1133 | 1003 | 876.2 | 748.6 | 635.5 | 595.5 | 438 | 272.8 | 193.1 | 138.6 | 99.13 | 72.99 | 55.56 | 90.25 | 783.9 | 9999.9 | 9999.9 | 2230 | 19.04 | 12.84 | 10.91 | 8.745 | 7.341 | 7.568 | 7.009 | 6.834 | 6.453 | 7.759 | 7.886 | 7.82 | 7.978 | 9.172 | 9.968 | 10.41 | 11.72 | 11.42 | 12.96
425 | 1294 | 1165 | 1146 | 1163 | 1198 | 1226 | 1340 | 1521 | 1707 | 1854 | 1971 | 1985 | 1919 | 1740 | 1602 | 1557 | 1521 | 1496 | 1456 | 1413 | 1344 | 1246 | 1128 | 1003 | 879.2 | 750.7 | 636.6 | 548.1 | 502 | 336.3 | 220.8 | 159.9 | 118.7 | 88.64 | 67.73 | 54.5 | 89.97 | 787.3 | 9999.9 | 9999.9 | 2075 | 18.94 | 12.66 | 10.36 | 8.354 | 7.394 | 7.074 | 6.74 | 6.565 | 7.129 | 7.789 | 7.911 | 8.03 | 8.654 | 9.381 | 10.01 | 10.57 | 11.19 | 11.4
430 | 1166 | 1057 | 1099 | 1100 | 1124 | 1131 | 1197 | 1350 | 1496 | 1668 | 1759 | 1794 | 1746 | 1602 | 1513 | 1482 | 1467 | 1446 | 1431 | 1386 | 1307 | 1220 | 1114 | 985.2 | 872.7 | 757.5 | 643.1 | 525.6 | 471.1 | 408.8 | 269.2 | 182.1 | 141.4 | 106 | 85.65 | 65.9 | 54.81 | 87.43 | 764.2 | 9999.9 | 9999.9 | 2100 | 18.98 | 12.58 | 9.561 | 8.598 | 7.212 | 6.58 | 6.785 | 7.106 | 7.529 | 7.477 | 7.89 | 8.483 | 8.366 | 9.261 | 9.386 | 10.11 | 10.83
435 | 1087 | 996.3 | 1032 | 1037 | 1044 | 1040 | 1106 | 1208 | 1352 | 1481 | 1575 | 1618 | 1601 | 1502 | 1430 | 1417 | 1410 | 1401 | 1376 | 1332 | 1279 | 1196 | 1079 | 965.5 | 860.1 | 756.6 | 651.5 | 536.8 | 443.3 | 405 | 337.2 | 216.1 | 161.6 | 126.5 | 102.7 | 80.54 | 63.03 | 50.83 | 85.26 | 781.3 | 9999.9 | 9999.9 | 2020 | 18.87 | 12.44 | 10.17 | 7.935 | 6.932 | 6.998 | 6.982 | 7.339 | 7.919 | 7.627 | 8.252 | 8.938 | 8.588 | 9.427 | 9.167 | 9.509
440 | 968.5 | 963.3 | 978.2 | 999.5 | 976.2 | 980.1 | 1012 | 1100 | 1203 | 1323 | 1412 | 1462 | 1441 | 1374 | 1354 | 1329 | 1329 | 1329 | 1317 | 1278 | 1225 | 1149 | 1051 | 942 | 846.4 | 738 | 635.1 | 537.9 | 446.6 | 379.7 | 358.6 | 275.9 | 189.4 | 150.8 | 119.4 | 96.68 | 78.35 | 59.31 | 49.55 | 83.22 | 759.9 | 9999.9 | 9999.9 | 1997 | 18.99 | 12.33 | 9.817 | 8.175 | 7.106 | 7.142 | 7.974 | 7.111 | 7.641 | 7.798 | 8.453 | 8.353 | 8.157 | 9.144 | 9.716
445 | 913.7 | 894.5 | 907.8 | 912.4 | 913.1 | 898.3 | 917.4 | 1002 | 1090 | 1201 | 1262 | 1307 | 1301 | 1265 | 1246 | 1236 | 1245 | 1246 | 1242 | 1202 | 1159 | 1089 | 999.9 | 905.4 | 813.3 | 719.8 | 623.2 | 536 | 448.5 | 374.8 | 322.6 | 317.9 | 232.4 | 167.7 | 137.6 | 113 | 90.94 | 72.23 | 54.8 | 44.69 | 79.99 | 761.1 | 9999.9 | 9999.9 | 1810 | 17.66 | 11.65 | 9.065 | 7.733 | 7.471 | 7.316 | 7.35 | 7.24 | 7.78 | 8.021 | 7.933 | 8.379 | 8.862 | 8.699
450 | 1194 | 840.5 | 872.9 | 871.6 | 864 | 835.3 | 853.2 | 888.2 | 966.4 | 1048 | 1122 | 1164 | 1175 | 1148 | 1131 | 1144 | 1151 | 1157 | 1150 | 1130 | 1082 | 1029 | 945.5 | 859.9 | 773.7 | 690.5 | 606.9 | 524.7 | 445.4 | 371.8 | 315.8 | 294.3 | 281.2 | 199 | 151.1 | 128.2 | 105.1 | 84.45 | 66.23 | 51.04 | 42.56 | 79.11 | 763 | 9999.9 | 9999.9 | 1847 | 16.21 | 11.36 | 9.275 | 8.704 | 7.582 | 7.438 | 7.577 | 7.761 | 7.555 | 8.077 | 8.107 | 8.422 | 8.247
455 | 2649 | 749.5 | 791.8 | 792.8 | 793.3 | 768.3 | 779.7 | 809.8 | 868.2 | 929.8 | 1009 | 1041 | 1051 | 1030 | 1028 | 1041 | 1053 | 1067 | 1052 | 1040 | 996.6 | 952.7 | 886.3 | 808.6 | 724 | 648.5 | 578.9 | 509.5 | 436.8 | 368.5 | 314.2 | 273.1 | 272.7 | 246.6 | 177.8 | 142 | 118.3 | 96.99 | 77.36 | 61.27 | 49.06 | 41.39 | 77.91 | 780.1 | 9999.9 | 9999.9 | 1663 | 15.72 | 10.95 | 9.072 | 8.471 | 7.885 | 7.11 | 7.278 | 7.469 | 7.637 | 7.386 | 7.833 | 8.108
460 | 4708 | 1056 | 724.4 | 730.2 | 714.4 | 712.9 | 718 | 730.6 | 770.9 | 825.4 | 879.1 | 919.7 | 935.6 | 915.2 | 927.1 | 940.9 | 952.7 | 955.3 | 967.9 | 941 | 924.2 | 884.3 | 817.7 | 745.8 | 673.6 | 608.2 | 544.2 | 484.5 | 418.3 | 360.9 | 311.5 | 270.7 | 248.1 | 256.4 | 213.3 | 157.7 | 131.7 | 111.2 | 90.36 | 73.72 | 58.07 | 46.19 | 39.23 | 77.57 | 743.4 | 9999.9 | 9999.9 | 1486 | 15.43 | 11.26 | 9.411 | 8.213 | 7.617 | 7.324 | 6.785 | 7.35 | 6.836 | 7.372 | 7.806
465 | 4184 | 2713 | 661.1 | 669.8 | 668 | 665.3 | 651.8 | 668.8 | 690.7 | 735.6 | 784.7 | 810.6 | 827.4 | 810.9 | 830.2 | 840.6 | 859.7 | 868.7 | 875.3 | 857.6 | 842.3 | 796 | 745.7 | 683.2 | 623.6 | 562 | 506 | 457.8 | 406.8 | 356.8 | 306.6 | 272.6 | 244 | 232.1 | 235 | 185.3 | 145.4 | 123.2 | 101.3 | 83.22 | 67.1 | 55.93 | 44.35 | 38.33 | 73.74 | 743.4 | 9999.9 | 9999.9 | 1561 | 16.4 | 12.16 | 10.25 | 8.967 | 7.998 | 7.342 | 6.741 | 7.324 | 7.01 | 6.875
470 | 1397 | 5064 | 1038 | 618.9 | 617.9 | 603.4 | 597.5 | 604.8 | 622.3 | 670.3 | 700.7 | 715.7 | 724 | 717.4 | 731.9 | 749.4 | 774.5 | 770.8 | 784.2 | 772.3 | 756.2 | 724.5 | 680.2 | 625.6 | 574.3 | 523.5 | 473.2 | 434.6 | 385.2 | 342.8 | 301.6 | 271 | 242.5 | 226 | 221.7 | 212.5 | 165 | 134.5 | 115.4 | 95.09 | 78.53 | 65.75 | 52.97 | 42.26 | 37.43 | 74.4 | 729.3 | 9999.9 | 9999.9 | 1469 | 17.67 | 13.23 | 10.33 | 8.793 | 7.8 | 7.314 | 7.62 | 7.163 | 7.165
475 | 527.4 | 4640 | 2833 | 571.1 | 564.8 | 555.3 | 551.4 | 559.4 | 559.1 | 592.9 | 613.1 | 635 | 640.3 | 629.5 | 647.9 | 658.6 | 675.3 | 687.1 | 685.7 | 691.5 | 673.1 | 657.5 | 619.9 | 570 | 528.1 | 481.9 | 441.1 | 408.4 | 367.2 | 330.2 | 298.7 | 269.4 | 241.5 | 223.9 | 209.1 | 211.1 | 192.2 | 149.6 | 125.7 | 108.6 | 91.98 | 78.65 | 66.35 | 53.48 | 43.5 | 40.01 | 76.98 | 742.1 | 8969 | 9999.9 | 1087 | 19.04 | 13.85 | 10.69 | 8.512 | 8.164 | 6.933 | 7.102 | 7.373
480 | 442.4 | 1604 | 5308 | 961.8 | 515.9 | 528.9 | 529 | 524.7 | 528.2 | 556.5 | 570.2 | 565.8 | 563.6 | 554.2 | 559.9 | 582.8 | 601.4 | 615 | 617 | 624.8 | 615.8 | 598 | 564.2 | 526 | 493.1 | 456.8 | 424.1 | 401.7 | 369.4 | 332.3 | 305.5 | 273.9 | 250.5 | 227.5 | 214.7 | 202.9 | 209.3 | 180.8 | 144.9 | 128 | 111.3 | 99.67 | 85.09 | 73.28 | 61.85 | 54.2 | 51.49 | 86.87 | 658.2 | 7920 | 9999.9 | 1201 | 21.42 | 15.14 | 11.28 | 8.86 | 7.138 | 6.809 | 6.852
485 | 404.7 | 506.7 | 4991 | 2764 | 513.7 | 512.9 | 521.4 | 538.5 | 543.4 | 535 | 545.4 | 534.1 | 508.5 | 504.8 | 515.2 | 518.8 | 535.6 | 544.5 | 566.8 | 567.6 | 566.5 | 552.3 | 528.7 | 498.4 | 471 | 445.7 | 420.4 | 403.7 | 381.8 | 347.6 | 325.7 | 290.8 | 265.9 | 243.9 | 225.4 | 214.9 | 211 | 212.3 | 182.1 | 155 | 141.8 | 130.8 | 118.6 | 104.8 | 93.99 | 82.42 | 73.33 | 68.55 | 97.3 | 627.2 | 8568 | 9999.9 | 1021 | 22.99 | 16.57 | 11.68 | 9.074 | 7.554 | 7.513
490 | 388.6 | 424.4 | 1726 | 5344 | 881.1 | 520.8 | 540 | 577.1 | 570.8 | 565.3 | 543.4 | 506.9 | 473.6 | 453.9 | 467.2 | 474.9 | 490.6 | 503.8 | 514.3 | 522 | 527 | 520.4 | 509.7 | 487.4 | 468.2 | 449.7 | 435.3 | 421.2 | 407.7 | 377.6 | 347.9 | 320.2 | 291.7 | 267 | 245.9 | 237.1 | 224.9 | 229.6 | 225 | 198.6 | 186.7 | 176.5 | 163 | 150.4 | 139.2 | 123.9 | 113.2 | 100.5 | 92.76 | 111.6 | 680.6 | 8176 | 9999.9 | 1050 | 24.21 | 15.67 | 11.22 | 9.147 | 8.272
495 | 394.6 | 402.3 | 522.2 | 5275 | 2624 | 548.1 | 587.1 | 638.8 | 629.5 | 604.6 | 567.5 | 498.9 | 429 | 411.2 | 418.8 | 433.6 | 441.9 | 456.7 | 479.2 | 490.7 | 494 | 495.5 | 489.2 | 480.9 | 471.3 | 462.7 | 462 | 452.1 | 446.1 | 425.1 | 394.2 | 356.7 | 323.8 | 297.9 | 277.7 | 264.3 | 261.7 | 261.5 | 267.3 | 261.3 | 241.3 | 233 | 222.4 | 213.1 | 196.5 | 179.1 | 163.5 | 148.9 | 131.7 | 115.5 | 133.7 | 667.7 | 8687 | 9999.9 | 983.5 | 22.28 | 14.82 | 11.39 | 10.21
500 | 397.2 | 362.6 | 418.2 | 1915 | 5347 | 930.7 | 642.1 | 700.9 | 701.7 | 645.7 | 580.2 | 490.6 | 406.7 | 375.6 | 370.9 | 381 | 398.3 | 410.9 | 428 | 445.5 | 464.3 | 472.2 | 479.7 | 475.2 | 480.1 | 484.3 | 489.5 | 498.1 | 494.8 | 475.1 | 440.2 | 395.9 | 360.8 | 326.4 | 307.6 | 302.5 | 300 | 294 | 302.4 | 316.6 | 305.6 | 295.8 | 287.4 | 278.2 | 260.8 | 245.3 | 223.1 | 204.4 | 181.1 | 154.9 | 131.3 | 138.4 | 702.7 | 7654 | 9999.9 | 924.7 | 19.88 | 13.13 | 11.26
505 | 395.1 | 385.5 | 388.4 | 552.7 | 5441 | 2532 | 706.4 | 765.5 | 776.7 | 697 | 614.2 | 494.1 | 385 | 338.2 | 335.4 | 337.9 | 352.5 | 374 | 390.4 | 413.3 | 434.2 | 448.6 | 466.1 | 473.9 | 486.6 | 503.1 | 524.1 | 536.5 | 535.8 | 517 | 479.7 | 432.9 | 391.5 | 356 | 333.2 | 331.5 | 330 | 332.9 | 338.4 | 353.8 | 368.4 | 360.8 | 352.3 | 337.7 | 324 | 303.9 | 279.7 | 255.8 | 228.3 | 192.3 | 159.5 | 129 | 131.1 | 619.4 | 7404 | 9999.9 | 863.1 | 17 | 13.06
510 | 350.7 | 401 | 384 | 449.6 | 2143 | 5266 | 1088 | 830.7 | 834.1 | 737.9 | 629.8 | 489 | 367.1 | 303.4 | 294.9 | 299.9 | 310.9 | 335.5 | 351.4 | 379.9 | 404.9 | 428.1 | 452.4 | 463.4 | 484.2 | 514.1 | 541.1 | 562.5 | 570.7 | 544.6 | 512.9 | 463.8 | 410.5 | 378.6 | 356.1 | 351.8 | 357.2 | 367 | 376.1 | 383.7 | 405.2 | 419.1 | 405.5 | 392.8 | 375.2 | 354.3 | 326.8 | 299 | 264 | 228.2 | 187.5 | 145.8 | 107.5 | 107.2 | 578 | 6892 | 9999.9 | 815.1 | 16.26
515 | 355.5 | 383.2 | 366.9 | 400.8 | 635.5 | 5656 | 2573 | 856.9 | 849.6 | 756.3 | 638.1 | 476 | 342.1 | 275.7 | 257.9 | 265.9 | 275.7 | 300.3 | 323.3 | 347.5 | 375.2 | 403.4 | 430.3 | 457.6 | 482.2 | 509.4 | 550.6 | 574.5 | 584.6 | 563.2 | 526.5 | 471.2 | 423.8 | 385 | 364.4 | 359.9 | 370.3 | 382.3 | 392.6 | 405.7 | 422.6 | 444.5 | 447.6 | 428.1 | 406.1 | 382 | 354.7 | 326.1 | 291.8 | 246.7 | 205.8 | 160.1 | 116.2 | 80.63 | 84.65 | 541.5 | 6610 | 9357 | 721.8
520 | 320 | 333.3 | 372.3 | 389.6 | 497.1 | 2496 | 5267 | 1197 | 842.3 | 751.7 | 614 | 458.9 | 316.8 | 248.7 | 229.4 | 233.3 | 248.2 | 266.8 | 283.1 | 313.1 | 350.5 | 374 | 405.7 | 435.6 | 463.3 | 499.9 | 534.3 | 566.2 | 577.3 | 565.5 | 521.8 | 472.7 | 422.4 | 382.7 | 362.8 | 358.3 | 369.7 | 384.2 | 396.7 | 410.8 | 427.4 | 444.1 | 462 | 446.7 | 421.2 | 396.8 | 367.7 | 342.2 | 304.6 | 260.4 | 214.1 | 168.3 | 121 | 83 | 56.66 | 66.99 | 503.4 | 6223 | 8787
525 | 302 | 304.1 | 353.8 | 381.8 | 455 | 726.6 | 5816 | 2605 | 840 | 732.4 | 593 | 434.6 | 292.9 | 221.5 | 201.2 | 206.2 | 216.8 | 237.3 | 254.4 | 282.9 | 315.7 | 345.3 | 377.9 | 404.5 | 439 | 476.3 | 516.8 | 542.1 | 557.6 | 543.3 | 508.3 | 452.9 | 408.6 | 370.2 | 346.2 | 345.3 | 360.8 | 375.6 | 390.6 | 405.9 | 419.4 | 433.1 | 453 | 451 | 423.3 | 395.4 | 368.4 | 343.6 | 305.3 | 260.2 | 218.3 | 169.6 | 121.6 | 84.15 | 55.25 | 39.06 | 57.04 | 475 | 5759
530 | 284.4 | 265.7 | 321.6 | 352.5 | 417.9 | 543.8 | 2770 | 5154 | 1131 | 689.3 | 557.4 | 398.3 | 266.6 | 193.7 | 179.6 | 179.5 | 189.7 | 203.7 | 226.4 | 254.7 | 278.3 | 316.6 | 342.5 | 378.2 | 405.5 | 447.5 | 478.1 | 515.9 | 527.1 | 516.5 | 476.6 | 431.9 | 380.9 | 344.9 | 327.1 | 331.5 | 343.3 | 356 | 369.6 | 391.9 | 402.1 | 418.2 | 431.1 | 438.4 | 416.1 | 388.7 | 360.7 | 332.5 | 292.8 | 253.1 | 213.1 | 169.9 | 121.4 | 82.89 | 57.17 | 40.11 | 33.08 | 56.07 | 453.4
535 | 260.6 | 251.9 | 270.4 | 346 | 400.8 | 500.2 | 804.4 | 5881 | 2402 | 636.8 | 514.9 | 372.2 | 236.3 | 175.8 | 156 | 159.2 | 167.2 | 183.7 | 196 | 223.2 | 250.7 | 282.1 | 312.1 | 340.1 | 371.4 | 408.1 | 447.2 | 473.2 | 489.7 | 477 | 439.6 | 399.8 | 356.9 | 323 | 305.8 | 304.9 | 317.5 | 332.9 | 351.8 | 359.3 | 378.7 | 397.3 | 401.7 | 403.4 | 392.9 | 370.1 | 341.2 | 315.6 | 282.7 | 242 | 203.7 | 161.6 | 118.7 | 83.55 | 58.37 | 42.67 | 36.23 | 35.01 | 61.58
540 | 228.2 | 221 | 223.3 | 318.6 | 381.1 | 458 | 565 | 2998 | 4836 | 899.6 | 471.9 | 331.7 | 208.1 | 153.2 | 134.3 | 135.2 | 143.9 | 154.8 | 173.8 | 198.8 | 217.4 | 248.9 | 278.4 | 309.4 | 337 | 368.8 | 401.7 | 430.8 | 444.5 | 430.8 | 406.9 | 363.4 | 322 | 296.8 | 279.2 | 276.9 | 290.7 | 306.2 | 318.8 | 333.2 | 349.3 | 362.9 | 369 | 369.5 | 362.2 | 345 | 320.7 | 292.4 | 266.4 | 224.8 | 193.4 | 152 | 114.6 | 83.6 | 59.54 | 45.06 | 39.54 | 39.55 | 43.66
545 | 214.3 | 197.4 | 202.6 | 278.1 | 356.2 | 404.9 | 504 | 805.9 | 5664 | 2022 | 433 | 294.4 | 185.9 | 130.1 | 115.5 | 115.6 | 121.3 | 135.2 | 148.7 | 169.1 | 188.9 | 218.2 | 246.2 | 276.9 | 298.7 | 330.5 | 360.8 | 383.3 | 399.2 | 388.3 | 360.5 | 323.8 | 290.2 | 260.7 | 246.5 | 249.9 | 261.4 | 274 | 288.5 | 298.1 | 313.9 | 330.1 | 342.6 | 332.4 | 326.1 | 310.5 | 294.2 | 268.8 | 241 | 207.2 | 176.7 | 143.3 | 106.5 | 79.2 | 58.38 | 46.56 | 42.09 | 43.97 | 46.5
550 | 179.7 | 170.2 | 176.2 | 229.1 | 328 | 370.2 | 453.8 | 546.1 | 2913 | 4265 | 670.8 | 260 | 163.4 | 110.1 | 98.84 | 100.1 | 102.2 | 112.6 | 129.9 | 144.3 | 162.9 | 188 | 213.1 | 236.6 | 259.6 | 288.7 | 316.4 | 337.7 | 346.5 | 339.3 | 316 | 285.1 | 254.8 | 230.4 | 219.2 | 219.3 | 228.2 | 242.9 | 253.4 | 262.5 | 279.3 | 291.6 | 297.9 | 293.8 | 287.2 | 274.7 | 258.3 | 244.1 | 216.2 | 186.1 | 155.9 | 127.1 | 97.5 | 71.83 | 55.18 | 46.22 | 41.04 | 42.76 | 44.97
555 | 177 | 150.2 | 170.9 | 202.4 | 281.7 | 336.5 | 384.9 | 462.6 | 689.9 | 5282 | 1703 | 233.2 | 138.8 | 95.96 | 81.77 | 81.89 | 85.21 | 97.04 | 108.7 | 124 | 139.8 | 158.2 | 181.2 | 206.2 | 225 | 247.5 | 275 | 290.9 | 300.6 | 295.3 | 277.5 | 248 | 220.5 | 200.3 | 190.4 | 188.6 | 195.8 | 204.8 | 220.5 | 228.7 | 242.1 | 254.5 | 258.9 | 261.3 | 250.4 | 236.4 | 224.6 | 216.6 | 191.1 | 164.8 | 138.8 | 112.7 | 87.43 | 63.79 | 50.06 | 40.71 | 39.03 | 39.21 | 43.86
560 | 154.7 | 133.7 | 134.2 | 157.1 | 212.1 | 311.4 | 338.6 | 406.5 | 415.3 | 2848 | 3842 | 462.3 | 119.5 | 79.52 | 68.05 | 67.76 | 69.14 | 77.95 | 89.16 | 101.2 | 117.5 | 133.8 | 154.4 | 172.1 | 186.4 | 211.7 | 227.6 | 246.3 | 256 | 247.4 | 234.4 | 212.4 | 187 | 169.7 | 157.8 | 161 | 168.4 | 177.8 | 188.4 | 195.3 | 206.8 | 219 | 223.2 | 219.3 | 214.8 | 204.2 | 191.6 | 184.5 | 167 | 142.5 | 120.8 | 96.23 | 73.96 | 54.04 | 41.19 | 35.47 | 32.71 | 34.02 | 38.11
565 | 149.7 | 136 | 122.9 | 136.8 | 188.2 | 271.8 | 306.1 | 345.8 | 353.2 | 536.2 | 4991 | 1440 | 108 | 68.11 | 57.03 | 57.3 | 59.9 | 65.36 | 73.45 | 85.95 | 94.38 | 112.6 | 128.5 | 140.8 | 158.3 | 174.7 | 195.1 | 203.3 | 212.5 | 212.9 | 192.5 | 174.3 | 155.6 | 143.5 | 134.6 | 134.8 | 140.3 | 147.5 | 160.3 | 167.9 | 175.1 | 186.3 | 188.3 | 185.8 | 183.1 | 173.6 | 160.8 | 154.9 | 138.8 | 121.2 | 102.7 | 82.91 | 63.7 | 46.31 | 35.15 | 29.87 | 27.08 | 28.17 | 31.38
570 | 160.5 | 105 | 106.2 | 121.9 | 153.2 | 226.5 | 296.5 | 319 | 324.6 | 304.4 | 2669 | 3641 | 316.4 | 56.78 | 47.08 | 47.38 | 47.29 | 52.61 | 58.12 | 68.54 | 80.38 | 90.73 | 106.1 | 117.2 | 129.1 | 144.3 | 159.6 | 171.1 | 173.7 | 174.1 | 162.9 | 145.9 | 130 | 117.3 | 111.5 | 113.7 | 115.6 | 121.9 | 130.3 | 137.8 | 145.4 | 151.2 | 153.5 | 153.7 | 150.6 | 144.2 | 134.4 | 124.7 | 114.9 | 103 | 85.15 | 67.24 | 52.57 | 38.81 | 29.71 | 23.72 | 22.73 | 23.58 | 25.13
575 | 182 | 124.7 | 107.1 | 111.5 | 134.8 | 189.6 | 280 | 309.6 | 323 | 305 | 462.7 | 5121 | 1238 | 54.64 | 40.14 | 37.52 | 41.1 | 43.29 | 49.66 | 57.01 | 64.06 | 75.6 | 86.19 | 96.73 | 106.2 | 117.9 | 131.1 | 138.5 | 145 | 140.3 | 134.8 | 119.5 | 104.7 | 98.48 | 91.54 | 91.45 | 94.55 | 99.93 | 107.4 | 112 | 121.4 | 122.1 | 129.6 | 128.8 | 124 | 119.5 | 109.7 | 102 | 95.8 | 83.45 | 72.82 | 56.98 | 43.2 | 31.92 | 24.89 | 19.59 | 17.62 | 18.72 | 20.86
580 | 208.3 | 137.4 | 93.94 | 100.3 | 127 | 173.4 | 262.7 | 313.3 | 333.7 | 327.9 | 284.6 | 2772 | 3424 | 245.2 | 34.04 | 31.62 | 32.86 | 35.95 | 40.37 | 45.72 | 51.35 | 61.29 | 69.32 | 79.41 | 87.45 | 97.61 | 103.3 | 115.8 | 119.6 | 118.6 | 108.4 | 99.43 | 87.16 | 79.13 | 75.69 | 75.82 | 78.64 | 82.91 | 87.04 | 91.89 | 97.96 | 100.1 | 105.9 | 107 | 102.5 | 96.83 | 90.42 | 85.57 | 76.79 | 67.26 | 58.3 | 48.45 | 36.01 | 26.67 | 20.14 | 15.39 | 15.38 | 14.89 | 16.47
585 | 241.5 | 148.1 | 102.7 | 97.92 | 124.9 | 168.7 | 230.7 | 332.1 | 360 | 361.8 | 312.3 | 431.7 | 4864 | 1128 | 33.79 | 28.96 | 28.62 | 30.21 | 32.25 | 36.7 | 42.38 | 50.23 | 56.06 | 64.15 | 72.34 | 78.81 | 87.88 | 95.44 | 97.02 | 95.92 | 88.46 | 80.13 | 70.76 | 64.72 | 61.24 | 61.86 | 65.01 | 68.04 | 72.72 | 77.91 | 79.94 | 83.77 | 86.54 | 84.88 | 83.51 | 79.91 | 74.93 | 69.43 | 63.04 | 55.19 | 47.63 | 40.79 | 30.5 | 22.09 | 17.87 | 13.87 | 12.76 | 12.26 | 13.14
590 | 289 | 174.8 | 118.2 | 99.3 | 124.5 | 162.7 | 230.8 | 346.6 | 398.8 | 385 | 344.9 | 230.1 | 2481 | 3461 | 199.6 | 24.08 | 23.35 | 25.83 | 28.2 | 30.58 | 35.69 | 41.38 | 45.95 | 51.1 | 58 | 65.25 | 72.59 | 75.21 | 80.51 | 77.35 | 73.54 | 64.95 | 59.58 | 53.15 | 49.82 | 51.29 | 53.92 | 54.71 | 59.52 | 62.3 | 64.4 | 67.53 | 71.08 | 69.13 | 68.71 | 64.99 | 61.13 | 58.49 | 52.85 | 44.93 | 39.56 | 32.3 | 25.59 | 19.42 | 14.19 | 11.46 | 10.47 | 10.82 | 11.64
595 | 284 | 185.4 | 135.5 | 106.6 | 129.7 | 179.1 | 231.9 | 340.7 | 433.6 | 434.7 | 378.6 | 239.2 | 316.8 | 4814 | 1002 | 24.41 | 21.57 | 20.93 | 23.84 | 25.97 | 30.38 | 34.22 | 39.2 | 43.41 | 47.23 | 53.43 | 58.28 | 63.81 | 64.25 | 63.99 | 61.52 | 52.7 | 47.01 | 43.04 | 41.36 | 41.07 | 44.22 | 46.22 | 48.58 | 51.1 | 53.64 | 56.66 | 57.6 | 57.41 | 56.72 | 54.16 | 50.06 | 48.26 | 43.07 | 36.72 | 32.67 | 26.14 | 21.27 | 16.18 | 13 | 10.41 | 8.702 | 9.431 | 10.67
600 | 322.9 | 211.1 | 136.4 | 117.5 | 134 | 181.3 | 242.5 | 334.2 | 457.5 | 462.2 | 403.7 | 253.5 | 119.8 | 2507 | 3099 | 152.5 | 18.73 | 17.88 | 20.22 | 21.65 | 25.52 | 29.53 | 32.63 | 35.63 | 40.71 | 44.4 | 49 | 51.69 | 53.74 | 53.39 | 51.46 | 44.38 | 40.61 | 37.13 | 34.77 | 36 | 35.14 | 38.01 | 40.18 | 40.69 | 43.37 | 47.12 | 47.96 | 48.59 | 47 | 45.15 | 44.09 | 38.66 | 36.38 | 31.57 | 27.13 | 21.7 | 17.83 | 14.42 | 11.94 | 9.411 | 8.017 | 7.752 | 8.662