## Sheet1
Report date: | 17:05:52, 09/02/2024
Sample: | 1
File name:
Run date: | 16:55:26, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 245.0/430.0 | 923.1
2 | 250.0/275.0 | 345.2
3 | 255.0/280.0 | 402
4 | 265.0/585.0 | 223.6
5 | 275.0/350.0 | 5288
6 | 310.0/425.0 | 1543
7 | 315.0/430.0 | 1556
8 | 320.0/360.0 | 410.3
9 | 325.0/370.0 | 435.6
10 | 360.0/510.0 | 437.6
11 | 390.0/275.0 | 9.02
12 | 400.0/280.0 | 8.626
13 | 405.0/290.0 | 7.709
14 | 410.0/295.0 | 7.435
15 | 410.0/480.0 | 167.4
16 | 415.0/275.0 | 7.109
17 | 415.0/300.0 | 7.652
18 | 430.0/310.0 | 8.026
19 | 435.0/515.0 | 304.1
20 | 440.0/520.0 | 310.7
21 | 455.0/335.0 | 13.32
22 | 460.0/345.0 | 13.15
23 | 510.0/280.0 | 5.825
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 59.07 | 44.06 | 67.32 | 285.8 | 177.6 | 57.48 | 227.8 | 9999.9 | 9999.9 | 6123 | 43.69 | 22.98 | 17.06 | 11.3 | 11.32 | 8.734 | 8.08 | 7.232 | 6.265 | 6.381 | 6.089 | 5.331 | 5.791 | 5.477 | 5.31 | 5 | 5.428 | 6.003 | 6.364 | 6.01 | 7.415 | 7.783 | 8.849 | 6.541 | 6.56 | 5.936 | 6.567 | 7.034 | 5.764 | 5.155 | 5.582 | 4.345 | 4.66 | 4.413 | 4.08 | 3.683 | 2.927 | 2.368 | 2.128 | 1.948 | 2.239 | 2.541 | 4.033 | 4.241 | 2.857 | 2.439 | 2.285 | 1.954 | 2.496
275 | 82.1 | 49.52 | 46.26 | 119 | 345.2 | 157.8 | 96.11 | 846.9 | 9999.9 | 9999.9 | 5423 | 46.57 | 20.54 | 14.56 | 12.79 | 11.18 | 9.868 | 7.587 | 6.818 | 6.333 | 6.765 | 5.46 | 5.529 | 5.618 | 6.059 | 5.615 | 5.923 | 5.76 | 6.236 | 5.671 | 6.104 | 7.249 | 9.02 | 7.311 | 6.96 | 6.1 | 5.723 | 7.109 | 6.035 | 5.62 | 6.037 | 4.847 | 4.558 | 4.311 | 4.447 | 4.085 | 3.35 | 2.462 | 2.303 | 2.184 | 2.189 | 2.55 | 2.447 | 3.891 | 5.128 | 4.568 | 3.011 | 2.53 | 2.573
280 | 122.1 | 54.24 | 45.79 | 57.2 | 191.7 | 402 | 176.7 | 178.7 | 902.8 | 9999.9 | 9999.9 | 5407 | 44.65 | 19.8 | 15.69 | 11.73 | 10.99 | 8.091 | 7.167 | 6.969 | 7.097 | 6.708 | 5.791 | 6.025 | 6.154 | 5.447 | 5.979 | 6.064 | 6.35 | 5.691 | 5.574 | 5.498 | 7.402 | 7.835 | 8.626 | 6.302 | 5.559 | 6.126 | 5.794 | 6.224 | 6.621 | 5.143 | 5.462 | 4.744 | 4.526 | 4.655 | 3.711 | 3.323 | 2.224 | 2.366 | 2.381 | 2.214 | 2.313 | 2.159 | 3.195 | 4.724 | 5.825 | 3.937 | 3.088
285 | 257.2 | 116.5 | 73.91 | 67.44 | 107.6 | 336.5 | 471.6 | 270.7 | 312 | 1021 | 9999.9 | 9999.9 | 5166 | 41.36 | 21.07 | 15.04 | 11.94 | 9.948 | 8.866 | 7.302 | 7.995 | 6.771 | 6.55 | 6.457 | 6.317 | 6.11 | 6.148 | 6.255 | 6.017 | 5.812 | 5.599 | 5.128 | 5.931 | 7.035 | 8.499 | 7.557 | 5.983 | 6.004 | 5.405 | 6.168 | 7.347 | 5.408 | 5.848 | 5.205 | 4.868 | 4.663 | 3.903 | 3.628 | 3.263 | 2.892 | 2.288 | 2.526 | 2.482 | 2.489 | 2.73 | 3.137 | 3.922 | 6.115 | 6.736
290 | 552.5 | 291.6 | 154.3 | 129.1 | 148 | 238.2 | 614.4 | 695.9 | 573.1 | 649.3 | 1223 | 9999.9 | 9999.9 | 4349 | 40.96 | 20.97 | 16.72 | 11.65 | 10.05 | 8.657 | 8.959 | 7.178 | 6.807 | 6.74 | 6.105 | 6.3 | 6.382 | 6.048 | 6.705 | 5.551 | 5.54 | 4.727 | 5.568 | 6.17 | 7.355 | 7.709 | 6.849 | 6.252 | 5.35 | 5.15 | 6.636 | 5.894 | 6.004 | 5.856 | 5.697 | 5.422 | 5.481 | 4.608 | 3.835 | 3.833 | 3.006 | 2.732 | 2.956 | 2.644 | 3.165 | 3.277 | 3.731 | 4.547 | 6.119
295 | 960.9 | 550.6 | 306.3 | 244.7 | 274.7 | 363 | 588.7 | 1109 | 1156 | 1061 | 947.9 | 1343 | 9999.9 | 9999.9 | 4516 | 39.13 | 22.99 | 14.73 | 12.3 | 10.04 | 9.922 | 7.946 | 7.927 | 6.953 | 6.449 | 6.373 | 6.711 | 6.54 | 7.05 | 5.282 | 5.905 | 5.789 | 6.004 | 5.523 | 6.135 | 6.656 | 7.435 | 7.387 | 5.916 | 5.173 | 6.37 | 6.083 | 6.768 | 6.937 | 7.169 | 6.836 | 6.388 | 5.53 | 5.156 | 4.576 | 4.396 | 3.725 | 3.484 | 3.861 | 3.98 | 4.182 | 4.131 | 5.488 | 6.527
300 | 1378 | 842.8 | 524.2 | 415.1 | 454.8 | 590.9 | 820.3 | 1187 | 1823 | 1706 | 1364 | 998.3 | 1189 | 9999.9 | 9999.9 | 4474 | 42.46 | 17.89 | 16.6 | 11.48 | 11.21 | 8.744 | 8.4 | 7.998 | 6.74 | 6.861 | 7.132 | 6.788 | 6.587 | 6.16 | 5.83 | 5.731 | 5.849 | 5.812 | 5.965 | 5.748 | 6.097 | 7.652 | 6.484 | 6.241 | 6.433 | 5.706 | 6.445 | 7.992 | 7.764 | 7.841 | 7.833 | 6.636 | 6.143 | 5.995 | 5.116 | 5.081 | 4.349 | 4.696 | 4.742 | 5.2 | 5.922 | 7.253 | 8.06
305 | 1777 | 1112 | 718 | 570.3 | 657.7 | 818.5 | 1083 | 1475 | 2027 | 2459 | 1921 | 1377 | 754 | 1041 | 9999.9 | 9999.9 | 4102 | 31.43 | 20.22 | 15.14 | 13.96 | 10.26 | 9.885 | 9.164 | 7.305 | 7.176 | 8.083 | 7.198 | 6.542 | 6.197 | 5.93 | 6.272 | 6.067 | 5.728 | 5.946 | 5.353 | 5.39 | 6.689 | 6.443 | 6.848 | 6.565 | 5.972 | 7.159 | 7.962 | 9.093 | 9.456 | 9.116 | 7.799 | 7.103 | 6.565 | 6.629 | 6.157 | 6.333 | 6.21 | 6.579 | 6.903 | 8.185 | 9.506 | 10.24
310 | 2066 | 1337 | 879.3 | 760 | 825.9 | 1034 | 1371 | 1837 | 2343 | 2708 | 2642 | 1843 | 1038 | 509.7 | 947.6 | 9999.9 | 9999.9 | 3444 | 33.64 | 20.59 | 18.62 | 12.03 | 11.04 | 10.15 | 8.999 | 7.991 | 8.478 | 7.627 | 7.043 | 6.465 | 6.326 | 5.549 | 6.16 | 6.012 | 5.685 | 5.338 | 5.051 | 5.644 | 6.03 | 7.431 | 8.026 | 6.61 | 6.839 | 7.968 | 9.337 | 10.32 | 10.11 | 8.73 | 7.665 | 7.78 | 7.072 | 7.228 | 6.753 | 7.217 | 7.298 | 8.578 | 9.595 | 11.43 | 13.12
315 | 2375 | 1505 | 1032 | 912 | 1028 | 1273 | 1686 | 2184 | 2717 | 2959 | 2999 | 2498 | 1409 | 641.1 | 335.6 | 865.9 | 9999.9 | 9999.9 | 3355 | 32.92 | 23.61 | 15.98 | 13.9 | 11.48 | 8.645 | 9.364 | 8.702 | 8.201 | 8.419 | 6.978 | 6.704 | 6.021 | 6.407 | 5.934 | 5.949 | 5.23 | 4.864 | 5.488 | 5.679 | 6.5 | 7.892 | 7.46 | 7.587 | 8.359 | 8.969 | 10.83 | 10.75 | 10.13 | 8.335 | 8.311 | 7.378 | 7.638 | 8.28 | 8.693 | 8.755 | 9.163 | 11.2 | 13.71 | 15.17
320 | 2519 | 1651 | 1113 | 1023 | 1139 | 1491 | 1945 | 2569 | 3162 | 3412 | 3244 | 3008 | 1975 | 872.4 | 394.5 | 212.3 | 854.5 | 9999.9 | 9999.9 | 3450 | 38.88 | 20.24 | 17.19 | 13.83 | 11.31 | 9.943 | 9.821 | 8.277 | 7.919 | 7.38 | 6.706 | 6.717 | 6.77 | 6.212 | 5.996 | 5.239 | 5.398 | 5.45 | 5.304 | 6.045 | 6.783 | 7.524 | 8.395 | 9.23 | 9.369 | 10.4 | 11.32 | 10.56 | 8.911 | 9.205 | 8.354 | 8.103 | 8.262 | 9.546 | 9.726 | 10.51 | 12.57 | 14.71 | 17.08
325 | 2802 | 1715 | 1214 | 1155 | 1330 | 1734 | 2258 | 2919 | 3565 | 3829 | 3684 | 3209 | 2463 | 1205 | 518.4 | 216.7 | 160.9 | 794.7 | 9999.9 | 9999.9 | 4259 | 32.58 | 23.28 | 18.61 | 14.37 | 13.28 | 10.9 | 10.27 | 9.139 | 8.118 | 7.493 | 6.672 | 6.853 | 6.043 | 6.468 | 5.975 | 5.442 | 5.757 | 5.27 | 5.313 | 6.549 | 7.082 | 8.308 | 9.69 | 10.08 | 11.23 | 11.98 | 10.5 | 9.387 | 9.583 | 8.799 | 8.84 | 9.212 | 10.5 | 10.96 | 12.45 | 14.66 | 16.48 | 18.89
330 | 2959 | 1768 | 1271 | 1235 | 1441 | 1926 | 2537 | 3303 | 3981 | 4266 | 4133 | 3599 | 2609 | 1597 | 707.9 | 280.9 | 147.5 | 125 | 797.2 | 9999.9 | 9999.9 | 3739 | 37.27 | 23.83 | 18.92 | 15.43 | 11.74 | 10.59 | 9.516 | 8.098 | 7.52 | 6.8 | 6.49 | 6.202 | 6.287 | 5.837 | 5.189 | 5.501 | 5.361 | 5.626 | 6.205 | 6.873 | 8.088 | 10.1 | 11.41 | 12.18 | 12.04 | 10.38 | 9.902 | 10.1 | 9.733 | 9.241 | 9.377 | 11.17 | 12.15 | 13.89 | 16.31 | 19 | 21.47
335 | 3132 | 1857 | 1353 | 1303 | 1564 | 2093 | 2816 | 3620 | 4396 | 4684 | 4550 | 3989 | 2878 | 1644 | 1031 | 391.4 | 180.8 | 101.3 | 115.6 | 793.6 | 9999.9 | 9999.9 | 4398 | 38.3 | 25.2 | 21.37 | 15.98 | 12.52 | 10.95 | 10.18 | 8.935 | 7.951 | 7.367 | 6.477 | 6.623 | 5.654 | 5.604 | 5.369 | 5.337 | 5.26 | 6.201 | 6.735 | 7.796 | 10.1 | 11.66 | 13.32 | 12.26 | 11.04 | 9.055 | 10.13 | 9.726 | 10.19 | 9.866 | 10.93 | 13.03 | 14.69 | 17.85 | 20.34 | 23.78
340 | 3188 | 1853 | 1360 | 1353 | 1663 | 2252 | 3090 | 3881 | 4736 | 5038 | 4893 | 4286 | 3149 | 1722 | 1043 | 627.1 | 239.7 | 126.3 | 83.91 | 109.6 | 852.8 | 9999.9 | 9999.9 | 4621 | 39.78 | 28.86 | 21.07 | 16.57 | 12.71 | 10.36 | 9.825 | 8.153 | 7.86 | 7.306 | 7.074 | 6.368 | 5.542 | 5.963 | 5.246 | 5.939 | 6.517 | 6.141 | 8.144 | 9.432 | 10.93 | 12.78 | 12.96 | 10.95 | 9.784 | 9.833 | 9.972 | 9.859 | 10.58 | 11.49 | 13.08 | 15.21 | 17.88 | 22.07 | 25.19
345 | 3185 | 1839 | 1369 | 1387 | 1715 | 2348 | 3204 | 4077 | 4930 | 5209 | 5150 | 4493 | 3342 | 1841 | 996.4 | 666.9 | 416.1 | 163.7 | 98.17 | 79.79 | 116.8 | 830.2 | 9999.9 | 9999.9 | 5070 | 45.92 | 27.37 | 23.41 | 17.31 | 12.58 | 10.67 | 8.736 | 8.069 | 7.688 | 7.688 | 6.686 | 5.801 | 5.99 | 5.666 | 5.818 | 6.056 | 6.818 | 8.188 | 9.431 | 10.73 | 12.25 | 13.15 | 11.59 | 9.699 | 9.386 | 9.786 | 10.59 | 10.78 | 11.81 | 13.39 | 16.34 | 18.55 | 22.02 | 25.13
350 | 3169 | 1845 | 1364 | 1412 | 1734 | 2392 | 3258 | 4148 | 4987 | 5288 | 5252 | 4572 | 3419 | 1931 | 1060 | 581.9 | 514.3 | 300.8 | 136.2 | 97.04 | 86.48 | 115.6 | 840.7 | 9999.9 | 9999.9 | 5983 | 45.41 | 30.24 | 22.51 | 17.85 | 12.22 | 10.61 | 10.16 | 8.122 | 7.709 | 6.941 | 6.169 | 6.381 | 6.025 | 5.6 | 6.224 | 7.018 | 8.641 | 9.428 | 10.43 | 11.79 | 12.65 | 10.7 | 9.909 | 9.37 | 9.298 | 9.85 | 10.66 | 11.66 | 13.66 | 16.33 | 18.9 | 21.73 | 26.79
355 | 3070 | 1775 | 1334 | 1405 | 1765 | 2408 | 3256 | 4133 | 4929 | 5269 | 5191 | 4531 | 3439 | 1957 | 1079 | 599 | 411.4 | 444.5 | 242.2 | 130.9 | 109.4 | 91.83 | 125.9 | 865.2 | 9999.9 | 9999.9 | 5661 | 45.79 | 30.52 | 22.21 | 16.36 | 11.01 | 10.86 | 9.604 | 8.527 | 7.605 | 6.589 | 6.801 | 6.106 | 6.549 | 6.695 | 7.08 | 7.714 | 9.312 | 10.14 | 11.53 | 11.12 | 9.63 | 10.13 | 9.817 | 9.519 | 9.801 | 10.74 | 12.07 | 14.06 | 16.17 | 19.2 | 22.01 | 26.11
360 | 2953 | 1726 | 1312 | 1368 | 1720 | 2341 | 3185 | 4039 | 4812 | 5091 | 5078 | 4392 | 3362 | 1963 | 1124 | 644.2 | 409.7 | 372.5 | 410.3 | 213.2 | 150.1 | 123.8 | 107.6 | 142.5 | 867.8 | 9999.9 | 9999.9 | 6159 | 47.16 | 29.82 | 23.27 | 15.05 | 12.65 | 10.32 | 9.954 | 8.524 | 7.088 | 7.259 | 6.286 | 6.414 | 6.513 | 7.239 | 8.123 | 9.517 | 10.14 | 11.13 | 10.37 | 8.915 | 8.818 | 9.953 | 10.16 | 9.595 | 10.84 | 11.57 | 13.13 | 15.9 | 17.92 | 21.51 | 24.9
365 | 2770 | 1628 | 1256 | 1351 | 1675 | 2245 | 3056 | 3780 | 4565 | 4808 | 4789 | 4168 | 3248 | 1925 | 1115 | 675.1 | 449.1 | 348.3 | 391.3 | 391.4 | 218 | 167.4 | 135.3 | 119.1 | 153.1 | 936.9 | 9999.9 | 9999.9 | 5740 | 47.88 | 30.82 | 21.67 | 16.08 | 11.98 | 10.63 | 8.78 | 8.034 | 7.507 | 7.247 | 6.434 | 6.791 | 7.398 | 7.838 | 9.599 | 9.817 | 9.942 | 9.937 | 8.514 | 8.044 | 8.901 | 9.604 | 10.36 | 10.07 | 11.16 | 12.6 | 15 | 18.64 | 20.94 | 24.85
370 | 2574 | 1515 | 1219 | 1311 | 1610 | 2124 | 2861 | 3560 | 4207 | 4507 | 4474 | 3893 | 3048 | 1850 | 1107 | 702.7 | 502.3 | 392.8 | 351.9 | 435.6 | 383.5 | 228.7 | 178.8 | 153.6 | 141.7 | 158 | 916.5 | 9999.9 | 9999.9 | 5963 | 48.06 | 29.17 | 23.04 | 16.14 | 12.46 | 9.581 | 8.129 | 8.161 | 6.814 | 6.822 | 7.02 | 7.303 | 7.688 | 9.151 | 9.01 | 9.72 | 9.5 | 8.316 | 7.794 | 8.583 | 8.796 | 9.339 | 9.872 | 11.48 | 12.54 | 14.51 | 16.72 | 19.94 | 22.72
375 | 2396 | 1410 | 1159 | 1232 | 1530 | 1990 | 2596 | 3240 | 3861 | 4113 | 4071 | 3575 | 2819 | 1760 | 1114 | 748.4 | 563.1 | 468.1 | 412.1 | 394.3 | 490.5 | 380.3 | 245.6 | 203.5 | 179 | 135.4 | 145.7 | 948 | 9999.9 | 9999.9 | 6059 | 44.18 | 30.59 | 22.17 | 16.91 | 11.26 | 8.408 | 8.851 | 7.608 | 7.307 | 6.899 | 7.175 | 7.77 | 9.107 | 9.136 | 9.199 | 8.866 | 7.715 | 7.144 | 7.62 | 8.735 | 9.86 | 9.878 | 11.24 | 12.04 | 13.56 | 15.37 | 17.92 | 21.31
380 | 2174 | 1330 | 1110 | 1181 | 1417 | 1826 | 2367 | 2918 | 3449 | 3687 | 3650 | 3214 | 2607 | 1671 | 1103 | 795.6 | 631.2 | 547.7 | 496.5 | 452.8 | 464.7 | 541 | 376.3 | 277.3 | 238.7 | 175.8 | 126.7 | 147.3 | 953.1 | 9999.9 | 9999.9 | 5511 | 47.41 | 28 | 21.88 | 14.17 | 10.69 | 9.456 | 8.049 | 7.559 | 7.479 | 7.412 | 7.67 | 8.586 | 8.581 | 9.086 | 8.422 | 7.467 | 6.71 | 7.485 | 8.009 | 9.085 | 9.441 | 10.81 | 12 | 12.25 | 14.83 | 16.85 | 19.93
385 | 1962 | 1251 | 1060 | 1104 | 1319 | 1672 | 2113 | 2611 | 3056 | 3310 | 3305 | 2968 | 2414 | 1610 | 1125 | 860.8 | 725.9 | 648.5 | 613.3 | 559.9 | 531.3 | 546.6 | 560.5 | 390.9 | 310 | 232.8 | 168.2 | 125.5 | 144 | 983.5 | 9999.9 | 9999.9 | 6007 | 43.58 | 28.81 | 19.56 | 13.73 | 11.43 | 8.593 | 8.236 | 7.547 | 7.822 | 7.755 | 8.528 | 7.701 | 8.409 | 7.893 | 7.317 | 6.792 | 7.076 | 8.385 | 8.115 | 8.679 | 9.709 | 10.86 | 13.18 | 14 | 15.84 | 16.83
390 | 1757 | 1202 | 1011 | 1066 | 1213 | 1513 | 1884 | 2308 | 2721 | 2930 | 2928 | 2675 | 2227 | 1585 | 1172 | 945.1 | 839.7 | 783.6 | 742.5 | 690.3 | 650.5 | 601.8 | 615.2 | 581.9 | 407 | 305.5 | 227.2 | 162.9 | 117.2 | 139.3 | 928.7 | 9999.9 | 9999.9 | 5864 | 45.62 | 24.58 | 16.81 | 13.86 | 9.74 | 8.925 | 7.838 | 7.634 | 8.005 | 7.998 | 8.018 | 8.106 | 7.381 | 7.34 | 6.191 | 6.921 | 7.271 | 8.207 | 8.481 | 9.123 | 11.18 | 11.75 | 14.54 | 14.62 | 16
395 | 1619 | 1124 | 964.5 | 1021 | 1164 | 1392 | 1676 | 2040 | 2394 | 2613 | 2658 | 2440 | 2098 | 1568 | 1243 | 1046 | 979.4 | 926 | 885.4 | 845.7 | 782.8 | 719.7 | 650.9 | 672.6 | 573.5 | 391.8 | 289.7 | 214.4 | 147.2 | 100.2 | 128.6 | 951.9 | 9999.9 | 9999.9 | 5945 | 36.56 | 23.99 | 17.59 | 12.65 | 9.431 | 9.265 | 7.774 | 8.387 | 8.342 | 7.833 | 7.953 | 7.819 | 7.011 | 6.563 | 7.294 | 7.959 | 7.981 | 8.068 | 9.202 | 9.406 | 11.4 | 12.74 | 13.85 | 15.45
400 | 1511 | 1086 | 981.1 | 978 | 1116 | 1302 | 1524 | 1807 | 2131 | 2344 | 2401 | 2279 | 2027 | 1583 | 1316 | 1177 | 1119 | 1078 | 1044 | 989.2 | 926.1 | 847.3 | 750.8 | 683.1 | 704 | 533.6 | 367.1 | 269.4 | 185.1 | 124.1 | 87.45 | 116.5 | 954.1 | 9999.9 | 9999.9 | 4811 | 36.46 | 23.96 | 16.26 | 12.71 | 9.843 | 8.75 | 8.405 | 8.85 | 8.183 | 7.701 | 7.659 | 6.803 | 6.475 | 6.724 | 7.384 | 7.915 | 7.837 | 8.301 | 9.304 | 10.66 | 11.64 | 12.74 | 14.31
405 | 1436 | 1025 | 937.5 | 958.4 | 1057 | 1180 | 1373 | 1622 | 1888 | 2097 | 2190 | 2107 | 1914 | 1587 | 1386 | 1288 | 1248 | 1227 | 1192 | 1136 | 1060 | 966.1 | 856.1 | 762.2 | 711.1 | 672.1 | 475.1 | 325.9 | 227.2 | 149.1 | 100.4 | 71.16 | 114.6 | 868.9 | 9999.9 | 9999.9 | 4716 | 36.97 | 21.37 | 16.32 | 11.82 | 9.355 | 8.309 | 9.482 | 8.263 | 7.856 | 7.523 | 7.26 | 6.967 | 7.612 | 7.449 | 7.705 | 8.276 | 8.14 | 9.269 | 9.546 | 10.54 | 12.58 | 13.11
410 | 1332 | 1011 | 962.2 | 970.4 | 1022 | 1106 | 1252 | 1462 | 1683 | 1889 | 2009 | 1978 | 1841 | 1586 | 1439 | 1384 | 1367 | 1349 | 1328 | 1259 | 1185 | 1083 | 957.1 | 841.7 | 748.7 | 685.7 | 611.5 | 399.6 | 265.2 | 176.1 | 117.9 | 79.03 | 63.6 | 102.1 | 914.8 | 9999.9 | 9999.9 | 4712 | 32.6 | 20.27 | 15.04 | 11.15 | 9.241 | 9.185 | 8.407 | 8.531 | 7.168 | 7.004 | 6.93 | 6.975 | 7.649 | 7.35 | 7.714 | 7.999 | 8.878 | 9.268 | 10.12 | 11.21 | 11.75
415 | 1270 | 1009 | 947.1 | 942.7 | 964.4 | 1049 | 1140 | 1311 | 1525 | 1732 | 1850 | 1861 | 1777 | 1593 | 1495 | 1451 | 1453 | 1453 | 1417 | 1358 | 1271 | 1175 | 1037 | 913.4 | 799.4 | 681.2 | 633.1 | 512.6 | 312.2 | 203.7 | 138.1 | 95.24 | 71.52 | 57.5 | 102.5 | 908.3 | 9999.9 | 9999.9 | 4207 | 31.64 | 19.55 | 14.99 | 11.44 | 9.934 | 8.491 | 8.442 | 7.584 | 6.924 | 7.581 | 7.727 | 7.36 | 7.492 | 7.529 | 8.077 | 8.766 | 8.743 | 9.788 | 9.946 | 10.83
420 | 1151 | 992.7 | 926.4 | 909.6 | 962.2 | 996.1 | 1062 | 1205 | 1390 | 1564 | 1692 | 1736 | 1697 | 1561 | 1513 | 1491 | 1512 | 1510 | 1493 | 1439 | 1329 | 1229 | 1092 | 963.2 | 843.4 | 713.1 | 608.2 | 556.1 | 397.4 | 235.5 | 161.1 | 110 | 80.99 | 62.29 | 54.1 | 96.59 | 881.8 | 9999.9 | 9999.9 | 3798 | 29.99 | 18.39 | 15.35 | 11.89 | 9.447 | 8.547 | 8.238 | 7.024 | 7.528 | 7.647 | 7.921 | 7.418 | 7.621 | 8.225 | 8.647 | 8.977 | 9.239 | 9.689 | 10.24
425 | 1104 | 963.1 | 929.3 | 911.5 | 959.5 | 950 | 984.6 | 1085 | 1274 | 1437 | 1576 | 1620 | 1620 | 1538 | 1511 | 1511 | 1543 | 1542 | 1532 | 1470 | 1373 | 1262 | 1130 | 998 | 866.9 | 737.1 | 606.7 | 514.2 | 463 | 294.8 | 180.7 | 127.3 | 95.97 | 72.89 | 57.55 | 49.07 | 93.11 | 945.9 | 9999.9 | 9999.9 | 3569 | 27.8 | 18.99 | 15.27 | 11.45 | 10 | 9.087 | 7.146 | 7.145 | 7.406 | 7.737 | 7.54 | 7.363 | 7.724 | 8.291 | 8.762 | 9.159 | 9.099 | 9.953
430 | 1005 | 960.7 | 913.5 | 923.1 | 912.2 | 914.2 | 932.7 | 999.6 | 1169 | 1310 | 1452 | 1525 | 1548 | 1505 | 1475 | 1511 | 1536 | 1556 | 1548 | 1490 | 1395 | 1279 | 1155 | 1018 | 888 | 759.1 | 629.1 | 510.6 | 431.4 | 365.6 | 220.6 | 146.3 | 113.6 | 85.64 | 68.46 | 53.61 | 46.38 | 99.35 | 841.4 | 9999.9 | 9999.9 | 3508 | 28.52 | 20.07 | 14.9 | 10.94 | 9.54 | 8.131 | 7.605 | 7.525 | 8.294 | 7.562 | 7.375 | 8.221 | 8.613 | 8.738 | 8.935 | 8.883 | 9.495
435 | 973.7 | 904.5 | 897.3 | 895.2 | 913.4 | 898.9 | 902.6 | 947.3 | 1083 | 1224 | 1356 | 1434 | 1468 | 1441 | 1459 | 1491 | 1514 | 1542 | 1539 | 1483 | 1395 | 1279 | 1152 | 1017 | 894.4 | 775.8 | 647.5 | 514.1 | 408.6 | 368.1 | 289 | 179.9 | 129.7 | 103.2 | 80.32 | 62.25 | 50.95 | 47.21 | 87.78 | 895.9 | 9999.9 | 9999.9 | 3537 | 29.94 | 18.19 | 14.87 | 10.62 | 8.461 | 7.643 | 7.636 | 8.066 | 8.311 | 8.048 | 8.015 | 8.309 | 8.454 | 8.395 | 8.807 | 8.924
440 | 941.7 | 880.9 | 888.9 | 876.6 | 873.1 | 868.9 | 861.2 | 893.1 | 991.6 | 1131 | 1264 | 1349 | 1382 | 1389 | 1401 | 1444 | 1476 | 1510 | 1499 | 1456 | 1371 | 1276 | 1148 | 1010 | 888.3 | 762.6 | 644.2 | 524.6 | 414.2 | 332.6 | 311.4 | 237.5 | 157 | 120.1 | 95.49 | 76.83 | 61.99 | 49.69 | 43.58 | 90.37 | 866.3 | 9999.9 | 9999.9 | 3844 | 27.46 | 18.63 | 14.25 | 10.44 | 8.151 | 8.259 | 8.418 | 8.169 | 7.872 | 7.625 | 8.067 | 8.474 | 8.548 | 9.019 | 9.001
445 | 894.3 | 850 | 855 | 866.2 | 860.4 | 821.4 | 800.1 | 833.7 | 931.2 | 1034 | 1158 | 1240 | 1284 | 1299 | 1325 | 1372 | 1411 | 1451 | 1437 | 1396 | 1320 | 1230 | 1112 | 983.5 | 867.2 | 749.1 | 643.2 | 524.3 | 418.5 | 328.6 | 283.3 | 272.6 | 195 | 134.6 | 109.4 | 89.83 | 70.15 | 57.06 | 45.75 | 41.05 | 86.65 | 840.5 | 9999.9 | 9999.9 | 3302 | 28.23 | 17.03 | 12.57 | 9.782 | 9.038 | 9.119 | 7.997 | 8.176 | 7.836 | 8.167 | 8.381 | 8.088 | 8.263 | 9.038
450 | 1401 | 798.9 | 814.4 | 839 | 832.2 | 788.4 | 757.8 | 766.5 | 851.3 | 949.5 | 1066 | 1152 | 1189 | 1198 | 1236 | 1283 | 1325 | 1351 | 1359 | 1321 | 1253 | 1156 | 1059 | 943.4 | 832.2 | 720.5 | 624.6 | 518.1 | 417.5 | 335.4 | 270.8 | 248.5 | 240 | 163.2 | 122.9 | 100.7 | 82.62 | 66.39 | 52.84 | 42.3 | 38.13 | 84.02 | 841.5 | 9999.9 | 9999.9 | 3400 | 25.99 | 16 | 12.27 | 10.01 | 9.46 | 9.16 | 8.178 | 8.114 | 8.662 | 8.563 | 8.747 | 8.258 | 8.86
455 | 3702 | 749.1 | 756.7 | 784.7 | 782.1 | 759.2 | 708.5 | 708.9 | 764.4 | 865.8 | 963.6 | 1036 | 1080 | 1098 | 1143 | 1190 | 1235 | 1249 | 1259 | 1227 | 1172 | 1091 | 989.1 | 891.3 | 788.2 | 688.8 | 597.3 | 501.6 | 415.9 | 332.6 | 270.4 | 229.2 | 231.2 | 203.1 | 142.5 | 112.5 | 91.87 | 74.84 | 61.5 | 48.68 | 38.86 | 37.1 | 82.9 | 911.5 | 9999.9 | 9999.9 | 2979 | 22.79 | 15.21 | 12 | 10.03 | 8.974 | 8.257 | 8.248 | 8.355 | 7.682 | 8.042 | 8.356 | 8.29
460 | 6914 | 1226 | 704.7 | 736.2 | 743 | 706.9 | 676.3 | 671.9 | 721.6 | 779.3 | 875.8 | 934.6 | 975.7 | 993.1 | 1034 | 1078 | 1121 | 1148 | 1148 | 1129 | 1082 | 1012 | 930.2 | 830.9 | 734.9 | 650.5 | 558.7 | 484.9 | 401.5 | 327 | 272.2 | 231 | 207.4 | 213.4 | 173.6 | 125.1 | 102.3 | 83.32 | 69.58 | 57.77 | 46.88 | 37.96 | 35.69 | 86.6 | 830 | 9999.9 | 9999.9 | 2586 | 21.57 | 14.91 | 12.29 | 10.4 | 9.038 | 8.379 | 7.922 | 8.012 | 7.807 | 7.833 | 7.642
465 | 6112 | 3726 | 691.8 | 704.1 | 694.9 | 671.7 | 636.3 | 616.3 | 633.7 | 704.5 | 781.9 | 834.3 | 876.7 | 896.6 | 936.1 | 982.3 | 1012 | 1040 | 1043 | 1030 | 987.1 | 928.1 | 847.4 | 764 | 682.2 | 603.1 | 528.9 | 460.4 | 385.3 | 325 | 269 | 231 | 199.5 | 188.6 | 192.8 | 148.5 | 111.9 | 93.18 | 77.33 | 63.44 | 54.57 | 43.86 | 35.36 | 35.77 | 80.74 | 838.7 | 9999.9 | 9999.9 | 2644 | 22.58 | 16.43 | 12.42 | 10.15 | 9.037 | 8.676 | 8.093 | 7.848 | 7.499 | 7.745
470 | 1970 | 7219 | 1330 | 653.3 | 638.3 | 626.6 | 586.6 | 571.1 | 582.6 | 637.7 | 701.8 | 747 | 770.8 | 798.3 | 823.7 | 875.6 | 907.7 | 927 | 932.9 | 928.9 | 887.8 | 838.4 | 775.9 | 690.6 | 632.4 | 557.6 | 495.3 | 434.2 | 369 | 312.1 | 267.4 | 228.3 | 204.2 | 179.8 | 178.9 | 173.4 | 131 | 101.8 | 84.8 | 71.84 | 58.92 | 51.06 | 43.08 | 36.05 | 33.76 | 81.56 | 804.1 | 9999.9 | 9999.9 | 2572 | 23.69 | 16.76 | 12.12 | 10.12 | 9.221 | 8.312 | 7.893 | 7.325 | 7.649
475 | 609.6 | 6836 | 4028 | 606.1 | 612.2 | 575.5 | 533.4 | 533.2 | 537.7 | 589.2 | 630.6 | 653.6 | 678.5 | 705.2 | 738 | 770.9 | 806.2 | 819.2 | 834.4 | 826.2 | 791.9 | 758.1 | 701.7 | 636.1 | 574.4 | 515.3 | 460.5 | 403.7 | 352.1 | 302.1 | 262.2 | 227.2 | 200.1 | 177.6 | 164.1 | 172.5 | 153.2 | 115.1 | 95.36 | 80.88 | 69.26 | 59.03 | 51.77 | 43.81 | 37.96 | 35.92 | 78.68 | 800.8 | 9999.9 | 9999.9 | 2018 | 23.64 | 16.04 | 12.03 | 10.52 | 8.675 | 8.324 | 7.523 | 7.702
480 | 487.6 | 2231 | 8000 | 1162 | 560.1 | 537.8 | 518.9 | 505.7 | 518.1 | 535.7 | 572.8 | 592.9 | 608.5 | 626 | 652.8 | 690.5 | 714 | 734.4 | 748.8 | 736.2 | 717.4 | 679.4 | 630.8 | 586 | 534.1 | 481.6 | 429.2 | 388.5 | 345.9 | 299.5 | 263.9 | 231.5 | 208.2 | 188.4 | 168.5 | 159.8 | 167.4 | 141.4 | 109.6 | 93.24 | 83.62 | 73.17 | 63.97 | 56.79 | 47.98 | 43.21 | 41.89 | 83.82 | 767.9 | 9999.9 | 9999.9 | 2160 | 23.43 | 16.74 | 12.69 | 10.05 | 8.544 | 7.648 | 7.594
485 | 432 | 567.9 | 7539 | 3751 | 548.3 | 533.7 | 512.4 | 498.3 | 510.6 | 522.2 | 548.2 | 550.4 | 559.4 | 563.6 | 594.7 | 620.2 | 641.3 | 665 | 666.7 | 670.2 | 655.9 | 621.6 | 584.3 | 543.2 | 503.2 | 460.1 | 419.6 | 382.6 | 345 | 305.5 | 272.2 | 242 | 218.9 | 197.2 | 179.5 | 164.7 | 161.2 | 164.3 | 138.3 | 116.2 | 105.5 | 95.69 | 86.86 | 76.33 | 68.91 | 58.93 | 56.29 | 52.51 | 91.92 | 814.1 | 9999.9 | 9999.9 | 1816 | 24.99 | 16.82 | 13.18 | 10.58 | 8.225 | 7.539
490 | 445 | 443.3 | 2534 | 7370 | 1081 | 534.5 | 524.4 | 523.6 | 527.8 | 527.3 | 534.4 | 529.7 | 514.6 | 515.9 | 531.7 | 560.2 | 582.7 | 601.5 | 607.6 | 614.3 | 593.7 | 571.8 | 547.7 | 513.1 | 482 | 447.2 | 412.4 | 392.2 | 358.7 | 322 | 293.9 | 263.7 | 234.3 | 213.9 | 198.1 | 181 | 171.8 | 177.2 | 174.1 | 144.1 | 132.7 | 123.2 | 116.9 | 106.3 | 98.88 | 89.64 | 78.83 | 71.25 | 66.54 | 107.4 | 844.9 | 9999.9 | 9999.9 | 1764 | 24.74 | 15.74 | 12.8 | 9.944 | 8.344
495 | 425.8 | 414.9 | 575.2 | 7091 | 3540 | 554.3 | 547 | 559.9 | 578.9 | 548.4 | 535.6 | 510.2 | 470.4 | 466.7 | 473.9 | 496.2 | 515.3 | 533.9 | 548.2 | 550.1 | 541.9 | 530.9 | 517 | 490.4 | 464.6 | 441.3 | 419.2 | 405.9 | 376.1 | 344.1 | 312.1 | 287.6 | 257.3 | 233.2 | 215.8 | 204.6 | 195.8 | 191.8 | 198.8 | 188.2 | 172.4 | 160.2 | 155.5 | 144.8 | 134.3 | 121.1 | 112.1 | 101.8 | 91.14 | 81.76 | 117.5 | 850.5 | 9999.9 | 9999.9 | 1570 | 24.03 | 15.53 | 12.24 | 10.08
500 | 409.2 | 379.4 | 424.3 | 2513 | 7571 | 1068 | 581.3 | 618.3 | 619.4 | 583.6 | 553.9 | 485.5 | 435.1 | 412 | 416.1 | 440.8 | 460.7 | 481 | 496 | 500.4 | 497.6 | 486.8 | 486 | 470.7 | 447.7 | 440.4 | 428.3 | 415.7 | 400.9 | 370.6 | 337.6 | 307.1 | 278.7 | 253.2 | 239.1 | 223.8 | 226 | 219.6 | 217.5 | 229.6 | 218 | 203.1 | 198.3 | 191 | 177.8 | 163 | 148.8 | 135.1 | 120 | 100.9 | 91.83 | 120.7 | 827.3 | 9999.9 | 9999.9 | 1480 | 22 | 14 | 11.54
505 | 420.9 | 387.6 | 371 | 594.2 | 8045 | 3457 | 620.2 | 655.6 | 670.8 | 607.2 | 550.9 | 474.8 | 395.1 | 366.7 | 372.1 | 391.3 | 404.7 | 426.5 | 435.6 | 450.1 | 449.3 | 457.9 | 450 | 442.9 | 436.4 | 433.8 | 436 | 429.4 | 420.8 | 397.5 | 365.1 | 326.5 | 296.9 | 273.1 | 256.5 | 244.2 | 242.5 | 243.7 | 239.5 | 249.5 | 257.1 | 248.4 | 237.2 | 230.5 | 215.7 | 201.5 | 184.1 | 168.5 | 151.6 | 128.1 | 106.8 | 88.18 | 114.2 | 843.4 | 9999.9 | 9999.9 | 1486 | 19.47 | 14.31
510 | 381.4 | 380.4 | 367.9 | 422.3 | 3094 | 7853 | 1155 | 695.5 | 700.2 | 636.2 | 565 | 455.7 | 369.3 | 328.3 | 325.8 | 341.6 | 361.6 | 372.9 | 392.5 | 404.2 | 409.8 | 420.5 | 417 | 422.3 | 416.3 | 424.6 | 437.6 | 436.3 | 431.5 | 411.7 | 383.6 | 344.7 | 310.7 | 282.7 | 265.3 | 258 | 259.5 | 259.4 | 261.5 | 263.6 | 279.7 | 286.1 | 273 | 259.5 | 248.4 | 231.7 | 211.5 | 197.7 | 175.1 | 149.5 | 123.5 | 98.52 | 76.98 | 103.1 | 778.6 | 9999.9 | 9999.9 | 1290 | 19.08
515 | 327.6 | 377.6 | 348.8 | 390.1 | 688.1 | 8762 | 3479 | 714 | 702.7 | 642.2 | 544 | 437.7 | 335.4 | 292.9 | 284.2 | 299.7 | 315 | 331.3 | 340.9 | 360.5 | 370.1 | 381 | 388 | 396.8 | 399.3 | 411.2 | 428 | 435.7 | 429.4 | 415.5 | 382.7 | 348.7 | 313.8 | 284 | 268.4 | 263.4 | 262.1 | 271.5 | 273.6 | 278.2 | 288.4 | 304.1 | 296.9 | 282 | 266.2 | 247.6 | 234.1 | 214 | 189.3 | 162.7 | 134.9 | 107.6 | 79.86 | 58.45 | 83.89 | 775 | 9999.9 | 9999.9 | 1188
520 | 319.9 | 325 | 339.1 | 354.9 | 451.9 | 3692 | 7694 | 1282 | 705.3 | 621.4 | 532 | 411.6 | 307.9 | 254.8 | 247.4 | 262.3 | 271.1 | 287.9 | 303.1 | 317.2 | 329.2 | 345.3 | 355.4 | 362.6 | 376.4 | 393 | 406.5 | 422.8 | 420.3 | 405.2 | 377.9 | 341.2 | 309.1 | 283.8 | 265.7 | 260.4 | 262.5 | 271 | 275.4 | 281.8 | 286.9 | 302.6 | 310.7 | 297.1 | 277.2 | 257.1 | 240.5 | 222.8 | 198.1 | 168.6 | 142.5 | 110.8 | 81.82 | 57.91 | 42.59 | 75.31 | 754.3 | 9616 | 9999.9
525 | 279.6 | 293.5 | 331.7 | 343.5 | 407.8 | 753.9 | 8636 | 3799 | 702.3 | 598.6 | 510.9 | 380.9 | 281.2 | 227.6 | 214.2 | 221.6 | 236.7 | 252.7 | 263.3 | 279.4 | 297.3 | 304.1 | 320.5 | 334 | 350.6 | 367.6 | 379.2 | 399.4 | 402.1 | 392.1 | 363.1 | 328 | 292.4 | 271.8 | 253.6 | 252.5 | 254.5 | 260.6 | 266.2 | 276.6 | 285.8 | 290.5 | 302.6 | 298.9 | 280.4 | 257.5 | 237.8 | 220.2 | 197.8 | 169.8 | 146.3 | 112.5 | 82.22 | 57.18 | 39.76 | 31.18 | 68.85 | 720.8 | 8828
530 | 267.7 | 258.1 | 290.5 | 325.1 | 360.8 | 478.6 | 3859 | 8588 | 1209 | 562.8 | 472.4 | 346.9 | 244.9 | 199.8 | 188.2 | 191.3 | 203.8 | 216.9 | 229.8 | 241.6 | 259.9 | 273.8 | 287.4 | 306.7 | 318.9 | 336.9 | 356.7 | 372.1 | 377.2 | 361.6 | 340.6 | 307.9 | 274.7 | 253.8 | 239.3 | 234.5 | 240.5 | 249.4 | 255.3 | 263.3 | 268.6 | 280.2 | 285.6 | 287.4 | 275.8 | 250.9 | 235.3 | 215.6 | 193.2 | 167.8 | 139.5 | 108 | 80.55 | 57.09 | 39.72 | 27.7 | 25.68 | 63.57 | 669
535 | 241.6 | 222.7 | 244.5 | 327.1 | 342.1 | 414.1 | 804.2 | 9999.9 | 3419 | 535.6 | 435.9 | 320.1 | 222 | 171.9 | 160.1 | 165.7 | 173 | 188.4 | 197.1 | 209.8 | 224.4 | 242.8 | 252.2 | 268.6 | 289.2 | 309.8 | 327.1 | 338.1 | 348.5 | 333.2 | 312.9 | 280.5 | 255.3 | 230.5 | 219.8 | 217.5 | 223.2 | 230.1 | 236.6 | 245.3 | 254.8 | 263.8 | 266.3 | 267.8 | 259.8 | 241.8 | 221.3 | 204.4 | 183.5 | 155.8 | 134.1 | 103.3 | 79.3 | 55.96 | 38.83 | 28.81 | 23.25 | 24.6 | 60.9
540 | 223.2 | 193.4 | 190.4 | 293.1 | 321.4 | 356.3 | 474.7 | 5020 | 7474 | 1033 | 392 | 281.6 | 201.3 | 145.3 | 138 | 143.3 | 149.6 | 155.2 | 166.9 | 184.3 | 192.9 | 210.5 | 223.5 | 235.8 | 253.2 | 270.6 | 289.2 | 309.6 | 315.6 | 306.9 | 284.3 | 257.3 | 231.9 | 210.2 | 203 | 197.6 | 202.1 | 210.2 | 217.2 | 226.8 | 233.8 | 242 | 243.5 | 242.5 | 237.7 | 227.2 | 208.6 | 191.5 | 173.1 | 144.5 | 123.1 | 97.89 | 74.09 | 53.74 | 38.24 | 28.88 | 23.67 | 22.34 | 24.71
545 | 209.3 | 170 | 177.6 | 237.5 | 308 | 332.8 | 407.3 | 891.5 | 8872 | 3163 | 351 | 251.8 | 171.8 | 132 | 118.6 | 119.7 | 124.7 | 130.5 | 145.6 | 150.7 | 166.7 | 179.3 | 193.5 | 207 | 222.4 | 240.3 | 255.6 | 272 | 276.3 | 270.3 | 253.3 | 228.3 | 204.2 | 185.6 | 178.6 | 175.8 | 179.8 | 188.7 | 195.3 | 202.7 | 209.2 | 218 | 221.6 | 220.7 | 210.7 | 206 | 191.8 | 173.3 | 156 | 135.2 | 113.5 | 90.33 | 67.96 | 49.67 | 36.48 | 28.74 | 23.21 | 21.79 | 22.44
550 | 172.9 | 154 | 154.3 | 189 | 284.2 | 299.8 | 363.6 | 454.4 | 4504 | 7108 | 811.7 | 216.6 | 147.7 | 110.7 | 99.65 | 101.9 | 102.7 | 112.4 | 118.8 | 129 | 141 | 152.5 | 166.8 | 176.2 | 190.9 | 207.9 | 224.3 | 235 | 243.5 | 236.9 | 220.4 | 200.3 | 177.1 | 162 | 154.2 | 155.1 | 156.8 | 164.6 | 172 | 177 | 187.9 | 190.5 | 196.8 | 192.5 | 190.2 | 179.8 | 172.7 | 162.8 | 139.7 | 119.2 | 102.5 | 80.58 | 61.97 | 45.94 | 33.1 | 25.77 | 21.87 | 20.9 | 21.72
555 | 153.5 | 139.2 | 130.1 | 161.4 | 246.4 | 278.1 | 310.8 | 366.4 | 760.5 | 8621 | 2626 | 200.3 | 125.9 | 91.39 | 83.96 | 83.14 | 87.24 | 91.21 | 96.71 | 108.9 | 118.4 | 128.4 | 136.7 | 148.6 | 162.7 | 176.1 | 190.6 | 200 | 207.9 | 202.5 | 187.7 | 173 | 153.5 | 140.8 | 130.4 | 132.4 | 136.5 | 142.7 | 149 | 154.6 | 163.9 | 166.7 | 170.7 | 170.3 | 165.5 | 154.9 | 148.3 | 139.9 | 124.8 | 103.6 | 90.1 | 71.05 | 54.58 | 40.21 | 30.29 | 24.59 | 21.19 | 18.63 | 18.91
560 | 142.5 | 114.8 | 106 | 141 | 185.5 | 256.8 | 273.3 | 322 | 351.4 | 4436 | 6508 | 590.7 | 105.2 | 77.87 | 66.35 | 68.12 | 71.06 | 75.37 | 81.2 | 87.75 | 98.63 | 104.8 | 116.1 | 123.1 | 137.4 | 147.5 | 162.9 | 169.6 | 177.9 | 171.5 | 160.2 | 145.6 | 130.2 | 118.1 | 112.6 | 113.6 | 115.3 | 121.6 | 127.4 | 131 | 138.1 | 144.4 | 146.2 | 146.5 | 140 | 132 | 122.1 | 118.2 | 107.5 | 91.61 | 79.58 | 61.37 | 47.2 | 34.78 | 26.17 | 20.94 | 18.52 | 16.73 | 16.76
565 | 132.2 | 105.7 | 100.9 | 108.4 | 140.6 | 235.1 | 258.8 | 271.7 | 277.7 | 631.1 | 8678 | 2257 | 99.65 | 65.39 | 57.31 | 56.18 | 57.37 | 59.62 | 65.48 | 70.3 | 82.59 | 87.03 | 96.97 | 102.5 | 113.5 | 123.1 | 133.4 | 145.2 | 148.1 | 145.7 | 132.5 | 121.8 | 106.5 | 99.43 | 96.58 | 94.47 | 99.11 | 102.5 | 108.6 | 110 | 116.6 | 120.2 | 124 | 120 | 117.3 | 114.6 | 105.5 | 100.3 | 92.03 | 80.21 | 65.66 | 52.36 | 40.59 | 30.4 | 22.53 | 17.29 | 15.4 | 14.4 | 14.14
570 | 109.2 | 88.49 | 86.8 | 99.32 | 126.8 | 182.9 | 230.9 | 239.1 | 243.5 | 241.4 | 4617 | 5942 | 441.1 | 54.92 | 46.05 | 46.22 | 47.76 | 51.17 | 54.43 | 58.99 | 65.96 | 71.61 | 76.57 | 85.45 | 92.62 | 101.1 | 110.2 | 119.4 | 122.3 | 117.8 | 109.7 | 99.99 | 91.32 | 81.58 | 78 | 78.65 | 80.58 | 84.75 | 89.34 | 93.32 | 94.84 | 99.95 | 103.3 | 103.2 | 97.85 | 93.36 | 87.06 | 83.21 | 74.98 | 67.39 | 55.51 | 44.94 | 32.83 | 25.31 | 18.41 | 14.67 | 13.5 | 12.57 | 12.92
575 | 131.9 | 87.66 | 81.71 | 88.23 | 108.5 | 148.6 | 216.5 | 222 | 223.4 | 195.2 | 568.4 | 8127 | 2030 | 56.12 | 40.94 | 38.71 | 39.38 | 41.33 | 44.68 | 48.45 | 53.57 | 56.24 | 63.98 | 68.27 | 76.02 | 82.64 | 91.75 | 98.46 | 99.34 | 97.92 | 91.16 | 83.78 | 74.22 | 69.87 | 64.99 | 61.69 | 66.01 | 70.93 | 72.19 | 77.23 | 78.22 | 82.09 | 84.36 | 85.31 | 80.23 | 77.23 | 72.64 | 67.23 | 61.07 | 55.2 | 47.68 | 37.77 | 28.42 | 21.27 | 15.9 | 12.65 | 10.43 | 10.74 | 10.32
580 | 132.9 | 76.67 | 73 | 82.57 | 92.36 | 117.3 | 189.8 | 222.4 | 204.9 | 190.7 | 184.3 | 4214 | 6109 | 383.4 | 34.52 | 33.47 | 33.55 | 33.13 | 34.93 | 39.5 | 42.98 | 48.22 | 52.43 | 55.6 | 62.49 | 70.51 | 73.81 | 79.26 | 83.94 | 80.84 | 76.22 | 67.39 | 60.56 | 56 | 52.2 | 51.99 | 53.45 | 58 | 59.99 | 63.57 | 63.25 | 67.24 | 70.26 | 68.83 | 66.03 | 63.7 | 59.67 | 54.98 | 51.11 | 44.43 | 39.25 | 33.05 | 24.04 | 17.4 | 13.47 | 10.51 | 9.076 | 8.768 | 8.623
585 | 132.8 | 89.74 | 69.42 | 68.78 | 81.89 | 109.2 | 161.7 | 223.6 | 203.8 | 186.9 | 160.3 | 481.6 | 8538 | 1850 | 36.21 | 29.86 | 28.3 | 28.2 | 29.36 | 31.9 | 35.34 | 38.3 | 43.83 | 46.81 | 51.17 | 55.65 | 61.07 | 65.88 | 69.4 | 65.46 | 62.6 | 56.41 | 50.07 | 45.91 | 42.81 | 44.15 | 45.13 | 47.63 | 49.49 | 50.77 | 54.35 | 54.59 | 57.45 | 56.82 | 54.45 | 51.39 | 48.7 | 46.36 | 41.96 | 37.01 | 31.76 | 26.72 | 21.02 | 15.34 | 11.88 | 9.386 | 8.46 | 7.523 | 7.55
590 | 160.7 | 97.04 | 74.16 | 72.64 | 77.12 | 103.4 | 140.5 | 213.6 | 214.6 | 187.5 | 166.6 | 131.2 | 4195 | 5477 | 293.1 | 25.7 | 23.14 | 24.14 | 25.75 | 27.18 | 28.72 | 31.61 | 34.65 | 39.66 | 42.28 | 45.69 | 48.44 | 53.28 | 56.4 | 53.64 | 51.12 | 45.75 | 41.03 | 38.03 | 35.9 | 36.43 | 37.63 | 38.75 | 41.15 | 41.66 | 44.25 | 46.76 | 46.18 | 47.46 | 44.36 | 43.11 | 39.98 | 38.01 | 34.2 | 30.25 | 25.85 | 22.2 | 18.21 | 13.71 | 9.463 | 8.673 | 7.115 | 7.131 | 6.723
595 | 160.4 | 107.5 | 71.58 | 67.35 | 77.39 | 99.21 | 131.9 | 193.7 | 231.3 | 194.8 | 167.8 | 109.5 | 442.9 | 7299 | 1545 | 28.72 | 20.44 | 20.93 | 22.17 | 21.69 | 24.14 | 26.73 | 29.71 | 32.4 | 35.52 | 38.17 | 40.59 | 44.38 | 47.74 | 44.75 | 41.84 | 38.15 | 35.17 | 31.86 | 29.65 | 30.09 | 31.7 | 31.54 | 33.82 | 35.01 | 36.54 | 39.09 | 38.26 | 38.73 | 37.55 | 35.74 | 33.11 | 31.12 | 29.25 | 25.56 | 21.88 | 18.17 | 15.43 | 12.84 | 8.941 | 7.279 | 6.248 | 6.081 | 5.774
600 | 168 | 108.7 | 79.02 | 70.31 | 80.44 | 97.69 | 128.1 | 171.2 | 238.4 | 209.7 | 181 | 114.8 | 89.68 | 3668 | 4870 | 240.9 | 18.98 | 18.73 | 17.96 | 19.22 | 20.15 | 22.12 | 24.1 | 25.89 | 29.91 | 32.73 | 35.06 | 37.78 | 38.91 | 37.19 | 35.95 | 31.95 | 29.02 | 25.82 | 26.08 | 24.29 | 25.38 | 26.72 | 28.12 | 29.3 | 30 | 31.99 | 32.26 | 32.5 | 31 | 28.9 | 28.18 | 26.88 | 23.59 | 21.56 | 18.38 | 15.13 | 12.73 | 10.73 | 8.348 | 6.628 | 5.906 | 5.389 | 5.345