## Sheet1
Report date: | 17:17:44, 09/02/2024
Sample: | 1
File name:
Run date: | 17:07:26, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 235.0/515.0 | 321.7
2 | 240.0/525.0 | 275.5
3 | 245.0/535.0 | 257.3
4 | 250.0/275.0 | 550.9
5 | 250.0/550.0 | 231.8
6 | 255.0/280.0 | 587.7
7 | 255.0/560.0 | 215.8
8 | 260.0/575.0 | 199.3
9 | 265.0/295.0 | 1164
10 | 265.0/585.0 | 196.4
11 | 270.0/300.0 | 1684
12 | 275.0/305.0 | 2062
13 | 280.0/315.0 | 2397
14 | 280.0/335.0 | 2350
15 | 285.0/320.0 | 2335
16 | 285.0/400.0 | 1053
17 | 290.0/410.0 | 1062
18 | 310.0/350.0 | 553.2
19 | 315.0/355.0 | 503
20 | 320.0/360.0 | 450.4
21 | 325.0/370.0 | 403.5
22 | 330.0/375.0 | 423
23 | 335.0/380.0 | 432.7
24 | 340.0/385.0 | 422.7
25 | 345.0/395.0 | 441.1
26 | 350.0/400.0 | 451.9
27 | 355.0/405.0 | 434.7
28 | 365.0/420.0 | 355.5
29 | 385.0/445.0 | 183.4
30 | 390.0/450.0 | 158.3
31 | 395.0/460.0 | 132.4
32 | 400.0/465.0 | 118.9
33 | 405.0/470.0 | 108.8
34 | 410.0/480.0 | 98.53
35 | 415.0/485.0 | 94.68
36 | 420.0/495.0 | 101.4
37 | 435.0/515.0 | 137.6
38 | 440.0/520.0 | 142.4
39 | 445.0/525.0 | 136.7
40 | 500.0/275.0 | 6.86
41 | 510.0/280.0 | 7.837
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 48.99 | 33.73 | 79.73 | 483.1 | 272.7 | 50.38 | 147.1 | 9999.9 | 9999.9 | 3763 | 30.18 | 14.85 | 11.73 | 8.486 | 7.38 | 4.941 | 5.399 | 4.862 | 5.162 | 4.768 | 3.788 | 4.288 | 3.823 | 3.573 | 3.465 | 3.47 | 3.454 | 3.637 | 4.273 | 3.959 | 3.958 | 4.374 | 3.718 | 3.431 | 3.157 | 3.151 | 2.994 | 3.296 | 2.876 | 2.401 | 2.832 | 2.127 | 2.826 | 2.592 | 2.342 | 2.156 | 2.028 | 1.961 | 1.74 | 1.855 | 1.841 | 3.189 | 5.737 | 5.549 | 3.473 | 1.839 | 2.094 | 2.182 | 2.036
275 | 87.4 | 37.66 | 36.98 | 161.8 | 550.9 | 211.5 | 84.97 | 792 | 9999.9 | 9999.9 | 3404 | 30.39 | 14.12 | 11.08 | 7.929 | 6.615 | 5.73 | 5.417 | 5.592 | 4.837 | 3.892 | 4.632 | 4.013 | 3.796 | 3.931 | 4.205 | 3.656 | 3.968 | 3.922 | 3.972 | 3.614 | 3.735 | 4.044 | 3.98 | 3.487 | 3.444 | 3.478 | 3.065 | 2.879 | 3.034 | 3.036 | 3.051 | 2.922 | 2.783 | 2.647 | 2.633 | 2.104 | 1.975 | 1.829 | 1.73 | 2.158 | 2.071 | 2.415 | 4.046 | 6.86 | 5.51 | 2.913 | 2.481 | 2.357
280 | 127.5 | 55.78 | 43.81 | 57.44 | 284 | 587.7 | 213 | 181.6 | 835.3 | 9999.9 | 9999.9 | 3193 | 27.32 | 11.66 | 9.835 | 7.53 | 6.261 | 6.178 | 6.059 | 4.937 | 5.159 | 4.193 | 4.113 | 3.962 | 4.014 | 3.57 | 3.526 | 3.951 | 3.631 | 3.808 | 3.216 | 3.344 | 3.991 | 3.973 | 4.11 | 3.266 | 3.226 | 3.201 | 3.337 | 3.154 | 3.16 | 3.269 | 2.904 | 3.031 | 3.115 | 2.553 | 2.374 | 2.213 | 1.705 | 1.923 | 1.85 | 2.451 | 1.967 | 2.632 | 2.774 | 5.967 | 7.837 | 4.657 | 2.804
285 | 247.9 | 99.2 | 72.72 | 62.63 | 109.8 | 458.8 | 644.8 | 283.7 | 301.1 | 925.6 | 9999.9 | 9999.9 | 2888 | 24.93 | 11.88 | 9.067 | 7.47 | 6.739 | 6.475 | 5.289 | 4.982 | 5.136 | 4.084 | 4.473 | 4.082 | 3.801 | 4.309 | 4.213 | 4.004 | 3.622 | 3.801 | 3.294 | 3.755 | 4.384 | 4.307 | 3.883 | 3.608 | 3.561 | 3.19 | 3.171 | 3.57 | 3.251 | 3.342 | 3.602 | 3.498 | 3.194 | 2.648 | 2.376 | 2.298 | 2.08 | 2.178 | 1.894 | 2.332 | 2.402 | 2.251 | 2.65 | 4.583 | 8.162 | 8.754
290 | 486.6 | 229.5 | 140.3 | 111.6 | 131 | 218.6 | 761.2 | 771 | 499.8 | 492.5 | 1051 | 9999.9 | 9999.9 | 2526 | 21.3 | 11.52 | 9.027 | 8.343 | 6.18 | 5.596 | 5.433 | 5.117 | 4.252 | 3.873 | 4.131 | 3.758 | 4.528 | 4.081 | 4.084 | 3.459 | 4.093 | 3.897 | 3.751 | 3.996 | 3.953 | 4.043 | 3.517 | 3.441 | 3.073 | 3.46 | 3.545 | 3.986 | 3.836 | 3.961 | 3.91 | 3.477 | 3.422 | 3.205 | 2.717 | 2.549 | 2.482 | 2.18 | 2.225 | 2.206 | 2.349 | 2.683 | 3.374 | 3.921 | 7.514
295 | 791.7 | 425.2 | 253 | 178 | 197 | 271.7 | 475.2 | 1164 | 1032 | 768.5 | 689.5 | 1090 | 9999.9 | 9999.9 | 2305 | 21.31 | 11.56 | 9.825 | 7.723 | 6.306 | 6.12 | 5.281 | 4.454 | 4.211 | 4.319 | 3.734 | 4.25 | 3.836 | 4.066 | 3.976 | 3.734 | 3.399 | 3.881 | 3.978 | 3.675 | 3.779 | 4.128 | 3.582 | 3.779 | 3.549 | 3.71 | 3.6 | 4.44 | 4.172 | 4.341 | 4.423 | 3.798 | 3.601 | 3.186 | 3.402 | 2.798 | 2.672 | 2.795 | 2.735 | 3.172 | 3.63 | 3.27 | 4.218 | 5.2
300 | 1068 | 639 | 397.7 | 293.1 | 291.5 | 380.3 | 542.6 | 898.7 | 1684 | 1289 | 1002 | 709.7 | 998 | 9999.9 | 9999.9 | 2153 | 18.18 | 11.43 | 9.311 | 7.682 | 6.338 | 5.998 | 5.187 | 4.692 | 4.509 | 4.306 | 4.084 | 4.054 | 3.841 | 3.476 | 3.942 | 3.822 | 4.286 | 3.673 | 3.797 | 3.546 | 3.744 | 4.205 | 3.974 | 3.702 | 3.434 | 4.161 | 4.704 | 4.88 | 4.519 | 5.057 | 4.89 | 4.537 | 3.961 | 3.749 | 3.399 | 3.476 | 3.253 | 3.039 | 3.61 | 4.156 | 4.69 | 4.846 | 5.933
305 | 1348 | 880.1 | 581.6 | 396.5 | 414.3 | 505.8 | 690.7 | 977.2 | 1485 | 2062 | 1480 | 996.7 | 578.2 | 932.8 | 9999.9 | 9999.9 | 1946 | 19.99 | 11.4 | 9.192 | 7.447 | 6.212 | 5.609 | 5.071 | 4.695 | 4.428 | 4.461 | 4.354 | 4.276 | 4.023 | 3.717 | 3.701 | 3.931 | 3.922 | 4.064 | 3.583 | 3.687 | 3.76 | 3.654 | 3.943 | 3.515 | 3.814 | 4.482 | 4.728 | 5.225 | 5.166 | 5.768 | 4.983 | 4.562 | 4.886 | 4.366 | 4.121 | 3.896 | 4.169 | 4.199 | 4.976 | 5.103 | 5.748 | 6.944
310 | 1563 | 1044 | 750.3 | 555.7 | 547.8 | 656.7 | 869.7 | 1166 | 1518 | 2047 | 2253 | 1390 | 787.6 | 441 | 837 | 9999.9 | 9999.9 | 2091 | 19.98 | 11.67 | 9.005 | 7.249 | 5.786 | 5.858 | 5.188 | 5.278 | 4.429 | 4.992 | 4.563 | 4.311 | 3.556 | 3.945 | 3.694 | 3.511 | 3.571 | 3.651 | 3.648 | 3.704 | 3.891 | 3.965 | 4.217 | 4.561 | 4.833 | 5.193 | 5.441 | 5.956 | 6.085 | 5.653 | 5.298 | 5.358 | 5.105 | 4.879 | 4.858 | 4.667 | 4.698 | 5.732 | 6.537 | 6.944 | 8.472
315 | 1637 | 1190 | 845.8 | 687.2 | 685.3 | 816.4 | 1037 | 1332 | 1683 | 1996 | 2397 | 2035 | 1047 | 551.9 | 279.9 | 770 | 9999.9 | 9999.9 | 1908 | 19.66 | 11.11 | 9.367 | 7.411 | 6.532 | 5.835 | 4.529 | 5.365 | 4.545 | 4.305 | 4.697 | 3.958 | 3.723 | 3.827 | 3.482 | 3.965 | 3.756 | 3.457 | 3.641 | 3.683 | 3.923 | 4.507 | 4.368 | 4.78 | 5.19 | 5.493 | 5.876 | 6.533 | 6.024 | 5.22 | 5.961 | 5.816 | 5.095 | 5.392 | 5.564 | 6.098 | 6.681 | 7.645 | 8.401 | 9.65
320 | 1746 | 1251 | 910.2 | 771.3 | 819.8 | 970 | 1169 | 1493 | 1828 | 2151 | 2236 | 2335 | 1550 | 720.9 | 324.1 | 180.7 | 746.8 | 9999.9 | 9999.9 | 1980 | 18.37 | 12.17 | 9.257 | 7.941 | 7.094 | 5.285 | 6.11 | 4.585 | 4.591 | 4.737 | 4.615 | 3.78 | 4.433 | 3.87 | 3.938 | 3.466 | 3.828 | 3.58 | 3.261 | 3.555 | 3.851 | 4.404 | 5.066 | 5.401 | 5.284 | 6.278 | 6.554 | 6.577 | 6.158 | 6.311 | 6.128 | 6.048 | 5.49 | 6.125 | 6.982 | 7.294 | 8.485 | 9.349 | 10.97
325 | 1742 | 1254 | 978.1 | 851.6 | 907.5 | 1091 | 1312 | 1589 | 1948 | 2276 | 2306 | 2101 | 1880 | 1015 | 402.6 | 193.9 | 145.2 | 745.1 | 9999.9 | 9999.9 | 1859 | 17.79 | 11.78 | 9.218 | 7.833 | 6.521 | 6.549 | 5.397 | 5.054 | 4.605 | 4.132 | 3.952 | 4.151 | 3.888 | 4.249 | 3.317 | 3.746 | 3.253 | 3.28 | 3.455 | 3.689 | 4.326 | 4.665 | 5.064 | 5.618 | 5.933 | 6.667 | 6.678 | 5.938 | 6.173 | 6.409 | 6.362 | 6.26 | 6.231 | 7.246 | 8.336 | 9.728 | 9.781 | 12.11
330 | 1708 | 1247 | 994.3 | 872.2 | 972.1 | 1137 | 1385 | 1701 | 2017 | 2303 | 2348 | 2087 | 1634 | 1360 | 578.9 | 233.9 | 133.8 | 125.3 | 736 | 9999.9 | 9999.9 | 1777 | 17.86 | 10.97 | 9.574 | 7.823 | 7.093 | 6.558 | 5.499 | 5.139 | 4.137 | 4.35 | 3.914 | 3.943 | 3.992 | 3.701 | 3.801 | 3.486 | 3.057 | 3.67 | 3.814 | 4.293 | 4.603 | 5.408 | 6.002 | 6.659 | 6.421 | 6.278 | 5.854 | 6.814 | 6.412 | 6.537 | 6.358 | 6.409 | 7.717 | 8.835 | 9.279 | 10.42 | 12.55
335 | 1712 | 1205 | 963.6 | 882.6 | 979.4 | 1175 | 1456 | 1726 | 2070 | 2304 | 2350 | 2131 | 1581 | 1149 | 917.2 | 341.7 | 160.3 | 103.6 | 106 | 726.8 | 9999.9 | 9999.9 | 1867 | 18.2 | 11.2 | 9.195 | 8.224 | 6.854 | 5.801 | 4.926 | 4.979 | 4.09 | 4.037 | 4.222 | 3.989 | 3.544 | 3.57 | 3.585 | 3.448 | 3.618 | 3.836 | 4.222 | 4.61 | 5.255 | 5.487 | 6.391 | 6.084 | 6.531 | 5.473 | 6.305 | 6.238 | 6.447 | 6.392 | 6.305 | 7.733 | 8.488 | 9.773 | 11.67 | 12.43
340 | 1584 | 1094 | 913 | 884.9 | 965.9 | 1193 | 1451 | 1714 | 2018 | 2275 | 2294 | 2044 | 1568 | 1008 | 812.5 | 644.3 | 221.4 | 119.9 | 77.79 | 92.48 | 721 | 9999.9 | 9999.9 | 1896 | 18.35 | 12.3 | 9.724 | 7.683 | 6.442 | 5.724 | 5.242 | 4.566 | 4.618 | 4.101 | 3.901 | 3.763 | 3.849 | 3.691 | 3.394 | 3.426 | 4.065 | 4.027 | 4.457 | 5.214 | 5.017 | 5.789 | 6.249 | 6.01 | 5.561 | 6.139 | 5.736 | 6.583 | 6.612 | 7.109 | 7.479 | 8.237 | 9.631 | 11.25 | 12.82
345 | 1461 | 1039 | 835.4 | 839.3 | 941 | 1146 | 1412 | 1679 | 1931 | 2153 | 2184 | 1975 | 1513 | 981.8 | 606.7 | 633.5 | 460 | 157 | 90.33 | 62.43 | 85.89 | 718.9 | 9999.9 | 9999.9 | 2131 | 17.96 | 12.53 | 9.829 | 7.52 | 6.252 | 5.288 | 4.93 | 4.455 | 4.619 | 4.212 | 4.098 | 3.721 | 3.717 | 3.446 | 3.357 | 3.957 | 4.121 | 4.415 | 4.602 | 4.974 | 5.808 | 6.201 | 6.136 | 5.509 | 5.679 | 5.889 | 6.042 | 5.926 | 6.614 | 7.81 | 8.477 | 9.368 | 11.19 | 12.23
350 | 1348 | 956.9 | 786 | 781.8 | 889.1 | 1090 | 1328 | 1575 | 1818 | 2001 | 2026 | 1837 | 1423 | 959.2 | 587.8 | 423.6 | 553.2 | 333 | 119.9 | 77.34 | 60.77 | 87.66 | 710.8 | 9999.9 | 9999.9 | 2048 | 18.97 | 12.17 | 10.26 | 7.396 | 6.056 | 5.365 | 4.687 | 4.708 | 4.151 | 3.829 | 3.745 | 3.726 | 3.441 | 3.327 | 3.574 | 4.024 | 4.356 | 4.505 | 4.888 | 5.556 | 5.449 | 5.498 | 5.179 | 5.634 | 5.663 | 5.786 | 5.824 | 6.872 | 7.764 | 8.24 | 8.933 | 10.63 | 12.36
355 | 1212 | 872.3 | 727.8 | 733.7 | 828.4 | 995.7 | 1233 | 1476 | 1682 | 1860 | 1872 | 1700 | 1347 | 911.7 | 593.6 | 397.5 | 356 | 503 | 236.8 | 104.3 | 74.66 | 60.8 | 87.27 | 720.2 | 9999.9 | 9999.9 | 2169 | 19.15 | 12 | 9.14 | 7.075 | 5.908 | 5.044 | 4.62 | 4.501 | 4.049 | 3.886 | 4.086 | 3.303 | 3.505 | 3.637 | 4.03 | 4.287 | 4.893 | 4.631 | 5.347 | 4.959 | 4.745 | 5.016 | 5.073 | 5.497 | 5.302 | 5.816 | 6.241 | 7.438 | 8.258 | 8.668 | 9.904 | 11.1
360 | 1105 | 777.7 | 680.6 | 670.4 | 776.4 | 943 | 1152 | 1354 | 1538 | 1681 | 1723 | 1560 | 1247 | 870.7 | 585.4 | 407.8 | 308.4 | 348.7 | 450.4 | 187.4 | 100.5 | 75.34 | 63.3 | 88.03 | 716.3 | 9999.9 | 9999.9 | 2117 | 18.09 | 11.89 | 8.797 | 6.805 | 5.58 | 4.784 | 4.386 | 3.873 | 3.668 | 3.873 | 3.406 | 3.592 | 3.778 | 3.771 | 4.103 | 4.448 | 4.355 | 4.779 | 4.953 | 4.652 | 4.798 | 5.02 | 4.936 | 5.568 | 5.471 | 5.362 | 7.133 | 7.598 | 8.874 | 9.285 | 9.805
365 | 982.2 | 722.6 | 616.3 | 610.4 | 709.3 | 849 | 1030 | 1237 | 1399 | 1529 | 1543 | 1410 | 1156 | 824 | 580.5 | 424.2 | 327.5 | 271.8 | 370.7 | 392.4 | 160.1 | 99.42 | 78.44 | 61.41 | 87.04 | 727 | 9999.9 | 9999.9 | 2154 | 16.32 | 11.55 | 8.177 | 6.096 | 5.407 | 4.915 | 3.684 | 3.72 | 3.67 | 3.948 | 3.552 | 3.75 | 4.13 | 3.781 | 4.658 | 4.481 | 4.505 | 4.595 | 4.794 | 4.623 | 4.988 | 4.787 | 4.681 | 5.097 | 5.493 | 6.678 | 6.944 | 7.556 | 8.261 | 9.68
370 | 916.3 | 669.4 | 588 | 567 | 660.7 | 776.9 | 940.4 | 1097 | 1259 | 1374 | 1394 | 1272 | 1069 | 787.8 | 578.8 | 438.4 | 353.5 | 290.6 | 259.3 | 403.5 | 338 | 145.9 | 101.9 | 78.77 | 62.9 | 89.21 | 732.8 | 9999.9 | 9999.9 | 1823 | 16.86 | 11.42 | 8.092 | 6.587 | 5.525 | 4.347 | 4.089 | 3.735 | 3.539 | 3.504 | 3.478 | 3.7 | 4.229 | 4.313 | 4.066 | 4.787 | 4.228 | 4.211 | 4.53 | 4.499 | 4.441 | 4.71 | 4.766 | 5.347 | 6.281 | 6.513 | 7.091 | 8.11 | 8.99
375 | 863.6 | 632.3 | 537.4 | 542.8 | 596.6 | 710.8 | 835.3 | 996 | 1128 | 1237 | 1265 | 1181 | 1001 | 760.2 | 578 | 464 | 382.7 | 329.9 | 284 | 281.1 | 423 | 290.2 | 142.9 | 105.5 | 79.69 | 62.46 | 92.44 | 735.5 | 9999.9 | 9999.9 | 1789 | 16.3 | 10.47 | 7.539 | 6.332 | 4.974 | 4.641 | 4.24 | 4.133 | 3.752 | 3.747 | 3.425 | 4.072 | 3.859 | 3.942 | 4.401 | 4.242 | 3.926 | 3.915 | 4.165 | 4.834 | 4.581 | 4.996 | 5.231 | 5.696 | 6.248 | 7.138 | 7.146 | 8.298
380 | 819 | 618.2 | 511.8 | 512.2 | 548.2 | 634.7 | 751.8 | 901 | 1017 | 1123 | 1164 | 1094 | 955 | 755.1 | 604.5 | 494.2 | 423.9 | 370.1 | 323.3 | 292.5 | 320.8 | 432.7 | 251.9 | 142.9 | 113.9 | 86.99 | 70.1 | 95.59 | 742.6 | 9999.9 | 9999.9 | 1774 | 15.24 | 8.981 | 8.27 | 5.854 | 4.292 | 4.789 | 4.301 | 3.967 | 3.677 | 3.658 | 3.572 | 4.063 | 4.009 | 4.19 | 4.38 | 3.962 | 3.811 | 4.496 | 4.063 | 4.496 | 4.813 | 5.139 | 5.353 | 6.219 | 6.23 | 6.672 | 7.827
385 | 759.3 | 604.7 | 506.4 | 495.3 | 517.2 | 608.1 | 687.2 | 807.2 | 934.4 | 1052 | 1079 | 1049 | 948.3 | 779.1 | 643.1 | 545.1 | 474.5 | 420.3 | 378 | 344.2 | 316.8 | 367 | 422.7 | 235.1 | 149.9 | 120.3 | 94.27 | 73.7 | 95.68 | 737.1 | 9999.9 | 9999.9 | 1615 | 13.47 | 9.795 | 7.339 | 5.641 | 4.913 | 4.112 | 4.017 | 3.91 | 3.532 | 3.856 | 4.119 | 4.06 | 4.154 | 4.126 | 4.377 | 3.896 | 3.948 | 4.28 | 4.566 | 4.255 | 4.483 | 5.437 | 5.507 | 5.959 | 6.599 | 6.976
390 | 748.1 | 602.1 | 486.9 | 475.1 | 498.7 | 549.3 | 626.5 | 726.5 | 865.6 | 973.3 | 1045 | 1035 | 968.8 | 818.7 | 709.7 | 597.4 | 530.4 | 476.6 | 439.9 | 404.8 | 370.7 | 342.9 | 410.2 | 401.9 | 226.6 | 160.6 | 127.7 | 96.69 | 66.84 | 87.26 | 715.9 | 9999.9 | 9999.9 | 1595 | 14.75 | 8.926 | 6.881 | 5.639 | 4.716 | 4.428 | 4.036 | 4.285 | 3.681 | 4.187 | 3.861 | 3.969 | 4.339 | 3.835 | 3.799 | 4.017 | 4.589 | 4.326 | 4.106 | 5.003 | 5.177 | 5.525 | 6.014 | 6.161 | 6.334
395 | 739.1 | 601.7 | 511.7 | 462.5 | 486.4 | 517.3 | 587.6 | 689 | 807.9 | 920.8 | 1014 | 1032 | 995.4 | 878.7 | 765.2 | 667.9 | 597.9 | 542.5 | 511.2 | 470.2 | 438.6 | 390.6 | 367.6 | 441.1 | 364.3 | 210.6 | 161.6 | 125.3 | 81.63 | 55.71 | 80.21 | 727.7 | 9965 | 9999.9 | 1580 | 13.41 | 8.585 | 6.667 | 5.548 | 4.328 | 3.925 | 4.327 | 4.027 | 4.143 | 3.975 | 4.114 | 3.81 | 4.153 | 3.828 | 4.086 | 4.478 | 4.409 | 4.304 | 4.639 | 5.247 | 5.196 | 5.387 | 5.731 | 6.136
400 | 755.1 | 605.2 | 516.1 | 470 | 467 | 498.3 | 543.6 | 652 | 775.6 | 900.7 | 1006 | 1053 | 1025 | 925 | 825.6 | 738.9 | 650.4 | 602.2 | 572.2 | 533.4 | 494.3 | 453.1 | 403.1 | 382.9 | 451.9 | 325.9 | 202.4 | 146.1 | 103.5 | 68.34 | 46.26 | 73.74 | 704.6 | 9651 | 9999.9 | 1319 | 12.15 | 8.5 | 6.611 | 5.384 | 4.404 | 4.375 | 4.078 | 4.265 | 4.349 | 4.027 | 3.975 | 4.456 | 4.279 | 4.106 | 4.385 | 4.506 | 4.128 | 4.35 | 4.59 | 5.171 | 5.829 | 5.834 | 6.451
405 | 726.4 | 627.8 | 547.7 | 489.3 | 461.8 | 479.5 | 533.7 | 621.4 | 735.3 | 870.1 | 982.6 | 1053 | 1042 | 968.8 | 872.5 | 784 | 702.5 | 660.5 | 615.6 | 588.5 | 549.1 | 502.9 | 449.7 | 390.8 | 393.8 | 434.7 | 284.4 | 175.4 | 123.7 | 81.6 | 54.09 | 38.89 | 68.77 | 671.6 | 8691 | 9999.9 | 1321 | 12.36 | 7.899 | 6.122 | 5.293 | 4.928 | 4.329 | 4.523 | 4.014 | 4.444 | 4.364 | 3.939 | 4.215 | 4.54 | 4.696 | 4.706 | 4.278 | 4.744 | 5.155 | 5.174 | 4.978 | 5.333 | 6.301
410 | 736.2 | 625.1 | 561.6 | 478.6 | 456.9 | 464.9 | 508.9 | 598.4 | 709.2 | 844.4 | 975.1 | 1049 | 1062 | 990.5 | 912.6 | 823.7 | 742.2 | 695.3 | 657.8 | 629.5 | 585.2 | 540.7 | 486.5 | 426.5 | 376 | 400.6 | 391.5 | 228.5 | 145.5 | 96.55 | 63.49 | 42.14 | 32.33 | 64.72 | 614.5 | 8326 | 9999.9 | 1179 | 11.25 | 7.72 | 6.427 | 5.478 | 4.343 | 4.463 | 4.574 | 3.913 | 3.863 | 4.234 | 4.149 | 4.49 | 4.537 | 4.416 | 4.126 | 4.692 | 5.43 | 5.122 | 4.805 | 5.331 | 6.228
415 | 702.9 | 615.6 | 544.7 | 501.2 | 451 | 459.1 | 501.1 | 574.6 | 686.3 | 818.2 | 963.1 | 1024 | 1052 | 997.2 | 930.2 | 845.1 | 761.6 | 714.3 | 686.6 | 652 | 613.9 | 565.1 | 510.6 | 454.9 | 396.7 | 355.8 | 386.2 | 325.8 | 173.6 | 112.7 | 72.96 | 49.7 | 35.79 | 27.86 | 59.12 | 591.6 | 8059 | 9999.9 | 1143 | 11.08 | 7.65 | 6.368 | 4.998 | 4.521 | 4.385 | 4.516 | 4.451 | 4.414 | 4.227 | 4.419 | 4.449 | 4.408 | 4.458 | 4.681 | 4.902 | 4.851 | 5.188 | 5.166 | 5.548
420 | 686.4 | 622.7 | 547 | 490.4 | 451.8 | 458.9 | 478 | 551.4 | 650.2 | 789.1 | 923.5 | 995.3 | 1037 | 996.2 | 927 | 849 | 761.3 | 724.6 | 692.1 | 662.1 | 632.3 | 580.7 | 525.9 | 465.3 | 411.5 | 359.1 | 328.7 | 355.5 | 249.7 | 129.3 | 84.62 | 60.23 | 41.87 | 30.18 | 26.1 | 55.75 | 579.4 | 7696 | 9999.9 | 1029 | 10.48 | 7.414 | 6.036 | 5.31 | 4.42 | 4.325 | 4.403 | 4.122 | 4.117 | 4.762 | 4.756 | 4.559 | 4.64 | 4.645 | 4.628 | 4.971 | 4.63 | 5.402 | 5.498
425 | 673.6 | 621.6 | 558.5 | 468.4 | 468.3 | 446 | 461.2 | 533.3 | 643.2 | 753.4 | 885.7 | 966 | 992.5 | 961.7 | 895.7 | 835.8 | 763.9 | 718.5 | 690.3 | 670.5 | 638.6 | 585.8 | 530.2 | 472.1 | 421.4 | 367.2 | 315.5 | 294 | 302.2 | 181.2 | 98.44 | 68.9 | 49.22 | 35.76 | 27.96 | 23.77 | 54.32 | 553.5 | 7218 | 9999.9 | 987.5 | 9.841 | 7.61 | 6.091 | 4.983 | 4.699 | 4.531 | 4.444 | 4.282 | 4.398 | 4.649 | 4.608 | 4.38 | 4.72 | 4.233 | 4.653 | 5.298 | 5.548 | 5.313
430 | 680.6 | 594.4 | 543.9 | 489.1 | 455.2 | 451.5 | 458.6 | 522.4 | 609.6 | 731.8 | 848.8 | 927.2 | 947.8 | 928.1 | 874.1 | 818.9 | 754 | 706 | 691.9 | 665.3 | 631.2 | 588.7 | 532.8 | 478.4 | 428.1 | 377.1 | 322.5 | 269.8 | 263.2 | 245.6 | 130.9 | 78.85 | 57.5 | 42.65 | 34.31 | 26.17 | 23.37 | 51.39 | 513.1 | 7041 | 9999.9 | 988.3 | 10.27 | 7.178 | 5.819 | 5.132 | 4.918 | 4.088 | 4.598 | 4.747 | 4.87 | 4.854 | 4.547 | 4.95 | 4.729 | 4.585 | 5.071 | 4.949 | 5.654
435 | 650.2 | 606.9 | 531.8 | 487.8 | 456.5 | 446.2 | 463.2 | 499.2 | 593.5 | 708.4 | 800.8 | 878.6 | 908.8 | 880.4 | 843.9 | 784.2 | 721.6 | 684.8 | 676.5 | 662.8 | 628.9 | 588.8 | 541.8 | 484.9 | 432.3 | 380 | 330.5 | 275.6 | 229.1 | 235.2 | 192.3 | 99.98 | 66.82 | 50.81 | 39.24 | 31.2 | 24.84 | 22.02 | 48.26 | 512.5 | 6779 | 9999.9 | 972.9 | 10.04 | 7.264 | 6.012 | 5.349 | 4.691 | 4.334 | 4.804 | 4.682 | 4.827 | 4.77 | 4.41 | 4.624 | 5.052 | 5.033 | 5.251 | 5.656
440 | 621.8 | 562.4 | 533 | 482.8 | 471.2 | 455.4 | 469.7 | 489.4 | 566.1 | 666.9 | 757.1 | 827.6 | 863 | 838 | 804.4 | 757.7 | 690.3 | 670 | 653.1 | 646.7 | 614 | 581.9 | 533.8 | 481.3 | 436.4 | 385.8 | 334.2 | 280.8 | 227.6 | 190.7 | 209.1 | 149.7 | 82.65 | 58.54 | 46.81 | 36.56 | 30.43 | 23.92 | 21.46 | 47.67 | 482.9 | 6998 | 9999.9 | 923.8 | 9.87 | 7.061 | 5.6 | 5.006 | 4.478 | 4.287 | 4.688 | 4.76 | 4.768 | 4.49 | 4.92 | 5.094 | 5.578 | 5.218 | 5.903
445 | 596.2 | 552.2 | 529.4 | 465.8 | 465.1 | 457.3 | 459.6 | 479.7 | 536.9 | 612.6 | 711.5 | 765.9 | 792.7 | 785.2 | 751.9 | 708.2 | 667.1 | 640.7 | 626.1 | 618.2 | 596.6 | 563.5 | 523.8 | 471.5 | 428.8 | 383.5 | 333.5 | 283.9 | 231.8 | 182.6 | 166 | 183.4 | 118.2 | 68.87 | 53.75 | 44.05 | 34.84 | 27.93 | 21.91 | 19.63 | 45.44 | 501.7 | 6584 | 9999.9 | 855.1 | 9.553 | 6.578 | 5.447 | 4.92 | 4.894 | 4.81 | 5.026 | 4.584 | 4.886 | 5.035 | 5.222 | 5.675 | 5.264 | 5.305
450 | 1258 | 530.5 | 491.5 | 459.6 | 438 | 437.9 | 446.8 | 462.3 | 499.2 | 580.7 | 663 | 702 | 727.7 | 717 | 692 | 660.4 | 623.7 | 602.1 | 592 | 585 | 567.4 | 542.1 | 508.4 | 467.9 | 419.4 | 375.7 | 333.7 | 285.2 | 231.9 | 186.4 | 148.9 | 151.9 | 158.3 | 93.49 | 62.46 | 50.1 | 39.83 | 33 | 25.89 | 20.29 | 19.09 | 46.28 | 477.1 | 6606 | 9877 | 836.4 | 9.451 | 6.664 | 5.322 | 5.14 | 5.13 | 4.88 | 4.583 | 4.843 | 4.931 | 5.529 | 5.097 | 5.141 | 5.296
455 | 4053 | 510.4 | 459.1 | 440.4 | 423.1 | 430.3 | 429.3 | 432.4 | 464.3 | 532 | 592.9 | 642.1 | 656.2 | 650.1 | 631.8 | 604.2 | 574 | 557.9 | 556.4 | 552.3 | 533.7 | 512.1 | 483.4 | 443 | 402.3 | 364.7 | 324.7 | 278.1 | 227.5 | 185.4 | 147.2 | 125.2 | 139.6 | 127.2 | 75.43 | 55.66 | 45.25 | 37.04 | 29.61 | 24.84 | 20.51 | 19.34 | 43.99 | 487.6 | 6025 | 8752 | 767.2 | 8.775 | 6.217 | 6.12 | 5.422 | 4.503 | 4.578 | 4.798 | 4.743 | 5.097 | 4.927 | 4.885 | 5.55
460 | 7200 | 1148 | 445.8 | 417 | 414.3 | 407.3 | 410.2 | 415.6 | 428.4 | 488.4 | 542 | 576.6 | 598.8 | 585.7 | 566.4 | 545.2 | 515.2 | 511.5 | 508.6 | 507.9 | 498.4 | 479.2 | 450.8 | 417.5 | 378.1 | 344.2 | 305.8 | 269.3 | 225.6 | 185.4 | 147.6 | 119.3 | 112.3 | 132.4 | 105.3 | 65.35 | 50.38 | 42.43 | 34.03 | 27.76 | 23.31 | 19.6 | 18.04 | 43.99 | 433.6 | 5412 | 8492 | 714.8 | 8.761 | 6.545 | 5.877 | 5.436 | 4.721 | 4.482 | 5.394 | 4.729 | 4.875 | 4.863 | 4.521
465 | 5743 | 3838 | 424.7 | 395.1 | 396.4 | 392.6 | 386.9 | 381.3 | 399.8 | 441.4 | 485 | 517.4 | 520.9 | 518 | 510.2 | 488.2 | 476.3 | 457.4 | 462.7 | 461.2 | 457.9 | 439 | 419.5 | 391.6 | 355.2 | 320.5 | 288.5 | 255.6 | 211.9 | 176 | 142.4 | 121.4 | 102.4 | 106 | 118.9 | 85.53 | 57.17 | 46.83 | 38.75 | 31.71 | 26.02 | 22.78 | 18.11 | 17.15 | 39.85 | 393 | 5385 | 7745 | 726.1 | 8.802 | 6.749 | 6.164 | 5.154 | 4.859 | 5.446 | 5.059 | 5.21 | 5.171 | 4.866
470 | 1667 | 6965 | 1094 | 374.4 | 358.6 | 365.3 | 355.3 | 354.3 | 368.1 | 402.9 | 443.1 | 463.2 | 460.8 | 455.1 | 449.9 | 437.4 | 421 | 414.8 | 425.3 | 423.2 | 417.3 | 400.6 | 380.6 | 353.4 | 325.5 | 295.3 | 271 | 238.7 | 202 | 167.5 | 140.1 | 117.7 | 101.8 | 90.69 | 102.4 | 108.8 | 70.69 | 52.27 | 42.08 | 35.85 | 29.85 | 24.92 | 20.85 | 18.18 | 16.46 | 36.29 | 386.5 | 5053 | 7379 | 685.7 | 9.222 | 6.657 | 5.603 | 5.459 | 5.008 | 5.152 | 4.583 | 4.778 | 4.998
475 | 465.7 | 5910 | 3657 | 355.5 | 341.9 | 333.2 | 338 | 333 | 336.6 | 365 | 391.8 | 410 | 408.1 | 399.6 | 396 | 386.5 | 368 | 370.5 | 376.9 | 374.9 | 375.9 | 358 | 344.1 | 321.1 | 297.3 | 271.5 | 246.9 | 223.3 | 190.8 | 159.4 | 136.1 | 116.7 | 98.34 | 89.87 | 82.68 | 99.7 | 91.09 | 59.3 | 47.36 | 39.68 | 34.12 | 29.34 | 25.24 | 21.15 | 17.45 | 16.54 | 37.66 | 375.1 | 4374 | 6412 | 596.7 | 9.218 | 7.076 | 6.203 | 5.395 | 4.787 | 5.008 | 4.696 | 4.821
480 | 332.5 | 1750 | 6647 | 953 | 314.6 | 318 | 324.6 | 311.2 | 315 | 322.5 | 353.8 | 370.2 | 355 | 351.5 | 350 | 338.1 | 330.4 | 328 | 330.6 | 335.8 | 339.9 | 326.7 | 313.5 | 296.9 | 272.8 | 255.3 | 232.5 | 207.5 | 185.2 | 155 | 132.8 | 116 | 102.7 | 89.42 | 81.4 | 81.86 | 98.53 | 79.87 | 53.39 | 44.16 | 40.19 | 35.41 | 30.55 | 26.09 | 21.93 | 19.49 | 18.63 | 38.32 | 318.6 | 3774 | 6492 | 598.5 | 9.671 | 7.782 | 6.29 | 5.324 | 5.273 | 4.702 | 4.81
485 | 337.1 | 406.3 | 5638 | 3359 | 321.7 | 305 | 321.9 | 318 | 313.6 | 318.7 | 333.4 | 334.6 | 327 | 317.1 | 309.2 | 301.6 | 294.3 | 294 | 304.3 | 306.2 | 307.9 | 301.3 | 288.5 | 277 | 256.5 | 236.3 | 219.7 | 200.7 | 180.4 | 155.9 | 134.9 | 118.6 | 105 | 92.74 | 84.49 | 78.7 | 85.41 | 94.68 | 70.01 | 54 | 47.21 | 44.24 | 39.54 | 34.3 | 31.49 | 26.33 | 24.29 | 23.42 | 38.45 | 289.8 | 4205 | 6513 | 481.3 | 11.07 | 7.776 | 6.323 | 4.974 | 4.54 | 4.859
490 | 322.1 | 296.7 | 1683 | 6195 | 822.5 | 315.8 | 314.6 | 324.3 | 320.1 | 326.4 | 321.1 | 308.8 | 292 | 283.6 | 276.1 | 272.5 | 266.4 | 268.3 | 273.1 | 280.6 | 282.8 | 278.8 | 269.7 | 260.4 | 244.4 | 229.7 | 217.6 | 199 | 184.8 | 159.6 | 138.5 | 121.8 | 108.6 | 97.29 | 89.87 | 83.16 | 80.96 | 93.31 | 92.67 | 71.23 | 59.63 | 56.98 | 51.63 | 47.15 | 43.95 | 38.95 | 35.14 | 31.47 | 28.5 | 42.07 | 324.2 | 4282 | 5738 | 557.9 | 10.32 | 7.29 | 6.095 | 5.23 | 5.069
495 | 342.1 | 270.7 | 395.5 | 5607 | 2893 | 331.7 | 337.7 | 346.4 | 338.7 | 333.9 | 318.2 | 290.5 | 272.2 | 249.8 | 247.5 | 241.8 | 237.6 | 239.8 | 245.5 | 253.3 | 257.1 | 259 | 251.6 | 241.5 | 233.9 | 222.3 | 212.5 | 199.6 | 184.6 | 167.7 | 147.3 | 131 | 116.3 | 104.7 | 96.89 | 89.97 | 86.86 | 87.35 | 101.4 | 96.05 | 76.54 | 71.93 | 69 | 65.67 | 59.17 | 55.47 | 49.12 | 44.14 | 38.89 | 35.93 | 48.9 | 336.2 | 4089 | 6364 | 473.1 | 10.33 | 6.807 | 6.064 | 5.341
500 | 390.7 | 272.7 | 256.7 | 1825 | 5814 | 761.3 | 347 | 369.6 | 362.4 | 344.7 | 322.4 | 283.9 | 241.4 | 219.5 | 216.4 | 212.5 | 211.1 | 216.3 | 221.7 | 229.3 | 235.9 | 236.8 | 238.1 | 230.7 | 223.3 | 218.9 | 213.9 | 204.8 | 190.5 | 176.1 | 158.1 | 139 | 123.7 | 110.8 | 103.2 | 99.61 | 96.63 | 94.1 | 99.4 | 110.1 | 103.8 | 90.78 | 85.36 | 82.86 | 76.49 | 70.96 | 65.33 | 59.27 | 52.8 | 44.95 | 38.6 | 50.9 | 319.8 | 4094 | 5531 | 439.8 | 9.605 | 7.255 | 5.664
505 | 362.4 | 301.4 | 262.5 | 384 | 5624 | 2613 | 367.6 | 390.2 | 388.4 | 365.3 | 321.7 | 269.6 | 226.7 | 198 | 189.7 | 186.4 | 182.1 | 191.7 | 199.2 | 205.9 | 218 | 222.8 | 220.3 | 220.4 | 215.4 | 214.8 | 214.2 | 209.4 | 197.9 | 184.3 | 165.4 | 147.5 | 129 | 116.2 | 111 | 107.3 | 103.7 | 104.2 | 103 | 113.9 | 123.3 | 108.2 | 103 | 98.29 | 93.33 | 85.69 | 79.18 | 74.49 | 66.29 | 55.32 | 46.5 | 39.13 | 47.26 | 320.2 | 3759 | 5105 | 413.5 | 8.572 | 7.281
510 | 296 | 314.6 | 239.3 | 258.2 | 1963 | 5465 | 782.3 | 411.8 | 400.7 | 369.9 | 318.2 | 256.5 | 202.9 | 173.8 | 166.9 | 165.4 | 164.3 | 170.1 | 178.5 | 186.7 | 198.2 | 202.9 | 207.9 | 211.2 | 205.6 | 208.7 | 207.6 | 206.8 | 203.3 | 188.7 | 169.1 | 150.6 | 133.8 | 121.8 | 112.8 | 109.9 | 110.4 | 110.7 | 111.9 | 116.1 | 128.8 | 132 | 118.3 | 113.6 | 107.2 | 98.56 | 91.73 | 85.46 | 77.73 | 64.02 | 55.51 | 43.54 | 34.19 | 43.13 | 289.6 | 3410 | 4767 | 389.8 | 8.859
515 | 248.2 | 321.7 | 251.1 | 233.7 | 404.6 | 5594 | 2444 | 428.9 | 409.9 | 368 | 322.7 | 246 | 184.6 | 154.3 | 143.1 | 144 | 145.6 | 147.3 | 158.4 | 168.8 | 175.7 | 183.1 | 193.1 | 193.3 | 197 | 199.3 | 202.9 | 207.1 | 199.4 | 186.7 | 171.3 | 151.3 | 135.6 | 122.8 | 112.8 | 111.5 | 110.6 | 113.2 | 116.7 | 119.6 | 127.1 | 137.6 | 135.2 | 123.7 | 116.7 | 107.1 | 100.9 | 91.73 | 83.59 | 72.08 | 59.86 | 46.65 | 34.68 | 25.95 | 35.2 | 266.9 | 3176 | 4378 | 353
520 | 216.1 | 253.1 | 271.7 | 219.2 | 271.6 | 2123 | 5140 | 781.4 | 392.7 | 358.5 | 294.8 | 231.2 | 163.3 | 133.1 | 126.1 | 122.2 | 127.5 | 131.1 | 140.4 | 150.7 | 157.6 | 168.4 | 173 | 178.2 | 185.8 | 190.5 | 194.1 | 198.1 | 194.1 | 186.3 | 167.7 | 149.7 | 131.9 | 118.3 | 111.5 | 108.7 | 111.5 | 113.5 | 117.1 | 121.5 | 124.4 | 132.9 | 142.4 | 133.7 | 118.2 | 112.3 | 105.4 | 95.18 | 85.58 | 74.22 | 61.7 | 48.84 | 36.36 | 25.35 | 19.22 | 29.49 | 243.7 | 2936 | 4115
525 | 217.9 | 200.1 | 275.5 | 217.6 | 241.1 | 436.9 | 5514 | 2317 | 390.6 | 346.8 | 279.7 | 213.4 | 148.5 | 117.1 | 110.5 | 109 | 111.2 | 117.7 | 122.7 | 134.7 | 142.1 | 151.6 | 159.4 | 165.8 | 172.1 | 177 | 184.4 | 186.8 | 184 | 177.8 | 160.3 | 143.2 | 126.3 | 114.2 | 107.5 | 105.8 | 109.4 | 110.9 | 114.1 | 119.3 | 122.2 | 125.8 | 134.5 | 136.7 | 122.2 | 112.3 | 103.6 | 96.18 | 87.17 | 73.9 | 63.8 | 49.4 | 36.64 | 26.24 | 19.02 | 15.51 | 27.4 | 228.1 | 2750
530 | 189.9 | 166.8 | 234.9 | 240.9 | 224.6 | 278.1 | 2390 | 4830 | 732.4 | 321.8 | 263.2 | 195.9 | 138 | 102.2 | 94.2 | 91.96 | 97.64 | 101.5 | 109.3 | 116.7 | 127.7 | 134.2 | 142.5 | 149.9 | 156.5 | 164.5 | 169.6 | 175.1 | 174.3 | 165.3 | 151.9 | 133.7 | 118.5 | 107.5 | 100.1 | 100.1 | 101 | 103.5 | 108.2 | 113.9 | 117.2 | 119 | 124.2 | 131.3 | 124.4 | 112.3 | 100.8 | 93.71 | 84.66 | 72.06 | 62.08 | 51.62 | 38.77 | 27.14 | 19.71 | 16.02 | 15.76 | 28.47 | 222.8
535 | 176.8 | 156.9 | 177.9 | 257.3 | 219.5 | 244.6 | 485.7 | 5269 | 2150 | 309.9 | 242.3 | 179.9 | 116.7 | 91.01 | 79.56 | 79.58 | 82.89 | 87.38 | 95.54 | 100.6 | 108 | 119.4 | 126.4 | 131.9 | 141.7 | 145.7 | 157.2 | 158.5 | 158.4 | 150.1 | 141.8 | 122 | 111.6 | 99.42 | 95.01 | 91.78 | 93.83 | 96.76 | 100.4 | 102.7 | 110.1 | 115.4 | 114.7 | 119.3 | 119.4 | 108.4 | 97.73 | 90.3 | 79.61 | 68.73 | 59.06 | 48.27 | 39.3 | 28.19 | 20.9 | 18.38 | 17.62 | 19.5 | 32.55
540 | 161.7 | 136.2 | 144 | 238.4 | 221.5 | 223.1 | 279.9 | 2462 | 4536 | 611.7 | 225 | 158.9 | 105.5 | 79.3 | 71.46 | 69.54 | 71.47 | 74.31 | 79.84 | 88.39 | 96.18 | 105.8 | 113.9 | 120.1 | 125.5 | 132.8 | 139.3 | 142.8 | 140.6 | 137 | 126.9 | 109.3 | 100.3 | 90.22 | 85.91 | 82.61 | 85.9 | 89.46 | 94.47 | 97.69 | 101.2 | 104.7 | 106.3 | 106.7 | 107 | 103.4 | 93.58 | 84.4 | 76.7 | 66.59 | 56.75 | 45.85 | 37.29 | 30.07 | 23.65 | 21.44 | 20.37 | 22.53 | 25.2
545 | 157.7 | 129.4 | 118.4 | 195.2 | 230 | 207.3 | 236.9 | 472.6 | 5111 | 1849 | 205 | 140.3 | 90.95 | 69.43 | 61.11 | 58.31 | 62.1 | 63.71 | 70.16 | 76.65 | 83.32 | 92.09 | 96.17 | 104.1 | 110.1 | 118.3 | 123.9 | 127.9 | 127.4 | 123.1 | 111.8 | 100.4 | 89.18 | 81.85 | 74.95 | 74.95 | 78.46 | 81.96 | 83.84 | 85.84 | 90.58 | 93.14 | 95.06 | 93.74 | 93.25 | 92.31 | 87.36 | 79.41 | 71.36 | 62.48 | 53.21 | 44.24 | 35.99 | 29.09 | 25.66 | 22.72 | 22.18 | 23.98 | 27.08
550 | 139 | 116.2 | 115.3 | 142.4 | 231.8 | 190.7 | 215.4 | 257.6 | 2466 | 4026 | 492.1 | 125.1 | 82.62 | 57.84 | 49.86 | 50.68 | 51.45 | 54.31 | 59.45 | 62.09 | 71.07 | 78.85 | 84.77 | 93.88 | 97.3 | 101.4 | 107.7 | 109.2 | 111.3 | 107.9 | 98.18 | 90.24 | 77.16 | 70.38 | 66.78 | 66.34 | 67.6 | 70.09 | 75.77 | 77.99 | 80.65 | 83.68 | 85.15 | 85.61 | 81.79 | 80.26 | 81.06 | 74.5 | 64.85 | 56.54 | 48.42 | 40.58 | 32.78 | 27.58 | 23.8 | 21.6 | 22.62 | 24.41 | 27.23
555 | 112.1 | 103.1 | 96.79 | 107.6 | 200.9 | 200.8 | 189.9 | 224.7 | 421.5 | 4806 | 1578 | 117.1 | 69.18 | 51.13 | 46.12 | 40.93 | 41.44 | 44.89 | 49.34 | 54.94 | 59.28 | 65.85 | 72.92 | 77.96 | 82.33 | 88.05 | 92.71 | 96.9 | 95.38 | 93 | 87.52 | 75.8 | 68.28 | 60.75 | 57.34 | 56.91 | 59.79 | 60.73 | 63.54 | 68.56 | 70.29 | 72.7 | 73.88 | 75.18 | 70.76 | 68.21 | 67.22 | 66.23 | 58.72 | 49.57 | 42.16 | 36.06 | 29.04 | 25.26 | 21.98 | 20.35 | 20.89 | 22.22 | 25.07
560 | 107.7 | 87.08 | 80.83 | 91.94 | 138.2 | 215.8 | 174.5 | 188.9 | 205.1 | 2440 | 3563 | 353.3 | 58.17 | 42.48 | 35.34 | 34.96 | 35.22 | 36.81 | 39.94 | 45.34 | 50.3 | 54.13 | 60.82 | 63.87 | 70.14 | 73.24 | 77.14 | 81.6 | 82.08 | 77.02 | 74.07 | 64.36 | 56.94 | 53.18 | 49.2 | 49.93 | 49.96 | 50.79 | 55.71 | 57.36 | 60.36 | 62.13 | 63.73 | 63.37 | 61.77 | 58.37 | 55.87 | 56.04 | 52.94 | 44.59 | 37.24 | 31.45 | 26.2 | 21.43 | 17.95 | 18.02 | 19.17 | 19.74 | 21.92
565 | 106.1 | 77.71 | 71.17 | 83 | 102.6 | 202.5 | 172.8 | 163.6 | 163.8 | 362.6 | 4289 | 1297 | 57.81 | 36.09 | 30.49 | 29.08 | 28.88 | 30.44 | 32.66 | 36.62 | 41.05 | 46.39 | 49.68 | 55.22 | 58.35 | 60.5 | 65.48 | 67.53 | 68.13 | 65.87 | 59.53 | 54.62 | 47.25 | 43.88 | 40.63 | 42.21 | 41.25 | 42.17 | 45.55 | 47.76 | 51.03 | 52.59 | 53.92 | 54.24 | 51.03 | 49.41 | 47.09 | 44.57 | 45.03 | 38.87 | 32.22 | 26.01 | 21.7 | 17.93 | 14.8 | 14.37 | 15.22 | 17.1 | 18.27
570 | 89.06 | 72.92 | 63.38 | 66.52 | 85.9 | 150.3 | 192.4 | 151.5 | 151.1 | 146.7 | 2165 | 3161 | 254.7 | 31.55 | 24.54 | 23.64 | 23.44 | 25.6 | 27.57 | 29.91 | 34.14 | 38.43 | 41.33 | 44.89 | 48.02 | 50.76 | 55.7 | 56.36 | 57.78 | 56.04 | 49.8 | 45.89 | 39.74 | 36.13 | 34.24 | 34.86 | 35.01 | 35.12 | 38.77 | 41.18 | 41.72 | 43.83 | 43.87 | 44 | 44.13 | 41.79 | 39.77 | 36.88 | 35.58 | 32.69 | 28.73 | 23.09 | 18.78 | 14.92 | 12.37 | 11.5 | 12.27 | 13.38 | 14.65
575 | 101.3 | 69.62 | 58.9 | 64.59 | 70.83 | 102.8 | 199.3 | 155.9 | 136.8 | 124.9 | 284.7 | 4081 | 1107 | 31.58 | 20.9 | 20.04 | 21.01 | 21.12 | 22.6 | 25.78 | 27.88 | 30.83 | 32.81 | 36.66 | 38.02 | 40.59 | 43.24 | 45.86 | 47.27 | 45.2 | 40.57 | 38.29 | 32.26 | 30.05 | 27.96 | 28.89 | 29.85 | 30.58 | 31.33 | 33.26 | 35.78 | 36.29 | 37.44 | 38.11 | 35.16 | 35.03 | 32.68 | 30.26 | 28.05 | 27.12 | 24.42 | 19.87 | 14.71 | 12.25 | 10.21 | 9.419 | 9.911 | 11.09 | 12.9
580 | 111.5 | 73.8 | 57.38 | 55.3 | 64.92 | 84.03 | 167.2 | 181 | 134.6 | 126.9 | 108.5 | 2070 | 2901 | 208.1 | 19.08 | 17.73 | 17.37 | 18.3 | 19.12 | 21.28 | 22.95 | 25 | 26.89 | 29.87 | 31.27 | 34.78 | 35.93 | 37.96 | 38.99 | 37.52 | 34.73 | 31.57 | 27.06 | 24.72 | 23.95 | 23.7 | 23.77 | 25.01 | 26.7 | 27.91 | 28.62 | 29.48 | 29.69 | 30.64 | 29.5 | 29.01 | 26.82 | 25.42 | 22.69 | 20.87 | 20 | 17.39 | 13.26 | 10.14 | 8.468 | 7.733 | 7.878 | 8.456 | 9.693
585 | 112.3 | 71.81 | 55.02 | 49.6 | 62.34 | 73.66 | 118.1 | 196.4 | 144.1 | 130.2 | 101.1 | 251.3 | 3863 | 929.8 | 19.83 | 14.43 | 15.68 | 15.38 | 15.36 | 17.51 | 19 | 21.8 | 22.28 | 23.9 | 26.95 | 28.88 | 30.44 | 31.67 | 32.67 | 31.35 | 28.24 | 26.39 | 22.3 | 20.41 | 20.16 | 19.59 | 20.02 | 21.27 | 21.99 | 22.47 | 23.59 | 24.52 | 25.34 | 24.84 | 24.88 | 23.77 | 22.68 | 21.37 | 19.3 | 17.41 | 15.15 | 15.05 | 11.82 | 8.349 | 6.937 | 6.209 | 6.57 | 6.857 | 7.842
590 | 112.5 | 71.47 | 57.64 | 51.62 | 55.62 | 68.65 | 89.61 | 187.5 | 157.4 | 128.2 | 101.4 | 81.49 | 1893 | 2676 | 158.1 | 12.97 | 12.61 | 12.49 | 13.5 | 14.54 | 16.57 | 17.4 | 18.72 | 19.59 | 21.65 | 23.71 | 25.03 | 25.24 | 26.4 | 25.13 | 24.3 | 21.05 | 19.65 | 17.39 | 16.45 | 16.32 | 16.82 | 17.45 | 18.77 | 18.97 | 18.98 | 19.95 | 20.97 | 21.57 | 20.4 | 20.03 | 18.62 | 17.4 | 15.67 | 13.71 | 12.96 | 11.63 | 10.51 | 8.066 | 6.717 | 5.824 | 6.076 | 6.289 | 6.91
595 | 130.5 | 83.17 | 59.51 | 50.81 | 51.14 | 69.23 | 90 | 153.1 | 185.8 | 133.5 | 104.2 | 73.7 | 207.8 | 3537 | 781.6 | 14.83 | 11.6 | 11 | 11.82 | 12.35 | 13.61 | 14.96 | 16.28 | 17.3 | 18.2 | 18.35 | 21.89 | 22.03 | 22.15 | 22.41 | 20.15 | 17.02 | 15.83 | 14.4 | 13.77 | 13.34 | 14.15 | 14.69 | 15.73 | 15.99 | 16.5 | 17.07 | 17.79 | 17.56 | 16.96 | 17.02 | 14.78 | 14.09 | 13.65 | 11.59 | 10.68 | 9.362 | 8.692 | 7.486 | 5.862 | 4.904 | 4.908 | 5.248 | 5.731
600 | 139 | 85.9 | 67.65 | 52.88 | 55.87 | 66.11 | 89.74 | 114.4 | 205.5 | 151.1 | 116.5 | 81.76 | 54.95 | 1766 | 2313 | 115.6 | 11.14 | 10.44 | 10.2 | 11.24 | 11.1 | 12.89 | 13.24 | 14.56 | 15.31 | 16.08 | 18.2 | 18.08 | 18.65 | 17.75 | 17.24 | 15.73 | 13.57 | 11.78 | 11.73 | 11.84 | 12.12 | 13.03 | 12.77 | 13.15 | 13.92 | 13.94 | 14.58 | 14.51 | 14.24 | 13.97 | 12.85 | 12.12 | 10.48 | 9.771 | 8.741 | 7.525 | 7.214 | 6.663 | 5.291 | 4.991 | 4.616 | 4.46 | 4.69