## Sheet1
Report date: | 17:30:01, 09/02/2024
Sample: | 1
File name:
Run date: | 17:19:44, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 118.3
2 | 250.0/445.0 | 1052
3 | 255.0/280.0 | 130
4 | 280.0/360.0 | 2225
5 | 285.0/420.0 | 1738
6 | 335.0/435.0 | 2115
7 | 395.0/275.0 | 15.88
8 | 400.0/285.0 | 15
9 | 410.0/295.0 | 13.46
10 | 415.0/300.0 | 13.64
11 | 420.0/275.0 | 12.5
12 | 420.0/305.0 | 12.92
13 | 425.0/280.0 | 11.67
14 | 425.0/310.0 | 12.3
15 | 430.0/285.0 | 11.29
16 | 430.0/510.0 | 283.3
17 | 435.0/290.0 | 10.85
18 | 435.0/315.0 | 11.94
19 | 435.0/515.0 | 289.6
20 | 440.0/295.0 | 10.53
21 | 440.0/320.0 | 11.95
22 | 445.0/300.0 | 11.4
23 | 445.0/330.0 | 12.32
24 | 455.0/310.0 | 13.17
25 | 455.0/335.0 | 12.69
26 | 460.0/315.0 | 12.03
27 | 460.0/340.0 | 12.78
28 | 480.0/365.0 | 10.36
29 | 485.0/335.0 | 9.052
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 60.82 | 35.57 | 38.08 | 91.67 | 66.92 | 36.69 | 163 | 9999.9 | 9999.9 | 5088 | 40.53 | 19.81 | 13.82 | 10.97 | 10.15 | 9.455 | 7.422 | 6.741 | 6.231 | 6.332 | 6.798 | 5.922 | 6.495 | 6.381 | 7.41 | 7.451 | 7.965 | 9.071 | 9.515 | 10.49 | 13.19 | 15.56 | 15.14 | 12.6 | 10.98 | 10.98 | 12.77 | 13.64 | 11.09 | 10.19 | 8.985 | 7.764 | 7.981 | 8.011 | 6.729 | 5.799 | 3.994 | 3.454 | 3.188 | 3.001 | 2.78 | 2.884 | 3.4 | 3.722 | 3.282 | 2.602 | 3.048 | 2.598 | 2.674
275 | 54.99 | 38.45 | 29.6 | 49.66 | 118.3 | 69.79 | 63.97 | 774.1 | 9999.9 | 9999.9 | 4914 | 40.14 | 17.2 | 13.35 | 12.29 | 10.22 | 8.203 | 7.88 | 7.041 | 6.782 | 6.747 | 6.11 | 6.526 | 6.606 | 7.52 | 7.228 | 7.993 | 8.836 | 8.625 | 9.435 | 10.34 | 13.11 | 15.17 | 15.88 | 12.72 | 10.17 | 10.69 | 11.91 | 12.5 | 10.69 | 9.89 | 8.463 | 7.782 | 7.461 | 7.159 | 6.99 | 5.593 | 4.05 | 3.171 | 3.29 | 2.934 | 2.89 | 2.957 | 3.085 | 3.421 | 3.257 | 2.884 | 2.932 | 2.31
280 | 66.64 | 44.14 | 31.25 | 37.1 | 72.7 | 130 | 79.33 | 119.6 | 785.2 | 9999.9 | 9999.9 | 4731 | 36.93 | 19.38 | 13.39 | 11.97 | 10.09 | 8.879 | 7.578 | 7.137 | 7.518 | 7.211 | 6.524 | 6.898 | 7.545 | 7.965 | 8.715 | 8.998 | 8.817 | 9.255 | 9.11 | 10.2 | 13.43 | 15.44 | 14.98 | 11.82 | 10.11 | 10.25 | 10.86 | 11.67 | 10.36 | 9.455 | 8.818 | 7.457 | 7.699 | 7.745 | 6.309 | 5.264 | 3.797 | 3.2 | 3.149 | 3.108 | 2.972 | 2.937 | 2.811 | 3.576 | 3.661 | 3.621 | 2.694
285 | 142.2 | 75.51 | 48.12 | 49.98 | 54.37 | 123.7 | 186.7 | 146.4 | 195.3 | 873 | 9999.9 | 9999.9 | 4567 | 35.8 | 19.57 | 15.51 | 12.22 | 10.65 | 8.927 | 7.458 | 8.053 | 7.177 | 7.236 | 7.435 | 7.222 | 7.967 | 8.978 | 8.883 | 9.108 | 9.745 | 8.986 | 8.906 | 10.51 | 12.45 | 15 | 14.88 | 11.57 | 9.655 | 8.975 | 10.63 | 11.29 | 10.03 | 9.064 | 8.255 | 7.83 | 7.505 | 7.208 | 6.291 | 5.09 | 3.787 | 3.165 | 2.979 | 3.083 | 3.302 | 3.172 | 2.762 | 3.244 | 3.958 | 3.89
290 | 266.6 | 137.8 | 76.55 | 62.71 | 81.12 | 127.8 | 254.5 | 323.2 | 304.2 | 375.2 | 1007 | 9999.9 | 9999.9 | 3977 | 34.46 | 20.55 | 14.87 | 12.4 | 10.25 | 9.156 | 8.174 | 8.461 | 8.431 | 7.566 | 8.181 | 8.277 | 8.674 | 9.545 | 10.08 | 9.968 | 8.697 | 8.753 | 8.291 | 9.722 | 12.08 | 14.48 | 13.37 | 11.48 | 9.168 | 9.219 | 10.44 | 10.85 | 10.02 | 8.588 | 7.732 | 7.823 | 7.782 | 7.167 | 6.368 | 4.947 | 3.998 | 3.571 | 2.949 | 3.307 | 3.166 | 3.477 | 3.356 | 3.707 | 4.335
295 | 418.2 | 233.3 | 130 | 107.6 | 127.8 | 181.5 | 274.5 | 497.7 | 555.8 | 573.1 | 541.6 | 1040 | 9999.9 | 9999.9 | 4039 | 37.44 | 19.96 | 14.98 | 11.88 | 10.23 | 9.805 | 8.807 | 8.47 | 8.825 | 9.254 | 8.8 | 9.327 | 9.999 | 9.917 | 10.29 | 9.011 | 8.615 | 8.454 | 8.392 | 9.651 | 11.66 | 13.46 | 13.27 | 10.76 | 8.94 | 8.836 | 10.43 | 10.53 | 10.4 | 8.964 | 8.744 | 8.023 | 7.574 | 7.474 | 6.23 | 5.185 | 3.89 | 3.372 | 3.759 | 3.5 | 3.79 | 4.023 | 4.25 | 4.503
300 | 611.8 | 339 | 200 | 164.7 | 195.1 | 266.2 | 409.3 | 609.1 | 844.1 | 886.5 | 760 | 565 | 953.3 | 9999.9 | 9999.9 | 4532 | 35.91 | 21.71 | 16.16 | 12.98 | 11.6 | 11.07 | 10.35 | 9.385 | 10.02 | 9.111 | 9.587 | 10.15 | 9.622 | 10.48 | 10.26 | 9.101 | 8.795 | 7.766 | 9.03 | 9.42 | 11.35 | 13.64 | 12.86 | 10.23 | 8.621 | 9.025 | 9.905 | 11.4 | 10.8 | 9.841 | 9.224 | 7.595 | 6.904 | 6.723 | 5.629 | 5.252 | 4.337 | 4.222 | 4.169 | 4.245 | 4.427 | 5.014 | 5.93
305 | 780.4 | 437.1 | 271.1 | 223.2 | 267.2 | 369.9 | 530.7 | 763.3 | 981.9 | 1219 | 1046 | 734.2 | 415.3 | 916.5 | 9999.9 | 9999.9 | 4425 | 38.43 | 22.13 | 15.84 | 14.05 | 13.04 | 10.9 | 10.4 | 10.79 | 10.29 | 10.8 | 10.7 | 10.77 | 10.65 | 9.693 | 8.619 | 8.252 | 8.491 | 8.463 | 8.228 | 9.507 | 10.84 | 12.92 | 12.2 | 10.08 | 8.967 | 9.242 | 10.61 | 11.23 | 11.45 | 9.756 | 9.079 | 7.865 | 7.083 | 6.798 | 6.119 | 5.304 | 5.007 | 4.391 | 4.919 | 5.72 | 5.739 | 7.006
310 | 864.7 | 546.3 | 329.7 | 276.5 | 330.6 | 465.6 | 647.9 | 894.1 | 1094 | 1318 | 1330 | 920.1 | 508.6 | 293.7 | 854.5 | 9999.9 | 9999.9 | 4547 | 37.42 | 22.29 | 18.38 | 14.83 | 12.48 | 11.33 | 11.01 | 12.59 | 11.58 | 12.06 | 11.94 | 10.57 | 10.26 | 9.549 | 9.345 | 8.418 | 7.598 | 7.528 | 7.799 | 8.874 | 10.15 | 12.3 | 11.9 | 10.66 | 8.657 | 9.403 | 10.4 | 13.17 | 11.44 | 9.205 | 8.383 | 7.876 | 7.139 | 6.244 | 5.868 | 5.668 | 5.895 | 6.121 | 6.212 | 6.598 | 7.949
315 | 940.8 | 582.7 | 374.1 | 320 | 390.3 | 539.8 | 756 | 994.6 | 1216 | 1390 | 1434 | 1157 | 652.5 | 319.7 | 197.4 | 834 | 9999.9 | 9999.9 | 4286 | 37.96 | 23.99 | 19.49 | 15.34 | 14.13 | 12.49 | 13.24 | 12.57 | 12.09 | 12.24 | 12.27 | 10.87 | 9.544 | 9.122 | 8.571 | 8.387 | 7.953 | 7.657 | 7.715 | 8.461 | 10.56 | 11.71 | 11.94 | 10.27 | 9.168 | 9.207 | 11.2 | 12.03 | 10.5 | 8.73 | 7.657 | 6.976 | 7.081 | 6.605 | 5.96 | 6.123 | 7.301 | 6.59 | 7.278 | 8.555
320 | 995.5 | 608.4 | 390.9 | 353.7 | 455.9 | 622.3 | 826 | 1090 | 1311 | 1497 | 1513 | 1305 | 842.7 | 408.5 | 195.8 | 147 | 805.5 | 9999.9 | 9999.9 | 4266 | 37.55 | 24.89 | 21.17 | 17.51 | 15.66 | 14.32 | 13.88 | 12.66 | 12.38 | 12.94 | 10.77 | 10.62 | 9.364 | 8.932 | 8.32 | 7.829 | 7.505 | 7.184 | 7.342 | 8.011 | 9.264 | 11.51 | 11.95 | 10.26 | 9.56 | 10.04 | 11.22 | 11.21 | 9.535 | 8.14 | 7.555 | 7.152 | 6.97 | 7.115 | 7.198 | 7.635 | 7.531 | 8.233 | 9.578
325 | 964 | 617.6 | 414.7 | 387.2 | 482.1 | 672.9 | 909.9 | 1177 | 1394 | 1579 | 1593 | 1350 | 988.5 | 516.8 | 234.6 | 123.3 | 118.4 | 803.9 | 9999.9 | 9999.9 | 4299 | 40.35 | 28.02 | 22.81 | 18.23 | 15.31 | 15.96 | 14.48 | 14.83 | 13.47 | 12.45 | 10.71 | 9.642 | 9.495 | 8.305 | 8.081 | 7.466 | 7.869 | 7.189 | 7.162 | 8.33 | 10.14 | 11.3 | 12.12 | 10.65 | 9.567 | 10.12 | 10.15 | 9.84 | 8.638 | 7.617 | 6.781 | 6.807 | 7.523 | 7.694 | 7.958 | 9.038 | 9.045 | 10.48
330 | 1004 | 603.8 | 426.5 | 422.1 | 544.7 | 743.6 | 1009 | 1277 | 1506 | 1703 | 1678 | 1474 | 1049 | 648.2 | 311.7 | 148.2 | 86.13 | 105.3 | 797.5 | 9999.9 | 9999.9 | 4630 | 43.2 | 30.26 | 25.02 | 21.44 | 18.3 | 16.48 | 15.59 | 14.16 | 13.45 | 10.9 | 10.53 | 9.619 | 8.936 | 8.124 | 7.853 | 7.856 | 7.005 | 7.309 | 7.294 | 7.498 | 9.487 | 12.32 | 11.73 | 11 | 9.751 | 9.087 | 9.205 | 9.599 | 8.815 | 7.98 | 7.292 | 7.736 | 8.365 | 8.622 | 9.426 | 10.31 | 10.79
335 | 1015 | 626.1 | 459.2 | 458.1 | 584.8 | 811.8 | 1097 | 1421 | 1616 | 1825 | 1858 | 1621 | 1175 | 689.1 | 432.7 | 197.3 | 100.3 | 69.32 | 100.1 | 807.7 | 9999.9 | 9999.9 | 5478 | 47.65 | 33.89 | 29.37 | 24.37 | 20.73 | 17.71 | 15.71 | 14.49 | 12.07 | 11.73 | 10.9 | 9.178 | 9 | 8.085 | 7.906 | 7.224 | 7 | 6.876 | 6.933 | 8.562 | 10.18 | 12.34 | 12.69 | 10.6 | 8.486 | 7.983 | 8.765 | 8.905 | 9.052 | 7.392 | 7.681 | 8.352 | 9.296 | 10.11 | 11.14 | 11.99
340 | 1080 | 657.5 | 479.1 | 489.1 | 632.6 | 881.6 | 1199 | 1521 | 1769 | 1974 | 1987 | 1756 | 1287 | 737.6 | 462.4 | 307.5 | 133.3 | 81 | 60.62 | 98.07 | 841.6 | 9999.9 | 9999.9 | 6036 | 56.5 | 38.88 | 34.58 | 28.78 | 21.78 | 18.58 | 15.49 | 14.11 | 11.79 | 11.62 | 10.01 | 9.237 | 8.628 | 7.864 | 7.174 | 7.312 | 7.251 | 6.931 | 7.666 | 8.724 | 10.45 | 12.33 | 12.78 | 9.691 | 8.65 | 8.111 | 8.9 | 8.842 | 8.47 | 8.573 | 8.97 | 9.613 | 10.89 | 11.87 | 13.05
345 | 1068 | 660.7 | 470 | 501.1 | 659.1 | 919.9 | 1274 | 1609 | 1872 | 2063 | 2078 | 1865 | 1394 | 799.2 | 469 | 339.1 | 219.5 | 103.3 | 71.23 | 60.88 | 105.7 | 874 | 9999.9 | 9999.9 | 7196 | 60.99 | 47.23 | 37.99 | 31.14 | 21.95 | 18.61 | 14.95 | 13.37 | 12.43 | 11.34 | 9.81 | 8.714 | 8.215 | 8.512 | 7.778 | 7.714 | 7.254 | 7.381 | 8.327 | 9.184 | 10.57 | 12.53 | 11.77 | 9.056 | 7.984 | 8.36 | 8.152 | 8.244 | 8.637 | 9.092 | 10.45 | 10.72 | 12.89 | 13.54
350 | 1049 | 662.2 | 492.7 | 512.3 | 697.2 | 974.3 | 1342 | 1684 | 1935 | 2140 | 2173 | 1954 | 1464 | 861.8 | 515.2 | 325.4 | 279.6 | 183.3 | 97.9 | 75.1 | 73 | 117.7 | 891.3 | 9999.9 | 9999.9 | 8639 | 74.73 | 52.16 | 41.13 | 30.55 | 22.47 | 17.7 | 15.14 | 13.27 | 11.91 | 11.23 | 9.807 | 8.905 | 8.264 | 7.918 | 7.808 | 7.428 | 8.011 | 8.671 | 8.612 | 9.443 | 10.46 | 11.09 | 10.72 | 8.893 | 8.253 | 7.927 | 8.607 | 9.728 | 10.11 | 10.37 | 11.42 | 13.11 | 14.06
355 | 1010 | 633.8 | 504.9 | 546.2 | 721.5 | 987.3 | 1356 | 1738 | 1969 | 2176 | 2211 | 2004 | 1530 | 915.9 | 574.9 | 365.5 | 265.5 | 272.5 | 166.8 | 108.9 | 92.74 | 91.15 | 133.3 | 973.2 | 9999.9 | 9999.9 | 9763 | 84.47 | 56.86 | 44.68 | 31.91 | 22.02 | 18.49 | 14.88 | 13.63 | 11.73 | 10.89 | 10.08 | 8.937 | 8.432 | 8.251 | 8.252 | 8.064 | 8.36 | 7.909 | 8.869 | 9.327 | 9.818 | 10.29 | 10.22 | 8.731 | 8.205 | 7.913 | 9.056 | 10.5 | 11.47 | 12.09 | 13.47 | 14.4
360 | 1019 | 645.5 | 530.7 | 561.3 | 737.4 | 1018 | 1382 | 1737 | 1980 | 2197 | 2225 | 2019 | 1554 | 975.1 | 636.2 | 423.8 | 300.6 | 274.6 | 281 | 178.3 | 136.8 | 122.6 | 110.4 | 151.7 | 973.4 | 9999.9 | 9999.9 | 9999.9 | 91.36 | 62.06 | 45.59 | 31.89 | 23.62 | 18.05 | 15.22 | 14.58 | 12.02 | 10.96 | 10.34 | 8.607 | 8.71 | 9.092 | 7.991 | 8.726 | 8.131 | 8.424 | 8.8 | 8.433 | 9.433 | 9.885 | 9.583 | 8.22 | 8.174 | 8.635 | 9.731 | 12.3 | 12.58 | 13.66 | 14.51
365 | 1036 | 645.5 | 534.5 | 574.7 | 745.2 | 1023 | 1374 | 1736 | 1973 | 2177 | 2207 | 2016 | 1563 | 1013 | 683.7 | 487.3 | 374.6 | 316.1 | 318.8 | 308.3 | 212.4 | 178 | 151.9 | 131.1 | 172.9 | 1108 | 9999.9 | 9999.9 | 9999.9 | 100.8 | 62.97 | 46.12 | 31.72 | 21.97 | 18.24 | 15.64 | 13.95 | 12.22 | 11.35 | 10.13 | 9.576 | 8.441 | 8.168 | 8.687 | 8.479 | 8.919 | 8.401 | 8.356 | 7.935 | 9.005 | 10.36 | 9.962 | 9.207 | 8.919 | 9.425 | 11.87 | 13.06 | 14.55 | 14.37
370 | 1005 | 640.6 | 541.3 | 568.4 | 751.4 | 1002 | 1337 | 1660 | 1882 | 2074 | 2099 | 1937 | 1544 | 1021 | 738.1 | 572.6 | 458.3 | 395.7 | 354 | 383.3 | 344.3 | 252.9 | 211.7 | 176.5 | 156.3 | 192.5 | 1185 | 9999.9 | 9999.9 | 9999.9 | 100.6 | 62.09 | 43.71 | 31.82 | 22.11 | 17.9 | 15.12 | 14.02 | 11.91 | 11.22 | 10.02 | 9.713 | 8.636 | 9.139 | 8.376 | 8.781 | 8.01 | 8.293 | 7.53 | 7.572 | 9.432 | 9.643 | 10.14 | 9.434 | 10.07 | 11.13 | 12.07 | 14.02 | 14.58
375 | 948.6 | 642.8 | 563 | 574.4 | 741.7 | 951.6 | 1260 | 1559 | 1787 | 1942 | 2031 | 1884 | 1525 | 1051 | 802.5 | 652.3 | 555.7 | 495.8 | 451.5 | 429.2 | 467.8 | 397.3 | 304.4 | 253.3 | 214.2 | 178 | 216.7 | 1303 | 9999.9 | 9999.9 | 9999.9 | 99.59 | 62.65 | 43.66 | 30.88 | 23.14 | 17.98 | 15.15 | 13.75 | 11.84 | 11.07 | 9.869 | 9.417 | 9.587 | 9.019 | 9.119 | 8.361 | 7.693 | 7.708 | 7.564 | 8.484 | 8.98 | 9.909 | 10.13 | 10.14 | 10.41 | 11.21 | 13.66 | 14.78
380 | 935.7 | 631.3 | 574.9 | 614 | 738.6 | 928.6 | 1170 | 1455 | 1641 | 1832 | 1884 | 1794 | 1480 | 1062 | 865.7 | 744.1 | 657.2 | 611.1 | 572.7 | 541.1 | 524.6 | 560.3 | 446.7 | 359.5 | 301.6 | 243.5 | 202.7 | 240.4 | 1383 | 9999.9 | 9999.9 | 9999.9 | 96.33 | 59.91 | 43.79 | 30.65 | 21.61 | 18.85 | 14.76 | 12.99 | 11.49 | 11.06 | 9.804 | 10.17 | 8.865 | 9.51 | 8.777 | 7.748 | 7.263 | 7.897 | 8.32 | 8.324 | 9.533 | 9.607 | 11.16 | 11.15 | 11.44 | 12.79 | 13.73
385 | 841.2 | 638 | 568.3 | 599.4 | 712.4 | 855.4 | 1092 | 1320 | 1501 | 1681 | 1743 | 1683 | 1427 | 1087 | 931.1 | 833.5 | 765.5 | 737.5 | 706.1 | 667.4 | 637.4 | 638.9 | 633 | 499 | 406.9 | 336.5 | 271.6 | 218.1 | 244.7 | 1427 | 9999.9 | 9999.9 | 9999.9 | 92.39 | 56.5 | 41.17 | 29.45 | 21.34 | 16.28 | 14.78 | 12.62 | 11.61 | 10.71 | 10.06 | 9.801 | 9.495 | 8.648 | 7.808 | 7.643 | 7.444 | 7.856 | 7.944 | 8.615 | 9.614 | 11.08 | 11.48 | 11.65 | 11.75 | 13.34
390 | 852.6 | 640.7 | 587 | 618.1 | 706.7 | 834.4 | 1035 | 1241 | 1407 | 1580 | 1668 | 1638 | 1419 | 1138 | 1024 | 960.5 | 911 | 890.9 | 873.2 | 835.1 | 809.4 | 776.2 | 769 | 719.3 | 569.3 | 464.9 | 380.2 | 292.8 | 214.2 | 243.7 | 1280 | 9999.9 | 9999.9 | 9999.9 | 93.55 | 56.54 | 39.32 | 28.81 | 20.24 | 15.62 | 15.08 | 12.6 | 12.22 | 10.84 | 10.27 | 9.755 | 9.04 | 8.721 | 7.513 | 7.586 | 7.818 | 7.735 | 8.431 | 8.819 | 11.16 | 11.64 | 12.52 | 12.15 | 12.05
395 | 817.2 | 659.3 | 634.9 | 644.7 | 722.5 | 828.4 | 987.1 | 1181 | 1350 | 1516 | 1634 | 1626 | 1438 | 1203 | 1137 | 1099 | 1077 | 1071 | 1055 | 1022 | 1007 | 971.9 | 922.4 | 897.2 | 793.1 | 626.3 | 510.3 | 393.6 | 280.7 | 202 | 220.9 | 1447 | 9999.9 | 9999.9 | 9999.9 | 89.54 | 54.62 | 39.01 | 27.87 | 19.65 | 16.44 | 14.64 | 12.75 | 11.25 | 10.98 | 10.34 | 9.472 | 8.471 | 7.699 | 7.949 | 8.14 | 8.393 | 8.571 | 8.314 | 10.28 | 10.77 | 12.3 | 13.29 | 12.76
400 | 830.1 | 692.2 | 658.6 | 701.2 | 745.2 | 836.3 | 954.2 | 1125 | 1307 | 1505 | 1617 | 1625 | 1485 | 1282 | 1257 | 1245 | 1240 | 1245 | 1248 | 1222 | 1201 | 1185 | 1110 | 1042 | 1007 | 842.1 | 670.8 | 518.5 | 369.3 | 258.3 | 177.8 | 216.4 | 1312 | 9999.9 | 9999.9 | 9999.9 | 86.7 | 52.23 | 36.39 | 26.72 | 19.78 | 16.06 | 13.58 | 13.26 | 11.02 | 10.9 | 9.627 | 8.683 | 7.928 | 8.409 | 8.933 | 8.434 | 8.698 | 8.783 | 9.485 | 10.47 | 11.63 | 12.91 | 13.09
405 | 806.7 | 724.7 | 706.1 | 721.2 | 802.9 | 844.3 | 945.1 | 1113 | 1282 | 1496 | 1624 | 1654 | 1527 | 1353 | 1374 | 1385 | 1394 | 1422 | 1440 | 1418 | 1405 | 1388 | 1335 | 1235 | 1158 | 1065 | 859.3 | 659.4 | 478.4 | 331.3 | 221.6 | 156.2 | 193.9 | 1199 | 9999.9 | 9999.9 | 9999.9 | 84.78 | 49.41 | 36.13 | 25.58 | 18.92 | 15.55 | 13.05 | 11.63 | 11.62 | 10.28 | 9.499 | 9.011 | 8.845 | 8.315 | 9.268 | 8.702 | 8.713 | 9.534 | 9.834 | 10.39 | 12.25 | 13.32
410 | 792.8 | 730.8 | 765.6 | 798.3 | 826.1 | 876.2 | 959.5 | 1123 | 1291 | 1502 | 1644 | 1675 | 1566 | 1434 | 1477 | 1512 | 1533 | 1573 | 1615 | 1606 | 1592 | 1588 | 1519 | 1423 | 1306 | 1202 | 1075 | 821.9 | 589.5 | 410.5 | 271.8 | 182.3 | 132.2 | 176.8 | 1201 | 9999.9 | 9999.9 | 9999.9 | 77.2 | 47.17 | 33.45 | 24.49 | 18.29 | 15.01 | 13.24 | 11.47 | 11.3 | 9.765 | 9.556 | 9.844 | 8.718 | 8.907 | 8.705 | 9.132 | 9.756 | 11.1 | 10.41 | 11.04 | 12.87
415 | 795.7 | 761.3 | 811.3 | 852.3 | 862.8 | 905 | 979.3 | 1134 | 1308 | 1539 | 1686 | 1716 | 1589 | 1498 | 1565 | 1627 | 1657 | 1723 | 1748 | 1769 | 1747 | 1748 | 1693 | 1592 | 1477 | 1320 | 1206 | 1006 | 710.2 | 504.4 | 334.6 | 224.2 | 154.1 | 117.2 | 168.3 | 1289 | 9999.9 | 9999.9 | 9999.9 | 74.68 | 46.02 | 32.27 | 22.99 | 17.26 | 14.59 | 12.61 | 11.13 | 10.5 | 10.96 | 10.21 | 9.243 | 9.961 | 9.451 | 9.2 | 10.28 | 10.11 | 10.51 | 11.26 | 11.96
420 | 802.8 | 777.2 | 856.1 | 899.5 | 940.4 | 938.6 | 997.6 | 1141 | 1325 | 1576 | 1702 | 1738 | 1624 | 1537 | 1618 | 1704 | 1752 | 1820 | 1863 | 1888 | 1899 | 1890 | 1839 | 1732 | 1610 | 1454 | 1289 | 1140 | 861.7 | 589.9 | 397.1 | 263 | 182.6 | 126.5 | 103.6 | 164.5 | 1297 | 9999.9 | 9999.9 | 9999.9 | 71.19 | 44.43 | 31.07 | 22.73 | 16.48 | 14.42 | 12.64 | 11.15 | 10.93 | 11.36 | 9.882 | 9.546 | 9.966 | 10.06 | 10.77 | 10.6 | 10.77 | 10.77 | 11.75
425 | 812.3 | 810.4 | 872.1 | 914.3 | 967 | 972.1 | 1006 | 1173 | 1358 | 1572 | 1721 | 1736 | 1612 | 1549 | 1667 | 1759 | 1829 | 1894 | 1948 | 1973 | 1993 | 1993 | 1940 | 1838 | 1719 | 1550 | 1375 | 1170 | 971.5 | 691.9 | 455.9 | 305.5 | 211.5 | 149.3 | 110.3 | 93.22 | 158.3 | 1307 | 9999.9 | 9999.9 | 9800 | 69.07 | 43.42 | 30.76 | 21.92 | 16.06 | 14.53 | 12.07 | 11.49 | 11.5 | 9.918 | 10.29 | 10.92 | 10.47 | 10.91 | 11.01 | 10.89 | 10.94 | 12.1
430 | 781.6 | 828.8 | 927.3 | 959.3 | 1004 | 1009 | 1021 | 1174 | 1354 | 1602 | 1705 | 1733 | 1610 | 1566 | 1691 | 1790 | 1872 | 1953 | 2004 | 2029 | 2069 | 2069 | 2015 | 1916 | 1799 | 1637 | 1451 | 1222 | 1003 | 800.1 | 529.4 | 348.3 | 243.2 | 171.8 | 128.2 | 97.23 | 86.39 | 155.8 | 1208 | 9999.9 | 9999.9 | 9999.9 | 68.66 | 41.5 | 28.75 | 21.98 | 15.63 | 12.94 | 11.67 | 11.72 | 11.75 | 10.6 | 10.85 | 10.28 | 11.26 | 11.19 | 11.13 | 10.8 | 11.65
435 | 780.7 | 838.9 | 952.1 | 998.4 | 1035 | 1030 | 1034 | 1165 | 1337 | 1560 | 1709 | 1710 | 1604 | 1561 | 1702 | 1808 | 1899 | 1970 | 2028 | 2077 | 2099 | 2115 | 2052 | 1969 | 1849 | 1683 | 1489 | 1275 | 1019 | 828 | 620.1 | 395.7 | 275.6 | 202.8 | 149.8 | 116.7 | 91.58 | 85.39 | 148 | 1294 | 9999.9 | 9999.9 | 9472 | 66.45 | 39.95 | 28.96 | 21.44 | 15.85 | 12.75 | 12.14 | 11.69 | 11.61 | 10.97 | 11.44 | 11.09 | 10.7 | 11.74 | 11.25 | 11.83
440 | 770.5 | 826.2 | 945.8 | 1021 | 1051 | 1022 | 1034 | 1137 | 1320 | 1532 | 1672 | 1668 | 1546 | 1531 | 1675 | 1788 | 1880 | 1957 | 2017 | 2078 | 2094 | 2107 | 2070 | 1966 | 1859 | 1694 | 1515 | 1302 | 1045 | 820.9 | 651.3 | 456.9 | 311.9 | 231.4 | 178.9 | 139.1 | 110.3 | 90.61 | 83.09 | 154.1 | 1224 | 9999.9 | 9999.9 | 9374 | 62.46 | 39.88 | 28.07 | 19.62 | 15.27 | 13.54 | 12.72 | 11.63 | 12 | 11.62 | 11.95 | 11.56 | 11.54 | 11.62 | 11.89
445 | 778.5 | 821.9 | 926.6 | 1020 | 1052 | 1007 | 1017 | 1125 | 1274 | 1473 | 1600 | 1599 | 1487 | 1466 | 1631 | 1734 | 1820 | 1913 | 1979 | 2014 | 2047 | 2056 | 2027 | 1930 | 1834 | 1659 | 1500 | 1298 | 1054 | 826.2 | 630.9 | 506.6 | 368.5 | 262.7 | 205.8 | 166.7 | 133.1 | 109.2 | 89.6 | 84.8 | 151.2 | 1221 | 9999.9 | 9999.9 | 8392 | 60.18 | 37.35 | 26.51 | 19.21 | 14.74 | 13.71 | 12.68 | 11.95 | 12.61 | 12.22 | 11.77 | 11.52 | 12.12 | 12.2
450 | 1071 | 795.5 | 901.4 | 972.3 | 1012 | 999 | 981.3 | 1059 | 1209 | 1392 | 1525 | 1508 | 1401 | 1389 | 1552 | 1669 | 1755 | 1830 | 1896 | 1928 | 1964 | 1975 | 1939 | 1856 | 1751 | 1610 | 1455 | 1263 | 1034 | 820.2 | 624 | 494.1 | 417.3 | 303.5 | 233.7 | 192 | 159.4 | 128 | 106.5 | 89.85 | 82.91 | 149.5 | 1225 | 9999.9 | 9999.9 | 8660 | 58.88 | 35.11 | 25.15 | 18.21 | 15.28 | 14 | 12.82 | 12.4 | 11.76 | 12.39 | 11.52 | 11.55 | 11.65
455 | 2479 | 749.1 | 858.8 | 924.5 | 959.6 | 938.4 | 931.2 | 997.7 | 1122 | 1294 | 1406 | 1404 | 1311 | 1311 | 1449 | 1558 | 1645 | 1714 | 1780 | 1817 | 1850 | 1867 | 1838 | 1752 | 1655 | 1516 | 1380 | 1211 | 1006 | 806.5 | 624.4 | 484.4 | 421.1 | 351.9 | 267 | 217.1 | 180.7 | 148.9 | 124.9 | 106.1 | 86.92 | 80.53 | 145.6 | 1295 | 9999.9 | 9999.9 | 7830 | 53.58 | 32.45 | 23.6 | 18.22 | 14.74 | 14.15 | 12.45 | 12.93 | 12.25 | 11.84 | 11.43 | 12.01
460 | 4340 | 1072 | 838.8 | 889.4 | 915.4 | 891.1 | 859.8 | 933.6 | 1025 | 1199 | 1291 | 1293 | 1207 | 1214 | 1330 | 1445 | 1529 | 1593 | 1644 | 1691 | 1717 | 1727 | 1711 | 1632 | 1543 | 1422 | 1305 | 1146 | 964.9 | 786.7 | 610.4 | 483.6 | 404.6 | 372.4 | 311.5 | 242.4 | 204.8 | 171.4 | 143.1 | 119 | 96.97 | 81.93 | 73.25 | 143.1 | 1145 | 9999.9 | 9999.9 | 7072 | 49.52 | 32.21 | 22.69 | 18.17 | 14.46 | 13.08 | 12.79 | 12.73 | 12.44 | 11.43 | 10.68
465 | 3738 | 2583 | 770.5 | 832.5 | 847.4 | 833.6 | 814.5 | 858.7 | 946.6 | 1092 | 1173 | 1172 | 1104 | 1100 | 1223 | 1338 | 1396 | 1470 | 1517 | 1549 | 1580 | 1583 | 1577 | 1511 | 1418 | 1309 | 1203 | 1071 | 906.7 | 744.5 | 594.1 | 476.4 | 401.6 | 357.7 | 334.4 | 274.3 | 221.1 | 187.4 | 160.2 | 135.5 | 109.1 | 91.45 | 73.75 | 69.2 | 129.3 | 1129 | 9999.9 | 9999.9 | 7265 | 49.63 | 29.73 | 23.09 | 18.25 | 14.61 | 13 | 12.53 | 12.19 | 11.41 | 11.07
470 | 1316 | 4900 | 1142 | 769.5 | 803.5 | 765 | 738.8 | 776.1 | 859 | 977.8 | 1056 | 1057 | 990.2 | 993.1 | 1116 | 1201 | 1271 | 1326 | 1375 | 1400 | 1427 | 1444 | 1426 | 1369 | 1300 | 1199 | 1110 | 990.6 | 839.7 | 704.7 | 572 | 466.9 | 393.6 | 343.9 | 323.1 | 301.5 | 242.7 | 204.2 | 171.6 | 145.1 | 120 | 100.7 | 80.03 | 66.93 | 62.75 | 123.2 | 1086 | 9999.9 | 9999.9 | 6866 | 48.03 | 30.78 | 22.98 | 17.26 | 15.14 | 14.15 | 12.03 | 12.5 | 11.87
475 | 548.4 | 4601 | 2854 | 710.3 | 718.6 | 694.2 | 668.9 | 704.1 | 771.1 | 881 | 943.4 | 945.9 | 878.5 | 883.6 | 985.9 | 1081 | 1130 | 1191 | 1229 | 1259 | 1271 | 1297 | 1279 | 1238 | 1173 | 1090 | 999 | 903.6 | 781.6 | 656.1 | 540.6 | 445.7 | 387 | 339.7 | 305.4 | 297.9 | 267.8 | 215.9 | 182.4 | 153.6 | 131.1 | 107.1 | 88.96 | 71.51 | 60.08 | 57.3 | 118.8 | 1120 | 9999.9 | 9999.9 | 5014 | 45.68 | 29.78 | 21.83 | 17.66 | 13.79 | 12.26 | 12.07 | 10.9
480 | 468 | 1640 | 5466 | 1106 | 662.1 | 642.1 | 628.8 | 647.7 | 682.3 | 794.2 | 842 | 843.6 | 792.5 | 788.5 | 880.7 | 974.9 | 1019 | 1068 | 1111 | 1134 | 1149 | 1171 | 1154 | 1113 | 1062 | 988 | 914.3 | 833.5 | 721.4 | 623.2 | 517.9 | 433 | 375.2 | 338.4 | 303.8 | 281.3 | 273.4 | 235.7 | 190 | 165.5 | 142.9 | 119 | 101.3 | 82.49 | 70.21 | 58.97 | 59.74 | 121 | 984.1 | 9999.9 | 9999.9 | 5490 | 45.27 | 29.19 | 22.03 | 16.28 | 13.84 | 12.61 | 10.56
485 | 431 | 544 | 5165 | 3032 | 630.1 | 607 | 588.9 | 609.8 | 638.9 | 726.5 | 760.2 | 755.4 | 717.8 | 719.1 | 800.2 | 871 | 920.2 | 962.6 | 994.5 | 1025 | 1044 | 1061 | 1054 | 1017 | 971 | 912.3 | 838.5 | 771.3 | 677.4 | 590.9 | 499.8 | 421.1 | 378.2 | 337 | 303.8 | 280 | 263.4 | 253.7 | 214.3 | 180.2 | 153.4 | 137 | 117.4 | 99.26 | 86.21 | 74.13 | 66.23 | 66.41 | 118.7 | 1065 | 9999.9 | 9999.9 | 4617 | 45.4 | 28.99 | 22.23 | 16.44 | 13.88 | 11.84
490 | 387 | 431.8 | 1821 | 5687 | 1007 | 572.7 | 546 | 582.2 | 597.4 | 666.9 | 701.7 | 692.2 | 641.2 | 645.1 | 725.1 | 793.1 | 836.2 | 868.2 | 907.5 | 921.3 | 948.8 | 957.2 | 959.3 | 931.5 | 890 | 833.5 | 782.4 | 726.9 | 647.3 | 564.8 | 489.5 | 421.1 | 371.2 | 333.9 | 308.3 | 282.2 | 263 | 255.5 | 241.7 | 202.7 | 179.2 | 158.2 | 142.4 | 124.6 | 107.8 | 94.84 | 86.05 | 78.39 | 73.62 | 131.2 | 1096 | 9999.9 | 9999.9 | 4775 | 43.75 | 28.87 | 20.85 | 16.12 | 12.57
495 | 334.8 | 382.7 | 544.3 | 5661 | 3007 | 552.8 | 532.1 | 559.2 | 572.4 | 614.8 | 643.9 | 629.2 | 582.8 | 584.1 | 652.3 | 706.8 | 746.9 | 787.7 | 813.2 | 827.9 | 853.8 | 873.4 | 867 | 842.5 | 818.2 | 780.4 | 734.1 | 691.3 | 619.4 | 552 | 475.1 | 416.1 | 373.8 | 336.1 | 308.5 | 289.8 | 269.2 | 255.7 | 255.3 | 233.3 | 205.8 | 188.5 | 171.8 | 156.6 | 140.7 | 123 | 111.4 | 101.9 | 89.04 | 84.61 | 140.6 | 1104 | 9999.9 | 9999.9 | 4448 | 44.06 | 26.65 | 19.99 | 14.95
500 | 323.9 | 344.5 | 413.8 | 2166 | 6257 | 970.2 | 507.7 | 536.5 | 546.5 | 580 | 593.7 | 573.7 | 514.2 | 510.8 | 572.7 | 624.9 | 657.7 | 692.4 | 712.3 | 738.3 | 764.6 | 777.8 | 780.5 | 755.2 | 737.3 | 710.6 | 681.4 | 650.8 | 593.8 | 533.7 | 472.7 | 411.5 | 371.1 | 335.4 | 316.1 | 293.4 | 279.6 | 266.8 | 260.4 | 260.3 | 240 | 217.7 | 202.4 | 189.9 | 171.3 | 153.9 | 139.6 | 126 | 112.2 | 96.12 | 90.62 | 143.2 | 1099 | 9999.9 | 9999.9 | 4168 | 38.95 | 25.15 | 17.24
505 | 302.5 | 333.5 | 367.6 | 544.1 | 6606 | 3068 | 514.4 | 505.5 | 525.5 | 551.9 | 539.2 | 517.9 | 455.7 | 448.8 | 505.5 | 542 | 578.1 | 600.9 | 626.9 | 645.6 | 664.6 | 689.3 | 688 | 678.8 | 666.1 | 649.2 | 636 | 603.4 | 566.7 | 518.9 | 462 | 403.1 | 364 | 334.9 | 314.6 | 301 | 291.9 | 280.5 | 270.5 | 268.2 | 267.8 | 250 | 232.8 | 217 | 201.1 | 186 | 169.1 | 154 | 137.8 | 116.6 | 99.36 | 87.39 | 133.1 | 1081 | 9999.9 | 9999.9 | 3844 | 36.17 | 22.85
510 | 264.4 | 304.4 | 333.1 | 383 | 2516 | 6704 | 957.9 | 500 | 495.3 | 510.8 | 502.1 | 457.5 | 402.3 | 391.5 | 436 | 471.4 | 499.7 | 527.9 | 546.9 | 557 | 580.3 | 598.5 | 605.8 | 610.1 | 595.9 | 588.7 | 588.1 | 571.2 | 538.9 | 501.6 | 453.7 | 396.2 | 359.1 | 331.6 | 310.1 | 297.6 | 290.6 | 284.9 | 277.7 | 275.1 | 283.3 | 279 | 260.3 | 244.7 | 225.4 | 208.5 | 194.8 | 175.3 | 156.3 | 130.4 | 112.2 | 88.96 | 75.28 | 121.3 | 1017 | 9999.9 | 9999.9 | 3611 | 32.01
515 | 247.6 | 284.3 | 295 | 339.1 | 550.3 | 7310 | 3045 | 488.6 | 474.4 | 478.1 | 458.1 | 407.1 | 353.6 | 338.8 | 375.4 | 416.1 | 433 | 457.8 | 479 | 493.2 | 507 | 529.3 | 539.4 | 538.5 | 540.4 | 534.8 | 538.4 | 530.8 | 509.8 | 480.9 | 430.5 | 378.8 | 345.4 | 316.9 | 300.2 | 289.5 | 285.8 | 283.2 | 279.5 | 274.8 | 281.1 | 289.6 | 279 | 256.6 | 240.9 | 222.7 | 203.2 | 189 | 166.6 | 141.5 | 120.7 | 96.37 | 73.06 | 59.97 | 106.7 | 1031 | 9999.9 | 9999.9 | 3143
520 | 225.5 | 241.8 | 277.4 | 309.2 | 362.8 | 2956 | 6894 | 954.5 | 443.4 | 437.9 | 414.4 | 358.5 | 313.8 | 296.5 | 321.9 | 356.5 | 379.4 | 395.2 | 412.2 | 422.5 | 441.9 | 460.7 | 470.8 | 475.1 | 480.3 | 488.5 | 491.9 | 491 | 468.8 | 451.4 | 407.4 | 364.5 | 330 | 301.8 | 286.4 | 281.4 | 276.7 | 276.1 | 277.4 | 275.9 | 275.9 | 284.7 | 282.3 | 267.5 | 247.6 | 229.1 | 212.6 | 196 | 174.2 | 149.2 | 123.2 | 100.8 | 75.81 | 56.15 | 46.43 | 97.94 | 967.8 | 9999.9 | 9999.9
525 | 213.4 | 223.3 | 235.6 | 271.7 | 306.9 | 558.3 | 7754 | 3172 | 430.2 | 397.3 | 371.6 | 325.2 | 275 | 251.8 | 278.7 | 302.2 | 319.4 | 342.6 | 354.9 | 366.5 | 385.3 | 399.8 | 411.3 | 421.8 | 425 | 428.9 | 443 | 445.3 | 434 | 416.6 | 378.7 | 338.4 | 308.8 | 284.4 | 268.5 | 262.7 | 258.3 | 264.1 | 262.9 | 264.6 | 266.4 | 268.2 | 273.7 | 267.2 | 247.4 | 226.5 | 209 | 192.5 | 174.7 | 147.3 | 123.3 | 99.37 | 74.93 | 55.73 | 40.25 | 36.3 | 88.76 | 957.3 | 9999.9
530 | 189.2 | 194.2 | 215.1 | 238.8 | 271.7 | 316.7 | 3366 | 7047 | 915.3 | 365.1 | 335.4 | 289.9 | 233.8 | 216.1 | 236.2 | 259.3 | 274.3 | 291.6 | 301.3 | 316.9 | 327.1 | 350.4 | 356.9 | 372.4 | 376.1 | 387.5 | 396.6 | 404.8 | 401.6 | 381.9 | 346.5 | 307.8 | 286.9 | 262.1 | 249.7 | 245.6 | 244.5 | 245 | 248.4 | 249.6 | 253.7 | 259.8 | 257.1 | 255.3 | 245.1 | 222.6 | 201.7 | 188.7 | 169.3 | 145.3 | 122 | 95.57 | 72.64 | 54.99 | 39.24 | 30.4 | 31.5 | 85.16 | 959.8
535 | 153 | 161 | 187.8 | 220.4 | 235.9 | 268.1 | 571.3 | 7812 | 2887 | 337.4 | 299.8 | 245.9 | 202.1 | 183.6 | 200.9 | 217.5 | 235.2 | 249.2 | 256.5 | 264.6 | 283.9 | 296.9 | 310.5 | 316.6 | 330.5 | 338.2 | 354.6 | 359.2 | 358.8 | 345.1 | 314.1 | 282.9 | 259.3 | 236 | 226.3 | 221.9 | 225.4 | 226.2 | 226.5 | 230.8 | 235.4 | 238.7 | 238.2 | 235.3 | 234.1 | 213.8 | 195.1 | 179.2 | 161.1 | 136.7 | 117.4 | 93.56 | 71.77 | 52.22 | 39.58 | 31.65 | 26.8 | 30.82 | 88.56
540 | 144.7 | 149.9 | 158.5 | 195.9 | 209.8 | 238.9 | 293.1 | 3436 | 6235 | 746.1 | 263.5 | 218 | 174.5 | 158.8 | 168.3 | 187.5 | 199.6 | 211.5 | 218.7 | 224.4 | 241.3 | 250.4 | 266.1 | 271.5 | 284.1 | 292 | 311 | 317.3 | 316.6 | 308.3 | 283.3 | 253.9 | 230.6 | 214 | 204.3 | 198.8 | 198.6 | 205.3 | 207.4 | 212.8 | 215.7 | 223.1 | 220.1 | 216 | 210.2 | 202 | 184.5 | 168 | 148.8 | 128.3 | 108.5 | 87.95 | 69.29 | 51.02 | 38.94 | 30.65 | 26.75 | 26.77 | 33.03
545 | 124.3 | 117.7 | 134.6 | 157 | 199.5 | 212 | 246.4 | 554.7 | 7263 | 2544 | 238.3 | 187.2 | 149.6 | 132.1 | 141.9 | 154.3 | 163.5 | 174.9 | 183.2 | 192.9 | 200.5 | 210.4 | 225.6 | 232.7 | 240.7 | 252.1 | 267.9 | 276.6 | 279.1 | 268.3 | 251.6 | 222.9 | 203.7 | 191.1 | 182.4 | 177.3 | 178.1 | 183.4 | 187.1 | 188.3 | 194.7 | 200.8 | 199.7 | 192.4 | 188.2 | 180.8 | 170.2 | 153.9 | 136.7 | 118.6 | 100.8 | 81.56 | 63.51 | 48.15 | 37.34 | 30.62 | 27.92 | 26.76 | 29.48
550 | 122.5 | 111.4 | 121.3 | 135.9 | 168.2 | 185.4 | 212.5 | 257.9 | 3528 | 5985 | 656.4 | 165 | 127.8 | 110 | 120.7 | 128.7 | 133.8 | 143 | 151.9 | 158.6 | 166.2 | 175.9 | 186.7 | 194.2 | 204.1 | 214.4 | 229.2 | 240.7 | 241 | 233.1 | 216.9 | 193.8 | 177 | 163.3 | 158 | 153.3 | 156.2 | 159.6 | 161.7 | 167.7 | 174.9 | 176.7 | 174.5 | 172.7 | 165.8 | 158.2 | 152.5 | 141.4 | 123.5 | 108.6 | 89.78 | 74.39 | 58.53 | 45.26 | 36.49 | 28.96 | 26.8 | 27.08 | 27.76
555 | 100.7 | 98.24 | 99.56 | 110.7 | 141.9 | 160.7 | 183.9 | 211.9 | 517.1 | 7280 | 2302 | 152.3 | 107.8 | 92.69 | 99.5 | 108.6 | 111.1 | 118.9 | 122.3 | 129.5 | 137 | 145.3 | 156.4 | 163.8 | 172.7 | 181 | 192 | 202.3 | 205.9 | 200.4 | 185 | 166.2 | 154.8 | 142.3 | 135.6 | 132.3 | 136.2 | 139.4 | 141.7 | 147.1 | 150.9 | 153.6 | 153.2 | 152.4 | 145.2 | 137.6 | 131.5 | 125.7 | 111.3 | 94.31 | 80.26 | 66.72 | 53.48 | 40.99 | 31.78 | 27.14 | 24.75 | 24.79 | 26.56
560 | 104.2 | 84.2 | 88.14 | 94.43 | 118.2 | 149.8 | 153.7 | 178.6 | 193.1 | 3574 | 5548 | 517.3 | 90.18 | 78.14 | 80.16 | 85.72 | 89.96 | 96.09 | 100.9 | 104.5 | 111.4 | 118.7 | 127 | 129.8 | 140.7 | 148 | 160.8 | 168.1 | 172 | 169.5 | 157.5 | 139.6 | 127.2 | 119.6 | 113.1 | 113.3 | 115.1 | 117.5 | 120.7 | 124.4 | 127.7 | 129.5 | 133.1 | 130.4 | 124.6 | 118.1 | 111.7 | 106.3 | 97.43 | 82.32 | 70.32 | 57.94 | 46.04 | 35.49 | 28.8 | 24.41 | 21.83 | 21.63 | 22.81
565 | 81.31 | 71.05 | 72.09 | 79.65 | 92.31 | 117.5 | 134.4 | 152.6 | 146.9 | 457.1 | 7043 | 2099 | 87.04 | 64.4 | 65.11 | 72.03 | 72.53 | 77.38 | 79.83 | 83.38 | 91.22 | 96.84 | 104.5 | 109.5 | 117 | 125.7 | 135.4 | 139.3 | 142.5 | 141.1 | 129.3 | 117.5 | 107.8 | 101.8 | 95.15 | 95.87 | 96.54 | 98.63 | 102.8 | 106.1 | 108 | 111.4 | 111.5 | 108.1 | 105.5 | 100.5 | 95.02 | 89.03 | 83.71 | 73.07 | 59.94 | 49.65 | 38.89 | 29.92 | 24.57 | 19.99 | 18.58 | 18.87 | 19.61
570 | 84.48 | 62.53 | 65.16 | 65.32 | 82.17 | 101 | 127.9 | 136 | 131.4 | 147.1 | 3544 | 5408 | 412.9 | 53.97 | 55.4 | 58.54 | 59.68 | 60.96 | 66.13 | 69.55 | 70.77 | 77.93 | 84.94 | 90.14 | 95.12 | 102.6 | 108.7 | 117.8 | 120.2 | 119.8 | 107.2 | 99.94 | 92.17 | 84.74 | 78.44 | 79.94 | 81.61 | 83.26 | 85.11 | 88.19 | 89.98 | 93.47 | 93.16 | 91.04 | 90.03 | 85.12 | 80.52 | 73.59 | 68.34 | 61.11 | 52.03 | 41.1 | 32.47 | 25.26 | 20.75 | 17.64 | 16.58 | 15.8 | 16.25
575 | 74.58 | 62.69 | 59.97 | 64.16 | 79.22 | 84.95 | 114 | 120.9 | 119.6 | 119.1 | 413.1 | 7059 | 1898 | 54.03 | 45.91 | 47.04 | 47.87 | 52.09 | 54.75 | 56.1 | 59.03 | 63.86 | 69.18 | 73.45 | 77.3 | 83.29 | 90.82 | 94.1 | 99.39 | 97.83 | 90.29 | 80.65 | 74.27 | 71.02 | 66.9 | 66.67 | 66.96 | 68.92 | 71.47 | 72.23 | 74.35 | 76.09 | 77.58 | 75.48 | 73.81 | 68.92 | 65.86 | 60.53 | 55.51 | 50.13 | 45.05 | 36.18 | 28.38 | 22.61 | 17.52 | 15.07 | 13.85 | 13.7 | 13.52
580 | 82.67 | 63.18 | 53.78 | 49.64 | 61.53 | 80.19 | 103.1 | 115.2 | 111.5 | 107.8 | 116.2 | 3404 | 5021 | 334.7 | 40.61 | 39.89 | 40.02 | 42.23 | 43.38 | 44.77 | 49.15 | 51.13 | 54.98 | 59.12 | 65.85 | 68.26 | 73.56 | 77.51 | 81.16 | 82.25 | 72.41 | 66.94 | 60.95 | 57.68 | 56.48 | 54.05 | 55.55 | 55.9 | 58.61 | 60.2 | 61.75 | 62.73 | 62.99 | 63.04 | 60.09 | 58.71 | 54.03 | 51.39 | 47.12 | 41.4 | 37.59 | 31.09 | 24.35 | 19.73 | 14.76 | 13.02 | 11.64 | 11.77 | 11.83
585 | 75.33 | 58.25 | 55.36 | 52.4 | 54.48 | 66.13 | 83.78 | 111.6 | 108.9 | 103.2 | 95.05 | 373.8 | 6411 | 1569 | 39.63 | 32.67 | 33 | 34.41 | 36.91 | 35.77 | 38.62 | 41.54 | 46.1 | 48.26 | 53.36 | 54.85 | 62.1 | 63.24 | 65.61 | 68.02 | 62.64 | 56.26 | 50.62 | 47.97 | 47.24 | 43.68 | 46.44 | 48.67 | 48.67 | 50.85 | 49.93 | 53.63 | 53.39 | 51.89 | 50.23 | 47.34 | 43.71 | 42.38 | 39.23 | 33.33 | 30.5 | 27.17 | 21.1 | 15.71 | 12.69 | 11.61 | 9.921 | 9.603 | 10.14
590 | 76.19 | 58.45 | 42.13 | 45.77 | 50.1 | 60.76 | 76.27 | 102.2 | 113.3 | 103.8 | 93.58 | 87.92 | 2987 | 4547 | 270.1 | 31.48 | 28.78 | 29.27 | 30.33 | 31.94 | 33.17 | 35.69 | 37.77 | 40.26 | 43.8 | 46.19 | 51.57 | 54.34 | 54.26 | 55.81 | 52.8 | 46.42 | 43.83 | 38.65 | 38.42 | 38.19 | 38.9 | 38.85 | 41.14 | 42.4 | 43.54 | 43.09 | 43.33 | 42.45 | 42.91 | 40.63 | 38.02 | 35.18 | 32.65 | 27.4 | 25.88 | 22.37 | 18.19 | 15.16 | 12.02 | 9.497 | 8.871 | 8.324 | 8.434
595 | 91.31 | 56.07 | 44.56 | 43.79 | 48.48 | 59.11 | 73.14 | 97.81 | 112.8 | 108.7 | 95.46 | 76.13 | 319 | 6204 | 1516 | 32.44 | 25.7 | 24.08 | 23.85 | 26.22 | 28.24 | 29.09 | 31.13 | 34.59 | 36.09 | 38.52 | 42.04 | 46.19 | 45.43 | 45.72 | 43.25 | 41.24 | 36.49 | 34.3 | 33.33 | 32.4 | 32.37 | 33.38 | 34.28 | 33.93 | 34.87 | 36.45 | 37.09 | 36.27 | 35.5 | 32.73 | 31.28 | 28.5 | 27.6 | 23.86 | 20.9 | 18.55 | 16.29 | 13.64 | 10.56 | 8.51 | 7.916 | 7.368 | 8.002
600 | 93.55 | 61.55 | 45.59 | 41.94 | 48.31 | 57.37 | 72.95 | 94.15 | 119.6 | 118.1 | 102 | 74.95 | 61.53 | 3243 | 4854 | 239.6 | 22.51 | 22.28 | 22.47 | 22.25 | 24.16 | 24.26 | 27.72 | 28.69 | 31.18 | 33.84 | 36.19 | 38.78 | 40.19 | 39.21 | 36.89 | 35.43 | 32.21 | 30.28 | 28.26 | 27.83 | 27.5 | 27.98 | 27.7 | 29.47 | 29.07 | 30.56 | 30.36 | 30.1 | 30.56 | 26.71 | 27.29 | 24.64 | 22.86 | 19.5 | 18.41 | 16.14 | 13.51 | 11.97 | 10.05 | 8.07 | 7.46 | 7.029 | 6.9