## Sheet1
Report date: | 17:54:02, 09/02/2024
Sample: | 1
File name:
Run date: | 17:43:44, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 235.0/430.0 | 897.2
2 | 240.0/435.0 | 885.7
3 | 250.0/275.0 | 265.3
4 | 255.0/280.0 | 302.1
5 | 265.0/590.0 | 150.2
6 | 280.0/340.0 | 4740
7 | 320.0/430.0 | 1451
8 | 325.0/370.0 | 428.4
9 | 395.0/280.0 | 10.16
10 | 405.0/290.0 | 10.17
11 | 410.0/295.0 | 9.306
12 | 410.0/480.0 | 131.3
13 | 415.0/300.0 | 9.248
14 | 415.0/485.0 | 120.8
15 | 420.0/305.0 | 9.376
16 | 420.0/495.0 | 122.6
17 | 425.0/280.0 | 7.725
18 | 430.0/285.0 | 7.63
19 | 435.0/515.0 | 147
20 | 440.0/520.0 | 148.3
21 | 455.0/335.0 | 12.79
22 | 460.0/340.0 | 13.13
23 | 465.0/325.0 | 12.25
24 | 510.0/280.0 | 4.906
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 53.81 | 47.18 | 60.47 | 226.8 | 134.1 | 52.69 | 226.2 | 9999.9 | 9999.9 | 6543 | 52.87 | 25.29 | 20.24 | 13.42 | 12.91 | 10.06 | 9.91 | 8.344 | 7.78 | 7.898 | 8.404 | 6.869 | 7.289 | 7.383 | 6.943 | 6.683 | 6.795 | 7.163 | 7.283 | 7.48 | 9.202 | 9.961 | 10.72 | 8.378 | 6.667 | 8.056 | 7.93 | 8.299 | 7.063 | 6.297 | 6.038 | 5.494 | 5.042 | 4.876 | 4.817 | 4.143 | 3.432 | 2.665 | 2.505 | 2.381 | 2.506 | 2.415 | 3.964 | 3.948 | 3.27 | 2.23 | 2.431 | 2.653 | 2.568
275 | 76.45 | 51.34 | 42.48 | 95.55 | 265.3 | 129.1 | 83.81 | 854.6 | 9999.9 | 9999.9 | 6211 | 49.6 | 24.16 | 19.44 | 14.39 | 12.03 | 10.8 | 9.307 | 9.032 | 8.128 | 7.445 | 7.187 | 7.698 | 6.708 | 6.858 | 6.935 | 7.256 | 7.044 | 7.381 | 6.892 | 7.683 | 9.047 | 10.32 | 9.877 | 7.556 | 7.23 | 6.954 | 7.219 | 7.591 | 7.124 | 6.252 | 5.441 | 5.274 | 5.336 | 5.099 | 4.991 | 3.947 | 3.129 | 2.472 | 2.31 | 2.659 | 2.51 | 2.675 | 3.681 | 4.12 | 3.784 | 2.695 | 2.411 | 2.908
280 | 103.7 | 58.7 | 46.62 | 54.63 | 150.6 | 302.1 | 138.3 | 159.5 | 875.1 | 9999.9 | 9999.9 | 6127 | 49.21 | 23.4 | 17.22 | 14.89 | 12.83 | 9.734 | 9.553 | 8.857 | 8.587 | 8.12 | 7.142 | 7.286 | 6.847 | 7.411 | 7.165 | 7.402 | 7.296 | 7.276 | 6.893 | 7.16 | 8.817 | 10.16 | 9.109 | 8.109 | 6.755 | 6.464 | 7.043 | 7.725 | 7.193 | 6.343 | 5.335 | 5.099 | 5.171 | 5.076 | 4.36 | 3.893 | 2.874 | 2.468 | 2.572 | 2.77 | 2.453 | 2.5 | 2.831 | 4.096 | 4.906 | 3.602 | 3.228
285 | 243.8 | 120.2 | 73.11 | 71.01 | 97.68 | 268.6 | 371.9 | 229.8 | 292.7 | 1013 | 9999.9 | 9999.9 | 5878 | 46.91 | 25.2 | 19.06 | 15.3 | 12.88 | 11.02 | 10.26 | 8.898 | 8.921 | 8.153 | 7.403 | 7.175 | 7.901 | 7.678 | 6.893 | 7.523 | 7.35 | 7.155 | 6.642 | 6.846 | 8.382 | 9.521 | 9.923 | 7.761 | 7.162 | 6.353 | 6.53 | 7.63 | 6.658 | 6.413 | 6.266 | 5.363 | 5.65 | 5.323 | 4.834 | 3.917 | 3.128 | 2.734 | 2.704 | 2.722 | 2.563 | 2.831 | 2.75 | 3.926 | 5.473 | 5.825
290 | 561 | 291.4 | 161.6 | 117.9 | 147.1 | 223.9 | 500.7 | 579.1 | 537.6 | 610.5 | 1296 | 9999.9 | 9999.9 | 5560 | 47.44 | 25.27 | 18.86 | 15.97 | 12.88 | 11.06 | 9.775 | 9.842 | 8.754 | 8.334 | 8.105 | 7.726 | 8.136 | 7.695 | 7.511 | 7.406 | 6.825 | 6.458 | 6.298 | 7.079 | 8.16 | 10.17 | 8.468 | 7.812 | 6.423 | 6.511 | 6.622 | 7.079 | 6.954 | 7.357 | 6.298 | 6.349 | 5.408 | 5.642 | 4.992 | 4.109 | 3.407 | 2.916 | 2.971 | 3.186 | 3.277 | 3.376 | 3.663 | 4.519 | 5.977
295 | 953.8 | 548.2 | 334.3 | 263.4 | 301.5 | 387.6 | 562.4 | 973.5 | 1065 | 1038 | 994.7 | 1403 | 9999.9 | 9999.9 | 5519 | 48.82 | 27.76 | 19.57 | 16.85 | 13.81 | 11.98 | 10.55 | 9.601 | 9.296 | 8.47 | 8.166 | 8.838 | 7.994 | 7.364 | 7.543 | 7.716 | 6.465 | 6.356 | 6.727 | 6.654 | 7.502 | 9.306 | 8.916 | 7.004 | 6.379 | 6.533 | 7.491 | 7.74 | 7.863 | 7.928 | 7.499 | 7.243 | 6.374 | 5.687 | 5.004 | 4.858 | 4.195 | 3.778 | 4.239 | 3.871 | 4.265 | 5.092 | 5.412 | 6.519
300 | 1486 | 925.5 | 603.4 | 515.7 | 585.4 | 723.4 | 915.1 | 1213 | 1724 | 1720 | 1531 | 1122 | 1332 | 9999.9 | 9999.9 | 5717 | 49.36 | 27.05 | 22.21 | 17.28 | 13.61 | 13.89 | 11.25 | 10.33 | 9.97 | 9.454 | 9.359 | 8.323 | 8.396 | 7.83 | 7.593 | 6.837 | 6.333 | 6.519 | 6.036 | 6.487 | 7.925 | 9.248 | 8.678 | 7.439 | 6.627 | 6.979 | 7.431 | 9.535 | 8.872 | 8.365 | 9.177 | 7.776 | 6.902 | 6.947 | 6.634 | 6.031 | 5.482 | 5.182 | 5.923 | 6.46 | 7.454 | 7.574 | 8.747
305 | 1958 | 1272 | 910.2 | 835.6 | 927 | 1111 | 1334 | 1617 | 2044 | 2516 | 2215 | 1609 | 975.9 | 1254 | 9999.9 | 9999.9 | 5466 | 46.56 | 28.66 | 22.5 | 18.63 | 14.76 | 13.35 | 11.22 | 10.51 | 10.87 | 9.199 | 8.676 | 8.557 | 8.434 | 7.431 | 8.197 | 7.357 | 6.612 | 6.154 | 6.247 | 7.231 | 7.529 | 9.376 | 9.368 | 7.643 | 6.847 | 7.949 | 8.872 | 10.14 | 10.69 | 9.964 | 9.415 | 8.58 | 8.051 | 7.365 | 7.477 | 7.628 | 7.533 | 8.248 | 9.906 | 10.62 | 10.93 | 11.77
310 | 2257 | 1563 | 1202 | 1173 | 1307 | 1542 | 1746 | 2037 | 2409 | 2899 | 3021 | 2201 | 1355 | 742.1 | 1075 | 9999.9 | 9999.9 | 5670 | 51.23 | 30.47 | 23.5 | 18.84 | 15.44 | 13.82 | 11.8 | 10.55 | 10.39 | 10.02 | 9.634 | 9.369 | 8.349 | 7.751 | 7.095 | 6.972 | 6.396 | 6.732 | 6.539 | 6.561 | 7.877 | 8.996 | 8.547 | 8.248 | 7.831 | 8.753 | 9.99 | 11.88 | 11.23 | 10.46 | 9.449 | 9.556 | 9.011 | 8.847 | 9.318 | 9.944 | 10.83 | 11.59 | 13.34 | 14.31 | 15.74
315 | 2550 | 1769 | 1461 | 1439 | 1705 | 1943 | 2183 | 2480 | 2870 | 3244 | 3464 | 2920 | 1823 | 965 | 451.1 | 974.2 | 9999.9 | 9999.9 | 5600 | 50.57 | 30.66 | 25.46 | 19.03 | 16.04 | 14.05 | 12.41 | 12.25 | 10.8 | 11.08 | 9.307 | 8.853 | 7.617 | 6.747 | 7.267 | 7.079 | 6.426 | 5.652 | 6.036 | 6.719 | 7.727 | 8.863 | 9.362 | 8.924 | 8.929 | 10.47 | 12.3 | 12.64 | 11.53 | 10.17 | 10.1 | 10.17 | 10.51 | 10.66 | 11.65 | 13.06 | 14.05 | 16.18 | 18.33 | 19.34
320 | 2718 | 1938 | 1596 | 1690 | 1979 | 2259 | 2541 | 2847 | 3229 | 3647 | 3755 | 3411 | 2399 | 1233 | 543.2 | 276.3 | 922.1 | 9999.9 | 9999.9 | 5802 | 51.59 | 34.09 | 25.98 | 20.23 | 15.76 | 14.81 | 12.87 | 11.77 | 10.45 | 10.52 | 8.921 | 8.631 | 7.653 | 7.356 | 6.469 | 6.88 | 6.459 | 6.168 | 6.503 | 7.367 | 8.013 | 9.16 | 9.709 | 10.33 | 10.41 | 11.62 | 12.09 | 12.19 | 11.12 | 11.18 | 11.32 | 11.66 | 12.34 | 13 | 14.95 | 17.25 | 18.08 | 20.07 | 21.68
325 | 2718 | 1993 | 1725 | 1842 | 2168 | 2532 | 2844 | 3187 | 3580 | 4007 | 4075 | 3591 | 2866 | 1582 | 676.6 | 295.7 | 203.6 | 921.1 | 9999.9 | 9999.9 | 5822 | 53.55 | 34.13 | 26.58 | 20.31 | 16.02 | 14.66 | 13.44 | 12.3 | 10.61 | 9.648 | 8.931 | 8.578 | 7.264 | 7.18 | 7.118 | 6.418 | 6.609 | 6.203 | 6.163 | 7.221 | 8.511 | 9.672 | 10.36 | 10.87 | 11.27 | 12.12 | 12.25 | 11.13 | 12.08 | 11.64 | 12.29 | 13.11 | 14.47 | 16.47 | 17.88 | 19.9 | 22.07 | 24.26
330 | 2749 | 1974 | 1765 | 1903 | 2282 | 2674 | 3077 | 3450 | 3851 | 4297 | 4366 | 3865 | 2966 | 1945 | 875.1 | 371.6 | 189.3 | 165.4 | 903.5 | 9999.9 | 9999.9 | 6334 | 53.65 | 35.45 | 28.12 | 22.76 | 17.69 | 15.1 | 12.88 | 12.12 | 10.75 | 9.65 | 8.454 | 7.792 | 7.211 | 7.248 | 6.731 | 6.688 | 6.314 | 6.71 | 6.857 | 7.622 | 9.324 | 10.54 | 11.77 | 12.47 | 12.19 | 11.56 | 11.6 | 12.66 | 11.66 | 12.26 | 12.99 | 15.04 | 16.26 | 19.56 | 21.12 | 23.91 | 25.42
335 | 2706 | 2004 | 1766 | 1926 | 2342 | 2795 | 3257 | 3679 | 4124 | 4540 | 4626 | 4108 | 3157 | 1994 | 1199 | 502 | 233.3 | 142.2 | 142.5 | 919.5 | 9999.9 | 9999.9 | 6534 | 56.59 | 37.75 | 28.79 | 22.83 | 17.62 | 15.76 | 13.1 | 11.3 | 10.04 | 9.397 | 8.741 | 7.229 | 7.649 | 6.615 | 6.336 | 6.564 | 6.587 | 6.503 | 7.228 | 8.408 | 10.23 | 11.6 | 12.79 | 12.06 | 11.47 | 10.55 | 11.64 | 11.76 | 13.05 | 13.5 | 14.53 | 17.04 | 20.23 | 21.45 | 25.11 | 26.7
340 | 2584 | 1905 | 1675 | 1892 | 2336 | 2834 | 3324 | 3842 | 4260 | 4676 | 4740 | 4260 | 3260 | 2029 | 1237 | 754.2 | 310.3 | 166.5 | 110.8 | 131.8 | 937.9 | 9999.9 | 9999.9 | 6991 | 59.9 | 38.29 | 30.83 | 22.36 | 18.09 | 15.04 | 13.47 | 10.87 | 9.054 | 9.117 | 7.967 | 7.418 | 7.56 | 6.459 | 6.775 | 6.593 | 6.764 | 7.22 | 8.274 | 9.682 | 10.69 | 12.1 | 13.13 | 12.01 | 10.7 | 11.64 | 11.58 | 12.26 | 13.77 | 14.77 | 17.57 | 20.08 | 22.26 | 24.56 | 28.47
345 | 2469 | 1825 | 1589 | 1797 | 2219 | 2782 | 3297 | 3826 | 4295 | 4679 | 4723 | 4264 | 3311 | 2083 | 1179 | 811.9 | 501.8 | 211.3 | 125.5 | 93.98 | 133.2 | 964.6 | 9999.9 | 9999.9 | 7520 | 60.52 | 39.99 | 30.39 | 24.02 | 18.34 | 14.51 | 11.9 | 10.45 | 10.25 | 9.052 | 7.963 | 7.605 | 6.912 | 6.69 | 6.419 | 6.37 | 7.052 | 7.733 | 8.838 | 9.509 | 10.96 | 12.74 | 11.88 | 9.97 | 10.95 | 11.03 | 12.09 | 13.32 | 15.07 | 17.34 | 19.53 | 22.15 | 24.89 | 27.98
350 | 2260 | 1662 | 1474 | 1668 | 2149 | 2658 | 3207 | 3784 | 4226 | 4623 | 4651 | 4202 | 3295 | 2131 | 1233 | 726.6 | 608.9 | 354.5 | 157.1 | 112 | 93.09 | 136.7 | 927.2 | 9999.9 | 9999.9 | 7934 | 65.16 | 40.97 | 32.07 | 24.54 | 17.66 | 13.96 | 11.91 | 10.13 | 9.535 | 8.859 | 8.095 | 7.018 | 6.729 | 6.878 | 6.581 | 7.438 | 7.615 | 8.679 | 9.039 | 10.87 | 11.6 | 11.45 | 10.29 | 10.58 | 10.74 | 11.25 | 12.45 | 13.2 | 16.78 | 19.11 | 20.22 | 23.9 | 27.85
355 | 2050 | 1524 | 1377 | 1535 | 2009 | 2531 | 3068 | 3647 | 4085 | 4455 | 4460 | 4049 | 3213 | 2121 | 1277 | 762.2 | 511.7 | 505.4 | 270.6 | 141.2 | 110.4 | 99.12 | 136.1 | 984.9 | 9999.9 | 9999.9 | 8158 | 64.05 | 43.13 | 32.52 | 23.55 | 16.05 | 13.12 | 11.56 | 10.68 | 8.593 | 8.318 | 7.61 | 7.247 | 7.578 | 7.146 | 7.377 | 7.177 | 8.207 | 8.531 | 9.72 | 10.41 | 10.64 | 10.18 | 10.59 | 10.71 | 10.68 | 11.82 | 13.37 | 15.48 | 17.96 | 21.49 | 23.21 | 25.89
360 | 1918 | 1378 | 1275 | 1433 | 1825 | 2368 | 2910 | 3416 | 3856 | 4207 | 4233 | 3857 | 3053 | 2077 | 1305 | 808.5 | 514.1 | 425 | 436.4 | 220.5 | 143.6 | 120.3 | 103.3 | 143.6 | 950 | 9999.9 | 9999.9 | 8859 | 66.47 | 43.57 | 31.56 | 22.51 | 15.84 | 12.91 | 11.21 | 10.04 | 8.834 | 7.926 | 7.875 | 7.228 | 6.945 | 6.804 | 7.128 | 7.949 | 8.427 | 8.934 | 8.86 | 9.097 | 9.263 | 10.24 | 10.37 | 10.5 | 11.27 | 11.8 | 14.57 | 16.7 | 19.62 | 22.59 | 26.07
365 | 1690 | 1241 | 1158 | 1312 | 1677 | 2144 | 2650 | 3184 | 3584 | 3904 | 3920 | 3595 | 2897 | 2007 | 1303 | 841.6 | 556.2 | 402.5 | 403.6 | 396.9 | 204 | 153.2 | 124.2 | 107.3 | 142.6 | 1017 | 9999.9 | 9999.9 | 8785 | 69.08 | 42.3 | 31.21 | 21.35 | 14.95 | 12.58 | 10.49 | 9.764 | 8.39 | 7.975 | 7.76 | 7.816 | 7.322 | 7.709 | 8.04 | 8.023 | 8.875 | 9.3 | 7.89 | 8.086 | 9.117 | 10.31 | 10.21 | 10.11 | 11.64 | 13.62 | 15.98 | 18.02 | 21.85 | 23.17
370 | 1486 | 1120 | 1054 | 1169 | 1506 | 1943 | 2414 | 2876 | 3293 | 3558 | 3583 | 3293 | 2680 | 1910 | 1292 | 867.4 | 601.7 | 445.5 | 368.6 | 428.4 | 364.9 | 209.8 | 158.3 | 127.2 | 109.1 | 149.7 | 1056 | 9999.9 | 9999.9 | 8683 | 64.63 | 39.44 | 29.15 | 20.28 | 13.68 | 11.88 | 11.11 | 10.02 | 8.016 | 8.261 | 7.605 | 7.644 | 7.816 | 7.771 | 7.698 | 7.955 | 8.645 | 7.582 | 7.177 | 7.895 | 9.295 | 10.05 | 10.27 | 11.15 | 12.46 | 14.54 | 16.78 | 19.28 | 21.76
375 | 1384 | 1041 | 955.6 | 1075 | 1364 | 1763 | 2149 | 2613 | 2972 | 3212 | 3245 | 3018 | 2513 | 1823 | 1291 | 913.1 | 666.7 | 512.7 | 425.4 | 387.5 | 470.6 | 359.7 | 222.9 | 176.5 | 142.2 | 117.3 | 163.1 | 1071 | 9999.9 | 9999.9 | 8642 | 61.52 | 37.14 | 27.71 | 20.08 | 14.08 | 12.02 | 10.66 | 8.914 | 8.394 | 7.582 | 7.927 | 7.734 | 8.093 | 7.743 | 7.919 | 7.502 | 7.341 | 7.044 | 7.518 | 8.322 | 9.298 | 10.35 | 10.99 | 11.66 | 13.43 | 16.07 | 16.73 | 20.67
380 | 1234 | 936.4 | 869.2 | 988.4 | 1229 | 1539 | 1927 | 2333 | 2620 | 2899 | 2930 | 2748 | 2315 | 1741 | 1284 | 954.8 | 730.5 | 592.6 | 511.5 | 449 | 449.8 | 510.2 | 354.3 | 246 | 199.5 | 163.2 | 135.3 | 171.9 | 1093 | 9999.9 | 9999.9 | 8056 | 58.63 | 36.19 | 26.88 | 19.12 | 13.64 | 11.83 | 9.597 | 9.318 | 8.509 | 7.762 | 7.614 | 7.331 | 7.143 | 7.471 | 7.628 | 7.019 | 7.115 | 7.15 | 7.905 | 7.984 | 9.285 | 10.48 | 11.39 | 12.72 | 14.57 | 16.15 | 17.35
385 | 1163 | 888.7 | 851.9 | 912.5 | 1094 | 1389 | 1701 | 2051 | 2321 | 2569 | 2652 | 2490 | 2136 | 1665 | 1291 | 1026 | 824.7 | 691.3 | 617.4 | 554.8 | 504.1 | 524.1 | 544.1 | 362.2 | 280 | 224 | 181.9 | 143.8 | 174.2 | 1139 | 9999.9 | 9999.9 | 7699 | 56.23 | 34.28 | 25.47 | 18.7 | 13.03 | 11.35 | 10.36 | 8.794 | 8.666 | 7.954 | 7.758 | 7.335 | 7.577 | 7.189 | 6.71 | 6.387 | 7.807 | 7.545 | 8.146 | 8.326 | 9.568 | 11.2 | 11.69 | 12.83 | 14.02 | 16.29
390 | 1114 | 870.8 | 808.1 | 856.6 | 1024 | 1215 | 1523 | 1819 | 2053 | 2304 | 2367 | 2290 | 2005 | 1622 | 1331 | 1093 | 924.1 | 816.6 | 745.5 | 688 | 637.7 | 582.9 | 612.5 | 567.5 | 393.5 | 310.8 | 248.1 | 191.9 | 141.9 | 172.4 | 1046 | 9999.9 | 9999.9 | 7919 | 54.02 | 32.99 | 25.56 | 18.28 | 12.72 | 10.8 | 9.513 | 8.766 | 7.933 | 7.661 | 7.734 | 7.495 | 7.144 | 6.745 | 6.687 | 7.172 | 7.366 | 7.695 | 7.913 | 8.737 | 10.84 | 11.68 | 12.58 | 13.88 | 15.01
395 | 992.6 | 874.9 | 803.4 | 816.6 | 955.3 | 1110 | 1337 | 1613 | 1865 | 2086 | 2185 | 2141 | 1919 | 1619 | 1377 | 1181 | 1039 | 946.8 | 884.6 | 829.7 | 777.6 | 712 | 649.6 | 671.2 | 579.6 | 414.5 | 330.4 | 254.6 | 182.4 | 134.7 | 158.6 | 1117 | 9999.9 | 9999.9 | 7345 | 51.56 | 33.08 | 24.59 | 16.97 | 12.01 | 10.76 | 9.764 | 9.084 | 8.611 | 7.512 | 7.756 | 7.433 | 6.909 | 6.511 | 7.127 | 7.658 | 7.422 | 7.706 | 8.172 | 9.536 | 10.77 | 11.85 | 13.38 | 13.77
400 | 978.8 | 841.4 | 798.2 | 794.6 | 870.5 | 1029 | 1217 | 1463 | 1680 | 1905 | 2020 | 2002 | 1843 | 1603 | 1425 | 1279 | 1161 | 1082 | 1023 | 977.1 | 921.7 | 848.5 | 763.1 | 705.5 | 719.9 | 569.3 | 422.3 | 321.4 | 235.4 | 164.4 | 118.4 | 151.4 | 1015 | 9999.9 | 9999.9 | 6829 | 51.52 | 31.03 | 21.86 | 15.72 | 12.07 | 10.79 | 9.866 | 8.916 | 8.315 | 8.118 | 7.666 | 7.096 | 6.855 | 7.273 | 7.233 | 7.57 | 7.819 | 8.019 | 9.047 | 10.07 | 11.68 | 11.86 | 12.85
405 | 965.2 | 860 | 801.2 | 813.8 | 848.9 | 974.5 | 1128 | 1327 | 1558 | 1777 | 1891 | 1915 | 1781 | 1609 | 1467 | 1358 | 1280 | 1211 | 1161 | 1116 | 1058 | 979.5 | 885.2 | 798.3 | 752.6 | 732.7 | 556.6 | 405.9 | 298.6 | 205.3 | 140.3 | 100.6 | 135.4 | 959.4 | 9999.9 | 9999.9 | 7354 | 48.36 | 29.82 | 21.22 | 15.57 | 12.24 | 9.965 | 9.036 | 8.629 | 8.627 | 7.58 | 7.153 | 7.092 | 6.986 | 7.068 | 7.341 | 7.459 | 7.323 | 8.178 | 9.193 | 10.12 | 11.34 | 12.05
410 | 943.5 | 859.1 | 812.8 | 786.2 | 852.1 | 923.7 | 1073 | 1251 | 1465 | 1679 | 1792 | 1826 | 1724 | 1589 | 1507 | 1430 | 1355 | 1309 | 1274 | 1236 | 1176 | 1095 | 991.5 | 901.6 | 812 | 773.5 | 717.6 | 502.5 | 360.6 | 254.9 | 171.9 | 118.3 | 87.26 | 123.7 | 952.4 | 9999.9 | 9999.9 | 6420 | 44.68 | 28.24 | 19.92 | 14.75 | 11.2 | 10.31 | 9.03 | 9.261 | 7.567 | 7.609 | 7.276 | 7.859 | 7.71 | 7.822 | 7.999 | 8.038 | 8.263 | 8.995 | 9.932 | 10.58 | 11.58
415 | 921.6 | 879.6 | 837.7 | 803.5 | 837.2 | 903.2 | 991.3 | 1188 | 1396 | 1605 | 1723 | 1762 | 1659 | 1557 | 1520 | 1453 | 1412 | 1382 | 1360 | 1328 | 1269 | 1189 | 1091 | 991.8 | 890.2 | 790 | 771 | 635.5 | 427 | 304.7 | 207.6 | 141.5 | 97.13 | 73.82 | 115.7 | 995.6 | 9999.9 | 9999.9 | 5908 | 43.38 | 26.1 | 19.29 | 14.53 | 11.12 | 9.567 | 9.365 | 8.255 | 7.979 | 7.871 | 8.171 | 7.753 | 7.457 | 7.51 | 7.829 | 8.724 | 8.724 | 9.109 | 9.855 | 10.34
420 | 931.6 | 901.8 | 856.9 | 810.7 | 835 | 865.2 | 967.9 | 1147 | 1331 | 1540 | 1672 | 1674 | 1594 | 1524 | 1504 | 1461 | 1435 | 1417 | 1414 | 1380 | 1333 | 1258 | 1161 | 1051 | 949.4 | 852.6 | 757.1 | 707.7 | 533.2 | 350 | 242.7 | 166.1 | 113.9 | 79.37 | 62.88 | 113 | 1007 | 9999.9 | 9999.9 | 5493 | 41.34 | 25.96 | 19.53 | 14.39 | 10.54 | 9.942 | 9.728 | 8.203 | 8.036 | 8.284 | 8.267 | 8.132 | 7.987 | 8.209 | 8.5 | 8.671 | 9.062 | 9.407 | 10.19
425 | 928.5 | 879 | 853 | 828.4 | 832.2 | 857.5 | 931.6 | 1087 | 1296 | 1483 | 1610 | 1611 | 1511 | 1463 | 1462 | 1456 | 1443 | 1439 | 1444 | 1421 | 1366 | 1299 | 1213 | 1104 | 1007 | 897.5 | 793.3 | 692.1 | 620.6 | 425.3 | 276.6 | 189 | 128.9 | 92.61 | 67.15 | 57.18 | 110.4 | 1005 | 9999.9 | 9999.9 | 5143 | 37.29 | 24.2 | 17.91 | 13.64 | 10.93 | 9.682 | 8.473 | 8.192 | 8.617 | 8.183 | 8.156 | 8.372 | 8.321 | 8.378 | 9.047 | 9.388 | 9.865 | 10.38
430 | 885.8 | 897.2 | 871.3 | 844 | 814 | 841.1 | 908.1 | 1074 | 1242 | 1432 | 1548 | 1535 | 1445 | 1415 | 1423 | 1429 | 1426 | 1445 | 1451 | 1437 | 1392 | 1330 | 1242 | 1141 | 1053 | 942.7 | 831.6 | 700.8 | 614.7 | 508.2 | 325.2 | 213.5 | 147.3 | 105 | 77.3 | 58.38 | 53.33 | 106.4 | 943.4 | 9999.9 | 9999.9 | 5289 | 38.39 | 24.95 | 17.44 | 13.19 | 11.26 | 8.858 | 8.162 | 8.421 | 8.586 | 8.034 | 8.584 | 8.211 | 8.394 | 9.384 | 8.985 | 9.035 | 10.13
435 | 876 | 849.3 | 885.7 | 847.3 | 836.4 | 837 | 901.3 | 1027 | 1222 | 1384 | 1485 | 1471 | 1383 | 1349 | 1373 | 1396 | 1404 | 1427 | 1438 | 1435 | 1399 | 1340 | 1261 | 1157 | 1077 | 968.6 | 861 | 735 | 598 | 515.3 | 395.3 | 246.5 | 164.6 | 119 | 87.68 | 66.41 | 53.75 | 47.95 | 98.53 | 994.2 | 9999.9 | 9999.9 | 5020 | 37.23 | 23.28 | 17.94 | 13.53 | 10.51 | 8.933 | 8.892 | 8.898 | 8.416 | 8.68 | 8.588 | 9.28 | 9.049 | 9.344 | 8.987 | 9.463
440 | 836.3 | 829.8 | 864.1 | 846.7 | 823.8 | 829.6 | 872.4 | 982.3 | 1141 | 1315 | 1417 | 1390 | 1302 | 1289 | 1327 | 1347 | 1369 | 1393 | 1407 | 1409 | 1394 | 1341 | 1260 | 1168 | 1079 | 982.3 | 877.4 | 753.4 | 611.9 | 483.4 | 417.5 | 299.7 | 186.4 | 133.4 | 99.71 | 75.31 | 59.57 | 48.26 | 43.31 | 100.6 | 949.8 | 9999.9 | 9999.9 | 4890 | 35.34 | 22.72 | 17.48 | 13.27 | 9.974 | 9.778 | 9.839 | 9.054 | 8.712 | 8.812 | 9.409 | 8.516 | 8.771 | 9.541 | 9.792
445 | 835.8 | 830.7 | 818.4 | 817.6 | 800.5 | 791.4 | 829.3 | 935.7 | 1096 | 1232 | 1341 | 1305 | 1228 | 1217 | 1245 | 1280 | 1301 | 1328 | 1355 | 1371 | 1348 | 1316 | 1239 | 1146 | 1066 | 973.4 | 880.5 | 757.8 | 616.1 | 486 | 388.6 | 334.5 | 224.8 | 147.4 | 108.4 | 85.68 | 68.59 | 53.69 | 43.53 | 41.73 | 96.95 | 944.2 | 9999.9 | 9999.9 | 4537 | 35.2 | 22.2 | 16.46 | 12.12 | 10.09 | 9.574 | 9.631 | 8.551 | 8.438 | 8.953 | 9.38 | 9.03 | 9.075 | 9.76
450 | 1464 | 772.3 | 793.7 | 790.7 | 755.5 | 758.3 | 787.4 | 886.9 | 1009 | 1169 | 1240 | 1214 | 1121 | 1117 | 1159 | 1190 | 1218 | 1257 | 1278 | 1301 | 1288 | 1251 | 1198 | 1115 | 1036 | 954.8 | 854.5 | 744.3 | 614.7 | 481.9 | 361.4 | 305 | 260.4 | 168 | 119.3 | 92.18 | 75.95 | 61.29 | 48.58 | 40.54 | 40.11 | 94.58 | 952.7 | 9999.9 | 9999.9 | 4528 | 33.21 | 21.94 | 15.39 | 12.04 | 10.45 | 9.775 | 9.434 | 8.402 | 8.885 | 8.958 | 9.381 | 8.88 | 9.476
455 | 4228 | 753.2 | 749.2 | 749.9 | 742.3 | 723.7 | 732.8 | 806.9 | 940.6 | 1059 | 1126 | 1105 | 1025 | 1017 | 1068 | 1102 | 1133 | 1162 | 1194 | 1209 | 1208 | 1182 | 1136 | 1070 | 991.9 | 906.4 | 820.9 | 716 | 593.2 | 471.8 | 361.5 | 276.4 | 253 | 205.5 | 133.7 | 101.8 | 83.47 | 66.96 | 54.54 | 45.34 | 38.84 | 40.1 | 94.84 | 983.4 | 9999.9 | 9999.9 | 4133 | 31.21 | 19.92 | 15.38 | 12.1 | 10.23 | 9.259 | 9.427 | 8.977 | 9.153 | 8.397 | 8.823 | 8.816
460 | 7721 | 1340 | 707.5 | 694.8 | 682.2 | 673.6 | 690.7 | 746.1 | 853.1 | 951.9 | 1019 | 991.2 | 933 | 928.9 | 967.5 | 1003 | 1028 | 1071 | 1097 | 1127 | 1127 | 1106 | 1055 | 992.4 | 934.7 | 854.7 | 772.5 | 676.2 | 566.2 | 452.4 | 349.1 | 269.5 | 220.6 | 211.2 | 163.3 | 111.4 | 89.67 | 72.72 | 58.91 | 51.4 | 43.03 | 38.71 | 40.19 | 97.24 | 906.4 | 9999.9 | 9999.9 | 3738 | 29.55 | 19.79 | 14.45 | 12.2 | 10.44 | 9.296 | 9.175 | 8.837 | 8.971 | 8.785 | 8.435
465 | 6692 | 4233 | 665.7 | 637.8 | 638.6 | 625.6 | 630.3 | 681.1 | 764.1 | 848.7 | 905.3 | 899.2 | 830.6 | 823.6 | 872.9 | 902.4 | 938.5 | 971.4 | 1006 | 1028 | 1029 | 1014 | 975.4 | 922.6 | 860.4 | 798.3 | 723.5 | 629.4 | 535 | 429.3 | 334.3 | 257.7 | 206.5 | 181.9 | 179.5 | 130 | 94.7 | 79.66 | 64.51 | 54.87 | 48.04 | 44.02 | 39.14 | 40.81 | 91.86 | 905.7 | 9999.9 | 9999.9 | 3803 | 30.1 | 19 | 14.01 | 11.38 | 10.07 | 9.055 | 9.638 | 8.63 | 8.397 | 7.994
470 | 2106 | 8606 | 1352 | 581.7 | 583.5 | 560.5 | 579.2 | 620.7 | 683.8 | 765.9 | 812.9 | 800.2 | 727.9 | 744.2 | 770.4 | 811.2 | 844.9 | 866.7 | 900.5 | 928.6 | 928.2 | 913.2 | 880.4 | 830.8 | 784.1 | 726 | 660.8 | 580.3 | 495.5 | 395.4 | 316.3 | 247.8 | 197.2 | 161.7 | 155.8 | 150.8 | 108 | 83.46 | 70.89 | 61.6 | 54.58 | 48.66 | 42.38 | 39.96 | 40.74 | 92.29 | 876 | 9999.9 | 9999.9 | 3660 | 28.03 | 19.09 | 14.14 | 11.66 | 9.975 | 9.598 | 8.499 | 8.317 | 8.332
475 | 600.7 | 8044 | 4432 | 558.6 | 538.5 | 512.5 | 529.2 | 549.2 | 601.2 | 691.9 | 712.4 | 700.2 | 647.3 | 644.2 | 680.7 | 714.3 | 749.5 | 768.8 | 800.1 | 827.6 | 827.8 | 822.3 | 798.2 | 746.4 | 711.5 | 657.2 | 599.1 | 530.9 | 454.4 | 373.8 | 294.7 | 237.9 | 189.5 | 159.1 | 137.3 | 143.8 | 126.1 | 90.47 | 73.41 | 64.27 | 56.75 | 50.76 | 46.14 | 41.39 | 38.25 | 38.26 | 87.95 | 898.1 | 9999.9 | 9999.9 | 2649 | 26.69 | 17.07 | 14.14 | 11.31 | 9.755 | 8.246 | 8.419 | 8.824
480 | 444.6 | 2617 | 8969 | 1246 | 494.2 | 475.1 | 477.5 | 497.5 | 549.1 | 604.8 | 634.2 | 614.8 | 573.1 | 575.3 | 602.2 | 634.2 | 652.3 | 689.7 | 714.1 | 735.1 | 743.9 | 739.3 | 709.9 | 678 | 644.9 | 595.3 | 543.7 | 486.4 | 412.5 | 348 | 280.3 | 225.8 | 184.8 | 154.9 | 130.4 | 123.8 | 131.3 | 107.8 | 80.91 | 68.53 | 62.76 | 55.36 | 50.88 | 45.52 | 41.63 | 38.15 | 39.06 | 87.78 | 815 | 9999.9 | 9999.9 | 2881 | 25.51 | 17.31 | 13.65 | 10.54 | 9.157 | 8.121 | 8.249
485 | 413.9 | 613.9 | 8651 | 4471 | 467.2 | 443.9 | 455.3 | 473.8 | 502.7 | 561.2 | 573.1 | 548.8 | 514.8 | 511.9 | 547.4 | 567.4 | 591.8 | 614.1 | 637.7 | 661.8 | 663.9 | 667.2 | 646.2 | 616.3 | 586.3 | 546.3 | 502 | 453.9 | 392 | 331.2 | 264.9 | 217.4 | 178.2 | 154.3 | 135.1 | 116.7 | 118 | 120.8 | 96.41 | 78.53 | 69.13 | 64.6 | 59.55 | 53.46 | 49.11 | 44.77 | 41.29 | 39.6 | 83.08 | 869.7 | 9999.9 | 9999.9 | 2425 | 25.75 | 17.19 | 12.89 | 10.65 | 8.659 | 8.578
490 | 364.2 | 405.1 | 2816 | 9000 | 1088 | 411 | 426.2 | 447.9 | 478.5 | 509.8 | 523.9 | 500.7 | 468.1 | 461.9 | 476.5 | 513.1 | 529.8 | 554.9 | 578.8 | 599.1 | 606.5 | 608 | 593.2 | 562.3 | 536.4 | 503.4 | 468 | 423.2 | 370.5 | 316.2 | 256.8 | 214.8 | 179.9 | 154.8 | 137.2 | 121.4 | 111 | 117.5 | 115 | 93.62 | 80.28 | 76.21 | 70.19 | 64.34 | 60.42 | 54.4 | 49.2 | 42.77 | 42.6 | 89.75 | 880.7 | 9999.9 | 9999.9 | 2490 | 26.32 | 17.2 | 13.11 | 10.28 | 8.452
495 | 369.6 | 365.6 | 566.8 | 8925 | 4140 | 416.9 | 413.6 | 418.2 | 448.5 | 473.1 | 478.6 | 449.5 | 419.3 | 411.4 | 432.1 | 449 | 471.3 | 493.2 | 509.7 | 533.2 | 545 | 547.6 | 540.2 | 513.8 | 486.8 | 462.7 | 431.4 | 397.5 | 353.8 | 303.8 | 257.2 | 213.5 | 179.3 | 155.9 | 137 | 125.9 | 116.7 | 112.6 | 122.6 | 116.6 | 96.91 | 89.66 | 84.27 | 79.72 | 74.43 | 68.29 | 62.89 | 55.15 | 48.62 | 46.95 | 94 | 877.5 | 9999.9 | 9999.9 | 2322 | 24.7 | 16.04 | 12.84 | 9.64
500 | 354.6 | 335.9 | 362.8 | 3078 | 9015 | 1012 | 398.7 | 411.2 | 444.8 | 440.3 | 451.6 | 416.4 | 372.8 | 359.9 | 377.8 | 397.6 | 411 | 429.2 | 452.5 | 469.7 | 484.4 | 488.7 | 482 | 468.5 | 452.3 | 426.7 | 399.2 | 376.8 | 334.2 | 294.7 | 251.4 | 211.5 | 181 | 156.4 | 140.2 | 131.1 | 122.4 | 117.7 | 118.9 | 130.3 | 118.5 | 105.6 | 101.2 | 97.55 | 90.95 | 83.92 | 76.34 | 68.82 | 60.66 | 51.6 | 49.03 | 91.38 | 873.2 | 9999.9 | 9999.9 | 2170 | 22.33 | 14.89 | 11.94
505 | 333.7 | 320.8 | 318.1 | 544 | 9529 | 3854 | 395 | 402.1 | 420.3 | 434.2 | 405.4 | 370.7 | 329.8 | 317.7 | 327.3 | 343.8 | 362.8 | 379.4 | 396.8 | 415.3 | 425.5 | 430.9 | 431.1 | 421.3 | 407.6 | 391.4 | 377.8 | 351.7 | 320.9 | 284.6 | 245.5 | 206.8 | 182.3 | 159.2 | 142.7 | 134.5 | 129.6 | 123.8 | 124.2 | 130.2 | 136 | 124.3 | 116.5 | 111.4 | 104.9 | 97.73 | 90.05 | 81.51 | 70.54 | 62.14 | 52.61 | 46.87 | 88.97 | 866.4 | 9999.9 | 9999.9 | 2041 | 21.03 | 13.82
510 | 278.4 | 318.7 | 284.9 | 314.9 | 3414 | 8768 | 974.4 | 379.5 | 394.1 | 395.9 | 373.9 | 330.7 | 290.7 | 275.5 | 284.9 | 299.3 | 315.6 | 331.9 | 349.1 | 361.5 | 373.2 | 383.5 | 385.5 | 377.1 | 367.9 | 360.4 | 348.6 | 331.2 | 306.6 | 276 | 237.4 | 202.1 | 179.5 | 155.2 | 143.2 | 134.9 | 132.9 | 128.2 | 126.6 | 129.5 | 140.4 | 142.7 | 130.6 | 123.7 | 116.9 | 107.9 | 100.2 | 91.24 | 81.43 | 68.83 | 58.71 | 46.5 | 41.43 | 83.17 | 831.8 | 9999.9 | 9999.9 | 1865 | 19.32
515 | 255 | 281 | 273.6 | 270.4 | 549.6 | 9638 | 3670 | 387 | 372.9 | 371.5 | 349 | 302 | 253.9 | 236.7 | 246.4 | 254.7 | 273 | 288 | 301.9 | 309.8 | 332.7 | 335.1 | 344.4 | 343.7 | 331.2 | 325.7 | 319.8 | 308.8 | 290.2 | 260.8 | 227.3 | 195.7 | 172.3 | 153 | 138.7 | 133.8 | 133.5 | 131.2 | 128.1 | 131.2 | 137.2 | 147 | 144.7 | 130.2 | 125.6 | 115 | 106.2 | 97.92 | 85.99 | 73.64 | 62.65 | 49.7 | 38.71 | 33.91 | 75.81 | 841.6 | 9999.9 | 9999.9 | 1629
520 | 226.4 | 238.9 | 261.1 | 250.4 | 289.8 | 3784 | 8619 | 974.4 | 354.8 | 338.6 | 314 | 273.9 | 226 | 208.4 | 216.5 | 226.9 | 235 | 251.7 | 264.4 | 273.8 | 290 | 298.5 | 305.2 | 299.6 | 299.9 | 297.4 | 294 | 287.6 | 268.5 | 247.5 | 216.9 | 190.2 | 165.2 | 145.5 | 134.4 | 129 | 127.4 | 127.6 | 128.9 | 129.5 | 133.7 | 139.8 | 148.3 | 137.8 | 125.8 | 118 | 109.2 | 101 | 90.17 | 76.88 | 65.06 | 51.15 | 40.25 | 30.08 | 27.15 | 73.2 | 811.2 | 9999.9 | 9999.9
525 | 194.3 | 209.7 | 242 | 228.3 | 237 | 575.5 | 9837 | 3637 | 348.8 | 316.3 | 288.2 | 240.9 | 196.8 | 181 | 189.8 | 194.9 | 197 | 218.6 | 224.5 | 236.8 | 251.7 | 256.3 | 264.7 | 266.2 | 268.8 | 268.8 | 265.3 | 258 | 247 | 228 | 203.1 | 177.6 | 153.7 | 136.7 | 130.7 | 125.4 | 125.7 | 123.2 | 124.6 | 124 | 128 | 131.7 | 140.5 | 140.2 | 128.9 | 114.2 | 109.3 | 98.93 | 88.8 | 75.38 | 66.69 | 53.42 | 40.68 | 30.11 | 25.56 | 24.13 | 70.57 | 805.1 | 9999.9
530 | 186.3 | 173.8 | 211.7 | 218.7 | 218.9 | 262.8 | 4345 | 8467 | 924.6 | 286.1 | 258.9 | 217.4 | 170.4 | 158.3 | 160.5 | 165.2 | 174.2 | 187.2 | 194.4 | 207.5 | 219.4 | 225.2 | 232.7 | 236.9 | 236 | 241.1 | 239 | 235.1 | 224 | 205.6 | 186.9 | 163 | 143.1 | 128.8 | 121.3 | 117.3 | 116.2 | 117.4 | 119 | 120.4 | 124.9 | 127.3 | 128.9 | 133.8 | 128.9 | 115.5 | 105.2 | 96.37 | 88.06 | 76.19 | 66.29 | 54.47 | 41.57 | 33.12 | 26.73 | 23.22 | 26.33 | 72.82 | 808.4
535 | 169.2 | 169.5 | 177.9 | 218.6 | 196 | 219.4 | 602.3 | 9999.9 | 3453 | 284.5 | 238.2 | 199.4 | 155.9 | 139.8 | 133.9 | 140.6 | 147.4 | 158.6 | 166.1 | 175.8 | 189.1 | 196.8 | 202.6 | 205.7 | 209.6 | 208.4 | 216.8 | 209.1 | 203 | 187 | 167.1 | 149.4 | 129.7 | 118.7 | 110.3 | 106.5 | 107 | 109.2 | 111.5 | 111.6 | 116.5 | 119.5 | 118.3 | 122.3 | 121.6 | 113.6 | 99.36 | 93.75 | 82.7 | 71.63 | 63.66 | 52.99 | 43.96 | 34.94 | 29.77 | 26.33 | 27.27 | 32.88 | 82.92
540 | 141.2 | 140.6 | 139.9 | 195.2 | 193.1 | 194.1 | 240.5 | 4701 | 8162 | 822.2 | 207.5 | 171.4 | 135.2 | 120 | 120.7 | 122.7 | 128 | 133.6 | 140.6 | 152.4 | 158.5 | 168.3 | 175.5 | 181.6 | 185.1 | 185.5 | 185.9 | 186.1 | 181.4 | 169.4 | 150.2 | 132.8 | 116.7 | 106.1 | 100.8 | 95.96 | 94.75 | 97.66 | 99.64 | 103.7 | 106.8 | 110 | 109 | 108.9 | 109.9 | 107.5 | 98.2 | 89.06 | 80.13 | 71.06 | 61.79 | 53.75 | 45.26 | 37.03 | 32.27 | 30.69 | 31.16 | 35.36 | 44.18
545 | 127.3 | 142 | 130.1 | 156.1 | 193.1 | 178.7 | 202.7 | 631.3 | 9997 | 3165 | 208.8 | 146.3 | 118.9 | 104.2 | 102.6 | 101.7 | 105.8 | 112.9 | 120.5 | 128.4 | 139.1 | 143.1 | 150.7 | 153.9 | 157.7 | 160.6 | 163.5 | 161.3 | 157.6 | 147.4 | 134.2 | 119.2 | 105.6 | 95.17 | 88.28 | 86.02 | 87.07 | 87.25 | 90.08 | 92.33 | 96.71 | 99.54 | 97.66 | 98.73 | 96.18 | 96.11 | 92.51 | 82.54 | 73.83 | 63.86 | 57.35 | 51.29 | 43.55 | 36.57 | 34.26 | 33.63 | 35.01 | 39.14 | 45.54
550 | 124.2 | 116.6 | 116.2 | 125 | 182.2 | 167.7 | 174.3 | 222.7 | 4946 | 7878 | 753.6 | 132.2 | 101.6 | 87.07 | 83.81 | 86.18 | 89.81 | 96.21 | 103.8 | 106.2 | 113.6 | 122.6 | 126.8 | 131.5 | 135.7 | 138.6 | 138 | 139 | 135.2 | 128.3 | 116.8 | 105.1 | 92.27 | 82.51 | 78.84 | 75.12 | 77.04 | 77.49 | 81.45 | 83.54 | 84.76 | 86.49 | 88.5 | 88.34 | 85.45 | 84.43 | 84.71 | 77.5 | 67.38 | 61.23 | 54.79 | 47.68 | 41.97 | 36.57 | 33.12 | 32.5 | 34.66 | 40 | 44.72
555 | 107.5 | 96.25 | 97 | 111.4 | 144.4 | 149.2 | 159.3 | 172.2 | 615.7 | 9999.9 | 2932 | 132.6 | 85.37 | 76.3 | 73.35 | 72.1 | 74.7 | 77.52 | 85.21 | 89.78 | 95.93 | 103.1 | 108.3 | 111.3 | 114.1 | 117.8 | 120.4 | 118.2 | 116.7 | 111.5 | 99.29 | 90.48 | 78.36 | 72.1 | 67.37 | 65.73 | 66.4 | 68.34 | 69.33 | 72.75 | 72.9 | 76.25 | 78.03 | 78.01 | 74.53 | 72.48 | 71.36 | 68.89 | 63.49 | 52.67 | 47.92 | 41.77 | 37.54 | 33.12 | 29.79 | 29.95 | 32.38 | 36.67 | 42.26
560 | 97.3 | 87.67 | 85.83 | 88.83 | 113.7 | 148.6 | 140.8 | 149.5 | 179.9 | 5245 | 7607 | 621.3 | 76.14 | 63.52 | 60.06 | 59.65 | 61.56 | 63.85 | 70.39 | 73.01 | 79.84 | 82.54 | 89.66 | 93.5 | 94.4 | 97.19 | 101.3 | 100.7 | 97.29 | 92.4 | 85.07 | 76.08 | 66.52 | 60.25 | 56.62 | 54.81 | 56.26 | 59.04 | 60.68 | 61.21 | 62.27 | 66.23 | 68.19 | 67.46 | 64.35 | 62.18 | 59.06 | 58.9 | 56.56 | 47.92 | 42.79 | 36.88 | 32.32 | 28.79 | 26.29 | 26.65 | 30.38 | 31.34 | 35.26
565 | 95.33 | 70.75 | 74.21 | 76.41 | 90.67 | 142.4 | 135.4 | 130.1 | 132.4 | 606.6 | 9999.9 | 2735 | 78.2 | 54.39 | 50.45 | 49.17 | 50.44 | 52.07 | 56.12 | 59.27 | 63.23 | 67.84 | 71.53 | 75.89 | 78.35 | 79.44 | 83.24 | 83.72 | 83.39 | 78.43 | 72.13 | 62.9 | 55.94 | 51.63 | 48.06 | 46.7 | 47.89 | 50 | 50 | 51.18 | 53.86 | 56.68 | 56.37 | 55.65 | 55.28 | 53.86 | 49.64 | 47.05 | 46.33 | 41.23 | 36.7 | 31.18 | 27.54 | 23.96 | 21.28 | 22.79 | 24.27 | 25.66 | 30.06
570 | 82.94 | 74.75 | 64.94 | 72.13 | 78.74 | 112 | 135.9 | 120 | 126.5 | 151.2 | 5370 | 7326 | 504.2 | 47.43 | 42.07 | 39.86 | 40.75 | 45.18 | 46.75 | 48.5 | 53.19 | 56.36 | 58.02 | 61.44 | 63.66 | 67.02 | 68.03 | 66.93 | 66.98 | 63.38 | 59.37 | 53.42 | 46.67 | 43.26 | 40.39 | 39.38 | 39.28 | 41.41 | 43.41 | 43.59 | 45.68 | 46.99 | 45.99 | 47.16 | 45.78 | 44.79 | 41.77 | 40.16 | 37.92 | 35.51 | 31.55 | 26.27 | 22.4 | 20.4 | 18.47 | 18.22 | 19.11 | 21.18 | 24.86
575 | 97.36 | 76.8 | 58.55 | 59.36 | 66.75 | 87.58 | 128.4 | 121.9 | 122.2 | 123.6 | 588.3 | 9999.9 | 2470 | 54.01 | 35.36 | 36.01 | 35.24 | 35.23 | 36.81 | 39.31 | 43.7 | 45.63 | 48.04 | 48.9 | 51.5 | 53.34 | 56.35 | 55.97 | 56.1 | 54.01 | 47.77 | 43.72 | 37.54 | 35.28 | 33.8 | 32.45 | 32.98 | 34.6 | 34.79 | 34.99 | 36.93 | 38.02 | 41.17 | 38.96 | 37.79 | 35.97 | 35.19 | 33.27 | 29.78 | 29.73 | 27.85 | 23.6 | 18.34 | 16.2 | 14.72 | 15.11 | 15.24 | 17.96 | 19.13
580 | 112.3 | 79.07 | 59.95 | 59.25 | 63.3 | 72.38 | 120.1 | 129 | 124.7 | 125.5 | 139.8 | 5192 | 7114 | 439.3 | 30.96 | 30.28 | 28.38 | 30.22 | 31.92 | 33.22 | 35.91 | 38.26 | 39.42 | 40.81 | 42.43 | 43.12 | 45.73 | 47.83 | 46.6 | 44.32 | 40.5 | 36.06 | 32.62 | 28.89 | 28.42 | 27.78 | 28.41 | 28.79 | 29.35 | 29.4 | 30.98 | 32.53 | 33.77 | 33.11 | 31.65 | 29.75 | 28.86 | 26.47 | 24.5 | 22.97 | 22.32 | 19.55 | 16.3 | 13 | 11.8 | 12.4 | 12.73 | 13.85 | 15.53
585 | 123.8 | 82.17 | 62.64 | 57.99 | 62.35 | 72.33 | 100.3 | 146 | 132.3 | 133.6 | 120.8 | 556.5 | 9999.9 | 2295 | 35.45 | 26.23 | 25.79 | 26.86 | 26.61 | 27.73 | 29.21 | 30.86 | 33.01 | 34.38 | 35.08 | 37.82 | 37.87 | 38.6 | 37.76 | 37.52 | 34.74 | 30.78 | 27.48 | 25.08 | 23.79 | 23.4 | 23.63 | 24.03 | 24.56 | 25.51 | 26.18 | 26.95 | 27.31 | 26.24 | 24.86 | 25.64 | 23.78 | 22.89 | 21.03 | 18.88 | 18.91 | 16.76 | 14.23 | 11.95 | 10.51 | 10.09 | 10.55 | 10.97 | 13
590 | 135.6 | 91.25 | 65 | 62.43 | 61.85 | 70.16 | 94.82 | 150.2 | 148.2 | 143.8 | 133.5 | 123.7 | 5081 | 7204 | 371.1 | 24.91 | 23.19 | 22.64 | 22.66 | 24.09 | 23.29 | 25.77 | 26.6 | 30.12 | 30.93 | 32.05 | 31.65 | 33.76 | 32.72 | 30.46 | 28.58 | 25.15 | 22.57 | 21.1 | 19.55 | 19.15 | 20.23 | 20.06 | 20.53 | 21.01 | 22.55 | 22.49 | 22.59 | 22.59 | 21.44 | 21.76 | 20.36 | 18.97 | 17.77 | 15.32 | 14.66 | 14.09 | 12.94 | 10.97 | 8.964 | 9.048 | 8.877 | 9.627 | 10.41
595 | 154.7 | 99.48 | 73.15 | 62.71 | 69.46 | 83.01 | 100.1 | 145.5 | 170.2 | 156.6 | 145.6 | 106.2 | 534 | 9999.9 | 2119 | 31.8 | 20.54 | 20.32 | 20.15 | 21.37 | 21.55 | 22.53 | 23.37 | 24.75 | 25.1 | 26.8 | 26.58 | 28.39 | 26.89 | 26.85 | 23.17 | 22.23 | 19.18 | 18.48 | 17.25 | 16.08 | 16.6 | 17.65 | 17.78 | 17.84 | 18.61 | 19.02 | 19.52 | 19.09 | 18.89 | 17.99 | 16.42 | 15.96 | 14.3 | 13.54 | 12.52 | 11.2 | 11.09 | 9.859 | 8.119 | 7.983 | 7.508 | 8.097 | 9.338
600 | 176 | 112.9 | 78.73 | 73.67 | 83.7 | 93.07 | 109.9 | 141.6 | 191.2 | 182.9 | 161.3 | 120 | 98.36 | 5241 | 6803 | 302.6 | 19.32 | 18.52 | 18.38 | 17.94 | 18.03 | 19.03 | 19.42 | 20.38 | 21.99 | 23.1 | 23.33 | 23.66 | 23.52 | 22.83 | 20.55 | 18.88 | 17.06 | 15.38 | 15.4 | 14.49 | 13.69 | 15.26 | 14.97 | 14.89 | 16.02 | 16.07 | 16.32 | 15.8 | 16.58 | 15.48 | 14.3 | 13.24 | 12.7 | 11.77 | 10.78 | 9.836 | 9.192 | 8.924 | 8.495 | 7.224 | 7.143 | 7.582 | 8.214