## Sheet1
Report date: | 18:18:04, 09/02/2024
Sample: | 1
File name:
Run date: | 18:07:44, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 323.4
2 | 255.0/280.0 | 380.3
3 | 260.0/575.0 | 176.9
4 | 280.0/335.0 | 6060
5 | 290.0/400.0 | 3800
6 | 405.0/290.0 | 5.496
7 | 415.0/300.0 | 5.509
8 | 430.0/510.0 | 152
9 | 435.0/515.0 | 153
10 | 440.0/520.0 | 150.5
11 | 460.0/320.0 | 11.86
12 | 480.0/405.0 | 10.19
13 | 510.0/280.0 | 5.232
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 51.23 | 39.81 | 63.88 | 271.1 | 166.2 | 55.9 | 186.2 | 9999.9 | 9999.9 | 4743 | 41.13 | 22.97 | 15.5 | 13.28 | 9.162 | 9.339 | 7.447 | 7.058 | 6.578 | 5.477 | 5.394 | 4.956 | 4.832 | 4.798 | 4.966 | 4.748 | 4.823 | 4.695 | 5.035 | 4.458 | 5.381 | 6.809 | 6.09 | 4.449 | 4.236 | 4.362 | 4.533 | 4.6 | 3.999 | 4.038 | 3.527 | 3.487 | 3.456 | 3.292 | 2.79 | 2.83 | 2.702 | 2.061 | 1.919 | 2.028 | 1.958 | 2.289 | 3.734 | 4.294 | 2.773 | 2.144 | 2.438 | 2.275 | 2.401
275 | 72.33 | 39.03 | 40.64 | 110.8 | 323.4 | 149.6 | 84.01 | 822.4 | 9999.9 | 9999.9 | 4547 | 42.29 | 20.15 | 15.98 | 12.59 | 9.265 | 8.488 | 7.21 | 6.529 | 5.749 | 5.657 | 5.368 | 5.73 | 5.174 | 4.969 | 4.587 | 4.851 | 4.607 | 4.922 | 4.178 | 4.803 | 5.121 | 5.923 | 5.83 | 4.593 | 4.541 | 4.102 | 3.732 | 4.412 | 4.593 | 3.79 | 3.82 | 3.598 | 3.334 | 3.115 | 2.807 | 2.649 | 2.466 | 2.41 | 2.223 | 1.872 | 2.136 | 2.32 | 3.324 | 4.614 | 4.138 | 2.388 | 2.304 | 2.365
280 | 129.6 | 65.61 | 47.72 | 62.91 | 193.3 | 380.3 | 173.7 | 188.8 | 875.1 | 9999.9 | 9999.9 | 4379 | 41.2 | 19.14 | 14.64 | 10.96 | 9.165 | 8.152 | 7.125 | 6.607 | 6.551 | 5.385 | 4.906 | 5.285 | 5.124 | 5.152 | 5.049 | 5.026 | 5.013 | 4.64 | 4.545 | 4.887 | 5.233 | 5.806 | 5.457 | 4.733 | 3.974 | 3.956 | 3.875 | 4.631 | 4.141 | 3.49 | 3.454 | 3.327 | 3.271 | 3.371 | 3.191 | 2.746 | 2.112 | 2.167 | 2.218 | 2.329 | 2.524 | 2.301 | 2.72 | 4.61 | 5.232 | 4.054 | 2.991
285 | 375.1 | 175.6 | 102.7 | 90.5 | 125.1 | 354.2 | 525.5 | 385.8 | 470.8 | 1174 | 9999.9 | 9999.9 | 4042 | 40.83 | 18.03 | 13.24 | 10.6 | 8.904 | 8.309 | 6.793 | 6.583 | 6.207 | 5.308 | 5.609 | 5.45 | 5.055 | 5.092 | 5.058 | 5.266 | 5.118 | 4.479 | 4.643 | 4.718 | 5.046 | 5.108 | 5.242 | 4.327 | 3.923 | 3.833 | 4.391 | 4.733 | 4.327 | 4.507 | 3.976 | 3.765 | 4.107 | 3.725 | 3.304 | 2.9 | 2.685 | 2.364 | 2.233 | 2.421 | 2.486 | 2.605 | 2.814 | 4.084 | 6.579 | 6.825
290 | 892.9 | 434.7 | 225.5 | 157 | 201.4 | 336.9 | 797.4 | 1008 | 1057 | 1178 | 1674 | 9999.9 | 9999.9 | 3897 | 34.77 | 19.81 | 14 | 11.16 | 8.894 | 8.343 | 7.791 | 6.513 | 6.068 | 5.95 | 5.502 | 4.97 | 4.94 | 5.076 | 5.207 | 4.518 | 4.576 | 4.306 | 4.209 | 4.541 | 4.313 | 5.496 | 5.287 | 4.438 | 3.834 | 3.947 | 3.981 | 4.721 | 4.976 | 4.607 | 5.098 | 5.457 | 5.21 | 4.93 | 4.167 | 3.465 | 3.025 | 2.749 | 2.706 | 2.838 | 3.168 | 3.645 | 4.207 | 5.385 | 8.093
295 | 1487 | 766 | 388.6 | 272.1 | 323.4 | 505 | 865.4 | 1635 | 1961 | 1979 | 1785 | 1742 | 9999.9 | 9999.9 | 3558 | 36.25 | 17.94 | 13.95 | 11.21 | 9.062 | 8.403 | 7.646 | 6.501 | 6.207 | 5.612 | 6.052 | 5.604 | 4.899 | 5.255 | 4.761 | 4.546 | 4.648 | 4.682 | 4.056 | 3.74 | 4.907 | 5.089 | 5.071 | 4.234 | 4.145 | 4.573 | 4.82 | 5.632 | 5.99 | 6.344 | 6.953 | 6.525 | 5.628 | 5.773 | 4.953 | 4.209 | 3.834 | 3.615 | 3.695 | 3.812 | 4.503 | 5.009 | 7.041 | 7.887
300 | 2051 | 1125 | 594.6 | 394.6 | 451.6 | 708.5 | 1167 | 1868 | 2869 | 3004 | 2599 | 1701 | 1437 | 9999.9 | 9999.9 | 3427 | 31.96 | 19.46 | 13.08 | 11.1 | 9.367 | 8.251 | 7.75 | 7.085 | 6.727 | 5.785 | 5.992 | 6.16 | 5.334 | 4.721 | 5.416 | 4.412 | 4.36 | 4.067 | 4.159 | 4.311 | 4.509 | 5.509 | 4.685 | 4.674 | 4.424 | 4.817 | 5.877 | 6.662 | 7.469 | 8.792 | 8.602 | 7.509 | 6.361 | 6.23 | 5.192 | 4.516 | 4.267 | 4.309 | 5.034 | 5.958 | 6.797 | 7.932 | 10.38
305 | 2450 | 1519 | 811.1 | 567 | 621.5 | 920.5 | 1456 | 2255 | 3230 | 4044 | 3545 | 2444 | 1345 | 1369 | 9999.9 | 9999.9 | 3036 | 31.76 | 17.43 | 13.74 | 11.32 | 9.009 | 8.02 | 7.477 | 6.657 | 6.433 | 6.134 | 5.928 | 5.629 | 4.899 | 5.485 | 5.053 | 4.785 | 3.941 | 4.344 | 4.142 | 4.505 | 4.804 | 5.078 | 5.685 | 4.794 | 4.924 | 5.801 | 7.025 | 8.124 | 9.355 | 9.437 | 8.326 | 7.824 | 7.155 | 6.263 | 5.411 | 5.068 | 5.545 | 5.889 | 7.154 | 8.389 | 10.27 | 13.06
310 | 2778 | 1757 | 1067 | 782.4 | 841 | 1192 | 1768 | 2671 | 3644 | 4549 | 4614 | 3340 | 1990 | 1110 | 1148 | 9999.9 | 9999.9 | 3128 | 30.4 | 17.3 | 13.87 | 10.93 | 9.536 | 8.457 | 7.92 | 7.166 | 6.881 | 5.965 | 6.277 | 5.603 | 5.039 | 5.149 | 4.662 | 4.65 | 4.565 | 4.011 | 4.086 | 4.089 | 4.223 | 5.231 | 5.565 | 5.162 | 5.695 | 6.797 | 8.259 | 9.517 | 10.88 | 9.524 | 8.47 | 8.279 | 7.57 | 7.579 | 6.505 | 6.683 | 7.059 | 8.722 | 10.97 | 12.92 | 15.9
315 | 2972 | 1958 | 1284 | 1007 | 1134 | 1499 | 2168 | 3067 | 4044 | 4933 | 5196 | 4313 | 2723 | 1526 | 693.2 | 959.8 | 9999.9 | 9999.9 | 2874 | 28.84 | 17.22 | 14.24 | 11.78 | 8.868 | 9.599 | 7.499 | 7.147 | 6.8 | 6.525 | 5.969 | 5.74 | 5.062 | 4.728 | 5.005 | 4.109 | 4.475 | 4.025 | 3.789 | 3.871 | 4.932 | 5.473 | 5.747 | 6.271 | 6.779 | 8.456 | 10.1 | 11.21 | 10.64 | 9.316 | 9.237 | 8.498 | 8.037 | 7.875 | 7.976 | 9.454 | 10.34 | 12.58 | 15 | 18.19
320 | 3005 | 2150 | 1455 | 1216 | 1409 | 1856 | 2532 | 3459 | 4476 | 5299 | 5489 | 5014 | 3532 | 1949 | 871.9 | 391.1 | 885 | 9999.9 | 9999.9 | 2914 | 29.85 | 19.56 | 15.05 | 11.47 | 9.607 | 8.473 | 7.84 | 7.325 | 6.932 | 6.369 | 5.687 | 5.204 | 5.139 | 4.649 | 4.821 | 4.395 | 4.12 | 3.871 | 4.087 | 4.296 | 5.21 | 6.069 | 7.175 | 7.452 | 8.19 | 10.24 | 11.86 | 10.85 | 10.28 | 10.12 | 9.886 | 8.41 | 8.836 | 9.754 | 10.57 | 12.32 | 14.52 | 17.94 | 21.43
325 | 3067 | 2257 | 1613 | 1409 | 1663 | 2165 | 2875 | 3813 | 4796 | 5567 | 5842 | 5211 | 4095 | 2374 | 1050 | 444.1 | 269.2 | 846.6 | 9999.9 | 9999.9 | 2985 | 29.71 | 20.17 | 14.18 | 12.41 | 9.01 | 9.067 | 8.444 | 7.288 | 6.477 | 6.2 | 5.302 | 4.977 | 4.455 | 4.834 | 4.18 | 4.674 | 4.058 | 4.107 | 4.333 | 4.616 | 5.691 | 7.349 | 7.622 | 8.282 | 10.27 | 11.66 | 10.91 | 10.5 | 10.41 | 9.638 | 10.19 | 9.869 | 10.21 | 12.62 | 14.44 | 16.72 | 20.73 | 24.42
330 | 3014 | 2245 | 1673 | 1554 | 1865 | 2443 | 3144 | 4094 | 4991 | 5759 | 6018 | 5400 | 4159 | 2784 | 1256 | 531.6 | 274.4 | 188.8 | 796.7 | 9999.9 | 9999.9 | 3052 | 30.86 | 20.48 | 15.55 | 12.62 | 10.03 | 8.544 | 7.952 | 7.069 | 6.495 | 5.35 | 5.214 | 5.058 | 4.788 | 4.499 | 4.215 | 4.3 | 4.141 | 4.175 | 4.628 | 5.179 | 6.371 | 8.025 | 9.359 | 10.38 | 10.55 | 10.63 | 10.19 | 11.28 | 10.58 | 10.8 | 10.94 | 11.27 | 13.8 | 15.28 | 19.32 | 22.09 | 26.68
335 | 3030 | 2194 | 1695 | 1650 | 1962 | 2601 | 3381 | 4252 | 5098 | 5810 | 6060 | 5498 | 4215 | 2706 | 1555 | 652.9 | 331.5 | 183.1 | 141.8 | 790.3 | 9999.9 | 9999.9 | 3405 | 30.73 | 21.66 | 15.47 | 12.4 | 10.68 | 9.185 | 7.123 | 7.359 | 6.411 | 5.694 | 5.305 | 4.69 | 4.567 | 4.713 | 3.895 | 4.41 | 4.736 | 4.427 | 4.906 | 6.489 | 7.409 | 8.558 | 10.49 | 10.84 | 10.64 | 9.994 | 10.41 | 10.65 | 10.7 | 10.96 | 12.57 | 14.19 | 16.95 | 19.67 | 24.31 | 28.58
340 | 2886 | 2108 | 1682 | 1668 | 1995 | 2665 | 3409 | 4343 | 5119 | 5759 | 5975 | 5450 | 4228 | 2603 | 1521 | 915.5 | 414.4 | 226.8 | 131.9 | 128 | 807.5 | 9999.9 | 9999.9 | 3458 | 32.69 | 19.52 | 15.98 | 12.7 | 10.4 | 8.605 | 7.432 | 6.508 | 5.959 | 5.382 | 4.732 | 4.658 | 4.533 | 4.26 | 4.459 | 4.464 | 4.731 | 5.127 | 5.459 | 7.044 | 8.823 | 10.33 | 11.39 | 9.852 | 9.789 | 10.33 | 10.09 | 10.37 | 11.47 | 12.37 | 14.46 | 18.03 | 20.41 | 24.6 | 28.4
345 | 2728 | 1953 | 1601 | 1647 | 2005 | 2631 | 3394 | 4246 | 4968 | 5524 | 5724 | 5238 | 4087 | 2546 | 1400 | 952.3 | 612.2 | 286.8 | 172.8 | 118.7 | 128.3 | 818.3 | 9999.9 | 9999.9 | 3742 | 32.54 | 21.71 | 16.05 | 13.26 | 9.54 | 8.811 | 7.361 | 5.918 | 5.726 | 5.437 | 5.146 | 4.612 | 4.494 | 4.454 | 4.249 | 4.506 | 4.976 | 6.244 | 6.899 | 7.396 | 9.272 | 10.38 | 10.29 | 9.306 | 9.905 | 9.793 | 10.53 | 10.77 | 12.63 | 15.08 | 17 | 19.82 | 23.44 | 27.7
350 | 2552 | 1834 | 1516 | 1571 | 1937 | 2566 | 3271 | 4085 | 4720 | 5212 | 5395 | 4948 | 3866 | 2460 | 1391 | 839.7 | 734.6 | 458.2 | 230.7 | 157.3 | 117.1 | 131.1 | 808.4 | 9999.9 | 9999.9 | 3826 | 32.35 | 22.05 | 16.63 | 13.26 | 10.46 | 8.181 | 7.307 | 5.964 | 5.299 | 5.02 | 4.73 | 4.227 | 4.801 | 4.335 | 4.754 | 4.916 | 5.722 | 6.911 | 7.737 | 9.155 | 9.994 | 9.598 | 9.379 | 9.403 | 9.356 | 10.28 | 10.33 | 11.63 | 14.05 | 17 | 19.54 | 22.86 | 27.69
355 | 2294 | 1703 | 1420 | 1501 | 1858 | 2416 | 3116 | 3817 | 4455 | 4848 | 4941 | 4572 | 3649 | 2355 | 1395 | 865.5 | 651 | 630.5 | 361.6 | 212.1 | 155.1 | 113.2 | 125.5 | 824.9 | 9999.9 | 9999.9 | 3784 | 33.7 | 21.99 | 15.61 | 13.24 | 9.522 | 7.749 | 7.263 | 6.021 | 5.327 | 5.09 | 4.671 | 4.423 | 4.766 | 4.583 | 4.999 | 5.61 | 6.492 | 7.579 | 8.114 | 8.56 | 8.917 | 8.428 | 9.613 | 9.215 | 9.261 | 10.56 | 11.3 | 13.92 | 16.52 | 19.29 | 21.76 | 24.91
360 | 2138 | 1614 | 1355 | 1435 | 1717 | 2254 | 2866 | 3534 | 4059 | 4432 | 4563 | 4218 | 3419 | 2263 | 1414 | 939 | 673.9 | 584.1 | 573.2 | 318.8 | 206.7 | 145.3 | 107 | 124 | 809.2 | 9999.9 | 9999.9 | 4109 | 34.47 | 21.59 | 17.3 | 12 | 9.217 | 7.429 | 6.226 | 5.711 | 5.482 | 5.07 | 4.564 | 4.464 | 4.738 | 4.988 | 5.805 | 6.355 | 6.732 | 8.308 | 8.188 | 7.797 | 7.752 | 8.858 | 8.986 | 9.365 | 9.594 | 10.93 | 12.68 | 15.26 | 17.09 | 20.2 | 24.15
365 | 1970 | 1517 | 1298 | 1332 | 1619 | 2071 | 2616 | 3232 | 3727 | 4055 | 4189 | 3943 | 3247 | 2260 | 1512 | 1072 | 790.8 | 601.4 | 575.6 | 523.5 | 285.4 | 192.3 | 134.7 | 99.37 | 119.4 | 834.9 | 9999.9 | 9999.9 | 4072 | 34.16 | 22.55 | 15.2 | 10.75 | 8.239 | 7.036 | 6.463 | 5.652 | 5.26 | 5.175 | 4.515 | 4.471 | 5.169 | 5.898 | 6.304 | 7.024 | 7.538 | 7.969 | 7.79 | 7.335 | 8.488 | 9.111 | 9.977 | 9.627 | 10.14 | 12.26 | 15.05 | 17.26 | 19.04 | 22.01
370 | 1892 | 1438 | 1260 | 1295 | 1492 | 1901 | 2389 | 2957 | 3379 | 3698 | 3872 | 3711 | 3174 | 2332 | 1672 | 1250 | 944.8 | 720.1 | 574 | 583.3 | 465.2 | 257.5 | 178.7 | 130.7 | 97.31 | 120.8 | 833.9 | 9999.9 | 9999.9 | 3917 | 34.72 | 19.27 | 14.01 | 11.4 | 8.112 | 7.174 | 5.906 | 5.297 | 4.952 | 5.086 | 5.001 | 5.205 | 5.344 | 6.375 | 6.142 | 7.315 | 7.596 | 7.744 | 7.29 | 8.717 | 8.318 | 9.25 | 9.426 | 10.63 | 11.18 | 13.42 | 16.31 | 16.97 | 20.7
375 | 1824 | 1461 | 1270 | 1245 | 1427 | 1718 | 2155 | 2631 | 3071 | 3395 | 3645 | 3584 | 3193 | 2505 | 1937 | 1513 | 1149 | 869.8 | 674.1 | 556.9 | 580.4 | 410.2 | 240.9 | 172 | 125.8 | 94.91 | 119.6 | 868 | 9999.9 | 9999.9 | 4320 | 31.03 | 18.59 | 13.46 | 10.45 | 8.278 | 6.734 | 6.06 | 5.281 | 5.668 | 4.743 | 5.705 | 5.959 | 5.652 | 6.044 | 7.237 | 7.436 | 7.287 | 7.137 | 8.571 | 8.553 | 8.816 | 9.376 | 10.21 | 11.1 | 12.91 | 14.22 | 16.25 | 18.72
380 | 1825 | 1508 | 1323 | 1225 | 1314 | 1568 | 1925 | 2355 | 2801 | 3169 | 3464 | 3554 | 3323 | 2753 | 2253 | 1814 | 1389 | 1042 | 800.7 | 632.1 | 557.1 | 565.7 | 361.2 | 229 | 171 | 127.2 | 96.26 | 123.1 | 871.3 | 9999.9 | 9999.9 | 3632 | 28.3 | 17.25 | 13.41 | 10.26 | 7.039 | 6.639 | 5.761 | 5.85 | 5.59 | 5.455 | 5.615 | 5.973 | 6.022 | 6.885 | 7.861 | 7.587 | 7.065 | 8.184 | 9.081 | 8.581 | 9.302 | 9.567 | 10.94 | 11.95 | 13.35 | 15.17 | 17.53
385 | 1848 | 1559 | 1358 | 1190 | 1263 | 1456 | 1747 | 2177 | 2560 | 2985 | 3363 | 3571 | 3469 | 3044 | 2594 | 2132 | 1640 | 1217 | 939.4 | 741.5 | 615.4 | 565 | 538.2 | 331.4 | 230.4 | 172.9 | 130.9 | 98.09 | 121.2 | 867.9 | 9999.9 | 9999.9 | 3419 | 27.81 | 16.59 | 12.29 | 9.768 | 7.141 | 6.202 | 6.013 | 5.553 | 5.458 | 5.783 | 6.577 | 6.683 | 6.796 | 8.063 | 7.606 | 8.06 | 8.481 | 8.573 | 8.609 | 8.914 | 9.338 | 10.34 | 12.08 | 12.64 | 14.44 | 15.28
390 | 1794 | 1649 | 1449 | 1205 | 1189 | 1334 | 1598 | 1956 | 2356 | 2838 | 3317 | 3608 | 3643 | 3329 | 2917 | 2434 | 1895 | 1412 | 1087 | 870 | 713.1 | 597.9 | 571.3 | 505.9 | 319.2 | 236.5 | 175.4 | 132.5 | 91.31 | 114.5 | 834.4 | 9999.9 | 9999.9 | 3469 | 27.02 | 17.01 | 12.06 | 9.357 | 6.938 | 6.216 | 5.831 | 5.547 | 6.349 | 5.986 | 6.798 | 7.374 | 7.836 | 8.009 | 8.411 | 8.896 | 9.429 | 9.373 | 8.915 | 9.033 | 10.17 | 11.2 | 11.96 | 13.12 | 14.52
395 | 1857 | 1673 | 1467 | 1157 | 1127 | 1253 | 1446 | 1793 | 2204 | 2715 | 3212 | 3634 | 3744 | 3543 | 3187 | 2692 | 2096 | 1586 | 1230 | 991.7 | 821.2 | 690.1 | 580.4 | 576.1 | 465.8 | 299 | 226.7 | 167.2 | 116.7 | 81.34 | 107.5 | 857.4 | 9999.9 | 9999.9 | 3157 | 24.98 | 15.79 | 11.24 | 8.849 | 7.576 | 6.426 | 6.027 | 6.277 | 5.991 | 6.485 | 7.669 | 7.77 | 8.167 | 8.249 | 9.485 | 9.796 | 9.231 | 8.853 | 8.533 | 9.354 | 9.972 | 11.97 | 12.35 | 13.56
400 | 1790 | 1716 | 1492 | 1162 | 1105 | 1167 | 1335 | 1644 | 2052 | 2594 | 3112 | 3557 | 3800 | 3687 | 3366 | 2881 | 2267 | 1741 | 1378 | 1114 | 929.8 | 793 | 657.1 | 572.7 | 576.1 | 427.5 | 291.3 | 209.5 | 146.9 | 101.1 | 69.88 | 99.73 | 813.7 | 9999.9 | 9999.9 | 2911 | 23.98 | 15.02 | 10.84 | 9.258 | 7.399 | 6.697 | 6.259 | 6.345 | 6.16 | 7.305 | 7.811 | 8.286 | 8.4 | 9.414 | 9.451 | 9.261 | 8.682 | 8.885 | 9.245 | 9.164 | 10.66 | 12.67 | 13.15
405 | 1766 | 1747 | 1482 | 1175 | 1060 | 1083 | 1243 | 1528 | 1919 | 2443 | 2988 | 3488 | 3776 | 3751 | 3462 | 2981 | 2394 | 1870 | 1483 | 1232 | 1049 | 894.3 | 746 | 621.1 | 570.7 | 553 | 381.6 | 259 | 184.7 | 126.1 | 82.4 | 60.03 | 93.14 | 786.9 | 9999.9 | 9999.9 | 2875 | 21.97 | 13.62 | 10.68 | 8.35 | 7.264 | 7.089 | 6.557 | 6.922 | 7.42 | 8.325 | 7.917 | 8.524 | 9.676 | 10.19 | 8.911 | 8.215 | 8.559 | 9.231 | 9.603 | 10.33 | 11.08 | 11.72
410 | 1705 | 1692 | 1482 | 1153 | 1048 | 1017 | 1157 | 1411 | 1776 | 2295 | 2853 | 3358 | 3663 | 3677 | 3443 | 3017 | 2453 | 1935 | 1584 | 1327 | 1142 | 980.8 | 818.3 | 694.4 | 583.1 | 561.4 | 503.4 | 323.8 | 221.3 | 149.7 | 101.4 | 67.67 | 50.88 | 85.3 | 779.6 | 9999.9 | 9999.9 | 2609 | 21.52 | 14.6 | 10.7 | 9.044 | 7.201 | 7.006 | 6.984 | 7.552 | 7.971 | 7.613 | 8.627 | 9.337 | 9.239 | 8.968 | 8.28 | 8.335 | 9.171 | 9.554 | 9.545 | 10.11 | 10.88
415 | 1637 | 1679 | 1470 | 1149 | 1006 | 976.7 | 1072 | 1309 | 1664 | 2133 | 2689 | 3179 | 3472 | 3554 | 3358 | 2997 | 2464 | 1996 | 1649 | 1413 | 1220 | 1054 | 900.2 | 755.6 | 634.8 | 545.9 | 530.5 | 430.8 | 262.8 | 174.7 | 121.7 | 83.56 | 58.48 | 44.99 | 82.17 | 810.5 | 9999.9 | 9999.9 | 2408 | 21.09 | 13.61 | 10.08 | 8.465 | 7.132 | 7.048 | 7.192 | 8.133 | 8.359 | 8.728 | 9.319 | 9.185 | 8.743 | 8.149 | 8.043 | 8.677 | 8.879 | 9.475 | 9.586 | 9.943
420 | 1524 | 1594 | 1417 | 1115 | 960.7 | 917.9 | 1010 | 1208 | 1546 | 1996 | 2503 | 2957 | 3288 | 3353 | 3219 | 2883 | 2429 | 2010 | 1683 | 1466 | 1285 | 1116 | 943.4 | 801.6 | 685.1 | 579.9 | 501.2 | 475.2 | 343.8 | 209.8 | 142.2 | 98.84 | 70.45 | 50.36 | 41.2 | 82.86 | 792.7 | 9999.9 | 9999.9 | 2318 | 19.22 | 13.19 | 10.29 | 8.916 | 7.481 | 7.343 | 7.807 | 8.208 | 8.329 | 9.431 | 9.85 | 8.951 | 8.257 | 8.087 | 8.082 | 8.202 | 9.321 | 9.122 | 9.403
425 | 1470 | 1490 | 1377 | 1088 | 941.9 | 882.2 | 932.6 | 1132 | 1437 | 1847 | 2285 | 2740 | 3050 | 3134 | 3029 | 2744 | 2356 | 1969 | 1700 | 1495 | 1316 | 1159 | 993.1 | 838.1 | 713.4 | 611.5 | 508.6 | 439.4 | 414.8 | 265.6 | 164 | 114.3 | 81.93 | 59.73 | 46.64 | 40.54 | 79.16 | 799 | 9999.9 | 9999.9 | 2115 | 19.32 | 12.93 | 10.39 | 8.822 | 7.39 | 7.63 | 7.964 | 8.41 | 9.298 | 8.961 | 8.298 | 8.098 | 8.206 | 8.334 | 7.861 | 8.897 | 8.779 | 10.06
430 | 1385 | 1416 | 1285 | 1031 | 918.2 | 862.9 | 887.7 | 1041 | 1309 | 1703 | 2111 | 2494 | 2807 | 2892 | 2809 | 2587 | 2261 | 1938 | 1696 | 1503 | 1335 | 1181 | 1014 | 861.6 | 736.8 | 629 | 538.1 | 441.9 | 390.4 | 339.5 | 205.9 | 134 | 97.93 | 73.83 | 57.03 | 43.55 | 37.37 | 78.24 | 771.8 | 9999.9 | 9999.9 | 2186 | 19.82 | 12.56 | 10.1 | 9.475 | 8.352 | 8.211 | 7.678 | 9.459 | 9.525 | 8.336 | 8.41 | 8.459 | 7.629 | 8.099 | 8.471 | 8.932 | 9.147
435 | 1235 | 1354 | 1257 | 1011 | 882.1 | 824.8 | 844.2 | 973.1 | 1236 | 1573 | 1943 | 2299 | 2539 | 2642 | 2608 | 2418 | 2144 | 1875 | 1665 | 1494 | 1346 | 1191 | 1033 | 878.8 | 752.5 | 650.9 | 547.6 | 454.2 | 372.3 | 339.5 | 275.2 | 163.6 | 114.6 | 87.23 | 67.25 | 53.54 | 43 | 36.9 | 75.11 | 799.2 | 9999.9 | 9999.9 | 2156 | 18.11 | 12.77 | 10.72 | 9.93 | 8.299 | 8.444 | 8.716 | 8.068 | 8.64 | 8.004 | 7.863 | 8.331 | 8.242 | 8.238 | 8.275 | 9.04
440 | 1173 | 1269 | 1178 | 959.9 | 868.5 | 798.8 | 797 | 926.1 | 1152 | 1434 | 1768 | 2080 | 2312 | 2413 | 2392 | 2253 | 2010 | 1804 | 1621 | 1469 | 1328 | 1190 | 1027 | 891.3 | 766.5 | 663.8 | 565.7 | 471.8 | 384.1 | 315.1 | 296.2 | 220.7 | 136.8 | 102.2 | 81.33 | 63.27 | 50.82 | 40.75 | 34.93 | 75.97 | 775.8 | 9999.9 | 9999.9 | 2071 | 18.51 | 13.29 | 10.77 | 9.357 | 8.243 | 8.208 | 9.097 | 8.887 | 7.764 | 7.642 | 7.574 | 7.587 | 7.88 | 8.561 | 8.608
445 | 1111 | 1174 | 1108 | 910.9 | 827.9 | 756 | 764.1 | 849.6 | 1046 | 1310 | 1598 | 1861 | 2075 | 2167 | 2160 | 2059 | 1866 | 1692 | 1547 | 1424 | 1286 | 1155 | 1005 | 871.6 | 765.5 | 663.4 | 573.5 | 489.9 | 403.5 | 323.1 | 280 | 261.7 | 182.9 | 121.7 | 95.78 | 77.89 | 61.35 | 48.24 | 38.17 | 33.05 | 73.4 | 776.3 | 9999.9 | 9999.9 | 1891 | 18.49 | 13.24 | 11 | 9.434 | 8.805 | 8.579 | 7.942 | 7.802 | 7.802 | 7.861 | 7.995 | 7.684 | 7.809 | 8.055
450 | 1401 | 1059 | 1009 | 870.8 | 765.2 | 738 | 712.4 | 798.4 | 954.5 | 1184 | 1427 | 1655 | 1829 | 1921 | 1925 | 1850 | 1712 | 1565 | 1447 | 1338 | 1223 | 1112 | 973.7 | 847.5 | 739 | 653.6 | 577.6 | 494.8 | 415.7 | 335.8 | 274.8 | 247.7 | 230.9 | 154.4 | 112.4 | 90.63 | 71.79 | 58.35 | 45.95 | 35.42 | 31.75 | 73.29 | 791.2 | 9999.9 | 9999.9 | 1895 | 18.11 | 12.32 | 9.961 | 9.518 | 8.276 | 8.007 | 7.59 | 7.493 | 7.235 | 7.728 | 7.417 | 7.742 | 7.742
455 | 3021 | 952.7 | 913.9 | 808.6 | 734.1 | 670.1 | 677 | 731 | 861.7 | 1054 | 1269 | 1462 | 1611 | 1690 | 1718 | 1652 | 1552 | 1436 | 1349 | 1246 | 1157 | 1051 | 929.9 | 813.5 | 726.4 | 639.1 | 566.8 | 496.3 | 427.5 | 352 | 284.6 | 237.9 | 230.6 | 201.6 | 135.3 | 105.3 | 83.68 | 66.63 | 52.6 | 41.57 | 34 | 30.73 | 73.55 | 791 | 9999.9 | 9999.9 | 1833 | 17.52 | 11.86 | 10.32 | 9.244 | 8.42 | 7.778 | 7.443 | 7.515 | 7.476 | 6.617 | 6.804 | 7.013
460 | 5322 | 1312 | 849.3 | 735.9 | 686 | 624.2 | 623.9 | 686.5 | 792.7 | 950.1 | 1121 | 1282 | 1404 | 1466 | 1490 | 1462 | 1388 | 1297 | 1219 | 1159 | 1074 | 986.5 | 878.3 | 774.4 | 691.9 | 620.3 | 557.1 | 494.6 | 427 | 362.4 | 298.1 | 251.3 | 217.9 | 218.9 | 174.8 | 121.4 | 98.63 | 78.87 | 61.89 | 50.11 | 40.38 | 31.96 | 30.22 | 72.67 | 755.8 | 9999.9 | 9999.9 | 1657 | 16.26 | 11.86 | 10.35 | 8.226 | 7.46 | 7.59 | 7.854 | 7.14 | 8.05 | 7.319 | 7.286
465 | 4745 | 3176 | 801.3 | 697.3 | 636.9 | 595 | 577.2 | 616 | 713.9 | 845.4 | 989 | 1123 | 1215 | 1294 | 1311 | 1296 | 1236 | 1176 | 1116 | 1062 | 994 | 908.1 | 827.1 | 733.9 | 655.8 | 600 | 542.3 | 488.2 | 433 | 378.7 | 312 | 263.7 | 225.2 | 205.8 | 203 | 151.5 | 111 | 88.86 | 72.02 | 59.06 | 47.47 | 39.26 | 31.3 | 29.02 | 68.88 | 751.6 | 9999.9 | 9999.9 | 1744 | 16.59 | 11.91 | 9.901 | 8.195 | 7.597 | 7.654 | 7.255 | 7.173 | 7.117 | 7.035
470 | 1683 | 6142 | 1225 | 632.2 | 587.9 | 555.6 | 547.9 | 567.1 | 644.2 | 755.1 | 867.4 | 964.3 | 1058 | 1113 | 1135 | 1125 | 1085 | 1041 | 1005 | 957.5 | 904.5 | 838.1 | 758.8 | 685.9 | 623.1 | 570.2 | 530.5 | 485.7 | 432.8 | 377.4 | 325.8 | 277.6 | 237.7 | 206 | 194 | 183 | 132.7 | 100.2 | 82.37 | 66.39 | 54.43 | 44.08 | 34.54 | 28.54 | 27.45 | 66.91 | 740.2 | 9999.9 | 9999.9 | 1627 | 16.34 | 12.09 | 9.747 | 8.119 | 8.152 | 7.318 | 6.769 | 6.866 | 6.852
475 | 637.3 | 5755 | 3324 | 586.9 | 533.8 | 511.8 | 496.6 | 519.9 | 577.9 | 678.9 | 765.7 | 853.2 | 912.7 | 950.9 | 980.3 | 977.8 | 942.2 | 917.8 | 894.5 | 861.1 | 819 | 770.8 | 702.6 | 637.7 | 585.1 | 546.9 | 508.9 | 475.5 | 432.4 | 382.4 | 333.1 | 285.6 | 247.8 | 214 | 188.7 | 182.4 | 157.3 | 118 | 89.51 | 74.64 | 60.94 | 48.87 | 39.9 | 32.45 | 26.24 | 24.97 | 66.16 | 753.1 | 9999.9 | 9999.9 | 1201 | 15.84 | 11.23 | 9.062 | 8.373 | 7.271 | 6.921 | 6.842 | 6.358
480 | 520.3 | 2036 | 6453 | 1071 | 503.6 | 488 | 478 | 479.6 | 525.5 | 610.8 | 686.8 | 750.5 | 799.1 | 833.6 | 852.8 | 854.1 | 839.7 | 819.4 | 798.9 | 774.1 | 744.3 | 706.4 | 651.9 | 600 | 558.6 | 527.2 | 494.1 | 470.7 | 429.9 | 387 | 340.3 | 295.9 | 257.2 | 222.2 | 191.9 | 172.5 | 167.3 | 135.6 | 100.1 | 82.21 | 70.21 | 57.94 | 47.5 | 38.98 | 32.34 | 27.22 | 25.94 | 67.53 | 719.8 | 9185 | 9999.9 | 1330 | 15.5 | 11.33 | 9.279 | 7.815 | 7.037 | 5.8 | 6.44
485 | 461.6 | 617.4 | 6125 | 3328 | 501.7 | 453.3 | 439.9 | 466.5 | 487.9 | 550 | 618.3 | 674 | 699.8 | 730.9 | 751 | 757.4 | 745.5 | 739.6 | 723.7 | 707 | 676.3 | 651.8 | 609.5 | 569.1 | 533.8 | 504.9 | 485.1 | 466.5 | 434.1 | 397.3 | 351.3 | 304.3 | 267.3 | 234 | 202.5 | 173.3 | 162.5 | 156.5 | 120.5 | 94.14 | 79.14 | 67.33 | 58.42 | 47.82 | 39.77 | 32.95 | 29.54 | 29.45 | 67.79 | 690.8 | 9557 | 9999.9 | 1094 | 16.31 | 11.95 | 9.333 | 7.658 | 6.325 | 6.568
490 | 442.2 | 470.3 | 2075 | 6559 | 953.8 | 431.2 | 433.2 | 456.1 | 484.5 | 538.3 | 583 | 611.7 | 626.3 | 648.2 | 667.4 | 676.3 | 670.4 | 666.1 | 664.8 | 650 | 628.5 | 607.5 | 570.6 | 539.2 | 513.2 | 491.2 | 480.5 | 465 | 438.9 | 399.7 | 359.8 | 314.5 | 276.9 | 241.4 | 213.2 | 183.7 | 162 | 157.3 | 143.8 | 111.7 | 92.36 | 79.9 | 69.1 | 61.27 | 51.87 | 44.58 | 39.23 | 34.97 | 33 | 69.71 | 719.4 | 9351 | 9999.9 | 1138 | 16.64 | 11.74 | 8.845 | 7.163 | 6.884
495 | 385.2 | 423.9 | 577.9 | 6426 | 3168 | 433.7 | 435.7 | 454.8 | 469.8 | 507.9 | 536.1 | 550.8 | 567.5 | 579.4 | 585 | 591.6 | 594.5 | 594.6 | 596.2 | 593 | 581.1 | 561.9 | 530.4 | 508.9 | 494.6 | 477.2 | 474.5 | 461.5 | 437 | 405.9 | 363.7 | 324.1 | 288.4 | 249.3 | 222 | 190.7 | 170.1 | 153.5 | 153.5 | 134.2 | 109.4 | 94.44 | 84.2 | 75.76 | 66.66 | 58.46 | 52.7 | 46.53 | 40.96 | 39.18 | 75.07 | 713.5 | 9991 | 9999.9 | 1146 | 15.72 | 10.99 | 8.637 | 7.604
500 | 383.6 | 405.6 | 411.5 | 2265 | 6636 | 850.5 | 420.7 | 449 | 467.6 | 486 | 503.2 | 505.2 | 491.8 | 502.3 | 513.8 | 524.3 | 532 | 530.5 | 528.9 | 525.8 | 527 | 511.5 | 495.1 | 480.3 | 469.9 | 460.6 | 461.4 | 448.6 | 431.2 | 403.4 | 368.7 | 326.5 | 287.8 | 250.4 | 225.4 | 197.4 | 175.7 | 157 | 149.8 | 149.7 | 129.6 | 112 | 100.3 | 91.85 | 84.19 | 74.64 | 65.27 | 58.19 | 51.01 | 44.87 | 41.16 | 75.14 | 758.8 | 8815 | 9999.9 | 1070 | 14.07 | 10.19 | 8.549
505 | 351.8 | 365.9 | 352.8 | 510.6 | 7003 | 2934 | 423 | 438.8 | 449.2 | 464.5 | 463.8 | 456.5 | 438.7 | 437.6 | 443.9 | 458.6 | 466.3 | 468.4 | 476 | 473.9 | 471.8 | 468.1 | 454.2 | 445.3 | 439.3 | 438 | 443.6 | 440.8 | 422.6 | 399.2 | 361 | 325.6 | 281.3 | 252.2 | 223.6 | 201.4 | 179.6 | 165.3 | 151.7 | 153.7 | 149.9 | 131.3 | 114.6 | 104.2 | 97.37 | 86.6 | 79.04 | 71 | 62.71 | 52.85 | 46.08 | 40.22 | 75.17 | 677.4 | 8864 | 9999.9 | 969.5 | 13.13 | 9.674
510 | 308.8 | 363.2 | 335.4 | 358.3 | 2624 | 6543 | 861.7 | 434.4 | 440.5 | 433.7 | 430.2 | 407.5 | 390.6 | 378.2 | 391.1 | 399.2 | 408.6 | 411.5 | 412.3 | 417.4 | 423.7 | 424.5 | 416.8 | 406 | 406.3 | 414.4 | 419.4 | 419.9 | 408 | 388 | 352.8 | 315 | 278 | 250.4 | 222.3 | 199.6 | 182.9 | 168.1 | 156.2 | 147.8 | 152 | 148.7 | 131.8 | 118 | 108.5 | 98.61 | 90.7 | 80.39 | 72.06 | 61.37 | 52.14 | 42 | 35.26 | 66.16 | 665.5 | 8102 | 9999.9 | 877.5 | 13.53
515 | 249 | 348.9 | 308.6 | 323.2 | 523.9 | 7204 | 2769 | 424 | 430.2 | 419.3 | 399.9 | 370 | 343 | 328.3 | 338.3 | 342.1 | 359.5 | 358.8 | 369.4 | 373.2 | 375.9 | 381.5 | 376.6 | 379.2 | 382.3 | 382.9 | 392.9 | 400 | 390.4 | 372.5 | 339.5 | 305 | 269.9 | 238.7 | 212.4 | 194.6 | 176.1 | 169.3 | 161 | 151.1 | 146.5 | 153 | 145.2 | 127.9 | 115.5 | 106.7 | 96.34 | 88.05 | 78.2 | 66.73 | 56.72 | 45.51 | 33.99 | 29.13 | 60.8 | 624.3 | 7661 | 9999.9 | 764
520 | 242.2 | 278.4 | 305.1 | 288.3 | 317.1 | 2949 | 6416 | 856.1 | 408.9 | 392.2 | 370 | 334.4 | 295.8 | 286.2 | 290.4 | 303 | 307.4 | 313.5 | 323.6 | 330.7 | 334.3 | 343.2 | 340.6 | 345.3 | 347.9 | 356.7 | 365.7 | 373.6 | 366.5 | 348.4 | 321.1 | 287.6 | 253.7 | 229.6 | 204.4 | 187.1 | 174.3 | 164.3 | 152.4 | 149.8 | 144.7 | 148.7 | 150.5 | 134.5 | 120.3 | 110.7 | 100.9 | 92.56 | 82.39 | 70.32 | 60.46 | 48.13 | 36.73 | 28 | 25.15 | 56.62 | 580.1 | 7046 | 9547
525 | 225.3 | 232.8 | 301.5 | 270 | 286.5 | 546.5 | 7346 | 2752 | 390 | 362.1 | 342.5 | 305 | 269.9 | 250.8 | 255.8 | 259.8 | 266.3 | 275.5 | 282.2 | 288.9 | 298.2 | 303.2 | 307.6 | 314.7 | 318.7 | 324.6 | 331.8 | 341.9 | 335.8 | 320.6 | 300.1 | 266 | 235.9 | 212.5 | 193 | 176 | 164.7 | 157.1 | 150.7 | 143.5 | 142.1 | 140.1 | 142.1 | 142 | 123.8 | 109.5 | 101.8 | 93.36 | 83.68 | 71.1 | 62.43 | 51.51 | 39.81 | 32.24 | 26.07 | 24.14 | 57.49 | 545.1 | 6410
530 | 187.4 | 203.7 | 265 | 258 | 263.2 | 304.5 | 3278 | 6218 | 813.4 | 333.2 | 305.1 | 268.8 | 237.9 | 221.2 | 221.6 | 225.9 | 230.7 | 237.1 | 245.6 | 253.8 | 261.9 | 267.6 | 270.9 | 279.3 | 283.8 | 292.2 | 304.3 | 310.6 | 307 | 294.6 | 272.8 | 248.3 | 219.4 | 192.9 | 180 | 163.5 | 152.9 | 147.9 | 141 | 137.8 | 135.6 | 134.4 | 132 | 134.8 | 126.7 | 109.6 | 99.53 | 90.87 | 82.03 | 72.72 | 63.24 | 53.83 | 45.02 | 36.14 | 32.01 | 29.45 | 33.2 | 66.19 | 517.3
535 | 186.5 | 178.5 | 211.1 | 256.6 | 246.9 | 259.3 | 564.7 | 7238 | 2634 | 315.3 | 281.6 | 247 | 208.7 | 194.4 | 191.4 | 196 | 201.4 | 203.5 | 216.3 | 221 | 231.2 | 236.3 | 241.1 | 247.9 | 254.1 | 266.5 | 270.7 | 281.1 | 276.4 | 267 | 248 | 222.1 | 199.4 | 178.1 | 162.3 | 151.9 | 142.4 | 137.3 | 129.5 | 129.1 | 125.2 | 125.4 | 122.7 | 121.5 | 120.3 | 110.6 | 96.84 | 89.83 | 81.84 | 73.77 | 65.64 | 57.7 | 49.89 | 42.98 | 38.91 | 36.86 | 43.2 | 50.41 | 85.47
540 | 168.9 | 159.9 | 175.8 | 232.8 | 230.7 | 240.2 | 278.3 | 3468 | 6109 | 719.4 | 252.8 | 216.5 | 184.7 | 170.6 | 165.2 | 171.5 | 172.8 | 176 | 186.5 | 190.7 | 198.1 | 206.5 | 217.2 | 220.3 | 222.8 | 232.2 | 240.9 | 246.5 | 246.1 | 236.6 | 219.9 | 200.1 | 177.2 | 160.2 | 145 | 134.5 | 130.2 | 123.7 | 120.5 | 117.8 | 118.1 | 115.1 | 113.3 | 111.3 | 107.7 | 108 | 96.33 | 86.01 | 79.54 | 72.59 | 68.27 | 60.09 | 55.55 | 51.2 | 47.23 | 49.63 | 54.98 | 63.92 | 75.96
545 | 148.3 | 157.1 | 149.4 | 202.1 | 229.1 | 213.9 | 240.9 | 561 | 7528 | 2352 | 235.8 | 191.8 | 168.1 | 146.2 | 142.4 | 144.1 | 148.7 | 152.6 | 157.4 | 161.5 | 172.1 | 180.2 | 186.1 | 189.6 | 198.8 | 205.1 | 210.5 | 217 | 218.7 | 206.7 | 194.2 | 175.1 | 157.9 | 140.4 | 129.7 | 121.3 | 116.8 | 111.2 | 107.5 | 107.1 | 107 | 107.2 | 105.4 | 100.4 | 99.36 | 97.68 | 93.12 | 83.03 | 76.9 | 70.65 | 66.26 | 63.68 | 58.94 | 55.15 | 53.93 | 55.86 | 63.06 | 76.2 | 86.3
550 | 129.2 | 134.6 | 133.3 | 154.7 | 213.9 | 206 | 214.2 | 255.3 | 3763 | 5601 | 616.1 | 169.8 | 141.5 | 127.6 | 121.3 | 119.8 | 123.4 | 126.1 | 130.4 | 135.5 | 143.8 | 152.3 | 158.7 | 163.7 | 171.4 | 175.9 | 181.3 | 186.6 | 186.9 | 179.2 | 168.3 | 151.7 | 135.6 | 124.4 | 112.7 | 106.2 | 101.1 | 99.85 | 94.92 | 96.56 | 95.09 | 94.42 | 93.74 | 90.79 | 87.12 | 84.91 | 84.87 | 78.42 | 71.14 | 65.35 | 62.62 | 59.52 | 57.04 | 53.71 | 54.34 | 57.64 | 66.03 | 77.05 | 88.08
555 | 127.5 | 115.9 | 121.1 | 135.5 | 194.9 | 191.3 | 189.8 | 209.9 | 544.9 | 7213 | 2115 | 157.3 | 120.7 | 105.8 | 100.9 | 101.5 | 100.9 | 103.1 | 107.5 | 113.4 | 121.7 | 125.7 | 132 | 135.4 | 142.8 | 148.9 | 155 | 158.3 | 157.7 | 154.2 | 141.4 | 128.8 | 117 | 107.1 | 97.41 | 90.13 | 88.32 | 87.31 | 83.99 | 82.85 | 80.95 | 83.14 | 80.92 | 79.45 | 77.14 | 73.3 | 72.22 | 72.77 | 66.32 | 57.66 | 57.46 | 54.07 | 51.69 | 49.5 | 50.3 | 54.45 | 62.5 | 71.4 | 84.11
560 | 111.7 | 106.1 | 106.6 | 112.1 | 143.9 | 188.9 | 167.7 | 176.1 | 209.4 | 3864 | 5304 | 490.9 | 101.8 | 86.66 | 82.94 | 83.19 | 83.92 | 87.16 | 91.74 | 92.64 | 98.64 | 106.1 | 109.1 | 115.9 | 120.2 | 127.4 | 129.1 | 132.8 | 133 | 130.2 | 121.3 | 110.3 | 97.58 | 89.09 | 82.09 | 76.98 | 75.66 | 72.21 | 72.93 | 71.99 | 71.17 | 72.74 | 71.16 | 70.84 | 67.27 | 63.06 | 60.56 | 62.61 | 58.71 | 52.9 | 50.33 | 46.61 | 45.19 | 42.67 | 43.7 | 45.96 | 53.26 | 61.81 | 72.93
565 | 111.1 | 93.7 | 94.58 | 102.7 | 110.2 | 169.8 | 164.9 | 161.2 | 164.4 | 510.1 | 6990 | 1882 | 94.18 | 73.18 | 67.8 | 67.26 | 67.82 | 70.09 | 71.88 | 75.06 | 81.2 | 86.74 | 89.18 | 94.1 | 97.94 | 103.6 | 104.8 | 110 | 111.4 | 106.1 | 98.39 | 90.89 | 81.73 | 75.46 | 69.06 | 66.11 | 62.54 | 63.27 | 62.92 | 60.83 | 60.09 | 61.51 | 59.11 | 59.02 | 55.18 | 53.11 | 52.16 | 50.78 | 49.6 | 46.38 | 42.07 | 40.18 | 38.08 | 35.02 | 34.64 | 37.94 | 45.22 | 51 | 58.88
570 | 110.9 | 97.22 | 81.86 | 82.7 | 94.59 | 145.4 | 166 | 158 | 158.6 | 182.1 | 3741 | 4959 | 386.8 | 63.26 | 59.55 | 55.75 | 55.5 | 56 | 59.35 | 62.84 | 66.22 | 70.75 | 73.96 | 77.45 | 81.2 | 82.95 | 86.6 | 89.59 | 89.08 | 88.11 | 84.06 | 76.01 | 66.57 | 61 | 58.05 | 53.84 | 53.4 | 52.54 | 51.02 | 49.02 | 50.27 | 51.04 | 50.15 | 49.52 | 47.3 | 45.28 | 42.81 | 41.9 | 40.45 | 38.97 | 36.11 | 32.28 | 30.5 | 29.05 | 29.11 | 29.89 | 35.57 | 40.85 | 47.4
575 | 132.4 | 94.11 | 76.33 | 74.52 | 83.15 | 109.9 | 176.9 | 165.1 | 171.7 | 178.5 | 482.7 | 6872 | 1666 | 60.05 | 46.96 | 46.39 | 44.05 | 46.74 | 48.95 | 50.24 | 53.05 | 58.04 | 58.7 | 62.49 | 65.35 | 67 | 72.41 | 73.55 | 75.18 | 70.92 | 68.22 | 60.42 | 54.88 | 50.62 | 47.13 | 43.8 | 44.68 | 43.11 | 42.9 | 40.33 | 40.23 | 41.95 | 41.51 | 40.42 | 37.97 | 37.94 | 34.69 | 34.53 | 32.13 | 31.79 | 30.2 | 27.18 | 24.85 | 23.28 | 22.68 | 24.46 | 26.95 | 32.23 | 37.29
580 | 141.5 | 102.5 | 80.04 | 67.54 | 75.1 | 103.8 | 157.5 | 188.7 | 198.2 | 196.5 | 194.8 | 3607 | 4690 | 320.4 | 37.9 | 37.66 | 37.95 | 38.48 | 41.36 | 41.44 | 42.85 | 46.95 | 48.14 | 49.51 | 53.15 | 54.98 | 58.13 | 58.88 | 60.76 | 59.87 | 54.88 | 51.86 | 44.94 | 42.08 | 38.57 | 37.04 | 35.58 | 35.13 | 35.02 | 34.33 | 33.9 | 33.76 | 35.21 | 33.87 | 32.83 | 31.45 | 29.29 | 28.41 | 26.81 | 24.57 | 24.69 | 23.45 | 21.06 | 18.42 | 18.98 | 19.23 | 21.15 | 25.35 | 28.34
585 | 169.1 | 113.8 | 72.7 | 66.47 | 78.02 | 94.29 | 139.8 | 221.3 | 219.8 | 226 | 199.2 | 452.5 | 6616 | 1458 | 40.41 | 32.35 | 30.17 | 33.02 | 33.7 | 32.87 | 35.47 | 38.07 | 38.91 | 40.85 | 41.75 | 44.84 | 48.16 | 49.01 | 47.67 | 47.95 | 46.72 | 40.31 | 38.81 | 34.12 | 32.43 | 30.21 | 29.06 | 29 | 29.99 | 28.87 | 28.57 | 29.12 | 28.61 | 28.72 | 26.93 | 26.35 | 24.7 | 23.85 | 21.68 | 19.93 | 20.08 | 19.96 | 18.02 | 15.61 | 15.31 | 15.95 | 17.41 | 21.38 | 22.99
590 | 189.6 | 126.4 | 72.53 | 68.17 | 70.78 | 91.81 | 134.7 | 225.3 | 253.9 | 247.4 | 223.8 | 162.8 | 3357 | 4343 | 259.8 | 28.9 | 26.93 | 26.33 | 28.58 | 27.51 | 28.46 | 30.31 | 31.74 | 33.34 | 35.65 | 37.01 | 39.24 | 40.38 | 40.79 | 38.45 | 38.99 | 34.39 | 31.4 | 29.04 | 26.37 | 24.86 | 25.49 | 24.55 | 24.86 | 23.65 | 24.09 | 24.83 | 24.34 | 23.85 | 22.45 | 22.26 | 20.07 | 19.67 | 17.42 | 16.99 | 16.08 | 16.27 | 15.72 | 14.02 | 12.75 | 13.49 | 14.61 | 16.81 | 19.03
595 | 190.5 | 123.7 | 75.11 | 61.75 | 66.85 | 93.21 | 134.6 | 221.9 | 283.1 | 278.2 | 243.7 | 156.3 | 384.9 | 5880 | 1345 | 29.57 | 22.49 | 22.96 | 23.14 | 23.56 | 24.28 | 25.75 | 26.79 | 28.22 | 29.74 | 31.21 | 32.73 | 33.18 | 33.64 | 32.84 | 31.93 | 29.16 | 25.86 | 25.19 | 22.03 | 20.59 | 21.05 | 20.82 | 20.79 | 21.06 | 20.61 | 21.21 | 19.52 | 19.53 | 19.57 | 18.28 | 18.14 | 16.49 | 15.7 | 14.94 | 13.18 | 13.03 | 13.67 | 12.26 | 10.93 | 11.78 | 12.16 | 13.92 | 15.55
600 | 202.5 | 135.5 | 81.72 | 61.88 | 73.26 | 93.94 | 142.2 | 197.3 | 307.8 | 305 | 270.9 | 173.7 | 106.6 | 3031 | 4239 | 184.9 | 21.5 | 19.71 | 19.59 | 20.48 | 20.53 | 21.87 | 23.57 | 24.79 | 24.33 | 24.86 | 27.14 | 27.24 | 27.96 | 27.83 | 25.79 | 23.78 | 21.46 | 20.42 | 19.21 | 18.03 | 17.25 | 17.57 | 17.14 | 17.15 | 17.57 | 17.71 | 17.93 | 16.75 | 16.23 | 15.44 | 14.4 | 13.51 | 12.97 | 12.41 | 12.08 | 10.53 | 10.67 | 11.1 | 10.84 | 9.928 | 10.56 | 12.09 | 12.66