## Sheet1
Report date: | 18:41:42, 09/02/2024
Sample: | 1
File name:
Run date: | 18:31:25, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 253.7
2 | 255.0/280.0 | 288.4
3 | 270.0/355.0 | 8622
4 | 315.0/430.0 | 1767
5 | 410.0/480.0 | 191.5
6 | 435.0/515.0 | 302.3
7 | 440.0/520.0 | 309.4
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 39.1 | 27.05 | 52.95 | 222.9 | 130.9 | 39.26 | 95.13 | 7008 | 9999.9 | 2196 | 24.76 | 13.3 | 11.06 | 8.037 | 7.181 | 6.07 | 5.7 | 4.755 | 4.306 | 3.842 | 3.866 | 3.862 | 4.372 | 4.107 | 3.742 | 3.783 | 3.788 | 4.237 | 4.175 | 4.072 | 4.379 | 4.301 | 4.148 | 4.013 | 3.373 | 3.863 | 3.056 | 3.322 | 3.267 | 2.81 | 2.933 | 2.586 | 2.873 | 2.424 | 2.384 | 2.139 | 1.895 | 2.005 | 1.796 | 1.743 | 1.847 | 2.168 | 3.124 | 3.679 | 2.504 | 1.652 | 1.858 | 1.663 | 2.25
275 | 68.63 | 39.07 | 28.66 | 94.19 | 253.7 | 108.6 | 62.91 | 536.3 | 7937 | 9999.9 | 2095 | 21.66 | 11.75 | 9.236 | 8.182 | 5.833 | 5.686 | 5.353 | 4.113 | 4.555 | 4.242 | 4.247 | 3.728 | 3.732 | 3.874 | 3.93 | 3.695 | 4.294 | 3.772 | 4.204 | 3.73 | 3.995 | 4.351 | 4.294 | 3.497 | 3.516 | 2.978 | 3.465 | 3.125 | 3.088 | 3.15 | 2.833 | 2.772 | 2.647 | 2.583 | 2.601 | 2.067 | 1.841 | 1.667 | 1.863 | 1.804 | 2.006 | 1.82 | 2.724 | 4.23 | 3.379 | 2.354 | 1.947 | 2.086
280 | 104.7 | 45.43 | 35.73 | 49.47 | 148 | 288.4 | 133.2 | 133.8 | 638.8 | 8467 | 9999.9 | 1861 | 23.03 | 11.02 | 9.575 | 7.55 | 6.328 | 5.316 | 4.595 | 4.835 | 4.415 | 4.155 | 4.26 | 3.769 | 4.419 | 3.91 | 3.962 | 4.661 | 3.808 | 3.816 | 3.458 | 3.49 | 4.148 | 4.358 | 3.847 | 3.71 | 3.024 | 3.26 | 3.191 | 3.409 | 3.192 | 2.806 | 2.965 | 2.818 | 2.606 | 2.602 | 2.451 | 2.176 | 1.825 | 1.741 | 1.812 | 1.919 | 2.119 | 2.038 | 2.528 | 3.582 | 4.424 | 3.779 | 2.581
285 | 268.8 | 119.6 | 73.61 | 64.3 | 95.18 | 269.9 | 397.4 | 296.7 | 360.6 | 889.1 | 9999.9 | 9999.9 | 1737 | 21.32 | 11.5 | 7.66 | 6.883 | 5.54 | 5.091 | 4.879 | 4.856 | 4.113 | 4.135 | 4.223 | 4.243 | 4.04 | 3.915 | 3.662 | 3.961 | 3.617 | 3.63 | 3.955 | 3.609 | 4.284 | 3.632 | 4.086 | 3.139 | 3.331 | 3.142 | 3.442 | 3.401 | 3.13 | 3.104 | 3.06 | 3.066 | 2.795 | 2.952 | 2.704 | 2.216 | 2.173 | 1.963 | 1.901 | 2.152 | 2.04 | 2.498 | 2.407 | 3.495 | 5.428 | 5.158
290 | 636 | 309.6 | 157.5 | 126.5 | 161.4 | 262.8 | 613.8 | 778.9 | 807.8 | 890.7 | 1370 | 9645 | 9999.9 | 1554 | 18.61 | 9.773 | 8.58 | 6.569 | 5.586 | 5.029 | 5.241 | 4.961 | 4.294 | 4.28 | 4.607 | 3.798 | 4.424 | 4.244 | 4.097 | 3.775 | 3.74 | 3.322 | 3.353 | 3.547 | 3.471 | 4.176 | 3.704 | 3.576 | 3.178 | 3.233 | 3.46 | 3.671 | 3.596 | 3.517 | 3.973 | 3.968 | 3.899 | 3.622 | 3.142 | 2.973 | 2.512 | 2.262 | 2.522 | 2.575 | 2.7 | 3.126 | 3.427 | 4.359 | 6.49
295 | 1079 | 555.2 | 303.4 | 212.3 | 259.7 | 394.2 | 683.7 | 1275 | 1489 | 1492 | 1339 | 1340 | 9492 | 9999.9 | 1492 | 16.8 | 10.14 | 7.703 | 6.354 | 5.702 | 4.96 | 4.873 | 4.299 | 4.378 | 4.522 | 4.548 | 4.476 | 4.33 | 4.012 | 3.806 | 4.059 | 3.827 | 3.513 | 3.516 | 3.235 | 3.727 | 3.55 | 4.128 | 3.777 | 3.431 | 3.383 | 3.631 | 4.23 | 4.595 | 4.711 | 5.509 | 5.384 | 4.531 | 4.064 | 3.778 | 3.123 | 3.047 | 2.855 | 3.148 | 3.414 | 3.834 | 4.393 | 5.83 | 6.804
300 | 1428 | 802.7 | 460.4 | 323.3 | 398.3 | 601.2 | 923.8 | 1463 | 2150 | 2156 | 1815 | 1101 | 984.7 | 9828 | 9999.9 | 1345 | 17.05 | 9.362 | 8.082 | 5.976 | 6.053 | 5.359 | 4.891 | 4.586 | 4.758 | 4.516 | 4.789 | 4.734 | 4.175 | 4.286 | 3.665 | 3.989 | 3.542 | 3.388 | 3.372 | 3.57 | 3.692 | 3.687 | 3.76 | 3.387 | 3.683 | 3.806 | 4.748 | 5.292 | 5.619 | 6.171 | 6.331 | 5.323 | 5.334 | 4.201 | 4.21 | 4.14 | 3.944 | 3.697 | 4.645 | 4.856 | 6.174 | 7.129 | 9.129
305 | 1649 | 981.1 | 589.1 | 493.6 | 592.4 | 819.3 | 1196 | 1698 | 2348 | 2766 | 2285 | 1395 | 608.5 | 855.5 | 9999.9 | 9999.9 | 1281 | 17.63 | 9.882 | 7.346 | 7.344 | 5.945 | 5.697 | 4.974 | 5.052 | 4.893 | 4.341 | 4.547 | 4.669 | 4.335 | 3.811 | 3.907 | 4.15 | 3.792 | 3.593 | 3.655 | 3.341 | 3.53 | 3.71 | 4.351 | 4.101 | 4.084 | 4.447 | 5.229 | 6.354 | 7.119 | 6.343 | 6.489 | 5.256 | 5.651 | 4.807 | 4.859 | 4.586 | 5.089 | 5.688 | 6.114 | 7.58 | 9.08 | 11.33
310 | 1797 | 1168 | 832.4 | 770.7 | 934.7 | 1251 | 1668 | 2183 | 2649 | 3000 | 2848 | 1771 | 867.9 | 473.2 | 887 | 9417 | 9999.9 | 1287 | 18.68 | 9.882 | 8.056 | 7.548 | 5.292 | 5.083 | 5.85 | 4.762 | 4.425 | 4.755 | 4.517 | 4.218 | 3.737 | 3.979 | 3.796 | 3.648 | 3.679 | 3.299 | 3.487 | 3.457 | 3.269 | 4.265 | 4.492 | 4.542 | 4.295 | 5.531 | 6.351 | 7.499 | 7.041 | 6.6 | 5.96 | 6.035 | 6.013 | 5.773 | 5.692 | 6.594 | 7.391 | 8.82 | 11.29 | 12.95 | 14.84
315 | 1903 | 1371 | 1183 | 1297 | 1642 | 2109 | 2575 | 2963 | 3227 | 3299 | 3211 | 2404 | 1392 | 883.3 | 629.9 | 1029 | 9999.9 | 9999.9 | 1127 | 16.87 | 10.52 | 8.115 | 6.624 | 6.024 | 5.123 | 5.359 | 4.894 | 4.769 | 4.96 | 4.442 | 4.532 | 3.602 | 3.745 | 3.811 | 3.716 | 3.286 | 3.253 | 3.556 | 3.51 | 3.615 | 4.388 | 4.781 | 5.066 | 5.815 | 5.829 | 7.152 | 7.835 | 7.011 | 6.525 | 7.587 | 7.992 | 7.782 | 8.729 | 10.6 | 11.6 | 14.34 | 16.44 | 19.29 | 22.15
320 | 2065 | 1614 | 1568 | 1894 | 2516 | 3171 | 3726 | 4027 | 3998 | 3812 | 3552 | 3077 | 2195 | 1493 | 1092 | 842.2 | 1179 | 9999.9 | 9999.9 | 1141 | 15.2 | 10.34 | 8.385 | 6.684 | 6.354 | 5.645 | 5.055 | 5.127 | 4.87 | 4.718 | 4.307 | 3.752 | 3.757 | 3.719 | 3.434 | 3.953 | 3.481 | 3.182 | 3.241 | 3.547 | 3.891 | 4.96 | 5.362 | 5.875 | 6.429 | 7.833 | 8.627 | 7.8 | 7.915 | 8.404 | 9.411 | 10.82 | 11.46 | 14.12 | 17.1 | 20.4 | 24.3 | 27.06 | 30.41
325 | 2181 | 1784 | 1896 | 2398 | 3200 | 4113 | 4753 | 5029 | 4793 | 4433 | 4136 | 3566 | 2980 | 2184 | 1569 | 1153 | 804.8 | 975.5 | 9626 | 9999.9 | 1206 | 15.6 | 9.853 | 8.413 | 7.105 | 6.445 | 5.713 | 5.603 | 4.938 | 4.679 | 4.583 | 3.872 | 4.12 | 3.639 | 3.71 | 4.087 | 3.514 | 3.335 | 3.825 | 3.504 | 4.214 | 4.546 | 5.127 | 6.304 | 6.984 | 7.622 | 8.238 | 8.046 | 8.652 | 9.844 | 10.66 | 13.07 | 14.58 | 17.47 | 21.95 | 26.29 | 30.87 | 34.35 | 39.13
330 | 2247 | 1983 | 2150 | 2833 | 3896 | 5031 | 5808 | 6035 | 5644 | 5195 | 4847 | 4260 | 3551 | 2951 | 2100 | 1476 | 976.3 | 464.7 | 764.3 | 9495 | 9999.9 | 1297 | 14.95 | 10.6 | 8.903 | 7.755 | 6.338 | 5.843 | 5.69 | 4.896 | 4.467 | 4.447 | 4.355 | 3.726 | 3.894 | 3.956 | 3.501 | 3.586 | 3.768 | 3.525 | 4.072 | 5.015 | 5.283 | 6.648 | 7.173 | 8.498 | 8.388 | 7.939 | 8.842 | 10.48 | 12 | 13.74 | 16.49 | 21.14 | 25.94 | 31.44 | 35.86 | 41.09 | 47.04
335 | 2408 | 2140 | 2368 | 3246 | 4410 | 5723 | 6666 | 7010 | 6540 | 6010 | 5634 | 5043 | 4239 | 3424 | 2698 | 1842 | 1178 | 521.8 | 208.1 | 688.7 | 9999.9 | 9999.9 | 1400 | 15.4 | 11.1 | 9.163 | 8.241 | 6.778 | 6.215 | 5.877 | 4.745 | 4.749 | 4.519 | 3.96 | 3.849 | 3.675 | 3.826 | 3.744 | 3.619 | 4.482 | 4.361 | 4.593 | 5.662 | 6.517 | 7.291 | 8.637 | 8.896 | 8.368 | 9.148 | 10.94 | 13.02 | 15.73 | 18.29 | 22.25 | 29.7 | 35.6 | 41.33 | 47.16 | 52.88
340 | 2461 | 2212 | 2513 | 3429 | 4779 | 6209 | 7260 | 7762 | 7341 | 6800 | 6414 | 5816 | 4934 | 3873 | 3007 | 2245 | 1331 | 598.9 | 212.5 | 116.2 | 714.7 | 9999.9 | 9999.9 | 1403 | 16.79 | 11.94 | 10.2 | 9.255 | 6.707 | 6.165 | 5.01 | 4.288 | 4.488 | 4.097 | 3.89 | 4.307 | 3.947 | 4.062 | 3.878 | 4.254 | 4.528 | 5.355 | 5.399 | 6.708 | 7.466 | 8.91 | 9.438 | 8.911 | 9.219 | 12.21 | 13.84 | 16.77 | 19.63 | 24.42 | 30.35 | 36.75 | 45.67 | 51.56 | 57.93
345 | 2547 | 2194 | 2544 | 3466 | 4835 | 6357 | 7544 | 8266 | 7967 | 7519 | 7125 | 6465 | 5511 | 4287 | 3172 | 2379 | 1537 | 662 | 249.8 | 110 | 103.8 | 727.5 | 9999.9 | 9999.9 | 1654 | 18.81 | 12.84 | 11.23 | 8.656 | 6.972 | 5.742 | 5.259 | 4.683 | 4.423 | 4.451 | 4.322 | 4.422 | 4.272 | 4.086 | 3.862 | 4.74 | 4.995 | 5.444 | 6.379 | 7.043 | 8.729 | 9.496 | 9.163 | 9.752 | 11.17 | 14.3 | 16.17 | 20.14 | 25.48 | 32.01 | 38.26 | 45.5 | 52.53 | 60.41
350 | 2493 | 2166 | 2513 | 3436 | 4833 | 6363 | 7692 | 8477 | 8434 | 8040 | 7674 | 6982 | 5933 | 4594 | 3354 | 2386 | 1663 | 799.3 | 303.8 | 147.2 | 96.97 | 108.8 | 725 | 9999.9 | 9999.9 | 1847 | 19.11 | 15.1 | 10.8 | 8.69 | 6.688 | 5.714 | 5.38 | 4.48 | 4.592 | 4.524 | 3.956 | 4.255 | 3.895 | 4.139 | 4.676 | 4.978 | 5.602 | 6.229 | 7.219 | 8.428 | 9.245 | 8.895 | 9.19 | 11.36 | 13.28 | 16.35 | 19.01 | 24.24 | 31.37 | 37.48 | 45.02 | 54 | 60.05
355 | 2456 | 2117 | 2443 | 3274 | 4624 | 6223 | 7598 | 8541 | 8622 | 8355 | 7995 | 7297 | 6224 | 4813 | 3515 | 2409 | 1563 | 954.9 | 427.5 | 195.3 | 134 | 103.2 | 118.6 | 734.7 | 9999.9 | 9999.9 | 1938 | 22.75 | 14.6 | 10.34 | 8.656 | 6.523 | 5.772 | 4.768 | 4.703 | 4.491 | 4.326 | 4.609 | 3.854 | 4.079 | 4.361 | 5.135 | 5.52 | 6.847 | 7.365 | 8.377 | 9.073 | 8.583 | 9.347 | 10.8 | 13.15 | 16.04 | 18.95 | 24.05 | 30.94 | 35.87 | 44.32 | 50.78 | 59.11
360 | 2295 | 2036 | 2282 | 3110 | 4381 | 5842 | 7288 | 8280 | 8551 | 8430 | 8133 | 7403 | 6299 | 4885 | 3545 | 2419 | 1541 | 894.1 | 605 | 298.2 | 189.8 | 144.8 | 113.7 | 124.8 | 738.2 | 9999.9 | 9999.9 | 2484 | 21.7 | 14 | 10.82 | 8.472 | 6.517 | 5.917 | 5.1 | 4.743 | 4.245 | 4.141 | 4.473 | 4.345 | 4.869 | 5.231 | 5.847 | 6.37 | 6.897 | 8.085 | 8.24 | 8.678 | 8.333 | 10.41 | 12.96 | 15.36 | 18.07 | 21.87 | 28.98 | 34.19 | 41.43 | 48.14 | 55.44
365 | 2269 | 1925 | 2150 | 2863 | 4003 | 5425 | 6755 | 7863 | 8281 | 8248 | 8019 | 7314 | 6224 | 4799 | 3494 | 2409 | 1539 | 880.9 | 611 | 490.7 | 278.5 | 203.3 | 154 | 118.8 | 125.1 | 757.4 | 9999.9 | 9999.9 | 2302 | 21.4 | 13.27 | 9.715 | 8.671 | 6.27 | 5.415 | 4.692 | 4.902 | 4.568 | 4.567 | 4.602 | 4.711 | 5.456 | 5.775 | 6.522 | 7.132 | 7.603 | 8.226 | 8.02 | 8.168 | 10.27 | 12 | 14.45 | 16.82 | 20.57 | 26.15 | 31.07 | 38.5 | 44.8 | 51.68
370 | 2081 | 1788 | 1996 | 2601 | 3619 | 4929 | 6224 | 7236 | 7788 | 7883 | 7629 | 6988 | 5960 | 4627 | 3359 | 2337 | 1522 | 917.3 | 595.7 | 554.5 | 462.5 | 288.4 | 218.2 | 166.1 | 123.4 | 128 | 772 | 9999.9 | 9999.9 | 2150 | 20.88 | 12.91 | 10.1 | 8.412 | 6.459 | 5.144 | 4.644 | 5.055 | 4.813 | 5.111 | 4.772 | 5.333 | 5.674 | 5.88 | 6.83 | 7.094 | 7.652 | 7.495 | 7.463 | 9.24 | 11.42 | 13.45 | 15.99 | 18.99 | 23.36 | 28.62 | 36.61 | 41.34 | 48.06
375 | 1938 | 1646 | 1798 | 2298 | 3257 | 4395 | 5561 | 6577 | 7120 | 7313 | 7107 | 6561 | 5617 | 4392 | 3220 | 2237 | 1504 | 973.3 | 664.1 | 551 | 595.6 | 457 | 304.8 | 233 | 180.8 | 129.3 | 135.7 | 792.7 | 9999.9 | 9999.9 | 2179 | 19.66 | 13.2 | 9.235 | 7.402 | 6.053 | 5.423 | 4.534 | 4.733 | 5.016 | 5.101 | 4.821 | 4.947 | 5.922 | 5.966 | 7.407 | 7.5 | 7.205 | 6.823 | 8.469 | 10.53 | 12.62 | 14.18 | 17.03 | 21.4 | 26.73 | 30.02 | 36.74 | 42.95
380 | 1788 | 1521 | 1627 | 2073 | 2812 | 3795 | 4881 | 5829 | 6391 | 6637 | 6525 | 6008 | 5175 | 4069 | 3021 | 2151 | 1486 | 1029 | 760.9 | 639.3 | 597.8 | 643.4 | 460.5 | 330.3 | 258.5 | 193.4 | 142.9 | 141.8 | 795 | 9999.9 | 9999.9 | 2000 | 19.7 | 12.03 | 9.574 | 7.167 | 5.406 | 5.575 | 5.263 | 4.773 | 4.746 | 4.921 | 5.157 | 6.11 | 5.99 | 6.426 | 6.877 | 6.452 | 7.171 | 7.917 | 10.06 | 11.3 | 13.1 | 14.76 | 19.94 | 23.7 | 27.3 | 32.5 | 37.63
385 | 1667 | 1423 | 1463 | 1836 | 2474 | 3293 | 4242 | 5082 | 5649 | 5907 | 5840 | 5453 | 4739 | 3779 | 2840 | 2094 | 1512 | 1114 | 885.9 | 760.6 | 691.2 | 691.2 | 678.2 | 475.1 | 353.7 | 274.3 | 201.4 | 146 | 138.2 | 789.1 | 9999.9 | 9999.9 | 2001 | 18.06 | 11.27 | 8.876 | 7.065 | 5.461 | 5.319 | 4.879 | 5.266 | 4.965 | 4.652 | 5.86 | 5.83 | 6.393 | 6.446 | 6.332 | 6.617 | 8.066 | 8.493 | 10.11 | 12.07 | 13.78 | 17.02 | 21.01 | 24.12 | 28.37 | 32.59
390 | 1475 | 1344 | 1374 | 1640 | 2194 | 2834 | 3628 | 4408 | 4966 | 5213 | 5217 | 4862 | 4295 | 3461 | 2677 | 2027 | 1544 | 1214 | 1020 | 918.1 | 847.7 | 782 | 770.4 | 703.3 | 489.6 | 377.3 | 283.9 | 202.8 | 133.5 | 130.1 | 768.5 | 9999.9 | 9999.9 | 1907 | 17.81 | 11.13 | 9.097 | 6.73 | 5.531 | 5.264 | 4.829 | 5.225 | 4.929 | 5.405 | 5.574 | 6.045 | 6.034 | 6.083 | 6.459 | 7.77 | 8.704 | 9.118 | 10.28 | 12.48 | 15.13 | 17.64 | 22.59 | 25.12 | 28.74
395 | 1369 | 1282 | 1315 | 1492 | 1920 | 2475 | 3144 | 3812 | 4319 | 4610 | 4629 | 4398 | 3886 | 3204 | 2544 | 1996 | 1592 | 1320 | 1170 | 1071 | 1009 | 928.4 | 841.2 | 830 | 687 | 494.1 | 373.7 | 265.2 | 178.8 | 118.4 | 119.2 | 783 | 9999.9 | 9999.9 | 1791 | 17.06 | 10.42 | 8.071 | 6.826 | 5.572 | 5.204 | 4.481 | 4.866 | 5.616 | 5.354 | 5.58 | 5.731 | 5.885 | 5.77 | 6.75 | 7.92 | 8.507 | 9.467 | 11.42 | 14.31 | 16.07 | 19.12 | 22.12 | 25.23
400 | 1300 | 1207 | 1214 | 1395 | 1713 | 2179 | 2708 | 3287 | 3728 | 4062 | 4111 | 3904 | 3529 | 2968 | 2427 | 1982 | 1641 | 1445 | 1325 | 1238 | 1173 | 1093 | 976.2 | 884.9 | 853.8 | 657.2 | 470.3 | 340 | 233 | 150.5 | 99.31 | 107 | 755.4 | 9999.9 | 9999.9 | 1669 | 15.48 | 10.3 | 8.326 | 6.759 | 5.594 | 4.908 | 5.287 | 6.056 | 5.45 | 5.735 | 6.019 | 5.375 | 6.171 | 6.664 | 7.266 | 8.152 | 9.306 | 10.15 | 12.25 | 14.04 | 15.72 | 18.9 | 22.98
405 | 1266 | 1173 | 1189 | 1322 | 1558 | 1922 | 2352 | 2814 | 3252 | 3523 | 3622 | 3516 | 3226 | 2770 | 2318 | 1979 | 1717 | 1553 | 1457 | 1396 | 1320 | 1240 | 1121 | 989.4 | 894.5 | 829.9 | 604.3 | 420.8 | 289.5 | 189.8 | 123.9 | 80.62 | 96.63 | 724.6 | 9999.9 | 9999.9 | 1645 | 14.68 | 9.935 | 7.856 | 5.971 | 5.411 | 5.644 | 5.417 | 5.424 | 5.915 | 6.276 | 5.415 | 5.715 | 6.873 | 7.43 | 7.439 | 8.259 | 9.307 | 11.11 | 12.63 | 14.17 | 16.68 | 19.22
410 | 1240 | 1164 | 1164 | 1229 | 1423 | 1679 | 2051 | 2436 | 2835 | 3129 | 3232 | 3156 | 2937 | 2591 | 2233 | 1957 | 1766 | 1646 | 1574 | 1516 | 1463 | 1369 | 1251 | 1101 | 954.6 | 869.9 | 757.3 | 507.4 | 345.2 | 233.9 | 151.2 | 99.52 | 66.1 | 86.58 | 720.9 | 9999.9 | 9999.9 | 1509 | 14.63 | 9.115 | 7.335 | 6.312 | 5.818 | 5.528 | 5.555 | 5.258 | 5.728 | 5.791 | 5.789 | 7.098 | 7.002 | 7.714 | 8.086 | 9.058 | 9.971 | 11.74 | 12.57 | 15.28 | 17.68
415 | 1149 | 1107 | 1147 | 1234 | 1338 | 1533 | 1815 | 2142 | 2467 | 2760 | 2891 | 2874 | 2683 | 2408 | 2148 | 1943 | 1815 | 1717 | 1672 | 1620 | 1567 | 1470 | 1349 | 1204 | 1044 | 888.3 | 810.5 | 642.1 | 405.2 | 271.7 | 179.3 | 121.4 | 81.06 | 58.42 | 82.36 | 736.2 | 9624 | 9999.9 | 1384 | 14.37 | 9.088 | 7.355 | 6.165 | 5.332 | 5.673 | 5.436 | 5.398 | 5.444 | 5.528 | 6.656 | 6.908 | 7.43 | 7.825 | 8.431 | 9.851 | 11.03 | 12.03 | 13.04 | 14.57
420 | 1078 | 1076 | 1114 | 1139 | 1282 | 1386 | 1602 | 1885 | 2191 | 2452 | 2588 | 2577 | 2471 | 2265 | 2059 | 1907 | 1813 | 1748 | 1736 | 1694 | 1634 | 1561 | 1417 | 1260 | 1112 | 940.4 | 792.4 | 705.6 | 497.5 | 314.6 | 212.5 | 144.1 | 100.5 | 68.4 | 53.06 | 84.21 | 704.3 | 9831 | 9999.9 | 1303 | 14.03 | 9.065 | 6.895 | 6.487 | 5.524 | 5.5 | 5.415 | 5.431 | 5.417 | 6.51 | 7.284 | 7.465 | 7.513 | 8.545 | 9.749 | 9.522 | 11.31 | 12.31 | 13.46
425 | 1043 | 1068 | 1116 | 1139 | 1222 | 1298 | 1444 | 1661 | 1965 | 2198 | 2334 | 2344 | 2268 | 2122 | 1972 | 1867 | 1795 | 1759 | 1758 | 1739 | 1673 | 1602 | 1467 | 1319 | 1148 | 986.4 | 811.7 | 675.2 | 575.9 | 381.4 | 241.5 | 168.5 | 115.7 | 85.23 | 64.56 | 52.37 | 81.92 | 725.7 | 9501 | 9999.9 | 1241 | 12.81 | 8.774 | 7.439 | 6.161 | 5.375 | 5.602 | 5.604 | 5.619 | 6.202 | 7.328 | 7.4 | 7.452 | 7.947 | 9.117 | 9.64 | 10.66 | 11.21 | 12.06
430 | 1006 | 1042 | 1082 | 1109 | 1178 | 1217 | 1318 | 1494 | 1761 | 1987 | 2121 | 2138 | 2081 | 1992 | 1890 | 1813 | 1762 | 1767 | 1762 | 1759 | 1706 | 1628 | 1499 | 1348 | 1177 | 1008 | 832.7 | 671.8 | 553.7 | 460.3 | 286.8 | 189.8 | 139.5 | 103.8 | 77.69 | 61.28 | 50.96 | 82.01 | 696.6 | 8942 | 9999.9 | 1247 | 12.74 | 9.068 | 6.896 | 5.884 | 5.943 | 5.757 | 5.68 | 6.655 | 6.997 | 6.832 | 8.042 | 7.673 | 8.559 | 9.192 | 10.17 | 10.73 | 11.82
435 | 960.6 | 1017 | 1098 | 1097 | 1179 | 1165 | 1217 | 1377 | 1599 | 1794 | 1931 | 1975 | 1946 | 1867 | 1793 | 1756 | 1742 | 1736 | 1755 | 1750 | 1707 | 1627 | 1506 | 1356 | 1193 | 1025 | 856.2 | 685 | 535.7 | 458.8 | 355.6 | 220 | 156.5 | 118.1 | 92.01 | 73.27 | 57.42 | 49.05 | 76.54 | 664.3 | 9150 | 9999.9 | 1136 | 13.06 | 8.788 | 7.364 | 6.454 | 5.868 | 6.155 | 6.583 | 6.989 | 7.401 | 7.215 | 7.585 | 8.423 | 8.881 | 8.742 | 10.54 | 10.9
440 | 951.5 | 992.7 | 1070 | 1084 | 1122 | 1107 | 1145 | 1255 | 1450 | 1643 | 1777 | 1823 | 1816 | 1764 | 1731 | 1689 | 1681 | 1699 | 1711 | 1719 | 1688 | 1609 | 1494 | 1351 | 1186 | 1019 | 855 | 689.5 | 535.1 | 425.4 | 376.8 | 280 | 177.7 | 134.4 | 107.6 | 86.61 | 68.47 | 54.75 | 43.66 | 70.98 | 664.6 | 8756 | 9999.9 | 1190 | 12.34 | 8.717 | 7.454 | 6.26 | 6.23 | 6.447 | 7.327 | 7.385 | 7.619 | 8.216 | 7.987 | 8.938 | 9.617 | 9.555 | 10.35
445 | 889.7 | 948.5 | 1009 | 1073 | 1072 | 1060 | 1076 | 1155 | 1338 | 1467 | 1598 | 1665 | 1671 | 1628 | 1597 | 1598 | 1609 | 1634 | 1659 | 1658 | 1635 | 1556 | 1457 | 1313 | 1162 | 997.2 | 841.5 | 681.1 | 546.7 | 416.6 | 342.6 | 311.5 | 221 | 151.6 | 122.5 | 97.67 | 79.82 | 64.54 | 49.27 | 38.81 | 69.5 | 636.1 | 7924 | 9999.9 | 1022 | 12.61 | 9.189 | 7.915 | 6.775 | 6.874 | 7.188 | 7.693 | 7.374 | 7.764 | 8.546 | 8.65 | 8.989 | 9.07 | 10.02
450 | 1127 | 910.2 | 981 | 1032 | 1029 | 987 | 997.2 | 1057 | 1183 | 1338 | 1451 | 1492 | 1514 | 1493 | 1482 | 1485 | 1500 | 1530 | 1565 | 1580 | 1557 | 1485 | 1390 | 1260 | 1111 | 967.6 | 810.3 | 668.3 | 533.4 | 418.4 | 323.3 | 288.9 | 264.4 | 183.2 | 136.9 | 112.6 | 93.19 | 74.01 | 58.82 | 46.03 | 37.8 | 66.71 | 581.7 | 8504 | 9999.9 | 1045 | 12.28 | 8.376 | 7.296 | 7.098 | 7.05 | 7.401 | 7.489 | 7.573 | 8.236 | 8.529 | 8.311 | 8.824 | 9.184
455 | 2158 | 843.6 | 920 | 983.6 | 977 | 910.1 | 917.5 | 964.6 | 1066 | 1210 | 1306 | 1361 | 1374 | 1355 | 1361 | 1367 | 1383 | 1424 | 1455 | 1469 | 1440 | 1399 | 1314 | 1189 | 1051 | 912.1 | 779.6 | 642.1 | 516.5 | 414.4 | 323.9 | 266.1 | 258.5 | 224.7 | 157.3 | 125.7 | 107.4 | 88 | 71 | 54.86 | 42.27 | 37.06 | 62.06 | 632.9 | 7306 | 9999.9 | 990.5 | 11.45 | 8.337 | 7.677 | 7.39 | 7.789 | 7.536 | 7.864 | 8.061 | 7.844 | 8.4 | 8.296 | 8.249
460 | 3482 | 1064 | 855.8 | 900.2 | 896.1 | 866.7 | 840.4 | 867.7 | 953.1 | 1076 | 1172 | 1220 | 1223 | 1225 | 1227 | 1256 | 1278 | 1313 | 1341 | 1354 | 1344 | 1293 | 1213 | 1106 | 984.2 | 854.4 | 725.8 | 611.4 | 498.8 | 401.4 | 321.9 | 266.4 | 233.4 | 239 | 194.8 | 144.1 | 119.6 | 100.3 | 82.94 | 66.93 | 50.42 | 42.8 | 34.67 | 64.11 | 535.9 | 7023 | 9999.9 | 879.9 | 10.96 | 8.544 | 8.144 | 7.85 | 7.262 | 7.536 | 7.831 | 7.692 | 7.653 | 7.799 | 8.118
465 | 2876 | 2092 | 806.1 | 839.3 | 831 | 800 | 773 | 786 | 864.6 | 968.2 | 1034 | 1084 | 1087 | 1094 | 1108 | 1135 | 1155 | 1187 | 1228 | 1240 | 1231 | 1190 | 1118 | 1019 | 902.2 | 789.7 | 678.9 | 574.3 | 477.8 | 384.5 | 319.9 | 263.6 | 230.2 | 213.4 | 217.5 | 172.3 | 134.9 | 113.3 | 94.41 | 75.52 | 63.2 | 50.38 | 38.93 | 32.27 | 55.7 | 515.2 | 6842 | 9999.9 | 888 | 12.11 | 9.394 | 8.4 | 7.826 | 7.253 | 7.829 | 7.309 | 7.462 | 7.264 | 7.974
470 | 1121 | 3520 | 1008 | 768.8 | 777.9 | 734.6 | 699.7 | 695.9 | 768.9 | 851.3 | 917.4 | 958.2 | 963 | 971.1 | 988.9 | 1008 | 1032 | 1071 | 1099 | 1109 | 1111 | 1075 | 1015 | 932.3 | 825.8 | 720.3 | 632.2 | 531.5 | 450.5 | 370 | 307.9 | 262.8 | 230 | 206.2 | 203 | 196.1 | 154.5 | 122.5 | 105.3 | 88.64 | 72.86 | 58.69 | 46.45 | 36.36 | 30.8 | 54.41 | 496.9 | 6469 | 9128 | 868 | 12.87 | 9.996 | 9.262 | 7.736 | 7.437 | 7.539 | 7.557 | 7.119 | 7.957
475 | 554 | 3106 | 2138 | 704.6 | 691.1 | 679.4 | 652 | 636.8 | 683.4 | 749 | 808.8 | 841.3 | 845.8 | 850.4 | 869.4 | 898.5 | 919.1 | 941.6 | 983.9 | 987.3 | 995.6 | 970.6 | 917.2 | 841.8 | 749.4 | 663.6 | 576.6 | 495.8 | 423.7 | 355.1 | 302.2 | 256.7 | 229.1 | 205.3 | 189.1 | 194.3 | 178.4 | 139 | 116.9 | 98.95 | 83.77 | 69.15 | 56.1 | 43.55 | 35.37 | 30.4 | 54.54 | 481.9 | 5462 | 8237 | 633.4 | 14.24 | 10.6 | 8.99 | 8.161 | 7.946 | 7.321 | 6.584 | 7.715
480 | 466.8 | 1210 | 3565 | 903 | 660.4 | 618.3 | 593.1 | 586.7 | 630.4 | 684.1 | 730.6 | 746.3 | 753.4 | 748.2 | 767.8 | 794 | 815.4 | 846.6 | 871.2 | 891.3 | 892.2 | 870.8 | 828.9 | 763.9 | 684.6 | 603.3 | 534.4 | 466.4 | 401.9 | 344.6 | 298.5 | 260.1 | 230.2 | 208 | 190.8 | 183.8 | 191.5 | 165.2 | 127.6 | 112.2 | 95.62 | 83.52 | 69.62 | 57.14 | 45.84 | 40.13 | 35.07 | 59.59 | 405.3 | 4923 | 7742 | 694.9 | 15.44 | 11.68 | 9.289 | 8.274 | 7.221 | 6.568 | 7.057
485 | 438.3 | 545.1 | 3184 | 1977 | 624.1 | 597.3 | 584 | 571.9 | 610.1 | 643 | 663 | 673.7 | 676.9 | 669.1 | 686.6 | 712.9 | 731.2 | 768.7 | 787.7 | 803.2 | 814.9 | 791 | 755.8 | 700.8 | 635.2 | 565.9 | 508.6 | 449.1 | 397 | 344.1 | 301.9 | 266.6 | 238.9 | 216.8 | 197.3 | 186.1 | 184.4 | 187.7 | 156.7 | 129 | 115.7 | 104 | 89.92 | 77.92 | 66.43 | 57.3 | 49.96 | 46.68 | 62.83 | 392.1 | 5337 | 7732 | 594 | 16.85 | 12.17 | 10.18 | 7.86 | 7.41 | 6.856
490 | 420.1 | 455.9 | 1271 | 3468 | 817.7 | 573 | 574.9 | 572.7 | 588.1 | 623.4 | 632.6 | 629.2 | 607.7 | 606 | 614.7 | 642.5 | 660.1 | 693.4 | 717.3 | 727.5 | 737.6 | 725.7 | 696.2 | 650.4 | 595.5 | 545.5 | 496.8 | 443.5 | 394.5 | 351.8 | 309.4 | 276.6 | 250 | 228 | 210.9 | 200.1 | 187.5 | 196.7 | 188.8 | 160.5 | 141.4 | 132.4 | 121 | 108.4 | 93.82 | 85.53 | 74.9 | 68.29 | 61.76 | 72.79 | 429.3 | 5162 | 7338 | 603.9 | 16.89 | 11.91 | 9.365 | 7.78 | 7.011
495 | 408.9 | 422 | 541.3 | 3276 | 1810 | 562.6 | 582.1 | 587.6 | 593 | 610.7 | 604 | 589.7 | 546.3 | 541.1 | 543.5 | 569.3 | 593.7 | 604.9 | 633.1 | 661.6 | 663.1 | 663 | 639.2 | 610 | 560.7 | 523.8 | 487.8 | 448.3 | 409.9 | 368.6 | 331.3 | 292.6 | 267.2 | 241.3 | 225.6 | 216.3 | 208.9 | 205.9 | 211.6 | 202 | 177.2 | 168.5 | 156.5 | 145.6 | 132.8 | 120.3 | 108.8 | 99.34 | 86.87 | 75.39 | 87.21 | 426.9 | 5324 | 6955 | 586.1 | 15.81 | 10.61 | 8.777 | 8.19
500 | 392.6 | 406.4 | 446.7 | 1306 | 3336 | 787.2 | 579.3 | 607.2 | 623.7 | 612.1 | 589.9 | 546.9 | 497.2 | 478.4 | 480.9 | 502.2 | 518.1 | 549.6 | 565.9 | 591.2 | 601.2 | 602.3 | 591.9 | 564.2 | 533.2 | 504.6 | 480.1 | 452 | 423.3 | 388.4 | 353.6 | 316.2 | 284.7 | 259.2 | 240 | 232.9 | 228.2 | 226.1 | 229.1 | 237 | 223.8 | 206.4 | 198.1 | 188.8 | 173.7 | 159.2 | 145.3 | 134.3 | 118.9 | 99.95 | 85.33 | 88.86 | 435.9 | 4584 | 6797 | 558.6 | 14.33 | 10.33 | 8.618
505 | 351.7 | 385.8 | 393.4 | 499.9 | 3362 | 1721 | 582.3 | 635 | 642.3 | 616.4 | 572.5 | 506.5 | 443.4 | 415.5 | 415.2 | 435.6 | 454.9 | 473.1 | 497.2 | 520.6 | 535.9 | 545.6 | 540.5 | 527.8 | 503.6 | 489.4 | 476.1 | 459.3 | 438.7 | 406.6 | 369.7 | 329.7 | 294.9 | 272 | 254.9 | 246.7 | 245.4 | 245.6 | 246.9 | 251.6 | 263.9 | 251.7 | 237 | 232.1 | 214.7 | 199.4 | 182.2 | 167.9 | 149.3 | 127.5 | 105.4 | 85.1 | 86.22 | 378.5 | 4527 | 6534 | 512.8 | 12.54 | 9.777
510 | 329 | 375.9 | 366.8 | 432.3 | 1399 | 3272 | 805.1 | 646.2 | 644.8 | 612.9 | 548.2 | 473.5 | 399.6 | 362.8 | 362.2 | 372.5 | 394.8 | 411.3 | 431.7 | 455 | 479.3 | 486.9 | 487.9 | 485.4 | 473.9 | 471.7 | 465.7 | 453.6 | 444.2 | 419.1 | 384.3 | 345.2 | 308.4 | 284 | 262.4 | 257.1 | 260.5 | 264.8 | 263 | 267.1 | 284.1 | 288.5 | 271.8 | 258.3 | 245.1 | 227.1 | 212.6 | 196.5 | 174.6 | 147 | 125.3 | 96.29 | 72.16 | 69.88 | 356.9 | 4350 | 5991 | 475.8 | 12.87
515 | 293.9 | 356.6 | 366.5 | 386.6 | 528.2 | 3499 | 1698 | 653 | 654.8 | 598.9 | 534.5 | 436.2 | 358.4 | 315.3 | 310.6 | 322.1 | 343.5 | 358.1 | 380.6 | 404.8 | 422.1 | 438.7 | 448.7 | 448.3 | 446.8 | 446.8 | 451.6 | 450.1 | 446.4 | 420.6 | 386.6 | 343.5 | 310 | 282.7 | 264.1 | 262.6 | 263.9 | 268.9 | 274 | 279.6 | 288.5 | 302.3 | 301.1 | 281.9 | 265.1 | 249.4 | 229.1 | 212 | 189.6 | 161.8 | 134.6 | 103.9 | 77.1 | 54 | 55.4 | 351.2 | 4081 | 5344 | 412.8
520 | 270.6 | 305.3 | 339.4 | 357.4 | 421.3 | 1575 | 3242 | 842.8 | 631 | 583.4 | 501.9 | 403 | 320.2 | 276.9 | 273.4 | 281.3 | 292.3 | 311.5 | 333.4 | 351.6 | 373.6 | 391 | 399.2 | 404.9 | 412.9 | 417.2 | 432.4 | 435.3 | 427.3 | 408.5 | 376.3 | 339.1 | 304.7 | 274.7 | 257.4 | 255.2 | 261.2 | 271.3 | 274.4 | 281.4 | 291.6 | 302.1 | 309.4 | 295.4 | 276.9 | 256.9 | 238.7 | 223.1 | 198.2 | 169.1 | 142.8 | 110.1 | 80.66 | 57.37 | 39.44 | 48.74 | 321.6 | 3585 | 4960
525 | 243.1 | 254.4 | 320.5 | 328.5 | 401.2 | 540.5 | 3513 | 1658 | 592.3 | 539.3 | 460.5 | 363.2 | 278.6 | 233.4 | 234.1 | 237.6 | 255.2 | 267.9 | 290.1 | 304.2 | 326.5 | 344.7 | 357.5 | 372.2 | 377.7 | 387.7 | 398 | 409.8 | 406.1 | 391.3 | 355.5 | 323.8 | 286.1 | 262.5 | 246.4 | 247.2 | 252.1 | 259.9 | 268.6 | 273.1 | 285.1 | 292.7 | 299.2 | 298.3 | 279.9 | 258.9 | 239.8 | 223.9 | 199.4 | 171.5 | 145.3 | 113.2 | 85.34 | 60.61 | 44 | 33.18 | 47.01 | 289.7 | 3351
530 | 222.7 | 241.4 | 282.1 | 309.5 | 359.5 | 422.1 | 1685 | 3115 | 774.2 | 504.7 | 433.2 | 339 | 247.2 | 204.3 | 200.4 | 206.1 | 213.9 | 231.5 | 248.5 | 265.2 | 286.1 | 304 | 316.4 | 331 | 341.4 | 356.9 | 364.5 | 376.7 | 382.7 | 368.4 | 336.9 | 305.4 | 267.3 | 244.1 | 234 | 233 | 237.5 | 246.3 | 255.1 | 261.6 | 270.2 | 281.3 | 282.6 | 287.5 | 278.2 | 255.5 | 230.8 | 216 | 195.8 | 169.5 | 143 | 115.1 | 88.07 | 65.35 | 50.04 | 40.75 | 39.95 | 55.81 | 291.5
535 | 225 | 207 | 241.8 | 310.3 | 323.4 | 389.5 | 567.9 | 3472 | 1533 | 472 | 394.7 | 296.7 | 217.4 | 180.5 | 169.5 | 177.2 | 183.1 | 193.1 | 214.4 | 230.5 | 249.6 | 263.8 | 279.7 | 291.2 | 306.8 | 320.5 | 332.3 | 346 | 350.3 | 336.2 | 310.9 | 278.7 | 251.7 | 226.8 | 215 | 214.9 | 219.4 | 231.2 | 236 | 244.8 | 254.1 | 262.3 | 265.7 | 266.7 | 261.6 | 244.1 | 223.6 | 211.1 | 190 | 163.8 | 141.2 | 116.4 | 92.54 | 71.1 | 56.3 | 50.53 | 50.58 | 55.5 | 76.31
540 | 199.4 | 187 | 200 | 271.4 | 304.9 | 338.3 | 416.5 | 1781 | 2918 | 619.4 | 353.9 | 259.4 | 194.4 | 152.7 | 145.3 | 151.7 | 154.4 | 165 | 178.6 | 195.5 | 212.3 | 228.2 | 247.1 | 259.4 | 270.1 | 286.4 | 301.3 | 314 | 318.1 | 302.8 | 285.1 | 253.2 | 226.9 | 206.9 | 194.2 | 194.9 | 201.6 | 209.5 | 214.9 | 224.9 | 233.5 | 242.7 | 243.1 | 243.5 | 238.3 | 229.6 | 212.2 | 196.4 | 178 | 157.4 | 138.2 | 114.6 | 94.03 | 76.76 | 64.62 | 58.91 | 64.37 | 70.38 | 80.85
545 | 164 | 165.4 | 179.6 | 238.7 | 284.5 | 303.1 | 363.4 | 549.9 | 3313 | 1274 | 313.3 | 234.6 | 165.3 | 130.9 | 121.8 | 127.5 | 130.6 | 140.3 | 149.3 | 164.6 | 182.3 | 194.6 | 210 | 225.5 | 236.9 | 251.9 | 264.2 | 275.6 | 281.5 | 272.8 | 253.4 | 226.7 | 202.9 | 184.1 | 173.8 | 171.1 | 182 | 188.3 | 195.2 | 201.1 | 209.5 | 219.3 | 221.6 | 221.4 | 217 | 212.2 | 198.3 | 180.2 | 167.4 | 145.7 | 131 | 110.2 | 92.19 | 75.7 | 68.56 | 64.81 | 69.96 | 80.33 | 90.16
550 | 150.4 | 140.9 | 158.9 | 193.6 | 258.5 | 275.5 | 327.2 | 376 | 1727 | 2420 | 459.2 | 202.2 | 143 | 113.1 | 104.6 | 102.9 | 109.1 | 116 | 125.7 | 140.2 | 151.3 | 166.1 | 179.2 | 191.9 | 206.1 | 215.7 | 232 | 239.1 | 246.9 | 234.5 | 219.2 | 197.6 | 175.4 | 160.6 | 153.2 | 151.2 | 158.6 | 163.4 | 174.5 | 175.3 | 186.6 | 194.8 | 196.9 | 195.9 | 190.5 | 183.9 | 178.6 | 166.9 | 148 | 132.7 | 117.4 | 102.9 | 87.08 | 75.74 | 65.22 | 63.89 | 71.17 | 81.43 | 91.71
555 | 132.2 | 130.4 | 137.1 | 169.3 | 218.7 | 245.8 | 286 | 320.8 | 452.3 | 2882 | 1040 | 182.7 | 121.6 | 90.77 | 86.04 | 87.62 | 89.6 | 95.85 | 102.5 | 116.3 | 126.9 | 138.9 | 153.5 | 163.1 | 175.2 | 185.1 | 196.9 | 206.9 | 209.2 | 200.4 | 192.8 | 173.1 | 154.1 | 139.8 | 131.3 | 130.9 | 136.8 | 141.4 | 148.7 | 156.6 | 162.1 | 170.4 | 172.1 | 171.4 | 167.3 | 158.1 | 153.8 | 149.6 | 133.3 | 116.7 | 103.3 | 90.61 | 76.21 | 65.5 | 58.51 | 58.05 | 64.14 | 74.47 | 85.28
560 | 121.2 | 106.8 | 111.5 | 139.1 | 175.8 | 228.4 | 247.2 | 279.4 | 288.6 | 1543 | 2287 | 306.5 | 104.5 | 76.27 | 71.48 | 71.17 | 71.77 | 77.32 | 85.19 | 94.44 | 102.3 | 114.1 | 124.8 | 134.1 | 148.5 | 156.9 | 168.1 | 178.2 | 178.9 | 173.6 | 161.9 | 145.5 | 131.8 | 116.1 | 111.9 | 113 | 117 | 121 | 126.4 | 131.2 | 139.9 | 142.5 | 147.9 | 148.6 | 142 | 133.8 | 128.9 | 126.3 | 116 | 101.5 | 89 | 78.29 | 65.75 | 55.98 | 50.81 | 50.67 | 54.38 | 63.87 | 71.78
565 | 118.3 | 94.41 | 91.55 | 114.5 | 140.7 | 208.2 | 221.4 | 240.3 | 251.3 | 341.6 | 2960 | 839.7 | 85.94 | 63.71 | 56.22 | 56.15 | 56.89 | 59.66 | 67.73 | 74.83 | 83.01 | 93.75 | 100.5 | 110.6 | 120 | 127.5 | 136.1 | 144.9 | 148.8 | 142.6 | 133.9 | 121 | 108 | 98.78 | 92.23 | 94.94 | 95.9 | 101.2 | 105.8 | 111 | 116.8 | 119.8 | 124 | 122.6 | 118.9 | 113.1 | 110.2 | 105.2 | 96.17 | 87.77 | 74.15 | 64.63 | 55.56 | 45.91 | 42.12 | 41 | 43.85 | 52.72 | 59.95
570 | 118.2 | 90.47 | 88.94 | 92.1 | 120.6 | 164.3 | 211.8 | 215.8 | 219.2 | 204.4 | 1598 | 1989 | 209.3 | 53.38 | 45.51 | 44.31 | 47.19 | 50.09 | 52.76 | 60.84 | 67.47 | 74.19 | 82.3 | 90.62 | 98.21 | 102 | 111 | 119.1 | 122.5 | 119.5 | 107.7 | 101.2 | 90.57 | 80.46 | 77.07 | 75.73 | 77.4 | 83.27 | 85.77 | 91.05 | 96.68 | 100.5 | 102.9 | 103 | 99.16 | 93.61 | 90.19 | 84.94 | 77.53 | 72.73 | 64.43 | 54.58 | 44.47 | 37.99 | 33.48 | 32.89 | 35.13 | 41.33 | 46.57
575 | 123.1 | 88.08 | 72.75 | 85.47 | 102.1 | 128.8 | 194.2 | 210.9 | 215 | 197.9 | 288.3 | 2725 | 675.2 | 47.73 | 37.51 | 38.01 | 37.95 | 39.85 | 44.03 | 49.07 | 52.08 | 60.32 | 66.57 | 74.02 | 79.8 | 83.78 | 92.22 | 96.86 | 100.2 | 96.81 | 92.4 | 81.33 | 72.68 | 67.17 | 61.45 | 64 | 66.19 | 67.78 | 72.73 | 75.77 | 77.81 | 80.99 | 84.79 | 85.08 | 81.52 | 78.79 | 74.43 | 68.7 | 64.66 | 59.23 | 54.17 | 44.79 | 36.62 | 30.25 | 26.42 | 25.55 | 28.13 | 31.64 | 35.84
580 | 132.4 | 94.23 | 71.52 | 74.84 | 88.19 | 119.3 | 186.4 | 213.1 | 211.6 | 206.7 | 177.7 | 1493 | 1707 | 156.5 | 29.99 | 29.68 | 30.75 | 31.54 | 36.72 | 38.78 | 45.26 | 47.25 | 54.06 | 59.1 | 64.17 | 69.18 | 74.27 | 79.33 | 82.68 | 79.86 | 73.32 | 66.47 | 58.9 | 54.21 | 51.42 | 51.45 | 55.2 | 56.88 | 60.7 | 60.74 | 64.07 | 66.42 | 68.39 | 69.33 | 67.34 | 63.24 | 59.11 | 56.55 | 53.3 | 47.35 | 43.38 | 37.41 | 29.81 | 25.34 | 21.58 | 20.24 | 21.77 | 23.58 | 28.49
585 | 139.7 | 89.13 | 69.15 | 63.71 | 82.97 | 106.4 | 152.3 | 216.2 | 218.9 | 212.8 | 179.9 | 236.7 | 2389 | 594.4 | 27.64 | 24.98 | 24.5 | 26.56 | 27.12 | 32.28 | 35.87 | 39.1 | 42.21 | 47.22 | 52.15 | 57.02 | 62.25 | 65.58 | 66.2 | 64.82 | 60.64 | 56.04 | 49 | 45.12 | 41.83 | 42.53 | 44.23 | 47.03 | 48.24 | 51.14 | 52.72 | 55.39 | 55.54 | 56.07 | 55.03 | 51.89 | 50.47 | 47.38 | 43.83 | 38.86 | 35.24 | 31.31 | 25.03 | 19.14 | 17.8 | 17.32 | 17.8 | 19.86 | 22.13
590 | 143.5 | 98.35 | 68.56 | 65.98 | 75.9 | 96.45 | 140.1 | 212.1 | 228.1 | 223.6 | 184.7 | 128.6 | 1226 | 1632 | 116.9 | 20.85 | 21.85 | 22.46 | 22.62 | 25.51 | 27.9 | 32.85 | 35.25 | 38.58 | 41.81 | 46.22 | 48.88 | 51.24 | 55.18 | 53.59 | 49.45 | 45.51 | 40.51 | 36.67 | 34.31 | 34.81 | 36.17 | 37.29 | 38.89 | 40.68 | 44.07 | 45.16 | 46.13 | 45.96 | 45.39 | 43.61 | 41.54 | 38.77 | 35.79 | 31.53 | 28.09 | 25.07 | 21.99 | 16.86 | 14.09 | 13.76 | 14.14 | 15.98 | 18.31
595 | 171.9 | 98.73 | 62.91 | 61.36 | 77.11 | 100.1 | 138.6 | 204 | 252.2 | 232.6 | 193.5 | 119.4 | 164.1 | 2207 | 490.2 | 18.68 | 17.51 | 18.42 | 18.96 | 21.87 | 22.79 | 25.76 | 29.56 | 32.14 | 35.05 | 36.84 | 40.6 | 42.31 | 45.56 | 44.54 | 42.14 | 36.68 | 34.27 | 30.43 | 28.78 | 28.14 | 31 | 31.07 | 31.95 | 34.58 | 36.01 | 36.6 | 38.51 | 38.18 | 36.97 | 35.03 | 33.99 | 31.52 | 29.31 | 26.45 | 23.67 | 19.7 | 17.84 | 14.95 | 12.35 | 10.87 | 11.09 | 12.95 | 15.78
600 | 162 | 103.6 | 75.13 | 66.94 | 69.94 | 97.96 | 134.5 | 191.8 | 261.1 | 245 | 199.9 | 125.9 | 62.28 | 1136 | 1394 | 89.64 | 16.01 | 15.81 | 17.27 | 18.02 | 19.61 | 21.76 | 23.52 | 26.69 | 29.08 | 32.59 | 34.84 | 36.86 | 37.42 | 37.24 | 33.26 | 31.11 | 28.38 | 24.34 | 24.69 | 24.28 | 25 | 26.36 | 26.89 | 28.72 | 29.72 | 30.95 | 31.2 | 31.29 | 30.7 | 28.7 | 28.08 | 26.3 | 24.68 | 22.11 | 19.34 | 16.49 | 14.61 | 12.94 | 10.87 | 9.97 | 10.2 | 10.38 | 12.88