## Sheet1
Report date: | 18:53:35, 09/02/2024
Sample: | 1
File name:
Run date: | 18:43:08, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 235.0/510.0 | 388.2
2 | 240.0/525.0 | 340
3 | 250.0/275.0 | 405.4
4 | 255.0/280.0 | 475.6
5 | 265.0/585.0 | 236.6
6 | 275.0/305.0 | 2684
7 | 275.0/345.0 | 3158
8 | 280.0/315.0 | 2743
9 | 310.0/425.0 | 1358
10 | 315.0/355.0 | 532.7
11 | 315.0/430.0 | 1361
12 | 320.0/360.0 | 485.9
13 | 325.0/370.0 | 477.5
14 | 330.0/375.0 | 521.9
15 | 365.0/510.0 | 348.2
16 | 395.0/280.0 | 5.448
17 | 395.0/460.0 | 185.8
18 | 400.0/465.0 | 169.6
19 | 405.0/470.0 | 151.3
20 | 410.0/480.0 | 136.3
21 | 435.0/515.0 | 247
22 | 440.0/520.0 | 253.4
23 | 445.0/525.0 | 245
24 | 455.0/335.0 | 8.462
25 | 460.0/310.0 | 8.391
26 | 510.0/280.0 | 6.428
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 64.82 | 38.8 | 70.45 | 340.3 | 207.1 | 52.01 | 188.7 | 9999.9 | 9999.9 | 4674 | 36.13 | 18.65 | 12.59 | 10.64 | 7.761 | 7.269 | 6.181 | 6.056 | 5.674 | 4.48 | 5.323 | 4.836 | 4.589 | 4.737 | 4.742 | 4.186 | 4.198 | 4.824 | 4.478 | 5.016 | 5.289 | 5.1 | 5.268 | 4.64 | 3.803 | 3.815 | 3.967 | 4.454 | 3.844 | 3.251 | 3.146 | 3.286 | 3.017 | 2.812 | 2.933 | 2.558 | 2.342 | 2.088 | 1.924 | 1.87 | 2.048 | 2.677 | 4.317 | 5.054 | 3.252 | 2.24 | 2.189 | 2.189 | 2.444
275 | 91.98 | 47.66 | 37.97 | 130.6 | 405.4 | 183.2 | 96.01 | 835.5 | 9999.9 | 9999.9 | 4325 | 36.12 | 15.38 | 12.61 | 9.721 | 8.261 | 6.337 | 6.938 | 5.878 | 5.21 | 4.7 | 5.006 | 4.738 | 4.692 | 4.188 | 4.13 | 4.498 | 4.503 | 3.963 | 4.222 | 4.778 | 4.737 | 5.504 | 5.052 | 4.3 | 3.872 | 3.803 | 4.27 | 3.835 | 4.071 | 3.457 | 3.435 | 3.487 | 3.339 | 3.198 | 3.01 | 2.416 | 2.088 | 1.954 | 2.015 | 2.006 | 2.036 | 2.153 | 3.688 | 5.592 | 4.67 | 2.751 | 2.256 | 2.537
280 | 142.4 | 63.76 | 50.58 | 67.71 | 229.4 | 475.6 | 197.2 | 202.5 | 881.4 | 9999.9 | 9999.9 | 4087 | 33.48 | 17.1 | 11.81 | 9.535 | 7.242 | 7.01 | 6.642 | 5.614 | 5.263 | 5.414 | 4.646 | 4.652 | 4.649 | 4.27 | 5.061 | 4.447 | 4.33 | 4.382 | 3.972 | 4.472 | 5.036 | 5.448 | 4.715 | 4.348 | 3.746 | 4.167 | 3.848 | 4.218 | 4.038 | 3.543 | 3.886 | 3.525 | 3.403 | 2.975 | 2.806 | 2.41 | 2.176 | 2.144 | 1.862 | 2.051 | 2.038 | 2.083 | 3.014 | 5.127 | 6.428 | 4.872 | 3.134
285 | 359.3 | 137.5 | 87.65 | 78.85 | 120.5 | 418.3 | 579.7 | 338.7 | 385.8 | 1053 | 9999.9 | 9999.9 | 3735 | 34.7 | 14.93 | 11.21 | 9.294 | 8.035 | 6.803 | 6.23 | 6.11 | 5.373 | 4.943 | 5.167 | 5.017 | 4.143 | 4.728 | 4.83 | 4.924 | 4.679 | 4.347 | 4.302 | 4.27 | 4.872 | 5.068 | 4.717 | 4.521 | 3.921 | 4.155 | 4.069 | 4.272 | 4.256 | 3.792 | 4.147 | 3.755 | 3.889 | 3.108 | 3.047 | 2.641 | 2.356 | 2.47 | 2.509 | 2.511 | 2.479 | 2.515 | 2.833 | 4.383 | 7.246 | 7.443
290 | 717.6 | 348.3 | 188 | 138.4 | 166.7 | 286.1 | 746.4 | 881.6 | 748.5 | 804.3 | 1347 | 9999.9 | 9999.9 | 3401 | 28.65 | 15.3 | 11.46 | 8.662 | 7.922 | 6.779 | 6.247 | 5.817 | 5.805 | 5.528 | 5.297 | 4.544 | 4.742 | 4.888 | 4.893 | 4.446 | 4.33 | 4.333 | 4.576 | 4.478 | 4.872 | 4.925 | 4.933 | 4.311 | 3.918 | 4.101 | 4.199 | 4.424 | 4.483 | 4.969 | 4.664 | 4.644 | 4.24 | 3.617 | 3.211 | 3.158 | 2.748 | 2.676 | 2.489 | 2.44 | 2.968 | 3.162 | 3.829 | 4.773 | 7.434
295 | 1197 | 635.4 | 358.7 | 239.4 | 264.1 | 398.3 | 662.4 | 1341 | 1436 | 1335 | 1188 | 1398 | 9999.9 | 9999.9 | 3149 | 27.04 | 15.16 | 12.03 | 9.547 | 8.337 | 7.657 | 7.144 | 6.407 | 4.964 | 4.994 | 4.726 | 5.488 | 4.269 | 4.96 | 4.305 | 4.325 | 4.696 | 4.874 | 4.407 | 4.45 | 4.881 | 5.027 | 4.947 | 4.501 | 4.198 | 4.046 | 4.845 | 5.314 | 5.621 | 5.839 | 5.683 | 5.044 | 4.748 | 4.089 | 4.104 | 3.842 | 3.119 | 3.096 | 3.465 | 3.957 | 4.022 | 4.505 | 5.263 | 6.672
300 | 1558 | 905.1 | 504.7 | 357.6 | 407 | 534.1 | 831.5 | 1324 | 2137 | 2009 | 1628 | 1069 | 1107 | 9999.9 | 9999.9 | 2907 | 25.97 | 14.88 | 12.3 | 9.265 | 8.152 | 7.596 | 6.885 | 5.985 | 6.034 | 5.123 | 5.274 | 5.256 | 5.014 | 4.719 | 5.107 | 4.392 | 4.809 | 4.205 | 4.116 | 4.213 | 5.013 | 5.04 | 4.821 | 4.35 | 4.833 | 4.938 | 5.587 | 6.278 | 6.444 | 6.934 | 6.63 | 5.706 | 4.957 | 4.905 | 4.752 | 4.142 | 3.838 | 3.595 | 4.388 | 4.87 | 6.077 | 6.919 | 8.164
305 | 1904 | 1111 | 691.3 | 499.8 | 508.1 | 674.4 | 1001 | 1481 | 2108 | 2684 | 2088 | 1323 | 598.3 | 926.1 | 9999.9 | 9999.9 | 2648 | 25.19 | 14.93 | 12.69 | 9.518 | 8.467 | 6.914 | 6.177 | 5.841 | 6.416 | 5.921 | 5.366 | 5.223 | 4.975 | 4.244 | 4.215 | 4.804 | 4.117 | 4.411 | 4.342 | 4.571 | 4.217 | 4.824 | 5.051 | 4.925 | 4.827 | 5.625 | 6.31 | 7.03 | 7.344 | 7.877 | 6.534 | 5.785 | 5.56 | 5.085 | 4.997 | 4.654 | 4.739 | 5.19 | 5.481 | 6.438 | 8.269 | 9.251
310 | 1989 | 1256 | 796.7 | 630.7 | 640.6 | 840.3 | 1178 | 1647 | 2169 | 2682 | 2668 | 1614 | 752.5 | 349.1 | 830.3 | 9999.9 | 9999.9 | 2656 | 24.01 | 15.21 | 12.58 | 9.838 | 8.38 | 7.504 | 6.176 | 6.411 | 6.028 | 5.651 | 5.245 | 5.277 | 4.549 | 4.697 | 4.622 | 4.71 | 4.044 | 3.91 | 4.72 | 4.298 | 4.302 | 4.931 | 5.258 | 5.194 | 5.564 | 6.356 | 7.282 | 7.307 | 8.391 | 6.988 | 6.693 | 6.395 | 5.813 | 5.792 | 5.609 | 5.08 | 6.173 | 6.818 | 8.286 | 8.761 | 10.75
315 | 2034 | 1337 | 904.8 | 761.5 | 795.3 | 1017 | 1350 | 1804 | 2292 | 2629 | 2743 | 2083 | 971.2 | 423.7 | 234 | 811.5 | 9999.9 | 9999.9 | 2508 | 24.12 | 15.66 | 11.89 | 10.2 | 8.875 | 7.34 | 6.969 | 6.391 | 6.12 | 5.833 | 4.926 | 4.787 | 4.759 | 4.388 | 4.515 | 4.262 | 4.006 | 4.13 | 4.23 | 4.294 | 4.743 | 5.4 | 5.591 | 5.722 | 6.026 | 7.068 | 7.85 | 8.159 | 7.28 | 6.944 | 6.649 | 6.566 | 6.157 | 5.821 | 5.866 | 7.16 | 7.823 | 8.795 | 10.11 | 12.26
320 | 2080 | 1373 | 984.1 | 865.4 | 940 | 1198 | 1541 | 1977 | 2418 | 2706 | 2630 | 2312 | 1385 | 582.5 | 284.2 | 197.9 | 795.6 | 9999.9 | 9999.9 | 2518 | 24.68 | 15.94 | 12.52 | 9.326 | 8.39 | 7.594 | 7.364 | 6.992 | 6.442 | 5.083 | 5.221 | 4.868 | 4.706 | 4.719 | 3.957 | 3.96 | 4.315 | 4.404 | 4.195 | 4.407 | 5.139 | 5.853 | 5.951 | 6.594 | 7.059 | 7.988 | 8.254 | 7.82 | 6.872 | 6.506 | 7.415 | 6.689 | 6.389 | 7.03 | 7.694 | 8.856 | 9.96 | 11.33 | 13.72
325 | 2104 | 1348 | 1032 | 956.8 | 1070 | 1341 | 1719 | 2141 | 2536 | 2819 | 2723 | 2221 | 1743 | 890.8 | 386.7 | 214.9 | 171.2 | 785.8 | 9999.9 | 9999.9 | 2539 | 25.35 | 15.82 | 11.85 | 10.15 | 7.869 | 7.595 | 7.027 | 6.328 | 5.798 | 5.83 | 5.133 | 4.689 | 4.874 | 4.2 | 4.373 | 4.283 | 3.996 | 4.248 | 3.981 | 4.145 | 5.36 | 6.241 | 7.061 | 6.704 | 7.867 | 7.614 | 7.342 | 7.006 | 6.973 | 7.052 | 6.843 | 6.788 | 7.875 | 8.669 | 10.37 | 11.56 | 12.73 | 14.79
330 | 2080 | 1404 | 1085 | 1028 | 1184 | 1497 | 1892 | 2310 | 2716 | 2931 | 2843 | 2298 | 1651 | 1240 | 572.4 | 280.6 | 170.5 | 139.2 | 764.6 | 9999.9 | 9999.9 | 2561 | 24.65 | 15.7 | 12.64 | 10.25 | 8.211 | 7.495 | 6.948 | 6.188 | 5.842 | 4.908 | 5.223 | 5.063 | 4.504 | 4.136 | 4.216 | 3.911 | 4.225 | 3.895 | 4.599 | 5.248 | 6.257 | 6.58 | 7.323 | 7.669 | 7.896 | 6.699 | 6.689 | 7.443 | 7.508 | 7.019 | 7.412 | 8.164 | 9.236 | 10.84 | 11.94 | 13.4 | 16
335 | 2078 | 1352 | 1077 | 1065 | 1274 | 1599 | 2023 | 2461 | 2883 | 3036 | 2943 | 2474 | 1772 | 1175 | 899.2 | 396.1 | 203.8 | 119.5 | 114.1 | 762.7 | 9999.9 | 9999.9 | 2680 | 25.27 | 16.3 | 13.34 | 10.21 | 8.77 | 7.455 | 7.367 | 5.954 | 5.816 | 5.088 | 4.947 | 4.662 | 4.477 | 4.484 | 4.166 | 3.926 | 3.895 | 4.657 | 4.872 | 5.913 | 6.538 | 7.346 | 8.462 | 7.736 | 7.093 | 6.634 | 7.118 | 7.481 | 7.921 | 8.215 | 8.103 | 10.29 | 10.85 | 13.22 | 15.32 | 18.24
340 | 2018 | 1333 | 1101 | 1107 | 1346 | 1687 | 2135 | 2556 | 2944 | 3121 | 3059 | 2594 | 1907 | 1163 | 877.6 | 671.8 | 278.5 | 149.3 | 94.54 | 106.7 | 774.9 | 9999.9 | 9999.9 | 2797 | 25.51 | 16.91 | 13.81 | 11.3 | 8.817 | 7.767 | 6.756 | 5.776 | 5.025 | 4.82 | 5.029 | 4.522 | 4.793 | 4.175 | 3.95 | 4.323 | 4.707 | 5.205 | 5.599 | 6.451 | 7.051 | 8.098 | 7.832 | 7.055 | 6.785 | 6.517 | 7.463 | 7.594 | 8.208 | 9.031 | 9.827 | 11.89 | 13.25 | 15.13 | 18.11
345 | 1882 | 1302 | 1050 | 1107 | 1335 | 1730 | 2135 | 2611 | 2964 | 3158 | 3077 | 2643 | 1995 | 1239 | 777.2 | 698.2 | 492.2 | 193.1 | 120.4 | 87.5 | 108.9 | 777.7 | 9999.9 | 9999.9 | 2902 | 27.2 | 17.43 | 14.46 | 11.79 | 8.023 | 7.432 | 6.318 | 5.596 | 5.232 | 5.239 | 4.371 | 4.541 | 4.16 | 4.251 | 4.441 | 4.776 | 4.647 | 5.63 | 6.584 | 7.048 | 7.908 | 7.157 | 7.414 | 6.618 | 6.867 | 7.43 | 7.337 | 7.74 | 9.085 | 10.15 | 11.72 | 13.44 | 16.38 | 17.74
350 | 1911 | 1248 | 1028 | 1088 | 1318 | 1724 | 2142 | 2588 | 2948 | 3123 | 3056 | 2653 | 2030 | 1282 | 810.5 | 562.2 | 596.2 | 364 | 161.2 | 112.9 | 89.41 | 112.6 | 768.8 | 9999.9 | 9999.9 | 3074 | 27.72 | 17.89 | 14.11 | 10.44 | 8.41 | 7.04 | 6.162 | 5.285 | 5.008 | 4.985 | 4.371 | 4.442 | 4.158 | 4.514 | 4.485 | 5.018 | 5.937 | 6.222 | 6.565 | 7.079 | 7.23 | 6.87 | 6.309 | 6.875 | 7.401 | 7.245 | 7.691 | 9.002 | 10.22 | 11.33 | 13.02 | 15.49 | 17.26
355 | 1821 | 1185 | 979.5 | 1041 | 1296 | 1652 | 2075 | 2544 | 2860 | 3022 | 2974 | 2609 | 2026 | 1312 | 848.4 | 571.5 | 467.5 | 532.7 | 285.2 | 154.5 | 116.3 | 92.01 | 112 | 791 | 9999.9 | 9999.9 | 3150 | 28.79 | 18.52 | 14.52 | 9.993 | 8.538 | 6.435 | 5.754 | 5.341 | 4.981 | 4.277 | 4.6 | 4.558 | 4.554 | 4.343 | 5.267 | 5.557 | 6.107 | 6.631 | 6.874 | 7.158 | 6.59 | 6.13 | 7.069 | 6.883 | 7.163 | 7.92 | 8.257 | 10.5 | 11.35 | 12.62 | 14.43 | 17.09
360 | 1712 | 1136 | 929.1 | 995.1 | 1234 | 1578 | 1994 | 2418 | 2749 | 2883 | 2824 | 2507 | 1989 | 1328 | 866.6 | 603.1 | 446 | 431.1 | 485.9 | 247.8 | 158.4 | 118.9 | 95.07 | 115.9 | 773 | 9999.9 | 9999.9 | 3384 | 28.73 | 17.95 | 13.86 | 10.45 | 7.786 | 6.352 | 5.866 | 5.665 | 4.816 | 4.751 | 4.72 | 4.493 | 4.463 | 5.087 | 5.304 | 6.253 | 6.504 | 7.696 | 6.64 | 5.942 | 5.674 | 6.664 | 6.868 | 7.045 | 7.493 | 8.205 | 9.409 | 11.17 | 12.91 | 14.37 | 17.29
365 | 1590 | 1075 | 889.6 | 943.2 | 1170 | 1486 | 1889 | 2280 | 2557 | 2701 | 2685 | 2396 | 1907 | 1305 | 883.3 | 634.8 | 485.9 | 396.5 | 447.8 | 446.3 | 228.5 | 161.8 | 120.8 | 93.9 | 116 | 801.6 | 9999.9 | 9999.9 | 3349 | 28.5 | 18.54 | 13.47 | 10.45 | 7.522 | 6.313 | 5.811 | 5.347 | 4.624 | 4.509 | 4.491 | 4.845 | 4.906 | 5.326 | 6.14 | 6.226 | 6.659 | 6.677 | 5.832 | 5.186 | 6.385 | 6.219 | 6.992 | 7.265 | 7.636 | 8.525 | 10.6 | 12.2 | 14.46 | 15.56
370 | 1529 | 966 | 844.6 | 907.4 | 1120 | 1383 | 1756 | 2094 | 2375 | 2492 | 2496 | 2249 | 1809 | 1266 | 888.1 | 665.5 | 534 | 442.7 | 391.1 | 477.5 | 410.6 | 224.6 | 161.6 | 125.4 | 99.37 | 117.9 | 810.2 | 9999.9 | 9999.9 | 3232 | 28.19 | 17.05 | 12.93 | 9.047 | 6.882 | 6.235 | 5.59 | 4.955 | 4.967 | 5.002 | 4.951 | 5.27 | 5.156 | 6.267 | 5.552 | 6.395 | 5.859 | 5.498 | 5.284 | 5.681 | 5.69 | 6.767 | 7.262 | 7.486 | 8.689 | 9.948 | 11.09 | 13.39 | 15.35
375 | 1412 | 935.3 | 811.3 | 871.1 | 1033 | 1299 | 1606 | 1907 | 2194 | 2319 | 2303 | 2073 | 1735 | 1231 | 914.2 | 716.5 | 591 | 504.4 | 447.1 | 425.6 | 521.9 | 378.1 | 226 | 172.8 | 136.8 | 103.5 | 125.8 | 832.3 | 9999.9 | 9999.9 | 3180 | 25.53 | 16.09 | 11.96 | 9.4 | 6.945 | 6.108 | 5.2 | 4.718 | 4.794 | 4.686 | 4.959 | 5.322 | 5.6 | 5.92 | 6.061 | 5.774 | 5.311 | 4.912 | 5.624 | 5.908 | 6.602 | 7.402 | 7.367 | 8.346 | 8.516 | 10.56 | 12.37 | 13.83
380 | 1291 | 892.3 | 799.7 | 828.4 | 961.3 | 1176 | 1472 | 1726 | 1964 | 2102 | 2138 | 1935 | 1647 | 1224 | 927.1 | 764.7 | 657.2 | 585.3 | 531.4 | 474.2 | 478.7 | 546 | 359.6 | 242.4 | 189.6 | 144 | 112.5 | 130.4 | 830.1 | 9999.9 | 9999.9 | 2986 | 24.7 | 14.61 | 11.06 | 8.668 | 6.719 | 5.958 | 5.308 | 5.635 | 5.305 | 5.099 | 5.2 | 5.864 | 5.269 | 6.113 | 5.8 | 5.223 | 4.808 | 5.192 | 6.195 | 5.992 | 6.421 | 6.507 | 7.838 | 8.542 | 9.513 | 10.87 | 12.28
385 | 1211 | 871.1 | 794.8 | 792 | 913.7 | 1090 | 1316 | 1564 | 1793 | 1917 | 1929 | 1824 | 1564 | 1218 | 979.7 | 829.6 | 741.3 | 678.7 | 625.9 | 577.3 | 523.4 | 540.4 | 553.8 | 355.5 | 264.7 | 201.8 | 155.9 | 114.1 | 124.4 | 839.9 | 9999.9 | 9999.9 | 2895 | 23.71 | 14.98 | 9.812 | 8.86 | 6.186 | 5.386 | 5.302 | 5.288 | 5.19 | 4.782 | 5.551 | 5.611 | 5.882 | 5.876 | 5.173 | 5.002 | 5.393 | 5.798 | 5.78 | 6.066 | 6.621 | 8.414 | 8.285 | 9.505 | 10.27 | 11.51
390 | 1186 | 866.9 | 765.8 | 758.5 | 854.3 | 1003 | 1187 | 1411 | 1634 | 1747 | 1780 | 1712 | 1525 | 1234 | 1029 | 914.3 | 839.6 | 788.4 | 741.9 | 688.4 | 635.8 | 580.5 | 601.1 | 552.3 | 364.6 | 275.9 | 209.1 | 150.2 | 102.8 | 114.5 | 796.1 | 9999.9 | 9999.9 | 2809 | 22.41 | 13.85 | 10.58 | 8.165 | 5.873 | 5.639 | 5.346 | 5.319 | 5.207 | 5.759 | 5.323 | 5.919 | 5.768 | 5.246 | 5.059 | 5.253 | 5.367 | 5.807 | 5.958 | 6.719 | 7.077 | 8.119 | 9.395 | 9.743 | 10.72
395 | 1103 | 854.9 | 773.9 | 754.6 | 820.7 | 952.5 | 1108 | 1284 | 1456 | 1615 | 1688 | 1642 | 1497 | 1258 | 1107 | 994.9 | 944.7 | 906.8 | 871.9 | 816.5 | 751 | 673.8 | 614.7 | 633 | 528.7 | 356.2 | 266.5 | 192.6 | 127.5 | 83.09 | 102.8 | 822.3 | 9999.9 | 9999.9 | 2579 | 19.6 | 13.49 | 10.06 | 7.563 | 6.371 | 5.217 | 5.389 | 5.461 | 5.25 | 5.43 | 5.859 | 5.414 | 5.247 | 5.047 | 5.256 | 5.527 | 5.859 | 5.681 | 6.442 | 7.055 | 7.914 | 8.437 | 9.824 | 9.919
400 | 1097 | 854.1 | 767.4 | 759.8 | 806.2 | 889.2 | 1006 | 1195 | 1344 | 1501 | 1581 | 1565 | 1481 | 1298 | 1163 | 1093 | 1059 | 1021 | 992.7 | 935.7 | 865.6 | 787.1 | 698.7 | 631.7 | 651.4 | 487.1 | 331.6 | 239.1 | 159.2 | 99.43 | 68.53 | 94.92 | 782.3 | 9999.9 | 9999.9 | 2332 | 21.06 | 12.84 | 9.425 | 7.613 | 5.914 | 5.891 | 5.869 | 5.21 | 5.579 | 5.436 | 5.318 | 5.132 | 5.307 | 5.2 | 5.88 | 5.752 | 6.445 | 6.602 | 6.52 | 7.272 | 8.287 | 9.397 | 9.328
405 | 1066 | 860.8 | 769.3 | 765.7 | 787.7 | 826.5 | 930.2 | 1083 | 1238 | 1393 | 1485 | 1520 | 1474 | 1344 | 1246 | 1183 | 1166 | 1141 | 1105 | 1054 | 979.8 | 889.3 | 787 | 685.8 | 636.3 | 622.1 | 424.9 | 286.4 | 192.4 | 122.5 | 79.54 | 54.79 | 87.24 | 753.6 | 9999.9 | 9999.9 | 2384 | 19.04 | 11.96 | 9.604 | 7.132 | 6.457 | 6.062 | 5.955 | 5.475 | 5.103 | 5.442 | 5.046 | 5.266 | 5.088 | 5.651 | 5.835 | 6.149 | 6.431 | 6.684 | 7.385 | 7.238 | 8.609 | 9.005
410 | 1035 | 856.4 | 788.3 | 774.7 | 787.2 | 824.6 | 895.8 | 1011 | 1143 | 1306 | 1431 | 1478 | 1459 | 1362 | 1290 | 1257 | 1243 | 1225 | 1198 | 1146 | 1075 | 972.5 | 871.8 | 750.2 | 646 | 613.5 | 550.2 | 344.5 | 220.5 | 144.7 | 93.26 | 62.29 | 47.45 | 80.75 | 754.1 | 9999.9 | 9999.9 | 2150 | 18.15 | 11.65 | 8.824 | 7.637 | 6.218 | 5.294 | 5.742 | 6.035 | 5.512 | 5.024 | 5.254 | 5.566 | 5.527 | 5.398 | 6.279 | 6.092 | 6.436 | 6.878 | 7.815 | 7.886 | 8.419
415 | 1016 | 845.9 | 814.3 | 782.4 | 797.6 | 791.4 | 816.6 | 927.8 | 1076 | 1233 | 1358 | 1416 | 1425 | 1370 | 1323 | 1302 | 1312 | 1301 | 1276 | 1222 | 1137 | 1035 | 925 | 806.4 | 692.8 | 592.6 | 563.3 | 445.6 | 257.9 | 165.3 | 113.1 | 77.4 | 53.59 | 43.05 | 79.14 | 765.5 | 9999.9 | 9999.9 | 1986 | 17.41 | 10.82 | 8.736 | 7.056 | 5.902 | 5.712 | 5.472 | 5.567 | 5.213 | 5.487 | 5.834 | 5.856 | 6.024 | 5.837 | 6.047 | 6.477 | 7.115 | 7.214 | 7.702 | 8.157
420 | 975.9 | 871.1 | 824.4 | 775.4 | 790 | 762.4 | 780 | 870.9 | 1006 | 1157 | 1278 | 1366 | 1382 | 1353 | 1334 | 1337 | 1341 | 1335 | 1317 | 1268 | 1180 | 1079 | 958.6 | 833 | 720.9 | 606.5 | 516 | 482.8 | 336.7 | 191.2 | 128.9 | 87.8 | 66.19 | 49.78 | 42.01 | 78.22 | 768 | 9999.9 | 9999.9 | 1802 | 16.97 | 11.22 | 8.646 | 6.865 | 6.412 | 5.824 | 5.622 | 5.151 | 5.257 | 5.948 | 5.846 | 5.942 | 6.112 | 6.977 | 6.587 | 7.122 | 7.251 | 7.764 | 8.121
425 | 944.6 | 855.6 | 834.2 | 778.4 | 774.7 | 754.1 | 747.4 | 831.1 | 930.1 | 1092 | 1201 | 1302 | 1341 | 1333 | 1322 | 1337 | 1358 | 1348 | 1328 | 1291 | 1203 | 1102 | 984.8 | 864 | 741.7 | 621.9 | 514.8 | 438.2 | 396.3 | 242.3 | 147.7 | 105.5 | 78.53 | 62.04 | 48.54 | 40.25 | 78.6 | 772.9 | 9999.9 | 9999.9 | 1694 | 16.27 | 10.44 | 8.515 | 6.891 | 5.936 | 6.021 | 5.205 | 5.7 | 5.825 | 5.814 | 6.016 | 6.167 | 6.737 | 6.648 | 7.307 | 6.805 | 7.345 | 7.685
430 | 892.8 | 852 | 828.9 | 801.2 | 771 | 735.5 | 724 | 782.6 | 894.2 | 1024 | 1166 | 1235 | 1289 | 1295 | 1311 | 1332 | 1346 | 1361 | 1342 | 1292 | 1225 | 1118 | 994.1 | 871.1 | 758.7 | 637 | 522.9 | 420.8 | 366.4 | 314.3 | 187.7 | 122.4 | 93.52 | 75.04 | 59.3 | 45.68 | 40.51 | 77.28 | 743.2 | 9999.9 | 9999.9 | 1695 | 15.23 | 10.14 | 7.981 | 7.282 | 6.189 | 5.529 | 5.389 | 6.082 | 6.012 | 6.353 | 6.193 | 5.957 | 6.537 | 6.991 | 7.033 | 6.878 | 7.577
435 | 871.7 | 855.2 | 840.6 | 792.9 | 787.1 | 716.8 | 706.9 | 747.1 | 848.7 | 977.3 | 1102 | 1173 | 1234 | 1261 | 1275 | 1310 | 1332 | 1335 | 1324 | 1286 | 1214 | 1115 | 1004 | 872.4 | 759.6 | 643.8 | 531 | 427.6 | 335 | 310.9 | 251.7 | 148.3 | 108.2 | 87.5 | 71.33 | 57.6 | 44.39 | 38.79 | 73.28 | 757.4 | 9999.9 | 9999.9 | 1592 | 15.11 | 9.537 | 8.202 | 6.714 | 5.655 | 5.838 | 6.086 | 6.167 | 6.434 | 6.503 | 6.332 | 6.297 | 7.054 | 6.94 | 7.047 | 7.268
440 | 837.2 | 830.1 | 824.3 | 807.8 | 780.4 | 726 | 683.1 | 720.6 | 791.6 | 911.4 | 1028 | 1122 | 1182 | 1207 | 1223 | 1263 | 1293 | 1305 | 1295 | 1258 | 1187 | 1096 | 980.3 | 867.7 | 754.9 | 642.9 | 534.5 | 432.8 | 335.4 | 273.3 | 268.6 | 202.6 | 130.6 | 102.1 | 82.94 | 66.41 | 54.14 | 41.38 | 35.33 | 72.11 | 742 | 9999.9 | 9999.9 | 1561 | 14.82 | 10.62 | 7.904 | 6.963 | 5.857 | 6.038 | 6.031 | 6.434 | 6.189 | 6.508 | 6.673 | 7.015 | 6.597 | 6.92 | 6.893
445 | 853.5 | 801.2 | 813.8 | 798 | 753.2 | 708.3 | 660 | 674.5 | 751.7 | 864.2 | 951.2 | 1056 | 1116 | 1131 | 1171 | 1208 | 1238 | 1250 | 1239 | 1210 | 1148 | 1050 | 949.3 | 843.1 | 730.2 | 629.7 | 532.5 | 433.2 | 341.9 | 271.8 | 235 | 241.8 | 168.1 | 115.1 | 95.35 | 77.39 | 60.87 | 48.26 | 37.43 | 32 | 69.61 | 737.2 | 9999.9 | 9999.9 | 1373 | 14.37 | 9.879 | 7.838 | 6.879 | 6.026 | 6.518 | 6.11 | 6.206 | 6.613 | 6.735 | 6.922 | 6.873 | 6.993 | 6.633
450 | 1303 | 748.5 | 784.1 | 731.9 | 719.3 | 675 | 624.8 | 635.6 | 700 | 789.2 | 886.5 | 971.7 | 1031 | 1063 | 1099 | 1127 | 1163 | 1180 | 1174 | 1139 | 1083 | 1000 | 912.2 | 805.1 | 709.5 | 607.2 | 508.4 | 420.8 | 339.6 | 268.9 | 216.2 | 213.7 | 211.5 | 141 | 104.3 | 85.7 | 70.55 | 56.55 | 45.26 | 32.13 | 29.94 | 67.01 | 736.5 | 9999.9 | 9999.9 | 1382 | 13.47 | 9.302 | 7.424 | 7.151 | 6.299 | 6.473 | 6.538 | 6.511 | 6.438 | 6.783 | 6.662 | 6.809 | 6.805
455 | 3591 | 706 | 714.7 | 733 | 701 | 640.4 | 603.6 | 602.9 | 641.4 | 726.8 | 818.1 | 889.8 | 946.3 | 973.8 | 1006 | 1038 | 1065 | 1079 | 1081 | 1060 | 1009 | 937.5 | 856.6 | 766.4 | 667.3 | 577.3 | 489.3 | 405 | 332 | 267.7 | 219.9 | 186.5 | 200 | 177.4 | 121.9 | 94.29 | 78.88 | 63.2 | 50.73 | 38.66 | 30.45 | 27.72 | 66.25 | 749.6 | 9604 | 9999.9 | 1247 | 12.14 | 8.767 | 7.93 | 6.702 | 6.182 | 6.215 | 5.914 | 6.117 | 6.373 | 6.617 | 6.999 | 6.227
460 | 6537 | 1183 | 671.3 | 680.9 | 661.3 | 600.2 | 572.4 | 560.4 | 598.5 | 665.1 | 751.2 | 809.6 | 858.3 | 885.5 | 924.4 | 946.2 | 965.5 | 994.7 | 995.2 | 967.2 | 932.6 | 870.9 | 793.1 | 702.4 | 619.9 | 542 | 463 | 395 | 314.5 | 267.2 | 217.6 | 185.9 | 170.3 | 185.8 | 151 | 104.6 | 84.56 | 70.87 | 54.72 | 43.55 | 35.04 | 28.58 | 26.49 | 66.27 | 695.1 | 8974 | 9999.9 | 1116 | 12.43 | 9.219 | 8.084 | 7.399 | 6.763 | 6.376 | 6.445 | 6.714 | 6.495 | 6.16 | 6.698
465 | 5490 | 3480 | 649.3 | 634.3 | 625.2 | 573.6 | 535.6 | 516.2 | 548.7 | 609.2 | 676.7 | 729.7 | 769.5 | 796.2 | 830.8 | 856.8 | 878.2 | 899.4 | 904.9 | 888.5 | 854 | 795.1 | 725.9 | 652.3 | 576 | 500.3 | 431.8 | 366 | 309.3 | 256 | 217.8 | 185.8 | 163.8 | 159.6 | 169.6 | 128.1 | 91.55 | 75.57 | 62.32 | 51.16 | 40.94 | 34.06 | 27.72 | 26.21 | 62.82 | 654 | 8515 | 9999.9 | 1147 | 12.53 | 9.118 | 8.385 | 6.907 | 6.418 | 6.677 | 6.43 | 6.189 | 6.123 | 6.13
470 | 1787 | 6690 | 1199 | 602.8 | 556.8 | 534.6 | 496.9 | 482.7 | 495.3 | 554.1 | 603.9 | 658.1 | 687.3 | 708.5 | 734.5 | 765.8 | 786.2 | 802.1 | 806.3 | 796.9 | 768.3 | 719.3 | 665.3 | 591 | 523.7 | 462.3 | 403.2 | 345.4 | 295 | 247.6 | 211.5 | 184.1 | 160.9 | 148.1 | 148.3 | 151.3 | 108.2 | 82.22 | 67.75 | 56.12 | 47.28 | 40.15 | 33.48 | 27.02 | 25.02 | 58.92 | 615.5 | 7897 | 9999.9 | 1086 | 12.75 | 10.22 | 8.511 | 7.17 | 6.862 | 5.94 | 6.116 | 6.338 | 5.97
475 | 563.7 | 6099 | 3629 | 549.2 | 521.8 | 488.6 | 465.5 | 451.5 | 455.9 | 513 | 543.6 | 588.7 | 606.4 | 626.2 | 649.4 | 680.6 | 694.6 | 706.1 | 717.4 | 704.5 | 687 | 643.9 | 592.2 | 537.5 | 479.7 | 423.3 | 372.9 | 323.5 | 275.6 | 241.1 | 205.4 | 178.9 | 159.1 | 141.5 | 134.5 | 144.1 | 130.4 | 93.02 | 74.04 | 64.02 | 54.03 | 45.32 | 39.09 | 32.46 | 27.54 | 26.91 | 57.95 | 584.2 | 6809 | 9999.9 | 802.3 | 14.41 | 9.918 | 8.492 | 7.24 | 6.589 | 5.922 | 6.2 | 5.752
480 | 443 | 2030 | 6935 | 1063 | 492.4 | 455 | 442.6 | 426.8 | 442.9 | 473.1 | 504.9 | 526.6 | 545.1 | 555.4 | 569.9 | 606.1 | 617.3 | 635.9 | 641.1 | 630.1 | 615.9 | 577.7 | 540.7 | 490.5 | 439.2 | 390.8 | 353.8 | 307.2 | 270.1 | 233.4 | 199.8 | 179.4 | 163.3 | 147.6 | 132.8 | 128.9 | 136.3 | 117 | 85.36 | 73.25 | 65.66 | 56.81 | 49.33 | 43.99 | 37.14 | 31.69 | 30.91 | 60.75 | 496.6 | 6074 | 9669 | 874.7 | 15.02 | 10.23 | 8.844 | 7.404 | 6.314 | 5.887 | 5.656
485 | 402.6 | 541.1 | 6371 | 3492 | 464.6 | 454.9 | 430.2 | 434 | 431.1 | 456.9 | 473.8 | 489.3 | 494.1 | 501.4 | 515.4 | 541.8 | 552.2 | 571 | 576.2 | 574 | 559 | 534.7 | 501.8 | 456.6 | 412.5 | 370.6 | 337.6 | 303.3 | 269.3 | 234.6 | 208 | 186.4 | 167.1 | 150.7 | 140.9 | 127.5 | 130.7 | 135 | 108.8 | 87.78 | 77.99 | 73.15 | 67.2 | 59 | 53.89 | 46.43 | 42.05 | 39.84 | 64.4 | 471.5 | 6583 | 9504 | 737.3 | 15.55 | 11.61 | 8.613 | 7.083 | 6.437 | 5.903
490 | 406.8 | 387.3 | 2189 | 6881 | 981.5 | 442.3 | 446.5 | 451.5 | 450.8 | 457.3 | 463.3 | 461 | 455.6 | 450 | 467.4 | 486.9 | 500.1 | 512.6 | 524.8 | 518.7 | 506.5 | 492.8 | 457.9 | 430.9 | 394.9 | 360 | 332.3 | 306.3 | 276.2 | 249.7 | 222.4 | 202.3 | 177 | 163.2 | 152 | 140.4 | 133.2 | 141.7 | 138.6 | 114.4 | 101.4 | 97.23 | 91.33 | 84.76 | 76.74 | 69.48 | 63.3 | 56.56 | 51.6 | 72.08 | 515.9 | 6203 | 9048 | 771.2 | 15.73 | 11.18 | 8.792 | 7.163 | 6.714
495 | 399 | 397.3 | 533.6 | 6645 | 3252 | 471.6 | 467.3 | 491.1 | 494.3 | 488 | 467.5 | 446.1 | 411.6 | 398.8 | 413.6 | 426.1 | 445.7 | 452.7 | 465.3 | 469.4 | 462.5 | 453.2 | 436.3 | 404 | 380.1 | 356.8 | 336.9 | 314.2 | 296 | 270.7 | 243.2 | 215.2 | 194.4 | 178.3 | 165.7 | 155.2 | 150.1 | 148.1 | 159 | 152.3 | 134.5 | 128.4 | 123.6 | 113.3 | 107.8 | 98.81 | 89.93 | 81.97 | 72.53 | 63.85 | 83.17 | 495.9 | 6488 | 9090 | 720.7 | 15.09 | 10.02 | 8.289 | 7.885
500 | 411 | 370.7 | 381.4 | 2341 | 6749 | 932 | 498 | 536.6 | 538 | 514.1 | 477 | 425.1 | 380.2 | 357.1 | 364.2 | 375.3 | 392.6 | 402.3 | 417.6 | 423.2 | 419.6 | 416.7 | 400.7 | 387.1 | 369.1 | 354.2 | 343.5 | 328.5 | 310 | 288.2 | 267 | 234.6 | 212.5 | 193 | 179.6 | 172.4 | 169.8 | 167.1 | 171.8 | 180.3 | 171.6 | 162.2 | 157.1 | 150.5 | 142.5 | 131.9 | 120.9 | 109.2 | 99.26 | 83.13 | 72.59 | 83.19 | 512.7 | 5993 | 8435 | 665.1 | 14.11 | 9.701 | 7.992
505 | 393.9 | 357.8 | 358.2 | 562.9 | 6893 | 3116 | 539.9 | 559.6 | 589.4 | 537.3 | 487.1 | 420.9 | 341.7 | 318.7 | 318.8 | 332.2 | 340.8 | 354.8 | 367.1 | 375.6 | 377.4 | 380.7 | 377.4 | 363.7 | 359.8 | 352 | 348.1 | 346.9 | 332 | 310.2 | 283.6 | 252 | 227.2 | 206.3 | 191 | 185.1 | 187.1 | 186.9 | 186.7 | 196.7 | 205.1 | 196.7 | 187.8 | 183.1 | 174.8 | 160 | 149 | 137.9 | 123.6 | 103.5 | 88.28 | 70.06 | 80.39 | 475.6 | 5674 | 7843 | 623.9 | 12.85 | 9.641
510 | 355.5 | 388.2 | 353.7 | 384.2 | 2649 | 6685 | 1023 | 616.1 | 615.3 | 553.3 | 490 | 397.7 | 319.9 | 281.8 | 278.5 | 289 | 297.6 | 311.1 | 323.7 | 332.8 | 344 | 345.2 | 350.8 | 344.4 | 341.6 | 344.4 | 347.5 | 348.2 | 340.8 | 322.3 | 293.4 | 264.4 | 234.4 | 214.8 | 201.6 | 196.3 | 197.2 | 199.3 | 203.9 | 208.1 | 224.5 | 230.2 | 220.2 | 212.1 | 200.4 | 189.7 | 174.4 | 159.7 | 141.2 | 121.9 | 101.4 | 77.98 | 59.78 | 68.94 | 440 | 5175 | 7346 | 597.7 | 11.82
515 | 329.4 | 358.8 | 320.9 | 343.8 | 616.2 | 7185 | 3035 | 642.3 | 633.5 | 565.2 | 488.8 | 382.1 | 295.6 | 251.9 | 242.3 | 248.7 | 260 | 272.5 | 283.1 | 296.7 | 310.1 | 315 | 322.1 | 322.7 | 328.9 | 332.2 | 338.1 | 346.8 | 343 | 328.8 | 300 | 267.3 | 241.1 | 220.1 | 204.7 | 202.2 | 201.1 | 204.6 | 209.8 | 216.1 | 231.5 | 247 | 241.7 | 228.4 | 217.3 | 205.7 | 188.6 | 179.7 | 155 | 132 | 112.1 | 86.96 | 62.62 | 45.5 | 56.73 | 406.7 | 4960 | 6772 | 524.8
520 | 296 | 310.4 | 339.3 | 326.1 | 404.5 | 2955 | 6559 | 1074 | 621 | 559.3 | 475.5 | 364.7 | 269.7 | 220 | 206.8 | 210.7 | 226.5 | 235 | 245.6 | 262.6 | 272.9 | 284.7 | 296.6 | 302 | 309.4 | 318.8 | 326.9 | 337.7 | 337.1 | 322.3 | 296 | 264.9 | 232.9 | 214.2 | 202.6 | 198.3 | 204 | 208.1 | 215.7 | 221.4 | 232.4 | 246.2 | 253.4 | 240.5 | 224.4 | 211.1 | 194.7 | 183.3 | 160.7 | 137 | 115.5 | 91.82 | 66.07 | 45.89 | 33.86 | 46.52 | 380.4 | 4582 | 6298
525 | 279.6 | 259.7 | 340 | 316.4 | 359.5 | 658.1 | 7218 | 2970 | 602.5 | 533.2 | 449.6 | 328.1 | 240.5 | 192.4 | 187.4 | 184.6 | 194 | 207.3 | 216.9 | 230.1 | 245.5 | 254.3 | 265.1 | 274 | 284.4 | 295.6 | 310.1 | 323.2 | 318.6 | 312.3 | 286.2 | 258.4 | 223.7 | 207.1 | 193.5 | 193.4 | 195 | 204.2 | 207.6 | 219.2 | 223.8 | 236.2 | 244.4 | 245 | 230.7 | 211.9 | 197.5 | 183.2 | 162.7 | 138.6 | 118 | 93.66 | 67.52 | 48.59 | 33.36 | 26.29 | 42.67 | 358.6 | 4230
530 | 243.7 | 246.7 | 299.1 | 312.1 | 332.2 | 424.7 | 3302 | 6401 | 1020 | 500.2 | 420.9 | 310.6 | 209.4 | 172.1 | 159.3 | 158.4 | 166.9 | 179.1 | 185.8 | 201.6 | 212.8 | 225.5 | 237.2 | 252.4 | 260.4 | 274.3 | 291.2 | 297.8 | 303.2 | 289.8 | 271.6 | 239.7 | 212 | 194.8 | 183.7 | 178.8 | 186.3 | 190.5 | 199.8 | 208 | 215.6 | 223.7 | 232 | 235.1 | 228.2 | 207.4 | 190.3 | 178.7 | 157.6 | 136.1 | 113 | 91.87 | 67.93 | 49.81 | 35.93 | 26.83 | 24.81 | 44.95 | 342.5
535 | 250.7 | 208.3 | 243.8 | 318.8 | 316.8 | 378.8 | 714.3 | 7310 | 2828 | 471.9 | 379.8 | 278.7 | 189.1 | 152.2 | 135 | 139.5 | 145.9 | 148.4 | 165.1 | 176 | 185.1 | 200.1 | 212.1 | 224.4 | 242.5 | 252.8 | 263.2 | 277.3 | 280 | 267.7 | 248.1 | 221.5 | 195.6 | 179.9 | 167.9 | 167.9 | 171.9 | 180.1 | 186.7 | 193.8 | 203.1 | 211.3 | 214.4 | 215.2 | 215.6 | 201.8 | 184.2 | 169.2 | 153.1 | 130.8 | 109.2 | 90.04 | 68.79 | 51.96 | 38.81 | 30.39 | 28.55 | 30.61 | 51.61
540 | 205.7 | 182.7 | 199.8 | 291.2 | 303.6 | 339.6 | 437.9 | 3563 | 6134 | 844.7 | 360.4 | 253.2 | 166.4 | 128.2 | 115.7 | 116.2 | 119.8 | 128 | 142 | 151.6 | 162.9 | 173.2 | 188.3 | 200.9 | 211.4 | 227.7 | 235 | 248.9 | 252.2 | 242.4 | 225.4 | 203 | 181.7 | 164.1 | 153.1 | 152 | 156.7 | 166.8 | 171.5 | 180.9 | 188.3 | 196.4 | 197.9 | 199.3 | 195.4 | 191.4 | 174.4 | 157.8 | 142.6 | 123.1 | 107.2 | 85.01 | 67.99 | 52.99 | 38.73 | 33.48 | 32.88 | 33.98 | 39.39
545 | 189.1 | 161.8 | 178.2 | 238.6 | 293.4 | 297.5 | 367.6 | 712.8 | 7270 | 2471 | 325.7 | 221.9 | 148.4 | 112.4 | 97.9 | 98.68 | 101.9 | 109 | 119.5 | 127.6 | 140.2 | 152.3 | 162.2 | 172.9 | 185.8 | 199.7 | 211.4 | 223.2 | 226.6 | 216.8 | 202.7 | 181.7 | 160.9 | 145.3 | 137.7 | 137.1 | 143.2 | 151.2 | 152.7 | 163.4 | 166.7 | 177 | 179 | 179.6 | 174.2 | 172.9 | 160.7 | 145.7 | 132.1 | 115.2 | 98.19 | 78.85 | 63.75 | 50.88 | 40.71 | 34.51 | 33.54 | 36.87 | 41.25
550 | 185.6 | 148.3 | 154.6 | 186.4 | 280.5 | 282.2 | 332.4 | 397.6 | 3603 | 5594 | 708.6 | 195.3 | 129.4 | 94.84 | 80.66 | 82.05 | 85.35 | 91.88 | 100.9 | 108.9 | 120.8 | 129 | 140.4 | 150.4 | 158.7 | 171.7 | 182.1 | 195.8 | 198.8 | 193 | 175.1 | 158.1 | 138.8 | 126.8 | 119 | 119.5 | 125.6 | 131 | 137.4 | 144.8 | 149.8 | 158.2 | 159.9 | 158.1 | 153.7 | 145.5 | 143.8 | 132.3 | 118.6 | 102 | 88.67 | 73.27 | 59.86 | 47.49 | 38.39 | 33.72 | 34.41 | 38.57 | 40.51
555 | 168.1 | 133.2 | 122.6 | 155 | 243.6 | 267.6 | 285.4 | 345.9 | 651.7 | 6990 | 2231 | 176.5 | 107.9 | 77.87 | 66.67 | 66.96 | 70.29 | 74.78 | 84.53 | 91.21 | 100.4 | 109.3 | 117.9 | 129.1 | 137.6 | 145.4 | 154.9 | 166.6 | 170.5 | 164.9 | 152.9 | 135.7 | 121.8 | 109.6 | 103.3 | 102.9 | 109.9 | 116.3 | 117.4 | 125.7 | 127.7 | 137.7 | 139.2 | 139.8 | 136.1 | 128.6 | 122.8 | 118.8 | 105.3 | 89.22 | 78.56 | 65.65 | 52.47 | 40.65 | 33.12 | 31.07 | 30.87 | 34.7 | 36.43
560 | 140.8 | 116.8 | 111 | 128 | 174.4 | 252.2 | 251.2 | 297.5 | 314 | 3705 | 5325 | 498.1 | 92.97 | 66.16 | 57.71 | 57.6 | 59.23 | 61.59 | 67.06 | 74 | 81.87 | 93.42 | 97.69 | 108.5 | 116.9 | 124.6 | 134.3 | 143.2 | 144.7 | 140.6 | 129.3 | 114.9 | 105.2 | 94.39 | 88.41 | 88.99 | 91.51 | 95.47 | 99.73 | 104.9 | 111.3 | 117.1 | 118.6 | 119.3 | 113.9 | 109.8 | 105.5 | 99.99 | 90 | 78.53 | 68 | 55.7 | 45.52 | 37.66 | 29.09 | 26.7 | 27.76 | 29.19 | 31.54
565 | 135.3 | 100.4 | 96.4 | 116.2 | 135.1 | 232.9 | 236.3 | 255.2 | 263.5 | 553.5 | 6687 | 1801 | 87.9 | 56.08 | 47.32 | 48.32 | 48.31 | 50.84 | 54.78 | 61.43 | 65.74 | 73.93 | 80.33 | 90.29 | 94.97 | 104.1 | 111.9 | 119.4 | 121.4 | 118.3 | 108.5 | 97.13 | 87.99 | 78.52 | 75.1 | 75.09 | 77.73 | 81.49 | 84.72 | 88.57 | 94.01 | 97.74 | 99.33 | 99.36 | 98.91 | 92.62 | 87.83 | 82.04 | 79.72 | 68.72 | 57.35 | 46.95 | 38.19 | 29.06 | 24.56 | 21.49 | 22.24 | 24.02 | 26.17
570 | 133.3 | 87.13 | 86.25 | 94.91 | 119.9 | 188.3 | 232.9 | 229.3 | 229.5 | 228.1 | 3488 | 4612 | 348.4 | 47.41 | 39.51 | 37.25 | 38.85 | 42.29 | 45.36 | 48.78 | 55.28 | 61.03 | 68.89 | 72.92 | 77.98 | 86.4 | 89.83 | 98.66 | 100.5 | 99.54 | 93.27 | 80.4 | 71.6 | 65.19 | 60.76 | 61.85 | 65.13 | 67.16 | 70.23 | 73.53 | 77.23 | 81.3 | 84.03 | 83.38 | 81.28 | 77.82 | 73.11 | 67.55 | 63.63 | 57.98 | 49.64 | 39.13 | 31.22 | 25.2 | 20.01 | 17.35 | 17.27 | 19.4 | 21.58
575 | 124.3 | 93.78 | 80.33 | 83.84 | 109.5 | 137.2 | 234.8 | 218.3 | 212.4 | 195.2 | 464.8 | 6146 | 1535 | 46.83 | 32.56 | 32.03 | 32.54 | 32.61 | 36.39 | 38.82 | 45.49 | 50.21 | 53.97 | 60.44 | 62.79 | 70.85 | 75.71 | 79.94 | 83.61 | 77.89 | 75.15 | 66.25 | 57.09 | 53.03 | 51.35 | 50.45 | 51.94 | 55.43 | 57.51 | 61.22 | 64.61 | 69.01 | 67.6 | 68.03 | 66.56 | 63.55 | 58.96 | 54.71 | 51.14 | 46.7 | 41.7 | 33.32 | 25.75 | 21.16 | 16.66 | 14.78 | 13.79 | 15.13 | 16.96
580 | 148.1 | 86.76 | 74.97 | 80.33 | 91.69 | 118.1 | 204.4 | 236 | 209.8 | 197.3 | 187.5 | 3184 | 4259 | 272.3 | 27.79 | 26.36 | 26.71 | 28.11 | 29.87 | 32.34 | 35.45 | 39.26 | 44.52 | 48.73 | 52.23 | 56.6 | 61.57 | 65.81 | 67.01 | 64.18 | 61.91 | 53.96 | 47.93 | 43.28 | 40.98 | 42.21 | 44.61 | 44.77 | 48.45 | 49.44 | 52.49 | 55.08 | 57.02 | 57.07 | 54.77 | 52.02 | 49.51 | 44.63 | 42.85 | 36.7 | 33.7 | 27.41 | 22.31 | 16.69 | 13.68 | 11.77 | 11.37 | 12.22 | 13.53
585 | 155.4 | 103.2 | 74.19 | 71.93 | 86.08 | 104.1 | 158.9 | 236.6 | 214.9 | 204.8 | 172.3 | 396.7 | 5825 | 1317 | 28.47 | 22.71 | 23.04 | 23.87 | 25.12 | 27.77 | 30.45 | 33.5 | 36.34 | 39.39 | 43.23 | 46.96 | 51.26 | 55.21 | 56.53 | 52.75 | 50.49 | 44.85 | 39.12 | 35.83 | 33.68 | 34.12 | 35.23 | 36.5 | 39.82 | 41.33 | 43.51 | 45.28 | 45.77 | 45.19 | 45.6 | 42.94 | 41.61 | 38.34 | 34.02 | 29.85 | 28.09 | 23.7 | 18.97 | 14.34 | 11.17 | 9.53 | 9.749 | 10.08 | 11.1
590 | 172.5 | 99.19 | 80.53 | 66.59 | 74.68 | 101.9 | 136.8 | 227.4 | 232.6 | 208.6 | 178 | 136.9 | 2905 | 3896 | 213.2 | 19.55 | 19.92 | 20.51 | 20.98 | 22.5 | 25.27 | 27.18 | 29.45 | 32.36 | 34.46 | 37.46 | 40.98 | 43.89 | 45.37 | 44.21 | 41.16 | 36.94 | 33.26 | 29.74 | 28.53 | 27.74 | 29.18 | 30.65 | 32.74 | 34.52 | 34.71 | 37.16 | 37.95 | 38.49 | 37.18 | 36.1 | 34.22 | 31.07 | 28.09 | 25.1 | 21.94 | 19.77 | 16.29 | 12.74 | 9.396 | 8.097 | 7.979 | 8.256 | 9.205
595 | 170.3 | 102.5 | 80.09 | 71.32 | 75.01 | 96.57 | 129.9 | 204.5 | 256.9 | 221.3 | 180 | 120.3 | 324 | 5232 | 1100 | 20.96 | 16.73 | 16.73 | 17.91 | 18.76 | 20.25 | 22.18 | 24.77 | 26.32 | 29.59 | 33.13 | 33.88 | 36.55 | 37.74 | 36.32 | 33.94 | 31.09 | 27.47 | 25.27 | 24.11 | 23.46 | 24.52 | 25.16 | 27.02 | 28.52 | 29.5 | 31.36 | 32.15 | 31.3 | 30.97 | 28.75 | 27.69 | 25.69 | 23.94 | 21.61 | 17.47 | 15.25 | 13.9 | 11.22 | 8.554 | 7.555 | 6.669 | 7.514 | 8.556
600 | 182.8 | 116.4 | 74.45 | 64.6 | 69.15 | 91.1 | 126.4 | 175.9 | 270.8 | 227.9 | 189 | 122.3 | 73.57 | 2641 | 3399 | 154.6 | 14.9 | 13.96 | 16.38 | 15.63 | 18 | 19.9 | 20.55 | 23.45 | 24.68 | 26.62 | 30.06 | 31.18 | 31.41 | 30.72 | 28.9 | 26.22 | 23.03 | 20.8 | 20.12 | 20.36 | 20.9 | 21.72 | 22.59 | 23.1 | 24.8 | 26.22 | 25.72 | 26.9 | 25.36 | 23.69 | 23.91 | 22.02 | 19.56 | 17.2 | 14.22 | 12.84 | 11.46 | 9.596 | 8.307 | 6.62 | 6.203 | 6.745 | 6.883