## Sheet1
Report date: | 19:22:43, 09/02/2024
Sample: | 1
File name:
Run date: | 19:12:17, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 366.5
2 | 250.0/545.0 | 762.2
3 | 265.0/340.0 | 5571
4 | 275.0/310.0 | 5358
5 | 325.0/370.0 | 548.1
6 | 350.0/545.0 | 430
7 | 400.0/285.0 | 5.389
8 | 410.0/480.0 | 139.5
9 | 440.0/520.0 | 270.2
10 | 455.0/305.0 | 13.12
11 | 460.0/315.0 | 12.91
12 | 510.0/280.0 | 6.104
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 50.35 | 35.8 | 64.22 | 311.7 | 185.3 | 52.39 | 157.3 | 9999.9 | 9999.9 | 3514 | 32.75 | 16.77 | 12.81 | 9.126 | 7.98 | 7.077 | 5.822 | 6.064 | 5.488 | 4.541 | 5.524 | 4.839 | 5.089 | 4.91 | 4.535 | 4.701 | 4.816 | 4.934 | 4.472 | 4.846 | 5.719 | 5.709 | 5.462 | 5.08 | 3.972 | 4.406 | 4.346 | 4.276 | 4.31 | 3.769 | 3.717 | 2.958 | 3.292 | 3.32 | 2.741 | 2.743 | 2.385 | 2.022 | 2.002 | 2.279 | 1.934 | 2.539 | 4.154 | 4.095 | 3.402 | 2.15 | 2.387 | 2.182 | 2.208
275 | 82.79 | 45.75 | 37.56 | 117.1 | 366.5 | 162 | 86.92 | 801.2 | 9999.9 | 9999.9 | 3323 | 32.05 | 15.53 | 10.89 | 9.15 | 7.404 | 6.662 | 5.919 | 5.597 | 4.915 | 5.474 | 4.658 | 5.004 | 4.922 | 4.169 | 4.786 | 4.793 | 4.477 | 4.64 | 4.449 | 4.618 | 4.859 | 5.715 | 4.942 | 4.731 | 3.996 | 4.033 | 4.268 | 4.17 | 3.864 | 3.906 | 3.416 | 3.257 | 3.505 | 3.479 | 3.313 | 2.59 | 2.523 | 2.03 | 1.891 | 2.198 | 2.407 | 2.307 | 3.434 | 5.258 | 4.577 | 2.813 | 2.51 | 2.593
280 | 153.3 | 68.22 | 48.63 | 58.78 | 212.7 | 411.3 | 198.5 | 206 | 864.4 | 9999.9 | 9999.9 | 3164 | 34.91 | 14.54 | 10.41 | 8.641 | 6.84 | 6.091 | 6.505 | 5.216 | 5.559 | 4.929 | 5.316 | 4.54 | 4.865 | 4.629 | 5.047 | 4.321 | 4.473 | 4.686 | 4.257 | 4.49 | 4.88 | 5.147 | 5.026 | 4.395 | 4.075 | 3.995 | 4.127 | 4.414 | 3.869 | 3.799 | 3.908 | 3.753 | 3.393 | 3.28 | 3.143 | 2.87 | 2.245 | 2.082 | 2.344 | 2.245 | 2.273 | 2.499 | 3.332 | 5.056 | 6.104 | 4.844 | 3.395
285 | 534.1 | 246.5 | 130.5 | 97.59 | 145.9 | 409.2 | 612.6 | 503.4 | 618.4 | 1300 | 9999.9 | 9999.9 | 2908 | 30.88 | 14.79 | 10.09 | 8.485 | 7.047 | 6.813 | 5.746 | 5.811 | 5.441 | 5.465 | 5.082 | 5.065 | 4.407 | 4.829 | 4.424 | 4.795 | 5.001 | 4.427 | 4.205 | 4.624 | 5.02 | 5.389 | 5.163 | 4.772 | 3.895 | 3.967 | 4.682 | 4.679 | 4.293 | 4.44 | 3.891 | 3.96 | 4.423 | 4.087 | 3.636 | 3.064 | 2.908 | 2.598 | 2.206 | 2.534 | 2.582 | 2.997 | 3.487 | 4.723 | 7.657 | 7.939
290 | 1377 | 661.8 | 307.6 | 206 | 264.2 | 461.5 | 1021 | 1403 | 1576 | 1776 | 2140 | 9999.9 | 9999.9 | 2553 | 25.29 | 13.62 | 9.961 | 8.137 | 7.452 | 6.968 | 5.705 | 5.777 | 5.957 | 5.418 | 5.385 | 4.774 | 5.125 | 4.684 | 5.334 | 4.513 | 4.665 | 4.288 | 4.615 | 5.065 | 4.897 | 5.052 | 5.052 | 4.305 | 3.88 | 3.987 | 4.875 | 5.271 | 6.119 | 5.51 | 5.735 | 6.381 | 5.938 | 5.452 | 4.436 | 4.287 | 3.582 | 3.202 | 3.253 | 3.28 | 3.413 | 4.146 | 5.245 | 6.349 | 9.63
295 | 2355 | 1174 | 545.8 | 350.1 | 433.6 | 712.3 | 1263 | 2315 | 2916 | 3073 | 2700 | 2165 | 9999.9 | 9999.9 | 2420 | 24.65 | 12.89 | 9.977 | 9.243 | 7.674 | 6.912 | 6.771 | 6.547 | 6.076 | 5.073 | 5.027 | 5.584 | 5.124 | 4.892 | 4.469 | 4.285 | 4.678 | 4.74 | 4.671 | 4.682 | 4.665 | 5.36 | 4.931 | 5.013 | 4.623 | 4.797 | 5.753 | 6.309 | 7.677 | 8.42 | 9.056 | 8.558 | 7.858 | 6.793 | 5.711 | 4.669 | 4.645 | 3.84 | 4.217 | 4.837 | 5.483 | 6.765 | 8.665 | 11.66
300 | 3171 | 1625 | 807.3 | 506.1 | 617.2 | 991.4 | 1688 | 2721 | 4095 | 4296 | 3672 | 2177 | 1321 | 9999.9 | 9999.9 | 2268 | 22.38 | 14.04 | 10.72 | 8.982 | 8.072 | 7.336 | 6.589 | 5.854 | 5.777 | 5.701 | 5.112 | 5.118 | 5.246 | 5.376 | 4.248 | 4.697 | 4.527 | 4.409 | 4.306 | 4.816 | 5.534 | 5.286 | 4.985 | 4.973 | 4.936 | 5.939 | 7.229 | 9.07 | 9.471 | 11.23 | 11.54 | 9.726 | 7.959 | 7.61 | 6.037 | 5.169 | 4.638 | 5.331 | 5.966 | 6.846 | 8.864 | 11.61 | 14.33
305 | 3590 | 1964 | 1089 | 791.8 | 925.9 | 1372 | 2100 | 3178 | 4422 | 5222 | 4389 | 2572 | 920.1 | 960.9 | 9999.9 | 9999.9 | 2116 | 23.2 | 13.32 | 10.46 | 8.895 | 8.283 | 6.969 | 6.566 | 5.902 | 5.707 | 5.384 | 4.994 | 5.675 | 5.04 | 4.932 | 4.944 | 4.627 | 4.713 | 4.619 | 4.437 | 4.508 | 4.835 | 5.192 | 5.851 | 5.869 | 5.985 | 7.496 | 9.144 | 11.11 | 13.12 | 11.99 | 10.9 | 8.941 | 8.717 | 7.469 | 6.631 | 6.203 | 6.564 | 8.144 | 9.526 | 12.01 | 14.09 | 18.26
310 | 3669 | 2198 | 1388 | 1190 | 1436 | 1988 | 2698 | 3680 | 4667 | 5358 | 4932 | 2939 | 1163 | 500.6 | 902.2 | 9999.9 | 9999.9 | 2161 | 23.58 | 14.18 | 12.1 | 9.788 | 8.554 | 7.618 | 6.632 | 6.22 | 6.267 | 5.981 | 5.298 | 5.11 | 5.082 | 4.712 | 4.795 | 4.466 | 4.452 | 4.371 | 4.612 | 4.447 | 5.502 | 5.525 | 6.114 | 6.244 | 8.033 | 9.301 | 10.77 | 12.72 | 12.86 | 10.99 | 9.766 | 9.676 | 8.649 | 8.45 | 8.895 | 9.406 | 11.01 | 12.98 | 15.47 | 18.7 | 23.06
315 | 3522 | 2286 | 1698 | 1639 | 2053 | 2649 | 3352 | 4184 | 4896 | 5215 | 4924 | 3378 | 1489 | 705.5 | 413.9 | 898.7 | 9999.9 | 9999.9 | 2119 | 22.86 | 13.8 | 11.89 | 9.145 | 8.342 | 7.866 | 6.884 | 7.184 | 6.004 | 5.553 | 5.569 | 5.622 | 4.568 | 4.694 | 4.941 | 4.52 | 4.355 | 4.589 | 4.486 | 4.428 | 5.628 | 6.087 | 6.687 | 7.747 | 8.736 | 10.06 | 12.29 | 12.91 | 11.67 | 10.18 | 10.63 | 9.964 | 10.68 | 10.98 | 11.85 | 14.66 | 16.46 | 20.07 | 23.89 | 28.14
320 | 3365 | 2390 | 1990 | 2074 | 2611 | 3303 | 3977 | 4591 | 5057 | 5152 | 4658 | 3589 | 2005 | 988.2 | 564 | 366.5 | 854.2 | 9999.9 | 9999.9 | 2195 | 23.04 | 14.9 | 12.51 | 9.353 | 8.517 | 7.144 | 7.272 | 6.595 | 6.602 | 5.408 | 5.365 | 5.358 | 5.045 | 4.848 | 5.057 | 4.685 | 4.369 | 4.312 | 4.72 | 5.132 | 6.178 | 6.781 | 7.589 | 8.829 | 10.04 | 11.69 | 12.11 | 11.15 | 9.728 | 11.64 | 11.43 | 12.24 | 13.19 | 14.91 | 17.9 | 21.91 | 23.94 | 28.39 | 32.06
325 | 3249 | 2401 | 2154 | 2454 | 3093 | 3846 | 4498 | 4968 | 5180 | 5104 | 4653 | 3544 | 2475 | 1391 | 758.2 | 446 | 286.1 | 808.7 | 9999.9 | 9999.9 | 2297 | 22.88 | 15.57 | 13.38 | 10.3 | 7.781 | 7.637 | 7.018 | 6.316 | 6.029 | 5.66 | 5.26 | 4.675 | 4.983 | 4.421 | 5.065 | 4.632 | 4.766 | 4.78 | 5.017 | 5.308 | 6.005 | 7.697 | 9.157 | 9.163 | 10.87 | 11.06 | 10.47 | 10.48 | 11.49 | 12.29 | 13.92 | 14.51 | 17.51 | 20.76 | 24.16 | 28.33 | 32.06 | 36.47
330 | 3135 | 2428 | 2302 | 2706 | 3476 | 4281 | 4927 | 5264 | 5339 | 5100 | 4679 | 3678 | 2559 | 1821 | 1012 | 566.4 | 315.7 | 194.2 | 772.7 | 9999.9 | 9999.9 | 2499 | 24.36 | 16.08 | 12.92 | 10.92 | 8.643 | 8.119 | 6.972 | 6.062 | 5.807 | 5.611 | 5.273 | 4.724 | 4.84 | 4.634 | 4.414 | 4.583 | 4.818 | 5.071 | 5.513 | 5.706 | 6.798 | 9.268 | 9.87 | 10.38 | 11.01 | 10.09 | 10.44 | 11.99 | 13.11 | 14.29 | 15.8 | 19.45 | 23.03 | 26.5 | 31.08 | 35.43 | 39.19
335 | 3089 | 2391 | 2361 | 2871 | 3731 | 4568 | 5163 | 5481 | 5456 | 5156 | 4751 | 3899 | 2786 | 1869 | 1394 | 720.6 | 381.1 | 189 | 130.8 | 755.6 | 9999.9 | 9999.9 | 2599 | 24.42 | 16.44 | 14.07 | 10.68 | 9.641 | 7.699 | 6.671 | 6.42 | 5.381 | 5.858 | 4.992 | 4.817 | 4.845 | 4.683 | 4.856 | 4.701 | 4.7 | 5.86 | 5.898 | 7.309 | 8.46 | 9.694 | 10.56 | 10.9 | 10.34 | 10.43 | 12.04 | 13.61 | 15.88 | 17.13 | 19.81 | 24.13 | 28.83 | 34.05 | 37.55 | 41.51
340 | 2996 | 2295 | 2353 | 2913 | 3746 | 4621 | 5287 | 5571 | 5458 | 5207 | 4810 | 4042 | 3001 | 1959 | 1420 | 997.2 | 465.3 | 219.9 | 108.5 | 105.3 | 769.3 | 9999.9 | 9999.9 | 2784 | 26.15 | 18.23 | 14.01 | 12.16 | 9.572 | 8.023 | 6.79 | 6.28 | 5.365 | 5.757 | 5.303 | 4.654 | 4.884 | 4.481 | 4.744 | 4.939 | 5.167 | 6.027 | 6.782 | 8.118 | 9.077 | 10.6 | 11.28 | 10.39 | 10.45 | 11.3 | 13.46 | 15.17 | 17.43 | 20.76 | 24.43 | 28.4 | 33.82 | 37.22 | 41.88
345 | 2930 | 2250 | 2341 | 2846 | 3703 | 4539 | 5175 | 5544 | 5403 | 5145 | 4829 | 4122 | 3161 | 2098 | 1372 | 1050 | 663.9 | 270.5 | 133.2 | 82.02 | 103.7 | 780.1 | 9999.9 | 9999.9 | 2972 | 26.93 | 19.04 | 14.93 | 12.13 | 8.901 | 8.077 | 6.99 | 6.045 | 5.802 | 5.063 | 4.991 | 4.967 | 4.694 | 4.744 | 4.793 | 5.177 | 6.305 | 6.78 | 7.926 | 9.332 | 10.28 | 10.27 | 9.617 | 9.606 | 11.43 | 12.8 | 14.52 | 17.17 | 19.99 | 24.58 | 27.57 | 31.81 | 36.04 | 40.86
350 | 2840 | 2144 | 2192 | 2709 | 3507 | 4323 | 4942 | 5317 | 5303 | 5039 | 4764 | 4130 | 3217 | 2150 | 1414 | 935.4 | 767.7 | 426.5 | 178.3 | 112.1 | 90.68 | 117.8 | 776.6 | 9999.9 | 9999.9 | 3271 | 29.62 | 18.72 | 14.99 | 12.38 | 8.669 | 7.641 | 6.216 | 5.636 | 5.574 | 5.017 | 5.271 | 4.92 | 5.056 | 4.817 | 5.524 | 5.906 | 7.508 | 8.47 | 8.737 | 9.823 | 10.08 | 10.17 | 9.657 | 10.56 | 11.45 | 13.74 | 16.5 | 18.96 | 23.91 | 27 | 31.11 | 34.65 | 39.2
355 | 2710 | 2003 | 2079 | 2531 | 3276 | 4074 | 4675 | 5047 | 5044 | 4857 | 4635 | 4072 | 3230 | 2177 | 1426 | 937.9 | 652 | 597.4 | 305.9 | 162.1 | 126 | 105.2 | 126.9 | 805.6 | 9999.9 | 9999.9 | 3320 | 29.99 | 19.02 | 15.24 | 11.79 | 8.2 | 7.408 | 6.405 | 6.193 | 5.124 | 5.535 | 5.245 | 5.055 | 5.424 | 5.363 | 5.963 | 6.621 | 7.829 | 8.674 | 9.132 | 9.544 | 8.965 | 8.978 | 10.53 | 12.04 | 14.02 | 15.47 | 17.91 | 22.72 | 25.34 | 28.94 | 33.36 | 36.82
360 | 2590 | 1886 | 1925 | 2337 | 3030 | 3717 | 4334 | 4701 | 4761 | 4621 | 4404 | 3933 | 3148 | 2140 | 1436 | 969.8 | 649.9 | 519 | 510.2 | 271.7 | 182.2 | 149.7 | 120.2 | 137 | 796.8 | 9999.9 | 9999.9 | 3681 | 31.79 | 19.74 | 15.69 | 10.83 | 7.905 | 7.172 | 6.979 | 6.077 | 5.264 | 5.565 | 5.313 | 5.451 | 5.317 | 6.213 | 7.153 | 8.059 | 8.662 | 8.853 | 8.667 | 8.538 | 8.467 | 9.858 | 11.31 | 12.45 | 14.87 | 16.43 | 20.53 | 24.29 | 27.1 | 31.04 | 33.17
365 | 2502 | 1781 | 1810 | 2153 | 2741 | 3371 | 3923 | 4256 | 4409 | 4351 | 4176 | 3718 | 3040 | 2101 | 1442 | 1000 | 695.9 | 498.7 | 503.1 | 489.7 | 277.7 | 204.7 | 160.1 | 126.3 | 141.7 | 821.7 | 9999.9 | 9999.9 | 3572 | 29.79 | 19.02 | 14.03 | 10.97 | 8.472 | 7.117 | 6.542 | 5.87 | 6.12 | 5.426 | 5.091 | 5.6 | 6.329 | 7.387 | 7.848 | 8.152 | 8.653 | 8.368 | 7.553 | 7.444 | 9.35 | 10.69 | 11.88 | 13.12 | 15.7 | 18.41 | 21.46 | 25.41 | 28.17 | 30.62
370 | 2354 | 1648 | 1651 | 1945 | 2457 | 3001 | 3518 | 3873 | 4044 | 4027 | 3891 | 3486 | 2889 | 2040 | 1458 | 1025 | 756 | 571 | 480.2 | 548.1 | 473.2 | 290.6 | 218.7 | 171 | 134.5 | 137 | 824.9 | 9999.9 | 9999.9 | 3474 | 29.14 | 17.38 | 13.82 | 10.16 | 7.888 | 6.342 | 6.324 | 5.87 | 5.635 | 5.289 | 5.766 | 6.252 | 6.508 | 7.338 | 7.935 | 8.196 | 7.996 | 7.439 | 7.291 | 9.121 | 9.779 | 11.18 | 12.72 | 14.09 | 16.91 | 19.28 | 22.85 | 25.88 | 27.54
375 | 2169 | 1562 | 1571 | 1765 | 2195 | 2668 | 3155 | 3468 | 3639 | 3668 | 3597 | 3290 | 2752 | 1999 | 1451 | 1091 | 829.1 | 666.5 | 556.2 | 513.5 | 616 | 468.7 | 298.1 | 230.7 | 180.4 | 125.7 | 134.4 | 841.5 | 9999.9 | 9999.9 | 3365 | 28.13 | 17.63 | 13.21 | 10.03 | 7.699 | 6.551 | 5.714 | 5.598 | 5.697 | 5.785 | 6.381 | 6.308 | 7.451 | 7.235 | 7.923 | 8.162 | 7.303 | 6.859 | 8.583 | 9.29 | 10.72 | 12.54 | 13.65 | 15.35 | 18.05 | 19.68 | 23.02 | 25.22
380 | 1988 | 1505 | 1465 | 1610 | 1972 | 2355 | 2748 | 3084 | 3263 | 3339 | 3300 | 3067 | 2621 | 1946 | 1488 | 1167 | 934 | 774.4 | 672.8 | 601.9 | 595 | 658.3 | 443.3 | 310.6 | 241.7 | 170.2 | 120.5 | 131.4 | 839 | 9999.9 | 9999.9 | 3316 | 26.74 | 16.53 | 12.13 | 9.257 | 6.973 | 6.226 | 5.738 | 5.817 | 6.059 | 6.045 | 6.005 | 7.094 | 7.169 | 7.702 | 8.14 | 7.239 | 7.093 | 8.61 | 9.055 | 10.61 | 11.04 | 11.67 | 14.07 | 16.9 | 18.12 | 20.21 | 22.52
385 | 1914 | 1406 | 1367 | 1474 | 1761 | 2065 | 2431 | 2745 | 2925 | 3058 | 3037 | 2849 | 2503 | 1939 | 1545 | 1258 | 1048 | 904.5 | 798.4 | 725.4 | 668.4 | 661.4 | 649.1 | 433.2 | 314.7 | 232.9 | 163.4 | 117.6 | 129.1 | 852.3 | 9999.9 | 9999.9 | 3124 | 24.92 | 15.42 | 11.49 | 9.336 | 7.404 | 6.775 | 6.084 | 6.068 | 6.097 | 6.515 | 6.856 | 6.789 | 7.114 | 7.592 | 7.623 | 6.81 | 7.759 | 8.226 | 9.096 | 10.31 | 10.99 | 13.3 | 14.64 | 16.85 | 17.89 | 20.77
390 | 1771 | 1415 | 1313 | 1364 | 1584 | 1841 | 2145 | 2425 | 2604 | 2756 | 2814 | 2691 | 2421 | 1952 | 1609 | 1380 | 1191 | 1051 | 955 | 870.9 | 797.8 | 720.3 | 710.1 | 641.9 | 422 | 303 | 220 | 154.8 | 106.2 | 120.7 | 813.4 | 9999.9 | 9999.9 | 3070 | 23.46 | 14.82 | 11.99 | 9.298 | 7.204 | 6.751 | 5.502 | 5.89 | 6.272 | 6.57 | 7.063 | 7.335 | 7.423 | 7.014 | 6.799 | 8.134 | 8.554 | 9.04 | 9.743 | 10.12 | 12.18 | 13.35 | 15.55 | 17.37 | 17.93
395 | 1696 | 1377 | 1276 | 1294 | 1441 | 1634 | 1872 | 2146 | 2345 | 2524 | 2613 | 2546 | 2340 | 1966 | 1671 | 1475 | 1321 | 1207 | 1111 | 1031 | 949.2 | 841.6 | 737.2 | 732.2 | 597.1 | 388.8 | 289.9 | 205.5 | 135.7 | 92.95 | 109.2 | 842.4 | 9999.9 | 9999.9 | 2818 | 22.88 | 14.47 | 10.45 | 8.504 | 7.411 | 6.261 | 6.376 | 6.553 | 6.62 | 6.586 | 6.825 | 7.015 | 6.732 | 6.452 | 7.696 | 8.317 | 8.995 | 9.358 | 9.562 | 11.37 | 12.44 | 13.2 | 15.75 | 16.29
400 | 1602 | 1341 | 1249 | 1240 | 1325 | 1497 | 1688 | 1913 | 2125 | 2309 | 2420 | 2415 | 2275 | 1998 | 1740 | 1597 | 1468 | 1359 | 1266 | 1190 | 1090 | 977.2 | 834.6 | 735 | 725.2 | 540.2 | 362.6 | 256.7 | 175.9 | 116.9 | 76.83 | 103.9 | 799.1 | 9999.9 | 9999.9 | 2585 | 22.18 | 14.2 | 10.23 | 8.577 | 6.922 | 6.556 | 6.548 | 6.84 | 6.664 | 7.425 | 7.237 | 6.71 | 6.81 | 7.596 | 8.084 | 8.769 | 8.935 | 9.381 | 10.2 | 11.28 | 13 | 14.36 | 14.64
405 | 1583 | 1347 | 1236 | 1195 | 1237 | 1345 | 1502 | 1711 | 1942 | 2137 | 2271 | 2285 | 2222 | 1978 | 1806 | 1697 | 1583 | 1506 | 1414 | 1329 | 1225 | 1094 | 940.8 | 804.2 | 722.1 | 680.8 | 468 | 315.6 | 216.6 | 145.7 | 95.87 | 67.13 | 94.64 | 762.4 | 9999.9 | 9999.9 | 2625 | 20.51 | 13.87 | 10.4 | 7.895 | 7.32 | 6.776 | 6.838 | 6.727 | 7.001 | 6.883 | 6.539 | 6.88 | 7.61 | 7.822 | 8.419 | 8.47 | 8.599 | 9.533 | 10.34 | 11.75 | 12.99 | 14.15
410 | 1504 | 1322 | 1222 | 1161 | 1168 | 1230 | 1377 | 1553 | 1778 | 1982 | 2129 | 2165 | 2132 | 1981 | 1848 | 1759 | 1680 | 1612 | 1535 | 1441 | 1332 | 1195 | 1032 | 876.9 | 749.8 | 683.6 | 609 | 394.3 | 267 | 175.8 | 118.4 | 79.54 | 58.36 | 86.87 | 759.4 | 9999.9 | 9999.9 | 2360 | 19.55 | 12.84 | 9.94 | 8.322 | 6.812 | 7.175 | 6.936 | 6.682 | 7.234 | 6.623 | 6.991 | 7.965 | 8.22 | 8.42 | 8.698 | 8.979 | 9.599 | 9.972 | 11.04 | 11.73 | 12.24
415 | 1479 | 1298 | 1234 | 1106 | 1125 | 1177 | 1255 | 1428 | 1628 | 1825 | 1996 | 2061 | 2047 | 1918 | 1842 | 1797 | 1733 | 1684 | 1623 | 1538 | 1403 | 1271 | 1101 | 940.6 | 799.6 | 671.8 | 629.1 | 514.4 | 314 | 206.8 | 144.9 | 97.44 | 68.16 | 51.43 | 83.32 | 777.7 | 9999.9 | 9999.9 | 2200 | 19.59 | 12.58 | 10.05 | 8.675 | 7.372 | 6.543 | 7.202 | 6.814 | 7.143 | 6.957 | 7.707 | 7.99 | 8.122 | 8.556 | 8.48 | 9.219 | 9.975 | 10.09 | 11.01 | 12.27
420 | 1418 | 1279 | 1224 | 1095 | 1070 | 1111 | 1177 | 1320 | 1507 | 1713 | 1854 | 1947 | 1944 | 1864 | 1829 | 1787 | 1766 | 1714 | 1676 | 1583 | 1464 | 1309 | 1156 | 990.9 | 832.6 | 693.2 | 593.1 | 554 | 400.6 | 243.5 | 166.7 | 117.7 | 80.51 | 59.06 | 46.63 | 82.4 | 779.4 | 9999.9 | 9999.9 | 2074 | 18.47 | 13.12 | 10.19 | 8.41 | 6.871 | 7.715 | 7.259 | 6.963 | 6.793 | 7.998 | 7.699 | 7.721 | 8.318 | 8.169 | 9.201 | 9.306 | 9.848 | 11.27 | 11.67
425 | 1365 | 1250 | 1187 | 1063 | 1048 | 1046 | 1099 | 1217 | 1387 | 1601 | 1756 | 1813 | 1850 | 1796 | 1786 | 1767 | 1752 | 1724 | 1691 | 1600 | 1487 | 1341 | 1182 | 1013 | 863.5 | 727.1 | 602.6 | 517.2 | 463.6 | 302.6 | 189.7 | 135.1 | 95.49 | 72.45 | 52.7 | 43.86 | 81.67 | 779 | 9999.9 | 9999.9 | 1926 | 17.17 | 12.62 | 9.765 | 8.598 | 6.962 | 7.463 | 7.078 | 6.863 | 7.921 | 8.05 | 8.131 | 8.08 | 7.698 | 9.061 | 9.624 | 9.28 | 10.18 | 10.93
430 | 1302 | 1236 | 1173 | 1054 | 1014 | 987.2 | 1014 | 1128 | 1297 | 1508 | 1628 | 1718 | 1743 | 1724 | 1716 | 1734 | 1740 | 1719 | 1675 | 1607 | 1494 | 1360 | 1197 | 1027 | 875.9 | 741.5 | 615.3 | 500.6 | 438.1 | 375.8 | 228.2 | 150.6 | 111.7 | 85.29 | 62.39 | 49.28 | 41.91 | 81.18 | 756.4 | 9999.9 | 9999.9 | 1993 | 16.81 | 12.35 | 9.653 | 8.057 | 7.313 | 7.144 | 6.66 | 7.915 | 8.507 | 7.61 | 8.216 | 8.106 | 8.682 | 9.052 | 8.525 | 9.801 | 10.33
435 | 1236 | 1188 | 1146 | 1044 | 999.9 | 969.9 | 983.3 | 1068 | 1219 | 1397 | 1529 | 1610 | 1648 | 1635 | 1658 | 1692 | 1702 | 1681 | 1668 | 1594 | 1491 | 1347 | 1188 | 1030 | 886.5 | 752.8 | 626.8 | 511.3 | 413.7 | 367.3 | 293 | 175.8 | 122.4 | 94.48 | 71.11 | 55.41 | 44.12 | 38.28 | 74.15 | 773.7 | 9999.9 | 9999.9 | 1847 | 17 | 11.32 | 9.826 | 8.687 | 7.489 | 7.21 | 7.481 | 7.914 | 8.612 | 7.88 | 7.821 | 8.391 | 8.206 | 9.234 | 8.982 | 9.815
440 | 1165 | 1180 | 1082 | 1012 | 956.4 | 926 | 933.3 | 1002 | 1130 | 1310 | 1414 | 1498 | 1544 | 1545 | 1577 | 1612 | 1629 | 1627 | 1613 | 1546 | 1455 | 1325 | 1174 | 1027 | 882.1 | 750.4 | 629.2 | 511.7 | 410.1 | 326.5 | 309.4 | 227 | 138.4 | 102.8 | 79.67 | 65.26 | 51.25 | 40.61 | 33.17 | 74.33 | 752 | 9999.9 | 9999.9 | 1813 | 17.21 | 11.84 | 9.251 | 8.449 | 7.314 | 7.586 | 8.056 | 7.98 | 7.938 | 8.41 | 7.864 | 8.919 | 8.784 | 8.995 | 9.118
445 | 1099 | 1111 | 1066 | 984 | 930.1 | 893.6 | 896.8 | 945.2 | 1058 | 1205 | 1317 | 1386 | 1426 | 1447 | 1477 | 1523 | 1544 | 1549 | 1547 | 1490 | 1398 | 1279 | 1138 | 997.3 | 858 | 738 | 621.6 | 505.5 | 404 | 317.2 | 266.7 | 252.2 | 173.9 | 115.3 | 90.54 | 71.79 | 58 | 46.99 | 35.58 | 32.25 | 71.52 | 752.6 | 9999.9 | 9999.9 | 1668 | 16.98 | 11.42 | 9.57 | 8.363 | 8.203 | 7.448 | 8.031 | 7.549 | 7.971 | 8.483 | 8.223 | 8.588 | 9.098 | 8.62
450 | 1384 | 1023 | 996 | 941.9 | 879.6 | 827.6 | 833.8 | 863.6 | 975.5 | 1104 | 1184 | 1254 | 1297 | 1329 | 1362 | 1405 | 1435 | 1454 | 1434 | 1401 | 1324 | 1216 | 1097 | 953.3 | 825 | 709.1 | 594.7 | 495.7 | 396.2 | 312.6 | 247.6 | 225.3 | 213.5 | 138.3 | 98.12 | 79.95 | 64.59 | 52.74 | 41.58 | 33.03 | 30.17 | 70.05 | 750.4 | 9999.9 | 9999.9 | 1757 | 16.21 | 11.58 | 8.971 | 8.874 | 8.154 | 7.489 | 7.482 | 7.56 | 8.491 | 7.961 | 8.455 | 8.113 | 8.5
455 | 2933 | 972.5 | 937.4 | 877.5 | 821.2 | 788.6 | 773.7 | 799.2 | 878.4 | 996.8 | 1080 | 1138 | 1180 | 1202 | 1236 | 1280 | 1320 | 1340 | 1336 | 1307 | 1235 | 1140 | 1030 | 897.1 | 780.9 | 671.4 | 570.6 | 475.9 | 385.1 | 306.3 | 243.5 | 202 | 201.3 | 174.1 | 114.2 | 88.9 | 74.23 | 60.57 | 49.39 | 38.46 | 32.69 | 29.16 | 69.05 | 765.8 | 9999.9 | 9999.9 | 1538 | 15.01 | 10.58 | 9.579 | 8.78 | 7.941 | 8.16 | 7.218 | 7.697 | 7.837 | 7.75 | 8.185 | 8.586
460 | 5003 | 1269 | 861.7 | 813.7 | 780.5 | 720.4 | 706.5 | 743.2 | 799.2 | 895.1 | 983.7 | 1022 | 1053 | 1068 | 1122 | 1155 | 1193 | 1220 | 1219 | 1194 | 1132 | 1046 | 942 | 839.3 | 730.2 | 629 | 538.6 | 452.1 | 371.6 | 299.6 | 239.2 | 194.1 | 174.4 | 183.3 | 148 | 102 | 80.79 | 68.71 | 55.25 | 44.65 | 37.34 | 30.19 | 28.53 | 69.11 | 734.2 | 9999.9 | 9999.9 | 1395 | 14.79 | 10.39 | 8.98 | 8.866 | 8.185 | 7.524 | 7.777 | 7.996 | 7.365 | 8.073 | 8.347
465 | 4421 | 2896 | 819.6 | 740.4 | 713.1 | 691.7 | 663.7 | 672.3 | 720.2 | 804.6 | 866.1 | 898.7 | 940.1 | 956.4 | 993.2 | 1045 | 1072 | 1083 | 1096 | 1075 | 1031 | 965.8 | 863.9 | 774.3 | 675.9 | 581.3 | 501.5 | 425.5 | 352.5 | 287.3 | 235.2 | 193.4 | 166.4 | 157.6 | 165.4 | 121.7 | 90.65 | 75.48 | 63.75 | 51.66 | 42.79 | 34.81 | 28.59 | 26.33 | 65.77 | 734.5 | 9999.9 | 9999.9 | 1421 | 15.1 | 11.63 | 9.43 | 8.365 | 7.595 | 7.85 | 7.887 | 7.444 | 7.616 | 7.996
470 | 1590 | 5301 | 1178 | 690.7 | 670.2 | 629.1 | 596.1 | 610.9 | 653.8 | 718.5 | 778.5 | 803 | 824.6 | 849.2 | 874.6 | 908.1 | 941 | 968.5 | 976.2 | 963.6 | 925 | 868.8 | 788.9 | 697.3 | 612 | 533.8 | 461.4 | 402.4 | 336.1 | 274 | 225.5 | 189.4 | 163.5 | 144.2 | 150.8 | 146.9 | 107.8 | 84.18 | 69.58 | 59.94 | 48.65 | 41.75 | 32.29 | 25.76 | 25.12 | 64.11 | 723.4 | 9220 | 9999.9 | 1386 | 15.97 | 11.86 | 10.1 | 8.177 | 7.974 | 7.847 | 7.796 | 7.762 | 7.637
475 | 683.9 | 4768 | 3003 | 636.3 | 616 | 573.6 | 545.1 | 560.7 | 595.2 | 649 | 681 | 704.3 | 726.3 | 734 | 772.3 | 802.5 | 836.4 | 854.7 | 857 | 851.6 | 820.7 | 769.8 | 705.9 | 628.7 | 561.4 | 483.2 | 424 | 365.4 | 311.6 | 264.8 | 219.2 | 185.9 | 163 | 142.8 | 133 | 141.8 | 129.2 | 93.07 | 77.1 | 66.53 | 56.92 | 47.22 | 39.54 | 32.74 | 26.51 | 27.4 | 65.74 | 685.4 | 8090 | 9999.9 | 1051 | 15.84 | 11.87 | 9.587 | 8.493 | 7.441 | 7.462 | 7.15 | 7.487
480 | 567.9 | 1727 | 5517 | 1014 | 558.4 | 531.3 | 512.1 | 526.9 | 545.2 | 598.3 | 621.2 | 637.4 | 633.4 | 649.6 | 680.2 | 705.3 | 741 | 746.6 | 759.9 | 760.8 | 735.6 | 696.4 | 638 | 570.7 | 511.3 | 451.1 | 397.5 | 351.1 | 298.7 | 254.8 | 216.1 | 184.4 | 161.9 | 144.3 | 130.7 | 127.6 | 139.5 | 115.3 | 88.24 | 75.04 | 66.47 | 58.56 | 49.68 | 41.24 | 36.69 | 32.4 | 31.84 | 69.27 | 590 | 7254 | 9999.9 | 1128 | 17.07 | 12.44 | 9.925 | 8.369 | 7.813 | 6.963 | 7.836
485 | 490.5 | 631.9 | 5093 | 2765 | 532.7 | 509 | 507.7 | 503.6 | 536.8 | 565.9 | 576.5 | 576.8 | 570.2 | 576.1 | 598.5 | 625.9 | 651.3 | 674.1 | 676.1 | 678.9 | 661.3 | 625.1 | 580.3 | 527.3 | 478.4 | 420.1 | 378 | 339.8 | 294.5 | 257.3 | 218.9 | 194.2 | 169.8 | 152.2 | 138.4 | 129 | 132.4 | 137.6 | 110.6 | 89.61 | 82.64 | 73.86 | 65.86 | 59 | 53.19 | 46.89 | 42.75 | 42.8 | 70.47 | 562.2 | 7981 | 9999.9 | 960.5 | 18.65 | 13.4 | 10.34 | 9.195 | 7.474 | 7.292
490 | 461.5 | 487.2 | 1843 | 5274 | 899.8 | 496.6 | 519.9 | 528 | 534.4 | 554 | 544.3 | 528.2 | 515 | 518.2 | 535.1 | 553.8 | 581.4 | 597.8 | 606.8 | 617.7 | 600.2 | 569.7 | 532.8 | 494.2 | 450.9 | 407.7 | 367.2 | 336.2 | 302.7 | 268.5 | 237.6 | 207.7 | 181.4 | 163.6 | 149.6 | 138.3 | 135.1 | 144 | 142.4 | 118.5 | 105 | 99.75 | 93.78 | 87.37 | 77.14 | 70.95 | 65.01 | 60.33 | 55.35 | 79.68 | 622.9 | 7422 | 9999.9 | 985.9 | 18.16 | 12.89 | 10.66 | 9.494 | 8.3
495 | 444.3 | 441.2 | 583.6 | 5156 | 2599 | 514.9 | 522 | 546.9 | 559.3 | 558.8 | 533.7 | 502.2 | 470.3 | 453.7 | 466.9 | 485.8 | 513.5 | 526.7 | 544 | 555.1 | 546.1 | 523.8 | 499.7 | 461.8 | 429.4 | 396.7 | 368.1 | 349.1 | 314.6 | 288.7 | 255.2 | 224.5 | 198.7 | 178.4 | 164.2 | 155.5 | 151.7 | 147.7 | 162.2 | 155.3 | 138.9 | 130.7 | 124.4 | 119.4 | 111 | 101.7 | 93.13 | 85.62 | 76.33 | 69.74 | 93.48 | 590.5 | 7788 | 9999.9 | 945.4 | 18.75 | 13.14 | 11.47 | 10.07
500 | 441 | 443.6 | 435.9 | 1879 | 5157 | 849.7 | 543 | 579.1 | 592.8 | 581.7 | 534.9 | 470.2 | 416.1 | 397.1 | 405.1 | 435.1 | 449.4 | 461.5 | 479.6 | 485.3 | 484.4 | 478.1 | 461.4 | 435.7 | 417.2 | 389.6 | 372.2 | 355.9 | 338.5 | 309.6 | 278 | 245.4 | 214.7 | 196.3 | 180.8 | 172.9 | 173 | 171.5 | 176.4 | 189 | 179.8 | 166.1 | 160.3 | 155 | 145.5 | 134.9 | 127.4 | 115.4 | 102.6 | 89.92 | 77.34 | 95.31 | 614 | 7049 | 9999.9 | 887.5 | 18.91 | 14.91 | 13.2
505 | 422.5 | 408.4 | 395 | 546.8 | 5221 | 2439 | 571 | 605.4 | 618.2 | 583.2 | 528.9 | 447.4 | 377.8 | 354.9 | 359.8 | 371 | 394.4 | 405.7 | 421.5 | 433.4 | 443.2 | 433.6 | 426.9 | 410.6 | 401.2 | 384.9 | 377.3 | 363.8 | 352.9 | 325.1 | 296.6 | 260.3 | 230.8 | 209.8 | 194.4 | 189.1 | 189.9 | 188.3 | 192.7 | 205.2 | 217 | 207.1 | 196.9 | 189.2 | 179 | 164.5 | 157.8 | 146.1 | 130.1 | 113.8 | 94.68 | 78.73 | 95.14 | 564 | 7019 | 9871 | 834.5 | 23.74 | 20.98
510 | 375.9 | 415 | 385.7 | 404.6 | 2074 | 4979 | 909.5 | 634.2 | 642.2 | 600.1 | 521.2 | 425 | 345 | 313.4 | 313.8 | 319.3 | 338.1 | 360.5 | 369 | 380.4 | 395.1 | 394.5 | 392.7 | 391.7 | 384.9 | 382.8 | 377.5 | 374.6 | 366.6 | 341.8 | 314 | 276 | 243 | 220.1 | 205.4 | 202.1 | 200.8 | 205.4 | 210.5 | 217.5 | 232.7 | 239.9 | 227.1 | 221.1 | 211.1 | 197.6 | 182.4 | 172.4 | 155.6 | 134.6 | 114.7 | 93.43 | 74.08 | 87.93 | 555.7 | 6375 | 9315 | 826.9 | 39.35
515 | 355.9 | 394.8 | 380.9 | 395.7 | 590.5 | 5347 | 2364 | 649 | 658 | 600.6 | 524.4 | 416.2 | 319.3 | 277.9 | 271.5 | 284.2 | 289.8 | 309.5 | 325.2 | 341.1 | 353.4 | 365.5 | 371 | 374.3 | 368.5 | 375.9 | 375.5 | 375.4 | 365.8 | 346.8 | 319.2 | 282.9 | 248.6 | 223.5 | 209.7 | 206 | 209.1 | 215 | 219.9 | 228.4 | 237.8 | 255.5 | 254.7 | 242 | 233.3 | 218.9 | 206.2 | 192.3 | 178.9 | 154.8 | 136.2 | 113.9 | 93.98 | 79.98 | 102.8 | 542.7 | 6224 | 8795 | 779.6
520 | 325.8 | 370.8 | 401.7 | 395.7 | 434.8 | 2324 | 4876 | 989.6 | 667.3 | 597.4 | 515.8 | 397.6 | 304 | 255.7 | 242.5 | 247 | 263.6 | 274 | 289.3 | 306.6 | 321.1 | 336.6 | 349.2 | 353.9 | 360.5 | 358.3 | 367.5 | 367.7 | 360.5 | 350 | 318.3 | 282.3 | 247.3 | 223.4 | 211 | 208.7 | 210.4 | 219 | 223 | 232.2 | 238.9 | 257.7 | 270.2 | 260.5 | 244.7 | 233.5 | 225 | 212.3 | 198 | 182.4 | 169.8 | 152.7 | 138.8 | 123.1 | 121.8 | 157.1 | 598.1 | 5947 | 8187
525 | 354 | 340 | 423.6 | 416.9 | 474.6 | 668.2 | 5419 | 2417 | 668.2 | 612.1 | 517.5 | 397.9 | 304.3 | 251.4 | 235.8 | 231.1 | 233.7 | 246.8 | 260.7 | 279 | 300.8 | 317.7 | 334.9 | 352.8 | 359.3 | 357.2 | 357.4 | 360.2 | 359.4 | 338.6 | 311.2 | 278.2 | 245.7 | 220.4 | 207.5 | 206.3 | 209.5 | 216.1 | 222.7 | 233.8 | 241.9 | 253.4 | 267.7 | 271.3 | 257.8 | 251.1 | 242.2 | 237.6 | 228.9 | 223.4 | 224.8 | 215.8 | 216.9 | 210.7 | 223.6 | 248.9 | 324.7 | 780.4 | 5637
530 | 338.5 | 373.5 | 460.5 | 495.8 | 521.4 | 549.2 | 2638 | 4995 | 1030 | 634.6 | 547.8 | 424.9 | 328 | 268 | 243.5 | 222.9 | 220.1 | 228 | 242.9 | 263.5 | 290.6 | 313.5 | 338.5 | 363.7 | 372.2 | 359 | 350.6 | 350.8 | 342.4 | 328.9 | 303.9 | 272.9 | 239.3 | 216.3 | 204.6 | 198.3 | 203.1 | 211.3 | 220.9 | 227 | 240 | 248.2 | 262.1 | 273.6 | 275.4 | 267.9 | 268.4 | 270.2 | 275.8 | 282.4 | 307.4 | 326.5 | 348.6 | 359.2 | 388.9 | 445.4 | 537.5 | 674.1 | 1139
535 | 377.2 | 390.1 | 475.8 | 624.6 | 609.2 | 577.3 | 789.4 | 5777 | 2427 | 683.8 | 586.1 | 466.9 | 372.1 | 307 | 261 | 229.7 | 216.5 | 218.5 | 232.6 | 259.8 | 289.2 | 315.5 | 351.3 | 394.4 | 395.6 | 370.4 | 354.7 | 339.9 | 334.2 | 315.9 | 294.7 | 264.4 | 236.2 | 213.3 | 199.9 | 194.9 | 198 | 206 | 214.5 | 223.1 | 233.3 | 244.3 | 260.9 | 275.2 | 285.7 | 294.6 | 298.6 | 313.4 | 336.2 | 364.3 | 419.3 | 466.4 | 515.2 | 544.8 | 603.2 | 701.3 | 861.5 | 1044 | 1234
540 | 401.9 | 450 | 551.4 | 690.8 | 703.9 | 630.5 | 640.5 | 3083 | 4966 | 1034 | 645.3 | 520.3 | 415.1 | 345.6 | 282.2 | 242.1 | 215.2 | 210.8 | 225.7 | 250.8 | 288.1 | 321.2 | 368.4 | 415.9 | 424.5 | 387.9 | 352.9 | 330.9 | 322.2 | 305 | 280.1 | 258.1 | 231.4 | 209 | 195 | 190.1 | 194.5 | 196.9 | 203.1 | 208.8 | 223.2 | 239.8 | 255.3 | 274.1 | 294.3 | 311.2 | 327.2 | 357.3 | 388.1 | 441.3 | 525 | 607.5 | 682.2 | 737.5 | 818.1 | 954 | 1161 | 1428 | 1673
545 | 420.2 | 467.9 | 555.1 | 714.1 | 762.2 | 635.4 | 637.3 | 929.3 | 5824 | 2285 | 665 | 542.3 | 441.7 | 367.5 | 298.6 | 242.9 | 212.1 | 202 | 214.6 | 242.3 | 278.1 | 317.4 | 375.9 | 426.8 | 430 | 385.5 | 341.5 | 316.8 | 302.5 | 287.5 | 266.6 | 240.1 | 217.5 | 197.4 | 183 | 180.8 | 182.5 | 186.3 | 189.9 | 200.5 | 211.8 | 227.6 | 243.6 | 267.4 | 285.1 | 314.4 | 343.7 | 372.4 | 414.4 | 480.2 | 590.8 | 684.8 | 789.9 | 860.8 | 956.7 | 1112 | 1374 | 1677 | 1956
550 | 396.1 | 439.5 | 545.6 | 682.1 | 758.8 | 626.4 | 593.2 | 677.3 | 3141 | 4638 | 944.8 | 516 | 432.3 | 363.3 | 285.2 | 227.8 | 193.2 | 186.5 | 195.2 | 219.8 | 256.3 | 298.3 | 353.1 | 406.5 | 406.5 | 360.9 | 318.8 | 289.1 | 273.7 | 259.1 | 241.1 | 221.9 | 198.7 | 183.4 | 167.4 | 163.6 | 165.6 | 168.2 | 170.1 | 179.6 | 191.3 | 206.2 | 225.5 | 247.1 | 267.4 | 294.6 | 325.6 | 363.2 | 410.3 | 473.4 | 588 | 695.4 | 803.3 | 878.6 | 974.3 | 1150 | 1395 | 1723 | 2020
555 | 368.7 | 407.9 | 503.2 | 616.8 | 693.3 | 590.3 | 549.4 | 601 | 877.5 | 5629 | 2068 | 477.9 | 385.8 | 325.1 | 257.8 | 205 | 172.6 | 161.4 | 169.8 | 195.1 | 227.3 | 261.8 | 312.2 | 366.8 | 366.7 | 323.2 | 283.8 | 254.3 | 236.3 | 228.5 | 210.8 | 196.4 | 176.2 | 159.4 | 148.8 | 145.3 | 145 | 146.6 | 151.7 | 160 | 169 | 181.9 | 200.4 | 220 | 240.2 | 261 | 294.4 | 331.9 | 374.3 | 439.9 | 543.2 | 636.9 | 739.3 | 811.8 | 903.5 | 1049 | 1289 | 1591 | 1871
560 | 320.5 | 369.1 | 432.8 | 526.2 | 560.3 | 528.7 | 472.1 | 502.1 | 564.9 | 3122 | 4330 | 656 | 326.1 | 272.8 | 216.6 | 168.3 | 143.1 | 134.1 | 141.1 | 164.1 | 192.2 | 219.1 | 268 | 306.5 | 308.5 | 275.3 | 236.9 | 216.9 | 205.9 | 193.7 | 181.2 | 167.3 | 148.4 | 135.9 | 126.9 | 122.8 | 121.8 | 124.9 | 129.1 | 134.3 | 144.5 | 156.6 | 170.3 | 186.9 | 203.9 | 225 | 247.3 | 281.6 | 318.4 | 371.6 | 462.5 | 541 | 626 | 687.2 | 758.1 | 889.5 | 1091 | 1343 | 1576
565 | 270.4 | 295.3 | 338.7 | 420.8 | 441.4 | 449.6 | 410.6 | 431.6 | 473.2 | 689.8 | 5458 | 1600 | 268.6 | 216.3 | 176.1 | 136.6 | 118 | 108.9 | 113.7 | 130.7 | 154.2 | 180.3 | 212.2 | 248.5 | 249.1 | 219 | 192 | 178.2 | 170.1 | 158.3 | 149.9 | 135.5 | 125 | 111.7 | 104.8 | 102.1 | 102 | 104.6 | 108.6 | 112.5 | 117.4 | 129.3 | 140.1 | 154.5 | 171.2 | 184.4 | 199.9 | 227.7 | 258.9 | 300.5 | 369.3 | 437.3 | 501 | 552.2 | 612.2 | 710.9 | 873 | 1075 | 1260
570 | 259.9 | 256.8 | 285.9 | 337.7 | 350.2 | 355.6 | 366 | 367.3 | 408.5 | 422.3 | 2975 | 3615 | 427.1 | 171.2 | 138.9 | 107.1 | 92.88 | 86.19 | 89.6 | 102.1 | 120.4 | 143.7 | 171.1 | 198.6 | 198.7 | 176.7 | 156 | 145.8 | 135.9 | 128.4 | 121.6 | 113.2 | 100.9 | 90.32 | 86.5 | 82.79 | 84.55 | 86.49 | 89.33 | 93.66 | 97.6 | 107.3 | 115.6 | 125.2 | 136.8 | 146 | 161.2 | 181.3 | 203.8 | 237.3 | 292.6 | 338.1 | 387.7 | 424.3 | 470.4 | 552.3 | 674.1 | 827.3 | 972.4
575 | 261 | 231 | 225.7 | 271 | 288.6 | 271 | 334.1 | 351.4 | 390.7 | 389.3 | 580.6 | 4693 | 1292 | 141.3 | 107.3 | 82.88 | 69.28 | 66.34 | 71.45 | 81.48 | 95.57 | 110.7 | 131.2 | 155.7 | 155 | 138.8 | 124.8 | 116.7 | 109.8 | 104.3 | 100.8 | 90.48 | 80.98 | 73.24 | 68.58 | 67.74 | 67.9 | 70.16 | 71.4 | 75.77 | 80.28 | 86.16 | 93.68 | 100.8 | 108.2 | 117.1 | 127.8 | 140 | 158 | 182.1 | 222.8 | 257.4 | 294.4 | 323.4 | 358 | 418.1 | 509.2 | 623.1 | 736.8
580 | 265.4 | 218 | 206.6 | 214.6 | 234 | 236.1 | 306.3 | 367.3 | 396 | 404.3 | 362.9 | 2520 | 3316 | 300.2 | 84.9 | 65.4 | 54.62 | 54.36 | 55.23 | 64.51 | 74.1 | 88.01 | 103.1 | 118.7 | 119.9 | 109.6 | 101.2 | 92.29 | 87.36 | 86.57 | 79.55 | 73.69 | 65.82 | 60.11 | 56.18 | 54.38 | 56.08 | 56.06 | 58.2 | 60.31 | 66.27 | 69.39 | 73.68 | 81.92 | 87.67 | 93.83 | 100.3 | 110.2 | 122.4 | 142.3 | 172.8 | 201.2 | 227 | 245.6 | 270.5 | 315.7 | 388.5 | 477.9 | 552.5
585 | 283.2 | 203.7 | 174.7 | 184.4 | 198.8 | 208.1 | 258.8 | 369.5 | 406.2 | 425.8 | 367.7 | 461.3 | 4490 | 1083 | 71.24 | 51.86 | 44.46 | 43.34 | 44.55 | 51.38 | 59.74 | 69.12 | 81.61 | 95.67 | 96.17 | 87.11 | 81.74 | 75.83 | 72.55 | 68.97 | 66.07 | 59.74 | 53.98 | 49.62 | 45.14 | 45.05 | 45.33 | 45.37 | 48.09 | 49.02 | 52.8 | 58.21 | 61.52 | 64.87 | 71.13 | 75.58 | 79.46 | 87.6 | 96.98 | 111.5 | 134.9 | 155.8 | 176.4 | 191.8 | 212.2 | 244.9 | 296.4 | 369.1 | 431.1
590 | 311 | 202.4 | 158.1 | 154.4 | 173 | 189.6 | 240.8 | 373.3 | 428 | 440.2 | 385 | 256.4 | 2265 | 3010 | 203.7 | 43.11 | 36.75 | 34.65 | 35.44 | 40.6 | 47.7 | 55.4 | 66.14 | 75.72 | 74.8 | 70.21 | 64.92 | 60.53 | 58.57 | 55.74 | 52.59 | 48.08 | 43.33 | 38.83 | 36.43 | 35.89 | 36.4 | 37.56 | 37.89 | 39.85 | 43.02 | 47.38 | 49.45 | 53.48 | 58.1 | 59.67 | 64.62 | 70.6 | 75.72 | 87.71 | 106.1 | 124 | 139.5 | 152.2 | 162.6 | 189.9 | 234.6 | 286.2 | 337.6
595 | 355.2 | 204.5 | 151.1 | 148.4 | 159.3 | 173.3 | 236.8 | 352.5 | 458 | 460.2 | 397.4 | 252.5 | 315.5 | 4036 | 895.8 | 39.8 | 30.63 | 28.62 | 30.84 | 32.49 | 37.59 | 45.21 | 53.59 | 61.7 | 62.18 | 56.11 | 53.73 | 49.24 | 48.77 | 46.96 | 43.39 | 39.2 | 36.03 | 33.43 | 30.63 | 30.18 | 30.78 | 30.89 | 32.28 | 32.78 | 35.36 | 38.41 | 40.54 | 43.36 | 47.42 | 49.69 | 53.45 | 58.15 | 62.73 | 71.12 | 84.8 | 98.48 | 111.7 | 120.1 | 132.7 | 151.6 | 187.4 | 227.6 | 267.6
600 | 336.7 | 210.4 | 141.7 | 131.9 | 140.2 | 171.6 | 221.5 | 331.9 | 465.1 | 471 | 406.7 | 256.4 | 122.6 | 2061 | 2653 | 139 | 26.18 | 23.95 | 25.79 | 27.59 | 32.47 | 35.94 | 42.05 | 49.67 | 50.3 | 47.51 | 43.26 | 40.34 | 40.68 | 38.05 | 35.49 | 33.8 | 30.14 | 26.86 | 24.9 | 24.82 | 24.29 | 26.94 | 26.67 | 28.06 | 29.67 | 30.36 | 33.55 | 36.36 | 38.05 | 41.31 | 43.26 | 46.26 | 50.45 | 56.43 | 68.76 | 78.39 | 89.33 | 97.5 | 104.6 | 122.4 | 146.7 | 182.6 | 211.4