## Sheet1
Report date: | 19:34:38, 09/02/2024
Sample: | 1
File name:
Run date: | 19:24:12, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 235.0/510.0 | 267
2 | 240.0/525.0 | 244.7
3 | 245.0/535.0 | 210.1
4 | 250.0/275.0 | 559.2
5 | 250.0/550.0 | 197.3
6 | 255.0/280.0 | 651.6
7 | 255.0/560.0 | 185.5
8 | 260.0/575.0 | 185.1
9 | 265.0/295.0 | 1306
10 | 265.0/590.0 | 188.1
11 | 270.0/300.0 | 1865
12 | 270.0/335.0 | 2078
13 | 275.0/305.0 | 2253
14 | 275.0/330.0 | 2060
15 | 280.0/315.0 | 2133
16 | 305.0/425.0 | 711.6
17 | 310.0/350.0 | 596
18 | 315.0/355.0 | 526.9
19 | 320.0/360.0 | 430.1
20 | 325.0/365.0 | 344.6
21 | 330.0/375.0 | 352.4
22 | 335.0/380.0 | 357.5
23 | 340.0/385.0 | 338.6
24 | 345.0/395.0 | 340.3
25 | 350.0/400.0 | 343.9
26 | 355.0/405.0 | 333.9
27 | 360.0/410.0 | 304.5
28 | 365.0/420.0 | 277.3
29 | 370.0/425.0 | 243.2
30 | 380.0/440.0 | 171.3
31 | 385.0/445.0 | 152.5
32 | 390.0/450.0 | 131.9
33 | 395.0/460.0 | 113
34 | 400.0/465.0 | 101.1
35 | 405.0/290.0 | 5.238
36 | 405.0/470.0 | 87.66
37 | 410.0/480.0 | 74.56
38 | 415.0/485.0 | 69.79
39 | 420.0/495.0 | 70.07
40 | 435.0/515.0 | 94.02
41 | 440.0/520.0 | 95.18
42 | 445.0/325.0 | 6.852
43 | 445.0/525.0 | 89.61
44 | 455.0/320.0 | 7.302
45 | 500.0/275.0 | 5.965
46 | 510.0/280.0 | 6.895
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 55.96 | 36.63 | 84.21 | 480.6 | 262.4 | 62.26 | 215 | 9999.9 | 9999.9 | 5262 | 39.7 | 18.34 | 12.95 | 9.833 | 7.564 | 10.35 | 5.721 | 5.496 | 5.387 | 4.723 | 4.566 | 4.18 | 3.931 | 4.332 | 4.162 | 3.842 | 4.013 | 4.078 | 4.271 | 5.086 | 4.649 | 4.375 | 4.444 | 4.031 | 3.744 | 3.525 | 3.85 | 3.556 | 3.579 | 3.023 | 2.915 | 3.211 | 3.007 | 2.846 | 2.859 | 2.156 | 1.877 | 1.836 | 1.661 | 1.751 | 1.868 | 2.857 | 4.961 | 5.373 | 3.502 | 1.691 | 1.825 | 2.139 | 2.045
275 | 113.8 | 48.35 | 43.03 | 175.8 | 559.2 | 235.8 | 120.5 | 861.7 | 9999.9 | 9999.9 | 4625 | 36.48 | 16.72 | 11.77 | 10.75 | 12.94 | 6.094 | 5.706 | 5.523 | 5.425 | 5.06 | 4.478 | 4.36 | 4.21 | 3.973 | 4.158 | 4.068 | 4.09 | 4.236 | 4.524 | 4.443 | 4.253 | 4.741 | 4.623 | 4.202 | 3.95 | 3.246 | 4.203 | 3.551 | 3.636 | 3.567 | 3.209 | 2.953 | 3.337 | 2.961 | 2.76 | 2.458 | 2.116 | 1.677 | 2.033 | 1.716 | 1.697 | 2.173 | 3.967 | 5.965 | 4.957 | 2.841 | 2.232 | 2.065
280 | 200.5 | 77.36 | 54.93 | 74.82 | 321 | 651.6 | 257.7 | 230.9 | 919.3 | 9999.9 | 9999.9 | 4323 | 35.45 | 15.9 | 12.06 | 14.95 | 7.752 | 6.306 | 6.429 | 5.641 | 5.138 | 5.117 | 4.922 | 4.905 | 4.043 | 4.161 | 4.159 | 3.777 | 3.923 | 4.442 | 4.428 | 3.946 | 4.682 | 4.916 | 4.668 | 3.966 | 3.681 | 3.625 | 4.184 | 4.214 | 3.909 | 3.587 | 3.738 | 3.868 | 3.651 | 3.194 | 2.488 | 2.298 | 1.823 | 2.111 | 1.772 | 1.966 | 2.143 | 2.115 | 2.819 | 5.697 | 6.895 | 4.924 | 3.067
285 | 385.1 | 132.8 | 78.81 | 88.17 | 139.3 | 525.8 | 733.7 | 367.4 | 379.4 | 1074 | 9999.9 | 9999.9 | 3991 | 31.17 | 15.01 | 19.78 | 8.897 | 6.776 | 5.849 | 6.279 | 5.783 | 5.224 | 4.89 | 4.373 | 4.621 | 4.205 | 4.279 | 4.274 | 4.146 | 4.434 | 4.109 | 4.192 | 4.505 | 4.649 | 4.973 | 4.88 | 4.214 | 3.551 | 3.634 | 3.997 | 4.006 | 4.218 | 4.293 | 4.674 | 3.874 | 3.638 | 3.315 | 2.644 | 2.4 | 2.301 | 2.257 | 2.017 | 1.984 | 1.97 | 2.378 | 2.888 | 4.338 | 8.875 | 9.303
290 | 680.8 | 257.5 | 132.9 | 121.5 | 164.6 | 289.2 | 856.5 | 896.2 | 644.4 | 643.1 | 1179 | 9999.9 | 9999.9 | 3549 | 28.46 | 25.5 | 10.55 | 9.259 | 7.197 | 7.096 | 5.774 | 5.981 | 4.543 | 4.542 | 5.041 | 4.353 | 4.563 | 4.646 | 4.487 | 5.168 | 4.038 | 4.34 | 4.446 | 4.535 | 4.337 | 5.238 | 4.477 | 4.205 | 3.725 | 4.045 | 4.476 | 4.723 | 5.036 | 4.8 | 4.848 | 4.477 | 3.643 | 3.171 | 2.947 | 2.545 | 2.499 | 2.196 | 2.372 | 2.468 | 2.503 | 2.844 | 3.289 | 4.631 | 7.924
295 | 983.5 | 432.5 | 224.9 | 173 | 222.7 | 349.4 | 577.9 | 1306 | 1245 | 995.3 | 814.3 | 1172 | 9999.9 | 9999.9 | 3204 | 48.36 | 14.58 | 10.86 | 8.711 | 9.182 | 6.75 | 6.082 | 5.944 | 4.96 | 4.697 | 4.603 | 4.596 | 4.62 | 4.344 | 5.345 | 4.509 | 4.546 | 4.313 | 4.341 | 4.217 | 4.362 | 4.638 | 4.654 | 4.206 | 4.017 | 4.415 | 4.664 | 5.464 | 6.069 | 5.47 | 5.354 | 5.233 | 3.989 | 3.314 | 3.204 | 2.796 | 2.577 | 2.435 | 2.759 | 2.994 | 3.602 | 3.691 | 4.584 | 5.244
300 | 1298 | 623 | 317.3 | 252.2 | 313 | 460.4 | 664.9 | 1038 | 1865 | 1539 | 1096 | 713.5 | 998.2 | 9999.9 | 9999.9 | 4095 | 26.5 | 13.59 | 11.13 | 9.962 | 8.457 | 6.857 | 6.035 | 5.375 | 5.56 | 4.708 | 5.031 | 4.532 | 4.521 | 4.921 | 4.329 | 4.098 | 4.54 | 4.405 | 4.303 | 4.241 | 4.254 | 4.56 | 4.388 | 4.651 | 4.459 | 4.846 | 5.174 | 6.186 | 5.768 | 6.023 | 5.266 | 5.002 | 4.025 | 3.827 | 3.226 | 3.18 | 2.963 | 3.11 | 3.766 | 3.866 | 4.145 | 4.977 | 5.847
305 | 1486 | 758.4 | 431.4 | 359.3 | 410.4 | 593.2 | 805.9 | 1092 | 1657 | 2253 | 1492 | 895.9 | 457.9 | 918.4 | 9999.9 | 9999.9 | 2732 | 22.92 | 13.96 | 13.03 | 10.05 | 7.502 | 6.471 | 6.443 | 5.723 | 5.52 | 4.89 | 5.248 | 4.501 | 5.325 | 4.622 | 4.57 | 4.411 | 4.337 | 4.325 | 3.664 | 3.964 | 4.329 | 4.149 | 4.744 | 4.656 | 4.588 | 5.077 | 6.498 | 6.514 | 6.904 | 5.903 | 4.945 | 4.487 | 4.442 | 3.695 | 3.529 | 3.176 | 3.81 | 4.067 | 4.605 | 5.22 | 5.973 | 7.098
310 | 1676 | 874.8 | 522.3 | 450.2 | 543.3 | 716.1 | 926.5 | 1221 | 1615 | 2162 | 2121 | 1153 | 577.8 | 316.4 | 824.1 | 9999.9 | 9999.9 | 2551 | 25.56 | 15.54 | 12.63 | 9.081 | 7.35 | 6.402 | 6.057 | 5.41 | 5.528 | 5.064 | 5.158 | 5.664 | 4.071 | 4.562 | 4.759 | 4.343 | 4.408 | 4.214 | 4.26 | 4.145 | 4.365 | 4.668 | 5.177 | 4.856 | 5.356 | 5.639 | 6.36 | 6.615 | 6.534 | 5.078 | 4.818 | 4.706 | 4.385 | 4.065 | 3.845 | 4.268 | 4.893 | 5.803 | 6.331 | 6.799 | 7.8
315 | 1654 | 978.5 | 620 | 577.9 | 665 | 836.5 | 1064 | 1325 | 1710 | 1984 | 2133 | 1685 | 769.4 | 383.1 | 214.1 | 947.9 | 9999.9 | 9999.9 | 2463 | 26.36 | 14.94 | 11.66 | 8.865 | 7.678 | 6.656 | 6.444 | 6.057 | 6.07 | 5.308 | 6.103 | 4.969 | 4.608 | 4.211 | 4.054 | 4.227 | 4.322 | 3.886 | 3.959 | 4.101 | 4.316 | 4.858 | 4.794 | 5.632 | 5.963 | 5.803 | 6.669 | 6.813 | 5.851 | 4.886 | 4.819 | 4.43 | 4.208 | 4.476 | 4.797 | 5.65 | 5.964 | 6.894 | 7.528 | 8.756
320 | 1695 | 1040 | 726.6 | 698.6 | 795.7 | 987.8 | 1208 | 1414 | 1855 | 2016 | 1902 | 1944 | 1252 | 542.2 | 279.1 | 239.3 | 817.5 | 9999.9 | 9999.9 | 2820 | 24.42 | 16.21 | 12.29 | 9.096 | 7.783 | 6.85 | 6.741 | 5.881 | 5.853 | 7.254 | 4.717 | 4.958 | 4.384 | 4.058 | 4.457 | 4.193 | 3.649 | 3.941 | 3.535 | 3.909 | 4.531 | 4.931 | 5.514 | 6.235 | 6.39 | 7.302 | 7.018 | 6.309 | 5.515 | 5.741 | 5.185 | 5.406 | 5.111 | 5.703 | 6.495 | 7.064 | 8.204 | 8.126 | 9.782
325 | 1754 | 1090 | 777.6 | 779.6 | 886.6 | 1099 | 1293 | 1503 | 1957 | 2049 | 1937 | 1692 | 1601 | 853.7 | 372.5 | 247.5 | 201.8 | 812.6 | 9999.9 | 9999.9 | 2585 | 25.26 | 14.95 | 13.23 | 9.505 | 8.003 | 6.936 | 6.825 | 5.778 | 7.131 | 5.492 | 4.623 | 4.191 | 4.57 | 4.293 | 4.115 | 3.655 | 3.686 | 4.236 | 4.091 | 3.964 | 4.48 | 5.194 | 6.852 | 6.333 | 6.833 | 6.404 | 6.332 | 5.544 | 5.648 | 5.417 | 5.492 | 5.443 | 6.206 | 6.434 | 7.634 | 8.248 | 9.215 | 9.899
330 | 1682 | 1093 | 815 | 844.2 | 970.5 | 1164 | 1375 | 1565 | 2032 | 2060 | 1988 | 1686 | 1368 | 1200 | 538.3 | 288.7 | 185.9 | 176.7 | 781.2 | 9999.9 | 9999.9 | 2735 | 24.26 | 16.09 | 12.25 | 9.096 | 8.43 | 7.353 | 6.304 | 7.937 | 5.398 | 4.633 | 4.747 | 4.543 | 4.045 | 3.896 | 4.192 | 3.918 | 3.864 | 3.782 | 3.792 | 4.26 | 5.811 | 6.555 | 6.02 | 6.742 | 6.673 | 5.954 | 5.535 | 6.324 | 5.984 | 5.698 | 5.885 | 6.589 | 6.976 | 8.094 | 8.457 | 9.738 | 11.17
335 | 1641 | 1077 | 848.5 | 890.6 | 1033 | 1205 | 1429 | 1599 | 2078 | 2045 | 1998 | 1769 | 1354 | 1026 | 914.4 | 402.2 | 224.8 | 165.8 | 138.7 | 770.6 | 9999.9 | 9999.9 | 2640 | 25.5 | 15.93 | 12.02 | 10.02 | 8.819 | 7.026 | 8.43 | 5.092 | 4.519 | 4.92 | 4.635 | 4.148 | 4.598 | 3.677 | 3.655 | 3.697 | 3.681 | 4.247 | 4.516 | 4.721 | 6.044 | 5.956 | 7.047 | 6.759 | 5.553 | 5.215 | 5.953 | 5.971 | 5.905 | 6.5 | 6.72 | 7.635 | 7.913 | 9.04 | 9.841 | 11.78
340 | 1544 | 1087 | 861.9 | 904.6 | 1049 | 1216 | 1416 | 1608 | 2057 | 1991 | 1978 | 1772 | 1395 | 917.8 | 819.6 | 712.8 | 296.9 | 186.7 | 114.3 | 98.57 | 762 | 9999.9 | 9999.9 | 2838 | 24.32 | 15.63 | 13.71 | 10.72 | 8.386 | 9.527 | 5.757 | 5.519 | 5.209 | 4.584 | 4.471 | 4.184 | 4.096 | 3.772 | 3.742 | 3.755 | 3.702 | 4.747 | 4.369 | 5.686 | 5.492 | 7.261 | 6.712 | 5.592 | 5.021 | 5.558 | 5.708 | 6.324 | 6.561 | 6.883 | 8.12 | 8.642 | 9.035 | 9.913 | 11.28
345 | 1382 | 986.9 | 801.1 | 871.6 | 1001 | 1168 | 1391 | 1573 | 1974 | 1904 | 1898 | 1714 | 1356 | 902.2 | 620.9 | 696.5 | 501.5 | 210.5 | 117.2 | 62.82 | 88.36 | 767.6 | 9999.9 | 9999.9 | 2928 | 23.86 | 16.39 | 13.82 | 10.42 | 11.16 | 6.861 | 5.508 | 5.322 | 4.39 | 4.361 | 4.801 | 4.21 | 4.279 | 3.737 | 3.739 | 3.974 | 4.129 | 4.535 | 5.366 | 5.203 | 6.451 | 6.211 | 5.863 | 5.339 | 5.599 | 5.268 | 5.64 | 6.559 | 6.95 | 7.407 | 8.328 | 9.092 | 10.63 | 10.81
350 | 1298 | 904.3 | 743.2 | 824.2 | 968.6 | 1122 | 1297 | 1490 | 1849 | 1764 | 1779 | 1628 | 1314 | 870.8 | 593.4 | 466 | 596 | 359.8 | 132 | 68.75 | 54.2 | 87.65 | 751 | 9999.9 | 9999.9 | 2835 | 25.83 | 16.92 | 13.26 | 15.73 | 7.923 | 6.34 | 5.688 | 5.208 | 4.732 | 4.323 | 3.925 | 4.057 | 3.734 | 3.764 | 3.899 | 4.01 | 4.921 | 5.061 | 5.096 | 5.858 | 5.542 | 5.182 | 5.132 | 5.32 | 5.326 | 5.439 | 5.891 | 6.5 | 7.484 | 8.327 | 9.019 | 9.55 | 10.2
355 | 1158 | 848.7 | 706.4 | 755.3 | 887.3 | 1060 | 1237 | 1394 | 1692 | 1620 | 1653 | 1520 | 1250 | 847.1 | 587.2 | 429.5 | 384.2 | 526.9 | 241.4 | 84.95 | 61.94 | 53.05 | 86.58 | 762.8 | 9999.9 | 9999.9 | 3008 | 24.92 | 16.8 | 22.86 | 8.614 | 6.4 | 5.848 | 5.281 | 4.676 | 4.335 | 4.12 | 4.06 | 4.024 | 3.973 | 3.897 | 4.333 | 4.481 | 4.913 | 4.906 | 5.083 | 5.453 | 4.767 | 5.021 | 5.03 | 5.489 | 5.351 | 6.051 | 6.537 | 7.243 | 8.02 | 8.324 | 9.071 | 9.795
360 | 1079 | 763.8 | 668.4 | 714.3 | 825.1 | 962.2 | 1116 | 1283 | 1539 | 1507 | 1499 | 1396 | 1159 | 802.4 | 566.4 | 417.7 | 312.3 | 356.3 | 430.1 | 154.1 | 76.67 | 61.27 | 51.32 | 86.04 | 752.8 | 9999.9 | 9999.9 | 3253 | 25.54 | 28.69 | 11.52 | 8.497 | 6.774 | 6.147 | 5.08 | 4.875 | 4.232 | 4.193 | 3.918 | 3.631 | 3.721 | 4.106 | 4.672 | 4.662 | 4.494 | 4.968 | 4.827 | 4.511 | 4.593 | 5.11 | 5.345 | 5.34 | 5.724 | 6.294 | 6.596 | 7.103 | 7.112 | 8.646 | 10.09
365 | 976.7 | 701.6 | 596 | 656.8 | 750.8 | 879.7 | 1031 | 1147 | 1347 | 1354 | 1362 | 1289 | 1054 | 753.3 | 541.9 | 412.7 | 307.9 | 256.1 | 333.7 | 344.6 | 122.2 | 77.33 | 57.72 | 50.14 | 85.8 | 761.4 | 9999.9 | 9999.9 | 3030 | 43.86 | 14.64 | 10.83 | 8.629 | 6.501 | 5.428 | 4.941 | 4.551 | 3.687 | 3.689 | 3.786 | 3.826 | 4.163 | 4.254 | 4.798 | 4.424 | 4.976 | 4.496 | 4.451 | 3.727 | 4.125 | 4.992 | 4.949 | 5.663 | 5.76 | 6.281 | 6.771 | 7.613 | 7.848 | 8.957
370 | 869.1 | 646.5 | 558.2 | 594.3 | 697.4 | 810.6 | 918.4 | 1030 | 1208 | 1218 | 1222 | 1156 | 974.7 | 708.7 | 534.1 | 414.2 | 322.3 | 260.9 | 220.6 | 338.3 | 282.3 | 108 | 73.74 | 58.16 | 50 | 84.05 | 778.4 | 9999.9 | 9999.9 | 5338 | 22.68 | 13.73 | 10.46 | 8.279 | 6.063 | 5.419 | 5.109 | 4.786 | 4.309 | 4.195 | 4.006 | 3.967 | 4.227 | 4.458 | 4.138 | 4.654 | 4.18 | 4.061 | 4.152 | 4.132 | 4.748 | 4.969 | 4.768 | 5.847 | 5.732 | 6.701 | 6.728 | 7.375 | 7.849
375 | 799.5 | 595.4 | 528.1 | 528.4 | 618.3 | 718 | 831.3 | 930.9 | 1069 | 1097 | 1096 | 1055 | 898.4 | 669.1 | 519.2 | 420.1 | 337.9 | 279.1 | 229.2 | 216.9 | 352.4 | 235.1 | 99.96 | 74.79 | 59.68 | 49.37 | 88.3 | 795.4 | 9999.9 | 9999.9 | 2657 | 20.45 | 13.72 | 10.1 | 8.046 | 6.323 | 5.063 | 4.89 | 4.352 | 4.681 | 4.239 | 4.252 | 4.175 | 4.303 | 4.207 | 4.748 | 4.06 | 3.928 | 3.575 | 4.284 | 4.242 | 4.474 | 5.185 | 5.488 | 5.635 | 6 | 5.651 | 7.041 | 7.937
380 | 775.9 | 575.3 | 500 | 520 | 551.1 | 649.8 | 727.7 | 826.9 | 944.3 | 989.3 | 992.6 | 962.8 | 839.5 | 656.6 | 524.8 | 440.2 | 369 | 316.9 | 255.6 | 217.4 | 242.2 | 357.5 | 190.5 | 95.93 | 76.73 | 60.44 | 53.1 | 90.06 | 788.2 | 9999.9 | 9999.9 | 2364 | 21.03 | 11.98 | 9.739 | 7.447 | 5.648 | 4.946 | 4.377 | 4.657 | 4.095 | 4.173 | 4.187 | 4.171 | 3.828 | 4.073 | 4.027 | 3.657 | 3.971 | 4.174 | 4.167 | 4.288 | 4.655 | 5.223 | 5.518 | 6.221 | 5.822 | 6.132 | 7.3
385 | 715.7 | 553 | 483.3 | 482.8 | 518.4 | 589 | 643.6 | 738 | 848.7 | 891.5 | 914.5 | 906.3 | 800.7 | 653.3 | 544.3 | 467.8 | 401.7 | 351.9 | 299.1 | 260.4 | 229.4 | 281.3 | 338.6 | 164 | 100.5 | 78.89 | 65.65 | 53.84 | 88.7 | 945.5 | 9999.9 | 9999.9 | 2574 | 18.08 | 12.03 | 9.642 | 6.906 | 5.844 | 4.476 | 4.434 | 4.572 | 4.06 | 4.561 | 3.985 | 3.922 | 4.151 | 4.096 | 3.771 | 3.404 | 3.988 | 4.331 | 4.511 | 4.636 | 4.39 | 5.373 | 5.293 | 5.389 | 6.129 | 6.581
390 | 699.1 | 545.3 | 478.2 | 448.2 | 493.6 | 548.8 | 585.5 | 666.2 | 760.2 | 811.6 | 842.2 | 849.6 | 773.8 | 653.2 | 571.3 | 509.1 | 452.9 | 405.5 | 352.8 | 314.4 | 269.1 | 246 | 313.3 | 307.9 | 154.1 | 105.8 | 83.94 | 66.7 | 50.72 | 102.5 | 756.8 | 9999.9 | 9999.9 | 2231 | 18.56 | 11.82 | 8.603 | 6.658 | 5.383 | 4.631 | 4.231 | 4.268 | 4.16 | 4.532 | 4.156 | 4.026 | 3.969 | 3.793 | 3.366 | 3.551 | 3.874 | 4.294 | 4.452 | 4.691 | 4.565 | 4.948 | 5.595 | 5.877 | 6.089
395 | 651.1 | 521 | 458.7 | 431.3 | 466.7 | 501.4 | 546.6 | 613.1 | 687.6 | 749.1 | 799.9 | 819 | 770.4 | 677.5 | 604.4 | 555.5 | 508.9 | 466.2 | 417.1 | 368.1 | 326.8 | 282.5 | 261.7 | 340.3 | 272.7 | 143.4 | 108.7 | 83.19 | 61.46 | 53.09 | 79.86 | 767.2 | 9999.9 | 9999.9 | 2182 | 16.97 | 11.15 | 8.96 | 6.25 | 5.331 | 4.682 | 4.608 | 4.35 | 4.368 | 4.495 | 4.399 | 4.064 | 3.811 | 3.596 | 4.147 | 4.059 | 3.878 | 3.9 | 4.172 | 4.359 | 5.086 | 5.088 | 5.61 | 5.454
400 | 649.2 | 516.3 | 459.5 | 429.6 | 434.4 | 477.7 | 506.4 | 569.2 | 648.8 | 712.5 | 755.7 | 790.9 | 768.8 | 696 | 650.1 | 607.4 | 562.6 | 525.7 | 481.1 | 432.8 | 377.3 | 333 | 284.3 | 274.2 | 343.9 | 239.5 | 137.5 | 104.7 | 76.78 | 58.8 | 39.9 | 76.13 | 744.1 | 9999.9 | 9999.9 | 1968 | 15.93 | 10.84 | 8.129 | 6.442 | 5.346 | 4.978 | 4.42 | 4.358 | 4.433 | 4.077 | 4.334 | 4.046 | 3.866 | 3.9 | 3.855 | 4.147 | 4.361 | 4.221 | 4.655 | 4.696 | 5.439 | 4.99 | 5.798
405 | 646.8 | 532.1 | 467.2 | 417.8 | 432.6 | 448.1 | 477.4 | 523.5 | 609 | 669 | 726.9 | 773 | 752.3 | 716.5 | 681.6 | 652.1 | 618.8 | 583.1 | 537.2 | 489.2 | 430 | 374.3 | 318.5 | 274.7 | 286.9 | 333.9 | 205.2 | 125.4 | 89.49 | 66.02 | 42.51 | 33.64 | 71.65 | 721.5 | 9999.9 | 9999.9 | 2004 | 16.72 | 10.57 | 7.748 | 6.537 | 5.643 | 4.575 | 4.715 | 4.34 | 4.498 | 4.003 | 3.864 | 3.704 | 3.907 | 4.005 | 4.015 | 4.256 | 4.22 | 4.686 | 4.395 | 4.569 | 5.317 | 5.183
410 | 634.2 | 545.4 | 458 | 429.7 | 414.5 | 440.5 | 457.3 | 497.7 | 574.7 | 646.2 | 705.2 | 757.9 | 747 | 729.8 | 710.9 | 686.9 | 665.2 | 632.2 | 588.9 | 533 | 471.2 | 412.4 | 352.8 | 298.2 | 260.4 | 297.7 | 304.5 | 167.6 | 105.3 | 76.27 | 51.43 | 36.1 | 30.12 | 66.39 | 721.6 | 9999.9 | 9999.9 | 1891 | 15.06 | 9.928 | 7.496 | 6.253 | 5.102 | 4.536 | 4.31 | 4.455 | 4.14 | 4.103 | 4.152 | 4.361 | 4.02 | 3.722 | 3.981 | 3.787 | 4.303 | 4.752 | 4.858 | 4.84 | 5.361
415 | 613.2 | 533.2 | 458.5 | 413.9 | 412.7 | 423.6 | 436.7 | 466.6 | 545.4 | 612 | 681.4 | 729.3 | 743.5 | 735.7 | 719.5 | 706 | 685.8 | 665 | 621.5 | 563.3 | 507 | 438.1 | 371.7 | 324.5 | 277.4 | 250 | 293.4 | 255.2 | 130.2 | 83.31 | 56.53 | 40.43 | 30.73 | 26 | 64.43 | 740.9 | 9999.9 | 9999.9 | 1667 | 15.5 | 9.818 | 7.631 | 5.996 | 5.137 | 4.961 | 4.369 | 4.684 | 4.367 | 3.988 | 4.435 | 4.252 | 4.145 | 3.871 | 3.926 | 4.307 | 4.58 | 4.581 | 4.414 | 4.662
420 | 593.9 | 534.2 | 464.8 | 435.8 | 385.5 | 410 | 421 | 452.2 | 524.2 | 580.7 | 652.5 | 704.8 | 722.4 | 727.5 | 717.7 | 708.5 | 703.2 | 670.1 | 630.4 | 579.2 | 524.2 | 458.3 | 393.1 | 334 | 293 | 252.6 | 232.6 | 277.3 | 195.3 | 99.6 | 63.26 | 46.03 | 34.86 | 26.44 | 24.13 | 65.05 | 732.3 | 9999.9 | 9999.9 | 1665 | 13.78 | 9.703 | 7.359 | 6.083 | 4.942 | 4.521 | 4.4 | 4.088 | 3.826 | 4.595 | 4.354 | 3.936 | 3.728 | 3.902 | 4.393 | 4.096 | 4.443 | 4.659 | 4.584
425 | 569.1 | 494.7 | 463.7 | 406.2 | 390.5 | 390.5 | 401.9 | 436.9 | 493.6 | 568.2 | 618.3 | 665.6 | 700.4 | 694.4 | 699.9 | 711.6 | 705.4 | 675 | 640.9 | 592.3 | 524.9 | 465 | 398.6 | 347.2 | 301.2 | 259.4 | 220.7 | 217.5 | 243.2 | 141 | 73.6 | 51.92 | 39.35 | 30.93 | 25.47 | 23.71 | 63.33 | 740.6 | 9999.9 | 9999.9 | 1516 | 13.95 | 8.572 | 6.681 | 5.859 | 5.361 | 4.831 | 4.142 | 3.941 | 4.139 | 4.38 | 4.003 | 4.02 | 4.027 | 4.362 | 4.191 | 4.533 | 4.468 | 4.382
430 | 543.1 | 491.7 | 447.4 | 390.9 | 392.4 | 391.3 | 387 | 418.5 | 475.8 | 539.1 | 592 | 632.6 | 659.8 | 678.4 | 691 | 688.8 | 686 | 673.2 | 636.4 | 587.7 | 528.5 | 466.6 | 402.1 | 348.7 | 304.3 | 263 | 226.4 | 189.1 | 200 | 199.9 | 104.1 | 60.66 | 47.73 | 35.52 | 30.18 | 25.14 | 23.73 | 64.87 | 722.3 | 9999.9 | 9999.9 | 1601 | 13.12 | 9.293 | 7.486 | 6.182 | 4.981 | 4.344 | 4.12 | 4.203 | 4.11 | 4.145 | 4.072 | 4.151 | 4.253 | 4.023 | 4.405 | 4.441 | 4.741
435 | 542.5 | 486.7 | 431.5 | 408.7 | 405 | 383.2 | 379.7 | 417.9 | 450 | 512.8 | 565.5 | 610.5 | 638.9 | 647.2 | 664.7 | 674.8 | 669.2 | 654.2 | 625.8 | 575.8 | 519.1 | 461.3 | 401.2 | 349.9 | 306.6 | 267.2 | 226.8 | 190.8 | 164.2 | 186.4 | 156.7 | 79.61 | 53.37 | 42.28 | 34.41 | 28.52 | 24.83 | 23.58 | 62.74 | 734.9 | 9999.9 | 9999.9 | 1372 | 12.88 | 8.985 | 7.176 | 5.719 | 4.683 | 4.387 | 4.45 | 4.124 | 4.112 | 4.225 | 4.231 | 3.915 | 4.101 | 4.518 | 4.197 | 4.543
440 | 500.9 | 455.5 | 429.1 | 397.3 | 390.4 | 364.7 | 377.1 | 396.1 | 430.7 | 487.2 | 545.9 | 577.8 | 601.5 | 619.5 | 630.6 | 644.1 | 643.3 | 620.5 | 604.1 | 565.8 | 506.9 | 455.6 | 399.1 | 352.8 | 302.8 | 271.4 | 226.1 | 195.8 | 157.6 | 141.6 | 171.3 | 121.4 | 67.08 | 49.89 | 42.45 | 34.84 | 28.84 | 23.8 | 23.03 | 62.62 | 719 | 9999.9 | 9999.9 | 1412 | 12.79 | 8.9 | 6.589 | 5.474 | 4.403 | 4.63 | 4.292 | 4.301 | 4.171 | 4.415 | 4.229 | 4.252 | 4.208 | 4.464 | 4.638
445 | 509.9 | 452.1 | 427.9 | 385.7 | 376.5 | 363.7 | 371.7 | 371.1 | 407.4 | 457.1 | 490.9 | 543.9 | 558.8 | 574.9 | 589 | 605.7 | 606.1 | 596.4 | 575.8 | 538.9 | 489.7 | 439.8 | 389.4 | 333.7 | 295.7 | 259.5 | 229.8 | 197.6 | 161.4 | 132.3 | 128.3 | 152.5 | 97.2 | 58.76 | 47.21 | 39.06 | 32.92 | 27.9 | 22.07 | 20.44 | 59.95 | 718.5 | 9531 | 9999.9 | 1351 | 12.67 | 8.198 | 6.324 | 5.252 | 4.934 | 4.746 | 4.708 | 4.338 | 4.06 | 4.286 | 3.964 | 4.256 | 4.536 | 4.204
450 | 1311 | 411.2 | 398.9 | 371.5 | 373.6 | 350.2 | 344.5 | 360.2 | 383.2 | 422.8 | 464.4 | 502.1 | 519 | 529.7 | 542 | 553.1 | 559.4 | 553.6 | 535.7 | 504.6 | 458.4 | 413.2 | 368.6 | 324.3 | 285.9 | 252.2 | 222.6 | 190.9 | 161 | 129.9 | 108.8 | 121.8 | 131.9 | 77.54 | 51.82 | 42.94 | 36.98 | 30.92 | 23.64 | 19.68 | 20.3 | 60.34 | 688.3 | 9776 | 9999.9 | 1472 | 11.64 | 7.749 | 6.086 | 5.357 | 4.572 | 4.506 | 4.341 | 4.317 | 4.42 | 4.324 | 4.19 | 4.747 | 4.117
455 | 4594 | 409.6 | 372.2 | 341.4 | 349.4 | 327.3 | 326.2 | 332.6 | 354.5 | 394.3 | 426.2 | 456.1 | 467.8 | 480 | 492.3 | 508.1 | 514.9 | 508.1 | 492.2 | 460.5 | 428.4 | 386 | 344.5 | 303.7 | 273.9 | 242.1 | 215.7 | 186.1 | 158.2 | 129.1 | 105.4 | 94.87 | 119.7 | 111.1 | 63.57 | 47.51 | 40.34 | 32.01 | 26.8 | 21.26 | 17.59 | 18.43 | 56.68 | 715.2 | 9094 | 9999.9 | 1202 | 11.49 | 7.056 | 5.957 | 5.103 | 4.11 | 4.52 | 4.236 | 4.61 | 4.187 | 4.295 | 4.116 | 4.139
460 | 8753 | 1108 | 358.7 | 320.4 | 338.3 | 314.3 | 311.3 | 308.5 | 323.6 | 350.7 | 388.6 | 406.3 | 419.9 | 440.4 | 452.4 | 458.3 | 462.9 | 460.6 | 451.9 | 421.4 | 388.2 | 353.5 | 318.3 | 282.3 | 253.2 | 226.6 | 202.6 | 176.9 | 150.4 | 127.4 | 104.9 | 90.43 | 89.64 | 113 | 88.8 | 54.15 | 41.24 | 33.81 | 27.7 | 23.59 | 19.01 | 16 | 17.19 | 57.13 | 650.6 | 8933 | 9999.9 | 1158 | 10.97 | 7.483 | 5.775 | 5.015 | 4.667 | 4.465 | 4.185 | 4.237 | 4.353 | 3.939 | 3.89
465 | 7570 | 4103 | 351 | 306.9 | 309.7 | 279.7 | 289 | 275.3 | 306.4 | 318.6 | 351.2 | 363.4 | 378 | 387.9 | 392.5 | 409.9 | 409.2 | 410.1 | 399.4 | 383.3 | 359.3 | 324.4 | 290.3 | 262 | 232.2 | 212.8 | 187.9 | 167 | 143.4 | 120.5 | 101.9 | 88.97 | 77.55 | 84 | 101.1 | 68.88 | 43.5 | 35.91 | 28.9 | 24.39 | 21.27 | 17.25 | 15.15 | 16.47 | 53.1 | 642.3 | 8390 | 9999.9 | 1159 | 9.89 | 7.189 | 5.498 | 5.182 | 4.424 | 4.591 | 4.021 | 4.103 | 4.077 | 3.939
470 | 2161 | 7812 | 1206 | 284 | 290.8 | 260 | 264.3 | 267.9 | 273.7 | 285.2 | 308 | 325.7 | 338.3 | 345.2 | 348.4 | 360.5 | 364.6 | 366.7 | 359 | 341.3 | 319.9 | 292.2 | 262.6 | 235.2 | 210.9 | 196.3 | 171.9 | 154.6 | 136.2 | 115.6 | 98.5 | 85.34 | 72.42 | 68.82 | 80.06 | 87.66 | 55.02 | 36.63 | 30.04 | 24.93 | 21.74 | 18.75 | 16.04 | 14.06 | 14.9 | 52.01 | 599.2 | 7990 | 9999.9 | 1038 | 10.65 | 7.018 | 6.034 | 5.035 | 4.353 | 4.205 | 4.19 | 3.879 | 4.121
475 | 449.9 | 6689 | 4933 | 283.2 | 265.2 | 248.3 | 245.6 | 245.8 | 250.8 | 261.9 | 282 | 293.2 | 293.1 | 298.4 | 305.9 | 313.5 | 317.5 | 320.5 | 315 | 303.6 | 283.2 | 261.6 | 235.7 | 214.6 | 192.9 | 174.9 | 159.7 | 145.5 | 124.2 | 109.3 | 95.48 | 84.3 | 71.57 | 66.15 | 61.64 | 78.52 | 69.7 | 41.76 | 31.78 | 26.72 | 22.71 | 20.54 | 17.91 | 14.7 | 13.19 | 15.24 | 49.34 | 581.3 | 6792 | 9999.9 | 804.7 | 9.645 | 6.892 | 5.681 | 5.201 | 4.288 | 3.914 | 4.016 | 4.064
480 | 289.6 | 2037 | 9999.9 | 944.4 | 249 | 231.4 | 228.5 | 230.3 | 231.1 | 244.1 | 259.2 | 258.3 | 261.1 | 264.3 | 269.8 | 276.4 | 281.6 | 281.8 | 280.3 | 271.9 | 252 | 230.4 | 213.2 | 191.9 | 179.6 | 163.1 | 150 | 135 | 122 | 106.8 | 92.29 | 81.52 | 72.9 | 64.58 | 59.24 | 59.62 | 74.56 | 56.77 | 35.92 | 29.76 | 26.83 | 23.41 | 21.36 | 18.46 | 16.69 | 14.48 | 16.66 | 48.53 | 480.8 | 6071 | 9609 | 825.2 | 10.37 | 7.209 | 6.401 | 4.63 | 4.141 | 4.175 | 3.992
485 | 257.9 | 373 | 9785 | 3704 | 282.4 | 223.4 | 222.2 | 222.7 | 227.6 | 229.1 | 238.9 | 235.6 | 234.9 | 237.3 | 242.7 | 252.1 | 252.2 | 253 | 251.6 | 238.7 | 230.3 | 212.1 | 197.1 | 179.4 | 164.6 | 155 | 143.1 | 130 | 118.2 | 105.1 | 92.8 | 80.54 | 72.73 | 65.1 | 57.62 | 54.71 | 61.38 | 69.79 | 49.69 | 33.72 | 31.99 | 28.11 | 26.05 | 23.98 | 21.88 | 19.57 | 17.78 | 18.86 | 44.85 | 456.5 | 6499 | 9111 | 779 | 10.45 | 7.313 | 5.833 | 4.55 | 4.313 | 3.977
490 | 271.8 | 225.4 | 2976 | 7257 | 1235 | 224.8 | 223.9 | 227.5 | 225.4 | 232 | 234.8 | 221.4 | 214.1 | 210.3 | 216 | 221.4 | 224.8 | 221.2 | 224.2 | 218.6 | 209.7 | 198.1 | 182.4 | 167.7 | 158.2 | 150.3 | 137.2 | 132.1 | 119.1 | 108 | 96.25 | 84.55 | 75.32 | 68.37 | 59.39 | 56.9 | 54.31 | 64.46 | 67.98 | 47.06 | 38.81 | 36.13 | 32.66 | 31.9 | 29.19 | 26.02 | 24.19 | 21.27 | 21.91 | 46.38 | 488.3 | 5911 | 9147 | 749.7 | 10.2 | 7.317 | 5.436 | 4.804 | 4.191
495 | 296.6 | 203.7 | 434.3 | 6695 | 6655 | 235 | 229.5 | 246.9 | 244 | 230.4 | 228.9 | 212.1 | 195.5 | 188.8 | 193.6 | 193.8 | 202.8 | 198.9 | 201.6 | 197.5 | 190.6 | 180 | 172.5 | 162.3 | 151.7 | 145.4 | 140.1 | 131.4 | 123.8 | 111.1 | 99.43 | 88.29 | 81.16 | 71.19 | 63.94 | 61.32 | 57.02 | 58.2 | 70.07 | 66.61 | 51.42 | 47.25 | 43.96 | 42.6 | 38.39 | 36.72 | 32.62 | 29.88 | 27.35 | 25.41 | 50.75 | 450.2 | 6402 | 9235 | 687.1 | 10.26 | 6.536 | 5.167 | 4.938
500 | 324.9 | 195.8 | 214.5 | 2168 | 9999.9 | 758 | 240.8 | 260.5 | 258.7 | 242.6 | 231.3 | 200.3 | 178.1 | 164.7 | 168.5 | 171.7 | 175.1 | 175.2 | 177.5 | 177.1 | 173.7 | 164.4 | 157.9 | 150.6 | 147.9 | 141.6 | 138.7 | 135.9 | 127.5 | 116 | 108.1 | 94.76 | 83.39 | 75.73 | 69.11 | 65.18 | 63.83 | 61.88 | 67.26 | 78.45 | 67.96 | 57.54 | 54.37 | 53.8 | 49.74 | 46.76 | 42.31 | 39.41 | 34.38 | 30.36 | 28.07 | 48.99 | 483.2 | 6209 | 8009 | 691.7 | 8.94 | 6.301 | 5.386
505 | 302.3 | 231.1 | 188.9 | 340.4 | 9999.9 | 2957 | 262.9 | 263 | 276.3 | 257.3 | 227.8 | 188.4 | 164.2 | 148.2 | 149.8 | 147.4 | 154.9 | 154.3 | 154.8 | 158.7 | 158 | 150.1 | 147.5 | 144.5 | 140.9 | 138.9 | 138.3 | 136.1 | 129.1 | 121 | 109.5 | 96.93 | 88.26 | 77.9 | 72.54 | 69.7 | 67.76 | 67.82 | 67.04 | 78.46 | 83.8 | 74.46 | 65.66 | 62.78 | 60.63 | 55.95 | 52.23 | 47.56 | 41.5 | 35.65 | 30.61 | 26.37 | 49.19 | 477.3 | 5326 | 7883 | 564.2 | 8.355 | 6.427
510 | 234.1 | 267 | 183.3 | 189.6 | 5561 | 6347 | 806.7 | 275.5 | 283.1 | 255.7 | 226.2 | 179.5 | 149.7 | 133 | 125.1 | 131.4 | 131.5 | 140.1 | 136.1 | 139.3 | 142.6 | 135.8 | 137.8 | 136.1 | 135.5 | 131.3 | 135.1 | 133.5 | 131.5 | 122.7 | 111.6 | 102.6 | 89.81 | 79.83 | 74.95 | 73.03 | 70.78 | 71.37 | 71.4 | 75.39 | 85.54 | 90.74 | 79.19 | 71.64 | 69.77 | 64.79 | 59.26 | 54.96 | 49.57 | 42.53 | 35.59 | 28.02 | 24.14 | 44.99 | 398.6 | 5135 | 6811 | 554.5 | 8.935
515 | 195.5 | 256.7 | 192.1 | 173.8 | 660 | 6505 | 3006 | 295.6 | 281.3 | 255.9 | 221.5 | 172.5 | 135.7 | 115.6 | 110.7 | 113.1 | 117.1 | 117.6 | 119.6 | 124.2 | 128.7 | 125.2 | 126.5 | 128 | 128.1 | 132.2 | 131.7 | 134.8 | 131.1 | 125.9 | 116.1 | 101.1 | 88.81 | 82.14 | 75.55 | 73.13 | 74.08 | 74.05 | 75.07 | 76.61 | 81.38 | 94.02 | 90.82 | 81.69 | 73.27 | 69.59 | 65.96 | 60.28 | 53.43 | 46.01 | 38.64 | 30.32 | 23.52 | 19.04 | 37.66 | 392.8 | 4630 | 6300 | 508.6
520 | 181.9 | 216.8 | 230.7 | 164.6 | 225.8 | 2591 | 6514 | 787.4 | 273.3 | 250 | 216.1 | 159.6 | 119.3 | 101.3 | 96.38 | 99.99 | 101.9 | 102.4 | 106.8 | 109.1 | 113.6 | 113 | 116.6 | 118.5 | 120.5 | 123.4 | 126.9 | 127.9 | 127.8 | 120.5 | 110.9 | 98.71 | 87.6 | 79.66 | 74.65 | 72.22 | 73.7 | 75.4 | 74.43 | 78.13 | 79.19 | 86.97 | 95.18 | 87.05 | 76.9 | 72.04 | 66.07 | 60.71 | 55.78 | 49.41 | 40.89 | 31.61 | 24.03 | 19.08 | 15.9 | 35.69 | 351.6 | 4246 | 5871
525 | 157 | 160.1 | 244.7 | 170.8 | 182.1 | 409.1 | 6869 | 2789 | 276.4 | 233.2 | 205.5 | 145.5 | 112.4 | 87.3 | 85.52 | 84.56 | 88.05 | 88.26 | 93.35 | 96.29 | 99.93 | 101.7 | 103.9 | 109.5 | 111 | 116.5 | 117.3 | 121.6 | 119.8 | 116.3 | 105.7 | 95.66 | 85.52 | 76.09 | 72.64 | 68.56 | 70.2 | 72.1 | 74.06 | 75.9 | 78.83 | 81.39 | 88.62 | 89.61 | 82.32 | 72.59 | 67.01 | 60.74 | 56.22 | 47.83 | 41.52 | 33.52 | 26.09 | 20.16 | 15.69 | 15.38 | 34.33 | 325.3 | 3883
530 | 149.1 | 127.3 | 207.1 | 189.7 | 166.4 | 198.7 | 2853 | 6129 | 724.7 | 217.9 | 191.8 | 136.8 | 99.39 | 78.16 | 73.57 | 71.6 | 77.55 | 76.77 | 79.41 | 84.77 | 91.63 | 92.32 | 94.01 | 99.32 | 100.5 | 104.2 | 110.6 | 116.1 | 114.7 | 106.9 | 99.39 | 90.7 | 78.73 | 71.09 | 68.51 | 63.95 | 66.25 | 68.76 | 70.07 | 72.41 | 76.09 | 76.66 | 79.84 | 85.39 | 82.75 | 71.83 | 65.14 | 60.01 | 54.61 | 48.12 | 42.05 | 35.31 | 28.44 | 22.87 | 18.89 | 16.8 | 18.7 | 39.13 | 311.4
535 | 140.8 | 123.6 | 151.9 | 210.1 | 163.9 | 175.8 | 442.1 | 6823 | 2538 | 215.6 | 185.8 | 123.9 | 88.62 | 67.26 | 63.03 | 64.08 | 64.87 | 65.59 | 71.31 | 74.62 | 79.25 | 80.79 | 86.61 | 91.16 | 95.06 | 99.54 | 101.9 | 105.3 | 104 | 100.2 | 91.58 | 81.83 | 71.85 | 65.31 | 63.24 | 62.64 | 61.55 | 63.52 | 65.44 | 67.75 | 71.34 | 72.38 | 73.74 | 76.97 | 79.95 | 72.17 | 63.6 | 58.89 | 54.3 | 47.35 | 42.18 | 37.16 | 31.17 | 25.96 | 21.83 | 21.37 | 22.2 | 26.49 | 48
540 | 124.9 | 123.4 | 114.7 | 203.2 | 169.6 | 158.1 | 207.9 | 3123 | 5628 | 625.2 | 165 | 114.1 | 81.81 | 63.29 | 56.17 | 54.39 | 54.82 | 57.81 | 61.35 | 66.37 | 69.69 | 72.71 | 75.21 | 80.43 | 82.66 | 85.85 | 90.3 | 93.07 | 92.87 | 89.2 | 83.73 | 74.94 | 65.64 | 59.01 | 56.75 | 55.67 | 57.12 | 58.99 | 59.07 | 62.63 | 64.35 | 67.57 | 68.94 | 68.72 | 70.73 | 71.66 | 63.53 | 57.45 | 51.92 | 46.45 | 41.35 | 37.25 | 32.65 | 28.08 | 26.93 | 24.92 | 27.37 | 32.74 | 39.53
545 | 120.7 | 101.9 | 95.98 | 151.7 | 187.5 | 149 | 174 | 466.3 | 6398 | 2348 | 175.1 | 105.3 | 72.6 | 57.08 | 48.5 | 46.8 | 48.18 | 50.01 | 52.33 | 55.18 | 60.7 | 63.8 | 68.42 | 73.15 | 74.04 | 78.73 | 81.92 | 82.09 | 84.94 | 81.22 | 74.82 | 66.52 | 59.34 | 54 | 50.12 | 49.89 | 51.99 | 53.43 | 54.27 | 56.13 | 58.46 | 62.03 | 62.25 | 62.27 | 62.16 | 62.94 | 61.79 | 55.1 | 49.28 | 44.21 | 40.46 | 36.65 | 31.39 | 29.44 | 28.41 | 28 | 30.12 | 35.85 | 41.91
550 | 118.7 | 90.36 | 83.78 | 110.5 | 197.3 | 145.9 | 162.1 | 199.4 | 3009 | 5475 | 945.5 | 90.98 | 62.62 | 46.4 | 41.02 | 39.97 | 40.24 | 42.57 | 44.85 | 47.95 | 52.46 | 54.42 | 59.3 | 61.56 | 63.74 | 68.76 | 71.45 | 73.13 | 73.14 | 70.84 | 66.75 | 60.5 | 52.26 | 48.45 | 44.8 | 45.16 | 44.98 | 46.53 | 48.11 | 50.14 | 51.35 | 54.22 | 54.88 | 54.58 | 54.24 | 53.93 | 56.55 | 51.65 | 45.37 | 40.82 | 36.96 | 33.87 | 29.69 | 29.41 | 27.87 | 27.25 | 30.44 | 35.85 | 41.06
555 | 127.8 | 83.99 | 77.53 | 84.01 | 169.6 | 165 | 147.4 | 167.5 | 435.2 | 6690 | 3944 | 90.43 | 54.13 | 41.25 | 36.02 | 34.53 | 35.37 | 35.02 | 37.89 | 39.88 | 44.76 | 46.29 | 49.46 | 53.95 | 55.3 | 57.33 | 62.74 | 61.92 | 62.96 | 61.09 | 55.85 | 51.17 | 45.52 | 40.83 | 38.96 | 38.32 | 37.92 | 39.92 | 42.3 | 44.09 | 45.03 | 48.22 | 48.41 | 48.02 | 47.02 | 45.12 | 46.73 | 46.59 | 41.56 | 36.09 | 32.74 | 30.22 | 28.13 | 26.07 | 24.77 | 25.67 | 29.81 | 33.42 | 38.54
560 | 89.68 | 73.84 | 68.33 | 74.46 | 115.5 | 185.5 | 136.9 | 142.3 | 165.3 | 3416 | 9999.9 | 435.2 | 47.59 | 35.76 | 30.1 | 28.11 | 29.84 | 29.34 | 30.75 | 32.01 | 36.56 | 40.57 | 42.93 | 43.22 | 47.55 | 48.4 | 51.88 | 53.79 | 54.11 | 51.73 | 49.13 | 43.32 | 37.27 | 35.31 | 33.08 | 33.02 | 34.27 | 34.43 | 35.83 | 37.21 | 39.28 | 40.33 | 41.44 | 41.86 | 40.17 | 39.49 | 38.09 | 39.45 | 37.89 | 31.4 | 28.5 | 26.06 | 23.66 | 22.34 | 20.95 | 22.84 | 24.52 | 29.43 | 33.65
565 | 96.8 | 62.19 | 56.38 | 62.51 | 77.59 | 176.9 | 154.5 | 133.4 | 130.7 | 422.2 | 9999.9 | 1764 | 50.33 | 30.28 | 24.29 | 23.91 | 24.09 | 24.45 | 25.68 | 27.04 | 31.2 | 32.76 | 33.7 | 35.71 | 39.09 | 42.65 | 41.13 | 46.4 | 45.21 | 43.63 | 40.33 | 36.37 | 31.8 | 30.09 | 27.87 | 27.55 | 28.63 | 29.32 | 30.93 | 31.61 | 33.57 | 33.56 | 35.2 | 35.12 | 33.69 | 33.72 | 31.54 | 31.55 | 30.97 | 28.36 | 24.75 | 21.41 | 19.96 | 17.99 | 16.83 | 18.48 | 20.67 | 24 | 27.66
570 | 94.59 | 57.06 | 60.19 | 60.01 | 67.4 | 131 | 166.3 | 126.4 | 124.1 | 127 | 8565 | 4471 | 330.2 | 25.21 | 22.11 | 19.04 | 19.14 | 20.68 | 21.71 | 23.38 | 26.19 | 27.01 | 29.49 | 29.87 | 32.62 | 33.66 | 36.44 | 37.65 | 37.9 | 37.49 | 34.34 | 31.38 | 27.34 | 24.59 | 24.01 | 22.6 | 23.6 | 24.4 | 25.39 | 26.86 | 28.11 | 28.37 | 29.96 | 29.82 | 28.51 | 28.4 | 26.8 | 25.18 | 24.59 | 24.02 | 21.42 | 18.23 | 15.26 | 14.66 | 13.58 | 13.91 | 16.31 | 19.35 | 21.17
575 | 112.5 | 66.76 | 54.59 | 53.11 | 64.3 | 85.84 | 185.1 | 133.1 | 121.8 | 108.9 | 874.4 | 5994 | 1520 | 27.95 | 19.02 | 18.22 | 16.61 | 16.08 | 17.87 | 18.73 | 22.32 | 21.57 | 23.96 | 24.88 | 26.98 | 29.27 | 29.6 | 32.23 | 32.66 | 30.37 | 28.38 | 25.08 | 23.54 | 20.69 | 19.95 | 19.14 | 20.53 | 20.74 | 21.58 | 22.55 | 23.12 | 23.6 | 24.96 | 24.95 | 24.07 | 23.05 | 21.94 | 20.81 | 20.1 | 19.23 | 18.75 | 16.02 | 13.2 | 12.07 | 10.93 | 11.56 | 12.23 | 14.62 | 17.65
580 | 118.2 | 62.03 | 48.74 | 51.77 | 56.05 | 75.17 | 161.4 | 157.7 | 127.4 | 117.1 | 155.7 | 3140 | 4041 | 254.7 | 17.66 | 15.16 | 14 | 14.61 | 16.13 | 15.85 | 18.84 | 18.54 | 20.05 | 21.76 | 22.24 | 24.23 | 26.02 | 26.11 | 26.59 | 25.14 | 24.7 | 21.08 | 18.87 | 17.52 | 17.37 | 15.92 | 16.27 | 17.21 | 17.57 | 18.38 | 19.12 | 20.66 | 19.93 | 20.54 | 19.83 | 18.87 | 18.35 | 17.33 | 16.29 | 15.07 | 15.7 | 14.15 | 11.31 | 9.931 | 9.476 | 9.513 | 9.887 | 11.14 | 13.7
585 | 133 | 75.32 | 52.15 | 47.18 | 59.28 | 68.06 | 111.7 | 185.5 | 143.1 | 120.1 | 116.4 | 348.7 | 5537 | 1197 | 19.48 | 13.47 | 12.66 | 12.65 | 13.69 | 13.66 | 15.64 | 15.67 | 16.42 | 18.26 | 18.9 | 20.17 | 20.29 | 22.43 | 22.13 | 20.39 | 19.67 | 16.71 | 15.88 | 15.44 | 13.96 | 13.36 | 13.07 | 13.58 | 15.07 | 15.57 | 16.27 | 17.16 | 17.57 | 16.52 | 16.8 | 16.5 | 15.27 | 14.2 | 13.17 | 13.02 | 12.15 | 11.65 | 10.83 | 8.578 | 7.864 | 8.085 | 8.893 | 9.211 | 10.9
590 | 138.4 | 75.22 | 50.3 | 43.16 | 49.58 | 67.79 | 92 | 188.1 | 159.3 | 133.8 | 121.5 | 85.31 | 2812 | 3471 | 248.8 | 13.58 | 11.08 | 12.4 | 11.28 | 11.7 | 13.3 | 13.77 | 14.4 | 14.66 | 15.77 | 16.43 | 17.42 | 18.65 | 18.04 | 17.9 | 17 | 14.43 | 13.75 | 12.47 | 11.47 | 11.81 | 11.86 | 12.21 | 12.69 | 12.27 | 13.84 | 13.78 | 13.79 | 13.46 | 13.71 | 13.73 | 12.88 | 12.1 | 11.02 | 10.74 | 10.03 | 9.49 | 9.467 | 7.131 | 6.787 | 6.44 | 6.746 | 7.658 | 8.755
595 | 131.1 | 80.9 | 48.14 | 45.79 | 49.37 | 65.72 | 86.71 | 152.5 | 199.8 | 139.9 | 126.7 | 72.86 | 294.4 | 4639 | 1264 | 16.03 | 10.8 | 10.54 | 10.11 | 10.72 | 12.18 | 11.28 | 12.54 | 13.29 | 13.48 | 13.98 | 15.67 | 14.99 | 15.66 | 15.47 | 13.89 | 13.69 | 11.37 | 10.95 | 10.21 | 9.866 | 9.811 | 10.14 | 10.82 | 11.17 | 11.72 | 11.52 | 12.15 | 11.43 | 11.71 | 11.43 | 10.69 | 9.825 | 9.099 | 8.792 | 8.54 | 7.178 | 7.548 | 7.189 | 6.305 | 5.492 | 5.883 | 6.3 | 7.734
600 | 140.6 | 80.45 | 53.73 | 46.44 | 44.88 | 64.82 | 86.38 | 122.8 | 210.2 | 156 | 134.4 | 76.35 | 54.82 | 2376 | 3525 | 149.2 | 10.26 | 9.596 | 9.971 | 9.437 | 10.88 | 9.944 | 10.27 | 11.2 | 11.78 | 11.99 | 13.22 | 13.24 | 13.47 | 13.73 | 11.42 | 10.98 | 9.545 | 8.617 | 9.021 | 8.874 | 8.421 | 8.719 | 8.757 | 9.204 | 9.426 | 10.37 | 10.53 | 10.06 | 10.29 | 9.811 | 9.271 | 8.675 | 7.555 | 7.274 | 6.417 | 6.37 | 5.76 | 6.455 | 5.88 | 4.995 | 5.277 | 5.499 | 6.286