## Sheet1
Report date: | 19:46:18, 09/02/2024
Sample: | 1
File name:
Run date: | 19:35:51, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 321.1
2 | 255.0/280.0 | 355.8
3 | 255.0/560.0 | 151.5
4 | 260.0/575.0 | 127.2
5 | 265.0/590.0 | 138.7
6 | 285.0/330.0 | 5605
7 | 320.0/360.0 | 380.8
8 | 325.0/370.0 | 380.9
9 | 330.0/375.0 | 421.5
10 | 435.0/515.0 | 106.7
11 | 475.0/330.0 | 7.786
12 | 510.0/280.0 | 5.092
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 53.37 | 30.46 | 53.61 | 270 | 155.6 | 39.82 | 81.87 | 5686 | 9999.9 | 2054 | 20.14 | 10.44 | 8.637 | 7.842 | 4.863 | 4.725 | 4.105 | 3.76 | 3.538 | 3.459 | 3.805 | 3.342 | 2.865 | 3.025 | 3.255 | 2.592 | 3.518 | 2.978 | 2.926 | 2.784 | 3.2 | 3.033 | 2.767 | 2.707 | 2.316 | 2.489 | 2.55 | 2.614 | 2.516 | 1.968 | 2.106 | 2.129 | 1.715 | 1.833 | 1.682 | 1.622 | 1.561 | 1.258 | 1.389 | 1.319 | 1.485 | 1.983 | 3.005 | 3.13 | 2.493 | 1.563 | 1.381 | 1.456 | 1.624
275 | 78.5 | 30.16 | 30.36 | 103.5 | 321.1 | 143 | 69.64 | 459.8 | 6741 | 9999.9 | 1709 | 18.08 | 9.053 | 7.661 | 6.578 | 5.764 | 4.911 | 4.015 | 3.855 | 3.443 | 3.448 | 3.835 | 2.827 | 2.768 | 2.915 | 2.861 | 2.7 | 3.072 | 2.785 | 2.649 | 2.581 | 2.736 | 2.438 | 2.862 | 2.441 | 2.487 | 2.416 | 2.286 | 2.199 | 2.238 | 2.145 | 2.135 | 2.063 | 2.021 | 1.979 | 1.884 | 1.762 | 1.496 | 1.388 | 1.398 | 1.454 | 1.471 | 1.743 | 2.719 | 3.996 | 3.306 | 1.984 | 1.427 | 1.829
280 | 104.7 | 46.74 | 33.8 | 47.85 | 177.8 | 355.8 | 158.3 | 142.6 | 560.5 | 6953 | 9680 | 1640 | 16.12 | 8.577 | 6.7 | 5.794 | 4.766 | 4.896 | 4.067 | 3.502 | 3.785 | 3.034 | 3.202 | 3.008 | 3.192 | 3.241 | 3.037 | 3.006 | 3.291 | 2.932 | 2.948 | 2.642 | 2.533 | 2.926 | 2.848 | 2.326 | 2.206 | 2.174 | 2.221 | 2.316 | 2.183 | 2.135 | 2.359 | 2.09 | 2.213 | 2.047 | 1.614 | 1.663 | 1.514 | 1.267 | 1.493 | 1.486 | 1.493 | 1.984 | 2.208 | 3.583 | 5.092 | 3.422 | 2.423
285 | 210.1 | 90.75 | 53.65 | 58.3 | 95.67 | 300.5 | 447 | 247 | 255.2 | 659.5 | 6032 | 9862 | 1319 | 17.13 | 8.099 | 5.632 | 4.758 | 4.587 | 4.608 | 3.796 | 3.282 | 3.575 | 3.184 | 3.052 | 3.143 | 3.098 | 3.379 | 2.975 | 2.632 | 2.812 | 2.628 | 2.761 | 2.653 | 2.528 | 2.534 | 2.579 | 2.703 | 2.245 | 2.46 | 2.187 | 2.431 | 2.76 | 2.272 | 2.422 | 2.417 | 2.3 | 2.249 | 1.848 | 1.716 | 1.593 | 1.751 | 1.613 | 1.65 | 1.562 | 1.851 | 2.102 | 3.136 | 5.174 | 5.112
290 | 371.4 | 187.8 | 104.5 | 88.96 | 116.7 | 188.4 | 533.2 | 585.9 | 454.1 | 458 | 732.5 | 6521 | 8478 | 1193 | 14.01 | 6.926 | 4.963 | 4.748 | 4.506 | 4.186 | 3.543 | 3.301 | 3.103 | 3.161 | 3.042 | 2.926 | 3.219 | 2.802 | 2.86 | 2.706 | 2.804 | 2.553 | 2.667 | 2.761 | 2.688 | 2.618 | 2.807 | 2.477 | 2.25 | 2.184 | 2.3 | 2.5 | 2.759 | 2.462 | 2.679 | 2.957 | 2.773 | 2.08 | 1.678 | 1.85 | 1.82 | 1.748 | 1.854 | 1.844 | 1.937 | 2.106 | 2.328 | 3.028 | 5.248
295 | 644.8 | 335 | 194 | 140.3 | 155.6 | 250.7 | 422 | 898.7 | 911.5 | 790.9 | 677.8 | 846.2 | 5660 | 9028 | 1094 | 15.83 | 7.705 | 5.54 | 5.343 | 4.098 | 3.696 | 3.895 | 3.53 | 3.282 | 3.423 | 3.179 | 3.574 | 3.114 | 3.245 | 2.854 | 2.706 | 2.895 | 3.012 | 2.615 | 2.381 | 2.66 | 2.868 | 2.701 | 2.74 | 2.219 | 2.635 | 2.982 | 3.01 | 3.14 | 3.386 | 3.337 | 3.289 | 3.004 | 2.539 | 2.785 | 2.189 | 2.242 | 1.952 | 2.04 | 2.266 | 2.656 | 2.769 | 2.994 | 4.19
300 | 935.6 | 536.9 | 332.5 | 233 | 235.7 | 326.6 | 525.4 | 887.4 | 1518 | 1438 | 1276 | 1002 | 990.3 | 6222 | 8994 | 1006 | 13.75 | 7.503 | 5.303 | 4.437 | 4.678 | 4.232 | 3.695 | 3.586 | 3.296 | 3.447 | 3.561 | 2.991 | 3.286 | 3.151 | 2.734 | 2.812 | 2.506 | 2.648 | 2.569 | 2.577 | 2.525 | 2.621 | 2.625 | 2.354 | 2.735 | 2.752 | 2.855 | 3.405 | 3.68 | 3.853 | 4.15 | 3.923 | 3.106 | 3.248 | 2.805 | 2.819 | 2.607 | 2.411 | 2.491 | 2.965 | 3.561 | 4.086 | 5.226
305 | 1336 | 887.6 | 524.4 | 356.8 | 325.1 | 443.7 | 735.3 | 1175 | 1849 | 2537 | 2351 | 2018 | 1499 | 1289 | 6479 | 9249 | 901.3 | 12.3 | 7.572 | 5.494 | 4.991 | 4.17 | 4.469 | 3.684 | 3.66 | 3.44 | 3.309 | 3.325 | 3.531 | 2.723 | 2.905 | 2.821 | 2.667 | 2.65 | 2.513 | 2.468 | 2.327 | 3.022 | 2.877 | 2.701 | 2.767 | 2.461 | 3.158 | 4.084 | 4.172 | 4.838 | 4.985 | 4.492 | 4.289 | 4.268 | 3.892 | 3.161 | 3.244 | 2.951 | 3.139 | 3.826 | 4.259 | 4.957 | 6.331
310 | 1691 | 1217 | 790.9 | 495.9 | 440.8 | 601.7 | 965.8 | 1561 | 2371 | 3289 | 3799 | 3310 | 2556 | 1610 | 1042 | 6120 | 9761 | 909.4 | 11.31 | 6.387 | 5.185 | 5.009 | 4.443 | 3.719 | 3.719 | 3.323 | 4.14 | 3.602 | 3.434 | 3.15 | 2.859 | 2.654 | 2.866 | 2.327 | 2.234 | 2.492 | 2.735 | 2.79 | 2.822 | 2.935 | 2.876 | 3.246 | 3.257 | 4.029 | 4.819 | 5.58 | 6.313 | 6.034 | 5.678 | 5.459 | 4.865 | 4.306 | 3.75 | 3.781 | 4.14 | 4.203 | 5.155 | 6.375 | 8.191
315 | 1994 | 1556 | 1002 | 628.3 | 569.6 | 751.8 | 1180 | 1905 | 2882 | 3925 | 4743 | 4636 | 3520 | 2211 | 934.2 | 629.8 | 6417 | 9999.9 | 802.1 | 9.173 | 6.626 | 5.783 | 5.336 | 4.324 | 3.812 | 3.916 | 3.634 | 3.415 | 3.549 | 3.351 | 2.806 | 2.799 | 3.109 | 2.476 | 2.729 | 2.883 | 2.567 | 2.643 | 2.597 | 2.686 | 3.002 | 3.302 | 3.523 | 4.334 | 4.81 | 6.258 | 6.213 | 6.426 | 6.695 | 6.711 | 5.867 | 4.912 | 4.523 | 4.479 | 4.744 | 5.322 | 5.967 | 7.109 | 9.579
320 | 2167 | 1728 | 1176 | 750 | 671.2 | 891.6 | 1373 | 2193 | 3279 | 4476 | 5231 | 5423 | 4370 | 2667 | 1116 | 326.4 | 503.3 | 6637 | 9328 | 729.4 | 9.207 | 6.076 | 5.37 | 4.57 | 4.313 | 4.172 | 3.898 | 3.584 | 3.721 | 2.988 | 3.007 | 3.074 | 2.758 | 3.118 | 2.886 | 2.823 | 2.549 | 2.93 | 2.431 | 2.899 | 2.974 | 3.367 | 3.812 | 4.536 | 4.831 | 6.188 | 7.3 | 7.082 | 7.101 | 7.738 | 6.59 | 5.275 | 5.445 | 4.847 | 5.033 | 6.011 | 6.592 | 8.592 | 10.61
325 | 2343 | 1833 | 1223 | 826.1 | 763.1 | 994.1 | 1513 | 2394 | 3517 | 4741 | 5537 | 5584 | 4844 | 3018 | 1219 | 359.1 | 133.9 | 484.7 | 5580 | 8276 | 718.1 | 9.033 | 6.846 | 5.505 | 4.702 | 4.224 | 4.055 | 3.836 | 3.773 | 3.249 | 3.475 | 3.161 | 3.159 | 2.757 | 2.647 | 3.058 | 2.335 | 2.482 | 2.825 | 2.702 | 2.789 | 3.115 | 3.634 | 4.834 | 5.509 | 6.791 | 7.519 | 7.517 | 7.236 | 7.701 | 6.898 | 6.394 | 5.187 | 5.08 | 5.928 | 6.57 | 7.461 | 9.676 | 11.67
330 | 2285 | 1826 | 1236 | 873.6 | 833.7 | 1078 | 1603 | 2463 | 3615 | 4791 | 5571 | 5605 | 4678 | 3232 | 1336 | 393.2 | 133.8 | 91.15 | 404.4 | 5193 | 8751 | 739 | 9.649 | 7.194 | 5.544 | 5.097 | 4.733 | 3.676 | 3.706 | 3.538 | 3.614 | 3.234 | 3.093 | 2.78 | 2.869 | 2.644 | 2.687 | 2.502 | 2.53 | 2.789 | 2.944 | 3.496 | 3.579 | 4.73 | 5.544 | 6.383 | 7.521 | 7.617 | 7.413 | 7.786 | 7.236 | 6.151 | 5.855 | 5.811 | 6.137 | 6.724 | 8.328 | 9.709 | 12.37
335 | 2213 | 1740 | 1250 | 907.6 | 888.5 | 1152 | 1664 | 2508 | 3556 | 4689 | 5426 | 5431 | 4511 | 2996 | 1522 | 458.9 | 161.5 | 84 | 73.09 | 376.2 | 5700 | 8927 | 820.6 | 8.73 | 6.968 | 5.842 | 5.148 | 4.247 | 3.932 | 3.989 | 3.826 | 2.983 | 2.922 | 2.64 | 2.728 | 2.687 | 2.802 | 2.568 | 2.594 | 2.605 | 2.646 | 2.897 | 4.006 | 4.551 | 5.482 | 6.507 | 7.197 | 7.222 | 7.124 | 7.069 | 6.94 | 6.761 | 6.185 | 6.017 | 6.498 | 7.485 | 8.971 | 9.527 | 12.96
340 | 2041 | 1669 | 1170 | 905.7 | 937.7 | 1197 | 1705 | 2477 | 3440 | 4450 | 5112 | 5080 | 4243 | 2735 | 1397 | 654.9 | 217.7 | 108.8 | 68.18 | 61.8 | 411.6 | 5508 | 9999.9 | 819.6 | 10.32 | 7.235 | 6.507 | 5.139 | 4.622 | 3.658 | 3.959 | 2.983 | 2.754 | 2.959 | 3.121 | 2.817 | 2.738 | 2.485 | 2.732 | 2.882 | 3.015 | 3.328 | 3.404 | 4.662 | 4.997 | 6.205 | 7.124 | 6.918 | 6.906 | 7.145 | 5.91 | 6.469 | 5.608 | 5.986 | 6.743 | 8.06 | 8.949 | 10.88 | 13.19
345 | 1942 | 1514 | 1122 | 888.3 | 946 | 1202 | 1709 | 2411 | 3255 | 4146 | 4694 | 4657 | 3839 | 2507 | 1217 | 656.2 | 381.6 | 148 | 87.67 | 59.45 | 64.53 | 399.7 | 6301 | 9612 | 924.6 | 10.51 | 7.863 | 5.793 | 5.098 | 4.368 | 4.183 | 3.226 | 3.054 | 3.09 | 3.023 | 2.591 | 2.555 | 2.509 | 2.869 | 2.627 | 2.7 | 3.06 | 3.502 | 4.137 | 5.383 | 5.596 | 6.477 | 6.706 | 6.42 | 7.141 | 5.963 | 6.16 | 5.579 | 6.694 | 7.013 | 7.881 | 9.087 | 10.45 | 13.18
350 | 1751 | 1355 | 1041 | 880.4 | 956.8 | 1222 | 1657 | 2307 | 3040 | 3771 | 4229 | 4161 | 3456 | 2265 | 1136 | 540.7 | 477 | 279 | 119.8 | 77.93 | 59.51 | 65.84 | 453.4 | 5805 | 9999.9 | 887.8 | 10.57 | 7.546 | 6.361 | 5.59 | 4.52 | 3.884 | 3.37 | 3.146 | 2.973 | 2.652 | 2.713 | 2.902 | 2.646 | 2.939 | 3.2 | 3.276 | 3.404 | 4.285 | 4.627 | 5.279 | 5.978 | 5.912 | 5.779 | 6.165 | 6.036 | 6.088 | 5.475 | 6.4 | 6.975 | 7.432 | 9.08 | 10.83 | 13.3
355 | 1554 | 1213 | 954.7 | 827 | 938.6 | 1193 | 1618 | 2161 | 2801 | 3416 | 3764 | 3683 | 3066 | 2043 | 1073 | 541.7 | 372.4 | 417.6 | 217.4 | 109.9 | 80.32 | 65.18 | 72.74 | 427.1 | 6379 | 9999.9 | 1048 | 11.17 | 7.413 | 6.074 | 5.261 | 3.609 | 3.458 | 3.312 | 3.214 | 2.726 | 2.923 | 2.987 | 2.803 | 2.76 | 2.872 | 3.124 | 3.621 | 4.282 | 4.117 | 5.276 | 5.639 | 5.386 | 5.314 | 6.195 | 5.546 | 5.247 | 5.651 | 6.055 | 7.497 | 8.259 | 8.79 | 10.46 | 12.2
360 | 1417 | 1112 | 876.9 | 822 | 913.2 | 1169 | 1543 | 2004 | 2544 | 3048 | 3330 | 3243 | 2715 | 1833 | 1035 | 570.5 | 373.7 | 347.9 | 380.8 | 185.4 | 114.5 | 87.83 | 68.81 | 74.4 | 464.4 | 6114 | 9999.9 | 1138 | 12.02 | 7.858 | 6.593 | 5.393 | 4.225 | 3.52 | 3.124 | 2.579 | 2.764 | 2.753 | 2.981 | 2.733 | 2.863 | 3.292 | 3.669 | 4.089 | 3.86 | 4.942 | 5.16 | 4.761 | 4.756 | 5.567 | 5.668 | 5.759 | 5.752 | 5.813 | 6.724 | 7.901 | 8.641 | 10.08 | 11.9
365 | 1329 | 1036 | 839.9 | 805.2 | 891.1 | 1123 | 1441 | 1860 | 2319 | 2751 | 2974 | 2876 | 2435 | 1692 | 1018 | 617.5 | 437.8 | 327.1 | 359.7 | 345.8 | 175.7 | 120.7 | 94.79 | 74.45 | 82.25 | 451.8 | 7063 | 9999.9 | 1105 | 11.74 | 7.763 | 5.533 | 4.494 | 3.579 | 3.447 | 2.836 | 2.973 | 3.178 | 2.506 | 2.86 | 2.756 | 3.21 | 3.506 | 3.838 | 4.136 | 4.568 | 4.661 | 4.654 | 4.215 | 4.926 | 5.474 | 5.251 | 5.345 | 5.663 | 6.855 | 7.039 | 8.223 | 9.495 | 11.15
370 | 1238 | 957.1 | 804.5 | 786.5 | 872.3 | 1064 | 1352 | 1716 | 2090 | 2433 | 2627 | 2548 | 2194 | 1573 | 1026 | 692.3 | 498.1 | 387.1 | 324.3 | 380.9 | 325.7 | 177.8 | 131.9 | 103.9 | 79.96 | 82.63 | 522.3 | 7042 | 9999.9 | 1093 | 11.49 | 7.073 | 5.647 | 4.182 | 3.591 | 3.479 | 3.037 | 3.175 | 2.956 | 2.454 | 2.992 | 3.079 | 3.224 | 3.56 | 4.167 | 4.203 | 4.479 | 4.478 | 4.244 | 4.696 | 5.177 | 4.982 | 5.432 | 5.658 | 5.973 | 7.417 | 8.334 | 9.169 | 10.92
375 | 1166 | 899.3 | 819.4 | 762.7 | 852.4 | 1015 | 1237 | 1568 | 1893 | 2206 | 2376 | 2331 | 2014 | 1532 | 1073 | 778.8 | 598.3 | 470.7 | 381.1 | 350.2 | 421.5 | 308.5 | 189.9 | 145.4 | 114.5 | 85.32 | 89.31 | 522.7 | 7140 | 9999.9 | 1099 | 10.81 | 6.969 | 5.45 | 4.24 | 3.68 | 3.121 | 2.994 | 2.776 | 2.705 | 3.17 | 2.971 | 3.19 | 3.597 | 4.006 | 4.074 | 4.553 | 4.374 | 4.15 | 4.517 | 4.632 | 5.043 | 5.142 | 5.455 | 6.212 | 7.102 | 7.794 | 8.583 | 10.06
380 | 1095 | 934.7 | 816.2 | 769.7 | 839.2 | 981.8 | 1165 | 1419 | 1736 | 1990 | 2158 | 2131 | 1937 | 1532 | 1168 | 901.8 | 702.4 | 566.1 | 470.8 | 408.2 | 392.9 | 454.1 | 309.4 | 212 | 162 | 124.9 | 90.24 | 90.79 | 529.6 | 7049 | 9999.9 | 986.7 | 9.863 | 6.474 | 5.08 | 4.267 | 3.544 | 3.331 | 3.216 | 3.288 | 3.526 | 3.068 | 3.471 | 3.768 | 3.91 | 4.717 | 4.176 | 4.179 | 4.196 | 4.706 | 5.235 | 4.531 | 5.608 | 5.48 | 6.157 | 6.809 | 7.36 | 8.516 | 9.66
385 | 1046 | 915.8 | 839.1 | 789.1 | 819.4 | 950.8 | 1097 | 1330 | 1575 | 1828 | 2002 | 2026 | 1906 | 1570 | 1275 | 1021 | 838 | 676.6 | 577.3 | 492.6 | 447.8 | 458.2 | 472.3 | 310.9 | 229.7 | 177.9 | 131.4 | 90.66 | 89.37 | 524.9 | 7123 | 9999.9 | 974.1 | 9.682 | 6.507 | 5.049 | 4.05 | 3.792 | 3.211 | 2.929 | 3.509 | 3.319 | 3.404 | 3.563 | 3.641 | 4.134 | 4.297 | 4.312 | 4.329 | 5.039 | 5.292 | 5.49 | 4.937 | 5.5 | 6.338 | 6.925 | 7.56 | 8.14 | 9.067
390 | 1095 | 931.3 | 844.8 | 798.6 | 817.5 | 906.1 | 1039 | 1240 | 1457 | 1709 | 1903 | 1968 | 1888 | 1645 | 1394 | 1168 | 961.1 | 802.7 | 696.2 | 610.4 | 554.8 | 498.7 | 520.4 | 481.5 | 319.3 | 239.6 | 182.7 | 126 | 84.1 | 84.28 | 517.4 | 6342 | 9999.9 | 931.2 | 9.576 | 6.367 | 5.049 | 4.618 | 3.644 | 3.142 | 3.142 | 3.413 | 3.291 | 3.42 | 3.794 | 3.932 | 4.121 | 4.354 | 4.52 | 4.952 | 5.411 | 5.58 | 5.556 | 5.524 | 6.044 | 6.388 | 6.421 | 7.515 | 8.695
395 | 1075 | 974.3 | 886.2 | 814.4 | 818.1 | 889.5 | 987.7 | 1136 | 1384 | 1633 | 1826 | 1921 | 1893 | 1719 | 1504 | 1300 | 1086 | 919.1 | 806.2 | 727.4 | 665.2 | 601.5 | 542.2 | 568 | 468.5 | 315.4 | 237.4 | 169.6 | 113.4 | 72.51 | 74.5 | 472.2 | 6491 | 9325 | 889.3 | 9.261 | 5.83 | 5.517 | 4.091 | 3.544 | 3.194 | 3.43 | 3.431 | 3.558 | 3.479 | 4.392 | 4.143 | 4.448 | 4.149 | 5.179 | 5.112 | 5.125 | 4.907 | 5.575 | 6.148 | 6.418 | 6.963 | 7.693 | 8.454
400 | 1108 | 984 | 931.7 | 848.8 | 821 | 855 | 941.1 | 1074 | 1326 | 1549 | 1745 | 1879 | 1886 | 1759 | 1596 | 1410 | 1215 | 1049 | 932.9 | 844.2 | 782.8 | 709 | 633.2 | 583.5 | 592.9 | 444.5 | 304.8 | 215.6 | 148.3 | 96.92 | 61.64 | 66.07 | 468.4 | 5635 | 9226 | 807.5 | 9.112 | 6.484 | 5.016 | 3.956 | 3.727 | 3.612 | 3.73 | 3.599 | 3.853 | 4.306 | 4.334 | 4.111 | 4.498 | 5.184 | 5.421 | 5.549 | 5.632 | 5.869 | 5.748 | 6.511 | 7.204 | 6.921 | 8.185
405 | 1090 | 1037 | 942.1 | 863.4 | 842.9 | 848.8 | 916.9 | 1039 | 1248 | 1493 | 1707 | 1852 | 1889 | 1805 | 1671 | 1512 | 1320 | 1161 | 1049 | 967.7 | 892.5 | 813.8 | 731.4 | 639.9 | 594.2 | 578.8 | 403.6 | 273.5 | 187.1 | 123 | 78.23 | 51.64 | 61.73 | 403 | 5233 | 8847 | 796.2 | 9.454 | 5.831 | 4.691 | 3.731 | 3.643 | 3.717 | 3.839 | 3.555 | 4.371 | 4.272 | 4.375 | 4.45 | 5.391 | 5.47 | 5.628 | 5.461 | 5.437 | 5.823 | 6.217 | 6.718 | 7.853 | 8.051
410 | 1087 | 1040 | 982.2 | 888.1 | 858.7 | 838.9 | 880.5 | 994.5 | 1201 | 1423 | 1646 | 1803 | 1866 | 1825 | 1705 | 1566 | 1397 | 1260 | 1146 | 1063 | 985.8 | 911 | 817.2 | 719.6 | 628 | 588 | 534.5 | 342.1 | 226.4 | 151 | 99.13 | 63.91 | 43.66 | 53.05 | 380.7 | 5442 | 8023 | 831.7 | 8.577 | 5.64 | 4.551 | 3.944 | 3.68 | 3.98 | 3.793 | 3.96 | 4.313 | 4.248 | 4.658 | 5.369 | 5.707 | 5.811 | 5.144 | 5.654 | 6.072 | 6.234 | 6.251 | 6.84 | 7.385
415 | 1054 | 1007 | 991.7 | 907.8 | 858.5 | 833.4 | 866.1 | 967.1 | 1144 | 1364 | 1574 | 1732 | 1821 | 1800 | 1705 | 1594 | 1451 | 1322 | 1221 | 1142 | 1069 | 989.8 | 895.9 | 795.3 | 691.2 | 596.4 | 559.5 | 447.4 | 273.9 | 180.4 | 119 | 79.97 | 54.85 | 37.87 | 50.33 | 399.4 | 4945 | 8801 | 705.1 | 8.756 | 5.717 | 4.723 | 3.805 | 3.637 | 3.786 | 4.291 | 4.642 | 4.219 | 4.642 | 5.257 | 5.338 | 5.482 | 5.51 | 5.568 | 6.13 | 6.721 | 6.495 | 6.829 | 7.531
420 | 1038 | 1021 | 962.2 | 910.4 | 836.2 | 826.7 | 843.6 | 933.4 | 1091 | 1301 | 1515 | 1653 | 1755 | 1751 | 1689 | 1592 | 1473 | 1351 | 1271 | 1196 | 1126 | 1041 | 948 | 839.9 | 741.5 | 630.8 | 536.8 | 498 | 358.1 | 213.8 | 141.2 | 97.39 | 68.79 | 47.85 | 35.33 | 50.27 | 367.3 | 5544 | 7964 | 584.3 | 7.844 | 5.536 | 4.308 | 4.279 | 4.054 | 4.293 | 4.308 | 4.577 | 4.74 | 4.902 | 5.518 | 5.58 | 5.746 | 5.972 | 6.375 | 6.498 | 6.45 | 6.691 | 7.171
425 | 996.1 | 999.5 | 949.7 | 904.2 | 854.1 | 832 | 824.3 | 893.4 | 1043 | 1232 | 1455 | 1582 | 1666 | 1679 | 1642 | 1569 | 1466 | 1374 | 1287 | 1225 | 1158 | 1076 | 986.2 | 879 | 780.1 | 667.3 | 553 | 470.8 | 425.2 | 275.5 | 166.3 | 115.8 | 84.46 | 59.13 | 45.35 | 35.31 | 47.64 | 410.7 | 5179 | 6351 | 567.6 | 7.937 | 5.126 | 4.749 | 4.367 | 4.144 | 4.432 | 4.604 | 4.5 | 5.419 | 5.663 | 5.539 | 5.875 | 5.627 | 5.802 | 6.507 | 6.247 | 6.527 | 6.564
430 | 939.9 | 937.8 | 929.7 | 898.9 | 858.2 | 804.3 | 798.3 | 871.6 | 1002 | 1188 | 1373 | 1502 | 1587 | 1614 | 1598 | 1534 | 1449 | 1370 | 1309 | 1252 | 1189 | 1105 | 1014 | 906.1 | 803.5 | 698.9 | 582.5 | 473.9 | 406 | 348.1 | 206.7 | 135.8 | 99.78 | 71.67 | 56.94 | 42.21 | 36.01 | 50 | 383 | 4056 | 6218 | 598.8 | 7.593 | 5.416 | 4.658 | 4.763 | 4.362 | 4.661 | 4.687 | 5.338 | 5.114 | 5.851 | 5.545 | 5.7 | 5.791 | 6.061 | 6.819 | 6.888 | 6.504
435 | 896.6 | 958.4 | 938 | 890.8 | 851.2 | 814.9 | 804.1 | 845.3 | 966.2 | 1126 | 1288 | 1439 | 1507 | 1524 | 1526 | 1490 | 1412 | 1355 | 1299 | 1244 | 1194 | 1118 | 1018 | 920.8 | 823 | 714.5 | 605.1 | 495.7 | 387.8 | 350.8 | 274.1 | 165.6 | 114.8 | 85.8 | 66.62 | 51.32 | 40.78 | 32.4 | 46.7 | 305.4 | 4001 | 6749 | 540.6 | 7.299 | 5.482 | 5.343 | 4.809 | 4.428 | 4.697 | 5.078 | 5.362 | 5.72 | 5.298 | 5.755 | 6.014 | 6.057 | 6.081 | 6.756 | 6.748
440 | 859.2 | 875.1 | 914.9 | 877.2 | 854.8 | 793.8 | 763.5 | 810.5 | 928.1 | 1066 | 1224 | 1329 | 1410 | 1441 | 1446 | 1431 | 1373 | 1311 | 1277 | 1228 | 1169 | 1099 | 1021 | 923.2 | 827.4 | 722.6 | 617.2 | 505.5 | 405.8 | 322.5 | 303.5 | 219.3 | 138.3 | 100.6 | 78.68 | 64.29 | 47.78 | 34.93 | 28.24 | 37.78 | 296 | 4511 | 6074 | 506.9 | 7.334 | 5.904 | 5.535 | 4.661 | 4.726 | 5.325 | 5.436 | 5.752 | 5.772 | 5.848 | 5.742 | 6.328 | 6.436 | 6.474 | 6.5
445 | 838.1 | 847.5 | 877.7 | 871.2 | 812.7 | 786.8 | 738.5 | 765.5 | 855.5 | 1003 | 1137 | 1243 | 1316 | 1343 | 1355 | 1334 | 1292 | 1255 | 1223 | 1183 | 1138 | 1076 | 999.4 | 901.9 | 815.9 | 720.4 | 628.1 | 520.3 | 420.8 | 330.3 | 276.3 | 252.7 | 177.7 | 116.8 | 92.08 | 72.33 | 56.73 | 43.45 | 31.5 | 24.57 | 35.7 | 331.6 | 3848 | 5496 | 469.6 | 7.586 | 5.944 | 5.001 | 4.699 | 5.406 | 5.082 | 5.685 | 5.504 | 5.82 | 5.475 | 6.587 | 5.954 | 6.056 | 6.075
450 | 1050 | 765.9 | 791.7 | 797.2 | 777.1 | 741.7 | 701.6 | 724.6 | 813.5 | 946.3 | 1041 | 1144 | 1204 | 1239 | 1244 | 1243 | 1205 | 1178 | 1155 | 1124 | 1081 | 1039 | 959.3 | 879.4 | 791.8 | 709.4 | 616.3 | 520.5 | 426.8 | 341.2 | 269.3 | 240.6 | 220.5 | 146 | 103.7 | 82.69 | 65.23 | 49.47 | 37.42 | 27.57 | 22.09 | 36.28 | 287.8 | 3631 | 5647 | 533.8 | 7.489 | 6.052 | 5.156 | 5.405 | 5.043 | 5.324 | 5.126 | 5.376 | 5.623 | 5.504 | 5.885 | 6.334 | 5.916
455 | 2024 | 737.8 | 755.8 | 745 | 765 | 704.3 | 661.7 | 673.6 | 739 | 852.4 | 946.4 | 1045 | 1093 | 1114 | 1132 | 1128 | 1118 | 1096 | 1079 | 1046 | 1023 | 971.1 | 913.2 | 834.7 | 763.5 | 685.5 | 608.7 | 521.7 | 430.3 | 351.3 | 279.1 | 227.6 | 222.8 | 187.6 | 124.1 | 91.01 | 73.73 | 56.94 | 41.63 | 31.89 | 24.2 | 21.4 | 33.26 | 278.2 | 3597 | 5510 | 465 | 7.154 | 5.489 | 5.069 | 5.526 | 5.402 | 5.531 | 5.471 | 5.646 | 5.868 | 6.001 | 5.815 | 6.09
460 | 3068 | 941.6 | 703.7 | 719.1 | 692.8 | 663.3 | 621.2 | 632.9 | 690.2 | 781.6 | 871.5 | 929.4 | 977 | 1010 | 1030 | 1034 | 1026 | 1003 | 996.5 | 973.2 | 946.7 | 913 | 849.6 | 799.3 | 732.9 | 660.7 | 589 | 514.1 | 436.5 | 358.2 | 291 | 235.2 | 201 | 201.4 | 156 | 105.5 | 82.05 | 65.43 | 48.91 | 38.38 | 28.82 | 22.7 | 19.31 | 31.44 | 266.1 | 3474 | 5092 | 446 | 7.457 | 5.955 | 5.768 | 5.335 | 5.049 | 4.787 | 5.767 | 5.686 | 5.705 | 5.486 | 5.835
465 | 2529 | 1874 | 636.2 | 648.3 | 655.7 | 599.6 | 591.8 | 591.4 | 629.7 | 707.1 | 790.5 | 853.7 | 870.9 | 912 | 922.7 | 923.4 | 930.3 | 910.2 | 903.6 | 896.5 | 876.6 | 839 | 799.8 | 746.8 | 691.9 | 630.6 | 568.9 | 507.7 | 436.4 | 367.2 | 300.3 | 246.3 | 204.2 | 184.8 | 179.6 | 127.6 | 92.32 | 72.01 | 55.08 | 43.1 | 34.38 | 26.49 | 21.1 | 17.42 | 30.16 | 257 | 3353 | 4680 | 454 | 7.46 | 5.921 | 5.593 | 5.485 | 4.935 | 5.553 | 5.361 | 5.382 | 5.148 | 5.245
470 | 983.4 | 2957 | 847.9 | 605.1 | 596.4 | 566.7 | 537.3 | 540.5 | 578.8 | 636.6 | 709.1 | 754.6 | 787.1 | 803.4 | 826.2 | 830.2 | 826.2 | 830.4 | 821.9 | 814.5 | 800 | 765.7 | 737.8 | 692.4 | 646.8 | 598.7 | 546.6 | 489.8 | 434.4 | 365.1 | 305 | 255.4 | 213.4 | 178.4 | 168.6 | 153.8 | 108.2 | 78.6 | 63.12 | 48.39 | 38.65 | 29.89 | 25.12 | 19.81 | 17.91 | 29.13 | 247.6 | 3079 | 4513 | 420.4 | 7.446 | 6.461 | 5.514 | 5.411 | 5.169 | 5.257 | 5.494 | 5.027 | 5.433
475 | 513.7 | 2563 | 1817 | 555.4 | 540.5 | 506.7 | 489.5 | 496.2 | 522.1 | 570.8 | 629 | 665.9 | 695.5 | 709.6 | 721.9 | 741.8 | 741 | 736 | 735.3 | 731.5 | 721.8 | 706 | 674.7 | 642.9 | 603.3 | 558.8 | 525.2 | 483.5 | 423.9 | 365.4 | 309.9 | 260.2 | 221.5 | 182.4 | 158.4 | 154.5 | 131.9 | 90.73 | 69.3 | 55.81 | 44.77 | 36.02 | 29.62 | 24.92 | 20.23 | 17.61 | 29.92 | 232.4 | 2728 | 3951 | 299.3 | 7.777 | 5.856 | 5.506 | 5.299 | 4.976 | 5.166 | 5.072 | 5.007
480 | 451.2 | 981.9 | 3093 | 748.3 | 500.5 | 484.1 | 454.6 | 459.3 | 478.2 | 538.8 | 572.6 | 605.4 | 628.4 | 627 | 644.2 | 655 | 664 | 662.9 | 667.2 | 664.8 | 659.5 | 648.6 | 624.3 | 600.7 | 568.8 | 536.6 | 503.1 | 464.5 | 420.4 | 365.3 | 312 | 267.7 | 227.5 | 193.6 | 163.3 | 143.8 | 139.5 | 112.4 | 80.12 | 62.55 | 53.41 | 43.01 | 36.94 | 30.92 | 25.44 | 20.66 | 19.9 | 30.12 | 202.4 | 2431 | 3569 | 338 | 7.832 | 6.39 | 5.411 | 5.041 | 5.067 | 5.026 | 4.987
485 | 398.5 | 452.5 | 2761 | 1711 | 470.2 | 455.7 | 433.8 | 443.8 | 450.3 | 495.9 | 524.7 | 547.1 | 560.5 | 567.4 | 582 | 591.4 | 601.1 | 602.9 | 606.3 | 607.7 | 606.5 | 598.3 | 576.4 | 560.2 | 541.5 | 517.7 | 491.3 | 456.1 | 412.9 | 370.6 | 320 | 274.7 | 233.8 | 203.7 | 172.1 | 149 | 137.3 | 129 | 96.98 | 74.41 | 60.07 | 52.42 | 44.49 | 38.02 | 32.9 | 27.65 | 24.08 | 20.55 | 30.04 | 191.9 | 2495 | 3611 | 312.9 | 7.789 | 6.52 | 5.715 | 4.89 | 4.525 | 4.953
490 | 378.9 | 387.2 | 1055 | 2952 | 668.9 | 437.7 | 414.3 | 410.8 | 431.6 | 462.1 | 493 | 503.4 | 510.5 | 513.4 | 529.8 | 534.4 | 539.5 | 546 | 547.5 | 556.3 | 558.2 | 553.2 | 542.6 | 531.2 | 512.6 | 496.3 | 472.4 | 451.9 | 413 | 371.9 | 323.2 | 280.2 | 243.3 | 211.4 | 181.1 | 156.1 | 134.4 | 131.1 | 117.1 | 87.92 | 71.7 | 61.43 | 54.39 | 45.24 | 40.68 | 34.67 | 29.37 | 26.24 | 22.47 | 29.18 | 196.9 | 2404 | 3630 | 318.5 | 7.982 | 6.287 | 5.492 | 4.821 | 4.756
495 | 348.6 | 355.2 | 424.4 | 2762 | 1545 | 413.4 | 397.4 | 393.7 | 411.7 | 437.3 | 452.7 | 453 | 460.6 | 461.2 | 476.2 | 486.9 | 484.1 | 494.9 | 496.5 | 506.5 | 509.4 | 505.2 | 501.7 | 491.8 | 480.7 | 472.5 | 457.2 | 440.1 | 408.1 | 367.8 | 324.9 | 286.1 | 248.5 | 216.6 | 187.9 | 164.5 | 142.8 | 125.8 | 125 | 107.7 | 83.42 | 70.85 | 62.07 | 55.48 | 48.18 | 43.22 | 37.81 | 32.09 | 28.45 | 24.36 | 30.26 | 192.7 | 2598 | 3706 | 292.8 | 7.483 | 5.869 | 4.64 | 4.769
500 | 342.4 | 325 | 375 | 1072 | 2754 | 596 | 380.1 | 378 | 390.5 | 402.8 | 412.2 | 411.7 | 415 | 413.3 | 418.1 | 429.8 | 430.7 | 441.2 | 447.9 | 455.9 | 457.2 | 456.8 | 458.2 | 448.7 | 447.3 | 440.8 | 434.3 | 421.6 | 394.4 | 361.7 | 320.9 | 287.7 | 247.8 | 218.4 | 191.8 | 167.4 | 146.4 | 130.2 | 121.1 | 116.6 | 98.39 | 81.01 | 69.32 | 62.2 | 55.35 | 49.33 | 43.65 | 38.49 | 31.78 | 27.2 | 23.67 | 29.4 | 204.4 | 2470 | 3438 | 278.6 | 6.852 | 5.246 | 4.732
505 | 336.3 | 315.5 | 324.6 | 391.5 | 2591 | 1452 | 362 | 361 | 371.7 | 384 | 380.2 | 375.3 | 368.3 | 363.1 | 365.4 | 379.2 | 377.7 | 385.5 | 393.3 | 401.2 | 412.8 | 409.4 | 412.4 | 411.6 | 412.7 | 406 | 404.5 | 399.4 | 380.7 | 350 | 313.8 | 277.4 | 248.4 | 214.4 | 190.7 | 167.4 | 149.6 | 132.5 | 118.8 | 114.6 | 112.3 | 93.96 | 77.49 | 68.93 | 63.85 | 56.37 | 49.44 | 44.77 | 37.22 | 30.75 | 25.03 | 21.33 | 28.69 | 195.3 | 2371 | 3260 | 251.2 | 5.97 | 5.635
510 | 282 | 302.6 | 288.8 | 299.2 | 1027 | 2732 | 553.9 | 346.3 | 356.9 | 355.8 | 356.9 | 337.5 | 322.4 | 318.8 | 321.4 | 328.8 | 336.5 | 334.7 | 350.4 | 354.7 | 357.3 | 366 | 368.8 | 373 | 376.6 | 378.2 | 375.6 | 374.2 | 357 | 331.4 | 298.2 | 269.4 | 240 | 211.6 | 186.3 | 164.8 | 150.1 | 134 | 119.3 | 111.4 | 110.9 | 105.4 | 87.74 | 75.1 | 67.43 | 61.27 | 54.23 | 47.36 | 42.24 | 34.95 | 28.39 | 22.43 | 18.69 | 25.33 | 184.2 | 2202 | 2943 | 233.8 | 5.888
515 | 222.5 | 292.4 | 264.7 | 275.2 | 352.5 | 2688 | 1338 | 325.4 | 333.3 | 330.6 | 328.1 | 307.1 | 288.2 | 273.3 | 280.6 | 286.8 | 289.3 | 295.4 | 301.3 | 311.6 | 321 | 328.7 | 331 | 333.1 | 341.2 | 345.4 | 350.6 | 346.4 | 335.1 | 312.6 | 284.7 | 255.1 | 225.6 | 201.9 | 180 | 161.8 | 144.4 | 130.1 | 119.8 | 108 | 103.7 | 106.7 | 95.99 | 80.73 | 71.34 | 62.91 | 56.6 | 50.14 | 44.53 | 37.62 | 29.93 | 24.92 | 17.61 | 14.61 | 21.22 | 173.4 | 2047 | 2671 | 220.9
520 | 195.6 | 256.3 | 266.1 | 248.1 | 268.2 | 1086 | 2644 | 522.7 | 299.9 | 291.1 | 288.2 | 269.2 | 247.1 | 240.8 | 243.1 | 247.9 | 252.5 | 255.5 | 264.1 | 271.4 | 278 | 284 | 295.4 | 297.4 | 308.2 | 310.3 | 316.5 | 315.8 | 308.2 | 287.5 | 265.7 | 235.9 | 215.1 | 188.9 | 170.1 | 151.7 | 140.6 | 126.4 | 115.7 | 107.7 | 100.7 | 99.45 | 97.01 | 85.02 | 71.47 | 64.63 | 58.02 | 52.66 | 43.9 | 38.17 | 31.82 | 25.36 | 19.71 | 14.48 | 11.96 | 19.78 | 159.8 | 1863 | 2636
525 | 189 | 202.7 | 258.9 | 232.6 | 239 | 317.9 | 2737 | 1343 | 285.8 | 270.6 | 256.9 | 239.1 | 218.8 | 208.7 | 211.6 | 212.7 | 216.7 | 224.9 | 229.8 | 237 | 243.3 | 250.2 | 256.9 | 266.3 | 269.3 | 279 | 283.5 | 288.9 | 277.5 | 263 | 240.8 | 213.9 | 194.7 | 174.6 | 155.3 | 141.6 | 129.9 | 119.5 | 110.6 | 101.5 | 95.1 | 90.9 | 91.58 | 87.77 | 74.21 | 62.36 | 56.53 | 52.02 | 43.95 | 37.24 | 32.96 | 26.11 | 20.38 | 16.29 | 12.44 | 11.42 | 19.61 | 148.2 | 1787
530 | 164.7 | 176.6 | 225.9 | 222.8 | 210.8 | 230.1 | 1211 | 2604 | 472.6 | 243.5 | 231 | 214 | 193.3 | 185 | 182.5 | 185.1 | 187.3 | 193.9 | 196.3 | 206.1 | 213.4 | 217.5 | 225.6 | 231.6 | 235.8 | 248.2 | 251.6 | 253.5 | 249.9 | 233.8 | 216.6 | 194.8 | 177.3 | 159 | 143.8 | 131.3 | 119.2 | 110.3 | 100.6 | 95.8 | 90.85 | 84.3 | 82.28 | 82.42 | 75.05 | 63.84 | 55.95 | 50.12 | 42.84 | 37.52 | 31.41 | 26.37 | 22.02 | 16.83 | 14.22 | 11.9 | 12.47 | 20.58 | 147.1
535 | 151.9 | 161.3 | 174.8 | 213.9 | 182.2 | 213.1 | 307.4 | 2791 | 1177 | 231.4 | 205.6 | 181.9 | 170.9 | 161.6 | 156.8 | 159.5 | 164.5 | 164.5 | 167.8 | 172.6 | 182.8 | 188.2 | 194.7 | 200.3 | 208.2 | 212.8 | 220 | 221.8 | 221.1 | 208.9 | 193.7 | 172.9 | 159.4 | 142.6 | 129.9 | 115.3 | 108.7 | 100 | 92.18 | 87.9 | 81.68 | 77.61 | 71.54 | 73.28 | 72.29 | 62.65 | 52.61 | 47.76 | 42.8 | 36.34 | 31.36 | 26.43 | 22.45 | 18.22 | 15.23 | 14.23 | 14.84 | 14.93 | 25.14
540 | 133.8 | 134.7 | 144.8 | 195.3 | 183.6 | 173.7 | 190 | 1230 | 2278 | 368.2 | 179.6 | 163.1 | 140.7 | 133.7 | 132.5 | 132.4 | 138 | 138.3 | 143.9 | 146.9 | 157 | 159.9 | 167.6 | 171.6 | 177.6 | 187.7 | 190.9 | 195.2 | 191.8 | 183.8 | 169.4 | 153.5 | 138.4 | 125.7 | 112.9 | 103.9 | 96.02 | 89.16 | 82.33 | 79.84 | 73.74 | 72.31 | 67.55 | 62.89 | 63.29 | 61.17 | 51.94 | 44.56 | 39.52 | 34.69 | 30.42 | 26.57 | 23.23 | 18.65 | 17.4 | 15.35 | 16.89 | 18.55 | 20.94
545 | 118.3 | 121.2 | 122.5 | 157.3 | 182.7 | 161.1 | 166.8 | 269.4 | 2418 | 951.5 | 159.6 | 143.9 | 122.1 | 117.2 | 111.8 | 112 | 112.6 | 116.3 | 118.9 | 122.9 | 127.7 | 135.3 | 139 | 144.5 | 150.6 | 157.4 | 160.8 | 164.5 | 163 | 156 | 142 | 128.8 | 117.9 | 107.4 | 99.73 | 90.22 | 85.93 | 77.87 | 74 | 69.2 | 66.47 | 63.79 | 59.33 | 57.3 | 52.89 | 54.21 | 51.25 | 43.67 | 36.95 | 32.39 | 28.69 | 25.89 | 22.36 | 19.26 | 17.98 | 17.93 | 17.83 | 20.39 | 22.84
550 | 111.3 | 104.1 | 107.3 | 122.5 | 176.8 | 144.2 | 147 | 162.8 | 1149 | 1883 | 297.1 | 118.1 | 103.4 | 95.95 | 95.46 | 95.13 | 95.53 | 97.55 | 98.24 | 101.9 | 106.5 | 112.9 | 116.5 | 121.3 | 128.2 | 132.6 | 135.5 | 139.1 | 138.9 | 131.2 | 121.6 | 111.1 | 101.9 | 90.95 | 84.37 | 77.21 | 72.97 | 67.69 | 63.52 | 61.66 | 58.86 | 56.36 | 54.01 | 50.8 | 47.37 | 46.02 | 46.26 | 41.99 | 34.44 | 28.78 | 26.89 | 23.52 | 20.28 | 18.55 | 18.27 | 17.6 | 17.69 | 20.31 | 22.69
555 | 103.1 | 83.99 | 88.87 | 96.77 | 154.2 | 140.3 | 126.1 | 138.7 | 228.8 | 2171 | 774.3 | 106.4 | 84.9 | 77.83 | 76.23 | 78.19 | 79.31 | 79.29 | 81.57 | 84.84 | 89.69 | 92.03 | 95.82 | 102.3 | 105.2 | 111.5 | 113.8 | 114 | 114.1 | 111 | 99.65 | 95.05 | 83.38 | 78 | 69.02 | 65.23 | 62.86 | 58.1 | 54.58 | 51.04 | 50.63 | 49.03 | 46.91 | 44.8 | 40.88 | 38.21 | 38.13 | 37.66 | 33.32 | 26.72 | 23.43 | 21.92 | 19.43 | 16.93 | 15.49 | 16.36 | 16.36 | 19.18 | 20.88
560 | 85.38 | 75.44 | 76.71 | 81.63 | 105 | 151.5 | 111.3 | 116.2 | 128 | 1123 | 1596 | 224.8 | 74.04 | 66.86 | 62.82 | 61.78 | 64.49 | 65.75 | 62.8 | 68.85 | 71.64 | 73.85 | 78.75 | 81.94 | 87.16 | 91.87 | 92.2 | 96.87 | 94.31 | 90.35 | 84.34 | 76.52 | 69.13 | 63.79 | 58.19 | 55.37 | 50.57 | 48.02 | 46.48 | 44.39 | 42.82 | 41.01 | 40.08 | 37.21 | 34.38 | 33.21 | 32.22 | 31.58 | 30.12 | 23.57 | 20.33 | 18.82 | 16.31 | 15.31 | 13.17 | 13.75 | 14.52 | 16.16 | 18.04
565 | 86.93 | 68.08 | 69.08 | 68.13 | 79.07 | 140 | 114.3 | 108.9 | 107 | 194.3 | 1859 | 640.6 | 62.63 | 54.7 | 53.47 | 51.24 | 52.8 | 50.4 | 52.3 | 56.01 | 58.06 | 60.73 | 64.41 | 66.35 | 69.69 | 71.52 | 75.64 | 75.68 | 76.28 | 74.53 | 68.34 | 64.39 | 58.21 | 52.6 | 49.06 | 45.76 | 42.61 | 40.48 | 37.99 | 36.31 | 35.12 | 33.64 | 32.72 | 31.94 | 30.14 | 28.02 | 25.79 | 24.65 | 24.92 | 22.51 | 18.36 | 15.89 | 14.73 | 12.45 | 11.95 | 12.25 | 12.54 | 14.38 | 14.86
570 | 73.84 | 60.48 | 56.37 | 60.64 | 66.81 | 104.1 | 126.3 | 101.6 | 103.5 | 99.57 | 943.8 | 1403 | 158.7 | 45.05 | 40.41 | 40.76 | 41.99 | 41.78 | 44.82 | 44.3 | 46.56 | 48.07 | 52.4 | 53.55 | 55.89 | 57.97 | 61.85 | 62.31 | 61.31 | 62.54 | 57.47 | 52.47 | 46.75 | 42.24 | 39.92 | 36.53 | 34.23 | 33.74 | 31.48 | 30.17 | 30.26 | 28.97 | 28.56 | 26.83 | 25.09 | 24.46 | 21.93 | 20.98 | 19.99 | 19 | 16.85 | 13.93 | 11.8 | 11.21 | 9.728 | 9.929 | 10.72 | 11.52 | 13.31
575 | 79.52 | 58.7 | 51.5 | 53.5 | 59.54 | 74.78 | 127.2 | 104.5 | 95.03 | 91.92 | 153.4 | 1748 | 508.6 | 38.03 | 33.59 | 33.28 | 34.52 | 33.55 | 34.23 | 35.01 | 38.37 | 38.88 | 41.77 | 41.73 | 46.53 | 47.53 | 48.52 | 49.69 | 50.41 | 48.42 | 43.58 | 41.72 | 38.69 | 34.18 | 32.31 | 29.9 | 28.93 | 27.83 | 25.99 | 24.96 | 25 | 24.76 | 23.23 | 22.09 | 21.32 | 19.6 | 18.61 | 17.21 | 16.1 | 15.68 | 15.54 | 12.4 | 9.898 | 9.312 | 7.873 | 8.341 | 8.548 | 9.664 | 10.85
580 | 90.26 | 60.35 | 51.45 | 46.85 | 50.75 | 63.69 | 112.9 | 118.2 | 102.1 | 95.48 | 85.58 | 889.7 | 1164 | 119.3 | 30.11 | 28.58 | 27.6 | 28.89 | 28.2 | 30.72 | 30.28 | 32.24 | 33.96 | 34.99 | 37.39 | 38.28 | 40.76 | 40.94 | 40.54 | 39.25 | 37.65 | 33.77 | 31.41 | 28.69 | 26.52 | 24.94 | 23.42 | 22.8 | 21.66 | 20.64 | 20.92 | 19.71 | 18.99 | 18.65 | 17.89 | 16.44 | 15.65 | 14.78 | 12.99 | 11.81 | 13.04 | 11.59 | 8.883 | 7.817 | 6.785 | 6.784 | 7.166 | 7.924 | 8.671
585 | 86.06 | 59.29 | 48.39 | 46.32 | 45.92 | 56.8 | 84.7 | 128.2 | 106.9 | 98.38 | 88.17 | 139.3 | 1470 | 420.1 | 27.3 | 22.79 | 22.84 | 22.73 | 23.79 | 24.66 | 25.17 | 26.03 | 26.95 | 28.16 | 29.95 | 32.03 | 31.11 | 34.78 | 32.18 | 31.53 | 30.04 | 27.72 | 25.56 | 23.22 | 22.62 | 20.42 | 19.88 | 19.21 | 18.05 | 17.78 | 16.52 | 16.87 | 15.75 | 15.97 | 14.99 | 14.2 | 13.17 | 12.72 | 11 | 10 | 10.4 | 10.19 | 8.827 | 7.335 | 5.92 | 6.181 | 6.189 | 6.473 | 7.569
590 | 104.8 | 65.09 | 46.29 | 39.13 | 43.16 | 53.12 | 75.55 | 138.7 | 129.2 | 107.2 | 96.29 | 73.79 | 720.2 | 1062 | 89.56 | 18.9 | 20.46 | 18.93 | 19.59 | 19.62 | 20.39 | 20.79 | 22.52 | 22.91 | 24.24 | 25.39 | 26.21 | 28.13 | 28.2 | 26.16 | 25.13 | 22.71 | 20.02 | 20.03 | 17.65 | 17.04 | 16.5 | 15.35 | 15.27 | 14.54 | 14.25 | 13.81 | 13.87 | 12.95 | 12.42 | 11.89 | 10.66 | 10.7 | 9.906 | 8.017 | 7.727 | 8.085 | 8.19 | 6.43 | 5.542 | 5.537 | 5.423 | 5.74 | 5.938
595 | 109.9 | 72.56 | 46.77 | 45.6 | 43.71 | 52.82 | 72.4 | 110.1 | 156 | 123.4 | 108.3 | 81.97 | 113.6 | 1359 | 345.8 | 18.62 | 16.53 | 16.65 | 16.19 | 16.39 | 17.34 | 17.83 | 18.59 | 18.8 | 20.89 | 20.58 | 22.27 | 22.22 | 22.79 | 22.34 | 20.53 | 19.4 | 17.22 | 15.8 | 14.91 | 14.05 | 13.47 | 12.85 | 13.5 | 12.19 | 11.57 | 11.4 | 11.32 | 11.15 | 10.2 | 10.06 | 9.276 | 8.587 | 8.352 | 7.248 | 6.895 | 6.387 | 6.878 | 6.798 | 5.441 | 4.318 | 4.737 | 5.203 | 5.335
600 | 119.7 | 73.5 | 56.24 | 45.12 | 45.28 | 51.99 | 72.43 | 100.1 | 168 | 150.4 | 137 | 104.7 | 73.8 | 708.2 | 950.8 | 64.87 | 14.71 | 12.78 | 13.59 | 14.43 | 14.16 | 14.74 | 15.66 | 15.61 | 16.91 | 17.1 | 16.44 | 18.4 | 18.63 | 17.68 | 17.14 | 16.27 | 14.25 | 13.29 | 12.34 | 12.12 | 11.96 | 11.71 | 11.18 | 10.58 | 10.3 | 10.15 | 9.91 | 9.238 | 8.808 | 8.616 | 8.204 | 7.76 | 6.908 | 6.23 | 6.332 | 5.203 | 5.712 | 5.839 | 5.582 | 4.077 | 4.953 | 4.859 | 4.79