## Sheet1
Report date: | 19:58:41, 09/02/2024
Sample: | 1
File name:
Run date: | 19:47:52, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 169.8
2 | 275.0/350.0 | 7045
3 | 420.0/495.0 | 107
4 | 425.0/500.0 | 106.1
5 | 430.0/510.0 | 108.3
6 | 435.0/515.0 | 106.2
7 | 440.0/520.0 | 106
8 | 445.0/525.0 | 98.84
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 37.1 | 23.86 | 26.78 | 141.3 | 84.02 | 21.93 | 40.64 | 2085 | 4208 | 914.2 | 13.81 | 9.058 | 6.714 | 5.169 | 4.861 | 3.271 | 3.768 | 3.182 | 3.017 | 2.776 | 2.639 | 2.789 | 2.603 | 2.017 | 2.151 | 2.335 | 2.551 | 2.396 | 2.268 | 2.313 | 1.91 | 2.229 | 2.02 | 2.017 | 1.845 | 1.871 | 1.621 | 1.566 | 1.787 | 1.889 | 1.583 | 1.668 | 1.699 | 1.618 | 1.303 | 1.616 | 1.426 | 1.275 | 1.387 | 1.281 | 1.349 | 1.443 | 2.117 | 2.25 | 1.733 | 1.566 | 1.6 | 1.222 | 1.177
275 | 34.87 | 23.78 | 22.02 | 49.93 | 169.8 | 72.6 | 35.93 | 176.4 | 2160 | 3837 | 790.8 | 13.37 | 7.344 | 5.553 | 4.783 | 3.884 | 3.298 | 3.18 | 3.128 | 2.631 | 2.794 | 2.669 | 2.774 | 2.713 | 2.268 | 2.432 | 2.335 | 2.442 | 2.376 | 2.226 | 2.046 | 1.934 | 1.875 | 2.168 | 1.968 | 2.106 | 1.89 | 1.871 | 1.788 | 1.517 | 1.756 | 1.469 | 1.679 | 1.464 | 1.841 | 1.574 | 1.422 | 1.162 | 1.043 | 1.349 | 1.379 | 1.247 | 1.304 | 2.107 | 2.667 | 2.342 | 1.809 | 1.196 | 1.142
280 | 54.97 | 30.66 | 22.83 | 29.95 | 98.97 | 203.6 | 88.06 | 76.28 | 214 | 2117 | 3531 | 754.8 | 13.63 | 6.488 | 5.179 | 4.647 | 3.623 | 3.671 | 3.108 | 2.739 | 2.53 | 2.422 | 2.781 | 2.627 | 2.511 | 2.28 | 2.694 | 2.519 | 2.295 | 2.211 | 1.977 | 2.001 | 1.842 | 2.174 | 2.006 | 1.819 | 1.988 | 1.69 | 1.697 | 1.881 | 1.706 | 1.746 | 1.58 | 1.567 | 1.594 | 1.592 | 1.368 | 1.393 | 1.16 | 1.286 | 1.514 | 1.513 | 1.445 | 1.394 | 1.449 | 2.326 | 3.185 | 2.736 | 1.676
285 | 167.6 | 101.1 | 62.56 | 54.06 | 66.98 | 205.7 | 302.1 | 220.1 | 263.3 | 409.4 | 2189 | 3561 | 703 | 12.84 | 5.712 | 5.013 | 4.268 | 3.414 | 3.355 | 2.842 | 3.204 | 2.861 | 2.876 | 2.452 | 2.359 | 2.296 | 2.555 | 2.616 | 2.322 | 2.611 | 2.134 | 1.896 | 1.798 | 2.176 | 2.228 | 1.738 | 1.733 | 1.898 | 1.689 | 1.74 | 1.959 | 1.742 | 1.74 | 1.698 | 1.772 | 1.873 | 1.485 | 1.791 | 1.624 | 1.58 | 1.674 | 1.346 | 1.422 | 1.575 | 1.827 | 1.721 | 2.249 | 3.721 | 3.945
290 | 415.2 | 294.4 | 171.9 | 123.6 | 128.3 | 208.5 | 493.8 | 664.2 | 714 | 815.9 | 875 | 2541 | 3382 | 625.4 | 9.506 | 5.273 | 3.992 | 3.645 | 3.058 | 3.14 | 2.612 | 2.965 | 2.554 | 2.916 | 2.294 | 2.65 | 2.381 | 2.802 | 2.605 | 2.038 | 2.154 | 2.01 | 1.935 | 2.061 | 2.171 | 2.307 | 1.872 | 1.744 | 1.534 | 2.095 | 1.773 | 1.888 | 1.823 | 1.985 | 2.322 | 2.592 | 2.282 | 2.465 | 2.106 | 2.379 | 1.715 | 2.146 | 1.88 | 1.655 | 2.168 | 2.199 | 2.532 | 2.956 | 4.467
295 | 802.3 | 569.4 | 371 | 240.7 | 247.7 | 348.7 | 632.2 | 1157 | 1440 | 1553 | 1437 | 1045 | 2302 | 3148 | 569 | 8.421 | 4.84 | 3.923 | 3.431 | 3.671 | 3.313 | 3.169 | 3.249 | 2.693 | 2.366 | 2.582 | 2.915 | 2.651 | 2.578 | 2.597 | 2.251 | 2.192 | 2.113 | 2.212 | 2.07 | 2.092 | 1.921 | 2.024 | 1.692 | 2.057 | 1.573 | 1.894 | 2.229 | 2.496 | 2.814 | 3.059 | 3.367 | 3.309 | 2.962 | 3.184 | 3.021 | 2.502 | 2.422 | 2.103 | 2.427 | 2.733 | 3.303 | 4.024 | 5.148
300 | 1099 | 866.5 | 557.4 | 382.2 | 348.8 | 528.5 | 872.1 | 1429 | 2168 | 2359 | 2163 | 1415 | 652.2 | 1992 | 3069 | 488.6 | 7.799 | 4.912 | 4.285 | 3.017 | 3.167 | 3.206 | 2.706 | 2.896 | 2.677 | 2.548 | 2.37 | 2.467 | 2.867 | 2.344 | 2.174 | 2.034 | 2.284 | 1.905 | 2.016 | 1.928 | 1.871 | 1.854 | 2.043 | 2.175 | 2.106 | 2.363 | 2.198 | 2.802 | 3.225 | 3.617 | 4.127 | 4.045 | 3.948 | 3.905 | 3.735 | 3.469 | 3.007 | 2.93 | 3.189 | 3.302 | 4.104 | 5.365 | 6.839
305 | 1373 | 1076 | 770.6 | 511 | 494.8 | 698.5 | 1133 | 1752 | 2531 | 3138 | 2817 | 1919 | 814.8 | 397.7 | 1923 | 2952 | 440.3 | 7.923 | 4.459 | 3.836 | 3.487 | 2.907 | 2.943 | 2.824 | 2.767 | 2.662 | 2.406 | 2.726 | 2.552 | 2.344 | 2.457 | 1.872 | 2.161 | 1.914 | 2.061 | 1.851 | 1.896 | 1.981 | 1.896 | 2.181 | 2.032 | 2.241 | 2.695 | 3.184 | 3.549 | 4.663 | 5.002 | 4.72 | 4.84 | 4.606 | 4.855 | 3.884 | 4 | 3.802 | 3.829 | 4.536 | 5.686 | 7.572 | 9.126
310 | 1584 | 1293 | 968 | 715.6 | 741.3 | 1010 | 1516 | 2160 | 2884 | 3503 | 3509 | 2446 | 1175 | 495.8 | 338.9 | 1796 | 2856 | 414.2 | 8.514 | 4.448 | 3.868 | 3.197 | 3.391 | 3.104 | 2.866 | 2.657 | 2.452 | 2.748 | 2.35 | 2.398 | 2.296 | 2.22 | 2.26 | 2.364 | 2.286 | 1.903 | 1.938 | 2.144 | 2.096 | 1.979 | 2.082 | 2.395 | 2.541 | 2.881 | 3.86 | 4.95 | 5.295 | 4.916 | 5.034 | 5.812 | 5.668 | 5.22 | 4.697 | 4.763 | 5.509 | 6.166 | 7.85 | 9.484 | 11.27
315 | 1692 | 1458 | 1185 | 1034 | 1186 | 1574 | 2138 | 2772 | 3444 | 3893 | 3958 | 3083 | 1670 | 838.8 | 457.5 | 383.8 | 1768 | 3040 | 354.3 | 7.622 | 4.588 | 3.783 | 3.292 | 2.786 | 2.988 | 2.928 | 2.866 | 2.92 | 2.824 | 2.784 | 2.418 | 2.093 | 2.033 | 2.316 | 2.124 | 2.067 | 1.775 | 1.861 | 2.273 | 2.193 | 2.394 | 2.369 | 2.829 | 3.471 | 4.067 | 5.201 | 5.643 | 6.001 | 5.819 | 6.624 | 6.298 | 5.952 | 6.482 | 6.925 | 7.433 | 9.167 | 11.14 | 12.98 | 15.27
320 | 1879 | 1622 | 1438 | 1406 | 1703 | 2250 | 2857 | 3538 | 4043 | 4387 | 4321 | 3700 | 2330 | 1281 | 766.2 | 498.6 | 406.4 | 1912 | 2758 | 329.2 | 6.138 | 4.331 | 3.605 | 3.245 | 3.247 | 3.014 | 3.152 | 2.774 | 2.822 | 2.694 | 2.247 | 2.42 | 2.202 | 2.242 | 1.913 | 1.984 | 2.045 | 1.796 | 2.194 | 1.861 | 2.692 | 2.445 | 2.833 | 3.476 | 4.008 | 5.332 | 5.74 | 6.54 | 6.249 | 7.004 | 7.089 | 7.63 | 7.575 | 8.886 | 10.38 | 12.68 | 14.86 | 17.62 | 20.74
325 | 1932 | 1704 | 1584 | 1702 | 2194 | 2885 | 3622 | 4276 | 4690 | 4932 | 4828 | 4099 | 2994 | 1782 | 1066 | 709.4 | 443.2 | 320.1 | 1644 | 2593 | 302.4 | 5.718 | 4.442 | 3.853 | 3.085 | 3.072 | 2.848 | 2.873 | 2.895 | 3.002 | 2.638 | 2.354 | 2.141 | 1.991 | 2.096 | 1.991 | 2.13 | 1.984 | 1.996 | 2.227 | 2.429 | 2.509 | 2.987 | 3.662 | 4.051 | 5.386 | 6.317 | 6.469 | 6.281 | 7.414 | 8.149 | 8.674 | 9.414 | 10.94 | 13.21 | 16.27 | 19.52 | 23.01 | 25.89
330 | 1985 | 1794 | 1716 | 1985 | 2648 | 3505 | 4290 | 4981 | 5339 | 5501 | 5347 | 4633 | 3414 | 2321 | 1421 | 909.6 | 565.6 | 275.5 | 200 | 1558 | 2623 | 308.5 | 6.087 | 4.358 | 3.502 | 3.342 | 3.45 | 3.321 | 2.773 | 2.835 | 2.618 | 2.213 | 2.228 | 2.338 | 2.208 | 1.861 | 2.099 | 2.051 | 1.843 | 2.282 | 2.162 | 2.627 | 3.059 | 3.849 | 4.604 | 5.394 | 5.968 | 6.332 | 6.056 | 7.751 | 8.748 | 9.783 | 10.71 | 12.55 | 16.04 | 18.6 | 23.5 | 26.66 | 30.2
335 | 2093 | 1883 | 1868 | 2224 | 3010 | 4002 | 4929 | 5644 | 5945 | 6006 | 5854 | 5187 | 3874 | 2598 | 1801 | 1126 | 678.9 | 328.3 | 128.8 | 149.1 | 1616 | 2914 | 321.1 | 6.012 | 4.15 | 3.567 | 3.471 | 3.373 | 2.916 | 2.655 | 2.76 | 2.22 | 2.635 | 2.159 | 2.467 | 2.074 | 2.154 | 2.084 | 2.216 | 2.201 | 2.205 | 2.611 | 3.014 | 4.109 | 4.706 | 5.867 | 6.153 | 6.639 | 6.869 | 8.083 | 9.344 | 10.07 | 11.51 | 13.4 | 18.2 | 21.2 | 25.73 | 31.04 | 34.52
340 | 2099 | 1844 | 1893 | 2360 | 3233 | 4380 | 5374 | 6155 | 6497 | 6512 | 6295 | 5645 | 4315 | 2853 | 1985 | 1383 | 788.4 | 384.2 | 156.5 | 70.05 | 143.1 | 1802 | 2954 | 381.6 | 5.466 | 4.836 | 4.005 | 3.541 | 3.044 | 3.038 | 2.744 | 2.334 | 2.749 | 2.502 | 2.41 | 2.102 | 2.277 | 2.224 | 2.359 | 2.224 | 2.284 | 2.685 | 3.134 | 4.049 | 4.943 | 5.665 | 6.16 | 6.769 | 6.918 | 7.824 | 9.038 | 10.83 | 12.48 | 15.22 | 18.99 | 23.39 | 28.77 | 32.76 | 37.72
345 | 2103 | 1831 | 1935 | 2429 | 3360 | 4563 | 5650 | 6474 | 6844 | 6877 | 6667 | 5997 | 4668 | 3104 | 2047 | 1481 | 955.7 | 438.9 | 189.9 | 90.96 | 56.17 | 154.9 | 1810 | 4071 | 364.8 | 6.144 | 4.468 | 4.029 | 3.797 | 3.358 | 2.977 | 2.938 | 2.453 | 2.408 | 2.129 | 2.06 | 2.154 | 2.256 | 2.392 | 2.362 | 2.563 | 2.95 | 3.387 | 3.93 | 4.815 | 5.822 | 6.07 | 6.392 | 6.696 | 8.312 | 9.447 | 10.82 | 12.57 | 15.13 | 19.54 | 24.01 | 29.27 | 33.62 | 40.14
350 | 2026 | 1790 | 1888 | 2412 | 3352 | 4570 | 5734 | 6598 | 7002 | 7045 | 6837 | 6205 | 4883 | 3274 | 2170 | 1448 | 1043 | 557.3 | 231.9 | 121.8 | 78.52 | 57.87 | 157 | 2490 | 3448 | 393.5 | 7.127 | 4.699 | 3.264 | 3.458 | 3.369 | 2.844 | 2.893 | 2.584 | 2.257 | 2.259 | 2.178 | 2.25 | 1.834 | 2.098 | 2.715 | 2.871 | 3.391 | 4.228 | 5.085 | 5.697 | 6.565 | 6.335 | 6.392 | 8.129 | 8.855 | 10.78 | 11.86 | 15.65 | 19.44 | 24.05 | 29.58 | 34.52 | 40.25
355 | 1883 | 1707 | 1828 | 2331 | 3278 | 4527 | 5698 | 6572 | 6958 | 7040 | 6866 | 6236 | 4973 | 3357 | 2238 | 1469 | 980.6 | 684 | 329.6 | 166.7 | 110.1 | 80.59 | 62.19 | 207.1 | 2122 | 3704 | 437.1 | 7.013 | 4.388 | 4.003 | 3.458 | 2.903 | 2.714 | 2.476 | 2.474 | 2.38 | 2.598 | 2.356 | 2.351 | 2.23 | 2.504 | 3.054 | 3.572 | 4.324 | 4.587 | 5.621 | 5.996 | 5.797 | 6.216 | 7.847 | 9.155 | 10.53 | 12.45 | 15.05 | 19.03 | 23.77 | 28.71 | 34.21 | 38.27
360 | 1805 | 1649 | 1734 | 2258 | 3166 | 4349 | 5496 | 6354 | 6814 | 6879 | 6705 | 6157 | 4970 | 3377 | 2241 | 1489 | 973.7 | 637.6 | 476.6 | 247.8 | 156.8 | 116.7 | 85.61 | 72.66 | 186 | 2309 | 4389 | 496.9 | 7.66 | 5.059 | 3.963 | 3.68 | 2.91 | 2.472 | 2.084 | 2.182 | 2.384 | 2.221 | 2.215 | 2.672 | 2.39 | 2.905 | 3.326 | 3.692 | 4.449 | 5.608 | 5.483 | 5.796 | 5.813 | 7.25 | 8.64 | 9.987 | 11.94 | 14.4 | 19.28 | 22.16 | 27.35 | 32.34 | 37.33
365 | 1711 | 1502 | 1592 | 2112 | 2982 | 4068 | 5166 | 6010 | 6505 | 6598 | 6454 | 5927 | 4827 | 3320 | 2235 | 1508 | 989.8 | 636.1 | 486.6 | 398.9 | 228.3 | 164.7 | 121.9 | 92.43 | 75.33 | 204.6 | 2743 | 4771 | 480.6 | 8.016 | 4.965 | 3.705 | 3.483 | 2.929 | 2.699 | 2.49 | 2.434 | 2.315 | 2.439 | 2.389 | 2.367 | 2.794 | 3.18 | 3.935 | 4.352 | 4.931 | 5.236 | 5.525 | 5.57 | 7.148 | 8.048 | 9.783 | 11.47 | 13.99 | 16.9 | 21.38 | 25.62 | 30.96 | 35.2
370 | 1622 | 1383 | 1517 | 1957 | 2744 | 3755 | 4750 | 5565 | 6044 | 6207 | 6060 | 5614 | 4608 | 3220 | 2186 | 1502 | 1015 | 680.9 | 485.9 | 463.4 | 375.4 | 236.9 | 179.9 | 139.1 | 106.5 | 83.64 | 238 | 3032 | 4775 | 499.2 | 7.736 | 4.511 | 3.633 | 3.188 | 2.902 | 2.72 | 2.542 | 2.327 | 2.366 | 2.561 | 2.638 | 2.713 | 3.24 | 3.897 | 3.89 | 4.526 | 4.827 | 5.099 | 5.009 | 6.692 | 7.481 | 8.764 | 10.5 | 12.9 | 16.09 | 20.4 | 23.8 | 28.14 | 32.07
375 | 1487 | 1302 | 1384 | 1783 | 2492 | 3398 | 4310 | 5056 | 5524 | 5678 | 5597 | 5220 | 4342 | 3065 | 2146 | 1507 | 1053 | 736.3 | 552.8 | 463.1 | 490.4 | 377.4 | 256.1 | 205.4 | 158.6 | 118.3 | 91.85 | 261.1 | 3075 | 5034 | 508.9 | 7.404 | 4.513 | 3.595 | 2.715 | 2.541 | 2.776 | 2.409 | 2.313 | 2.567 | 2.584 | 2.738 | 2.906 | 3.74 | 3.869 | 4.373 | 4.765 | 4.764 | 5.092 | 6.349 | 7.113 | 8.086 | 9.899 | 12.33 | 14.53 | 18.42 | 21.71 | 24.97 | 29.26
380 | 1311 | 1197 | 1303 | 1637 | 2231 | 3008 | 3823 | 4509 | 4961 | 5142 | 5118 | 4777 | 4015 | 2916 | 2081 | 1495 | 1094 | 814.8 | 647.1 | 549.9 | 515.7 | 535.5 | 395.1 | 287.1 | 234 | 178.1 | 128.4 | 99.23 | 265.6 | 3218 | 5119 | 497.7 | 6.818 | 4.675 | 3.745 | 3.109 | 2.428 | 2.631 | 2.221 | 2.412 | 2.561 | 3.002 | 3.085 | 3.568 | 3.897 | 4.256 | 4.619 | 4.335 | 4.904 | 5.832 | 6.846 | 7.727 | 9.395 | 10.86 | 13.28 | 16.3 | 19.29 | 22.49 | 27.02
385 | 1217 | 1097 | 1212 | 1496 | 1981 | 2681 | 3352 | 3951 | 4384 | 4576 | 4582 | 4358 | 3717 | 2761 | 2036 | 1521 | 1158 | 904.9 | 755 | 665.1 | 603.6 | 589.5 | 571.6 | 414.6 | 322.4 | 253.9 | 190.1 | 132.7 | 93.59 | 272.5 | 3302 | 4820 | 473.5 | 6.373 | 4.512 | 3.281 | 3.028 | 2.538 | 2.374 | 2.604 | 3.05 | 2.702 | 2.983 | 3.182 | 3.266 | 4.024 | 4.546 | 4.158 | 4.765 | 5.384 | 6.456 | 7.311 | 7.976 | 9.823 | 12.19 | 14.96 | 17.05 | 20.7 | 23.27
390 | 1064 | 1019 | 1107 | 1333 | 1760 | 2343 | 2908 | 3472 | 3861 | 4054 | 4073 | 3931 | 3436 | 2637 | 1994 | 1537 | 1226 | 1012 | 875.3 | 796.8 | 734.5 | 670.2 | 664.9 | 601.7 | 446.6 | 344 | 267.7 | 185.7 | 118.6 | 87 | 267.1 | 3024 | 4871 | 486.7 | 6.846 | 4.469 | 3.626 | 2.825 | 2.67 | 2.903 | 3.005 | 2.67 | 2.957 | 3.4 | 3.385 | 3.558 | 4.033 | 3.961 | 4.462 | 4.98 | 6.139 | 6.678 | 7.46 | 8.767 | 10.74 | 13.04 | 15.44 | 17.35 | 20.97
395 | 1025 | 955.8 | 1029 | 1220 | 1594 | 2080 | 2545 | 3003 | 3368 | 3584 | 3654 | 3560 | 3166 | 2495 | 1964 | 1571 | 1311 | 1122 | 1024 | 934 | 880.3 | 800.1 | 731.3 | 722.7 | 611.8 | 448.7 | 345.7 | 250.1 | 165.5 | 102.4 | 74.49 | 251.3 | 3132 | 4761 | 454.8 | 6.774 | 4.614 | 3.271 | 3.131 | 2.596 | 2.997 | 2.854 | 2.943 | 3.437 | 3.475 | 3.858 | 3.965 | 3.978 | 4.005 | 4.928 | 5.285 | 6.334 | 7.06 | 8.394 | 10.02 | 11.8 | 13.65 | 15.98 | 17.72
400 | 942.6 | 919.8 | 979.7 | 1133 | 1441 | 1828 | 2230 | 2596 | 2915 | 3134 | 3259 | 3213 | 2921 | 2380 | 1941 | 1627 | 1391 | 1243 | 1152 | 1080 | 1015 | 932.9 | 846.9 | 763.9 | 748.6 | 596.6 | 432.3 | 320.6 | 216.8 | 140.1 | 89.63 | 70.38 | 250.5 | 3088 | 4711 | 427 | 6.88 | 4.356 | 3.527 | 3.239 | 2.62 | 2.985 | 2.998 | 2.962 | 3.279 | 3.678 | 3.604 | 3.894 | 4.538 | 4.727 | 5.313 | 5.96 | 6.479 | 7.776 | 8.954 | 10.68 | 11.9 | 14.37 | 16.89
405 | 900.4 | 858.5 | 925.6 | 1084 | 1308 | 1600 | 1932 | 2266 | 2552 | 2792 | 2882 | 2909 | 2681 | 2256 | 1925 | 1662 | 1475 | 1356 | 1282 | 1214 | 1138 | 1059 | 966.8 | 853.9 | 787.9 | 730.9 | 552.3 | 391.1 | 271.8 | 185.7 | 121.9 | 80.71 | 66.97 | 243.1 | 2831 | 4589 | 451.9 | 6.392 | 4.226 | 3.53 | 2.955 | 2.99 | 2.96 | 2.873 | 3.058 | 3.234 | 3.478 | 3.726 | 3.838 | 4.708 | 5.535 | 5.825 | 6.3 | 6.85 | 8.386 | 9.79 | 10.4 | 13.41 | 13.95
410 | 827.8 | 844.9 | 929.8 | 1032 | 1204 | 1446 | 1702 | 1983 | 2206 | 2438 | 2582 | 2635 | 2493 | 2153 | 1888 | 1675 | 1529 | 1441 | 1369 | 1318 | 1251 | 1160 | 1063 | 950.6 | 840.7 | 775.4 | 679.7 | 476.3 | 333.7 | 231.3 | 160.5 | 111.4 | 74.11 | 60.36 | 225.6 | 2923 | 4474 | 396.2 | 6.59 | 4.471 | 3.451 | 2.98 | 2.778 | 3.036 | 2.914 | 3.38 | 3.566 | 3.769 | 3.914 | 4.104 | 5.081 | 5.653 | 6.14 | 6.767 | 7.818 | 8.696 | 10.18 | 11.09 | 11.79
415 | 752.1 | 823 | 900.1 | 996.9 | 1117 | 1320 | 1507 | 1745 | 1960 | 2163 | 2336 | 2378 | 2295 | 2048 | 1834 | 1675 | 1562 | 1497 | 1447 | 1398 | 1330 | 1248 | 1142 | 1023 | 909.8 | 791.4 | 728.8 | 593 | 398.8 | 284.6 | 201.6 | 142.4 | 97.9 | 65.72 | 54.26 | 231.1 | 2891 | 4181 | 407.4 | 6.689 | 4.309 | 3.587 | 3.053 | 3.14 | 3.114 | 3.495 | 3.445 | 3.492 | 4.116 | 4.879 | 4.97 | 5.715 | 5.962 | 7.004 | 7.581 | 8.233 | 9.745 | 10.73 | 10.8
420 | 726.4 | 780 | 866.7 | 957.4 | 1073 | 1231 | 1359 | 1535 | 1738 | 1936 | 2089 | 2167 | 2124 | 1921 | 1771 | 1656 | 1579 | 1524 | 1492 | 1459 | 1387 | 1309 | 1195 | 1076 | 953.9 | 834.9 | 728.6 | 661.5 | 496.3 | 334.8 | 244.4 | 174.9 | 126.5 | 84.56 | 56.44 | 51.18 | 230.6 | 2756 | 4285 | 378.3 | 6.069 | 3.947 | 3.676 | 3.312 | 3.053 | 3.153 | 3.461 | 3.699 | 3.761 | 4.675 | 4.871 | 5.365 | 6.056 | 6.405 | 7.057 | 7.655 | 8.479 | 9.247 | 10.23
425 | 688.7 | 773.9 | 863.3 | 934.3 | 1007 | 1122 | 1236 | 1395 | 1550 | 1732 | 1883 | 1985 | 1958 | 1817 | 1696 | 1623 | 1571 | 1541 | 1517 | 1484 | 1422 | 1342 | 1226 | 1106 | 989.3 | 872.6 | 752.3 | 643.3 | 573 | 404.5 | 281.4 | 206 | 148.3 | 104 | 72.58 | 51.1 | 48.92 | 222.6 | 2787 | 4203 | 355.3 | 6.468 | 4.125 | 3.867 | 3.123 | 3.433 | 3.498 | 3.505 | 3.818 | 4.56 | 4.866 | 5.152 | 5.793 | 6.226 | 6.36 | 7.404 | 8.108 | 9.161 | 9.637
430 | 655 | 730.4 | 839.1 | 908.5 | 987.5 | 1063 | 1137 | 1255 | 1394 | 1571 | 1713 | 1821 | 1817 | 1717 | 1639 | 1578 | 1550 | 1527 | 1514 | 1484 | 1439 | 1353 | 1249 | 1129 | 1011 | 900.6 | 780.7 | 648.6 | 564.5 | 482.6 | 326.9 | 230.6 | 171.1 | 123.2 | 87.64 | 61.87 | 44.63 | 44.93 | 216.9 | 2813 | 4041 | 361.6 | 5.954 | 3.845 | 3.237 | 3.437 | 3.304 | 3.419 | 3.741 | 4.568 | 4.526 | 5.135 | 5.275 | 6.371 | 6.774 | 7.255 | 7.871 | 8.135 | 8.26
435 | 626.2 | 716.9 | 810.5 | 882 | 954.5 | 999.1 | 1044 | 1152 | 1277 | 1445 | 1576 | 1658 | 1680 | 1600 | 1564 | 1532 | 1511 | 1508 | 1500 | 1478 | 1423 | 1351 | 1249 | 1135 | 1015 | 910.6 | 790.2 | 658.9 | 547.1 | 489.9 | 391.4 | 259 | 187.2 | 134.8 | 96.83 | 72.82 | 53.17 | 39.66 | 39.51 | 218.4 | 2744 | 3934 | 391.7 | 5.557 | 4.104 | 3.743 | 3.591 | 3.637 | 3.752 | 4.302 | 4.718 | 5.492 | 5.392 | 6.096 | 6.367 | 7.053 | 7.408 | 7.394 | 8.54
440 | 580.5 | 678.8 | 791.5 | 864 | 894.5 | 958.2 | 967.1 | 1035 | 1169 | 1321 | 1438 | 1539 | 1562 | 1507 | 1487 | 1468 | 1462 | 1460 | 1459 | 1453 | 1400 | 1333 | 1232 | 1121 | 1010 | 898.9 | 788.9 | 672.5 | 548.7 | 460.3 | 408.2 | 304.5 | 205 | 149.8 | 108.8 | 79.2 | 62.51 | 43.73 | 31.41 | 34.24 | 208.7 | 2653 | 4369 | 338.6 | 5.918 | 4.287 | 3.984 | 3.869 | 3.779 | 4.557 | 4.641 | 5.046 | 5.276 | 5.864 | 6.16 | 6.43 | 6.885 | 7.377 | 8.083
445 | 559.9 | 656 | 737.4 | 798.7 | 844.3 | 870.2 | 898.7 | 964.8 | 1064 | 1198 | 1309 | 1389 | 1418 | 1397 | 1384 | 1378 | 1394 | 1394 | 1393 | 1386 | 1344 | 1288 | 1191 | 1081 | 982.5 | 879.7 | 769.1 | 659.9 | 547.1 | 447 | 372.8 | 335 | 233.8 | 160 | 118.2 | 87.65 | 68.98 | 51.5 | 35.88 | 26.75 | 31.56 | 202 | 2803 | 3823 | 315.7 | 5.329 | 4.359 | 3.921 | 3.738 | 4.218 | 4.888 | 5.16 | 5.197 | 5.968 | 6.173 | 6.517 | 6.701 | 6.876 | 7.867
450 | 661.3 | 604 | 697.5 | 765.1 | 801.8 | 838.8 | 810.8 | 881.2 | 958.8 | 1081 | 1189 | 1261 | 1285 | 1282 | 1282 | 1278 | 1297 | 1306 | 1323 | 1313 | 1282 | 1215 | 1133 | 1041 | 936.5 | 846.1 | 746.3 | 636.3 | 537.5 | 441.4 | 356.2 | 310.4 | 265.4 | 177.8 | 125.8 | 95.7 | 75.27 | 57.39 | 42.59 | 31.18 | 24.37 | 30.01 | 213.4 | 2625 | 3734 | 331.1 | 5.766 | 4.439 | 4.181 | 3.975 | 4.548 | 4.577 | 5.034 | 5.345 | 6.095 | 6.17 | 6.56 | 6.579 | 7.187
455 | 1127 | 580.4 | 650.4 | 724.3 | 750 | 745.8 | 750.7 | 784.8 | 865.4 | 964.8 | 1049 | 1136 | 1168 | 1157 | 1172 | 1176 | 1197 | 1201 | 1224 | 1224 | 1190 | 1141 | 1063 | 976.8 | 881.3 | 794.3 | 711 | 615.6 | 523.8 | 429.6 | 350.7 | 281.8 | 254.4 | 211.4 | 141.5 | 102.1 | 80.01 | 63.64 | 48.15 | 35.78 | 27.29 | 21.44 | 29.79 | 203.4 | 2414 | 3530 | 303.6 | 5.891 | 4.683 | 4.465 | 4.477 | 4.595 | 4.736 | 4.671 | 5.275 | 5.818 | 6.158 | 6.322 | 6.461
460 | 1682 | 624 | 594.4 | 654.5 | 683 | 706.3 | 682.7 | 708.4 | 778.2 | 852.5 | 942.5 | 1011 | 1033 | 1052 | 1063 | 1080 | 1103 | 1109 | 1116 | 1122 | 1100 | 1056 | 989.3 | 911 | 831.6 | 745.8 | 671 | 585.1 | 495.7 | 413.6 | 339.2 | 269.4 | 227.9 | 214.1 | 165.5 | 114 | 85.33 | 70.79 | 54.6 | 41.8 | 32.33 | 25.46 | 20.11 | 27.89 | 183.6 | 2364 | 3291 | 295.4 | 5.552 | 4.634 | 4.534 | 4.536 | 4.646 | 4.841 | 5.398 | 5.761 | 5.79 | 6.077 | 5.807
465 | 1298 | 1094 | 530.2 | 604.4 | 622 | 649.5 | 629.5 | 648.5 | 695.7 | 774.7 | 834.6 | 890.5 | 931.2 | 923 | 953 | 967.9 | 985 | 1004 | 1010 | 1023 | 1002 | 967.5 | 913.1 | 841.8 | 766 | 698.6 | 624.3 | 550.9 | 477.8 | 392.4 | 324.3 | 264.1 | 216.5 | 188.7 | 176.7 | 130.4 | 93.59 | 75 | 60.46 | 47.93 | 37.26 | 29.14 | 22.51 | 18.84 | 24.31 | 179.2 | 2225 | 3174 | 296.7 | 5.599 | 4.992 | 4.783 | 4.693 | 4.747 | 4.672 | 5.258 | 5.571 | 5.279 | 5.284
470 | 555.1 | 1564 | 621.8 | 551 | 569.7 | 589.1 | 573.1 | 557.3 | 610.9 | 672.7 | 729.5 | 788.3 | 810.9 | 827.3 | 845.2 | 860.8 | 888.3 | 901.3 | 911.1 | 922.1 | 904.5 | 874.1 | 836 | 765 | 706.2 | 643.7 | 574.5 | 515.1 | 443.9 | 374.3 | 309.1 | 254.1 | 210 | 175.3 | 158.6 | 148.2 | 105.4 | 78.91 | 63.78 | 51.1 | 41.75 | 34.59 | 25.33 | 19.49 | 16.98 | 23.39 | 168 | 2169 | 3040 | 290.2 | 6.193 | 5.246 | 4.885 | 4.981 | 4.661 | 4.908 | 4.958 | 5.215 | 5.011
475 | 312.8 | 1345 | 1064 | 488.2 | 531.8 | 513.9 | 514.7 | 514.8 | 539.6 | 602 | 656 | 694.3 | 709.5 | 729.2 | 749.9 | 768.6 | 785 | 801.8 | 818.5 | 820.8 | 812.6 | 787.9 | 747.8 | 693.9 | 640.9 | 585 | 534.3 | 479.4 | 415.8 | 352.6 | 291.2 | 242.7 | 200.6 | 167.6 | 143 | 144.4 | 122.4 | 84.59 | 66.95 | 55.59 | 45.82 | 37.72 | 30.1 | 22.89 | 18.37 | 15.41 | 22.22 | 166.9 | 1925 | 2722 | 228.7 | 6.271 | 5.454 | 4.827 | 5.048 | 4.819 | 4.818 | 4.597 | 5.045
480 | 281.2 | 566.2 | 1573 | 569.1 | 474.3 | 485.1 | 456.5 | 467.8 | 489.2 | 534.3 | 577.9 | 606.9 | 635.7 | 638 | 661.1 | 682.7 | 703.4 | 712.3 | 731.7 | 737.4 | 728.4 | 713.9 | 678.9 | 633.9 | 583.4 | 540.8 | 494.8 | 441.6 | 390 | 330.7 | 280.1 | 233.1 | 193.5 | 165.3 | 137.4 | 124.9 | 127.2 | 103 | 72.44 | 59.81 | 50.62 | 41.49 | 34.79 | 28.46 | 22.52 | 18.07 | 16.42 | 23.27 | 147.6 | 1701 | 2642 | 258.7 | 6.744 | 5.59 | 5.019 | 4.756 | 4.69 | 4.673 | 4.77
485 | 248 | 327.9 | 1319 | 1004 | 441.9 | 438.9 | 424.9 | 428.9 | 446.8 | 486.1 | 510.3 | 541.9 | 564.4 | 579.3 | 589 | 610.2 | 628.2 | 651.2 | 666.7 | 667.1 | 662.2 | 649.8 | 616.8 | 587 | 540.1 | 501.7 | 462.4 | 420.6 | 370.4 | 317.8 | 268.1 | 225.6 | 191.1 | 161.6 | 136 | 120.4 | 113.4 | 113.4 | 87.08 | 66.7 | 56.2 | 49.75 | 41.12 | 34.73 | 28.12 | 24.74 | 20.13 | 17.56 | 24.16 | 139.1 | 1876 | 2688 | 217 | 7.067 | 5.874 | 5.067 | 4.549 | 4.835 | 4.73
490 | 243.3 | 282.7 | 603.6 | 1545 | 522.6 | 410.1 | 405 | 391.2 | 413.5 | 446.9 | 475.9 | 498.3 | 513.6 | 516.6 | 533.1 | 553 | 569.8 | 585 | 593.4 | 610.5 | 611 | 592.1 | 575 | 536 | 509 | 468.3 | 431.7 | 395.1 | 353.5 | 307.9 | 263.4 | 222.5 | 188.1 | 160.2 | 135 | 120.7 | 107.1 | 108.9 | 102.9 | 79.27 | 64.69 | 56.58 | 49.71 | 42.27 | 36.69 | 31.25 | 27.72 | 24.68 | 20.7 | 25.72 | 153.4 | 1839 | 2578 | 224.5 | 7.147 | 6.383 | 4.913 | 4.586 | 4.241
495 | 226.3 | 255.2 | 330.1 | 1340 | 965.4 | 396 | 377.3 | 367.6 | 382.9 | 408.5 | 436.6 | 445 | 452.4 | 459.3 | 472.1 | 490.7 | 507.7 | 529.2 | 534.4 | 548.9 | 544.1 | 537.9 | 520.1 | 495.2 | 466.8 | 434.6 | 410.7 | 378.1 | 338.4 | 294.1 | 253.6 | 216.1 | 183.4 | 158.6 | 138 | 121.4 | 107.1 | 101.3 | 107 | 96.72 | 75.99 | 66.93 | 59.24 | 53.38 | 47.29 | 41.79 | 37.62 | 32.73 | 27.89 | 24 | 28.99 | 153.5 | 1942 | 2562 | 213.6 | 7.286 | 5.692 | 4.716 | 4.282
500 | 205.3 | 242.6 | 277.1 | 576.1 | 1454 | 465 | 357.6 | 355.4 | 364.7 | 378.5 | 391.4 | 404.8 | 397 | 405 | 418 | 433.7 | 451.6 | 464.6 | 475 | 484.9 | 490.5 | 486.1 | 468.5 | 452.4 | 428.5 | 404.6 | 379.9 | 352.6 | 324 | 282.7 | 244.5 | 208.8 | 180.3 | 154.1 | 137.3 | 123 | 110.4 | 104.3 | 100.5 | 106.1 | 93.72 | 77.23 | 69.49 | 64.74 | 57.78 | 52.76 | 47.18 | 41.88 | 35.75 | 30.87 | 27.5 | 30.29 | 160.1 | 1779 | 2424 | 247.7 | 6.192 | 4.991 | 4.624
505 | 182.9 | 205.3 | 253.5 | 300.6 | 1338 | 844.4 | 328.9 | 332.7 | 342.8 | 345 | 355.6 | 361 | 352.5 | 357 | 364.8 | 385.4 | 397.2 | 405.3 | 419.1 | 433 | 428.4 | 428.6 | 417.8 | 406 | 386 | 372.1 | 356.2 | 327.3 | 300.7 | 268.4 | 236.1 | 203.1 | 172.1 | 150.8 | 134.6 | 121.7 | 111.3 | 105.4 | 99.19 | 101.5 | 104.7 | 91.86 | 81.59 | 74.56 | 67.58 | 61.44 | 55.24 | 50.9 | 44.63 | 37.88 | 32.42 | 25.64 | 27.73 | 148.7 | 1726 | 2660 | 194.7 | 6.104 | 4.814
510 | 172.1 | 200.2 | 225.4 | 260.4 | 584.6 | 1390 | 424.4 | 317.9 | 321.5 | 323.5 | 322.3 | 320.6 | 306.2 | 308 | 319.4 | 330.8 | 342.2 | 352.5 | 367.2 | 374.9 | 378.7 | 379.6 | 374.9 | 365.2 | 355.9 | 337 | 329.8 | 307.4 | 285.1 | 256.4 | 221.8 | 191.4 | 165.4 | 145.9 | 132.6 | 118.5 | 113.3 | 106.4 | 101.8 | 99.04 | 108.3 | 105.4 | 90.75 | 83.43 | 75.91 | 68.86 | 65.51 | 56.47 | 52.62 | 43.92 | 36.05 | 28.5 | 22.46 | 24.1 | 141 | 1747 | 2233 | 190.5 | 5.888
515 | 148 | 189.6 | 199.3 | 226.7 | 283.5 | 1251 | 758.8 | 299.2 | 297.2 | 297.3 | 289 | 289 | 270 | 266.3 | 273.4 | 287 | 294.6 | 309.6 | 320.7 | 328 | 336.4 | 339.7 | 333.6 | 329 | 318.6 | 307.8 | 299.9 | 283.9 | 262.8 | 239.4 | 210.1 | 181.3 | 158 | 138.4 | 126 | 114.9 | 108.9 | 104 | 99.98 | 98.09 | 101 | 106.2 | 102.4 | 89.02 | 81.55 | 73.72 | 68.01 | 62.25 | 55.69 | 46.19 | 39.49 | 31.63 | 24.02 | 18.27 | 21.63 | 142.6 | 1595 | 2077 | 167
520 | 128.6 | 153.8 | 192.3 | 204.3 | 243.3 | 577.6 | 1228 | 378.3 | 272.4 | 269.2 | 263.1 | 246.8 | 236.2 | 226.5 | 241.1 | 245.5 | 255.8 | 268.1 | 273.8 | 281.7 | 295.2 | 293.7 | 293.7 | 291.1 | 283.5 | 279.6 | 270.2 | 264.8 | 242.2 | 222.3 | 194.4 | 172.3 | 148.2 | 131.7 | 118.5 | 109.5 | 105.3 | 103.5 | 99.25 | 98.36 | 96.73 | 101.1 | 106 | 95.42 | 83.31 | 76.94 | 70.21 | 66.45 | 57.44 | 50.56 | 42.84 | 32.81 | 26.09 | 19.8 | 15.4 | 20.54 | 130.7 | 1479 | 1946
525 | 109 | 131.1 | 180.3 | 186.6 | 209.4 | 256 | 1146 | 692.6 | 250.6 | 245 | 227.3 | 221.2 | 201.3 | 198.8 | 206 | 215.8 | 220.8 | 228.9 | 239.5 | 245.1 | 256.1 | 258.5 | 258.3 | 257.6 | 252.7 | 248.3 | 241.9 | 236.5 | 220.1 | 203.2 | 179.7 | 158 | 136.4 | 122.5 | 109.3 | 103.5 | 99.84 | 97.46 | 96.42 | 94.86 | 94.95 | 95.67 | 98.46 | 98.84 | 86.42 | 77.46 | 72.22 | 66.78 | 59.21 | 51.12 | 43.66 | 37.1 | 28.45 | 22.71 | 18.45 | 17.54 | 23.38 | 130.2 | 1371
530 | 103.8 | 123.4 | 158.5 | 176.9 | 188.4 | 202.6 | 517 | 1078 | 325 | 217.5 | 209.8 | 195.7 | 183 | 170.5 | 171.9 | 182.8 | 190.2 | 196.4 | 205.9 | 215.9 | 218.5 | 223.8 | 227.4 | 224 | 221.3 | 216.8 | 217.8 | 210.9 | 201.3 | 180.5 | 162.4 | 143.4 | 126 | 114 | 102.4 | 95.09 | 92.24 | 92.13 | 90.15 | 89.21 | 89.93 | 88.32 | 89.98 | 96.52 | 88.14 | 76.96 | 70.23 | 63.84 | 58.9 | 53.06 | 46.78 | 40.56 | 33.15 | 28.02 | 24.58 | 24.23 | 25.35 | 34.66 | 138.3
535 | 93.57 | 104.8 | 130 | 157.9 | 175.2 | 189.8 | 224 | 1024 | 583.6 | 199.4 | 184.4 | 172.1 | 154.3 | 152.1 | 155 | 155 | 161.7 | 169.3 | 174.1 | 183.1 | 189.5 | 193.7 | 195.3 | 197.2 | 197.3 | 197.6 | 194.5 | 190.5 | 181.3 | 166.7 | 146.6 | 131.6 | 113.5 | 101.7 | 92.72 | 88.39 | 85.07 | 85.68 | 85.17 | 83.71 | 82.86 | 86.12 | 83.61 | 86.21 | 85.96 | 79.1 | 69.75 | 64.1 | 59.78 | 52.96 | 48.96 | 44.35 | 38.52 | 34.34 | 32.33 | 33.35 | 38.38 | 43.71 | 57.26
540 | 96.02 | 93.01 | 117.3 | 153.4 | 158.9 | 171.5 | 174.3 | 469.3 | 898.3 | 263.9 | 162.8 | 153.1 | 139.4 | 131 | 129.6 | 132.5 | 138.8 | 140.6 | 151.3 | 154.9 | 160 | 167.8 | 170 | 169.8 | 171.4 | 170.2 | 168.5 | 166 | 159.3 | 146.1 | 129.9 | 115.4 | 102.7 | 90.95 | 82.7 | 79.86 | 77.3 | 77.68 | 76.24 | 77.27 | 75.84 | 78.15 | 76.98 | 75.77 | 79.35 | 76.56 | 68.49 | 62.43 | 58.06 | 54.49 | 52.1 | 48.26 | 45.38 | 41.92 | 40.99 | 44.34 | 49.77 | 57.04 | 68.48
545 | 84.56 | 82.94 | 101.1 | 130.2 | 150.7 | 150.4 | 157.5 | 187.7 | 841.9 | 487.5 | 151 | 127.8 | 117.1 | 110.3 | 110.5 | 111.9 | 117.6 | 118.9 | 123.4 | 132.1 | 136.2 | 140.9 | 146.8 | 146.3 | 150.5 | 147 | 146.2 | 144.1 | 134 | 125.6 | 115.5 | 101.6 | 90.41 | 80.26 | 75.29 | 70.79 | 69.04 | 69.62 | 69.2 | 70.32 | 70.86 | 72.84 | 72.79 | 68.56 | 70.33 | 68.14 | 67.08 | 61.93 | 56.8 | 53.34 | 53.51 | 51.38 | 48.17 | 46.59 | 47.65 | 50.69 | 60.69 | 70.64 | 81.29
550 | 77.96 | 76.76 | 82.73 | 99.51 | 141.8 | 124.3 | 133.4 | 151.6 | 408.1 | 737.5 | 205.5 | 111.9 | 99.24 | 92.97 | 92.91 | 94.61 | 96.02 | 100.8 | 101.7 | 107.9 | 113.8 | 116.8 | 122.6 | 125.6 | 125.5 | 122.9 | 124.5 | 120.7 | 117.7 | 109.1 | 97.83 | 88.5 | 79.18 | 70.45 | 66.38 | 62.33 | 60.36 | 60.71 | 60.73 | 60.92 | 61.55 | 61.74 | 63.2 | 61.47 | 60.3 | 60.53 | 61.24 | 58.59 | 52.85 | 49.29 | 48.58 | 48.68 | 47.34 | 47.27 | 47.75 | 52.54 | 61.65 | 73.83 | 86.39
555 | 71.56 | 64.06 | 74.96 | 84.57 | 118.6 | 126.8 | 118.2 | 128.5 | 146.2 | 708.4 | 378.9 | 98.07 | 85.25 | 78.81 | 75.28 | 77.22 | 78.84 | 79.67 | 85.31 | 88.38 | 93.33 | 95.04 | 102.7 | 103.3 | 103.8 | 105.4 | 103.6 | 102.5 | 98.2 | 95.2 | 83.43 | 73.75 | 67.84 | 60.92 | 55.89 | 52.79 | 53.37 | 52.72 | 52.5 | 53.31 | 54.59 | 54.64 | 54.86 | 57.11 | 53.38 | 51.17 | 53.95 | 53.93 | 48.68 | 45.52 | 44 | 44.56 | 44.02 | 43.35 | 44.73 | 47.57 | 56.87 | 68.85 | 80.22
560 | 66.38 | 60.63 | 63.84 | 75.38 | 92.76 | 117.4 | 106.7 | 112.3 | 111.8 | 342.3 | 620.1 | 146.6 | 71.97 | 62.33 | 63.46 | 61.84 | 62.51 | 65.85 | 68.84 | 71.07 | 75.95 | 80.33 | 81.44 | 83.72 | 85.47 | 87.35 | 85.27 | 86.66 | 83.48 | 76.61 | 69.48 | 62.06 | 56.19 | 52.1 | 47 | 45.78 | 45.63 | 44.52 | 45 | 46.45 | 47.86 | 49.18 | 47.91 | 48.39 | 45.97 | 45.48 | 42.42 | 45.73 | 44.29 | 40.28 | 39.42 | 38.87 | 38.73 | 38.35 | 38.5 | 42.46 | 48.42 | 58.02 | 68.95
565 | 53.41 | 50.64 | 56.18 | 61.5 | 74.56 | 109.8 | 100.2 | 97.92 | 102.9 | 112.4 | 686.7 | 295.6 | 61.67 | 53.32 | 51.36 | 49.99 | 51.35 | 53.37 | 55.71 | 57.03 | 61.98 | 63.97 | 65.85 | 67.96 | 70.7 | 70.27 | 70.83 | 69.42 | 69.94 | 64.93 | 58.7 | 53.52 | 46.72 | 42.2 | 39.68 | 37.85 | 37.94 | 38.81 | 38.65 | 38.6 | 40.17 | 40.62 | 40.79 | 40.04 | 39.51 | 38.82 | 36.42 | 35.38 | 37.84 | 34.53 | 33.75 | 31.3 | 30.9 | 29.96 | 30.58 | 33.8 | 39.56 | 47.4 | 56.05
570 | 63.6 | 57.26 | 48.83 | 52.2 | 64.65 | 84.01 | 104.9 | 92.24 | 98.69 | 101.6 | 368.5 | 506.1 | 103.3 | 42.83 | 42.35 | 40.5 | 42.16 | 42.97 | 42.95 | 47.31 | 48.57 | 50.27 | 53.53 | 54.03 | 56.51 | 57.65 | 58.72 | 56.88 | 57.42 | 53.42 | 47.44 | 43.44 | 38.5 | 35.48 | 33.57 | 32.39 | 32.26 | 31.93 | 32.35 | 32.38 | 34.02 | 33.75 | 33.53 | 33.68 | 33.08 | 31.25 | 30.13 | 30.04 | 29.94 | 30.81 | 28.86 | 26.12 | 25.98 | 23.99 | 25.29 | 26.98 | 31.69 | 37.34 | 44.44
575 | 67.56 | 54.94 | 51.71 | 54.11 | 55.55 | 71.91 | 109.5 | 103.8 | 110.2 | 109.6 | 125.4 | 558.4 | 246.7 | 35.74 | 32.62 | 33.09 | 33.39 | 34.39 | 36.13 | 36.6 | 37.36 | 40.26 | 43.25 | 44.54 | 44.81 | 45.17 | 45.28 | 46.98 | 44.87 | 43.88 | 38.83 | 34.98 | 32.66 | 27.63 | 26.8 | 26.27 | 27.36 | 25.69 | 26.51 | 27.33 | 27.31 | 28.14 | 29.05 | 27.94 | 26.95 | 26.92 | 25.28 | 24.35 | 23.6 | 23.96 | 24.23 | 22.29 | 20.68 | 20.05 | 19.81 | 21.8 | 23.81 | 28.79 | 32.27
580 | 81.97 | 64.99 | 53.36 | 46.79 | 50.46 | 63.73 | 107.2 | 128.1 | 125.8 | 137.7 | 120.5 | 297.2 | 429.9 | 79.67 | 27.57 | 27.16 | 26.87 | 27.76 | 28.53 | 30.56 | 30.93 | 33.91 | 34.87 | 36.61 | 36.52 | 37.95 | 37.08 | 38.77 | 38.03 | 37.25 | 32.58 | 29.53 | 27.05 | 23.35 | 22.37 | 21.63 | 22.09 | 22.22 | 22.67 | 22.37 | 23.64 | 23.93 | 24.19 | 23.45 | 23.15 | 22.33 | 20.49 | 20.02 | 19.44 | 18.62 | 19.52 | 18.98 | 16.54 | 15.46 | 15.83 | 17.06 | 19.5 | 22.84 | 25.46
585 | 91.44 | 67.81 | 56.63 | 49.95 | 53.99 | 61.68 | 95.39 | 146.6 | 156.3 | 165.2 | 144.8 | 117.7 | 490.8 | 197.8 | 24.31 | 21.99 | 22.56 | 22.28 | 23.79 | 23.56 | 25.55 | 25.82 | 27.61 | 28.41 | 29.82 | 30.36 | 31.69 | 31.38 | 30.4 | 29.41 | 26.86 | 24.73 | 20.95 | 20.02 | 19.47 | 18 | 18.47 | 18.22 | 18.77 | 18.6 | 19.15 | 19.56 | 19.47 | 19.42 | 18.65 | 18.63 | 17.8 | 16.71 | 15.85 | 14.73 | 15.42 | 15.39 | 14.27 | 12.79 | 13.03 | 13.33 | 15.07 | 17.45 | 20.6
590 | 107 | 81.67 | 63.25 | 49.81 | 50.93 | 66.18 | 94.58 | 153 | 179.1 | 186.8 | 172.7 | 116.6 | 244.2 | 378.2 | 54.73 | 18.95 | 19.04 | 18.26 | 19.29 | 19.55 | 20.56 | 22.29 | 22.64 | 23.74 | 25.08 | 24.25 | 24.79 | 25.11 | 25.45 | 23.52 | 22.32 | 21.2 | 18.67 | 17.02 | 16.15 | 15.12 | 14.91 | 15.1 | 15.39 | 16.49 | 15.94 | 16.56 | 16.93 | 16.21 | 16.18 | 15.55 | 14.77 | 14.72 | 13.19 | 12.61 | 12.13 | 12.51 | 13 | 11.34 | 9.648 | 10.75 | 12.81 | 14.66 | 16.74
595 | 118.6 | 84.44 | 62.04 | 52.53 | 53.53 | 75.01 | 99.82 | 161.7 | 201.5 | 213.1 | 193.6 | 126.2 | 72.73 | 424.6 | 158.1 | 15.9 | 15.29 | 15.81 | 16.15 | 15.84 | 17.07 | 18.12 | 18.71 | 18.88 | 20.38 | 20.26 | 20.61 | 20.93 | 20.4 | 19.76 | 19.04 | 16.98 | 15.44 | 14.07 | 13.05 | 13.77 | 12.89 | 13.12 | 13.8 | 12.74 | 13.71 | 14.65 | 14.05 | 13.45 | 13.68 | 12.61 | 12.7 | 11.83 | 11.34 | 10.85 | 10.3 | 9.879 | 10.48 | 10.55 | 9.046 | 9.483 | 10.34 | 12.22 | 14.03
600 | 128.2 | 100.6 | 69.9 | 59.17 | 52.33 | 67.31 | 98.66 | 152.4 | 222.1 | 230.1 | 215.5 | 145.9 | 64.16 | 211.9 | 322.4 | 37.72 | 12.72 | 13.96 | 12.2 | 13.02 | 14.66 | 14.71 | 15.95 | 15.44 | 16.61 | 17.37 | 17.46 | 17.96 | 17.42 | 17.71 | 15.64 | 14.06 | 13.38 | 11.78 | 11.34 | 11.13 | 10.52 | 10.99 | 11.03 | 11.5 | 11.72 | 11.94 | 11.76 | 11.06 | 11.31 | 10.71 | 10.27 | 9.384 | 9.694 | 8.529 | 8.396 | 8.439 | 8.288 | 8.636 | 8.154 | 8.502 | 9.095 | 10.12 | 11.33