## Sheet1
Report date: | 20:11:28, 09/02/2024
Sample: | 1
File name:
Run date: | 20:00:47, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 222.3
2 | 255.0/280.0 | 258.2
3 | 260.0/575.0 | 108.5
4 | 265.0/585.0 | 121.2
5 | 275.0/350.0 | 4690
6 | 280.0/345.0 | 4707
7 | 305.0/420.0 | 1352
8 | 315.0/425.0 | 1364
9 | 320.0/430.0 | 1360
10 | 395.0/275.0 | 8.054
11 | 400.0/280.0 | 8.199
12 | 405.0/285.0 | 8.03
13 | 410.0/480.0 | 88.74
14 | 415.0/485.0 | 83.44
15 | 420.0/300.0 | 7.339
16 | 420.0/495.0 | 80.5
17 | 425.0/280.0 | 6.448
18 | 425.0/305.0 | 7.291
19 | 425.0/500.0 | 84.85
20 | 430.0/285.0 | 6.913
21 | 430.0/310.0 | 7.253
22 | 435.0/290.0 | 6.558
23 | 435.0/515.0 | 93.55
24 | 440.0/520.0 | 94.02
25 | 445.0/525.0 | 88.24
26 | 450.0/330.0 | 9.668
27 | 455.0/335.0 | 11.05
28 | 510.0/280.0 | 4.223
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 46.83 | 29.2 | 44.61 | 188.6 | 113.6 | 43.5 | 168 | 9999.9 | 9999.9 | 4374 | 32.29 | 16.18 | 12.37 | 9.519 | 7.146 | 7.109 | 6.48 | 5.11 | 6.106 | 4.911 | 5.271 | 4.983 | 4.937 | 4.936 | 5.046 | 4.933 | 5.01 | 5.404 | 5.69 | 5.632 | 7.652 | 8.003 | 7.574 | 6.544 | 5.62 | 5.899 | 6.216 | 6.669 | 5.935 | 5.198 | 4.67 | 4.412 | 4.197 | 4.489 | 3.889 | 3.657 | 2.79 | 2.037 | 1.759 | 2.005 | 1.88 | 2.195 | 3.035 | 3.412 | 2.345 | 1.913 | 1.55 | 1.492 | 1.95
275 | 61.63 | 28.85 | 29.29 | 81.82 | 222.3 | 109 | 71.74 | 804.6 | 9999.9 | 9999.9 | 3879 | 30.58 | 15.25 | 10.27 | 9.537 | 7.672 | 6.843 | 6.191 | 5.363 | 5.714 | 4.953 | 5.417 | 5.449 | 4.975 | 5.184 | 4.911 | 5.298 | 5.255 | 5.235 | 5.12 | 6.039 | 6.532 | 7.608 | 8.054 | 6.59 | 5.69 | 5.32 | 6.19 | 6.298 | 5.669 | 5.214 | 5.072 | 4.18 | 4.218 | 3.926 | 3.778 | 3.254 | 2.533 | 1.98 | 2.095 | 1.967 | 2.064 | 1.929 | 2.434 | 3.855 | 3.045 | 2.045 | 1.857 | 2.103
280 | 87.41 | 44.72 | 37.25 | 43.17 | 123.2 | 258.2 | 134 | 156.2 | 824.2 | 9999.9 | 9999.9 | 3617 | 29.93 | 14.77 | 11.84 | 9.264 | 7.677 | 7.177 | 6.296 | 5.958 | 5.907 | 5.535 | 5.468 | 5.165 | 5.616 | 5.142 | 5.25 | 5.053 | 5.558 | 5.286 | 4.929 | 5.357 | 6.67 | 7.908 | 8.199 | 6.314 | 5.501 | 5.205 | 5.963 | 6.448 | 5.513 | 5.179 | 4.885 | 4.327 | 4.301 | 4.077 | 3.888 | 3.148 | 2.321 | 2.242 | 1.875 | 2.037 | 1.991 | 2.189 | 2.295 | 3.478 | 4.223 | 2.79 | 2.472
285 | 228.1 | 100.3 | 62.27 | 64.88 | 85.33 | 243 | 341.4 | 230.2 | 297.7 | 948.4 | 9999.9 | 9999.9 | 3561 | 28.15 | 15.33 | 11.31 | 9.747 | 7.611 | 7.216 | 6.804 | 6.379 | 5.701 | 5.509 | 6.184 | 5.425 | 5.395 | 5.39 | 5.658 | 5.196 | 5.068 | 4.983 | 4.786 | 5.086 | 6.337 | 7.986 | 8.03 | 6.039 | 4.954 | 5.319 | 5.504 | 6.913 | 5.611 | 5.106 | 5.194 | 4.563 | 4.617 | 4.445 | 3.667 | 3.183 | 2.622 | 2.005 | 2.216 | 2.131 | 2.391 | 2.602 | 2.368 | 3.203 | 4.689 | 5.003
290 | 459.1 | 206.2 | 135 | 96.26 | 127.3 | 206.1 | 461.3 | 557.4 | 538.2 | 578.7 | 1164 | 9999.9 | 9999.9 | 3005 | 28.37 | 17 | 12.1 | 10.11 | 8.514 | 7.851 | 7.041 | 6.91 | 6.175 | 6.456 | 5.904 | 5.488 | 6.031 | 5.822 | 5.711 | 4.774 | 4.713 | 4.874 | 4.842 | 5.339 | 6.585 | 7.769 | 7.523 | 6.057 | 5.191 | 4.905 | 5.822 | 6.558 | 5.72 | 5.463 | 5.502 | 4.94 | 5.068 | 4.703 | 3.906 | 3.309 | 3.183 | 2.184 | 2.395 | 2.382 | 2.419 | 2.814 | 2.784 | 3.461 | 4.566
295 | 738 | 374.9 | 227 | 164.8 | 200.7 | 287.8 | 465.5 | 846.7 | 962.7 | 927.5 | 841.3 | 1208 | 9999.9 | 9999.9 | 2905 | 29.49 | 17.01 | 12.44 | 10.14 | 8.775 | 7.345 | 7.126 | 6.554 | 6.378 | 5.653 | 6.102 | 6.53 | 5.603 | 6.306 | 5.482 | 4.501 | 4.767 | 4.846 | 4.632 | 5.31 | 6.135 | 7.494 | 7.202 | 5.941 | 5.004 | 5.625 | 5.453 | 6.539 | 6.616 | 5.991 | 5.933 | 5.934 | 5.039 | 4.906 | 4.374 | 3.673 | 2.907 | 2.686 | 2.861 | 3.056 | 2.929 | 4.069 | 4.604 | 4.629
300 | 1040 | 620.3 | 370.8 | 288.2 | 321.8 | 450 | 678.4 | 1003 | 1493 | 1478 | 1283 | 928.9 | 1141 | 9999.9 | 9999.9 | 3256 | 29.12 | 16.69 | 13.87 | 11.32 | 8.498 | 8.702 | 7.348 | 7.412 | 7.095 | 6.507 | 5.985 | 6.519 | 6.381 | 6.07 | 4.684 | 4.96 | 4.683 | 4.716 | 4.724 | 5.625 | 6.375 | 6.973 | 7.339 | 5.962 | 5.423 | 5.359 | 6.148 | 6.639 | 6.772 | 6.953 | 6.756 | 6.395 | 5.625 | 5.31 | 4.266 | 4.487 | 3.744 | 3.777 | 3.892 | 4.366 | 4.838 | 5.32 | 6.472
305 | 1330 | 837.6 | 564.9 | 449.8 | 501.7 | 680.3 | 941.9 | 1306 | 1808 | 2189 | 1917 | 1454 | 888.2 | 1162 | 9999.9 | 9999.9 | 3261 | 30.15 | 19.23 | 15.23 | 11.28 | 9.639 | 8.971 | 8.121 | 7.584 | 6.756 | 6.492 | 6.649 | 6.557 | 5.832 | 5.34 | 5.511 | 4.936 | 4.906 | 4.642 | 5.127 | 5.086 | 5.866 | 6.945 | 7.291 | 6.632 | 5.196 | 6.565 | 7.177 | 8.29 | 8.458 | 7.961 | 7.689 | 6.229 | 6.101 | 6.025 | 5.276 | 5.4 | 4.8 | 5.335 | 5.713 | 6.312 | 7.225 | 8.12
310 | 1532 | 1060 | 765.1 | 634.7 | 720.1 | 932.3 | 1224 | 1618 | 2110 | 2568 | 2667 | 2084 | 1337 | 777 | 1054 | 9999.9 | 9999.9 | 3366 | 31.98 | 20.8 | 15.67 | 13.46 | 10.75 | 9.397 | 8.073 | 8.318 | 7.138 | 7.409 | 6.979 | 6.49 | 5.352 | 5.274 | 5.328 | 5.265 | 5.13 | 4.42 | 4.974 | 4.967 | 6.086 | 7.178 | 7.253 | 6.39 | 6.004 | 6.91 | 8.566 | 9.352 | 8.954 | 8.177 | 7.362 | 7.324 | 6.956 | 6.467 | 6.021 | 5.957 | 6.937 | 6.648 | 7.815 | 9.75 | 11.11
315 | 1716 | 1225 | 913.9 | 824.2 | 935.7 | 1223 | 1540 | 1948 | 2486 | 2898 | 3124 | 2773 | 1836 | 1040 | 511.7 | 922.3 | 9999.9 | 9999.9 | 3301 | 33.75 | 21.64 | 17.09 | 13.36 | 11.11 | 9.073 | 8.179 | 7.989 | 7.934 | 7.374 | 6.865 | 6.212 | 5.471 | 5.29 | 4.959 | 5.078 | 4.535 | 4.735 | 4.725 | 5.267 | 5.732 | 7.188 | 7.207 | 6.84 | 7.304 | 7.659 | 9.106 | 9.822 | 8.874 | 8.426 | 8.239 | 7.419 | 7.437 | 7.359 | 7.561 | 8.7 | 8.748 | 9.932 | 11.3 | 13.06
320 | 1836 | 1403 | 1065 | 1039 | 1221 | 1518 | 1895 | 2335 | 2871 | 3313 | 3472 | 3326 | 2410 | 1344 | 632.7 | 300.7 | 861.4 | 9999.9 | 9999.9 | 3546 | 35.17 | 22 | 16.61 | 13.58 | 12.04 | 10.05 | 9.373 | 8.341 | 8.267 | 7.538 | 6.94 | 5.908 | 5.552 | 5.184 | 5.053 | 5.046 | 4.609 | 4.657 | 4.538 | 5.155 | 6.347 | 7.008 | 7.851 | 7.712 | 7.755 | 8.947 | 9.543 | 9.452 | 8.763 | 9.033 | 8.084 | 8.518 | 8.435 | 8.997 | 9.496 | 10.7 | 12.45 | 14.27 | 15.43
325 | 1927 | 1473 | 1213 | 1190 | 1452 | 1829 | 2232 | 2713 | 3238 | 3703 | 3815 | 3595 | 2862 | 1635 | 772.5 | 334.5 | 209.8 | 850.3 | 9999.9 | 9999.9 | 3659 | 37.16 | 23.34 | 19.34 | 14.51 | 12.46 | 10.51 | 9.487 | 8.805 | 7.965 | 6.928 | 6.272 | 6.261 | 5.631 | 5.605 | 4.719 | 4.794 | 4.939 | 4.813 | 4.724 | 5.292 | 6.814 | 7.734 | 8.758 | 8.444 | 8.948 | 8.953 | 9.171 | 9.327 | 9.816 | 8.707 | 8.848 | 8.96 | 10.01 | 11.83 | 12.88 | 14.23 | 16.66 | 18.63
330 | 1996 | 1505 | 1275 | 1331 | 1640 | 2088 | 2581 | 3032 | 3592 | 4000 | 4158 | 3881 | 2985 | 1916 | 926.6 | 402.5 | 209.3 | 158.4 | 835.2 | 9999.9 | 9999.9 | 3849 | 36.91 | 25.02 | 19.89 | 15.36 | 12.43 | 10.42 | 9.794 | 8.482 | 7.7 | 6.772 | 6.172 | 5.645 | 5.696 | 5.6 | 4.996 | 4.795 | 4.742 | 4.691 | 5.127 | 6.023 | 7.262 | 9.289 | 9.668 | 9.51 | 9.218 | 8.628 | 9.139 | 10.11 | 9.562 | 9.95 | 9.846 | 10.66 | 13.31 | 14.59 | 16.98 | 18.41 | 20.37
335 | 2045 | 1505 | 1331 | 1457 | 1815 | 2315 | 2859 | 3404 | 3916 | 4294 | 4388 | 4111 | 3151 | 1931 | 1140 | 501.9 | 246.5 | 135.8 | 123.5 | 834.4 | 9999.9 | 9999.9 | 4316 | 42.01 | 26.08 | 21.81 | 16.27 | 13 | 11.59 | 9.937 | 8.432 | 6.882 | 7.25 | 6.53 | 5.952 | 5.528 | 5.371 | 5.18 | 5.515 | 5.209 | 5.301 | 5.606 | 7.346 | 8.196 | 9.406 | 11.05 | 10.1 | 8.756 | 8.638 | 9.737 | 10.57 | 10.03 | 10.52 | 11.09 | 13.17 | 15.91 | 18.25 | 20.37 | 23.5
340 | 2117 | 1515 | 1373 | 1534 | 1926 | 2531 | 3136 | 3683 | 4216 | 4520 | 4624 | 4311 | 3298 | 1965 | 1172 | 687 | 304.4 | 158 | 94.78 | 111 | 850.6 | 9999.9 | 9999.9 | 4941 | 44.92 | 27.89 | 22.48 | 18.75 | 13.14 | 10.66 | 9.854 | 8.019 | 7.238 | 6.538 | 6.155 | 5.927 | 5.552 | 5.693 | 4.857 | 5.463 | 5.319 | 5.915 | 6.497 | 7.949 | 8.936 | 10.77 | 10.41 | 9.537 | 8.806 | 9.078 | 10.11 | 10.61 | 11.54 | 12.08 | 13.9 | 17.4 | 19.69 | 22.25 | 25.31
345 | 2096 | 1507 | 1357 | 1552 | 2028 | 2644 | 3298 | 3887 | 4396 | 4675 | 4707 | 4399 | 3354 | 1997 | 1133 | 732 | 442.7 | 190.7 | 108.9 | 79.25 | 111.1 | 878.9 | 9999.9 | 9999.9 | 5538 | 44.56 | 30.5 | 25.14 | 17.69 | 13.64 | 11.04 | 8.767 | 8.274 | 7.64 | 6.305 | 6.186 | 6.084 | 5.741 | 5.141 | 5.654 | 5.384 | 6.164 | 6.452 | 7.131 | 8.615 | 10.38 | 10.32 | 9.851 | 9.508 | 9.074 | 9.244 | 10.75 | 11.57 | 12.68 | 14.54 | 17.39 | 20.12 | 22.75 | 26.5
350 | 2110 | 1468 | 1315 | 1544 | 2026 | 2669 | 3332 | 3951 | 4442 | 4690 | 4663 | 4349 | 3354 | 1971 | 1136 | 660.1 | 528.8 | 299.7 | 138.6 | 98.64 | 79.4 | 117.9 | 872.5 | 9999.9 | 9999.9 | 5712 | 48.54 | 34.63 | 26.2 | 18 | 12.91 | 10.2 | 8.747 | 8.393 | 7.311 | 6.964 | 6.227 | 5.662 | 5.518 | 5.658 | 5.761 | 5.893 | 7.041 | 7.326 | 8.378 | 9.054 | 10.06 | 9.07 | 9.596 | 9.35 | 9.405 | 10.21 | 10.92 | 13.27 | 15.2 | 17.83 | 20.58 | 23.23 | 25.66
355 | 1991 | 1349 | 1260 | 1465 | 1929 | 2578 | 3250 | 3853 | 4327 | 4525 | 4510 | 4165 | 3213 | 1901 | 1120 | 654.8 | 443.4 | 416.2 | 225 | 125.5 | 102.1 | 87.17 | 125.5 | 933.8 | 9999.9 | 9999.9 | 5799 | 50.59 | 32.59 | 24.75 | 18.45 | 13.08 | 9.975 | 8.983 | 8.052 | 6.808 | 6.671 | 6.224 | 5.49 | 5.301 | 6.491 | 5.965 | 6.631 | 7.606 | 7.791 | 8.392 | 8.545 | 8.881 | 9.145 | 9.589 | 9.458 | 9.769 | 10.55 | 12.35 | 15.26 | 17.22 | 20.36 | 22.15 | 25.08
360 | 1895 | 1236 | 1190 | 1393 | 1871 | 2453 | 3102 | 3674 | 4120 | 4327 | 4224 | 3921 | 3029 | 1816 | 1105 | 676.2 | 437.5 | 365 | 367.6 | 200.8 | 138.6 | 110.8 | 95.48 | 136.4 | 898.9 | 9999.9 | 9999.9 | 6776 | 54.6 | 33.37 | 24.63 | 16.6 | 12 | 10.49 | 9.26 | 7.598 | 7.406 | 6.787 | 6.587 | 5.774 | 6.368 | 6.438 | 6.073 | 7.749 | 7.699 | 8.132 | 8.04 | 7.768 | 7.866 | 9.342 | 10.16 | 10.28 | 10.48 | 11.52 | 13.88 | 16.57 | 19.15 | 22.15 | 25.26
365 | 1824 | 1173 | 1157 | 1367 | 1770 | 2383 | 2990 | 3528 | 3951 | 4116 | 4079 | 3718 | 2890 | 1763 | 1100 | 707.3 | 484.5 | 360.3 | 362.6 | 352 | 200.2 | 149.8 | 122.5 | 106.7 | 143.6 | 952.1 | 9999.9 | 9999.9 | 6819 | 53.63 | 32.89 | 23.15 | 17.55 | 12.33 | 10.41 | 8.396 | 7.914 | 7.331 | 6.384 | 6.277 | 6.263 | 6.063 | 6.531 | 7.462 | 7.883 | 8.009 | 8.172 | 6.967 | 7.176 | 8.457 | 9.052 | 10.22 | 10.26 | 11.39 | 13.7 | 15.94 | 18.32 | 20.09 | 23.82
370 | 1711 | 1118 | 1070 | 1280 | 1667 | 2210 | 2761 | 3291 | 3703 | 3849 | 3778 | 3464 | 2720 | 1656 | 1097 | 741.2 | 531.5 | 412.8 | 352.5 | 402.5 | 340.3 | 211.1 | 164.9 | 137.2 | 118.1 | 143.9 | 991 | 9999.9 | 9999.9 | 6853 | 51.18 | 30.66 | 23.01 | 17.53 | 12.72 | 9.649 | 8.7 | 8.568 | 7.211 | 7.022 | 6.729 | 6.484 | 7.566 | 7.453 | 8.014 | 7.977 | 7.748 | 6.501 | 6.612 | 7.558 | 8.577 | 9.023 | 10.76 | 10.54 | 12.67 | 14.82 | 16.92 | 20.22 | 22.52
375 | 1593 | 1080 | 1020 | 1186 | 1559 | 2034 | 2543 | 3027 | 3397 | 3538 | 3462 | 3211 | 2510 | 1580 | 1081 | 775.5 | 588.2 | 480.4 | 415.5 | 386.5 | 437 | 337.3 | 223.4 | 179.6 | 150.9 | 117.7 | 147 | 1033 | 9999.9 | 9999.9 | 6852 | 47.85 | 29.85 | 23.1 | 16.68 | 11.85 | 9.587 | 8.507 | 7.507 | 7.078 | 7.053 | 6.636 | 7.329 | 7.355 | 7.577 | 7.326 | 6.997 | 6.76 | 6.12 | 7.436 | 8.298 | 8.788 | 10.01 | 11.25 | 12.19 | 14.26 | 16.21 | 17.86 | 20.33
380 | 1463 | 978.1 | 959.6 | 1122 | 1433 | 1853 | 2292 | 2719 | 3036 | 3191 | 3108 | 2896 | 2316 | 1501 | 1082 | 831.6 | 651.8 | 562.4 | 500.9 | 452.3 | 435.3 | 470.5 | 333 | 241.1 | 198.6 | 149.6 | 117.2 | 149.3 | 1043 | 9999.9 | 9999.9 | 6439 | 49.72 | 30.78 | 22.14 | 16.48 | 11.21 | 10.05 | 8.415 | 7.686 | 7.231 | 6.537 | 7.237 | 7.762 | 7.601 | 7.553 | 6.995 | 6.698 | 6.419 | 6.726 | 7.54 | 8.119 | 9.507 | 10.8 | 12.37 | 12.97 | 14.89 | 16.3 | 19.19
385 | 1288 | 924.4 | 901.2 | 1030 | 1272 | 1644 | 2022 | 2382 | 2711 | 2827 | 2782 | 2622 | 2117 | 1419 | 1084 | 872 | 731.5 | 656.3 | 591.3 | 544.1 | 488.3 | 489 | 484.6 | 337 | 257.8 | 196.2 | 146.9 | 114.7 | 146.9 | 1068 | 9999.9 | 9999.9 | 6131 | 47.4 | 29.1 | 21.42 | 15.48 | 11.49 | 9.354 | 8.464 | 7.407 | 7.408 | 7.014 | 7.203 | 7.23 | 7.344 | 6.81 | 6.118 | 5.895 | 6.274 | 6.961 | 7.599 | 8.213 | 9.43 | 10.54 | 12.89 | 13.61 | 14.57 | 16.64
390 | 1173 | 872.6 | 871.1 | 978.9 | 1190 | 1479 | 1818 | 2144 | 2456 | 2582 | 2574 | 2403 | 1989 | 1397 | 1113 | 950.8 | 840.9 | 773.5 | 713.2 | 665.4 | 602.4 | 543.1 | 541.7 | 504.4 | 350.1 | 258.7 | 200.4 | 148.9 | 109.8 | 143.9 | 989.9 | 9999.9 | 9999.9 | 6514 | 46.39 | 27.6 | 20.53 | 15.04 | 11.08 | 9.98 | 8.481 | 7.746 | 8.044 | 6.848 | 6.956 | 6.867 | 6.986 | 6.05 | 5.581 | 6.376 | 6.814 | 7.2 | 7.753 | 8.708 | 10.25 | 11.82 | 12.92 | 14.05 | 14.88
395 | 1123 | 869.9 | 851.3 | 932.6 | 1120 | 1370 | 1653 | 1963 | 2222 | 2344 | 2351 | 2257 | 1894 | 1384 | 1178 | 1051 | 958.6 | 894.6 | 844.6 | 796.8 | 729.1 | 657.8 | 586.3 | 590.2 | 499.1 | 339.4 | 260.7 | 194.1 | 137.6 | 100 | 130.4 | 1062 | 9999.9 | 9999.9 | 6214 | 44.08 | 27.59 | 19.97 | 14.92 | 11.01 | 9.263 | 8.388 | 8.208 | 7.65 | 7.193 | 7.515 | 6.74 | 6.468 | 5.815 | 6.214 | 6.312 | 7.352 | 7.707 | 8.39 | 9.385 | 11.19 | 11.73 | 13.12 | 13.92
400 | 1082 | 878.1 | 869.9 | 918.9 | 1062 | 1249 | 1511 | 1792 | 2045 | 2186 | 2171 | 2104 | 1821 | 1389 | 1230 | 1130 | 1075 | 1020 | 983.8 | 930.7 | 859.7 | 767.9 | 684.9 | 618.8 | 616.1 | 466.5 | 332.3 | 252.4 | 180.7 | 123.3 | 87.19 | 128.3 | 1012 | 9999.9 | 9999.9 | 5605 | 43.42 | 26.23 | 19.37 | 13.86 | 10.4 | 9.76 | 8.133 | 8.282 | 7.702 | 7.319 | 6.743 | 6.403 | 6.103 | 6.287 | 6.708 | 7.101 | 7.25 | 8.044 | 8.809 | 10.01 | 11.14 | 12.99 | 14.07
405 | 1008 | 877.1 | 870.9 | 900.1 | 991.3 | 1167 | 1373 | 1621 | 1881 | 2013 | 2054 | 1984 | 1736 | 1387 | 1278 | 1227 | 1172 | 1145 | 1113 | 1058 | 977.6 | 881.4 | 795.7 | 710.2 | 644.9 | 593.1 | 439 | 314.5 | 227.1 | 153.1 | 105.8 | 76.15 | 118.3 | 952.3 | 9999.9 | 9999.9 | 5986 | 42.12 | 26.71 | 18.61 | 13.55 | 10.51 | 9.547 | 9.223 | 8.221 | 7.858 | 6.922 | 6.344 | 6.391 | 6.126 | 6.884 | 7.33 | 7.291 | 7.812 | 8.86 | 9.262 | 10.19 | 10.6 | 12.73
410 | 973.9 | 858.5 | 871.2 | 907.9 | 991.8 | 1113 | 1272 | 1513 | 1752 | 1917 | 1943 | 1904 | 1664 | 1374 | 1311 | 1293 | 1255 | 1237 | 1215 | 1163 | 1079 | 990.2 | 898.6 | 798.8 | 699.1 | 637 | 567.5 | 400.2 | 280.2 | 193.1 | 132 | 89.99 | 67.09 | 110.2 | 955.7 | 9999.9 | 9999.9 | 5432 | 40.16 | 24.66 | 18.13 | 13.95 | 10.69 | 9.084 | 8.26 | 7.854 | 7.285 | 6.636 | 6.713 | 7.15 | 7.326 | 7.284 | 7.392 | 7.336 | 8.177 | 9.051 | 9.484 | 10.3 | 12.25
415 | 930.1 | 871 | 897.2 | 935.9 | 965.2 | 1044 | 1198 | 1425 | 1641 | 1812 | 1849 | 1795 | 1600 | 1355 | 1312 | 1332 | 1317 | 1305 | 1296 | 1250 | 1167 | 1079 | 976.4 | 880.3 | 769.2 | 663.2 | 623.3 | 521 | 342.2 | 234.5 | 163.2 | 108.5 | 74.69 | 59.71 | 103.3 | 998.3 | 9999.9 | 9999.9 | 5209 | 37.62 | 22.86 | 17.88 | 13.2 | 10.37 | 9.073 | 8.361 | 7.479 | 7.251 | 7.379 | 7.522 | 7.219 | 7.096 | 7.241 | 7.46 | 8.547 | 8.526 | 9.687 | 9.638 | 10.56
420 | 924.5 | 874.9 | 882.3 | 917 | 946.7 | 1017 | 1128 | 1337 | 1560 | 1711 | 1755 | 1723 | 1540 | 1319 | 1321 | 1352 | 1336 | 1348 | 1332 | 1305 | 1230 | 1141 | 1045 | 944.9 | 839 | 721 | 631.1 | 587.6 | 431.8 | 285.1 | 191 | 127.2 | 87.35 | 61.32 | 48.75 | 102.2 | 999.2 | 9999.9 | 9999.9 | 4855 | 37.29 | 23.4 | 17.42 | 13.24 | 9.492 | 9.371 | 8.198 | 7.786 | 7.299 | 8.154 | 7.369 | 7.057 | 7.69 | 7.687 | 7.997 | 8.917 | 9.242 | 9.116 | 10.13
425 | 882.6 | 856.5 | 900.1 | 901.2 | 936.8 | 988.6 | 1072 | 1282 | 1494 | 1639 | 1682 | 1631 | 1451 | 1278 | 1305 | 1338 | 1345 | 1364 | 1358 | 1334 | 1258 | 1178 | 1092 | 999.8 | 892.8 | 763.2 | 663.1 | 570.9 | 509.1 | 344.5 | 217.4 | 145.6 | 98.98 | 67.2 | 50.09 | 43.3 | 98.67 | 1018 | 9999.9 | 9999.9 | 4633 | 36.19 | 22.43 | 16.6 | 13 | 10.05 | 8.141 | 8.416 | 7.431 | 8.549 | 7.712 | 7.497 | 7.978 | 7.83 | 8.276 | 8.498 | 9.355 | 9.41 | 10.04
430 | 821.9 | 849.1 | 885.4 | 931.7 | 924.6 | 964.7 | 1026 | 1224 | 1421 | 1571 | 1611 | 1552 | 1394 | 1232 | 1278 | 1318 | 1337 | 1352 | 1360 | 1346 | 1280 | 1200 | 1124 | 1031 | 929.4 | 805.6 | 701.2 | 588.2 | 500.5 | 416.9 | 257.7 | 164 | 111.7 | 76.85 | 54.84 | 42.48 | 39.79 | 98.45 | 977.1 | 9999.9 | 9999.9 | 4831 | 35.66 | 22.62 | 16.47 | 12.86 | 9.649 | 8.794 | 7.481 | 8.184 | 8.031 | 7.777 | 8.138 | 7.85 | 8.492 | 7.98 | 8.683 | 8.798 | 9.244
435 | 812.6 | 840.9 | 881.2 | 920.8 | 913.4 | 922.6 | 996.1 | 1149 | 1365 | 1496 | 1539 | 1478 | 1318 | 1179 | 1234 | 1289 | 1308 | 1338 | 1352 | 1340 | 1274 | 1209 | 1132 | 1042 | 945.2 | 820.3 | 716.5 | 606.5 | 491.3 | 417.3 | 315.2 | 188.3 | 124.7 | 86 | 62.41 | 45.91 | 36.63 | 36.74 | 94.76 | 1011 | 9999.9 | 9999.9 | 4613 | 34.92 | 21.48 | 15.84 | 12.73 | 9.598 | 8.264 | 8.432 | 8.511 | 8.571 | 8.045 | 8.433 | 8.65 | 8.349 | 8.43 | 8.773 | 9.252
440 | 769.1 | 816.3 | 877.9 | 903.4 | 873.8 | 882.9 | 939.7 | 1097 | 1294 | 1440 | 1450 | 1386 | 1248 | 1120 | 1178 | 1237 | 1268 | 1297 | 1314 | 1301 | 1250 | 1199 | 1126 | 1035 | 942.1 | 826.4 | 718.8 | 612.8 | 494.3 | 387.3 | 326.9 | 225.6 | 138.3 | 93.73 | 68.33 | 50.33 | 39.88 | 33.64 | 34.34 | 94 | 977.4 | 9999.9 | 9999.9 | 4600 | 33.69 | 21.56 | 15.55 | 12.39 | 9.969 | 8.695 | 9.087 | 8.57 | 8.529 | 8.651 | 8.822 | 8.17 | 8.294 | 8.963 | 9.415
445 | 759.2 | 776.7 | 831.7 | 895 | 849 | 852.7 | 892.7 | 1022 | 1184 | 1322 | 1334 | 1275 | 1148 | 1055 | 1107 | 1175 | 1203 | 1237 | 1252 | 1258 | 1199 | 1152 | 1093 | 1006 | 930.1 | 817.8 | 709.3 | 606.4 | 493.3 | 387 | 299.1 | 250.4 | 164.9 | 101.9 | 73.69 | 56.39 | 43.68 | 36.24 | 30.53 | 32.19 | 90.69 | 981.2 | 9999.9 | 9999.9 | 4200 | 32.6 | 20.77 | 15.19 | 11.95 | 10.06 | 9.644 | 9.465 | 8.668 | 8.644 | 8.75 | 8.356 | 8.207 | 8.166 | 8.257
450 | 1043 | 737 | 804.8 | 839.1 | 811.5 | 796.6 | 831.3 | 939.9 | 1112 | 1215 | 1242 | 1178 | 1069 | 972.3 | 1035 | 1091 | 1114 | 1154 | 1184 | 1182 | 1140 | 1095 | 1042 | 970.2 | 886.7 | 785.9 | 685.2 | 594.4 | 483.2 | 377.1 | 280.6 | 228.4 | 192.5 | 119.6 | 79.85 | 60.58 | 48.7 | 39.24 | 33.59 | 28.41 | 31.36 | 90.85 | 989.3 | 9999.9 | 9999.9 | 4345 | 32.31 | 20.35 | 14.4 | 12.44 | 9.93 | 9.401 | 8.665 | 8.6 | 8.649 | 8.574 | 8.322 | 8.243 | 8.636
455 | 2392 | 682 | 751.2 | 775.1 | 753.3 | 732.7 | 771.1 | 873.7 | 997.8 | 1105 | 1122 | 1060 | 957.5 | 884 | 947.3 | 1009 | 1035 | 1064 | 1087 | 1089 | 1057 | 1021 | 976.1 | 907.3 | 832.1 | 739.2 | 654.4 | 568.1 | 464.2 | 365 | 272 | 203.1 | 183 | 145.4 | 89.51 | 62.74 | 51.22 | 43.74 | 35.3 | 29.08 | 27.12 | 30.55 | 89.82 | 1043 | 9999.9 | 9999.9 | 3973 | 29.86 | 18.77 | 14.79 | 11.55 | 10.01 | 9.454 | 8.705 | 8.291 | 7.647 | 8.131 | 7.877 | 8.253
460 | 4296 | 961.1 | 686.2 | 715.2 | 702.4 | 667 | 700.4 | 782.6 | 912 | 993.1 | 1007 | 957.3 | 857.4 | 797.9 | 852.9 | 912.7 | 940.4 | 967.3 | 994.4 | 997.6 | 974.4 | 940.6 | 899 | 838.3 | 771.3 | 686.2 | 603.6 | 533.5 | 440.6 | 346.6 | 259.3 | 195 | 156.6 | 149.7 | 109.6 | 71.08 | 55.05 | 46.19 | 37.89 | 31.99 | 28.54 | 25.48 | 30.02 | 93.05 | 952 | 9999.9 | 9999.9 | 3661 | 27.98 | 18.81 | 14.18 | 11.22 | 9.692 | 9.167 | 8.861 | 7.965 | 7.781 | 7.548 | 7.865
465 | 3800 | 2496 | 637.1 | 639.9 | 649.7 | 631.1 | 619 | 716.7 | 818.3 | 886.5 | 894.9 | 858.3 | 762.1 | 719.6 | 770.7 | 819.3 | 850 | 868.7 | 903.9 | 906.6 | 881.8 | 854.7 | 818.4 | 768.5 | 707.8 | 632.8 | 563.6 | 498.7 | 411.7 | 328.1 | 248.2 | 186.1 | 143.1 | 125.5 | 123.2 | 86.31 | 58.55 | 47.68 | 40.17 | 34.73 | 29.95 | 28.01 | 25.24 | 29.16 | 84.7 | 948.3 | 9999.9 | 9999.9 | 3848 | 29.06 | 18.96 | 14.64 | 11.94 | 9.991 | 8.997 | 8.451 | 8.151 | 7.509 | 7.949
470 | 1272 | 4940 | 1005 | 591.7 | 591.5 | 564.7 | 579.3 | 625.4 | 720.8 | 777.7 | 794.6 | 751.6 | 669 | 635.2 | 689.1 | 735.2 | 755.6 | 776.3 | 806.5 | 810.9 | 793.8 | 768.1 | 738.9 | 698.8 | 639.2 | 576.8 | 515.3 | 454.8 | 378.7 | 303.2 | 235.8 | 178.2 | 138.5 | 110.4 | 108.9 | 103.7 | 70.06 | 52.04 | 42.98 | 36.71 | 32.42 | 29.05 | 26.2 | 25.17 | 27.39 | 84.98 | 918.6 | 9999.9 | 9999.9 | 3802 | 27.37 | 18.76 | 13.92 | 11.06 | 9.867 | 8.404 | 7.845 | 7.414 | 7.4
475 | 490.6 | 4821 | 2823 | 543.1 | 526.4 | 510.8 | 510.7 | 557.1 | 624.9 | 674.8 | 692.6 | 661.9 | 595.7 | 566.5 | 602.8 | 648.6 | 665.4 | 689.1 | 714 | 725.8 | 711.6 | 687.4 | 665.2 | 627.6 | 577.9 | 516.9 | 467 | 416.6 | 350.8 | 284 | 218.9 | 168.6 | 133 | 107.7 | 89.11 | 98 | 85.37 | 57.38 | 44.37 | 39.57 | 35.18 | 30.09 | 26.47 | 23.74 | 22.67 | 26.45 | 80.28 | 946.6 | 9999.9 | 9999.9 | 2758 | 27.03 | 17.98 | 13.43 | 10.76 | 8.899 | 7.718 | 7.79 | 7.25
480 | 382.1 | 1710 | 5540 | 925.5 | 479.2 | 461.4 | 463.5 | 491.7 | 563.6 | 597.6 | 610.3 | 581.2 | 528.7 | 490.1 | 534.6 | 573.6 | 597.1 | 618.1 | 637.1 | 648.8 | 631.9 | 617.4 | 600.1 | 566.1 | 523.9 | 476.8 | 423.3 | 377.3 | 325.2 | 264 | 207.2 | 162.8 | 128.3 | 104.8 | 87.41 | 81.99 | 88.74 | 70.77 | 50.91 | 41.8 | 37.03 | 33.41 | 29.99 | 27.06 | 24.07 | 22.06 | 25.06 | 80.77 | 869.9 | 9999.9 | 9999.9 | 3108 | 26.34 | 17.19 | 13.8 | 10.31 | 8.923 | 7.2 | 7.41
485 | 329.7 | 467.3 | 5406 | 2942 | 454.3 | 423.4 | 433.3 | 441.1 | 501.5 | 541.1 | 541.9 | 515.1 | 470.4 | 443.2 | 471.4 | 516.8 | 532.8 | 549.8 | 573.5 | 579.4 | 573.7 | 561.6 | 545.2 | 510.9 | 478.7 | 438.9 | 391.1 | 350.8 | 303.9 | 249.4 | 196.5 | 154.5 | 126.9 | 104.1 | 88.31 | 76.38 | 77.4 | 83.44 | 61.58 | 46.76 | 41.5 | 39.34 | 34.37 | 31.76 | 29.22 | 25.18 | 24.22 | 26.98 | 78.51 | 923.5 | 9999.9 | 9999.9 | 2669 | 27.08 | 17.14 | 12.88 | 10.03 | 8.182 | 7.786
490 | 309.1 | 351.5 | 1893 | 6043 | 855 | 388.3 | 396.5 | 412.2 | 448.7 | 496.8 | 488 | 463.4 | 420.6 | 403.3 | 433.9 | 462.1 | 476.5 | 495.9 | 511.9 | 527.1 | 518.5 | 508.6 | 494.6 | 472.6 | 438.2 | 402.3 | 366.6 | 327.2 | 284.9 | 238.1 | 193.1 | 153.7 | 126.4 | 103.1 | 88.77 | 78.84 | 70.95 | 79.79 | 78.07 | 58.34 | 49.01 | 44.84 | 41.14 | 37.36 | 35.03 | 31.41 | 29.25 | 26.91 | 30.05 | 83.71 | 941.9 | 9999.9 | 9999.9 | 2766 | 26.38 | 16 | 13.06 | 9.967 | 7.882
495 | 297.8 | 315.8 | 454.8 | 6036 | 2958 | 379.8 | 370.7 | 389.5 | 425.8 | 444.6 | 443 | 413.9 | 376.6 | 350.7 | 377.1 | 410.5 | 427.6 | 443.5 | 457.5 | 467.9 | 463.1 | 456.4 | 446.6 | 425.1 | 399.2 | 367.7 | 335.8 | 308.9 | 267.9 | 229.1 | 185.8 | 149.3 | 125.2 | 106.5 | 92.02 | 81.5 | 75.83 | 72.13 | 80.5 | 74.24 | 58.76 | 53.63 | 51.14 | 46.07 | 43.78 | 40.02 | 35.7 | 33.07 | 30.64 | 32.4 | 87.73 | 935.1 | 9999.9 | 9999.9 | 2619 | 25.67 | 15.81 | 12.7 | 9.024
500 | 285.8 | 289.4 | 320.1 | 2159 | 6489 | 795.8 | 343.3 | 363.5 | 387.8 | 406.5 | 396.8 | 368.3 | 328.1 | 308.2 | 335.3 | 360.7 | 373.9 | 395.8 | 403.4 | 408.7 | 412.5 | 406.8 | 403.1 | 384.4 | 363.7 | 334.8 | 310.5 | 289.1 | 254.5 | 215.9 | 181.2 | 146.4 | 124.3 | 106.7 | 94.78 | 83.66 | 79.01 | 74.2 | 75.42 | 84.85 | 74.78 | 62.73 | 58.95 | 55.98 | 52.17 | 47.86 | 45.15 | 41.31 | 36.92 | 32.72 | 33.4 | 85.96 | 941.3 | 9999.9 | 9999.9 | 2408 | 23.16 | 13.97 | 10.82
505 | 253.9 | 247.4 | 287.7 | 452 | 6814 | 2856 | 329.5 | 338.7 | 368.6 | 363.7 | 355.7 | 324.9 | 287.7 | 270.6 | 292.7 | 315.7 | 327 | 344 | 356.7 | 365.8 | 363.6 | 363.5 | 357.8 | 344.5 | 330.7 | 305.1 | 291.4 | 270.7 | 238.5 | 206.3 | 175.2 | 144.5 | 123.1 | 107.7 | 95.03 | 85.47 | 81.47 | 78.59 | 76.84 | 82.3 | 88.69 | 76.9 | 68.35 | 65.13 | 60.38 | 54.98 | 51.77 | 47.86 | 41.55 | 36.91 | 32.9 | 32.99 | 85.37 | 938.6 | 9999.9 | 9999.9 | 2280 | 21.47 | 13.81
510 | 215.6 | 248.2 | 240.6 | 276.7 | 2517 | 6508 | 773.9 | 319.2 | 336.8 | 330.3 | 314.4 | 287 | 250.4 | 231.6 | 252 | 273.3 | 281.2 | 296.5 | 313.6 | 317.8 | 323.3 | 322 | 316.4 | 311.6 | 296.7 | 280.7 | 264.5 | 247.8 | 223.6 | 193.5 | 168.9 | 140.1 | 122.3 | 105.7 | 93.09 | 89.04 | 83.38 | 80.97 | 78.74 | 79.4 | 89.63 | 91.4 | 79.24 | 72.31 | 67.83 | 62.71 | 58.91 | 53.58 | 48.65 | 41.78 | 36.8 | 30.64 | 29.32 | 81.82 | 896.7 | 9999.9 | 9999.9 | 2093 | 20.61
515 | 187.4 | 219.3 | 216.6 | 238.8 | 449.9 | 7067 | 2767 | 310.9 | 308.6 | 306.2 | 281.5 | 254.9 | 220.8 | 206.7 | 218.7 | 238.5 | 242.9 | 261 | 267.8 | 278.4 | 282.4 | 282.4 | 282.9 | 276.2 | 265.4 | 251.1 | 239.7 | 228.4 | 208.2 | 185.8 | 159.5 | 134.7 | 117.5 | 103.3 | 93.86 | 87.14 | 83.55 | 81.64 | 80.97 | 80.9 | 83.47 | 93.55 | 88.17 | 77.79 | 70.88 | 67.28 | 62.72 | 57.34 | 50.96 | 44.92 | 39.47 | 31.61 | 26.81 | 25.75 | 76.71 | 905.2 | 9999.9 | 9999.9 | 1843
520 | 149.9 | 193.2 | 218.7 | 212.2 | 243.2 | 2846 | 6384 | 741.7 | 284.7 | 276 | 250.8 | 224 | 192.7 | 177.5 | 189.8 | 204.3 | 210.6 | 219.6 | 236.8 | 240.7 | 243.5 | 247.4 | 247.2 | 244.5 | 237.3 | 227.2 | 218.1 | 212.1 | 193.5 | 175.2 | 148.6 | 127.6 | 111.3 | 99.3 | 88.94 | 85.25 | 83.16 | 81.98 | 80.59 | 80.83 | 81.78 | 87.69 | 94.02 | 85.97 | 75.41 | 69.79 | 63.93 | 58.23 | 53.86 | 45.95 | 39.83 | 33.07 | 25.87 | 21.49 | 21.91 | 74.3 | 868 | 9999.9 | 9999.9
525 | 146.9 | 153.9 | 206.4 | 186.9 | 202.2 | 442.9 | 7029 | 2688 | 275.5 | 245.6 | 225.4 | 203.3 | 170.3 | 153 | 162.3 | 176.2 | 186 | 189.9 | 201.5 | 206.3 | 212.7 | 213.1 | 217.1 | 215.7 | 211.2 | 202.2 | 197.1 | 190.5 | 178.7 | 161.9 | 140 | 118.4 | 103.9 | 92.88 | 84.67 | 79.67 | 79.56 | 79.52 | 78.46 | 79.71 | 80.09 | 81.09 | 87.21 | 88.24 | 76.31 | 70.44 | 63.4 | 59.35 | 52.58 | 47.59 | 40.4 | 33.12 | 26.52 | 22.69 | 18.96 | 22.24 | 72.4 | 855.5 | 9999.9
530 | 140.2 | 137.1 | 182.1 | 187.7 | 182 | 216.6 | 3067 | 6166 | 688.3 | 221 | 204.8 | 173.4 | 147.7 | 131.7 | 135.9 | 151.2 | 156.6 | 163.6 | 173.5 | 178.9 | 183.4 | 184.5 | 191.5 | 190 | 186.9 | 180 | 179.3 | 170.4 | 162.3 | 146.4 | 131.4 | 111.1 | 94.68 | 89.06 | 79.04 | 76.21 | 73.15 | 74.71 | 74.8 | 75.35 | 77.08 | 79.32 | 78.37 | 82.21 | 80.64 | 68.59 | 62.7 | 57.91 | 51.47 | 47.33 | 40.41 | 33.83 | 27.58 | 23.43 | 20.76 | 19.07 | 23.77 | 75.71 | 867.5
535 | 117.1 | 111.9 | 142.3 | 168.9 | 161.2 | 180.6 | 446.6 | 7029 | 2464 | 210.1 | 175.9 | 154.9 | 128 | 114.4 | 119.2 | 128.7 | 133.5 | 140.2 | 148.5 | 153 | 159.8 | 161 | 162.1 | 164 | 164 | 160.4 | 156.2 | 155.7 | 145.9 | 133.6 | 118.2 | 104.1 | 89.54 | 80.37 | 73.75 | 70.05 | 69.91 | 69.72 | 69.3 | 70.38 | 71.78 | 73.43 | 73.25 | 73.58 | 77.97 | 71.04 | 60.83 | 57.19 | 50.67 | 44.64 | 39.62 | 35.13 | 29.78 | 25.04 | 22.98 | 21.99 | 23.29 | 30.49 | 83.11
540 | 112 | 101.1 | 114.8 | 165.2 | 156.1 | 161.8 | 187.5 | 3319 | 5739 | 598.5 | 151.7 | 129.2 | 109.6 | 98.35 | 103.2 | 107.7 | 113.5 | 118.6 | 125.7 | 130.4 | 134.8 | 138.4 | 140.6 | 142.1 | 143 | 138.5 | 138.7 | 135.4 | 128.3 | 118 | 105.9 | 90.12 | 81.85 | 72.58 | 65.47 | 63.28 | 63.32 | 64.36 | 64.42 | 65.75 | 65.94 | 66.8 | 67.35 | 64.95 | 68.69 | 69.98 | 60.6 | 53.9 | 48.74 | 42.68 | 39.53 | 34.77 | 31.2 | 28.13 | 25.53 | 24.71 | 26.88 | 30.46 | 38.18
545 | 102.5 | 88.65 | 106.1 | 142.3 | 152.3 | 138.9 | 154.4 | 451.8 | 6818 | 2224 | 143.7 | 117.8 | 93.52 | 83.84 | 86.81 | 91.44 | 94.71 | 101.1 | 102.6 | 109.4 | 113.6 | 116.3 | 121.7 | 123.2 | 122.1 | 120.9 | 119.6 | 119.4 | 112.8 | 107.4 | 92.69 | 79.99 | 71.66 | 65.16 | 60.48 | 58.79 | 57.64 | 57.27 | 58.49 | 59.19 | 59.28 | 61.95 | 62.39 | 61.75 | 59.67 | 61.17 | 57.49 | 51.49 | 45.38 | 41.58 | 38.62 | 33.81 | 30.33 | 27.95 | 26.32 | 26.29 | 29.55 | 32.91 | 37.27
550 | 92.06 | 89.38 | 86.63 | 105.1 | 145.8 | 126.2 | 128 | 167.3 | 3288 | 5254 | 490 | 101 | 82.01 | 73.16 | 71.84 | 76.49 | 78.47 | 84.51 | 86.33 | 93.66 | 97.47 | 97.67 | 102.6 | 104.9 | 104.2 | 104 | 103.6 | 104.2 | 98.28 | 90.88 | 80.08 | 72.86 | 63.65 | 57.55 | 53.16 | 51.46 | 51.37 | 50.86 | 51.63 | 51.46 | 53.69 | 56.36 | 55.09 | 55.09 | 53.4 | 52.07 | 52.75 | 48.84 | 42.72 | 37.92 | 34.87 | 32.36 | 29.07 | 26.51 | 25.47 | 26.32 | 28.83 | 32.7 | 38.73
555 | 78.64 | 76.11 | 67.25 | 86.56 | 119.6 | 124.3 | 113.7 | 123.7 | 420.3 | 6397 | 1841 | 94.31 | 70.14 | 59.44 | 62.47 | 63.58 | 65 | 67.9 | 71.61 | 77.12 | 79.51 | 81.57 | 85.94 | 87.67 | 88.22 | 87.82 | 86.39 | 87.95 | 84.64 | 78.08 | 68.66 | 60.37 | 55.5 | 48.67 | 45.95 | 45.31 | 43.77 | 44.63 | 46.15 | 46.4 | 47.74 | 47.99 | 49.43 | 47.28 | 45.6 | 45.14 | 44.48 | 44.82 | 39.58 | 34.95 | 31.41 | 28.58 | 26.4 | 24.66 | 23.45 | 23.93 | 26.96 | 30.27 | 35.3
560 | 69.64 | 64.49 | 57.26 | 74.34 | 97.72 | 122.2 | 108.1 | 111.7 | 133 | 3264 | 4546 | 390.6 | 58.94 | 51.58 | 52.25 | 52.23 | 54 | 56.32 | 58.87 | 64.94 | 65.84 | 66.74 | 72.09 | 71.18 | 72.47 | 71.25 | 72.63 | 73.37 | 70.86 | 65.71 | 60.03 | 53.1 | 47.37 | 42.67 | 40.91 | 37.55 | 39.07 | 37.68 | 38.6 | 38.22 | 39.92 | 41.08 | 41.46 | 41.6 | 39.74 | 36.98 | 37.77 | 36.44 | 35.81 | 29.43 | 27.12 | 24.86 | 23.51 | 20.64 | 21.14 | 20.84 | 23.12 | 26.14 | 29.26
565 | 68.2 | 54.5 | 54.95 | 56.29 | 75 | 107.1 | 100.6 | 97.12 | 101.7 | 386.5 | 5972 | 1667 | 57.51 | 42.11 | 42.74 | 42.88 | 43.12 | 45.39 | 49.11 | 51.79 | 53.52 | 54.78 | 56.24 | 59.05 | 60.11 | 59.95 | 59.99 | 60.76 | 59.64 | 53.76 | 49.93 | 43.53 | 39.48 | 35.22 | 34.26 | 32.87 | 32.46 | 32.53 | 33.23 | 33.73 | 34.73 | 36.51 | 35.4 | 35.47 | 33.58 | 33.17 | 30.72 | 29.71 | 30.61 | 27.4 | 23.59 | 21.18 | 19.85 | 18.12 | 16.88 | 17.37 | 19.01 | 21.64 | 24.1
570 | 59.07 | 49.42 | 48.39 | 50.97 | 63.26 | 88.17 | 103.9 | 89.33 | 96.04 | 107.2 | 3173 | 4427 | 316.1 | 36.11 | 33.85 | 35.37 | 36.12 | 37.24 | 39.22 | 40.21 | 44.23 | 45.52 | 46.31 | 48.1 | 48.55 | 48.86 | 51.68 | 51.26 | 49.25 | 46.28 | 41.49 | 38.1 | 34.26 | 30.26 | 28.46 | 27.4 | 27.45 | 27.35 | 28 | 28.36 | 28.92 | 30.42 | 30.36 | 29.3 | 29.18 | 27.55 | 25.88 | 24.82 | 24.6 | 24.14 | 21.48 | 18.5 | 15.73 | 14.14 | 13.46 | 13.75 | 15.16 | 16.9 | 19.62
575 | 80.87 | 52.6 | 40.58 | 46.14 | 51.16 | 69.17 | 108.5 | 97.65 | 102.2 | 95.31 | 360.6 | 6171 | 1500 | 35.2 | 30.34 | 31.2 | 29.27 | 30.88 | 32.38 | 33.81 | 34.3 | 37.68 | 39.08 | 41.22 | 40.13 | 40.33 | 40.44 | 42.59 | 40.7 | 38.54 | 35.55 | 31.31 | 28.09 | 25.39 | 24.43 | 22.79 | 24 | 23.35 | 23.92 | 24.54 | 24.32 | 25.35 | 25.54 | 24.79 | 23.83 | 23.06 | 21.64 | 21.04 | 19.67 | 19.21 | 19.28 | 15.27 | 13.55 | 12.13 | 11.69 | 11.41 | 11.79 | 13.55 | 15.75
580 | 81.71 | 55.04 | 42.9 | 46.64 | 49.59 | 61.5 | 99.45 | 109.4 | 105.8 | 102.3 | 107.1 | 3245 | 4182 | 263.6 | 26.32 | 24.6 | 25.23 | 26.06 | 26.08 | 27.54 | 28.75 | 29.54 | 32.26 | 33.02 | 33.91 | 33.01 | 34.86 | 35.44 | 34.58 | 33.67 | 30.4 | 27.13 | 23.49 | 21.87 | 21.36 | 19.62 | 19.66 | 19.51 | 19.82 | 20.81 | 20.06 | 21.27 | 21.11 | 20.32 | 20.45 | 19.54 | 18.5 | 17.44 | 16.54 | 15.37 | 15.19 | 14.6 | 11.26 | 10.71 | 9.331 | 9.146 | 9.958 | 10.53 | 12.18
585 | 91.73 | 59.56 | 48.87 | 39.72 | 50.34 | 58.97 | 84.66 | 121.2 | 117.5 | 110.5 | 100.5 | 355.2 | 5615 | 1282 | 27.05 | 21.61 | 20.92 | 21.84 | 22.13 | 22.72 | 23.4 | 25.37 | 25.91 | 26.35 | 29.04 | 28.54 | 29.84 | 29.78 | 29.71 | 28.15 | 24.55 | 23.63 | 20.17 | 18.59 | 17.56 | 17.15 | 17.06 | 16.58 | 16.14 | 16.89 | 17.79 | 17.49 | 18.1 | 17.92 | 16.38 | 16.12 | 16.14 | 14.77 | 13.94 | 12.54 | 12.74 | 11.89 | 10.91 | 8.755 | 7.829 | 7.699 | 8.904 | 9.097 | 9.739
590 | 85.26 | 62.69 | 41.56 | 39.61 | 43.98 | 57.62 | 77.44 | 119.8 | 131.1 | 118 | 102.7 | 93.11 | 2661 | 3698 | 195.8 | 19.95 | 18.26 | 18.27 | 18.83 | 19.03 | 19.75 | 21.46 | 21.12 | 22.47 | 23.17 | 23.44 | 24.35 | 25.24 | 23.41 | 23.95 | 21.8 | 20.46 | 16.88 | 16.05 | 14.88 | 14.66 | 14.98 | 13.54 | 14.31 | 14.5 | 15 | 14.87 | 15.13 | 15.55 | 14.57 | 14.33 | 13.56 | 12.47 | 11.68 | 11.21 | 10.23 | 9.938 | 9.882 | 8.168 | 7.154 | 7.025 | 7.498 | 8.151 | 8.59
595 | 102.4 | 64.27 | 43.82 | 42.18 | 46.85 | 59.4 | 79.04 | 117.2 | 144.5 | 135.1 | 117.6 | 84.75 | 292.7 | 5163 | 1117 | 21.74 | 16.53 | 15.37 | 16.34 | 17.5 | 16.96 | 18.73 | 18.49 | 19.31 | 19.7 | 19.76 | 20.76 | 22.14 | 21.26 | 21 | 17.77 | 16.58 | 15.19 | 14.01 | 13.59 | 13.01 | 12.08 | 11.75 | 12.03 | 12.74 | 12.73 | 13.15 | 12.94 | 12.57 | 12.36 | 12.03 | 11.02 | 10.5 | 10.2 | 9.663 | 8.98 | 8.078 | 8.546 | 7.821 | 6.481 | 6.297 | 6.16 | 6.651 | 7.257
600 | 132.8 | 77.96 | 49.15 | 45.54 | 50.35 | 63.78 | 85.34 | 114.3 | 164.7 | 151.7 | 132.5 | 99.58 | 70.44 | 2771 | 3797 | 171.9 | 14.88 | 15.06 | 14.56 | 13.99 | 14.69 | 16.09 | 16.05 | 16.94 | 16.84 | 17.07 | 16.96 | 18.65 | 18.66 | 18.2 | 16.28 | 14.06 | 12.54 | 12.3 | 11.69 | 11 | 10.89 | 10.9 | 10.49 | 11.14 | 11.44 | 10.58 | 11.5 | 11.3 | 10.35 | 10.64 | 9.8 | 9.287 | 9.301 | 7.695 | 7.763 | 6.927 | 6.478 | 7.213 | 6.228 | 5.74 | 5.979 | 5.689 | 6.387