## Sheet1
Report date: | 20:23:32, 09/02/2024
Sample: | 1
File name:
Run date: | 20:13:11, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 235.0/415.0 | 986.8
2 | 240.0/425.0 | 1007
3 | 250.0/275.0 | 280.3
4 | 255.0/280.0 | 328.5
5 | 265.0/585.0 | 182
6 | 280.0/340.0 | 4102
7 | 310.0/425.0 | 1536
8 | 315.0/430.0 | 1547
9 | 395.0/275.0 | 4.506
10 | 405.0/290.0 | 4.445
11 | 410.0/480.0 | 128.4
12 | 435.0/515.0 | 188.7
13 | 440.0/520.0 | 192.2
14 | 445.0/525.0 | 186.3
15 | 460.0/335.0 | 8.022
16 | 510.0/280.0 | 3.772
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 37.8 | 20.93 | 43.63 | 229.7 | 131.8 | 41.63 | 146.5 | 9999.9 | 9999.9 | 3435 | 26.72 | 11.76 | 10.9 | 8.598 | 6.049 | 5.603 | 5.433 | 4.766 | 4.486 | 3.85 | 3.464 | 4.001 | 3.7 | 3.829 | 4.208 | 3.994 | 3.593 | 3.306 | 3.775 | 3.576 | 4.615 | 4.908 | 4.654 | 3.885 | 3.091 | 3.234 | 3.622 | 3.211 | 3.252 | 2.826 | 2.629 | 2.697 | 2.288 | 2.217 | 2.031 | 1.781 | 1.484 | 1.379 | 1.355 | 1.291 | 1.457 | 1.716 | 2.613 | 2.941 | 1.916 | 1.503 | 1.467 | 1.411 | 1.715
275 | 53.7 | 32.78 | 36.1 | 89.24 | 280.3 | 125 | 76.77 | 788.4 | 9999.9 | 9999.9 | 3147 | 24.69 | 12.12 | 9.532 | 7.617 | 6.344 | 4.839 | 4.718 | 4.416 | 4.707 | 4.201 | 4.485 | 4.22 | 3.992 | 3.83 | 3.264 | 3.62 | 3.703 | 3.615 | 3.877 | 3.83 | 3.998 | 4.27 | 4.506 | 3.864 | 3.226 | 2.913 | 3.252 | 3.493 | 3.242 | 2.952 | 2.462 | 2.791 | 2.31 | 2.326 | 2.138 | 1.847 | 1.69 | 1.342 | 1.508 | 1.367 | 1.452 | 1.707 | 2.334 | 3.694 | 2.755 | 1.895 | 1.709 | 1.57
280 | 106.8 | 42.29 | 40.01 | 48.51 | 165.7 | 328.5 | 156.2 | 181.5 | 835.4 | 9999.9 | 9999.9 | 2910 | 24.59 | 13.31 | 8.823 | 6.708 | 6.15 | 5.082 | 5.007 | 4.354 | 4.544 | 4.758 | 4.083 | 3.588 | 4.068 | 4.038 | 3.471 | 3.755 | 3.529 | 3.413 | 3.51 | 3.543 | 4.161 | 4.451 | 4.204 | 3.77 | 3.393 | 3.038 | 3.336 | 2.965 | 3.492 | 2.846 | 2.836 | 2.352 | 2.687 | 2.387 | 2.205 | 1.837 | 1.618 | 1.462 | 1.305 | 1.459 | 1.411 | 1.847 | 1.764 | 3.364 | 3.772 | 3.065 | 2.112
285 | 292.1 | 115.7 | 66.37 | 68.05 | 103.5 | 303.1 | 436.2 | 309.6 | 366.1 | 1011 | 9999.9 | 9999.9 | 2750 | 24.36 | 11.28 | 9.285 | 7.251 | 6.492 | 5.541 | 4.739 | 4.676 | 4.628 | 4.332 | 3.925 | 3.739 | 3.709 | 3.769 | 3.996 | 3.522 | 3.355 | 3.551 | 3.368 | 3.627 | 4.046 | 4.157 | 4.257 | 3.58 | 3.024 | 3.124 | 3.218 | 3.46 | 3.489 | 3.095 | 3.12 | 2.977 | 3.192 | 2.756 | 2.356 | 2.023 | 1.596 | 1.642 | 1.623 | 1.626 | 1.511 | 1.774 | 2.046 | 2.699 | 5.108 | 4.988
290 | 610.9 | 283.1 | 146.4 | 110.3 | 155.4 | 259.5 | 601 | 736.6 | 706.6 | 753.7 | 1280 | 9999.9 | 9999.9 | 2516 | 22.09 | 12.04 | 8.718 | 7.038 | 6.555 | 5.715 | 5.301 | 5.138 | 4.765 | 4.348 | 3.879 | 3.878 | 4 | 3.756 | 3.898 | 3.638 | 3.317 | 3.325 | 3.104 | 3.201 | 3.694 | 4.445 | 4.165 | 3.513 | 3.337 | 2.956 | 3.578 | 3.579 | 3.664 | 3.654 | 3.687 | 3.994 | 3.907 | 3.093 | 2.538 | 2.478 | 2.138 | 1.721 | 1.624 | 2.083 | 2.211 | 2.567 | 2.847 | 3.656 | 5.473
295 | 1021 | 510.6 | 274.8 | 198.8 | 241.5 | 366.8 | 621 | 1161 | 1308 | 1259 | 1106 | 1318 | 9999.9 | 9999.9 | 2271 | 21.93 | 12.51 | 8.568 | 7.295 | 6.678 | 5.661 | 5.408 | 4.929 | 4.713 | 4.761 | 4.881 | 4.091 | 3.965 | 3.983 | 3.904 | 3.702 | 3.472 | 3.394 | 3.338 | 3.618 | 3.618 | 4.03 | 3.672 | 3.752 | 3.157 | 3.317 | 3.767 | 4.242 | 4.911 | 4.974 | 4.814 | 4.553 | 3.94 | 3.424 | 3.391 | 2.654 | 2.326 | 2.304 | 2.656 | 2.8 | 2.962 | 3.427 | 4.436 | 5.601
300 | 1404 | 773.8 | 418.6 | 301.4 | 346 | 500.6 | 792.9 | 1246 | 1932 | 1918 | 1615 | 1085 | 1170 | 9999.9 | 9999.9 | 2143 | 21.92 | 12.76 | 9.124 | 7.973 | 6.53 | 6.23 | 5.223 | 5.044 | 4.826 | 4.692 | 4.183 | 4.052 | 4.013 | 3.777 | 3.892 | 3.543 | 3.318 | 3.36 | 3.17 | 3.496 | 4.154 | 3.614 | 3.809 | 3.109 | 3.221 | 3.581 | 4.686 | 5.243 | 5.685 | 5.744 | 5.642 | 4.88 | 4.194 | 3.826 | 3.471 | 3.327 | 2.988 | 3.207 | 3.268 | 3.665 | 4.786 | 5.627 | 7.313
305 | 1740 | 999.1 | 602 | 443.6 | 485.7 | 676.3 | 1015 | 1504 | 2132 | 2665 | 2272 | 1571 | 900.3 | 1112 | 9999.9 | 9999.9 | 1986 | 21.19 | 12.28 | 9.909 | 7.681 | 6.708 | 6.442 | 5.682 | 5.615 | 4.78 | 4.841 | 4.909 | 4.326 | 3.74 | 3.537 | 3.549 | 3.528 | 3.27 | 3.014 | 3.109 | 3.27 | 3.44 | 4.112 | 3.943 | 3.709 | 3.87 | 4.304 | 4.961 | 6.042 | 7.32 | 6.684 | 5.92 | 5.302 | 4.815 | 4.135 | 3.915 | 3.74 | 3.908 | 4.175 | 4.774 | 5.734 | 7.076 | 8.768
310 | 1874 | 1203 | 781.2 | 594.6 | 660.5 | 888.9 | 1263 | 1783 | 2381 | 2959 | 3014 | 2139 | 1306 | 728.1 | 963.5 | 9999.9 | 9999.9 | 2037 | 20.98 | 12.94 | 10.44 | 8.221 | 7.223 | 6.305 | 5.791 | 4.759 | 5.409 | 4.511 | 4.745 | 4.379 | 3.917 | 3.762 | 3.19 | 3.537 | 2.991 | 3.106 | 3.096 | 3.185 | 3.754 | 4.099 | 4.306 | 4.039 | 4.632 | 5.243 | 6.257 | 7.223 | 7.794 | 6.756 | 5.838 | 5.603 | 5.334 | 4.977 | 4.925 | 4.939 | 5.546 | 6.138 | 7.183 | 8.508 | 10.31
315 | 2034 | 1347 | 930.9 | 744.3 | 850.1 | 1122 | 1525 | 2072 | 2674 | 3159 | 3388 | 2833 | 1769 | 974.8 | 447 | 849.3 | 9999.9 | 9999.9 | 1887 | 20.35 | 13.05 | 11.44 | 8.3 | 7.501 | 6.297 | 5.396 | 5.556 | 4.851 | 4.307 | 4.376 | 4.225 | 3.581 | 3.749 | 3.178 | 3.187 | 3.205 | 3.044 | 2.94 | 3.536 | 3.342 | 4.074 | 4.862 | 5.243 | 5.455 | 6.372 | 7.149 | 7.782 | 7.279 | 6.37 | 6.273 | 5.784 | 5.863 | 5.448 | 5.545 | 6.493 | 7.879 | 8.62 | 10.66 | 12.4
320 | 2139 | 1459 | 1055 | 910.8 | 1052 | 1359 | 1776 | 2345 | 2948 | 3446 | 3559 | 3262 | 2302 | 1246 | 560 | 268.3 | 802.9 | 9999.9 | 9999.9 | 1999 | 19.8 | 14.25 | 11.11 | 9.48 | 7.536 | 6.501 | 6.065 | 5.482 | 4.99 | 4.72 | 4.811 | 3.964 | 3.976 | 3.721 | 3.035 | 2.914 | 3.247 | 2.921 | 3.364 | 3.353 | 3.719 | 4.503 | 5.13 | 5.552 | 6.363 | 7.478 | 7.997 | 7.317 | 6.776 | 7.159 | 6.827 | 6.887 | 6.034 | 6.862 | 7.979 | 9.027 | 10.18 | 12.2 | 14.33
325 | 2128 | 1521 | 1158 | 1050 | 1230 | 1600 | 2015 | 2581 | 3198 | 3667 | 3791 | 3370 | 2718 | 1541 | 695.6 | 307.6 | 203.1 | 799.3 | 9999.9 | 9999.9 | 1994 | 21.39 | 14.12 | 11.42 | 8.668 | 7.278 | 6.416 | 5.883 | 5.463 | 5.164 | 4.269 | 4.173 | 3.596 | 3.477 | 3.384 | 3.177 | 3.076 | 2.842 | 2.974 | 3.202 | 3.729 | 4.349 | 4.755 | 5.906 | 6.216 | 7.091 | 7.95 | 7.873 | 6.923 | 7.36 | 7.558 | 6.987 | 6.785 | 7.33 | 9.269 | 10.2 | 11.97 | 14.35 | 16.38
330 | 2142 | 1526 | 1198 | 1163 | 1396 | 1781 | 2267 | 2803 | 3350 | 3841 | 3956 | 3509 | 2743 | 1853 | 857.6 | 374.5 | 199.9 | 163.7 | 771.2 | 9999.9 | 9999.9 | 2101 | 21.83 | 15.2 | 12.41 | 9.416 | 7.733 | 6.455 | 6.158 | 5.504 | 4.873 | 4.459 | 4.03 | 3.605 | 3.943 | 3.228 | 3.239 | 3.341 | 3.187 | 3.369 | 3.642 | 3.912 | 4.836 | 5.791 | 7.069 | 7.726 | 7.872 | 7.265 | 6.791 | 7.3 | 7.493 | 7.691 | 8.381 | 8.193 | 9.785 | 11.74 | 13.67 | 16.01 | 17.75
335 | 2069 | 1518 | 1252 | 1260 | 1496 | 1930 | 2436 | 2975 | 3516 | 3934 | 4066 | 3670 | 2829 | 1822 | 1123 | 489.1 | 254.1 | 152.1 | 130.5 | 764 | 9999.9 | 9999.9 | 2251 | 24.06 | 15.43 | 12.67 | 9.799 | 7.173 | 7.036 | 5.851 | 5.07 | 4.703 | 4.163 | 4.343 | 3.664 | 3.402 | 3.203 | 3.377 | 3.046 | 3.079 | 3.433 | 3.635 | 4.676 | 5.728 | 6.859 | 7.675 | 8.022 | 7.001 | 6.7 | 8.05 | 7.392 | 8.003 | 7.723 | 9.004 | 11.1 | 12.3 | 14.79 | 16.77 | 19.02
340 | 2083 | 1520 | 1269 | 1314 | 1593 | 2051 | 2548 | 3101 | 3625 | 3972 | 4102 | 3690 | 2876 | 1815 | 1140 | 712.3 | 324.6 | 186.4 | 110.8 | 109.9 | 773.3 | 9999.9 | 9999.9 | 2587 | 25.03 | 16.2 | 13.46 | 10.33 | 7.201 | 6.063 | 5.634 | 5.251 | 4.391 | 4.028 | 3.862 | 3.417 | 3.303 | 3.15 | 3.176 | 3.538 | 3.475 | 3.923 | 4.572 | 5.78 | 6.216 | 7.717 | 7.566 | 7.199 | 6.895 | 7.493 | 7.772 | 7.868 | 8.351 | 9.684 | 10.55 | 12.18 | 15.6 | 17.67 | 20.05
345 | 2034 | 1428 | 1236 | 1306 | 1613 | 2065 | 2618 | 3159 | 3629 | 3980 | 4064 | 3686 | 2884 | 1845 | 1064 | 757.8 | 493.2 | 231.3 | 137.8 | 89.3 | 106 | 786 | 9999.9 | 9999.9 | 2733 | 25.32 | 16.74 | 13.16 | 10.2 | 7.485 | 6.411 | 5.768 | 5.205 | 4.312 | 3.937 | 4.139 | 3.445 | 3.263 | 2.992 | 3.722 | 3.619 | 3.688 | 4.872 | 5.436 | 6.292 | 6.821 | 7.654 | 7.306 | 7.031 | 7.264 | 7.402 | 7.894 | 8.675 | 9.479 | 11.52 | 12.72 | 15.12 | 17.32 | 20.75
350 | 1905 | 1390 | 1192 | 1297 | 1599 | 2051 | 2585 | 3112 | 3618 | 3892 | 3937 | 3558 | 2848 | 1829 | 1080 | 678.7 | 593.1 | 366 | 179.3 | 117.7 | 90.37 | 111.5 | 781.6 | 9999.9 | 9999.9 | 2938 | 27.69 | 17.93 | 13.35 | 10.11 | 7.866 | 5.947 | 5.274 | 4.615 | 4.141 | 3.888 | 3.537 | 3.345 | 3.645 | 3.669 | 3.689 | 4.256 | 4.24 | 5.664 | 6.099 | 6.621 | 7.667 | 6.452 | 6.803 | 7.131 | 7.213 | 7.476 | 8.197 | 9.153 | 11.41 | 12.94 | 15.11 | 17.85 | 20.39
355 | 1771 | 1307 | 1160 | 1260 | 1563 | 1998 | 2537 | 3014 | 3451 | 3698 | 3758 | 3412 | 2742 | 1794 | 1112 | 702 | 509.5 | 516.3 | 286 | 162.7 | 123.8 | 98.99 | 119.7 | 811.8 | 9999.9 | 9999.9 | 3042 | 28.72 | 17.99 | 14.29 | 9.864 | 7.085 | 6.184 | 5.033 | 5.063 | 3.963 | 3.802 | 3.521 | 3.814 | 3.841 | 3.945 | 4.414 | 4.436 | 5.295 | 6 | 6.672 | 6.465 | 6.227 | 6.402 | 7.259 | 6.949 | 7.438 | 8.064 | 9 | 11.03 | 13.02 | 14.41 | 17.64 | 20.08
360 | 1687 | 1208 | 1074 | 1190 | 1485 | 1923 | 2404 | 2865 | 3276 | 3507 | 3506 | 3199 | 2598 | 1736 | 1132 | 741.7 | 517 | 461.3 | 461.8 | 257.8 | 174 | 135.8 | 107.1 | 128.5 | 799.9 | 9999.9 | 9999.9 | 3409 | 28.77 | 18.88 | 13.09 | 9.942 | 7.101 | 6.048 | 4.743 | 4.943 | 4.214 | 3.994 | 3.849 | 3.711 | 3.891 | 4.353 | 4.911 | 5.434 | 5.807 | 6.415 | 5.952 | 5.828 | 5.895 | 6.44 | 7.213 | 7.263 | 7.788 | 8.692 | 10.8 | 12.25 | 14.6 | 16.12 | 19.09
365 | 1557 | 1153 | 1023 | 1127 | 1433 | 1807 | 2284 | 2682 | 3049 | 3270 | 3256 | 3003 | 2415 | 1669 | 1126 | 776.6 | 573 | 459.8 | 463 | 438.2 | 250.9 | 184.6 | 143.3 | 113.6 | 131.7 | 832.4 | 9999.9 | 9999.9 | 3252 | 29.43 | 16.88 | 13.34 | 9.04 | 6.933 | 5.928 | 5.25 | 4.548 | 4.154 | 3.884 | 3.514 | 3.852 | 4.287 | 4.442 | 5.071 | 5.374 | 5.905 | 6.093 | 5.731 | 5.56 | 5.965 | 6.797 | 7.031 | 7.632 | 8.059 | 10.1 | 11.9 | 14.08 | 16 | 18.05
370 | 1442 | 1071 | 968.3 | 1081 | 1342 | 1689 | 2083 | 2482 | 2828 | 3007 | 3016 | 2773 | 2287 | 1617 | 1125 | 826.2 | 635.4 | 516 | 441 | 489.5 | 416.5 | 255 | 197.9 | 156.1 | 118.5 | 129.2 | 843.9 | 9999.9 | 9999.9 | 3355 | 28.03 | 16.73 | 12.5 | 9.064 | 6.512 | 5.487 | 4.833 | 4.276 | 3.895 | 3.825 | 4.186 | 4.043 | 4.327 | 5.373 | 4.826 | 5.87 | 5.556 | 5.146 | 5.315 | 5.629 | 6.455 | 6.936 | 7.935 | 7.943 | 9.607 | 10.73 | 12.54 | 14.52 | 15.98
375 | 1308 | 1001 | 936.8 | 1025 | 1226 | 1537 | 1898 | 2269 | 2553 | 2714 | 2722 | 2530 | 2131 | 1564 | 1143 | 877.7 | 697.9 | 589.8 | 509.6 | 464.7 | 534.3 | 404.1 | 274 | 221.4 | 164.7 | 115.3 | 131.1 | 869.8 | 9999.9 | 9999.9 | 3187 | 26.22 | 15.76 | 11.32 | 8.414 | 6.542 | 5.373 | 4.559 | 4.096 | 3.923 | 3.997 | 4.155 | 4.42 | 5.055 | 4.926 | 5.439 | 5.163 | 5.008 | 4.799 | 5.545 | 6.216 | 6.711 | 7.514 | 7.366 | 9.024 | 9.927 | 12.16 | 13.7 | 16.17
380 | 1232 | 964 | 892.1 | 957 | 1139 | 1410 | 1714 | 2035 | 2324 | 2470 | 2510 | 2355 | 2001 | 1525 | 1165 | 934.6 | 785.7 | 677.9 | 596.5 | 537.4 | 524 | 562.8 | 405.6 | 296.9 | 223.8 | 165.1 | 121.9 | 137.1 | 874.3 | 9999.9 | 9999.9 | 3050 | 25.44 | 15.25 | 10.92 | 8.229 | 5.901 | 5.153 | 4.323 | 4.333 | 4.078 | 3.988 | 4.144 | 4.827 | 4.9 | 5.181 | 4.76 | 5.058 | 4.832 | 5.009 | 5.852 | 6.19 | 6.889 | 7.513 | 8.474 | 9.913 | 10.65 | 12.42 | 14.15
385 | 1135 | 895.3 | 885 | 917.1 | 1071 | 1313 | 1569 | 1845 | 2078 | 2243 | 2291 | 2166 | 1899 | 1499 | 1204 | 1016 | 866.6 | 774.8 | 707.7 | 636.6 | 588.4 | 588.9 | 585.5 | 409.7 | 306.3 | 228.6 | 173.4 | 127.6 | 138.3 | 878.1 | 9999.9 | 9999.9 | 2871 | 23.32 | 14.7 | 10.58 | 7.99 | 5.754 | 4.938 | 5.074 | 4.298 | 4.292 | 4.315 | 4.41 | 4.893 | 4.87 | 4.914 | 4.45 | 4.698 | 5.274 | 5.798 | 6.175 | 6.276 | 6.932 | 8.335 | 9.417 | 10.42 | 11.28 | 12.64
390 | 1091 | 907.1 | 870.9 | 899.1 | 1014 | 1191 | 1416 | 1665 | 1897 | 2044 | 2097 | 2041 | 1833 | 1516 | 1264 | 1102 | 976.9 | 899.9 | 827.9 | 772.1 | 716.4 | 654.8 | 660.3 | 602.1 | 421.2 | 320.7 | 247.5 | 181.4 | 127 | 131 | 832.2 | 9999.9 | 9999.9 | 2872 | 22.19 | 13.99 | 9.621 | 7.023 | 5.8 | 5.13 | 4.687 | 4.396 | 4.211 | 4.726 | 4.406 | 4.765 | 4.783 | 4.543 | 4.741 | 5.332 | 5.314 | 6.041 | 5.978 | 6.733 | 7.839 | 8.434 | 9.629 | 10.78 | 11.48
395 | 1059 | 959.5 | 868.8 | 888.2 | 972.2 | 1107 | 1319 | 1505 | 1746 | 1907 | 1986 | 1938 | 1809 | 1531 | 1336 | 1208 | 1091 | 1013 | 966.5 | 913.7 | 854.2 | 782.8 | 712.1 | 711.7 | 595.3 | 429.1 | 330.2 | 246 | 168.6 | 111.7 | 121 | 863.9 | 9999.9 | 9999.9 | 2580 | 21.6 | 12.93 | 9.619 | 6.787 | 5.594 | 5.077 | 4.682 | 4.848 | 4.818 | 4.704 | 5.268 | 5.216 | 4.903 | 4.602 | 5.25 | 5.676 | 6.066 | 6.105 | 6.776 | 7.366 | 7.981 | 9.42 | 9.373 | 11.8
400 | 1043 | 919.4 | 862.3 | 883.3 | 949.5 | 1071 | 1233 | 1404 | 1632 | 1788 | 1889 | 1880 | 1777 | 1563 | 1403 | 1297 | 1216 | 1159 | 1108 | 1051 | 997.1 | 924.8 | 831.8 | 758.6 | 746.9 | 592 | 429.1 | 323.2 | 222.2 | 144.1 | 93.37 | 109.5 | 816.1 | 9999.9 | 9999.9 | 2401 | 19.82 | 11.91 | 8.714 | 6.913 | 5.673 | 5.154 | 4.787 | 5.212 | 4.729 | 5.209 | 4.558 | 4.817 | 4.962 | 4.99 | 5.605 | 6.001 | 6.081 | 6.338 | 7.478 | 7.788 | 9.261 | 9.787 | 10.6
405 | 1049 | 939.1 | 912.5 | 890.3 | 937.9 | 1025 | 1174 | 1340 | 1530 | 1709 | 1817 | 1830 | 1763 | 1599 | 1476 | 1389 | 1322 | 1279 | 1246 | 1198 | 1139 | 1056 | 973.2 | 860.3 | 794.4 | 754.3 | 561.6 | 396.1 | 280.1 | 181.8 | 114.6 | 75.64 | 97.79 | 784.1 | 9999.9 | 9999.9 | 2374 | 18.51 | 11.46 | 8.749 | 6.342 | 5.611 | 4.843 | 5.248 | 4.97 | 4.999 | 4.785 | 4.73 | 4.665 | 5.162 | 5.503 | 5.766 | 6.183 | 6.574 | 7.065 | 7.561 | 8.298 | 9.114 | 9.793
410 | 1012 | 956.2 | 930.6 | 895.7 | 913.6 | 988.2 | 1110 | 1281 | 1492 | 1639 | 1739 | 1782 | 1735 | 1617 | 1533 | 1466 | 1406 | 1372 | 1345 | 1313 | 1262 | 1176 | 1080 | 972.6 | 865 | 800.3 | 708.1 | 490 | 331.2 | 222.5 | 139.5 | 88.56 | 59.94 | 88.58 | 774.7 | 9999.9 | 9999.9 | 2097 | 17.19 | 10.99 | 8.114 | 6.442 | 5.684 | 4.938 | 5.014 | 4.846 | 4.84 | 5.178 | 5.073 | 5.608 | 5.793 | 6.37 | 6.131 | 6.347 | 7.293 | 7.701 | 7.909 | 8.837 | 10.12
415 | 977.6 | 986.8 | 963.3 | 940.7 | 937.1 | 980.8 | 1074 | 1215 | 1412 | 1588 | 1693 | 1731 | 1699 | 1604 | 1549 | 1511 | 1472 | 1452 | 1442 | 1410 | 1360 | 1276 | 1189 | 1067 | 946 | 824 | 759.2 | 609.7 | 395.2 | 259.5 | 166.2 | 106.5 | 70.05 | 51.15 | 82.44 | 795.9 | 9999.9 | 9999.9 | 1966 | 17.07 | 10.97 | 8.617 | 6.953 | 5.652 | 4.821 | 5.307 | 5.325 | 5.221 | 4.932 | 5.855 | 5.79 | 5.752 | 6.239 | 6.592 | 6.962 | 7.484 | 7.3 | 8.254 | 9.045
420 | 998.9 | 969 | 981.8 | 958.7 | 949.9 | 960.3 | 1040 | 1169 | 1347 | 1516 | 1629 | 1683 | 1658 | 1610 | 1555 | 1545 | 1515 | 1498 | 1502 | 1473 | 1430 | 1351 | 1249 | 1131 | 1015 | 880.4 | 757.2 | 670 | 482.2 | 294.8 | 188.4 | 125.1 | 82.53 | 57.44 | 44.07 | 80.82 | 790.8 | 9999.9 | 9999.9 | 1798 | 16.14 | 11.07 | 8.188 | 6.709 | 5.755 | 5.435 | 5.279 | 4.906 | 5.2 | 6.304 | 6.151 | 6.123 | 6.333 | 6.057 | 7.314 | 7.423 | 7.883 | 8.205 | 8.509
425 | 981.4 | 983.7 | 1007 | 949.1 | 951.4 | 943.3 | 988.7 | 1114 | 1301 | 1465 | 1568 | 1605 | 1606 | 1557 | 1530 | 1531 | 1536 | 1526 | 1531 | 1518 | 1471 | 1394 | 1305 | 1182 | 1053 | 915.3 | 776 | 641.2 | 545.7 | 351 | 216.7 | 141.6 | 96.89 | 69.08 | 50.36 | 40.2 | 78.07 | 787.2 | 9999.9 | 9999.9 | 1717 | 16 | 10.34 | 8.24 | 6.31 | 5.575 | 5.36 | 5.268 | 5.432 | 5.889 | 6.499 | 6.541 | 6.5 | 7.069 | 7.169 | 7.761 | 7.376 | 8.051 | 8.973
430 | 921.6 | 970.3 | 1002 | 974.2 | 952 | 951.3 | 974.1 | 1082 | 1247 | 1409 | 1486 | 1556 | 1558 | 1528 | 1506 | 1511 | 1530 | 1547 | 1540 | 1540 | 1493 | 1418 | 1335 | 1214 | 1084 | 941.2 | 799.2 | 636.2 | 529.4 | 422.3 | 257.3 | 162.2 | 114.1 | 79.46 | 58.99 | 44.36 | 37.18 | 75.61 | 762.3 | 9999.9 | 9999.9 | 1742 | 15.48 | 9.785 | 7.699 | 6.841 | 5.657 | 5.387 | 5.609 | 6.124 | 6.187 | 6.49 | 6.479 | 7.267 | 7.206 | 7.293 | 7.558 | 8.081 | 8.608
435 | 924.8 | 990.2 | 998.7 | 995.2 | 950.5 | 923.6 | 966.1 | 1043 | 1193 | 1340 | 1428 | 1486 | 1485 | 1463 | 1468 | 1493 | 1511 | 1526 | 1534 | 1532 | 1496 | 1433 | 1344 | 1224 | 1098 | 954.6 | 810.5 | 656.9 | 504.1 | 423.4 | 313.2 | 189.9 | 128.2 | 92.27 | 69.39 | 54.43 | 39.93 | 34.52 | 72.01 | 778.6 | 9999.9 | 9999.9 | 1628 | 15.26 | 10.21 | 8.319 | 7.181 | 5.785 | 5.48 | 6.504 | 6.577 | 6.619 | 6.842 | 6.199 | 7.443 | 7.11 | 7.748 | 7.694 | 8.372
440 | 880.4 | 911.8 | 991.1 | 970.9 | 956.6 | 898.5 | 932 | 1003 | 1149 | 1281 | 1378 | 1408 | 1428 | 1402 | 1421 | 1441 | 1468 | 1492 | 1502 | 1500 | 1476 | 1421 | 1326 | 1215 | 1091 | 960.2 | 811.1 | 657.6 | 508 | 387.8 | 331.2 | 235.5 | 146.7 | 106.5 | 79.32 | 61.94 | 47.54 | 35.64 | 31.88 | 71.56 | 760.4 | 9999.9 | 9999.9 | 1638 | 14.71 | 10.14 | 7.855 | 6.869 | 6.103 | 6.386 | 6.716 | 6.695 | 6.765 | 7.047 | 7.182 | 7.308 | 7.453 | 7.32 | 7.591
445 | 831.7 | 871.8 | 935.7 | 962.5 | 914 | 887.5 | 889.5 | 957.8 | 1068 | 1218 | 1275 | 1314 | 1329 | 1325 | 1345 | 1379 | 1397 | 1428 | 1450 | 1445 | 1420 | 1376 | 1290 | 1184 | 1066 | 930.9 | 790.8 | 652 | 508.5 | 378.5 | 300 | 263.3 | 177.3 | 118.3 | 90.93 | 70.94 | 55.23 | 43.06 | 33.87 | 28.96 | 68.89 | 759.6 | 9999.9 | 9999.9 | 1468 | 14.73 | 9.837 | 8.115 | 6.802 | 6.647 | 6.413 | 6.784 | 6.91 | 6.766 | 7.748 | 7.571 | 7.192 | 7.609 | 7.988
450 | 1114 | 853.5 | 895.3 | 905.2 | 888.5 | 844.9 | 831.7 | 891 | 997.3 | 1111 | 1177 | 1209 | 1234 | 1240 | 1261 | 1289 | 1323 | 1342 | 1374 | 1368 | 1351 | 1301 | 1224 | 1125 | 1017 | 887.9 | 764.8 | 626.2 | 495.6 | 376.2 | 280.8 | 241.9 | 214.5 | 140.8 | 100.3 | 79.94 | 63.44 | 50.29 | 38.13 | 30.34 | 28.1 | 68.16 | 759.2 | 9999.9 | 9999.9 | 1511 | 14.63 | 9.211 | 7.375 | 7.81 | 7.258 | 7.033 | 6.53 | 6.673 | 7.442 | 6.73 | 7.33 | 6.832 | 7.453
455 | 2529 | 799.5 | 843.8 | 864.1 | 846.8 | 794.3 | 785.4 | 814.5 | 905.4 | 1016 | 1070 | 1110 | 1129 | 1124 | 1155 | 1188 | 1220 | 1253 | 1271 | 1276 | 1263 | 1219 | 1151 | 1055 | 952 | 836.3 | 716.8 | 596.8 | 477 | 366 | 276.8 | 220.1 | 208.3 | 173.8 | 114.4 | 89.14 | 69.56 | 56.72 | 45.65 | 35.26 | 29.76 | 27.09 | 67.6 | 784.1 | 9999.9 | 9999.9 | 1366 | 13.25 | 9.297 | 7.602 | 7.231 | 7.126 | 6.329 | 6.739 | 6.718 | 7.355 | 6.553 | 6.77 | 7.47
460 | 4492 | 1063 | 787.6 | 794.2 | 788.8 | 727.7 | 740 | 767.2 | 826.8 | 906.2 | 972.6 | 1000 | 1025 | 1024 | 1056 | 1092 | 1116 | 1141 | 1169 | 1171 | 1163 | 1129 | 1075 | 978.5 | 890 | 780.9 | 672.9 | 561 | 449.9 | 351.9 | 273.9 | 213.6 | 180.7 | 181.8 | 143.7 | 100.6 | 77.52 | 64.76 | 51.58 | 42.07 | 34.14 | 28.19 | 25.33 | 68.33 | 739.9 | 9999.9 | 9999.9 | 1206 | 12.43 | 9.513 | 7.947 | 7.938 | 6.482 | 7.017 | 6.466 | 6.923 | 6.278 | 6.96 | 6.742
465 | 3982 | 2560 | 733.6 | 745.8 | 726.4 | 690.4 | 674.9 | 694.3 | 752.6 | 834.2 | 872.8 | 907.1 | 915.3 | 918.7 | 946.3 | 998.1 | 1017 | 1038 | 1057 | 1074 | 1059 | 1029 | 972.8 | 900.1 | 807.5 | 720 | 619.1 | 519 | 424.4 | 335.9 | 266.6 | 209.8 | 174.7 | 161.3 | 160.6 | 118.4 | 85.92 | 70.38 | 59.38 | 48.06 | 39.54 | 32.32 | 26.82 | 26.12 | 64.48 | 740.5 | 9999.9 | 9999.9 | 1237 | 12.65 | 9.84 | 8.098 | 7.089 | 6.86 | 6.184 | 6.459 | 6.256 | 6.324 | 6.428
470 | 1369 | 4849 | 1049 | 671.8 | 671.2 | 633.4 | 631.8 | 622.5 | 679.9 | 729.7 | 778.8 | 798 | 814.5 | 812.9 | 850.7 | 889.4 | 913.2 | 922.5 | 955.4 | 967.2 | 952.6 | 926 | 879.9 | 812.7 | 736.1 | 651.8 | 569.7 | 481.2 | 397 | 320.8 | 254.7 | 204.4 | 170.1 | 146.4 | 144 | 143.3 | 101.2 | 77.59 | 64.22 | 53.94 | 44.64 | 36.4 | 31.42 | 25.73 | 24.6 | 64.12 | 728.5 | 9404 | 9999.9 | 1211 | 13.67 | 10.4 | 8.753 | 7.404 | 6.762 | 6.399 | 6.301 | 6.141 | 5.996
475 | 533.5 | 4577 | 2663 | 631.9 | 601.1 | 568.9 | 560.9 | 574.7 | 598 | 653.8 | 693.5 | 707.9 | 713.2 | 721 | 749.7 | 781.9 | 804.3 | 828.3 | 847.7 | 856.5 | 860.7 | 831.8 | 790.7 | 735 | 664.4 | 595.9 | 521.9 | 441.2 | 367.2 | 299 | 243.7 | 198.2 | 167.6 | 144.2 | 128.5 | 137.1 | 122.1 | 87.52 | 71.99 | 59.21 | 50.71 | 43.81 | 37.28 | 29.72 | 24.34 | 23.82 | 64.26 | 700.1 | 8116 | 9999.9 | 907.3 | 13.85 | 9.967 | 8.467 | 7.223 | 6.487 | 6.234 | 5.811 | 6.159
480 | 431.8 | 1648 | 5105 | 952.9 | 552.6 | 534 | 516.8 | 522.6 | 553.9 | 595.1 | 613 | 636.8 | 635.7 | 634.9 | 667.8 | 691.4 | 720.4 | 735.3 | 760.4 | 776.6 | 768.9 | 742.4 | 711.9 | 660.6 | 603.6 | 541.3 | 471.8 | 410.3 | 348.5 | 284.3 | 237.4 | 195.3 | 167.5 | 146.8 | 130.3 | 122 | 128.4 | 106.1 | 80.63 | 68.25 | 59.14 | 52.09 | 45.2 | 38.39 | 32.54 | 27.03 | 26.89 | 65.03 | 591.8 | 7390 | 9999.9 | 1041 | 13.87 | 10.74 | 7.972 | 6.853 | 6.262 | 5.826 | 6.319
485 | 389.6 | 538.1 | 4792 | 2597 | 529.5 | 506.3 | 489.1 | 493.1 | 524.2 | 550.6 | 572.9 | 575.4 | 576.7 | 572.4 | 599.2 | 627.3 | 646.6 | 664.4 | 685 | 695.8 | 692.5 | 676.2 | 651.4 | 602.8 | 557.9 | 502.4 | 444.9 | 393.1 | 340.1 | 282 | 234.9 | 198.2 | 172.2 | 150.9 | 134.4 | 123 | 122.1 | 124.9 | 100.9 | 77.93 | 71.52 | 64.77 | 57.14 | 49.86 | 43.13 | 38.59 | 34.52 | 33.3 | 62.75 | 571.5 | 8276 | 9999.9 | 858.2 | 15.05 | 10.54 | 8.683 | 7.175 | 6.277 | 5.755
490 | 387 | 400.8 | 1752 | 4991 | 843.2 | 481.2 | 482.4 | 489.3 | 504.3 | 517 | 531.8 | 527.4 | 516.2 | 519.5 | 531.1 | 554.4 | 582.2 | 596.8 | 621.4 | 630 | 629.7 | 620.9 | 600.3 | 563.1 | 519.7 | 469.7 | 425.2 | 377.2 | 327.3 | 282.2 | 238.8 | 201.9 | 177.8 | 156.5 | 140.7 | 127.9 | 119.6 | 127.6 | 124.6 | 101 | 87.03 | 83.15 | 75.57 | 67.32 | 61.06 | 55.22 | 49.28 | 44.22 | 41.4 | 69.21 | 640 | 8619 | 9999.9 | 901.4 | 15.85 | 10.08 | 8.354 | 6.652 | 5.707
495 | 364.5 | 377.5 | 526.9 | 4958 | 2464 | 478 | 479.7 | 480.6 | 501.7 | 502.6 | 506.2 | 485.8 | 470.6 | 463.8 | 477.1 | 496.9 | 526.6 | 533.4 | 556.7 | 567.9 | 569.1 | 565.2 | 546.2 | 518 | 486 | 446.5 | 403.5 | 370.1 | 329.2 | 285.8 | 244.5 | 213.9 | 184.3 | 165.4 | 152.6 | 139.2 | 130.7 | 130.6 | 135.3 | 128.2 | 111.1 | 103.7 | 97.03 | 91.21 | 83.78 | 76.11 | 69.41 | 61.66 | 55.08 | 49.75 | 79.97 | 678.9 | 8247 | 9999.9 | 850 | 14.24 | 9.704 | 7.504 | 6.498
500 | 363.3 | 351.3 | 385 | 1845 | 5029 | 797.1 | 466.4 | 490.8 | 499.8 | 491.1 | 479.5 | 451.8 | 424.5 | 407.6 | 423 | 444 | 455.3 | 475.8 | 491.6 | 503.6 | 510.6 | 506.9 | 497.3 | 476.8 | 449.4 | 418.9 | 389.9 | 367.5 | 326.7 | 291.7 | 253.7 | 220.5 | 192.8 | 173 | 160.8 | 149.8 | 142.7 | 137.4 | 141.7 | 150.5 | 141.1 | 127.7 | 123.5 | 114.5 | 109.5 | 99.62 | 89.9 | 81.35 | 73.4 | 62.25 | 55.67 | 85.56 | 640.9 | 7560 | 9999.9 | 797.4 | 12.95 | 9.106 | 7.5
505 | 320.6 | 339 | 353 | 499.5 | 5284 | 2308 | 464.7 | 495.3 | 508 | 486.4 | 456.3 | 414.7 | 378.7 | 360.4 | 367.7 | 383.2 | 402.6 | 418.2 | 430.9 | 445.8 | 457.4 | 456.9 | 450.9 | 435.4 | 419.8 | 397.1 | 379.5 | 357.8 | 330.6 | 299 | 262.1 | 228.2 | 200.9 | 179.3 | 166.8 | 159.7 | 154.8 | 150.6 | 150.3 | 158.3 | 166.4 | 155.3 | 147.6 | 139.7 | 129.5 | 120.4 | 112 | 100.4 | 90.85 | 77.2 | 64.24 | 55.08 | 77.45 | 593.2 | 7398 | 9999.9 | 758.6 | 12.31 | 8.255
510 | 285.8 | 328.9 | 322.1 | 369.5 | 2030 | 5024 | 786.1 | 500.6 | 511.8 | 482 | 435.8 | 386.3 | 338.4 | 314.2 | 319.5 | 334 | 350.5 | 363.3 | 381.4 | 392.2 | 401.3 | 406.3 | 405.8 | 399.3 | 388.1 | 373.4 | 360.4 | 349.7 | 326.6 | 299 | 259.7 | 232.4 | 204.3 | 184.6 | 171.4 | 164.3 | 162.8 | 160.2 | 163.9 | 164.8 | 179.2 | 179.4 | 166.6 | 158 | 149.3 | 137.9 | 128.2 | 118.1 | 105.6 | 87.99 | 74.28 | 59.39 | 46.8 | 65.5 | 565.4 | 6843 | 9563 | 733.4 | 11.96
515 | 253.1 | 316.4 | 304.1 | 332.2 | 511.3 | 5480 | 2220 | 494.2 | 488.7 | 464.3 | 418.2 | 356.3 | 301 | 270.4 | 281.2 | 287.6 | 301.3 | 318.7 | 327.5 | 346.1 | 354.2 | 363.5 | 365 | 362 | 356.6 | 352.1 | 344.6 | 336.1 | 319.9 | 292.5 | 260.5 | 232.9 | 202.9 | 183.9 | 169.2 | 164.9 | 164.7 | 164.8 | 168 | 172.2 | 176.4 | 188.7 | 183.9 | 172 | 161.7 | 151.5 | 139.8 | 126.6 | 113.4 | 97.9 | 81.5 | 65.83 | 46.93 | 34.97 | 57.68 | 534.6 | 6653 | 9045 | 630
520 | 221.9 | 262.1 | 287.9 | 287.5 | 334.6 | 2351 | 4874 | 793.9 | 473.2 | 435.1 | 384 | 327.9 | 261.2 | 239.4 | 242.2 | 249.7 | 262.4 | 273.7 | 288.1 | 299.5 | 317.2 | 322.5 | 328.4 | 328.4 | 323.6 | 322.5 | 319.5 | 317.8 | 306.1 | 280.4 | 255.3 | 226.7 | 199.6 | 178.3 | 166.8 | 160.1 | 165.6 | 166.3 | 169.5 | 170.8 | 174.9 | 183.9 | 192.2 | 183.6 | 165.2 | 156 | 144.1 | 134.6 | 119 | 101.3 | 86.15 | 67.07 | 49.62 | 35.19 | 27.41 | 51.49 | 507.1 | 6328 | 8426
525 | 207.1 | 212.9 | 266.7 | 272 | 307.7 | 520.3 | 5432 | 2203 | 458.1 | 408 | 354.8 | 291.5 | 234.3 | 208.2 | 210.1 | 214.4 | 228.5 | 235.4 | 250.8 | 262.8 | 278.1 | 284.7 | 290.2 | 292.2 | 295.8 | 300.2 | 294.9 | 292.6 | 284.4 | 269.7 | 241.6 | 212.9 | 188.2 | 169.2 | 159.2 | 157.2 | 157.9 | 160.2 | 163.6 | 168.5 | 174.6 | 177.4 | 184.6 | 186.3 | 169.2 | 157.7 | 143.5 | 134.2 | 120.5 | 104.3 | 87.49 | 67.91 | 50.51 | 37.84 | 26 | 23.07 | 48.9 | 487 | 5869
530 | 178.3 | 186.6 | 242.5 | 258.5 | 277.5 | 333.6 | 2534 | 4831 | 752 | 377.1 | 321 | 264.9 | 200.5 | 177 | 178.6 | 185.7 | 194.1 | 201.8 | 216.4 | 226.5 | 239 | 250.4 | 259.6 | 260.6 | 264.4 | 265 | 268 | 272.3 | 263 | 251 | 226.3 | 199.7 | 177.6 | 159.8 | 148.8 | 148.1 | 147.7 | 153.3 | 154.4 | 158.7 | 164.2 | 170.9 | 174.7 | 177.5 | 169.9 | 155.5 | 140.4 | 129.5 | 117.5 | 99.84 | 85.88 | 69 | 51.61 | 39.42 | 29.6 | 24.87 | 24.71 | 53.65 | 471.8
535 | 179.3 | 159.8 | 203.2 | 251.2 | 254.8 | 291.2 | 534.7 | 5630 | 2063 | 350.8 | 294.2 | 238.7 | 179.4 | 157.1 | 150 | 156.2 | 163.2 | 170.5 | 185.2 | 193.5 | 206.7 | 215 | 226.2 | 231 | 232.8 | 236.5 | 240.7 | 244.4 | 244.4 | 227.7 | 207.2 | 183.5 | 163.5 | 146.7 | 137.1 | 136.2 | 137.9 | 144.4 | 144.7 | 150.2 | 155.3 | 161.2 | 161.8 | 162.6 | 162.6 | 149.7 | 135.6 | 124.5 | 114.7 | 98.51 | 84.98 | 68.42 | 55.24 | 42.29 | 32.89 | 29.46 | 29.23 | 33.36 | 64.01
540 | 152.1 | 158.8 | 163.7 | 229.5 | 229.4 | 262.5 | 314.5 | 2795 | 4633 | 624.6 | 266.7 | 204.6 | 158.8 | 135.4 | 131.2 | 133 | 137.9 | 145.3 | 156.3 | 165.3 | 177.8 | 185.6 | 193 | 201.5 | 205.9 | 210 | 218.7 | 220.2 | 215.1 | 204.2 | 187 | 168.3 | 148.2 | 133.6 | 123.2 | 123.7 | 125.9 | 128.8 | 133.7 | 136.6 | 143.8 | 149.1 | 148.1 | 147.3 | 145.6 | 140.8 | 129.8 | 118.6 | 106.2 | 92.61 | 81.6 | 69.05 | 54.73 | 45.54 | 37.51 | 34.58 | 34.54 | 40.63 | 45.91
545 | 126.4 | 134.6 | 140.5 | 194.4 | 225.6 | 236.4 | 268.8 | 528.2 | 5484 | 1850 | 239.6 | 185.3 | 139 | 113.5 | 109.8 | 111.9 | 120 | 126.7 | 130 | 138.9 | 152.1 | 158.9 | 168.3 | 172.6 | 179.4 | 185.2 | 190 | 190.8 | 191.2 | 181.4 | 167.9 | 146.6 | 132.9 | 120.4 | 111.5 | 110.3 | 111.9 | 115.8 | 119.9 | 124.5 | 129.7 | 133.6 | 134.2 | 134.7 | 129.6 | 127.4 | 121.1 | 109.4 | 99.13 | 86.52 | 77.42 | 66.63 | 54.36 | 46.13 | 38.21 | 37.26 | 39.32 | 45.7 | 51.81
550 | 131.9 | 114.2 | 126.4 | 149.6 | 206.4 | 201.6 | 234.9 | 288.9 | 2795 | 4233 | 507.1 | 162.4 | 116.7 | 94.47 | 95.15 | 95.5 | 98.72 | 99.28 | 107.7 | 114.6 | 121.8 | 132.3 | 141.6 | 147.4 | 153.2 | 157.7 | 163.5 | 167.3 | 168.8 | 158.6 | 144.6 | 129.3 | 114.4 | 105.3 | 96.9 | 96.16 | 99.79 | 102 | 105.6 | 107.9 | 117 | 117.3 | 118.8 | 119.5 | 115.4 | 110.2 | 107.6 | 99.91 | 89.69 | 78.97 | 70.78 | 60.33 | 50 | 43.87 | 39.03 | 37.45 | 39.76 | 46.77 | 52.65
555 | 116.4 | 99.39 | 104.4 | 124.1 | 179.3 | 196.6 | 205.6 | 235.4 | 485.9 | 5282 | 1578 | 140.6 | 100.6 | 82.46 | 75.59 | 76.55 | 76.99 | 83.28 | 91.72 | 94.37 | 103.9 | 107.8 | 120.2 | 121.5 | 131.3 | 134.6 | 140.7 | 143.3 | 142 | 135.1 | 126.9 | 111.9 | 98.49 | 90.79 | 83.66 | 83.6 | 85.92 | 88.78 | 91.78 | 96.04 | 99.47 | 102.4 | 104.5 | 105.4 | 100.8 | 96.1 | 93.72 | 89.59 | 81.91 | 69.13 | 62.87 | 54.19 | 45.34 | 38.79 | 34.35 | 34.02 | 37.06 | 42.68 | 48.64
560 | 95.63 | 83.79 | 87.44 | 102.4 | 138.3 | 185.6 | 187.5 | 207.2 | 219.6 | 2818 | 3800 | 371 | 83.07 | 68.31 | 61.69 | 62.31 | 64.61 | 68.04 | 72.95 | 78.77 | 86.08 | 90.67 | 96.51 | 104.1 | 108.3 | 113 | 116.3 | 121.1 | 119 | 115.4 | 105.5 | 94.67 | 84.27 | 76.2 | 72.75 | 71.17 | 71.9 | 76.34 | 79.06 | 81.17 | 85.22 | 87.76 | 88.31 | 91.38 | 86.6 | 82.38 | 77.98 | 75.93 | 70.36 | 63.06 | 54.41 | 46.39 | 39.14 | 33.14 | 29.2 | 29.3 | 31.25 | 35.72 | 40.02
565 | 90.41 | 71.4 | 70.85 | 89.5 | 111.9 | 164.3 | 175.4 | 181.6 | 182.8 | 410.3 | 4997 | 1373 | 75.04 | 56.37 | 50.73 | 52 | 51.2 | 53.8 | 60.16 | 63.61 | 69.66 | 74.4 | 78.74 | 83.02 | 87.01 | 92.9 | 94.64 | 98.91 | 100.8 | 96.57 | 89.66 | 78.78 | 70 | 63.61 | 59.64 | 59.02 | 59.85 | 62.46 | 65.45 | 67.71 | 71.43 | 74.26 | 76.44 | 75.66 | 71.24 | 68.97 | 66.05 | 63.5 | 60.15 | 52.05 | 46.42 | 39.03 | 32.74 | 28.13 | 24.19 | 24.15 | 25.88 | 30.25 | 33.01
570 | 90.29 | 67.05 | 66.86 | 76.98 | 93.49 | 131.8 | 169.3 | 166.2 | 167.7 | 168.2 | 2685 | 3475 | 275.2 | 47.33 | 42.4 | 42.07 | 41.77 | 45.31 | 46.17 | 51.73 | 55.68 | 61.48 | 63.28 | 66.88 | 71.29 | 74.24 | 78.78 | 81.59 | 82.07 | 79.11 | 73.49 | 64.78 | 58.74 | 52.97 | 48.9 | 51.02 | 49.72 | 52.18 | 54.07 | 56.17 | 59.06 | 61.89 | 62.26 | 62.21 | 60.03 | 57.82 | 54.37 | 52.14 | 49.1 | 44.33 | 40.31 | 32.59 | 27.6 | 22.89 | 20.25 | 18.95 | 20.26 | 23.28 | 26.99
575 | 110.5 | 70.25 | 61.6 | 62.85 | 77.94 | 103 | 165.8 | 163.4 | 162.8 | 153.4 | 360.5 | 4773 | 1195 | 41.76 | 34.49 | 35.05 | 32.81 | 34.93 | 37.81 | 42.07 | 44.21 | 47.87 | 52.56 | 54.91 | 58.84 | 61.4 | 66.42 | 66.3 | 67.53 | 66.05 | 60.24 | 54.6 | 47.46 | 43.05 | 40.37 | 41.12 | 41.8 | 43.18 | 44.61 | 46.26 | 49.32 | 50.2 | 51.03 | 51.44 | 50.82 | 48.55 | 45.09 | 43.07 | 39.57 | 35.18 | 32.87 | 27.03 | 22.07 | 18.14 | 15.76 | 15.22 | 16.3 | 18.28 | 20.54
580 | 115.7 | 66.84 | 53.75 | 58.43 | 71.46 | 90.97 | 144.1 | 169.9 | 165.6 | 155.6 | 145.8 | 2568 | 3310 | 208.4 | 29.13 | 27.43 | 27.36 | 28.43 | 31.48 | 32.29 | 35.93 | 38.78 | 41.75 | 44.12 | 45.88 | 49.65 | 52.23 | 55.5 | 57.09 | 52.88 | 49.26 | 43.4 | 37.64 | 34.75 | 33.39 | 34.56 | 34.03 | 34.62 | 36.96 | 37.91 | 41.17 | 41.57 | 42.77 | 41.86 | 40.82 | 39.05 | 37.16 | 34.26 | 32.82 | 28.3 | 27.19 | 24.21 | 18.59 | 14.89 | 13.11 | 11.82 | 12.71 | 14.71 | 15.5
585 | 121.9 | 72.59 | 52.3 | 50.15 | 61.8 | 85.49 | 119.9 | 182 | 173.5 | 170.7 | 138.5 | 324.7 | 4666 | 998.1 | 28.31 | 24.63 | 24.04 | 24.35 | 25.23 | 26.18 | 29.38 | 32.02 | 32.97 | 35.89 | 38.57 | 41.26 | 43.33 | 43.18 | 45.9 | 43.35 | 39.6 | 35.67 | 31.89 | 30.32 | 29.09 | 28.65 | 29.53 | 28.62 | 30.08 | 32.38 | 33.69 | 33.81 | 34.21 | 34.56 | 32.96 | 32.29 | 29.43 | 27.8 | 26.48 | 23.84 | 21.8 | 19.63 | 16.44 | 12.31 | 10.7 | 9.817 | 10.55 | 11.76 | 13.1
590 | 132 | 76.87 | 54.51 | 50.41 | 56.79 | 79.61 | 106.6 | 179.4 | 189.1 | 181.1 | 147.7 | 110.3 | 2375 | 2992 | 165 | 20.79 | 19.72 | 18.79 | 20.41 | 22.97 | 24.49 | 26.4 | 27.37 | 29.47 | 31.7 | 32.67 | 35.09 | 36.9 | 37.18 | 36.47 | 32.44 | 30.35 | 26.46 | 25.05 | 23.21 | 22.72 | 23.95 | 23.94 | 25.77 | 26.16 | 27.66 | 27.37 | 28.79 | 28.48 | 27.49 | 26.23 | 25.13 | 24.53 | 22.04 | 19.19 | 17.85 | 15.55 | 13.67 | 11.24 | 8.931 | 8.404 | 8.436 | 9.182 | 10.92
595 | 140.5 | 83.51 | 54.46 | 47.78 | 55.56 | 77.9 | 108.5 | 161.9 | 210.8 | 193.4 | 160.5 | 103.4 | 274.5 | 4168 | 859.5 | 20.29 | 16.88 | 17.26 | 17.17 | 18.3 | 19.23 | 21.2 | 23.14 | 24.37 | 25.63 | 27.62 | 29.35 | 30.05 | 30.09 | 29.66 | 26.74 | 25.65 | 22.31 | 19.88 | 19.6 | 18.82 | 19.07 | 20.57 | 20.94 | 22.1 | 22.38 | 23.64 | 24.09 | 23.2 | 23.26 | 21.93 | 21.71 | 19.64 | 18.39 | 16.62 | 14.3 | 12.67 | 11.7 | 10.03 | 8.219 | 6.983 | 7.19 | 8.061 | 8.339
600 | 159.5 | 87.43 | 61.22 | 48.27 | 59.05 | 76.9 | 110.7 | 150.3 | 225.1 | 205.6 | 175.4 | 118.5 | 71.95 | 2187 | 2748 | 121.3 | 15.13 | 13.84 | 14.41 | 14.82 | 16.35 | 17.57 | 18.86 | 19.64 | 22.28 | 23.66 | 23.94 | 25.62 | 25.9 | 25.17 | 22.28 | 21.5 | 18.4 | 16.99 | 15.99 | 16.37 | 16.37 | 16.52 | 17.67 | 18.42 | 19.2 | 20.12 | 20.03 | 19.83 | 19.17 | 18.45 | 17.39 | 16.46 | 15.05 | 13.3 | 11.75 | 10.76 | 9.504 | 8.559 | 7.196 | 5.906 | 6.237 | 6.668 | 7.42