## Sheet1
Report date: | 15:17:38, 09/02/2024
Sample: | 1
File name:
Run date: | 15:07:15, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 275.0/310.0 | 9790
2 | 275.0/345.0 | 9823
3 | 325.0/430.0 | 2081
4 | 330.0/435.0 | 2080
5 | 390.0/275.0 | 5.722
6 | 405.0/290.0 | 4.619
7 | 410.0/295.0 | 4.35
8 | 460.0/310.0 | 10.71
9 | 465.0/315.0 | 11.17
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 36.07 | 26.26 | 37.04 | 146.7 | 96.48 | 52.39 | 154.2 | 9999.9 | 9999.9 | 3748 | 34.42 | 17.69 | 11.94 | 8.847 | 7.915 | 5.972 | 4.634 | 4.564 | 5.243 | 4.784 | 4.3 | 4.262 | 4.075 | 3.836 | 4.303 | 4.533 | 4.718 | 3.933 | 4.231 | 4.653 | 5.475 | 5.545 | 4.846 | 4.221 | 3.522 | 3.277 | 3.781 | 3.691 | 3.073 | 2.6 | 2.69 | 2.353 | 2.276 | 2.187 | 2.02 | 1.831 | 1.561 | 1.494 | 1.184 | 1.421 | 1.416 | 1.565 | 2.203 | 2.173 | 1.638 | 1.465 | 1.388 | 1.584 | 1.41
275 | 33.16 | 33.36 | 27.84 | 66.06 | 184.7 | 117.2 | 87.3 | 786 | 9999.9 | 9999.9 | 3308 | 34.15 | 16.28 | 10.99 | 8.642 | 7.392 | 5.922 | 4.631 | 4.87 | 4.376 | 4.873 | 4.504 | 4.439 | 4.58 | 4.277 | 3.827 | 4.297 | 4.214 | 4.006 | 4.071 | 4.177 | 4.958 | 5.722 | 4.693 | 3.601 | 3.315 | 3.125 | 3.823 | 3.621 | 2.708 | 2.769 | 2.339 | 2.439 | 2.195 | 2.123 | 2.08 | 1.838 | 1.638 | 1.369 | 1.52 | 1.259 | 1.519 | 1.718 | 2.077 | 2.747 | 2.348 | 2.056 | 1.454 | 1.744
280 | 78.64 | 55.3 | 44.29 | 57.49 | 131.7 | 256.7 | 186 | 231.9 | 888 | 9999.9 | 9999.9 | 3039 | 37.94 | 14.14 | 10.57 | 8.003 | 6.093 | 6.075 | 4.902 | 4.783 | 4.622 | 5.136 | 4.819 | 4.711 | 4.411 | 4.286 | 4.273 | 4.594 | 4.012 | 4.106 | 4.087 | 4.106 | 4.523 | 5.006 | 4.257 | 3.83 | 3.122 | 3.01 | 3.03 | 3.147 | 3.303 | 2.467 | 2.539 | 2.609 | 2.27 | 2.316 | 2.211 | 1.776 | 1.683 | 1.58 | 1.524 | 1.567 | 1.749 | 1.512 | 2.051 | 2.735 | 3.784 | 2.813 | 2.149
285 | 417.4 | 264.8 | 131.8 | 130.8 | 207.2 | 444.5 | 711.4 | 878.7 | 1151 | 1873 | 9999.9 | 9999.9 | 2811 | 37.13 | 12.56 | 10.14 | 7.715 | 6.483 | 6.562 | 5.394 | 5.412 | 4.876 | 5.014 | 4.873 | 4.721 | 4.514 | 4.348 | 4.652 | 4.265 | 4.391 | 4.197 | 3.809 | 3.944 | 4.156 | 4.561 | 4.471 | 3.315 | 2.983 | 2.973 | 3.2 | 3.46 | 2.758 | 2.683 | 2.805 | 2.654 | 3.219 | 3.001 | 3.087 | 2.379 | 2.139 | 1.846 | 1.825 | 1.553 | 2.011 | 2.329 | 2.93 | 4.153 | 5.512 | 7.442
290 | 1193 | 732.3 | 371.9 | 290.8 | 469.3 | 877.2 | 1632 | 2454 | 3189 | 3499 | 3596 | 9999.9 | 9999.9 | 2501 | 28.36 | 13.45 | 9.919 | 7.941 | 7.282 | 6.245 | 5.444 | 5.339 | 5.097 | 4.889 | 5.073 | 4.889 | 4.792 | 4.952 | 5.12 | 4.409 | 3.985 | 3.517 | 3.127 | 3.594 | 4.268 | 4.619 | 3.857 | 3.346 | 2.884 | 3.17 | 3.956 | 3.317 | 3.206 | 3.335 | 3.494 | 4.465 | 4.896 | 5.165 | 4.452 | 3.614 | 2.994 | 2.844 | 2.782 | 3.096 | 3.738 | 5.429 | 7.205 | 9.451 | 13.95
295 | 2059 | 1297 | 615.3 | 487.7 | 799.5 | 1470 | 2561 | 4198 | 5568 | 6063 | 5266 | 3424 | 9999.9 | 9999.9 | 2343 | 26.03 | 12.94 | 9.069 | 8.566 | 7.015 | 6.286 | 6.275 | 5.535 | 5.228 | 5.319 | 5.405 | 5.143 | 4.921 | 4.944 | 4.304 | 4.066 | 3.709 | 3.434 | 3.274 | 3.398 | 4.065 | 4.35 | 3.74 | 3.162 | 3.333 | 2.72 | 2.959 | 3.457 | 3.763 | 4.507 | 6.101 | 7.529 | 7.596 | 6.407 | 5.498 | 4.636 | 4.028 | 3.538 | 4.747 | 5.937 | 7.808 | 11 | 15.19 | 20.8
300 | 2625 | 1841 | 852.9 | 696.4 | 1068 | 1970 | 3399 | 5431 | 7522 | 8247 | 7123 | 3994 | 1794 | 9999.9 | 9999.9 | 2275 | 24.8 | 14 | 10.5 | 8.571 | 7.648 | 7.207 | 6.47 | 5.628 | 5.968 | 5.765 | 5.708 | 5.13 | 4.534 | 4.461 | 4.293 | 4.006 | 3.541 | 3.258 | 3.168 | 3.325 | 3.804 | 3.974 | 3.633 | 3.155 | 2.772 | 3.359 | 3.807 | 4.907 | 5.675 | 6.986 | 9.214 | 9.197 | 7.949 | 7.128 | 5.865 | 5.209 | 4.508 | 6.033 | 8.173 | 10.77 | 14.17 | 20.33 | 27.91
305 | 3030 | 2068 | 1083 | 881 | 1298 | 2322 | 3920 | 6177 | 8420 | 9509 | 8292 | 4824 | 1735 | 1254 | 9999.9 | 9999.9 | 2090 | 24.02 | 12.67 | 10.71 | 8.063 | 7.385 | 7.29 | 6.437 | 6.118 | 6.058 | 6.02 | 5.442 | 4.813 | 4.386 | 4.152 | 4.089 | 3.48 | 3.142 | 3.212 | 3.154 | 3.323 | 3.512 | 4.098 | 3.783 | 3.208 | 2.984 | 3.361 | 4.732 | 6.059 | 8.58 | 10.48 | 9.969 | 8.971 | 8.088 | 6.427 | 5.777 | 6.13 | 7.202 | 9.103 | 13.23 | 17.19 | 23.11 | 30.63
310 | 3013 | 2172 | 1207 | 1082 | 1538 | 2580 | 4215 | 6488 | 8656 | 9790 | 8896 | 5483 | 2296 | 1004 | 1065 | 9999.9 | 9999.9 | 2145 | 24.27 | 13.71 | 11.04 | 9.579 | 7.943 | 7.202 | 6.347 | 5.609 | 6.339 | 5.558 | 4.774 | 4.921 | 4.518 | 4.063 | 4.113 | 3.454 | 2.981 | 3.283 | 2.618 | 3.243 | 3.567 | 3.676 | 4.16 | 3.29 | 3.586 | 4.496 | 6.021 | 8.788 | 10.71 | 10.44 | 9.575 | 8.339 | 7.47 | 6.67 | 7.758 | 8.358 | 11.73 | 14.15 | 19.15 | 26.17 | 32.87
315 | 2929 | 2220 | 1363 | 1304 | 1847 | 2908 | 4514 | 6620 | 8627 | 9615 | 8987 | 6081 | 3008 | 1413 | 656.6 | 946.3 | 9999.9 | 9999.9 | 2059 | 22.26 | 13.92 | 10.82 | 9.305 | 8.565 | 7.55 | 6.841 | 6.494 | 6.423 | 6.363 | 5.283 | 5.147 | 4.325 | 3.719 | 3.7 | 3.264 | 3.277 | 2.83 | 2.838 | 2.958 | 3.274 | 3.706 | 3.31 | 3.623 | 4.791 | 5.702 | 8.663 | 10.15 | 11.17 | 9.533 | 8.982 | 7.991 | 7.894 | 7.946 | 9.58 | 13.64 | 16.67 | 21.47 | 28.11 | 35.58
320 | 2722 | 2216 | 1548 | 1561 | 2149 | 3211 | 4781 | 6692 | 8501 | 9454 | 8871 | 6593 | 3815 | 1896 | 876.8 | 415.4 | 840.7 | 9999.9 | 9999.9 | 2090 | 21.85 | 14.59 | 11.86 | 9.545 | 8.723 | 7.743 | 7.388 | 6.303 | 6.098 | 5.365 | 5.454 | 4.669 | 3.9 | 3.592 | 3.266 | 3.367 | 3.15 | 3.081 | 2.733 | 2.974 | 3.397 | 3.756 | 4.064 | 4.449 | 5.72 | 8.196 | 9.919 | 10.37 | 9.643 | 9.599 | 9.021 | 9.126 | 9.803 | 11.8 | 15.08 | 18.33 | 23.64 | 29.47 | 37.02
325 | 2592 | 2173 | 1683 | 1770 | 2450 | 3609 | 5098 | 6895 | 8468 | 9341 | 8900 | 6889 | 4542 | 2406 | 1118 | 495.7 | 264.8 | 778 | 9999.9 | 9999.9 | 2077 | 24.45 | 16.07 | 12.4 | 10.13 | 8.775 | 8.059 | 7.507 | 6.593 | 5.43 | 4.955 | 5.053 | 4.147 | 3.528 | 3.207 | 3.256 | 3.108 | 2.932 | 2.907 | 2.881 | 3.14 | 3.129 | 4.318 | 4.558 | 5.561 | 7.081 | 9.145 | 9.91 | 9.804 | 9.847 | 9.384 | 10.16 | 10.91 | 12.95 | 16.49 | 21.14 | 25.89 | 31.94 | 39.89
330 | 2421 | 2161 | 1805 | 2008 | 2760 | 3973 | 5469 | 7179 | 8661 | 9402 | 9071 | 7309 | 5057 | 2917 | 1377 | 627.1 | 280.4 | 161.6 | 747.8 | 9999.9 | 9999.9 | 2313 | 25.03 | 16.67 | 13.3 | 10.07 | 8.985 | 8.093 | 7.476 | 6.133 | 5.968 | 4.969 | 4.805 | 4.023 | 3.553 | 3.402 | 2.747 | 3.266 | 2.699 | 2.9 | 2.615 | 3.148 | 3.544 | 4.719 | 5.455 | 7.63 | 8.488 | 8.821 | 8.972 | 10.12 | 9.968 | 10.38 | 11.85 | 14.82 | 18.83 | 22.3 | 28.41 | 36.01 | 43.99
335 | 2390 | 2133 | 1928 | 2243 | 3097 | 4388 | 5879 | 7570 | 8872 | 9650 | 9349 | 7822 | 5578 | 3164 | 1718 | 773.7 | 350.8 | 159.7 | 124.6 | 752.2 | 9999.9 | 9999.9 | 2822 | 27.04 | 18.24 | 14.38 | 11.08 | 9.674 | 7.958 | 6.563 | 6.072 | 5.634 | 4.931 | 4.084 | 3.616 | 3.447 | 3.342 | 3.369 | 3.036 | 2.874 | 3.05 | 2.879 | 3.429 | 4.616 | 5.438 | 7.495 | 8.399 | 8.784 | 9.067 | 10.17 | 10.36 | 12.15 | 13.54 | 16.11 | 19.93 | 24.77 | 30.75 | 37.27 | 45.58
340 | 2359 | 2192 | 2005 | 2397 | 3267 | 4621 | 6224 | 7836 | 9125 | 9772 | 9542 | 8165 | 6044 | 3405 | 1847 | 1015 | 448.3 | 209.6 | 123 | 124.1 | 759.5 | 9999.9 | 9999.9 | 2926 | 28.19 | 18.57 | 14.85 | 11.44 | 8.797 | 8.109 | 7.672 | 5.849 | 5.284 | 4.494 | 3.911 | 3.705 | 3.295 | 3.106 | 3.04 | 3.016 | 2.973 | 3.069 | 2.941 | 4.346 | 5.144 | 6.991 | 8.691 | 8.994 | 8.672 | 10.29 | 10.81 | 12.19 | 13.85 | 17.04 | 21.61 | 26.04 | 31.93 | 39.51 | 47.61
345 | 2267 | 2129 | 2064 | 2519 | 3437 | 4861 | 6398 | 8050 | 9211 | 9823 | 9621 | 8385 | 6322 | 3614 | 1915 | 1117 | 635.5 | 287.9 | 172.6 | 126 | 130 | 782.5 | 9999.9 | 9999.9 | 3201 | 29.45 | 19.27 | 15.57 | 11.52 | 8.467 | 7.707 | 6.958 | 5.783 | 4.699 | 4.41 | 4.112 | 3.372 | 3.173 | 3.074 | 3.057 | 3.177 | 3.24 | 3.398 | 3.935 | 4.838 | 6.761 | 8.735 | 8.95 | 8.575 | 10.13 | 10.62 | 12.69 | 15.04 | 17.13 | 22.07 | 27.11 | 34.3 | 41.03 | 47.05
350 | 2134 | 2067 | 2095 | 2525 | 3508 | 4889 | 6489 | 8105 | 9209 | 9670 | 9575 | 8426 | 6459 | 3739 | 2023 | 1123 | 770.3 | 445.7 | 242.2 | 174.9 | 129 | 136 | 798.7 | 9999.9 | 9999.9 | 3531 | 31.63 | 21.91 | 15.75 | 11.75 | 8.888 | 7.61 | 6.054 | 5.511 | 4.768 | 4.675 | 3.379 | 3.547 | 3.182 | 3.028 | 2.876 | 2.975 | 3.419 | 3.731 | 4.692 | 6.371 | 8.28 | 8.352 | 8.482 | 9.944 | 10.83 | 12.52 | 14.3 | 18.13 | 22.43 | 27.93 | 33.89 | 40.4 | 49.25
355 | 2056 | 2018 | 2021 | 2523 | 3474 | 4845 | 6446 | 7945 | 9028 | 9482 | 9311 | 8250 | 6436 | 3769 | 2095 | 1193 | 741 | 606.1 | 372 | 238.4 | 176.4 | 129.5 | 138.9 | 814.4 | 9999.9 | 9999.9 | 3808 | 34.25 | 21.1 | 16.45 | 11.36 | 8.763 | 6.743 | 5.571 | 4.901 | 4.504 | 3.833 | 3.972 | 3.666 | 3.267 | 3.156 | 3.106 | 3.743 | 3.538 | 4.536 | 6.311 | 7.295 | 8.388 | 8.396 | 10.26 | 10.85 | 12.91 | 14.23 | 17.34 | 22.35 | 27.42 | 33.89 | 40.71 | 49.07
360 | 1917 | 1872 | 1991 | 2507 | 3370 | 4695 | 6225 | 7643 | 8616 | 9041 | 8872 | 7937 | 6264 | 3711 | 2122 | 1271 | 798.6 | 601.5 | 557.4 | 344.8 | 240.9 | 176.8 | 131.5 | 140 | 802.8 | 9999.9 | 9999.9 | 4277 | 34.9 | 21.91 | 16.45 | 11.16 | 8 | 6.562 | 5.357 | 4.572 | 4.374 | 3.918 | 3.768 | 3.137 | 3.451 | 3.416 | 3.594 | 3.999 | 4.473 | 6.032 | 6.576 | 7.255 | 8.197 | 9.528 | 11.07 | 12.24 | 14.53 | 17.09 | 21.31 | 26.62 | 32.25 | 38.92 | 46.9
365 | 1795 | 1775 | 1921 | 2389 | 3162 | 4421 | 5790 | 7152 | 8055 | 8437 | 8287 | 7455 | 5940 | 3611 | 2147 | 1322 | 875.4 | 641.1 | 582.6 | 528.3 | 330.6 | 241.4 | 180.2 | 139.8 | 143.9 | 836.1 | 9999.9 | 9999.9 | 4112 | 34.5 | 21.72 | 14.77 | 10.22 | 7.274 | 6.453 | 5.47 | 4.68 | 4.271 | 4.129 | 3.629 | 3.588 | 2.851 | 3.37 | 4.028 | 4.662 | 5.724 | 6.645 | 7.224 | 7.525 | 8.751 | 10.2 | 11.73 | 14.07 | 15.69 | 20.88 | 24.99 | 31.18 | 35.31 | 43.96
370 | 1655 | 1672 | 1766 | 2219 | 2946 | 4084 | 5317 | 6545 | 7365 | 7712 | 7595 | 6868 | 5541 | 3443 | 2116 | 1377 | 951.8 | 729.1 | 607.6 | 609.1 | 508.7 | 332.4 | 252.6 | 191.5 | 149.5 | 157.2 | 861.3 | 9999.9 | 9999.9 | 4164 | 34.51 | 21.4 | 14.26 | 9.43 | 7.16 | 5.853 | 5.057 | 4.207 | 3.846 | 3.557 | 3.456 | 3.298 | 3.801 | 3.999 | 4.577 | 5.611 | 5.906 | 6.353 | 6.972 | 8.762 | 9.665 | 11.58 | 12.76 | 14.76 | 19.39 | 23.6 | 29.06 | 33.66 | 39.46
375 | 1509 | 1520 | 1650 | 2036 | 2682 | 3651 | 4755 | 5888 | 6587 | 6879 | 6807 | 6227 | 5111 | 3282 | 2090 | 1435 | 1050 | 827.5 | 704.3 | 632.6 | 648.9 | 510.7 | 358.4 | 284.8 | 221.7 | 171.4 | 178.4 | 895.1 | 9999.9 | 9999.9 | 4037 | 32.24 | 19.92 | 13.23 | 9.382 | 6.971 | 5.948 | 5.142 | 4.099 | 4.066 | 3.545 | 3.854 | 3.459 | 4.182 | 4.362 | 5.22 | 5.719 | 6.012 | 6.471 | 8.282 | 9.337 | 10.76 | 11.64 | 14.24 | 17.7 | 20.58 | 25.41 | 29.78 | 36.41
380 | 1344 | 1394 | 1537 | 1860 | 2417 | 3243 | 4218 | 5172 | 5779 | 6079 | 6062 | 5596 | 4650 | 3097 | 2081 | 1482 | 1140 | 951.6 | 824.6 | 740.9 | 698.2 | 705.4 | 537.4 | 403.1 | 332.6 | 259.5 | 197.3 | 190.9 | 892.2 | 9999.9 | 9999.9 | 3870 | 30.68 | 18.04 | 12.57 | 8.266 | 5.968 | 5.564 | 4.429 | 4.262 | 4.232 | 3.784 | 3.477 | 3.698 | 4.348 | 4.583 | 5.208 | 6.186 | 5.678 | 7.806 | 8.159 | 10.08 | 10.7 | 13.78 | 16.14 | 18.18 | 23.24 | 27.29 | 31.54
385 | 1208 | 1248 | 1413 | 1680 | 2174 | 2899 | 3693 | 4447 | 5027 | 5316 | 5320 | 4972 | 4230 | 2936 | 2081 | 1579 | 1264 | 1081 | 974.4 | 896.1 | 820 | 803.4 | 776.1 | 584.8 | 463.8 | 372.9 | 288.4 | 206.2 | 184.2 | 899.8 | 9999.9 | 9999.9 | 3728 | 26.54 | 16.42 | 11.87 | 7.629 | 6.027 | 5.095 | 4.722 | 4.335 | 3.917 | 3.547 | 3.921 | 3.698 | 4.908 | 5.113 | 5.555 | 5.603 | 7.204 | 7.987 | 9.271 | 10.61 | 12.08 | 14.71 | 17.33 | 19.65 | 23.9 | 28.08
390 | 1039 | 1160 | 1316 | 1530 | 1981 | 2514 | 3224 | 3861 | 4334 | 4631 | 4691 | 4432 | 3864 | 2805 | 2099 | 1657 | 1386 | 1235 | 1143 | 1079 | 1009 | 920.3 | 914.7 | 840.5 | 643.2 | 518.9 | 403.9 | 291.6 | 188.7 | 168.3 | 847.4 | 9999.9 | 9999.9 | 3472 | 26.52 | 15.39 | 10.46 | 7.433 | 5.872 | 5.017 | 4.538 | 3.794 | 3.752 | 3.851 | 3.859 | 4.263 | 4.851 | 5.14 | 5.57 | 6.678 | 7.696 | 8.66 | 10.05 | 10.86 | 13.55 | 16.13 | 18.75 | 20.47 | 24.81
395 | 952.4 | 1065 | 1241 | 1449 | 1785 | 2228 | 2776 | 3318 | 3743 | 4017 | 4117 | 3960 | 3553 | 2690 | 2108 | 1763 | 1522 | 1392 | 1324 | 1275 | 1208 | 1118 | 1050 | 1027 | 877 | 675.3 | 527.7 | 384.6 | 252.2 | 163.5 | 148.8 | 871 | 9999.9 | 9999.9 | 3137 | 23.88 | 14.3 | 10.11 | 7.134 | 5.511 | 4.715 | 4.127 | 4.015 | 4.142 | 3.787 | 4.109 | 4.576 | 4.927 | 4.995 | 6.74 | 7.61 | 8.365 | 9.416 | 10.27 | 12.38 | 14.02 | 16.3 | 19.35 | 21.05
400 | 840.4 | 998 | 1198 | 1363 | 1630 | 2008 | 2411 | 2846 | 3226 | 3475 | 3602 | 3546 | 3268 | 2599 | 2144 | 1855 | 1668 | 1558 | 1492 | 1454 | 1405 | 1333 | 1234 | 1134 | 1087 | 882 | 662 | 489.8 | 331 | 213.7 | 136.7 | 141 | 821.5 | 9999.9 | 9999.9 | 2701 | 22.02 | 12.72 | 9.006 | 7.209 | 5.725 | 4.52 | 4.125 | 4.25 | 3.865 | 4.119 | 4.572 | 4.771 | 5.322 | 6.098 | 7.187 | 7.977 | 8.43 | 9.771 | 11.49 | 12.91 | 15.01 | 17.81 | 19.24
405 | 751.2 | 961.4 | 1139 | 1313 | 1532 | 1797 | 2158 | 2493 | 2811 | 3059 | 3198 | 3185 | 3003 | 2503 | 2162 | 1939 | 1784 | 1708 | 1667 | 1640 | 1593 | 1517 | 1422 | 1284 | 1182 | 1094 | 839.1 | 597 | 418.1 | 276.2 | 180.4 | 120 | 127.6 | 784.7 | 9999.9 | 9999.9 | 2648 | 20.43 | 12.11 | 8.552 | 7.15 | 4.848 | 4.404 | 4.188 | 4.242 | 4.133 | 4.612 | 4.881 | 5.292 | 6.025 | 7.001 | 8.018 | 8.086 | 9.073 | 11.01 | 12.56 | 13.66 | 15.79 | 16.95
410 | 741.8 | 911.8 | 1124 | 1238 | 1416 | 1699 | 1911 | 2189 | 2458 | 2695 | 2871 | 2881 | 2788 | 2409 | 2150 | 1982 | 1882 | 1827 | 1808 | 1790 | 1760 | 1677 | 1579 | 1431 | 1294 | 1171 | 1020 | 725.5 | 503.4 | 338.7 | 226.2 | 151.8 | 103 | 113.8 | 773.7 | 9999.9 | 9999.9 | 2404 | 17.94 | 11.92 | 8.265 | 5.861 | 5.092 | 4.519 | 4.069 | 4.416 | 4.698 | 4.705 | 5.342 | 6.006 | 7.121 | 7.466 | 8.268 | 9.506 | 9.603 | 11.08 | 12.96 | 14.46 | 15.37
415 | 685.6 | 906.8 | 1078 | 1204 | 1364 | 1544 | 1709 | 1917 | 2189 | 2399 | 2547 | 2619 | 2575 | 2306 | 2116 | 2009 | 1943 | 1914 | 1919 | 1917 | 1895 | 1825 | 1713 | 1552 | 1400 | 1231 | 1103 | 881.3 | 592.6 | 405.4 | 277.8 | 186.8 | 126.8 | 86.73 | 100.2 | 778.6 | 9999.9 | 9999.9 | 2224 | 17.77 | 11.26 | 7.652 | 6.113 | 4.569 | 4.307 | 4.288 | 4.359 | 4.784 | 5.389 | 6.438 | 6.711 | 7.191 | 8.497 | 8.49 | 9.805 | 11.18 | 11.55 | 12.69 | 14.18
420 | 633.5 | 844.6 | 1047 | 1199 | 1302 | 1447 | 1565 | 1731 | 1940 | 2132 | 2296 | 2405 | 2374 | 2190 | 2086 | 2009 | 1981 | 1964 | 2001 | 1997 | 1977 | 1924 | 1808 | 1646 | 1488 | 1304 | 1122 | 959.7 | 709.2 | 469.7 | 325.7 | 224.9 | 154.5 | 98.04 | 67.61 | 91.85 | 769.7 | 9999.9 | 9999.9 | 2109 | 17.06 | 10.46 | 7.364 | 5.934 | 4.7 | 4.521 | 4.936 | 4.686 | 5.172 | 6.245 | 6.613 | 6.896 | 8.015 | 8.696 | 10.01 | 10.9 | 10.45 | 11.65 | 12.98
425 | 589.6 | 816.5 | 1046 | 1164 | 1258 | 1370 | 1441 | 1542 | 1723 | 1922 | 2075 | 2180 | 2192 | 2077 | 2018 | 1991 | 1984 | 1997 | 2027 | 2062 | 2043 | 1986 | 1874 | 1721 | 1557 | 1371 | 1154 | 959.3 | 804.3 | 564.2 | 376.8 | 262.1 | 178.8 | 120.3 | 79.8 | 55.2 | 85.18 | 769.4 | 9999.9 | 9999.9 | 1943 | 15.02 | 9.457 | 7.617 | 5.472 | 4.751 | 4.435 | 5.005 | 4.855 | 6.209 | 6.639 | 7.085 | 7.957 | 8.222 | 9.475 | 9.726 | 10.78 | 11 | 11.64
430 | 549.6 | 806.3 | 1029 | 1132 | 1225 | 1291 | 1305 | 1416 | 1569 | 1753 | 1891 | 1993 | 2040 | 1969 | 1939 | 1936 | 1941 | 1992 | 2049 | 2081 | 2078 | 2014 | 1906 | 1766 | 1592 | 1415 | 1204 | 993.6 | 819.4 | 655.9 | 439.2 | 298.8 | 207.4 | 140.2 | 94.98 | 64.7 | 48.27 | 80.96 | 744.2 | 9999.9 | 9999.9 | 1860 | 15.93 | 9.806 | 7.065 | 5.458 | 5.031 | 5.049 | 5.187 | 5.727 | 6.619 | 6.939 | 7.683 | 7.793 | 8.63 | 10 | 10.02 | 10.28 | 11.57
435 | 520 | 782.8 | 1020 | 1124 | 1191 | 1228 | 1221 | 1297 | 1440 | 1602 | 1737 | 1843 | 1899 | 1873 | 1884 | 1896 | 1938 | 1990 | 2044 | 2072 | 2080 | 2027 | 1944 | 1781 | 1624 | 1448 | 1243 | 1020 | 815.3 | 673.4 | 524.2 | 343.9 | 237.5 | 164.4 | 114 | 79.08 | 56.1 | 44.14 | 79.12 | 759.4 | 9999.9 | 9999.9 | 1738 | 14.69 | 9.534 | 7.211 | 5.731 | 5.178 | 5.182 | 6.13 | 6.58 | 7.087 | 7.582 | 8.111 | 8.67 | 9.127 | 9.359 | 9.959 | 10.58
440 | 498.6 | 720 | 1003 | 1097 | 1137 | 1200 | 1148 | 1179 | 1304 | 1457 | 1588 | 1680 | 1753 | 1771 | 1785 | 1832 | 1871 | 1943 | 2011 | 2054 | 2056 | 1999 | 1919 | 1781 | 1621 | 1451 | 1263 | 1054 | 843.9 | 674.2 | 569.8 | 416.6 | 275 | 191.5 | 137.5 | 98.16 | 71.64 | 54.27 | 43.95 | 79.43 | 750.8 | 9999.9 | 9999.9 | 1676 | 14.11 | 9.535 | 7.203 | 5.933 | 5.23 | 6.194 | 6.527 | 6.971 | 7.756 | 8.192 | 8.369 | 8.553 | 9.114 | 9.736 | 10.59
445 | 447 | 703 | 904.5 | 1063 | 1094 | 1105 | 1075 | 1099 | 1194 | 1323 | 1455 | 1544 | 1621 | 1644 | 1683 | 1747 | 1803 | 1872 | 1945 | 1973 | 1990 | 1954 | 1877 | 1751 | 1601 | 1449 | 1263 | 1072 | 875.8 | 693.7 | 562.8 | 472.4 | 334.1 | 226.9 | 162.9 | 122.2 | 93.49 | 71.85 | 54.39 | 43.39 | 80.35 | 738.8 | 9999.9 | 9999.9 | 1439 | 14.12 | 9.663 | 7.312 | 5.708 | 6.175 | 6.775 | 7.42 | 7.685 | 7.525 | 8.391 | 8.384 | 9.07 | 9.884 | 9.449
450 | 572.8 | 675.7 | 869.8 | 1013 | 1054 | 1044 | 994.8 | 1025 | 1083 | 1216 | 1324 | 1400 | 1488 | 1516 | 1584 | 1631 | 1706 | 1786 | 1847 | 1895 | 1904 | 1883 | 1816 | 1699 | 1563 | 1426 | 1261 | 1080 | 901.8 | 730.4 | 575.2 | 481.3 | 401.2 | 274.3 | 197.2 | 148.6 | 115.8 | 91.04 | 71.95 | 55.68 | 46.69 | 80.52 | 742.5 | 9999.9 | 9999.9 | 1499 | 13.19 | 8.781 | 6.889 | 7.015 | 6.233 | 7.367 | 7.224 | 7.39 | 8.1 | 8.477 | 8.862 | 8.748 | 9.343
455 | 1162 | 621.7 | 827 | 940.5 | 969.6 | 979.3 | 928.5 | 925.8 | 1000 | 1093 | 1197 | 1269 | 1345 | 1385 | 1455 | 1514 | 1592 | 1666 | 1739 | 1794 | 1822 | 1796 | 1742 | 1634 | 1514 | 1384 | 1243 | 1090 | 926.5 | 767.3 | 617.7 | 488.5 | 421.2 | 340.8 | 240.6 | 178.7 | 144.9 | 114.1 | 91.93 | 73.57 | 58.01 | 47.02 | 79.45 | 755.1 | 9956 | 9999.9 | 1380 | 13.05 | 9.064 | 7.528 | 7.014 | 6.854 | 6.865 | 7.187 | 7.633 | 7.846 | 7.827 | 8.461 | 8.405
460 | 2015 | 771.5 | 764.1 | 855.9 | 924.6 | 918.8 | 866.1 | 873.4 | 924.2 | 1024 | 1081 | 1151 | 1219 | 1270 | 1331 | 1407 | 1479 | 1559 | 1622 | 1681 | 1716 | 1696 | 1642 | 1561 | 1455 | 1345 | 1220 | 1089 | 939 | 785.4 | 639.9 | 520.2 | 427.2 | 376.5 | 298.2 | 212.4 | 169.9 | 141 | 115 | 90.82 | 74.37 | 56.86 | 46.44 | 78.43 | 720.5 | 9147 | 9999.9 | 1348 | 11.32 | 9.114 | 7.186 | 7.515 | 6.797 | 7.242 | 7.755 | 7.748 | 8.058 | 8.382 | 8.233
465 | 1987 | 1565 | 720.2 | 795 | 852.5 | 869.4 | 812.4 | 796.7 | 847.6 | 919.5 | 988 | 1051 | 1105 | 1158 | 1214 | 1291 | 1369 | 1444 | 1516 | 1567 | 1598 | 1598 | 1546 | 1478 | 1382 | 1291 | 1191 | 1070 | 936.6 | 800.7 | 659.4 | 545.6 | 443.9 | 375.3 | 337.9 | 262.7 | 198.2 | 162.6 | 133.7 | 109.7 | 86.98 | 66.52 | 52.93 | 41.42 | 72.38 | 665.2 | 8953 | 9999.9 | 1179 | 12.53 | 9.343 | 8.023 | 7.326 | 6.825 | 7.143 | 7.534 | 7.859 | 7.759 | 7.809
470 | 751.8 | 3195 | 938.5 | 748.2 | 806.4 | 800.6 | 754.4 | 741 | 766.7 | 831 | 895.5 | 950 | 1000 | 1036 | 1109 | 1186 | 1258 | 1335 | 1401 | 1462 | 1491 | 1481 | 1441 | 1390 | 1316 | 1235 | 1142 | 1038 | 926.8 | 797.7 | 674.1 | 554.4 | 460.7 | 379.6 | 334.1 | 297.7 | 229.7 | 181.4 | 149.6 | 124.2 | 103.4 | 79.48 | 59.79 | 43.08 | 35.3 | 64.54 | 646 | 8462 | 9999.9 | 1122 | 11.93 | 9.072 | 8.122 | 7.326 | 7.288 | 7.314 | 7.799 | 7.283 | 7.168
475 | 305.2 | 3364 | 2186 | 690.1 | 725.3 | 734.1 | 708.1 | 694.2 | 703.5 | 767.9 | 810 | 864.8 | 891.5 | 934.5 | 999.5 | 1075 | 1155 | 1218 | 1291 | 1350 | 1372 | 1372 | 1347 | 1295 | 1233 | 1161 | 1087 | 1002 | 897.8 | 788 | 665.7 | 561.9 | 472.2 | 388.6 | 333 | 300.2 | 258.3 | 198.6 | 161.7 | 135.1 | 109.8 | 88.42 | 67.37 | 48.48 | 36.16 | 29.63 | 61.38 | 618.1 | 6978 | 9999.9 | 819.3 | 12.53 | 9.328 | 8.074 | 6.96 | 6.98 | 6.757 | 7.43 | 7.257
480 | 252.4 | 1253 | 4414 | 1016 | 672.2 | 684 | 663.1 | 660 | 655.8 | 696.1 | 745.5 | 786.8 | 805.6 | 851.2 | 923.3 | 988.8 | 1056 | 1125 | 1198 | 1254 | 1279 | 1288 | 1260 | 1215 | 1156 | 1099 | 1044 | 969.6 | 873.7 | 773.3 | 659.4 | 555.1 | 469.7 | 395.1 | 333.6 | 288.6 | 272 | 226 | 176.6 | 145 | 122.2 | 96.75 | 76.34 | 58.45 | 41.59 | 31.46 | 28.38 | 59.7 | 500.9 | 6069 | 9890 | 881.9 | 12.48 | 10.14 | 8.59 | 7.347 | 7.038 | 6.937 | 6.95
485 | 217.6 | 435.2 | 4379 | 2591 | 639.2 | 658.9 | 636.1 | 627.1 | 622.8 | 654.2 | 684.2 | 725.8 | 743.6 | 784.7 | 858.8 | 932.6 | 990.1 | 1059 | 1126 | 1186 | 1206 | 1210 | 1197 | 1151 | 1102 | 1049 | 996.1 | 939.1 | 862 | 757.1 | 655.9 | 557.4 | 466.6 | 398.4 | 340.8 | 291.3 | 259.5 | 242.1 | 197.3 | 157.8 | 134.1 | 107.8 | 89.11 | 68.22 | 54.21 | 40.59 | 33.83 | 31.42 | 54.12 | 458 | 6638 | 9573 | 765.1 | 13.44 | 9.835 | 8.792 | 7.356 | 6.962 | 7.27
490 | 218.8 | 351.9 | 1611 | 5198 | 984.6 | 637.5 | 623.6 | 604.7 | 596.9 | 614.9 | 649.8 | 666.2 | 697.7 | 737 | 802.1 | 866.9 | 939.8 | 1001 | 1072 | 1115 | 1144 | 1151 | 1138 | 1109 | 1045 | 1007 | 965.7 | 907.5 | 837.9 | 739.5 | 648.4 | 552.2 | 471.9 | 403.7 | 345.1 | 294.2 | 256.5 | 242.5 | 218.6 | 174 | 145.9 | 122.2 | 99.74 | 82.04 | 66.38 | 52.57 | 42.97 | 36.36 | 33.76 | 54.63 | 501.5 | 6104 | 9192 | 785 | 13.33 | 9.661 | 8.477 | 6.845 | 6.58
495 | 214.7 | 322.4 | 511.3 | 5380 | 2738 | 610.4 | 596.9 | 593.7 | 588.6 | 585.1 | 602.8 | 627.8 | 646.6 | 681.5 | 742.5 | 815.4 | 885.8 | 944 | 1006 | 1061 | 1086 | 1084 | 1071 | 1037 | 995.4 | 950.5 | 912.3 | 867.3 | 803.4 | 722.5 | 631.3 | 538.5 | 459.6 | 393.2 | 339.7 | 296.5 | 256.1 | 234.7 | 221.3 | 195 | 161.5 | 135 | 114.7 | 97.91 | 81.43 | 67.76 | 57.08 | 48.99 | 42.17 | 37.87 | 60.37 | 468.2 | 6450 | 9045 | 714.4 | 12.8 | 9.053 | 8.383 | 7.027
500 | 200.2 | 307.4 | 387.6 | 1987 | 5700 | 957.6 | 571.7 | 572 | 560.6 | 556.2 | 561.3 | 574.1 | 591.6 | 627.1 | 683.8 | 747.5 | 815.3 | 881.3 | 944.2 | 988.1 | 1014 | 1010 | 1004 | 977.4 | 935.8 | 896.5 | 866.1 | 821.7 | 765.6 | 691.4 | 603.9 | 518.3 | 446 | 380.8 | 328.2 | 289 | 257.6 | 230.8 | 215.8 | 208 | 181.5 | 149.6 | 127.8 | 112.5 | 95.95 | 82.18 | 71.19 | 61.45 | 54.44 | 46.2 | 40.69 | 59.78 | 488.7 | 5757 | 8374 | 669.5 | 12.3 | 9.477 | 8.137
505 | 195.6 | 287.5 | 363.6 | 556.1 | 6219 | 2694 | 567.6 | 558.3 | 537.2 | 523.4 | 521 | 525.3 | 540.9 | 566 | 628.1 | 685 | 749.6 | 821.1 | 874.3 | 912.8 | 939.5 | 945.1 | 931.1 | 906.3 | 873.6 | 839.5 | 808.6 | 777.4 | 722.4 | 653.5 | 575.1 | 495.4 | 426.3 | 365.4 | 315 | 278 | 251.9 | 230.1 | 211.4 | 202.1 | 195.4 | 165.6 | 142 | 125.2 | 110.7 | 95.34 | 82.81 | 75.53 | 64.87 | 54.02 | 45.72 | 38.97 | 56.81 | 442.2 | 5506 | 7656 | 586.6 | 11.11 | 9.377
510 | 181 | 262.2 | 339.1 | 411.8 | 2398 | 5816 | 929.2 | 540.3 | 514.8 | 482 | 483.2 | 490 | 484.4 | 515 | 569.1 | 629.1 | 693.3 | 757.9 | 802.8 | 841.5 | 865.4 | 870.6 | 858.2 | 830.1 | 804.9 | 772.1 | 749.8 | 717.8 | 674 | 616.3 | 545.6 | 470.1 | 399.3 | 345.8 | 304.2 | 268.9 | 245.4 | 226.9 | 209.2 | 193.7 | 192.3 | 179.9 | 156.2 | 134.1 | 122.9 | 105.8 | 94.3 | 84.14 | 73.85 | 62.91 | 51.14 | 41.63 | 32.75 | 50.62 | 414.2 | 4903 | 6938 | 572.3 | 11
515 | 164 | 236.3 | 307.6 | 366.4 | 582.9 | 6464 | 2619 | 517 | 486.8 | 459.1 | 444.5 | 447.4 | 438.9 | 469.1 | 517.1 | 579 | 634.4 | 692.4 | 738.4 | 772.3 | 793.3 | 797.9 | 784.7 | 763.3 | 733.9 | 713.8 | 693.1 | 664 | 626.5 | 575.2 | 509.9 | 436.6 | 377.4 | 321.9 | 286.6 | 257.8 | 234.7 | 217.5 | 201.8 | 189.6 | 182.8 | 180.9 | 166.1 | 141.6 | 125.4 | 112.8 | 101.3 | 91.93 | 80.52 | 68.24 | 56.92 | 44.57 | 34.46 | 27.1 | 45.1 | 375.2 | 4616 | 6461 | 499.8
520 | 149.1 | 217.2 | 278.7 | 322.5 | 394 | 2657 | 5872 | 889.6 | 450.5 | 427.5 | 409.9 | 403.5 | 396.2 | 420.4 | 462.3 | 523.8 | 573.2 | 627.6 | 669.4 | 704.2 | 722.1 | 724.8 | 716.3 | 695.3 | 661.3 | 645.6 | 628.3 | 607.9 | 576 | 526.6 | 466.7 | 405.3 | 346.1 | 299.4 | 265 | 238.5 | 222.5 | 207.6 | 191 | 181.4 | 174 | 171 | 168.1 | 146.6 | 128.8 | 112.6 | 106.2 | 94.9 | 83.13 | 71.8 | 60.84 | 48.1 | 37.52 | 28.83 | 24.4 | 41.41 | 352.3 | 4238 | 6044
525 | 138.7 | 190.3 | 271 | 296.6 | 335.7 | 581 | 6710 | 2522 | 427.6 | 388.6 | 377.9 | 363.8 | 359.4 | 378.9 | 416.5 | 470.7 | 513.5 | 563.3 | 604 | 629.8 | 648.4 | 653.4 | 645.7 | 621.4 | 600.4 | 584.1 | 566.3 | 547 | 519.7 | 477.9 | 421.7 | 368.3 | 317 | 272.9 | 238.2 | 216.8 | 203.5 | 191.4 | 178.8 | 170 | 166 | 160.2 | 158.3 | 147.7 | 130.1 | 114.6 | 104.3 | 96.64 | 83.98 | 72.41 | 62.69 | 50.72 | 40.2 | 31.82 | 26.76 | 24.67 | 44.83 | 334.6 | 3997
530 | 138.1 | 166.7 | 231.1 | 284.7 | 307.5 | 364.9 | 3001 | 5469 | 810.2 | 352.7 | 350.8 | 328.1 | 321.1 | 337.1 | 366 | 422.2 | 456 | 500.2 | 541.6 | 563.7 | 577.7 | 582.3 | 575.6 | 557.8 | 536.8 | 522.3 | 510.3 | 489.4 | 466.4 | 429.3 | 383.1 | 332.1 | 281.4 | 246.3 | 221.5 | 199.6 | 186.7 | 176.9 | 164.6 | 159.7 | 153.1 | 146.6 | 142.9 | 140.6 | 131 | 113.9 | 103.6 | 93.54 | 84.12 | 74.77 | 65.54 | 56.5 | 47.67 | 39.39 | 35.23 | 33.88 | 38.34 | 60.41 | 341.9
535 | 109.6 | 157.4 | 193.2 | 260.1 | 270.7 | 319.2 | 578.8 | 6347 | 2248 | 334.6 | 304.2 | 293.8 | 286.4 | 299 | 326.4 | 367.2 | 406.6 | 439.8 | 476.8 | 501.5 | 513.4 | 515.6 | 509.4 | 487.5 | 477.2 | 467.2 | 449.9 | 434.2 | 413.2 | 386.8 | 341.6 | 294.2 | 253.2 | 224.4 | 194 | 176.5 | 169 | 161.2 | 153.8 | 146.5 | 141.8 | 136.1 | 130.5 | 125.9 | 124.6 | 112.8 | 99.47 | 91.14 | 83.37 | 76.07 | 67.91 | 62.79 | 54.77 | 49.73 | 46.14 | 47.48 | 51.77 | 63.66 | 87.01
540 | 96.06 | 138.7 | 177.4 | 231.3 | 251.6 | 282.5 | 318.8 | 2995 | 4950 | 642.2 | 267.8 | 255 | 249.8 | 257.7 | 284.9 | 321 | 354.6 | 384.4 | 416.8 | 434.5 | 442 | 444.7 | 444.6 | 429.2 | 415.6 | 400.1 | 398.5 | 380.1 | 361.8 | 336.1 | 298.2 | 261 | 222.6 | 193.7 | 172 | 156.1 | 148.6 | 139.6 | 135.6 | 130.6 | 127.7 | 124.5 | 118.7 | 113.7 | 113.4 | 108.3 | 97.68 | 89.1 | 80.19 | 74.68 | 70.98 | 66.34 | 63.87 | 58.22 | 56.6 | 62.18 | 69.36 | 83.63 | 97.58
545 | 83.34 | 118.7 | 146.9 | 206.6 | 237.7 | 257.8 | 279.3 | 525 | 5817 | 1875 | 248.5 | 220.3 | 219.9 | 218.9 | 245.4 | 273 | 300.5 | 332 | 353.1 | 370.9 | 380.8 | 386.8 | 379.9 | 368.1 | 359 | 346.9 | 342.2 | 332 | 314.9 | 291.6 | 263.4 | 227.3 | 191.4 | 165.5 | 152.9 | 140.3 | 131.6 | 124.5 | 119.4 | 117.1 | 113.8 | 111.5 | 108 | 103.6 | 99.23 | 97.9 | 94.24 | 85.08 | 77.64 | 72.98 | 71.44 | 68.01 | 66.94 | 62.95 | 64.95 | 69.55 | 80.64 | 98.61 | 111.8
550 | 82.58 | 103 | 133.5 | 157.4 | 219.1 | 220.8 | 239.8 | 275.6 | 2820 | 4234 | 530.8 | 196.6 | 186.9 | 192.2 | 207.1 | 232.2 | 250.3 | 273.3 | 297.3 | 315.9 | 321.8 | 325.1 | 322.8 | 314.2 | 303.9 | 298.2 | 291.1 | 280.9 | 268.5 | 246.6 | 228.5 | 195.8 | 165.7 | 143.7 | 128.6 | 120.4 | 113.4 | 108.8 | 103.7 | 101.8 | 101.3 | 97.95 | 93.91 | 92.87 | 86.99 | 84.48 | 84.82 | 80.26 | 73.06 | 67.6 | 68.07 | 66.57 | 66.95 | 63.65 | 66.08 | 70.7 | 84.52 | 102.7 | 117.2
555 | 65.89 | 93.4 | 119 | 137.7 | 171.8 | 209.7 | 212 | 226.7 | 443.1 | 5292 | 1580 | 173.9 | 155.9 | 160.2 | 173.7 | 190.6 | 210.5 | 233.6 | 249.3 | 257.3 | 267.2 | 267.7 | 267.8 | 263.6 | 256.5 | 251.8 | 242.4 | 238.8 | 230.6 | 211.5 | 191.8 | 165.9 | 141.3 | 123.3 | 110.7 | 102.8 | 97.67 | 92.28 | 91.01 | 88.84 | 85.92 | 86.86 | 83.08 | 81.34 | 76.08 | 73.14 | 72.41 | 72.37 | 66.74 | 62.27 | 61.94 | 60.83 | 62.37 | 59.51 | 62 | 68.98 | 79.81 | 95.55 | 111.4
560 | 63.07 | 81.01 | 103 | 111.8 | 155.8 | 185.2 | 189.2 | 190.4 | 211.7 | 2738 | 3730 | 406.9 | 129.9 | 133.6 | 143.9 | 158.7 | 177.1 | 187.3 | 201.3 | 213.3 | 219.6 | 224 | 220.8 | 214.2 | 211.2 | 207.7 | 205.1 | 199 | 191.9 | 175.3 | 162.4 | 139.9 | 120.8 | 104.8 | 93 | 86.59 | 82.98 | 79.29 | 76.06 | 75.11 | 73.33 | 72.44 | 70.55 | 67.29 | 65.51 | 62.42 | 59.69 | 60.53 | 58.86 | 54.19 | 52.09 | 52.74 | 52.33 | 50.77 | 52.26 | 57.29 | 67.49 | 81.95 | 95.71
565 | 63.08 | 77.46 | 82.18 | 98.54 | 122.9 | 167.1 | 178.4 | 187.2 | 188.4 | 412.9 | 4821 | 1341 | 117.8 | 108.2 | 116.9 | 127.7 | 142.5 | 153.4 | 163.8 | 175.7 | 181.2 | 181.2 | 180.8 | 176.7 | 174.6 | 173.2 | 167 | 166.6 | 157.3 | 147.4 | 133.4 | 115.4 | 100.2 | 88.47 | 75.96 | 70.86 | 67.83 | 65.68 | 64.77 | 63.11 | 63.07 | 60.93 | 58.8 | 58.77 | 55.55 | 53.38 | 51.59 | 49.33 | 50.36 | 46.68 | 45.45 | 43.99 | 44.03 | 42.72 | 43.82 | 46.64 | 55.06 | 66.13 | 79.22
570 | 94.49 | 84.27 | 76.06 | 89.46 | 109.6 | 154.2 | 194.2 | 211.6 | 230.9 | 258.5 | 2578 | 3346 | 322.1 | 91.86 | 92.72 | 102 | 113 | 124.8 | 132.8 | 139.7 | 143.9 | 146.5 | 147.1 | 143.4 | 140 | 139.3 | 137 | 133.8 | 130.5 | 122.1 | 112.5 | 97.99 | 82.87 | 73.22 | 63.83 | 61.35 | 55.89 | 56.12 | 53.21 | 52.28 | 51.81 | 51.51 | 50.09 | 47.48 | 45.64 | 44.04 | 42.59 | 40.45 | 40.45 | 39.36 | 37.14 | 35.84 | 35.01 | 33.3 | 35.86 | 37.41 | 43.66 | 52.8 | 59.99
575 | 119.5 | 104.3 | 79.68 | 82.44 | 115.2 | 150.1 | 227.9 | 276.4 | 329.8 | 351.5 | 502.6 | 4715 | 1165 | 82.33 | 77.18 | 82.99 | 90.03 | 102.5 | 108 | 111.9 | 116.4 | 118.3 | 118.1 | 116.4 | 114.8 | 113.5 | 111.5 | 111.4 | 108.1 | 100.7 | 91.91 | 81.54 | 68.8 | 60.65 | 54.66 | 50.65 | 47.4 | 45.42 | 44.77 | 42.82 | 42.22 | 43.17 | 41.53 | 39.17 | 39.22 | 36.51 | 33.58 | 33.23 | 31.56 | 30.27 | 31.66 | 29.64 | 28 | 27.41 | 26.88 | 28.85 | 34.21 | 40.81 | 45.26
580 | 164.5 | 114.6 | 77.21 | 77.92 | 107.6 | 160.9 | 256.8 | 354 | 428.6 | 461.9 | 411.5 | 2571 | 3199 | 260.9 | 62.6 | 66.79 | 75.35 | 79.53 | 85.78 | 91.61 | 93.18 | 94.61 | 95.94 | 96.17 | 94.01 | 93.9 | 90.95 | 91.89 | 87.61 | 83.01 | 77.55 | 66.37 | 57.15 | 51.01 | 45.71 | 41.34 | 40.07 | 37.62 | 36.1 | 34.64 | 35.4 | 35.81 | 34.04 | 32.51 | 31.7 | 30.79 | 28.88 | 28.16 | 25.8 | 25.42 | 25.63 | 25.34 | 22.94 | 21.22 | 21.38 | 23.05 | 27.49 | 32.11 | 36.03
585 | 202.4 | 130.8 | 88.45 | 80.29 | 119.8 | 175 | 287.6 | 436.6 | 533.5 | 566.2 | 492.4 | 487.9 | 4506 | 1044 | 56.66 | 55.96 | 61.2 | 66.54 | 68.77 | 74.07 | 77.23 | 78 | 77.22 | 77.02 | 76.78 | 75 | 75.81 | 76.05 | 74.3 | 71.16 | 64.2 | 55.84 | 49.9 | 42.79 | 38.44 | 35.87 | 33.49 | 33 | 31.67 | 29.83 | 29.21 | 28.25 | 29.68 | 27.32 | 26.4 | 24.73 | 24.32 | 22.48 | 21.41 | 20.72 | 19.96 | 20.24 | 19.23 | 17.68 | 17.09 | 18.38 | 21.65 | 24.99 | 30.19
590 | 214.3 | 154.3 | 92.45 | 82.12 | 116.5 | 193.2 | 306 | 482.4 | 621.1 | 662.8 | 572.4 | 332 | 2304 | 3050 | 214.8 | 46.51 | 48.78 | 54.33 | 57.1 | 60.71 | 60.73 | 62.38 | 60.42 | 62.86 | 62.35 | 62.53 | 62.06 | 62.97 | 61.54 | 57.57 | 53.47 | 46.89 | 42.68 | 35.97 | 33 | 31.43 | 29.6 | 27.15 | 26.94 | 25.18 | 24.46 | 24.45 | 23.87 | 22.04 | 21.94 | 21.04 | 20.3 | 18.59 | 17.34 | 17.17 | 17.12 | 17.05 | 16.1 | 14.97 | 13.99 | 15.3 | 18.19 | 20.71 | 24.53
595 | 242.2 | 169.1 | 89.37 | 87.34 | 123.7 | 204.3 | 320.9 | 512.6 | 688 | 732.5 | 634.6 | 356.2 | 316.4 | 4161 | 1000 | 42.96 | 42.35 | 44.05 | 45.76 | 49.2 | 50.31 | 51.08 | 51.17 | 50.87 | 51.44 | 52.56 | 53.06 | 52.94 | 51.61 | 48.2 | 45.35 | 41.8 | 34.61 | 32.14 | 28.73 | 26.52 | 26.63 | 23.63 | 22.1 | 20.81 | 20.21 | 20.23 | 19.67 | 19.38 | 19.27 | 17.45 | 16.72 | 15.79 | 15.01 | 14 | 13.39 | 13.33 | 13.53 | 13.54 | 12.39 | 12.69 | 14.58 | 17.46 | 19.99
600 | 261.3 | 187.4 | 104.2 | 84.21 | 123 | 200.4 | 338.7 | 527.4 | 719.9 | 761 | 675.7 | 385.6 | 144.6 | 2147 | 3086 | 152.4 | 34.39 | 36.06 | 38.65 | 41.43 | 41.59 | 43.16 | 42.46 | 42.41 | 42.38 | 42.54 | 43.32 | 44.46 | 44.23 | 41.36 | 37.5 | 35.31 | 30.43 | 27.14 | 24.14 | 22.6 | 22.66 | 20.65 | 19.16 | 17.52 | 17.59 | 17.02 | 16.56 | 16.36 | 15.42 | 15.03 | 14.23 | 13.98 | 13.18 | 11.72 | 11.05 | 10.54 | 10.58 | 11.49 | 11.3 | 11.33 | 12.49 | 15.46 | 17.04