## Sheet1
Report date: | 15:30:01, 09/02/2024
Sample: | 1
File name:
Run date: | 15:19:37, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 221.3
2 | 250.0/430.0 | 1299
3 | 250.0/440.0 | 1300
4 | 255.0/280.0 | 255.2
5 | 275.0/365.0 | 4687
6 | 325.0/435.0 | 1934
7 | 390.0/275.0 | 7.635
8 | 395.0/280.0 | 7.298
9 | 400.0/285.0 | 6.963
10 | 405.0/290.0 | 6.348
11 | 410.0/295.0 | 6.005
12 | 410.0/480.0 | 142.7
13 | 415.0/300.0 | 6.06
14 | 420.0/305.0 | 5.954
15 | 425.0/310.0 | 5.475
16 | 435.0/515.0 | 258.3
17 | 440.0/520.0 | 266.5
18 | 445.0/525.0 | 260.6
19 | 460.0/340.0 | 7.63
20 | 510.0/280.0 | 4.317
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 39.31 | 27.41 | 43.07 | 199.2 | 114.6 | 39.92 | 136.7 | 9999.9 | 9999.9 | 4368 | 36.74 | 15.47 | 11.49 | 8.129 | 7.428 | 6.759 | 4.989 | 4.784 | 4.453 | 4.086 | 4.609 | 4.246 | 4.469 | 4.685 | 4.59 | 4.638 | 5.197 | 4.427 | 5.113 | 5.569 | 6.874 | 7.782 | 6.258 | 5.211 | 4.777 | 4.378 | 5.274 | 5.64 | 4.749 | 4.212 | 3.726 | 3.325 | 3.537 | 3.334 | 2.892 | 2.821 | 1.988 | 1.951 | 1.901 | 1.638 | 1.976 | 1.992 | 3.261 | 3.22 | 2.308 | 1.734 | 1.819 | 1.43 | 1.568
275 | 51.12 | 23.68 | 27.17 | 75.24 | 221.3 | 101.1 | 61.5 | 768.7 | 9999.9 | 9999.9 | 3916 | 30.26 | 14.58 | 11.41 | 9.011 | 6.802 | 5.497 | 5.453 | 4.853 | 4.327 | 4.241 | 4.91 | 4.315 | 4.641 | 4.475 | 4.464 | 4.602 | 4.506 | 5.062 | 4.788 | 5.264 | 6.589 | 7.635 | 6.991 | 5.426 | 4.771 | 4.754 | 4.904 | 5.26 | 4.516 | 3.915 | 3.314 | 3.365 | 3.482 | 3.287 | 2.977 | 2.688 | 2.212 | 2.048 | 1.569 | 1.681 | 1.793 | 1.873 | 2.449 | 3.536 | 2.944 | 2.187 | 1.891 | 1.628
280 | 56.8 | 42.23 | 34.86 | 37.85 | 124.7 | 255.2 | 108.1 | 126.7 | 777.4 | 9999.9 | 9999.9 | 3540 | 30.03 | 14.23 | 9.904 | 8.171 | 6.91 | 5.601 | 5.503 | 5.793 | 4.569 | 4.876 | 5.008 | 5.084 | 4.801 | 4.569 | 5.151 | 4.955 | 4.689 | 5.098 | 5.007 | 5.082 | 6.112 | 7.298 | 6.533 | 4.666 | 4.175 | 4.321 | 4.879 | 4.616 | 4.346 | 4.001 | 3.416 | 3.247 | 3.406 | 3.283 | 2.999 | 2.564 | 2.109 | 1.674 | 1.688 | 1.871 | 1.786 | 1.746 | 2.188 | 3.396 | 4.317 | 3.428 | 2.299
285 | 149.6 | 78.99 | 52.08 | 50.05 | 69.38 | 205.4 | 303.8 | 181 | 222.2 | 873.6 | 9999.9 | 9999.9 | 3287 | 27.91 | 15.35 | 10.63 | 7.604 | 6.913 | 6.105 | 5.122 | 4.881 | 5.371 | 4.885 | 4.799 | 4.772 | 5.466 | 4.93 | 4.883 | 5.355 | 4.887 | 4.76 | 4.817 | 5.257 | 6.066 | 6.963 | 6.086 | 4.692 | 4.546 | 4.397 | 4.646 | 5.137 | 4.685 | 4.063 | 3.949 | 3.475 | 3.639 | 3.315 | 2.706 | 2.504 | 1.89 | 1.732 | 1.937 | 1.899 | 1.924 | 1.888 | 2.019 | 2.763 | 4.068 | 4.414
290 | 353.8 | 188.8 | 108.1 | 89.8 | 105 | 162.3 | 403.1 | 483.4 | 414.5 | 456.9 | 1039 | 9999.9 | 9999.9 | 3149 | 25.75 | 13.45 | 9.958 | 8.391 | 6.759 | 6.482 | 5.605 | 5.395 | 4.99 | 5.381 | 5.544 | 5.385 | 4.965 | 5.482 | 5.528 | 5.304 | 5.093 | 4.5 | 4.557 | 4.837 | 5.953 | 6.348 | 5.68 | 4.626 | 4.485 | 4.145 | 4.28 | 4.732 | 4.497 | 4.361 | 4.165 | 3.934 | 3.797 | 3.508 | 2.906 | 2.33 | 2.156 | 2.148 | 1.981 | 2.122 | 2.15 | 2.426 | 2.69 | 3.4 | 4.524
295 | 620.2 | 356.9 | 234.7 | 192.6 | 214 | 288.8 | 425.5 | 778.5 | 806.5 | 733.8 | 670.8 | 1070 | 9999.9 | 9999.9 | 2833 | 24.95 | 12.84 | 9.979 | 8.506 | 7.06 | 6.399 | 5.753 | 5.664 | 5.488 | 5.019 | 5.973 | 5.649 | 5.252 | 6.033 | 4.822 | 4.847 | 4.524 | 4.797 | 4.403 | 4.82 | 5.647 | 6.005 | 5.677 | 4.552 | 4.182 | 4.177 | 4.922 | 4.972 | 4.973 | 4.99 | 4.798 | 4.642 | 4.001 | 3.805 | 3.917 | 3.303 | 2.749 | 2.69 | 2.45 | 3.059 | 3.168 | 3.462 | 3.693 | 4.641
300 | 822.6 | 542 | 381.9 | 341.9 | 385.3 | 486.3 | 615.9 | 841.1 | 1240 | 1112 | 919.4 | 622.5 | 937.3 | 9999.9 | 9999.9 | 2545 | 24.17 | 12.92 | 10.32 | 9.201 | 7.636 | 6.69 | 6.145 | 5.763 | 5.778 | 6.016 | 5.886 | 5.476 | 5.837 | 5.238 | 5.145 | 4.377 | 4.597 | 4.33 | 4.161 | 4.426 | 5.588 | 6.06 | 5.62 | 4.543 | 4.331 | 4.994 | 4.716 | 5.583 | 5.185 | 5.452 | 5.1 | 4.59 | 4.409 | 4.458 | 4.138 | 3.952 | 3.51 | 3.675 | 4.088 | 3.7 | 4.357 | 5.804 | 6.132
305 | 1018 | 715.1 | 534.7 | 487.9 | 576.6 | 717.9 | 874.1 | 1072 | 1343 | 1567 | 1221 | 798.8 | 424.9 | 871.4 | 9999.9 | 9999.9 | 2366 | 23.4 | 12.99 | 11.32 | 8.959 | 8.051 | 7.238 | 6.896 | 6.183 | 5.769 | 6.347 | 6.011 | 6.393 | 5.677 | 5.129 | 4.753 | 4.453 | 4.406 | 4.276 | 4.33 | 4.187 | 5.104 | 5.954 | 5.147 | 4.752 | 4.459 | 4.882 | 5.414 | 5.928 | 6.037 | 5.642 | 5.132 | 5.087 | 5.269 | 5.222 | 4.517 | 4.429 | 4.725 | 5.058 | 5.836 | 6.681 | 7.11 | 7.955
310 | 1157 | 841.2 | 732.1 | 719.1 | 855.3 | 1041 | 1207 | 1410 | 1559 | 1706 | 1635 | 1037 | 555.9 | 298.1 | 804 | 9999.9 | 9999.9 | 2403 | 21.78 | 14.43 | 10.12 | 9.323 | 7.94 | 7.269 | 6.389 | 7.396 | 5.574 | 6.264 | 6.126 | 5.561 | 5.149 | 5.071 | 4.575 | 4.625 | 3.992 | 4.169 | 3.787 | 4.734 | 5.291 | 5.475 | 5.421 | 4.458 | 4.832 | 5.184 | 5.823 | 6.872 | 6.181 | 5.557 | 5.598 | 5.86 | 5.679 | 5.705 | 5.781 | 6.042 | 6.865 | 7.955 | 9.019 | 9.82 | 10.65
315 | 1238 | 972.8 | 858.1 | 912 | 1121 | 1372 | 1598 | 1798 | 1877 | 1847 | 1806 | 1397 | 747.3 | 387.7 | 241.2 | 791.8 | 9999.9 | 9999.9 | 2212 | 20.94 | 13.9 | 12.49 | 9.255 | 8.292 | 7.731 | 7.374 | 6.74 | 6.279 | 6.591 | 5.416 | 5.884 | 4.991 | 4.994 | 4.488 | 4.276 | 3.821 | 3.633 | 3.613 | 4.26 | 4.681 | 5.648 | 5.504 | 4.951 | 5.473 | 5.461 | 6.382 | 6.817 | 6.126 | 6.051 | 6.231 | 6.441 | 6.883 | 7.376 | 7.228 | 8.707 | 9.097 | 10.89 | 12.38 | 13.98
320 | 1275 | 1016 | 949.9 | 1100 | 1350 | 1696 | 1952 | 2142 | 2165 | 2083 | 1904 | 1655 | 1083 | 551 | 296 | 207.3 | 771.4 | 9999.9 | 9999.9 | 2324 | 22.23 | 15.08 | 11.91 | 9.893 | 8.558 | 8.498 | 7.985 | 6.855 | 7.068 | 6.362 | 5.555 | 5.296 | 4.665 | 4.246 | 4.561 | 4.235 | 3.565 | 3.84 | 3.498 | 4.053 | 5.292 | 5.653 | 5.247 | 5.588 | 5.696 | 6.209 | 7.068 | 6.841 | 6.452 | 6.546 | 6.736 | 7.15 | 8.421 | 8.817 | 10.25 | 12.11 | 13.25 | 14.81 | 17.27
325 | 1273 | 1050 | 1045 | 1230 | 1572 | 1946 | 2277 | 2493 | 2506 | 2384 | 2176 | 1792 | 1423 | 799.9 | 415.1 | 236.4 | 168.4 | 754.3 | 9999.9 | 9999.9 | 2282 | 23.62 | 16.07 | 12.78 | 10.21 | 10.15 | 7.904 | 7.924 | 7.262 | 6.555 | 6.307 | 5.518 | 5.031 | 4.466 | 4.953 | 4.069 | 4.008 | 4.159 | 3.911 | 3.522 | 4.871 | 5.196 | 5.856 | 5.804 | 5.774 | 6.168 | 6.183 | 6.823 | 6.677 | 6.588 | 7.63 | 7.709 | 8.635 | 9.699 | 11.09 | 13.75 | 15.01 | 17.06 | 18.84
330 | 1360 | 1110 | 1088 | 1313 | 1741 | 2210 | 2610 | 2851 | 2867 | 2701 | 2485 | 2080 | 1558 | 1114 | 596.7 | 312.2 | 170.3 | 129.7 | 734.4 | 9999.9 | 9999.9 | 2511 | 25.93 | 17.42 | 14.14 | 11.59 | 9.11 | 9.002 | 8.479 | 7.266 | 6.459 | 6.165 | 4.995 | 5.101 | 4.457 | 4.302 | 3.779 | 4.634 | 3.686 | 4.032 | 3.836 | 4.583 | 5.417 | 6.128 | 6.444 | 6.781 | 6.301 | 6.667 | 6.609 | 7.298 | 7.45 | 8.478 | 8.956 | 10.7 | 12.44 | 14.9 | 17 | 19.15 | 21.63
335 | 1417 | 1099 | 1144 | 1411 | 1902 | 2452 | 2924 | 3237 | 3273 | 3089 | 2862 | 2450 | 1838 | 1253 | 877.6 | 437.5 | 220.7 | 116.6 | 103.6 | 738.2 | 9999.9 | 9999.9 | 2923 | 28.13 | 20.63 | 15.56 | 11.73 | 10.42 | 9.58 | 7.865 | 7.169 | 6.04 | 5.98 | 5.076 | 4.602 | 4.288 | 4.228 | 4.22 | 4.094 | 3.573 | 3.979 | 4.369 | 4.691 | 6.323 | 6.559 | 7.198 | 6.571 | 6.337 | 6.153 | 7.325 | 7.997 | 8.477 | 9.628 | 11.79 | 13.82 | 16.14 | 18.34 | 21.31 | 23.93
340 | 1442 | 1171 | 1198 | 1466 | 2014 | 2604 | 3187 | 3552 | 3668 | 3524 | 3282 | 2819 | 2149 | 1434 | 985.2 | 663.1 | 299.5 | 148.2 | 84.59 | 95.59 | 748.1 | 9999.9 | 9999.9 | 3236 | 31.26 | 22.99 | 16.73 | 13.72 | 10.93 | 9.796 | 8.135 | 6.84 | 5.994 | 5.633 | 4.903 | 4.564 | 4.143 | 3.888 | 4.051 | 3.809 | 4.227 | 4.17 | 4.869 | 5.528 | 6.718 | 7.59 | 7.63 | 6.503 | 6.454 | 7.351 | 7.805 | 9.369 | 10.05 | 11.45 | 13.96 | 17.09 | 19.39 | 21.78 | 24.9
345 | 1461 | 1158 | 1206 | 1518 | 2057 | 2730 | 3379 | 3894 | 4005 | 3921 | 3687 | 3205 | 2491 | 1692 | 1083 | 768.1 | 462.8 | 196.9 | 107.3 | 72.32 | 95.5 | 771.3 | 9999.9 | 9999.9 | 3803 | 36.51 | 23.81 | 19.34 | 14.87 | 11.06 | 8.982 | 7.713 | 6.466 | 5.886 | 5.657 | 5.148 | 4.534 | 4.431 | 4.306 | 4.268 | 4.218 | 4.702 | 4.979 | 5.458 | 5.7 | 6.719 | 7.599 | 7.228 | 6.859 | 7.329 | 7.454 | 9.7 | 10.78 | 12.93 | 15.37 | 17.58 | 20.36 | 24.05 | 27.02
350 | 1463 | 1151 | 1188 | 1529 | 2131 | 2870 | 3538 | 4112 | 4323 | 4288 | 4019 | 3539 | 2785 | 1921 | 1243 | 780.1 | 584.4 | 326 | 143.9 | 93.72 | 73.18 | 104.1 | 775.2 | 9999.9 | 9999.9 | 4669 | 39.23 | 26.5 | 21.92 | 14.64 | 11.18 | 9.49 | 8.103 | 6.939 | 6.642 | 5.556 | 4.903 | 4.801 | 4.8 | 4.632 | 4.221 | 4.524 | 4.983 | 5.429 | 5.701 | 7.001 | 6.991 | 7.29 | 6.765 | 7.258 | 7.925 | 8.841 | 10.35 | 12.68 | 15.18 | 18.13 | 21.17 | 24.68 | 28.85
355 | 1471 | 1137 | 1205 | 1525 | 2128 | 2908 | 3660 | 4282 | 4577 | 4544 | 4292 | 3784 | 3018 | 2124 | 1405 | 883.7 | 561.7 | 453.4 | 236.9 | 130.9 | 100.3 | 85.27 | 115 | 815.9 | 9999.9 | 9999.9 | 4795 | 41.82 | 29.91 | 21.1 | 15.11 | 10.15 | 9.261 | 7.367 | 6.735 | 5.624 | 5.402 | 5.258 | 4.958 | 4.603 | 4.408 | 4.472 | 4.992 | 5.999 | 6.142 | 6.751 | 6.7 | 6.752 | 7.2 | 7.518 | 7.796 | 8.685 | 10.05 | 12.26 | 14.99 | 17.5 | 21.53 | 25.35 | 28.4
360 | 1447 | 1135 | 1177 | 1492 | 2082 | 2869 | 3626 | 4286 | 4654 | 4682 | 4452 | 3928 | 3158 | 2263 | 1524 | 989.2 | 610.2 | 430.2 | 381.2 | 209.6 | 140.7 | 115.5 | 96.32 | 124.9 | 815.4 | 9999.9 | 9999.9 | 5572 | 46.19 | 28.1 | 21.39 | 13.57 | 10.2 | 8.086 | 7.914 | 6.195 | 5.411 | 5.367 | 5.209 | 5.054 | 5.217 | 4.885 | 5.576 | 5.647 | 5.907 | 5.997 | 6.429 | 6.391 | 6.401 | 7.579 | 8.788 | 9.18 | 9.613 | 11.97 | 15 | 18.62 | 20.93 | 24.68 | 28.87
365 | 1395 | 1114 | 1154 | 1442 | 2033 | 2757 | 3510 | 4225 | 4603 | 4687 | 4471 | 3940 | 3222 | 2338 | 1607 | 1054 | 680.7 | 444.6 | 393.1 | 361.5 | 207.3 | 155.7 | 130.8 | 108 | 130.2 | 878.1 | 9999.9 | 9999.9 | 6029 | 46.35 | 29.5 | 20.27 | 13.9 | 9.964 | 8.742 | 7.015 | 6.846 | 5.632 | 5.702 | 5.198 | 5.177 | 5.123 | 5.73 | 5.944 | 5.866 | 6.222 | 6.314 | 5.923 | 6.344 | 7.801 | 8.841 | 8.697 | 9.228 | 11.33 | 13.79 | 16.72 | 20.58 | 24.1 | 27.6
370 | 1393 | 1084 | 1079 | 1356 | 1900 | 2614 | 3337 | 4036 | 4418 | 4538 | 4353 | 3870 | 3199 | 2363 | 1654 | 1126 | 749.8 | 517.5 | 398 | 418.1 | 358.9 | 231 | 182.8 | 148.1 | 121.4 | 143.6 | 899.2 | 9999.9 | 9999.9 | 5949 | 44.89 | 28.44 | 19.23 | 13.13 | 9.898 | 8.366 | 7.149 | 6.542 | 6.06 | 5.628 | 5.598 | 5.326 | 5.529 | 5.934 | 6.094 | 6.551 | 6.187 | 5.935 | 5.83 | 6.744 | 7.078 | 8.628 | 10.14 | 11.35 | 13.43 | 16.1 | 19.63 | 22.97 | 25.97
375 | 1261 | 1012 | 1039 | 1282 | 1776 | 2391 | 3106 | 3735 | 4133 | 4309 | 4126 | 3701 | 3087 | 2323 | 1652 | 1164 | 809.4 | 590.7 | 470.4 | 417.5 | 476.7 | 375.1 | 262.7 | 213.2 | 170.9 | 135.4 | 157.4 | 939.4 | 9999.9 | 9999.9 | 6024 | 43.53 | 25.98 | 18.68 | 12.85 | 9.209 | 8.137 | 7.223 | 6.002 | 5.993 | 5.89 | 5.663 | 5.648 | 5.847 | 5.515 | 6.071 | 5.964 | 5.705 | 5.752 | 6.516 | 6.95 | 8.241 | 9.399 | 10.55 | 12.93 | 15.53 | 17.21 | 21.48 | 24.15
380 | 1222 | 1002 | 1011 | 1221 | 1631 | 2196 | 2800 | 3395 | 3801 | 3953 | 3829 | 3501 | 2944 | 2250 | 1661 | 1209 | 886 | 690.6 | 573.7 | 502.2 | 498.5 | 537.4 | 410.5 | 302 | 250.7 | 196.5 | 153.9 | 166.6 | 972.7 | 9999.9 | 9999.9 | 5693 | 40.34 | 26.12 | 18.58 | 12.79 | 9.068 | 7.627 | 7.05 | 6.124 | 5.91 | 5.689 | 5.622 | 5.4 | 5.642 | 5.891 | 6.246 | 5.696 | 5.818 | 6.171 | 7.011 | 7.568 | 8.939 | 10.94 | 12.1 | 14.51 | 16.02 | 20.42 | 21.88
385 | 1168 | 933.3 | 961.1 | 1147 | 1507 | 1961 | 2529 | 3089 | 3425 | 3596 | 3522 | 3247 | 2762 | 2181 | 1667 | 1257 | 978.4 | 796.9 | 697.4 | 645.4 | 593.5 | 602.1 | 613.5 | 447.6 | 354.5 | 283.6 | 222.8 | 162.5 | 170.4 | 970 | 9999.9 | 9999.9 | 5354 | 39.01 | 24.2 | 16.91 | 11.14 | 8.97 | 7.764 | 6.911 | 6.642 | 5.873 | 5.525 | 5.705 | 6.083 | 5.967 | 5.695 | 5.287 | 5.521 | 5.715 | 6.323 | 7.431 | 8.389 | 10.12 | 11.39 | 13.06 | 15.05 | 17.42 | 19.66
390 | 1074 | 923.7 | 945.8 | 1102 | 1401 | 1809 | 2271 | 2748 | 3072 | 3254 | 3208 | 2991 | 2610 | 2112 | 1679 | 1330 | 1081 | 940.2 | 847.7 | 801.3 | 755.1 | 720.9 | 722.3 | 679.1 | 501.8 | 391.3 | 307.8 | 226.3 | 154.2 | 160.1 | 912.2 | 9999.9 | 9999.9 | 5417 | 38.6 | 22.38 | 16.98 | 11.41 | 9.154 | 7.395 | 6.669 | 6.293 | 5.919 | 6.17 | 5.664 | 5.898 | 5.987 | 5.23 | 5.057 | 6.186 | 6.827 | 7.109 | 8.187 | 8.802 | 11.08 | 12.24 | 14.46 | 15.49 | 18.38
395 | 1113 | 942.2 | 958.4 | 1082 | 1341 | 1665 | 2006 | 2425 | 2768 | 2966 | 2936 | 2785 | 2494 | 2081 | 1693 | 1411 | 1206 | 1084 | 1016 | 983.5 | 940 | 886 | 832.5 | 828.7 | 710.2 | 524.5 | 406.2 | 299.5 | 203 | 133.5 | 142.3 | 949.2 | 9999.9 | 9999.9 | 5147 | 33.94 | 22.21 | 15.15 | 11.04 | 8.342 | 7.613 | 7.175 | 6.193 | 6.325 | 6.131 | 5.756 | 5.696 | 5.466 | 5.762 | 5.881 | 6.97 | 7.193 | 8.299 | 8.762 | 9.772 | 11.18 | 13.35 | 15.31 | 17.3
400 | 1091 | 961.4 | 974.8 | 1057 | 1276 | 1527 | 1821 | 2175 | 2487 | 2668 | 2702 | 2605 | 2381 | 2048 | 1741 | 1508 | 1345 | 1245 | 1206 | 1166 | 1137 | 1077 | 1001 | 930.7 | 889.6 | 708.7 | 524.6 | 378.6 | 258.9 | 167.6 | 111.5 | 129.5 | 884.5 | 9999.9 | 9999.9 | 4385 | 33.23 | 19.62 | 14.45 | 10.1 | 8.048 | 7.507 | 6.47 | 6.476 | 6.297 | 6.108 | 5.936 | 5.457 | 5.419 | 6.228 | 6.6 | 6.922 | 7.481 | 8.73 | 9.451 | 10.65 | 12.08 | 14.39 | 14.89
405 | 1047 | 971.5 | 1007 | 1087 | 1257 | 1433 | 1659 | 1970 | 2230 | 2423 | 2508 | 2457 | 2298 | 2023 | 1782 | 1594 | 1477 | 1406 | 1381 | 1355 | 1321 | 1268 | 1180 | 1061 | 968.8 | 894.7 | 664.4 | 468.4 | 317.4 | 208.1 | 132.8 | 89.22 | 115.1 | 844.5 | 9999.9 | 9999.9 | 4527 | 31.37 | 19.41 | 14.5 | 10.03 | 7.646 | 7.15 | 6.783 | 6.364 | 6.206 | 5.783 | 5.862 | 5.919 | 6.205 | 6.415 | 7.109 | 7.47 | 7.965 | 9.11 | 9.641 | 11.68 | 12.54 | 15.13
410 | 1036 | 1001 | 1049 | 1113 | 1232 | 1366 | 1537 | 1759 | 2032 | 2217 | 2317 | 2331 | 2202 | 2025 | 1828 | 1678 | 1600 | 1553 | 1546 | 1525 | 1501 | 1430 | 1343 | 1215 | 1073 | 963.7 | 836.5 | 567.2 | 377 | 248.8 | 159.6 | 104.5 | 74.13 | 105.4 | 840.6 | 9999.9 | 9999.9 | 4084 | 30.48 | 17.98 | 13.58 | 9.483 | 7.745 | 7.189 | 6.432 | 6.445 | 6.108 | 5.375 | 5.738 | 6.76 | 7.121 | 7.558 | 7.637 | 8.028 | 8.98 | 10.26 | 11.24 | 11.72 | 13.3
415 | 1020 | 1029 | 1084 | 1136 | 1256 | 1333 | 1439 | 1628 | 1833 | 2057 | 2167 | 2219 | 2152 | 2007 | 1867 | 1756 | 1692 | 1661 | 1679 | 1675 | 1646 | 1578 | 1479 | 1351 | 1189 | 1017 | 895.6 | 701 | 443.8 | 287.7 | 188.4 | 124.4 | 85.8 | 63.52 | 99.34 | 850.4 | 9999.9 | 9999.9 | 3880 | 29.07 | 17.24 | 13.3 | 9.214 | 7.652 | 6.982 | 6.857 | 6.168 | 6.142 | 6.171 | 7.207 | 7.097 | 7.424 | 7.864 | 7.834 | 9.314 | 9.311 | 10.26 | 11.15 | 11.61
420 | 1022 | 1034 | 1096 | 1193 | 1252 | 1290 | 1366 | 1507 | 1692 | 1893 | 2038 | 2110 | 2079 | 1981 | 1887 | 1799 | 1772 | 1759 | 1776 | 1773 | 1752 | 1696 | 1593 | 1453 | 1275 | 1088 | 901.1 | 768.3 | 540.9 | 330.1 | 215.2 | 142.4 | 99.37 | 70.15 | 56.3 | 94.89 | 854.4 | 9999.9 | 9999.9 | 3568 | 27.59 | 16.6 | 12.15 | 9.608 | 7.837 | 7.09 | 6.566 | 6.381 | 6.079 | 7.244 | 7.069 | 7.718 | 7.293 | 8.389 | 9.417 | 9.684 | 10.18 | 11.01 | 11.28
425 | 984.9 | 1049 | 1135 | 1249 | 1285 | 1265 | 1282 | 1387 | 1554 | 1767 | 1920 | 2012 | 2003 | 1951 | 1871 | 1836 | 1817 | 1827 | 1847 | 1855 | 1835 | 1781 | 1678 | 1522 | 1340 | 1136 | 935.6 | 753.7 | 620.2 | 391.5 | 242.2 | 164.5 | 114.3 | 83.22 | 61.87 | 51.74 | 92.25 | 857.7 | 9999.9 | 9999.9 | 3309 | 26.51 | 15.79 | 12.81 | 9.094 | 7.991 | 6.923 | 6.303 | 6.454 | 7.087 | 7.537 | 7.426 | 7.849 | 8.451 | 9.144 | 9.551 | 10.12 | 10.69 | 11.58
430 | 981.5 | 1051 | 1183 | 1237 | 1299 | 1261 | 1237 | 1305 | 1456 | 1654 | 1796 | 1922 | 1939 | 1914 | 1879 | 1844 | 1841 | 1867 | 1878 | 1903 | 1896 | 1839 | 1735 | 1578 | 1396 | 1185 | 973.1 | 760.4 | 603.5 | 468.8 | 288.4 | 185.7 | 132.2 | 97.78 | 72.54 | 55.64 | 48.9 | 90.71 | 825.9 | 9999.9 | 9999.9 | 3390 | 25.17 | 16.72 | 12.11 | 8.687 | 8.077 | 6.944 | 6.298 | 7.289 | 7.631 | 7.966 | 7.9 | 8.662 | 9.304 | 9.687 | 10.58 | 10.54 | 11.07
435 | 986.2 | 1071 | 1155 | 1273 | 1290 | 1257 | 1194 | 1223 | 1363 | 1553 | 1730 | 1822 | 1876 | 1862 | 1846 | 1847 | 1845 | 1881 | 1916 | 1934 | 1931 | 1865 | 1763 | 1614 | 1430 | 1221 | 1001 | 784.9 | 586 | 469.4 | 357.8 | 215 | 149 | 111.2 | 84.46 | 65.25 | 51.28 | 45.67 | 86.16 | 846.2 | 9999.9 | 9999.9 | 3103 | 23.96 | 15.21 | 12.02 | 8.589 | 7.692 | 7.124 | 7.549 | 8.309 | 8.082 | 8.173 | 8.751 | 9.353 | 9.973 | 9.515 | 10.36 | 9.97
440 | 939.8 | 1040 | 1174 | 1275 | 1300 | 1226 | 1157 | 1159 | 1283 | 1459 | 1624 | 1737 | 1797 | 1808 | 1812 | 1816 | 1825 | 1867 | 1909 | 1930 | 1918 | 1861 | 1766 | 1620 | 1434 | 1226 | 1006 | 789.7 | 593.2 | 443.1 | 375.7 | 269.2 | 169.7 | 125.5 | 98.01 | 74.58 | 59.43 | 47.35 | 41.32 | 84.48 | 818.4 | 9999.9 | 9999.9 | 3090 | 23.45 | 15.41 | 11.86 | 8.941 | 7.413 | 7.849 | 8.463 | 8.251 | 8.324 | 9.242 | 9.651 | 9.492 | 9.34 | 10.21 | 9.552
445 | 963.9 | 1034 | 1153 | 1255 | 1294 | 1217 | 1103 | 1103 | 1194 | 1358 | 1497 | 1632 | 1696 | 1748 | 1738 | 1754 | 1781 | 1814 | 1861 | 1888 | 1891 | 1832 | 1737 | 1584 | 1402 | 1205 | 1003 | 786.1 | 594.5 | 436.6 | 343.9 | 304.8 | 210 | 137.9 | 109.7 | 86.87 | 68.12 | 53.44 | 41.52 | 37.25 | 80.21 | 815.5 | 9999.9 | 9999.9 | 2764 | 23.71 | 14.86 | 11.34 | 8.927 | 8.417 | 7.985 | 8.344 | 8.697 | 9.171 | 9.534 | 9.624 | 9.737 | 9.805 | 9.388
450 | 1330 | 981.8 | 1122 | 1217 | 1254 | 1162 | 1046 | 1022 | 1097 | 1271 | 1404 | 1516 | 1590 | 1615 | 1650 | 1679 | 1695 | 1741 | 1775 | 1812 | 1800 | 1758 | 1673 | 1532 | 1360 | 1172 | 977.6 | 773.8 | 593.9 | 443.4 | 329.8 | 280.6 | 249.4 | 164.9 | 118.4 | 95.14 | 76.64 | 61.09 | 47.53 | 37.26 | 34.1 | 79.13 | 815.2 | 9999.9 | 9999.9 | 2894 | 21.52 | 14.27 | 10.81 | 9.636 | 8.974 | 8.593 | 8.749 | 9.209 | 9.917 | 9.366 | 9.584 | 8.917 | 9.243
455 | 2742 | 970.7 | 1068 | 1149 | 1172 | 1089 | 986.1 | 952.6 | 1016 | 1157 | 1291 | 1389 | 1467 | 1518 | 1538 | 1566 | 1607 | 1638 | 1680 | 1702 | 1698 | 1658 | 1578 | 1453 | 1294 | 1121 | 934.7 | 746.3 | 575.3 | 429.7 | 324.5 | 257.7 | 240.8 | 203.3 | 138 | 102.9 | 83.87 | 67.7 | 53.31 | 42.47 | 34.35 | 32.35 | 76.88 | 843.8 | 9999.9 | 9999.9 | 2504 | 20.55 | 13.49 | 10.76 | 9.894 | 9.048 | 9.29 | 8.96 | 9.861 | 9.182 | 9.305 | 8.97 | 8.334
460 | 4589 | 1281 | 1005 | 1094 | 1120 | 1035 | 922.3 | 872.1 | 921.4 | 1050 | 1173 | 1272 | 1341 | 1397 | 1412 | 1445 | 1484 | 1504 | 1552 | 1580 | 1584 | 1547 | 1467 | 1358 | 1214 | 1055 | 880.1 | 710.9 | 555.1 | 423.7 | 320.7 | 250.9 | 213 | 210.3 | 166.2 | 115.9 | 92.07 | 74.27 | 59.83 | 48.39 | 39.03 | 31.96 | 30.7 | 77.37 | 786.3 | 9999.9 | 9999.9 | 2310 | 19.04 | 14.08 | 11.73 | 10.03 | 9 | 9.295 | 8.904 | 8.579 | 9.287 | 8.228 | 8.593
465 | 4033 | 2863 | 945.7 | 1026 | 1038 | 948.7 | 855.3 | 795.9 | 838.3 | 945.1 | 1069 | 1153 | 1224 | 1256 | 1295 | 1317 | 1359 | 1387 | 1432 | 1457 | 1465 | 1420 | 1357 | 1257 | 1121 | 973.3 | 822.1 | 670.9 | 527.4 | 403.9 | 313.5 | 249.3 | 204.4 | 182.5 | 183 | 136.5 | 99.33 | 81.59 | 65.28 | 53.5 | 45.05 | 36.68 | 29.51 | 28.91 | 72.24 | 788.5 | 9999.9 | 9999.9 | 2305 | 20.17 | 13.85 | 12 | 9.431 | 9.244 | 8.93 | 9.217 | 8.709 | 8.623 | 8.354
470 | 1470 | 4974 | 1311 | 929.1 | 961.7 | 895.2 | 781.3 | 724.2 | 759.8 | 842.9 | 949.4 | 1020 | 1097 | 1128 | 1162 | 1198 | 1215 | 1255 | 1297 | 1317 | 1315 | 1292 | 1236 | 1146 | 1021 | 892.8 | 760.3 | 624.6 | 500 | 387.9 | 302.9 | 243.2 | 199.8 | 173.1 | 165.9 | 160.9 | 115 | 89.44 | 72.02 | 60.64 | 50.24 | 41.29 | 34.31 | 28.04 | 29.02 | 72.24 | 769.3 | 9999.9 | 9999.9 | 2283 | 20.86 | 15.59 | 12.26 | 10.59 | 9.302 | 9.15 | 8.883 | 8.42 | 7.776
475 | 610.9 | 4584 | 2911 | 855.7 | 889 | 821.4 | 702.9 | 658.8 | 679.8 | 763.2 | 846.7 | 921.8 | 973.2 | 1003 | 1037 | 1062 | 1089 | 1126 | 1154 | 1177 | 1179 | 1169 | 1113 | 1039 | 931.8 | 814.6 | 703.6 | 580 | 467 | 371.7 | 295.6 | 238.8 | 197.7 | 168.9 | 149.5 | 153 | 135.5 | 97.99 | 78.94 | 66.75 | 56.66 | 49.24 | 41.57 | 34.01 | 29.74 | 30.15 | 72.37 | 784.7 | 9999.9 | 9999.9 | 1732 | 20.56 | 14.63 | 12.14 | 10.09 | 8.937 | 8.304 | 8.389 | 7.715
480 | 499.8 | 1679 | 5162 | 1234 | 814.6 | 751.3 | 668.8 | 621.7 | 630.6 | 706.8 | 762.1 | 826.4 | 867.2 | 896.2 | 925.8 | 955.1 | 981.1 | 1007 | 1034 | 1054 | 1063 | 1046 | 1000 | 931 | 853.3 | 752.4 | 646.4 | 545 | 440.8 | 354.2 | 287.1 | 238.7 | 197.8 | 170.3 | 148 | 135.8 | 142.7 | 119.2 | 91.2 | 76.4 | 68.79 | 58.1 | 52.7 | 46.25 | 38.69 | 34.8 | 34.76 | 78.11 | 745.9 | 9999.9 | 9999.9 | 1892 | 21.89 | 15.28 | 12.31 | 10.36 | 8.357 | 8.547 | 7.143
485 | 479.8 | 644.2 | 4842 | 2918 | 766.7 | 709.2 | 624.1 | 596.3 | 599.5 | 649.1 | 701.4 | 753.8 | 775.3 | 804.1 | 832.6 | 857.6 | 880.6 | 909.1 | 935.9 | 958.5 | 968.7 | 955.2 | 921.8 | 858.2 | 781.2 | 701.9 | 605.4 | 521.5 | 431.3 | 353.2 | 289.1 | 241.5 | 205 | 176.3 | 156.9 | 138.8 | 137.2 | 140.6 | 114.9 | 92.74 | 83.81 | 75.23 | 68.93 | 63.4 | 55.8 | 50.92 | 45.9 | 46.01 | 83.81 | 781.4 | 9999.9 | 9999.9 | 1609 | 22.49 | 16.13 | 12.64 | 9.787 | 8.337 | 7.959
490 | 447.7 | 532.1 | 1802 | 5361 | 1104 | 681.5 | 622.3 | 581.2 | 593.2 | 623.5 | 647.2 | 696.1 | 704.7 | 731 | 757.4 | 772.8 | 788.2 | 820.9 | 847.4 | 872.6 | 876.5 | 867.7 | 844.6 | 795.5 | 727.7 | 663.2 | 580.2 | 507.9 | 432.7 | 357.6 | 298.7 | 249.2 | 216.9 | 187 | 166.2 | 151.3 | 141.4 | 146.4 | 145.2 | 118.7 | 105.9 | 98.85 | 95.58 | 90.3 | 80.15 | 74.95 | 68.11 | 62.88 | 58.04 | 95.69 | 800.4 | 9999.9 | 9999.9 | 1681 | 22.62 | 16.05 | 12.64 | 9.971 | 7.955
495 | 453.1 | 486.6 | 645.3 | 5252 | 2780 | 654.5 | 610 | 589.2 | 582.4 | 613 | 625.8 | 638.1 | 640.1 | 653.8 | 675 | 699.2 | 721.7 | 736.4 | 762.6 | 774.8 | 789.3 | 793.5 | 767.9 | 732.5 | 681.7 | 626 | 561.2 | 497.3 | 434.8 | 370.9 | 313.4 | 266.5 | 230.9 | 201.4 | 180.6 | 166.6 | 160.1 | 154.3 | 164 | 157.5 | 137.7 | 133.4 | 128.7 | 122 | 113.9 | 104.8 | 95.43 | 88.75 | 78.31 | 71.95 | 108 | 800 | 9999.9 | 9999.9 | 1579 | 22.96 | 14.2 | 11.06 | 9.832
500 | 412.2 | 436.7 | 523.7 | 1958 | 5467 | 1033 | 606.3 | 597.9 | 593 | 599.6 | 596 | 581.2 | 579.1 | 564.6 | 587.9 | 609.3 | 632.1 | 648.7 | 669.3 | 688.6 | 707.9 | 701.8 | 687.1 | 662.9 | 630.5 | 586.4 | 546.6 | 492.4 | 439.8 | 382 | 331.6 | 284 | 248.5 | 218.9 | 196.1 | 184.9 | 177.2 | 176.6 | 177.9 | 190.2 | 179.3 | 169.3 | 164.4 | 156.1 | 150.7 | 138.2 | 128.4 | 117.2 | 105.2 | 91.79 | 79.84 | 110.2 | 803.7 | 9999.9 | 9999.9 | 1520 | 19.41 | 13.98 | 11
505 | 376.6 | 402 | 480.8 | 636.3 | 5780 | 2680 | 610 | 617.2 | 601.1 | 590.9 | 571.9 | 537.3 | 504.8 | 504.6 | 513.7 | 534.2 | 546.1 | 566.4 | 583.4 | 601.2 | 617.9 | 623.8 | 619.2 | 608 | 582.3 | 554.3 | 521.8 | 488.9 | 444.1 | 396 | 345.3 | 299.4 | 260.9 | 232.3 | 210.1 | 199.1 | 197.2 | 197.4 | 195.9 | 204.8 | 216.2 | 205.2 | 202.8 | 195.1 | 183.9 | 171.6 | 160.5 | 147.7 | 131.3 | 113.7 | 93.52 | 77.11 | 104.6 | 794.3 | 9999.9 | 9999.9 | 1383 | 18.25 | 12.72
510 | 352.6 | 399.3 | 421.9 | 476.6 | 2300 | 5607 | 991.9 | 628.3 | 600.9 | 583.8 | 538.6 | 493.3 | 455.7 | 434.9 | 443.7 | 456.9 | 473.1 | 487.2 | 507.6 | 523.4 | 544.3 | 555.6 | 559.7 | 548.2 | 537.4 | 524.2 | 500.7 | 483.7 | 444.7 | 402.7 | 354.1 | 309.1 | 273.6 | 239 | 217.1 | 207.7 | 210.2 | 208.4 | 213 | 216.2 | 234.3 | 242.4 | 231.9 | 222.1 | 214.4 | 199.6 | 186.9 | 170.8 | 155.2 | 129.4 | 109.8 | 85.01 | 67.58 | 93.43 | 767.6 | 9999.9 | 9999.9 | 1333 | 16.83
515 | 306.5 | 357.9 | 391.1 | 425.8 | 640.1 | 6088 | 2672 | 632.7 | 596.8 | 563 | 510.1 | 444.3 | 401.4 | 379.1 | 385.3 | 396.9 | 406.7 | 421.2 | 440.7 | 458.6 | 478.1 | 491.4 | 504.2 | 489.9 | 490.7 | 480.1 | 470.4 | 459.1 | 434.2 | 397.4 | 354.3 | 313 | 268.2 | 237.1 | 223.8 | 215.6 | 214.5 | 219.2 | 222.6 | 228.9 | 242.9 | 258.3 | 256.3 | 241.5 | 231.5 | 217 | 200.8 | 188.3 | 166.7 | 142.1 | 118.7 | 94.17 | 70.71 | 51.66 | 80.01 | 774.6 | 9999.9 | 9999.9 | 1209
520 | 283.3 | 315.8 | 361.6 | 385.9 | 461.7 | 2570 | 5753 | 1011 | 574.4 | 537.7 | 478.6 | 406.4 | 347 | 320.6 | 323.5 | 337.5 | 354.1 | 362.3 | 377.6 | 402.9 | 418 | 429.3 | 441.1 | 445.7 | 445 | 443 | 440.3 | 435.5 | 416.8 | 386.9 | 345.4 | 305.4 | 266.4 | 233.9 | 218.6 | 210.8 | 216.5 | 220.8 | 226.3 | 231.6 | 242.3 | 253.2 | 266.5 | 255.5 | 239.7 | 223.1 | 210.6 | 194.8 | 172.7 | 149.2 | 123.5 | 97.37 | 71.38 | 48.94 | 36.7 | 71.78 | 742.7 | 9592 | 9999.9
525 | 262.4 | 261.9 | 337.1 | 345.9 | 410.1 | 635.9 | 6488 | 2699 | 567 | 490.2 | 438.7 | 366.8 | 305.7 | 280.4 | 283.6 | 289.4 | 299.7 | 309.1 | 328.4 | 341.8 | 356.4 | 371.1 | 385.7 | 395.1 | 403.5 | 403.7 | 403.6 | 405.8 | 394.1 | 369.1 | 332.3 | 290.8 | 254 | 225.9 | 211.4 | 205.6 | 211.9 | 215.8 | 223.1 | 228.2 | 239.6 | 248.7 | 258.5 | 260.6 | 242.9 | 221.4 | 209.1 | 195.1 | 172.7 | 148.8 | 124.8 | 96.4 | 71.24 | 48.91 | 32.79 | 27.24 | 63.49 | 716.5 | 9109
530 | 230.3 | 244.6 | 291.3 | 326.4 | 357.5 | 421.6 | 2902 | 5717 | 953.4 | 463.7 | 395.5 | 329.4 | 270.2 | 239.8 | 233.4 | 243.8 | 255.9 | 264.3 | 281.3 | 291.9 | 307.8 | 324.8 | 333.2 | 344.1 | 354.1 | 360 | 371.4 | 371.8 | 364.8 | 339.8 | 310.5 | 273.2 | 237.4 | 215.2 | 195.6 | 191.6 | 198.1 | 203.5 | 210.8 | 218.8 | 228.7 | 234.4 | 244.5 | 248.8 | 241.7 | 217.4 | 202.7 | 190.4 | 168.4 | 144.2 | 122.2 | 95.5 | 71.13 | 49.02 | 33.54 | 24.35 | 22.33 | 62.16 | 689.5
535 | 184 | 207.6 | 233.9 | 293.7 | 321.4 | 373.9 | 635.1 | 6524 | 2565 | 431.8 | 361.9 | 284.1 | 228.5 | 203.1 | 200.8 | 203.8 | 213 | 221.4 | 235.6 | 250.6 | 263.7 | 277 | 288 | 301 | 312.7 | 320.6 | 333 | 337.9 | 335.1 | 313.5 | 284.1 | 250.3 | 219.9 | 197.5 | 182 | 179.4 | 185.9 | 191.4 | 199.6 | 207.2 | 213.5 | 223 | 226.8 | 227.4 | 225.7 | 208.5 | 195.5 | 178.4 | 160.5 | 136.6 | 116.3 | 92.94 | 69.74 | 48.03 | 33.37 | 24.81 | 20.16 | 21.64 | 61.41
540 | 184.4 | 179.1 | 207.6 | 253.3 | 296 | 328.3 | 391.8 | 3063 | 5544 | 776.5 | 321.1 | 246.3 | 194.4 | 173.4 | 166.6 | 171.9 | 179.4 | 188.6 | 198.2 | 208.9 | 220.4 | 238.6 | 247 | 257.5 | 270.6 | 282.2 | 295.9 | 300.1 | 297.9 | 280.5 | 256.2 | 222.9 | 194.8 | 177.5 | 166.1 | 164 | 167.6 | 173.7 | 180.3 | 189.9 | 197.8 | 206.3 | 211.6 | 208.9 | 205.3 | 197.9 | 181.2 | 166.4 | 149.6 | 127.8 | 110.3 | 86.53 | 63.33 | 47.34 | 33.46 | 25.21 | 20.95 | 19.97 | 23.95
545 | 154.2 | 150.1 | 173.9 | 220 | 266.8 | 283.6 | 335.5 | 618.2 | 6436 | 2248 | 291.7 | 216.7 | 163.6 | 144.3 | 137.3 | 141.9 | 144.3 | 153.1 | 160.3 | 172.5 | 183.5 | 199.5 | 211 | 219 | 231.3 | 240 | 255.9 | 261.3 | 259.6 | 250.4 | 225.8 | 198.8 | 176.7 | 158 | 145.8 | 146.4 | 150.4 | 155.1 | 164.5 | 171 | 176.7 | 187.7 | 188.2 | 188.7 | 181.1 | 178.5 | 170.7 | 153.9 | 135.8 | 115.5 | 99.69 | 78.58 | 58.74 | 43.89 | 30.97 | 24.8 | 21.82 | 20.21 | 21.46
550 | 141.1 | 133.9 | 148.3 | 172.3 | 239 | 252.4 | 289.4 | 350.2 | 3093 | 5013 | 616.9 | 183.8 | 136.2 | 116.7 | 113.6 | 115.9 | 120 | 125.8 | 133.7 | 141.8 | 152.9 | 163.1 | 174.5 | 187.8 | 195.8 | 205.2 | 220.7 | 228 | 226.4 | 215.2 | 196.3 | 175.3 | 152.8 | 137.7 | 127.2 | 128.6 | 132 | 137.2 | 143.4 | 150 | 156.5 | 163 | 166.1 | 167.3 | 160.7 | 156.5 | 150.3 | 139.9 | 122 | 104.6 | 87.75 | 72.33 | 54.12 | 39.24 | 28.8 | 23.07 | 20.29 | 19.77 | 20.61
555 | 111.9 | 115.5 | 114 | 143.2 | 197.3 | 231.2 | 239.7 | 289.4 | 537.2 | 6223 | 1880 | 171.9 | 116.6 | 99.06 | 93.2 | 96.7 | 99.16 | 100.9 | 108.7 | 119.2 | 125.6 | 137.4 | 146 | 154.5 | 162.1 | 173.2 | 185.6 | 194.4 | 195.1 | 186.1 | 172.2 | 151.7 | 134 | 119.1 | 110.5 | 110.2 | 114.9 | 121.1 | 124.8 | 131.4 | 137.6 | 145.7 | 147.6 | 146.5 | 140.9 | 132.3 | 129.8 | 122.9 | 108.1 | 92 | 77.91 | 61.29 | 47.39 | 35.82 | 27.17 | 20.59 | 18.57 | 18.61 | 19.47
560 | 101.9 | 97.2 | 104.8 | 122.3 | 152.9 | 212.4 | 216.3 | 249 | 257 | 3192 | 4380 | 466.1 | 93.27 | 80.6 | 73.07 | 77.14 | 79.21 | 83.05 | 89.25 | 94.14 | 102.4 | 110.5 | 119.7 | 129.2 | 135.7 | 144.9 | 156 | 161.8 | 160.6 | 157.8 | 144.4 | 128.6 | 112.1 | 102.7 | 94.79 | 94.96 | 99.13 | 103.4 | 106.7 | 112.4 | 115.2 | 122.9 | 123.6 | 124.8 | 120.5 | 118.5 | 108.8 | 103.6 | 95.05 | 80.26 | 68.22 | 54.19 | 41.01 | 29.74 | 22.48 | 17.72 | 16.43 | 15.96 | 16.25
565 | 89.46 | 80.85 | 87.7 | 100 | 121.7 | 181.1 | 195.1 | 205 | 207.5 | 453.6 | 5576 | 1613 | 87.02 | 64.07 | 60.41 | 60.57 | 63.47 | 69.03 | 71.31 | 76.57 | 82.27 | 90.99 | 96.58 | 103 | 111.9 | 119.9 | 129.5 | 135.1 | 137.1 | 132.9 | 121.7 | 107.9 | 95.9 | 85.23 | 79.62 | 78.74 | 82.92 | 87.03 | 89.86 | 93.14 | 98.34 | 105.1 | 107.3 | 105.2 | 102.7 | 97.79 | 90.97 | 86.52 | 80.92 | 71.09 | 59.36 | 45.49 | 34.51 | 26.22 | 19.72 | 15.19 | 13.38 | 13.86 | 14.57
570 | 87.19 | 69.57 | 73.51 | 85.35 | 103.3 | 143.3 | 185.8 | 182.4 | 178.7 | 173 | 2825 | 3980 | 343.3 | 52.99 | 49.99 | 49.14 | 50.48 | 55.88 | 56.03 | 61.57 | 67.57 | 73.2 | 80.11 | 83.95 | 92.49 | 98.33 | 106.1 | 111.9 | 110.9 | 109.1 | 99.25 | 91.1 | 78.9 | 71.36 | 66.4 | 66.73 | 68.37 | 70.76 | 74.32 | 78.15 | 83.07 | 85.75 | 88.33 | 88.95 | 86.22 | 80.76 | 75.62 | 72.42 | 66.18 | 59.79 | 48.67 | 38.94 | 28.78 | 21.74 | 16.19 | 12.8 | 11.16 | 11.84 | 10.91
575 | 84.19 | 68.57 | 66.44 | 70.12 | 86.15 | 110.7 | 166.4 | 169.3 | 164.6 | 146.7 | 355.3 | 5259 | 1384 | 51.44 | 40.52 | 40.39 | 41.72 | 43.93 | 45.96 | 47.8 | 54.39 | 59.51 | 63.84 | 69.72 | 74.88 | 81 | 86.41 | 91.01 | 92.49 | 89.78 | 83.49 | 73.68 | 65.03 | 58.75 | 54.69 | 54.69 | 56.9 | 57.91 | 61.46 | 65 | 69.06 | 70.38 | 72.63 | 72.04 | 71.53 | 66.47 | 63.09 | 59.66 | 53.3 | 47.46 | 43.07 | 32.37 | 24.11 | 17.49 | 14.2 | 10.84 | 9.899 | 9.124 | 9.3
580 | 88.6 | 64.68 | 62.92 | 62.06 | 68.87 | 96.24 | 144.5 | 160.6 | 155.8 | 137.7 | 130.9 | 2643 | 3740 | 274.2 | 33.75 | 31.94 | 33.72 | 35.75 | 36.41 | 39.77 | 42.72 | 46.42 | 51.02 | 55.55 | 59.98 | 66.59 | 70.48 | 74.45 | 77.36 | 73.98 | 67.68 | 59.85 | 52.85 | 48.13 | 45.75 | 44.93 | 46.36 | 49.18 | 50.51 | 52.99 | 55.83 | 59.75 | 59.03 | 58.96 | 58.5 | 54.84 | 52.74 | 49.35 | 44.16 | 38.01 | 33.57 | 28.25 | 21.12 | 15.11 | 11.13 | 9.377 | 7.584 | 7.748 | 7.601
585 | 89.93 | 63.75 | 56.39 | 58.94 | 66.47 | 86.19 | 119.3 | 160.1 | 142.8 | 138.4 | 113.4 | 307.8 | 5106 | 1207 | 32.93 | 27.49 | 28.35 | 29.18 | 29.91 | 32.67 | 34.49 | 37.78 | 40.46 | 45.7 | 49.15 | 54.68 | 58.1 | 62.88 | 61.25 | 60.99 | 56.7 | 50.86 | 44.1 | 40.22 | 37.85 | 36.68 | 38.22 | 39.62 | 41.47 | 43.19 | 46.38 | 48.25 | 49.14 | 47.98 | 47.22 | 44.41 | 43.06 | 40 | 37.36 | 32.56 | 28.14 | 24.39 | 17.49 | 13.02 | 9.249 | 7.381 | 6.761 | 6.446 | 6.517
590 | 86.64 | 61.54 | 49.78 | 60.37 | 62.79 | 78.14 | 103.9 | 156.8 | 154 | 136.1 | 117.1 | 95.45 | 2452 | 3476 | 216.8 | 23.87 | 23.92 | 24.51 | 24.63 | 26.56 | 29.22 | 32.14 | 33.99 | 36.01 | 39.48 | 43.45 | 47.63 | 52.36 | 51.47 | 50.72 | 46.65 | 40.49 | 36.13 | 32.91 | 30.44 | 31.15 | 33.14 | 32.66 | 34.33 | 34.96 | 37.54 | 39.47 | 39.88 | 41.95 | 40.26 | 36.79 | 35.03 | 33.76 | 28.81 | 25.96 | 22.32 | 19.24 | 15.4 | 12.11 | 8.31 | 6.631 | 5.493 | 5.732 | 5.739
595 | 95.83 | 77.44 | 57.06 | 54.61 | 64.16 | 78.57 | 101.1 | 135.8 | 161.7 | 139.1 | 116.9 | 81.87 | 262.8 | 4586 | 1060 | 24.33 | 19.53 | 20.17 | 20.03 | 21.71 | 23.53 | 25.59 | 27.86 | 31.91 | 32.64 | 37.32 | 38.25 | 41.78 | 42.24 | 40.96 | 38.9 | 34.11 | 30.48 | 27.8 | 25.63 | 25.35 | 25.31 | 27.61 | 28.1 | 29.11 | 31 | 32.3 | 33.19 | 33.09 | 31.84 | 31.32 | 28.99 | 26.81 | 24.74 | 21.75 | 18.84 | 15.48 | 12.74 | 10.38 | 7.359 | 6.124 | 5.194 | 5.062 | 4.92
600 | 98.29 | 75.53 | 56.86 | 55.56 | 61.94 | 76.45 | 100.6 | 123 | 165.1 | 146.7 | 120.6 | 82.18 | 57.76 | 2276 | 3166 | 159.7 | 18.23 | 17.38 | 17.91 | 18.14 | 19.53 | 21.21 | 22.61 | 25.45 | 27.61 | 29.08 | 31.98 | 34.47 | 35.63 | 34.49 | 32.73 | 28.86 | 25.04 | 23.77 | 22.66 | 21.66 | 21.46 | 23.23 | 23.24 | 25.22 | 26.3 | 27.42 | 27.63 | 27.99 | 27.29 | 25.68 | 24.93 | 22.99 | 20.28 | 17.96 | 15.85 | 12.89 | 10.98 | 9.225 | 7.244 | 5.215 | 4.784 | 4.366 | 4.425