## Sheet1
Report date: | 15:54:55, 09/02/2024
Sample: | 1
File name:
Run date: | 15:44:35, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 430.2
2 | 255.0/280.0 | 480.4
3 | 265.0/585.0 | 253.1
4 | 275.0/335.0 | 2998
5 | 280.0/315.0 | 2832
6 | 315.0/355.0 | 482
7 | 320.0/360.0 | 439.6
8 | 325.0/370.0 | 405.6
9 | 330.0/375.0 | 436
10 | 330.0/420.0 | 736.7
11 | 335.0/380.0 | 439.4
12 | 355.0/410.0 | 595.1
13 | 360.0/415.0 | 604.5
14 | 370.0/520.0 | 376.6
15 | 390.0/275.0 | 9.491
16 | 395.0/280.0 | 8.604
17 | 395.0/460.0 | 196.4
18 | 400.0/285.0 | 8.517
19 | 400.0/465.0 | 190.5
20 | 405.0/290.0 | 8.214
21 | 405.0/470.0 | 179.8
22 | 410.0/295.0 | 8.044
23 | 410.0/480.0 | 177.8
24 | 420.0/300.0 | 7.637
25 | 425.0/280.0 | 6.318
26 | 430.0/310.0 | 7.388
27 | 435.0/515.0 | 295.7
28 | 440.0/520.0 | 303.2
29 | 455.0/335.0 | 9.732
30 | 460.0/315.0 | 10.35
31 | 510.0/280.0 | 6.966
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 53.42 | 42 | 70.27 | 382 | 225 | 65.78 | 261.9 | 9999.9 | 9999.9 | 8452 | 59.99 | 29.54 | 19.06 | 13.91 | 11.31 | 10.67 | 8.075 | 7.38 | 6.897 | 6.341 | 6.728 | 6.601 | 6.348 | 5.767 | 5.599 | 5.717 | 5.956 | 5.92 | 5.872 | 7.129 | 8.348 | 9.127 | 8.531 | 7.04 | 5.921 | 6.126 | 6.457 | 6.444 | 5.776 | 4.92 | 5.067 | 4.382 | 3.84 | 4.287 | 3.411 | 3.251 | 2.679 | 2.139 | 1.816 | 2.028 | 2.047 | 3.049 | 4.611 | 5.116 | 3.404 | 2.356 | 2.282 | 1.992 | 2.503
275 | 88.91 | 47.16 | 51.13 | 139.6 | 430.2 | 193.9 | 107.2 | 924.2 | 9999.9 | 9999.9 | 8148 | 59.92 | 27.04 | 19.46 | 14.63 | 11.41 | 10.41 | 8.719 | 8.065 | 7.18 | 7.115 | 6.707 | 6.382 | 6.478 | 6.365 | 6.122 | 6.477 | 6.146 | 5.723 | 6.05 | 6.91 | 8.537 | 9.491 | 8.46 | 6.593 | 5.536 | 5.446 | 5.603 | 6.333 | 5.511 | 5.066 | 4.535 | 4.32 | 4.433 | 3.996 | 3.799 | 3.006 | 2.685 | 2.169 | 2.176 | 1.907 | 2.096 | 2.341 | 3.575 | 5.398 | 4.841 | 3.273 | 2.451 | 2.522
280 | 137.9 | 59.45 | 52.51 | 58.66 | 226.2 | 480.4 | 200.1 | 201.2 | 965.9 | 9999.9 | 9999.9 | 8012 | 59.4 | 26.91 | 18.76 | 15.14 | 12.22 | 10.63 | 9.206 | 8.645 | 7.831 | 6.84 | 7.165 | 6.738 | 6.532 | 6.597 | 6.365 | 6.037 | 6.348 | 6.177 | 5.662 | 6.227 | 7.544 | 8.604 | 8.208 | 6.413 | 5.769 | 5.284 | 5.652 | 6.318 | 5.686 | 5.235 | 4.626 | 4.423 | 4.264 | 4.553 | 3.232 | 2.861 | 2.576 | 2.116 | 2.184 | 1.918 | 2.177 | 2.108 | 3.203 | 5.113 | 6.966 | 4.373 | 2.924
285 | 310.6 | 137.7 | 85.24 | 84.18 | 119.7 | 393.4 | 586.7 | 330.4 | 375.8 | 1140 | 9999.9 | 9999.9 | 7500 | 57.55 | 25.91 | 18.72 | 14.96 | 11.77 | 9.858 | 9.395 | 8.106 | 8.363 | 7.47 | 7.366 | 6.696 | 6.717 | 6.482 | 6.669 | 6.642 | 5.805 | 5.234 | 5.641 | 6.349 | 7.54 | 8.517 | 8.097 | 6.25 | 5.132 | 5.45 | 5.813 | 6.366 | 5.76 | 5.318 | 5.218 | 4.885 | 4.419 | 4.39 | 3.998 | 3.126 | 2.644 | 2.296 | 2.321 | 2.369 | 2.632 | 2.556 | 3.103 | 4.271 | 7.014 | 7.568
290 | 723.2 | 360.9 | 176.5 | 142.9 | 164.1 | 269.5 | 710.9 | 836.2 | 704.2 | 774.5 | 1441 | 9999.9 | 9999.9 | 6803 | 53.28 | 26.68 | 20.03 | 14.6 | 11.99 | 10.88 | 9.381 | 9.118 | 7.366 | 7.86 | 7.538 | 7.405 | 6.74 | 7.394 | 6.797 | 6.708 | 6.275 | 5.961 | 5.902 | 6.218 | 7.565 | 8.214 | 7.324 | 6.052 | 5.726 | 5.27 | 5.916 | 6.807 | 5.942 | 5.896 | 5.795 | 5.688 | 5.129 | 4.696 | 4.239 | 3.552 | 3.239 | 2.794 | 2.631 | 2.87 | 2.934 | 2.995 | 3.827 | 4.696 | 7.459
295 | 1187 | 632.1 | 335.3 | 232.6 | 241 | 353.9 | 607.4 | 1282 | 1380 | 1241 | 1130 | 1465 | 9999.9 | 9999.9 | 6447 | 50.74 | 25.49 | 19.78 | 15.27 | 13.65 | 10.95 | 9.971 | 8.913 | 8.944 | 7.78 | 7.656 | 6.696 | 7.383 | 7.266 | 6.62 | 7.11 | 5.998 | 6.27 | 5.887 | 5.987 | 7.562 | 8.044 | 7.211 | 5.771 | 5.471 | 6.142 | 6.35 | 6.568 | 6.487 | 7.592 | 7.355 | 6.098 | 6.127 | 5.094 | 4.514 | 3.907 | 3.785 | 3.444 | 3.323 | 3.592 | 4.011 | 4.701 | 5.473 | 6.386
300 | 1619 | 902.2 | 506.4 | 329.8 | 336.7 | 485.2 | 748.6 | 1219 | 2033 | 1882 | 1550 | 1035 | 1239 | 9999.9 | 9999.9 | 6038 | 51.07 | 27.54 | 19.97 | 16.09 | 12.82 | 12.01 | 10.1 | 8.949 | 9.205 | 7.858 | 7.429 | 7.539 | 7.882 | 7.014 | 6.764 | 6.065 | 6.364 | 5.639 | 5.197 | 6.043 | 6.935 | 7.565 | 7.637 | 6.436 | 5.833 | 6.348 | 6.742 | 7.915 | 8.469 | 8.123 | 7.67 | 6.661 | 6.215 | 5.819 | 5.121 | 4.398 | 4.143 | 3.862 | 4.324 | 5.011 | 5.378 | 6.339 | 7.284
305 | 1887 | 1142 | 657.5 | 464.8 | 479.1 | 645.2 | 944.4 | 1366 | 2009 | 2609 | 2047 | 1331 | 682.2 | 1102 | 9999.9 | 9999.9 | 5656 | 49.73 | 27.95 | 20.84 | 16.5 | 13.34 | 12.41 | 10.53 | 9.169 | 9.429 | 8.917 | 8.436 | 7.071 | 7.593 | 6.554 | 6.344 | 6.377 | 6.378 | 5.802 | 5.43 | 5.724 | 6.619 | 7.449 | 6.652 | 6.269 | 5.96 | 6.699 | 7.688 | 8.477 | 8.843 | 9.254 | 7.78 | 6.856 | 6.58 | 6.334 | 5.117 | 4.821 | 4.928 | 4.701 | 5.59 | 7.034 | 7.155 | 9.362
310 | 2056 | 1267 | 795 | 599.8 | 638.5 | 832.2 | 1162 | 1616 | 2082 | 2620 | 2709 | 1678 | 880.8 | 469 | 982.7 | 9999.9 | 9999.9 | 5812 | 48.65 | 29.08 | 21.64 | 17.1 | 13.7 | 12.21 | 10.81 | 10.09 | 9.803 | 9.14 | 7.881 | 8.195 | 7.674 | 6.868 | 6.662 | 5.666 | 5.844 | 5.98 | 5.5 | 5.496 | 6.192 | 7.357 | 7.388 | 6.21 | 7.164 | 7.538 | 8.529 | 9.504 | 9.854 | 8.393 | 7.747 | 7.105 | 6.922 | 6.114 | 5.345 | 5.593 | 5.803 | 6.634 | 7.566 | 8.858 | 10.86
315 | 2129 | 1410 | 938.7 | 767.5 | 844.4 | 1056 | 1386 | 1836 | 2298 | 2618 | 2832 | 2235 | 1145 | 582 | 323.7 | 952.3 | 9999.9 | 9999.9 | 5506 | 48.87 | 29.85 | 23.02 | 17.41 | 14.64 | 11.64 | 10.31 | 10.02 | 10.14 | 8.984 | 8.481 | 7.784 | 7.04 | 7.159 | 6.169 | 6.071 | 5.929 | 5.186 | 5.278 | 5.516 | 6.421 | 6.784 | 7.385 | 6.716 | 7.941 | 8.541 | 9.4 | 10.35 | 9.156 | 8.147 | 7.694 | 7.275 | 6.784 | 6.958 | 6.756 | 7.749 | 8.318 | 9.405 | 10.59 | 12.98
320 | 2122 | 1443 | 1038 | 923.5 | 1046 | 1314 | 1657 | 2054 | 2478 | 2753 | 2716 | 2474 | 1600 | 755.8 | 379.8 | 252.6 | 918.1 | 9999.9 | 9999.9 | 5692 | 50.55 | 30.87 | 24.81 | 17.85 | 14.42 | 12.82 | 11.39 | 10.34 | 8.814 | 8.878 | 7.874 | 7.242 | 7.121 | 6.053 | 5.903 | 5.683 | 5.927 | 5.515 | 5.426 | 5.53 | 6.455 | 7.641 | 8.104 | 7.671 | 7.847 | 9.474 | 9.594 | 9.447 | 8.333 | 7.916 | 7.722 | 7.398 | 8.093 | 7.69 | 9.219 | 9.844 | 10.76 | 13.18 | 14.58
325 | 2120 | 1459 | 1088 | 1035 | 1195 | 1512 | 1891 | 2243 | 2610 | 2821 | 2805 | 2360 | 1945 | 1055 | 478.1 | 266.5 | 208.6 | 907.1 | 9999.9 | 9999.9 | 5797 | 52.51 | 31.07 | 25.39 | 19.09 | 14.38 | 13.74 | 11.5 | 9.912 | 9.318 | 8.092 | 7.784 | 7.296 | 6.42 | 6.195 | 6.101 | 5.453 | 5.382 | 5.291 | 5.103 | 5.381 | 6.652 | 7.343 | 9.116 | 8.261 | 8.953 | 9.039 | 9.398 | 8.509 | 9.022 | 7.98 | 7.705 | 8.432 | 8.447 | 10.11 | 11.01 | 12.76 | 13.55 | 16.38
330 | 2035 | 1435 | 1120 | 1126 | 1334 | 1688 | 2036 | 2392 | 2722 | 2935 | 2879 | 2432 | 1826 | 1381 | 647.5 | 308.9 | 189.3 | 164.4 | 881.9 | 9999.9 | 9999.9 | 6095 | 50.92 | 32.12 | 24.46 | 17.89 | 15.15 | 13.1 | 11.34 | 10.45 | 8.54 | 8.253 | 7.457 | 6.453 | 6.462 | 6.565 | 5.344 | 5.01 | 5.093 | 5.733 | 5.452 | 6.02 | 7.082 | 8.763 | 8.825 | 9.237 | 9.221 | 8.472 | 7.926 | 8.975 | 8.462 | 8.452 | 8.437 | 9.175 | 10.39 | 11.79 | 13.62 | 15.93 | 17.58
335 | 2006 | 1399 | 1131 | 1165 | 1407 | 1772 | 2145 | 2530 | 2803 | 2998 | 2942 | 2517 | 1859 | 1275 | 950.8 | 420.3 | 216.9 | 134.4 | 134.3 | 884.5 | 9999.9 | 9999.9 | 6365 | 52.2 | 34.51 | 26.14 | 18.77 | 14.94 | 13.63 | 12.25 | 10.41 | 8.65 | 7.608 | 6.761 | 6.749 | 5.948 | 5.73 | 5.807 | 5.553 | 5.683 | 5.747 | 5.479 | 6.925 | 8.187 | 9.284 | 9.732 | 8.977 | 8.098 | 7.429 | 8.34 | 8.821 | 8.797 | 9.201 | 10.15 | 11.49 | 12.32 | 15.11 | 16.73 | 18.6
340 | 1935 | 1368 | 1123 | 1165 | 1447 | 1813 | 2198 | 2556 | 2832 | 2983 | 2941 | 2573 | 1932 | 1209 | 899.8 | 683.3 | 278.8 | 144.1 | 95.25 | 121.5 | 902.3 | 9999.9 | 9999.9 | 6717 | 54.55 | 33.81 | 26.5 | 20.94 | 15.42 | 12.78 | 11.15 | 9.305 | 7.773 | 7.608 | 6.933 | 7.201 | 5.817 | 5.208 | 5.416 | 5.299 | 5.27 | 6.029 | 6.152 | 7.476 | 7.998 | 9.698 | 9.706 | 8.03 | 7.284 | 7.589 | 8.039 | 8.635 | 9.407 | 9.995 | 11.2 | 12.57 | 14.48 | 17.13 | 18.8
345 | 1778 | 1269 | 1049 | 1144 | 1416 | 1816 | 2190 | 2556 | 2797 | 2930 | 2904 | 2568 | 1940 | 1238 | 772.6 | 682.4 | 481.3 | 179.5 | 105.8 | 82.77 | 123.4 | 923.6 | 9999.9 | 9999.9 | 7014 | 55.4 | 37.28 | 28.78 | 19.92 | 14.66 | 12.32 | 10.19 | 9.126 | 8.719 | 7.142 | 7.041 | 6.14 | 5.9 | 5.764 | 5.243 | 5.516 | 6.202 | 6.414 | 7.033 | 7.128 | 8.443 | 9.278 | 8.753 | 7.04 | 7.79 | 7.805 | 8.495 | 9.197 | 9.173 | 11.25 | 12.7 | 14.94 | 16.47 | 18.86
350 | 1702 | 1166 | 1018 | 1085 | 1371 | 1717 | 2098 | 2466 | 2707 | 2823 | 2814 | 2477 | 1919 | 1236 | 770.4 | 523.3 | 556.8 | 332.1 | 134.6 | 96.88 | 82.34 | 128.3 | 898.1 | 9999.9 | 9999.9 | 7401 | 56.54 | 37.54 | 27.29 | 19.84 | 14.53 | 11.86 | 10.45 | 8.657 | 8.352 | 6.921 | 6.828 | 5.89 | 5.835 | 5.593 | 5.51 | 5.984 | 6.129 | 6.874 | 6.703 | 7.76 | 8.204 | 8.745 | 7.436 | 7.605 | 7.193 | 7.431 | 8.726 | 9.53 | 12.27 | 12.92 | 14.92 | 15.84 | 18.8
355 | 1588 | 1080 | 929.9 | 1045 | 1272 | 1643 | 2008 | 2349 | 2590 | 2732 | 2690 | 2394 | 1880 | 1229 | 786.8 | 512.3 | 405.1 | 482 | 244.8 | 124.5 | 99.77 | 89.51 | 127.6 | 936.4 | 9999.9 | 9999.9 | 7535 | 57.19 | 37.45 | 26.83 | 18.61 | 13.73 | 11.35 | 9.123 | 8.952 | 7.654 | 6.701 | 6.879 | 5.818 | 5.643 | 5.723 | 5.484 | 5.976 | 6.115 | 6.777 | 7.094 | 7.138 | 7.549 | 7.579 | 8.228 | 8.025 | 7.665 | 8.225 | 9.139 | 10.7 | 12.53 | 13.74 | 15.58 | 17.68
360 | 1417 | 982.3 | 897.1 | 971.9 | 1192 | 1521 | 1855 | 2207 | 2452 | 2555 | 2518 | 2256 | 1786 | 1206 | 792.3 | 530.1 | 373.1 | 364.1 | 439.6 | 209 | 131.6 | 107 | 92.79 | 129.1 | 894.6 | 9999.9 | 9999.9 | 8041 | 58.15 | 36.99 | 26.36 | 18.67 | 13.03 | 11.07 | 10.19 | 8.626 | 7.41 | 6.848 | 6.514 | 6.003 | 5.168 | 5.795 | 5.765 | 6.434 | 6.735 | 6.82 | 6.72 | 6.489 | 6.955 | 8.026 | 7.763 | 7.512 | 8.135 | 8.525 | 10.47 | 11.28 | 13.13 | 14.4 | 16.99
365 | 1296 | 912.7 | 809.1 | 910.9 | 1115 | 1406 | 1717 | 2019 | 2281 | 2381 | 2331 | 2110 | 1686 | 1154 | 786.4 | 544.6 | 392.4 | 313 | 375.5 | 399.9 | 189.6 | 130.8 | 108.9 | 89.86 | 126.4 | 945.1 | 9999.9 | 9999.9 | 7833 | 57.2 | 34.83 | 25.51 | 16.56 | 12.81 | 9.913 | 9.184 | 7.472 | 7.762 | 6.491 | 6.16 | 5.976 | 5.976 | 6.43 | 6.144 | 6.438 | 6.465 | 6.441 | 6.203 | 6.303 | 7.23 | 7.397 | 8.185 | 7.283 | 8.092 | 9.38 | 11.54 | 13.23 | 14.4 | 14.92
370 | 1189 | 832 | 744.9 | 842.5 | 1035 | 1289 | 1585 | 1849 | 2051 | 2176 | 2158 | 1959 | 1579 | 1111 | 770.8 | 557.8 | 421.5 | 335.2 | 297 | 405.6 | 354.3 | 175.2 | 133 | 102.5 | 84.97 | 125.2 | 974.6 | 9999.9 | 9999.9 | 7621 | 55.24 | 34.48 | 25.01 | 16.61 | 11.94 | 9.589 | 8.821 | 7.104 | 6.81 | 5.905 | 6.43 | 5.878 | 6.468 | 5.968 | 6.247 | 6.708 | 6.332 | 5.778 | 5.593 | 6.065 | 7.061 | 7.79 | 7.568 | 8.123 | 9.291 | 10.05 | 11.85 | 12.86 | 15.46
375 | 1130 | 771.1 | 704.9 | 783.2 | 948.1 | 1164 | 1412 | 1679 | 1890 | 1982 | 1964 | 1782 | 1477 | 1064 | 767 | 565.3 | 448.2 | 375.2 | 321.6 | 313.3 | 436 | 312.1 | 174.3 | 130.6 | 101.5 | 86.07 | 132.3 | 989.6 | 9999.9 | 9999.9 | 7393 | 52.37 | 32.81 | 22.72 | 16.75 | 11.6 | 9.648 | 7.863 | 7.999 | 6.675 | 6.486 | 6.425 | 6.17 | 6.487 | 6.287 | 5.915 | 6.227 | 5.402 | 5.492 | 5.621 | 6.93 | 6.82 | 7.386 | 8.355 | 8.294 | 9.564 | 10.26 | 12.8 | 14
380 | 1070 | 716.6 | 684.4 | 709.3 | 847 | 1048 | 1257 | 1492 | 1682 | 1782 | 1783 | 1642 | 1372 | 1015 | 754.6 | 599.9 | 480.9 | 414 | 365.8 | 330.4 | 353 | 439.4 | 279.7 | 170.6 | 134.7 | 110.4 | 98.47 | 144.1 | 1014 | 9999.9 | 9999.9 | 7048 | 49.93 | 30.8 | 23.11 | 14.7 | 10.77 | 9.467 | 7.828 | 7.414 | 6.554 | 6.568 | 6.619 | 6.148 | 5.947 | 6.334 | 6.248 | 5.621 | 5.275 | 5.658 | 5.918 | 6.72 | 6.777 | 7.708 | 7.992 | 8.486 | 9.556 | 9.995 | 12.29
385 | 961 | 695.5 | 655.9 | 670.3 | 784.2 | 962.2 | 1117 | 1322 | 1502 | 1611 | 1615 | 1519 | 1294 | 992.4 | 764 | 621.2 | 518.3 | 460.7 | 419 | 386.1 | 356.5 | 394.7 | 441.6 | 266.6 | 191.5 | 158.8 | 132.6 | 118.4 | 157.1 | 1028 | 9999.9 | 9999.9 | 6720 | 46.76 | 29.81 | 20.53 | 13.99 | 10.68 | 8.84 | 8.158 | 7.288 | 6.609 | 6.35 | 6.318 | 6.512 | 5.975 | 5.546 | 5.874 | 5.615 | 5.741 | 5.732 | 5.959 | 6.437 | 7.34 | 8.073 | 8.688 | 8.947 | 9.921 | 11.32
390 | 887.3 | 678 | 613.3 | 649.2 | 731.9 | 846.2 | 1019 | 1199 | 1362 | 1466 | 1491 | 1414 | 1239 | 968.7 | 777.7 | 652.1 | 562.9 | 509.4 | 479.7 | 448.1 | 416.4 | 397.4 | 453.3 | 444.4 | 281.9 | 226 | 192 | 159.3 | 129.8 | 156.9 | 958.2 | 9999.9 | 9999.9 | 6651 | 46.86 | 26.45 | 18.91 | 13.41 | 9.945 | 8.869 | 7.431 | 6.821 | 6.718 | 6.288 | 6.209 | 6.396 | 5.724 | 5.618 | 5.598 | 5.646 | 5.731 | 5.821 | 6.025 | 6.887 | 7.353 | 8.694 | 8.851 | 9.387 | 10.36
395 | 874.9 | 659.3 | 613.3 | 601.9 | 681.1 | 792.8 | 905.8 | 1081 | 1200 | 1323 | 1384 | 1336 | 1189 | 959.5 | 787.9 | 678.1 | 613.8 | 563.1 | 537.6 | 517.1 | 497.5 | 468.3 | 446.6 | 517 | 447.5 | 309.1 | 264.8 | 215.9 | 168.6 | 122.2 | 141.3 | 1008 | 9999.9 | 9999.9 | 6533 | 41.71 | 25.03 | 18.29 | 12.85 | 9.549 | 8.414 | 7.414 | 7.367 | 6.926 | 6.057 | 6.355 | 5.814 | 5.853 | 5.173 | 5.444 | 6.022 | 6.168 | 5.784 | 6.137 | 6.806 | 8.585 | 8.801 | 9.265 | 9.65
400 | 801.2 | 659.1 | 610.7 | 584.8 | 640.9 | 728.3 | 838.5 | 969.5 | 1108 | 1215 | 1287 | 1256 | 1155 | 954.7 | 809.6 | 710.2 | 655.3 | 626.6 | 600.1 | 590.3 | 569.3 | 545 | 515.3 | 506.5 | 569.3 | 456.5 | 341.6 | 282.2 | 213.9 | 148 | 99.97 | 129.7 | 931.6 | 9999.9 | 9999.9 | 5412 | 38.54 | 24.05 | 17.66 | 12.54 | 10.13 | 8.541 | 6.925 | 7.706 | 6.326 | 6.443 | 5.946 | 5.818 | 5.108 | 5.733 | 6.069 | 5.678 | 5.842 | 6.336 | 6.333 | 7.647 | 8.122 | 8.796 | 9.291
405 | 764.5 | 650.1 | 586.8 | 583 | 606.4 | 690.7 | 777.9 | 888 | 1015 | 1138 | 1207 | 1190 | 1111 | 944 | 816.9 | 735.8 | 690.8 | 663 | 654.1 | 649.9 | 632 | 613.6 | 578.6 | 551.5 | 558.4 | 590.5 | 456 | 347.2 | 263.3 | 179.1 | 114.8 | 80.33 | 113.4 | 873.2 | 9999.9 | 9999.9 | 5488 | 37.7 | 22.84 | 15.9 | 11.61 | 9.301 | 7.861 | 7.21 | 6.206 | 6.592 | 6.3 | 5.38 | 5.658 | 5.731 | 5.407 | 6.232 | 5.731 | 6.365 | 6.111 | 7.219 | 8.066 | 8.394 | 8.935
410 | 765.3 | 608 | 574.5 | 571.8 | 594.7 | 665.5 | 716.1 | 817.8 | 946.1 | 1071 | 1131 | 1143 | 1081 | 927.1 | 815 | 752.5 | 717.6 | 698.8 | 700.2 | 692.1 | 680.3 | 664.1 | 636.5 | 602 | 573.4 | 595.1 | 589.9 | 419.8 | 301.3 | 207.7 | 131.6 | 86.37 | 63.85 | 101.7 | 875.9 | 9999.9 | 9999.9 | 4937 | 33.28 | 21.59 | 14.83 | 11.43 | 9.861 | 8.41 | 6.529 | 6.757 | 6.227 | 5.611 | 5.537 | 6.02 | 5.654 | 5.853 | 5.659 | 6.264 | 6.229 | 6.977 | 7.401 | 7.487 | 8.635
415 | 715.1 | 588.9 | 565.9 | 566 | 571.9 | 619 | 666.1 | 753.6 | 865.6 | 987.2 | 1072 | 1090 | 1042 | 904 | 800.8 | 745.9 | 721.8 | 720.1 | 718.1 | 718.4 | 710.7 | 698.2 | 677.2 | 642.6 | 609.6 | 574.8 | 604.5 | 528 | 345.6 | 231 | 152.1 | 99.46 | 69.68 | 54.18 | 98.18 | 903.1 | 9999.9 | 9999.9 | 4567 | 32.31 | 20.92 | 14.99 | 11.17 | 8.636 | 7.252 | 7.27 | 6.614 | 5.933 | 5.66 | 6.414 | 5.972 | 5.844 | 5.419 | 6.231 | 6.171 | 6.543 | 6.812 | 7.027 | 7.753
420 | 687.1 | 602.7 | 569.9 | 549.2 | 559.8 | 588.9 | 626.5 | 699.5 | 798.5 | 920.5 | 1001 | 1027 | 980.6 | 868.8 | 780.6 | 746.3 | 726 | 717.4 | 726.2 | 730 | 736.7 | 719.6 | 699.4 | 663.9 | 630.2 | 590.2 | 557.3 | 563.7 | 423 | 257.3 | 168.4 | 109 | 76.5 | 56.58 | 50.1 | 95.17 | 896.9 | 9999.9 | 9999.9 | 4227 | 31.1 | 19.97 | 14.54 | 10.66 | 8.333 | 7.388 | 6.848 | 6.094 | 6.016 | 6.477 | 6.302 | 5.493 | 5.601 | 5.808 | 6.101 | 6.332 | 7.072 | 7.322 | 7.167
425 | 662.5 | 580.4 | 547.8 | 536.5 | 548.4 | 560.9 | 595.6 | 650.7 | 749.3 | 830.7 | 930.3 | 955.9 | 927.6 | 830.4 | 756.6 | 727.3 | 712.2 | 708.7 | 721.8 | 724.2 | 729.6 | 712.3 | 695.5 | 678 | 638.8 | 595.3 | 536.6 | 496 | 466.9 | 309.3 | 179.2 | 122.3 | 86.7 | 64.28 | 51.34 | 44.33 | 92.07 | 898.4 | 9999.9 | 9999.9 | 3965 | 29.87 | 18.9 | 13.69 | 10.04 | 8.353 | 6.772 | 6.432 | 5.854 | 6.552 | 6.45 | 5.659 | 6.214 | 5.975 | 5.99 | 6.29 | 5.949 | 7.342 | 7.275
430 | 633 | 568.8 | 553 | 516.8 | 528 | 540.6 | 573.8 | 617 | 689.6 | 778.7 | 860.5 | 892 | 864.4 | 777.6 | 715.4 | 698.9 | 687.7 | 695.8 | 709 | 723.6 | 725 | 713.1 | 690.2 | 669.1 | 635.4 | 594.3 | 538.7 | 468 | 426 | 364.5 | 215.3 | 135.4 | 97.98 | 73.08 | 59.38 | 45.86 | 40.72 | 90.48 | 852.5 | 9999.9 | 9999.9 | 3999 | 29.11 | 18.38 | 12.94 | 9.803 | 7.772 | 6.957 | 5.972 | 6.136 | 6.522 | 6.206 | 5.888 | 5.761 | 6.263 | 6.354 | 6.041 | 6.733 | 6.889
435 | 612.6 | 532.5 | 535.9 | 525.1 | 525.1 | 523.5 | 550.4 | 587.8 | 639.3 | 737.5 | 804.3 | 834.5 | 805.8 | 737.4 | 689.4 | 674.1 | 666 | 689.7 | 689.8 | 706.2 | 705.9 | 696.6 | 681.4 | 652.6 | 615.1 | 581.1 | 528.9 | 463.2 | 382.2 | 351 | 276.7 | 158.4 | 109.8 | 83.66 | 68.16 | 55.07 | 43.31 | 40.44 | 85.89 | 883.8 | 9999.9 | 9999.9 | 3769 | 28.36 | 18.32 | 13.23 | 9.687 | 7.647 | 7.075 | 6.768 | 6.312 | 6.669 | 6.162 | 6.687 | 6.173 | 6.431 | 6.447 | 6.553 | 6.97
440 | 561.7 | 532 | 503.5 | 515.4 | 514.4 | 512.8 | 525.6 | 560.7 | 614.2 | 670.9 | 745.1 | 770.2 | 745.8 | 692.3 | 656.7 | 640.1 | 640.2 | 657.2 | 665.6 | 674.6 | 684.1 | 672.3 | 663.7 | 633.6 | 601.1 | 561.3 | 515.8 | 453.4 | 371.8 | 305.1 | 286.4 | 210.6 | 128.9 | 97.52 | 79.1 | 64.39 | 52.3 | 42.53 | 38.89 | 87.89 | 856.1 | 9999.9 | 9999.9 | 3800 | 27.1 | 17.7 | 12.38 | 9.432 | 7.614 | 7.389 | 6.642 | 6.562 | 6.458 | 6.548 | 6.489 | 6.52 | 6.529 | 6.391 | 7.169
445 | 567 | 500.8 | 493.5 | 501.7 | 498.3 | 495.6 | 512.3 | 537.3 | 577.2 | 629.7 | 690.6 | 697.4 | 688.2 | 641.1 | 616.5 | 600.7 | 608.1 | 616.8 | 632.9 | 645.1 | 649.5 | 641.7 | 628.1 | 603.6 | 571 | 534.7 | 492.7 | 438.4 | 363.1 | 288.6 | 245.9 | 240.6 | 167.2 | 112.8 | 90.29 | 74.2 | 62.16 | 50.43 | 40.47 | 38.79 | 86.53 | 856 | 9999.9 | 9999.9 | 3331 | 26.31 | 16.78 | 12.33 | 8.617 | 7.22 | 7.271 | 7.082 | 6.326 | 6.449 | 6.456 | 6.809 | 6.645 | 6.704 | 6.721
450 | 1224 | 482.6 | 474.6 | 485 | 487.2 | 486 | 495.4 | 501.5 | 537.7 | 582.9 | 625.7 | 646.6 | 627.6 | 586.1 | 559.9 | 558.3 | 566.9 | 578.5 | 591.1 | 599.4 | 608.5 | 603.8 | 586.9 | 567.9 | 532.4 | 502.4 | 465 | 416.6 | 352.8 | 280.2 | 225.4 | 215.1 | 210.6 | 139 | 106 | 87.44 | 74.48 | 61.5 | 49.58 | 42.17 | 39.97 | 85.18 | 849.4 | 9999.9 | 9999.9 | 3447 | 25.08 | 15.31 | 11.65 | 9.232 | 7.984 | 7.379 | 6.859 | 7.078 | 6.803 | 6.057 | 6.383 | 6.388 | 6.253
455 | 4459 | 486.4 | 459.7 | 462.7 | 459.7 | 465 | 476.4 | 477.4 | 489.5 | 536.4 | 572.3 | 579.6 | 567.1 | 532 | 511.4 | 514.3 | 525.8 | 530.3 | 547.4 | 560.8 | 565.2 | 558.8 | 546.2 | 532.6 | 499.6 | 475 | 434.9 | 394.7 | 341.6 | 281 | 227.3 | 191.1 | 202.8 | 179.2 | 127.1 | 101.1 | 86.28 | 73.08 | 62.05 | 51.07 | 42.12 | 40.43 | 85.77 | 882.2 | 9999.9 | 9999.9 | 3069 | 23.2 | 14.36 | 11.43 | 8.669 | 7.479 | 6.979 | 7.049 | 6.82 | 5.999 | 6.192 | 6.75 | 6.611
460 | 8961 | 1220 | 433.6 | 447.3 | 451.5 | 449.6 | 465.4 | 461.7 | 469.7 | 499 | 531.8 | 525.2 | 513.4 | 483.7 | 465.4 | 472.4 | 480.3 | 489 | 501.9 | 517.7 | 521.3 | 516.9 | 505.3 | 492.1 | 460.8 | 433 | 407.7 | 368.7 | 324.2 | 273.1 | 227.7 | 194.7 | 179.8 | 196.4 | 163.9 | 120.2 | 102 | 86.47 | 72.47 | 61.5 | 52.01 | 43.65 | 39.66 | 86.51 | 820.9 | 9999.9 | 9999.9 | 2786 | 21.74 | 14.68 | 10.77 | 8.839 | 7.53 | 7.141 | 7.403 | 6.685 | 6.411 | 6.647 | 6.56
465 | 7966 | 4694 | 443.3 | 417.7 | 419.3 | 447.3 | 439.3 | 444.5 | 431.1 | 458.5 | 483 | 477.1 | 456.7 | 428.9 | 422 | 424.3 | 432.2 | 446.8 | 459.8 | 470.8 | 478.6 | 471.7 | 464.2 | 444.4 | 426.6 | 399.3 | 371.6 | 348.9 | 312.4 | 265 | 228 | 199.7 | 181 | 175.4 | 190.5 | 148.5 | 117.3 | 101.2 | 86.28 | 71.48 | 61.75 | 49.08 | 41.92 | 37.23 | 80.89 | 820.9 | 9999.9 | 9999.9 | 2857 | 22.13 | 14.69 | 10.99 | 8.691 | 7.584 | 7.527 | 7.424 | 7.07 | 6.346 | 7.111
470 | 2261 | 9966 | 1308 | 394.9 | 425 | 432.3 | 436.2 | 422.4 | 412.7 | 421.7 | 439.4 | 433.1 | 411 | 378.3 | 379.4 | 375.5 | 388.9 | 404.2 | 417.2 | 426.3 | 431.8 | 430.9 | 421.9 | 404.6 | 383.7 | 358.3 | 344.9 | 323.6 | 292.6 | 256.7 | 224.3 | 203.1 | 186.4 | 169.9 | 174 | 179.8 | 136.8 | 113.5 | 97.55 | 84.68 | 70.87 | 58.9 | 48.75 | 39.48 | 36.34 | 80.07 | 798.8 | 9999.9 | 9999.9 | 2788 | 22.28 | 15.61 | 11.69 | 9.252 | 8.294 | 7.648 | 7.311 | 6.917 | 6.495
475 | 474.2 | 9490 | 5185 | 399.4 | 383.5 | 401.5 | 413 | 398.9 | 406.3 | 402.6 | 402.9 | 387.8 | 357.8 | 338.6 | 332.5 | 337.8 | 343 | 362.6 | 373.5 | 378.3 | 393.4 | 388.8 | 384.1 | 369.7 | 349.8 | 330 | 317.4 | 300 | 277.8 | 247.6 | 222.4 | 201.4 | 185 | 173.8 | 165.1 | 179.1 | 164.9 | 128 | 111.3 | 93.97 | 80.52 | 70.15 | 56.83 | 46.49 | 37.2 | 35.77 | 77.48 | 819.7 | 9999.9 | 9999.9 | 2083 | 23 | 14.78 | 11.51 | 9.769 | 8.207 | 7.178 | 7.017 | 6.432
480 | 333.8 | 2855 | 9999.9 | 1246 | 373.6 | 398.5 | 408.7 | 408.7 | 388.1 | 388.8 | 386.8 | 366.1 | 326.7 | 304.6 | 298.4 | 304.9 | 313 | 322.7 | 337.2 | 344 | 348.6 | 356.7 | 350.3 | 336.2 | 321.8 | 313.7 | 298.5 | 288.5 | 272 | 247.5 | 221.9 | 206.3 | 189.9 | 177.9 | 168.4 | 165.1 | 177.8 | 156.1 | 121.9 | 106 | 94.87 | 81.82 | 70.68 | 57.93 | 48.58 | 41.46 | 39.23 | 83.18 | 765.5 | 9999.9 | 9999.9 | 2298 | 22.7 | 15.64 | 11.69 | 9.247 | 7.609 | 6.866 | 6.693
485 | 317.1 | 510.7 | 9999.9 | 5213 | 404 | 395.3 | 417.8 | 424.9 | 396.3 | 401.7 | 380.3 | 344.7 | 300.2 | 273.7 | 268.6 | 276.1 | 284.2 | 297 | 310.5 | 317.8 | 329.8 | 332.7 | 328.9 | 325.8 | 310 | 299.1 | 292.2 | 285 | 273.4 | 250.5 | 234.6 | 216.3 | 199.4 | 190.3 | 178.1 | 169.4 | 172.5 | 178.3 | 149.6 | 124.8 | 111.8 | 102.8 | 91.79 | 78.43 | 66.05 | 57.6 | 51.39 | 49.73 | 87.94 | 808.8 | 9999.9 | 9999.9 | 1936 | 24.82 | 17.55 | 12.61 | 10.1 | 8.014 | 7.189
490 | 313.5 | 318.2 | 3125 | 9999.9 | 1200 | 424 | 445.4 | 470.4 | 448.1 | 426.8 | 388.9 | 335.2 | 281.7 | 254.1 | 247.3 | 252.9 | 261.4 | 273.9 | 284.9 | 299 | 307.2 | 311.9 | 313.3 | 308.7 | 300.8 | 298.4 | 299.3 | 293.4 | 284.8 | 269.5 | 247.3 | 230.8 | 213.3 | 201.5 | 191.4 | 185.7 | 179.8 | 187 | 184 | 158.4 | 139.7 | 131.6 | 119.5 | 106.1 | 95.42 | 83.69 | 76.55 | 69.7 | 63.56 | 102.9 | 831.4 | 9999.9 | 9999.9 | 2028 | 26.11 | 17.17 | 12.18 | 9.456 | 8.22
495 | 336.2 | 286.7 | 539.2 | 9999.9 | 4868 | 457.4 | 492.4 | 530.9 | 506.5 | 480.9 | 414.4 | 346 | 276.5 | 235 | 225.9 | 231.4 | 234.9 | 252.4 | 266.9 | 276.5 | 290.1 | 297.6 | 305.7 | 304.5 | 302.7 | 306.5 | 310.8 | 311.4 | 307.7 | 291.6 | 269.9 | 253.5 | 237.7 | 220 | 207.4 | 201.5 | 195.5 | 196.3 | 206.7 | 195.4 | 175.4 | 165.3 | 151.6 | 144.5 | 130.6 | 119.7 | 108 | 97.6 | 86.07 | 78.18 | 114.6 | 836.7 | 9999.9 | 9999.9 | 1952 | 24.77 | 16.07 | 12.46 | 10.05
500 | 365.9 | 298.1 | 317.9 | 3440 | 9999.9 | 1232 | 545.5 | 597.9 | 572 | 532.4 | 451.2 | 363.4 | 265.3 | 213.3 | 205.5 | 210.4 | 217.2 | 232.5 | 243 | 257.5 | 277.7 | 285.5 | 296.3 | 301.7 | 308 | 313.5 | 329.5 | 333 | 329.6 | 318.8 | 297.5 | 274.1 | 253.3 | 240.6 | 225.2 | 221.6 | 220.8 | 216.7 | 222.5 | 230.8 | 218 | 201.8 | 196.2 | 185.1 | 169.9 | 155.1 | 143.6 | 131.3 | 114.7 | 99.9 | 87.99 | 117.9 | 837.7 | 9999.9 | 9999.9 | 1830 | 22.94 | 15.63 | 12.04
505 | 356 | 329.9 | 309 | 595.3 | 9999.9 | 4617 | 606.8 | 655.1 | 638.7 | 584.2 | 482 | 367.9 | 254 | 200.5 | 187.7 | 187.2 | 197.6 | 211.7 | 225.2 | 244.3 | 262 | 276.3 | 291.8 | 300.5 | 310.3 | 324.7 | 339.4 | 350.6 | 354.8 | 347.2 | 322.6 | 297.5 | 272.8 | 251.1 | 241.2 | 237.2 | 237.6 | 239.3 | 238.9 | 250.5 | 257.4 | 244.6 | 230.9 | 223.4 | 208.5 | 189.6 | 178.2 | 166.7 | 145.1 | 123.9 | 104.1 | 87.15 | 113.7 | 824.8 | 9999.9 | 9999.9 | 1717 | 21.66 | 15.52
510 | 338.4 | 341.9 | 300.5 | 371.1 | 3970 | 9999.9 | 1370 | 691.5 | 687.8 | 618.7 | 510.6 | 370.2 | 242.2 | 180.8 | 170 | 171.5 | 182.2 | 192 | 209.1 | 229 | 245.2 | 264.7 | 280.2 | 299.8 | 314.5 | 330.1 | 350.1 | 366.6 | 372.5 | 360.2 | 337.5 | 310.5 | 285.7 | 266.7 | 250.1 | 249.7 | 252.7 | 253.3 | 254.2 | 265.2 | 275.6 | 279.7 | 266.1 | 251.9 | 240.6 | 222.2 | 207 | 191.9 | 170.1 | 143.5 | 120.7 | 96.34 | 74.3 | 100.5 | 799.7 | 9999.9 | 9999.9 | 1616 | 21.11
515 | 299 | 357.2 | 310.5 | 344.4 | 722.7 | 9999.9 | 4608 | 751 | 712.1 | 629.3 | 518.9 | 366.1 | 238.6 | 168.4 | 151.2 | 153.1 | 165.6 | 176.3 | 192 | 210.6 | 229.6 | 249.6 | 272.4 | 288.5 | 305.1 | 327.7 | 350.6 | 370 | 375.5 | 367.6 | 346.8 | 316.8 | 288.5 | 266.2 | 253.7 | 251.9 | 259.2 | 262.5 | 266.9 | 273.1 | 281.3 | 295.7 | 293.6 | 277.3 | 258.3 | 242.5 | 226.3 | 206.8 | 183.2 | 159.1 | 133.3 | 104.2 | 77.47 | 59.26 | 87.49 | 803.1 | 9999.9 | 9999.9 | 1442
520 | 281.7 | 315.6 | 335.7 | 332.5 | 437.8 | 4549 | 9999.9 | 1478 | 724.9 | 637.1 | 518.7 | 357.3 | 225.1 | 155 | 139.2 | 139.4 | 144.8 | 158.4 | 173.1 | 192 | 213.5 | 237.5 | 257 | 275.7 | 300.3 | 319 | 342.5 | 364.5 | 376.6 | 366.6 | 346.1 | 315.6 | 283.7 | 260.2 | 247.5 | 247 | 253.4 | 258.6 | 268 | 274.8 | 281 | 292.5 | 303.2 | 291.1 | 267.7 | 251.9 | 233.6 | 216 | 190.1 | 163.9 | 140 | 108.2 | 81.23 | 58.3 | 44.69 | 79.64 | 777.5 | 9999.9 | 9999.9
525 | 273.3 | 272.2 | 334 | 331.9 | 399.1 | 841 | 9999.9 | 4729 | 728.3 | 616.4 | 499.8 | 342.6 | 206.3 | 141.4 | 123.4 | 122.4 | 129.7 | 142.5 | 156.4 | 174.4 | 196.9 | 217.8 | 237.7 | 259.6 | 286.2 | 305.5 | 331 | 354.4 | 360.4 | 354.7 | 330.4 | 300.9 | 268.9 | 249.5 | 242.6 | 239.7 | 244.5 | 252.1 | 261.6 | 268 | 276.5 | 285.9 | 295.5 | 292.4 | 271 | 250.5 | 235 | 216.9 | 193.5 | 168.2 | 143.2 | 111.3 | 83.88 | 60.18 | 44.8 | 38.58 | 78.42 | 782.1 | 9999.9
530 | 254.9 | 241.9 | 306.8 | 329.3 | 356.8 | 487.8 | 5357 | 9999.9 | 1446 | 594.1 | 476.2 | 325.6 | 196.9 | 129.8 | 114 | 112.7 | 117 | 126.1 | 139.7 | 158.2 | 178.1 | 200.4 | 222.8 | 240.3 | 263 | 283.7 | 313.9 | 330.3 | 336.2 | 332.9 | 309.2 | 283.8 | 253.1 | 235.7 | 222.8 | 222.5 | 229 | 239.9 | 249.3 | 253.7 | 266.6 | 273.4 | 280.4 | 281.8 | 269.5 | 246.8 | 228.2 | 214.1 | 190.3 | 166.9 | 140.2 | 115.2 | 87.37 | 65.18 | 50.2 | 41.99 | 43.2 | 89.85 | 798.4
535 | 239.7 | 204.2 | 244.6 | 329.9 | 355.6 | 440.6 | 954.8 | 9999.9 | 4644 | 581.6 | 437 | 300.4 | 182.6 | 119 | 96.44 | 98.2 | 104.1 | 111.5 | 126.1 | 141 | 159.3 | 184.3 | 206 | 222.1 | 239.6 | 263.8 | 283.7 | 309.8 | 315.8 | 310.9 | 290.7 | 261.8 | 235.4 | 220.8 | 207.9 | 207.4 | 213 | 221.9 | 228.8 | 237.8 | 247.2 | 258.3 | 259.9 | 259.2 | 257.6 | 238.2 | 219.8 | 202.3 | 185.2 | 159.9 | 137.1 | 115.4 | 91.21 | 71.04 | 57.55 | 51.61 | 52.15 | 61.51 | 110.8
540 | 212.2 | 195 | 218.5 | 312.2 | 342.9 | 398.9 | 525.9 | 6057 | 9999.9 | 1275 | 402.5 | 275.5 | 163.5 | 110.2 | 89.99 | 88.66 | 92.36 | 100.3 | 111.2 | 126.9 | 146.2 | 163.1 | 180.9 | 201.7 | 220.3 | 236.6 | 255.9 | 277.1 | 284.9 | 281.2 | 264.7 | 238.6 | 214.2 | 198.8 | 185.3 | 189.8 | 195 | 204.1 | 210 | 219.4 | 229.7 | 236.1 | 239.9 | 237.6 | 234.7 | 226.8 | 208.1 | 191.3 | 173.7 | 153.4 | 132.4 | 113.1 | 93.85 | 76.63 | 63.57 | 60.02 | 63.94 | 72.57 | 85.41
545 | 193.5 | 186.7 | 180 | 258 | 327.1 | 371 | 448.1 | 1019 | 9999.9 | 4355 | 391.8 | 246 | 149.4 | 97.15 | 81.33 | 79.86 | 81.52 | 86.95 | 98.4 | 111 | 126.4 | 143 | 163 | 182.2 | 199.1 | 212.8 | 229.9 | 246.5 | 257.1 | 251 | 235.1 | 213.6 | 192.6 | 175.4 | 167.3 | 170.7 | 174.4 | 182.5 | 188.6 | 197.9 | 204.6 | 215.1 | 216.4 | 215.3 | 209.3 | 205.1 | 194 | 180.1 | 162.2 | 143.4 | 129.2 | 107.7 | 91.31 | 78.09 | 68.24 | 66.44 | 71.67 | 83 | 92.94
550 | 186.6 | 170.1 | 174.2 | 215.2 | 323.8 | 337.5 | 400.4 | 488.8 | 6473 | 9999.9 | 1113 | 225 | 136.6 | 86.92 | 70.73 | 68.19 | 69.36 | 75.42 | 84.01 | 96.36 | 110.9 | 123.9 | 141.9 | 160.6 | 175.6 | 187.6 | 205 | 213.4 | 224.3 | 221.9 | 204.6 | 185.6 | 165.3 | 153 | 147 | 147.4 | 154.6 | 160.9 | 164.9 | 173.9 | 182.8 | 186.7 | 192.2 | 190.8 | 187.7 | 177.4 | 174 | 164.3 | 145.5 | 127.6 | 116.1 | 101.9 | 86.18 | 73.62 | 67.87 | 64.22 | 71.75 | 84.12 | 95.6
555 | 170.9 | 135 | 143.9 | 180.8 | 276.9 | 317.4 | 337.7 | 406.9 | 957.2 | 9999.9 | 3994 | 218.8 | 119.4 | 77.51 | 61.41 | 58.08 | 58.77 | 61.85 | 70.69 | 81.31 | 93.57 | 107.1 | 123.6 | 136.9 | 151.9 | 164.9 | 177.3 | 187.4 | 197.4 | 193.4 | 181.7 | 162 | 147.2 | 133.8 | 129.6 | 128.7 | 133.1 | 138.5 | 145.9 | 151.1 | 158.6 | 163.5 | 169.2 | 165.7 | 163.5 | 155.1 | 149.9 | 143.7 | 131 | 114 | 103.6 | 90.4 | 78.25 | 65.48 | 62.08 | 59.01 | 66.8 | 75.48 | 88.98
560 | 160.6 | 125.9 | 125.8 | 153.8 | 215.1 | 295.3 | 307.6 | 352.1 | 391.8 | 6879 | 9999.9 | 864 | 101.8 | 66.22 | 53.1 | 49.47 | 51.33 | 52.76 | 59.32 | 67.89 | 78.62 | 91.18 | 103.1 | 118.9 | 128.8 | 138.9 | 150.1 | 157 | 166.2 | 161.4 | 154.3 | 137.8 | 127.4 | 113.1 | 108.8 | 109.3 | 113.3 | 117.7 | 123.3 | 129.7 | 133.6 | 141.2 | 142 | 143.4 | 136.2 | 132.3 | 126 | 124.2 | 114.1 | 100.8 | 88.26 | 78.31 | 65.83 | 57.08 | 52.03 | 50.53 | 57.58 | 65.53 | 76.16
565 | 123.7 | 106.7 | 107.4 | 128 | 163.6 | 257.9 | 276.1 | 303.7 | 316.9 | 886.7 | 9999.9 | 3600 | 101.6 | 56.48 | 46.57 | 40.94 | 41.68 | 43.97 | 50.31 | 56.53 | 65.95 | 74.53 | 85.96 | 95.44 | 104.9 | 116 | 127.2 | 132.7 | 139.3 | 134.8 | 128.6 | 115.6 | 102.9 | 96.34 | 89.34 | 92.84 | 95.22 | 98.94 | 103.2 | 110.5 | 113 | 118.8 | 121.3 | 121 | 117.1 | 112.2 | 106.2 | 102.8 | 96.58 | 84.69 | 75.77 | 63.35 | 55.65 | 47.57 | 43.29 | 40.53 | 45.8 | 52.65 | 60.79
570 | 131.5 | 94.72 | 101.1 | 105.9 | 138.5 | 208.9 | 267 | 263.3 | 276 | 277.6 | 6671 | 9594 | 654.2 | 51.35 | 39.47 | 35.27 | 35.65 | 37.2 | 41.83 | 47.06 | 54.53 | 62.42 | 71.07 | 81.55 | 88.53 | 97.17 | 104.7 | 109.8 | 114.8 | 112.2 | 105.5 | 96.85 | 88.22 | 78.7 | 74.03 | 75.89 | 77.64 | 83.68 | 84.18 | 90.81 | 93.85 | 99.89 | 101.2 | 99.34 | 98.03 | 92.58 | 89.16 | 83.63 | 77.79 | 71.38 | 64.37 | 52.63 | 45.23 | 37.23 | 36.08 | 34.41 | 37.06 | 42.39 | 48.7
575 | 122 | 90.39 | 83.78 | 93.41 | 113.6 | 146.7 | 245.1 | 247.4 | 244 | 229.6 | 768 | 9999.9 | 3132 | 56.11 | 33.83 | 30.71 | 30.83 | 31.53 | 34.54 | 38 | 44.21 | 51.73 | 58.92 | 65.43 | 72.3 | 79.06 | 86.36 | 91.12 | 93.94 | 93.13 | 87.21 | 79.9 | 71.12 | 64.24 | 61.37 | 62.23 | 65.69 | 67.79 | 71.09 | 74.15 | 77.41 | 80.18 | 82.06 | 82.46 | 82.79 | 76.97 | 73.55 | 69.56 | 64.06 | 58.56 | 53.56 | 44.93 | 36.51 | 31.04 | 27.57 | 26.61 | 27.71 | 31.35 | 36.87
580 | 128.8 | 88.89 | 77.95 | 82.65 | 104.4 | 132.4 | 219 | 251.4 | 231.6 | 219.7 | 215.9 | 6407 | 9049 | 544.4 | 30.24 | 25.23 | 26.35 | 26.55 | 27.96 | 32.92 | 37.25 | 43.05 | 48.77 | 53.65 | 59.44 | 64.65 | 69.38 | 76.2 | 80.68 | 76.76 | 72.82 | 65.75 | 57.78 | 53.34 | 51.22 | 50.88 | 52.94 | 55.47 | 58.76 | 61.83 | 63.81 | 66.4 | 68.03 | 68.51 | 66.46 | 62.21 | 60.63 | 56.31 | 51.41 | 47.87 | 43.07 | 37.41 | 30.73 | 25.99 | 22.12 | 20.68 | 21.91 | 25.24 | 29.49
585 | 153.3 | 113.7 | 75.28 | 71.27 | 91.81 | 118.4 | 182.4 | 253.1 | 227.4 | 217.1 | 184 | 693.2 | 9999.9 | 2793 | 36.96 | 22.99 | 22.02 | 22.95 | 25.03 | 28.12 | 31.26 | 35.51 | 40.61 | 45.45 | 49.38 | 52.92 | 57.17 | 62.33 | 63.83 | 64.61 | 59.03 | 53.14 | 49.76 | 44.74 | 42.32 | 40.89 | 44.15 | 46.02 | 48.2 | 49.81 | 51.32 | 54.83 | 55.92 | 54.99 | 53.35 | 51.78 | 49.84 | 46.57 | 43.42 | 38.61 | 35.56 | 30.21 | 26.09 | 20.56 | 17.69 | 17.24 | 17.23 | 20.39 | 23.79
590 | 152.9 | 106.6 | 76.79 | 72.35 | 89.18 | 109.2 | 145.5 | 238.7 | 245.7 | 216.6 | 188.2 | 157.7 | 5909 | 8628 | 431.2 | 22.99 | 20.35 | 20.07 | 20.7 | 23.39 | 26.03 | 29.07 | 33.44 | 37.19 | 40.48 | 42.94 | 48.33 | 51.17 | 53.02 | 52.77 | 50.22 | 44 | 40.22 | 37.06 | 34.91 | 34.95 | 35.02 | 37.82 | 37.84 | 41.06 | 43.05 | 44.63 | 46.47 | 45.45 | 44.15 | 43.05 | 41.36 | 38.1 | 35.26 | 31.1 | 28.28 | 25.17 | 21.7 | 17.47 | 15.77 | 13.72 | 14.2 | 17.16 | 19.13
595 | 176.4 | 103.6 | 77.59 | 67.64 | 80.45 | 95 | 133.9 | 201.7 | 261.6 | 220.5 | 187.6 | 123.2 | 598.1 | 9999.9 | 2362 | 28.86 | 19.62 | 17.86 | 18.66 | 20.69 | 22.1 | 23.41 | 28.58 | 30.82 | 32 | 36.61 | 40.19 | 42.81 | 43.73 | 45.01 | 40.42 | 37.21 | 33.89 | 29.97 | 30.31 | 29.21 | 29.75 | 31.63 | 31.86 | 34 | 36.28 | 37.47 | 38.64 | 38.07 | 36.33 | 34.82 | 33.17 | 30.84 | 28.09 | 25.55 | 22.4 | 20.72 | 18.91 | 15.66 | 12.54 | 11.54 | 12.27 | 13.82 | 14.72
600 | 180.4 | 119.7 | 77.69 | 58.36 | 70.42 | 90.69 | 129.4 | 180.6 | 263.1 | 232.2 | 193.1 | 125.7 | 97.55 | 5636 | 7550 | 330.4 | 18 | 16 | 16.24 | 17.07 | 18.55 | 20.77 | 24.98 | 26.05 | 27.52 | 30.43 | 32.6 | 35.72 | 35.15 | 36.12 | 34.32 | 31.84 | 27.59 | 25.76 | 24.4 | 24.45 | 25.66 | 26.05 | 27.41 | 29.01 | 29.62 | 30.46 | 31 | 31.91 | 30.27 | 28.99 | 28.03 | 26.25 | 24.3 | 21.74 | 19.98 | 17.68 | 14.47 | 13.1 | 11.08 | 10.05 | 10.42 | 11.39 | 12.71