## Sheet1
Report date: | 16:07:07, 09/02/2024
Sample: | 1
File name:
Run date: | 15:56:48, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 250.0/275.0 | 300.9
2 | 265.0/340.0 | 6513
3 | 365.0/510.0 | 449.5
4 | 395.0/280.0 | 8.759
5 | 400.0/285.0 | 8.651
6 | 405.0/290.0 | 7.926
7 | 410.0/295.0 | 8.194
8 | 410.0/480.0 | 177.9
9 | 415.0/300.0 | 7.737
10 | 420.0/305.0 | 8.303
11 | 440.0/520.0 | 331.7
12 | 445.0/525.0 | 322
13 | 455.0/310.0 | 14.78
14 | 460.0/315.0 | 15.09
15 | 510.0/280.0 | 5.534
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 51.29 | 26.92 | 58.32 | 248.5 | 162.2 | 55.95 | 203.7 | 9999.9 | 9999.9 | 5945 | 43.19 | 23.92 | 16.95 | 13.44 | 10.49 | 9.219 | 8.482 | 7.675 | 7.103 | 7.581 | 6.981 | 6.155 | 6.642 | 6.203 | 5.777 | 6.282 | 6.217 | 5.553 | 5.533 | 7.099 | 7.889 | 9.316 | 8.661 | 7.04 | 5.697 | 5.721 | 7.173 | 6.466 | 5.618 | 5.19 | 4.694 | 4.243 | 4.119 | 4.31 | 3.376 | 3.333 | 2.398 | 2.12 | 2.109 | 1.936 | 1.865 | 2.503 | 3.562 | 3.815 | 2.578 | 2.106 | 1.994 | 1.933 | 2.296
275 | 75.6 | 41.68 | 42.88 | 100.7 | 300.9 | 153.1 | 96.32 | 848.4 | 9999.9 | 9999.9 | 5526 | 48.2 | 21.16 | 17.39 | 12.1 | 10.89 | 9.286 | 8.715 | 8.185 | 7.657 | 7.186 | 6.699 | 6.314 | 5.851 | 5.703 | 6.461 | 6.315 | 6.185 | 6.644 | 5.654 | 6.843 | 7.721 | 8.639 | 8.199 | 6.523 | 5.473 | 5.713 | 6.434 | 6.179 | 5.914 | 5.228 | 4.311 | 3.948 | 4.033 | 3.961 | 3.765 | 3.163 | 2.566 | 2.062 | 2.001 | 2.165 | 2.233 | 2.069 | 3.123 | 4.177 | 3.993 | 2.562 | 2.193 | 2.136
280 | 144.5 | 75.7 | 54.79 | 65.29 | 183.9 | 369 | 188.6 | 212.6 | 902.4 | 9999.9 | 9999.9 | 5284 | 47.75 | 21.63 | 15.51 | 13.55 | 11.07 | 9.588 | 8.941 | 7.437 | 7.925 | 7.232 | 7.327 | 6.864 | 6.035 | 6.516 | 6.454 | 5.859 | 6.072 | 5.33 | 5.592 | 6.304 | 7.339 | 8.759 | 7.558 | 6.155 | 5.52 | 5.346 | 6.08 | 6.404 | 5.74 | 4.71 | 4.432 | 4.601 | 4.127 | 4.173 | 3.421 | 3.331 | 2.299 | 2.146 | 2.175 | 2.095 | 2.079 | 2.104 | 2.744 | 4.016 | 5.534 | 4.094 | 3.007
285 | 514.5 | 246.6 | 132.2 | 100.1 | 147.6 | 388.3 | 573.1 | 477 | 604.7 | 1336 | 9999.9 | 9999.9 | 4993 | 50.26 | 22.03 | 18.48 | 13.88 | 10.99 | 10.15 | 8.759 | 8.175 | 7.596 | 7.701 | 7.47 | 5.851 | 6.632 | 6.629 | 6.294 | 6.172 | 5.97 | 5.725 | 5.221 | 6.277 | 6.696 | 8.651 | 7.841 | 6.361 | 5.508 | 5.688 | 5.598 | 6.158 | 5.739 | 4.977 | 5.314 | 4.882 | 5.39 | 4.988 | 4.167 | 3.273 | 2.879 | 2.573 | 2.552 | 2.144 | 2.408 | 2.537 | 3.264 | 3.875 | 6.431 | 7.092
290 | 1261 | 650.3 | 324 | 213.9 | 280.4 | 461.8 | 951.7 | 1287 | 1464 | 1651 | 2120 | 9999.9 | 9999.9 | 5210 | 43.98 | 23.82 | 17.36 | 13.74 | 11.74 | 10.19 | 9.662 | 8.857 | 8.078 | 7.494 | 7.274 | 6.997 | 7.142 | 6.248 | 6.145 | 6.494 | 5.609 | 5.592 | 5.263 | 5.731 | 7.01 | 7.926 | 7.198 | 6.097 | 5.354 | 5.615 | 6.035 | 6.454 | 6.688 | 6.421 | 6.809 | 7.157 | 7.346 | 5.967 | 5.019 | 4.604 | 3.484 | 3.473 | 3 | 3.358 | 3.67 | 4.304 | 5.162 | 6.775 | 9.143
295 | 2235 | 1210 | 620.1 | 422.9 | 489.2 | 760.9 | 1248 | 2194 | 2717 | 2889 | 2628 | 2243 | 9999.9 | 9999.9 | 4811 | 46.09 | 23.6 | 19.19 | 14.09 | 11.82 | 11.43 | 9.76 | 8.94 | 8.128 | 7.241 | 7.937 | 6.981 | 7.11 | 6.063 | 6.266 | 6.169 | 5.622 | 5.679 | 5.171 | 5.36 | 6.533 | 8.194 | 7.468 | 6.576 | 5.87 | 6.022 | 6.59 | 7.58 | 8.042 | 8.953 | 9.516 | 9.736 | 8.249 | 7.402 | 6.548 | 5.522 | 4.461 | 3.821 | 4.629 | 5.181 | 5.922 | 7.253 | 8.648 | 11.32
300 | 3122 | 1773 | 969.2 | 655.6 | 752.6 | 1128 | 1734 | 2715 | 3955 | 4230 | 3721 | 2363 | 1587 | 9999.9 | 9999.9 | 4983 | 46.18 | 25.19 | 19.24 | 14.83 | 12.74 | 12.01 | 10.4 | 9.36 | 7.697 | 7.741 | 7.594 | 6.778 | 6.944 | 6.308 | 6.723 | 6.716 | 5.808 | 5.839 | 5.446 | 5.646 | 6.666 | 7.737 | 7.506 | 6.486 | 6.184 | 6.864 | 8.238 | 9.834 | 10.83 | 11.39 | 11.6 | 10.66 | 8.885 | 8.509 | 7.093 | 6.373 | 5.582 | 5.737 | 6.968 | 8.107 | 9.095 | 11.9 | 15.71
305 | 3659 | 2269 | 1328 | 980.7 | 1111 | 1534 | 2233 | 3247 | 4451 | 5353 | 4639 | 3007 | 1294 | 1232 | 9999.9 | 9999.9 | 4824 | 44.1 | 27.26 | 19.15 | 16.5 | 14.47 | 11.87 | 10.28 | 8.952 | 8.438 | 8.338 | 7.648 | 7.333 | 7.103 | 6.355 | 6.456 | 5.857 | 6.271 | 5.53 | 5.668 | 6.061 | 6.513 | 8.303 | 7.993 | 6.962 | 6.987 | 7.526 | 10.57 | 11.71 | 14.29 | 13.75 | 12.03 | 10.54 | 9.921 | 9.093 | 7.98 | 7.585 | 7.62 | 8.9 | 10.21 | 12.71 | 15.16 | 19.26
310 | 3833 | 2532 | 1647 | 1403 | 1573 | 2075 | 2765 | 3774 | 4847 | 5665 | 5461 | 3610 | 1699 | 781.1 | 1075 | 9999.9 | 9999.9 | 4849 | 49.46 | 26.91 | 20.76 | 17.16 | 14.09 | 11.83 | 9.361 | 10.54 | 8.84 | 8.36 | 8.667 | 7.57 | 7.081 | 6.352 | 6.302 | 6.144 | 5.314 | 5.724 | 5.513 | 5.697 | 6.9 | 8.428 | 8.036 | 7.635 | 8.275 | 9.927 | 11.51 | 14.78 | 14.61 | 13.08 | 11.36 | 11.05 | 10.54 | 9.937 | 9.807 | 10.73 | 11.19 | 14.18 | 16.29 | 19.53 | 23.03
315 | 4016 | 2742 | 1988 | 1888 | 2238 | 2856 | 3568 | 4377 | 5265 | 5818 | 5750 | 4297 | 2258 | 1159 | 647.5 | 1156 | 9999.9 | 9999.9 | 4979 | 44.97 | 28.1 | 22.72 | 17.44 | 14.19 | 12.28 | 11.57 | 10.21 | 9.871 | 8.613 | 8.388 | 6.804 | 7.188 | 6.421 | 5.931 | 5.914 | 5.67 | 5.781 | 5.29 | 6.204 | 7.259 | 8.482 | 8.436 | 8.961 | 9.975 | 11.89 | 14 | 15.09 | 13.88 | 12.26 | 12.66 | 11.81 | 12.57 | 12.94 | 13.24 | 15.37 | 18.07 | 21.81 | 24.66 | 28.2
320 | 3895 | 2865 | 2327 | 2410 | 2954 | 3755 | 4422 | 5074 | 5685 | 6024 | 5797 | 4807 | 3004 | 1656 | 986.8 | 700.5 | 1183 | 9999.9 | 9999.9 | 4907 | 45.99 | 29.54 | 22.98 | 17.55 | 13.39 | 13.22 | 10.98 | 10.35 | 9.203 | 8.865 | 8.131 | 7.061 | 7.237 | 6.374 | 5.743 | 5.949 | 5.815 | 5.17 | 5.874 | 6.442 | 7.953 | 8.787 | 10.13 | 10.05 | 11.35 | 13.58 | 14.75 | 13.97 | 13.35 | 13.48 | 13.12 | 14.31 | 15.28 | 16.96 | 20.67 | 23.59 | 26.9 | 30.56 | 34.65
325 | 3957 | 2950 | 2591 | 2833 | 3573 | 4400 | 5113 | 5656 | 5985 | 6127 | 5931 | 4912 | 3645 | 2204 | 1313 | 908.1 | 638.3 | 1041 | 9999.9 | 9999.9 | 5215 | 50.03 | 31.22 | 24.39 | 17.56 | 15.39 | 12.19 | 11.7 | 10.04 | 9.351 | 8.549 | 7.534 | 6.736 | 6.159 | 6.462 | 6.204 | 5.72 | 5.714 | 5.786 | 6.296 | 6.574 | 8.303 | 9.782 | 11.4 | 11.29 | 12.95 | 13.43 | 13.89 | 13.29 | 14.15 | 14.95 | 15.71 | 17.03 | 19.71 | 22.76 | 27.14 | 31.27 | 35 | 39.74
330 | 3834 | 2912 | 2735 | 3120 | 4003 | 4987 | 5682 | 6134 | 6237 | 6249 | 6088 | 5151 | 3855 | 2767 | 1682 | 1120 | 736 | 387.9 | 923.2 | 9999.9 | 9999.9 | 5846 | 50.7 | 33.08 | 24.01 | 20.09 | 14.56 | 13.14 | 11.41 | 9.224 | 8.791 | 7.808 | 7.283 | 6.531 | 6.515 | 5.828 | 5.681 | 5.518 | 5.995 | 6.255 | 6.554 | 7.384 | 9.236 | 10.81 | 11.86 | 12.95 | 13.81 | 13.36 | 12.87 | 14.2 | 15.24 | 16.69 | 18.61 | 21.58 | 25.99 | 29.74 | 35.37 | 38.06 | 44.29
335 | 3728 | 2873 | 2773 | 3309 | 4279 | 5324 | 6080 | 6463 | 6430 | 6332 | 6141 | 5394 | 4111 | 2882 | 2143 | 1346 | 845.4 | 401.4 | 202.6 | 885.9 | 9999.9 | 9999.9 | 6033 | 54.32 | 32 | 26.75 | 19.52 | 15.23 | 12.8 | 11.3 | 9.762 | 8.607 | 7.79 | 6.85 | 6.505 | 6.73 | 5.682 | 6.051 | 5.948 | 6.388 | 6.422 | 7.196 | 8.112 | 10.2 | 11.7 | 13.61 | 13.46 | 12.84 | 12.01 | 14.29 | 15.43 | 17.64 | 19.78 | 22.3 | 26.81 | 32.45 | 36.47 | 42.6 | 46.68
340 | 3567 | 2785 | 2670 | 3303 | 4273 | 5378 | 6107 | 6513 | 6462 | 6313 | 6148 | 5473 | 4317 | 2964 | 2179 | 1643 | 949.5 | 436.9 | 183.2 | 148.6 | 904.8 | 9999.9 | 9999.9 | 6744 | 52.45 | 35.16 | 26.01 | 20.13 | 14.72 | 12.67 | 11.33 | 9.648 | 8.457 | 7.94 | 7.115 | 6.421 | 6.712 | 5.802 | 6.051 | 6.085 | 6.246 | 6.885 | 7.619 | 9.475 | 11.28 | 13.42 | 14.14 | 12.38 | 11.64 | 13.5 | 14.75 | 17.74 | 18.8 | 22.64 | 28.02 | 32.54 | 37.6 | 44.4 | 46.65
345 | 3450 | 2670 | 2572 | 3134 | 4168 | 5197 | 5990 | 6395 | 6317 | 6143 | 5994 | 5432 | 4351 | 2986 | 2075 | 1673 | 1141 | 496.2 | 215.7 | 130.5 | 150.8 | 948.8 | 9999.9 | 9999.9 | 6575 | 57.34 | 36.05 | 27.65 | 19.93 | 15.57 | 12.87 | 10.55 | 9.3 | 8.181 | 7.152 | 7.097 | 6.164 | 6.417 | 6.142 | 5.999 | 6.698 | 7.117 | 7.589 | 9.212 | 11 | 12.26 | 13.73 | 12.48 | 11.66 | 12.45 | 14.11 | 16.39 | 18.76 | 22.38 | 27.15 | 31.54 | 36.88 | 39.56 | 44.7
350 | 3197 | 2422 | 2418 | 2932 | 3901 | 4864 | 5654 | 6022 | 6014 | 5927 | 5781 | 5251 | 4278 | 2958 | 2061 | 1513 | 1234 | 670.2 | 286.7 | 184 | 144.5 | 171 | 917.9 | 9999.9 | 9999.9 | 7415 | 56.62 | 38.65 | 26.92 | 19.64 | 14.48 | 11.64 | 10.44 | 9.639 | 7.965 | 7.257 | 6.805 | 6.795 | 5.909 | 5.982 | 6.452 | 7.44 | 7.663 | 8.817 | 9.622 | 11.6 | 11.94 | 11.72 | 11.63 | 12.69 | 14 | 15.29 | 17.5 | 21.94 | 24.72 | 29.73 | 34.1 | 39.31 | 44.38
355 | 2957 | 2192 | 2185 | 2690 | 3504 | 4479 | 5164 | 5600 | 5649 | 5519 | 5434 | 5002 | 4098 | 2860 | 2032 | 1474 | 1091 | 852.9 | 451.5 | 265.9 | 209.3 | 177.6 | 186 | 995.7 | 9999.9 | 9999.9 | 7132 | 57.79 | 37.34 | 28.13 | 18.36 | 14.24 | 10.45 | 9.527 | 8.668 | 8.171 | 7.147 | 6.677 | 6.761 | 6.507 | 6.727 | 7.371 | 7.684 | 8.51 | 9.305 | 10.77 | 11.03 | 10.65 | 11.01 | 12.73 | 12.82 | 13.73 | 16.52 | 19.35 | 22.98 | 27.07 | 31.16 | 36.07 | 39.33
360 | 2675 | 2061 | 1964 | 2388 | 3147 | 3995 | 4698 | 5076 | 5147 | 5151 | 5057 | 4685 | 3864 | 2727 | 1967 | 1465 | 1081 | 806.3 | 709 | 433.6 | 318.5 | 247.9 | 197.9 | 200.5 | 918.8 | 9999.9 | 9999.9 | 7961 | 58.8 | 38.09 | 25.83 | 18.68 | 13.27 | 10.21 | 9.185 | 9.103 | 7.272 | 7.328 | 6.739 | 6.594 | 6.825 | 7.081 | 7.779 | 8.029 | 9.065 | 9.883 | 9.814 | 10.14 | 9.895 | 11.41 | 11.93 | 12.74 | 14.44 | 17.27 | 21.82 | 25.22 | 28.85 | 33.18 | 35.3
365 | 2499 | 1818 | 1803 | 2146 | 2805 | 3550 | 4160 | 4569 | 4672 | 4694 | 4631 | 4312 | 3606 | 2576 | 1892 | 1455 | 1113 | 830.3 | 748.2 | 703.6 | 454.2 | 346.3 | 268.8 | 196.9 | 187.5 | 988.4 | 9999.9 | 9999.9 | 7455 | 58.72 | 33.51 | 24.93 | 17.06 | 13.37 | 10.2 | 9.34 | 8.465 | 7.859 | 6.964 | 6.723 | 6.811 | 6.586 | 7.577 | 7.771 | 8.544 | 9.22 | 9.007 | 8.414 | 8.841 | 10.27 | 11.23 | 13.02 | 13.86 | 15.67 | 19.02 | 22.64 | 26.13 | 29.14 | 32.39
370 | 2244 | 1674 | 1610 | 1897 | 2486 | 3107 | 3679 | 4044 | 4211 | 4261 | 4196 | 3928 | 3337 | 2429 | 1835 | 1460 | 1172 | 927 | 775.7 | 815.2 | 705.1 | 472.3 | 350.6 | 255.1 | 176.2 | 173.4 | 978.7 | 9999.9 | 9999.9 | 7381 | 55.55 | 34.3 | 24.73 | 16.21 | 12.35 | 10.39 | 8.748 | 7.711 | 8.028 | 7.237 | 6.875 | 7.422 | 6.964 | 7.523 | 8.394 | 8.819 | 8.724 | 7.865 | 8.09 | 9.413 | 10.11 | 12.01 | 13.04 | 13.83 | 17.06 | 20.21 | 23.29 | 26.59 | 29.48
375 | 2072 | 1565 | 1494 | 1710 | 2142 | 2708 | 3159 | 3544 | 3743 | 3829 | 3805 | 3610 | 3096 | 2328 | 1815 | 1485 | 1249 | 1032 | 900.3 | 838.7 | 889.9 | 690 | 453.3 | 326.2 | 221.3 | 151.2 | 162.6 | 997.9 | 9999.9 | 9999.9 | 7285 | 52.27 | 32.24 | 23.15 | 15.96 | 12.04 | 9.698 | 8.939 | 8.325 | 7.107 | 7.169 | 6.848 | 7.193 | 7.944 | 8.24 | 8.41 | 8.47 | 7.848 | 7.862 | 9.05 | 9.035 | 11.15 | 12.41 | 13.5 | 15.06 | 18.27 | 19.32 | 22.76 | 26.07
380 | 1963 | 1434 | 1367 | 1528 | 1911 | 2362 | 2792 | 3095 | 3288 | 3407 | 3436 | 3292 | 2878 | 2227 | 1784 | 1514 | 1321 | 1165 | 1050 | 951.2 | 895.2 | 893.4 | 626 | 417.6 | 287.2 | 194.7 | 141.2 | 164.6 | 1015 | 9999.9 | 9999.9 | 6873 | 50.02 | 30.23 | 21.87 | 15.77 | 11.51 | 9.759 | 8.589 | 7.856 | 7.298 | 6.921 | 7.464 | 7.765 | 7.844 | 8.329 | 8.224 | 7.763 | 7.462 | 8.517 | 8.4 | 10.06 | 10.91 | 12.18 | 14.14 | 16.45 | 19.07 | 20.42 | 22.19
385 | 1729 | 1359 | 1267 | 1388 | 1691 | 2052 | 2416 | 2694 | 2910 | 3047 | 3121 | 3045 | 2694 | 2155 | 1809 | 1588 | 1419 | 1289 | 1199 | 1090 | 990.1 | 913.2 | 838.4 | 546.1 | 361.7 | 255.6 | 183.6 | 136.6 | 159.5 | 1024 | 9999.9 | 9999.9 | 6636 | 46.57 | 29.42 | 21.03 | 14.55 | 10.78 | 9.595 | 9.073 | 7.342 | 7.271 | 7.401 | 7.349 | 7.813 | 8.194 | 8.368 | 7.513 | 6.962 | 7.635 | 8.337 | 9.112 | 10.4 | 10.7 | 12.78 | 14.9 | 17.24 | 18.78 | 19.75
390 | 1641 | 1268 | 1211 | 1275 | 1490 | 1809 | 2107 | 2370 | 2591 | 2763 | 2857 | 2835 | 2599 | 2155 | 1888 | 1697 | 1541 | 1437 | 1346 | 1249 | 1128 | 975.5 | 892.5 | 745.5 | 475.3 | 329.4 | 240.6 | 178.8 | 128.7 | 154.8 | 956.8 | 9999.9 | 9999.9 | 6491 | 45.17 | 28.04 | 20.02 | 14.52 | 10.44 | 9.397 | 8.211 | 8.066 | 7.327 | 7.419 | 7.259 | 7.48 | 7.628 | 7.091 | 6.578 | 7.637 | 7.946 | 8.771 | 8.998 | 10.64 | 11.4 | 13.81 | 14.85 | 16.4 | 17.37
395 | 1560 | 1230 | 1155 | 1213 | 1352 | 1594 | 1861 | 2095 | 2338 | 2533 | 2673 | 2689 | 2540 | 2197 | 1972 | 1820 | 1672 | 1566 | 1502 | 1405 | 1264 | 1097 | 923.4 | 834.7 | 649.5 | 411.6 | 311 | 228.6 | 159.7 | 112.1 | 138.2 | 1012 | 9999.9 | 9999.9 | 6058 | 43.24 | 26.68 | 19.18 | 13.57 | 10.48 | 9.245 | 8.145 | 7.849 | 7.949 | 7.37 | 7.418 | 8.061 | 7.028 | 7.088 | 7.586 | 7.951 | 7.82 | 9.041 | 9.312 | 10.56 | 12.55 | 14.45 | 14.19 | 16.5
400 | 1415 | 1241 | 1124 | 1121 | 1236 | 1423 | 1628 | 1861 | 2105 | 2331 | 2475 | 2571 | 2483 | 2231 | 2063 | 1921 | 1795 | 1706 | 1637 | 1527 | 1380 | 1202 | 1000 | 834.7 | 763.3 | 557.6 | 381.1 | 280.4 | 200 | 139.7 | 100.2 | 132.1 | 940.7 | 9999.9 | 9999.9 | 5555 | 39.98 | 25.27 | 19.06 | 12.82 | 9.656 | 8.951 | 8.766 | 7.961 | 7.809 | 7.392 | 7.606 | 6.968 | 7.077 | 7.694 | 7.538 | 7.848 | 8.243 | 9.038 | 10.63 | 10.65 | 12.41 | 14.47 | 15.27
405 | 1353 | 1196 | 1112 | 1067 | 1143 | 1293 | 1462 | 1689 | 1901 | 2149 | 2332 | 2476 | 2454 | 2266 | 2153 | 2019 | 1904 | 1813 | 1736 | 1643 | 1483 | 1289 | 1086 | 881.8 | 750.4 | 693.5 | 488.9 | 338.9 | 245.2 | 168.3 | 115.1 | 83.06 | 121 | 887.6 | 9999.9 | 9999.9 | 5655 | 38.59 | 24.39 | 16.46 | 12.51 | 9.729 | 8.172 | 7.996 | 7.627 | 8.429 | 6.929 | 6.981 | 6.738 | 7.586 | 7.772 | 8.251 | 8.472 | 8.679 | 9.796 | 10.49 | 11.16 | 12.75 | 13.06
410 | 1269 | 1142 | 1068 | 1012 | 1068 | 1194 | 1322 | 1515 | 1753 | 1994 | 2199 | 2390 | 2390 | 2267 | 2177 | 2076 | 1967 | 1887 | 1812 | 1708 | 1547 | 1355 | 1143 | 938.3 | 766.9 | 693.1 | 615.4 | 408.8 | 283.2 | 195.3 | 136.5 | 95.47 | 73.68 | 109.7 | 876.8 | 9999.9 | 9999.9 | 5148 | 36.65 | 22.2 | 16.54 | 12.02 | 9.504 | 8.878 | 7.588 | 8.294 | 7.666 | 7.259 | 7.225 | 7.736 | 7.52 | 7.711 | 8.202 | 8.7 | 8.998 | 9.466 | 10.51 | 11.35 | 12.53
415 | 1213 | 1130 | 1045 | 1006 | 1008 | 1085 | 1210 | 1387 | 1612 | 1861 | 2085 | 2276 | 2331 | 2247 | 2192 | 2101 | 1999 | 1916 | 1854 | 1742 | 1587 | 1385 | 1174 | 974.2 | 801.2 | 674.9 | 635.6 | 522.1 | 330.9 | 229.8 | 159.7 | 111.8 | 81.16 | 62.67 | 102.7 | 923.7 | 9999.9 | 9999.9 | 4868 | 33.34 | 21.36 | 14.78 | 11.86 | 9.425 | 8.073 | 8.176 | 7.957 | 7.173 | 7.161 | 7.696 | 7.77 | 7.619 | 7.441 | 8.168 | 7.949 | 8.871 | 9.261 | 10.42 | 11.28
420 | 1184 | 1060 | 1020 | 971.8 | 973.6 | 1002 | 1099 | 1278 | 1501 | 1748 | 1968 | 2161 | 2241 | 2189 | 2169 | 2071 | 1980 | 1910 | 1844 | 1738 | 1582 | 1401 | 1190 | 1002 | 830 | 695.7 | 592 | 563.6 | 418.5 | 262.3 | 183.8 | 130.2 | 94.81 | 69.77 | 58.32 | 102.9 | 910.2 | 9999.9 | 9999.9 | 4160 | 32.71 | 20.52 | 15.23 | 11.79 | 8.671 | 8.559 | 7.966 | 7.188 | 7.647 | 8.156 | 7.885 | 7.999 | 7.814 | 7.932 | 8.424 | 8.797 | 9.246 | 10.08 | 10.27
425 | 1080 | 1062 | 997.9 | 921.2 | 924.5 | 965.1 | 1028 | 1173 | 1381 | 1618 | 1853 | 2036 | 2137 | 2107 | 2100 | 2037 | 1950 | 1878 | 1810 | 1721 | 1571 | 1381 | 1188 | 1000 | 850.8 | 707.8 | 597.9 | 521.9 | 481.5 | 323.6 | 207.8 | 146.2 | 110.4 | 80.24 | 61.98 | 53.74 | 99.7 | 911.2 | 9999.9 | 9999.9 | 4059 | 30.46 | 19.47 | 14.68 | 10.83 | 9.477 | 8.666 | 7.122 | 7.431 | 8.039 | 7.97 | 7.761 | 7.693 | 7.88 | 7.985 | 8.386 | 9.015 | 9.724 | 9.765
430 | 1015 | 983 | 982.6 | 902.5 | 880.2 | 887.3 | 950 | 1096 | 1277 | 1516 | 1727 | 1908 | 2000 | 2004 | 2013 | 1970 | 1879 | 1818 | 1757 | 1678 | 1531 | 1358 | 1176 | 994.4 | 851.4 | 728.3 | 611.8 | 513.1 | 451.7 | 392.4 | 249.5 | 166.9 | 123.7 | 96.97 | 72.79 | 59.56 | 49.45 | 98.55 | 868.6 | 9999.9 | 9999.9 | 4064 | 29.66 | 18.97 | 14.48 | 11.11 | 9.244 | 7.729 | 7.551 | 7.985 | 7.631 | 8.139 | 7.682 | 8.087 | 8.535 | 8.264 | 8.438 | 9.087 | 9.295
435 | 971.3 | 964.5 | 929.2 | 883.4 | 854.6 | 873.4 | 913.7 | 1020 | 1193 | 1411 | 1622 | 1789 | 1888 | 1915 | 1912 | 1879 | 1808 | 1754 | 1699 | 1622 | 1490 | 1330 | 1153 | 986.7 | 852.4 | 726.4 | 624.6 | 522.3 | 428.7 | 395 | 320.4 | 197 | 141.3 | 111.5 | 86.02 | 68.2 | 53.84 | 49.35 | 93.78 | 896.8 | 9999.9 | 9999.9 | 3757 | 29.15 | 18.08 | 14.11 | 10.97 | 8.751 | 8.195 | 8.429 | 8.064 | 8.127 | 7.463 | 7.482 | 7.713 | 7.831 | 8.634 | 8.517 | 8.922
440 | 907.6 | 925 | 922.5 | 863.3 | 812.1 | 817.7 | 855.7 | 954.2 | 1112 | 1311 | 1504 | 1659 | 1741 | 1779 | 1807 | 1770 | 1701 | 1663 | 1624 | 1549 | 1433 | 1281 | 1117 | 970 | 840.3 | 728.2 | 626.1 | 536.8 | 437.9 | 355.2 | 335.6 | 251.6 | 164 | 124.7 | 101.1 | 79.91 | 64.15 | 53.6 | 46.16 | 93.01 | 869.9 | 9999.9 | 9999.9 | 3704 | 28.35 | 18.93 | 13.75 | 9.945 | 8.279 | 7.955 | 8.102 | 8.25 | 7.64 | 7.562 | 7.982 | 7.764 | 7.759 | 8.333 | 8.927
445 | 879 | 878.1 | 884.5 | 825.9 | 794.5 | 784.1 | 813.5 | 884.8 | 1012 | 1200 | 1367 | 1519 | 1607 | 1650 | 1672 | 1649 | 1595 | 1552 | 1529 | 1450 | 1348 | 1219 | 1075 | 938.6 | 818.9 | 711.1 | 627.5 | 537.6 | 442.4 | 352.9 | 303.6 | 290.1 | 205.9 | 143.5 | 110.5 | 92.47 | 75.21 | 61.63 | 49.96 | 44.58 | 91.27 | 854.5 | 9999.9 | 9999.9 | 3400 | 27.96 | 17.93 | 12.56 | 10.04 | 8.725 | 8.727 | 8.44 | 7.503 | 7.824 | 8.108 | 8.044 | 8.136 | 8.356 | 8.509
450 | 1272 | 803.6 | 817.7 | 785.2 | 742.1 | 739.2 | 752.5 | 817.3 | 935.1 | 1096 | 1242 | 1383 | 1456 | 1495 | 1524 | 1516 | 1463 | 1432 | 1404 | 1350 | 1260 | 1146 | 1016 | 889.1 | 779.5 | 688.9 | 605.6 | 522.2 | 437.5 | 353.5 | 288.7 | 263.2 | 249.3 | 171.9 | 125.9 | 104 | 86.31 | 69.17 | 57.24 | 47.1 | 44.73 | 89.72 | 849.4 | 9999.9 | 9999.9 | 3425 | 26.43 | 16.56 | 12.35 | 10.04 | 8.879 | 8.364 | 7.894 | 8.03 | 7.918 | 7.952 | 8.054 | 7.676 | 8.138
455 | 3276 | 747.4 | 745.7 | 727.9 | 712.3 | 707.7 | 704 | 748.5 | 842.9 | 995.8 | 1125 | 1243 | 1314 | 1347 | 1379 | 1374 | 1337 | 1312 | 1277 | 1234 | 1150 | 1059 | 947.4 | 834.3 | 741.9 | 659.3 | 580.3 | 512.4 | 428.2 | 357.4 | 288.8 | 245.2 | 242.1 | 212.5 | 149.1 | 117.2 | 98.98 | 83.38 | 68.79 | 56.54 | 46.9 | 43.28 | 86.73 | 883.1 | 9999.9 | 9999.9 | 3081 | 24.24 | 15.22 | 12.22 | 9.414 | 9.057 | 8.646 | 7.978 | 8.013 | 7.514 | 8.118 | 7.939 | 7.572
460 | 6219 | 1194 | 711.8 | 690.8 | 673.4 | 650.6 | 661 | 686.9 | 771.5 | 905.8 | 1010 | 1112 | 1162 | 1194 | 1234 | 1221 | 1202 | 1178 | 1153 | 1128 | 1051 | 968.1 | 878.6 | 783.4 | 695 | 617.4 | 551.2 | 488.2 | 420.4 | 345.7 | 288.3 | 242.7 | 220.2 | 223.2 | 184.1 | 133.7 | 110.3 | 95.56 | 78.62 | 66.33 | 54.35 | 45.59 | 42.37 | 89.31 | 828.9 | 9999.9 | 9999.9 | 2706 | 23.12 | 15.83 | 12.3 | 9.82 | 8.486 | 8.406 | 7.64 | 7.543 | 7.904 | 7.799 | 7.833
465 | 5486 | 3505 | 665.5 | 643.7 | 628.2 | 616.8 | 610.8 | 628.2 | 687.1 | 804.1 | 914 | 987.3 | 1033 | 1050 | 1090 | 1086 | 1060 | 1040 | 1041 | 1017 | 953.4 | 885 | 796.2 | 714.7 | 642.7 | 573.4 | 516.3 | 463.8 | 404.6 | 338.2 | 282.7 | 243.8 | 211.5 | 199.8 | 203.1 | 157.9 | 124 | 104.9 | 90.44 | 75.57 | 64.68 | 55.53 | 44.7 | 43.7 | 86.52 | 828.6 | 9999.9 | 9999.9 | 2635 | 23.59 | 15.52 | 12.53 | 10.01 | 8.623 | 8.543 | 7.864 | 7.75 | 7.446 | 7.909
470 | 1814 | 7175 | 1242 | 593.4 | 573 | 566.1 | 572.1 | 571.2 | 634.8 | 712.2 | 794 | 858.3 | 899.8 | 920.7 | 955.7 | 952.2 | 933.5 | 922.5 | 919.5 | 891.9 | 855.9 | 794.9 | 718.5 | 652 | 585 | 527.6 | 480.7 | 437.6 | 376.9 | 324.4 | 280.3 | 244 | 209.7 | 190.4 | 187.8 | 185 | 140.6 | 116 | 100.6 | 87.16 | 75.06 | 63.7 | 51.9 | 45.03 | 42.87 | 87.22 | 806.7 | 9999.9 | 9999.9 | 2646 | 23.47 | 16.26 | 11.87 | 9.52 | 8.185 | 8.056 | 7.517 | 7.512 | 7.099
475 | 559.1 | 6838 | 3871 | 550.6 | 523.3 | 527.7 | 518.7 | 522.5 | 568.1 | 631.9 | 694.4 | 752.4 | 782.1 | 807.5 | 830.4 | 834.3 | 820.2 | 805.3 | 804.6 | 790 | 754.2 | 712.2 | 645 | 592.7 | 539 | 483.7 | 450 | 407.6 | 359.5 | 313.6 | 271.9 | 239.4 | 211.2 | 188.8 | 173.5 | 182.4 | 166.8 | 128.8 | 109.5 | 96.32 | 82.34 | 73.36 | 60.83 | 52.71 | 45.1 | 43.06 | 86.33 | 818.1 | 9999.9 | 9999.9 | 1922 | 23.77 | 16.07 | 12.55 | 9.804 | 8.546 | 7.983 | 7.383 | 7.311
480 | 420 | 2244 | 7844 | 1167 | 486.7 | 499.2 | 492.2 | 497.7 | 527.2 | 593.5 | 632.4 | 674.5 | 685 | 699.2 | 712.3 | 728.3 | 715.7 | 715.2 | 710.5 | 704.4 | 673.6 | 634 | 588.7 | 536.9 | 494.5 | 454.6 | 420.5 | 385.5 | 353.8 | 308.2 | 274.2 | 240.9 | 212.2 | 190.7 | 175.8 | 168.3 | 177.9 | 152 | 122.5 | 109.4 | 95.17 | 85.99 | 74.1 | 66.96 | 57.05 | 51.03 | 48.68 | 90.35 | 770.6 | 9999.9 | 9999.9 | 2169 | 24.19 | 16.39 | 12.38 | 9.614 | 8.043 | 7.413 | 6.954
485 | 422.3 | 565.6 | 7452 | 4054 | 490.1 | 477.1 | 485.6 | 491.3 | 516.1 | 555.4 | 584 | 607.2 | 613.8 | 609.9 | 635.7 | 639.6 | 639.7 | 639 | 633.9 | 625 | 611.8 | 579.6 | 544.9 | 504.7 | 465.3 | 430.7 | 405.2 | 377.9 | 349.1 | 312.5 | 278.7 | 249.7 | 221.3 | 202.7 | 187 | 171.7 | 170.5 | 174.8 | 148.1 | 124.7 | 116.5 | 107.7 | 94.99 | 86.44 | 78.45 | 69.03 | 63.57 | 58.45 | 95.78 | 804.4 | 9999.9 | 9999.9 | 1775 | 26.37 | 16.28 | 11.83 | 10.09 | 7.951 | 7.145
490 | 381.4 | 404.4 | 2446 | 8278 | 1097 | 465.6 | 490.9 | 516.4 | 521.9 | 549.9 | 572.8 | 566.6 | 552.3 | 558.5 | 566 | 575 | 569.4 | 570.9 | 575.7 | 570.8 | 562 | 535.2 | 508.2 | 480.5 | 449.4 | 425.5 | 406.8 | 387.5 | 357.9 | 330.6 | 294.1 | 267.9 | 238.9 | 215.7 | 201.3 | 185 | 180.6 | 184.1 | 182.9 | 159.1 | 141.8 | 134.9 | 128.1 | 118.6 | 107.9 | 96.5 | 87.2 | 79.68 | 73.25 | 108.7 | 828 | 9999.9 | 9999.9 | 1843 | 25.02 | 16.52 | 12.16 | 9.914 | 8.921
495 | 384.6 | 392.8 | 575.2 | 8354 | 3959 | 510.3 | 510.4 | 541.4 | 564.7 | 568.3 | 562.7 | 539.4 | 500.9 | 489.6 | 497.7 | 504.4 | 504.6 | 510 | 510.5 | 518.5 | 511.9 | 498 | 478.7 | 465.1 | 442.3 | 423.4 | 406.4 | 399.9 | 379.3 | 354.2 | 320.2 | 290.4 | 259.8 | 236.3 | 215.4 | 209.3 | 201.3 | 201 | 213.6 | 205.2 | 182.9 | 175.8 | 168.2 | 159.3 | 147.2 | 137.5 | 124 | 112.1 | 99.77 | 88.22 | 121 | 836.2 | 9999.9 | 9999.9 | 1696 | 24.68 | 16.15 | 11.75 | 9.709
500 | 398.5 | 359.3 | 398.5 | 2893 | 8592 | 1105 | 556.6 | 591.8 | 590 | 583 | 549 | 513.5 | 457.3 | 435.7 | 434.7 | 440.6 | 447.7 | 449.4 | 456.9 | 465.3 | 466 | 458.7 | 450.2 | 442.4 | 426.3 | 426.8 | 426 | 420.8 | 404.7 | 376.3 | 346.6 | 310.3 | 278.5 | 255.3 | 234.8 | 228.7 | 223.9 | 223.8 | 227.5 | 238.2 | 232.5 | 220.6 | 215.3 | 203.1 | 192 | 179.9 | 164.3 | 147.4 | 130.7 | 112.6 | 97.93 | 123.5 | 830.5 | 9999.9 | 9999.9 | 1596 | 22.25 | 15.13 | 11.3
505 | 374.6 | 357.6 | 354.5 | 590.8 | 8943 | 3732 | 598.5 | 639.1 | 629.6 | 599.9 | 550.7 | 488.6 | 411.9 | 377.5 | 381.2 | 384.6 | 386.2 | 398.1 | 410.6 | 420.7 | 424.4 | 428.7 | 426.6 | 421.9 | 425.7 | 430.1 | 438.5 | 441 | 433.8 | 405.9 | 376.5 | 333.9 | 299.2 | 267.6 | 253.4 | 248.6 | 248.8 | 248.3 | 249.4 | 263.8 | 273.1 | 267 | 255.9 | 245.9 | 234.7 | 217.2 | 204.7 | 186.1 | 162.7 | 138.7 | 116.1 | 94.47 | 117.7 | 818.2 | 9999.9 | 9999.9 | 1494 | 20.06 | 13.79
510 | 314.1 | 360 | 349.3 | 393.4 | 3222 | 8355 | 1186 | 645.5 | 652.1 | 612.4 | 547.9 | 467.3 | 370.3 | 330.2 | 328.6 | 332.7 | 340.6 | 347.7 | 362.8 | 378.4 | 387.7 | 398.7 | 403.6 | 408.3 | 420.5 | 424.9 | 438.4 | 449.5 | 445.3 | 422.1 | 387.7 | 348 | 313.4 | 283.6 | 265.6 | 260.9 | 262.1 | 269 | 270.5 | 277.1 | 301.3 | 306.2 | 293.2 | 282 | 268.3 | 249.9 | 233.7 | 214.5 | 188.6 | 160.2 | 134.2 | 104.8 | 80 | 102.9 | 784.7 | 9999.9 | 9999.9 | 1422 | 17.75
515 | 314.5 | 350.1 | 348.2 | 349.7 | 669.5 | 9223 | 3681 | 681.8 | 668.5 | 607.5 | 533.6 | 433.2 | 340.4 | 290.4 | 289.2 | 289.7 | 297.5 | 307.3 | 325.4 | 335.1 | 350.9 | 366.4 | 382.1 | 386.8 | 402.4 | 415.6 | 430.1 | 446.8 | 445.2 | 429.9 | 392.8 | 353.2 | 313.3 | 288.9 | 266.5 | 267.7 | 270 | 275.4 | 284.1 | 292.5 | 305.2 | 321.1 | 320.2 | 304.3 | 291.1 | 270.5 | 255.4 | 231.4 | 206.3 | 175.1 | 149.4 | 113.5 | 82.88 | 60.57 | 86.68 | 781.6 | 9999.9 | 9999.9 | 1213
520 | 282.1 | 304.8 | 328.5 | 346.6 | 429.6 | 3758 | 8168 | 1234 | 662.7 | 592.2 | 522.8 | 410.2 | 306.8 | 255.3 | 249.9 | 252.5 | 256.5 | 266.9 | 287.6 | 302.2 | 317.9 | 337.5 | 352.1 | 364.3 | 381.7 | 400.9 | 420.5 | 438.4 | 437.5 | 421.3 | 388.7 | 349.2 | 309.7 | 283.4 | 268.8 | 263.1 | 269.1 | 276.4 | 287.2 | 295.8 | 307.1 | 322 | 331.7 | 316.5 | 299 | 279 | 262.9 | 239 | 214.2 | 182.9 | 150.7 | 117.3 | 86.54 | 58.87 | 43.49 | 76.27 | 757 | 9999.9 | 9999.9
525 | 267 | 265 | 318.7 | 315.3 | 389.2 | 743.2 | 9100 | 3668 | 651.8 | 568.8 | 482.8 | 377 | 276.6 | 224.6 | 217.2 | 217 | 224.3 | 230.6 | 250.7 | 268.1 | 282.7 | 305.6 | 321.3 | 334.3 | 357 | 374.1 | 396.1 | 415.5 | 422.1 | 401.3 | 372.1 | 335.7 | 297.1 | 273.1 | 257.3 | 249.6 | 262.9 | 267.1 | 279.1 | 287.2 | 299.2 | 310.1 | 320.8 | 322 | 299 | 282 | 259.9 | 239.8 | 216.7 | 183.2 | 152.3 | 118.9 | 87.01 | 60.6 | 40.77 | 31.9 | 68.23 | 752.4 | 9263
530 | 245.1 | 242.1 | 280.8 | 311.1 | 346.3 | 451.3 | 4000 | 8121 | 1148 | 548.9 | 452.2 | 343.7 | 243.7 | 198.2 | 186.1 | 188.2 | 191.5 | 201.9 | 219.2 | 234.4 | 251.4 | 271.6 | 291.6 | 311.8 | 327.1 | 342.3 | 371 | 392.2 | 394.8 | 382.8 | 355.5 | 317.1 | 282.6 | 254.5 | 239.6 | 237.2 | 245.5 | 255.5 | 263.4 | 277.7 | 285.5 | 298.5 | 307.8 | 312.5 | 295.9 | 273.9 | 254.9 | 234.4 | 208.4 | 180.1 | 149.9 | 117.8 | 85.6 | 59.72 | 40.67 | 29.38 | 25.75 | 67.43 | 706
535 | 213.9 | 217.2 | 244.5 | 301.3 | 328.8 | 397.5 | 782.5 | 9448 | 3244 | 510 | 406.3 | 307 | 213.1 | 169.2 | 156.7 | 162.1 | 163.9 | 175.4 | 190.1 | 205.9 | 220.6 | 241.9 | 258.8 | 274.4 | 298 | 315.6 | 341.1 | 358.5 | 361.9 | 351.4 | 323.2 | 293.6 | 256.2 | 235.9 | 222.4 | 219.4 | 225.6 | 240 | 246.2 | 257.7 | 270 | 278.4 | 283.4 | 282.4 | 281.8 | 261 | 238.9 | 220.4 | 196.5 | 170.8 | 142.4 | 110.4 | 82.51 | 59.31 | 40.89 | 29.99 | 24.93 | 26.69 | 67.19
540 | 200 | 175.4 | 193.9 | 277.2 | 306.4 | 354.4 | 454 | 4455 | 7373 | 984.5 | 374.2 | 276.5 | 189.1 | 144.3 | 132.5 | 138.3 | 140.7 | 151.2 | 163.9 | 178 | 190.2 | 207.7 | 224.3 | 248.4 | 266.3 | 285.9 | 305.9 | 324.1 | 331.2 | 321.3 | 293.9 | 265.3 | 235.3 | 211.7 | 203.4 | 202.5 | 206.7 | 216.6 | 226.3 | 236.6 | 246.4 | 257.1 | 260.2 | 259 | 254.4 | 243 | 224.5 | 204.5 | 185.3 | 157.8 | 132.4 | 103.8 | 78.25 | 56.96 | 39.92 | 30.38 | 26.89 | 26.83 | 31.22
545 | 169.3 | 155.5 | 181.5 | 229.8 | 291.5 | 316.8 | 393.1 | 802.9 | 8910 | 2955 | 355.9 | 240.7 | 164.2 | 123.8 | 116.3 | 114 | 116.6 | 127.3 | 136 | 149.1 | 167.5 | 183.1 | 198.3 | 216.1 | 232.2 | 251.3 | 270.6 | 286.5 | 293.5 | 286 | 260.4 | 234.4 | 210.9 | 190.9 | 179.6 | 179.2 | 186.1 | 194 | 202.1 | 211.2 | 223.9 | 228.5 | 237.9 | 236.1 | 226.3 | 220 | 209 | 190.1 | 168.3 | 146.2 | 122.9 | 96.87 | 75.06 | 55.37 | 38.93 | 31.69 | 28.42 | 28.01 | 29.13
550 | 154.4 | 140.3 | 146.8 | 190.7 | 272.2 | 288.1 | 344.3 | 422.2 | 4451 | 6805 | 816 | 211.4 | 141.5 | 105.4 | 94.8 | 95.66 | 99.58 | 107.2 | 116.5 | 130.1 | 141.5 | 156.2 | 174.2 | 186.9 | 199.9 | 220.3 | 235.9 | 249.9 | 257.4 | 250.2 | 230.5 | 207.3 | 182.9 | 165.2 | 156.8 | 159.1 | 165.5 | 170.1 | 180.2 | 187.2 | 196.1 | 205.6 | 210 | 209.2 | 200.7 | 193 | 185.5 | 171.4 | 150.2 | 127.9 | 108.3 | 87.68 | 65.98 | 48.9 | 37.84 | 29.52 | 25.62 | 27.1 | 29.82
555 | 137.2 | 134.1 | 133.8 | 151.1 | 237.3 | 266.8 | 310.4 | 346.1 | 720.3 | 8465 | 2694 | 198.7 | 121.1 | 86.97 | 79.62 | 80.23 | 80.93 | 88.58 | 96.84 | 109.7 | 119.9 | 132.7 | 147.2 | 158.9 | 171.9 | 186.5 | 204.5 | 215 | 223.6 | 218.6 | 201.2 | 179.7 | 159.2 | 143 | 137.9 | 136.9 | 144 | 148.1 | 158.3 | 163.6 | 168.8 | 176.6 | 183.5 | 181.4 | 175.6 | 167.6 | 160.2 | 152.6 | 134.8 | 113.8 | 96.5 | 76.39 | 59.01 | 43 | 32.85 | 26.6 | 24.17 | 25.67 | 26.61
560 | 118 | 102.6 | 106.7 | 137.2 | 179 | 251.7 | 259.4 | 303.3 | 338.5 | 4377 | 6843 | 633.9 | 105.8 | 72.48 | 67.14 | 64.66 | 66.56 | 71.72 | 79.88 | 88.52 | 100.2 | 109 | 122 | 132 | 144.8 | 158.4 | 171.2 | 183.6 | 185.4 | 185.1 | 170.4 | 154.1 | 133.7 | 119.1 | 113.3 | 115.7 | 120 | 125.4 | 135.1 | 138.4 | 146 | 150.6 | 157.6 | 155 | 150.4 | 141.7 | 135.9 | 128.9 | 118.2 | 98.3 | 82.57 | 65.75 | 51.54 | 38.46 | 29.06 | 23.59 | 20.58 | 21.29 | 23.25
565 | 128.2 | 106.3 | 97.48 | 116.2 | 142.7 | 222.9 | 239.5 | 265.2 | 274.5 | 619.3 | 9213 | 2458 | 104.7 | 63.06 | 56.34 | 55.61 | 53.92 | 58.72 | 65.26 | 71.84 | 81.4 | 93.34 | 104.1 | 113.1 | 119.4 | 133.4 | 143.3 | 153.2 | 157.7 | 152.7 | 144.7 | 125 | 114.4 | 102.2 | 97.48 | 98.42 | 100.4 | 107.1 | 109.9 | 115.8 | 123.2 | 129.2 | 131.7 | 132 | 126.6 | 118.8 | 112.4 | 107.6 | 98.12 | 84.88 | 71.1 | 56.02 | 43.62 | 31.06 | 24.08 | 19.22 | 18.5 | 19.45 | 19.16
570 | 131.9 | 102.2 | 88.44 | 100.3 | 129.1 | 183.2 | 243.8 | 247.1 | 264.3 | 266.7 | 4822 | 6466 | 499.4 | 55.54 | 45.58 | 44.72 | 47.06 | 48.74 | 52.62 | 60.08 | 68.2 | 74.72 | 83.3 | 92.4 | 100.9 | 111.3 | 119.9 | 126.4 | 132.3 | 126.2 | 118.3 | 106.3 | 94.73 | 84.76 | 80.02 | 80.89 | 84.18 | 89.53 | 92.89 | 97.24 | 100.5 | 106.4 | 107.7 | 109.6 | 105 | 100.4 | 93.52 | 88.7 | 81.51 | 70.92 | 60.33 | 47.92 | 35.4 | 26.95 | 19.91 | 16.05 | 15.33 | 16.15 | 17
575 | 161.5 | 113 | 84.64 | 96.84 | 110.8 | 158.7 | 229.8 | 252.9 | 282 | 257.2 | 626.6 | 8853 | 2340 | 57.71 | 39.41 | 38.4 | 37.52 | 39.99 | 44.81 | 49.04 | 54.59 | 63.6 | 69.67 | 73.91 | 82.1 | 89.26 | 99.89 | 106.3 | 107.3 | 103.7 | 96.8 | 84.83 | 76.99 | 68.84 | 66.93 | 65.21 | 69.62 | 72.53 | 75.3 | 78.82 | 83.67 | 86.05 | 88.74 | 89.29 | 86.77 | 80.36 | 77.65 | 72.53 | 66.06 | 60.04 | 50.53 | 39.36 | 29.9 | 22.79 | 16.41 | 13.29 | 12.07 | 12.34 | 13.29
580 | 199.3 | 128.3 | 86.5 | 86.07 | 103.8 | 143.5 | 226.9 | 282.6 | 294.6 | 291.9 | 279.5 | 4616 | 6901 | 404.5 | 35.72 | 33.5 | 31.87 | 32.53 | 35.48 | 41.01 | 44.5 | 50.26 | 55.33 | 60.86 | 67.91 | 72.51 | 80.06 | 85.46 | 88.51 | 87.1 | 79.47 | 71.04 | 63.54 | 57.12 | 55.32 | 55.67 | 57.31 | 58.26 | 62.55 | 65.8 | 70.43 | 73.49 | 73.24 | 74.45 | 70.61 | 68.35 | 65.79 | 59.54 | 54.07 | 47.62 | 41.79 | 33.91 | 24.81 | 18.3 | 13.78 | 12.08 | 10.24 | 10.61 | 10.78
585 | 227.8 | 137.3 | 89.64 | 84.06 | 105.4 | 136.9 | 203.1 | 307.5 | 324.3 | 324 | 285.6 | 593.1 | 9820 | 1979 | 39.23 | 27.39 | 26.51 | 28.52 | 31.34 | 34.34 | 36.12 | 41.17 | 47.02 | 51.14 | 55.78 | 60.95 | 66.99 | 71.67 | 71.89 | 71.75 | 66.79 | 59.19 | 52.09 | 47.75 | 44.63 | 44.02 | 46.79 | 48.58 | 51.71 | 54.36 | 57.33 | 60.03 | 60.04 | 61.59 | 58.19 | 54.71 | 53.43 | 49.94 | 44.97 | 38.39 | 33.7 | 29.25 | 22.04 | 16.42 | 12.16 | 9.105 | 8.586 | 8.368 | 9.009
590 | 274.1 | 149.3 | 99.4 | 83.81 | 100 | 139.2 | 204.7 | 316.6 | 361.8 | 375.3 | 319.1 | 230.8 | 4841 | 5912 | 348.2 | 25.99 | 23.8 | 24.91 | 26.02 | 28.23 | 31.45 | 34.5 | 38.86 | 40.71 | 46.7 | 51.2 | 55.06 | 58.4 | 61.74 | 58.3 | 54.76 | 48.58 | 42.35 | 38.71 | 37.17 | 36.28 | 38.21 | 39.86 | 42.51 | 44.89 | 47.29 | 48.9 | 50.09 | 50.33 | 48.46 | 46.24 | 43.77 | 39.98 | 36.5 | 32.97 | 27.38 | 23.37 | 19.75 | 14.05 | 9.715 | 8.769 | 7.101 | 7.451 | 7.739
595 | 282 | 168.2 | 107.2 | 84.65 | 109.1 | 140 | 210 | 317.1 | 401.2 | 407.8 | 352.4 | 229.2 | 533.4 | 7978 | 1933 | 30.53 | 21.46 | 22.04 | 22.56 | 24.61 | 26.71 | 29.55 | 30.96 | 34.06 | 37.8 | 42.77 | 44.17 | 47.01 | 49.3 | 48.78 | 46.04 | 40 | 36.11 | 33.31 | 31.19 | 31.01 | 31.32 | 33.04 | 34.96 | 36.83 | 36.86 | 39.39 | 41.43 | 40.72 | 39.55 | 38.98 | 36.52 | 33.65 | 30.94 | 26.08 | 22.02 | 18.62 | 15.8 | 12.38 | 8.956 | 7.248 | 6.504 | 7.037 | 6.675
600 | 282.2 | 183.7 | 112.4 | 97.03 | 106.1 | 147.4 | 206.7 | 307.8 | 424.6 | 438.4 | 380.8 | 244.5 | 129.6 | 4038 | 6415 | 264.9 | 20.91 | 18.32 | 19.13 | 20.41 | 21.74 | 24.28 | 27.65 | 29.58 | 33.2 | 34.74 | 36.89 | 39.54 | 41.94 | 39.7 | 37.95 | 34.89 | 30.12 | 27.12 | 26.24 | 26.26 | 26.97 | 27.5 | 30.09 | 30.97 | 32.57 | 32.7 | 34.25 | 33.54 | 33.24 | 31.84 | 29.38 | 27.52 | 25.16 | 22.1 | 19 | 15.87 | 12.95 | 10.53 | 8.185 | 6.999 | 5.91 | 6.14 | 6.463